## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_198-10_0_2_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_198-10_0_2_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_198-10_0_2_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_198-10_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_198-10_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_198-10_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_198-10_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_198-10_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_198-10_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_198-10_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_198-10_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_198-10_0_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_198-10_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_198-10_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_198-10_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_198-10_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_198-10_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_198-10_0_2_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_198-10_0_2_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_198-10_0_2_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_198-10_0_2_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_198-10_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_198-10_0_2_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_198-10_0_2_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_198-10_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_198-10_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_198-10_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_198-10_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_198-10_0_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_198-10_0_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_198-10_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_198-10_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_198-10_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_198-10_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_198-10_0_2_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_198-10_0_2_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_198-10_0_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_198-10_0_2_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_198-10_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_198-10_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_198-10_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_198-10_0_2_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_198-10_0_2_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_198-10_0_2_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_198-10_0_2_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_198-10_0_2_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_198-10_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_198-10_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_198-10_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_198-10_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_198-10_0_2_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_198-10_0_2_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_198-10_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_198-10_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_198-10_0_2_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_198-10_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_198-10_0_2_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_198-10_0_2_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_198-10_0_2_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_198-10_0_2_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_198-10_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_198-10_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_198-10_0_2_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_198-10_0_2_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_198-10_0_2_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_198-10_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_198-10_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_198-10_0_2_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_198-10_0_2_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_198-10_0_2_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_198-10_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_198-10_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_198-10_0_2_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_198-10_0_2_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_198-10_0_2_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_198-10_0_2_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_198-10_0_2_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_198-10_0_2_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_198-10_0_2_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_198-10_0_2_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_198-10_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_198-10_0_2_node_90 | 0.4 | n |  | TRUE
87 | bus_MV_362_0_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-10_0_2_load_0 | 0 | 0.00046606 | 0.0001168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-10_0_2_load_1 | 1 | 0.00048797 | 0.0001223 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-10_0_2_load_2 | 2 | 0.0015561 | 0.00039 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-10_0_2_load_3 | 3 | 0.0020087 | 0.00050342 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-10_0_2_load_4 | 4 | 0.00081386 | 0.00020397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-10_0_2_load_51 | 5 | 0.0015302 | 0.0003835 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-10_0_2_load_48 | 6 | 0.0023744 | 0.00059507 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-10_0_2_load_49 | 7 | 0.0020842 | 0.00052235 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-10_0_2_load_5 | 8 | 0.0035288 | 0.00088441 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-10_0_2_load_6 | 9 | 0.001453 | 0.00036416 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-10_0_2_load_7 | 10 | 0.0022472 | 0.00056321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-10_0_2_load_9 | 15 | 0.0075391 | 0.0018895 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-10_0_2_load_29 | 16 | 0.0060128 | 0.001507 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-10_0_2_load_13 | 20 | 0.0019788 | 0.00049593 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-10_0_2_load_22 | 21 | 0.00093882 | 0.00023529 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-10_0_2_load_45 | 22 | 0.00036228 | 9.0797e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-10_0_2_load_54 | 24 | 0.0041221 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-10_0_2_load_53 | 25 | 0.00053629 | 0.00013441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-10_0_2_load_46 | 27 | 0.0016171 | 0.00040527 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-10_0_2_load_50 | 28 | 0.0004904 | 0.00012291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-10_0_2_load_15 | 29 | 0.0025976 | 0.00065102 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-10_0_2_load_76 | 33 | 0.00048978 | 0.00012275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-10_0_2_load_44 | 34 | 0.00035369 | 8.8642e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-10_0_2_load_34 | 37 | 0.0038332 | 0.00096069 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-10_0_2_load_75 | 40 | 0.00020913 | 5.2412e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-10_0_2_load_73 | 42 | 0.020146 | 0.0050492 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-10_0_2_load_32 | 43 | 0.0058753 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-10_0_2_load_35 | 45 | 0.018371 | 0.0046042 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-10_0_2_load_31 | 46 | 0.0023835 | 0.00059736 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-10_0_2_load_23 | 47 | 0.0051449 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-10_0_2_load_26 | 49 | 0.00050976 | 0.00012776 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-10_0_2_load_28 | 50 | 0.0047971 | 0.0012023 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-10_0_2_load_30 | 51 | 0.0031085 | 0.00077906 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-10_0_2_load_37 | 52 | 0.031716 | 0.0079488 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-10_0_2_load_43 | 53 | 0.0014203 | 0.00035596 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-10_0_2_load_39 | 54 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-10_0_2_load_72 | 55 | 0.003494 | 0.00087568 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-10_0_2_load_40 | 56 | 0.00048989 | 0.00012278 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-10_0_2_load_57 | 58 | 0.0019548 | 0.00048993 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-10_0_2_load_56 | 60 | 0.014618 | 0.0036637 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-10_0_2_load_47 | 61 | 0.0016153 | 0.00040484 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-10_0_2_load_82 | 62 | 0.0016156 | 0.00040491 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_198-10_0_2_load_86 | 63 | 0.0016162 | 0.00040507 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_198-10_0_2_load_55 | 64 | 0.0098942 | 0.0024797 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_198-10_0_2_load_58 | 65 | 0.004894 | 0.0012266 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_198-10_0_2_load_74 | 69 | 0.030704 | 0.0076952 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_198-10_0_2_load_71 | 70 | 0.0023767 | 0.00059565 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_198-10_0_2_load_68 | 71 | 0.0013012 | 0.0003261 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_198-10_0_2_load_63 | 72 | 0.00076649 | 0.0001921 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_198-10_0_2_load_64 | 73 | 0.00082348 | 0.00020638 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_198-10_0_2_load_65 | 74 | 0.0009717 | 0.00024353 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_198-10_0_2_load_66 | 75 | 0.0012855 | 0.00032218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_198-10_0_2_load_67 | 76 | 0.001522 | 0.00038146 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_198-10_0_2_load_69 | 77 | 0.0017705 | 0.00044373 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_198-10_0_2_load_77 | 78 | 0.0024847 | 0.00062273 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_198-10_0_2_load_79 | 81 | 0.0005408 | 0.00013554 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_198-10_0_2_load_92 | 82 | 0.0052508 | 0.001316 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_198-10_0_2_load_83 | 84 | 0.001617 | 0.00040525 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_198-10_0_2_load_84 | 85 | 0.0016159 | 0.00040499 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_198-10_0_2_load_90 | 86 | 0.0012697 | 0.00031822 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-10_0_2_line_0 |  | 0 | 1 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-10_0_2_line_1 |  | 0 | 2 | 0.0059505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-10_0_2_line_2 |  | 1 | 3 | 0.023041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-10_0_2_line_3 |  | 2 | 4 | 0.035948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-10_0_2_line_4 |  | 3 | 5 | 0.024239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_198-10_0_2_line_5 |  | 4 | 6 | 0.0068187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-10_0_2_line_6 |  | 6 | 7 | 0.0029414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_198-10_0_2_line_7 |  | 7 | 28 | 0.0034621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-10_0_2_line_8 |  | 8 | 9 | 0.0052722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-10_0_2_line_9 |  | 8 | 10 | 0.0081099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-10_0_2_line_10 |  | 9 | 11 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-10_0_2_line_11 |  | 11 | 12 | 0.04314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-10_0_2_line_12 |  | 11 | 13 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-10_0_2_line_13 |  | 12 | 14 | 0.006181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-10_0_2_line_14 |  | 12 | 15 | 0.0014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-10_0_2_line_15 |  | 13 | 16 | 0.016578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-10_0_2_line_16 |  | 13 | 17 | 0.20888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-10_0_2_line_17 |  | 14 | 24 | 0.015758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-10_0_2_line_18 |  | 14 | 25 | 0.0034199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-10_0_2_line_19 |  | 15 | 18 | 0.018664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-10_0_2_line_20 |  | 16 | 50 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-10_0_2_line_21 |  | 17 | 47 | 0.051008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-10_0_2_line_22 |  | 18 | 19 | 0.005618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-10_0_2_line_23 |  | 18 | 20 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-10_0_2_line_24 |  | 19 | 21 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-10_0_2_line_25 |  | 19 | 22 | 0.029617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-10_0_2_line_26 |  | 20 | 23 | 0.005568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-10_0_2_line_27 |  | 21 | 26 | 0.0056217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-10_0_2_line_28 |  | 22 | 27 | 0.014941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-10_0_2_line_29 |  | 23 | 28 | 0.027277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-10_0_2_line_30 |  | 26 | 29 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-10_0_2_line_31 |  | 27 | 61 | 0.0051135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-10_0_2_line_32 |  | 29 | 30 | 0.072392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-10_0_2_line_33 |  | 30 | 31 | 0.005392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_198-10_0_2_line_34 |  | 30 | 32 | 0.042537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_198-10_0_2_line_35 |  | 31 | 33 | 0.047716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_198-10_0_2_line_36 |  | 32 | 34 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_198-10_0_2_line_37 |  | 33 | 39 | 0.02836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_198-10_0_2_line_38 |  | 34 | 38 | 0.012753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_198-10_0_2_line_39 |  | 35 | 36 | 0.018525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_198-10_0_2_line_40 |  | 35 | 37 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_198-10_0_2_line_41 |  | 36 | 41 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_198-10_0_2_line_42 |  | 36 | 42 | 0.0459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_198-10_0_2_line_43 |  | 36 | 40 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-10_0_2_line_44 |  | 37 | 43 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_198-10_0_2_line_45 |  | 39 | 59 | 0.070809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-10_0_2_line_46 |  | 39 | 57 | 0.051811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_198-10_0_2_line_47 |  | 41 | 53 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-10_0_2_line_48 |  | 41 | 54 | 0.023857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_198-10_0_2_line_49 |  | 42 | 55 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_198-10_0_2_line_50 |  | 43 | 46 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_198-10_0_2_line_51 |  | 44 | 45 | 0.0023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-10_0_2_line_52 |  | 44 | 46 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-10_0_2_line_53 |  | 45 | 52 | 0.071174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-10_0_2_line_54 |  | 47 | 48 | 0.057001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_198-10_0_2_line_55 |  | 48 | 49 | 0.064481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-10_0_2_line_56 |  | 50 | 51 | 0.0099743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-10_0_2_line_57 |  | 53 | 58 | 0.038552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-10_0_2_line_58 |  | 54 | 56 | 0.033559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_198-10_0_2_line_59 |  | 55 | 70 | 0.01893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_198-10_0_2_line_60 |  | 56 | 57 | 0.023732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_198-10_0_2_line_61 |  | 58 | 60 | 0.041695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_198-10_0_2_line_62 |  | 59 | 86 | 0.032766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_198-10_0_2_line_63 |  | 60 | 64 | 0.042489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_198-10_0_2_line_64 |  | 61 | 62 | 0.0051123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_198-10_0_2_line_65 |  | 62 | 63 | 0.0051124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_198-10_0_2_line_66 |  | 63 | 85 | 0.0051118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_198-10_0_2_line_67 |  | 65 | 66 | 0.081097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_198-10_0_2_line_68 |  | 66 | 67 | 0.1696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_198-10_0_2_line_69 |  | 67 | 68 | 0.025396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_198-10_0_2_line_70 |  | 67 | 69 | 0.088768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_198-10_0_2_line_71 |  | 68 | 70 | 0.029573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_198-10_0_2_line_72 |  | 68 | 71 | 0.015357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_198-10_0_2_line_73 |  | 71 | 77 | 0.022696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_198-10_0_2_line_74 |  | 72 | 73 | 0.021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_198-10_0_2_line_75 |  | 72 | 74 | 0.0022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_198-10_0_2_line_76 |  | 73 | 75 | 0.0046307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_198-10_0_2_line_77 |  | 75 | 76 | 0.024747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_198-10_0_2_line_78 |  | 76 | 77 | 0.00013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_198-10_0_2_line_79 |  | 78 | 79 | 0.49253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_198-10_0_2_line_80 |  | 79 | 80 | 0.32191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_198-10_0_2_line_81 |  | 79 | 81 | 0.10077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_198-10_0_2_line_82 |  | 80 | 83 | 0.20141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_198-10_0_2_line_83 |  | 80 | 84 | 0.19177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_198-10_0_2_line_84 |  | 82 | 83 | 0.066068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_198-10_0_2_line_85 |  | 84 | 85 | 0.0047795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-10_0_2_trafo_21 | 0.63 MVA 20/0.4 kV | 87 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2696929.4571 | 1246520.2649 | 2696943.5919 | 1246517.12 | 2696943.5919 | 1246517.12
1 | 2696929.4571 | 1246520.2649 | 2696923.6486 | 1246521.5572
2 | 2696943.5919 | 1246517.12 | 2696965.8845 | 1246511.2943
3 | 2696923.6486 | 1246521.5572 | 2696896.8965 | 1246527.5093 | 2696891.8796 | 1246527.9833 | 2696888.3841 | 1246527.7564
4 | 2696989.3049 | 1246505.0494 | 2696978.67 | 1246507.953 | 2696965.8845 | 1246511.2943
5 | 2696881.7132 | 1246526.416 | 2696887.072 | 1246527.6712 | 2696888.3841 | 1246527.7564
6 | 2696881.7132 | 1246526.416 | 2696881.7132 | 1246526.416 | 2696878.955 | 1246525.3943
7 | 2696878.955 | 1246525.3943 | 2696875.7085 | 1246524.1916
8 | 2696874.1994 | 1246472.8614 | 2696871.0995 | 1246468.5968
9 | 2696874.1994 | 1246472.8614 | 2696878.9677 | 1246479.4214
10 | 2696859.7119 | 1246452.9336 | 2696869.1701 | 1246465.9425 | 2696871.0995 | 1246468.5968
11 | 2696859.7119 | 1246452.9336 | 2696851.1081 | 1246461.6108 | 2696847.6038 | 1246467.5359 | 2696845.485 | 1246473.2835 | 2696842.7264 | 1246482.5901 | 2696840.5113 | 1246487.7579 | 2696839.4824 | 1246490.1541
12 | 2696873.7161 | 1246438.8181 | 2696859.7119 | 1246452.9336
13 | 2696839.4824 | 1246490.1541 | 2696845.0673 | 1246492.8362
14 | 2696839.4824 | 1246490.1541 | 2696838.9322 | 1246491.4453
15 | 2696873.7161 | 1246438.8181 | 2696860.0936 | 1246429.3711
16 | 2696873.7161 | 1246438.8181 | 2696876.7549 | 1246435.4874 | 2696890.5215 | 1246420.6564 | 2696892.4597 | 1246418.5643 | 2696909.2413 | 1246400.4801 | 2696920.4839 | 1246387.0757 | 2696932.622 | 1246367.4257 | 2696972.2068 | 1246292.0593 | 2696980.0599 | 1246277.1095 | 2696970.8107 | 1246273.0218 | 2696967.0002 | 1246272.2478
17 | 2696845.0673 | 1246492.8362 | 2696850.0276 | 1246484.2662 | 2696854.7908 | 1246480.8302
18 | 2696845.0673 | 1246492.8362 | 2696848.1525 | 1246494.3118
19 | 2696829.9097 | 1246507.7335 | 2696835.257 | 1246499.0586 | 2696836.6075 | 1246496.8678 | 2696838.5789 | 1246492.2743 | 2696838.9322 | 1246491.4453
20 | 2696843.8479 | 1246422.6295 | 2696846.1117 | 1246419.6748 | 2696860.0936 | 1246429.3711
21 | 2696967.0002 | 1246272.2478 | 2696989.5155 | 1246226.4778
22 | 2696829.9097 | 1246507.7335 | 2696824.5988 | 1246505.8565
23 | 2696829.9097 | 1246507.7335 | 2696843.4613 | 1246512.514 | 2696844.8306 | 1246512.9988
24 | 2696824.5988 | 1246505.8565 | 2696807.6829 | 1246500.0297
25 | 2696824.5988 | 1246505.8565 | 2696805.2948 | 1246528.3186
26 | 2696850.0793 | 1246514.8572 | 2696844.8306 | 1246512.9988
27 | 2696802.3677 | 1246498.1988 | 2696807.6829 | 1246500.0297
28 | 2696805.2948 | 1246528.3186 | 2696795.5568 | 1246539.6499
29 | 2696850.0793 | 1246514.8572 | 2696856.7799 | 1246517.224 | 2696859.2288 | 1246518.0868 | 2696875.7085 | 1246524.1916
30 | 2696802.3677 | 1246498.1988 | 2696798.845 | 1246496.9292 | 2696796.434 | 1246496.0559 | 2696791.3816 | 1246493.8488
31 | 2696795.5568 | 1246539.6499 | 2696792.2239 | 1246543.528
32 | 2696731.0645 | 1246453.9904 | 2696756.2763 | 1246470.2141 | 2696765.6377 | 1246477.1388 | 2696774.371 | 1246483.653 | 2696782.7772 | 1246489.3834 | 2696790.0875 | 1246493.2835 | 2696791.3816 | 1246493.8488
33 | 2696726.8686 | 1246457.3913 | 2696731.0645 | 1246453.9904
34 | 2696731.0645 | 1246453.9904 | 2696715.7255 | 1246444.3662 | 2696723.4479 | 1246429.503 | 2696728.1482 | 1246423.4305
35 | 2696726.8686 | 1246457.3913 | 2696715.7408 | 1246467.0394 | 2696708.7567 | 1246474.1644 | 2696706.0495 | 1246477.0891 | 2696698.2438 | 1246485.4905 | 2696697.0969 | 1246486.7839 | 2696693.2261 | 1246491.1416
36 | 2696728.1482 | 1246423.4305 | 2696716.2248 | 1246417.8351
37 | 2696674.3918 | 1246512.3445 | 2696693.2261 | 1246491.1416
38 | 2696704.6795 | 1246412.4171 | 2696716.2248 | 1246417.8351
39 | 2696656.3873 | 1246412.2965 | 2696639.694 | 1246404.1627
40 | 2696656.3873 | 1246412.2965 | 2696666.7613 | 1246393.0473
41 | 2696632.4844 | 1246414.4643 | 2696633.5812 | 1246413.4592 | 2696639.694 | 1246404.1627
42 | 2696639.694 | 1246404.1627 | 2696621.6815 | 1246394.9177 | 2696599.2335 | 1246382.5015
43 | 2696639.694 | 1246404.1627 | 2696642.5102 | 1246410.7692 | 2696654.5071 | 1246417.3995
44 | 2696666.7613 | 1246393.0473 | 2696671.5178 | 1246384.2216
45 | 2696626.7406 | 1246564.7082 | 2696633.0288 | 1246558.0834 | 2696644.5982 | 1246545.8959 | 2696661.877 | 1246526.4403 | 2696674.3918 | 1246512.3445
46 | 2696674.3918 | 1246512.3445 | 2696639.3241 | 1246474.1104
47 | 2696632.4844 | 1246414.4643 | 2696619.6653 | 1246426.2936
48 | 2696632.4844 | 1246414.4643 | 2696649.156 | 1246431.5288
49 | 2696584.1511 | 1246374.1561 | 2696584.6237 | 1246374.4207 | 2696599.2335 | 1246382.5015
50 | 2696671.5178 | 1246384.2216 | 2696687.8196 | 1246392.7383
51 | 2696697.4093 | 1246375.0255 | 2696698.5457 | 1246372.9256
52 | 2696697.4093 | 1246375.0255 | 2696687.8196 | 1246392.7383
53 | 2696698.5457 | 1246372.9256 | 2696706.3448 | 1246358.514 | 2696736.1209 | 1246373.3332 | 2696739.8336 | 1246369.4463 | 2696748.3523 | 1246355.7233
54 | 2697014.6758 | 1246175.3308 | 2696989.5155 | 1246226.4778
55 | 2697014.6758 | 1246175.3308 | 2697007.5479 | 1246170.8886 | 2696983.5554 | 1246163.2237 | 2696957.3403 | 1246167.643 | 2696955.329 | 1246171.4545
56 | 2696837.7818 | 1246430.5472 | 2696843.8479 | 1246422.6295
57 | 2696591.3331 | 1246452.4384 | 2696619.6653 | 1246426.2936
58 | 2696649.156 | 1246431.5288 | 2696663.3839 | 1246446.0921 | 2696654.7848 | 1246456.106
59 | 2696584.1511 | 1246374.1561 | 2696567.633 | 1246364.9105
60 | 2696639.3241 | 1246474.1104 | 2696654.7848 | 1246456.106
61 | 2696561.6361 | 1246481.6994 | 2696585.9382 | 1246457.4169 | 2696591.3331 | 1246452.4384
62 | 2696626.7406 | 1246564.7082 | 2696604.2687 | 1246540.8621
63 | 2696528.6585 | 1246508.0788 | 2696546.5839 | 1246496.7396 | 2696561.6361 | 1246481.6994
64 | 2696792.2239 | 1246543.528 | 2696788.8918 | 1246547.4052
65 | 2696788.8918 | 1246547.4052 | 2696785.5597 | 1246551.2825
66 | 2696785.5597 | 1246551.2825 | 2696782.228 | 1246555.1594
67 | 2696411.5246 | 1246407.1517 | 2696419.9747 | 1246405.0986 | 2696432.1492 | 1246412.8247 | 2696462.4675 | 1246430.0976 | 2696466.3643 | 1246433.4525 | 2696454.3993 | 1246446.8282
68 | 2696411.5246 | 1246407.1517 | 2696402.1703 | 1246400.6947 | 2696403.3778 | 1246399.38 | 2696405.8779 | 1246396.6408 | 2696410.8485 | 1246393.4413 | 2696450.3058 | 1246350.0941 | 2696471.4596 | 1246326.053 | 2696480.145 | 1246317.9102 | 2696495.2683 | 1246325.9736 | 2696519.176 | 1246338.8391
69 | 2696519.176 | 1246338.8391 | 2696541.6088 | 1246350.869
70 | 2696519.176 | 1246338.8391 | 2696574.5879 | 1246269.4906
71 | 2696541.6088 | 1246350.869 | 2696556.2023 | 1246358.5124 | 2696567.633 | 1246364.9105
72 | 2696541.6088 | 1246350.869 | 2696531.1332 | 1246362.0984
73 | 2696531.1332 | 1246362.0984 | 2696515.6513 | 1246378.6944
74 | 2696481.0007 | 1246415.8387 | 2696495.5191 | 1246400.2755
75 | 2696479.4839 | 1246417.4647 | 2696481.0007 | 1246415.8387
76 | 2696495.5191 | 1246400.2755 | 2696498.6779 | 1246396.8894
77 | 2696498.6779 | 1246396.8894 | 2696515.5589 | 1246378.7935
78 | 2696515.5589 | 1246378.7935 | 2696515.6513 | 1246378.6944
79 | 2696823.3524 | 1247035.3098 | 2696546.6549 | 1247442.7671
80 | 2696731.857 | 1246726.6795 | 2696823.3524 | 1247035.3098
81 | 2696823.3524 | 1247035.3098 | 2696860.6919 | 1247038.2663 | 2696872.2222 | 1247038.6104 | 2696884.0888 | 1247037.7925 | 2696896.1521 | 1247035.5657 | 2696907.9067 | 1247031.4324 | 2696921.0968 | 1247023.961
82 | 2696731.857 | 1246726.6795 | 2696531.7456 | 1246749.5144
83 | 2696731.857 | 1246726.6795 | 2696748.6498 | 1246713.8435 | 2696751.8987 | 1246710.127 | 2696754.6897 | 1246705.3021 | 2696756.8478 | 1246698.9881 | 2696757.666 | 1246692.83 | 2696756.778 | 1246685.6767 | 2696744.0166 | 1246628.8026 | 2696742.7529 | 1246619.2079 | 2696743.3949 | 1246610.8898 | 2696745.6783 | 1246603.3768 | 2696748.8114 | 1246597.5012 | 2696751.8476 | 1246592.4691 | 2696779.2034 | 1246558.86
84 | 2696540.2608 | 1246805.1179 | 2696553.8524 | 1246786.0912 | 2696531.7456 | 1246749.5144
85 | 2696779.2034 | 1246558.86 | 2696781.9932 | 1246555.4325 | 2696782.228 | 1246555.1594

## bus_geodata
| x | y | coords
0 | 2696929.4571 | 1246520.2649
1 | 2696943.5919 | 1246517.12
2 | 2696923.6486 | 1246521.5572
3 | 2696965.8845 | 1246511.2943
4 | 2696888.3841 | 1246527.7564
5 | 2696989.3049 | 1246505.0494
6 | 2696881.7132 | 1246526.416
7 | 2696878.955 | 1246525.3943
8 | 2696874.1994 | 1246472.8614
9 | 2696871.0995 | 1246468.5968
10 | 2696878.9677 | 1246479.4214
11 | 2696859.7119 | 1246452.9336
12 | 2696839.4824 | 1246490.154
13 | 2696873.7161 | 1246438.8181
14 | 2696845.0673 | 1246492.8362
15 | 2696838.9322 | 1246491.4453
16 | 2696860.0936 | 1246429.3711
17 | 2696967.0002 | 1246272.2478
18 | 2696829.9097 | 1246507.7335
19 | 2696824.5988 | 1246505.8565
20 | 2696844.8306 | 1246512.9988
21 | 2696807.6829 | 1246500.0297
22 | 2696805.2948 | 1246528.3186
23 | 2696850.0793 | 1246514.8572
24 | 2696854.7908 | 1246480.8302
25 | 2696848.1525 | 1246494.3118
26 | 2696802.3677 | 1246498.1988
27 | 2696795.5568 | 1246539.6499
28 | 2696875.7085 | 1246524.1916
29 | 2696791.3817 | 1246493.8488
30 | 2696731.0645 | 1246453.9904
31 | 2696726.8686 | 1246457.3913
32 | 2696728.1482 | 1246423.4305
33 | 2696693.2261 | 1246491.1416
34 | 2696716.2248 | 1246417.8351
35 | 2696656.3873 | 1246412.2965
36 | 2696639.694 | 1246404.1627
37 | 2696666.7613 | 1246393.0473
38 | 2696704.6795 | 1246412.4171
39 | 2696674.3918 | 1246512.3445
40 | 2696654.5071 | 1246417.3995
41 | 2696632.4844 | 1246414.4643
42 | 2696599.2335 | 1246382.5015
43 | 2696671.5178 | 1246384.2216
44 | 2696697.4093 | 1246375.0255
45 | 2696698.5457 | 1246372.9256
46 | 2696687.8196 | 1246392.7383
47 | 2696989.5155 | 1246226.4778
48 | 2697014.6758 | 1246175.3308
49 | 2696955.329 | 1246171.4545
50 | 2696843.8479 | 1246422.6295
51 | 2696837.7818 | 1246430.5472
52 | 2696748.3523 | 1246355.7233
53 | 2696619.6653 | 1246426.2936
54 | 2696649.156 | 1246431.5288
55 | 2696584.1511 | 1246374.1561
56 | 2696654.7848 | 1246456.106
57 | 2696639.3241 | 1246474.1104
58 | 2696591.3331 | 1246452.4384
59 | 2696626.7406 | 1246564.7082
60 | 2696561.6361 | 1246481.6994
61 | 2696792.2239 | 1246543.528
62 | 2696788.8918 | 1246547.4052
63 | 2696785.5597 | 1246551.2825
64 | 2696528.6585 | 1246508.0788
65 | 2696454.3993 | 1246446.8282
66 | 2696411.5246 | 1246407.1517
67 | 2696519.176 | 1246338.8391
68 | 2696541.6088 | 1246350.869
69 | 2696574.5879 | 1246269.4906
70 | 2696567.633 | 1246364.9105
71 | 2696531.1332 | 1246362.0984
72 | 2696481.0007 | 1246415.8387
73 | 2696495.5191 | 1246400.2755
74 | 2696479.4839 | 1246417.4647
75 | 2696498.6779 | 1246396.8894
76 | 2696515.5589 | 1246378.7935
77 | 2696515.6513 | 1246378.6944
78 | 2696546.6549 | 1247442.7671
79 | 2696823.3524 | 1247035.3098
80 | 2696731.857 | 1246726.6795
81 | 2696921.0968 | 1247023.961
82 | 2696540.2608 | 1246805.1179
83 | 2696531.7456 | 1246749.5144
84 | 2696779.2034 | 1246558.86
85 | 2696782.228 | 1246555.1594
86 | 2696604.2687 | 1246540.8621
87 | 2696691.5424 | 1246431.2952

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98389 | -0.30824 | 0.00046606 | 0.0001168
1 | 0.98384 | -0.30929 | 0.00048797 | 0.0001223
2 | 0.98392 | -0.30776 | 0.0015561 | 0.00039
3 | 0.98376 | -0.31076 | 0.0020087 | 0.00050342
4 | 0.98412 | -0.30384 | 0.00081386 | 0.00020397
5 | 0.98373 | -0.31143 | 0.0015302 | 0.0003835
6 | 0.98416 | -0.303 | 0.0023744 | 0.00059507
7 | 0.98418 | -0.30251 | 0.0020842 | 0.00052235
8 | 0.98284 | -0.32871 | 0.0035288 | 0.00088441
9 | 0.98287 | -0.32816 | 0.001453 | 0.00036416
10 | 0.98283 | -0.32904 | 0.0022472 | 0.00056321
11 | 0.983 | -0.32564 | 0 | 0
12 | 0.98407 | -0.30479 | 0 | 0
13 | 0.98264 | -0.33266 | 0 | 0
14 | 0.98404 | -0.30531 | 0 | 0
15 | 0.98411 | -0.304 | 0.0075391 | 0.0018895
16 | 0.98243 | -0.33682 | 0.0060128 | 0.001507
17 | 0.98155 | -0.35403 | 0 | 0
18 | 0.98478 | -0.2909 | 0 | 0
19 | 0.98505 | -0.28557 | 0 | 0
20 | 0.98458 | -0.29482 | 0.0019788 | 0.00049593
21 | 0.98623 | -0.26271 | 0.00093882 | 0.00023529
22 | 0.98455 | -0.29535 | 0.00036228 | 9.0797e-05
23 | 0.98452 | -0.29601 | 0 | 0
24 | 0.98398 | -0.30648 | 0.0041221 | 0.0010331
25 | 0.98404 | -0.30534 | 0.00053629 | 0.00013441
26 | 0.9866 | -0.25545 | 0 | 0
27 | 0.9843 | -0.30019 | 0.0016171 | 0.00040527
28 | 0.98422 | -0.3018 | 0.0004904 | 0.00012291
29 | 0.98739 | -0.24019 | 0.0025976 | 0.00065102
30 | 0.99237 | -0.14396 | 0 | 0
31 | 0.99196 | -0.15182 | 0 | 0
32 | 0.99711 | -0.054278 | 0 | 0
33 | 0.98829 | -0.22165 | 0.00048978 | 0.00012275
34 | 0.99858 | -0.026682 | 0.00035369 | 8.8642e-05
35 | 0.97473 | -0.4845 | 0 | 0
36 | 0.97527 | -0.47394 | 0 | 0
37 | 0.9741 | -0.49698 | 0.0038332 | 0.00096069
38 | 1 | 0 | -0.2467 | -0.063483
39 | 0.98612 | -0.26328 | 0 | 0
40 | 0.97527 | -0.47402 | 0.00020913 | 5.2412e-05
41 | 0.97605 | -0.45866 | 0 | 0
42 | 0.97377 | -0.50346 | 0.020146 | 0.0050492
43 | 0.97382 | -0.50236 | 0.0058753 | 0.0014725
44 | 0.97243 | -0.52981 | 0 | 0
45 | 0.97232 | -0.53201 | 0.018371 | 0.0046042
46 | 0.97337 | -0.51123 | 0.0023835 | 0.00059736
47 | 0.98128 | -0.35926 | 0.0051449 | 0.0012894
48 | 0.98126 | -0.35979 | 0 | 0
49 | 0.98123 | -0.36038 | 0.00050976 | 0.00012776
50 | 0.98228 | -0.33978 | 0.0047971 | 0.0012023
51 | 0.98225 | -0.34034 | 0.0031085 | 0.00077906
52 | 0.97021 | -0.57372 | 0.031716 | 0.0079488
53 | 0.9756 | -0.46756 | 0.0014203 | 0.00035596
54 | 0.97783 | -0.42372 | 0.0020028 | 0.00050195
55 | 0.97337 | -0.51137 | 0.003494 | 0.00087568
56 | 0.98037 | -0.37418 | 0.00048989 | 0.00012278
57 | 0.98218 | -0.3392 | 0 | 0
58 | 0.97465 | -0.48627 | 0.0019548 | 0.00048993
59 | 0.98603 | -0.26489 | 0 | 0
60 | 0.97369 | -0.50504 | 0.014618 | 0.0036637
61 | 0.98423 | -0.3017 | 0.0016153 | 0.00040484
62 | 0.98416 | -0.30306 | 0.0016156 | 0.00040491
63 | 0.9841 | -0.30428 | 0.0016162 | 0.00040507
64 | 0.9733 | -0.51277 | 0.0098942 | 0.0024797
65 | 0.97078 | -0.56249 | 0.004894 | 0.0012266
66 | 0.97115 | -0.55515 | 0 | 0
67 | 0.97193 | -0.5398 | 0 | 0
68 | 0.97235 | -0.53146 | 0 | 0
69 | 0.97065 | -0.56498 | 0.030704 | 0.0076952
70 | 0.97296 | -0.51946 | 0.0023767 | 0.00059565
71 | 0.97223 | -0.53385 | 0.0013012 | 0.0003261
72 | 0.97194 | -0.53951 | 0.00076649 | 0.0001921
73 | 0.97198 | -0.53883 | 0.00082348 | 0.00020638
74 | 0.97194 | -0.53955 | 0.0009717 | 0.00024353
75 | 0.97199 | -0.53861 | 0.0012855 | 0.00032218
76 | 0.97208 | -0.53686 | 0.001522 | 0.00038146
77 | 0.97208 | -0.53684 | 0.0017705 | 0.00044373
78 | 0.9805 | -0.37492 | 0.0024847 | 0.00062273
79 | 0.98163 | -0.35269 | 0 | 0
80 | 0.98253 | -0.33495 | 0 | 0
81 | 0.98158 | -0.35368 | 0.0005408 | 0.00013554
82 | 0.98124 | -0.36036 | 0.0052508 | 0.001316
83 | 0.98156 | -0.35408 | 0 | 0
84 | 0.984 | -0.30619 | 0.001617 | 0.00040525
85 | 0.98404 | -0.30534 | 0.0016159 | 0.00040499
86 | 0.986 | -0.26564 | 0.0012697 | 0.00031822
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0040273 | 0.0010087 | -0.0040271 | -0.0010088 | 2.0143e-07 | -5.4974e-08 | 0.0060906 | 0.0060906 | 0.0060906 | 0.98389 | -0.30824 | 0.98384 | -0.30929 | 1.6733
1 | -0.0044933 | -0.0011255 | 0.0044935 | 0.0011255 | 1.0304e-07 | -9.6261e-09 | 0.0067954 | 0.0067954 | 0.0067954 | 0.98389 | -0.30824 | 0.98392 | -0.30776 | 1.8669
2 | 0.0035391 | 0.0008865 | -0.0035389 | -0.00088664 | 2.4756e-07 | -1.3413e-07 | 0.0053526 | 0.0053527 | 0.0053527 | 0.98384 | -0.30929 | 0.98376 | -0.31076 | 1.4705
3 | -0.0060496 | -0.0015155 | 0.0060507 | 0.0015158 | 1.1283e-06 | 2.6546e-07 | 0.0091488 | 0.0091486 | 0.0091488 | 0.98392 | -0.30776 | 0.98412 | -0.30384 | 2.5134
4 | 0.0015302 | 0.00038322 | -0.0015302 | -0.0003835 | 4.8693e-08 | -2.7658e-07 | 0.0023145 | 0.0023146 | 0.0023146 | 0.98376 | -0.31076 | 0.98373 | -0.31143 | 0.63587
5 | -0.0068646 | -0.0017198 | 0.0068648 | 0.0017199 | 2.7546e-07 | 8.9655e-08 | 0.010379 | 0.010379 | 0.010379 | 0.98412 | -0.30384 | 0.98416 | -0.303 | 2.8514
6 | -0.0092392 | -0.0023149 | 0.0092394 | 0.002315 | 2.1524e-07 | 1.0038e-07 | 0.013969 | 0.013969 | 0.013969 | 0.98416 | -0.303 | 0.98418 | -0.30251 | 3.8377
7 | -0.011324 | -0.0028374 | 0.011324 | 0.0028376 | 3.8053e-07 | 1.9954e-07 | 0.01712 | 0.01712 | 0.01712 | 0.98418 | -0.30251 | 0.98422 | -0.3018 | 4.7034
8 | -0.0057761 | -0.0014475 | 0.0057762 | 0.0014476 | 1.5119e-07 | 2.9947e-08 | 0.0087449 | 0.0087449 | 0.0087449 | 0.98284 | -0.32871 | 0.98287 | -0.32816 | 2.4025
9 | 0.0022473 | 0.00056313 | -0.0022472 | -0.00056321 | 3.5204e-08 | -8.0244e-08 | 0.0034023 | 0.0034023 | 0.0034023 | 0.98284 | -0.32871 | 0.98283 | -0.32904 | 0.93471
10 | -0.0072293 | -0.0018117 | 0.0072301 | 0.001812 | 8.6988e-07 | 3.1126e-07 | 0.010945 | 0.010945 | 0.010945 | 0.98287 | -0.32816 | 0.983 | -0.32564 | 3.0068
11 | -0.026821 | -0.0067232 | 0.026848 | 0.0067397 | 2.6667e-05 | 1.6519e-05 | 0.040601 | 0.0406 | 0.040601 | 0.983 | -0.32564 | 0.98407 | -0.30479 | 11.154
12 | 0.019591 | 0.0049111 | -0.019584 | -0.0049072 | 6.5489e-06 | 3.9397e-06 | 0.029656 | 0.029656 | 0.029656 | 0.983 | -0.32564 | 0.98264 | -0.33266 | 8.1473
13 | 0.0046587 | 0.0011674 | -0.0046586 | -0.0011674 | 1.1502e-07 | -4.9102e-09 | 0.0070444 | 0.0070445 | 0.0070445 | 0.98407 | -0.30479 | 0.98404 | -0.30531 | 1.9353
14 | -0.031506 | -0.0079071 | 0.031507 | 0.0079078 | 1.1948e-06 | 7.4684e-07 | 0.047645 | 0.047645 | 0.047645 | 0.98407 | -0.30479 | 0.98411 | -0.304 | 13.0892
15 | 0.013922 | 0.0034902 | -0.01392 | -0.0034887 | 2.7633e-06 | 1.5585e-06 | 0.021083 | 0.021083 | 0.021083 | 0.98264 | -0.33266 | 0.98243 | -0.33682 | 5.7921
16 | 0.0056618 | 0.001417 | -0.0056561 | -0.0014159 | 5.7575e-06 | 1.0418e-06 | 0.008573 | 0.008574 | 0.008574 | 0.98264 | -0.33266 | 0.98155 | -0.35403 | 2.3555
17 | 0.0041223 | 0.001033 | -0.0041221 | -0.0010331 | 2.2962e-07 | -5.3221e-08 | 0.0062335 | 0.0062336 | 0.0062336 | 0.98404 | -0.30531 | 0.98398 | -0.30648 | 1.7125
18 | 0.00053629 | 0.00013437 | -0.00053629 | -0.00013441 | 8.4346e-10 | -4.2907e-08 | 0.00081094 | 0.00081096 | 0.00081096 | 0.98404 | -0.30531 | 0.98404 | -0.30534 | 0.22279
19 | -0.039047 | -0.0097973 | 0.039071 | 0.0098127 | 2.44e-05 | 1.5379e-05 | 0.059044 | 0.059044 | 0.059044 | 0.98411 | -0.304 | 0.98478 | -0.2909 | 16.221
20 | 0.0079068 | 0.0019817 | -0.0079057 | -0.0019813 | 1.1153e-06 | 4.5127e-07 | 0.011976 | 0.011976 | 0.011976 | 0.98243 | -0.33682 | 0.98228 | -0.33978 | 3.2901
21 | 0.0056561 | 0.0014159 | -0.0056547 | -0.0014157 | 1.4062e-06 | 2.5541e-07 | 0.008574 | 0.0085742 | 0.0085742 | 0.98155 | -0.35403 | 0.98128 | -0.35926 | 2.3555
22 | -0.052871 | -0.013273 | 0.052884 | 0.013281 | 1.3448e-05 | 8.5354e-06 | 0.079896 | 0.079896 | 0.079896 | 0.98478 | -0.2909 | 0.98505 | -0.28557 | 21.9495
23 | 0.0138 | 0.00346 | -0.013797 | -0.0034585 | 2.5799e-06 | 1.4499e-06 | 0.020852 | 0.020852 | 0.020852 | 0.98478 | -0.2909 | 0.98458 | -0.29482 | 5.7286
24 | -0.071259 | -0.017884 | 0.071337 | 0.017933 | 7.7754e-05 | 4.9534e-05 | 0.10765 | 0.10765 | 0.10765 | 0.98505 | -0.28557 | 0.98623 | -0.26271 | 29.5749
25 | 0.018375 | 0.0046024 | -0.018367 | -0.0045973 | 8.5567e-06 | 5.0995e-06 | 0.027756 | 0.027757 | 0.027757 | 0.98505 | -0.28557 | 0.98455 | -0.29535 | 7.6254
26 | 0.011818 | 0.0029626 | -0.011818 | -0.0029622 | 6.6615e-07 | 3.5553e-07 | 0.017862 | 0.017862 | 0.017862 | 0.98458 | -0.29482 | 0.98452 | -0.29601 | 4.907
27 | -0.072276 | -0.018168 | 0.072301 | 0.018184 | 2.5079e-05 | 1.5979e-05 | 0.10907 | 0.10907 | 0.10907 | 0.98623 | -0.26271 | 0.9866 | -0.25545 | 29.9641
28 | 0.018004 | 0.0045065 | -0.018 | -0.004504 | 4.1479e-06 | 2.4647e-06 | 0.027209 | 0.027209 | 0.027209 | 0.98455 | -0.29535 | 0.9843 | -0.30019 | 7.475
29 | 0.011818 | 0.0029622 | -0.011814 | -0.0029605 | 3.2634e-06 | 1.7418e-06 | 0.017862 | 0.017862 | 0.017862 | 0.98452 | -0.29601 | 0.98422 | -0.3018 | 4.9071
30 | -0.072301 | -0.018184 | 0.072354 | 0.018218 | 5.2739e-05 | 3.3602e-05 | 0.10907 | 0.10907 | 0.10907 | 0.9866 | -0.25545 | 0.98739 | -0.24019 | 29.9641
31 | 0.016383 | 0.0040987 | -0.016382 | -0.004098 | 1.176e-06 | 6.8766e-07 | 0.024765 | 0.024765 | 0.024765 | 0.9843 | -0.30019 | 0.98423 | -0.3017 | 6.8035
32 | -0.074951 | -0.018869 | 0.075298 | 0.01909 | 0.00034654 | 0.00022085 | 0.11298 | 0.11298 | 0.11298 | 0.98739 | -0.24019 | 0.99237 | -0.14396 | 31.0395
33 | 0.16769 | 0.043212 | -0.16762 | -0.043171 | 6.4132e-05 | 4.0905e-05 | 0.25186 | 0.25186 | 0.25186 | 0.99237 | -0.14396 | 0.99196 | -0.15182 | 34.5965
34 | -0.24298 | -0.062302 | 0.24405 | 0.06298 | 0.0010617 | 0.00067836 | 0.36485 | 0.36484 | 0.36485 | 0.99237 | -0.14396 | 0.99711 | -0.054278 | 50.1161
35 | 0.16762 | 0.043171 | -0.16705 | -0.042809 | 0.00056753 | 0.00036199 | 0.25186 | 0.25186 | 0.25186 | 0.99196 | -0.15182 | 0.98829 | -0.22165 | 34.5965
36 | -0.24405 | -0.06298 | 0.24437 | 0.06319 | 0.00032873 | 0.00021004 | 0.36484 | 0.36484 | 0.36484 | 0.99711 | -0.054278 | 0.99858 | -0.026682 | 50.116
37 | 0.16656 | 0.042686 | -0.16623 | -0.042472 | 0.00033534 | 0.0002139 | 0.25113 | 0.25113 | 0.25113 | 0.98829 | -0.22165 | 0.98612 | -0.26328 | 34.4953
38 | -0.24473 | -0.063279 | 0.24505 | 0.063483 | 0.00031922 | 0.00020397 | 0.36537 | 0.36537 | 0.36537 | 0.99858 | -0.026682 | 1 | 0 | 50.1884
39 | -0.062367 | -0.015701 | 0.062398 | 0.015721 | 3.1502e-05 | 1.9699e-05 | 0.095234 | 0.095233 | 0.095234 | 0.97473 | -0.4845 | 0.97527 | -0.47394 | 13.0815
40 | 0.062367 | 0.015701 | -0.062329 | -0.015678 | 3.7185e-05 | 2.3254e-05 | 0.095234 | 0.095234 | 0.095234 | 0.97473 | -0.4845 | 0.9741 | -0.49698 | 13.0816
41 | -0.13288 | -0.033462 | 0.13298 | 0.033523 | 9.7191e-05 | 6.1887e-05 | 0.2028 | 0.2028 | 0.2028 | 0.97527 | -0.47394 | 0.97605 | -0.45866 | 27.8576
42 | 0.070276 | 0.017689 | -0.070177 | -0.017626 | 9.8995e-05 | 6.2213e-05 | 0.10725 | 0.10725 | 0.10725 | 0.97527 | -0.47394 | 0.97377 | -0.50346 | 14.7323
43 | 0.00020913 | 5.2152e-05 | -0.00020913 | -5.2412e-05 | 7.9726e-10 | -2.6015e-07 | 0.00031898 | 0.00031907 | 0.00031907 | 0.97527 | -0.47394 | 0.97527 | -0.47402 | 0.087658
44 | 0.058496 | 0.014717 | -0.058481 | -0.014708 | 1.5017e-05 | 9.3614e-06 | 0.089378 | 0.089378 | 0.089378 | 0.9741 | -0.49698 | 0.97382 | -0.50236 | 12.2773
45 | 0.0012699 | 0.00031699 | -0.0012698 | -0.00031783 | 9.7467e-08 | -8.4089e-07 | 0.0019157 | 0.001916 | 0.001916 | 0.98612 | -0.26328 | 0.98603 | -0.26489 | 0.52639
46 | 0.16496 | 0.042156 | -0.16436 | -0.041771 | 0.00060333 | 0.00038481 | 0.24921 | 0.24921 | 0.24921 | 0.98612 | -0.26328 | 0.98218 | -0.3392 | 34.2322
47 | 0.027949 | 0.0070267 | -0.027937 | -0.0070193 | 1.188e-05 | 7.3852e-06 | 0.042617 | 0.042617 | 0.042617 | 0.97605 | -0.45866 | 0.9756 | -0.46756 | 11.7079
48 | -0.16093 | -0.04055 | 0.1612 | 0.040722 | 0.00026942 | 0.00017183 | 0.24542 | 0.24542 | 0.24542 | 0.97605 | -0.45866 | 0.97783 | -0.42372 | 33.7115
49 | 0.050031 | 0.012577 | -0.050012 | -0.012566 | 1.8897e-05 | 1.1666e-05 | 0.076465 | 0.076466 | 0.076466 | 0.97377 | -0.50346 | 0.97337 | -0.51137 | 10.5035
50 | 0.052606 | 0.013235 | -0.052584 | -0.013221 | 2.2293e-05 | 1.381e-05 | 0.080401 | 0.080401 | 0.080401 | 0.97382 | -0.50236 | 0.97337 | -0.51123 | 11.0441
51 | 0.050156 | 0.012596 | -0.05015 | -0.012593 | 5.2751e-06 | 3.3465e-06 | 0.076757 | 0.076757 | 0.076757 | 0.97243 | -0.52981 | 0.97232 | -0.53201 | 21.0872
52 | -0.050156 | -0.012596 | 0.0502 | 0.012624 | 4.4502e-05 | 2.8231e-05 | 0.076757 | 0.076757 | 0.076757 | 0.97243 | -0.52981 | 0.97337 | -0.51123 | 21.0872
53 | 0.031779 | 0.0079883 | -0.031716 | -0.0079488 | 6.3153e-05 | 3.9537e-05 | 0.048643 | 0.048643 | 0.048643 | 0.97232 | -0.53201 | 0.97021 | -0.57372 | 13.3635
54 | 0.00050979 | 0.00012624 | -0.00050977 | -0.00012695 | 1.276e-08 | -7.1189e-07 | 0.0007725 | 0.00077275 | 0.00077275 | 0.98128 | -0.35926 | 0.98126 | -0.35979 | 0.21229
55 | 0.00050977 | 0.00012695 | -0.00050976 | -0.00012776 | 1.4445e-08 | -8.0526e-07 | 0.00077275 | 0.00077304 | 0.00077304 | 0.98126 | -0.35979 | 0.98123 | -0.36038 | 0.21237
56 | 0.0031086 | 0.00077899 | -0.0031085 | -0.00077906 | 8.2944e-08 | -7.3171e-08 | 0.004709 | 0.0047091 | 0.0047091 | 0.98228 | -0.33978 | 0.98225 | -0.34034 | 1.2937
57 | 0.026517 | 0.0066633 | -0.026493 | -0.0066487 | 2.3655e-05 | 1.4658e-05 | 0.04045 | 0.040451 | 0.040451 | 0.9756 | -0.46756 | 0.97465 | -0.48627 | 11.1128
58 | -0.1632 | -0.041224 | 0.16359 | 0.041472 | 0.00038846 | 0.00024777 | 0.24847 | 0.24847 | 0.24847 | 0.97783 | -0.42372 | 0.98037 | -0.37418 | 34.1301
59 | 0.046518 | 0.01169 | -0.0465 | -0.011679 | 1.7955e-05 | 1.1021e-05 | 0.071124 | 0.071124 | 0.071124 | 0.97337 | -0.51137 | 0.97296 | -0.51946 | 9.7698
60 | -0.16408 | -0.041594 | 0.16436 | 0.041771 | 0.00027635 | 0.00017627 | 0.24921 | 0.24921 | 0.24921 | 0.98037 | -0.37418 | 0.98218 | -0.3392 | 34.2322
61 | 0.024538 | 0.0061587 | -0.024516 | -0.0061452 | 2.1948e-05 | 1.3528e-05 | 0.037466 | 0.037466 | 0.037466 | 0.97465 | -0.48627 | 0.97369 | -0.50504 | 10.2929
62 | 0.0012698 | 0.00031783 | -0.0012697 | -0.00031822 | 4.5113e-08 | -3.8906e-07 | 0.001916 | 0.0019162 | 0.0019162 | 0.98603 | -0.26489 | 0.986 | -0.26564 | 0.52643
63 | 0.0098978 | 0.0024815 | -0.0098942 | -0.0024797 | 3.6457e-06 | 1.805e-06 | 0.015126 | 0.015127 | 0.015127 | 0.97369 | -0.50504 | 0.9733 | -0.51277 | 4.1557
64 | 0.014767 | 0.0036932 | -0.014766 | -0.0036926 | 9.5527e-07 | 5.4641e-07 | 0.022322 | 0.022322 | 0.022322 | 0.98423 | -0.3017 | 0.98416 | -0.30306 | 6.1325
65 | 0.01315 | 0.0032877 | -0.013149 | -0.0032873 | 7.5766e-07 | 4.1995e-07 | 0.01988 | 0.01988 | 0.01988 | 0.98416 | -0.30306 | 0.9841 | -0.30428 | 5.4615
66 | 0.011533 | 0.0028822 | -0.011533 | -0.0028819 | 5.8276e-07 | 3.0802e-07 | 0.017436 | 0.017436 | 0.017436 | 0.9841 | -0.30428 | 0.98404 | -0.30534 | 4.7901
67 | -0.004894 | -0.0012266 | 0.0048957 | 0.0012267 | 1.7113e-06 | 9.2163e-08 | 0.0075016 | 0.0075012 | 0.0075016 | 0.97078 | -0.56249 | 0.97115 | -0.55515 | 2.0609
68 | -0.0048957 | -0.0012267 | 0.0048993 | 0.0012268 | 3.5784e-06 | 1.8993e-07 | 0.0075012 | 0.0075005 | 0.0075012 | 0.97115 | -0.55515 | 0.97193 | -0.5398 | 2.0608
69 | -0.03564 | -0.0089434 | 0.035655 | 0.0089519 | 1.4179e-05 | 8.4451e-06 | 0.054569 | 0.054569 | 0.054569 | 0.97193 | -0.5398 | 0.97235 | -0.53146 | 7.4958
70 | 0.030741 | 0.0077166 | -0.030704 | -0.0076952 | 3.6875e-05 | 2.1403e-05 | 0.047069 | 0.04707 | 0.04707 | 0.97193 | -0.5398 | 0.97065 | -0.56498 | 6.4656
71 | -0.044098 | -0.011068 | 0.044123 | 0.011083 | 2.5257e-05 | 1.543e-05 | 0.06749 | 0.06749 | 0.06749 | 0.97235 | -0.53146 | 0.97296 | -0.51946 | 9.2706
72 | 0.0084433 | 0.0021159 | -0.0084423 | -0.0021155 | 9.6145e-07 | 4.2486e-07 | 0.012921 | 0.012921 | 0.012921 | 0.97235 | -0.53146 | 0.97223 | -0.53385 | 3.5497
73 | 0.0071411 | 0.0017894 | -0.0071401 | -0.001789 | 1.0167e-06 | 3.6928e-07 | 0.01093 | 0.01093 | 0.01093 | 0.97223 | -0.53385 | 0.97208 | -0.53684 | 3.0026
74 | -0.0017382 | -0.0004356 | 0.0017382 | 0.00043538 | 5.6518e-08 | -2.2762e-07 | 0.0026611 | 0.002661 | 0.0026611 | 0.97194 | -0.53951 | 0.97198 | -0.53883 | 0.73107
75 | 0.0009717 | 0.0002435 | -0.0009717 | -0.00024353 | 1.8454e-09 | -2.6378e-08 | 0.0014876 | 0.0014876 | 0.0014876 | 0.97194 | -0.53951 | 0.97194 | -0.53955 | 0.40869
76 | -0.0025617 | -0.00064176 | 0.0025618 | 0.00064172 | 2.6707e-08 | -4.0303e-08 | 0.0039217 | 0.0039217 | 0.0039217 | 0.97198 | -0.53883 | 0.97199 | -0.53861 | 1.0774
77 | -0.0038473 | -0.0009639 | 0.0038476 | 0.0009638 | 3.2191e-07 | -1.0074e-07 | 0.0058897 | 0.0058896 | 0.0058897 | 0.97199 | -0.53861 | 0.97208 | -0.53686 | 1.618
78 | -0.0053696 | -0.0013453 | 0.0053696 | 0.0013453 | 3.4315e-09 | 5.1621e-10 | 0.0082194 | 0.0082194 | 0.0082194 | 0.97208 | -0.53686 | 0.97208 | -0.53684 | 2.2581
79 | -0.0024847 | -0.00062273 | 0.0024873 | 0.00061819 | 2.6247e-06 | -4.5395e-06 | 0.0037708 | 0.0037686 | 0.0037708 | 0.9805 | -0.37492 | 0.98163 | -0.35269 | 1.0359
80 | -0.0030282 | -0.00075247 | 0.0030307 | 0.00075002 | 2.5402e-06 | -2.4475e-06 | 0.004588 | 0.0045865 | 0.004588 | 0.98163 | -0.35269 | 0.98253 | -0.33495 | 1.2604
81 | 0.00054082 | 0.00013428 | -0.0005408 | -0.00013554 | 2.5384e-08 | -1.2576e-06 | 0.00081936 | 0.00081981 | 0.00081981 | 0.98163 | -0.35269 | 0.98158 | -0.35368 | 0.22522
82 | 0.0052572 | 0.0013167 | -0.0052524 | -0.0013162 | 4.788e-06 | 5.1603e-07 | 0.0079616 | 0.0079625 | 0.0079625 | 0.98253 | -0.33495 | 0.98156 | -0.35408 | 2.1875
83 | -0.0082879 | -0.0020667 | 0.0082992 | 0.0020715 | 1.1322e-05 | 4.8139e-06 | 0.012548 | 0.012547 | 0.012548 | 0.98253 | -0.33495 | 0.984 | -0.30619 | 3.4473
84 | -0.0052508 | -0.001316 | 0.0052524 | 0.0013162 | 1.5708e-06 | 1.7053e-07 | 0.0079628 | 0.0079625 | 0.0079628 | 0.98124 | -0.36036 | 0.98156 | -0.35408 | 2.1876
85 | -0.0099162 | -0.0024768 | 0.0099166 | 0.002477 | 4.0286e-07 | 1.9711e-07 | 0.014992 | 0.014992 | 0.014992 | 0.984 | -0.30619 | 0.98404 | -0.30534 | 4.1188

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2467 | 0.063483

## res_load
| p_mw | q_mvar
0 | 0.00046606 | 0.0001168
1 | 0.00048797 | 0.0001223
2 | 0.0015561 | 0.00039
3 | 0.0020087 | 0.00050342
4 | 0.00081386 | 0.00020397
5 | 0.0015302 | 0.0003835
6 | 0.0023744 | 0.00059507
7 | 0.0020842 | 0.00052235
8 | 0.0035288 | 0.00088441
9 | 0.001453 | 0.00036416
10 | 0.0022472 | 0.00056321
11 | 0.0075391 | 0.0018895
12 | 0.0060128 | 0.001507
13 | 0.0019788 | 0.00049593
14 | 0.00093882 | 0.00023529
15 | 0.00036228 | 9.0797e-05
16 | 0.0041221 | 0.0010331
17 | 0.00053629 | 0.00013441
18 | 0.0016171 | 0.00040527
19 | 0.0004904 | 0.00012291
20 | 0.0025976 | 0.00065102
21 | 0.00048978 | 0.00012275
22 | 0.00035369 | 8.8642e-05
23 | 0.0038332 | 0.00096069
24 | 0.00020913 | 5.2412e-05
25 | 0.020146 | 0.0050492
26 | 0.0058753 | 0.0014725
27 | 0.018371 | 0.0046042
28 | 0.0023835 | 0.00059736
29 | 0.0051449 | 0.0012894
30 | 0.00050976 | 0.00012776
31 | 0.0047971 | 0.0012023
32 | 0.0031085 | 0.00077906
33 | 0.031716 | 0.0079488
34 | 0.0014203 | 0.00035596
35 | 0.0020028 | 0.00050195
36 | 0.003494 | 0.00087568
37 | 0.00048989 | 0.00012278
38 | 0.0019548 | 0.00048993
39 | 0.014618 | 0.0036637
40 | 0.0016153 | 0.00040484
41 | 0.0016156 | 0.00040491
42 | 0.0016162 | 0.00040507
43 | 0.0098942 | 0.0024797
44 | 0.004894 | 0.0012266
45 | 0.030704 | 0.0076952
46 | 0.0023767 | 0.00059565
47 | 0.0013012 | 0.0003261
48 | 0.00076649 | 0.0001921
49 | 0.00082348 | 0.00020638
50 | 0.0009717 | 0.00024353
51 | 0.0012855 | 0.00032218
52 | 0.001522 | 0.00038146
53 | 0.0017705 | 0.00044373
54 | 0.0024847 | 0.00062273
55 | 0.0005408 | 0.00013554
56 | 0.0052508 | 0.001316
57 | 0.001617 | 0.00040525
58 | 0.0016159 | 0.00040499
59 | 0.0012697 | 0.00031822

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1