## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-11_0_6_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_198-11_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_198-11_0_6_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_198-11_0_6_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_198-11_0_6_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_198-11_0_6_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_198-11_0_6_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_198-11_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_198-11_0_6_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_198-11_0_6_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_198-11_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_198-11_0_6_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_198-11_0_6_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_198-11_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_198-11_0_6_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_198-11_0_6_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_198-11_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_198-11_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_198-11_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_198-11_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_198-11_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_198-11_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_198-11_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_198-11_0_6_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_198-11_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_198-11_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_198-11_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_198-11_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_198-11_0_6_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_198-11_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_198-11_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_198-11_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_198-11_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_198-11_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_198-11_0_6_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_198-11_0_6_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_198-11_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_198-11_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_198-11_0_6_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_198-11_0_6_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_198-11_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_198-11_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_198-11_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_198-11_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_198-11_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_198-11_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_198-11_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_198-11_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_MV_365_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-11_0_6_load_0 | 0 | 0.045397 | 0.011378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-11_0_6_load_1 | 1 | 0.0028316 | 0.00070967 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-11_0_6_load_38 | 2 | 0.00085948 | 0.00021541 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-11_0_6_load_40 | 4 | 0.0012532 | 0.00031407 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-11_0_6_load_27 | 6 | 0.00079593 | 0.00019948 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-11_0_6_load_39 | 8 | 0.0082781 | 0.0020747 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-11_0_6_load_9 | 9 | 0.00029896 | 7.4927e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-11_0_6_load_3 | 10 | 0.018987 | 0.0047587 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-11_0_6_load_31 | 13 | 0.0094794 | 0.0023758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-11_0_6_load_29 | 14 | 0.0065211 | 0.0016344 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-11_0_6_load_36 | 15 | 0.010851 | 0.0027195 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-11_0_6_load_6 | 17 | 0.0080473 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-11_0_6_load_7 | 18 | 0.0051564 | 0.0012923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-11_0_6_load_8 | 19 | 0.00055901 | 0.0001401 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-11_0_6_load_10 | 20 | 0.030343 | 0.0076048 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-11_0_6_load_11 | 21 | 0.011494 | 0.0028807 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-11_0_6_load_42 | 25 | 0.032737 | 0.0082046 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-11_0_6_load_20 | 27 | 0.011787 | 0.0029542 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-11_0_6_load_43 | 31 | 0.0042313 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-11_0_6_load_47 | 32 | 0.067093 | 0.016815 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-11_0_6_load_21 | 33 | 0.019883 | 0.0049832 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-11_0_6_load_16 | 34 | 0.051079 | 0.012802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-11_0_6_load_45 | 35 | 0.041925 | 0.010508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-11_0_6_load_17 | 37 | 0.0065971 | 0.0016534 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-11_0_6_load_22 | 39 | 0.021104 | 0.0052891 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-11_0_6_load_49 | 40 | 0.019093 | 0.0047852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-11_0_6_load_50 | 41 | 0.032116 | 0.0080491 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-11_0_6_load_24 | 42 | 0.0052442 | 0.0013143 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-11_0_6_load_25 | 43 | 0.0022426 | 0.00056205 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-11_0_6_load_26 | 44 | 0.013993 | 0.0035071 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-11_0_6_load_33 | 46 | 0.005055 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-11_0_6_load_32 | 47 | 0.0034679 | 0.00086915 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-11_0_6_load_34 | 48 | 0.015887 | 0.0039816 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-11_0_6_load_35 | 49 | 0.016334 | 0.0040938 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-11_0_6_line_0 |  | 0 | 1 | 0.03004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-11_0_6_line_1 |  | 0 | 2 | 0.091536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-11_0_6_line_2 |  | 1 | 3 | 0.084395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-11_0_6_line_3 |  | 3 | 4 | 0.067972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-11_0_6_line_4 |  | 3 | 5 | 0.014727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_198-11_0_6_line_5 |  | 4 | 6 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-11_0_6_line_6 |  | 5 | 7 | 0.050616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_198-11_0_6_line_7 |  | 5 | 8 | 0.054454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-11_0_6_line_8 |  | 5 | 9 | 0.020975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-11_0_6_line_9 |  | 6 | 43 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-11_0_6_line_10 |  | 7 | 30 | 0.029015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_198-11_0_6_line_11 |  | 9 | 19 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-11_0_6_line_12 |  | 10 | 11 | 0.073765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-11_0_6_line_13 |  | 11 | 12 | 0.06816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-11_0_6_line_14 |  | 12 | 13 | 0.045635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-11_0_6_line_15 |  | 12 | 14 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-11_0_6_line_16 |  | 13 | 15 | 0.034539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-11_0_6_line_17 |  | 14 | 16 | 0.0071066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-11_0_6_line_18 |  | 16 | 45 | 0.050267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-11_0_6_line_19 |  | 16 | 44 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-11_0_6_line_20 |  | 17 | 18 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-11_0_6_line_21 |  | 18 | 19 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-11_0_6_line_22 |  | 20 | 21 | 0.0071854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_198-11_0_6_line_23 |  | 20 | 22 | 0.036632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_198-11_0_6_line_24 |  | 21 | 23 | 0.036815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_198-11_0_6_line_25 |  | 22 | 24 | 0.014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_198-11_0_6_line_26 |  | 23 | 25 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_198-11_0_6_line_27 |  | 24 | 26 | 0.020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_198-11_0_6_line_28 |  | 24 | 27 | 0.035551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-11_0_6_line_29 |  | 25 | 31 | 0.00948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_198-11_0_6_line_30 |  | 26 | 32 | 0.03455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-11_0_6_line_31 |  | 26 | 28 | 0.007463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_198-11_0_6_line_32 |  | 27 | 33 | 0.063009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-11_0_6_line_33 |  | 28 | 29 | 0.072444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_198-11_0_6_line_34 |  | 29 | 34 | 0.03189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-11_0_6_line_35 |  | 30 | 31 | 0.022562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_198-11_0_6_line_36 |  | 33 | 39 | 0.04203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-11_0_6_line_37 |  | 34 | 37 | 0.044507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-11_0_6_line_38 |  | 35 | 36 | 0.067978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-11_0_6_line_39 |  | 36 | 38 | 0.005663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-11_0_6_line_40 |  | 37 | 38 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-11_0_6_line_41 |  | 39 | 40 | 0.035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-11_0_6_line_42 |  | 40 | 41 | 0.04311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-11_0_6_line_43 |  | 42 | 43 | 0.055706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-11_0_6_line_44 |  | 42 | 44 | 0.007075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-11_0_6_line_45 |  | 45 | 46 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-11_0_6_line_46 |  | 45 | 47 | 0.058157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-11_0_6_line_47 |  | 46 | 48 | 0.0045929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-11_0_6_line_48 |  | 48 | 49 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-11_0_6_trafo_44 | 0.63 MVA 20/0.4 kV | 50 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2693859.7277 | 1247871.7892 | 2693844.17 | 1247846.0922
1 | 2693859.7277 | 1247871.7892 | 2693918.4154 | 1247942.0357
2 | 2693799.6394 | 1247774.4345 | 2693807.9277 | 1247786.2301 | 2693844.17 | 1247846.0922
3 | 2693799.6394 | 1247774.4345 | 2693742.6903 | 1247811.5429
4 | 2693812.0037 | 1247766.3794 | 2693800.7766 | 1247773.6963 | 2693799.6394 | 1247774.4345
5 | 2693742.6903 | 1247811.5429 | 2693733.603 | 1247817.4642
6 | 2693854.3529 | 1247738.4727 | 2693820.5455 | 1247760.7325 | 2693812.0037 | 1247766.3794
7 | 2693812.0037 | 1247766.3794 | 2693818.0317 | 1247775.4262 | 2693817.5168 | 1247779.7991 | 2693839.3123 | 1247812.3566
8 | 2693812.0037 | 1247766.3794 | 2693799.0664 | 1247749.8697
9 | 2693733.603 | 1247817.4642 | 2693724.9816 | 1247823.082
10 | 2693854.3529 | 1247738.4727 | 2693878.2947 | 1247721.9835
11 | 2693788.1521 | 1247735.9415 | 2693799.0664 | 1247749.8697
12 | 2693587.6169 | 1247923.2758 | 2693595.2739 | 1247932.4926 | 2693622.8865 | 1247977.107 | 2693627.7863 | 1247985.0282
13 | 2693639.7996 | 1247879.5218 | 2693623.6971 | 1247890.9096 | 2693611.7676 | 1247900.1616 | 2693600.797 | 1247909.9181 | 2693589.4322 | 1247921.2029 | 2693587.6169 | 1247923.2758
14 | 2693639.7996 | 1247879.5218 | 2693613.798 | 1247842.0187
15 | 2693639.7996 | 1247879.5218 | 2693656.4988 | 1247868.468
16 | 2693613.798 | 1247842.0187 | 2693603.2653 | 1247826.827 | 2693600.2009 | 1247828.5911 | 2693593.2703 | 1247818.168
17 | 2693662.4247 | 1247864.5455 | 2693656.4988 | 1247868.468
18 | 2693662.4247 | 1247864.5455 | 2693635.1678 | 1247822.2605
19 | 2693662.4247 | 1247864.5455 | 2693672.6238 | 1247857.7235
20 | 2693770.4028 | 1247713.0582 | 2693779.0761 | 1247724.2505
21 | 2693788.1521 | 1247735.9415 | 2693786.6819 | 1247734.0654 | 2693779.0761 | 1247724.2505
22 | 2693928.4102 | 1247687.6837 | 2693934.3402 | 1247683.6258
23 | 2693964.572 | 1247662.9383 | 2693934.3402 | 1247683.6258
24 | 2693898.0274 | 1247708.4745 | 2693928.4102 | 1247687.6837
25 | 2693977.4177 | 1247662.1857 | 2693970.2699 | 1247665.6417 | 2693964.572 | 1247662.9383
26 | 2693898.0274 | 1247708.4745 | 2693889.087 | 1247696.3571
27 | 2693977.4177 | 1247662.1857 | 2693991.2615 | 1247654.6994 | 2693995.6533 | 1247652.1226
28 | 2693977.4177 | 1247662.1857 | 2693996.8778 | 1247691.9378
29 | 2693889.087 | 1247696.3571 | 2693889.087 | 1247696.3571 | 2693886.4099 | 1247698.4607 | 2693881.6196 | 1247702.1973
30 | 2693995.6533 | 1247652.1226 | 2694012.2317 | 1247638.9198 | 2694018.0406 | 1247635.109 | 2694023.7618 | 1247632.2189
31 | 2693991.4456 | 1247645.9512 | 2693995.6533 | 1247652.1226
32 | 2694002.453 | 1247738.5993 | 2694019.9408 | 1247727.1983 | 2693996.8778 | 1247691.9378
33 | 2693974.5768 | 1247593.1658 | 2693995.7047 | 1247618.4088 | 2694007.2175 | 1247635.4932 | 2693991.4456 | 1247645.9512
34 | 2693974.5768 | 1247593.1658 | 2693964.088 | 1247579.1333 | 2693959.4014 | 1247571.2419 | 2693957.7264 | 1247566.3269
35 | 2693878.2947 | 1247721.9835 | 2693876.2148 | 1247706.4165 | 2693876.8115 | 1247705.9478 | 2693881.6196 | 1247702.1973
36 | 2694002.453 | 1247738.5993 | 2693967.2443 | 1247761.5531
37 | 2693959.9278 | 1247522.9182 | 2693959.4198 | 1247523.8727 | 2693956.6633 | 1247532.4022 | 2693954.6717 | 1247541.7667 | 2693954.8857 | 1247551.6109 | 2693956.3915 | 1247562.4097 | 2693957.7264 | 1247566.3269
38 | 2693967.2746 | 1247502.5142 | 2693961.0964 | 1247510.0776 | 2693956.362 | 1247518.5313 | 2693952.8032 | 1247527.1704 | 2693950.0893 | 1247537.3018 | 2693949.3852 | 1247547.4095 | 2693950.3424 | 1247559.456 | 2693951.978 | 1247565.7197
39 | 2693967.2746 | 1247502.5142 | 2693972.3014 | 1247505.1514
40 | 2693972.3014 | 1247505.1514 | 2693964.4961 | 1247514.3347 | 2693959.9278 | 1247522.9182
41 | 2693937.1809 | 1247781.1526 | 2693967.2443 | 1247761.5531
42 | 2693937.1809 | 1247781.1526 | 2693901.0675 | 1247804.6962
43 | 2693724.9816 | 1247823.082 | 2693702.9928 | 1247837.4101 | 2693678.5045 | 1247853.7899
44 | 2693672.6238 | 1247857.7235 | 2693678.5045 | 1247853.7899
45 | 2693635.1678 | 1247822.2605 | 2693651.0152 | 1247811.9898
46 | 2693635.1678 | 1247822.2605 | 2693621.2896 | 1247801.8591 | 2693648.8803 | 1247782.8897
47 | 2693651.0152 | 1247811.9898 | 2693654.8694 | 1247809.4919
48 | 2693667.694 | 1247801.1803 | 2693654.8694 | 1247809.4919

## bus_geodata
| x | y | coords
0 | 2693859.7277 | 1247871.7892
1 | 2693844.17 | 1247846.0922
2 | 2693918.4154 | 1247942.0357
3 | 2693799.6394 | 1247774.4345
4 | 2693742.6903 | 1247811.5429
5 | 2693812.0037 | 1247766.3795
6 | 2693733.603 | 1247817.4642
7 | 2693854.3529 | 1247738.4727
8 | 2693839.3123 | 1247812.3566
9 | 2693799.0664 | 1247749.8697
10 | 2693627.7863 | 1247985.0282
11 | 2693587.6169 | 1247923.2758
12 | 2693639.7996 | 1247879.5218
13 | 2693613.798 | 1247842.0187
14 | 2693656.4988 | 1247868.468
15 | 2693593.2703 | 1247818.168
16 | 2693662.4247 | 1247864.5455
17 | 2693770.4028 | 1247713.0582
18 | 2693779.0761 | 1247724.2505
19 | 2693788.1521 | 1247735.9415
20 | 2693934.3402 | 1247683.6258
21 | 2693928.4102 | 1247687.6837
22 | 2693964.572 | 1247662.9383
23 | 2693898.0274 | 1247708.4745
24 | 2693977.4177 | 1247662.1857
25 | 2693889.087 | 1247696.3571
26 | 2693995.6533 | 1247652.1226
27 | 2693996.8778 | 1247691.9378
28 | 2693991.4456 | 1247645.9512
29 | 2693974.5768 | 1247593.1658
30 | 2693878.2947 | 1247721.9835
31 | 2693881.6196 | 1247702.1973
32 | 2694023.7618 | 1247632.2189
33 | 2694002.453 | 1247738.5993
34 | 2693957.7264 | 1247566.3269
35 | 2693951.978 | 1247565.7197
36 | 2693967.2746 | 1247502.5142
37 | 2693959.9278 | 1247522.9182
38 | 2693972.3014 | 1247505.1514
39 | 2693967.2443 | 1247761.5531
40 | 2693937.1809 | 1247781.1526
41 | 2693901.0675 | 1247804.6962
42 | 2693678.5045 | 1247853.7899
43 | 2693724.9816 | 1247823.082
44 | 2693672.6238 | 1247857.7235
45 | 2693635.1678 | 1247822.2605
46 | 2693651.0152 | 1247811.9898
47 | 2693648.8803 | 1247782.8897
48 | 2693654.8694 | 1247809.4919
49 | 2693667.694 | 1247801.1803
50 | 2693898.0274 | 1247708.4745

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98939 | -0.20303 | 0.045397 | 0.011378
1 | 0.99066 | -0.17832 | 0.0028316 | 0.00070967
2 | 0.98932 | -0.20444 | 0.00085948 | 0.00021541
3 | 0.99446 | -0.10502 | 0 | 0
4 | 0.9875 | -0.23788 | 0.0012532 | 0.00031407
5 | 0.99555 | -0.08438 | 0 | 0
6 | 0.98641 | -0.25901 | 0.00079593 | 0.00019948
7 | 0.99838 | -0.030658 | 0 | 0
8 | 0.99513 | -0.092311 | 0.0082781 | 0.0020747
9 | 0.99528 | -0.089568 | 0.00029896 | 7.4927e-05
10 | 0.9747 | -0.48725 | 0.018987 | 0.0047587
11 | 0.97601 | -0.46159 | 0 | 0
12 | 0.97721 | -0.43794 | 0 | 0
13 | 0.97635 | -0.45489 | 0.0094794 | 0.0023758
14 | 0.97794 | -0.42357 | 0.0065211 | 0.0016344
15 | 0.976 | -0.46174 | 0.010851 | 0.0027195
16 | 0.97825 | -0.41764 | 0 | 0
17 | 0.99477 | -0.099302 | 0.0080473 | 0.0020169
18 | 0.99488 | -0.097296 | 0.0051564 | 0.0012923
19 | 0.99505 | -0.093855 | 0.00055901 | 0.0001401
20 | 0.99088 | -0.17317 | 0.030343 | 0.0076048
21 | 0.99155 | -0.16038 | 0.011494 | 0.0028807
22 | 0.98781 | -0.23203 | 0 | 0
23 | 0.9951 | -0.09263 | 0 | 0
24 | 0.98662 | -0.25497 | 0 | 0
25 | 0.99656 | -0.065056 | 0.032737 | 0.0082046
26 | 0.98555 | -0.27567 | 0 | 0
27 | 0.98318 | -0.3214 | 0.011787 | 0.0029542
28 | 0.98532 | -0.28012 | 0 | 0
29 | 0.98197 | -0.34511 | 0 | 0
30 | 1 | 0 | -0.54177 | -0.13888
31 | 0.99757 | -0.045927 | 0.0042313 | 0.0010605
32 | 0.98341 | -0.31736 | 0.067093 | 0.016815
33 | 0.97777 | -0.42673 | 0.019883 | 0.0049832
34 | 0.97902 | -0.4027 | 0.051079 | 0.012802
35 | 0.97328 | -0.51538 | 0.041925 | 0.010508
36 | 0.97593 | -0.46309 | 0 | 0
37 | 0.97701 | -0.44206 | 0.0065971 | 0.0016534
38 | 0.97615 | -0.45874 | 0 | 0
39 | 0.97494 | -0.4823 | 0.021104 | 0.0052891
40 | 0.97322 | -0.51606 | 0.019093 | 0.0047852
41 | 0.97193 | -0.54157 | 0.032116 | 0.0080491
42 | 0.97989 | -0.38538 | 0.0052442 | 0.0013143
43 | 0.98537 | -0.27895 | 0.0022426 | 0.00056205
44 | 0.97923 | -0.3983 | 0.013993 | 0.0035071
45 | 0.97634 | -0.45501 | 0 | 0
46 | 0.97569 | -0.46789 | 0.005055 | 0.0012669
47 | 0.97615 | -0.4587 | 0.0034679 | 0.00086915
48 | 0.97555 | -0.4706 | 0.015887 | 0.0039816
49 | 0.97532 | -0.47518 | 0.016334 | 0.0040938
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.046257 | -0.011592 | 0.046311 | 0.011626 | 5.452e-05 | 3.4506e-05 | 0.069569 | 0.069569 | 0.069569 | 0.98939 | -0.20303 | 0.99066 | -0.17832 | 19.1123
1 | 0.00085954 | 0.00021427 | -0.00085948 | -0.00021541 | 5.7345e-08 | -1.1388e-06 | 0.0012923 | 0.0012927 | 0.0012927 | 0.98939 | -0.20303 | 0.98932 | -0.20444 | 0.35515
2 | -0.049143 | -0.012336 | 0.049316 | 0.012445 | 0.00017247 | 0.00010929 | 0.073822 | 0.073821 | 0.073822 | 0.99066 | -0.17832 | 0.99446 | -0.10502 | 20.2807
3 | 0.11194 | 0.02876 | -0.11122 | -0.028302 | 0.00071727 | 0.00045818 | 0.16775 | 0.16775 | 0.16775 | 0.99446 | -0.10502 | 0.9875 | -0.23788 | 46.0851
4 | -0.16126 | -0.041205 | 0.16142 | 0.041308 | 0.00016114 | 0.00010275 | 0.24157 | 0.24157 | 0.24157 | 0.99446 | -0.10502 | 0.99555 | -0.08438 | 33.1827
5 | 0.10997 | 0.027988 | -0.10986 | -0.027916 | 0.00011189 | 7.1472e-05 | 0.16586 | 0.16586 | 0.16586 | 0.9875 | -0.23788 | 0.98641 | -0.25901 | 45.5663
6 | -0.18377 | -0.046913 | 0.18425 | 0.047217 | 0.00047841 | 0.0003042 | 0.27498 | 0.27498 | 0.27498 | 0.99555 | -0.08438 | 0.99838 | -0.030658 | 25.1813
7 | 0.0082812 | 0.002076 | -0.0082781 | -0.0020747 | 3.1287e-06 | 1.2946e-06 | 0.012378 | 0.012378 | 0.012378 | 0.99555 | -0.08438 | 0.99513 | -0.092311 | 3.4006
8 | 0.014071 | 0.0035292 | -0.014067 | -0.0035273 | 3.4794e-06 | 1.9542e-06 | 0.021032 | 0.021032 | 0.021032 | 0.99555 | -0.08438 | 0.99528 | -0.089568 | 5.7781
9 | 0.10906 | 0.027717 | -0.10896 | -0.02765 | 0.00010462 | 6.6829e-05 | 0.16466 | 0.16466 | 0.16466 | 0.98641 | -0.25901 | 0.98537 | -0.27895 | 45.2365
10 | -0.18425 | -0.047217 | 0.18452 | 0.047392 | 0.00027424 | 0.00017437 | 0.27498 | 0.27498 | 0.27498 | 0.99838 | -0.030658 | 1 | 0 | 25.1813
11 | 0.013768 | 0.0034523 | -0.013766 | -0.0034508 | 2.8119e-06 | 1.5697e-06 | 0.020585 | 0.020586 | 0.020586 | 0.99528 | -0.089568 | 0.99505 | -0.093855 | 5.6554
12 | -0.018987 | -0.0047587 | 0.019011 | 0.0047726 | 2.3242e-05 | 1.3954e-05 | 0.028987 | 0.028986 | 0.028987 | 0.9747 | -0.48725 | 0.97601 | -0.46159 | 7.9634
13 | -0.019011 | -0.0047726 | 0.019032 | 0.0047855 | 2.1476e-05 | 1.2892e-05 | 0.028986 | 0.028986 | 0.028986 | 0.97601 | -0.46159 | 0.97721 | -0.43794 | 7.9633
14 | 0.02035 | 0.0051071 | -0.020334 | -0.0050971 | 1.6436e-05 | 9.9476e-06 | 0.03099 | 0.030991 | 0.030991 | 0.97721 | -0.43794 | 0.97635 | -0.45489 | 8.5139
15 | -0.039382 | -0.0098926 | 0.03941 | 0.0099096 | 2.7014e-05 | 1.7038e-05 | 0.059976 | 0.059976 | 0.059976 | 0.97721 | -0.43794 | 0.97794 | -0.42357 | 16.477
16 | 0.010855 | 0.0027213 | -0.010851 | -0.0027195 | 3.5447e-06 | 1.8368e-06 | 0.016543 | 0.016543 | 0.016543 | 0.97635 | -0.45489 | 0.976 | -0.46174 | 4.5449
17 | -0.045931 | -0.011544 | 0.045944 | 0.011552 | 1.3021e-05 | 8.244e-06 | 0.069899 | 0.069899 | 0.069899 | 0.97794 | -0.42357 | 0.97825 | -0.41764 | 19.203
18 | 0.040848 | 0.010276 | -0.040775 | -0.01023 | 7.2807e-05 | 4.5966e-05 | 0.062148 | 0.062148 | 0.062148 | 0.97825 | -0.41764 | 0.97634 | -0.45501 | 17.0737
19 | -0.086792 | -0.021828 | 0.086872 | 0.02188 | 8.0231e-05 | 5.1194e-05 | 0.13205 | 0.13205 | 0.13205 | 0.97825 | -0.41764 | 0.97923 | -0.3983 | 36.2766
20 | -0.0080473 | -0.0020169 | 0.0080481 | 0.0020172 | 7.694e-07 | 3.0857e-07 | 0.012037 | 0.012037 | 0.012037 | 0.99477 | -0.099302 | 0.99488 | -0.097296 | 3.307
21 | -0.013204 | -0.0033095 | 0.013207 | 0.0033107 | 2.1648e-06 | 1.1933e-06 | 0.01975 | 0.01975 | 0.01975 | 0.99488 | -0.097296 | 0.99505 | -0.093855 | 5.4257
22 | -0.30437 | -0.077575 | 0.30456 | 0.077695 | 0.00018802 | 0.00012006 | 0.45754 | 0.45754 | 0.45754 | 0.99088 | -0.17317 | 0.99155 | -0.16038 | 41.8989
23 | 0.27403 | 0.06997 | -0.27325 | -0.069474 | 0.00077715 | 0.00049597 | 0.41197 | 0.41197 | 0.41197 | 0.99088 | -0.17317 | 0.98781 | -0.23203 | 37.7261
24 | -0.31605 | -0.080575 | 0.31709 | 0.081238 | 0.0010374 | 0.00066249 | 0.47478 | 0.47478 | 0.47478 | 0.99155 | -0.16038 | 0.9951 | -0.09263 | 43.4785
25 | 0.27325 | 0.069474 | -0.27295 | -0.069281 | 0.00030151 | 0.00019242 | 0.41197 | 0.41197 | 0.41197 | 0.98781 | -0.23203 | 0.98662 | -0.25497 | 37.7262
26 | -0.31709 | -0.081238 | 0.31751 | 0.081509 | 0.00042432 | 0.00027097 | 0.47478 | 0.47478 | 0.47478 | 0.9951 | -0.09263 | 0.99656 | -0.065056 | 43.4784
27 | 0.16784 | 0.042507 | -0.16768 | -0.042402 | 0.00016669 | 0.00010589 | 0.2533 | 0.2533 | 0.2533 | 0.98662 | -0.25497 | 0.98555 | -0.27567 | 23.1959
28 | 0.1051 | 0.026774 | -0.10477 | -0.02656 | 0.00033564 | 0.00021436 | 0.15867 | 0.15867 | 0.15867 | 0.98662 | -0.25497 | 0.98318 | -0.3214 | 43.5908
29 | -0.35025 | -0.089713 | 0.35057 | 0.089921 | 0.00032496 | 0.0002076 | 0.52366 | 0.52366 | 0.52366 | 0.99656 | -0.065056 | 0.99757 | -0.045927 | 47.9546
30 | 0.067227 | 0.0169 | -0.067093 | -0.016815 | 0.00013353 | 8.5022e-05 | 0.10152 | 0.10152 | 0.10152 | 0.98555 | -0.27567 | 0.98341 | -0.31736 | 27.8901
31 | 0.10045 | 0.025501 | -0.10043 | -0.025488 | 2.1491e-05 | 1.3469e-05 | 0.15178 | 0.15178 | 0.15178 | 0.98555 | -0.27567 | 0.98532 | -0.28012 | 13.8993
32 | 0.09298 | 0.023605 | -0.092511 | -0.023306 | 0.00046863 | 0.00029913 | 0.14083 | 0.14083 | 0.14083 | 0.98318 | -0.3214 | 0.97777 | -0.42673 | 38.6899
33 | 0.10043 | 0.025488 | -0.10012 | -0.025289 | 0.00031292 | 0.00019843 | 0.15178 | 0.15178 | 0.15178 | 0.98532 | -0.28012 | 0.98197 | -0.34511 | 20.849
34 | 0.10012 | 0.025289 | -0.09984 | -0.025114 | 0.0002755 | 0.00017592 | 0.15178 | 0.15178 | 0.15178 | 0.98197 | -0.34511 | 0.97902 | -0.4027 | 41.698
35 | 0.3556 | 0.091488 | -0.35481 | -0.090982 | 0.00079214 | 0.00050608 | 0.52998 | 0.52998 | 0.52998 | 1 | 0 | 0.99757 | -0.045927 | 48.5326
36 | 0.072628 | 0.018323 | -0.072435 | -0.0182 | 0.0001927 | 0.0001228 | 0.11057 | 0.11057 | 0.11057 | 0.97777 | -0.42673 | 0.97494 | -0.4823 | 30.3769
37 | 0.048761 | 0.012312 | -0.04867 | -0.012254 | 9.1756e-05 | 5.8165e-05 | 0.074146 | 0.074146 | 0.074146 | 0.97902 | -0.4027 | 0.97701 | -0.44206 | 20.3697
38 | -0.041925 | -0.010508 | 0.04203 | 0.010574 | 0.00010473 | 6.6183e-05 | 0.064099 | 0.064098 | 0.064099 | 0.97328 | -0.51538 | 0.97593 | -0.46309 | 17.6095
39 | -0.04203 | -0.010574 | 0.042039 | 0.010579 | 8.7251e-06 | 5.5133e-06 | 0.064098 | 0.064098 | 0.064098 | 0.97593 | -0.46309 | 0.97615 | -0.45874 | 17.6094
40 | 0.042072 | 0.0106 | -0.042039 | -0.010579 | 3.355e-05 | 2.12e-05 | 0.064098 | 0.064098 | 0.064098 | 0.97701 | -0.44206 | 0.97615 | -0.45874 | 17.6094
41 | 0.051331 | 0.012911 | -0.051248 | -0.012859 | 8.264e-05 | 5.2443e-05 | 0.078362 | 0.078362 | 0.078362 | 0.97494 | -0.4823 | 0.97322 | -0.51606 | 21.528
42 | 0.032155 | 0.0080736 | -0.032116 | -0.0080491 | 3.9084e-05 | 2.4479e-05 | 0.04917 | 0.04917 | 0.04917 | 0.97322 | -0.51606 | 0.97193 | -0.54157 | 13.5082
43 | -0.10617 | -0.026741 | 0.10672 | 0.027088 | 0.00054333 | 0.00034703 | 0.16127 | 0.16127 | 0.16127 | 0.97989 | -0.38538 | 0.98537 | -0.27895 | 44.3062
44 | 0.10093 | 0.025426 | -0.10087 | -0.025387 | 6.236e-05 | 3.9821e-05 | 0.15331 | 0.15331 | 0.15331 | 0.97989 | -0.38538 | 0.97923 | -0.3983 | 42.1184
45 | 0.037307 | 0.0093614 | -0.037284 | -0.0093469 | 2.2897e-05 | 1.4418e-05 | 0.056862 | 0.056862 | 0.056862 | 0.97634 | -0.45501 | 0.97569 | -0.46789 | 15.6215
46 | 0.0034685 | 0.00086881 | -0.0034679 | -0.00086915 | 6.0944e-07 | -3.3712e-07 | 0.0052861 | 0.0052864 | 0.0052864 | 0.97634 | -0.45501 | 0.97615 | -0.4587 | 1.4523
47 | 0.032229 | 0.00808 | -0.032225 | -0.0080774 | 4.1611e-06 | 2.6058e-06 | 0.049153 | 0.049153 | 0.049153 | 0.97569 | -0.46789 | 0.97555 | -0.4706 | 13.5036
48 | 0.016338 | 0.0040959 | -0.016334 | -0.0040938 | 3.5592e-06 | 2.0871e-06 | 0.024921 | 0.024921 | 0.024921 | 0.97555 | -0.4706 | 0.97532 | -0.47518 | 6.8464

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54177 | 0.13888

## res_load
| p_mw | q_mvar
0 | 0.045397 | 0.011378
1 | 0.0028316 | 0.00070967
2 | 0.00085948 | 0.00021541
3 | 0.0012532 | 0.00031407
4 | 0.00079593 | 0.00019948
5 | 0.0082781 | 0.0020747
6 | 0.00029896 | 7.4927e-05
7 | 0.018987 | 0.0047587
8 | 0.0094794 | 0.0023758
9 | 0.0065211 | 0.0016344
10 | 0.010851 | 0.0027195
11 | 0.0080473 | 0.0020169
12 | 0.0051564 | 0.0012923
13 | 0.00055901 | 0.0001401
14 | 0.030343 | 0.0076048
15 | 0.011494 | 0.0028807
16 | 0.032737 | 0.0082046
17 | 0.011787 | 0.0029542
18 | 0.0042313 | 0.0010605
19 | 0.067093 | 0.016815
20 | 0.019883 | 0.0049832
21 | 0.051079 | 0.012802
22 | 0.041925 | 0.010508
23 | 0.0065971 | 0.0016534
24 | 0.021104 | 0.0052891
25 | 0.019093 | 0.0047852
26 | 0.032116 | 0.0080491
27 | 0.0052442 | 0.0013143
28 | 0.0022426 | 0.00056205
29 | 0.013993 | 0.0035071
30 | 0.005055 | 0.0012669
31 | 0.0034679 | 0.00086915
32 | 0.015887 | 0.0039816
33 | 0.016334 | 0.0040938

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1