## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_198-14_0_5_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_198-14_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_198-14_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_198-14_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_198-14_0_5_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_198-14_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_198-14_0_5_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_198-14_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_198-14_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_198-14_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_198-14_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_198-14_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_198-14_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_198-14_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_198-14_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_198-14_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_198-14_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_198-14_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_198-14_0_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_198-14_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_198-14_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_198-14_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_198-14_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_198-14_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_198-14_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_198-14_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_198-14_0_5_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_198-14_0_5_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_198-14_0_5_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_198-14_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_198-14_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_198-14_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_198-14_0_5_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_198-14_0_5_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_198-14_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_198-14_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_198-14_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_198-14_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_198-14_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_198-14_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_198-14_0_5_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_198-14_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_198-14_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_198-14_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_198-14_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_198-14_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_198-14_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_198-14_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_198-14_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_198-14_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_198-14_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_MV_362_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-14_0_5_load_0 | 0 | 0.07003 | 0.017551 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-14_0_5_load_1 | 1 | 0.017833 | 0.0044695 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-14_0_5_load_28 | 5 | 0.012097 | 0.0030317 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-14_0_5_load_10 | 6 | 0.059554 | 0.014926 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-14_0_5_load_25 | 7 | 0.018946 | 0.0047483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-14_0_5_load_59 | 9 | 0.00032148 | 8.0569e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-14_0_5_load_5 | 10 | 0.0004968 | 0.00012451 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-14_0_5_load_9 | 12 | 0.021532 | 0.0053965 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-14_0_5_load_26 | 13 | 0.0072473 | 0.0018163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-14_0_5_load_6 | 14 | 0.0030802 | 0.00077196 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-14_0_5_load_12 | 16 | 0.0068971 | 0.0017286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-14_0_5_load_17 | 19 | 0.0071407 | 0.0017896 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-14_0_5_load_15 | 21 | 0.014774 | 0.0037026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-14_0_5_load_44 | 23 | 0.0045849 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-14_0_5_load_45 | 24 | 0.0068419 | 0.0017147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-14_0_5_load_19 | 25 | 0.0078328 | 0.0019631 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-14_0_5_load_20 | 26 | 0.0089868 | 0.0022523 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-14_0_5_load_21 | 27 | 0.010814 | 0.0027104 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-14_0_5_load_22 | 28 | 0.01082 | 0.0027117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-14_0_5_load_58 | 31 | 0.013386 | 0.0033548 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-14_0_5_load_54 | 32 | 0.0071062 | 0.001781 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-14_0_5_load_55 | 33 | 0.0064604 | 0.0016191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-14_0_5_load_27 | 34 | 0.0076209 | 0.00191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-14_0_5_load_39 | 35 | 0.054537 | 0.013668 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-14_0_5_load_33 | 36 | 0.0043943 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-14_0_5_load_57 | 37 | 0.0061644 | 0.0015449 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-14_0_5_load_41 | 38 | 0.005423 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-14_0_5_load_29 | 39 | 0.010637 | 0.0026658 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-14_0_5_load_30 | 40 | 0.003353 | 0.00084034 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-14_0_5_load_32 | 42 | 0.0049935 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-14_0_5_load_34 | 43 | 0.0050353 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-14_0_5_load_37 | 44 | 0.0085764 | 0.0021495 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-14_0_5_load_49 | 45 | 0.0029796 | 0.00074675 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-14_0_5_load_47 | 47 | 0.0057144 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-14_0_5_load_35 | 48 | 0.0072563 | 0.0018186 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-14_0_5_load_38 | 49 | 0.0046643 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-14_0_5_load_40 | 50 | 0.012097 | 0.0030317 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-14_0_5_load_42 | 51 | 0.010899 | 0.0027316 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-14_0_5_load_56 | 52 | 0.0058011 | 0.0014539 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-14_0_5_load_48 | 53 | 0.0065 | 0.0016291 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-14_0_5_load_50 | 54 | 0.0061641 | 0.0015449 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-14_0_5_load_51 | 55 | 0.0053046 | 0.0013295 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-14_0_5_line_0 |  | 0 | 1 | 0.00098819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-14_0_5_line_1 |  | 0 | 2 | 0.034026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-14_0_5_line_2 |  | 1 | 3 | 0.064824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-14_0_5_line_3 |  | 2 | 4 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-14_0_5_line_4 |  | 3 | 5 | 0.020332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_198-14_0_5_line_5 |  | 3 | 6 | 0.032434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-14_0_5_line_6 |  | 3 | 7 | 0.035316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_198-14_0_5_line_7 |  | 4 | 8 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-14_0_5_line_8 |  | 4 | 9 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-14_0_5_line_9 |  | 5 | 11 | 0.021774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-14_0_5_line_10 |  | 6 | 12 | 0.00030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-14_0_5_line_11 |  | 7 | 13 | 0.0014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_198-14_0_5_line_12 |  | 8 | 14 | 0.075209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-14_0_5_line_13 |  | 9 | 10 | 0.029451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-14_0_5_line_14 |  | 11 | 37 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-14_0_5_line_15 |  | 11 | 38 | 0.033015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-14_0_5_line_16 |  | 12 | 15 | 0.046943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-14_0_5_line_17 |  | 13 | 34 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-14_0_5_line_18 |  | 15 | 16 | 0.16237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-14_0_5_line_19 |  | 15 | 17 | 0.10973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-14_0_5_line_20 |  | 17 | 18 | 0.13648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-14_0_5_line_21 |  | 17 | 19 | 0.019368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-14_0_5_line_22 |  | 18 | 20 | 0.079921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-14_0_5_line_23 |  | 18 | 21 | 0.026563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-14_0_5_line_24 |  | 19 | 22 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-14_0_5_line_25 |  | 20 | 23 | 0.030779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-14_0_5_line_26 |  | 22 | 25 | 0.013403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-14_0_5_line_27 |  | 23 | 24 | 0.028754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-14_0_5_line_28 |  | 26 | 27 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-14_0_5_line_29 |  | 26 | 28 | 0.0039056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-14_0_5_line_30 |  | 27 | 29 | 0.027415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-14_0_5_line_31 |  | 28 | 30 | 0.074204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-14_0_5_line_32 |  | 29 | 31 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-14_0_5_line_33 |  | 30 | 32 | 0.018431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_198-14_0_5_line_34 |  | 32 | 33 | 0.011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-14_0_5_line_35 |  | 33 | 52 | 0.015201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-14_0_5_line_36 |  | 34 | 35 | 0.0044832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-14_0_5_line_37 |  | 35 | 36 | 0.016641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-14_0_5_line_38 |  | 36 | 41 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-14_0_5_line_39 |  | 37 | 52 | 0.01753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-14_0_5_line_40 |  | 38 | 50 | 0.0041504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-14_0_5_line_41 |  | 39 | 40 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-14_0_5_line_42 |  | 39 | 41 | 0.0054863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-14_0_5_line_43 |  | 40 | 42 | 0.0016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-14_0_5_line_44 |  | 41 | 43 | 0.019104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-14_0_5_line_45 |  | 42 | 44 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-14_0_5_line_46 |  | 43 | 45 | 0.010918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-14_0_5_line_47 |  | 44 | 46 | 0.020791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-14_0_5_line_48 |  | 45 | 47 | 0.016301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-14_0_5_line_49 |  | 46 | 49 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-14_0_5_line_50 |  | 46 | 48 | 0.018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-14_0_5_line_51 |  | 47 | 53 | 0.0060664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-14_0_5_line_52 |  | 50 | 51 | 0.010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-14_0_5_line_53 |  | 53 | 54 | 0.00090235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-14_0_5_line_54 |  | 54 | 55 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-14_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 56 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2695925.9624 | 1245757.4547 | 2695925.2037 | 1245758.0879
1 | 2695899.0591 | 1245779.8642 | 2695906.718 | 1245773.5165 | 2695925.2037 | 1245758.0879
2 | 2695975.1088 | 1245715.2004 | 2695956.3298 | 1245732.1095 | 2695925.9624 | 1245757.4547
3 | 2695899.0591 | 1245779.8642 | 2695885.2881 | 1245791.2948
4 | 2695975.1088 | 1245715.2004 | 2695969.3255 | 1245699.5059 | 2695968.1125 | 1245696.11
5 | 2695975.1088 | 1245715.2004 | 2695984.4558 | 1245732.9429 | 2695991.8689 | 1245742.8575
6 | 2695975.1088 | 1245715.2004 | 2695985.1322 | 1245708.4352 | 2696003.2013 | 1245693.8471
7 | 2695885.2881 | 1245791.2948 | 2695873.9452 | 1245800.7075
8 | 2695885.2881 | 1245791.2948 | 2695872.5693 | 1245772.622
9 | 2695960.7884 | 1245675.6051 | 2695968.1125 | 1245696.11
10 | 2695992.0517 | 1245743.102 | 2695991.8689 | 1245742.8575
11 | 2696004.3143 | 1245692.9484 | 2696003.2013 | 1245693.8471
12 | 2695873.9452 | 1245800.7075 | 2695830.1569 | 1245739.5609
13 | 2695879.4605 | 1245752.6377 | 2695879.4605 | 1245752.6377 | 2695865.5294 | 1245762.2866 | 2695872.5693 | 1245772.622
14 | 2695960.7884 | 1245675.6051 | 2695953.5836 | 1245657.1594
15 | 2695960.7884 | 1245675.6051 | 2695951.6406 | 1245677.7588 | 2695928.3079 | 1245681.4145
16 | 2696021.4877 | 1245779.6668 | 2696018.0876 | 1245775.453 | 2696015.0358 | 1245771.6674 | 2696011.8286 | 1245767.6791 | 2696009.5323 | 1245764.8287 | 2695993.4272 | 1245744.9417 | 2695992.0517 | 1245743.102
17 | 2696004.3143 | 1245692.9484 | 2696022.2411 | 1245678.4752
18 | 2696021.4877 | 1245779.6668 | 2696123.8143 | 1245696.227 | 2696147.128 | 1245676.8125
19 | 2696033.7728 | 1245858.5593 | 2696065.2103 | 1245834.5278 | 2696038.2458 | 1245801.2102 | 2696021.4877 | 1245779.6668
20 | 2696033.7728 | 1245858.5593 | 2696065.2103 | 1245834.5278 | 2696083.7604 | 1245818.6939 | 2696114.601 | 1245792.3512 | 2696129.6191 | 1245779.5292 | 2696139.2467 | 1245772.0128
21 | 2696033.7728 | 1245858.5593 | 2696021.2028 | 1245843.8242
22 | 2696139.2467 | 1245772.0128 | 2696158.632 | 1245756.8821 | 2696172.469 | 1245746.076 | 2696201.2409 | 1245734.5782 | 2696208.0236 | 1245734.288
23 | 2696139.2467 | 1245772.0128 | 2696122.4832 | 1245751.4073
24 | 2696013.5736 | 1245834.8809 | 2696021.2028 | 1245843.8242
25 | 2696208.0236 | 1245734.288 | 2696187.5289 | 1245711.325
26 | 2696013.5736 | 1245834.8809 | 2696005.3428 | 1245824.284
27 | 2696177.7434 | 1245691.1195 | 2696192.4748 | 1245707.6265 | 2696187.2587 | 1245711.0223 | 2696187.5289 | 1245711.325
28 | 2695866.4578 | 1245637.6393 | 2695883.3954 | 1245635.0068
29 | 2695887.2546 | 1245634.407 | 2695883.3954 | 1245635.0068
30 | 2695839.3676 | 1245641.8497 | 2695866.4578 | 1245637.6393
31 | 2695931.1511 | 1245599.1229 | 2695902.469 | 1245603.6626 | 2695904.0389 | 1245631.7984 | 2695887.2546 | 1245634.407
32 | 2695839.3676 | 1245641.8497 | 2695833.4883 | 1245653.2034
33 | 2695931.1511 | 1245599.1229 | 2695937.6849 | 1245616.3568
34 | 2695937.6849 | 1245616.3568 | 2695939.0069 | 1245619.8436 | 2695941.6755 | 1245626.6724
35 | 2695941.6755 | 1245626.6724 | 2695946.1611 | 1245638.151 | 2695947.2071 | 1245640.8307
36 | 2696025.7294 | 1245675.659 | 2696022.2411 | 1245678.4752
37 | 2696025.7294 | 1245675.659 | 2696038.6775 | 1245665.2053
38 | 2696056.4904 | 1245650.824 | 2696038.6775 | 1245665.2053
39 | 2695953.5836 | 1245657.1594 | 2695949.2012 | 1245645.9395 | 2695947.2071 | 1245640.8307
40 | 2695924.2076 | 1245682.0569 | 2695928.3079 | 1245681.4145
41 | 2696070.0235 | 1245639.8112 | 2696060.7458 | 1245647.3612
42 | 2696056.4904 | 1245650.824 | 2696060.7458 | 1245647.3612
43 | 2696070.0235 | 1245639.8112 | 2696071.3323 | 1245638.7461
44 | 2696056.4904 | 1245650.824 | 2696044.4221 | 1245636.0142
45 | 2696091.6226 | 1245622.2345 | 2696071.3323 | 1245638.7461
46 | 2696044.4221 | 1245636.0142 | 2696037.5248 | 1245627.5502
47 | 2696107.749 | 1245609.1113 | 2696091.6226 | 1245622.2345
48 | 2696027.2276 | 1245614.9138 | 2696037.5248 | 1245627.5502
49 | 2696107.749 | 1245609.1113 | 2696096.2213 | 1245594.802
50 | 2696107.749 | 1245609.1113 | 2696121.8638 | 1245597.3884
51 | 2696027.2276 | 1245614.9138 | 2696023.3955 | 1245610.2112
52 | 2695914.0736 | 1245683.6446 | 2695924.2076 | 1245682.0569
53 | 2696023.3955 | 1245610.2112 | 2696022.8254 | 1245609.5117
54 | 2696010.2289 | 1245594.0537 | 2696022.8254 | 1245609.5117

## bus_geodata
| x | y | coords
0 | 2695925.2037 | 1245758.0879
1 | 2695925.9624 | 1245757.4547
2 | 2695899.0591 | 1245779.8642
3 | 2695975.1088 | 1245715.2004
4 | 2695885.2881 | 1245791.2948
5 | 2695968.1125 | 1245696.11
6 | 2695991.8689 | 1245742.8575
7 | 2696003.2013 | 1245693.8471
8 | 2695873.9452 | 1245800.7075
9 | 2695872.5693 | 1245772.622
10 | 2695879.4605 | 1245752.6377
11 | 2695960.7884 | 1245675.6051
12 | 2695992.0517 | 1245743.102
13 | 2696004.3143 | 1245692.9484
14 | 2695830.1569 | 1245739.5609
15 | 2696021.4877 | 1245779.6668
16 | 2696147.128 | 1245676.8125
17 | 2696033.7728 | 1245858.5593
18 | 2696139.2467 | 1245772.0128
19 | 2696021.2028 | 1245843.8242
20 | 2696208.0236 | 1245734.288
21 | 2696122.4832 | 1245751.4073
22 | 2696013.5736 | 1245834.8809
23 | 2696187.5289 | 1245711.325
24 | 2696177.7434 | 1245691.1195
25 | 2696005.3428 | 1245824.284
26 | 2695883.3954 | 1245635.0068
27 | 2695866.4578 | 1245637.6393
28 | 2695887.2546 | 1245634.407
29 | 2695839.3676 | 1245641.8497
30 | 2695931.1511 | 1245599.1229
31 | 2695833.4883 | 1245653.2034
32 | 2695937.6849 | 1245616.3568
33 | 2695941.6755 | 1245626.6724
34 | 2696022.2411 | 1245678.4752
35 | 2696025.7294 | 1245675.659
36 | 2696038.6775 | 1245665.2053
37 | 2695953.5836 | 1245657.1594
38 | 2695928.3079 | 1245681.4145
39 | 2696060.7458 | 1245647.3612
40 | 2696070.0235 | 1245639.8112
41 | 2696056.4904 | 1245650.824
42 | 2696071.3323 | 1245638.7461
43 | 2696044.4221 | 1245636.0142
44 | 2696091.6226 | 1245622.2345
45 | 2696037.5248 | 1245627.5502
46 | 2696107.749 | 1245609.1113
47 | 2696027.2276 | 1245614.9138
48 | 2696121.8638 | 1245597.3884
49 | 2696096.2213 | 1245594.802
50 | 2695924.2076 | 1245682.0569
51 | 2695914.0736 | 1245683.6446
52 | 2695947.2071 | 1245640.8307
53 | 2696023.3955 | 1245610.2112
54 | 2696022.8254 | 1245609.5117
55 | 2696010.2289 | 1245594.0537
56 | 2695975.1088 | 1245715.2004

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99092 | -0.17446 | 0.07003 | 0.017551
1 | 0.99098 | -0.17316 | 0.017833 | 0.0044695
2 | 0.9908 | -0.17682 | 0 | 0
3 | 0.99643 | -0.068161 | 0 | 0
4 | 0.99073 | -0.17806 | 0 | 0
5 | 0.99437 | -0.10753 | 0.012097 | 0.0030317
6 | 0.99259 | -0.142 | 0.059554 | 0.014926
7 | 1 | 0 | -0.48146 | -0.12174
8 | 0.99069 | -0.17886 | 0 | 0
9 | 0.99071 | -0.17839 | 0.00032148 | 8.0569e-05
10 | 0.9907 | -0.17865 | 0.0004968 | 0.00012451
11 | 0.99242 | -0.1452 | 0 | 0
12 | 0.99257 | -0.14237 | 0.021532 | 0.0053965
13 | 0.99991 | -0.0018076 | 0.0072473 | 0.0018163
14 | 0.99048 | -0.18298 | 0.0030802 | 0.00077196
15 | 0.99049 | -0.18239 | 0 | 0
16 | 0.98946 | -0.20232 | 0.0068971 | 0.0017286
17 | 0.98632 | -0.26302 | 0 | 0
18 | 0.98302 | -0.32732 | 0 | 0
19 | 0.98606 | -0.26822 | 0.0071407 | 0.0017896
20 | 0.98218 | -0.34381 | 0 | 0
21 | 0.98266 | -0.3344 | 0.014774 | 0.0037026
22 | 0.98597 | -0.26987 | 0 | 0
23 | 0.98185 | -0.35017 | 0.0045849 | 0.0011491
24 | 0.98167 | -0.35373 | 0.0068419 | 0.0017147
25 | 0.98587 | -0.27175 | 0.0078328 | 0.0019631
26 | 0.98493 | -0.29027 | 0.0089868 | 0.0022523
27 | 0.98455 | -0.29772 | 0.010814 | 0.0027104
28 | 0.98505 | -0.28794 | 0.01082 | 0.0027117
29 | 0.98421 | -0.30432 | 0 | 0
30 | 0.98805 | -0.22945 | 0 | 0
31 | 0.98405 | -0.3074 | 0.013386 | 0.0033548
32 | 0.9888 | -0.21498 | 0.0071062 | 0.001781
33 | 0.98932 | -0.20491 | 0.0064604 | 0.0016191
34 | 0.99701 | -0.05729 | 0.0076209 | 0.00191
35 | 0.99648 | -0.067524 | 0.054537 | 0.013668
36 | 0.99533 | -0.089626 | 0.0043943 | 0.0011013
37 | 0.99115 | -0.1696 | 0.0061644 | 0.0015449
38 | 0.99156 | -0.16182 | 0.005423 | 0.0013591
39 | 0.99365 | -0.12216 | 0.010637 | 0.0026658
40 | 0.99333 | -0.12826 | 0.003353 | 0.00084034
41 | 0.99384 | -0.11834 | 0 | 0
42 | 0.99329 | -0.12902 | 0.0049935 | 0.0012515
43 | 0.99329 | -0.12903 | 0.0050353 | 0.001262
44 | 0.9928 | -0.13849 | 0.0085764 | 0.0021495
45 | 0.99302 | -0.13418 | 0.0029796 | 0.00074675
46 | 0.99258 | -0.14288 | 0 | 0
47 | 0.99267 | -0.141 | 0.0057144 | 0.0014322
48 | 0.99245 | -0.14523 | 0.0072563 | 0.0018186
49 | 0.9925 | -0.1444 | 0.0046643 | 0.001169
50 | 0.99147 | -0.16351 | 0.012097 | 0.0030317
51 | 0.99137 | -0.16549 | 0.010899 | 0.0027316
52 | 0.99013 | -0.18934 | 0.0058011 | 0.0014539
53 | 0.99257 | -0.14293 | 0.0065 | 0.0016291
54 | 0.99256 | -0.14312 | 0.0061641 | 0.0015449
55 | 0.99247 | -0.14499 | 0.0053046 | 0.0013295
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.07393 | -0.018527 | 0.073934 | 0.018529 | 4.5672e-06 | 2.9103e-06 | 0.11102 | 0.11102 | 0.11102 | 0.99092 | -0.17446 | 0.99098 | -0.17316 | 30.499
1 | 0.0038998 | 0.00097544 | -0.0038994 | -0.0009756 | 4.3751e-07 | -1.5826e-07 | 0.0058555 | 0.0058557 | 0.0058557 | 0.99092 | -0.17446 | 0.9908 | -0.17682 | 1.6087
2 | -0.091768 | -0.022999 | 0.092229 | 0.023294 | 0.00046156 | 0.00029456 | 0.13779 | 0.13779 | 0.13779 | 0.99098 | -0.17316 | 0.99643 | -0.068161 | 37.8555
3 | 0.0038994 | 0.0009756 | -0.0038992 | -0.00097569 | 2.2974e-07 | -8.3056e-08 | 0.0058557 | 0.0058558 | 0.0058558 | 0.9908 | -0.17682 | 0.99073 | -0.17806 | 1.6087
4 | 0.11085 | 0.028087 | -0.11064 | -0.027953 | 0.0002092 | 0.00013363 | 0.16564 | 0.16564 | 0.16564 | 0.99643 | -0.068161 | 0.99437 | -0.10753 | 45.5066
5 | 0.12998 | 0.032888 | -0.12952 | -0.032595 | 0.00045878 | 0.0002932 | 0.19422 | 0.19422 | 0.19422 | 0.99643 | -0.068161 | 0.99259 | -0.142 | 53.3566
6 | -0.33306 | -0.084268 | 0.33415 | 0.084966 | 0.0010933 | 0.00069832 | 0.49766 | 0.49765 | 0.49766 | 0.99643 | -0.068161 | 1 | 0 | 45.5728
7 | 0.0030809 | 0.00077126 | -0.0030808 | -0.00077138 | 1.1814e-07 | -1.1387e-07 | 0.004627 | 0.004627 | 0.004627 | 0.99073 | -0.17806 | 0.99069 | -0.17886 | 1.2712
8 | 0.0008183 | 0.00020442 | -0.00081828 | -0.0002047 | 1.2794e-08 | -2.8274e-07 | 0.0012288 | 0.0012289 | 0.0012289 | 0.99073 | -0.17806 | 0.99071 | -0.17839 | 0.33761
9 | 0.098543 | 0.024921 | -0.098365 | -0.024808 | 0.00017774 | 0.00011347 | 0.14754 | 0.14754 | 0.14754 | 0.99437 | -0.10753 | 0.99242 | -0.1452 | 40.5336
10 | 0.069968 | 0.017669 | -0.069967 | -0.017668 | 1.2606e-06 | 8.0286e-07 | 0.10494 | 0.10494 | 0.10494 | 0.99259 | -0.142 | 0.99257 | -0.14237 | 28.8292
11 | 0.14566 | 0.036769 | -0.14565 | -0.036761 | 1.2611e-05 | 8.0337e-06 | 0.21684 | 0.21684 | 0.21684 | 1 | 0 | 0.99991 | -0.0018076 | 29.7853
12 | 0.0030808 | 0.00077138 | -0.0030802 | -0.00077196 | 6.0386e-07 | -5.8172e-07 | 0.004627 | 0.0046274 | 0.0046274 | 0.99069 | -0.17886 | 0.99048 | -0.18298 | 1.2713
13 | 0.00049681 | 0.00012413 | -0.0004968 | -0.00012451 | 6.1483e-09 | -3.753e-07 | 0.00074605 | 0.00074619 | 0.00074619 | 0.99071 | -0.17839 | 0.9907 | -0.17865 | 0.205
14 | 0.069921 | 0.01767 | -0.069839 | -0.017618 | 8.1701e-05 | 5.2033e-05 | 0.10489 | 0.10489 | 0.10489 | 0.99242 | -0.1452 | 0.99115 | -0.1696 | 28.8159
15 | 0.028444 | 0.0071381 | -0.028422 | -0.0071241 | 2.2523e-05 | 1.3989e-05 | 0.042652 | 0.042652 | 0.042652 | 0.99242 | -0.1452 | 0.99156 | -0.16182 | 11.7177
16 | 0.048435 | 0.012272 | -0.048342 | -0.012213 | 9.2933e-05 | 5.8872e-05 | 0.072658 | 0.072659 | 0.072659 | 0.99257 | -0.14237 | 0.99049 | -0.18239 | 19.9611
17 | 0.1384 | 0.034944 | -0.13803 | -0.03471 | 0.00036683 | 0.00023447 | 0.20605 | 0.20605 | 0.20605 | 0.99991 | -0.0018076 | 0.99701 | -0.05729 | 56.6077
18 | 0.0069037 | 0.0017307 | -0.0068971 | -0.0017286 | 6.5504e-06 | 2.1045e-06 | 0.010372 | 0.010372 | 0.010372 | 0.99049 | -0.18239 | 0.98946 | -0.20232 | 2.8495
19 | 0.041438 | 0.010482 | -0.041278 | -0.010382 | 0.00015964 | 0.00010076 | 0.062287 | 0.062287 | 0.062287 | 0.99049 | -0.18239 | 0.98632 | -0.26302 | 17.1119
20 | 0.0263 | 0.0066261 | -0.026219 | -0.0065763 | 8.0623e-05 | 4.9863e-05 | 0.039689 | 0.03969 | 0.03969 | 0.98632 | -0.26302 | 0.98302 | -0.32732 | 10.9039
21 | 0.014979 | 0.0037554 | -0.014975 | -0.0037533 | 3.7091e-06 | 2.1267e-06 | 0.022598 | 0.022598 | 0.022598 | 0.98632 | -0.26302 | 0.98606 | -0.26822 | 6.2083
22 | 0.01144 | 0.0028708 | -0.011431 | -0.002866 | 8.9895e-06 | 4.7409e-06 | 0.017319 | 0.017319 | 0.017319 | 0.98302 | -0.32732 | 0.98218 | -0.34381 | 4.758
23 | 0.014779 | 0.0037055 | -0.014774 | -0.0037026 | 4.9854e-06 | 2.854e-06 | 0.022371 | 0.022371 | 0.022371 | 0.98302 | -0.32732 | 0.98266 | -0.3344 | 6.146
24 | 0.0078342 | 0.0019636 | -0.0078335 | -0.0019634 | 6.1612e-07 | 2.4438e-07 | 0.011822 | 0.011822 | 0.011822 | 0.98606 | -0.26822 | 0.98597 | -0.26987 | 3.2479
25 | 0.011431 | 0.002866 | -0.011428 | -0.0028642 | 3.4621e-06 | 1.8263e-06 | 0.017319 | 0.017319 | 0.017319 | 0.98218 | -0.34381 | 0.98185 | -0.35017 | 4.758
26 | 0.0078335 | 0.0019634 | -0.0078328 | -0.0019631 | 7.0249e-07 | 2.7867e-07 | 0.011822 | 0.011822 | 0.011822 | 0.98597 | -0.26987 | 0.98587 | -0.27175 | 3.2479
27 | 0.0068431 | 0.0017151 | -0.0068419 | -0.0017147 | 1.1598e-06 | 3.7864e-07 | 0.010371 | 0.010371 | 0.010371 | 0.98185 | -0.35017 | 0.98167 | -0.35373 | 2.8492
28 | 0.024215 | 0.0060739 | -0.024207 | -0.0060686 | 8.6038e-06 | 5.2884e-06 | 0.036586 | 0.036586 | 0.036586 | 0.98493 | -0.29027 | 0.98455 | -0.29772 | 10.051
29 | -0.033202 | -0.0083262 | 0.033206 | 0.0083285 | 3.6854e-06 | 2.3089e-06 | 0.050163 | 0.050163 | 0.050163 | 0.98493 | -0.29027 | 0.98505 | -0.28794 | 13.781
30 | 0.013392 | 0.0033583 | -0.013388 | -0.0033559 | 4.2121e-06 | 2.3472e-06 | 0.020241 | 0.020241 | 0.020241 | 0.98455 | -0.29772 | 0.98421 | -0.30432 | 5.5608
31 | -0.044025 | -0.01104 | 0.044148 | 0.011118 | 0.00012308 | 7.7825e-05 | 0.066507 | 0.066507 | 0.066507 | 0.98505 | -0.28794 | 0.98805 | -0.22945 | 18.2712
32 | 0.013388 | 0.0033559 | -0.013386 | -0.0033548 | 1.9644e-06 | 1.0948e-06 | 0.020241 | 0.020241 | 0.020241 | 0.98421 | -0.30432 | 0.98405 | -0.3074 | 5.5608
33 | -0.044148 | -0.011118 | 0.044179 | 0.011137 | 3.0571e-05 | 1.9329e-05 | 0.066507 | 0.066507 | 0.066507 | 0.98805 | -0.22945 | 0.9888 | -0.21498 | 18.2711
34 | -0.051285 | -0.012918 | 0.05131 | 0.012934 | 2.472e-05 | 1.5679e-05 | 0.077201 | 0.0772 | 0.077201 | 0.9888 | -0.21498 | 0.98932 | -0.20491 | 21.2089
35 | -0.05777 | -0.014553 | 0.057813 | 0.014581 | 4.3063e-05 | 2.7365e-05 | 0.086917 | 0.086917 | 0.086917 | 0.98932 | -0.20491 | 0.99013 | -0.18934 | 23.8784
36 | 0.13041 | 0.0328 | -0.13035 | -0.032759 | 6.3717e-05 | 4.072e-05 | 0.19468 | 0.19468 | 0.19468 | 0.99701 | -0.05729 | 0.99648 | -0.067524 | 53.483
37 | 0.075812 | 0.019091 | -0.075732 | -0.01904 | 8.0024e-05 | 5.0999e-05 | 0.11324 | 0.11324 | 0.11324 | 0.99648 | -0.067524 | 0.99533 | -0.089626 | 31.11
38 | 0.071338 | 0.017939 | -0.07124 | -0.017876 | 9.7687e-05 | 6.2223e-05 | 0.10667 | 0.10667 | 0.10667 | 0.99533 | -0.089626 | 0.99384 | -0.11834 | 29.3052
39 | 0.063675 | 0.016073 | -0.063614 | -0.016034 | 6.0123e-05 | 3.8253e-05 | 0.095635 | 0.095636 | 0.095636 | 0.99115 | -0.1696 | 0.99013 | -0.18934 | 26.2735
40 | 0.022999 | 0.005765 | -0.022997 | -0.0057638 | 1.854e-06 | 1.133e-06 | 0.034514 | 0.034514 | 0.034514 | 0.99156 | -0.16182 | 0.99147 | -0.16351 | 9.4819
41 | 0.028866 | 0.0072418 | -0.028857 | -0.0072366 | 8.3828e-06 | 5.2101e-06 | 0.04323 | 0.04323 | 0.04323 | 0.99365 | -0.12216 | 0.99333 | -0.12826 | 11.8764
42 | -0.039502 | -0.0099076 | 0.03951 | 0.0099122 | 7.2002e-06 | 4.5371e-06 | 0.059159 | 0.059159 | 0.059159 | 0.99365 | -0.12216 | 0.99384 | -0.11834 | 16.2524
43 | 0.025504 | 0.0063963 | -0.025503 | -0.0063957 | 9.2374e-07 | 5.6935e-07 | 0.038207 | 0.038207 | 0.038207 | 0.99333 | -0.12826 | 0.99329 | -0.12902 | 10.4965
44 | 0.031731 | 0.0079642 | -0.031714 | -0.0079541 | 1.6172e-05 | 1.0103e-05 | 0.047512 | 0.047512 | 0.047512 | 0.99384 | -0.11834 | 0.99329 | -0.12903 | 13.0528
45 | 0.02051 | 0.0051442 | -0.020501 | -0.0051386 | 9.2618e-06 | 5.5891e-06 | 0.030727 | 0.030727 | 0.030727 | 0.99329 | -0.12902 | 0.9928 | -0.13849 | 8.4414
46 | 0.026679 | 0.0066921 | -0.026673 | -0.0066881 | 6.541e-06 | 4.0449e-06 | 0.039969 | 0.039969 | 0.039969 | 0.99329 | -0.12903 | 0.99302 | -0.13418 | 10.9805
47 | 0.011924 | 0.0029892 | -0.011922 | -0.0029878 | 2.4905e-06 | 1.3251e-06 | 0.017872 | 0.017872 | 0.017872 | 0.9928 | -0.13849 | 0.99258 | -0.14288 | 4.91
48 | 0.023693 | 0.0059413 | -0.023685 | -0.0059366 | 7.7055e-06 | 4.7207e-06 | 0.035504 | 0.035504 | 0.035504 | 0.99302 | -0.13418 | 0.99267 | -0.141 | 9.754
49 | 0.0046646 | 0.001169 | -0.0046643 | -0.001169 | 3.3696e-07 | -2.1828e-08 | 0.0069929 | 0.006993 | 0.006993 | 0.99258 | -0.14288 | 0.9925 | -0.1444 | 1.9211
50 | 0.0072572 | 0.0018189 | -0.0072563 | -0.0018186 | 8.1442e-07 | 2.8411e-07 | 0.01088 | 0.01088 | 0.01088 | 0.99258 | -0.14288 | 0.99245 | -0.14523 | 2.9889
51 | 0.017971 | 0.0045044 | -0.017969 | -0.0045035 | 1.6509e-06 | 9.7813e-07 | 0.026939 | 0.026939 | 0.026939 | 0.99267 | -0.141 | 0.99257 | -0.14293 | 7.4007
52 | 0.0109 | 0.0027321 | -0.010899 | -0.0027316 | 1.0294e-06 | 5.2657e-07 | 0.016359 | 0.016359 | 0.016359 | 0.99147 | -0.16351 | 0.99137 | -0.16549 | 4.4943
53 | 0.011469 | 0.0028744 | -0.011469 | -0.0028744 | 1.0004e-07 | 5.2361e-08 | 0.017194 | 0.017194 | 0.017194 | 0.99257 | -0.14293 | 0.99256 | -0.14312 | 4.7237
54 | 0.0053051 | 0.0013295 | -0.0053046 | -0.0013295 | 4.7299e-07 | 4.501e-08 | 0.0079532 | 0.0079533 | 0.0079533 | 0.99256 | -0.14312 | 0.99247 | -0.14499 | 2.185

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50041 | 0.12648

## res_load
| p_mw | q_mvar
0 | 0.07003 | 0.017551
1 | 0.017833 | 0.0044695
2 | 0.012097 | 0.0030317
3 | 0.059554 | 0.014926
4 | 0.018946 | 0.0047483
5 | 0.00032148 | 8.0569e-05
6 | 0.0004968 | 0.00012451
7 | 0.021532 | 0.0053965
8 | 0.0072473 | 0.0018163
9 | 0.0030802 | 0.00077196
10 | 0.0068971 | 0.0017286
11 | 0.0071407 | 0.0017896
12 | 0.014774 | 0.0037026
13 | 0.0045849 | 0.0011491
14 | 0.0068419 | 0.0017147
15 | 0.0078328 | 0.0019631
16 | 0.0089868 | 0.0022523
17 | 0.010814 | 0.0027104
18 | 0.01082 | 0.0027117
19 | 0.013386 | 0.0033548
20 | 0.0071062 | 0.001781
21 | 0.0064604 | 0.0016191
22 | 0.0076209 | 0.00191
23 | 0.054537 | 0.013668
24 | 0.0043943 | 0.0011013
25 | 0.0061644 | 0.0015449
26 | 0.005423 | 0.0013591
27 | 0.010637 | 0.0026658
28 | 0.003353 | 0.00084034
29 | 0.0049935 | 0.0012515
30 | 0.0050353 | 0.001262
31 | 0.0085764 | 0.0021495
32 | 0.0029796 | 0.00074675
33 | 0.0057144 | 0.0014322
34 | 0.0072563 | 0.0018186
35 | 0.0046643 | 0.001169
36 | 0.012097 | 0.0030317
37 | 0.010899 | 0.0027316
38 | 0.0058011 | 0.0014539
39 | 0.0065 | 0.0016291
40 | 0.0061641 | 0.0015449
41 | 0.0053046 | 0.0013295

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1