## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_198-1_0_3_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_198-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_198-1_0_3_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_198-1_0_3_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_198-1_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_198-1_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_198-1_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_198-1_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_198-1_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_198-1_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_198-1_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_198-1_0_3_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_198-1_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_198-1_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_198-1_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_198-1_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_198-1_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_198-1_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_198-1_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_198-1_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_198-1_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_198-1_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_198-1_0_3_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_198-1_0_3_node_127 | 0.4 | n |  | TRUE
27 | bus_LV_198-1_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_198-1_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_198-1_0_3_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_198-1_0_3_node_128 | 0.4 | n |  | TRUE
31 | bus_LV_198-1_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_198-1_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_198-1_0_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_198-1_0_3_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_198-1_0_3_node_122 | 0.4 | n |  | TRUE
36 | bus_LV_198-1_0_3_node_114 | 0.4 | n |  | TRUE
37 | bus_LV_198-1_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_198-1_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_198-1_0_3_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_198-1_0_3_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_198-1_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_198-1_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_198-1_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_198-1_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_198-1_0_3_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_198-1_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_198-1_0_3_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_198-1_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_198-1_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_198-1_0_3_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_198-1_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_198-1_0_3_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_198-1_0_3_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_198-1_0_3_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_198-1_0_3_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_198-1_0_3_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_198-1_0_3_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_198-1_0_3_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_198-1_0_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_198-1_0_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_198-1_0_3_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_198-1_0_3_node_135 | 0.4 | n |  | TRUE
63 | bus_LV_198-1_0_3_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_198-1_0_3_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_198-1_0_3_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_198-1_0_3_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_198-1_0_3_node_118 | 0.4 | n |  | TRUE
68 | bus_LV_198-1_0_3_node_119 | 0.4 | n |  | TRUE
69 | bus_LV_198-1_0_3_node_120 | 0.4 | n |  | TRUE
70 | bus_LV_198-1_0_3_node_168 | 0.4 | n |  | TRUE
71 | bus_MV_501_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-1_0_3_load_0 | 0 | 0.0037645 | 0.00094346 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-1_0_3_load_1 | 1 | 0.001596 | 0.00039999 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-1_0_3_load_3 | 2 | 0.0016454 | 0.00041237 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-1_0_3_load_21 | 3 | 0.0036857 | 0.00092373 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-1_0_3_load_70 | 6 | 0.0014657 | 0.00036733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-1_0_3_load_5 | 7 | 0.00088008 | 0.00022057 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-1_0_3_load_6 | 8 | 0.00092762 | 0.00023248 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-1_0_3_load_20 | 12 | 0.0018975 | 0.00047555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-1_0_3_load_13 | 13 | 0.0010774 | 0.00027002 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-1_0_3_load_136 | 14 | 0.00077607 | 0.0001945 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-1_0_3_load_12 | 15 | 0.0016608 | 0.00041623 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-1_0_3_load_15 | 16 | 0.0019727 | 0.00049441 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-1_0_3_load_16 | 17 | 0.0029227 | 0.00073251 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-1_0_3_load_17 | 18 | 0.0014185 | 0.00035551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-1_0_3_load_18 | 19 | 0.0095047 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-1_0_3_load_19 | 20 | 0.0025631 | 0.00064236 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-1_0_3_load_23 | 23 | 0.0050382 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-1_0_3_load_24 | 24 | 0.0031321 | 0.00078497 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-1_0_3_load_71 | 25 | 0.00092907 | 0.00023285 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-1_0_3_load_26 | 27 | 0.0030097 | 0.0007543 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-1_0_3_load_27 | 28 | 0.0064326 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-1_0_3_load_59 | 29 | 0.002957 | 0.0007411 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-1_0_3_load_128 | 30 | 0.0053172 | 0.0013326 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-1_0_3_load_38 | 31 | 0.0014939 | 0.00037441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-1_0_3_load_39 | 32 | 0.0013138 | 0.00032926 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-1_0_3_load_76 | 34 | 0.0014789 | 0.00037066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-1_0_3_load_122 | 35 | 0.0011559 | 0.00028968 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-1_0_3_load_75 | 39 | 0.0011538 | 0.00028918 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-1_0_3_load_99 | 40 | 0.0064034 | 0.0016049 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-1_0_3_load_61 | 41 | 0.0045318 | 0.0011358 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-1_0_3_load_57 | 42 | 0.0022529 | 0.00056462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-1_0_3_load_58 | 43 | 0.002595 | 0.00065037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-1_0_3_load_60 | 44 | 0.0044868 | 0.0011245 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-1_0_3_load_68 | 46 | 0.0013643 | 0.00034193 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-1_0_3_load_69 | 47 | 0.0030897 | 0.00077434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-1_0_3_load_72 | 48 | 0.0068844 | 0.0017254 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-1_0_3_load_73 | 49 | 0.0016738 | 0.0004195 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-1_0_3_load_74 | 50 | 0.0031959 | 0.00080097 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-1_0_3_load_77 | 51 | 0.0014289 | 0.00035812 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-1_0_3_load_78 | 52 | 0.0015121 | 0.00037897 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-1_0_3_load_79 | 53 | 0.0036242 | 0.00090832 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-1_0_3_load_80 | 54 | 0.0014583 | 0.00036548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_198-1_0_3_load_113 | 55 | 0.0044862 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_198-1_0_3_load_100 | 56 | 0.0015794 | 0.00039584 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_198-1_0_3_load_105 | 58 | 0.0052915 | 0.0013262 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_198-1_0_3_load_102 | 59 | 0.0011677 | 0.00029265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_198-1_0_3_load_103 | 60 | 0.0016858 | 0.0004225 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_198-1_0_3_load_104 | 61 | 0.00081283 | 0.00020371 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_198-1_0_3_load_135 | 62 | 0.014583 | 0.0036547 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_198-1_0_3_load_110 | 63 | 0.0013077 | 0.00032774 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_198-1_0_3_load_111 | 64 | 0.00092969 | 0.000233 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_198-1_0_3_load_123 | 65 | 0.00095563 | 0.0002395 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_198-1_0_3_load_112 | 66 | 0.0027611 | 0.000692 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_198-1_0_3_load_118 | 67 | 0.0042318 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_198-1_0_3_load_119 | 68 | 0.0036831 | 0.00092306 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_198-1_0_3_load_120 | 69 | 0.0039604 | 0.00099257 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_198-1_0_3_load_168 | 70 | 0.0012806 | 0.00032096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-1_0_3_line_0 |  | 0 | 1 | 0.0071676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-1_0_3_line_1 |  | 1 | 2 | 0.0069358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-1_0_3_line_2 |  | 2 | 3 | 0.0072494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-1_0_3_line_3 |  | 3 | 22 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-1_0_3_line_4 |  | 4 | 5 | 0.59277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_198-1_0_3_line_5 |  | 4 | 6 | 0.038009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-1_0_3_line_6 |  | 5 | 36 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_198-1_0_3_line_7 |  | 6 | 46 | 0.0016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-1_0_3_line_8 |  | 7 | 8 | 0.020519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-1_0_3_line_9 |  | 7 | 9 | 0.017097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-1_0_3_line_10 |  | 9 | 10 | 0.04304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-1_0_3_line_11 |  | 9 | 11 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-1_0_3_line_12 |  | 10 | 12 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-1_0_3_line_13 |  | 11 | 13 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-1_0_3_line_14 |  | 11 | 14 | 0.015714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-1_0_3_line_15 |  | 13 | 15 | 0.016243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-1_0_3_line_16 |  | 14 | 62 | 0.019052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-1_0_3_line_17 |  | 16 | 17 | 0.0040074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-1_0_3_line_18 |  | 17 | 18 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-1_0_3_line_19 |  | 18 | 19 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-1_0_3_line_20 |  | 19 | 20 | 0.004111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-1_0_3_line_21 |  | 20 | 21 | 0.026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-1_0_3_line_22 |  | 21 | 27 | 0.0087809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_198-1_0_3_line_23 |  | 21 | 28 | 0.022319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_198-1_0_3_line_24 |  | 22 | 23 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-1_0_3_line_25 |  | 22 | 24 | 0.01687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-1_0_3_line_26 |  | 23 | 25 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-1_0_3_line_27 |  | 24 | 26 | 0.0025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-1_0_3_line_28 |  | 25 | 47 | 0.0018473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-1_0_3_line_29 |  | 26 | 65 | 0.029755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-1_0_3_line_30 |  | 26 | 69 | 0.017482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-1_0_3_line_31 |  | 27 | 29 | 0.016567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_198-1_0_3_line_32 |  | 28 | 30 | 0.00065576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_198-1_0_3_line_33 |  | 29 | 42 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_198-1_0_3_line_34 |  | 30 | 61 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_198-1_0_3_line_35 |  | 31 | 32 | 0.030346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-1_0_3_line_36 |  | 32 | 33 | 0.017559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-1_0_3_line_37 |  | 33 | 34 | 0.018489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-1_0_3_line_38 |  | 33 | 35 | 0.038108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-1_0_3_line_39 |  | 34 | 50 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-1_0_3_line_40 |  | 35 | 70 | 0.0022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-1_0_3_line_41 |  | 36 | 66 | 0.039821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_198-1_0_3_line_42 |  | 37 | 38 | 0.041592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-1_0_3_line_43 |  | 37 | 39 | 0.020622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-1_0_3_line_44 |  | 37 | 40 | 0.020583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-1_0_3_line_45 |  | 38 | 41 | 0.018484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-1_0_3_line_46 |  | 39 | 49 | 0.028635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-1_0_3_line_47 |  | 40 | 56 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-1_0_3_line_48 |  | 42 | 43 | 0.0029359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_198-1_0_3_line_49 |  | 43 | 44 | 0.03191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_198-1_0_3_line_50 |  | 44 | 45 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_198-1_0_3_line_51 |  | 45 | 55 | 0.0085559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_198-1_0_3_line_52 |  | 45 | 54 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-1_0_3_line_53 |  | 46 | 47 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-1_0_3_line_54 |  | 48 | 49 | 0.014295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_198-1_0_3_line_55 |  | 48 | 50 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-1_0_3_line_56 |  | 51 | 52 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-1_0_3_line_57 |  | 51 | 53 | 0.0020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-1_0_3_line_58 |  | 52 | 54 | 0.00064946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_198-1_0_3_line_59 |  | 55 | 66 | 0.024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_198-1_0_3_line_60 |  | 56 | 57 | 0.049476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_198-1_0_3_line_61 |  | 57 | 58 | 0.0049419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_198-1_0_3_line_62 |  | 57 | 59 | 0.032689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_198-1_0_3_line_63 |  | 58 | 62 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_198-1_0_3_line_64 |  | 59 | 60 | 0.037432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_198-1_0_3_line_65 |  | 60 | 61 | 0.022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_198-1_0_3_line_66 |  | 63 | 64 | 0.0087767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_198-1_0_3_line_67 |  | 64 | 65 | 0.0073552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_198-1_0_3_line_68 |  | 67 | 68 | 0.018827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_198-1_0_3_line_69 |  | 68 | 69 | 0.019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-1_0_3_trafo_104 | 0.63 MVA 20/0.4 kV | 71 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46
0 | 2696816.6184 | 1245545.3535 | 2696822.683 | 1245541.5332
1 | 2696822.683 | 1245541.5332 | 2696828.5515 | 1245537.8364
2 | 2696828.5515 | 1245537.8364 | 2696834.6853 | 1245533.9725
3 | 2696845.1411 | 1245527.386 | 2696834.6853 | 1245533.9725
4 | 2696790.0912 | 1245451.5183 | 2696769.7454 | 1245427.19 | 2696762.5946 | 1245426.395 | 2696753.731 | 1245415.2641 | 2696753.6324 | 1245406.0221 | 2696756.7247 | 1245403.1481 | 2696754.4097 | 1245399.6076 | 2696752.94 | 1245395.2025 | 2696757.0099 | 1245392.1555 | 2696752.632 | 1245386.7577 | 2696757.8474 | 1245382.5173 | 2696804.4793 | 1245344.1487 | 2696809.2681 | 1245340.1238 | 2696816.6374 | 1245334.0172 | 2696844.8435 | 1245311.1045 | 2696849.0612 | 1245307.8042 | 2696856.4709 | 1245302.0096 | 2696858.3998 | 1245300.5066 | 2696873.2825 | 1245289.2076 | 2696880.3257 | 1245284.1076 | 2696887.3772 | 1245279.8862 | 2696894.1813 | 1245277.3955 | 2696895.3761 | 1245279.1941 | 2696897.0774 | 1245280.5229 | 2696899.1133 | 1245281.2568 | 2696901.2736 | 1245281.3143 | 2696903.3466 | 1245280.7033 | 2696905.1127 | 1245279.4534 | 2696911.2949 | 1245283.1127 | 2696917.0433 | 1245287.8769 | 2696923.4445 | 1245294.7757 | 2696936.8712 | 1245312.909 | 2696948.5252 | 1245328.5336 | 2696955.4467 | 1245337.8094 | 2696995.3552 | 1245391.3138 | 2697002.7082 | 1245403.7658 | 2697003.392 | 1245404.9223 | 2697009.1997 | 1245416.2148 | 2697014.0674 | 1245429.9939 | 2697029.4865 | 1245483.3313 | 2697030.6507 | 1245486.9976 | 2697034.6537 | 1245499.5839 | 2697037.1301 | 1245506.1739 | 2697040.179 | 1245514.2633 | 2697047.2652 | 1245529.6132 | 2697055.1477 | 1245541.0842 | 2697049.254 | 1245543.3673
5 | 2696790.0912 | 1245451.5183 | 2696813.3426 | 1245481.5859
6 | 2697049.254 | 1245543.3673 | 2697039.1071 | 1245543.735
7 | 2696814.346 | 1245482.8835 | 2696813.3426 | 1245481.5859
8 | 2696846.4132 | 1245670.7873 | 2696825.8943 | 1245670.8038
9 | 2696863.5104 | 1245670.7735 | 2696846.4132 | 1245670.7873
10 | 2696863.5104 | 1245670.7735 | 2696848.6068 | 1245711.161
11 | 2696863.5104 | 1245670.7735 | 2696867.1723 | 1245666.3299 | 2696874.7507 | 1245657.1243
12 | 2696848.6068 | 1245711.161 | 2696833.0868 | 1245720.478
13 | 2696874.7507 | 1245657.1243 | 2696853.9213 | 1245644.4189
14 | 2696874.7507 | 1245657.1243 | 2696881.3806 | 1245649.082 | 2696886.4795 | 1245647.6699
15 | 2696853.9213 | 1245644.4189 | 2696853.9213 | 1245644.4189 | 2696838.1936 | 1245640.3615
16 | 2696886.4795 | 1245647.6699 | 2696904.8403 | 1245642.5851
17 | 2696824.4397 | 1245595.2652 | 2696820.9537 | 1245597.2417
18 | 2696824.4397 | 1245595.2652 | 2696841.4601 | 1245585.6149
19 | 2696841.4601 | 1245585.6149 | 2696851.8514 | 1245579.7233
20 | 2696851.8514 | 1245579.7233 | 2696855.4275 | 1245577.6956
21 | 2696879.573 | 1245566.8895 | 2696872.3213 | 1245568.1165 | 2696862.8103 | 1245573.5098 | 2696855.4275 | 1245577.6956
22 | 2696879.573 | 1245566.8895 | 2696887.8732 | 1245564.0244
23 | 2696879.573 | 1245566.8895 | 2696881.938 | 1245571.5206 | 2696890.2056 | 1245586.5113
24 | 2696845.1411 | 1245527.386 | 2696834.9018 | 1245512.1501
25 | 2696845.1411 | 1245527.386 | 2696859.5714 | 1245518.6471
26 | 2696826.8906 | 1245500.2297 | 2696834.9018 | 1245512.1501
27 | 2696861.7867 | 1245517.3056 | 2696859.5714 | 1245518.6471
28 | 2696825.8602 | 1245498.6965 | 2696826.8906 | 1245500.2297
29 | 2696861.7867 | 1245517.3056 | 2696873.4042 | 1245489.9126
30 | 2696861.7867 | 1245517.3056 | 2696876.3026 | 1245507.5635
31 | 2696903.5334 | 1245558.6187 | 2696887.8732 | 1245564.0244
32 | 2696890.2056 | 1245586.5113 | 2696890.5223 | 1245587.0856
33 | 2696920.5717 | 1245552.7373 | 2696920.5717 | 1245552.7373 | 2696903.5334 | 1245558.6187
34 | 2696890.5223 | 1245587.0856 | 2696896.6782 | 1245598.2473
35 | 2697065.5958 | 1245672.5022 | 2697051.5256 | 1245699.3898
36 | 2697043.3845 | 1245714.9473 | 2697051.5256 | 1245699.3898
37 | 2697043.3845 | 1245714.9473 | 2697027.2312 | 1245705.9512
38 | 2697043.3845 | 1245714.9473 | 2697025.2405 | 1245748.4589
39 | 2697027.2312 | 1245705.9512 | 2697026.9482 | 1245705.7936 | 2697024.6116 | 1245704.054 | 2697022.9736 | 1245701.6365 | 2697022.2438 | 1245697.1393
40 | 2697024.1885 | 1245750.4019 | 2697025.2405 | 1245748.4589
41 | 2697039.1071 | 1245543.735 | 2696999.3128 | 1245545.1969
42 | 2697015.1426 | 1245591.4573 | 2697020.6516 | 1245621.4482 | 2697009.5548 | 1245621.6891
43 | 2697009.5548 | 1245621.6891 | 2697010.9576 | 1245628.3171 | 2697013.6564 | 1245641.8987
44 | 2697009.5548 | 1245621.6891 | 2696989.3297 | 1245625.5091
45 | 2697015.1426 | 1245591.4573 | 2696996.9121 | 1245594.5056
46 | 2697019.2375 | 1245669.9845 | 2697019.2375 | 1245669.9845 | 2697013.6564 | 1245641.8987
47 | 2696989.3297 | 1245625.5091 | 2696972.8599 | 1245628.6198
48 | 2696920.5717 | 1245552.7373 | 2696923.48 | 1245552.3358
49 | 2696955.0898 | 1245547.972 | 2696923.48 | 1245552.3358
50 | 2696966.4452 | 1245546.4044 | 2696955.0898 | 1245547.972
51 | 2696966.4452 | 1245546.4044 | 2696974.9953 | 1245546.0903
52 | 2696966.4452 | 1245546.4044 | 2696959.8111 | 1245536.6663 | 2696953.1541 | 1245526.8964
53 | 2696814.346 | 1245482.8835 | 2696821.1208 | 1245491.6443 | 2696825.8602 | 1245498.6965
54 | 2697020.0976 | 1245683.914 | 2697019.9123 | 1245682.772 | 2697018.1262 | 1245673.2466 | 2697019.2375 | 1245669.9845
55 | 2697020.0976 | 1245683.914 | 2697022.2438 | 1245697.1393
56 | 2696941.1811 | 1245509.3247 | 2696952.7884 | 1245526.3597
57 | 2696941.1811 | 1245509.3247 | 2696940.0338 | 1245507.641
58 | 2696952.7884 | 1245526.3597 | 2696953.1541 | 1245526.8964
59 | 2696974.9953 | 1245546.0903 | 2696999.3128 | 1245545.1969
60 | 2696924.3693 | 1245638.4317 | 2696952.3951 | 1245632.4851 | 2696972.8599 | 1245628.6198
61 | 2696924.3693 | 1245638.4317 | 2696919.5137 | 1245639.351
62 | 2696924.3693 | 1245638.4317 | 2696921.947 | 1245632.6877 | 2696924.4972 | 1245626.9138 | 2696937.8204 | 1245620.371 | 2696942.398 | 1245617.6993
63 | 2696904.8403 | 1245642.5851 | 2696910.0434 | 1245641.1441 | 2696919.5137 | 1245639.351
64 | 2696942.398 | 1245617.6993 | 2696942.398 | 1245617.6993 | 2696942.1081 | 1245615.0925 | 2696938.8823 | 1245614.5839 | 2696916.9643 | 1245619.9298 | 2696909.3323 | 1245618.0815 | 2696908.6828 | 1245617.1559
65 | 2696908.6828 | 1245617.1559 | 2696901.3202 | 1245606.6641 | 2696896.6782 | 1245598.2473
66 | 2696879.7028 | 1245475.0612 | 2696876.276 | 1245483.1413
67 | 2696873.4042 | 1245489.9126 | 2696876.276 | 1245483.1413
68 | 2696907.914 | 1245486.3481 | 2696892.2815 | 1245496.8396
69 | 2696892.2815 | 1245496.8396 | 2696876.3026 | 1245507.5635

## bus_geodata
| x | y | coords
0 | 2696816.6184 | 1245545.3535
1 | 2696822.683 | 1245541.5332
2 | 2696828.5515 | 1245537.8364
3 | 2696834.6853 | 1245533.9725
4 | 2696790.0912 | 1245451.5183
5 | 2697049.254 | 1245543.3673
6 | 2696813.3426 | 1245481.5859
7 | 2696846.4132 | 1245670.7873
8 | 2696825.8943 | 1245670.8038
9 | 2696863.5104 | 1245670.7735
10 | 2696848.6068 | 1245711.161
11 | 2696874.7507 | 1245657.1243
12 | 2696833.0868 | 1245720.478
13 | 2696853.9213 | 1245644.4189
14 | 2696886.4795 | 1245647.6699
15 | 2696838.1936 | 1245640.3615
16 | 2696820.9537 | 1245597.2417
17 | 2696824.4397 | 1245595.2652
18 | 2696841.4601 | 1245585.6149
19 | 2696851.8514 | 1245579.7233
20 | 2696855.4275 | 1245577.6956
21 | 2696879.573 | 1245566.8895
22 | 2696845.1411 | 1245527.386
23 | 2696834.9018 | 1245512.1501
24 | 2696859.5714 | 1245518.6471
25 | 2696826.8906 | 1245500.2297
26 | 2696861.7867 | 1245517.3056
27 | 2696887.8732 | 1245564.0244
28 | 2696890.2056 | 1245586.5113
29 | 2696903.5334 | 1245558.6187
30 | 2696890.5223 | 1245587.0856
31 | 2697065.5958 | 1245672.5022
32 | 2697051.5256 | 1245699.3898
33 | 2697043.3845 | 1245714.9473
34 | 2697027.2312 | 1245705.9512
35 | 2697025.2405 | 1245748.4589
36 | 2697039.1071 | 1245543.735
37 | 2697009.5548 | 1245621.6891
38 | 2697015.1426 | 1245591.4573
39 | 2697013.6564 | 1245641.8987
40 | 2696989.3297 | 1245625.5091
41 | 2696996.9121 | 1245594.5056
42 | 2696920.5717 | 1245552.7373
43 | 2696923.48 | 1245552.3358
44 | 2696955.0898 | 1245547.972
45 | 2696966.4452 | 1245546.4044
46 | 2696814.346 | 1245482.8835
47 | 2696825.8602 | 1245498.6965
48 | 2697020.0976 | 1245683.914
49 | 2697019.2375 | 1245669.9845
50 | 2697022.2438 | 1245697.1393
51 | 2696941.1811 | 1245509.3247
52 | 2696952.7884 | 1245526.3597
53 | 2696940.0338 | 1245507.641
54 | 2696953.1541 | 1245526.8964
55 | 2696974.9953 | 1245546.0903
56 | 2696972.8599 | 1245628.6198
57 | 2696924.3693 | 1245638.4317
58 | 2696919.5137 | 1245639.351
59 | 2696942.398 | 1245617.6993
60 | 2696908.6828 | 1245617.1559
61 | 2696896.6782 | 1245598.2473
62 | 2696904.8403 | 1245642.5851
63 | 2696879.7028 | 1245475.0612
64 | 2696876.276 | 1245483.1413
65 | 2696873.4042 | 1245489.9126
66 | 2696999.3128 | 1245545.1969
67 | 2696907.914 | 1245486.3481
68 | 2696892.2815 | 1245496.8396
69 | 2696876.3026 | 1245507.5635
70 | 2697024.1885 | 1245750.4019
71 | 2696879.573 | 1245566.8895

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97961 | -0.39264 | 0.0037645 | 0.00094346
1 | 0.97963 | -0.39215 | 0.001596 | 0.00039999
2 | 0.97967 | -0.39147 | 0.0016454 | 0.00041237
3 | 0.97972 | -0.39055 | 0.0036857 | 0.00092373
4 | 0.98302 | -0.32591 | 0 | 0
5 | 0.99421 | -0.11022 | 0 | 0
6 | 0.98159 | -0.35391 | 0.0014657 | 0.00036733
7 | 0.99417 | -0.11202 | 0.00088008 | 0.00022057
8 | 0.99415 | -0.11235 | 0.00092762 | 0.00023248
9 | 0.9942 | -0.11147 | 0 | 0
10 | 0.99412 | -0.11291 | 0 | 0
11 | 0.99426 | -0.11032 | 0 | 0
12 | 0.99409 | -0.11352 | 0.0018975 | 0.00047555
13 | 0.9942 | -0.1115 | 0.0010774 | 0.00027002
14 | 0.99435 | -0.10853 | 0.00077607 | 0.0001945
15 | 0.99417 | -0.11197 | 0.0016608 | 0.00041623
16 | 0.99779 | -0.042224 | 0.0019727 | 0.00049441
17 | 0.9978 | -0.042086 | 0.0029227 | 0.00073251
18 | 0.99788 | -0.040409 | 0.0014185 | 0.00035551
19 | 0.99795 | -0.039089 | 0.0095047 | 0.0023821
20 | 0.99801 | -0.037951 | 0.0025631 | 0.00064236
21 | 0.99846 | -0.029341 | 0 | 0
22 | 0.97984 | -0.38815 | 0 | 0
23 | 0.98033 | -0.37853 | 0.0050382 | 0.0012627
24 | 0.97955 | -0.39373 | 0.0031321 | 0.00078497
25 | 0.98078 | -0.36969 | 0.00092907 | 0.00023285
26 | 0.97952 | -0.39444 | 0 | 0
27 | 0.99817 | -0.034824 | 0.0030097 | 0.0007543
28 | 0.99938 | -0.011838 | 0.0064326 | 0.0016122
29 | 0.99765 | -0.044741 | 0.002957 | 0.0007411
30 | 0.99941 | -0.011287 | 0.0053172 | 0.0013326
31 | 0.99108 | -0.17172 | 0.0014939 | 0.00037441
32 | 0.99112 | -0.17091 | 0.0013138 | 0.00032926
33 | 0.99117 | -0.17004 | 0 | 0
34 | 0.99126 | -0.16832 | 0.0014789 | 0.00037066
35 | 0.99108 | -0.17169 | 0.0011559 | 0.00028968
36 | 0.9944 | -0.10658 | 0 | 0
37 | 0.99252 | -0.14388 | 0 | 0
38 | 0.99235 | -0.14721 | 0 | 0
39 | 0.99215 | -0.15105 | 0.0011538 | 0.00028918
40 | 0.99297 | -0.13508 | 0.0064034 | 0.0016049
41 | 0.99227 | -0.1487 | 0.0045318 | 0.0011358
42 | 0.99711 | -0.055075 | 0.0022529 | 0.00056462
43 | 0.99702 | -0.056701 | 0.002595 | 0.00065037
44 | 0.99613 | -0.073667 | 0.0044868 | 0.0011245
45 | 0.99584 | -0.079317 | 0 | 0
46 | 0.98153 | -0.35508 | 0.0013643 | 0.00034193
47 | 0.98084 | -0.36853 | 0.0030897 | 0.00077434
48 | 0.99144 | -0.16468 | 0.0068844 | 0.0017254
49 | 0.99166 | -0.16042 | 0.0016738 | 0.0004195
50 | 0.99132 | -0.16704 | 0.0031959 | 0.00080097
51 | 0.99557 | -0.084553 | 0.0014289 | 0.00035812
52 | 0.99566 | -0.082721 | 0.0015121 | 0.00037897
53 | 0.99556 | -0.084683 | 0.0036242 | 0.00090832
54 | 0.99566 | -0.082646 | 0.0014583 | 0.00036548
55 | 0.99565 | -0.082932 | 0.0044862 | 0.0011244
56 | 0.99344 | -0.12602 | 0.0015794 | 0.00039584
57 | 0.99489 | -0.097969 | 0 | 0
58 | 0.99477 | -0.10033 | 0.0052915 | 0.0013262
59 | 0.99666 | -0.06392 | 0.0011677 | 0.00029265
60 | 0.99873 | -0.024313 | 0.0016858 | 0.0004225
61 | 1 | 0 | -0.16652 | -0.041792
62 | 0.99447 | -0.10611 | 0.014583 | 0.0036547
63 | 0.9794 | -0.39667 | 0.0013077 | 0.00032774
64 | 0.97941 | -0.39646 | 0.00092969 | 0.000233
65 | 0.97943 | -0.39617 | 0.00095563 | 0.0002395
66 | 0.99516 | -0.092262 | 0.0027611 | 0.000692
67 | 0.97911 | -0.40243 | 0.0042318 | 0.0010606
68 | 0.97918 | -0.40098 | 0.0036831 | 0.00092306
69 | 0.97933 | -0.39821 | 0.0039604 | 0.00099257
70 | 0.99108 | -0.17174 | 0.0012806 | 0.00032096
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0037645 | -0.00094346 | 0.0037645 | 0.00094343 | 8.7885e-08 | -3.3994e-08 | 0.0057182 | 0.0057181 | 0.0057182 | 0.97961 | -0.39264 | 0.97963 | -0.39215 | 1.5709
1 | -0.0053605 | -0.0013434 | 0.0053607 | 0.0013434 | 1.7243e-07 | 2.303e-08 | 0.0081423 | 0.0081423 | 0.0081423 | 0.97963 | -0.39215 | 0.97967 | -0.39147 | 2.2369
2 | -0.0070061 | -0.0017558 | 0.0070064 | 0.0017559 | 3.0784e-07 | 1.0574e-07 | 0.010641 | 0.010641 | 0.010641 | 0.97967 | -0.39147 | 0.97972 | -0.39055 | 2.9235
3 | -0.010692 | -0.0026796 | 0.010693 | 0.0026803 | 1.2221e-06 | 6.265e-07 | 0.016239 | 0.016239 | 0.016239 | 0.97972 | -0.39055 | 0.97984 | -0.38815 | 4.4614
4 | -0.0409 | -0.010295 | 0.041327 | 0.010552 | 0.0004262 | 0.00025757 | 0.061928 | 0.061922 | 0.061928 | 0.98302 | -0.32591 | 0.99421 | -0.11022 | 8.5065
5 | 0.0409 | 0.010295 | -0.040846 | -0.01026 | 5.4662e-05 | 3.4503e-05 | 0.061928 | 0.061928 | 0.061928 | 0.98302 | -0.32591 | 0.98159 | -0.35391 | 17.0131
6 | -0.041327 | -0.010552 | 0.041334 | 0.010557 | 7.2785e-06 | 4.3956e-06 | 0.061922 | 0.061922 | 0.061922 | 0.99421 | -0.11022 | 0.9944 | -0.10658 | 8.5058
7 | 0.03938 | 0.009893 | -0.039378 | -0.0098916 | 2.1928e-06 | 1.3827e-06 | 0.059706 | 0.059706 | 0.059706 | 0.98159 | -0.35391 | 0.98153 | -0.35508 | 16.4027
8 | 0.00092764 | 0.00023223 | -0.00092762 | -0.00023248 | 1.4832e-08 | -2.5657e-07 | 0.0013883 | 0.0013884 | 0.0013884 | 0.99417 | -0.11202 | 0.99415 | -0.11235 | 0.38144
9 | -0.0018077 | -0.0004528 | 0.0018078 | 0.0004526 | 4.6932e-08 | -1.9167e-07 | 0.0027056 | 0.0027055 | 0.0027056 | 0.99417 | -0.11202 | 0.9942 | -0.11147 | 0.7433
10 | 0.0018977 | 0.00047488 | -0.0018975 | -0.00047536 | 1.3019e-07 | -4.7476e-07 | 0.00284 | 0.0028402 | 0.0028402 | 0.9942 | -0.11147 | 0.99412 | -0.11291 | 0.78027
11 | -0.0037054 | -0.00092748 | 0.0037056 | 0.00092739 | 2.0369e-07 | -9.8695e-08 | 0.0055455 | 0.0055454 | 0.0055455 | 0.9942 | -0.11147 | 0.99426 | -0.11032 | 1.5235
12 | 0.0018975 | 0.00047536 | -0.0018975 | -0.00047555 | 5.476e-08 | -1.9965e-07 | 0.0028402 | 0.0028403 | 0.0028403 | 0.99412 | -0.11291 | 0.99409 | -0.11352 | 0.7803
13 | 0.0027384 | 0.00068585 | -0.0027382 | -0.00068607 | 1.5367e-07 | -2.1806e-07 | 0.0040982 | 0.0040983 | 0.0040983 | 0.99426 | -0.11032 | 0.9942 | -0.1115 | 1.1259
14 | -0.006444 | -0.0016132 | 0.0064446 | 0.0016134 | 5.48e-07 | 1.4691e-07 | 0.0096436 | 0.0096435 | 0.0096436 | 0.99426 | -0.11032 | 0.99435 | -0.10853 | 2.6493
15 | 0.0016608 | 0.00041605 | -0.0016608 | -0.00041623 | 3.7636e-08 | -1.8653e-07 | 0.0024857 | 0.0024858 | 0.0024858 | 0.9942 | -0.1115 | 0.99417 | -0.11197 | 0.68291
16 | -0.0072207 | -0.0018079 | 0.0072215 | 0.0018082 | 8.3408e-07 | 2.8665e-07 | 0.010805 | 0.010805 | 0.010805 | 0.99435 | -0.10853 | 0.99447 | -0.10611 | 2.9684
17 | -0.0019727 | -0.00049441 | 0.0019727 | 0.00049437 | 1.3006e-08 | -4.4018e-08 | 0.0029419 | 0.0029419 | 0.0029419 | 0.99779 | -0.042224 | 0.9978 | -0.042086 | 0.80823
18 | -0.0048955 | -0.0012269 | 0.0048959 | 0.0012269 | 3.9106e-07 | -5.3044e-09 | 0.0073006 | 0.0073005 | 0.0073006 | 0.9978 | -0.042086 | 0.99788 | -0.040409 | 2.0057
19 | -0.0063144 | -0.0015824 | 0.0063148 | 0.0015825 | 3.9713e-07 | 9.8103e-08 | 0.0094158 | 0.0094157 | 0.0094158 | 0.99788 | -0.040409 | 0.99795 | -0.039089 | 2.5867
20 | -0.01582 | -0.0039646 | 0.01582 | 0.0039651 | 8.5774e-07 | 4.9524e-07 | 0.023588 | 0.023588 | 0.023588 | 0.99795 | -0.039089 | 0.99801 | -0.037951 | 6.4802
21 | -0.018383 | -0.0046074 | 0.018391 | 0.0046119 | 7.5433e-06 | 4.4777e-06 | 0.027409 | 0.027409 | 0.027409 | 0.99801 | -0.037951 | 0.99846 | -0.029341 | 7.53
22 | 0.07212 | 0.018351 | -0.072101 | -0.018339 | 1.9055e-05 | 1.1965e-05 | 0.10758 | 0.10758 | 0.10758 | 0.99846 | -0.029341 | 0.99817 | -0.034824 | 14.7774
23 | -0.090511 | -0.022963 | 0.090588 | 0.023011 | 7.6257e-05 | 4.822e-05 | 0.13499 | 0.13499 | 0.13499 | 0.99846 | -0.029341 | 0.99938 | -0.011838 | 18.5424
24 | -0.028903 | -0.007246 | 0.028916 | 0.0072543 | 1.3263e-05 | 8.2567e-06 | 0.043894 | 0.043893 | 0.043894 | 0.97984 | -0.38815 | 0.98033 | -0.37853 | 12.0587
25 | 0.018209 | 0.0045657 | -0.018205 | -0.0045629 | 4.8381e-06 | 2.8839e-06 | 0.027654 | 0.027654 | 0.027654 | 0.97984 | -0.38815 | 0.97955 | -0.39373 | 7.5973
26 | -0.033954 | -0.008517 | 0.033969 | 0.0085259 | 1.4307e-05 | 8.9755e-06 | 0.051541 | 0.051541 | 0.051541 | 0.98033 | -0.37853 | 0.98078 | -0.36969 | 14.1596
27 | 0.015073 | 0.0037779 | -0.015072 | -0.0037776 | 5.0914e-07 | 2.9325e-07 | 0.022896 | 0.022896 | 0.022896 | 0.97955 | -0.39373 | 0.97952 | -0.39444 | 6.2902
28 | -0.034898 | -0.0087588 | 0.0349 | 0.00876 | 1.9422e-06 | 1.2197e-06 | 0.05295 | 0.05295 | 0.05295 | 0.98078 | -0.36969 | 0.98084 | -0.36853 | 14.5468
29 | 0.0031933 | 0.00079986 | -0.0031931 | -0.00080007 | 2.6257e-07 | -2.0645e-07 | 0.0048509 | 0.004851 | 0.004851 | 0.97952 | -0.39444 | 0.97943 | -0.39617 | 1.3327
30 | 0.011879 | 0.0029777 | -0.011877 | -0.0029766 | 2.1348e-06 | 1.1463e-06 | 0.018046 | 0.018046 | 0.018046 | 0.97952 | -0.39444 | 0.97933 | -0.39821 | 4.9576
31 | 0.069092 | 0.017585 | -0.069059 | -0.017564 | 3.3014e-05 | 2.0696e-05 | 0.10309 | 0.10309 | 0.10309 | 0.99817 | -0.034824 | 0.99765 | -0.044741 | 14.1612
32 | -0.09702 | -0.024624 | 0.097023 | 0.024625 | 2.5697e-06 | 1.6274e-06 | 0.14457 | 0.14457 | 0.14457 | 0.99938 | -0.011838 | 0.99941 | -0.011287 | 19.858
33 | 0.066102 | 0.016823 | -0.066069 | -0.016803 | 3.2912e-05 | 2.0593e-05 | 0.098683 | 0.098683 | 0.098683 | 0.99765 | -0.044741 | 0.99711 | -0.055075 | 13.5554
34 | -0.10234 | -0.025958 | 0.1024 | 0.025993 | 5.557e-05 | 3.5231e-05 | 0.15248 | 0.15248 | 0.15248 | 0.99941 | -0.011287 | 1 | 0 | 20.9455
35 | -0.0014939 | -0.00037441 | 0.001494 | 0.00037406 | 5.7248e-08 | -3.5443e-07 | 0.002243 | 0.0022428 | 0.002243 | 0.99108 | -0.17172 | 0.99112 | -0.17091 | 0.6162
36 | -0.0028077 | -0.00070332 | 0.0028079 | 0.00070316 | 1.1699e-07 | -1.5142e-07 | 0.0042152 | 0.0042152 | 0.0042152 | 0.99112 | -0.17091 | 0.99117 | -0.17004 | 1.158
37 | -0.0052445 | -0.0013134 | 0.005245 | 0.0013134 | 4.2978e-07 | 3.6736e-08 | 0.0078732 | 0.0078731 | 0.0078732 | 0.99117 | -0.17004 | 0.99126 | -0.16832 | 2.163
38 | 0.0024367 | 0.00061025 | -0.0024365 | -0.00061062 | 1.9123e-07 | -3.6873e-07 | 0.003658 | 0.0036582 | 0.0036582 | 0.99117 | -0.17004 | 0.99108 | -0.17169 | 1.005
39 | -0.0067239 | -0.0016841 | 0.0067243 | 0.0016842 | 4.0926e-07 | 1.2381e-07 | 0.010093 | 0.010093 | 0.010093 | 0.99126 | -0.16832 | 0.99132 | -0.16704 | 2.7728
40 | 0.0012806 | 0.00032093 | -0.0012806 | -0.00032096 | 3.0632e-09 | -2.6512e-08 | 0.0019228 | 0.0019228 | 0.0019228 | 0.99108 | -0.17169 | 0.99108 | -0.17174 | 0.52823
41 | -0.041334 | -0.010557 | 0.041363 | 0.010574 | 2.8629e-05 | 1.7288e-05 | 0.061922 | 0.061922 | 0.061922 | 0.9944 | -0.10658 | 0.99516 | -0.092262 | 8.5058
42 | 0.0045328 | 0.0011357 | -0.0045321 | -0.0011357 | 7.203e-07 | -7.6439e-08 | 0.0067956 | 0.0067958 | 0.0067958 | 0.99252 | -0.14388 | 0.99235 | -0.14721 | 1.867
43 | 0.019652 | 0.0049308 | -0.019645 | -0.0049267 | 6.7137e-06 | 4.0304e-06 | 0.029465 | 0.029465 | 0.029465 | 0.99252 | -0.14388 | 0.99215 | -0.15105 | 8.0947
44 | -0.024185 | -0.0060664 | 0.024195 | 0.0060726 | 1.0148e-05 | 6.2288e-06 | 0.03626 | 0.03626 | 0.03626 | 0.99252 | -0.14388 | 0.99297 | -0.13508 | 9.9616
45 | 0.0045321 | 0.0011357 | -0.0045318 | -0.0011358 | 3.2012e-07 | -3.3902e-08 | 0.0067958 | 0.0067959 | 0.0067959 | 0.99235 | -0.14721 | 0.99227 | -0.1487 | 1.867
46 | 0.018491 | 0.0046375 | -0.018483 | -0.0046326 | 8.2596e-06 | 4.9165e-06 | 0.027734 | 0.027734 | 0.027734 | 0.99215 | -0.15105 | 0.99166 | -0.16042 | 7.6193
47 | -0.030598 | -0.0076775 | 0.030611 | 0.0076857 | 1.3217e-05 | 8.2418e-06 | 0.045856 | 0.045856 | 0.045856 | 0.99297 | -0.13508 | 0.99344 | -0.12602 | 12.5978
48 | 0.063816 | 0.016238 | -0.063811 | -0.016235 | 5.0017e-06 | 3.1245e-06 | 0.095321 | 0.095321 | 0.095321 | 0.99711 | -0.055075 | 0.99702 | -0.056701 | 13.0935
49 | 0.061216 | 0.015584 | -0.061166 | -0.015553 | 5.0035e-05 | 3.1191e-05 | 0.091448 | 0.091448 | 0.091448 | 0.99702 | -0.056701 | 0.99613 | -0.073667 | 12.5616
50 | 0.056679 | 0.014429 | -0.056664 | -0.014419 | 1.5436e-05 | 9.5808e-06 | 0.084746 | 0.084746 | 0.084746 | 0.99613 | -0.073667 | 0.99584 | -0.079317 | 11.641
51 | 0.048638 | 0.012408 | -0.04863 | -0.012403 | 8.4915e-06 | 5.212e-06 | 0.072755 | 0.072755 | 0.072755 | 0.99584 | -0.079317 | 0.99565 | -0.082932 | 9.9938
52 | 0.0080253 | 0.0020114 | -0.008024 | -0.0020109 | 1.2729e-06 | 5.0762e-07 | 0.011992 | 0.011992 | 0.011992 | 0.99584 | -0.079317 | 0.99566 | -0.082646 | 3.2945
53 | 0.038014 | 0.0095497 | -0.037989 | -0.0095343 | 2.4382e-05 | 1.5357e-05 | 0.057638 | 0.057638 | 0.057638 | 0.98153 | -0.35508 | 0.98084 | -0.36853 | 15.8345
54 | -0.016806 | -0.0042111 | 0.016809 | 0.0042131 | 3.4102e-06 | 1.9982e-06 | 0.025223 | 0.025223 | 0.025223 | 0.99144 | -0.16468 | 0.99166 | -0.16042 | 6.9293
55 | 0.0099214 | 0.0024857 | -0.0099202 | -0.0024852 | 1.114e-06 | 5.402e-07 | 0.01489 | 0.01489 | 0.01489 | 0.99144 | -0.16468 | 0.99132 | -0.16704 | 4.0907
56 | -0.0050532 | -0.0012664 | 0.0050536 | 0.0012664 | 4.4094e-07 | 1.4136e-08 | 0.0075527 | 0.0075526 | 0.0075527 | 0.99557 | -0.084553 | 0.99566 | -0.082721 | 2.0749
57 | 0.0036242 | 0.0009083 | -0.0036242 | -0.00090832 | 2.242e-08 | -1.2145e-08 | 0.005417 | 0.005417 | 0.005417 | 0.99557 | -0.084553 | 0.99556 | -0.084683 | 1.4882
58 | -0.0065657 | -0.0016454 | 0.0065657 | 0.0016454 | 2.3449e-08 | 6.5611e-09 | 0.0098124 | 0.0098124 | 0.0098124 | 0.99566 | -0.082721 | 0.99566 | -0.082646 | 2.6957
59 | 0.044144 | 0.011278 | -0.044124 | -0.011266 | 1.9905e-05 | 1.2106e-05 | 0.06605 | 0.06605 | 0.06605 | 0.99565 | -0.082932 | 0.99516 | -0.092262 | 9.0728
60 | -0.032191 | -0.0080816 | 0.032234 | 0.0081086 | 4.3143e-05 | 2.697e-05 | 0.048222 | 0.048221 | 0.048222 | 0.99344 | -0.12602 | 0.99489 | -0.097969 | 13.2477
61 | 0.027105 | 0.0067946 | -0.027102 | -0.0067927 | 3.0457e-06 | 1.8851e-06 | 0.04054 | 0.04054 | 0.04054 | 0.99489 | -0.097969 | 0.99477 | -0.10033 | 11.1373
62 | -0.059339 | -0.014903 | 0.059435 | 0.014965 | 9.6578e-05 | 6.1385e-05 | 0.088761 | 0.088761 | 0.088761 | 0.99489 | -0.097969 | 0.99666 | -0.06392 | 24.3849
63 | 0.02181 | 0.0054666 | -0.021804 | -0.0054629 | 6.0019e-06 | 3.6461e-06 | 0.032624 | 0.032624 | 0.032624 | 0.99477 | -0.10033 | 0.99447 | -0.10611 | 8.9628
64 | -0.060603 | -0.015257 | 0.060718 | 0.01533 | 0.00011498 | 7.3097e-05 | 0.090504 | 0.090504 | 0.090504 | 0.99666 | -0.06392 | 0.99873 | -0.024313 | 24.8638
65 | -0.062404 | -0.015753 | 0.062476 | 0.015799 | 7.2772e-05 | 4.628e-05 | 0.093016 | 0.093016 | 0.093016 | 0.99873 | -0.024313 | 1 | 0 | 25.5538
66 | -0.0013077 | -0.00032774 | 0.0013077 | 0.00032764 | 1.2991e-08 | -1.0214e-07 | 0.0019868 | 0.0019868 | 0.0019868 | 0.9794 | -0.39667 | 0.97941 | -0.39646 | 0.54582
67 | -0.0022374 | -0.00056064 | 0.0022374 | 0.00056057 | 3.187e-08 | -7.2167e-08 | 0.0033992 | 0.0033992 | 0.0033992 | 0.97941 | -0.39646 | 0.97943 | -0.39617 | 0.93385
68 | -0.0042318 | -0.0010606 | 0.0042321 | 0.0010605 | 2.9201e-07 | -4.9914e-08 | 0.0064313 | 0.0064312 | 0.0064313 | 0.97911 | -0.40243 | 0.97918 | -0.40098 | 1.7668
69 | -0.0079151 | -0.0019836 | 0.0079162 | 0.001984 | 1.044e-06 | 4.2609e-07 | 0.012028 | 0.012028 | 0.012028 | 0.97918 | -0.40098 | 0.97933 | -0.39821 | 3.3044

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16733 | 0.041996

## res_load
| p_mw | q_mvar
0 | 0.0037645 | 0.00094346
1 | 0.001596 | 0.00039999
2 | 0.0016454 | 0.00041237
3 | 0.0036857 | 0.00092373
4 | 0.0014657 | 0.00036733
5 | 0.00088008 | 0.00022057
6 | 0.00092762 | 0.00023248
7 | 0.0018975 | 0.00047555
8 | 0.0010774 | 0.00027002
9 | 0.00077607 | 0.0001945
10 | 0.0016608 | 0.00041623
11 | 0.0019727 | 0.00049441
12 | 0.0029227 | 0.00073251
13 | 0.0014185 | 0.00035551
14 | 0.0095047 | 0.0023821
15 | 0.0025631 | 0.00064236
16 | 0.0050382 | 0.0012627
17 | 0.0031321 | 0.00078497
18 | 0.00092907 | 0.00023285
19 | 0.0030097 | 0.0007543
20 | 0.0064326 | 0.0016122
21 | 0.002957 | 0.0007411
22 | 0.0053172 | 0.0013326
23 | 0.0014939 | 0.00037441
24 | 0.0013138 | 0.00032926
25 | 0.0014789 | 0.00037066
26 | 0.0011559 | 0.00028968
27 | 0.0011538 | 0.00028918
28 | 0.0064034 | 0.0016049
29 | 0.0045318 | 0.0011358
30 | 0.0022529 | 0.00056462
31 | 0.002595 | 0.00065037
32 | 0.0044868 | 0.0011245
33 | 0.0013643 | 0.00034193
34 | 0.0030897 | 0.00077434
35 | 0.0068844 | 0.0017254
36 | 0.0016738 | 0.0004195
37 | 0.0031959 | 0.00080097
38 | 0.0014289 | 0.00035812
39 | 0.0015121 | 0.00037897
40 | 0.0036242 | 0.00090832
41 | 0.0014583 | 0.00036548
42 | 0.0044862 | 0.0011244
43 | 0.0015794 | 0.00039584
44 | 0.0052915 | 0.0013262
45 | 0.0011677 | 0.00029265
46 | 0.0016858 | 0.0004225
47 | 0.00081283 | 0.00020371
48 | 0.014583 | 0.0036547
49 | 0.0013077 | 0.00032774
50 | 0.00092969 | 0.000233
51 | 0.00095563 | 0.0002395
52 | 0.0027611 | 0.000692
53 | 0.0042318 | 0.0010606
54 | 0.0036831 | 0.00092306
55 | 0.0039604 | 0.00099257
56 | 0.0012806 | 0.00032096

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1