## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-1_1_3_node_55 | 0.4 | n |  | TRUE
1 | bus_LV_198-1_1_3_node_64 | 0.4 | n |  | TRUE
2 | bus_LV_198-1_1_3_node_167 | 0.4 | n |  | TRUE
3 | bus_LV_198-1_1_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_198-1_1_3_node_166 | 0.4 | n |  | TRUE
5 | bus_LV_198-1_1_3_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_198-1_1_3_node_165 | 0.4 | n |  | TRUE
7 | bus_LV_198-1_1_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_198-1_1_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_198-1_1_3_node_155 | 0.4 | n |  | TRUE
10 | bus_LV_198-1_1_3_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_198-1_1_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_198-1_1_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_198-1_1_3_node_160 | 0.4 | n |  | TRUE
14 | bus_LV_198-1_1_3_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_198-1_1_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_198-1_1_3_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_198-1_1_3_node_132 | 0.4 | n |  | TRUE
18 | bus_LV_198-1_1_3_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_198-1_1_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_198-1_1_3_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_198-1_1_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_198-1_1_3_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_198-1_1_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_198-1_1_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_198-1_1_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_198-1_1_3_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_198-1_1_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_198-1_1_3_node_171 | 0.4 | n |  | TRUE
29 | bus_LV_198-1_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_198-1_1_3_node_138 | 0.4 | n |  | TRUE
31 | bus_LV_198-1_1_3_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_198-1_1_3_node_139 | 0.4 | n |  | TRUE
33 | bus_LV_198-1_1_3_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_198-1_1_3_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_198-1_1_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_198-1_1_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_198-1_1_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_198-1_1_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_198-1_1_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_198-1_1_3_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_198-1_1_3_node_124 | 0.4 | n |  | TRUE
42 | bus_LV_198-1_1_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_198-1_1_3_node_125 | 0.4 | n |  | TRUE
44 | bus_LV_198-1_1_3_node_162 | 0.4 | n |  | TRUE
45 | bus_LV_198-1_1_3_node_159 | 0.4 | n |  | TRUE
46 | bus_LV_198-1_1_3_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_198-1_1_3_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_198-1_1_3_node_164 | 0.4 | n |  | TRUE
49 | bus_LV_198-1_1_3_node_144 | 0.4 | n |  | TRUE
50 | bus_LV_198-1_1_3_node_137 | 0.4 | n |  | TRUE
51 | bus_LV_198-1_1_3_node_161 | 0.4 | n |  | TRUE
52 | bus_LV_198-1_1_3_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_198-1_1_3_node_140 | 0.4 | n |  | TRUE
54 | bus_LV_198-1_1_3_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_198-1_1_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_198-1_1_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_198-1_1_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_198-1_1_3_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_198-1_1_3_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_198-1_1_3_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_198-1_1_3_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_198-1_1_3_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_198-1_1_3_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_198-1_1_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_198-1_1_3_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_198-1_1_3_node_134 | 0.4 | n |  | TRUE
67 | bus_LV_198-1_1_3_node_131 | 0.4 | n |  | TRUE
68 | bus_LV_198-1_1_3_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_198-1_1_3_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_198-1_1_3_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_198-1_1_3_node_126 | 0.4 | n |  | TRUE
72 | bus_LV_198-1_1_3_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_198-1_1_3_node_130 | 0.4 | n |  | TRUE
74 | bus_LV_198-1_1_3_node_141 | 0.4 | n |  | TRUE
75 | bus_LV_198-1_1_3_node_154 | 0.4 | n |  | TRUE
76 | bus_LV_198-1_1_3_node_153 | 0.4 | n |  | TRUE
77 | bus_LV_198-1_1_3_node_163 | 0.4 | n |  | TRUE
78 | bus_LV_198-1_1_3_node_156 | 0.4 | n |  | TRUE
79 | bus_LV_198-1_1_3_node_157 | 0.4 | n |  | TRUE
80 | bus_LV_198-1_1_3_node_146 | 0.4 | n |  | TRUE
81 | bus_LV_198-1_1_3_node_147 | 0.4 | n |  | TRUE
82 | bus_LV_198-1_1_3_node_148 | 0.4 | n |  | TRUE
83 | bus_LV_198-1_1_3_node_149 | 0.4 | n |  | TRUE
84 | bus_LV_198-1_1_3_node_150 | 0.4 | n |  | TRUE
85 | bus_LV_198-1_1_3_node_151 | 0.4 | n |  | TRUE
86 | bus_LV_198-1_1_3_node_152 | 0.4 | n |  | TRUE
87 | bus_LV_198-1_1_3_node_158 | 0.4 | n |  | TRUE
88 | bus_MV_501_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-1_1_3_load_167 | 2 | 0.012051 | 0.0030203 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-1_1_3_load_166 | 4 | 0.010935 | 0.0027404 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-1_1_3_load_165 | 6 | 0.0082331 | 0.0020634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-1_1_3_load_155 | 9 | 0.003389 | 0.00084936 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-1_1_3_load_145 | 10 | 0.0074084 | 0.0018567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-1_1_3_load_160 | 13 | 0.0040551 | 0.0010163 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-1_1_3_load_96 | 14 | 0.011582 | 0.0029028 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-1_1_3_load_29 | 15 | 0.0060485 | 0.0015159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-1_1_3_load_132 | 17 | 0.0086934 | 0.0021788 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-1_1_3_load_92 | 18 | 0.017228 | 0.0043177 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-1_1_3_load_85 | 21 | 0.0013428 | 0.00033653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-1_1_3_load_83 | 22 | 0.0013587 | 0.00034052 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-1_1_3_load_28 | 23 | 0.0024995 | 0.00062643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-1_1_3_load_30 | 24 | 0.0054545 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-1_1_3_load_32 | 25 | 0.015065 | 0.0037756 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-1_1_3_load_88 | 26 | 0.0036309 | 0.00090998 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-1_1_3_load_171 | 28 | 0.013956 | 0.0034977 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-1_1_3_load_139 | 32 | 0.0038996 | 0.00097734 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-1_1_3_load_97 | 33 | 0.0033914 | 0.00084997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-1_1_3_load_89 | 34 | 0.0035514 | 0.00089006 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-1_1_3_load_33 | 35 | 0.0074049 | 0.0018559 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-1_1_3_load_34 | 36 | 0.0015656 | 0.00039237 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-1_1_3_load_35 | 37 | 0.0033114 | 0.00082991 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-1_1_3_load_37 | 39 | 0.0013539 | 0.00033931 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-1_1_3_load_91 | 40 | 0.00082547 | 0.00020688 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-1_1_3_load_124 | 41 | 0.0023902 | 0.00059904 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-1_1_3_load_125 | 43 | 0.003261 | 0.00081729 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-1_1_3_load_162 | 44 | 0.012246 | 0.003069 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-1_1_3_load_117 | 46 | 0.0013122 | 0.00032886 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-1_1_3_load_116 | 47 | 0.0053385 | 0.001338 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-1_1_3_load_164 | 48 | 0.011838 | 0.0029669 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-1_1_3_load_144 | 49 | 0.0055083 | 0.0013805 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-1_1_3_load_137 | 50 | 0.0063111 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-1_1_3_load_161 | 51 | 0.0084214 | 0.0021106 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-1_1_3_load_133 | 52 | 0.013037 | 0.0032674 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-1_1_3_load_107 | 54 | 0.0099258 | 0.0024876 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-1_1_3_load_62 | 55 | 0.0058231 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-1_1_3_load_66 | 57 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-1_1_3_load_86 | 58 | 0.0086636 | 0.0021713 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-1_1_3_load_121 | 59 | 0.0055388 | 0.0013881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-1_1_3_load_84 | 60 | 0.0013941 | 0.00034939 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-1_1_3_load_109 | 61 | 0.013174 | 0.0033018 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_198-1_1_3_load_106 | 62 | 0.005366 | 0.0013448 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_198-1_1_3_load_90 | 63 | 0.0040484 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_198-1_1_3_load_82 | 64 | 0.0018489 | 0.00046337 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_198-1_1_3_load_95 | 65 | 0.010213 | 0.0025596 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_198-1_1_3_load_134 | 66 | 0.017052 | 0.0042736 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_198-1_1_3_load_98 | 68 | 0.0033904 | 0.00084971 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_198-1_1_3_load_115 | 69 | 0.0029101 | 0.00072934 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_198-1_1_3_load_108 | 70 | 0.010336 | 0.0025905 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_198-1_1_3_load_126 | 71 | 0.0026327 | 0.0006598 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_198-1_1_3_load_129 | 72 | 0.0028403 | 0.00071186 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_198-1_1_3_load_141 | 74 | 0.0047413 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_198-1_1_3_load_154 | 75 | 0.00070191 | 0.00017591 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_198-1_1_3_load_153 | 76 | 0.00069825 | 0.000175 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_198-1_1_3_load_163 | 77 | 0.0056643 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_198-1_1_3_load_156 | 78 | 0.0055913 | 0.0014013 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_198-1_1_3_load_157 | 79 | 0.0057094 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_198-1_1_3_load_146 | 80 | 0.0013031 | 0.00032659 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_198-1_1_3_load_147 | 81 | 0.00062526 | 0.0001567 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_198-1_1_3_load_149 | 83 | 0.0060956 | 0.0015277 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_198-1_1_3_load_150 | 84 | 0.0045978 | 0.0011523 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_198-1_1_3_load_151 | 85 | 0.0061991 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_198-1_1_3_load_152 | 86 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_198-1_1_3_load_158 | 87 | 0.0044549 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-1_1_3_line_0 |  | 0 | 1 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-1_1_3_line_1 |  | 0 | 2 | 0.017036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-1_1_3_line_2 |  | 1 | 55 | 0.009178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-1_1_3_line_3 |  | 3 | 4 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_198-1_1_3_line_4 |  | 3 | 5 | 0.021184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_198-1_1_3_line_5 |  | 3 | 6 | 0.025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-1_1_3_line_6 |  | 4 | 44 | 0.02828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_198-1_1_3_line_7 |  | 5 | 16 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_198-1_1_3_line_8 |  | 5 | 17 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-1_1_3_line_9 |  | 6 | 45 | 0.0329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-1_1_3_line_10 |  | 7 | 8 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_198-1_1_3_line_11 |  | 7 | 9 | 0.023411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-1_1_3_line_12 |  | 7 | 10 | 0.0075558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-1_1_3_line_13 |  | 7 | 11 | 0.011352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-1_1_3_line_14 |  | 8 | 12 | 0.0095391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-1_1_3_line_15 |  | 8 | 13 | 0.021604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_198-1_1_3_line_16 |  | 9 | 48 | 0.025806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-1_1_3_line_17 |  | 10 | 49 | 0.021344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-1_1_3_line_18 |  | 11 | 14 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-1_1_3_line_19 |  | 11 | 15 | 0.040896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-1_1_3_line_20 |  | 12 | 18 | 0.0026594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-1_1_3_line_21 |  | 13 | 51 | 0.016263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_198-1_1_3_line_22 |  | 14 | 33 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-1_1_3_line_23 |  | 15 | 23 | 0.0031918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-1_1_3_line_24 |  | 16 | 52 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_198-1_1_3_line_25 |  | 17 | 19 | 0.015326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-1_1_3_line_26 |  | 19 | 20 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-1_1_3_line_27 |  | 20 | 54 | 0.031511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-1_1_3_line_28 |  | 21 | 22 | 0.017847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-1_1_3_line_29 |  | 22 | 64 | 0.0049483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-1_1_3_line_30 |  | 23 | 24 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-1_1_3_line_31 |  | 24 | 25 | 0.0096333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-1_1_3_line_32 |  | 25 | 26 | 0.0016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-1_1_3_line_33 |  | 26 | 34 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_198-1_1_3_line_34 |  | 27 | 28 | 0.079598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-1_1_3_line_35 |  | 27 | 29 | 0.18002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-1_1_3_line_36 |  | 29 | 30 | 0.023285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-1_1_3_line_37 |  | 30 | 31 | 0.026094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-1_1_3_line_38 |  | 30 | 50 | 0.024738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-1_1_3_line_39 |  | 31 | 32 | 0.059403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-1_1_3_line_40 |  | 32 | 53 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-1_1_3_line_41 |  | 33 | 68 | 0.00069133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-1_1_3_line_42 |  | 34 | 63 | 0.0053828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-1_1_3_line_43 |  | 35 | 36 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-1_1_3_line_44 |  | 35 | 37 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-1_1_3_line_45 |  | 36 | 38 | 0.0022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-1_1_3_line_46 |  | 37 | 39 | 0.0020947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-1_1_3_line_47 |  | 38 | 40 | 0.021285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-1_1_3_line_48 |  | 38 | 41 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-1_1_3_line_49 |  | 40 | 42 | 0.022634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-1_1_3_line_50 |  | 41 | 43 | 0.00072817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-1_1_3_line_51 |  | 42 | 58 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-1_1_3_line_52 |  | 42 | 56 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-1_1_3_line_53 |  | 43 | 71 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-1_1_3_line_54 |  | 44 | 51 | 0.015916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_198-1_1_3_line_55 |  | 45 | 77 | 0.0051947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-1_1_3_line_56 |  | 46 | 47 | 0.0080834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-1_1_3_line_57 |  | 47 | 69 | 0.0058084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-1_1_3_line_58 |  | 48 | 84 | 0.0061253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_198-1_1_3_line_59 |  | 52 | 67 | 0.02083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_198-1_1_3_line_60 |  | 53 | 74 | 0.024639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_198-1_1_3_line_61 |  | 54 | 62 | 0.0034748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_198-1_1_3_line_62 |  | 55 | 56 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_198-1_1_3_line_63 |  | 56 | 57 | 0.0097884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_198-1_1_3_line_64 |  | 57 | 59 | 0.0038865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_198-1_1_3_line_65 |  | 58 | 60 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_198-1_1_3_line_66 |  | 59 | 61 | 0.017243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_198-1_1_3_line_67 |  | 60 | 64 | 0.013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_198-1_1_3_line_68 |  | 61 | 70 | 0.0092381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_198-1_1_3_line_69 |  | 62 | 70 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_198-1_1_3_line_70 |  | 65 | 66 | 0.0047827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_198-1_1_3_line_71 |  | 66 | 67 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_198-1_1_3_line_72 |  | 67 | 73 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_198-1_1_3_line_73 |  | 68 | 69 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_198-1_1_3_line_74 |  | 72 | 73 | 0.023606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_198-1_1_3_line_75 |  | 74 | 75 | 0.0065234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_198-1_1_3_line_76 |  | 75 | 76 | 0.0077701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_198-1_1_3_line_77 |  | 76 | 86 | 0.020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_198-1_1_3_line_78 |  | 77 | 87 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_198-1_1_3_line_79 |  | 78 | 79 | 0.0025512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_198-1_1_3_line_80 |  | 79 | 87 | 0.058677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_198-1_1_3_line_81 |  | 80 | 81 | 0.02517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_198-1_1_3_line_82 |  | 80 | 82 | 0.062281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_198-1_1_3_line_83 |  | 82 | 83 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_198-1_1_3_line_84 |  | 82 | 84 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_198-1_1_3_line_85 |  | 83 | 85 | 0.0015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_198-1_1_3_line_86 |  | 85 | 86 | 0.036374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-1_1_3_trafo_95 | 0.63 MVA 20/0.4 kV | 88 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2696835.7051 | 1245357.9578 | 2696821.2202 | 1245339.3627
1 | 2696821.2202 | 1245339.3627 | 2696834.3844 | 1245328.5488
2 | 2696835.7051 | 1245357.9578 | 2696841.4282 | 1245365.1329
3 | 2696952.1399 | 1245325.1456 | 2696959.404 | 1245334.8328
4 | 2696952.1399 | 1245325.1456 | 2696948.5252 | 1245328.5336 | 2696955.4467 | 1245337.8094 | 2696951.6026 | 1245340.4374
5 | 2696952.1399 | 1245325.1456 | 2696970.9809 | 1245307.4711
6 | 2696976.2893 | 1245357.5189 | 2696966.1691 | 1245343.8559 | 2696965.2077 | 1245342.5725 | 2696959.404 | 1245334.8328
7 | 2696964.0482 | 1245357.098 | 2696959.4409 | 1245350.9514 | 2696951.6026 | 1245340.4374
8 | 2696951.6026 | 1245340.4374 | 2696942.4194 | 1245328.1257
9 | 2696994.891 | 1245294.5321 | 2696989.922 | 1245289.7028 | 2696970.9809 | 1245307.4711
10 | 2697007.4332 | 1245401.3301 | 2697009.0555 | 1245404.2477 | 2697012.608 | 1245412.0451
11 | 2697012.608 | 1245412.0451 | 2697027.4107 | 1245393.9085
12 | 2697012.608 | 1245412.0451 | 2697012.9365 | 1245412.751 | 2697015.0329 | 1245419.1958
13 | 2697006.558 | 1245421.5646 | 2697009.1997 | 1245416.2148 | 2697012.608 | 1245412.0451
14 | 2696998.9512 | 1245405.6947 | 2697002.7082 | 1245403.7658 | 2697007.4332 | 1245401.3301
15 | 2697007.4332 | 1245401.3301 | 2697005.9361 | 1245398.6146 | 2696997.5397 | 1245386.2012 | 2696995.4454 | 1245383.3757
16 | 2697027.4107 | 1245393.9085 | 2697043.7278 | 1245373.9164
17 | 2697021.6353 | 1245439.4932 | 2697015.0329 | 1245419.1958
18 | 2697006.558 | 1245421.5646 | 2697009.0517 | 1245428.9555 | 2697015.8597 | 1245451.7513
19 | 2697006.558 | 1245421.5646 | 2696972.343 | 1245443.9663
20 | 2696998.9512 | 1245405.6947 | 2696997.5368 | 1245403.4426
21 | 2696995.4454 | 1245383.3757 | 2696989.2885 | 1245375.0688 | 2696985.7629 | 1245370.309
22 | 2697015.8597 | 1245451.7513 | 2697020.8907 | 1245468.5971
23 | 2696969.6727 | 1245445.7146 | 2696972.343 | 1245443.9663
24 | 2696964.0482 | 1245357.098 | 2696949.1766 | 1245367.6385
25 | 2696933.2565 | 1245315.841 | 2696942.4194 | 1245328.1257
26 | 2696921.547 | 1245325.3236 | 2696933.2565 | 1245315.841
27 | 2696921.547 | 1245325.3236 | 2696919.464 | 1245327.0131 | 2696911.9098 | 1245339.3325 | 2696900.4573 | 1245348.0247
28 | 2696814.9135 | 1245431.1323 | 2696828.7053 | 1245419.8054
29 | 2696832.5293 | 1245416.6648 | 2696828.7053 | 1245419.8054
30 | 2696969.6727 | 1245445.7146 | 2696959.7163 | 1245452.2334
31 | 2696951.6568 | 1245457.5102 | 2696959.7163 | 1245452.2334
32 | 2696951.6568 | 1245457.5102 | 2696950.2848 | 1245458.4084
33 | 2696950.2848 | 1245458.4084 | 2696936.5909 | 1245467.3743
34 | 2697095.4544 | 1245479.2632 | 2697100.7972 | 1245467.2525 | 2697105.2676 | 1245467.904 | 2697122.2782 | 1245433.2781 | 2697136.4501 | 1245414.6404
35 | 2697136.4501 | 1245414.6404 | 2697147.4176 | 1245401.5655 | 2697155.3268 | 1245391.5874 | 2697160.0105 | 1245385.6818 | 2697180.9106 | 1245402.3925 | 2697200.3889 | 1245378.6045 | 2697193.6814 | 1245372.9013 | 2697214.4062 | 1245348.222 | 2697211.9788 | 1245346.025 | 2697227.2955 | 1245327.6508 | 2697216.792 | 1245318.405 | 2697214.8659 | 1245320.6529
36 | 2697196.5045 | 1245306.2632 | 2697214.8659 | 1245320.6529
37 | 2697199.4268 | 1245281.5144 | 2697197.9825 | 1245286.6391 | 2697199.8102 | 1245295.9206 | 2697199.8433 | 1245299.8908 | 2697198.9116 | 1245303.2559 | 2697196.5045 | 1245306.2632
38 | 2697196.5045 | 1245306.2632 | 2697181.0545 | 1245325.5829
39 | 2697199.4268 | 1245281.5144 | 2697193.9899 | 1245280.3466 | 2697188.3044 | 1245280.5092 | 2697173.2457 | 1245284.0652 | 2697165.3239 | 1245285.581 | 2697157.1644 | 1245284.5466 | 2697150.5819 | 1245280.8804 | 2697143.4487 | 1245275.6314
40 | 2697130.6753 | 1245266.2322 | 2697143.4487 | 1245275.6314
41 | 2697021.0886 | 1245469.2595 | 2697020.8907 | 1245468.5971
42 | 2696936.5909 | 1245467.3743 | 2696932.0875 | 1245470.3228
43 | 2696892.3836 | 1245445.1611 | 2696884.687 | 1245433.26
44 | 2696892.3836 | 1245445.1611 | 2696892.3836 | 1245445.1611 | 2696884.8933 | 1245462.8225
45 | 2696883.4876 | 1245431.4053 | 2696884.687 | 1245433.26
46 | 2696884.0755 | 1245464.751 | 2696884.8933 | 1245462.8225
47 | 2696883.4876 | 1245431.4053 | 2696871.551 | 1245413.7822
48 | 2696883.4876 | 1245431.4053 | 2696898.1729 | 1245421.5091
49 | 2696858.8576 | 1245395.042 | 2696871.551 | 1245413.7822
50 | 2696898.1729 | 1245421.5091 | 2696898.7767 | 1245421.1022
51 | 2696858.8576 | 1245395.042 | 2696851.0921 | 1245401.4196
52 | 2696858.8576 | 1245395.042 | 2696855.1878 | 1245382.3835
53 | 2696911.1322 | 1245412.7759 | 2696898.7767 | 1245421.1022
54 | 2696976.2893 | 1245357.5189 | 2696985.7629 | 1245370.309
55 | 2696994.891 | 1245294.5321 | 2696998.616 | 1245298.1528
56 | 2697029.0729 | 1245495.9829 | 2697027.1139 | 1245489.7864 | 2697026.6749 | 1245488.2638
57 | 2697025.0659 | 1245482.6827 | 2697026.6749 | 1245488.2638
58 | 2697043.7278 | 1245373.9164 | 2697047.6009 | 1245369.171
59 | 2696932.1822 | 1245379.6834 | 2696949.1766 | 1245367.6385
60 | 2697130.6753 | 1245266.2322 | 2697115.2147 | 1245285.4172
61 | 2696900.4573 | 1245348.0247 | 2696897.6894 | 1245350.1255
62 | 2696855.1878 | 1245382.3835 | 2696841.4282 | 1245365.1329
63 | 2696855.1878 | 1245382.3835 | 2696862.9848 | 1245376.4657
64 | 2696866.0806 | 1245374.116 | 2696862.9848 | 1245376.4657
65 | 2696842.958 | 1245408.0999 | 2696851.0921 | 1245401.4196
66 | 2696866.0806 | 1245374.116 | 2696879.8156 | 1245363.6914
67 | 2696842.958 | 1245408.0999 | 2696832.5293 | 1245416.6648
68 | 2696887.1742 | 1245358.1063 | 2696879.8156 | 1245363.6914
69 | 2696887.1742 | 1245358.1063 | 2696897.6894 | 1245350.1255
70 | 2696946.8164 | 1245382.2056 | 2696951.5296 | 1245383.0179
71 | 2696932.1822 | 1245379.6834 | 2696946.8164 | 1245382.2056
72 | 2696922.1974 | 1245386.759 | 2696932.1822 | 1245379.6834
73 | 2697025.0659 | 1245482.6827 | 2697024.1893 | 1245479.6419 | 2697021.0886 | 1245469.2595
74 | 2696922.1974 | 1245386.759 | 2696935.7471 | 1245406.0887
75 | 2697111.1214 | 1245290.4965 | 2697115.2147 | 1245285.4172
76 | 2697111.1214 | 1245290.4965 | 2697106.2458 | 1245296.5465
77 | 2697093.2549 | 1245312.6668 | 2697106.2458 | 1245296.5465
78 | 2696998.616 | 1245298.1528 | 2697011.7216 | 1245310.8912
79 | 2697055.3006 | 1245284.5904 | 2697053.488 | 1245286.3858
80 | 2697053.488 | 1245286.3858 | 2697020.3158 | 1245319.2446 | 2697011.7216 | 1245310.8912
81 | 2697118.2838 | 1245352.4263 | 2697102.5912 | 1245372.1053
82 | 2697057.0026 | 1245357.6519 | 2697067.3375 | 1245366.1275 | 2697091.6036 | 1245385.8842 | 2697102.5912 | 1245372.1053
83 | 2697057.0026 | 1245357.6519 | 2697063.0345 | 1245350.1671 | 2697069.4338 | 1245342.2262
84 | 2697057.0026 | 1245357.6519 | 2697047.6009 | 1245369.171
85 | 2697070.4308 | 1245340.9891 | 2697069.4338 | 1245342.2262
86 | 2697070.4308 | 1245340.9891 | 2697093.2549 | 1245312.6668

## bus_geodata
| x | y | coords
0 | 2696821.2202 | 1245339.3627
1 | 2696835.7051 | 1245357.9578
2 | 2696834.3844 | 1245328.5488
3 | 2696952.1399 | 1245325.1456
4 | 2696959.404 | 1245334.8328
5 | 2696951.6026 | 1245340.4374
6 | 2696970.9809 | 1245307.4711
7 | 2697012.608 | 1245412.0451
8 | 2697007.4332 | 1245401.3301
9 | 2697027.4107 | 1245393.9085
10 | 2697015.0329 | 1245419.1958
11 | 2697006.558 | 1245421.5646
12 | 2696998.9512 | 1245405.6947
13 | 2696995.4454 | 1245383.3757
14 | 2697015.8597 | 1245451.7513
15 | 2696972.343 | 1245443.9663
16 | 2696964.0482 | 1245357.098
17 | 2696942.4194 | 1245328.1257
18 | 2696997.5368 | 1245403.4426
19 | 2696933.2565 | 1245315.841
20 | 2696921.547 | 1245325.3236
21 | 2696814.9135 | 1245431.1323
22 | 2696828.7053 | 1245419.8054
23 | 2696969.6727 | 1245445.7146
24 | 2696959.7163 | 1245452.2334
25 | 2696951.6568 | 1245457.5102
26 | 2696950.2848 | 1245458.4084
27 | 2697136.4501 | 1245414.6404
28 | 2697095.4544 | 1245479.2632
29 | 2697214.8659 | 1245320.6529
30 | 2697196.5045 | 1245306.2632
31 | 2697199.4268 | 1245281.5144
32 | 2697143.4487 | 1245275.6314
33 | 2697020.8907 | 1245468.5971
34 | 2696936.5909 | 1245467.3743
35 | 2696892.3836 | 1245445.1611
36 | 2696884.687 | 1245433.26
37 | 2696884.8933 | 1245462.8225
38 | 2696883.4876 | 1245431.4053
39 | 2696884.0755 | 1245464.751
40 | 2696871.551 | 1245413.7822
41 | 2696898.1729 | 1245421.5091
42 | 2696858.8576 | 1245395.042
43 | 2696898.7767 | 1245421.1022
44 | 2696976.2893 | 1245357.5189
45 | 2696994.891 | 1245294.5321
46 | 2697029.0729 | 1245495.9829
47 | 2697026.6749 | 1245488.2638
48 | 2697043.7278 | 1245373.9164
49 | 2697021.6353 | 1245439.4932
50 | 2697181.0545 | 1245325.5829
51 | 2696985.7629 | 1245370.309
52 | 2696949.1766 | 1245367.6385
53 | 2697130.6753 | 1245266.2322
54 | 2696900.4573 | 1245348.0247
55 | 2696841.4282 | 1245365.1329
56 | 2696855.1878 | 1245382.3835
57 | 2696862.9848 | 1245376.4657
58 | 2696851.0921 | 1245401.4196
59 | 2696866.0806 | 1245374.116
60 | 2696842.958 | 1245408.0999
61 | 2696879.8156 | 1245363.6914
62 | 2696897.6894 | 1245350.1255
63 | 2696932.0875 | 1245470.3228
64 | 2696832.5293 | 1245416.6648
65 | 2696951.5296 | 1245383.0179
66 | 2696946.8164 | 1245382.2056
67 | 2696932.1822 | 1245379.6834
68 | 2697021.0886 | 1245469.2595
69 | 2697025.0659 | 1245482.6827
70 | 2696887.1742 | 1245358.1063
71 | 2696911.1322 | 1245412.776
72 | 2696935.7471 | 1245406.0887
73 | 2696922.1974 | 1245386.759
74 | 2697115.2147 | 1245285.4172
75 | 2697111.1214 | 1245290.4965
76 | 2697106.2458 | 1245296.5465
77 | 2696998.616 | 1245298.1528
78 | 2697055.3006 | 1245284.5904
79 | 2697053.488 | 1245286.3858
80 | 2697102.5912 | 1245372.1053
81 | 2697118.2838 | 1245352.4263
82 | 2697057.0026 | 1245357.6519
83 | 2697069.4338 | 1245342.2262
84 | 2697047.6009 | 1245369.171
85 | 2697070.4308 | 1245340.9891
86 | 2697093.2549 | 1245312.6668
87 | 2697011.7216 | 1245310.8912
88 | 2696932.1822 | 1245379.6834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97939 | -0.39672 | 0 | 0
1 | 0.97965 | -0.39156 | 0 | 0
2 | 0.9792 | -0.40045 | 0.012051 | 0.0030203
3 | 0.98994 | -0.19164 | 0 | 0
4 | 0.9892 | -0.20598 | 0.010935 | 0.0027404
5 | 0.99144 | -0.16291 | 0 | 0
6 | 0.98924 | -0.20528 | 0.0082331 | 0.0020634
7 | 0.98395 | -0.3076 | 0 | 0
8 | 0.98476 | -0.29191 | 0 | 0
9 | 0.98253 | -0.33523 | 0.003389 | 0.00084936
10 | 0.98386 | -0.30936 | 0.0074084 | 0.0018567
11 | 0.98324 | -0.32156 | 0 | 0
12 | 0.98461 | -0.29487 | 0 | 0
13 | 0.98585 | -0.27073 | 0.0040551 | 0.0010163
14 | 0.98242 | -0.33748 | 0.011582 | 0.0029028
15 | 0.98171 | -0.35132 | 0.0060485 | 0.0015159
16 | 0.99362 | -0.12107 | 0 | 0
17 | 0.98984 | -0.19354 | 0.0086934 | 0.0021788
18 | 0.98456 | -0.29569 | 0.017228 | 0.0043177
19 | 0.98837 | -0.22183 | 0 | 0
20 | 0.98693 | -0.24968 | 0 | 0
21 | 0.97938 | -0.39693 | 0.0013428 | 0.00033653
22 | 0.9794 | -0.39649 | 0.0013587 | 0.00034052
23 | 0.98161 | -0.3533 | 0.0024995 | 0.00062643
24 | 0.98126 | -0.36013 | 0.0054545 | 0.001367
25 | 0.98103 | -0.36472 | 0.015065 | 0.0037756
26 | 0.98101 | -0.36505 | 0.0036309 | 0.00090998
27 | 0.97205 | -0.5406 | 0 | 0
28 | 0.97101 | -0.56112 | 0.013956 | 0.0034977
29 | 0.9744 | -0.49435 | 0 | 0
30 | 0.9747 | -0.48839 | 0 | 0
31 | 0.97519 | -0.47868 | 0 | 0
32 | 0.97632 | -0.45663 | 0.0038996 | 0.00097734
33 | 0.98216 | -0.34267 | 0.0033914 | 0.00084997
34 | 0.9809 | -0.36731 | 0.0035514 | 0.00089006
35 | 0.97857 | -0.41283 | 0.0074049 | 0.0018559
36 | 0.97872 | -0.40972 | 0.0015656 | 0.00039237
37 | 0.97848 | -0.41446 | 0.0033114 | 0.00082991
38 | 0.97875 | -0.40917 | 0 | 0
39 | 0.97848 | -0.41451 | 0.0013539 | 0.00033931
40 | 0.97918 | -0.40069 | 0.00082547 | 0.00020688
41 | 0.97862 | -0.41184 | 0.0023902 | 0.00059904
42 | 0.97966 | -0.39133 | 0 | 0
43 | 0.97861 | -0.41192 | 0.003261 | 0.00081729
44 | 0.98756 | -0.23769 | 0.012246 | 0.003069
45 | 0.98859 | -0.21784 | 0 | 0
46 | 0.98198 | -0.34614 | 0.0013122 | 0.00032886
47 | 0.98199 | -0.34595 | 0.0053385 | 0.001338
48 | 0.98104 | -0.36419 | 0.011838 | 0.0029669
49 | 0.98375 | -0.31148 | 0.0055083 | 0.0013805
50 | 0.97455 | -0.49125 | 0.0063111 | 0.0015817
51 | 0.98669 | -0.25442 | 0.0084214 | 0.0021106
52 | 0.99554 | -0.084513 | 0.013037 | 0.0032674
53 | 0.97667 | -0.44962 | 0 | 0
54 | 0.98391 | -0.30828 | 0.0099258 | 0.0024876
55 | 0.97975 | -0.38955 | 0.0058231 | 0.0014594
56 | 0.98012 | -0.38239 | 0 | 0
57 | 0.98062 | -0.37259 | 0.0040336 | 0.0010109
58 | 0.97953 | -0.394 | 0.0086636 | 0.0021713
59 | 0.98083 | -0.36841 | 0.0055388 | 0.0013881
60 | 0.97947 | -0.39513 | 0.0013941 | 0.00034939
61 | 0.98187 | -0.34819 | 0.013174 | 0.0033018
62 | 0.98361 | -0.31415 | 0.005366 | 0.0013448
63 | 0.98088 | -0.3677 | 0.0040484 | 0.0010146
64 | 0.97941 | -0.39625 | 0.0018489 | 0.00046337
65 | 1 | 0 | -0.38174 | -0.097474
66 | 0.99945 | -0.010409 | 0.017052 | 0.0042736
67 | 0.99781 | -0.041324 | 0 | 0
68 | 0.98215 | -0.34283 | 0.0033904 | 0.00084971
69 | 0.98202 | -0.34525 | 0.0029101 | 0.00072934
70 | 0.98253 | -0.33517 | 0.010336 | 0.0025905
71 | 0.97858 | -0.41263 | 0.0026327 | 0.0006598
72 | 0.99772 | -0.043106 | 0.0028403 | 0.00071186
73 | 0.99778 | -0.041932 | 0 | 0
74 | 0.97723 | -0.43874 | 0.0047413 | 0.0011883
75 | 0.9774 | -0.4353 | 0.00070191 | 0.00017591
76 | 0.97762 | -0.4311 | 0.00069825 | 0.000175
77 | 0.98849 | -0.21983 | 0.0056643 | 0.0014196
78 | 0.98761 | -0.23706 | 0.0055913 | 0.0014013
79 | 0.98762 | -0.23681 | 0.0057094 | 0.0014309
80 | 0.98002 | -0.38425 | 0.0013031 | 0.00032659
81 | 0.98 | -0.38454 | 0.00062526 | 0.0001567
82 | 0.98013 | -0.38207 | 0 | 0
83 | 0.97932 | -0.39779 | 0.0060956 | 0.0015277
84 | 0.98076 | -0.36977 | 0.0045978 | 0.0011523
85 | 0.97927 | -0.39888 | 0.0061991 | 0.0015536
86 | 0.9782 | -0.41966 | 0.0010801 | 0.00027069
87 | 0.98823 | -0.22497 | 0.0044549 | 0.0011165
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012053 | -0.0030215 | 0.012056 | 0.0030231 | 2.9611e-06 | 1.5988e-06 | 0.018313 | 0.018313 | 0.018313 | 0.97939 | -0.39672 | 0.97965 | -0.39156 | 5.0311
1 | 0.012053 | 0.0030215 | -0.012051 | -0.0030203 | 2.1426e-06 | 1.1569e-06 | 0.018313 | 0.018313 | 0.018313 | 0.97939 | -0.39672 | 0.9792 | -0.40045 | 5.0311
2 | -0.012056 | -0.0030231 | 0.012057 | 0.0030237 | 1.1543e-06 | 6.2316e-07 | 0.018313 | 0.018313 | 0.018313 | 0.97965 | -0.39156 | 0.97975 | -0.38955 | 5.0311
3 | 0.201 | 0.050962 | -0.20086 | -0.050873 | 0.00013835 | 8.8079e-05 | 0.30234 | 0.30234 | 0.30234 | 0.98994 | -0.19164 | 0.9892 | -0.20598 | 27.6871
4 | -0.2307 | -0.05842 | 0.23102 | 0.058623 | 0.00031882 | 0.00020323 | 0.34699 | 0.34699 | 0.34699 | 0.98994 | -0.19164 | 0.99144 | -0.16291 | 31.7754
5 | 0.029698 | 0.0074584 | -0.029678 | -0.0074464 | 1.9309e-05 | 1.2026e-05 | 0.044645 | 0.044645 | 0.044645 | 0.98994 | -0.19164 | 0.98924 | -0.20528 | 12.2651
6 | 0.18993 | 0.048133 | -0.18964 | -0.047949 | 0.00028894 | 0.00018383 | 0.28589 | 0.2859 | 0.2859 | 0.9892 | -0.20598 | 0.98756 | -0.23769 | 26.1809
7 | -0.34437 | -0.087439 | 0.34507 | 0.087883 | 0.00069482 | 0.00044388 | 0.51726 | 0.51726 | 0.51726 | 0.99144 | -0.16291 | 0.99362 | -0.12107 | 47.3682
8 | 0.11335 | 0.028816 | -0.11319 | -0.02871 | 0.00016699 | 0.00010668 | 0.17027 | 0.17027 | 0.17027 | 0.99144 | -0.16291 | 0.98984 | -0.19354 | 46.7785
9 | 0.021445 | 0.005383 | -0.021432 | -0.0053752 | 1.284e-05 | 7.7957e-06 | 0.032261 | 0.032261 | 0.032261 | 0.98924 | -0.20528 | 0.98859 | -0.21784 | 8.8629
10 | -0.14714 | -0.037083 | 0.14725 | 0.037153 | 0.00011056 | 7.0453e-05 | 0.22259 | 0.22259 | 0.22259 | 0.98395 | -0.3076 | 0.98476 | -0.29191 | 30.5751
11 | 0.065845 | 0.016653 | -0.065758 | -0.016598 | 8.7143e-05 | 5.5474e-05 | 0.099631 | 0.099631 | 0.099631 | 0.98395 | -0.3076 | 0.98253 | -0.33523 | 27.3711
12 | 0.012918 | 0.0032379 | -0.012917 | -0.0032373 | 1.0814e-06 | 5.9616e-07 | 0.019536 | 0.019536 | 0.019536 | 0.98395 | -0.3076 | 0.98386 | -0.30936 | 5.3672
13 | 0.068373 | 0.017192 | -0.068327 | -0.017163 | 4.5531e-05 | 2.8996e-05 | 0.10342 | 0.10342 | 0.10342 | 0.98395 | -0.3076 | 0.98324 | -0.32156 | 28.412
14 | 0.017231 | 0.0043195 | -0.017229 | -0.0043181 | 2.4251e-06 | 1.4307e-06 | 0.026037 | 0.026037 | 0.026037 | 0.98476 | -0.29191 | 0.98461 | -0.29487 | 7.1531
15 | -0.16448 | -0.041473 | 0.16464 | 0.041579 | 0.00016693 | 0.00010601 | 0.24862 | 0.24862 | 0.24862 | 0.98476 | -0.29191 | 0.98585 | -0.27073 | 22.7677
16 | 0.062369 | 0.015748 | -0.062283 | -0.015693 | 8.6416e-05 | 5.498e-05 | 0.094498 | 0.094498 | 0.094498 | 0.98253 | -0.33523 | 0.98104 | -0.36419 | 25.9611
17 | 0.0055089 | 0.0013806 | -0.0055083 | -0.0013805 | 5.5563e-07 | 8.4579e-08 | 0.0083317 | 0.0083318 | 0.0083318 | 0.98386 | -0.30936 | 0.98375 | -0.31148 | 2.289
18 | 0.027952 | 0.0070148 | -0.027931 | -0.0070016 | 2.1202e-05 | 1.3169e-05 | 0.042305 | 0.042305 | 0.042305 | 0.98324 | -0.32156 | 0.98242 | -0.33748 | 11.6224
19 | 0.040376 | 0.010148 | -0.040318 | -0.010112 | 5.728e-05 | 3.6141e-05 | 0.061114 | 0.061114 | 0.061114 | 0.98324 | -0.32156 | 0.98171 | -0.35132 | 16.7897
20 | 0.017229 | 0.0043181 | -0.017228 | -0.0043177 | 6.761e-07 | 3.9888e-07 | 0.026037 | 0.026037 | 0.026037 | 0.98461 | -0.29487 | 0.98456 | -0.29569 | 7.1531
21 | -0.1687 | -0.042595 | 0.16883 | 0.042679 | 0.00013192 | 8.3808e-05 | 0.25474 | 0.25474 | 0.25474 | 0.98585 | -0.27073 | 0.98669 | -0.25442 | 23.3282
22 | 0.016348 | 0.0040988 | -0.016344 | -0.0040964 | 4.0425e-06 | 2.3646e-06 | 0.024762 | 0.024762 | 0.024762 | 0.98242 | -0.33748 | 0.98216 | -0.34267 | 6.8028
23 | 0.03427 | 0.0085962 | -0.034267 | -0.0085941 | 3.2298e-06 | 2.0267e-06 | 0.051947 | 0.051947 | 0.051947 | 0.98171 | -0.35132 | 0.98161 | -0.3533 | 14.2711
24 | -0.34507 | -0.087883 | 0.34568 | 0.088273 | 0.00060964 | 0.00038946 | 0.51726 | 0.51726 | 0.51726 | 0.99362 | -0.12107 | 0.99554 | -0.084513 | 47.3682
25 | 0.10449 | 0.026531 | -0.10435 | -0.02644 | 0.00014203 | 9.0703e-05 | 0.15721 | 0.15721 | 0.15721 | 0.98984 | -0.19354 | 0.98837 | -0.22183 | 43.1883
26 | 0.10435 | 0.02644 | -0.10421 | -0.026351 | 0.0001394 | 8.9025e-05 | 0.15721 | 0.15721 | 0.15721 | 0.98837 | -0.22183 | 0.98693 | -0.24968 | 43.1883
27 | 0.10421 | 0.026351 | -0.10392 | -0.026165 | 0.00029203 | 0.0001865 | 0.15721 | 0.15721 | 0.15721 | 0.98693 | -0.24968 | 0.98391 | -0.30828 | 43.1883
28 | -0.0013428 | -0.00033653 | 0.0013428 | 0.00033633 | 2.7855e-08 | -2.0676e-07 | 0.0020402 | 0.0020401 | 0.0020402 | 0.97938 | -0.39693 | 0.9794 | -0.39649 | 0.56048
29 | -0.0027015 | -0.00067684 | 0.0027015 | 0.0006768 | 3.1259e-08 | -4.2267e-08 | 0.0041043 | 0.0041043 | 0.0041043 | 0.9794 | -0.39649 | 0.97941 | -0.39625 | 1.1276
30 | 0.031767 | 0.0079677 | -0.031757 | -0.0079612 | 1.035e-05 | 6.4735e-06 | 0.048158 | 0.048158 | 0.048158 | 0.98161 | -0.3533 | 0.98126 | -0.36013 | 13.2301
31 | 0.026302 | 0.0065942 | -0.026296 | -0.0065906 | 5.7472e-06 | 3.5565e-06 | 0.039886 | 0.039886 | 0.039886 | 0.98126 | -0.36013 | 0.98103 | -0.36472 | 10.9578
32 | 0.011232 | 0.002815 | -0.011231 | -0.002815 | 1.7848e-07 | 9.3521e-08 | 0.017036 | 0.017036 | 0.017036 | 0.98103 | -0.36472 | 0.98101 | -0.36505 | 4.6803
33 | 0.0076006 | 0.001905 | -0.0075998 | -0.0019047 | 8.1583e-07 | 3.1549e-07 | 0.011529 | 0.011529 | 0.011529 | 0.98101 | -0.36505 | 0.9809 | -0.36731 | 3.1673
34 | 0.01397 | 0.0035055 | -0.013956 | -0.0034977 | 1.3653e-05 | 7.7522e-06 | 0.021387 | 0.021387 | 0.021387 | 0.97205 | -0.5406 | 0.97101 | -0.56112 | 5.8755
35 | -0.01397 | -0.0035055 | 0.014001 | 0.003523 | 3.0876e-05 | 1.7524e-05 | 0.021387 | 0.021386 | 0.021387 | 0.97205 | -0.5406 | 0.9744 | -0.49435 | 5.8754
36 | -0.014001 | -0.003523 | 0.014005 | 0.0035253 | 3.9935e-06 | 2.2657e-06 | 0.021386 | 0.021386 | 0.021386 | 0.9744 | -0.49435 | 0.9747 | -0.48839 | 5.8752
37 | -0.020317 | -0.0051072 | 0.020326 | 0.0051129 | 9.4168e-06 | 5.7014e-06 | 0.031022 | 0.031022 | 0.031022 | 0.9747 | -0.48839 | 0.97519 | -0.47868 | 8.5225
38 | 0.0063119 | 0.0015819 | -0.0063111 | -0.0015817 | 8.6138e-07 | 2.43e-07 | 0.0096361 | 0.0096362 | 0.0096362 | 0.9747 | -0.48839 | 0.97455 | -0.49125 | 2.6473
39 | -0.020326 | -0.0051129 | 0.020347 | 0.0051259 | 2.1437e-05 | 1.2978e-05 | 0.031022 | 0.031021 | 0.031022 | 0.97519 | -0.47868 | 0.97632 | -0.45663 | 8.5224
40 | -0.024247 | -0.0061033 | 0.024255 | 0.0061083 | 8.1261e-06 | 5.0023e-06 | 0.036965 | 0.036965 | 0.036965 | 0.97632 | -0.45663 | 0.97667 | -0.44962 | 10.1552
41 | 0.012953 | 0.0032464 | -0.012953 | -0.0032464 | 9.9836e-08 | 5.5146e-08 | 0.019624 | 0.019624 | 0.019624 | 0.98216 | -0.34267 | 0.98215 | -0.34283 | 5.3912
42 | 0.0040484 | 0.0010146 | -0.0040484 | -0.0010146 | 7.6135e-08 | -1.9218e-08 | 0.0061415 | 0.0061415 | 0.0061415 | 0.9809 | -0.36731 | 0.98088 | -0.3677 | 1.6872
43 | -0.012071 | -0.003025 | 0.012072 | 0.003026 | 1.7905e-06 | 9.6785e-07 | 0.018355 | 0.018354 | 0.018355 | 0.97857 | -0.41283 | 0.97872 | -0.40972 | 5.0425
44 | 0.0046656 | 0.0011692 | -0.0046653 | -0.0011692 | 3.621e-07 | -9.2456e-09 | 0.0070945 | 0.0070946 | 0.0070946 | 0.97857 | -0.41283 | 0.97848 | -0.41446 | 1.9491
45 | -0.013638 | -0.0034184 | 0.013638 | 0.0034186 | 3.561e-07 | 2.0014e-07 | 0.020735 | 0.020735 | 0.020735 | 0.97872 | -0.40972 | 0.97875 | -0.40917 | 5.6964
46 | 0.0013539 | 0.00033929 | -0.0013539 | -0.00033931 | 3.3299e-09 | -2.418e-08 | 0.0020589 | 0.0020589 | 0.0020589 | 0.97848 | -0.41446 | 0.97848 | -0.41451 | 0.56563
47 | -0.021923 | -0.005495 | 0.021932 | 0.0055005 | 8.8674e-06 | 5.4075e-06 | 0.033331 | 0.033331 | 0.033331 | 0.97875 | -0.40917 | 0.97918 | -0.40069 | 9.1568
48 | 0.0082851 | 0.0020765 | -0.008284 | -0.002076 | 1.0536e-06 | 4.5178e-07 | 0.012596 | 0.012596 | 0.012596 | 0.97875 | -0.40917 | 0.97862 | -0.41184 | 3.4604
49 | -0.022758 | -0.0057073 | 0.022768 | 0.0057136 | 1.0153e-05 | 6.2128e-06 | 0.034585 | 0.034585 | 0.034585 | 0.97918 | -0.40069 | 0.97966 | -0.39133 | 9.5014
50 | 0.0058938 | 0.001477 | -0.0058938 | -0.001477 | 2.193e-08 | 4.8864e-09 | 0.0089617 | 0.0089617 | 0.0089617 | 0.97862 | -0.41184 | 0.97861 | -0.41192 | 2.462
51 | 0.014611 | 0.003662 | -0.014609 | -0.0036609 | 1.8559e-06 | 1.0612e-06 | 0.022192 | 0.022192 | 0.022192 | 0.97966 | -0.39133 | 0.97953 | -0.394 | 6.0968
52 | -0.037378 | -0.0093755 | 0.037394 | 0.0093856 | 1.593e-05 | 1.0029e-05 | 0.056777 | 0.056777 | 0.056777 | 0.97966 | -0.39133 | 0.98012 | -0.38239 | 15.5981
53 | 0.0026327 | 0.00065967 | -0.0026327 | -0.0006598 | 8.9536e-08 | -1.2988e-07 | 0.0040031 | 0.0040032 | 0.0040032 | 0.97861 | -0.41192 | 0.97858 | -0.41263 | 1.0998
54 | 0.1774 | 0.04488 | -0.17725 | -0.04479 | 0.00014231 | 9.0465e-05 | 0.26744 | 0.26744 | 0.26744 | 0.98756 | -0.23769 | 0.98669 | -0.25442 | 24.4912
55 | 0.021432 | 0.0053752 | -0.02143 | -0.0053739 | 2.0274e-06 | 1.2309e-06 | 0.032261 | 0.032261 | 0.032261 | 0.98859 | -0.21784 | 0.98849 | -0.21983 | 8.8629
56 | -0.0013122 | -0.00032886 | 0.0013122 | 0.00032877 | 1.1984e-08 | -9.4592e-08 | 0.0019884 | 0.0019883 | 0.0019884 | 0.98198 | -0.34614 | 0.98199 | -0.34595 | 0.54625
57 | -0.0066507 | -0.0016667 | 0.0066509 | 0.0016668 | 2.2122e-07 | 6.8095e-08 | 0.010078 | 0.010078 | 0.010078 | 0.98199 | -0.34595 | 0.98202 | -0.34525 | 2.7686
58 | 0.050445 | 0.012726 | -0.050431 | -0.012718 | 1.3458e-05 | 8.5356e-06 | 0.076543 | 0.076543 | 0.076543 | 0.98104 | -0.36419 | 0.98076 | -0.36977 | 21.0282
59 | -0.35871 | -0.09154 | 0.35946 | 0.092019 | 0.00075013 | 0.00047927 | 0.53675 | 0.53675 | 0.53675 | 0.99554 | -0.084513 | 0.99781 | -0.041324 | 49.1526
60 | -0.024255 | -0.0061083 | 0.024268 | 0.006116 | 1.2625e-05 | 7.7715e-06 | 0.036965 | 0.036965 | 0.036965 | 0.97667 | -0.44962 | 0.97723 | -0.43874 | 10.1552
61 | 0.093994 | 0.023677 | -0.093968 | -0.02366 | 2.6347e-05 | 1.6818e-05 | 0.14219 | 0.14219 | 0.14219 | 0.98391 | -0.30828 | 0.98361 | -0.31415 | 39.0644
62 | -0.017881 | -0.0044831 | 0.017887 | 0.0044867 | 6.1027e-06 | 3.6277e-06 | 0.027157 | 0.027157 | 0.027157 | 0.97975 | -0.38955 | 0.98012 | -0.38239 | 7.4607
63 | -0.055281 | -0.013872 | 0.055307 | 0.013889 | 2.5859e-05 | 1.6427e-05 | 0.083934 | 0.083934 | 0.083934 | 0.98012 | -0.38239 | 0.98062 | -0.37259 | 23.0588
64 | -0.059341 | -0.0149 | 0.059352 | 0.014907 | 1.182e-05 | 7.5156e-06 | 0.090055 | 0.090055 | 0.090055 | 0.98062 | -0.37259 | 0.98083 | -0.36841 | 24.7403
65 | 0.005945 | 0.0014896 | -0.0059447 | -0.0014895 | 3.2193e-07 | 7.3552e-08 | 0.0090311 | 0.0090311 | 0.0090311 | 0.97953 | -0.394 | 0.97947 | -0.39513 | 2.4811
66 | -0.064891 | -0.016295 | 0.064954 | 0.016335 | 6.2682e-05 | 3.9899e-05 | 0.098458 | 0.098457 | 0.098458 | 0.98083 | -0.36841 | 0.98187 | -0.34819 | 27.0488
67 | 0.0045506 | 0.0011402 | -0.0045504 | -0.0011402 | 2.4186e-07 | -1.5047e-08 | 0.0069132 | 0.0069133 | 0.0069133 | 0.97947 | -0.39513 | 0.97941 | -0.39625 | 1.8993
68 | -0.078128 | -0.019637 | 0.078177 | 0.019668 | 4.8583e-05 | 3.0976e-05 | 0.11842 | 0.11842 | 0.11842 | 0.98187 | -0.34819 | 0.98253 | -0.33517 | 32.5338
69 | 0.088602 | 0.022315 | -0.088513 | -0.022258 | 8.899e-05 | 5.6786e-05 | 0.13408 | 0.13408 | 0.13408 | 0.98361 | -0.31415 | 0.98253 | -0.33517 | 36.8343
70 | 0.38009 | 0.097474 | -0.3799 | -0.097352 | 0.00019177 | 0.00012255 | 0.56637 | 0.56637 | 0.56637 | 1 | 0 | 0.99945 | -0.010409 | 51.8653
71 | 0.36285 | 0.093078 | -0.36231 | -0.092731 | 0.00054325 | 0.0003471 | 0.54098 | 0.54098 | 0.54098 | 0.99945 | -0.010409 | 0.99781 | -0.041324 | 49.5405
72 | 0.0028406 | 0.00071154 | -0.0028405 | -0.00071165 | 8.2193e-08 | -1.0694e-07 | 0.004236 | 0.004236 | 0.004236 | 0.99781 | -0.041324 | 0.99778 | -0.041932 | 1.1637
73 | 0.0095621 | 0.0023967 | -0.009561 | -0.0023961 | 1.1019e-06 | 5.2806e-07 | 0.014487 | 0.014487 | 0.014487 | 0.98215 | -0.34283 | 0.98202 | -0.34525 | 3.98
74 | -0.0028403 | -0.00071186 | 0.0028405 | 0.00071165 | 1.5885e-07 | -2.0664e-07 | 0.0042361 | 0.004236 | 0.0042361 | 0.99772 | -0.043106 | 0.99778 | -0.041932 | 1.1638
75 | -0.029009 | -0.0073043 | 0.029014 | 0.0073073 | 4.7757e-06 | 2.9747e-06 | 0.044184 | 0.044184 | 0.044184 | 0.97723 | -0.43874 | 0.9774 | -0.4353 | 12.1385
76 | -0.029716 | -0.0074832 | 0.029722 | 0.0074869 | 5.9668e-06 | 3.7214e-06 | 0.045253 | 0.045253 | 0.045253 | 0.9774 | -0.4353 | 0.97762 | -0.4311 | 12.4321
77 | -0.03042 | -0.0076619 | 0.030437 | 0.0076723 | 1.6654e-05 | 1.0399e-05 | 0.046315 | 0.046315 | 0.046315 | 0.97762 | -0.4311 | 0.9782 | -0.41966 | 12.724
78 | 0.015766 | 0.0039543 | -0.015762 | -0.0039521 | 3.8607e-06 | 2.2366e-06 | 0.023734 | 0.023734 | 0.023734 | 0.98849 | -0.21983 | 0.98823 | -0.22497 | 6.5204
79 | -0.0055913 | -0.0014013 | 0.0055914 | 0.0014013 | 6.7898e-08 | 1.0809e-08 | 0.0084244 | 0.0084244 | 0.0084244 | 0.98761 | -0.23706 | 0.98762 | -0.23681 | 2.3144
80 | -0.011301 | -0.0028323 | 0.011307 | 0.0028356 | 6.3789e-06 | 3.3312e-06 | 0.017027 | 0.017026 | 0.017027 | 0.98762 | -0.23681 | 0.98823 | -0.22497 | 4.6776
81 | 0.00062527 | 0.00015639 | -0.00062526 | -0.0001567 | 8.5063e-09 | -3.117e-07 | 0.00094927 | 0.00094938 | 0.00094938 | 0.98002 | -0.38425 | 0.98 | -0.38454 | 0.26082
82 | -0.0019284 | -0.00048298 | 0.0019286 | 0.00048233 | 2.0019e-07 | -6.5672e-07 | 0.0029279 | 0.0029276 | 0.0029279 | 0.98002 | -0.38425 | 0.98013 | -0.38207 | 0.80436
83 | 0.043878 | 0.011066 | -0.043845 | -0.011045 | 3.2992e-05 | 2.0865e-05 | 0.06664 | 0.06664 | 0.06664 | 0.98013 | -0.38207 | 0.97932 | -0.39779 | 18.3076
84 | -0.045806 | -0.011548 | 0.045833 | 0.011565 | 2.6985e-05 | 1.7083e-05 | 0.069567 | 0.069567 | 0.069567 | 0.98013 | -0.38207 | 0.98076 | -0.36977 | 19.1119
85 | 0.037749 | 0.0095175 | -0.037747 | -0.0095163 | 1.9616e-06 | 1.2354e-06 | 0.057378 | 0.057378 | 0.057378 | 0.97932 | -0.39779 | 0.97927 | -0.39888 | 15.7631
86 | 0.031548 | 0.0079626 | -0.031517 | -0.007943 | 3.1373e-05 | 1.9621e-05 | 0.047958 | 0.047958 | 0.047958 | 0.97927 | -0.39888 | 0.9782 | -0.41966 | 13.1754

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39195 | 0.10003

## res_load
| p_mw | q_mvar
0 | 0.012051 | 0.0030203
1 | 0.010935 | 0.0027404
2 | 0.0082331 | 0.0020634
3 | 0.003389 | 0.00084936
4 | 0.0074084 | 0.0018567
5 | 0.0040551 | 0.0010163
6 | 0.011582 | 0.0029028
7 | 0.0060485 | 0.0015159
8 | 0.0086934 | 0.0021788
9 | 0.017228 | 0.0043177
10 | 0.0013428 | 0.00033653
11 | 0.0013587 | 0.00034052
12 | 0.0024995 | 0.00062643
13 | 0.0054545 | 0.001367
14 | 0.015065 | 0.0037756
15 | 0.0036309 | 0.00090998
16 | 0.013956 | 0.0034977
17 | 0.0038996 | 0.00097734
18 | 0.0033914 | 0.00084997
19 | 0.0035514 | 0.00089006
20 | 0.0074049 | 0.0018559
21 | 0.0015656 | 0.00039237
22 | 0.0033114 | 0.00082991
23 | 0.0013539 | 0.00033931
24 | 0.00082547 | 0.00020688
25 | 0.0023902 | 0.00059904
26 | 0.003261 | 0.00081729
27 | 0.012246 | 0.003069
28 | 0.0013122 | 0.00032886
29 | 0.0053385 | 0.001338
30 | 0.011838 | 0.0029669
31 | 0.0055083 | 0.0013805
32 | 0.0063111 | 0.0015817
33 | 0.0084214 | 0.0021106
34 | 0.013037 | 0.0032674
35 | 0.0099258 | 0.0024876
36 | 0.0058231 | 0.0014594
37 | 0.0040336 | 0.0010109
38 | 0.0086636 | 0.0021713
39 | 0.0055388 | 0.0013881
40 | 0.0013941 | 0.00034939
41 | 0.013174 | 0.0033018
42 | 0.005366 | 0.0013448
43 | 0.0040484 | 0.0010146
44 | 0.0018489 | 0.00046337
45 | 0.010213 | 0.0025596
46 | 0.017052 | 0.0042736
47 | 0.0033904 | 0.00084971
48 | 0.0029101 | 0.00072934
49 | 0.010336 | 0.0025905
50 | 0.0026327 | 0.0006598
51 | 0.0028403 | 0.00071186
52 | 0.0047413 | 0.0011883
53 | 0.00070191 | 0.00017591
54 | 0.00069825 | 0.000175
55 | 0.0056643 | 0.0014196
56 | 0.0055913 | 0.0014013
57 | 0.0057094 | 0.0014309
58 | 0.0013031 | 0.00032659
59 | 0.00062526 | 0.0001567
60 | 0.0060956 | 0.0015277
61 | 0.0045978 | 0.0011523
62 | 0.0061991 | 0.0015536
63 | 0.0010801 | 0.00027069
64 | 0.0044549 | 0.0011165

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1