## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-32_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_198-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-32_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_198-32_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_198-32_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_198-32_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_198-32_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_198-32_0_4_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_198-32_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_198-32_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_198-32_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_198-32_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_198-32_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_198-32_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_198-32_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_198-32_0_4_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_198-32_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_198-32_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_198-32_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_198-32_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_198-32_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_198-32_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_198-32_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_198-32_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_198-32_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_198-32_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_198-32_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_198-32_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_198-32_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_198-32_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_198-32_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_198-32_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_198-32_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_198-32_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_198-32_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_198-32_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_198-32_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_198-32_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_198-32_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_198-32_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_198-32_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_198-32_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_198-32_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_198-32_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_198-32_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_198-32_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_198-32_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_MV_501_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-32_0_4_load_0 | 0 | 0.060886 | 0.015259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-32_0_4_load_3 | 3 | 0.028632 | 0.0071759 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-32_0_4_load_12 | 4 | 0.090756 | 0.022745 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-32_0_4_load_27 | 5 | 0.0067931 | 0.0017025 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-32_0_4_load_47 | 7 | 0.0030992 | 0.00077673 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-32_0_4_load_8 | 8 | 0.017876 | 0.0044802 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-32_0_4_load_46 | 9 | 0.0027401 | 0.00068672 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-32_0_4_load_21 | 11 | 0.00067478 | 0.00016912 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-32_0_4_load_19 | 12 | 0.0081211 | 0.0020353 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-32_0_4_load_45 | 15 | 0.010452 | 0.0026195 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-32_0_4_load_42 | 17 | 0.0059389 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-32_0_4_load_18 | 18 | 0.034746 | 0.0087083 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-32_0_4_load_15 | 19 | 0.025439 | 0.0063756 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-32_0_4_load_13 | 20 | 0.0093559 | 0.0023448 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-32_0_4_load_48 | 22 | 0.0011044 | 0.00027679 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-32_0_4_load_20 | 23 | 0.008236 | 0.0020641 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-32_0_4_load_44 | 24 | 0.011884 | 0.0029785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-32_0_4_load_32 | 26 | 0.0037404 | 0.00093742 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-32_0_4_load_16 | 27 | 0.010553 | 0.0026449 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-32_0_4_load_17 | 29 | 0.027198 | 0.0068166 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-32_0_4_load_37 | 31 | 0.0026916 | 0.00067458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-32_0_4_load_29 | 32 | 0.0064996 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-32_0_4_load_25 | 33 | 0.0028268 | 0.00070846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-32_0_4_load_36 | 34 | 0.062159 | 0.015579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-32_0_4_load_22 | 35 | 0.0093923 | 0.0023539 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-32_0_4_load_23 | 36 | 0.010885 | 0.0027279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-32_0_4_load_26 | 37 | 0.029404 | 0.0073694 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-32_0_4_load_30 | 38 | 0.0021904 | 0.00054897 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-32_0_4_load_31 | 39 | 0.0034368 | 0.00086135 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-32_0_4_load_33 | 40 | 0.0069387 | 0.001739 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-32_0_4_load_35 | 41 | 0.0027935 | 0.0007001 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-32_0_4_load_40 | 42 | 0.0043996 | 0.0011027 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-32_0_4_load_38 | 44 | 0.0019131 | 0.00047947 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-32_0_4_load_39 | 45 | 0.0023513 | 0.00058929 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-32_0_4_load_49 | 46 | 0.0035475 | 0.00088909 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-32_0_4_load_50 | 47 | 0.0030043 | 0.00075295 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-32_0_4_load_51 | 48 | 0.0022167 | 0.00055555 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-32_0_4_line_0 |  | 0 | 1 | 0.047312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-32_0_4_line_1 |  | 1 | 2 | 0.004726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-32_0_4_line_2 |  | 2 | 5 | 0.021476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-32_0_4_line_3 |  | 3 | 4 | 0.030505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-32_0_4_line_4 |  | 4 | 20 | 0.022676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_198-32_0_4_line_5 |  | 5 | 21 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-32_0_4_line_6 |  | 6 | 7 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_198-32_0_4_line_7 |  | 6 | 8 | 0.054907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-32_0_4_line_8 |  | 6 | 9 | 0.052654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-32_0_4_line_9 |  | 7 | 22 | 0.020599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-32_0_4_line_10 |  | 10 | 11 | 0.025352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-32_0_4_line_11 |  | 10 | 12 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-32_0_4_line_12 |  | 11 | 18 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-32_0_4_line_13 |  | 12 | 23 | 0.0044345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-32_0_4_line_14 |  | 13 | 14 | 0.022344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-32_0_4_line_15 |  | 13 | 15 | 0.0315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-32_0_4_line_16 |  | 14 | 18 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-32_0_4_line_17 |  | 14 | 19 | 0.031065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-32_0_4_line_18 |  | 14 | 16 | 0.18578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-32_0_4_line_19 |  | 15 | 24 | 0.017382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-32_0_4_line_20 |  | 16 | 17 | 0.09403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-32_0_4_line_21 |  | 17 | 25 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-32_0_4_line_22 |  | 19 | 27 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-32_0_4_line_23 |  | 20 | 28 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_198-32_0_4_line_24 |  | 21 | 37 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-32_0_4_line_25 |  | 21 | 35 | 0.038798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-32_0_4_line_26 |  | 22 | 45 | 0.0049861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-32_0_4_line_27 |  | 24 | 32 | 0.023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_198-32_0_4_line_28 |  | 25 | 26 | 0.0031922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-32_0_4_line_29 |  | 26 | 39 | 0.034762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-32_0_4_line_30 |  | 28 | 29 | 0.016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-32_0_4_line_31 |  | 28 | 30 | 0.0055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_198-32_0_4_line_32 |  | 28 | 31 | 0.039319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-32_0_4_line_33 |  | 30 | 32 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_198-32_0_4_line_34 |  | 30 | 33 | 0.0044705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-32_0_4_line_35 |  | 31 | 34 | 0.0062582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-32_0_4_line_36 |  | 33 | 36 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-32_0_4_line_37 |  | 34 | 44 | 0.013555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-32_0_4_line_38 |  | 35 | 36 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-32_0_4_line_39 |  | 37 | 38 | 0.015391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-32_0_4_line_40 |  | 39 | 40 | 0.0012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-32_0_4_line_41 |  | 40 | 41 | 0.015079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-32_0_4_line_42 |  | 41 | 42 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-32_0_4_line_43 |  | 42 | 43 | 0.036681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-32_0_4_line_44 |  | 43 | 46 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-32_0_4_line_45 |  | 43 | 47 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-32_0_4_line_46 |  | 44 | 45 | 0.02483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-32_0_4_line_47 |  | 46 | 48 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-32_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 49 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2697021.6049 | 1244935.739 | 2697020.4839 | 1244933.5857 | 2697011.0108 | 1244915.8061 | 2696995.9974 | 1244896.1437
1 | 2697023.6588 | 1244939.9981 | 2697021.6049 | 1244935.739
2 | 2697023.6588 | 1244939.9981 | 2697004.7115 | 1244950.1088
3 | 2696957.803 | 1244969.1322 | 2696984.8303 | 1244954.9864
4 | 2696957.803 | 1244969.1322 | 2696937.7127 | 1244979.6472
5 | 2696990.2587 | 1244957.8211 | 2697004.7115 | 1244950.1088
6 | 2696854.6264 | 1244878.3668 | 2696864.4861 | 1244894.5827
7 | 2696854.6264 | 1244878.3668 | 2696905.2921 | 1244857.2071
8 | 2696854.6264 | 1244878.3668 | 2696811.4969 | 1244896.3877 | 2696805.8365 | 1244898.0894
9 | 2696864.4861 | 1244894.5827 | 2696875.1878 | 1244912.1834
10 | 2696806.3942 | 1244987.6519 | 2696812.5271 | 1245000.3617 | 2696818.069 | 1245010.1401
11 | 2696806.3942 | 1244987.6519 | 2696800.8199 | 1244974.2149
12 | 2696824.2444 | 1245021.0361 | 2696818.069 | 1245010.1401
13 | 2696799.1207 | 1244970.1188 | 2696800.8199 | 1244974.2149
14 | 2696833.1239 | 1245036.7034 | 2696835.5958 | 1245041.7476 | 2696850.0908 | 1245033.4001
15 | 2696850.0908 | 1245033.4001 | 2696877.2537 | 1245017.4496
16 | 2696833.1239 | 1245036.7034 | 2696824.2444 | 1245021.0361
17 | 2696833.1239 | 1245036.7034 | 2696860.3481 | 1245021.7405
18 | 2696833.1239 | 1245036.7034 | 2696835.5958 | 1245041.7476 | 2696814.9313 | 1245053.9752 | 2696812.9397 | 1245055.1548 | 2696793.3946 | 1245066.4 | 2696774.338 | 1245078.2871 | 2696778.0396 | 1245082.0726 | 2696776.9935 | 1245086.4366 | 2696777.8135 | 1245090.8311 | 2696786.5018 | 1245102.5485 | 2696797.0754 | 1245116.8208 | 2696800.9424 | 1245122.0434 | 2696803.6115 | 1245125.6564 | 2696806.8946 | 1245130.08 | 2696809.6083 | 1245133.7382 | 2696826.6901 | 1245118.7611 | 2696834.3953 | 1245112.0039 | 2696841.3141 | 1245107.5913
19 | 2696892.6282 | 1245009.3444 | 2696878.8499 | 1245016.5123 | 2696877.2537 | 1245017.4496
20 | 2696841.3141 | 1245107.5913 | 2696853.0013 | 1245098.097 | 2696870.7355 | 1245084.832 | 2696895.3603 | 1245067.9546 | 2696918.2038 | 1245053.6128
21 | 2696929.1933 | 1245046.7133 | 2696918.2038 | 1245053.6128
22 | 2696860.3481 | 1245021.7405 | 2696874.9031 | 1245013.7407
23 | 2696921.3991 | 1244988.1856 | 2696937.7127 | 1244979.6472
24 | 2696990.2587 | 1244957.8211 | 2696999.5474 | 1244971.3983
25 | 2696990.2587 | 1244957.8211 | 2696955.9478 | 1244975.9327
26 | 2696877.7782 | 1244916.4438 | 2696875.1878 | 1244912.1834
27 | 2696913.2198 | 1244998.6319 | 2696892.6282 | 1245009.3444
28 | 2696929.1933 | 1245046.7133 | 2696931.897 | 1245045.0161
29 | 2696931.897 | 1245045.0161 | 2696955.3146 | 1245030.3165 | 2696961.6881 | 1245027.1591
30 | 2696921.3991 | 1244988.1856 | 2696907.1621 | 1244996.0105
31 | 2696924.2543 | 1244992.8914 | 2696921.3991 | 1244988.1856
32 | 2696921.3991 | 1244988.1856 | 2696900.9717 | 1244954.5895
33 | 2696924.2543 | 1244992.8914 | 2696913.2198 | 1244998.6319
34 | 2696924.2543 | 1244992.8914 | 2696928.1925 | 1244990.7758
35 | 2696897.7204 | 1244949.2421 | 2696900.9717 | 1244954.5895
36 | 2696928.1925 | 1244990.7758 | 2696939.6431 | 1244984.6243
37 | 2696897.7204 | 1244949.2421 | 2696890.6781 | 1244937.6599
38 | 2696955.9478 | 1244975.9327 | 2696948.7204 | 1244979.7478 | 2696939.6431 | 1244984.6243
39 | 2696999.5474 | 1244971.3983 | 2697008.2381 | 1244984.1013
40 | 2696962.8326 | 1245026.5921 | 2696961.6881 | 1245027.1591
41 | 2696976.3443 | 1245019.8986 | 2696962.8326 | 1245026.5921
42 | 2696976.3443 | 1245019.8986 | 2696985.5457 | 1245015.3404
43 | 2697018.4148 | 1244999.0575 | 2696985.5457 | 1245015.3404
44 | 2697018.4148 | 1244999.0575 | 2697024.7543 | 1245009.2616
45 | 2697018.4148 | 1244999.0575 | 2697031.0746 | 1244992.8698
46 | 2696890.6781 | 1244937.6599 | 2696877.7782 | 1244916.4438
47 | 2697024.7543 | 1245009.2616 | 2697032.387 | 1245021.5475

## bus_geodata
| x | y | coords
0 | 2696995.9974 | 1244896.1437
1 | 2697021.6049 | 1244935.739
2 | 2697023.6588 | 1244939.9981
3 | 2696984.8303 | 1244954.9864
4 | 2696957.803 | 1244969.1322
5 | 2697004.7115 | 1244950.1088
6 | 2696854.6264 | 1244878.3668
7 | 2696864.4861 | 1244894.5827
8 | 2696905.2921 | 1244857.2071
9 | 2696805.8365 | 1244898.0894
10 | 2696806.3942 | 1244987.6519
11 | 2696818.069 | 1245010.1401
12 | 2696800.8199 | 1244974.2149
13 | 2696850.0909 | 1245033.4001
14 | 2696833.1239 | 1245036.7034
15 | 2696877.2537 | 1245017.4496
16 | 2696841.3141 | 1245107.5913
17 | 2696918.2038 | 1245053.6128
18 | 2696824.2444 | 1245021.0361
19 | 2696860.3481 | 1245021.7405
20 | 2696937.7127 | 1244979.6472
21 | 2696990.2587 | 1244957.8211
22 | 2696875.1878 | 1244912.1834
23 | 2696799.1207 | 1244970.1188
24 | 2696892.6282 | 1245009.3444
25 | 2696929.1934 | 1245046.7133
26 | 2696931.897 | 1245045.0161
27 | 2696874.9031 | 1245013.7407
28 | 2696921.3991 | 1244988.1856
29 | 2696907.1621 | 1244996.0105
30 | 2696924.2543 | 1244992.8914
31 | 2696900.9717 | 1244954.5895
32 | 2696913.2198 | 1244998.6319
33 | 2696928.1925 | 1244990.7758
34 | 2696897.7204 | 1244949.2421
35 | 2696955.9478 | 1244975.9327
36 | 2696939.6431 | 1244984.6243
37 | 2696999.5474 | 1244971.3983
38 | 2697008.2381 | 1244984.1013
39 | 2696961.6881 | 1245027.1591
40 | 2696962.8326 | 1245026.5921
41 | 2696976.3443 | 1245019.8986
42 | 2696985.5457 | 1245015.3404
43 | 2697018.4148 | 1244999.0575
44 | 2696890.6781 | 1244937.6599
45 | 2696877.7782 | 1244916.4438
46 | 2697024.7543 | 1245009.2616
47 | 2697031.0746 | 1244992.8698
48 | 2697032.387 | 1245021.5475
49 | 2696921.3991 | 1244988.1856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98485 | -0.29168 | 0.060886 | 0.015259
1 | 0.9875 | -0.24005 | 0 | 0
2 | 0.98776 | -0.23491 | 0 | 0
3 | 0.99674 | -0.062613 | 0.028632 | 0.0071759
4 | 0.99754 | -0.047302 | 0.090756 | 0.022745
5 | 0.98897 | -0.21158 | 0.0067931 | 0.0017025
6 | 0.99198 | -0.15408 | 0 | 0
7 | 0.99234 | -0.14715 | 0.0030992 | 0.00077673
8 | 0.99108 | -0.17148 | 0.017876 | 0.0044802
9 | 0.99185 | -0.15664 | 0.0027401 | 0.00068672
10 | 0.98542 | -0.2799 | 0 | 0
11 | 0.9858 | -0.27246 | 0.00067478 | 0.00016912
12 | 0.9852 | -0.28418 | 0.0081211 | 0.0020353
13 | 0.98941 | -0.20255 | 0 | 0
14 | 0.98685 | -0.25193 | 0 | 0
15 | 0.99301 | -0.13337 | 0.010452 | 0.0026195
16 | 0.98064 | -0.37248 | 0 | 0
17 | 0.97749 | -0.43407 | 0.0059389 | 0.0014884
18 | 0.986 | -0.26864 | 0.034746 | 0.0087083
19 | 0.98583 | -0.27197 | 0.025439 | 0.0063756
20 | 1 | 0 | -0.52156 | -0.132
21 | 0.98999 | -0.19184 | 0 | 0
22 | 0.99278 | -0.13851 | 0.0011044 | 0.00027679
23 | 0.98517 | -0.28483 | 0.008236 | 0.0020641
24 | 0.99516 | -0.092208 | 0.011884 | 0.0029785
25 | 0.97713 | -0.44119 | 0 | 0
26 | 0.97704 | -0.44295 | 0.0037404 | 0.00093742
27 | 0.98566 | -0.27511 | 0.010553 | 0.0026449
28 | 0.99777 | -0.042476 | 0 | 0
29 | 0.99737 | -0.050215 | 0.027198 | 0.0068166
30 | 0.9973 | -0.051308 | 0 | 0
31 | 0.9944 | -0.10736 | 0.0026916 | 0.00067458
32 | 0.99672 | -0.062405 | 0.0064996 | 0.0016289
33 | 0.9968 | -0.0609 | 0.0028268 | 0.00070846
34 | 0.99387 | -0.11743 | 0.062159 | 0.015579
35 | 0.99353 | -0.12359 | 0.0093923 | 0.0023539
36 | 0.99537 | -0.088199 | 0.010885 | 0.0027279
37 | 0.98951 | -0.20109 | 0.029404 | 0.0073694
38 | 0.98948 | -0.20169 | 0.0021904 | 0.00054897
39 | 0.97619 | -0.45968 | 0.0034368 | 0.00086135
40 | 0.97616 | -0.46021 | 0.0069387 | 0.001739
41 | 0.97594 | -0.46462 | 0.0027935 | 0.0007001
42 | 0.97581 | -0.46709 | 0.0043996 | 0.0011027
43 | 0.97551 | -0.47298 | 0 | 0
44 | 0.99351 | -0.12439 | 0.0019131 | 0.00047947
45 | 0.9929 | -0.13632 | 0.0023513 | 0.00058929
46 | 0.97545 | -0.47425 | 0.0035475 | 0.00088909
47 | 0.97547 | -0.47376 | 0.0030043 | 0.00075295
48 | 0.97542 | -0.47484 | 0.0022167 | 0.00055555
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.060886 | -0.015259 | 0.061036 | 0.015355 | 0.00015015 | 9.5489e-05 | 0.091993 | 0.091993 | 0.091993 | 0.98485 | -0.29168 | 0.9875 | -0.24005 | 25.2727
1 | -0.061036 | -0.015355 | 0.061051 | 0.015364 | 1.4998e-05 | 9.5382e-06 | 0.091993 | 0.091993 | 0.091993 | 0.9875 | -0.24005 | 0.98776 | -0.23491 | 25.2727
2 | -0.061051 | -0.015364 | 0.061119 | 0.015408 | 6.8154e-05 | 4.3343e-05 | 0.091993 | 0.091992 | 0.091993 | 0.98776 | -0.23491 | 0.98897 | -0.21158 | 25.2727
3 | -0.028632 | -0.0071759 | 0.028653 | 0.0071889 | 2.0901e-05 | 1.2979e-05 | 0.042744 | 0.042744 | 0.042744 | 0.99674 | -0.062613 | 0.99754 | -0.047302 | 11.743
4 | -0.11941 | -0.029934 | 0.11968 | 0.030107 | 0.00026979 | 0.00017237 | 0.17812 | 0.17812 | 0.17812 | 0.99754 | -0.047302 | 1 | 0 | 48.9349
5 | -0.067912 | -0.01711 | 0.067976 | 0.017151 | 6.4182e-05 | 4.0866e-05 | 0.10221 | 0.10221 | 0.10221 | 0.98897 | -0.21158 | 0.98999 | -0.19184 | 28.0806
6 | -0.020632 | -0.0051753 | 0.020638 | 0.0051794 | 6.8172e-06 | 4.1179e-06 | 0.03095 | 0.03095 | 0.03095 | 0.99198 | -0.15408 | 0.99234 | -0.14715 | 8.5027
7 | 0.017891 | 0.004489 | -0.017876 | -0.0044802 | 1.4832e-05 | 8.7845e-06 | 0.026839 | 0.02684 | 0.02684 | 0.99198 | -0.15408 | 0.99108 | -0.17148 | 7.3736
8 | 0.0027404 | 0.00068626 | -0.0027401 | -0.00068672 | 3.3364e-07 | -4.6612e-07 | 0.0041105 | 0.0041108 | 0.0041108 | 0.99198 | -0.15408 | 0.99185 | -0.15664 | 1.1293
9 | -0.023738 | -0.0059561 | 0.023747 | 0.0059621 | 9.7882e-06 | 5.9982e-06 | 0.035597 | 0.035597 | 0.035597 | 0.99234 | -0.14715 | 0.99278 | -0.13851 | 9.7794
10 | -0.016361 | -0.0041015 | 0.016366 | 0.0041049 | 5.8026e-06 | 3.3906e-06 | 0.024705 | 0.024705 | 0.024705 | 0.98542 | -0.2799 | 0.9858 | -0.27246 | 6.7872
11 | 0.016361 | 0.0041015 | -0.016357 | -0.0040996 | 3.3297e-06 | 1.9457e-06 | 0.024705 | 0.024706 | 0.024706 | 0.98542 | -0.2799 | 0.9852 | -0.28418 | 6.7872
12 | -0.017041 | -0.004274 | 0.017044 | 0.0042758 | 3.1078e-06 | 1.8293e-06 | 0.025724 | 0.025724 | 0.025724 | 0.9858 | -0.27246 | 0.986 | -0.26864 | 7.067
13 | 0.0082362 | 0.0020642 | -0.008236 | -0.0020641 | 2.5734e-07 | 1.0823e-07 | 0.01244 | 0.01244 | 0.01244 | 0.9852 | -0.28418 | 0.98517 | -0.28483 | 3.4175
14 | 0.12453 | 0.031492 | -0.12423 | -0.031304 | 0.00029422 | 0.00018801 | 0.18739 | 0.18739 | 0.18739 | 0.98941 | -0.20255 | 0.98685 | -0.25193 | 51.4796
15 | -0.12453 | -0.031492 | 0.12494 | 0.031757 | 0.00041477 | 0.00026505 | 0.18739 | 0.18739 | 0.18739 | 0.98941 | -0.20255 | 0.99301 | -0.13337 | 51.4796
16 | 0.051832 | 0.01301 | -0.051791 | -0.012984 | 4.1257e-05 | 2.6175e-05 | 0.078161 | 0.078161 | 0.078161 | 0.98685 | -0.25193 | 0.986 | -0.26864 | 21.4729
17 | 0.036028 | 0.0090429 | -0.035994 | -0.0090212 | 3.4385e-05 | 2.161e-05 | 0.054329 | 0.054329 | 0.054329 | 0.98685 | -0.25193 | 0.98583 | -0.27197 | 14.9256
18 | 0.036375 | 0.0092505 | -0.036165 | -0.0091185 | 0.00020995 | 0.00013201 | 0.054895 | 0.054896 | 0.054896 | 0.98685 | -0.25193 | 0.98064 | -0.37248 | 15.0814
19 | -0.1354 | -0.034376 | 0.13566 | 0.034548 | 0.00026874 | 0.00017177 | 0.20305 | 0.20305 | 0.20305 | 0.99301 | -0.13337 | 0.99516 | -0.092208 | 55.7822
20 | 0.036165 | 0.0091185 | -0.036059 | -0.0090517 | 0.00010626 | 6.6826e-05 | 0.054896 | 0.054897 | 0.054897 | 0.98064 | -0.37248 | 0.97749 | -0.43407 | 15.0815
21 | 0.03012 | 0.0075632 | -0.030109 | -0.0075568 | 1.0232e-05 | 6.3859e-06 | 0.045856 | 0.045856 | 0.045856 | 0.97749 | -0.43407 | 0.97713 | -0.44119 | 12.5978
22 | 0.010555 | 0.0026457 | -0.010553 | -0.0026449 | 1.5808e-06 | 8e-07 | 0.015932 | 0.015932 | 0.015932 | 0.98583 | -0.27197 | 0.98566 | -0.27511 | 4.3768
23 | 0.40023 | 0.10189 | -0.39942 | -0.10137 | 0.00081789 | 0.00052273 | 0.59611 | 0.59611 | 0.59611 | 1 | 0 | 0.99777 | -0.042476 | 54.5892
24 | 0.031609 | 0.0079269 | -0.031595 | -0.0079182 | 1.3926e-05 | 8.701e-06 | 0.047512 | 0.047512 | 0.047512 | 0.98999 | -0.19184 | 0.98951 | -0.20109 | 13.0527
25 | -0.099585 | -0.025078 | 0.099911 | 0.025286 | 0.00032616 | 0.00020824 | 0.14973 | 0.14972 | 0.14973 | 0.98999 | -0.19184 | 0.99353 | -0.12359 | 41.1333
26 | -0.024852 | -0.0062389 | 0.024854 | 0.0062405 | 2.5948e-06 | 1.5962e-06 | 0.037252 | 0.037252 | 0.037252 | 0.99278 | -0.13851 | 0.9929 | -0.13632 | 10.2342
27 | -0.14755 | -0.037526 | 0.14776 | 0.037662 | 0.00021221 | 0.00013521 | 0.22082 | 0.22082 | 0.22082 | 0.99516 | -0.092208 | 0.99672 | -0.062405 | 30.3321
28 | 0.030109 | 0.0075568 | -0.030107 | -0.0075553 | 2.5171e-06 | 1.571e-06 | 0.045856 | 0.045856 | 0.045856 | 0.97713 | -0.44119 | 0.97704 | -0.44295 | 12.5978
29 | 0.026367 | 0.0066178 | -0.026346 | -0.0066048 | 2.1024e-05 | 1.302e-05 | 0.040159 | 0.04016 | 0.04016 | 0.97704 | -0.44295 | 0.97619 | -0.45968 | 11.0329
30 | 0.027208 | 0.0068228 | -0.027198 | -0.0068166 | 1.0031e-05 | 6.208e-06 | 0.040579 | 0.040579 | 0.040579 | 0.99777 | -0.042476 | 0.99737 | -0.050215 | 11.148
31 | 0.27788 | 0.070751 | -0.27776 | -0.070676 | 0.00011829 | 7.5492e-05 | 0.4148 | 0.4148 | 0.4148 | 0.99777 | -0.042476 | 0.9973 | -0.051308 | 37.9856
32 | 0.094331 | 0.023792 | -0.094039 | -0.023606 | 0.00029203 | 0.00018639 | 0.14073 | 0.14073 | 0.14073 | 0.99777 | -0.042476 | 0.9944 | -0.10736 | 38.6629
33 | 0.15434 | 0.039343 | -0.15426 | -0.039291 | 8.2622e-05 | 5.2391e-05 | 0.23052 | 0.23052 | 0.23052 | 0.9973 | -0.051308 | 0.99672 | -0.062405 | 21.1099
34 | 0.12342 | 0.031333 | -0.12336 | -0.031296 | 5.6932e-05 | 3.6378e-05 | 0.18428 | 0.18428 | 0.18428 | 0.9973 | -0.051308 | 0.9968 | -0.0609 | 50.6272
35 | 0.091347 | 0.022931 | -0.091303 | -0.022903 | 4.3858e-05 | 2.7988e-05 | 0.13671 | 0.13671 | 0.13671 | 0.9944 | -0.10736 | 0.99387 | -0.11743 | 37.5564
36 | 0.12053 | 0.030588 | -0.12037 | -0.030487 | 0.00015804 | 0.00010098 | 0.18006 | 0.18006 | 0.18006 | 0.9968 | -0.0609 | 0.99537 | -0.088199 | 49.4679
37 | 0.029144 | 0.0073249 | -0.029134 | -0.0073189 | 9.6813e-06 | 6.0204e-06 | 0.043641 | 0.043641 | 0.043641 | 0.99387 | -0.11743 | 0.99351 | -0.12439 | 11.9894
38 | -0.1093 | -0.02764 | 0.10949 | 0.027759 | 0.00018588 | 0.00011873 | 0.16379 | 0.16379 | 0.16379 | 0.99353 | -0.12359 | 0.99537 | -0.088199 | 44.9977
39 | 0.0021905 | 0.00054881 | -0.0021904 | -0.00054897 | 6.2625e-08 | -1.5762e-07 | 0.0032939 | 0.003294 | 0.003294 | 0.98951 | -0.20109 | 0.98948 | -0.20169 | 0.90495
40 | 0.022909 | 0.0057435 | -0.022908 | -0.0057431 | 5.8409e-07 | 3.5785e-07 | 0.034921 | 0.034921 | 0.034921 | 0.97619 | -0.45968 | 0.97616 | -0.46021 | 9.5936
41 | 0.015969 | 0.0040041 | -0.015966 | -0.0040022 | 3.351e-06 | 1.9562e-06 | 0.024344 | 0.024344 | 0.024344 | 0.97616 | -0.46021 | 0.97594 | -0.46462 | 6.6879
42 | 0.013173 | 0.0033021 | -0.013171 | -0.0033012 | 1.5534e-06 | 8.6585e-07 | 0.020085 | 0.020085 | 0.020085 | 0.97594 | -0.46462 | 0.97581 | -0.46709 | 5.5178
43 | 0.0087715 | 0.0021985 | -0.008769 | -0.0021974 | 2.461e-06 | 1.117e-06 | 0.013376 | 0.013376 | 0.013376 | 0.97581 | -0.46709 | 0.97551 | -0.47298 | 3.6747
44 | 0.0057646 | 0.0014446 | -0.0057642 | -0.0014445 | 3.4831e-07 | 7.295e-08 | 0.0087931 | 0.0087931 | 0.0087931 | 0.97551 | -0.47298 | 0.97545 | -0.47425 | 2.4157
45 | 0.0030044 | 0.00075285 | -0.0030043 | -0.00075295 | 1.1098e-07 | -1.0489e-07 | 0.0045828 | 0.0045829 | 0.0045829 | 0.97551 | -0.47298 | 0.97547 | -0.47376 | 1.259
46 | 0.027221 | 0.0068394 | -0.027206 | -0.0068298 | 1.5482e-05 | 9.587e-06 | 0.040776 | 0.040776 | 0.040776 | 0.99351 | -0.12439 | 0.9929 | -0.13632 | 11.2022
47 | 0.0022167 | 0.00055541 | -0.0022167 | -0.00055555 | 6.2022e-08 | -1.4085e-07 | 0.0033815 | 0.0033816 | 0.0033816 | 0.97545 | -0.47425 | 0.97542 | -0.47484 | 0.929

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53092 | 0.13434

## res_load
| p_mw | q_mvar
0 | 0.060886 | 0.015259
1 | 0.028632 | 0.0071759
2 | 0.090756 | 0.022745
3 | 0.0067931 | 0.0017025
4 | 0.0030992 | 0.00077673
5 | 0.017876 | 0.0044802
6 | 0.0027401 | 0.00068672
7 | 0.00067478 | 0.00016912
8 | 0.0081211 | 0.0020353
9 | 0.010452 | 0.0026195
10 | 0.0059389 | 0.0014884
11 | 0.034746 | 0.0087083
12 | 0.025439 | 0.0063756
13 | 0.0093559 | 0.0023448
14 | 0.0011044 | 0.00027679
15 | 0.008236 | 0.0020641
16 | 0.011884 | 0.0029785
17 | 0.0037404 | 0.00093742
18 | 0.010553 | 0.0026449
19 | 0.027198 | 0.0068166
20 | 0.0026916 | 0.00067458
21 | 0.0064996 | 0.0016289
22 | 0.0028268 | 0.00070846
23 | 0.062159 | 0.015579
24 | 0.0093923 | 0.0023539
25 | 0.010885 | 0.0027279
26 | 0.029404 | 0.0073694
27 | 0.0021904 | 0.00054897
28 | 0.0034368 | 0.00086135
29 | 0.0069387 | 0.001739
30 | 0.0027935 | 0.0007001
31 | 0.0043996 | 0.0011027
32 | 0.0019131 | 0.00047947
33 | 0.0023513 | 0.00058929
34 | 0.0035475 | 0.00088909
35 | 0.0030043 | 0.00075295
36 | 0.0022167 | 0.00055555

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1