## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-39_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-39_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-39_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-39_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-39_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_198-39_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_198-39_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_198-39_0_5_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_198-39_0_5_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_198-39_0_5_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_198-39_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_198-39_0_5_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_198-39_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_198-39_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_198-39_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_198-39_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_198-39_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_198-39_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_198-39_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_198-39_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_198-39_0_5_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_198-39_0_5_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_198-39_0_5_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_198-39_0_5_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_198-39_0_5_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_198-39_0_5_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_198-39_0_5_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_198-39_0_5_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_198-39_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_198-39_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_198-39_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_198-39_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_198-39_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_198-39_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_198-39_0_5_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_198-39_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_198-39_0_5_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_198-39_0_5_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_198-39_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_198-39_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_198-39_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_198-39_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_198-39_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_198-39_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_198-39_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_198-39_0_5_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_198-39_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_198-39_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_198-39_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_198-39_0_5_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_198-39_0_5_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_198-39_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_198-39_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_198-39_0_5_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_198-39_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_198-39_0_5_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_198-39_0_5_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_198-39_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_198-39_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_198-39_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_198-39_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_198-39_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_198-39_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_198-39_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_198-39_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_198-39_0_5_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_198-39_0_5_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_198-39_0_5_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_198-39_0_5_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_198-39_0_5_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_198-39_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_198-39_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_198-39_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_198-39_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_198-39_0_5_node_78 | 0.4 | n |  | TRUE
75 | bus_MV_365_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-39_0_5_load_0 | 0 | 0.01678 | 0.0042056 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-39_0_5_load_1 | 1 | 0.02957 | 0.007411 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-39_0_5_load_2 | 2 | 0.0046799 | 0.0011729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-39_0_5_load_3 | 3 | 0.038498 | 0.0096486 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-39_0_5_load_60 | 7 | 0.052324 | 0.013114 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-39_0_5_load_59 | 8 | 0.037842 | 0.009484 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-39_0_5_load_40 | 9 | 0.0023771 | 0.00059575 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-39_0_5_load_68 | 11 | 0.050891 | 0.012754 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-39_0_5_load_58 | 12 | 0.0090173 | 0.00226 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-39_0_5_load_6 | 13 | 0.0051406 | 0.0012884 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-39_0_5_load_7 | 14 | 0.0048396 | 0.0012129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-39_0_5_load_9 | 16 | 0.0087256 | 0.0021868 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-39_0_5_load_10 | 17 | 0.0046817 | 0.0011733 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-39_0_5_load_11 | 18 | 0.0085972 | 0.0021547 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-39_0_5_load_69 | 20 | 0.0085615 | 0.0021457 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-39_0_5_load_73 | 23 | 0.0075274 | 0.0018865 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-39_0_5_load_76 | 26 | 0.0062493 | 0.0015662 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-39_0_5_load_72 | 27 | 0.0059193 | 0.0014835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-39_0_5_load_13 | 28 | 0.0025675 | 0.00064347 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-39_0_5_load_14 | 29 | 0.0011378 | 0.00028516 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-39_0_5_load_16 | 31 | 0.002146 | 0.00053784 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-39_0_5_load_17 | 32 | 0.0012529 | 0.000314 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-39_0_5_load_39 | 33 | 0.0053021 | 0.0013288 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-39_0_5_load_65 | 34 | 0.0012554 | 0.00031463 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-39_0_5_load_38 | 35 | 0.0024418 | 0.00061198 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-39_0_5_load_66 | 36 | 0.001258 | 0.00031528 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-39_0_5_load_18 | 37 | 0.0021332 | 0.00053464 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-39_0_5_load_19 | 38 | 0.0059831 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-39_0_5_load_35 | 40 | 0.011166 | 0.0027984 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-39_0_5_load_22 | 41 | 0.0018492 | 0.00046345 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-39_0_5_load_79 | 45 | 0.0074377 | 0.0018641 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-39_0_5_load_45 | 46 | 0.0050875 | 0.001275 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-39_0_5_load_57 | 50 | 0.017163 | 0.0043015 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-39_0_5_load_64 | 53 | 0.0084586 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-39_0_5_load_61 | 55 | 0.0023938 | 0.00059994 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-39_0_5_load_63 | 56 | 0.0035625 | 0.00089284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-39_0_5_load_70 | 57 | 0.0086777 | 0.0021748 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-39_0_5_load_56 | 59 | 0.0074841 | 0.0018757 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-39_0_5_load_54 | 60 | 0.043733 | 0.01096 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-39_0_5_load_62 | 62 | 0.0061246 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-39_0_5_load_71 | 63 | 0.0019746 | 0.00049488 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-39_0_5_load_46 | 64 | 0.0045186 | 0.0011325 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_198-39_0_5_load_77 | 65 | 0.0061591 | 0.0015436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_198-39_0_5_load_74 | 66 | 0.00929 | 0.0023283 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_198-39_0_5_load_75 | 67 | 0.01076 | 0.0026966 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_198-39_0_5_load_47 | 68 | 0.0072506 | 0.0018172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_198-39_0_5_load_48 | 69 | 0.0073473 | 0.0018414 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_198-39_0_5_load_49 | 70 | 0.0061854 | 0.0015502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_198-39_0_5_load_50 | 71 | 0.0036461 | 0.0009138 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_198-39_0_5_load_51 | 72 | 0.011383 | 0.0028529 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_198-39_0_5_load_67 | 73 | 0.0021965 | 0.0005505 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_198-39_0_5_load_78 | 74 | 0.006602 | 0.0016546 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-39_0_5_line_0 |  | 0 | 1 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-39_0_5_line_1 |  | 0 | 2 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-39_0_5_line_2 |  | 1 | 3 | 0.025247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-39_0_5_line_3 |  | 2 | 4 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-39_0_5_line_4 |  | 3 | 5 | 0.0075298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_198-39_0_5_line_5 |  | 4 | 6 | 0.028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-39_0_5_line_6 |  | 5 | 7 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_198-39_0_5_line_7 |  | 5 | 8 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_198-39_0_5_line_8 |  | 6 | 9 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-39_0_5_line_9 |  | 6 | 10 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-39_0_5_line_10 |  | 7 | 11 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_198-39_0_5_line_11 |  | 8 | 12 | 0.021927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-39_0_5_line_12 |  | 10 | 40 | 0.0245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-39_0_5_line_13 |  | 10 | 44 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-39_0_5_line_14 |  | 11 | 20 | 0.0033539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_198-39_0_5_line_15 |  | 12 | 61 | 0.0076663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-39_0_5_line_16 |  | 13 | 14 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-39_0_5_line_17 |  | 13 | 15 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-39_0_5_line_18 |  | 14 | 16 | 0.00027037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-39_0_5_line_19 |  | 15 | 17 | 0.029832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-39_0_5_line_20 |  | 15 | 18 | 0.021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-39_0_5_line_21 |  | 15 | 19 | 0.023149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-39_0_5_line_22 |  | 16 | 20 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-39_0_5_line_23 |  | 17 | 21 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-39_0_5_line_24 |  | 18 | 22 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-39_0_5_line_25 |  | 19 | 23 | 0.013968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-39_0_5_line_26 |  | 21 | 24 | 0.007572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-39_0_5_line_27 |  | 22 | 25 | 0.002809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-39_0_5_line_28 |  | 23 | 27 | 0.018483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-39_0_5_line_29 |  | 24 | 26 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-39_0_5_line_30 |  | 25 | 57 | 0.03182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-39_0_5_line_31 |  | 26 | 65 | 0.016397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-39_0_5_line_32 |  | 27 | 70 | 0.00097777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-39_0_5_line_33 |  | 28 | 29 | 0.0019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_198-39_0_5_line_34 |  | 28 | 30 | 0.011272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-39_0_5_line_35 |  | 30 | 31 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-39_0_5_line_36 |  | 30 | 32 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-39_0_5_line_37 |  | 31 | 33 | 0.0036951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-39_0_5_line_38 |  | 32 | 34 | 0.0068701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-39_0_5_line_39 |  | 33 | 35 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-39_0_5_line_40 |  | 34 | 36 | 0.0068587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-39_0_5_line_41 |  | 35 | 39 | 0.019396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-39_0_5_line_42 |  | 36 | 73 | 0.0015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-39_0_5_line_43 |  | 37 | 38 | 0.053599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-39_0_5_line_44 |  | 38 | 39 | 0.022264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-39_0_5_line_45 |  | 39 | 40 | 0.0049787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-39_0_5_line_46 |  | 41 | 42 | 0.071633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-39_0_5_line_47 |  | 42 | 43 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-39_0_5_line_48 |  | 42 | 44 | 0.090408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-39_0_5_line_49 |  | 43 | 45 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-39_0_5_line_50 |  | 44 | 46 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-39_0_5_line_51 |  | 46 | 58 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-39_0_5_line_52 |  | 47 | 48 | 0.064489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-39_0_5_line_53 |  | 47 | 49 | 0.00891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-39_0_5_line_54 |  | 47 | 50 | 0.014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_198-39_0_5_line_55 |  | 48 | 56 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-39_0_5_line_56 |  | 48 | 54 | 0.074315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-39_0_5_line_57 |  | 49 | 59 | 0.027086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-39_0_5_line_58 |  | 49 | 60 | 0.021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_198-39_0_5_line_59 |  | 50 | 61 | 0.0031572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_198-39_0_5_line_60 |  | 51 | 52 | 0.010071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_198-39_0_5_line_61 |  | 51 | 53 | 0.0071039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_198-39_0_5_line_62 |  | 52 | 55 | 0.020062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_198-39_0_5_line_63 |  | 54 | 55 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_198-39_0_5_line_64 |  | 56 | 62 | 0.0016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_198-39_0_5_line_65 |  | 57 | 63 | 0.03369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_198-39_0_5_line_66 |  | 58 | 64 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_198-39_0_5_line_67 |  | 61 | 72 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_198-39_0_5_line_68 |  | 64 | 66 | 0.016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_198-39_0_5_line_69 |  | 65 | 74 | 0.016892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_198-39_0_5_line_70 |  | 66 | 67 | 0.017812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_198-39_0_5_line_71 |  | 68 | 69 | 0.00049395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_198-39_0_5_line_72 |  | 69 | 70 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_198-39_0_5_line_73 |  | 71 | 72 | 0.029879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-39_0_5_trafo_69 | 0.63 MVA 20/0.4 kV | 75 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2694087.0171 | 1247151.9819 | 2694102.5866 | 1247154.3831 | 2694109.872 | 1247156.858
1 | 2694087.0171 | 1247151.9819 | 2694068.3222 | 1247149.0987
2 | 2694109.872 | 1247156.858 | 2694133.7775 | 1247164.9791
3 | 2694058.3809 | 1247147.5655 | 2694068.3222 | 1247149.0987
4 | 2694140.9071 | 1247167.4012 | 2694133.7775 | 1247164.9791
5 | 2694058.3809 | 1247147.5655 | 2694050.633 | 1247144.5292 | 2694034.9788 | 1247131.7712
6 | 2694140.9071 | 1247167.4012 | 2694129.1885 | 1247178.3158
7 | 2694140.9071 | 1247167.4012 | 2694160.1618 | 1247174.9431
8 | 2694034.9788 | 1247131.7712 | 2694042.7591 | 1247122.2985 | 2694047.2771 | 1247116.2861
9 | 2694013.6254 | 1247152.0704 | 2694026.3005 | 1247139.2838 | 2694034.9788 | 1247131.7712
10 | 2694129.1885 | 1247178.3158 | 2694117.3201 | 1247189.37
11 | 2694160.1618 | 1247174.9431 | 2694180.5788 | 1247182.9402
12 | 2694013.6254 | 1247152.0704 | 2694006.7232 | 1247144.7665 | 2694000.2413 | 1247140.972 | 2693993.4217 | 1247139.6854
13 | 2694000.3177 | 1247166.1591 | 2694003.6113 | 1247162.831 | 2694013.6254 | 1247152.0704
14 | 2694114.8659 | 1247191.6559 | 2694117.3201 | 1247189.37
15 | 2694187.717 | 1247185.7362 | 2694180.5788 | 1247182.9402
16 | 2694091.0398 | 1247213.8474 | 2694102.8146 | 1247202.8804
17 | 2694082.9543 | 1247221.3782 | 2694091.0398 | 1247213.8474
18 | 2694102.8146 | 1247202.8804 | 2694103.0125 | 1247202.6961
19 | 2694082.9543 | 1247221.3782 | 2694078.1876 | 1247216.6212 | 2694062.3701 | 1247199.8909 | 2694062.315 | 1247199.9407
20 | 2694082.9543 | 1247221.3782 | 2694097.8443 | 1247236.2771
21 | 2694082.9543 | 1247221.3782 | 2694066.5806 | 1247237.7866
22 | 2694114.8659 | 1247191.6559 | 2694103.0125 | 1247202.6961
23 | 2694050.636 | 1247210.5018 | 2694062.315 | 1247199.9407
24 | 2694110.3854 | 1247251.7255 | 2694097.8712 | 1247236.3041 | 2694097.8443 | 1247236.2771
25 | 2694066.5806 | 1247237.7866 | 2694056.7143 | 1247247.6735
26 | 2694050.636 | 1247210.5018 | 2694045.0476 | 1247215.6282
27 | 2694110.3854 | 1247251.7255 | 2694108.1598 | 1247253.4471
28 | 2694056.7143 | 1247247.6735 | 2694043.6586 | 1247260.7564
29 | 2694045.0476 | 1247215.6282 | 2694036.9109 | 1247223.6348
30 | 2694108.1598 | 1247253.4471 | 2694085.9548 | 1247276.2381
31 | 2694036.9109 | 1247223.6348 | 2694025.2235 | 1247235.1355
32 | 2694042.968 | 1247261.4485 | 2694043.6586 | 1247260.7564
33 | 2693939.6635 | 1247188.1682 | 2693940.9591 | 1247186.7025
34 | 2693948.424 | 1247178.2571 | 2693940.9591 | 1247186.7025
35 | 2693948.424 | 1247178.2571 | 2693958.8147 | 1247168.0246
36 | 2693948.424 | 1247178.2571 | 2693936.3731 | 1247166.6484
37 | 2693961.4476 | 1247165.4318 | 2693958.8147 | 1247168.0246
38 | 2693936.3731 | 1247166.6484 | 2693931.4252 | 1247161.8821
39 | 2693961.4476 | 1247165.4318 | 2693974.7096 | 1247152.3718
40 | 2693931.4252 | 1247161.8821 | 2693926.4855 | 1247157.1238
41 | 2693988.5293 | 1247138.7625 | 2693974.7096 | 1247152.3718
42 | 2693925.3503 | 1247156.0302 | 2693926.4855 | 1247157.1238
43 | 2693917.0672 | 1247114.0522 | 2693938.4085 | 1247123.8347 | 2693954.0773 | 1247129.9654 | 2693966.9134 | 1247133.4344
44 | 2693988.5293 | 1247138.7625 | 2693970.2499 | 1247134.3361 | 2693966.9134 | 1247133.4344
45 | 2693988.5293 | 1247138.7625 | 2693993.4217 | 1247139.6854
46 | 2693934.7375 | 1247204.3491 | 2693911.9274 | 1247183.6053 | 2693894.5745 | 1247165.5279 | 2693884.2099 | 1247153.6778
47 | 2693924.5057 | 1247214.5615 | 2693929.5947 | 1247209.4826 | 2693934.7375 | 1247204.3491
48 | 2693934.7375 | 1247204.3491 | 2693945.5075 | 1247211.6475 | 2693949.1974 | 1247216.1983 | 2693956.1384 | 1247209.1362 | 2693995.8794 | 1247170.6922 | 2694000.3177 | 1247166.1591
49 | 2693924.5057 | 1247214.5615 | 2693912.4278 | 1247202.0829
50 | 2694000.3177 | 1247166.1591 | 2694014.0323 | 1247179.5025
51 | 2694024.8402 | 1247188.943 | 2694020.2779 | 1247185.5792 | 2694014.0323 | 1247179.5025
52 | 2694204.0645 | 1247190.9665 | 2694212.5559 | 1247198.0735 | 2694216.8591 | 1247205.8478 | 2694233.4782 | 1247216.798 | 2694242.6804 | 1247228.1306 | 2694234.9342 | 1247234.5013
53 | 2694204.0645 | 1247190.9665 | 2694208.3474 | 1247190.0449 | 2694212.2155 | 1247187.649
54 | 2694204.0645 | 1247190.9665 | 2694199.0505 | 1247189.886 | 2694190.6817 | 1247186.8217
55 | 2694234.9342 | 1247234.5013 | 2694217.6973 | 1247247.8709
56 | 2694234.9342 | 1247234.5013 | 2694238.1511 | 1247238.3776 | 2694255.5167 | 1247224.2316 | 2694268.2462 | 1247232.2734 | 2694269.9369 | 1247233.3122 | 2694257.724 | 1247243.1367 | 2694265.1697 | 1247255.1865
57 | 2694212.2155 | 1247187.649 | 2694215.798 | 1247182.313 | 2694218.4559 | 1247173.3595 | 2694218.3834 | 1247169.3664 | 2694217.1544 | 1247165.4216 | 2694216.0979 | 1247162.4075
58 | 2694212.2155 | 1247187.649 | 2694232.1044 | 1247195.0801
59 | 2694187.717 | 1247185.7362 | 2694190.6817 | 1247186.8217
60 | 2694230.6992 | 1247269.4718 | 2694233.9453 | 1247270.5575 | 2694238.3071 | 1247275.5973
61 | 2694230.6992 | 1247269.4718 | 2694228.9362 | 1247262.5901
62 | 2694238.3071 | 1247275.5973 | 2694254.2808 | 1247263.4601
63 | 2694265.1697 | 1247255.1865 | 2694254.2808 | 1247263.4601
64 | 2694216.4215 | 1247248.8605 | 2694217.6973 | 1247247.8709
65 | 2694062.4447 | 1247300.3687 | 2694085.9548 | 1247276.2381
66 | 2694024.8402 | 1247188.943 | 2694015.6452 | 1247199.1381
67 | 2694187.717 | 1247185.7362 | 2694181.087 | 1247199.3524 | 2694177.9214 | 1247203.4744
68 | 2694015.6452 | 1247199.1381 | 2694004.9253 | 1247211.0237
69 | 2694025.2235 | 1247235.1355 | 2694013.1834 | 1247246.9832
70 | 2694004.9253 | 1247211.0237 | 2693992.9957 | 1247224.2508
71 | 2694030.4209 | 1247274.0218 | 2694030.7698 | 1247273.6721
72 | 2694042.968 | 1247261.4485 | 2694030.7698 | 1247273.6721
73 | 2694154.5781 | 1247221.4043 | 2694164.7417 | 1247216.328 | 2694168.3377 | 1247213.9388 | 2694176.4046 | 1247205.4494 | 2694177.9214 | 1247203.4744

## bus_geodata
| x | y | coords
0 | 2694087.0171 | 1247151.9819
1 | 2694109.872 | 1247156.858
2 | 2694068.3222 | 1247149.0987
3 | 2694133.7775 | 1247164.9791
4 | 2694058.3809 | 1247147.5655
5 | 2694140.9071 | 1247167.4012
6 | 2694034.9788 | 1247131.7712
7 | 2694129.1885 | 1247178.3158
8 | 2694160.1618 | 1247174.9431
9 | 2694047.2771 | 1247116.2861
10 | 2694013.6254 | 1247152.0704
11 | 2694117.3201 | 1247189.37
12 | 2694180.5788 | 1247182.9402
13 | 2694091.0398 | 1247213.8474
14 | 2694102.8146 | 1247202.8804
15 | 2694082.9543 | 1247221.3782
16 | 2694103.0125 | 1247202.6961
17 | 2694062.315 | 1247199.9407
18 | 2694097.8443 | 1247236.2771
19 | 2694066.5806 | 1247237.7866
20 | 2694114.8659 | 1247191.6559
21 | 2694050.636 | 1247210.5018
22 | 2694110.3854 | 1247251.7255
23 | 2694056.7143 | 1247247.6735
24 | 2694045.0476 | 1247215.6282
25 | 2694108.1598 | 1247253.4471
26 | 2694036.9109 | 1247223.6348
27 | 2694043.6586 | 1247260.7564
28 | 2693940.9591 | 1247186.7025
29 | 2693939.6635 | 1247188.1682
30 | 2693948.424 | 1247178.2571
31 | 2693958.8147 | 1247168.0246
32 | 2693936.3731 | 1247166.6484
33 | 2693961.4476 | 1247165.4318
34 | 2693931.4252 | 1247161.8821
35 | 2693974.7096 | 1247152.3718
36 | 2693926.4855 | 1247157.1238
37 | 2693917.0672 | 1247114.0522
38 | 2693966.9134 | 1247133.4344
39 | 2693988.5293 | 1247138.7625
40 | 2693993.4217 | 1247139.6854
41 | 2693884.2099 | 1247153.6778
42 | 2693934.7375 | 1247204.3491
43 | 2693924.5057 | 1247214.5615
44 | 2694000.3177 | 1247166.1591
45 | 2693912.4278 | 1247202.0829
46 | 2694014.0323 | 1247179.5025
47 | 2694204.0645 | 1247190.9665
48 | 2694234.9342 | 1247234.5013
49 | 2694212.2155 | 1247187.649
50 | 2694190.6817 | 1247186.8217
51 | 2694230.6992 | 1247269.4718
52 | 2694238.3071 | 1247275.5973
53 | 2694228.9362 | 1247262.5901
54 | 2694265.1697 | 1247255.1865
55 | 2694254.2808 | 1247263.4601
56 | 2694217.6973 | 1247247.8709
57 | 2694085.9548 | 1247276.2381
58 | 2694024.8402 | 1247188.943
59 | 2694216.0979 | 1247162.4075
60 | 2694232.1044 | 1247195.0801
61 | 2694187.717 | 1247185.7362
62 | 2694216.4215 | 1247248.8605
63 | 2694062.4447 | 1247300.3687
64 | 2694015.6452 | 1247199.1381
65 | 2694025.2235 | 1247235.1355
66 | 2694004.9253 | 1247211.0237
67 | 2693992.9957 | 1247224.2508
68 | 2694030.4209 | 1247274.0218
69 | 2694030.7698 | 1247273.6721
70 | 2694042.968 | 1247261.4485
71 | 2694154.5781 | 1247221.4043
72 | 2694177.9214 | 1247203.4744
73 | 2693925.3503 | 1247156.0302
74 | 2694013.1834 | 1247246.9832
75 | 2694140.9071 | 1247167.4012

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99129 | -0.16677 | 0.01678 | 0.0042056
1 | 0.99349 | -0.1246 | 0.02957 | 0.007411
2 | 0.98981 | -0.19529 | 0.0046799 | 0.0011729
3 | 0.99653 | -0.066276 | 0.038498 | 0.0096486
4 | 0.98907 | -0.20965 | 0 | 0
5 | 0.99712 | -0.055068 | 0 | 0
6 | 0.98696 | -0.25039 | 0 | 0
7 | 0.99829 | -0.032599 | 0.052324 | 0.013114
8 | 0.99569 | -0.082445 | 0.037842 | 0.009484
9 | 0.98692 | -0.25123 | 0.0023771 | 0.00059575
10 | 0.98485 | -0.29146 | 0 | 0
11 | 0.99968 | -0.0061947 | 0.050891 | 0.012754
12 | 0.99342 | -0.1261 | 0.0090173 | 0.00226
13 | 0.99736 | -0.050705 | 0.0051406 | 0.0012884
14 | 0.99856 | -0.027522 | 0.0048396 | 0.0012129
15 | 0.99658 | -0.065659 | 0 | 0
16 | 0.99859 | -0.02711 | 0.0087256 | 0.0021868
17 | 0.99594 | -0.078072 | 0.0046817 | 0.0011733
18 | 0.99621 | -0.072779 | 0.0085972 | 0.0021547
19 | 0.99586 | -0.079576 | 0 | 0
20 | 1 | 0 | -0.52451 | -0.13229
21 | 0.99566 | -0.083334 | 0 | 0
22 | 0.99602 | -0.076503 | 0 | 0
23 | 0.99542 | -0.087983 | 0.0075274 | 0.0018865
24 | 0.99553 | -0.085865 | 0 | 0
25 | 0.99599 | -0.077029 | 0 | 0
26 | 0.99534 | -0.089683 | 0.0062493 | 0.0015662
27 | 0.99497 | -0.096668 | 0.0059193 | 0.0014835
28 | 0.98299 | -0.32772 | 0.0025675 | 0.00064347
29 | 0.98299 | -0.32776 | 0.0011378 | 0.00028516
30 | 0.98303 | -0.32696 | 0 | 0
31 | 0.98316 | -0.32442 | 0.002146 | 0.00053784
32 | 0.98294 | -0.32876 | 0.0012529 | 0.000314
33 | 0.9832 | -0.32363 | 0.0053021 | 0.0013288
34 | 0.98291 | -0.32935 | 0.0012554 | 0.00031463
35 | 0.9835 | -0.31789 | 0.0024418 | 0.00061198
36 | 0.98289 | -0.32977 | 0.001258 | 0.00031528
37 | 0.98357 | -0.31637 | 0.0021332 | 0.00053464
38 | 0.98368 | -0.31431 | 0.0059831 | 0.0014995
39 | 0.98385 | -0.31106 | 0 | 0
40 | 0.98397 | -0.30857 | 0.011166 | 0.0027984
41 | 0.98326 | -0.32253 | 0.0018492 | 0.00046345
42 | 0.98338 | -0.32014 | 0 | 0
43 | 0.98328 | -0.32208 | 0 | 0
44 | 0.98415 | -0.30502 | 0 | 0
45 | 0.98316 | -0.32441 | 0.0074377 | 0.0018641
46 | 0.98363 | -0.31523 | 0.0050875 | 0.001275
47 | 0.99152 | -0.163 | 0 | 0
48 | 0.9903 | -0.18652 | 0 | 0
49 | 0.9911 | -0.17109 | 0 | 0
50 | 0.99244 | -0.14515 | 0.017163 | 0.0043015
51 | 0.98919 | -0.20805 | 0 | 0
52 | 0.98927 | -0.20653 | 0 | 0
53 | 0.98914 | -0.20912 | 0.0084586 | 0.0021199
54 | 0.98956 | -0.20086 | 0 | 0
55 | 0.98943 | -0.20351 | 0.0023938 | 0.00059994
56 | 0.99011 | -0.19027 | 0.0035625 | 0.00089284
57 | 0.99568 | -0.082987 | 0.0086777 | 0.0021748
58 | 0.98331 | -0.3216 | 0 | 0
59 | 0.99091 | -0.17469 | 0.0074841 | 0.0018757
60 | 0.99025 | -0.18758 | 0.043733 | 0.01096
61 | 0.9927 | -0.14018 | 0 | 0
62 | 0.9901 | -0.19045 | 0.0061246 | 0.001535
63 | 0.99562 | -0.084157 | 0.0019746 | 0.00049488
64 | 0.98299 | -0.32768 | 0.0045186 | 0.0011325
65 | 0.99514 | -0.093365 | 0.0061591 | 0.0015436
66 | 0.9827 | -0.33347 | 0.00929 | 0.0023283
67 | 0.98252 | -0.33693 | 0.01076 | 0.0026966
68 | 0.99472 | -0.10153 | 0.0072506 | 0.0018172
69 | 0.99473 | -0.10147 | 0.0073473 | 0.0018414
70 | 0.99495 | -0.097026 | 0.0061854 | 0.0015502
71 | 0.99232 | -0.14752 | 0.0036461 | 0.0009138
72 | 0.99242 | -0.14559 | 0.011383 | 0.0028529
73 | 0.98288 | -0.32984 | 0.0021965 | 0.0005505
74 | 0.99504 | -0.095328 | 0.006602 | 0.0016546
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10222 | -0.025846 | 0.10243 | 0.025979 | 0.00020725 | 0.00013234 | 0.15353 | 0.15353 | 0.15353 | 0.99129 | -0.16677 | 0.99349 | -0.1246 | 42.1774
1 | 0.085442 | 0.021641 | -0.085325 | -0.021566 | 0.00011683 | 7.4529e-05 | 0.12834 | 0.12834 | 0.12834 | 0.99129 | -0.16677 | 0.98981 | -0.19529 | 35.2574
2 | -0.132 | -0.03339 | 0.13237 | 0.033626 | 0.00037048 | 0.00023678 | 0.19781 | 0.19781 | 0.19781 | 0.99349 | -0.1246 | 0.99653 | -0.066276 | 54.3447
3 | 0.080645 | 0.020393 | -0.08059 | -0.020358 | 5.5502e-05 | 3.5392e-05 | 0.1213 | 0.1213 | 0.1213 | 0.98981 | -0.19529 | 0.98907 | -0.20965 | 33.3246
4 | -0.17087 | -0.043275 | 0.17096 | 0.043334 | 9.202e-05 | 5.8697e-05 | 0.2553 | 0.2553 | 0.2553 | 0.99653 | -0.066276 | 0.99712 | -0.055068 | 35.0687
5 | 0.08059 | 0.020358 | -0.080433 | -0.020258 | 0.00015703 | 0.00010013 | 0.1213 | 0.1213 | 0.1213 | 0.98907 | -0.20965 | 0.98696 | -0.25039 | 33.3246
6 | -0.32245 | -0.081561 | 0.3228 | 0.081783 | 0.00034802 | 0.0002219 | 0.48146 | 0.48146 | 0.48146 | 0.99712 | -0.055068 | 0.99829 | -0.032599 | 33.0676
7 | 0.15149 | 0.038228 | -0.15129 | -0.038101 | 0.00019833 | 0.00012639 | 0.22616 | 0.22616 | 0.22616 | 0.99712 | -0.055068 | 0.99569 | -0.082445 | 31.0665
8 | 0.0023772 | 0.00059556 | -0.0023771 | -0.00059575 | 9.5272e-08 | -1.9178e-07 | 0.0035839 | 0.003584 | 0.003584 | 0.98696 | -0.25039 | 0.98692 | -0.25123 | 0.98462
9 | 0.078056 | 0.019662 | -0.077903 | -0.019565 | 0.00015299 | 9.7536e-05 | 0.11772 | 0.11772 | 0.11772 | 0.98696 | -0.25039 | 0.98485 | -0.29146 | 32.3401
10 | -0.37512 | -0.094897 | 0.3756 | 0.0952 | 0.00047591 | 0.00030373 | 0.55946 | 0.55945 | 0.55946 | 0.99829 | -0.032599 | 0.99968 | -0.0061947 | 38.4241
11 | 0.11345 | 0.028617 | -0.11321 | -0.028466 | 0.00023655 | 0.00015111 | 0.16961 | 0.16961 | 0.16961 | 0.99569 | -0.082445 | 0.99342 | -0.1261 | 46.5967
12 | 0.03889 | 0.0097636 | -0.038858 | -0.0097436 | 3.1727e-05 | 1.9994e-05 | 0.058765 | 0.058765 | 0.058765 | 0.98485 | -0.29146 | 0.98397 | -0.30857 | 16.1443
13 | 0.039013 | 0.009801 | -0.038987 | -0.0097851 | 2.5228e-05 | 1.59e-05 | 0.058953 | 0.058953 | 0.058953 | 0.98485 | -0.29146 | 0.98415 | -0.30502 | 16.1959
14 | -0.42649 | -0.10795 | 0.42662 | 0.10804 | 0.00012687 | 8.1019e-05 | 0.63521 | 0.63521 | 0.63521 | 0.99968 | -0.0061947 | 1 | 0 | 43.6268
15 | 0.1042 | 0.026206 | -0.10413 | -0.026162 | 7.0057e-05 | 4.4737e-05 | 0.15611 | 0.15611 | 0.15611 | 0.99342 | -0.1261 | 0.9927 | -0.14018 | 42.886
16 | -0.082458 | -0.020719 | 0.082549 | 0.020777 | 9.1353e-05 | 5.8256e-05 | 0.12304 | 0.12304 | 0.12304 | 0.99736 | -0.050705 | 0.99856 | -0.027522 | 33.8028
17 | 0.077317 | 0.01943 | -0.077262 | -0.019395 | 5.5154e-05 | 3.5154e-05 | 0.11537 | 0.11537 | 0.11537 | 0.99736 | -0.050705 | 0.99658 | -0.065659 | 31.6958
18 | -0.087389 | -0.02199 | 0.08739 | 0.021991 | 1.7202e-06 | 1.0974e-06 | 0.13025 | 0.13025 | 0.13025 | 0.99856 | -0.027522 | 0.99859 | -0.02711 | 35.784
19 | 0.02372 | 0.0059541 | -0.023706 | -0.0059455 | 1.4035e-05 | 8.5938e-06 | 0.035419 | 0.03542 | 0.03542 | 0.99658 | -0.065659 | 0.99594 | -0.078072 | 9.7307
20 | 0.019261 | 0.0048305 | -0.019255 | -0.0048266 | 6.5338e-06 | 3.9073e-06 | 0.028761 | 0.028761 | 0.028761 | 0.99658 | -0.065659 | 0.99621 | -0.072779 | 7.9013
21 | 0.034281 | 0.0086105 | -0.034258 | -0.0085963 | 2.275e-05 | 1.4258e-05 | 0.051192 | 0.051193 | 0.051193 | 0.99658 | -0.065659 | 0.99586 | -0.079576 | 14.0639
22 | -0.096116 | -0.024178 | 0.096241 | 0.024257 | 0.00012466 | 7.9571e-05 | 0.14326 | 0.14326 | 0.14326 | 0.99859 | -0.02711 | 1 | 0 | 39.3561
23 | 0.019024 | 0.0047722 | -0.019019 | -0.0047693 | 4.7709e-06 | 2.8485e-06 | 0.028425 | 0.028425 | 0.028425 | 0.99594 | -0.078072 | 0.99566 | -0.083334 | 7.809
24 | 0.010658 | 0.002672 | -0.010656 | -0.002671 | 1.891e-06 | 9.5124e-07 | 0.015919 | 0.015919 | 0.015919 | 0.99621 | -0.072779 | 0.99602 | -0.076503 | 4.3735
25 | 0.034258 | 0.0085963 | -0.034245 | -0.0085877 | 1.3727e-05 | 8.6035e-06 | 0.051193 | 0.051193 | 0.051193 | 0.99586 | -0.079576 | 0.99542 | -0.087983 | 14.0639
26 | 0.019019 | 0.0047693 | -0.019017 | -0.0047679 | 2.2942e-06 | 1.3698e-06 | 0.028425 | 0.028425 | 0.028425 | 0.99566 | -0.083334 | 0.99553 | -0.085865 | 7.809
27 | 0.010656 | 0.002671 | -0.010655 | -0.0026709 | 2.6696e-07 | 1.3429e-07 | 0.015919 | 0.015919 | 0.015919 | 0.99602 | -0.076503 | 0.99599 | -0.077029 | 4.3735
28 | 0.026717 | 0.0067011 | -0.026706 | -0.0066943 | 1.1057e-05 | 6.8361e-06 | 0.03994 | 0.03994 | 0.03994 | 0.99542 | -0.087983 | 0.99497 | -0.096668 | 10.9726
29 | 0.019017 | 0.0047679 | -0.019013 | -0.0047659 | 3.4588e-06 | 2.0652e-06 | 0.028425 | 0.028425 | 0.028425 | 0.99553 | -0.085865 | 0.99534 | -0.089683 | 7.8091
30 | 0.010655 | 0.0026709 | -0.010652 | -0.0026694 | 3.024e-06 | 1.5214e-06 | 0.015919 | 0.01592 | 0.01592 | 0.99599 | -0.077029 | 0.99568 | -0.082987 | 4.3735
31 | 0.012764 | 0.0031996 | -0.012762 | -0.0031984 | 2.239e-06 | 1.2199e-06 | 0.019082 | 0.019082 | 0.019082 | 0.99534 | -0.089683 | 0.99514 | -0.093365 | 5.2424
32 | 0.020787 | 0.0052108 | -0.020786 | -0.0052106 | 3.5436e-07 | 2.1409e-07 | 0.031088 | 0.031088 | 0.031088 | 0.99497 | -0.096668 | 0.99495 | -0.097026 | 8.5406
33 | 0.0011378 | 0.00028514 | -0.0011378 | -0.00028516 | 2.1763e-09 | -2.3406e-08 | 0.0017224 | 0.0017224 | 0.0017224 | 0.98299 | -0.32772 | 0.98299 | -0.32776 | 0.47318
34 | -0.0037053 | -0.00092861 | 0.0037054 | 0.00092855 | 1.3298e-07 | -5.779e-08 | 0.0056089 | 0.0056089 | 0.0056089 | 0.98299 | -0.32772 | 0.98303 | -0.32696 | 1.5409
35 | -0.0096689 | -0.002423 | 0.0096701 | 0.0024236 | 1.1714e-06 | 5.648e-07 | 0.014636 | 0.014636 | 0.014636 | 0.98303 | -0.32696 | 0.98316 | -0.32442 | 4.0208
36 | 0.0059635 | 0.0014945 | -0.0059629 | -0.0014943 | 5.113e-07 | 1.1512e-07 | 0.0090268 | 0.0090269 | 0.0090269 | 0.98303 | -0.32696 | 0.98294 | -0.32876 | 2.4799
37 | -0.011816 | -0.0029614 | 0.011817 | 0.0029617 | 4.4317e-07 | 2.3677e-07 | 0.017884 | 0.017884 | 0.017884 | 0.98316 | -0.32442 | 0.9832 | -0.32363 | 4.9131
38 | 0.0047101 | 0.0011803 | -0.0047099 | -0.0011803 | 1.3098e-07 | -3.2514e-09 | 0.0071303 | 0.0071303 | 0.0071303 | 0.98294 | -0.32876 | 0.98291 | -0.32935 | 1.9589
39 | -0.017119 | -0.0042905 | 0.017123 | 0.0042932 | 4.6851e-06 | 2.7623e-06 | 0.025908 | 0.025908 | 0.025908 | 0.9832 | -0.32363 | 0.9835 | -0.31789 | 7.1176
40 | 0.0034545 | 0.00086571 | -0.0034545 | -0.00086576 | 7.0347e-08 | -4.1909e-08 | 0.0052298 | 0.0052298 | 0.0052298 | 0.98291 | -0.32935 | 0.98289 | -0.32977 | 1.4368
41 | -0.019565 | -0.0049052 | 0.019571 | 0.0049091 | 6.3737e-06 | 3.833e-06 | 0.029602 | 0.029602 | 0.029602 | 0.9835 | -0.31789 | 0.98385 | -0.31106 | 8.1325
42 | 0.0021965 | 0.00055048 | -0.0021965 | -0.0005505 | 6.5361e-09 | -1.5794e-08 | 0.0033253 | 0.0033254 | 0.0033254 | 0.98289 | -0.32977 | 0.98288 | -0.32984 | 0.91356
43 | -0.0021332 | -0.00053464 | 0.0021334 | 0.00053409 | 2.0933e-07 | -5.4637e-07 | 0.0032273 | 0.003227 | 0.0032273 | 0.98357 | -0.31637 | 0.98368 | -0.31431 | 0.88662
44 | -0.0081165 | -0.0020336 | 0.0081178 | 0.0020341 | 1.2585e-06 | 5.2278e-07 | 0.012278 | 0.012278 | 0.012278 | 0.98368 | -0.31431 | 0.98385 | -0.31106 | 3.373
45 | -0.027689 | -0.0069432 | 0.027693 | 0.0069452 | 3.2746e-06 | 2.0325e-06 | 0.04188 | 0.04188 | 0.04188 | 0.98385 | -0.31106 | 0.98397 | -0.30857 | 11.5055
46 | -0.0018492 | -0.00046345 | 0.0018494 | 0.00046267 | 2.1035e-07 | -7.7407e-07 | 0.0027985 | 0.0027981 | 0.0027985 | 0.98326 | -0.32253 | 0.98338 | -0.32014 | 0.76881
47 | 0.0074392 | 0.0018646 | -0.0074386 | -0.0018644 | 6.8694e-07 | 2.5626e-07 | 0.011257 | 0.011257 | 0.011257 | 0.98338 | -0.32014 | 0.98328 | -0.32208 | 3.0926
48 | -0.0092886 | -0.0023273 | 0.0092953 | 0.0023304 | 6.6971e-06 | 3.1382e-06 | 0.014055 | 0.014055 | 0.014055 | 0.98338 | -0.32014 | 0.98415 | -0.30502 | 3.8613
49 | 0.0074386 | 0.0018644 | -0.0074377 | -0.0018641 | 8.2525e-07 | 3.079e-07 | 0.011257 | 0.011257 | 0.011257 | 0.98328 | -0.32208 | 0.98316 | -0.32441 | 3.0926
50 | 0.029692 | 0.0074547 | -0.029678 | -0.0074457 | 1.4465e-05 | 9.0145e-06 | 0.044898 | 0.044898 | 0.044898 | 0.98415 | -0.30502 | 0.98363 | -0.31523 | 12.3347
51 | 0.02459 | 0.0061706 | -0.024583 | -0.006166 | 7.4645e-06 | 4.5948e-06 | 0.037202 | 0.037202 | 0.037202 | 0.98363 | -0.31523 | 0.98331 | -0.3216 | 10.2204
52 | 0.020575 | 0.0051679 | -0.020552 | -0.005154 | 2.3064e-05 | 1.393e-05 | 0.030882 | 0.030883 | 0.030883 | 0.99152 | -0.163 | 0.9903 | -0.18652 | 8.4842
53 | 0.051272 | 0.012871 | -0.051252 | -0.012858 | 1.9787e-05 | 1.2549e-05 | 0.076954 | 0.076954 | 0.076954 | 0.99152 | -0.163 | 0.9911 | -0.17109 | 21.1413
54 | -0.071848 | -0.018039 | 0.071909 | 0.018078 | 6.1231e-05 | 3.9006e-05 | 0.10784 | 0.10784 | 0.10784 | 0.99152 | -0.163 | 0.99244 | -0.14515 | 29.6254
55 | 0.0096888 | 0.0024286 | -0.0096871 | -0.0024278 | 1.7338e-06 | 8.2903e-07 | 0.014558 | 0.014559 | 0.014559 | 0.9903 | -0.18652 | 0.99011 | -0.19027 | 3.9996
56 | 0.010863 | 0.0027253 | -0.010856 | -0.0027215 | 7.4265e-06 | 3.7975e-06 | 0.016324 | 0.016325 | 0.016325 | 0.9903 | -0.18652 | 0.98956 | -0.20086 | 4.4848
57 | 0.0074854 | 0.0018762 | -0.0074841 | -0.0018757 | 1.2829e-06 | 4.7208e-07 | 0.011238 | 0.011239 | 0.011239 | 0.9911 | -0.17109 | 0.99091 | -0.17469 | 3.0875
58 | 0.043767 | 0.010982 | -0.043733 | -0.01096 | 3.4384e-05 | 2.1732e-05 | 0.065716 | 0.065716 | 0.065716 | 0.9911 | -0.17109 | 0.99025 | -0.18758 | 18.0538
59 | -0.089072 | -0.022379 | 0.089093 | 0.022393 | 2.1123e-05 | 1.3478e-05 | 0.13357 | 0.13357 | 0.13357 | 0.99244 | -0.14515 | 0.9927 | -0.14018 | 36.6951
60 | -0.0084591 | -0.0021201 | 0.0084597 | 0.0021204 | 6.1151e-07 | 2.6207e-07 | 0.012725 | 0.012725 | 0.012725 | 0.98919 | -0.20805 | 0.98927 | -0.20653 | 3.4958
61 | 0.0084591 | 0.0021201 | -0.0084586 | -0.0021199 | 4.3135e-07 | 1.8487e-07 | 0.012725 | 0.012725 | 0.012725 | 0.98919 | -0.20805 | 0.98914 | -0.20912 | 3.4958
62 | -0.0084597 | -0.0021204 | 0.0084609 | 0.0021209 | 1.2181e-06 | 5.2198e-07 | 0.012725 | 0.012725 | 0.012725 | 0.98927 | -0.20653 | 0.98943 | -0.20351 | 3.4958
63 | 0.010856 | 0.0027215 | -0.010855 | -0.0027208 | 1.3667e-06 | 6.99e-07 | 0.016325 | 0.016325 | 0.016325 | 0.98956 | -0.20086 | 0.98943 | -0.20351 | 4.4848
64 | 0.0061246 | 0.001535 | -0.0061246 | -0.001535 | 5.1299e-08 | 1.2066e-08 | 0.0092046 | 0.0092046 | 0.0092046 | 0.99011 | -0.19027 | 0.9901 | -0.19045 | 2.5287
65 | 0.0019747 | 0.00049452 | -0.0019746 | -0.00049488 | 1.1003e-07 | -3.6774e-07 | 0.002951 | 0.0029512 | 0.0029512 | 0.99568 | -0.082987 | 0.99562 | -0.084157 | 0.81076
66 | 0.024583 | 0.006166 | -0.024576 | -0.0061616 | 7.1255e-06 | 4.3862e-06 | 0.037202 | 0.037202 | 0.037202 | 0.98331 | -0.3216 | 0.98299 | -0.32768 | 10.2204
67 | 0.015033 | 0.0037687 | -0.015029 | -0.0037665 | 3.8738e-06 | 2.2163e-06 | 0.022535 | 0.022535 | 0.022535 | 0.9927 | -0.14018 | 0.99242 | -0.14559 | 6.1909
68 | 0.020057 | 0.0050292 | -0.020051 | -0.0050258 | 5.5332e-06 | 3.3384e-06 | 0.030362 | 0.030362 | 0.030362 | 0.98299 | -0.32768 | 0.9827 | -0.33347 | 8.3413
69 | 0.0066027 | 0.0016548 | -0.006602 | -0.0016546 | 6.1744e-07 | 1.7572e-07 | 0.0098728 | 0.0098729 | 0.0098729 | 0.99514 | -0.093365 | 0.99504 | -0.095328 | 2.7123
70 | 0.010761 | 0.0026975 | -0.01076 | -0.0026966 | 1.7737e-06 | 9.0953e-07 | 0.016295 | 0.016295 | 0.016295 | 0.9827 | -0.33347 | 0.98252 | -0.33693 | 4.4768
71 | -0.0072506 | -0.0018172 | 0.0072506 | 0.0018172 | 2.1791e-08 | 7.5341e-09 | 0.010846 | 0.010846 | 0.010846 | 0.99472 | -0.10153 | 0.99473 | -0.10147 | 2.9797
72 | -0.014598 | -0.0036586 | 0.014601 | 0.0036603 | 3.0881e-06 | 1.7521e-06 | 0.021837 | 0.021837 | 0.021837 | 0.99473 | -0.10147 | 0.99495 | -0.097026 | 5.9992
73 | -0.0036461 | -0.0009138 | 0.0036464 | 0.00091363 | 3.3494e-07 | -1.7167e-07 | 0.0054675 | 0.0054673 | 0.0054675 | 0.99232 | -0.14752 | 0.99242 | -0.14559 | 1.5021

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53307 | 0.13444

## res_load
| p_mw | q_mvar
0 | 0.01678 | 0.0042056
1 | 0.02957 | 0.007411
2 | 0.0046799 | 0.0011729
3 | 0.038498 | 0.0096486
4 | 0.052324 | 0.013114
5 | 0.037842 | 0.009484
6 | 0.0023771 | 0.00059575
7 | 0.050891 | 0.012754
8 | 0.0090173 | 0.00226
9 | 0.0051406 | 0.0012884
10 | 0.0048396 | 0.0012129
11 | 0.0087256 | 0.0021868
12 | 0.0046817 | 0.0011733
13 | 0.0085972 | 0.0021547
14 | 0.0085615 | 0.0021457
15 | 0.0075274 | 0.0018865
16 | 0.0062493 | 0.0015662
17 | 0.0059193 | 0.0014835
18 | 0.0025675 | 0.00064347
19 | 0.0011378 | 0.00028516
20 | 0.002146 | 0.00053784
21 | 0.0012529 | 0.000314
22 | 0.0053021 | 0.0013288
23 | 0.0012554 | 0.00031463
24 | 0.0024418 | 0.00061198
25 | 0.001258 | 0.00031528
26 | 0.0021332 | 0.00053464
27 | 0.0059831 | 0.0014995
28 | 0.011166 | 0.0027984
29 | 0.0018492 | 0.00046345
30 | 0.0074377 | 0.0018641
31 | 0.0050875 | 0.001275
32 | 0.017163 | 0.0043015
33 | 0.0084586 | 0.0021199
34 | 0.0023938 | 0.00059994
35 | 0.0035625 | 0.00089284
36 | 0.0086777 | 0.0021748
37 | 0.0074841 | 0.0018757
38 | 0.043733 | 0.01096
39 | 0.0061246 | 0.001535
40 | 0.0019746 | 0.00049488
41 | 0.0045186 | 0.0011325
42 | 0.0061591 | 0.0015436
43 | 0.00929 | 0.0023283
44 | 0.01076 | 0.0026966
45 | 0.0072506 | 0.0018172
46 | 0.0073473 | 0.0018414
47 | 0.0061854 | 0.0015502
48 | 0.0036461 | 0.0009138
49 | 0.011383 | 0.0028529
50 | 0.0021965 | 0.0005505
51 | 0.006602 | 0.0016546

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1