## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_198-3_0_3_node_64 | 0.4 | n |  | TRUE
4 | bus_LV_198-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_198-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_198-3_0_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_198-3_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_198-3_0_3_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_198-3_0_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_198-3_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_198-3_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_198-3_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_198-3_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_198-3_0_3_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_198-3_0_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_198-3_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_198-3_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_198-3_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_198-3_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_198-3_0_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_198-3_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_198-3_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_198-3_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_198-3_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_198-3_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_198-3_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_198-3_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_198-3_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_198-3_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_198-3_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_198-3_0_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_198-3_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_198-3_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_198-3_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_198-3_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_198-3_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_198-3_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_198-3_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_198-3_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_198-3_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_198-3_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_198-3_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_198-3_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_198-3_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_198-3_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_198-3_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_198-3_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_198-3_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_198-3_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_198-3_0_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_198-3_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_198-3_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_198-3_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_198-3_0_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_198-3_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_198-3_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_198-3_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_198-3_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_198-3_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_198-3_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_198-3_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_198-3_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_198-3_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_MV_362_0_node_196 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-3_0_3_load_0 | 0 | 0.0095163 | 0.002385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-3_0_3_load_64 | 3 | 0.012648 | 0.00317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-3_0_3_load_66 | 6 | 0.032337 | 0.0081044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-3_0_3_load_51 | 9 | 0.011013 | 0.0027602 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-3_0_3_load_35 | 12 | 0.028063 | 0.0070334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-3_0_3_load_68 | 14 | 0.017763 | 0.0044518 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-3_0_3_load_50 | 15 | 0.0071987 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-3_0_3_load_8 | 16 | 0.0046315 | 0.0011608 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-3_0_3_load_34 | 20 | 0.0107 | 0.0026818 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-3_0_3_load_38 | 23 | 0.011974 | 0.003001 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-3_0_3_load_12 | 24 | 0.018728 | 0.0046938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-3_0_3_load_43 | 25 | 0.026032 | 0.0065243 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-3_0_3_load_44 | 26 | 0.0020084 | 0.00050334 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-3_0_3_load_36 | 28 | 0.019782 | 0.0049579 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-3_0_3_load_39 | 29 | 0.0077309 | 0.0019375 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-3_0_3_load_58 | 32 | 0.0077665 | 0.0019465 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-3_0_3_load_56 | 36 | 0.0067277 | 0.0016861 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-3_0_3_load_61 | 39 | 0.0017001 | 0.00042607 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-3_0_3_load_45 | 43 | 0.0058797 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-3_0_3_load_57 | 45 | 0.025552 | 0.0064039 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-3_0_3_load_48 | 48 | 0.0021591 | 0.00054112 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-3_0_3_load_46 | 49 | 0.002459 | 0.00061629 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-3_0_3_load_53 | 50 | 0.0066606 | 0.0016693 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-3_0_3_load_52 | 51 | 0.0034245 | 0.00085825 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-3_0_3_load_65 | 52 | 0.0026564 | 0.00066575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-3_0_3_load_60 | 54 | 0.0093251 | 0.0023371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-3_0_3_load_62 | 55 | 0.011425 | 0.0028635 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-3_0_3_load_40 | 57 | 0.0068302 | 0.0017118 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-3_0_3_load_37 | 58 | 0.0066584 | 0.0016688 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-3_0_3_load_49 | 60 | 0.0055741 | 0.001397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-3_0_3_load_67 | 61 | 0.01276 | 0.0031978 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-3_0_3_load_59 | 62 | 0.0060428 | 0.0015145 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-3_0_3_load_41 | 63 | 0.018001 | 0.0045115 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-3_0_3_line_0 |  | 0 | 1 | 0.052506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-3_0_3_line_1 |  | 1 | 2 | 0.04487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-3_0_3_line_2 |  | 2 | 3 | 0.036125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-3_0_3_line_3 |  | 3 | 11 | 0.051982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-3_0_3_line_4 |  | 4 | 5 | 0.032302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_198-3_0_3_line_5 |  | 4 | 6 | 0.0068907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-3_0_3_line_6 |  | 5 | 10 | 0.040081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_198-3_0_3_line_7 |  | 7 | 8 | 0.035059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-3_0_3_line_8 |  | 7 | 9 | 0.032534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-3_0_3_line_9 |  | 8 | 14 | 0.018596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-3_0_3_line_10 |  | 9 | 15 | 0.024954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-3_0_3_line_11 |  | 10 | 12 | 0.019195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-3_0_3_line_12 |  | 10 | 13 | 0.065715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-3_0_3_line_13 |  | 11 | 33 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-3_0_3_line_14 |  | 13 | 27 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-3_0_3_line_15 |  | 13 | 28 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-3_0_3_line_16 |  | 15 | 53 | 0.021604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-3_0_3_line_17 |  | 16 | 17 | 0.021958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_198-3_0_3_line_18 |  | 16 | 18 | 0.019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_198-3_0_3_line_19 |  | 17 | 19 | 0.009964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_198-3_0_3_line_20 |  | 18 | 20 | 0.022218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-3_0_3_line_21 |  | 18 | 21 | 0.027715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_198-3_0_3_line_22 |  | 19 | 22 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_198-3_0_3_line_23 |  | 19 | 23 | 0.0037577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_198-3_0_3_line_24 |  | 21 | 26 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_198-3_0_3_line_25 |  | 23 | 58 | 0.041485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_198-3_0_3_line_26 |  | 24 | 25 | 0.0050826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-3_0_3_line_27 |  | 25 | 59 | 0.020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-3_0_3_line_28 |  | 26 | 46 | 0.0080161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_198-3_0_3_line_29 |  | 27 | 29 | 0.04805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-3_0_3_line_30 |  | 28 | 58 | 0.042917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_198-3_0_3_line_31 |  | 29 | 56 | 0.025513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-3_0_3_line_32 |  | 30 | 31 | 0.054449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-3_0_3_line_33 |  | 30 | 32 | 0.019364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_198-3_0_3_line_34 |  | 31 | 61 | 0.036012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-3_0_3_line_35 |  | 32 | 62 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-3_0_3_line_36 |  | 33 | 55 | 0.027725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-3_0_3_line_37 |  | 33 | 35 | 0.034896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-3_0_3_line_38 |  | 34 | 35 | 0.021956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-3_0_3_line_39 |  | 34 | 36 | 0.024816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-3_0_3_line_40 |  | 35 | 53 | 0.02829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-3_0_3_line_41 |  | 35 | 54 | 0.048246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-3_0_3_line_42 |  | 36 | 45 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-3_0_3_line_43 |  | 37 | 38 | 0.028545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-3_0_3_line_44 |  | 37 | 39 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-3_0_3_line_45 |  | 38 | 52 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-3_0_3_line_46 |  | 39 | 55 | 0.066127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-3_0_3_line_47 |  | 40 | 41 | 0.050929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_198-3_0_3_line_48 |  | 40 | 42 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-3_0_3_line_49 |  | 40 | 43 | 0.009094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_198-3_0_3_line_50 |  | 40 | 44 | 0.001858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-3_0_3_line_51 |  | 41 | 45 | 0.015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_198-3_0_3_line_52 |  | 42 | 50 | 0.013964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-3_0_3_line_53 |  | 42 | 51 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-3_0_3_line_54 |  | 43 | 46 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_198-3_0_3_line_55 |  | 44 | 49 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-3_0_3_line_56 |  | 44 | 60 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-3_0_3_line_57 |  | 47 | 48 | 0.0082435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-3_0_3_line_58 |  | 47 | 49 | 0.0063744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_198-3_0_3_line_59 |  | 54 | 62 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_198-3_0_3_line_60 |  | 56 | 57 | 0.042338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_198-3_0_3_line_61 |  | 57 | 63 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_198-3_0_3_line_62 |  | 59 | 63 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-3_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 64 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2695483.3407 | 1244773.0805 | 2695531.8544 | 1244793.1625
1 | 2695443.2518 | 1244753.1537 | 2695445.8475 | 1244755.753 | 2695483.3407 | 1244773.0805
2 | 2695443.2518 | 1244753.1537 | 2695443.0675 | 1244750.5154 | 2695447.3003 | 1244717.3038
3 | 2695453.9707 | 1244669.4514 | 2695458.4647 | 1244673.8493 | 2695458.9872 | 1244679.8845 | 2695449.3822 | 1244700.9682 | 2695447.3003 | 1244717.3038
4 | 2695615.8225 | 1244628.7823 | 2695612.0586 | 1244629.7335 | 2695608.9905 | 1244641.4263 | 2695601.3814 | 1244640.8699 | 2695602.0805 | 1244632.1968
5 | 2695615.8225 | 1244628.7823 | 2695622.7065 | 1244629.0864
6 | 2695602.0805 | 1244632.1968 | 2695604.9777 | 1244596.4163 | 2695605.385 | 1244592.253
7 | 2695540.2113 | 1244667.0489 | 2695554.2648 | 1244634.9175
8 | 2695540.2113 | 1244667.0489 | 2695511.0359 | 1244652.6533
9 | 2695554.2648 | 1244634.9175 | 2695571.181 | 1244642.7514
10 | 2695488.658 | 1244641.6118 | 2695511.0359 | 1244652.6533
11 | 2695605.385 | 1244592.253 | 2695586.2348 | 1244590.939
12 | 2695605.385 | 1244592.253 | 2695606.9995 | 1244577.9015 | 2695608.5888 | 1244563.7052 | 2695608.6938 | 1244562.8173 | 2695609.7495 | 1244553.127 | 2695609.9789 | 1244551.5517 | 2695623.2952 | 1244553.4566 | 2695624.1483 | 1244546.9543 | 2695624.7608 | 1244542.2495
13 | 2695441.1785 | 1244665.0534 | 2695447.6925 | 1244666.9708 | 2695453.9707 | 1244669.4514
14 | 2695637.6541 | 1244544.1366 | 2695624.7608 | 1244542.2495
15 | 2695624.7608 | 1244542.2495 | 2695608.3118 | 1244539.8448
16 | 2695468.6193 | 1244633.66 | 2695481.0145 | 1244637.8404 | 2695488.658 | 1244641.6118
17 | 2695513.1771 | 1244516.5104 | 2695492.2138 | 1244509.9749
18 | 2695474.7256 | 1244501.8026 | 2695485.7591 | 1244507.9626 | 2695492.2138 | 1244509.9749
19 | 2695513.1771 | 1244516.5104 | 2695522.6964 | 1244519.5437
20 | 2695474.7256 | 1244501.8026 | 2695477.2491 | 1244488.244 | 2695479.172 | 1244480.0399
21 | 2695460.2153 | 1244511.621 | 2695460.1894 | 1244505.2491 | 2695473.328 | 1244509.2746 | 2695474.7256 | 1244501.8026
22 | 2695518.9366 | 1244531.9593 | 2695520.8843 | 1244525.5302 | 2695522.6964 | 1244519.5437
23 | 2695522.6964 | 1244519.5437 | 2695526.2766 | 1244520.6848
24 | 2695460.2153 | 1244511.621 | 2695456.0972 | 1244511.5658 | 2695453.2102 | 1244512.0308 | 2695451.0918 | 1244513.1087 | 2695450.2893 | 1244513.8836
25 | 2695526.2766 | 1244520.6848 | 2695546.3967 | 1244527.0977 | 2695566.1074 | 1244532.2276
26 | 2695560.782 | 1244472.671 | 2695555.7028 | 1244472.8547
27 | 2695580.8629 | 1244470.6767 | 2695578.5284 | 1244472.029 | 2695560.782 | 1244472.671
28 | 2695447.6139 | 1244521.1699 | 2695447.9628 | 1244517.8063 | 2695449.2569 | 1244514.8805 | 2695450.2893 | 1244513.8836
29 | 2695637.6541 | 1244544.1366 | 2695641.3585 | 1244497.2162 | 2695641.5648 | 1244496.2543
30 | 2695608.3118 | 1244539.8448 | 2695590.1372 | 1244537.1877 | 2695572.8588 | 1244533.9847 | 2695566.1074 | 1244532.2276
31 | 2695647.9614 | 1244471.6143 | 2695645.3386 | 1244478.6551 | 2695641.5648 | 1244496.2543
32 | 2695311.9161 | 1244644.6822 | 2695322.4542 | 1244642.6277 | 2695336.4987 | 1244642.4755 | 2695350.2791 | 1244646.0552 | 2695360.4665 | 1244657.8168
33 | 2695360.4665 | 1244657.8168 | 2695377.6058 | 1244648.806
34 | 2695336.1369 | 1244617.9733 | 2695311.9161 | 1244644.6822
35 | 2695377.6058 | 1244648.806 | 2695388.484 | 1244643.087
36 | 2695441.1785 | 1244665.0534 | 2695438.4565 | 1244675.462 | 2695436.0612 | 1244690.4571 | 2695435.8791 | 1244692.2294
37 | 2695441.1785 | 1244665.0534 | 2695447.934 | 1244643.0565 | 2695449.7013 | 1244637.0248 | 2695444.3147 | 1244635.4925
38 | 2695444.3147 | 1244635.4925 | 2695449.9125 | 1244616.8684 | 2695447.5214 | 1244616.1072
39 | 2695447.5214 | 1244616.1072 | 2695424.152 | 1244608.1919 | 2695424.1987 | 1244608.0573
40 | 2695444.3147 | 1244635.4925 | 2695449.7013 | 1244637.0248 | 2695456.2999 | 1244638.8546 | 2695461.0082 | 1244640.2647 | 2695463.7135 | 1244635.1266 | 2695468.6193 | 1244633.66
41 | 2695444.3147 | 1244635.4925 | 2695442.3649 | 1244640.654 | 2695439.8603 | 1244640.369 | 2695401.7782 | 1244636.0977 | 2695400.1076 | 1244636.976
42 | 2695424.1987 | 1244608.0573 | 2695432.5292 | 1244584.0417
43 | 2695426.2385 | 1244788.4513 | 2695426.8178 | 1244795.6549 | 2695427.5779 | 1244804.7741 | 2695429.5963 | 1244806.1521 | 2695431.1532 | 1244808.023 | 2695432.1378 | 1244810.2405 | 2695432.4691 | 1244812.6588 | 2695432.1132 | 1244815.0549
44 | 2695426.2385 | 1244788.4513 | 2695427.3506 | 1244775.2369 | 2695429.1205 | 1244758.0099
45 | 2695432.1132 | 1244815.0549 | 2695439.3541 | 1244816.8727 | 2695447.3487 | 1244820.4727
46 | 2695429.1205 | 1244758.0099 | 2695435.8791 | 1244692.2294
47 | 2695432.0587 | 1244568.6669 | 2695431.7113 | 1244557.3861 | 2695447.3468 | 1244556.5369 | 2695447.067 | 1244555.6095 | 2695444.0757 | 1244545.6538 | 2695442.8659 | 1244541.9315 | 2695447.0764 | 1244541.41 | 2695451.526 | 1244541.0591
48 | 2695423.6577 | 1244544.5245 | 2695442.8659 | 1244541.9315 | 2695447.0764 | 1244541.41 | 2695451.526 | 1244541.0591
49 | 2695451.526 | 1244541.0591 | 2695449.3796 | 1244534.0192 | 2695449.0918 | 1244532.3091
50 | 2695451.526 | 1244541.0591 | 2695452.0718 | 1244542.8359
51 | 2695432.0587 | 1244568.6669 | 2695432.5292 | 1244584.0417
52 | 2695423.6577 | 1244544.5245 | 2695409.7284 | 1244545.5103
53 | 2695423.6577 | 1244544.5245 | 2695421.7263 | 1244534.6814
54 | 2695447.6139 | 1244521.1699 | 2695448.1656 | 1244526.8053 | 2695449.0918 | 1244532.3091
55 | 2695452.0718 | 1244542.8359 | 2695452.5454 | 1244544.4002 | 2695455.7075 | 1244555.0147 | 2695456.8813 | 1244559.0043
56 | 2695452.0718 | 1244542.8359 | 2695469.4589 | 1244540.8818
57 | 2695459.0614 | 1244564.9763 | 2695467.2825 | 1244564.3683
58 | 2695459.0614 | 1244564.9763 | 2695457.9002 | 1244562.4668 | 2695456.8813 | 1244559.0043
59 | 2695388.484 | 1244643.087 | 2695400.1076 | 1244636.976
60 | 2695647.9614 | 1244471.6143 | 2695638.9875 | 1244470.3798 | 2695605.7087 | 1244470.5498
61 | 2695591.0618 | 1244470.6246 | 2695605.7087 | 1244470.5498
62 | 2695580.8629 | 1244470.6767 | 2695591.0618 | 1244470.6246

## bus_geodata
| x | y | coords
0 | 2695531.8544 | 1244793.1625
1 | 2695483.3407 | 1244773.0805
2 | 2695443.2518 | 1244753.1537
3 | 2695447.3003 | 1244717.3038
4 | 2695615.8225 | 1244628.7823
5 | 2695602.0805 | 1244632.1968
6 | 2695622.7065 | 1244629.0864
7 | 2695540.2113 | 1244667.0489
8 | 2695554.2648 | 1244634.9175
9 | 2695511.0359 | 1244652.6533
10 | 2695605.385 | 1244592.253
11 | 2695453.9707 | 1244669.4514
12 | 2695586.2348 | 1244590.939
13 | 2695624.7608 | 1244542.2495
14 | 2695571.181 | 1244642.7514
15 | 2695488.658 | 1244641.6118
16 | 2695492.2138 | 1244509.9749
17 | 2695513.1771 | 1244516.5104
18 | 2695474.7256 | 1244501.8026
19 | 2695522.6964 | 1244519.5437
20 | 2695479.172 | 1244480.0399
21 | 2695460.2153 | 1244511.621
22 | 2695518.9366 | 1244531.9593
23 | 2695526.2766 | 1244520.6848
24 | 2695555.7028 | 1244472.8547
25 | 2695560.782 | 1244472.671
26 | 2695450.2893 | 1244513.8836
27 | 2695637.6541 | 1244544.1366
28 | 2695608.3118 | 1244539.8448
29 | 2695641.5648 | 1244496.2543
30 | 2695360.4665 | 1244657.8168
31 | 2695311.9161 | 1244644.6822
32 | 2695377.6058 | 1244648.806
33 | 2695441.1785 | 1244665.0534
34 | 2695447.5214 | 1244616.1072
35 | 2695444.3147 | 1244635.4925
36 | 2695424.1987 | 1244608.0573
37 | 2695426.2385 | 1244788.4513
38 | 2695432.1132 | 1244815.0549
39 | 2695429.1205 | 1244758.0099
40 | 2695451.526 | 1244541.0591
41 | 2695432.0587 | 1244568.6669
42 | 2695423.6577 | 1244544.5245
43 | 2695449.0918 | 1244532.3091
44 | 2695452.0718 | 1244542.8359
45 | 2695432.5292 | 1244584.0417
46 | 2695447.6139 | 1244521.1699
47 | 2695459.0614 | 1244564.9762
48 | 2695467.2825 | 1244564.3683
49 | 2695456.8813 | 1244559.0043
50 | 2695409.7284 | 1244545.5103
51 | 2695421.7263 | 1244534.6814
52 | 2695447.3487 | 1244820.4727
53 | 2695468.6193 | 1244633.66
54 | 2695400.1076 | 1244636.976
55 | 2695435.8791 | 1244692.2294
56 | 2695647.9614 | 1244471.6143
57 | 2695605.7087 | 1244470.5498
58 | 2695566.1074 | 1244532.2276
59 | 2695580.8629 | 1244470.6767
60 | 2695469.4589 | 1244540.8818
61 | 2695336.1369 | 1244617.9733
62 | 2695388.484 | 1244643.087
63 | 2695591.0618 | 1244470.6246
64 | 2695520.8843 | 1244525.5302

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9777 | -0.42977 | 0.0095163 | 0.002385
1 | 0.97816 | -0.42067 | 0 | 0
2 | 0.97856 | -0.41289 | 0 | 0
3 | 0.97888 | -0.40663 | 0.012648 | 0.00317
4 | 0.98523 | -0.28368 | 0 | 0
5 | 0.98619 | -0.26494 | 0 | 0
6 | 0.98502 | -0.28768 | 0.032337 | 0.0081044
7 | 0.97859 | -0.41235 | 0 | 0
8 | 0.97801 | -0.42369 | 0 | 0
9 | 0.97912 | -0.40183 | 0.011013 | 0.0027602
10 | 0.98738 | -0.24174 | 0 | 0
11 | 0.97995 | -0.38569 | 0 | 0
12 | 0.98689 | -0.25138 | 0.028063 | 0.0070334
13 | 0.99103 | -0.17104 | 0 | 0
14 | 0.9777 | -0.42971 | 0.017763 | 0.0044518
15 | 0.97979 | -0.38879 | 0.0071987 | 0.0018042
16 | 0.99674 | -0.061899 | 0.0046315 | 0.0011608
17 | 0.99799 | -0.038091 | 0 | 0
18 | 0.99566 | -0.082454 | 0 | 0
19 | 0.99856 | -0.027307 | 0 | 0
20 | 0.99544 | -0.086635 | 0.0107 | 0.0026818
21 | 0.9942 | -0.11016 | 0 | 0
22 | 1 | 0 | -0.36847 | -0.093887
23 | 0.99835 | -0.031165 | 0.011974 | 0.003001
24 | 0.9801 | -0.3833 | 0.018728 | 0.0046938
25 | 0.98018 | -0.38157 | 0.026032 | 0.0065243
26 | 0.99365 | -0.12071 | 0.0020084 | 0.00050334
27 | 0.9901 | -0.18888 | 0 | 0
28 | 0.99315 | -0.13049 | 0.019782 | 0.0049579
29 | 0.98667 | -0.25518 | 0.0077309 | 0.0019375
30 | 0.97906 | -0.40305 | 0 | 0
31 | 0.97842 | -0.41569 | 0 | 0
32 | 0.97929 | -0.39856 | 0.0077665 | 0.0019465
33 | 0.98022 | -0.38025 | 0 | 0
34 | 0.98369 | -0.31271 | 0 | 0
35 | 0.98145 | -0.35625 | 0 | 0
36 | 0.98621 | -0.26374 | 0.0067277 | 0.0016861
37 | 0.97948 | -0.3949 | 0 | 0
38 | 0.97941 | -0.39628 | 0 | 0
39 | 0.97955 | -0.39342 | 0.0017001 | 0.00042607
40 | 0.9922 | -0.14851 | 0 | 0
41 | 0.98997 | -0.19132 | 0 | 0
42 | 0.99194 | -0.15353 | 0 | 0
43 | 0.99265 | -0.1398 | 0.0058797 | 0.0014736
44 | 0.99218 | -0.14885 | 0 | 0
45 | 0.98896 | -0.21078 | 0.025552 | 0.0064039
46 | 0.99324 | -0.12865 | 0 | 0
47 | 0.9921 | -0.15047 | 0 | 0
48 | 0.99208 | -0.15078 | 0.0021591 | 0.00054112
49 | 0.99211 | -0.15023 | 0.002459 | 0.00061629
50 | 0.99185 | -0.15518 | 0.0066606 | 0.0016693
51 | 0.99191 | -0.15414 | 0.0034245 | 0.00085825
52 | 0.97937 | -0.39706 | 0.0026564 | 0.00066575
53 | 0.98051 | -0.37468 | 0 | 0
54 | 0.97985 | -0.38764 | 0.0093251 | 0.0023371
55 | 0.97982 | -0.38819 | 0.011425 | 0.0028635
56 | 0.98503 | -0.28702 | 0 | 0
57 | 0.9823 | -0.34009 | 0.0068302 | 0.0017118
58 | 0.99626 | -0.070949 | 0.0066584 | 0.0016688
59 | 0.98103 | -0.36498 | 0 | 0
60 | 0.99209 | -0.15057 | 0.0055741 | 0.001397
61 | 0.97799 | -0.42406 | 0.01276 | 0.0031978
62 | 0.97952 | -0.39398 | 0.0060428 | 0.0015145
63 | 0.98145 | -0.35671 | 0.018001 | 0.0045115
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0095163 | -0.002385 | 0.0095204 | 0.002387 | 4.1302e-06 | 1.9846e-06 | 0.014483 | 0.014483 | 0.014483 | 0.9777 | -0.42977 | 0.97816 | -0.42067 | 3.979
1 | -0.0095204 | -0.002387 | 0.009524 | 0.0023887 | 3.5295e-06 | 1.6954e-06 | 0.014483 | 0.014483 | 0.014483 | 0.97816 | -0.42067 | 0.97856 | -0.41289 | 3.9789
2 | -0.009524 | -0.0023887 | 0.0095268 | 0.0023901 | 2.8415e-06 | 1.3646e-06 | 0.014483 | 0.014483 | 0.014483 | 0.97856 | -0.41289 | 0.97888 | -0.40663 | 3.9788
3 | -0.022175 | -0.0055601 | 0.022197 | 0.0055736 | 2.2151e-05 | 1.3523e-05 | 0.03371 | 0.03371 | 0.03371 | 0.97888 | -0.40663 | 0.97995 | -0.38569 | 9.261
4 | -0.032343 | -0.0081083 | 0.032372 | 0.0081264 | 2.8905e-05 | 1.8088e-05 | 0.04885 | 0.04885 | 0.04885 | 0.98523 | -0.28368 | 0.98619 | -0.26494 | 13.4202
5 | 0.032343 | 0.0081083 | -0.032337 | -0.0081044 | 6.1662e-06 | 3.8586e-06 | 0.04885 | 0.04885 | 0.04885 | 0.98523 | -0.28368 | 0.98502 | -0.28768 | 13.4203
6 | -0.032372 | -0.0081264 | 0.032408 | 0.0081488 | 3.5866e-05 | 2.2442e-05 | 0.04885 | 0.048849 | 0.04885 | 0.98619 | -0.26494 | 0.98738 | -0.24174 | 13.4202
7 | 0.017778 | 0.0044606 | -0.017768 | -0.0044548 | 9.6086e-06 | 5.7093e-06 | 0.027034 | 0.027034 | 0.027034 | 0.97859 | -0.41235 | 0.97801 | -0.42369 | 7.427
8 | -0.017778 | -0.0044606 | 0.017787 | 0.0044659 | 8.9163e-06 | 5.2975e-06 | 0.027034 | 0.027034 | 0.027034 | 0.97859 | -0.41235 | 0.97912 | -0.40183 | 7.427
9 | 0.017768 | 0.0044548 | -0.017763 | -0.0044518 | 5.0966e-06 | 3.0286e-06 | 0.027034 | 0.027034 | 0.027034 | 0.97801 | -0.42369 | 0.9777 | -0.42971 | 7.427
10 | -0.0288 | -0.0072261 | 0.028818 | 0.0072373 | 1.7929e-05 | 1.116e-05 | 0.043772 | 0.043772 | 0.043772 | 0.97912 | -0.40183 | 0.97979 | -0.38879 | 12.0252
11 | 0.028076 | 0.0070414 | -0.028063 | -0.0070334 | 1.2888e-05 | 8.0029e-06 | 0.042314 | 0.042314 | 0.042314 | 0.98738 | -0.24174 | 0.98689 | -0.25138 | 11.6246
12 | -0.060484 | -0.01519 | 0.060689 | 0.01532 | 0.0002048 | 0.00013023 | 0.091163 | 0.091163 | 0.091163 | 0.98738 | -0.24174 | 0.99103 | -0.17104 | 25.0448
13 | -0.022197 | -0.0055736 | 0.022203 | 0.0055771 | 5.7702e-06 | 3.5223e-06 | 0.03371 | 0.03371 | 0.03371 | 0.97995 | -0.38569 | 0.98022 | -0.38025 | 9.2609
14 | 0.078026 | 0.019826 | -0.077959 | -0.019784 | 6.6984e-05 | 4.2702e-05 | 0.11725 | 0.11725 | 0.11725 | 0.99103 | -0.17104 | 0.9901 | -0.18888 | 32.2117
15 | -0.13871 | -0.035147 | 0.13899 | 0.03532 | 0.00027078 | 0.00017308 | 0.20841 | 0.20841 | 0.20841 | 0.99103 | -0.17104 | 0.99315 | -0.13049 | 57.2563
16 | -0.036017 | -0.0090414 | 0.036041 | 0.0090567 | 2.4245e-05 | 1.5244e-05 | 0.054704 | 0.054704 | 0.054704 | 0.97979 | -0.38879 | 0.98051 | -0.37468 | 15.0286
17 | -0.18781 | -0.047915 | 0.18803 | 0.048053 | 0.00021624 | 0.00013753 | 0.28068 | 0.28068 | 0.28068 | 0.99674 | -0.061899 | 0.99799 | -0.038091 | 25.7032
18 | 0.18318 | 0.046754 | -0.183 | -0.046639 | 0.00018173 | 0.00011555 | 0.27376 | 0.27377 | 0.27377 | 0.99674 | -0.061899 | 0.99566 | -0.082454 | 25.0701
19 | -0.18803 | -0.048053 | 0.18812 | 0.048115 | 9.8121e-05 | 6.2407e-05 | 0.28068 | 0.28068 | 0.28068 | 0.99799 | -0.038091 | 0.99856 | -0.027307 | 25.7032
20 | 0.010703 | 0.0026829 | -0.0107 | -0.0026818 | 2.1317e-06 | 1.0754e-06 | 0.015995 | 0.015995 | 0.015995 | 0.99566 | -0.082454 | 0.99544 | -0.086635 | 4.3944
21 | 0.17229 | 0.043956 | -0.17206 | -0.04381 | 0.00023019 | 0.00014624 | 0.25777 | 0.25777 | 0.25777 | 0.99566 | -0.082454 | 0.9942 | -0.11016 | 23.6053
22 | -0.36633 | -0.093577 | 0.36682 | 0.093886 | 0.00048433 | 0.00030946 | 0.54652 | 0.54652 | 0.54652 | 0.99856 | -0.027307 | 1 | 0 | 50.0478
23 | 0.17821 | 0.045462 | -0.17818 | -0.045441 | 3.3195e-05 | 2.1098e-05 | 0.26584 | 0.26584 | 0.26584 | 0.99856 | -0.027307 | 0.99835 | -0.031165 | 24.3446
24 | 0.17206 | 0.04381 | -0.17198 | -0.043754 | 8.7501e-05 | 5.5591e-05 | 0.25777 | 0.25777 | 0.25777 | 0.9942 | -0.11016 | 0.99365 | -0.12071 | 23.6053
25 | 0.1662 | 0.04244 | -0.16588 | -0.042237 | 0.00031893 | 0.00020249 | 0.248 | 0.248 | 0.248 | 0.99835 | -0.031165 | 0.99626 | -0.070949 | 22.7103
26 | -0.018728 | -0.0046938 | 0.01873 | 0.0046947 | 1.541e-06 | 9.2216e-07 | 0.028434 | 0.028434 | 0.028434 | 0.9801 | -0.3833 | 0.98018 | -0.38157 | 7.8116
27 | -0.044762 | -0.011219 | 0.044798 | 0.011241 | 3.5422e-05 | 2.2412e-05 | 0.067954 | 0.067954 | 0.067954 | 0.98018 | -0.38157 | 0.98103 | -0.36498 | 18.6686
28 | 0.16997 | 0.043251 | -0.1699 | -0.043209 | 6.5035e-05 | 4.1311e-05 | 0.25476 | 0.25476 | 0.25476 | 0.99365 | -0.12071 | 0.99324 | -0.12865 | 23.3299
29 | 0.077959 | 0.019784 | -0.077711 | -0.019626 | 0.00024772 | 0.00015792 | 0.11725 | 0.11725 | 0.11725 | 0.9901 | -0.18888 | 0.98667 | -0.25518 | 32.2118
30 | -0.15877 | -0.040278 | 0.15922 | 0.040569 | 0.00045601 | 0.00029073 | 0.23805 | 0.23805 | 0.23805 | 0.99315 | -0.13049 | 0.99626 | -0.070949 | 32.6995
31 | 0.06998 | 0.017688 | -0.069873 | -0.01762 | 0.00010667 | 6.7945e-05 | 0.10559 | 0.10559 | 0.10559 | 0.98667 | -0.25518 | 0.98503 | -0.28702 | 29.0088
32 | 0.012772 | 0.0032049 | -0.012765 | -0.0032007 | 7.6953e-06 | 4.2407e-06 | 0.019413 | 0.019414 | 0.019414 | 0.97906 | -0.40305 | 0.97842 | -0.41569 | 5.3334
33 | -0.012772 | -0.0032049 | 0.012775 | 0.0032064 | 2.7366e-06 | 1.5079e-06 | 0.019413 | 0.019413 | 0.019413 | 0.97906 | -0.40305 | 0.97929 | -0.39856 | 5.3333
34 | 0.012765 | 0.0032007 | -0.01276 | -0.0031978 | 5.0897e-06 | 2.8053e-06 | 0.019414 | 0.019414 | 0.019414 | 0.97842 | -0.41569 | 0.97799 | -0.42406 | 5.3334
35 | -0.020542 | -0.0051529 | 0.020546 | 0.0051556 | 4.4904e-06 | 2.7192e-06 | 0.031214 | 0.031214 | 0.031214 | 0.97929 | -0.39856 | 0.97952 | -0.39398 | 8.5754
36 | 0.015789 | 0.003958 | -0.015783 | -0.0039545 | 5.9733e-06 | 3.4736e-06 | 0.023969 | 0.023969 | 0.023969 | 0.98022 | -0.38025 | 0.97982 | -0.38819 | 6.5849
37 | -0.037993 | -0.0095351 | 0.038036 | 0.0095625 | 4.3535e-05 | 2.7422e-05 | 0.057679 | 0.057679 | 0.057679 | 0.98022 | -0.38025 | 0.98145 | -0.35625 | 15.8458
38 | 0.11031 | 0.027832 | -0.11008 | -0.027685 | 0.00022946 | 0.00014657 | 0.16694 | 0.16694 | 0.16694 | 0.98369 | -0.31271 | 0.98145 | -0.35625 | 45.862
39 | -0.11031 | -0.027832 | 0.11057 | 0.027997 | 0.00025934 | 0.00016566 | 0.16694 | 0.16694 | 0.16694 | 0.98369 | -0.31271 | 0.98621 | -0.26374 | 45.8619
40 | 0.036073 | 0.0090766 | -0.036041 | -0.0090567 | 3.1747e-05 | 1.9961e-05 | 0.054704 | 0.054704 | 0.054704 | 0.98145 | -0.35625 | 0.98051 | -0.37468 | 15.0286
41 | 0.035976 | 0.009046 | -0.035922 | -0.0090121 | 5.3848e-05 | 3.3854e-05 | 0.054555 | 0.054555 | 0.054555 | 0.98145 | -0.35625 | 0.97985 | -0.38764 | 14.9877
42 | -0.1173 | -0.029683 | 0.1176 | 0.029874 | 0.00029894 | 0.00019099 | 0.17709 | 0.17709 | 0.17709 | 0.98621 | -0.26374 | 0.98896 | -0.21078 | 48.6506
43 | 0.0026567 | 0.00066536 | -0.0026565 | -0.00066561 | 1.7436e-07 | -2.4767e-07 | 0.0040358 | 0.0040359 | 0.0040359 | 0.97948 | -0.3949 | 0.97941 | -0.39628 | 1.1088
44 | -0.0026567 | -0.00066536 | 0.0026568 | 0.0006651 | 1.8677e-07 | -2.6537e-07 | 0.0040358 | 0.0040357 | 0.0040358 | 0.97948 | -0.3949 | 0.97955 | -0.39342 | 1.1087
45 | 0.0026565 | 0.00066561 | -0.0026564 | -0.00066575 | 9.916e-08 | -1.4082e-07 | 0.0040359 | 0.004036 | 0.004036 | 0.97941 | -0.39628 | 0.97937 | -0.39706 | 1.1088
46 | -0.0043569 | -0.0010912 | 0.004358 | 0.001091 | 1.0861e-06 | -1.3755e-07 | 0.0066182 | 0.0066179 | 0.0066182 | 0.97955 | -0.39342 | 0.97982 | -0.38819 | 1.8182
47 | 0.14358 | 0.036551 | -0.14329 | -0.036364 | 0.00029574 | 0.0001873 | 0.21553 | 0.21553 | 0.21553 | 0.9922 | -0.14851 | 0.98997 | -0.19132 | 19.7375
48 | 0.010088 | 0.0025288 | -0.010086 | -0.0025276 | 2.4111e-06 | 1.1804e-06 | 0.015129 | 0.01513 | 0.01513 | 0.9922 | -0.14851 | 0.99194 | -0.15353 | 4.1565
49 | -0.16386 | -0.041634 | 0.16393 | 0.041678 | 6.8763e-05 | 4.3656e-05 | 0.24595 | 0.24595 | 0.24595 | 0.9922 | -0.14851 | 0.99265 | -0.1398 | 22.5228
50 | 0.010193 | 0.0025544 | -0.010193 | -0.0025543 | 1.6282e-07 | 8.021e-08 | 0.015287 | 0.015287 | 0.015287 | 0.9922 | -0.14851 | 0.99218 | -0.14885 | 4.1997
51 | 0.14329 | 0.036364 | -0.14315 | -0.036278 | 0.00013398 | 8.5353e-05 | 0.21553 | 0.21553 | 0.21553 | 0.98997 | -0.19132 | 0.98896 | -0.21078 | 29.6063
52 | 0.0066611 | 0.0016695 | -0.0066606 | -0.0016693 | 5.2287e-07 | 1.5439e-07 | 0.0099924 | 0.0099925 | 0.0099925 | 0.99194 | -0.15353 | 0.99185 | -0.15518 | 2.7452
53 | 0.0034246 | 0.00085818 | -0.0034245 | -0.00085825 | 9.9271e-08 | -6.5948e-08 | 0.0051372 | 0.0051372 | 0.0051372 | 0.99194 | -0.15353 | 0.99191 | -0.15414 | 1.4113
54 | -0.16981 | -0.043151 | 0.1699 | 0.043209 | 9.1218e-05 | 5.7943e-05 | 0.25476 | 0.25476 | 0.25476 | 0.99265 | -0.1398 | 0.99324 | -0.12865 | 23.33
55 | 0.0046185 | 0.0011572 | -0.0046182 | -0.0011573 | 3.0348e-07 | -2.3612e-08 | 0.0069264 | 0.0069265 | 0.0069265 | 0.99218 | -0.14885 | 0.99211 | -0.15023 | 1.9029
56 | 0.0055746 | 0.0013971 | -0.0055741 | -0.001397 | 4.5861e-07 | 6.7567e-08 | 0.0083605 | 0.0083605 | 0.0083605 | 0.99218 | -0.14885 | 0.99209 | -0.15057 | 2.2969
57 | 0.0021591 | 0.00054103 | -0.0021591 | -0.00054112 | 3.2419e-08 | -8.5697e-08 | 0.0032384 | 0.0032384 | 0.0032384 | 0.9921 | -0.15047 | 0.99208 | -0.15078 | 0.88967
58 | -0.0021591 | -0.00054103 | 0.0021591 | 0.00054097 | 2.5068e-08 | -6.6269e-08 | 0.0032384 | 0.0032383 | 0.0032384 | 0.9921 | -0.15047 | 0.99211 | -0.15023 | 0.88966
59 | 0.026597 | 0.006675 | -0.026589 | -0.0066701 | 8.0352e-06 | 4.9772e-06 | 0.040394 | 0.040394 | 0.040394 | 0.97985 | -0.38764 | 0.97952 | -0.39398 | 11.0972
60 | 0.069873 | 0.01762 | -0.069696 | -0.017508 | 0.00017702 | 0.00011275 | 0.10559 | 0.10559 | 0.10559 | 0.98503 | -0.28702 | 0.9823 | -0.34009 | 29.0088
61 | 0.062866 | 0.015796 | -0.062816 | -0.015764 | 4.9828e-05 | 3.1705e-05 | 0.095245 | 0.095246 | 0.095246 | 0.9823 | -0.34009 | 0.98145 | -0.35671 | 26.1664
62 | -0.044798 | -0.011241 | 0.044815 | 0.011253 | 1.7661e-05 | 1.1174e-05 | 0.067954 | 0.067954 | 0.067954 | 0.98103 | -0.36498 | 0.98145 | -0.35671 | 18.6686

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36847 | 0.093887

## res_load
| p_mw | q_mvar
0 | 0.0095163 | 0.002385
1 | 0.012648 | 0.00317
2 | 0.032337 | 0.0081044
3 | 0.011013 | 0.0027602
4 | 0.028063 | 0.0070334
5 | 0.017763 | 0.0044518
6 | 0.0071987 | 0.0018042
7 | 0.0046315 | 0.0011608
8 | 0.0107 | 0.0026818
9 | 0.011974 | 0.003001
10 | 0.018728 | 0.0046938
11 | 0.026032 | 0.0065243
12 | 0.0020084 | 0.00050334
13 | 0.019782 | 0.0049579
14 | 0.0077309 | 0.0019375
15 | 0.0077665 | 0.0019465
16 | 0.0067277 | 0.0016861
17 | 0.0017001 | 0.00042607
18 | 0.0058797 | 0.0014736
19 | 0.025552 | 0.0064039
20 | 0.0021591 | 0.00054112
21 | 0.002459 | 0.00061629
22 | 0.0066606 | 0.0016693
23 | 0.0034245 | 0.00085825
24 | 0.0026564 | 0.00066575
25 | 0.0093251 | 0.0023371
26 | 0.011425 | 0.0028635
27 | 0.0068302 | 0.0017118
28 | 0.0066584 | 0.0016688
29 | 0.0055741 | 0.001397
30 | 0.01276 | 0.0031978
31 | 0.0060428 | 0.0015145
32 | 0.018001 | 0.0045115

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1