## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-58_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-58_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-58_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-58_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-58_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_198-58_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_198-58_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_198-58_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_198-58_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_198-58_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_198-58_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_198-58_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_198-58_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_198-58_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_198-58_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_198-58_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_198-58_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_198-58_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_198-58_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_198-58_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_198-58_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_198-58_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_198-58_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_198-58_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_198-58_0_4_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_198-58_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_198-58_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_198-58_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_198-58_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_198-58_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_198-58_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_198-58_0_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_198-58_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_198-58_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_198-58_0_4_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_198-58_0_4_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_198-58_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_198-58_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_198-58_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_198-58_0_4_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_198-58_0_4_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_198-58_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_198-58_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_198-58_0_4_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_198-58_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_198-58_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_198-58_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_198-58_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_198-58_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_198-58_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_198-58_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_198-58_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_198-58_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_198-58_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_198-58_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_198-58_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_198-58_0_4_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_198-58_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_198-58_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_198-58_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_198-58_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_198-58_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_MV_501_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-58_0_4_load_0 | 0 | 0.0047262 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-58_0_4_load_5 | 4 | 0.0054505 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-58_0_4_load_6 | 5 | 0.048272 | 0.012098 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-58_0_4_load_4 | 7 | 0.058509 | 0.014664 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-58_0_4_load_66 | 8 | 0.036852 | 0.0092359 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-58_0_4_load_7 | 9 | 0.010064 | 0.0025223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-58_0_4_load_57 | 10 | 0.019276 | 0.0048309 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-58_0_4_load_15 | 11 | 0.0054665 | 0.00137 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-58_0_4_load_11 | 12 | 0.0046927 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-58_0_4_load_60 | 13 | 0.020513 | 0.0051411 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-58_0_4_load_64 | 20 | 0.0092576 | 0.0023202 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-58_0_4_load_63 | 22 | 0.029184 | 0.0073141 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-58_0_4_load_62 | 24 | 0.028675 | 0.0071866 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-58_0_4_load_58 | 25 | 0.046196 | 0.011578 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-58_0_4_load_65 | 30 | 0.012099 | 0.0030323 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-58_0_4_load_51 | 31 | 0.0060934 | 0.0015271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-58_0_4_load_43 | 33 | 0.0149 | 0.0037343 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-58_0_4_load_12 | 34 | 0.0061746 | 0.0015475 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-58_0_4_load_56 | 36 | 0.0054621 | 0.0013689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-58_0_4_load_18 | 37 | 0.0049674 | 0.001245 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-58_0_4_load_55 | 38 | 0.0054657 | 0.0013698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-58_0_4_load_16 | 39 | 0.0045793 | 0.0011477 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-58_0_4_load_17 | 40 | 0.0059971 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-58_0_4_load_53 | 42 | 0.0059997 | 0.0015037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-58_0_4_load_20 | 43 | 0.0013941 | 0.00034938 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-58_0_4_load_23 | 45 | 0.0014006 | 0.00035103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-58_0_4_load_24 | 46 | 0.0020967 | 0.00052548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-58_0_4_load_25 | 47 | 0.0015244 | 0.00038206 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-58_0_4_load_36 | 48 | 0.0014542 | 0.00036446 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-58_0_4_load_30 | 49 | 0.0013595 | 0.00034072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-58_0_4_load_37 | 50 | 0.0021429 | 0.00053707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-58_0_4_load_41 | 51 | 0.0039197 | 0.00098238 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-58_0_4_load_29 | 52 | 0.001433 | 0.00035914 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-58_0_4_load_28 | 53 | 0.0016403 | 0.00041109 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-58_0_4_load_34 | 54 | 0.0025846 | 0.00064775 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-58_0_4_load_32 | 55 | 0.0011312 | 0.00028351 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-58_0_4_load_33 | 56 | 0.0011314 | 0.00028356 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-58_0_4_load_35 | 57 | 0.0020015 | 0.00050162 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-58_0_4_load_38 | 58 | 0.0017718 | 0.00044406 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-58_0_4_load_52 | 59 | 0.023035 | 0.0057732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-58_0_4_load_46 | 60 | 0.0011892 | 0.00029804 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-58_0_4_load_44 | 61 | 0.0011892 | 0.00029804 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-58_0_4_line_0 |  | 0 | 1 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-58_0_4_line_1 |  | 0 | 2 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-58_0_4_line_2 |  | 1 | 3 | 0.006403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-58_0_4_line_3 |  | 2 | 4 | 0.007494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_198-58_0_4_line_4 |  | 2 | 5 | 0.040213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_198-58_0_4_line_5 |  | 3 | 6 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-58_0_4_line_6 |  | 4 | 9 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_198-58_0_4_line_7 |  | 5 | 10 | 0.006417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_198-58_0_4_line_8 |  | 6 | 11 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-58_0_4_line_9 |  | 6 | 12 | 0.020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-58_0_4_line_10 |  | 7 | 8 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-58_0_4_line_11 |  | 8 | 15 | 0.024442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_198-58_0_4_line_12 |  | 9 | 16 | 0.019329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_198-58_0_4_line_13 |  | 10 | 17 | 0.024477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_198-58_0_4_line_14 |  | 12 | 34 | 0.018233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-58_0_4_line_15 |  | 13 | 14 | 0.022295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-58_0_4_line_16 |  | 14 | 25 | 0.037065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-58_0_4_line_17 |  | 15 | 17 | 0.028829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_198-58_0_4_line_18 |  | 16 | 18 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_198-58_0_4_line_19 |  | 18 | 19 | 0.02621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_198-58_0_4_line_20 |  | 18 | 20 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-58_0_4_line_21 |  | 19 | 33 | 0.0041793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_198-58_0_4_line_22 |  | 21 | 22 | 0.036391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-58_0_4_line_23 |  | 21 | 23 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-58_0_4_line_24 |  | 22 | 28 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-58_0_4_line_25 |  | 23 | 24 | 0.018462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-58_0_4_line_26 |  | 23 | 25 | 0.057513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_198-58_0_4_line_27 |  | 23 | 26 | 0.027454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_198-58_0_4_line_28 |  | 26 | 27 | 0.011139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_198-58_0_4_line_29 |  | 27 | 31 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_198-58_0_4_line_30 |  | 27 | 32 | 0.00867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-58_0_4_line_31 |  | 28 | 29 | 0.03624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-58_0_4_line_32 |  | 29 | 30 | 0.035828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-58_0_4_line_33 |  | 31 | 60 | 0.030654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_198-58_0_4_line_34 |  | 32 | 51 | 0.01225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-58_0_4_line_35 |  | 32 | 46 | 0.048905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-58_0_4_line_36 |  | 33 | 61 | 0.025886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_198-58_0_4_line_37 |  | 34 | 35 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-58_0_4_line_38 |  | 35 | 36 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-58_0_4_line_39 |  | 35 | 37 | 0.010963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-58_0_4_line_40 |  | 36 | 38 | 0.00025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-58_0_4_line_41 |  | 37 | 39 | 0.0039181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-58_0_4_line_42 |  | 39 | 40 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-58_0_4_line_43 |  | 40 | 41 | 0.032779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-58_0_4_line_44 |  | 41 | 42 | 0.016052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-58_0_4_line_45 |  | 43 | 44 | 0.032752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-58_0_4_line_46 |  | 44 | 45 | 0.021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-58_0_4_line_47 |  | 44 | 46 | 0.013476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-58_0_4_line_48 |  | 44 | 47 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-58_0_4_line_49 |  | 45 | 48 | 0.0090831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-58_0_4_line_50 |  | 47 | 49 | 0.00038285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-58_0_4_line_51 |  | 48 | 50 | 0.013829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-58_0_4_line_52 |  | 49 | 52 | 0.014771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-58_0_4_line_53 |  | 50 | 58 | 0.0039698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-58_0_4_line_54 |  | 51 | 59 | 0.033801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_198-58_0_4_line_55 |  | 52 | 53 | 0.0032386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-58_0_4_line_56 |  | 54 | 55 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-58_0_4_line_57 |  | 55 | 56 | 0.0078754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-58_0_4_line_58 |  | 56 | 57 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_198-58_0_4_line_59 |  | 57 | 58 | 0.0019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_198-58_0_4_line_60 |  | 60 | 61 | 0.0096478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-58_0_4_trafo_66 | 0.63 MVA 20/0.4 kV | 62 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2696636.181 | 1245373.8942 | 2696638.2195 | 1245383.8025
1 | 2696640.7673 | 1245396.1859 | 2696638.2195 | 1245383.8025
2 | 2696634.8852 | 1245367.6238 | 2696636.181 | 1245373.8942
3 | 2696640.7673 | 1245396.1859 | 2696642.2801 | 1245403.5256
4 | 2696640.7673 | 1245396.1859 | 2696672.162 | 1245385.7339 | 2696675.3648 | 1245392.0978
5 | 2696634.8852 | 1245367.6238 | 2696629.2743 | 1245368.3219 | 2696625.7048 | 1245369.4201 | 2696622.3347 | 1245371.7225 | 2696616.3752 | 1245376.6515
6 | 2696642.2801 | 1245403.5256 | 2696647.7525 | 1245430.0749
7 | 2696678.2495 | 1245397.8298 | 2696675.3648 | 1245392.0978
8 | 2696616.3752 | 1245376.6515 | 2696604.9042 | 1245363.1594
9 | 2696616.3752 | 1245376.6515 | 2696600.3004 | 1245389.215
10 | 2696677.6404 | 1245369.9624 | 2696685.9057 | 1245369.1786 | 2696696.7558 | 1245382.7854
11 | 2696711.9943 | 1245401.8955 | 2696696.7558 | 1245382.7854
12 | 2696651.8084 | 1245448.9728 | 2696649.0025 | 1245436.1395 | 2696647.7525 | 1245430.0749
13 | 2696689.253 | 1245419.694 | 2696678.2495 | 1245397.8298
14 | 2696585.9343 | 1245400.443 | 2696600.3004 | 1245389.215
15 | 2696688.2317 | 1245295.6047 | 2696671.547 | 1245310.3934
16 | 2696688.2317 | 1245295.6047 | 2696691.2608 | 1245303.0931 | 2696708.9671 | 1245326.0436
17 | 2696689.253 | 1245419.694 | 2696706.4905 | 1245406.2202 | 2696711.9943 | 1245401.8955
18 | 2696651.8084 | 1245448.9728 | 2696653.2081 | 1245455.3561 | 2696655.0128 | 1245460.5339
19 | 2696655.0128 | 1245460.5339 | 2696665.9426 | 1245451.5496 | 2696670.1988 | 1245456.5338 | 2696673.7805 | 1245460.7176
20 | 2696655.0128 | 1245460.5339 | 2696641.957 | 1245471.2637
21 | 2696673.7805 | 1245460.7176 | 2696677.0029 | 1245458.0564
22 | 2696751.1921 | 1245370.3439 | 2696779.2999 | 1245347.2304
23 | 2696751.1921 | 1245370.3439 | 2696743.8544 | 1245375.9063 | 2696741.8691 | 1245373.4609 | 2696744.474 | 1245371.2795
24 | 2696795.9548 | 1245333.5349 | 2696779.2999 | 1245347.2304
25 | 2696744.474 | 1245371.2795 | 2696758.6082 | 1245359.4027
26 | 2696744.474 | 1245371.2795 | 2696743.5552 | 1245370.1637 | 2696722.6254 | 1245344.0802 | 2696713.1288 | 1245331.4379 | 2696708.9671 | 1245326.0436
27 | 2696744.474 | 1245371.2795 | 2696741.8691 | 1245373.4609 | 2696743.8544 | 1245375.9063 | 2696749.8173 | 1245383.2758 | 2696752.632 | 1245386.7577 | 2696757.0099 | 1245392.1555
28 | 2696748.3417 | 1245399.1417 | 2696752.94 | 1245395.2025 | 2696757.0099 | 1245392.1555
29 | 2696748.3417 | 1245399.1417 | 2696728.0371 | 1245415.9101
30 | 2696753.6324 | 1245406.0221 | 2696748.3417 | 1245399.1417
31 | 2696795.9548 | 1245333.5349 | 2696800.703 | 1245329.676 | 2696809.2681 | 1245340.1238 | 2696816.6374 | 1245334.0172 | 2696821.2202 | 1245339.3627
32 | 2696821.2202 | 1245339.3627 | 2696793.5419 | 1245362.1133
33 | 2696728.0371 | 1245415.9101 | 2696704.4012 | 1245435.4297
34 | 2696753.6324 | 1245406.0221 | 2696758.0852 | 1245407.2957 | 2696763.196 | 1245412.9457
35 | 2696753.6324 | 1245406.0221 | 2696753.731 | 1245415.2641 | 2696762.5946 | 1245426.395 | 2696769.7454 | 1245427.19 | 2696781.4459 | 1245441.1808
36 | 2696677.0029 | 1245458.0564 | 2696696.9622 | 1245441.5731
37 | 2696577.2546 | 1245407.2267 | 2696585.9343 | 1245400.443
38 | 2696577.2546 | 1245407.2267 | 2696573.8045 | 1245403.312 | 2696569.2032 | 1245397.6995 | 2696567.102 | 1245395.1305
39 | 2696577.2546 | 1245407.2267 | 2696568.8811 | 1245414.3028
40 | 2696566.9417 | 1245394.9345 | 2696567.102 | 1245395.1305
41 | 2696568.8811 | 1245414.3028 | 2696565.8885 | 1245416.8318
42 | 2696565.8885 | 1245416.8318 | 2696557.0691 | 1245424.2847
43 | 2696532.0327 | 1245445.4421 | 2696557.0691 | 1245424.2847
44 | 2696532.0327 | 1245445.4421 | 2696521.6914 | 1245433.1657
45 | 2696790.0912 | 1245451.5183 | 2696815.4013 | 1245430.7317
46 | 2696790.0912 | 1245451.5183 | 2696771.309 | 1245461.8701
47 | 2696790.0912 | 1245451.5183 | 2696781.4459 | 1245441.1808
48 | 2696790.0912 | 1245451.5183 | 2696799.2497 | 1245463.3617
49 | 2696763.3541 | 1245466.2544 | 2696771.309 | 1245461.8701
50 | 2696799.2497 | 1245463.3617 | 2696799.4839 | 1245463.6645
51 | 2696763.3541 | 1245466.2544 | 2696751.2426 | 1245472.9296
52 | 2696808.52 | 1245475.3495 | 2696799.4839 | 1245463.6645
53 | 2696747.7659 | 1245474.8458 | 2696751.2426 | 1245472.9296
54 | 2696787.9946 | 1245408.6847 | 2696771.602 | 1245422.2387 | 2696763.196 | 1245412.9457
55 | 2696808.52 | 1245475.3495 | 2696810.5011 | 1245477.9115
56 | 2696707.549 | 1245497.0112 | 2696725.0705 | 1245487.3543
57 | 2696731.9676 | 1245483.5529 | 2696725.0705 | 1245487.3543
58 | 2696746.0356 | 1245475.7994 | 2696731.9676 | 1245483.5529
59 | 2696747.7659 | 1245474.8458 | 2696746.0356 | 1245475.7994
60 | 2696696.9622 | 1245441.5731 | 2696704.4012 | 1245435.4297

## bus_geodata
| x | y | coords
0 | 2696638.2195 | 1245383.8025
1 | 2696636.181 | 1245373.8942
2 | 2696640.7673 | 1245396.1859
3 | 2696634.8853 | 1245367.6238
4 | 2696642.2801 | 1245403.5256
5 | 2696675.3648 | 1245392.0978
6 | 2696616.3752 | 1245376.6515
7 | 2696677.6404 | 1245369.9624
8 | 2696696.7558 | 1245382.7854
9 | 2696647.7525 | 1245430.0749
10 | 2696678.2495 | 1245397.8298
11 | 2696604.9042 | 1245363.1594
12 | 2696600.3003 | 1245389.215
13 | 2696671.547 | 1245310.3934
14 | 2696688.2317 | 1245295.6047
15 | 2696711.9943 | 1245401.8955
16 | 2696651.8084 | 1245448.9728
17 | 2696689.253 | 1245419.694
18 | 2696655.0128 | 1245460.5339
19 | 2696673.7805 | 1245460.7176
20 | 2696641.957 | 1245471.2637
21 | 2696751.1921 | 1245370.3439
22 | 2696779.2999 | 1245347.2304
23 | 2696744.474 | 1245371.2795
24 | 2696758.6082 | 1245359.4027
25 | 2696708.9671 | 1245326.0436
26 | 2696757.0099 | 1245392.1555
27 | 2696748.3417 | 1245399.1417
28 | 2696795.9548 | 1245333.5349
29 | 2696821.2202 | 1245339.3627
30 | 2696793.5419 | 1245362.1133
31 | 2696728.0371 | 1245415.9101
32 | 2696753.6324 | 1245406.0221
33 | 2696677.0029 | 1245458.0564
34 | 2696585.9343 | 1245400.443
35 | 2696577.2546 | 1245407.2267
36 | 2696567.102 | 1245395.1305
37 | 2696568.8811 | 1245414.3028
38 | 2696566.9417 | 1245394.9345
39 | 2696565.8885 | 1245416.8318
40 | 2696557.0691 | 1245424.2847
41 | 2696532.0327 | 1245445.4421
42 | 2696521.6914 | 1245433.1657
43 | 2696815.4013 | 1245430.7317
44 | 2696790.0912 | 1245451.5183
45 | 2696771.309 | 1245461.8701
46 | 2696781.4459 | 1245441.1808
47 | 2696799.2497 | 1245463.3617
48 | 2696763.3541 | 1245466.2544
49 | 2696799.4839 | 1245463.6645
50 | 2696751.2426 | 1245472.9296
51 | 2696763.196 | 1245412.9457
52 | 2696808.52 | 1245475.3495
53 | 2696810.5011 | 1245477.9115
54 | 2696707.549 | 1245497.0112
55 | 2696725.0705 | 1245487.3543
56 | 2696731.9676 | 1245483.5529
57 | 2696746.0356 | 1245475.7994
58 | 2696747.7659 | 1245474.8458
59 | 2696787.9946 | 1245408.6847
60 | 2696704.4012 | 1245435.4297
61 | 2696696.9622 | 1245441.5731
62 | 2696711.9943 | 1245401.8955

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98655 | -0.25597 | 0.0047262 | 0.0011845
1 | 0.9861 | -0.26481 | 0 | 0
2 | 0.98717 | -0.24385 | 0 | 0
3 | 0.98581 | -0.27042 | 0 | 0
4 | 0.98663 | -0.25435 | 0.0054505 | 0.001366
5 | 0.99077 | -0.17496 | 0.048272 | 0.012098
6 | 0.98485 | -0.28896 | 0 | 0
7 | 0.99863 | -0.02625 | 0.058509 | 0.014664
8 | 1 | 0 | -0.42325 | -0.10844
9 | 0.9847 | -0.29154 | 0.010064 | 0.0025223
10 | 0.99144 | -0.16218 | 0.019276 | 0.0048309
11 | 0.98477 | -0.2907 | 0.0054665 | 0.00137
12 | 0.98404 | -0.30486 | 0.0046927 | 0.0011761
13 | 0.97048 | -0.56935 | 0.020513 | 0.0051411
14 | 0.97091 | -0.56089 | 0 | 0
15 | 0.99731 | -0.050685 | 0 | 0
16 | 0.98338 | -0.31698 | 0 | 0
17 | 0.99413 | -0.11082 | 0 | 0
18 | 0.98256 | -0.33283 | 0 | 0
19 | 0.98085 | -0.36603 | 0 | 0
20 | 0.98241 | -0.33565 | 0.0092576 | 0.0023202
21 | 0.97281 | -0.52346 | 0 | 0
22 | 0.9714 | -0.55117 | 0.029184 | 0.0073141
23 | 0.97341 | -0.51148 | 0 | 0
24 | 0.97292 | -0.52123 | 0.028675 | 0.0071866
25 | 0.97162 | -0.54684 | 0.046196 | 0.011578
26 | 0.97458 | -0.4885 | 0 | 0
27 | 0.97505 | -0.4792 | 0 | 0
28 | 0.97116 | -0.55599 | 0 | 0
29 | 0.97075 | -0.5641 | 0 | 0
30 | 0.97034 | -0.57212 | 0.012099 | 0.0030323
31 | 0.97658 | -0.4492 | 0.0060934 | 0.0015271
32 | 0.97465 | -0.48715 | 0 | 0
33 | 0.98057 | -0.37133 | 0.0149 | 0.0037343
34 | 0.98339 | -0.31755 | 0.0061746 | 0.0015475
35 | 0.98306 | -0.324 | 0 | 0
36 | 0.9829 | -0.32711 | 0.0054621 | 0.0013689
37 | 0.98284 | -0.32826 | 0.0049674 | 0.001245
38 | 0.9829 | -0.32714 | 0.0054657 | 0.0013698
39 | 0.98278 | -0.32943 | 0.0045793 | 0.0011477
40 | 0.98265 | -0.33193 | 0.0059971 | 0.001503
41 | 0.98247 | -0.33549 | 0 | 0
42 | 0.98238 | -0.33723 | 0.0059997 | 0.0015037
43 | 0.97329 | -0.51392 | 0.0013941 | 0.00034938
44 | 0.97334 | -0.51308 | 0 | 0
45 | 0.97306 | -0.51845 | 0.0014006 | 0.00035103
46 | 0.9736 | -0.50788 | 0.0020967 | 0.00052548
47 | 0.97325 | -0.51472 | 0.0015244 | 0.00038206
48 | 0.97296 | -0.52049 | 0.0014542 | 0.00036446
49 | 0.97325 | -0.51475 | 0.0013595 | 0.00034072
50 | 0.97282 | -0.52324 | 0.0021429 | 0.00053707
51 | 0.97434 | -0.49321 | 0.0039197 | 0.00098238
52 | 0.97321 | -0.51558 | 0.001433 | 0.00035914
53 | 0.9732 | -0.51568 | 0.0016403 | 0.00041109
54 | 0.97263 | -0.52704 | 0.0025846 | 0.00064775
55 | 0.97268 | -0.52609 | 0.0011312 | 0.00028351
56 | 0.9727 | -0.52555 | 0.0011314 | 0.00028356
57 | 0.97278 | -0.52412 | 0.0020015 | 0.00050162
58 | 0.97279 | -0.52387 | 0.0017718 | 0.00044406
59 | 0.97362 | -0.50752 | 0.023035 | 0.0057732
60 | 0.97842 | -0.41326 | 0.0011892 | 0.00029804
61 | 0.979 | -0.40191 | 0.0011892 | 0.00029804
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.048959 | 0.012328 | -0.048938 | -0.012314 | 2.0697e-05 | 1.3117e-05 | 0.073865 | 0.073865 | 0.073865 | 0.98655 | -0.25597 | 0.9861 | -0.26481 | 20.2926
1 | -0.053685 | -0.013512 | 0.053716 | 0.013532 | 3.1101e-05 | 1.9743e-05 | 0.080994 | 0.080994 | 0.080994 | 0.98655 | -0.25597 | 0.98717 | -0.24385 | 22.251
2 | 0.048938 | 0.012314 | -0.048925 | -0.012306 | 1.3101e-05 | 8.3028e-06 | 0.073865 | 0.073865 | 0.073865 | 0.9861 | -0.26481 | 0.98581 | -0.27042 | 20.2926
3 | 0.23773 | 0.060691 | -0.23761 | -0.060615 | 0.00012055 | 7.6866e-05 | 0.35874 | 0.35874 | 0.35874 | 0.98717 | -0.24385 | 0.98663 | -0.25435 | 32.8514
4 | -0.29144 | -0.074223 | 0.29242 | 0.074844 | 0.00097197 | 0.00062051 | 0.43973 | 0.43973 | 0.43973 | 0.98717 | -0.24385 | 0.99077 | -0.17496 | 40.2684
5 | 0.048925 | 0.012306 | -0.048882 | -0.012279 | 4.329e-05 | 2.7436e-05 | 0.073865 | 0.073865 | 0.073865 | 0.98581 | -0.27042 | 0.98485 | -0.28896 | 20.2927
6 | 0.23216 | 0.059248 | -0.23174 | -0.058983 | 0.00041631 | 0.0002654 | 0.35052 | 0.35052 | 0.35052 | 0.98663 | -0.25435 | 0.9847 | -0.29154 | 32.0987
7 | -0.34069 | -0.086942 | 0.3409 | 0.087076 | 0.00021046 | 0.00013445 | 0.51223 | 0.51223 | 0.51223 | 0.99077 | -0.17496 | 0.99144 | -0.16218 | 46.9073
8 | 0.0054669 | 0.0013701 | -0.0054665 | -0.00137 | 4.531e-07 | 6.4654e-08 | 0.00826 | 0.00826 | 0.00826 | 0.98485 | -0.28896 | 0.98477 | -0.2907 | 2.2692
9 | 0.043415 | 0.010909 | -0.043382 | -0.010888 | 3.2929e-05 | 2.0815e-05 | 0.065605 | 0.065605 | 0.065605 | 0.98485 | -0.28896 | 0.98404 | -0.30486 | 18.0235
10 | -0.058509 | -0.014664 | 0.058582 | 0.01471 | 7.3266e-05 | 4.6553e-05 | 0.087181 | 0.087181 | 0.087181 | 0.99863 | -0.02625 | 1 | 0 | 23.9508
11 | 0.36302 | 0.093726 | -0.36213 | -0.093154 | 0.00089473 | 0.00057167 | 0.54116 | 0.54116 | 0.54116 | 1 | 0 | 0.99731 | -0.050685 | 49.5565
12 | 0.22168 | 0.056461 | -0.2214 | -0.056288 | 0.00027164 | 0.00017312 | 0.33531 | 0.33531 | 0.33531 | 0.9847 | -0.29154 | 0.98338 | -0.31698 | 30.706
13 | -0.36017 | -0.091907 | 0.36107 | 0.09248 | 0.00089601 | 0.0005725 | 0.54116 | 0.54116 | 0.54116 | 0.99144 | -0.16218 | 0.99413 | -0.11082 | 49.5566
14 | 0.038689 | 0.0097118 | -0.038666 | -0.009697 | 2.3407e-05 | 1.4749e-05 | 0.058509 | 0.05851 | 0.05851 | 0.98404 | -0.30486 | 0.98339 | -0.31755 | 16.074
15 | -0.020513 | -0.0051411 | 0.020522 | 0.0051461 | 8.2709e-06 | 5.0178e-06 | 0.031452 | 0.031452 | 0.031452 | 0.97048 | -0.56935 | 0.97091 | -0.56089 | 8.6408
16 | -0.020522 | -0.0051461 | 0.020535 | 0.0051545 | 1.375e-05 | 8.3411e-06 | 0.031452 | 0.031452 | 0.031452 | 0.97091 | -0.56089 | 0.97162 | -0.54684 | 8.6407
17 | 0.36213 | 0.093154 | -0.36107 | -0.09248 | 0.0010553 | 0.00067428 | 0.54116 | 0.54116 | 0.54116 | 0.99731 | -0.050685 | 0.99413 | -0.11082 | 49.5566
18 | 0.2214 | 0.056288 | -0.22124 | -0.05618 | 0.00016889 | 0.00010763 | 0.33531 | 0.33531 | 0.33531 | 0.98338 | -0.31698 | 0.98256 | -0.33283 | 30.706
19 | 0.21198 | 0.053859 | -0.21164 | -0.053644 | 0.0003382 | 0.00021545 | 0.32129 | 0.32129 | 0.32129 | 0.98256 | -0.33283 | 0.98085 | -0.36603 | 29.422
20 | 0.0092588 | 0.0023207 | -0.0092576 | -0.0023202 | 1.246e-06 | 5.8342e-07 | 0.014022 | 0.014022 | 0.014022 | 0.98256 | -0.33283 | 0.98241 | -0.33565 | 3.8522
21 | 0.21164 | 0.053644 | -0.21158 | -0.05361 | 5.3927e-05 | 3.4355e-05 | 0.32129 | 0.32129 | 0.32129 | 0.98085 | -0.36603 | 0.98057 | -0.37133 | 29.422
22 | 0.04135 | 0.010388 | -0.041295 | -0.010353 | 5.4607e-05 | 3.4497e-05 | 0.063258 | 0.063258 | 0.063258 | 0.97281 | -0.52346 | 0.9714 | -0.55117 | 17.3785
23 | -0.04135 | -0.010388 | 0.041373 | 0.010402 | 2.3642e-05 | 1.4935e-05 | 0.063258 | 0.063258 | 0.063258 | 0.97281 | -0.52346 | 0.97341 | -0.51148 | 17.3785
24 | 0.012111 | 0.0030389 | -0.012108 | -0.0030374 | 2.7835e-06 | 1.5145e-06 | 0.018553 | 0.018553 | 0.018553 | 0.9714 | -0.55117 | 0.97116 | -0.55599 | 5.0971
25 | 0.028688 | 0.0071949 | -0.028675 | -0.0071866 | 1.3316e-05 | 8.2927e-06 | 0.043856 | 0.043856 | 0.043856 | 0.97341 | -0.51148 | 0.97292 | -0.52123 | 12.0484
26 | 0.066844 | 0.016803 | -0.066731 | -0.016732 | 0.00011263 | 7.0658e-05 | 0.1022 | 0.1022 | 0.1022 | 0.97341 | -0.51148 | 0.97162 | -0.54684 | 14.0385
27 | -0.13691 | -0.0344 | 0.13706 | 0.034496 | 0.00015035 | 9.5202e-05 | 0.20931 | 0.20931 | 0.20931 | 0.97341 | -0.51148 | 0.97458 | -0.4885 | 19.1679
28 | -0.13706 | -0.034496 | 0.13712 | 0.034534 | 6.1003e-05 | 3.8625e-05 | 0.20931 | 0.20931 | 0.20931 | 0.97458 | -0.4885 | 0.97505 | -0.4792 | 19.1679
29 | -0.18722 | -0.047117 | 0.18748 | 0.047288 | 0.00026883 | 0.00017106 | 0.28578 | 0.28578 | 0.28578 | 0.97505 | -0.4792 | 0.97658 | -0.4492 | 26.1702
30 | 0.050099 | 0.012583 | -0.05008 | -0.012571 | 1.901e-05 | 1.2058e-05 | 0.076466 | 0.076466 | 0.076466 | 0.97505 | -0.4792 | 0.97465 | -0.48715 | 21.007
31 | 0.012108 | 0.0030374 | -0.012104 | -0.0030348 | 4.6782e-06 | 2.5458e-06 | 0.018553 | 0.018554 | 0.018554 | 0.97116 | -0.55599 | 0.97075 | -0.5641 | 5.0972
32 | 0.012104 | 0.0030348 | -0.012099 | -0.0030323 | 4.6251e-06 | 2.5173e-06 | 0.018554 | 0.018554 | 0.018554 | 0.97075 | -0.5641 | 0.97034 | -0.57212 | 5.0972
33 | -0.19358 | -0.048815 | 0.19391 | 0.049028 | 0.0003336 | 0.00021235 | 0.29506 | 0.29506 | 0.29506 | 0.97658 | -0.4492 | 0.97842 | -0.41326 | 27.0204
34 | 0.026978 | 0.00677 | -0.026971 | -0.0067652 | 7.7944e-06 | 4.8358e-06 | 0.041192 | 0.041192 | 0.041192 | 0.97465 | -0.48715 | 0.97434 | -0.49321 | 11.3164
35 | 0.023102 | 0.005801 | -0.023079 | -0.005787 | 2.2819e-05 | 1.3995e-05 | 0.035274 | 0.035274 | 0.035274 | 0.97465 | -0.48715 | 0.9736 | -0.50788 | 9.6907
36 | 0.19669 | 0.049875 | -0.1964 | -0.049691 | 0.00028865 | 0.00018376 | 0.29868 | 0.29868 | 0.29868 | 0.98057 | -0.37133 | 0.979 | -0.40191 | 27.3515
37 | 0.032491 | 0.0081495 | -0.032481 | -0.0081433 | 9.9862e-06 | 6.2515e-06 | 0.049166 | 0.049166 | 0.049166 | 0.98339 | -0.31755 | 0.98306 | -0.324 | 13.5073
38 | 0.010929 | 0.0027396 | -0.010928 | -0.0027388 | 1.621e-06 | 8.3725e-07 | 0.016544 | 0.016544 | 0.016544 | 0.98306 | -0.324 | 0.9829 | -0.32711 | 4.5449
39 | 0.021552 | 0.0054037 | -0.021547 | -0.005401 | 4.3753e-06 | 2.6612e-06 | 0.032623 | 0.032623 | 0.032623 | 0.98306 | -0.324 | 0.98284 | -0.32826 | 8.9624
40 | 0.0054657 | 0.0013698 | -0.0054657 | -0.0013698 | 6.5015e-09 | 9.5149e-10 | 0.0082746 | 0.0082746 | 0.0082746 | 0.9829 | -0.32711 | 0.9829 | -0.32714 | 2.2732
41 | 0.01658 | 0.004156 | -0.016579 | -0.0041555 | 9.2585e-07 | 5.4289e-07 | 0.025102 | 0.025102 | 0.025102 | 0.98284 | -0.32826 | 0.98278 | -0.32943 | 6.8963
42 | 0.012 | 0.0030078 | -0.011998 | -0.003007 | 1.4294e-06 | 7.6851e-07 | 0.018169 | 0.018169 | 0.018169 | 0.98278 | -0.32943 | 0.98265 | -0.33193 | 4.9915
43 | 0.0060012 | 0.001504 | -0.0060002 | -0.0015038 | 1.0151e-06 | 2.3452e-07 | 0.0090876 | 0.0090877 | 0.0090877 | 0.98265 | -0.33193 | 0.98247 | -0.33549 | 2.4966
44 | 0.0060002 | 0.0015038 | -0.0059997 | -0.0015037 | 4.9712e-07 | 1.1491e-07 | 0.0090877 | 0.0090878 | 0.0090878 | 0.98247 | -0.33549 | 0.98238 | -0.33723 | 2.4966
45 | -0.0013941 | -0.00034938 | 0.0013941 | 0.00034901 | 5.5786e-08 | -3.7135e-07 | 0.0021313 | 0.0021312 | 0.0021313 | 0.97329 | -0.51392 | 0.97334 | -0.51308 | 0.58552
46 | 0.013625 | 0.0034164 | -0.013622 | -0.0034144 | 3.4896e-06 | 1.9669e-06 | 0.020831 | 0.020831 | 0.020831 | 0.97334 | -0.51308 | 0.97306 | -0.51845 | 5.7227
47 | -0.020977 | -0.0052584 | 0.020982 | 0.0052615 | 5.1974e-06 | 3.1588e-06 | 0.03207 | 0.03207 | 0.03207 | 0.97334 | -0.51308 | 0.9736 | -0.50788 | 8.8104
48 | 0.0059578 | 0.001493 | -0.0059573 | -0.0014929 | 4.6575e-07 | 1.1202e-07 | 0.0091081 | 0.0091082 | 0.0091082 | 0.97334 | -0.51308 | 0.97325 | -0.51472 | 2.5022
49 | 0.012221 | 0.0030634 | -0.01222 | -0.0030627 | 1.1897e-06 | 6.4858e-07 | 0.018689 | 0.018689 | 0.018689 | 0.97306 | -0.51845 | 0.97296 | -0.52049 | 5.1343
50 | 0.0044329 | 0.0011108 | -0.0044329 | -0.0011108 | 6.5948e-09 | -5.372e-10 | 0.0067775 | 0.0067775 | 0.0067775 | 0.97325 | -0.51472 | 0.97325 | -0.51475 | 1.8619
51 | 0.010766 | 0.0026982 | -0.010764 | -0.0026975 | 1.4059e-06 | 7.2803e-07 | 0.016465 | 0.016465 | 0.016465 | 0.97296 | -0.52049 | 0.97282 | -0.52324 | 4.5233
52 | 0.0030734 | 0.0007701 | -0.0030733 | -0.0007702 | 1.2231e-07 | -1.0527e-07 | 0.0046989 | 0.004699 | 0.004699 | 0.97325 | -0.51475 | 0.97321 | -0.51558 | 1.2909
53 | 0.0086214 | 0.0021604 | -0.0086211 | -0.0021603 | 2.5888e-07 | 1.164e-07 | 0.013187 | 0.013187 | 0.013187 | 0.97282 | -0.52324 | 0.97279 | -0.52387 | 3.6228
54 | 0.023051 | 0.0057828 | -0.023035 | -0.0057732 | 1.571e-05 | 9.6339e-06 | 0.035205 | 0.035206 | 0.035206 | 0.97434 | -0.49321 | 0.97362 | -0.50752 | 9.6718
55 | 0.0016403 | 0.00041106 | -0.0016403 | -0.00041109 | 7.639e-09 | -3.5353e-08 | 0.002508 | 0.002508 | 0.002508 | 0.97321 | -0.51558 | 0.9732 | -0.51568 | 0.689
56 | -0.0025846 | -0.00064775 | 0.0025847 | 0.00064758 | 1.173e-07 | -1.7324e-07 | 0.0039541 | 0.003954 | 0.0039541 | 0.97263 | -0.52704 | 0.97268 | -0.52609 | 1.0863
57 | -0.0037159 | -0.00093109 | 0.003716 | 0.00093105 | 9.5432e-08 | -3.6677e-08 | 0.0056846 | 0.0056845 | 0.0056846 | 0.97268 | -0.52609 | 0.9727 | -0.52555 | 1.5617
58 | -0.0048474 | -0.0012146 | 0.0048478 | 0.0012146 | 3.3122e-07 | 1.2579e-08 | 0.0074154 | 0.0074153 | 0.0074154 | 0.9727 | -0.52555 | 0.97278 | -0.52412 | 2.0372
59 | -0.0068492 | -0.0017162 | 0.0068493 | 0.0017163 | 8.1325e-08 | 2.7519e-08 | 0.010477 | 0.010477 | 0.010477 | 0.97278 | -0.52412 | 0.97279 | -0.52387 | 2.8783
60 | -0.1951 | -0.049326 | 0.19521 | 0.049393 | 0.00010628 | 6.7659e-05 | 0.29687 | 0.29687 | 0.29687 | 0.97842 | -0.41326 | 0.979 | -0.40191 | 27.186

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4601 | 0.11767

## res_load
| p_mw | q_mvar
0 | 0.0047262 | 0.0011845
1 | 0.0054505 | 0.001366
2 | 0.048272 | 0.012098
3 | 0.058509 | 0.014664
4 | 0.036852 | 0.0092359
5 | 0.010064 | 0.0025223
6 | 0.019276 | 0.0048309
7 | 0.0054665 | 0.00137
8 | 0.0046927 | 0.0011761
9 | 0.020513 | 0.0051411
10 | 0.0092576 | 0.0023202
11 | 0.029184 | 0.0073141
12 | 0.028675 | 0.0071866
13 | 0.046196 | 0.011578
14 | 0.012099 | 0.0030323
15 | 0.0060934 | 0.0015271
16 | 0.0149 | 0.0037343
17 | 0.0061746 | 0.0015475
18 | 0.0054621 | 0.0013689
19 | 0.0049674 | 0.001245
20 | 0.0054657 | 0.0013698
21 | 0.0045793 | 0.0011477
22 | 0.0059971 | 0.001503
23 | 0.0059997 | 0.0015037
24 | 0.0013941 | 0.00034938
25 | 0.0014006 | 0.00035103
26 | 0.0020967 | 0.00052548
27 | 0.0015244 | 0.00038206
28 | 0.0014542 | 0.00036446
29 | 0.0013595 | 0.00034072
30 | 0.0021429 | 0.00053707
31 | 0.0039197 | 0.00098238
32 | 0.001433 | 0.00035914
33 | 0.0016403 | 0.00041109
34 | 0.0025846 | 0.00064775
35 | 0.0011312 | 0.00028351
36 | 0.0011314 | 0.00028356
37 | 0.0020015 | 0.00050162
38 | 0.0017718 | 0.00044406
39 | 0.023035 | 0.0057732
40 | 0.0011892 | 0.00029804
41 | 0.0011892 | 0.00029804

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1