## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-60_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-60_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-60_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-60_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_198-60_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_198-60_0_5_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_198-60_0_5_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_198-60_0_5_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_198-60_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_198-60_0_5_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_198-60_0_5_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_198-60_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_198-60_0_5_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_198-60_0_5_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_198-60_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_198-60_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_198-60_0_5_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_198-60_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_198-60_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_198-60_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_198-60_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_198-60_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_198-60_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_198-60_0_5_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_198-60_0_5_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_198-60_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_198-60_0_5_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_198-60_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_198-60_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_198-60_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_198-60_0_5_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_198-60_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_198-60_0_5_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_198-60_0_5_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_198-60_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_198-60_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_198-60_0_5_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_198-60_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_198-60_0_5_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_198-60_0_5_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_198-60_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_198-60_0_5_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_198-60_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_198-60_0_5_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_198-60_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_198-60_0_5_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_198-60_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_198-60_0_5_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_198-60_0_5_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_198-60_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_198-60_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_198-60_0_5_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_198-60_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_198-60_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_198-60_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_198-60_0_5_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_198-60_0_5_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_198-60_0_5_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_198-60_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_198-60_0_5_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_198-60_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_198-60_0_5_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_198-60_0_5_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_198-60_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_198-60_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_198-60_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_198-60_0_5_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_198-60_0_5_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_198-60_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_198-60_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_198-60_0_5_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_198-60_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_198-60_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_198-60_0_5_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_198-60_0_5_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_198-60_0_5_node_74 | 0.4 | n |  | TRUE
76 | bus_MV_501_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-60_0_5_load_0 | 0 | 0.019917 | 0.0049917 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-60_0_5_load_1 | 1 | 0.050005 | 0.012533 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-60_0_5_load_41 | 5 | 0.019729 | 0.0049444 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-60_0_5_load_85 | 7 | 0.0037883 | 0.00094943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-60_0_5_load_52 | 9 | 0.014262 | 0.0035743 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-60_0_5_load_51 | 10 | 0.0043217 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-60_0_5_load_58 | 16 | 0.019542 | 0.0048977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-60_0_5_load_62 | 18 | 0.0073032 | 0.0018304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-60_0_5_load_34 | 20 | 0.024438 | 0.0061247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-60_0_5_load_40 | 21 | 0.022853 | 0.0057276 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-60_0_5_load_56 | 23 | 0.053482 | 0.013404 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-60_0_5_load_44 | 24 | 0.036713 | 0.0092013 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-60_0_5_load_84 | 26 | 0.028488 | 0.0071399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-60_0_5_load_39 | 27 | 0.041182 | 0.010321 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-60_0_5_load_37 | 30 | 0.011255 | 0.0028207 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-60_0_5_load_81 | 33 | 0.010358 | 0.0025959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-60_0_5_load_78 | 36 | 0.0018062 | 0.00045269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-60_0_5_load_72 | 39 | 0.0092781 | 0.0023253 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-60_0_5_load_54 | 41 | 0.0061948 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-60_0_5_load_50 | 43 | 0.0084256 | 0.0021117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-60_0_5_load_46 | 44 | 0.0076335 | 0.0019131 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-60_0_5_load_80 | 45 | 0.0025881 | 0.00064864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-60_0_5_load_61 | 47 | 0.014068 | 0.0035259 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-60_0_5_load_69 | 48 | 0.011935 | 0.0029912 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-60_0_5_load_59 | 51 | 0.015424 | 0.0038657 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-60_0_5_load_42 | 52 | 0.0095923 | 0.0024041 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-60_0_5_load_43 | 53 | 0.034999 | 0.0087715 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-60_0_5_load_53 | 54 | 0.0062906 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-60_0_5_load_82 | 55 | 0.0025304 | 0.00063418 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-60_0_5_load_76 | 56 | 0.0025936 | 0.00065002 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-60_0_5_load_75 | 57 | 0.0034345 | 0.00086076 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-60_0_5_load_49 | 58 | 0.0075326 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-60_0_5_load_63 | 59 | 0.004267 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-60_0_5_load_33 | 60 | 0.017476 | 0.00438 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-60_0_5_load_36 | 62 | 0.008387 | 0.002102 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-60_0_5_load_71 | 63 | 0.014969 | 0.0037515 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-60_0_5_load_48 | 64 | 0.0073265 | 0.0018362 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-60_0_5_load_47 | 65 | 0.0033641 | 0.00084311 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-60_0_5_load_73 | 67 | 0.0015043 | 0.00037701 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-60_0_5_load_45 | 68 | 0.0051871 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-60_0_5_load_68 | 69 | 0.0027874 | 0.00069858 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-60_0_5_load_79 | 70 | 0.0035903 | 0.00089982 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_198-60_0_5_load_66 | 71 | 0.0049248 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_198-60_0_5_load_65 | 72 | 0.0035548 | 0.00089092 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_198-60_0_5_load_83 | 73 | 0.0048942 | 0.0012266 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_198-60_0_5_load_67 | 74 | 0.0041089 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_198-60_0_5_load_74 | 75 | 0.0015622 | 0.00039152 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-60_0_5_line_0 |  | 0 | 1 | 0.031971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-60_0_5_line_1 |  | 0 | 2 | 0.005865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_198-60_0_5_line_2 |  | 2 | 3 | 0.007362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_198-60_0_5_line_3 |  | 2 | 4 | 0.24127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_198-60_0_5_line_4 |  | 3 | 5 | 0.03333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_198-60_0_5_line_5 |  | 4 | 6 | 0.040589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_198-60_0_5_line_6 |  | 4 | 7 | 0.022372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_198-60_0_5_line_7 |  | 5 | 21 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_198-60_0_5_line_8 |  | 6 | 51 | 0.02726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-60_0_5_line_9 |  | 6 | 17 | 0.046923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_198-60_0_5_line_10 |  | 8 | 9 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-60_0_5_line_11 |  | 8 | 10 | 0.031083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-60_0_5_line_12 |  | 9 | 14 | 0.015753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-60_0_5_line_13 |  | 10 | 50 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-60_0_5_line_14 |  | 11 | 12 | 0.006576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_198-60_0_5_line_15 |  | 11 | 13 | 0.006504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_198-60_0_5_line_16 |  | 12 | 54 | 0.029772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_198-60_0_5_line_17 |  | 12 | 15 | 0.017916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-60_0_5_line_18 |  | 13 | 55 | 0.012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-60_0_5_line_19 |  | 13 | 17 | 0.002691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_198-60_0_5_line_20 |  | 14 | 15 | 0.009401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-60_0_5_line_21 |  | 15 | 16 | 0.028402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-60_0_5_line_22 |  | 16 | 58 | 0.00085898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-60_0_5_line_23 |  | 17 | 18 | 0.062452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-60_0_5_line_24 |  | 18 | 59 | 0.024344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-60_0_5_line_25 |  | 19 | 20 | 0.030873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_198-60_0_5_line_26 |  | 19 | 21 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_198-60_0_5_line_27 |  | 20 | 60 | 0.013703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_198-60_0_5_line_28 |  | 22 | 23 | 0.014367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-60_0_5_line_29 |  | 22 | 24 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-60_0_5_line_30 |  | 23 | 25 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-60_0_5_line_31 |  | 24 | 53 | 0.028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-60_0_5_line_32 |  | 25 | 26 | 0.034842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-60_0_5_line_33 |  | 25 | 27 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_198-60_0_5_line_34 |  | 27 | 29 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_198-60_0_5_line_35 |  | 28 | 29 | 0.014374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-60_0_5_line_36 |  | 28 | 30 | 0.038565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-60_0_5_line_37 |  | 29 | 62 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_198-60_0_5_line_38 |  | 31 | 32 | 0.029495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_198-60_0_5_line_39 |  | 31 | 33 | 0.025412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_198-60_0_5_line_40 |  | 32 | 63 | 0.028336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-60_0_5_line_41 |  | 32 | 48 | 0.030123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-60_0_5_line_42 |  | 33 | 35 | 0.024919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_198-60_0_5_line_43 |  | 34 | 35 | 0.004809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_198-60_0_5_line_44 |  | 34 | 36 | 0.012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_198-60_0_5_line_45 |  | 35 | 45 | 0.0096376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-60_0_5_line_46 |  | 36 | 66 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_198-60_0_5_line_47 |  | 37 | 38 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_198-60_0_5_line_48 |  | 37 | 39 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_198-60_0_5_line_49 |  | 38 | 57 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-60_0_5_line_50 |  | 38 | 40 | 0.005363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_198-60_0_5_line_51 |  | 39 | 67 | 0.048881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_198-60_0_5_line_52 |  | 40 | 41 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_198-60_0_5_line_53 |  | 41 | 54 | 0.030672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_198-60_0_5_line_54 |  | 42 | 43 | 0.024659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_198-60_0_5_line_55 |  | 42 | 44 | 0.00985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-60_0_5_line_56 |  | 43 | 49 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-60_0_5_line_57 |  | 44 | 68 | 0.027543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_198-60_0_5_line_58 |  | 45 | 69 | 0.024549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_198-60_0_5_line_59 |  | 46 | 47 | 0.033274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_198-60_0_5_line_60 |  | 46 | 48 | 0.0055546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_198-60_0_5_line_61 |  | 49 | 50 | 0.011994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_198-60_0_5_line_62 |  | 52 | 53 | 0.03493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_198-60_0_5_line_63 |  | 55 | 73 | 0.010463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_198-60_0_5_line_64 |  | 56 | 57 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_198-60_0_5_line_65 |  | 60 | 61 | 0.0050539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_198-60_0_5_line_66 |  | 61 | 62 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_198-60_0_5_line_67 |  | 64 | 65 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_198-60_0_5_line_68 |  | 65 | 68 | 0.0019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_198-60_0_5_line_69 |  | 66 | 70 | 0.025465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_198-60_0_5_line_70 |  | 66 | 75 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_198-60_0_5_line_71 |  | 67 | 75 | 0.01815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_198-60_0_5_line_72 |  | 69 | 74 | 0.0021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_198-60_0_5_line_73 |  | 71 | 72 | 0.01104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_198-60_0_5_line_74 |  | 72 | 74 | 0.043375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-60_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 76 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2696532.5514 | 1245153.2519 | 2696529.961 | 1245154.5528 | 2696503.9886 | 1245167.6162
1 | 2696537.7936 | 1245150.6217 | 2696532.8563 | 1245153.0988 | 2696532.5514 | 1245153.2519
2 | 2696537.7936 | 1245150.6217 | 2696544.3845 | 1245147.3042
3 | 2696447.4399 | 1244964.0208 | 2696449.5901 | 1244970.2827 | 2696454.3101 | 1244978.8438 | 2696448.7308 | 1244991.9742 | 2696449.7912 | 1245000.6536 | 2696472.2557 | 1245061.6766 | 2696480.1728 | 1245059.5259 | 2696483.8956 | 1245064.3457 | 2696486.9233 | 1245073.3351 | 2696489.7482 | 1245080.3864 | 2696511.1924 | 1245073.5967 | 2696514.7675 | 1245075.423 | 2696533.2061 | 1245129.7644 | 2696537.3015 | 1245141.3955 | 2696537.7936 | 1245150.6217
4 | 2696544.3845 | 1245147.3042 | 2696555.1659 | 1245166.9391 | 2696553.2786 | 1245170.5333 | 2696556.7832 | 1245176.4423
5 | 2696447.4399 | 1244964.0208 | 2696448.0315 | 1244950.42 | 2696447.8201 | 1244942.9776 | 2696447.0047 | 1244938.283 | 2696443.9853 | 1244927.8481 | 2696442.8444 | 1244924.1156
6 | 2696447.4399 | 1244964.0208 | 2696469.1467 | 1244958.6071
7 | 2696565.9086 | 1245191.828 | 2696556.7832 | 1245176.4423
8 | 2696442.8444 | 1244924.1156 | 2696433.9772 | 1244925.6616 | 2696415.7436 | 1244924.698
9 | 2696442.8444 | 1244924.1156 | 2696443.9539 | 1244913.9815 | 2696460.1977 | 1244896.1431 | 2696462.6499 | 1244889.8782 | 2696464.7945 | 1244884.4089
10 | 2696516.8519 | 1244939.0417 | 2696514.1738 | 1244936.4294 | 2696507.2738 | 1244929.0115 | 2696501.1717 | 1244920.8616 | 2696499.4224 | 1244918.6144
11 | 2696516.8519 | 1244939.0417 | 2696545.7125 | 1244927.4992
12 | 2696489.7421 | 1244906.1867 | 2696491.2301 | 1244908.0902 | 2696499.4224 | 1244918.6144
13 | 2696564.9043 | 1244910.5463 | 2696562.7026 | 1244916.2704 | 2696551.288 | 1244925.2693 | 2696545.7125 | 1244927.4992
14 | 2696480.1434 | 1244880.7001 | 2696473.775 | 1244882.4089
15 | 2696467.4749 | 1244884.0967 | 2696469.2131 | 1244883.6357 | 2696473.775 | 1244882.4089
16 | 2696480.1434 | 1244880.7001 | 2696472.1878 | 1244852.0106
17 | 2696485.5259 | 1244897.7784 | 2696482.706 | 1244889.9488 | 2696480.1434 | 1244880.7001
18 | 2696467.4749 | 1244884.0967 | 2696465.0551 | 1244872.2577
19 | 2696467.4749 | 1244884.0967 | 2696464.7945 | 1244884.4089
20 | 2696485.5259 | 1244897.7784 | 2696489.7421 | 1244906.1867
21 | 2696485.5259 | 1244897.7784 | 2696501.196 | 1244891.0504 | 2696511.2099 | 1244885.7104
22 | 2696511.2099 | 1244885.7104 | 2696511.9678 | 1244885.3063
23 | 2696464.7945 | 1244884.4089 | 2696433.3126 | 1244861.057 | 2696419.3065 | 1244851.9002 | 2696414.0373 | 1244848.0577
24 | 2696394.3681 | 1244833.7144 | 2696414.0373 | 1244848.0577
25 | 2696574.8286 | 1245206.8674 | 2696550.3041 | 1245225.6215
26 | 2696574.8286 | 1245206.8674 | 2696565.9086 | 1245191.828
27 | 2696539.4188 | 1245233.9455 | 2696550.3041 | 1245225.6215
28 | 2696554.5681 | 1245263.492 | 2696542.8407 | 1245271.792
29 | 2696554.5681 | 1245263.492 | 2696560.1872 | 1245259.5138 | 2696570.1314 | 1245252.0613
30 | 2696528.6439 | 1245281.8397 | 2696542.8407 | 1245271.792
31 | 2696570.1314 | 1245252.0613 | 2696593.0432 | 1245234.8907
32 | 2696528.6439 | 1245281.8397 | 2696524.5154 | 1245284.7748 | 2696500.4106 | 1245301.3953 | 2696500.0453 | 1245301.7317
33 | 2696528.6439 | 1245281.8397 | 2696521.5255 | 1245271.1945
34 | 2696510.5813 | 1245255.4924 | 2696516.3904 | 1245263.5152 | 2696521.5255 | 1245271.1945
35 | 2696499.1488 | 1245264.2464 | 2696510.5813 | 1245255.4924
36 | 2696499.1488 | 1245264.2464 | 2696485.2999 | 1245228.2541
37 | 2696510.5813 | 1245255.4924 | 2696520.4445 | 1245248.1507
38 | 2696329.0492 | 1244849.0763 | 2696301.5507 | 1244838.1994
39 | 2696301.5507 | 1244838.1994 | 2696310.375 | 1244816.9709 | 2696311.8407 | 1244815.0418
40 | 2696329.0492 | 1244849.0763 | 2696317.9453 | 1244875.1462
41 | 2696329.0492 | 1244849.0763 | 2696357.0593 | 1244860.1592
42 | 2696326.9167 | 1244795.2006 | 2696311.8407 | 1244815.0418
43 | 2696329.8282 | 1244791.3672 | 2696326.9167 | 1244795.2006
44 | 2696329.8282 | 1244791.3672 | 2696340.172 | 1244799.0549
45 | 2696326.9167 | 1244795.2006 | 2696334.6132 | 1244801.0014
46 | 2696348.474 | 1244805.225 | 2696340.172 | 1244799.0549
47 | 2696449.6198 | 1244786.8322 | 2696452.2375 | 1244799.2064
48 | 2696449.6198 | 1244786.8322 | 2696430.3745 | 1244790.3331 | 2696428.6424 | 1244790.6481
49 | 2696452.2375 | 1244799.2064 | 2696457.2939 | 1244818.7402
50 | 2696452.2375 | 1244799.2064 | 2696457.2059 | 1244797.1523
51 | 2696428.6424 | 1244790.6481 | 2696380.55 | 1244799.3926
52 | 2696457.2059 | 1244797.1523 | 2696458.2852 | 1244801.8846 | 2696460.8338 | 1244811.0663 | 2696463.9917 | 1244822.4542
53 | 2696472.1878 | 1244852.0106 | 2696463.9917 | 1244822.4542
54 | 2696545.6988 | 1244860.1064 | 2696558.1467 | 1244877.689 | 2696559.9539 | 1244880.2281
55 | 2696545.6988 | 1244860.1064 | 2696539.3705 | 1244852.5582
56 | 2696568.1155 | 1244898.9898 | 2696568.8672 | 1244892.7417 | 2696566.0743 | 1244888.8266 | 2696559.9539 | 1244880.2281
57 | 2696522.9645 | 1244830.5033 | 2696529.7823 | 1244841.1218 | 2696539.3705 | 1244852.5582
58 | 2696354.2177 | 1244815.7772 | 2696334.6132 | 1244801.0014
59 | 2696362.2244 | 1244862.2028 | 2696355.2637 | 1244877.1011 | 2696349.0025 | 1244892.7226
60 | 2696362.2244 | 1244862.2028 | 2696357.0593 | 1244860.1592
61 | 2696564.9043 | 1244910.5463 | 2696568.1155 | 1244898.9898
62 | 2696593.0432 | 1245234.8907 | 2696620.9947 | 1245213.9431
63 | 2696462.9599 | 1244862.0064 | 2696465.0551 | 1244872.2577
64 | 2696457.2939 | 1244818.7402 | 2696462.2742 | 1244837.9796
65 | 2696535.4043 | 1245237.0155 | 2696539.4188 | 1245233.9455
66 | 2696535.4043 | 1245237.0155 | 2696520.4445 | 1245248.1507
67 | 2696521.8904 | 1244828.8305 | 2696515.4245 | 1244818.76 | 2696509.1629 | 1244807.7524
68 | 2696521.8904 | 1244828.8305 | 2696522.9645 | 1244830.5033
69 | 2696348.474 | 1244805.225 | 2696368.8496 | 1244820.4988
70 | 2696348.474 | 1244805.225 | 2696362.6925 | 1244802.6396
71 | 2696380.55 | 1244799.3926 | 2696362.6925 | 1244802.6396
72 | 2696354.2177 | 1244815.7772 | 2696355.9684 | 1244817.0967
73 | 2696390.6071 | 1244843.2037 | 2696399.4236 | 1244849.8486
74 | 2696390.6071 | 1244843.2037 | 2696355.9684 | 1244817.0967

## bus_geodata
| x | y | coords
0 | 2696532.5514 | 1245153.2519
1 | 2696503.9886 | 1245167.6162
2 | 2696537.7936 | 1245150.6217
3 | 2696544.3845 | 1245147.3042
4 | 2696447.4399 | 1244964.0208
5 | 2696556.7832 | 1245176.4423
6 | 2696442.8444 | 1244924.1156
7 | 2696469.1467 | 1244958.6071
8 | 2696516.8519 | 1244939.0417
9 | 2696499.4224 | 1244918.6144
10 | 2696545.7125 | 1244927.4992
11 | 2696473.775 | 1244882.4089
12 | 2696480.1434 | 1244880.7001
13 | 2696467.4749 | 1244884.0967
14 | 2696489.7421 | 1244906.1867
15 | 2696485.5259 | 1244897.7784
16 | 2696511.2099 | 1244885.7104
17 | 2696464.7945 | 1244884.4089
18 | 2696414.0373 | 1244848.0577
19 | 2696574.8286 | 1245206.8674
20 | 2696550.3041 | 1245225.6215
21 | 2696565.9086 | 1245191.828
22 | 2696554.5681 | 1245263.492
23 | 2696542.8407 | 1245271.792
24 | 2696570.1314 | 1245252.0613
25 | 2696528.6439 | 1245281.8397
26 | 2696500.0453 | 1245301.7317
27 | 2696521.5255 | 1245271.1945
28 | 2696499.1488 | 1245264.2464
29 | 2696510.5813 | 1245255.4924
30 | 2696485.2999 | 1245228.2541
31 | 2696301.5507 | 1244838.1994
32 | 2696329.0492 | 1244849.0763
33 | 2696311.8407 | 1244815.0418
34 | 2696329.8282 | 1244791.3672
35 | 2696326.9167 | 1244795.2006
36 | 2696340.172 | 1244799.0549
37 | 2696449.6198 | 1244786.8322
38 | 2696452.2375 | 1244799.2064
39 | 2696428.6424 | 1244790.6481
40 | 2696457.2059 | 1244797.1523
41 | 2696463.9917 | 1244822.4542
42 | 2696545.6988 | 1244860.1064
43 | 2696559.9539 | 1244880.2281
44 | 2696539.3705 | 1244852.5582
45 | 2696334.6132 | 1244801.0014
46 | 2696362.2244 | 1244862.2028
47 | 2696349.0025 | 1244892.7226
48 | 2696357.0593 | 1244860.1592
49 | 2696568.1155 | 1244898.9898
50 | 2696564.9043 | 1244910.5463
51 | 2696415.7436 | 1244924.698
52 | 2696620.9947 | 1245213.9431
53 | 2696593.0432 | 1245234.8907
54 | 2696472.1878 | 1244852.0106
55 | 2696465.0551 | 1244872.2577
56 | 2696462.2742 | 1244837.9796
57 | 2696457.2939 | 1244818.7402
58 | 2696511.9678 | 1244885.3063
59 | 2696394.3681 | 1244833.7144
60 | 2696539.4188 | 1245233.9455
61 | 2696535.4043 | 1245237.0155
62 | 2696520.4445 | 1245248.1507
63 | 2696317.9453 | 1244875.1462
64 | 2696509.1629 | 1244807.7524
65 | 2696521.8904 | 1244828.8305
66 | 2696348.474 | 1244805.225
67 | 2696380.55 | 1244799.3926
68 | 2696522.9645 | 1244830.5033
69 | 2696354.2177 | 1244815.7772
70 | 2696368.8496 | 1244820.4988
71 | 2696399.4236 | 1244849.8486
72 | 2696390.6071 | 1244843.2037
73 | 2696462.9599 | 1244862.0064
74 | 2696355.9684 | 1244817.0967
75 | 2696362.6925 | 1244802.6396
76 | 2696537.7936 | 1245150.6217

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.58962 | -0.15042
1 | 0.99855 | -0.027906 | 0.050005 | 0.012533
2 | 0.99928 | -0.013557 | 0 | 0
3 | 0.99876 | -0.023476 | 0 | 0
4 | 0.98689 | -0.24962 | 0 | 0
5 | 0.9964 | -0.068515 | 0.019729 | 0.0049444
6 | 0.98485 | -0.28922 | 0 | 0
7 | 0.98682 | -0.25114 | 0.0037883 | 0.00094943
8 | 0.97859 | -0.41104 | 0 | 0
9 | 0.9795 | -0.39331 | 0.014262 | 0.0035743
10 | 0.97755 | -0.43158 | 0.0043217 | 0.0010831
11 | 0.98225 | -0.33964 | 0 | 0
12 | 0.98197 | -0.34508 | 0 | 0
13 | 0.98253 | -0.33426 | 0 | 0
14 | 0.98024 | -0.37886 | 0 | 0
15 | 0.98068 | -0.37024 | 0 | 0
16 | 0.97997 | -0.38419 | 0.019542 | 0.0048977
17 | 0.98265 | -0.33194 | 0 | 0
18 | 0.98198 | -0.345 | 0.0073032 | 0.0018304
19 | 0.99414 | -0.11171 | 0 | 0
20 | 0.99225 | -0.14799 | 0.024438 | 0.0061247
21 | 0.99521 | -0.091223 | 0.022853 | 0.0057276
22 | 0.98456 | -0.29706 | 0 | 0
23 | 0.98563 | -0.27608 | 0.053482 | 0.013404
24 | 0.98311 | -0.32533 | 0.036713 | 0.0092013
25 | 0.9878 | -0.23411 | 0 | 0
26 | 0.98688 | -0.25185 | 0.028488 | 0.0071399
27 | 0.98876 | -0.21545 | 0.041182 | 0.010321
28 | 0.98951 | -0.2009 | 0 | 0
29 | 0.98966 | -0.19802 | 0 | 0
30 | 0.98911 | -0.20863 | 0.011255 | 0.0028207
31 | 0.97672 | -0.44791 | 0 | 0
32 | 0.97616 | -0.45896 | 0 | 0
33 | 0.97696 | -0.44316 | 0.010358 | 0.0025959
34 | 0.97733 | -0.4358 | 0 | 0
35 | 0.97726 | -0.43732 | 0 | 0
36 | 0.97754 | -0.43172 | 0.0018062 | 0.00045269
37 | 0.9796 | -0.39142 | 0 | 0
38 | 0.97985 | -0.38642 | 0 | 0
39 | 0.97917 | -0.39985 | 0.0092781 | 0.0023253
40 | 0.97997 | -0.38415 | 0 | 0
41 | 0.98054 | -0.37309 | 0.0061948 | 0.0015526
42 | 0.97522 | -0.47741 | 0 | 0
43 | 0.97575 | -0.46679 | 0.0084256 | 0.0021117
44 | 0.975 | -0.48165 | 0.0076335 | 0.0019131
45 | 0.9771 | -0.44048 | 0.0025881 | 0.00064864
46 | 0.97535 | -0.47473 | 0 | 0
47 | 0.97492 | -0.48331 | 0.014068 | 0.0035259
48 | 0.97543 | -0.4733 | 0.011935 | 0.0029912
49 | 0.9764 | -0.45413 | 0 | 0
50 | 0.97675 | -0.44713 | 0 | 0
51 | 0.98446 | -0.29678 | 0.015424 | 0.0038657
52 | 0.98162 | -0.35444 | 0.0095923 | 0.0024041
53 | 0.98193 | -0.34838 | 0.034999 | 0.0087715
54 | 0.98124 | -0.3593 | 0.0062906 | 0.0015766
55 | 0.98244 | -0.33588 | 0.0025304 | 0.00063418
56 | 0.97969 | -0.38956 | 0.0025936 | 0.00065002
57 | 0.97974 | -0.38863 | 0.0034345 | 0.00086076
58 | 0.97996 | -0.38431 | 0.0075326 | 0.0018879
59 | 0.98188 | -0.34688 | 0.004267 | 0.0010694
60 | 0.99149 | -0.16265 | 0.017476 | 0.00438
61 | 0.99123 | -0.16767 | 0 | 0
62 | 0.99027 | -0.18623 | 0.008387 | 0.002102
63 | 0.97576 | -0.46672 | 0.014969 | 0.0037515
64 | 0.97441 | -0.49338 | 0.0073265 | 0.0018362
65 | 0.97457 | -0.49007 | 0.0033641 | 0.00084311
66 | 0.97771 | -0.42837 | 0 | 0
67 | 0.97828 | -0.41714 | 0.0015043 | 0.00037701
68 | 0.97459 | -0.48968 | 0.0051871 | 0.0013
69 | 0.97675 | -0.44737 | 0.0027874 | 0.00069858
70 | 0.97763 | -0.43004 | 0.0035903 | 0.00089982
71 | 0.97633 | -0.45559 | 0.0049248 | 0.0012343
72 | 0.97638 | -0.4546 | 0.0035548 | 0.00089092
73 | 0.9824 | -0.3368 | 0.0048942 | 0.0012266
74 | 0.97672 | -0.44788 | 0.0041089 | 0.0010298
75 | 0.97796 | -0.42345 | 0.0015622 | 0.00039152
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.050072 | 0.012575 | -0.050005 | -0.012533 | 6.6573e-05 | 4.2188e-05 | 0.074517 | 0.074517 | 0.074517 | 1 | 0 | 0.99855 | -0.027906 | 20.4717
1 | 0.53789 | 0.13785 | -0.53754 | -0.13762 | 0.0003532 | 0.00022574 | 0.80147 | 0.80147 | 0.80147 | 1 | 0 | 0.99928 | -0.013557 | 55.0462
2 | 0.31188 | 0.079429 | -0.31173 | -0.079334 | 0.00014914 | 9.5067e-05 | 0.46486 | 0.46486 | 0.46486 | 0.99928 | -0.013557 | 0.99876 | -0.023476 | 31.927
3 | 0.22566 | 0.058195 | -0.2231 | -0.056567 | 0.002563 | 0.0016279 | 0.33662 | 0.33662 | 0.33662 | 0.99928 | -0.013557 | 0.98689 | -0.24962 | 23.1196
4 | 0.31173 | 0.079334 | -0.31105 | -0.078904 | 0.00067522 | 0.0004304 | 0.46486 | 0.46486 | 0.46486 | 0.99876 | -0.023476 | 0.9964 | -0.068515 | 31.9271
5 | 0.21931 | 0.055618 | -0.2189 | -0.055353 | 0.00041668 | 0.0002646 | 0.33091 | 0.33091 | 0.33091 | 0.98689 | -0.24962 | 0.98485 | -0.28922 | 22.7273
6 | 0.0037885 | 0.00094932 | -0.0037883 | -0.00094943 | 2.7374e-07 | -1.1064e-07 | 0.0057122 | 0.0057123 | 0.0057123 | 0.98689 | -0.24962 | 0.98682 | -0.25114 | 1.5693
7 | 0.29132 | 0.073959 | -0.29101 | -0.073757 | 0.00031792 | 0.00020253 | 0.4354 | 0.4354 | 0.4354 | 0.9964 | -0.068515 | 0.99521 | -0.091223 | 29.9036
8 | 0.01543 | 0.0038689 | -0.015424 | -0.0038657 | 5.5563e-06 | 3.2093e-06 | 0.023314 | 0.023314 | 0.023314 | 0.98485 | -0.28922 | 0.98446 | -0.29678 | 6.4049
9 | 0.20347 | 0.051485 | -0.20305 | -0.051221 | 0.00041622 | 0.000264 | 0.3076 | 0.3076 | 0.3076 | 0.98485 | -0.28922 | 0.98265 | -0.33194 | 21.1262
10 | -0.036372 | -0.0091576 | 0.036403 | 0.009177 | 3.0873e-05 | 1.942e-05 | 0.055321 | 0.055321 | 0.055321 | 0.97859 | -0.41104 | 0.9795 | -0.39331 | 15.198
11 | 0.036372 | 0.0091576 | -0.036336 | -0.0091352 | 3.5673e-05 | 2.244e-05 | 0.055321 | 0.055321 | 0.055321 | 0.97859 | -0.41104 | 0.97755 | -0.43158 | 15.1981
12 | -0.050665 | -0.012751 | 0.0507 | 0.012774 | 3.5013e-05 | 2.221e-05 | 0.076987 | 0.076987 | 0.076987 | 0.9795 | -0.39331 | 0.98024 | -0.37886 | 21.1502
13 | 0.032015 | 0.008052 | -0.031991 | -0.0080372 | 2.3764e-05 | 1.4875e-05 | 0.048743 | 0.048743 | 0.048743 | 0.97755 | -0.43158 | 0.97675 | -0.44713 | 13.3908
14 | 0.18398 | 0.046413 | -0.18393 | -0.046382 | 4.7927e-05 | 3.034e-05 | 0.27882 | 0.27882 | 0.27882 | 0.98225 | -0.33964 | 0.98197 | -0.34508 | 19.1496
15 | -0.18398 | -0.046413 | 0.18403 | 0.046443 | 4.7402e-05 | 3.0008e-05 | 0.27882 | 0.27882 | 0.27882 | 0.98225 | -0.33964 | 0.98253 | -0.33426 | 19.1496
16 | 0.10602 | 0.026739 | -0.10595 | -0.026694 | 7.2099e-05 | 4.4638e-05 | 0.16072 | 0.16072 | 0.16072 | 0.98197 | -0.34508 | 0.98124 | -0.3593 | 11.0386
17 | 0.077907 | 0.019643 | -0.077813 | -0.019584 | 9.3703e-05 | 5.9744e-05 | 0.1181 | 0.1181 | 0.1181 | 0.98197 | -0.34508 | 0.98068 | -0.37024 | 32.4444
18 | 0.0074254 | 0.001861 | -0.0074248 | -0.0018608 | 5.7306e-07 | 2.1374e-07 | 0.011246 | 0.011246 | 0.011246 | 0.98253 | -0.33426 | 0.98244 | -0.33588 | 3.0895
19 | -0.19145 | -0.048304 | 0.19147 | 0.048317 | 2.1226e-05 | 1.3448e-05 | 0.29006 | 0.29006 | 0.29006 | 0.98253 | -0.33426 | 0.98265 | -0.33194 | 19.922
20 | -0.0507 | -0.012774 | 0.05072 | 0.012787 | 2.0895e-05 | 1.3254e-05 | 0.076987 | 0.076987 | 0.076987 | 0.98024 | -0.37886 | 0.98068 | -0.37024 | 21.1502
21 | 0.027093 | 0.0067968 | -0.027075 | -0.0067856 | 1.8001e-05 | 1.1163e-05 | 0.041111 | 0.041111 | 0.041111 | 0.98068 | -0.37024 | 0.97997 | -0.38419 | 11.2943
22 | 0.0075327 | 0.0018879 | -0.0075326 | -0.0018879 | 4.2141e-08 | 1.6148e-08 | 0.011438 | 0.011438 | 0.011438 | 0.97997 | -0.38419 | 0.97996 | -0.38431 | 3.1423
23 | 0.011578 | 0.0029035 | -0.011571 | -0.0028997 | 7.1994e-06 | 3.817e-06 | 0.017533 | 0.017533 | 0.017533 | 0.98265 | -0.33194 | 0.98198 | -0.345 | 4.8168
24 | 0.0042674 | 0.0010693 | -0.004267 | -0.0010694 | 3.8172e-07 | -6.3632e-08 | 0.0064664 | 0.0064665 | 0.0064665 | 0.98198 | -0.345 | 0.98188 | -0.34688 | 1.7765
25 | 0.26789 | 0.067861 | -0.26742 | -0.067565 | 0.00046595 | 0.00029661 | 0.40123 | 0.40123 | 0.40123 | 0.99414 | -0.11171 | 0.99225 | -0.14799 | 27.5568
26 | -0.26789 | -0.067861 | 0.26815 | 0.068029 | 0.0002639 | 0.00016799 | 0.40123 | 0.40123 | 0.40123 | 0.99414 | -0.11171 | 0.99521 | -0.091223 | 27.5568
27 | 0.24298 | 0.06144 | -0.24281 | -0.061331 | 0.00017076 | 0.00010858 | 0.36458 | 0.36458 | 0.36458 | 0.99225 | -0.14799 | 0.99149 | -0.16265 | 25.0398
28 | -0.081466 | -0.020479 | 0.081548 | 0.020531 | 8.1705e-05 | 5.2108e-05 | 0.12315 | 0.12315 | 0.12315 | 0.98456 | -0.29706 | 0.98563 | -0.27608 | 33.8314
29 | 0.081466 | 0.020479 | -0.081356 | -0.020409 | 0.00010982 | 7.0042e-05 | 0.12315 | 0.12315 | 0.12315 | 0.98456 | -0.29706 | 0.98311 | -0.32533 | 33.8314
30 | -0.13503 | -0.033935 | 0.1353 | 0.034108 | 0.00027113 | 0.0001733 | 0.20389 | 0.20389 | 0.20389 | 0.98563 | -0.27608 | 0.9878 | -0.23411 | 56.0131
31 | 0.044643 | 0.011208 | -0.044594 | -0.011177 | 4.9033e-05 | 3.1018e-05 | 0.067577 | 0.067578 | 0.067578 | 0.98311 | -0.32533 | 0.98193 | -0.34838 | 18.5653
32 | 0.028513 | 0.0071548 | -0.028488 | -0.0071399 | 2.4107e-05 | 1.4983e-05 | 0.042954 | 0.042955 | 0.042955 | 0.9878 | -0.23411 | 0.98688 | -0.25185 | 11.8007
33 | -0.16381 | -0.041263 | 0.16396 | 0.041357 | 0.0001463 | 9.3305e-05 | 0.24684 | 0.24684 | 0.24684 | 0.9878 | -0.23411 | 0.98876 | -0.21545 | 33.9069
34 | -0.20514 | -0.051678 | 0.20531 | 0.051786 | 0.00017116 | 0.00010856 | 0.30882 | 0.30882 | 0.30882 | 0.98876 | -0.21545 | 0.98966 | -0.19802 | 21.2101
35 | -0.011259 | -0.0028228 | 0.01126 | 0.0028236 | 1.5452e-06 | 8.0426e-07 | 0.016931 | 0.016931 | 0.016931 | 0.98951 | -0.2009 | 0.98966 | -0.19802 | 4.6514
36 | 0.011259 | 0.0028228 | -0.011255 | -0.0028207 | 4.1457e-06 | 2.1581e-06 | 0.016931 | 0.016931 | 0.016931 | 0.98951 | -0.2009 | 0.98911 | -0.20863 | 4.6515
37 | -0.21657 | -0.05461 | 0.2167 | 0.054688 | 0.00012232 | 7.7651e-05 | 0.32575 | 0.32575 | 0.32575 | 0.98966 | -0.19802 | 0.99027 | -0.18623 | 22.3729
38 | 0.041024 | 0.0103 | -0.041002 | -0.010287 | 2.1607e-05 | 1.309e-05 | 0.062505 | 0.062506 | 0.062506 | 0.97672 | -0.44791 | 0.97616 | -0.45896 | 8.5859
39 | -0.041024 | -0.0103 | 0.041033 | 0.010304 | 9.3078e-06 | 4.6845e-06 | 0.062505 | 0.062505 | 0.062505 | 0.97672 | -0.44791 | 0.97696 | -0.44316 | 4.2929
40 | 0.014974 | 0.0037547 | -0.014969 | -0.0037515 | 5.5367e-06 | 3.1894e-06 | 0.022827 | 0.022827 | 0.022827 | 0.97616 | -0.45896 | 0.97576 | -0.46672 | 6.2711
41 | 0.026028 | 0.0065319 | -0.02601 | -0.0065209 | 1.7785e-05 | 1.1006e-05 | 0.039679 | 0.039679 | 0.039679 | 0.97616 | -0.45896 | 0.97543 | -0.4733 | 10.9009
42 | -0.05139 | -0.0129 | 0.051405 | 0.012908 | 1.4316e-05 | 7.9135e-06 | 0.078281 | 0.07828 | 0.078281 | 0.97696 | -0.44316 | 0.97726 | -0.43732 | 5.3764
43 | 0.069385 | 0.017419 | -0.06938 | -0.017416 | 5.0324e-06 | 2.9797e-06 | 0.10565 | 0.10565 | 0.10565 | 0.97733 | -0.4358 | 0.97726 | -0.43732 | 7.2562
44 | -0.069385 | -0.017419 | 0.069398 | 0.017427 | 1.3486e-05 | 7.9851e-06 | 0.10565 | 0.10565 | 0.10565 | 0.97733 | -0.4358 | 0.97754 | -0.43172 | 7.2562
45 | 0.017975 | 0.0045081 | -0.017972 | -0.0045065 | 2.7075e-06 | 1.6121e-06 | 0.027371 | 0.027371 | 0.027371 | 0.97726 | -0.43732 | 0.9771 | -0.44048 | 7.5194
46 | -0.071205 | -0.01788 | 0.071216 | 0.017887 | 1.1395e-05 | 6.7738e-06 | 0.1084 | 0.1084 | 0.1084 | 0.97754 | -0.43172 | 0.97771 | -0.42837 | 7.4451
47 | -0.087291 | -0.021965 | 0.087312 | 0.021977 | 2.0857e-05 | 1.2712e-05 | 0.13263 | 0.13263 | 0.13263 | 0.9796 | -0.39142 | 0.97985 | -0.38642 | 9.109
48 | 0.087291 | 0.021965 | -0.087256 | -0.021943 | 3.5161e-05 | 2.143e-05 | 0.13263 | 0.13263 | 0.13263 | 0.9796 | -0.39142 | 0.97917 | -0.39985 | 9.109
49 | 0.0060288 | 0.0015108 | -0.0060282 | -0.0015106 | 6.3424e-07 | 1.5179e-07 | 0.0091554 | 0.0091555 | 0.0091555 | 0.97985 | -0.38642 | 0.97974 | -0.38863 | 2.5152
50 | -0.093341 | -0.023488 | 0.093351 | 0.023494 | 1.0107e-05 | 6.1983e-06 | 0.14178 | 0.14178 | 0.14178 | 0.97985 | -0.38642 | 0.97997 | -0.38415 | 9.7378
51 | 0.077978 | 0.019618 | -0.077914 | -0.019579 | 6.4381e-05 | 3.8747e-05 | 0.11853 | 0.11853 | 0.11853 | 0.97917 | -0.39985 | 0.97828 | -0.41714 | 8.1407
52 | -0.093351 | -0.023494 | 0.0934 | 0.023525 | 4.9376e-05 | 3.028e-05 | 0.14178 | 0.14178 | 0.14178 | 0.97997 | -0.38415 | 0.98054 | -0.37309 | 9.7378
53 | -0.099595 | -0.025077 | 0.099661 | 0.025118 | 6.5722e-05 | 4.0514e-05 | 0.15118 | 0.15118 | 0.15118 | 0.98054 | -0.37309 | 0.98124 | -0.3593 | 10.3834
54 | -0.023523 | -0.0058994 | 0.023535 | 0.0059067 | 1.1914e-05 | 7.3171e-06 | 0.035894 | 0.035894 | 0.035894 | 0.97522 | -0.47741 | 0.97575 | -0.46679 | 9.861
55 | 0.023523 | 0.0058994 | -0.023519 | -0.0058965 | 4.759e-06 | 2.9229e-06 | 0.035894 | 0.035894 | 0.035894 | 0.97522 | -0.47741 | 0.975 | -0.48165 | 9.861
56 | -0.031961 | -0.0080184 | 0.03198 | 0.0080305 | 1.9295e-05 | 1.2078e-05 | 0.048743 | 0.048743 | 0.048743 | 0.97575 | -0.46679 | 0.9764 | -0.45413 | 13.3909
57 | 0.015885 | 0.0039834 | -0.015879 | -0.0039798 | 6.0709e-06 | 3.542e-06 | 0.024244 | 0.024244 | 0.024244 | 0.975 | -0.48165 | 0.97459 | -0.48968 | 6.6605
58 | 0.015384 | 0.0038579 | -0.015379 | -0.0038549 | 5.0535e-06 | 2.9269e-06 | 0.023429 | 0.023429 | 0.023429 | 0.9771 | -0.44048 | 0.97675 | -0.44737 | 6.4367
59 | 0.014074 | 0.0035291 | -0.014068 | -0.0035259 | 5.753e-06 | 3.2668e-06 | 0.021472 | 0.021473 | 0.021473 | 0.97535 | -0.47473 | 0.97492 | -0.48331 | 5.899
60 | -0.014074 | -0.0035291 | 0.014075 | 0.0035297 | 9.6039e-07 | 5.4532e-07 | 0.021472 | 0.021472 | 0.021472 | 0.97535 | -0.47473 | 0.97543 | -0.4733 | 5.899
61 | -0.03198 | -0.0080305 | 0.031991 | 0.0080372 | 1.0686e-05 | 6.689e-06 | 0.048743 | 0.048743 | 0.048743 | 0.9764 | -0.45413 | 0.97675 | -0.44713 | 13.3909
62 | -0.0095923 | -0.0024041 | 0.0095951 | 0.0024054 | 2.7695e-06 | 1.3308e-06 | 0.014541 | 0.014541 | 0.014541 | 0.98162 | -0.35444 | 0.98193 | -0.34838 | 3.9947
63 | 0.0048945 | 0.0012266 | -0.0048942 | -0.0012266 | 2.1563e-07 | 5.5158e-09 | 0.0074132 | 0.0074132 | 0.0074132 | 0.98244 | -0.33588 | 0.9824 | -0.3368 | 2.0366
64 | -0.0025936 | -0.00065002 | 0.0025937 | 0.00064985 | 1.1565e-07 | -1.7624e-07 | 0.0039394 | 0.0039393 | 0.0039394 | 0.97969 | -0.38956 | 0.97974 | -0.38863 | 1.0822
65 | 0.22534 | 0.056951 | -0.22528 | -0.056917 | 5.4241e-05 | 3.4454e-05 | 0.33835 | 0.33835 | 0.33835 | 0.99149 | -0.16265 | 0.99123 | -0.16767 | 23.2384
66 | 0.22528 | 0.056917 | -0.22508 | -0.05679 | 0.00020015 | 0.00012714 | 0.33835 | 0.33835 | 0.33835 | 0.99123 | -0.16767 | 0.99027 | -0.18623 | 23.2385
67 | -0.0073265 | -0.0018362 | 0.0073276 | 0.0018366 | 1.1562e-06 | 4.3311e-07 | 0.011188 | 0.011188 | 0.011188 | 0.97441 | -0.49338 | 0.97457 | -0.49007 | 3.0737
68 | -0.010692 | -0.0026797 | 0.010692 | 0.0026798 | 1.9866e-07 | 1.0237e-07 | 0.016325 | 0.016325 | 0.016325 | 0.97457 | -0.49007 | 0.97459 | -0.48968 | 4.4848
69 | 0.0035906 | 0.00089968 | -0.0035903 | -0.00089982 | 2.8517e-07 | -1.3682e-07 | 0.0054646 | 0.0054647 | 0.0054647 | 0.97771 | -0.42837 | 0.97763 | -0.43004 | 1.5013
70 | -0.074807 | -0.018786 | 0.074824 | 0.018797 | 1.7566e-05 | 1.0517e-05 | 0.11386 | 0.11386 | 0.11386 | 0.97771 | -0.42837 | 0.97796 | -0.42345 | 7.8204
71 | 0.076409 | 0.019202 | -0.076386 | -0.019188 | 2.2992e-05 | 1.3803e-05 | 0.11624 | 0.11624 | 0.11624 | 0.97828 | -0.41714 | 0.97796 | -0.42345 | 7.9836
72 | 0.012592 | 0.0031564 | -0.012591 | -0.0031562 | 3.0253e-07 | 1.6618e-07 | 0.019183 | 0.019183 | 0.019183 | 0.97675 | -0.44737 | 0.97672 | -0.44788 | 5.2701
73 | -0.0049248 | -0.0012343 | 0.004925 | 0.0012343 | 2.3324e-07 | 1.1205e-08 | 0.0075059 | 0.0075058 | 0.0075059 | 0.97633 | -0.45559 | 0.97638 | -0.4546 | 2.0621
74 | -0.0084799 | -0.0021252 | 0.0084826 | 0.0021264 | 2.7166e-06 | 1.1959e-06 | 0.012923 | 0.012923 | 0.012923 | 0.97638 | -0.4546 | 0.97672 | -0.44788 | 3.5504

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60953 | 0.15542

## res_load
| p_mw | q_mvar
0 | 0.019917 | 0.0049917
1 | 0.050005 | 0.012533
2 | 0.019729 | 0.0049444
3 | 0.0037883 | 0.00094943
4 | 0.014262 | 0.0035743
5 | 0.0043217 | 0.0010831
6 | 0.019542 | 0.0048977
7 | 0.0073032 | 0.0018304
8 | 0.024438 | 0.0061247
9 | 0.022853 | 0.0057276
10 | 0.053482 | 0.013404
11 | 0.036713 | 0.0092013
12 | 0.028488 | 0.0071399
13 | 0.041182 | 0.010321
14 | 0.011255 | 0.0028207
15 | 0.010358 | 0.0025959
16 | 0.0018062 | 0.00045269
17 | 0.0092781 | 0.0023253
18 | 0.0061948 | 0.0015526
19 | 0.0084256 | 0.0021117
20 | 0.0076335 | 0.0019131
21 | 0.0025881 | 0.00064864
22 | 0.014068 | 0.0035259
23 | 0.011935 | 0.0029912
24 | 0.015424 | 0.0038657
25 | 0.0095923 | 0.0024041
26 | 0.034999 | 0.0087715
27 | 0.0062906 | 0.0015766
28 | 0.0025304 | 0.00063418
29 | 0.0025936 | 0.00065002
30 | 0.0034345 | 0.00086076
31 | 0.0075326 | 0.0018879
32 | 0.004267 | 0.0010694
33 | 0.017476 | 0.00438
34 | 0.008387 | 0.002102
35 | 0.014969 | 0.0037515
36 | 0.0073265 | 0.0018362
37 | 0.0033641 | 0.00084311
38 | 0.0015043 | 0.00037701
39 | 0.0051871 | 0.0013
40 | 0.0027874 | 0.00069858
41 | 0.0035903 | 0.00089982
42 | 0.0049248 | 0.0012343
43 | 0.0035548 | 0.00089092
44 | 0.0048942 | 0.0012266
45 | 0.0041089 | 0.0010298
46 | 0.0015622 | 0.00039152

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1