## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-68_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-68_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-68_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-68_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-68_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_198-68_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_198-68_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_198-68_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_198-68_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_198-68_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_198-68_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_198-68_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_198-68_0_4_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_198-68_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_198-68_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_198-68_0_4_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_198-68_0_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_198-68_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_198-68_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_198-68_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_198-68_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_198-68_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_198-68_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_198-68_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_198-68_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_198-68_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_198-68_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_198-68_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_198-68_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_198-68_0_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_198-68_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_198-68_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_198-68_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_198-68_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_198-68_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_198-68_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_198-68_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_198-68_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_198-68_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_198-68_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_198-68_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_198-68_0_4_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_198-68_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_198-68_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_198-68_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_198-68_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_198-68_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_198-68_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_198-68_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_198-68_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_198-68_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_198-68_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_198-68_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_198-68_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_198-68_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_198-68_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_198-68_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_198-68_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_198-68_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_MV_501_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-68_0_4_load_0 | 0 | 0.004359 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-68_0_4_load_1 | 1 | 0.0091316 | 0.0022886 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-68_0_4_load_10 | 4 | 0.018686 | 0.0046831 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-68_0_4_load_11 | 5 | 0.0049363 | 0.0012371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-68_0_4_load_4 | 6 | 0.0050658 | 0.0012696 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-68_0_4_load_5 | 7 | 0.018071 | 0.0045289 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-68_0_4_load_6 | 8 | 0.0091595 | 0.0022956 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-68_0_4_load_9 | 9 | 0.0095756 | 0.0023999 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-68_0_4_load_31 | 11 | 0.019496 | 0.004886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-68_0_4_load_16 | 13 | 0.009273 | 0.002324 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-68_0_4_load_54 | 15 | 0.0049269 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-68_0_4_load_29 | 16 | 0.012601 | 0.0031582 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-68_0_4_load_33 | 17 | 0.018945 | 0.0047482 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-68_0_4_load_36 | 18 | 0.020557 | 0.0051522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-68_0_4_load_38 | 19 | 0.015522 | 0.0038901 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-68_0_4_load_17 | 21 | 0.00767 | 0.0019223 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-68_0_4_load_20 | 24 | 0.0045036 | 0.0011287 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-68_0_4_load_53 | 29 | 0.015685 | 0.0039311 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-68_0_4_load_25 | 30 | 0.0030049 | 0.0007531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-68_0_4_load_50 | 31 | 0.0086067 | 0.002157 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-68_0_4_load_24 | 33 | 0.0074695 | 0.001872 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-68_0_4_load_34 | 34 | 0.010611 | 0.0026594 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-68_0_4_load_28 | 37 | 0.0029615 | 0.00074223 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-68_0_4_load_39 | 39 | 0.021972 | 0.0055067 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-68_0_4_load_63 | 41 | 0.0019298 | 0.00048365 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-68_0_4_load_40 | 42 | 0.0059943 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-68_0_4_load_47 | 43 | 0.013608 | 0.0034104 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-68_0_4_load_43 | 44 | 0.0059918 | 0.0015017 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-68_0_4_load_48 | 46 | 0.0035302 | 0.00088476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-68_0_4_load_41 | 47 | 0.017198 | 0.0043102 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-68_0_4_load_57 | 48 | 0.0017638 | 0.00044204 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-68_0_4_load_52 | 51 | 0.0039376 | 0.00098686 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-68_0_4_load_49 | 52 | 0.0024114 | 0.00060436 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-68_0_4_load_59 | 53 | 0.0027905 | 0.00069936 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-68_0_4_load_58 | 54 | 0.00050567 | 0.00012673 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-68_0_4_load_60 | 55 | 0.0030278 | 0.00075883 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-68_0_4_load_62 | 56 | 0.00041104 | 0.00010302 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-68_0_4_load_64 | 57 | 0.0039867 | 0.00099916 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-68_0_4_load_65 | 58 | 0.00027026 | 6.7734e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-68_0_4_line_0 |  | 0 | 1 | 0.028285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-68_0_4_line_1 |  | 0 | 2 | 0.036927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-68_0_4_line_2 |  | 2 | 3 | 0.050941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-68_0_4_line_3 |  | 3 | 6 | 0.029466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-68_0_4_line_4 |  | 4 | 5 | 0.043686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_198-68_0_4_line_5 |  | 5 | 14 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_198-68_0_4_line_6 |  | 5 | 15 | 0.043362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_198-68_0_4_line_7 |  | 6 | 7 | 0.010973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_198-68_0_4_line_8 |  | 7 | 8 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-68_0_4_line_9 |  | 8 | 9 | 0.029283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-68_0_4_line_10 |  | 9 | 10 | 0.059274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-68_0_4_line_11 |  | 10 | 13 | 0.020677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-68_0_4_line_12 |  | 11 | 12 | 0.0098094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-68_0_4_line_13 |  | 12 | 45 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_198-68_0_4_line_14 |  | 12 | 16 | 0.024114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-68_0_4_line_15 |  | 13 | 15 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-68_0_4_line_16 |  | 14 | 16 | 0.0062976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_198-68_0_4_line_17 |  | 17 | 18 | 0.0293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-68_0_4_line_18 |  | 18 | 27 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_198-68_0_4_line_19 |  | 19 | 20 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-68_0_4_line_20 |  | 20 | 32 | 0.023957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_198-68_0_4_line_21 |  | 20 | 34 | 0.0011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-68_0_4_line_22 |  | 21 | 22 | 0.021069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-68_0_4_line_23 |  | 21 | 23 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-68_0_4_line_24 |  | 22 | 24 | 0.0013677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-68_0_4_line_25 |  | 22 | 25 | 0.027515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-68_0_4_line_26 |  | 23 | 26 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_198-68_0_4_line_27 |  | 23 | 27 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_198-68_0_4_line_28 |  | 25 | 28 | 0.029533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-68_0_4_line_29 |  | 25 | 29 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-68_0_4_line_30 |  | 26 | 30 | 0.0037397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_198-68_0_4_line_31 |  | 28 | 31 | 0.023023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_198-68_0_4_line_32 |  | 29 | 32 | 0.035021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-68_0_4_line_33 |  | 30 | 33 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_198-68_0_4_line_34 |  | 31 | 52 | 0.029961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-68_0_4_line_35 |  | 33 | 35 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_198-68_0_4_line_36 |  | 35 | 36 | 0.00815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_198-68_0_4_line_37 |  | 35 | 37 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-68_0_4_line_38 |  | 36 | 38 | 0.020578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-68_0_4_line_39 |  | 36 | 39 | 0.023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_198-68_0_4_line_40 |  | 37 | 40 | 0.046126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-68_0_4_line_41 |  | 38 | 41 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-68_0_4_line_42 |  | 39 | 42 | 0.0054252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_198-68_0_4_line_43 |  | 40 | 43 | 0.025632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-68_0_4_line_44 |  | 40 | 44 | 0.0063274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-68_0_4_line_45 |  | 41 | 49 | 0.01898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-68_0_4_line_46 |  | 42 | 47 | 0.034649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_198-68_0_4_line_47 |  | 43 | 53 | 0.034944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-68_0_4_line_48 |  | 45 | 46 | 0.040401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-68_0_4_line_49 |  | 45 | 47 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-68_0_4_line_50 |  | 46 | 48 | 0.026515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-68_0_4_line_51 |  | 48 | 54 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-68_0_4_line_52 |  | 49 | 57 | 0.010533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-68_0_4_line_53 |  | 49 | 55 | 0.0085815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-68_0_4_line_54 |  | 50 | 51 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_198-68_0_4_line_55 |  | 50 | 52 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_198-68_0_4_line_56 |  | 55 | 56 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_198-68_0_4_line_57 |  | 56 | 58 | 0.02785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-68_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 59 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2697150.5154 | 1244883.4531 | 2697176.4171 | 1244872.0895
1 | 2697116.7 | 1244898.2885 | 2697150.5154 | 1244883.4531
2 | 2697144.524 | 1244940.8544 | 2697138.2108 | 1244933.6455 | 2697129.5614 | 1244920.505 | 2697116.7 | 1244898.2885
3 | 2697144.524 | 1244940.8544 | 2697171.2946 | 1244928.5436
4 | 2697332.1367 | 1244930.5155 | 2697307.2927 | 1244947.805 | 2697299.701 | 1244958.8692
5 | 2697343.0239 | 1244922.9388 | 2697332.1367 | 1244930.5155
6 | 2697332.1367 | 1244930.5155 | 2697297.1841 | 1244904.8519
7 | 2697171.2946 | 1244928.5436 | 2697181.2639 | 1244923.9591
8 | 2697204.2699 | 1244913.3796 | 2697181.2639 | 1244923.9591
9 | 2697204.2699 | 1244913.3796 | 2697230.8746 | 1244901.1451
10 | 2697284.7273 | 1244876.3803 | 2697230.8746 | 1244901.1451
11 | 2697284.7273 | 1244876.3803 | 2697293.0154 | 1244895.3239
12 | 2697367.6366 | 1244905.0846 | 2697364.3657 | 1244895.8366
13 | 2697367.6366 | 1244905.0846 | 2697369.5277 | 1244911.4205 | 2697370.6265 | 1244916.2978
14 | 2697367.6366 | 1244905.0846 | 2697353.439 | 1244915.0481 | 2697348.0435 | 1244919.1358
15 | 2697293.0154 | 1244895.3239 | 2697297.1841 | 1244904.8519
16 | 2697343.0239 | 1244922.9388 | 2697348.0435 | 1244919.1358
17 | 2697332.4005 | 1244965.0645 | 2697327.501 | 1244970.3538 | 2697324.1938 | 1244987.6683 | 2697323.4815 | 1244992.074
18 | 2697321.1742 | 1245006.3442 | 2697323.4815 | 1244992.074
19 | 2697279.8595 | 1245021.9563 | 2697264.0957 | 1245021.9328
20 | 2697279.8595 | 1245021.9563 | 2697279.9652 | 1245045.9097
21 | 2697279.8595 | 1245021.9563 | 2697280.9918 | 1245021.957
22 | 2697319.1673 | 1245055.3932 | 2697318.9731 | 1245034.3248
23 | 2697319.3075 | 1245016.4769 | 2697318.969 | 1245033.8735 | 2697318.9731 | 1245034.3248
24 | 2697319.1673 | 1245055.3932 | 2697320.0271 | 1245054.3296
25 | 2697319.1673 | 1245055.3932 | 2697302.111 | 1245077.0189
26 | 2697319.3075 | 1245016.4769 | 2697337.6517 | 1245032.4122
27 | 2697321.1742 | 1245006.3442 | 2697319.3075 | 1245016.4769
28 | 2697302.111 | 1245077.0189 | 2697292.3763 | 1245089.9803 | 2697289.7 | 1245094.6511 | 2697287.4963 | 1245102.2986
29 | 2697302.111 | 1245077.0189 | 2697301.1304 | 1245071.8433 | 2697301.2553 | 1245064.2368
30 | 2697337.6517 | 1245032.4122 | 2697339.9608 | 1245029.4706
31 | 2697287.4963 | 1245102.2986 | 2697307.6234 | 1245113.4773
32 | 2697279.9652 | 1245045.9097 | 2697295.5317 | 1245047.8331 | 2697301.4505 | 1245052.3447 | 2697301.2553 | 1245064.2368
33 | 2697339.9608 | 1245029.4706 | 2697344.4595 | 1245023.7395 | 2697350.1822 | 1245017.0567
34 | 2697333.8152 | 1245128.0245 | 2697307.6234 | 1245113.4773
35 | 2697365.7972 | 1245008.3334 | 2697360.281 | 1245009.6773 | 2697356.383 | 1245011.4258 | 2697352.7039 | 1245014.1119 | 2697350.1822 | 1245017.0567
36 | 2697366.9726 | 1245000.2688 | 2697365.7972 | 1245008.3334
37 | 2697365.7972 | 1245008.3334 | 2697365.9081 | 1245022.2904 | 2697366.9277 | 1245030.3602
38 | 2697385.7465 | 1244992.8046 | 2697371.9009 | 1245000.2052 | 2697366.9726 | 1245000.2688
39 | 2697366.9726 | 1245000.2688 | 2697370.3039 | 1244977.3157
40 | 2697373.2052 | 1245075.8512 | 2697373.019 | 1245062.3378 | 2697372.286 | 1245054.9756 | 2697370.8316 | 1245047.8241 | 2697367.3794 | 1245033.9346 | 2697366.9277 | 1245030.3602
41 | 2697385.7465 | 1244992.8046 | 2697397.6586 | 1244998.5328
42 | 2697370.3039 | 1244977.3157 | 2697371.0459 | 1244972.203 | 2697371.0758 | 1244971.9458
43 | 2697373.2052 | 1245075.8512 | 2697382.7818 | 1245076.6645 | 2697391.7336 | 1245075.0325 | 2697398.6411 | 1245075.4651
44 | 2697373.2052 | 1245075.8512 | 2697371.9163 | 1245082.0459
45 | 2697414.7638 | 1245006.7583 | 2697397.6586 | 1244998.5328
46 | 2697372.7431 | 1244937.418 | 2697373.0454 | 1244942.4909 | 2697373.1832 | 1244951.589 | 2697372.5423 | 1244959.3177 | 2697371.0758 | 1244971.9458
47 | 2697423.644 | 1245060.9901 | 2697413.6619 | 1245077.9503 | 2697403.7673 | 1245075.7862 | 2697398.6411 | 1245075.4651
48 | 2697370.6265 | 1244916.2978 | 2697408.0847 | 1244931.4347
49 | 2697370.6265 | 1244916.2978 | 2697372.3582 | 1244930.9597 | 2697372.7431 | 1244937.418
50 | 2697432.6685 | 1244941.3689 | 2697432.6685 | 1244941.3689 | 2697408.0847 | 1244931.4347
51 | 2697432.6685 | 1244941.3689 | 2697443.4437 | 1244931.0954
52 | 2697408.9438 | 1245015.5472 | 2697414.7638 | 1245006.7583
53 | 2697414.7638 | 1245006.7583 | 2697420.4358 | 1245000.3186
54 | 2697352.544 | 1245138.4267 | 2697340.6597 | 1245158.0368
55 | 2697352.544 | 1245138.4267 | 2697333.8152 | 1245128.0245
56 | 2697434.5937 | 1244984.2445 | 2697420.4358 | 1245000.3186
57 | 2697434.5937 | 1244984.2445 | 2697462.2538 | 1244980.9963

## bus_geodata
| x | y | coords
0 | 2697150.5154 | 1244883.4531
1 | 2697176.4171 | 1244872.0895
2 | 2697116.7 | 1244898.2885
3 | 2697144.524 | 1244940.8544
4 | 2697299.701 | 1244958.8692
5 | 2697332.1367 | 1244930.5155
6 | 2697171.2946 | 1244928.5436
7 | 2697181.2639 | 1244923.9591
8 | 2697204.2699 | 1244913.3796
9 | 2697230.8746 | 1244901.1451
10 | 2697284.7273 | 1244876.3803
11 | 2697364.3657 | 1244895.8366
12 | 2697367.6366 | 1244905.0846
13 | 2697293.0154 | 1244895.3239
14 | 2697343.0239 | 1244922.9388
15 | 2697297.1841 | 1244904.8519
16 | 2697348.0435 | 1244919.1358
17 | 2697332.4005 | 1244965.0645
18 | 2697323.4815 | 1244992.074
19 | 2697264.0957 | 1245021.9328
20 | 2697279.8595 | 1245021.9563
21 | 2697318.9731 | 1245034.3248
22 | 2697319.1673 | 1245055.3932
23 | 2697319.3075 | 1245016.4769
24 | 2697320.0271 | 1245054.3296
25 | 2697302.111 | 1245077.0189
26 | 2697337.6517 | 1245032.4122
27 | 2697321.1742 | 1245006.3442
28 | 2697287.4963 | 1245102.2986
29 | 2697301.2553 | 1245064.2368
30 | 2697339.9608 | 1245029.4706
31 | 2697307.6234 | 1245113.4773
32 | 2697279.9652 | 1245045.9097
33 | 2697350.1822 | 1245017.0567
34 | 2697280.9918 | 1245021.9569
35 | 2697365.7972 | 1245008.3334
36 | 2697366.9726 | 1245000.2688
37 | 2697366.9277 | 1245030.3602
38 | 2697385.7465 | 1244992.8046
39 | 2697370.3039 | 1244977.3157
40 | 2697373.2052 | 1245075.8512
41 | 2697397.6586 | 1244998.5328
42 | 2697371.0758 | 1244971.9458
43 | 2697398.6411 | 1245075.4651
44 | 2697371.9163 | 1245082.0459
45 | 2697370.6265 | 1244916.2978
46 | 2697408.0847 | 1244931.4347
47 | 2697372.7431 | 1244937.418
48 | 2697432.6685 | 1244941.3689
49 | 2697414.7638 | 1245006.7583
50 | 2697352.544 | 1245138.4267
51 | 2697340.6597 | 1245158.0368
52 | 2697333.8152 | 1245128.0245
53 | 2697423.644 | 1245060.9901
54 | 2697443.4437 | 1244931.0954
55 | 2697420.4358 | 1245000.3186
56 | 2697434.5937 | 1244984.2445
57 | 2697408.9438 | 1245015.5472
58 | 2697462.2538 | 1244980.9963
59 | 2697321.1742 | 1245006.3442

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97069 | -0.56699 | 0.004359 | 0.0010925
1 | 0.97045 | -0.57177 | 0.0091316 | 0.0022886
2 | 0.97115 | -0.55778 | 0 | 0
3 | 0.9718 | -0.54509 | 0 | 0
4 | 0.98128 | -0.35921 | 0.018686 | 0.0046831
5 | 0.98204 | -0.34445 | 0.0049363 | 0.0012371
6 | 0.97217 | -0.53775 | 0.0050658 | 0.0012696
7 | 0.97236 | -0.53399 | 0.018071 | 0.0045289
8 | 0.97322 | -0.51691 | 0.0091595 | 0.0022956
9 | 0.97447 | -0.49227 | 0.0095756 | 0.0023999
10 | 0.97753 | -0.43221 | 0 | 0
11 | 0.98593 | -0.26915 | 0.019496 | 0.004886
12 | 0.9861 | -0.26572 | 0 | 0
13 | 0.9786 | -0.41135 | 0.009273 | 0.002324
14 | 0.98319 | -0.32213 | 0 | 0
15 | 0.97923 | -0.39913 | 0.0049269 | 0.0012348
16 | 0.98373 | -0.31156 | 0.012601 | 0.0031582
17 | 0.9995 | -0.0096803 | 0.018945 | 0.0047482
18 | 1 | 0 | -0.31498 | -0.079963
19 | 0.99194 | -0.15477 | 0.015522 | 0.0038901
20 | 0.99216 | -0.15044 | 0 | 0
21 | 0.99667 | -0.063483 | 0.00767 | 0.0019223
22 | 0.99549 | -0.086166 | 0 | 0
23 | 0.99779 | -0.041908 | 0 | 0
24 | 0.99548 | -0.086274 | 0.0045036 | 0.0011287
25 | 0.99406 | -0.11368 | 0 | 0
26 | 0.99614 | -0.073349 | 0 | 0
27 | 0.99871 | -0.024445 | 0 | 0
28 | 0.99366 | -0.12148 | 0 | 0
29 | 0.99357 | -0.12319 | 0.015685 | 0.0039311
30 | 0.99588 | -0.078205 | 0.0030049 | 0.0007531
31 | 0.99334 | -0.12756 | 0.0086067 | 0.002157
32 | 0.99273 | -0.13936 | 0 | 0
33 | 0.9948 | -0.098836 | 0.0074695 | 0.001872
34 | 0.99215 | -0.15065 | 0.010611 | 0.0026594
35 | 0.99361 | -0.12166 | 0 | 0
36 | 0.99314 | -0.13058 | 0 | 0
37 | 0.99309 | -0.13156 | 0.0029615 | 0.00074223
38 | 0.99296 | -0.13408 | 0 | 0
39 | 0.99188 | -0.15469 | 0.021972 | 0.0055067
40 | 0.99215 | -0.14983 | 0 | 0
41 | 0.99284 | -0.13633 | 0.0019298 | 0.00048365
42 | 0.99162 | -0.15964 | 0.0059943 | 0.0015023
43 | 0.99177 | -0.15727 | 0.013608 | 0.0034104
44 | 0.99212 | -0.1505 | 0.0059918 | 0.0015017
45 | 0.98745 | -0.23968 | 0 | 0
46 | 0.98724 | -0.24387 | 0.0035302 | 0.00088476
47 | 0.99004 | -0.19005 | 0.017198 | 0.0043102
48 | 0.98718 | -0.24494 | 0.0017638 | 0.00044204
49 | 0.99271 | -0.13892 | 0 | 0
50 | 0.99309 | -0.13241 | 0 | 0
51 | 0.99301 | -0.13401 | 0.0039376 | 0.00098686
52 | 0.99317 | -0.13092 | 0.0024114 | 0.00060436
53 | 0.99168 | -0.159 | 0.0027905 | 0.00069936
54 | 0.98718 | -0.24508 | 0.00050567 | 0.00012673
55 | 0.99268 | -0.13948 | 0.0030278 | 0.00075883
56 | 0.99267 | -0.13974 | 0.00041104 | 0.00010302
57 | 0.99267 | -0.13966 | 0.0039867 | 0.00099916
58 | 0.99266 | -0.13987 | 0.00027026 | 6.7734e-05
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0091337 | 0.0022896 | -0.0091316 | -0.0022886 | 2.0794e-06 | 9.8129e-07 | 0.014002 | 0.014002 | 0.014002 | 0.97069 | -0.56699 | 0.97045 | -0.57177 | 3.8466
1 | -0.013493 | -0.0033821 | 0.013499 | 0.0033854 | 5.9242e-06 | 3.3348e-06 | 0.020684 | 0.020684 | 0.020684 | 0.97069 | -0.56699 | 0.97115 | -0.55778 | 5.6824
2 | -0.013499 | -0.0033854 | 0.013507 | 0.00339 | 8.1724e-06 | 4.5996e-06 | 0.020684 | 0.020683 | 0.020684 | 0.97115 | -0.55778 | 0.9718 | -0.54509 | 5.6823
3 | -0.013507 | -0.00339 | 0.013512 | 0.0033927 | 4.7271e-06 | 2.6601e-06 | 0.020683 | 0.020683 | 0.020683 | 0.9718 | -0.54509 | 0.97217 | -0.53775 | 5.6823
4 | -0.018686 | -0.0046831 | 0.018699 | 0.004691 | 1.3153e-05 | 7.8656e-06 | 0.028335 | 0.028335 | 0.028335 | 0.98128 | -0.35921 | 0.98204 | -0.34445 | 7.7844
5 | -0.093742 | -0.023707 | 0.093843 | 0.023771 | 0.00010046 | 6.4128e-05 | 0.14212 | 0.14212 | 0.14212 | 0.98204 | -0.34445 | 0.98319 | -0.32213 | 39.0433
6 | 0.070107 | 0.017778 | -0.069923 | -0.017661 | 0.00018376 | 0.00011706 | 0.1063 | 0.1063 | 0.1063 | 0.98204 | -0.34445 | 0.97923 | -0.39913 | 29.2043
7 | -0.018577 | -0.0046623 | 0.018581 | 0.0046643 | 3.3275e-06 | 1.9935e-06 | 0.028437 | 0.028437 | 0.028437 | 0.97217 | -0.53775 | 0.97236 | -0.53399 | 7.8124
8 | -0.036651 | -0.0091932 | 0.036681 | 0.009212 | 2.9875e-05 | 1.8806e-05 | 0.056091 | 0.056091 | 0.056091 | 0.97236 | -0.53399 | 0.97322 | -0.51691 | 15.4096
9 | -0.045841 | -0.011508 | 0.045895 | 0.011542 | 5.3954e-05 | 3.4166e-05 | 0.070095 | 0.070095 | 0.070095 | 0.97322 | -0.51691 | 0.97447 | -0.49227 | 19.2569
10 | -0.05547 | -0.013942 | 0.05563 | 0.014043 | 0.00015953 | 0.00010136 | 0.084717 | 0.084717 | 0.084717 | 0.97447 | -0.49227 | 0.97753 | -0.43221 | 23.2739
11 | -0.05563 | -0.014043 | 0.055685 | 0.014078 | 5.565e-05 | 3.5356e-05 | 0.084717 | 0.084717 | 0.084717 | 0.97753 | -0.43221 | 0.9786 | -0.41135 | 23.2738
12 | -0.019496 | -0.004886 | 0.019499 | 0.004888 | 3.1847e-06 | 1.9131e-06 | 0.029424 | 0.029424 | 0.029424 | 0.98593 | -0.26915 | 0.9861 | -0.26572 | 8.0834
13 | -0.12623 | -0.031997 | 0.12638 | 0.032098 | 0.00015819 | 0.00010109 | 0.1906 | 0.1906 | 0.1906 | 0.9861 | -0.26572 | 0.98745 | -0.23968 | 52.3632
14 | 0.10673 | 0.027109 | -0.10649 | -0.026959 | 0.00023492 | 0.00015004 | 0.16118 | 0.16118 | 0.16118 | 0.9861 | -0.26572 | 0.98373 | -0.31156 | 44.2799
15 | -0.064958 | -0.016402 | 0.064996 | 0.016427 | 3.8083e-05 | 2.4242e-05 | 0.098817 | 0.098817 | 0.098817 | 0.9786 | -0.41135 | 0.97923 | -0.39913 | 27.1475
16 | -0.093843 | -0.023771 | 0.093891 | 0.023801 | 4.7698e-05 | 3.0447e-05 | 0.14212 | 0.14212 | 0.14212 | 0.98319 | -0.32213 | 0.98373 | -0.31156 | 39.0433
17 | -0.018945 | -0.0047482 | 0.018954 | 0.0047534 | 8.7411e-06 | 5.2101e-06 | 0.028205 | 0.028205 | 0.028205 | 0.9995 | -0.0096803 | 1 | 0 | 7.7487
18 | 0.29437 | 0.075209 | -0.29403 | -0.074988 | 0.00034751 | 0.00022184 | 0.43854 | 0.43854 | 0.43854 | 1 | 0 | 0.99871 | -0.024445 | 40.1594
19 | -0.015522 | -0.0038901 | 0.015525 | 0.0038919 | 3.2048e-06 | 1.8476e-06 | 0.023284 | 0.023284 | 0.023284 | 0.99194 | -0.15477 | 0.99216 | -0.15044 | 6.3967
20 | -0.026136 | -0.0065514 | 0.02615 | 0.0065599 | 1.3804e-05 | 8.5249e-06 | 0.039199 | 0.039198 | 0.039199 | 0.99216 | -0.15044 | 0.99273 | -0.13936 | 10.7688
21 | 0.010611 | 0.0026595 | -0.010611 | -0.0026594 | 1.0754e-07 | 5.4206e-08 | 0.015915 | 0.015915 | 0.015915 | 0.99216 | -0.15044 | 0.99215 | -0.15065 | 4.3721
22 | 0.061487 | 0.015488 | -0.06142 | -0.015446 | 6.6622e-05 | 4.2364e-05 | 0.091826 | 0.091827 | 0.091827 | 0.99667 | -0.063483 | 0.99549 | -0.086166 | 25.2271
23 | -0.069157 | -0.01741 | 0.069228 | 0.017456 | 7.1402e-05 | 4.5464e-05 | 0.10328 | 0.10328 | 0.10328 | 0.99667 | -0.063483 | 0.99779 | -0.041908 | 28.373
24 | 0.0045036 | 0.0011287 | -0.0045036 | -0.0011287 | 2.3242e-08 | -2.9061e-09 | 0.0067318 | 0.0067318 | 0.0067318 | 0.99549 | -0.086166 | 0.99548 | -0.086274 | 1.8494
25 | 0.056916 | 0.014317 | -0.056842 | -0.014269 | 7.4715e-05 | 4.746e-05 | 0.085095 | 0.085095 | 0.085095 | 0.99549 | -0.086166 | 0.99406 | -0.11368 | 23.3777
26 | 0.22455 | 0.057374 | -0.22421 | -0.057157 | 0.00034083 | 0.00021718 | 0.33526 | 0.33526 | 0.33526 | 0.99779 | -0.041908 | 0.99614 | -0.073349 | 30.7019
27 | -0.29378 | -0.07483 | 0.29403 | 0.074988 | 0.00024771 | 0.00015813 | 0.43854 | 0.43854 | 0.43854 | 0.99779 | -0.041908 | 0.99871 | -0.024445 | 40.1595
28 | 0.014967 | 0.003754 | -0.014962 | -0.0037508 | 5.5597e-06 | 3.1755e-06 | 0.022406 | 0.022406 | 0.022406 | 0.99406 | -0.11368 | 0.99366 | -0.12148 | 6.1554
29 | 0.041874 | 0.010515 | -0.041855 | -0.010503 | 1.8975e-05 | 1.1977e-05 | 0.062689 | 0.062689 | 0.062689 | 0.99406 | -0.11368 | 0.99357 | -0.12319 | 17.2223
30 | 0.22421 | 0.057157 | -0.22416 | -0.057123 | 5.2543e-05 | 3.3482e-05 | 0.33526 | 0.33526 | 0.33526 | 0.99614 | -0.073349 | 0.99588 | -0.078205 | 30.7019
31 | 0.014962 | 0.0037508 | -0.014957 | -0.0037483 | 4.3343e-06 | 2.4758e-06 | 0.022406 | 0.022406 | 0.022406 | 0.99366 | -0.12148 | 0.99334 | -0.12756 | 6.1554
32 | 0.02617 | 0.0065724 | -0.02615 | -0.0065599 | 2.0179e-05 | 1.2461e-05 | 0.039198 | 0.039198 | 0.039198 | 0.99357 | -0.12319 | 0.99273 | -0.13936 | 10.7688
33 | 0.22115 | 0.05637 | -0.22093 | -0.05623 | 0.00021997 | 0.00014016 | 0.33077 | 0.33077 | 0.33077 | 0.99588 | -0.078205 | 0.9948 | -0.098836 | 30.2907
34 | 0.0063506 | 0.0015913 | -0.0063496 | -0.001591 | 1.0168e-06 | 2.6296e-07 | 0.009513 | 0.0095132 | 0.0095132 | 0.99334 | -0.12756 | 0.99317 | -0.13092 | 2.6135
35 | 0.21346 | 0.054358 | -0.21323 | -0.054208 | 0.00023471 | 0.0001495 | 0.3196 | 0.3196 | 0.3196 | 0.9948 | -0.098836 | 0.99361 | -0.12166 | 29.2676
36 | 0.18784 | 0.047832 | -0.18776 | -0.047781 | 8.0771e-05 | 5.1377e-05 | 0.28158 | 0.28158 | 0.28158 | 0.99361 | -0.12166 | 0.99314 | -0.13058 | 25.7853
37 | 0.025389 | 0.0063761 | -0.025377 | -0.0063687 | 1.198e-05 | 7.381e-06 | 0.038027 | 0.038027 | 0.038027 | 0.99361 | -0.12166 | 0.99309 | -0.13156 | 10.4471
38 | 0.0096294 | 0.0024133 | -0.0096278 | -0.0024125 | 1.6063e-06 | 7.6181e-07 | 0.014428 | 0.014428 | 0.014428 | 0.99314 | -0.13058 | 0.99296 | -0.13408 | 3.9637
39 | 0.17813 | 0.045368 | -0.17792 | -0.045236 | 0.00020691 | 0.00013152 | 0.26715 | 0.26715 | 0.26715 | 0.99314 | -0.13058 | 0.99188 | -0.15469 | 24.4641
40 | 0.022416 | 0.0056265 | -0.022396 | -0.0056146 | 1.9516e-05 | 1.1894e-05 | 0.03359 | 0.03359 | 0.03359 | 0.99309 | -0.13156 | 0.99215 | -0.14983 | 9.2281
41 | 0.0096278 | 0.0024125 | -0.0096268 | -0.002412 | 1.0318e-06 | 4.8939e-07 | 0.014428 | 0.014428 | 0.014428 | 0.99296 | -0.13408 | 0.99284 | -0.13633 | 3.9637
42 | 0.15595 | 0.039729 | -0.15591 | -0.039706 | 3.7192e-05 | 2.3593e-05 | 0.23419 | 0.23419 | 0.23419 | 0.99188 | -0.15469 | 0.99162 | -0.15964 | 21.4456
43 | 0.016404 | 0.0041129 | -0.016398 | -0.0041095 | 5.8184e-06 | 3.3929e-06 | 0.024604 | 0.024604 | 0.024604 | 0.99215 | -0.14983 | 0.99177 | -0.15727 | 6.7592
44 | 0.005992 | 0.0015017 | -0.0059918 | -0.0015017 | 1.9163e-07 | 4.0933e-08 | 0.0089867 | 0.0089868 | 0.0089868 | 0.99215 | -0.14983 | 0.99212 | -0.1505 | 2.4689
45 | 0.007697 | 0.0019284 | -0.007696 | -0.001928 | 9.4713e-07 | 3.6074e-07 | 0.011536 | 0.011536 | 0.011536 | 0.99284 | -0.13633 | 0.99271 | -0.13892 | 3.1691
46 | 0.14992 | 0.038203 | -0.1497 | -0.038064 | 0.00021964 | 0.00013923 | 0.22519 | 0.22519 | 0.22519 | 0.99162 | -0.15964 | 0.99004 | -0.19005 | 20.6219
47 | 0.0027907 | 0.00069906 | -0.0027905 | -0.00069936 | 2.2973e-07 | -3.0386e-07 | 0.004187 | 0.0041871 | 0.0041871 | 0.99177 | -0.15727 | 0.99168 | -0.159 | 1.1503
48 | 0.0058009 | 0.0014533 | -0.0057998 | -0.0014531 | 1.1577e-06 | 2.2422e-07 | 0.0087414 | 0.0087416 | 0.0087416 | 0.98745 | -0.23968 | 0.98724 | -0.24387 | 2.4015
49 | -0.13218 | -0.033552 | 0.1325 | 0.033754 | 0.00031642 | 0.00020223 | 0.19934 | 0.19934 | 0.19934 | 0.98745 | -0.23968 | 0.99004 | -0.19005 | 54.7647
50 | 0.0022696 | 0.00056832 | -0.0022694 | -0.00056859 | 1.1635e-07 | -2.6456e-07 | 0.0034206 | 0.0034207 | 0.0034207 | 0.98724 | -0.24387 | 0.98718 | -0.24494 | 0.93977
51 | 0.00050568 | 0.00012655 | -0.00050567 | -0.00012673 | 3.2434e-09 | -1.8827e-07 | 0.00076216 | 0.00076223 | 0.00076223 | 0.98718 | -0.24494 | 0.98718 | -0.24508 | 0.2094
52 | 0.0039868 | 0.00099911 | -0.0039867 | -0.00099916 | 1.4106e-07 | -4.5893e-08 | 0.005976 | 0.0059761 | 0.0059761 | 0.99271 | -0.13892 | 0.99267 | -0.13966 | 1.6418
53 | 0.0037092 | 0.00092891 | -0.0037091 | -0.00092895 | 9.9469e-08 | -4.7284e-08 | 0.0055596 | 0.0055597 | 0.0055597 | 0.99271 | -0.13892 | 0.99268 | -0.13948 | 1.5274
54 | 0.0039379 | 0.00098675 | -0.0039376 | -0.00098686 | 2.9937e-07 | -1.0507e-07 | 0.0059003 | 0.0059004 | 0.0059004 | 0.99309 | -0.13241 | 0.99301 | -0.13401 | 1.621
55 | -0.0039379 | -0.00098675 | 0.0039382 | 0.00098665 | 2.7969e-07 | -9.8216e-08 | 0.0059003 | 0.0059002 | 0.0059003 | 0.99309 | -0.13241 | 0.99317 | -0.13092 | 1.621
56 | 0.00068131 | 0.00017012 | -0.00068131 | -0.00017039 | 8.3752e-09 | -2.7155e-07 | 0.0010211 | 0.0010212 | 0.0010212 | 0.99268 | -0.13948 | 0.99267 | -0.13974 | 0.28054
57 | 0.00027027 | 6.7375e-05 | -0.00027026 | -6.7734e-05 | 1.7136e-09 | -3.5894e-07 | 0.000405 | 0.00040513 | 0.00040513 | 0.99267 | -0.13974 | 0.99266 | -0.13987 | 0.1113

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33554 | 0.085115

## res_load
| p_mw | q_mvar
0 | 0.004359 | 0.0010925
1 | 0.0091316 | 0.0022886
2 | 0.018686 | 0.0046831
3 | 0.0049363 | 0.0012371
4 | 0.0050658 | 0.0012696
5 | 0.018071 | 0.0045289
6 | 0.0091595 | 0.0022956
7 | 0.0095756 | 0.0023999
8 | 0.019496 | 0.004886
9 | 0.009273 | 0.002324
10 | 0.0049269 | 0.0012348
11 | 0.012601 | 0.0031582
12 | 0.018945 | 0.0047482
13 | 0.020557 | 0.0051522
14 | 0.015522 | 0.0038901
15 | 0.00767 | 0.0019223
16 | 0.0045036 | 0.0011287
17 | 0.015685 | 0.0039311
18 | 0.0030049 | 0.0007531
19 | 0.0086067 | 0.002157
20 | 0.0074695 | 0.001872
21 | 0.010611 | 0.0026594
22 | 0.0029615 | 0.00074223
23 | 0.021972 | 0.0055067
24 | 0.0019298 | 0.00048365
25 | 0.0059943 | 0.0015023
26 | 0.013608 | 0.0034104
27 | 0.0059918 | 0.0015017
28 | 0.0035302 | 0.00088476
29 | 0.017198 | 0.0043102
30 | 0.0017638 | 0.00044204
31 | 0.0039376 | 0.00098686
32 | 0.0024114 | 0.00060436
33 | 0.0027905 | 0.00069936
34 | 0.00050567 | 0.00012673
35 | 0.0030278 | 0.00075883
36 | 0.00041104 | 0.00010302
37 | 0.0039867 | 0.00099916
38 | 0.00027026 | 6.7734e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1