## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_198-70_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_198-70_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_198-70_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_198-70_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_198-70_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_198-70_0_4_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_198-70_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_198-70_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_198-70_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_198-70_0_4_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_198-70_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_198-70_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_198-70_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_198-70_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_198-70_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_198-70_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_198-70_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_198-70_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_198-70_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_198-70_0_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_198-70_0_4_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_198-70_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_198-70_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_198-70_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_198-70_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_198-70_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_198-70_0_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_198-70_0_4_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_198-70_0_4_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_198-70_0_4_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_198-70_0_4_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_198-70_0_4_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_198-70_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_198-70_0_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_198-70_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_198-70_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_198-70_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_198-70_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_198-70_0_4_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_198-70_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_198-70_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_198-70_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_198-70_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_198-70_0_4_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_198-70_0_4_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_198-70_0_4_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_198-70_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_198-70_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_198-70_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_198-70_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_198-70_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_198-70_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_198-70_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_198-70_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_198-70_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_198-70_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_MV_501_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_198-70_0_4_load_0 | 0 | 0.099632 | 0.02497 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_198-70_0_4_load_1 | 1 | 0.0059235 | 0.0014846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_198-70_0_4_load_4 | 4 | 0.063086 | 0.015811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_198-70_0_4_load_55 | 5 | 0.017151 | 0.0042983 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_198-70_0_4_load_44 | 6 | 0.0044624 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_198-70_0_4_load_46 | 9 | 0.023174 | 0.0058079 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_198-70_0_4_load_21 | 12 | 0.0063972 | 0.0016033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_198-70_0_4_load_29 | 13 | 0.0094615 | 0.0023713 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_198-70_0_4_load_32 | 14 | 0.0080252 | 0.0020113 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_198-70_0_4_load_48 | 15 | 0.0058393 | 0.0014635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_198-70_0_4_load_34 | 19 | 0.0042588 | 0.0010673 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_198-70_0_4_load_40 | 20 | 0.0041641 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_198-70_0_4_load_33 | 21 | 0.0083373 | 0.0020895 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_198-70_0_4_load_45 | 22 | 0.020278 | 0.0050822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_198-70_0_4_load_20 | 23 | 0.0022464 | 0.000563 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_198-70_0_4_load_25 | 24 | 0.0092778 | 0.0023252 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_198-70_0_4_load_30 | 25 | 0.011946 | 0.002994 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_198-70_0_4_load_47 | 26 | 0.0041018 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_198-70_0_4_load_8 | 27 | 0.004865 | 0.0012193 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_198-70_0_4_load_10 | 29 | 0.023349 | 0.0058518 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_198-70_0_4_load_13 | 31 | 0.0025855 | 0.00064798 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_198-70_0_4_load_14 | 32 | 0.0041927 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_198-70_0_4_load_23 | 36 | 0.0042841 | 0.0010737 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_198-70_0_4_load_24 | 37 | 0.0095318 | 0.0023889 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_198-70_0_4_load_15 | 38 | 0.0042476 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_198-70_0_4_load_37 | 39 | 0.0042515 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_198-70_0_4_load_35 | 40 | 0.0042416 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_198-70_0_4_load_57 | 41 | 0.0057348 | 0.0014373 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_198-70_0_4_load_43 | 42 | 0.0027196 | 0.00068159 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_198-70_0_4_load_17 | 43 | 0.0081455 | 0.0020415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_198-70_0_4_load_18 | 44 | 0.007522 | 0.0018852 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_198-70_0_4_load_19 | 45 | 0.0014201 | 0.0003559 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_198-70_0_4_load_22 | 46 | 0.0028986 | 0.00072645 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_198-70_0_4_load_50 | 47 | 0.027513 | 0.0068953 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_198-70_0_4_load_53 | 48 | 0.0072594 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_198-70_0_4_load_52 | 49 | 0.011465 | 0.0028733 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_198-70_0_4_load_58 | 50 | 0.00077823 | 0.00019504 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_198-70_0_4_load_31 | 51 | 0.020201 | 0.0050628 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_198-70_0_4_load_41 | 52 | 0.0033818 | 0.00084757 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_198-70_0_4_load_42 | 53 | 0.0028696 | 0.00071919 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_198-70_0_4_load_51 | 54 | 0.005514 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_198-70_0_4_load_54 | 55 | 0.0023611 | 0.00059174 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_198-70_0_4_line_0 |  | 0 | 1 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_198-70_0_4_line_1 |  | 0 | 2 | 0.041956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_198-70_0_4_line_2 |  | 1 | 3 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_198-70_0_4_line_3 |  | 2 | 4 | 0.026293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_198-70_0_4_line_4 |  | 3 | 5 | 0.10474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_198-70_0_4_line_5 |  | 4 | 6 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_198-70_0_4_line_6 |  | 5 | 16 | 0.098746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_198-70_0_4_line_7 |  | 6 | 11 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_198-70_0_4_line_8 |  | 7 | 8 | 0.005529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_198-70_0_4_line_9 |  | 7 | 9 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_198-70_0_4_line_10 |  | 8 | 21 | 0.0058122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_198-70_0_4_line_11 |  | 8 | 17 | 0.027578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_198-70_0_4_line_12 |  | 9 | 22 | 0.028578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_198-70_0_4_line_13 |  | 10 | 11 | 0.007842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_198-70_0_4_line_14 |  | 10 | 12 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_198-70_0_4_line_15 |  | 10 | 13 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_198-70_0_4_line_16 |  | 10 | 14 | 0.0091119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_198-70_0_4_line_17 |  | 11 | 15 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_198-70_0_4_line_18 |  | 12 | 23 | 0.0075451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_198-70_0_4_line_19 |  | 13 | 24 | 0.013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_198-70_0_4_line_20 |  | 14 | 25 | 0.048078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_198-70_0_4_line_21 |  | 15 | 26 | 0.0030583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_198-70_0_4_line_22 |  | 16 | 33 | 0.050251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_198-70_0_4_line_23 |  | 17 | 18 | 0.029459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_198-70_0_4_line_24 |  | 17 | 19 | 0.070243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_198-70_0_4_line_25 |  | 18 | 20 | 0.092705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_198-70_0_4_line_26 |  | 19 | 40 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_198-70_0_4_line_27 |  | 20 | 52 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_198-70_0_4_line_28 |  | 21 | 51 | 0.017823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_198-70_0_4_line_29 |  | 23 | 46 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_198-70_0_4_line_30 |  | 24 | 37 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_198-70_0_4_line_31 |  | 25 | 51 | 0.02803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_198-70_0_4_line_32 |  | 26 | 34 | 0.033681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_198-70_0_4_line_33 |  | 27 | 28 | 0.040919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_198-70_0_4_line_34 |  | 27 | 29 | 0.018644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_198-70_0_4_line_35 |  | 28 | 30 | 0.15402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_198-70_0_4_line_36 |  | 30 | 31 | 0.12309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_198-70_0_4_line_37 |  | 31 | 32 | 0.022868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_198-70_0_4_line_38 |  | 32 | 38 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_198-70_0_4_line_39 |  | 33 | 50 | 0.11504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_198-70_0_4_line_40 |  | 34 | 35 | 0.005712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_198-70_0_4_line_41 |  | 35 | 47 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_198-70_0_4_line_42 |  | 36 | 37 | 0.012734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_198-70_0_4_line_43 |  | 38 | 39 | 0.02167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_198-70_0_4_line_44 |  | 39 | 40 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_198-70_0_4_line_45 |  | 41 | 42 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_198-70_0_4_line_46 |  | 42 | 53 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_198-70_0_4_line_47 |  | 43 | 44 | 0.018384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_198-70_0_4_line_48 |  | 44 | 45 | 0.0089787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_198-70_0_4_line_49 |  | 45 | 46 | 0.0073581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_198-70_0_4_line_50 |  | 47 | 54 | 0.0084211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_198-70_0_4_line_51 |  | 48 | 49 | 0.0070742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_198-70_0_4_line_52 |  | 49 | 54 | 0.011166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_198-70_0_4_line_53 |  | 50 | 55 | 0.061105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_198-70_0_4_line_54 |  | 52 | 53 | 0.013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_198-70_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 56 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2697509.8055 | 1244742.5805 | 2697511.3294 | 1244744.9221 | 2697517.7204 | 1244758.1255
1 | 2697483.0036 | 1244710.4524 | 2697497.825 | 1244726.019 | 2697504.6215 | 1244734.615 | 2697509.8055 | 1244742.5805
2 | 2697524.9003 | 1244774.9348 | 2697519.9615 | 1244762.7554 | 2697517.7204 | 1244758.1255
3 | 2697483.0036 | 1244710.4524 | 2697466.9659 | 1244724.2662 | 2697463.2982 | 1244727.8479
4 | 2697524.9003 | 1244774.9348 | 2697485.0237 | 1244788.4453 | 2697432.0063 | 1244807.8448 | 2697426.1883 | 1244809.9481
5 | 2697463.2982 | 1244727.8479 | 2697456.8655 | 1244734.13 | 2697455.0657 | 1244734.6564 | 2697454.6196 | 1244734.1134
6 | 2697354.7525 | 1244868.6564 | 2697371.1814 | 1244861.8097 | 2697380.3026 | 1244856.7889 | 2697386.5896 | 1244852.233 | 2697406.7514 | 1244830.7031 | 2697407.5265 | 1244829.526 | 2697408.0034 | 1244828.0994 | 2697408.1394 | 1244826.7229 | 2697407.7402 | 1244819.7443 | 2697407.9692 | 1244818.2247 | 2697408.6414 | 1244816.868 | 2697410.0878 | 1244815.7687 | 2697426.1883 | 1244809.9481
7 | 2697447.2488 | 1244725.1429 | 2697454.6196 | 1244734.1134
8 | 2697540.0906 | 1244667.013 | 2697538.2111 | 1244661.8115
9 | 2697540.0906 | 1244667.013 | 2697542.8651 | 1244673.8528 | 2697549.7216 | 1244670.907
10 | 2697538.2111 | 1244661.8115 | 2697532.9964 | 1244664.3782
11 | 2697538.2111 | 1244661.8115 | 2697541.1531 | 1244659.3913 | 2697542.9726 | 1244655.3737 | 2697543.3462 | 1244651.0432 | 2697543.7178 | 1244645.9121 | 2697544.7484 | 1244636.0993
12 | 2697577.0881 | 1244662.8687 | 2697566.2116 | 1244665.5303 | 2697555.1043 | 1244668.5944 | 2697549.7216 | 1244670.907
13 | 2697447.2488 | 1244725.1429 | 2697449.6416 | 1244723.0251 | 2697446.6851 | 1244719.4404
14 | 2697446.6851 | 1244719.4404 | 2697442.2317 | 1244714.0409 | 2697439.3723 | 1244709.034
15 | 2697446.6851 | 1244719.4404 | 2697436.127 | 1244728.9354
16 | 2697446.6851 | 1244719.4404 | 2697453.4568 | 1244713.3437
17 | 2697447.2488 | 1244725.1429 | 2697433.5974 | 1244737.2092
18 | 2697435.6306 | 1244702.482 | 2697439.3723 | 1244709.034
19 | 2697436.127 | 1244728.9354 | 2697428.4588 | 1244735.8314 | 2697425.9164 | 1244738.2165
20 | 2697492.0342 | 1244684.9703 | 2697482.4906 | 1244690.1729 | 2697471.2931 | 1244697.8059 | 2697460.0635 | 1244707.3954 | 2697453.4568 | 1244713.3437
21 | 2697431.3059 | 1244739.2346 | 2697433.5974 | 1244737.2092
22 | 2697354.7525 | 1244868.6564 | 2697367.6366 | 1244905.0846 | 2697369.5277 | 1244911.4205 | 2697370.6265 | 1244916.2978
23 | 2697544.7484 | 1244636.0993 | 2697549.9412 | 1244636.5183 | 2697550.2101 | 1244632.1194 | 2697551.4522 | 1244622.3101 | 2697553.389 | 1244612.5456
24 | 2697544.7484 | 1244636.0993 | 2697523.68 | 1244641.457 | 2697503.4609 | 1244641.1356 | 2697484.6527 | 1244637.2791 | 2697475.6643 | 1244635.9747
25 | 2697553.389 | 1244612.5456 | 2697549.3886 | 1244611.7681 | 2697544.8004 | 1244610.892 | 2697524.2956 | 1244615.5251 | 2697504.3082 | 1244617.1867 | 2697487.4276 | 1244616.064 | 2697461.7584 | 1244612.174
26 | 2697475.6643 | 1244635.9747 | 2697454.3626 | 1244632.8835
27 | 2697461.7584 | 1244612.174 | 2697447.4912 | 1244610.0119
28 | 2697532.9964 | 1244664.3782 | 2697517.0054 | 1244672.2493
29 | 2697435.6306 | 1244702.482 | 2697434.1803 | 1244699.9424 | 2697431.2936 | 1244690.9494
30 | 2697412.8158 | 1244749.6197 | 2697417.5437 | 1244746.0711 | 2697425.9164 | 1244738.2165
31 | 2697492.0342 | 1244684.9703 | 2697500.1524 | 1244680.5447 | 2697517.0054 | 1244672.2493
32 | 2697405.3191 | 1244760.5704 | 2697413.0989 | 1244755.3274 | 2697431.3059 | 1244739.2346
33 | 2697328.8388 | 1244695.9992 | 2697341.6763 | 1244693.8748 | 2697352.4748 | 1244692.5732 | 2697369.5019 | 1244692.2531
34 | 2697388.1428 | 1244691.9026 | 2697369.5019 | 1244692.2531
35 | 2697245.6916 | 1244605.1218 | 2697246.8172 | 1244606.5302 | 2697248.2627 | 1244609.6341 | 2697262.8693 | 1244653.5515 | 2697283.0465 | 1244695.1141 | 2697285.2344 | 1244701.3325 | 2697286.3805 | 1244707.0223 | 2697300.8248 | 1244702.3112 | 2697310.9785 | 1244699.7758 | 2697319.4298 | 1244697.824 | 2697328.8388 | 1244695.9992
36 | 2697245.6916 | 1244605.1218 | 2697250.654 | 1244603.9245 | 2697254.541 | 1244603.3211 | 2697260.9518 | 1244603.6709 | 2697298.1871 | 1244609.2968 | 2697367.3363 | 1244620.0199
37 | 2697389.9343 | 1244623.5242 | 2697367.3363 | 1244620.0199
38 | 2697411.3264 | 1244626.6382 | 2697390.8961 | 1244623.6734 | 2697389.9343 | 1244623.5242
39 | 2697370.6265 | 1244916.2978 | 2697432.6685 | 1244941.3689 | 2697467.671 | 1244907.9961
40 | 2697405.3191 | 1244760.5704 | 2697408.0404 | 1244765.5967
41 | 2697408.0404 | 1244765.5967 | 2697415.4561 | 1244779.2845
42 | 2697412.8158 | 1244749.6197 | 2697407.642 | 1244753.5031 | 2697402.4285 | 1244756.9769
43 | 2697432.7721 | 1244629.7503 | 2697411.3264 | 1244626.6382
44 | 2697432.7721 | 1244629.7503 | 2697454.3626 | 1244632.8835
45 | 2697404.4075 | 1244605.0682 | 2697419.9543 | 1244606.7462
46 | 2697433.7925 | 1244608.2398 | 2697419.9543 | 1244606.7462
47 | 2697426.3005 | 1244675.3942 | 2697426.3005 | 1244675.3942 | 2697444.6696 | 1244674.6623
48 | 2697426.3005 | 1244675.3942 | 2697429.0447 | 1244683.9433
49 | 2697429.0447 | 1244683.9433 | 2697431.2936 | 1244690.9494
50 | 2697415.4561 | 1244779.2845 | 2697415.4561 | 1244779.2845 | 2697413.8014 | 1244787.5414 | 2697413.8014 | 1244787.5414
51 | 2697403.0076 | 1244790.3997 | 2697403.0076 | 1244790.3997 | 2697403.46 | 1244794.1433 | 2697400.3589 | 1244795.2813
52 | 2697403.0076 | 1244790.3997 | 2697413.8014 | 1244787.5414
53 | 2697467.671 | 1244907.9961 | 2697528.4338 | 1244914.4536
54 | 2697447.4912 | 1244610.0119 | 2697440.7614 | 1244608.992 | 2697433.7925 | 1244608.2398

## bus_geodata
| x | y | coords
0 | 2697509.8055 | 1244742.5805
1 | 2697517.7204 | 1244758.1255
2 | 2697483.0036 | 1244710.4524
3 | 2697524.9003 | 1244774.9348
4 | 2697463.2982 | 1244727.8479
5 | 2697426.1883 | 1244809.9481
6 | 2697454.6196 | 1244734.1134
7 | 2697540.0906 | 1244667.013
8 | 2697538.2111 | 1244661.8115
9 | 2697549.7216 | 1244670.907
10 | 2697446.6851 | 1244719.4404
11 | 2697447.2488 | 1244725.1429
12 | 2697439.3723 | 1244709.034
13 | 2697436.127 | 1244728.9354
14 | 2697453.4568 | 1244713.3437
15 | 2697433.5974 | 1244737.2092
16 | 2697354.7525 | 1244868.6564
17 | 2697544.7484 | 1244636.0993
18 | 2697553.389 | 1244612.5456
19 | 2697475.6643 | 1244635.9747
20 | 2697461.7584 | 1244612.174
21 | 2697532.9964 | 1244664.3782
22 | 2697577.0881 | 1244662.8687
23 | 2697435.6306 | 1244702.482
24 | 2697425.9164 | 1244738.2165
25 | 2697492.0342 | 1244684.9703
26 | 2697431.3059 | 1244739.2346
27 | 2697369.5019 | 1244692.2531
28 | 2697328.8388 | 1244695.9992
29 | 2697388.1428 | 1244691.9026
30 | 2697245.6916 | 1244605.1218
31 | 2697367.3363 | 1244620.0199
32 | 2697389.9343 | 1244623.5242
33 | 2697370.6265 | 1244916.2978
34 | 2697405.3191 | 1244760.5704
35 | 2697408.0404 | 1244765.5967
36 | 2697402.4285 | 1244756.9769
37 | 2697412.8158 | 1244749.6197
38 | 2697411.3264 | 1244626.6382
39 | 2697432.7721 | 1244629.7503
40 | 2697454.3626 | 1244632.8835
41 | 2697404.4075 | 1244605.0682
42 | 2697419.9543 | 1244606.7462
43 | 2697444.6696 | 1244674.6623
44 | 2697426.3005 | 1244675.3942
45 | 2697429.0447 | 1244683.9433
46 | 2697431.2936 | 1244690.9494
47 | 2697415.4561 | 1244779.2845
48 | 2697400.3589 | 1244795.2813
49 | 2697403.0076 | 1244790.3997
50 | 2697467.671 | 1244907.9961
51 | 2697517.0054 | 1244672.2494
52 | 2697447.4912 | 1244610.0119
53 | 2697433.7925 | 1244608.2398
54 | 2697413.8014 | 1244787.5414
55 | 2697528.4338 | 1244914.4536
56 | 2697447.2488 | 1244725.1429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99214 | -0.1509 | 0.099632 | 0.02497
1 | 0.99173 | -0.15902 | 0.0059235 | 0.0014846
2 | 0.99697 | -0.057854 | 0 | 0
3 | 0.99139 | -0.1656 | 0 | 0
4 | 1 | 0 | -0.42121 | -0.10651
5 | 0.98944 | -0.20338 | 0.017151 | 0.0042983
6 | 0.99897 | -0.019526 | 0.0044624 | 0.0011184
7 | 0.98999 | -0.19155 | 0 | 0
8 | 0.99021 | -0.18728 | 0 | 0
9 | 0.9894 | -0.20303 | 0.023174 | 0.0058079
10 | 0.99742 | -0.049115 | 0 | 0
11 | 0.99796 | -0.03886 | 0 | 0
12 | 0.99709 | -0.05552 | 0.0063972 | 0.0016033
13 | 0.997 | -0.057217 | 0.0094615 | 0.0023713
14 | 0.99697 | -0.057784 | 0.0080252 | 0.0020113
15 | 0.99694 | -0.058552 | 0.0058393 | 0.0014635
16 | 0.98915 | -0.20892 | 0 | 0
17 | 0.9884 | -0.22209 | 0 | 0
18 | 0.98789 | -0.23202 | 0 | 0
19 | 0.98501 | -0.28749 | 0.0042588 | 0.0010673
20 | 0.98628 | -0.26332 | 0.0041641 | 0.0010436
21 | 0.99082 | -0.17547 | 0.0083373 | 0.0020895
22 | 0.98887 | -0.21335 | 0.020278 | 0.0050822
23 | 0.99694 | -0.058461 | 0.0022464 | 0.000563
24 | 0.99671 | -0.062807 | 0.0092778 | 0.0023252
25 | 0.99469 | -0.10139 | 0.011946 | 0.002994
26 | 0.99678 | -0.061548 | 0.0041018 | 0.001028
27 | 0.97265 | -0.52878 | 0.004865 | 0.0012193
28 | 0.97373 | -0.50754 | 0 | 0
29 | 0.97224 | -0.53681 | 0.023349 | 0.0058518
30 | 0.97778 | -0.42797 | 0 | 0
31 | 0.98102 | -0.36485 | 0.0025855 | 0.00064798
32 | 0.98168 | -0.3521 | 0.0041927 | 0.0010508
33 | 0.98901 | -0.21174 | 0 | 0
34 | 0.99519 | -0.092174 | 0 | 0
35 | 0.99492 | -0.097378 | 0 | 0
36 | 0.99645 | -0.067981 | 0.0042841 | 0.0010737
37 | 0.9965 | -0.067023 | 0.0095318 | 0.0023889
38 | 0.98238 | -0.33842 | 0.0042476 | 0.0010645
39 | 0.98317 | -0.32307 | 0.0042515 | 0.0010655
40 | 0.98405 | -0.30597 | 0.0042416 | 0.0010631
41 | 0.98575 | -0.27364 | 0.0057348 | 0.0014373
42 | 0.98583 | -0.27204 | 0.0027196 | 0.00068159
43 | 0.99634 | -0.070102 | 0.0081455 | 0.0020415
44 | 0.99647 | -0.067473 | 0.007522 | 0.0018852
45 | 0.9966 | -0.065004 | 0.0014201 | 0.0003559
46 | 0.99671 | -0.062798 | 0.0028986 | 0.00072645
47 | 0.99419 | -0.11157 | 0.027513 | 0.0068953
48 | 0.99376 | -0.11977 | 0.0072594 | 0.0018194
49 | 0.99381 | -0.11886 | 0.011465 | 0.0028733
50 | 0.98868 | -0.21818 | 0.00077823 | 0.00019504
51 | 0.99284 | -0.13674 | 0.020201 | 0.0050628
52 | 0.98609 | -0.26712 | 0.0033818 | 0.00084757
53 | 0.98594 | -0.26993 | 0.0028696 | 0.00071919
54 | 0.994 | -0.11517 | 0.005514 | 0.0013819
55 | 0.98855 | -0.22076 | 0.0023611 | 0.00059174
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.026269 | 0.0065993 | -0.026259 | -0.006593 | 1.0168e-05 | 6.2818e-06 | 0.039404 | 0.039404 | 0.039404 | 0.99214 | -0.1509 | 0.99173 | -0.15902 | 10.8252
1 | -0.1259 | -0.031569 | 0.12646 | 0.031928 | 0.00056102 | 0.00035851 | 0.18883 | 0.18883 | 0.18883 | 0.99214 | -0.1509 | 0.99697 | -0.057854 | 51.8768
2 | 0.020335 | 0.0051085 | -0.020329 | -0.0051046 | 6.3858e-06 | 3.8511e-06 | 0.030516 | 0.030516 | 0.030516 | 0.99173 | -0.15902 | 0.99139 | -0.1656 | 8.3835
3 | -0.12646 | -0.031928 | 0.12681 | 0.032153 | 0.00035158 | 0.00022467 | 0.18883 | 0.18883 | 0.18883 | 0.99697 | -0.057854 | 1 | 0 | 51.8767
4 | 0.020329 | 0.0051046 | -0.020292 | -0.0050825 | 3.6579e-05 | 2.2062e-05 | 0.030516 | 0.030517 | 0.030517 | 0.99139 | -0.1656 | 0.98944 | -0.20338 | 8.3837
5 | 0.29274 | 0.074357 | -0.29247 | -0.074181 | 0.00027485 | 0.00017545 | 0.43596 | 0.43596 | 0.43596 | 1 | 0 | 0.99897 | -0.019526 | 39.9227
6 | 0.0031418 | 0.00078422 | -0.003141 | -0.00078495 | 8.2639e-07 | -7.39e-07 | 0.0047239 | 0.0047243 | 0.0047243 | 0.98944 | -0.20338 | 0.98915 | -0.20892 | 1.2979
7 | 0.28801 | 0.073063 | -0.28774 | -0.072892 | 0.00026748 | 0.00017073 | 0.42931 | 0.42931 | 0.42931 | 0.99897 | -0.019526 | 0.99796 | -0.03886 | 39.3141
8 | -0.043486 | -0.010911 | 0.043494 | 0.010917 | 8.8589e-06 | 5.5986e-06 | 0.065366 | 0.065366 | 0.065366 | 0.98999 | -0.19155 | 0.99021 | -0.18728 | 17.9577
9 | 0.043486 | 0.010911 | -0.043462 | -0.010896 | 2.3783e-05 | 1.5031e-05 | 0.065366 | 0.065366 | 0.065366 | 0.98999 | -0.19155 | 0.9894 | -0.20303 | 17.9577
10 | -0.11506 | -0.029121 | 0.11513 | 0.029162 | 6.5241e-05 | 4.1679e-05 | 0.17301 | 0.17301 | 0.17301 | 0.99021 | -0.18728 | 0.99082 | -0.17547 | 47.5306
11 | 0.07157 | 0.018204 | -0.07145 | -0.018128 | 0.00011984 | 7.6341e-05 | 0.10765 | 0.10765 | 0.10765 | 0.99021 | -0.18728 | 0.9884 | -0.22209 | 29.573
12 | 0.020288 | 0.0050882 | -0.020278 | -0.0050822 | 9.9782e-06 | 6.0192e-06 | 0.030514 | 0.030514 | 0.030514 | 0.9894 | -0.20303 | 0.98887 | -0.21335 | 8.3829
13 | -0.22574 | -0.057235 | 0.22585 | 0.057306 | 0.00011133 | 7.0943e-05 | 0.337 | 0.337 | 0.337 | 0.99742 | -0.049115 | 0.99796 | -0.03886 | 30.8611
14 | 0.02865 | 0.0071876 | -0.028642 | -0.0071822 | 8.7462e-06 | 5.431e-06 | 0.042745 | 0.042745 | 0.042745 | 0.99742 | -0.049115 | 0.99709 | -0.05552 | 11.7431
15 | 0.032577 | 0.0081722 | -0.032564 | -0.0081644 | 1.2579e-05 | 7.865e-06 | 0.048603 | 0.048603 | 0.048603 | 0.99742 | -0.049115 | 0.997 | -0.057217 | 13.3524
16 | 0.16451 | 0.041875 | -0.16444 | -0.041831 | 6.8734e-05 | 4.3633e-05 | 0.24566 | 0.24566 | 0.24566 | 0.99742 | -0.049115 | 0.99697 | -0.057784 | 22.4959
17 | 0.061889 | 0.015587 | -0.061831 | -0.01555 | 5.8216e-05 | 3.702e-05 | 0.092307 | 0.092307 | 0.092307 | 0.99796 | -0.03886 | 0.99694 | -0.058552 | 25.3591
18 | 0.022244 | 0.0055789 | -0.022241 | -0.005577 | 3.1183e-06 | 1.8973e-06 | 0.033198 | 0.033198 | 0.033198 | 0.99709 | -0.05552 | 0.99694 | -0.058461 | 9.1204
19 | 0.023103 | 0.0057931 | -0.023097 | -0.0057893 | 6.1525e-06 | 3.7577e-06 | 0.034482 | 0.034482 | 0.034482 | 0.997 | -0.057217 | 0.99671 | -0.062807 | 9.473
20 | 0.15642 | 0.03982 | -0.15609 | -0.039612 | 0.00032817 | 0.00020815 | 0.23368 | 0.23368 | 0.23368 | 0.99697 | -0.057784 | 0.99469 | -0.10139 | 21.3991
21 | 0.055992 | 0.014086 | -0.055984 | -0.014081 | 8.0137e-06 | 5.0889e-06 | 0.083591 | 0.083591 | 0.083591 | 0.99694 | -0.058552 | 0.99678 | -0.061548 | 22.9647
22 | 0.003141 | 0.00078495 | -0.0031406 | -0.00078533 | 4.206e-07 | -3.7576e-07 | 0.0047243 | 0.0047245 | 0.0047245 | 0.98915 | -0.20892 | 0.98901 | -0.21174 | 1.2979
23 | 0.018913 | 0.0047542 | -0.018904 | -0.0047489 | 8.959e-06 | 5.3564e-06 | 0.028478 | 0.028478 | 0.028478 | 0.9884 | -0.22209 | 0.98789 | -0.23202 | 7.8235
24 | 0.052538 | 0.013373 | -0.052373 | -0.013269 | 0.0001651 | 0.00010476 | 0.079168 | 0.079169 | 0.079169 | 0.9884 | -0.22209 | 0.98501 | -0.28749 | 21.7496
25 | 0.018904 | 0.0047489 | -0.018875 | -0.004732 | 2.8193e-05 | 1.6859e-05 | 0.028478 | 0.028478 | 0.028478 | 0.98789 | -0.23202 | 0.98628 | -0.26332 | 7.8237
26 | 0.048114 | 0.012201 | -0.048071 | -0.012174 | 4.2703e-05 | 2.7056e-05 | 0.072735 | 0.072735 | 0.072735 | 0.98501 | -0.28749 | 0.98405 | -0.30597 | 19.9822
27 | 0.014711 | 0.0036884 | -0.014709 | -0.0036869 | 2.6659e-06 | 1.522e-06 | 0.022196 | 0.022196 | 0.022196 | 0.98628 | -0.26332 | 0.98609 | -0.26712 | 6.0977
28 | -0.12347 | -0.031252 | 0.1237 | 0.031399 | 0.00023007 | 0.00014701 | 0.18553 | 0.18553 | 0.18553 | 0.99082 | -0.17547 | 0.99284 | -0.13674 | 50.9704
29 | 0.019995 | 0.005014 | -0.019991 | -0.0050115 | 4.1318e-06 | 2.4831e-06 | 0.029845 | 0.029845 | 0.029845 | 0.99694 | -0.058461 | 0.99671 | -0.062798 | 8.1992
30 | 0.013819 | 0.0034641 | -0.013816 | -0.0034626 | 2.7759e-06 | 1.55e-06 | 0.020631 | 0.020631 | 0.020631 | 0.99671 | -0.062807 | 0.9965 | -0.067023 | 5.6678
31 | 0.14414 | 0.036618 | -0.1439 | -0.036462 | 0.00024477 | 0.00015593 | 0.21581 | 0.21581 | 0.21581 | 0.99469 | -0.10139 | 0.99284 | -0.13674 | 29.6439
32 | 0.051882 | 0.013053 | -0.051806 | -0.013005 | 7.58e-05 | 4.8073e-05 | 0.077468 | 0.077468 | 0.077468 | 0.99678 | -0.061548 | 0.99519 | -0.092174 | 21.2825
33 | -0.028223 | -0.0070765 | 0.028251 | 0.0070943 | 2.8607e-05 | 1.78e-05 | 0.043178 | 0.043178 | 0.043178 | 0.97265 | -0.52878 | 0.97373 | -0.50754 | 11.8621
34 | 0.023358 | 0.0058573 | -0.023349 | -0.0058518 | 8.9283e-06 | 5.4828e-06 | 0.035735 | 0.035735 | 0.035735 | 0.97265 | -0.52878 | 0.97224 | -0.53681 | 9.8174
35 | -0.028251 | -0.0070943 | 0.028359 | 0.0071613 | 0.00010768 | 6.6991e-05 | 0.043178 | 0.043177 | 0.043178 | 0.97373 | -0.50754 | 0.97778 | -0.42797 | 11.862
36 | -0.028359 | -0.0071613 | 0.028445 | 0.0072148 | 8.6053e-05 | 5.3525e-05 | 0.043177 | 0.043177 | 0.043177 | 0.97778 | -0.42797 | 0.98102 | -0.36485 | 11.8618
37 | -0.031031 | -0.0078628 | 0.03105 | 0.0078747 | 1.9023e-05 | 1.1886e-05 | 0.047098 | 0.047098 | 0.047098 | 0.98102 | -0.36485 | 0.98168 | -0.3521 | 12.9391
38 | -0.035242 | -0.0089255 | 0.035265 | 0.00894 | 2.3163e-05 | 1.4551e-05 | 0.053453 | 0.053453 | 0.053453 | 0.98168 | -0.3521 | 0.98238 | -0.33842 | 14.685
39 | 0.0031406 | 0.00078533 | -0.0031396 | -0.00078619 | 9.6302e-07 | -8.5939e-07 | 0.0047245 | 0.0047251 | 0.0047251 | 0.98901 | -0.21174 | 0.98868 | -0.21818 | 1.2981
40 | 0.051806 | 0.013005 | -0.051793 | -0.012997 | 1.2855e-05 | 8.1529e-06 | 0.077468 | 0.077468 | 0.077468 | 0.99519 | -0.092174 | 0.99492 | -0.097378 | 21.2825
41 | 0.051793 | 0.012997 | -0.051758 | -0.012975 | 3.5035e-05 | 2.222e-05 | 0.077468 | 0.077468 | 0.077468 | 0.99492 | -0.097378 | 0.99419 | -0.11157 | 21.2825
42 | -0.0042841 | -0.0010737 | 0.0042843 | 0.0010737 | 1.9544e-07 | -4.0799e-08 | 0.0063976 | 0.0063975 | 0.0063976 | 0.99645 | -0.067981 | 0.9965 | -0.067023 | 1.7576
43 | -0.039513 | -0.010005 | 0.039542 | 0.010023 | 2.9145e-05 | 1.8378e-05 | 0.059887 | 0.059887 | 0.059887 | 0.98238 | -0.33842 | 0.98317 | -0.32307 | 16.4525
44 | -0.043794 | -0.011088 | 0.04383 | 0.011111 | 3.5985e-05 | 2.2754e-05 | 0.066321 | 0.066321 | 0.066321 | 0.98317 | -0.32307 | 0.98405 | -0.30597 | 18.2202
45 | -0.0057348 | -0.0014373 | 0.0057353 | 0.0014374 | 4.3944e-07 | 8.1884e-08 | 0.0086568 | 0.0086568 | 0.0086568 | 0.98575 | -0.27364 | 0.98583 | -0.27204 | 2.3783
46 | -0.0084548 | -0.0021189 | 0.0084557 | 0.0021193 | 8.5004e-07 | 3.6654e-07 | 0.012762 | 0.012762 | 0.012762 | 0.98583 | -0.27204 | 0.98594 | -0.26993 | 3.506
47 | -0.0081455 | -0.0020415 | 0.0081466 | 0.0020419 | 1.0202e-06 | 4.1351e-07 | 0.012165 | 0.012165 | 0.012165 | 0.99634 | -0.070102 | 0.99647 | -0.067473 | 3.3421
48 | -0.015669 | -0.0039271 | 0.01567 | 0.0039281 | 1.8433e-06 | 1.0627e-06 | 0.023398 | 0.023398 | 0.023398 | 0.99647 | -0.067473 | 0.9966 | -0.065004 | 6.4279
49 | -0.01709 | -0.004284 | 0.017092 | 0.0042851 | 1.7968e-06 | 1.054e-06 | 0.025518 | 0.025518 | 0.025518 | 0.9966 | -0.065004 | 0.99671 | -0.062798 | 7.0104
50 | 0.024246 | 0.0060792 | -0.024242 | -0.0060767 | 4.1589e-06 | 2.5525e-06 | 0.03629 | 0.03629 | 0.03629 | 0.99419 | -0.11157 | 0.994 | -0.11517 | 9.9698
51 | -0.0072594 | -0.0018194 | 0.0072597 | 0.0018195 | 3.1344e-07 | 1.0895e-07 | 0.01087 | 0.01087 | 0.01087 | 0.99376 | -0.11977 | 0.99381 | -0.11886 | 2.9862
52 | -0.018724 | -0.0046928 | 0.018728 | 0.0046947 | 3.2911e-06 | 1.9616e-06 | 0.028036 | 0.028036 | 0.028036 | 0.99381 | -0.11886 | 0.994 | -0.11517 | 7.7021
53 | 0.0023614 | 0.00059115 | -0.0023611 | -0.00059174 | 2.8941e-07 | -5.9827e-07 | 0.0035538 | 0.003554 | 0.003554 | 0.98868 | -0.21818 | 0.98855 | -0.22076 | 0.97639
54 | 0.011327 | 0.0028393 | -0.011325 | -0.0028385 | 1.5136e-06 | 7.9251e-07 | 0.017092 | 0.017093 | 0.017093 | 0.98609 | -0.26712 | 0.98594 | -0.26993 | 4.6958

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48429 | 0.12232

## res_load
| p_mw | q_mvar
0 | 0.099632 | 0.02497
1 | 0.0059235 | 0.0014846
2 | 0.063086 | 0.015811
3 | 0.017151 | 0.0042983
4 | 0.0044624 | 0.0011184
5 | 0.023174 | 0.0058079
6 | 0.0063972 | 0.0016033
7 | 0.0094615 | 0.0023713
8 | 0.0080252 | 0.0020113
9 | 0.0058393 | 0.0014635
10 | 0.0042588 | 0.0010673
11 | 0.0041641 | 0.0010436
12 | 0.0083373 | 0.0020895
13 | 0.020278 | 0.0050822
14 | 0.0022464 | 0.000563
15 | 0.0092778 | 0.0023252
16 | 0.011946 | 0.002994
17 | 0.0041018 | 0.001028
18 | 0.004865 | 0.0012193
19 | 0.023349 | 0.0058518
20 | 0.0025855 | 0.00064798
21 | 0.0041927 | 0.0010508
22 | 0.0042841 | 0.0010737
23 | 0.0095318 | 0.0023889
24 | 0.0042476 | 0.0010645
25 | 0.0042515 | 0.0010655
26 | 0.0042416 | 0.0010631
27 | 0.0057348 | 0.0014373
28 | 0.0027196 | 0.00068159
29 | 0.0081455 | 0.0020415
30 | 0.007522 | 0.0018852
31 | 0.0014201 | 0.0003559
32 | 0.0028986 | 0.00072645
33 | 0.027513 | 0.0068953
34 | 0.0072594 | 0.0018194
35 | 0.011465 | 0.0028733
36 | 0.00077823 | 0.00019504
37 | 0.020201 | 0.0050628
38 | 0.0033818 | 0.00084757
39 | 0.0028696 | 0.00071919
40 | 0.005514 | 0.0013819
41 | 0.0023611 | 0.00059174

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1