## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-13_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_199-13_0_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_199-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_199-13_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_199-13_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_199-13_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_199-13_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_199-13_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_199-13_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_199-13_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_199-13_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_199-13_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_199-13_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_199-13_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_199-13_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_199-13_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_199-13_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_199-13_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_199-13_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_199-13_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_199-13_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_199-13_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_199-13_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_199-13_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_MV_502_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-13_0_3_load_0 | 0 | 0.011623 | 0.002913 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-13_0_3_load_18 | 3 | 0.0063219 | 0.0015844 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-13_0_3_load_16 | 5 | 0.026084 | 0.0065372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-13_0_3_load_25 | 8 | 0.0048853 | 0.0012244 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-13_0_3_load_26 | 11 | 0.0066106 | 0.0016568 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-13_0_3_load_19 | 15 | 0.028858 | 0.0072324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-13_0_3_load_27 | 16 | 0.00034081 | 8.5414e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-13_0_3_load_17 | 18 | 0.0024015 | 0.00060187 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-13_0_3_load_20 | 19 | 0.095923 | 0.024041 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-13_0_3_load_24 | 21 | 0.0024471 | 0.0006133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-13_0_3_load_22 | 23 | 0.018411 | 0.0046142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-13_0_3_load_21 | 24 | 0.080589 | 0.020197 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-13_0_3_load_23 | 25 | 0.0010093 | 0.00025295 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-13_0_3_line_0 |  | 0 | 1 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-13_0_3_line_1 |  | 1 | 2 | 0.013449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-13_0_3_line_2 |  | 2 | 3 | 0.0067619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-13_0_3_line_3 |  | 3 | 4 | 0.12551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-13_0_3_line_4 |  | 4 | 5 | 0.072646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_199-13_0_3_line_5 |  | 5 | 17 | 0.041849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-13_0_3_line_6 |  | 6 | 7 | 0.2729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-13_0_3_line_7 |  | 6 | 8 | 0.16506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-13_0_3_line_8 |  | 7 | 16 | 0.015357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_199-13_0_3_line_9 |  | 8 | 20 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_199-13_0_3_line_10 |  | 9 | 10 | 0.12713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-13_0_3_line_11 |  | 9 | 11 | 0.030949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-13_0_3_line_12 |  | 10 | 19 | 0.05399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-13_0_3_line_13 |  | 10 | 22 | 0.087033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-13_0_3_line_14 |  | 12 | 13 | 0.16425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-13_0_3_line_15 |  | 12 | 14 | 0.095166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_199-13_0_3_line_16 |  | 12 | 15 | 0.048405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-13_0_3_line_17 |  | 13 | 24 | 0.09015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-13_0_3_line_18 |  | 14 | 19 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-13_0_3_line_19 |  | 15 | 18 | 0.0052602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-13_0_3_line_20 |  | 17 | 18 | 0.047921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_199-13_0_3_line_21 |  | 20 | 21 | 0.12768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_199-13_0_3_line_22 |  | 21 | 22 | 0.022159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-13_0_3_line_23 |  | 22 | 23 | 0.072181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_199-13_0_3_line_24 |  | 23 | 25 | 0.0040272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-13_0_3_trafo_11 | 0.63 MVA 20/0.4 kV | 26 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2693740.5335 | 1248214.5805 | 2693727.0369 | 1248225.0418
1 | 2693751.1853 | 1248206.3315 | 2693740.5335 | 1248214.5805
2 | 2693751.1853 | 1248206.3315 | 2693746.875 | 1248201.1214
3 | 2693655.8887 | 1248201.0993 | 2693711.5792 | 1248158.4577 | 2693746.875 | 1248201.1214
4 | 2693655.8887 | 1248201.0993 | 2693643.2161 | 1248184.2863 | 2693640.6433 | 1248180.7652 | 2693638.215 | 1248177.6578 | 2693630.5208 | 1248168.4293 | 2693626.7436 | 1248164.6445 | 2693622.9549 | 1248161.1153 | 2693617.3686 | 1248157.1018 | 2693611.1596 | 1248153.779 | 2693604.8558 | 1248151.1598
5 | 2693565.2815 | 1248137.5648 | 2693602.9805 | 1248150.3807 | 2693604.8558 | 1248151.1598
6 | 2693004.0336 | 1248422.0299 | 2693006.6333 | 1248426.741 | 2693009.9166 | 1248431.6851 | 2693011.2375 | 1248433.6629 | 2693014.9414 | 1248439.2364 | 2693018.1143 | 1248444.0009 | 2693019.9443 | 1248446.7428 | 2693020.3426 | 1248447.3495 | 2693028.7593 | 1248445.2355 | 2693065.3038 | 1248443.4966 | 2693078.8001 | 1248441.5959 | 2693125.1218 | 1248428.5466 | 2693237.6443 | 1248402.4839 | 2693241.3424 | 1248402.6533 | 2693244.0175 | 1248407.3656 | 2693245.0138 | 1248418.4453
7 | 2693004.0336 | 1248422.0299 | 2693015.3919 | 1248421.6078 | 2693030.6391 | 1248422.6811 | 2693034.4171 | 1248422.0955 | 2693038.6854 | 1248420.5836 | 2693049.0974 | 1248415.4986 | 2693056.49 | 1248411.267 | 2693064.0033 | 1248398.3862 | 2693092.8195 | 1248393.9018 | 2693156.5466 | 1248377.2128
8 | 2693245.0138 | 1248418.4453 | 2693246.0393 | 1248433.7678
9 | 2693169.046 | 1248373.9394 | 2693156.5466 | 1248377.2128
10 | 2693308.9682 | 1248160.0763 | 2693298.7657 | 1248168.6001 | 2693319.1912 | 1248194.8415 | 2693332.3543 | 1248211.7394 | 2693340.0388 | 1248221.6123 | 2693330.5636 | 1248223.2867 | 2693329.0155 | 1248223.7516 | 2693316.445 | 1248227.2564 | 2693320.4347 | 1248233.3794 | 2693335.1453 | 1248230.1863
11 | 2693308.9682 | 1248160.0763 | 2693320.1082 | 1248174.029 | 2693331.1233 | 1248181.1096
12 | 2693335.1453 | 1248230.1863 | 2693359.0857 | 1248227.9504 | 2693381.5939 | 1248224.5689 | 2693388.5236 | 1248222.6713
13 | 2693268.722 | 1248282.1697 | 2693288.2365 | 1248257.847 | 2693301.7 | 1248244.6265 | 2693310.539 | 1248238.2607 | 2693320.4347 | 1248233.3794 | 2693335.1453 | 1248230.1863
14 | 2693456.6516 | 1248334.4576 | 2693462.3833 | 1248333.5584 | 2693468.3419 | 1248331.6842 | 2693473.4953 | 1248331.532 | 2693472.1705 | 1248311.14 | 2693471.8364 | 1248306.9426 | 2693471.6126 | 1248303.4142 | 2693470.5499 | 1248287.4741 | 2693470.2946 | 1248282.5886 | 2693469.8127 | 1248263.8222 | 2693470.5775 | 1248245.9873 | 2693473.3282 | 1248222.4349 | 2693473.9849 | 1248216.7186 | 2693473.6025 | 1248209.8407 | 2693472.6732 | 1248203.1543 | 2693476.9725 | 1248201.6098 | 2693480.4855 | 1248198.6851 | 2693482.7761 | 1248194.7293 | 2693483.5569 | 1248190.2382
15 | 2693402.0898 | 1248215.6516 | 2693402.8319 | 1248211.6936 | 2693416.3352 | 1248208.9153 | 2693428.7168 | 1248204.9407 | 2693437.0348 | 1248204.805 | 2693444.5546 | 1248202.5995 | 2693450.1899 | 1248200.6313 | 2693460.4842 | 1248198.7477 | 2693463.9061 | 1248201.5927 | 2693468.1567 | 1248203.1386 | 2693472.6732 | 1248203.1543 | 2693476.9725 | 1248201.6098 | 2693480.4855 | 1248198.6851 | 2693482.7761 | 1248194.7293 | 2693483.5569 | 1248190.2382
16 | 2693483.5569 | 1248190.2382 | 2693492.4913 | 1248190.2902 | 2693496.8894 | 1248189.6702 | 2693500.093 | 1248188.164 | 2693503.2228 | 1248186.0673 | 2693516.7663 | 1248175.0058 | 2693526.7209 | 1248172.6277
17 | 2693456.6516 | 1248334.4576 | 2693452.788 | 1248334.7191 | 2693446.5673 | 1248335.4995 | 2693442.2185 | 1248337.3101 | 2693433.9744 | 1248342.3507 | 2693408.4366 | 1248364.0204 | 2693392.109 | 1248372.0694 | 2693378.224 | 1248373.2881
18 | 2693402.0898 | 1248215.6516 | 2693398.4115 | 1248219.9636 | 2693388.5236 | 1248222.6713
19 | 2693530.9334 | 1248169.4773 | 2693526.7209 | 1248172.6277
20 | 2693565.2815 | 1248137.5648 | 2693563.6995 | 1248142.5658 | 2693562.1162 | 1248145.254 | 2693559.847 | 1248147.8535 | 2693530.9334 | 1248169.4773
21 | 2693169.046 | 1248373.9394 | 2693170.2699 | 1248380.6415 | 2693185.294 | 1248376.6968 | 2693197.6818 | 1248370.8537 | 2693206.5643 | 1248362.6648 | 2693239.1153 | 1248319.0878 | 2693254.8585 | 1248299.4567
22 | 2693268.722 | 1248282.1697 | 2693254.8585 | 1248299.4567
23 | 2693268.722 | 1248282.1697 | 2693270.2249 | 1248286.0185 | 2693275.3842 | 1248292.6936 | 2693284.5631 | 1248302.1452 | 2693289.5913 | 1248306.1163 | 2693296.7008 | 1248307.4069 | 2693303.3687 | 1248304.1315 | 2693311.3985 | 1248294.9509 | 2693316.7887 | 1248282.9246
24 | 2693318.4358 | 1248279.2497 | 2693316.7887 | 1248282.9246

## bus_geodata
| x | y | coords
0 | 2693727.0369 | 1248225.0418
1 | 2693740.5335 | 1248214.5805
2 | 2693751.1853 | 1248206.3315
3 | 2693746.875 | 1248201.1214
4 | 2693655.8887 | 1248201.0993
5 | 2693604.8558 | 1248151.1598
6 | 2693004.0336 | 1248422.0299
7 | 2693245.0138 | 1248418.4453
8 | 2693156.5466 | 1248377.2128
9 | 2693308.9682 | 1248160.0763
10 | 2693335.1453 | 1248230.1863
11 | 2693331.1233 | 1248181.1096
12 | 2693483.5569 | 1248190.2382
13 | 2693456.6516 | 1248334.4576
14 | 2693402.0898 | 1248215.6516
15 | 2693526.7209 | 1248172.6277
16 | 2693246.0393 | 1248433.7678
17 | 2693565.2815 | 1248137.5648
18 | 2693530.9334 | 1248169.4773
19 | 2693388.5236 | 1248222.6713
20 | 2693169.046 | 1248373.9394
21 | 2693254.8585 | 1248299.4567
22 | 2693268.722 | 1248282.1697
23 | 2693316.7887 | 1248282.9246
24 | 2693378.224 | 1248373.2881
25 | 2693318.4358 | 1248279.2497
26 | 2693402.8319 | 1248211.6936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98223 | -0.34161 | 0.011623 | 0.002913
1 | 0.98241 | -0.33802 | 0 | 0
2 | 0.98256 | -0.3352 | 0 | 0
3 | 0.98263 | -0.33378 | 0.0063219 | 0.0015844
4 | 0.98471 | -0.2932 | 0 | 0
5 | 0.98591 | -0.26979 | 0.026084 | 0.0065372
6 | 0.99343 | -0.12653 | 0 | 0
7 | 0.99335 | -0.12819 | 0 | 0
8 | 0.99349 | -0.1255 | 0.0048853 | 0.0012244
9 | 0.9957 | -0.082734 | 0 | 0
10 | 0.99646 | -0.067963 | 0 | 0
11 | 0.99551 | -0.086331 | 0.0066106 | 0.0016568
12 | 0.99313 | -0.13019 | 0 | 0
13 | 0.98079 | -0.36706 | 0 | 0
14 | 1 | 0 | -0.29041 | -0.073616
15 | 0.98978 | -0.19482 | 0.028858 | 0.0072324
16 | 0.99334 | -0.12829 | 0.00034081 | 8.5414e-05
17 | 0.98761 | -0.2368 | 0 | 0
18 | 0.98955 | -0.19916 | 0.0024015 | 0.00060187
19 | 0.99812 | -0.036045 | 0.095923 | 0.024041
20 | 0.99355 | -0.1243 | 0 | 0
21 | 0.99416 | -0.11249 | 0.0024471 | 0.0006133
22 | 0.99431 | -0.10948 | 0 | 0
23 | 0.99303 | -0.13423 | 0.018411 | 0.0046142
24 | 0.97402 | -0.49962 | 0.080589 | 0.020197
25 | 0.99303 | -0.1343 | 0.0010093 | 0.00025295
26 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011623 | -0.002913 | 0.011625 | 0.0029141 | 1.9854e-06 | 1.0545e-06 | 0.017608 | 0.017608 | 0.017608 | 0.98223 | -0.34161 | 0.98241 | -0.33802 | 4.8375
1 | -0.011625 | -0.0029141 | 0.011627 | 0.0029149 | 1.5637e-06 | 8.3045e-07 | 0.017608 | 0.017608 | 0.017608 | 0.98241 | -0.33802 | 0.98256 | -0.3352 | 4.8374
2 | -0.011627 | -0.0029149 | 0.011627 | 0.0029153 | 7.862e-07 | 4.1752e-07 | 0.017608 | 0.017608 | 0.017608 | 0.98256 | -0.3352 | 0.98263 | -0.33378 | 4.8374
3 | -0.017949 | -0.0044998 | 0.017984 | 0.0045204 | 3.4774e-05 | 2.0662e-05 | 0.027182 | 0.027181 | 0.027182 | 0.98263 | -0.33378 | 0.98471 | -0.2932 | 7.4675
4 | -0.017984 | -0.0045204 | 0.018004 | 0.0045324 | 2.0126e-05 | 1.1956e-05 | 0.027181 | 0.027181 | 0.027181 | 0.98471 | -0.2932 | 0.98591 | -0.26979 | 7.4673
5 | -0.044088 | -0.01107 | 0.044157 | 0.011113 | 6.9499e-05 | 4.3945e-05 | 0.066548 | 0.066548 | 0.066548 | 0.98591 | -0.26979 | 0.98761 | -0.2368 | 18.2824
6 | 0.00034083 | 8.17e-05 | -0.00034081 | -8.5216e-05 | 2.6601e-08 | -3.516e-06 | 0.00050923 | 0.00051045 | 0.00051045 | 0.99343 | -0.12653 | 0.99335 | -0.12819 | 0.14023
7 | -0.00034083 | -8.17e-05 | 0.00034085 | 7.9573e-05 | 1.6028e-08 | -2.127e-06 | 0.00050923 | 0.00050852 | 0.00050923 | 0.99343 | -0.12653 | 0.99349 | -0.1255 | 0.1399
8 | 0.00034081 | 8.5216e-05 | -0.00034081 | -8.5414e-05 | 1.5007e-09 | -1.9784e-07 | 0.00051045 | 0.00051052 | 0.00051052 | 0.99335 | -0.12819 | 0.99334 | -0.12829 | 0.14025
9 | -0.0052262 | -0.001304 | 0.0052265 | 0.001304 | 2.9673e-07 | 2.2583e-08 | 0.0078256 | 0.0078255 | 0.0078256 | 0.99349 | -0.1255 | 0.99355 | -0.1243 | 2.1499
10 | -0.0066117 | -0.0016571 | 0.0066164 | 0.0016584 | 4.6542e-06 | 1.3239e-06 | 0.0098809 | 0.0098803 | 0.0098809 | 0.9957 | -0.082734 | 0.99646 | -0.067963 | 2.7145
11 | 0.0066117 | 0.0016571 | -0.0066106 | -0.0016568 | 1.1331e-06 | 3.2273e-07 | 0.0098809 | 0.009881 | 0.009881 | 0.9957 | -0.082734 | 0.99551 | -0.086331 | 2.7146
12 | -0.033791 | -0.0084905 | 0.033842 | 0.0085228 | 5.1566e-05 | 3.2298e-05 | 0.050468 | 0.050467 | 0.050468 | 0.99646 | -0.067963 | 0.99812 | -0.036045 | 13.8647
13 | 0.027174 | 0.006832 | -0.027121 | -0.0067988 | 5.3765e-05 | 3.3278e-05 | 0.040587 | 0.040588 | 0.040588 | 0.99646 | -0.067963 | 0.99431 | -0.10948 | 11.1504
14 | 0.082035 | 0.02112 | -0.081101 | -0.020524 | 0.0009336 | 0.0005954 | 0.12311 | 0.12312 | 0.12312 | 0.99313 | -0.13019 | 0.98079 | -0.36706 | 33.8228
15 | -0.15777 | -0.040273 | 0.15877 | 0.04091 | 0.00099935 | 0.0006371 | 0.23666 | 0.23666 | 0.23666 | 0.99313 | -0.13019 | 1 | 0 | 32.5078
16 | 0.07574 | 0.019153 | -0.075506 | -0.019004 | 0.00023401 | 0.00014914 | 0.11354 | 0.11354 | 0.11354 | 0.99313 | -0.13019 | 0.98978 | -0.19482 | 31.1932
17 | 0.081101 | 0.020524 | -0.080589 | -0.020197 | 0.00051242 | 0.00032682 | 0.12312 | 0.12312 | 0.12312 | 0.98079 | -0.36706 | 0.97402 | -0.49962 | 33.823
18 | 0.12999 | 0.032706 | -0.12977 | -0.032563 | 0.00022346 | 0.0001428 | 0.19347 | 0.19347 | 0.19347 | 1 | 0 | 0.99812 | -0.036045 | 53.1512
19 | 0.046648 | 0.011772 | -0.046638 | -0.011766 | 9.7096e-06 | 6.1465e-06 | 0.070159 | 0.070159 | 0.070159 | 0.98978 | -0.19482 | 0.98955 | -0.19916 | 19.2744
20 | -0.044157 | -0.011113 | 0.044237 | 0.011164 | 7.9583e-05 | 5.0319e-05 | 0.066548 | 0.066548 | 0.066548 | 0.98761 | -0.2368 | 0.98955 | -0.19916 | 18.2824
21 | -0.0052265 | -0.001304 | 0.0052294 | 0.0013042 | 2.9319e-06 | 2.2189e-07 | 0.0078255 | 0.007825 | 0.0078255 | 0.99355 | -0.1243 | 0.99416 | -0.11249 | 2.1499
22 | -0.0076765 | -0.0019175 | 0.0076776 | 0.0019179 | 1.0966e-06 | 4.1445e-07 | 0.011488 | 0.011488 | 0.011488 | 0.99416 | -0.11249 | 0.99431 | -0.10948 | 3.156
23 | 0.019443 | 0.0048808 | -0.01942 | -0.0048671 | 2.2922e-05 | 1.3735e-05 | 0.0291 | 0.0291 | 0.0291 | 0.99431 | -0.10948 | 0.99303 | -0.13423 | 7.9946
24 | 0.0010093 | 0.0002529 | -0.0010093 | -0.00025295 | 3.4542e-09 | -4.9889e-08 | 0.0015124 | 0.0015124 | 0.0015124 | 0.99303 | -0.13423 | 0.99303 | -0.1343 | 0.41549

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29041 | 0.073616

## res_load
| p_mw | q_mvar
0 | 0.011623 | 0.002913
1 | 0.0063219 | 0.0015844
2 | 0.026084 | 0.0065372
3 | 0.0048853 | 0.0012244
4 | 0.0066106 | 0.0016568
5 | 0.028858 | 0.0072324
6 | 0.00034081 | 8.5414e-05
7 | 0.0024015 | 0.00060187
8 | 0.095923 | 0.024041
9 | 0.0024471 | 0.0006133
10 | 0.018411 | 0.0046142
11 | 0.080589 | 0.020197
12 | 0.0010093 | 0.00025295

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1