## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_199-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_199-15_0_3_node_92 | 0.4 | n |  | TRUE
6 | bus_LV_199-15_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_199-15_0_3_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_199-15_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_199-15_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_199-15_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_199-15_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_199-15_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_199-15_0_3_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_199-15_0_3_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_199-15_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_199-15_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_199-15_0_3_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_199-15_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_199-15_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_199-15_0_3_node_129 | 0.4 | n |  | TRUE
21 | bus_LV_199-15_0_3_node_132 | 0.4 | n |  | TRUE
22 | bus_LV_199-15_0_3_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_199-15_0_3_node_109 | 0.4 | n |  | TRUE
24 | bus_LV_199-15_0_3_node_140 | 0.4 | n |  | TRUE
25 | bus_LV_199-15_0_3_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_199-15_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_199-15_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_199-15_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_199-15_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_199-15_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_199-15_0_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_199-15_0_3_node_135 | 0.4 | n |  | TRUE
33 | bus_LV_199-15_0_3_node_136 | 0.4 | n |  | TRUE
34 | bus_LV_199-15_0_3_node_130 | 0.4 | n |  | TRUE
35 | bus_LV_199-15_0_3_node_127 | 0.4 | n |  | TRUE
36 | bus_LV_199-15_0_3_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_199-15_0_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_199-15_0_3_node_100 | 0.4 | n |  | TRUE
39 | bus_LV_199-15_0_3_node_133 | 0.4 | n |  | TRUE
40 | bus_LV_199-15_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_199-15_0_3_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_199-15_0_3_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_199-15_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_199-15_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_199-15_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_199-15_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_199-15_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_199-15_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_199-15_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_199-15_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_199-15_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_199-15_0_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_199-15_0_3_node_103 | 0.4 | n |  | TRUE
54 | bus_LV_199-15_0_3_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_199-15_0_3_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_199-15_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_199-15_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_199-15_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_199-15_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_199-15_0_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_199-15_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_199-15_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_199-15_0_3_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_199-15_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_199-15_0_3_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_199-15_0_3_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_199-15_0_3_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_199-15_0_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_199-15_0_3_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_199-15_0_3_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_199-15_0_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_199-15_0_3_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_199-15_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_199-15_0_3_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_199-15_0_3_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_199-15_0_3_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_199-15_0_3_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_199-15_0_3_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_199-15_0_3_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_199-15_0_3_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_199-15_0_3_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_199-15_0_3_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_199-15_0_3_node_104 | 0.4 | n |  | TRUE
84 | bus_LV_199-15_0_3_node_106 | 0.4 | n |  | TRUE
85 | bus_LV_199-15_0_3_node_107 | 0.4 | n |  | TRUE
86 | bus_LV_199-15_0_3_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_199-15_0_3_node_139 | 0.4 | n |  | TRUE
88 | bus_LV_199-15_0_3_node_137 | 0.4 | n |  | TRUE
89 | bus_LV_199-15_0_3_node_179 | 0.4 | n |  | TRUE
90 | bus_MV_502_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-15_0_3_load_0 | 0 | 0.0046667 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-15_0_3_load_1 | 1 | 0.00054747 | 0.00013721 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-15_0_3_load_2 | 2 | 0.00024917 | 6.2448e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-15_0_3_load_3 | 3 | 0.0015819 | 0.00039647 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-15_0_3_load_4 | 4 | 0.0008768 | 0.00021975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-15_0_3_load_92 | 5 | 0.0028704 | 0.00071939 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-15_0_3_load_9 | 6 | 0.00041545 | 0.00010412 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-15_0_3_load_96 | 7 | 0.00098645 | 0.00024723 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-15_0_3_load_7 | 8 | 0.00060597 | 0.00015187 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-15_0_3_load_5 | 9 | 0.0012212 | 0.00030607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-15_0_3_load_6 | 10 | 0.00069948 | 0.00017531 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-15_0_3_load_8 | 11 | 0.00046645 | 0.0001169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-15_0_3_load_89 | 13 | 0.000571 | 0.00014311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-15_0_3_load_134 | 17 | 0.0031519 | 0.00078993 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-15_0_3_load_132 | 21 | 0.015072 | 0.0037774 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-15_0_3_load_101 | 22 | 0.0010671 | 0.00026743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-15_0_3_load_109 | 23 | 0.0013554 | 0.00033971 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-15_0_3_load_140 | 24 | 0.0053201 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-15_0_3_load_45 | 27 | 0.0058882 | 0.0014757 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-15_0_3_load_57 | 28 | 0.0039188 | 0.00098213 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-15_0_3_load_60 | 30 | 0.0056715 | 0.0014214 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-15_0_3_load_59 | 31 | 0.0024108 | 0.0006042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-15_0_3_load_136 | 33 | 0.00092565 | 0.00023199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-15_0_3_load_127 | 35 | 0.0041438 | 0.0010385 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-15_0_3_load_131 | 36 | 0.0067127 | 0.0016824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-15_0_3_load_86 | 37 | 0.0097975 | 0.0024555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-15_0_3_load_100 | 38 | 0.0010958 | 0.00027464 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-15_0_3_load_133 | 39 | 0.00055688 | 0.00013957 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-15_0_3_load_108 | 42 | 0.0014036 | 0.00035178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-15_0_3_load_63 | 44 | 0.0081463 | 0.0020417 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-15_0_3_load_58 | 46 | 0.0015169 | 0.00038017 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-15_0_3_load_53 | 48 | 0.0043311 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-15_0_3_load_55 | 49 | 0.0029083 | 0.00072888 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-15_0_3_load_51 | 50 | 0.0039756 | 0.00099638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-15_0_3_load_65 | 51 | 0.0031407 | 0.00078714 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-15_0_3_load_103 | 53 | 0.0031656 | 0.00079338 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-15_0_3_load_52 | 56 | 0.0031467 | 0.00078864 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-15_0_3_load_54 | 57 | 0.00532 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-15_0_3_load_56 | 58 | 0.0044436 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-15_0_3_load_78 | 59 | 0.0015778 | 0.00039542 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-15_0_3_load_77 | 60 | 0.0026312 | 0.00065943 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_199-15_0_3_load_69 | 61 | 0.0064297 | 0.0016114 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_199-15_0_3_load_70 | 62 | 0.0075998 | 0.0019047 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_199-15_0_3_load_72 | 63 | 0.0056187 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_199-15_0_3_load_74 | 64 | 0.0031386 | 0.00078661 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_199-15_0_3_load_75 | 66 | 0.0033844 | 0.0008482 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_199-15_0_3_load_81 | 68 | 0.0043686 | 0.0010949 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_199-15_0_3_load_93 | 69 | 0.0031296 | 0.00078435 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_199-15_0_3_load_102 | 70 | 0.0013469 | 0.00033757 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_199-15_0_3_load_76 | 71 | 0.0028332 | 0.00071006 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_199-15_0_3_load_82 | 72 | 0.004121 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_199-15_0_3_load_90 | 74 | 0.00081249 | 0.00020363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_199-15_0_3_load_94 | 76 | 0.0018614 | 0.00046652 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_199-15_0_3_load_85 | 77 | 0.0040393 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_199-15_0_3_load_91 | 78 | 0.0039944 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_199-15_0_3_load_97 | 79 | 0.0010005 | 0.00025076 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_199-15_0_3_load_95 | 80 | 0.0020617 | 0.00051671 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_199-15_0_3_load_98 | 81 | 0.0024976 | 0.00062597 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_199-15_0_3_load_99 | 82 | 0.0011007 | 0.00027585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_199-15_0_3_load_104 | 83 | 0.0024474 | 0.00061336 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_199-15_0_3_load_106 | 84 | 0.0023041 | 0.00057746 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_199-15_0_3_load_107 | 85 | 0.0010906 | 0.00027332 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_199-15_0_3_load_128 | 86 | 0.0018659 | 0.00046765 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_199-15_0_3_load_137 | 88 | 0.0010079 | 0.00025259 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_199-15_0_3_load_179 | 89 | 0.0016959 | 0.00042503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-15_0_3_line_0 |  | 0 | 1 | 0.0029624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_199-15_0_3_line_1 |  | 0 | 2 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_199-15_0_3_line_2 |  | 1 | 3 | 0.053724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_199-15_0_3_line_3 |  | 2 | 4 | 0.0023234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_199-15_0_3_line_4 |  | 3 | 5 | 0.043302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_199-15_0_3_line_5 |  | 4 | 6 | 0.0062668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_199-15_0_3_line_6 |  | 5 | 7 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_199-15_0_3_line_7 |  | 6 | 8 | 0.016126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_199-15_0_3_line_8 |  | 7 | 79 | 0.0095014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_199-15_0_3_line_9 |  | 8 | 9 | 0.0035975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_199-15_0_3_line_10 |  | 9 | 10 | 0.00087322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_199-15_0_3_line_11 |  | 10 | 11 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_199-15_0_3_line_12 |  | 11 | 12 | 0.082443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_199-15_0_3_line_13 |  | 12 | 13 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-15_0_3_line_14 |  | 12 | 14 | 0.005729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_199-15_0_3_line_15 |  | 14 | 37 | 0.019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_199-15_0_3_line_16 |  | 15 | 16 | 0.077695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_199-15_0_3_line_17 |  | 15 | 17 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_199-15_0_3_line_18 |  | 16 | 24 | 0.023053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_199-15_0_3_line_19 |  | 17 | 32 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_199-15_0_3_line_20 |  | 18 | 19 | 0.90934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_199-15_0_3_line_21 |  | 18 | 20 | 0.036494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_199-15_0_3_line_22 |  | 18 | 21 | 0.033648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-15_0_3_line_23 |  | 19 | 22 | 0.014016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_199-15_0_3_line_24 |  | 19 | 23 | 0.015851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_199-15_0_3_line_25 |  | 20 | 34 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_199-15_0_3_line_26 |  | 20 | 35 | 0.034821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-15_0_3_line_27 |  | 21 | 36 | 0.036492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-15_0_3_line_28 |  | 22 | 38 | 0.011297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_199-15_0_3_line_29 |  | 25 | 26 | 0.063922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-15_0_3_line_30 |  | 25 | 27 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_199-15_0_3_line_31 |  | 26 | 28 | 0.019344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_199-15_0_3_line_32 |  | 28 | 46 | 0.0047198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_199-15_0_3_line_33 |  | 29 | 30 | 0.0043055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-15_0_3_line_34 |  | 29 | 31 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_199-15_0_3_line_35 |  | 30 | 58 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_199-15_0_3_line_36 |  | 31 | 46 | 0.025894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_199-15_0_3_line_37 |  | 32 | 33 | 0.013285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_199-15_0_3_line_38 |  | 33 | 89 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_199-15_0_3_line_39 |  | 34 | 87 | 0.066507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_199-15_0_3_line_40 |  | 34 | 88 | 0.14869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_199-15_0_3_line_41 |  | 35 | 86 | 0.032655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-15_0_3_line_42 |  | 36 | 39 | 0.054072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_199-15_0_3_line_43 |  | 37 | 77 | 0.02946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_199-15_0_3_line_44 |  | 38 | 82 | 0.024664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_199-15_0_3_line_45 |  | 40 | 41 | 0.003603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_199-15_0_3_line_46 |  | 40 | 42 | 0.032161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_199-15_0_3_line_47 |  | 41 | 51 | 0.011178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_199-15_0_3_line_48 |  | 41 | 44 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_199-15_0_3_line_49 |  | 42 | 55 | 0.0034066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_199-15_0_3_line_50 |  | 43 | 44 | 0.042898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_199-15_0_3_line_51 |  | 43 | 45 | 0.028648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_199-15_0_3_line_52 |  | 45 | 47 | 0.028709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-15_0_3_line_53 |  | 47 | 48 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-15_0_3_line_54 |  | 47 | 49 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_199-15_0_3_line_55 |  | 48 | 50 | 0.0026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_199-15_0_3_line_56 |  | 50 | 56 | 0.030454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_199-15_0_3_line_57 |  | 51 | 59 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_199-15_0_3_line_58 |  | 52 | 53 | 0.024147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_199-15_0_3_line_59 |  | 52 | 54 | 0.00349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_199-15_0_3_line_60 |  | 53 | 70 | 0.00028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_199-15_0_3_line_61 |  | 54 | 64 | 0.025853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_199-15_0_3_line_62 |  | 54 | 61 | 0.0088484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_199-15_0_3_line_63 |  | 55 | 85 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_199-15_0_3_line_64 |  | 55 | 83 | 0.023247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_199-15_0_3_line_65 |  | 56 | 57 | 0.00056387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_199-15_0_3_line_66 |  | 57 | 58 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_199-15_0_3_line_67 |  | 59 | 60 | 0.023732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_199-15_0_3_line_68 |  | 60 | 71 | 0.00075339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_199-15_0_3_line_69 |  | 61 | 62 | 0.0034716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_199-15_0_3_line_70 |  | 62 | 63 | 0.034546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_199-15_0_3_line_71 |  | 63 | 65 | 0.015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_199-15_0_3_line_72 |  | 64 | 66 | 0.0023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_199-15_0_3_line_73 |  | 65 | 67 | 0.004212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_199-15_0_3_line_74 |  | 65 | 68 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_199-15_0_3_line_75 |  | 66 | 71 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_199-15_0_3_line_76 |  | 67 | 69 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_199-15_0_3_line_77 |  | 68 | 72 | 0.029977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_199-15_0_3_line_78 |  | 69 | 76 | 0.00098268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_199-15_0_3_line_79 |  | 72 | 75 | 0.020399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_199-15_0_3_line_80 |  | 73 | 74 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_199-15_0_3_line_81 |  | 73 | 75 | 0.004207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_199-15_0_3_line_82 |  | 74 | 78 | 0.0013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_199-15_0_3_line_83 |  | 75 | 77 | 0.008829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_199-15_0_3_line_84 |  | 76 | 80 | 0.013616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_199-15_0_3_line_85 |  | 79 | 81 | 0.023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_199-15_0_3_line_86 |  | 81 | 82 | 0.010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_199-15_0_3_line_87 |  | 83 | 84 | 0.029234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_199-15_0_3_line_88 |  | 87 | 89 | 0.049257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-15_0_3_trafo_95 | 0.63 MVA 20/0.4 kV | 90 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2694092.3422 | 1250217.3249 | 2694094.4816 | 1250215.2757
1 | 2694092.3422 | 1250217.3249 | 2694092.3422 | 1250217.3249 | 2694081.0463 | 1250225.8241
2 | 2694094.4816 | 1250215.2757 | 2694131.2608 | 1250180.0474 | 2694133.3006 | 1250178.1365
3 | 2694079.1897 | 1250227.221 | 2694081.0463 | 1250225.8241
4 | 2694133.3006 | 1250178.1365 | 2694164.9021 | 1250148.5325
5 | 2694074.1821 | 1250230.9888 | 2694079.1897 | 1250227.221
6 | 2694164.9021 | 1250148.5325 | 2694178.3219 | 1250135.9609 | 2694181.8962 | 1250132.7227
7 | 2694074.1821 | 1250230.9888 | 2694061.2966 | 1250240.6841
8 | 2694181.8962 | 1250132.7227 | 2694188.9375 | 1250126.3434
9 | 2694058.4532 | 1250242.8877 | 2694060.2697 | 1250241.4567 | 2694061.2966 | 1250240.6841
10 | 2694058.4532 | 1250242.8877 | 2694057.7673 | 1250243.4281
11 | 2694057.7673 | 1250243.4281 | 2694039.6999 | 1250257.6619
12 | 2693980.0727 | 1250225.5279 | 2693981.8531 | 1250234.185 | 2694007.9559 | 1250261.7202 | 2694014.8771 | 1250266.1556 | 2694023.9065 | 1250266.6881 | 2694032.3769 | 1250263.4311 | 2694039.6999 | 1250257.6619
13 | 2693980.0727 | 1250225.5279 | 2693984.1798 | 1250225.0704 | 2693988.6398 | 1250222.8394 | 2693998.2005 | 1250214.3632
14 | 2693980.0727 | 1250225.5279 | 2693980.3447 | 1250219.8056
15 | 2693980.3447 | 1250219.8056 | 2693984.3407 | 1250219.2129 | 2693987.4861 | 1250217.9841 | 2693990.1651 | 1250216.1696 | 2693996.7319 | 1250210.061
16 | 2694095.3196 | 1250561.7157 | 2694090.5876 | 1250558.7494 | 2694082.3774 | 1250548.9782 | 2694077.846 | 1250547.6386 | 2694096.095 | 1250538.0987 | 2694103.2077 | 1250535.6875 | 2694110.2861 | 1250535.433 | 2694121.7817 | 1250537.0612 | 2694129.5099 | 1250535.8275
17 | 2694095.3196 | 1250561.7157 | 2694107.4276 | 1250558.7174
18 | 2694129.5099 | 1250535.8275 | 2694135.8923 | 1250533.7606 | 2694138.3901 | 1250536.6914 | 2694141.2318 | 1250548.857
19 | 2694123.8233 | 1250572.0207 | 2694120.0791 | 1250568.6586 | 2694116.0329 | 1250560.5436 | 2694111.3965 | 1250557.7345 | 2694107.4276 | 1250558.7174
20 | 2694078.1686 | 1250601.4741 | 2694048.7493 | 1250563.7337 | 2694032.8529 | 1250543.5103 | 2693962.1801 | 1250454.7988 | 2694191.0336 | 1250376.8932 | 2694262.8722 | 1250353.3059 | 2694275.3906 | 1250349.0351 | 2694287.8713 | 1250344.7636 | 2694296.9433 | 1250341.183 | 2694307.203 | 1250336.0422 | 2694395.9269 | 1250269.2363 | 2694322.9167 | 1250170.0085 | 2694250.9712 | 1250070.1427
21 | 2694078.1686 | 1250601.4741 | 2694100.6325 | 1250630.2863
22 | 2694078.1686 | 1250601.4741 | 2694051.2872 | 1250621.7113
23 | 2694250.9712 | 1250070.1427 | 2694240.5842 | 1250079.553
24 | 2694250.9712 | 1250070.1427 | 2694262.1175 | 1250058.872
25 | 2694100.6325 | 1250630.2863 | 2694112.0123 | 1250644.8894
26 | 2694100.6325 | 1250630.2863 | 2694094.8256 | 1250634.1527 | 2694071.6455 | 1250649.5805
27 | 2694022.1333 | 1250643.6592 | 2694051.2872 | 1250621.7113
28 | 2694232.2121 | 1250087.1379 | 2694240.5842 | 1250079.553
29 | 2694076.1579 | 1249879.074 | 2694080.5531 | 1249872.8612 | 2694109.3789 | 1249890.1877 | 2694132.0537 | 1249889.7473
30 | 2694132.0537 | 1249889.7473 | 2694140.0699 | 1249898.2992
31 | 2694076.1579 | 1249879.074 | 2694066.4676 | 1249895.8155
32 | 2694064.1032 | 1249899.9004 | 2694066.4676 | 1249895.8155
33 | 2694039.9008 | 1249941.7136 | 2694043.6496 | 1249943.831
34 | 2694039.9008 | 1249941.7136 | 2694051.1317 | 1249922.3106
35 | 2694060.9433 | 1249953.599 | 2694043.6496 | 1249943.831
36 | 2694064.1032 | 1249899.9004 | 2694051.1317 | 1249922.3106
37 | 2694123.8233 | 1250572.0207 | 2694136.8413 | 1250569.3702
38 | 2694147.9984 | 1250569.473 | 2694147.2286 | 1250567.2554 | 2694136.8413 | 1250569.3702
39 | 2694170.5772 | 1250613.0617 | 2694134.9257 | 1250632.5771 | 2694112.0123 | 1250644.8894
40 | 2694112.0123 | 1250644.8894 | 2694077.7804 | 1250663.4603 | 2694022.1511 | 1250680.6909 | 2693974.3652 | 1250699.9034
41 | 2694071.6455 | 1250649.5805 | 2694063.0061 | 1250655.3306 | 2694042.9942 | 1250665.1188
42 | 2693977.9502 | 1250637.0127 | 2693982.9759 | 1250641.139 | 2693993.9882 | 1250644.6608 | 2693999.5497 | 1250648.641 | 2694006.6081 | 1250655.347 | 2694022.1333 | 1250643.6592
43 | 2694018.302 | 1250189.9959 | 2693996.7319 | 1250210.061
44 | 2694232.2121 | 1250087.1379 | 2694213.934 | 1250103.6973
45 | 2694167.9255 | 1250018.6053 | 2694170.9988 | 1250020.5
46 | 2694170.9988 | 1250020.5 | 2694187.1878 | 1250030.4538 | 2694195.1838 | 1250034.2616 | 2694199.226 | 1250035.728
47 | 2694167.9255 | 1250018.6053 | 2694161.4013 | 1250027.6818
48 | 2694167.9255 | 1250018.6053 | 2694184.5181 | 1249991.6057
49 | 2694202.4284 | 1250036.8898 | 2694199.226 | 1250035.728
50 | 2694197.9337 | 1249952.5089 | 2694198.8666 | 1249958.4172 | 2694198.6777 | 1249964.5967 | 2694196.8766 | 1249971.4956 | 2694184.5181 | 1249991.6057
51 | 2694197.9337 | 1249952.5089 | 2694169.5751 | 1249957.1174
52 | 2694169.5751 | 1249957.1174 | 2694141.0266 | 1249960.8557
53 | 2694141.0266 | 1249960.8557 | 2694128.2714 | 1249961.8179
54 | 2694141.0266 | 1249960.8557 | 2694140.1181 | 1249944.2719
55 | 2694128.2714 | 1249961.8179 | 2694125.6366 | 1249962.0166
56 | 2694125.6366 | 1249962.0166 | 2694109.124 | 1249963.2621 | 2694097.9912 | 1249962.9741 | 2694095.2457 | 1249962.7107
57 | 2694161.4013 | 1250027.6818 | 2694154.0218 | 1250037.9481
58 | 2694117.1256 | 1250092.6556 | 2694135.7311 | 1250108.0475
59 | 2694114.4353 | 1250090.4222 | 2694117.1256 | 1250092.6556
60 | 2694135.9519 | 1250108.2301 | 2694135.7311 | 1250108.0475
61 | 2694114.4353 | 1250090.4222 | 2694130.1966 | 1250069.9289
62 | 2694114.4353 | 1250090.4222 | 2694108.5422 | 1250097.0227
63 | 2694202.4284 | 1250036.8898 | 2694210.3773 | 1250037.0162 | 2694222.9746 | 1250036.3715
64 | 2694202.4284 | 1250036.8898 | 2694201.8463 | 1250042.6294 | 2694200.4767 | 1250048.9904 | 2694197.2146 | 1250055.1766 | 2694194.6217 | 1250058.1933
65 | 2694094.6844 | 1249962.6568 | 2694095.2457 | 1249962.7107
66 | 2694060.9433 | 1249953.599 | 2694063.6615 | 1249955.1343 | 2694074.5996 | 1249959.122 | 2694087.1572 | 1249961.9346 | 2694094.6844 | 1249962.6568
67 | 2694154.0218 | 1250037.9481 | 2694143.0007 | 1250053.2805 | 2694140.0441 | 1250057.1248
68 | 2694139.5848 | 1250057.722 | 2694140.0441 | 1250057.1248
69 | 2694108.5422 | 1250097.0227 | 2694106.2302 | 1250099.6123
70 | 2694083.2224 | 1250125.382 | 2694106.2302 | 1250099.6123
71 | 2694073.2233 | 1250136.5814 | 2694083.2224 | 1250125.382
72 | 2694130.1966 | 1250069.9289 | 2694131.6055 | 1250068.0969
73 | 2694073.2233 | 1250136.5814 | 2694076.173 | 1250139.5972
74 | 2694073.2233 | 1250136.5814 | 2694060.7774 | 1250148.7561
75 | 2694131.6055 | 1250068.0969 | 2694139.5848 | 1250057.722
76 | 2694076.173 | 1250139.5972 | 2694090.792 | 1250154.5088
77 | 2694060.7774 | 1250148.7561 | 2694039.3483 | 1250169.7183
78 | 2694091.48 | 1250155.2105 | 2694090.792 | 1250154.5088
79 | 2694024.7664 | 1250183.9824 | 2694039.3483 | 1250169.7183
80 | 2694027.7315 | 1250186.9762 | 2694042.5368 | 1250201.9254
81 | 2694024.7664 | 1250183.9824 | 2694027.7315 | 1250186.9762
82 | 2694042.5368 | 1250201.9254 | 2694043.5159 | 1250202.914
83 | 2694024.7664 | 1250183.9824 | 2694018.302 | 1250189.9959
84 | 2694101.012 | 1250164.9332 | 2694091.48 | 1250155.2105
85 | 2694206.237 | 1250110.6707 | 2694188.9375 | 1250126.3434
86 | 2694206.237 | 1250110.6707 | 2694213.934 | 1250103.6973
87 | 2694175.5665 | 1250080.3632 | 2694194.6217 | 1250058.1933
88 | 2694170.5772 | 1250613.0617 | 2694164.4032 | 1250603.445 | 2694151.6107 | 1250579.8792 | 2694147.9984 | 1250569.473

## bus_geodata
| x | y | coords
0 | 2694092.3422 | 1250217.3249
1 | 2694094.4816 | 1250215.2757
2 | 2694081.0463 | 1250225.8241
3 | 2694133.3006 | 1250178.1365
4 | 2694079.1897 | 1250227.221
5 | 2694164.9021 | 1250148.5325
6 | 2694074.1821 | 1250230.9888
7 | 2694181.8962 | 1250132.7227
8 | 2694061.2966 | 1250240.6841
9 | 2694058.4532 | 1250242.8877
10 | 2694057.7673 | 1250243.4281
11 | 2694039.6999 | 1250257.6619
12 | 2693980.0727 | 1250225.5279
13 | 2693998.2005 | 1250214.3632
14 | 2693980.3447 | 1250219.8056
15 | 2694095.3196 | 1250561.7157
16 | 2694129.5099 | 1250535.8275
17 | 2694107.4276 | 1250558.7174
18 | 2694078.1686 | 1250601.4741
19 | 2694250.9712 | 1250070.1427
20 | 2694100.6325 | 1250630.2863
21 | 2694051.2872 | 1250621.7113
22 | 2694240.5842 | 1250079.553
23 | 2694262.1175 | 1250058.872
24 | 2694141.2318 | 1250548.857
25 | 2694132.0537 | 1249889.7473
26 | 2694076.1579 | 1249879.074
27 | 2694140.0699 | 1249898.2992
28 | 2694066.4676 | 1249895.8155
29 | 2694039.9008 | 1249941.7136
30 | 2694043.6496 | 1249943.831
31 | 2694051.1317 | 1249922.3106
32 | 2694123.8233 | 1250572.0207
33 | 2694136.8413 | 1250569.3702
34 | 2694112.0123 | 1250644.8894
35 | 2694071.6455 | 1250649.5805
36 | 2694022.1333 | 1250643.6592
37 | 2693996.7319 | 1250210.061
38 | 2694232.2121 | 1250087.1379
39 | 2693977.9502 | 1250637.0127
40 | 2694170.9988 | 1250020.5
41 | 2694167.9255 | 1250018.6053
42 | 2694199.226 | 1250035.728
43 | 2694197.9337 | 1249952.5089
44 | 2694184.5181 | 1249991.6057
45 | 2694169.5751 | 1249957.1174
46 | 2694064.1032 | 1249899.9004
47 | 2694141.0266 | 1249960.8557
48 | 2694128.2714 | 1249961.8179
49 | 2694140.1181 | 1249944.2719
50 | 2694125.6366 | 1249962.0166
51 | 2694161.4013 | 1250027.6818
52 | 2694117.1256 | 1250092.6556
53 | 2694135.7311 | 1250108.0475
54 | 2694114.4353 | 1250090.4222
55 | 2694202.4284 | 1250036.8898
56 | 2694095.2457 | 1249962.7107
57 | 2694094.6844 | 1249962.6568
58 | 2694060.9433 | 1249953.599
59 | 2694154.0218 | 1250037.9481
60 | 2694140.0441 | 1250057.1248
61 | 2694108.5422 | 1250097.0227
62 | 2694106.2302 | 1250099.6123
63 | 2694083.2224 | 1250125.382
64 | 2694130.1966 | 1250069.9289
65 | 2694073.2233 | 1250136.5814
66 | 2694131.6055 | 1250068.0969
67 | 2694076.173 | 1250139.5972
68 | 2694060.7774 | 1250148.7561
69 | 2694090.792 | 1250154.5088
70 | 2694135.9519 | 1250108.2301
71 | 2694139.5848 | 1250057.722
72 | 2694039.3483 | 1250169.7183
73 | 2694027.7315 | 1250186.9762
74 | 2694042.5368 | 1250201.9254
75 | 2694024.7664 | 1250183.9824
76 | 2694091.48 | 1250155.2105
77 | 2694018.302 | 1250189.9959
78 | 2694043.5159 | 1250202.914
79 | 2694188.9375 | 1250126.3434
80 | 2694101.012 | 1250164.9332
81 | 2694206.237 | 1250110.6707
82 | 2694213.934 | 1250103.6973
83 | 2694194.6217 | 1250058.1933
84 | 2694175.5665 | 1250080.3632
85 | 2694222.9746 | 1250036.3715
86 | 2694042.9942 | 1250665.1188
87 | 2694170.5772 | 1250613.0617
88 | 2693974.3652 | 1250699.9034
89 | 2694147.9984 | 1250569.473
90 | 2694076.173 | 1250139.5972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99158 | -0.16077 | 0.0046667 | 0.0011696
1 | 0.99153 | -0.16172 | 0.00054747 | 0.00013721
2 | 0.99184 | -0.15581 | 0.00024917 | 6.2448e-05
3 | 0.99063 | -0.17893 | 0.0015819 | 0.00039647
4 | 0.99188 | -0.15499 | 0.0008768 | 0.00021975
5 | 0.98993 | -0.19242 | 0.0028704 | 0.00071939
6 | 0.992 | -0.15275 | 0.00041545 | 0.00010412
7 | 0.98958 | -0.19926 | 0.00098645 | 0.00024723
8 | 0.9923 | -0.14695 | 0.00060597 | 0.00015187
9 | 0.99237 | -0.14565 | 0.0012212 | 0.00030607
10 | 0.99238 | -0.14532 | 0.00069948 | 0.00017531
11 | 0.99283 | -0.13672 | 0.00046645 | 0.0001169
12 | 0.99445 | -0.10571 | 0 | 0
13 | 0.99444 | -0.10593 | 0.000571 | 0.00014311
14 | 0.99456 | -0.10354 | 0 | 0
15 | 0.97606 | -0.46239 | 0 | 0
16 | 0.97593 | -0.46492 | 0 | 0
17 | 0.97608 | -0.46199 | 0.0031519 | 0.00078993
18 | 0.97689 | -0.4461 | 0 | 0
19 | 0.98828 | -0.22426 | 0 | 0
20 | 0.97668 | -0.45013 | 0 | 0
21 | 0.97619 | -0.45984 | 0.015072 | 0.0037774
22 | 0.98846 | -0.22076 | 0.0010671 | 0.00026743
23 | 0.98826 | -0.22464 | 0.0013554 | 0.00033971
24 | 0.97588 | -0.46604 | 0.0053201 | 0.0013333
25 | 0.97746 | -0.43496 | 0 | 0
26 | 0.97781 | -0.4281 | 0 | 0
27 | 0.9774 | -0.43622 | 0.0058882 | 0.0014757
28 | 0.97792 | -0.42602 | 0.0039188 | 0.00098213
29 | 0.97852 | -0.41422 | 0 | 0
30 | 0.97857 | -0.41315 | 0.0056715 | 0.0014214
31 | 0.97823 | -0.41983 | 0.0024108 | 0.0006042
32 | 0.97614 | -0.46077 | 0 | 0
33 | 0.97618 | -0.46008 | 0.00092565 | 0.00023199
34 | 0.97661 | -0.45149 | 0 | 0
35 | 0.97649 | -0.45395 | 0.0041438 | 0.0010385
36 | 0.97594 | -0.46469 | 0.0067127 | 0.0016824
37 | 0.99495 | -0.096108 | 0.0097975 | 0.0024555
38 | 0.98861 | -0.21787 | 0.0010958 | 0.00027464
39 | 0.97591 | -0.46524 | 0.00055688 | 0.00013957
40 | 0.98674 | -0.25396 | 0 | 0
41 | 0.98676 | -0.2535 | 0 | 0
42 | 0.98653 | -0.25814 | 0.0014036 | 0.00035178
43 | 0.98352 | -0.31646 | 0 | 0
44 | 0.98525 | -0.28286 | 0.0081463 | 0.0020417
45 | 0.98236 | -0.33896 | 0 | 0
46 | 0.97796 | -0.42518 | 0.0015169 | 0.00038017
47 | 0.98121 | -0.36157 | 0 | 0
48 | 0.98073 | -0.37098 | 0.0043311 | 0.0010855
49 | 0.98116 | -0.36244 | 0.0029083 | 0.00072888
50 | 0.98064 | -0.37272 | 0.0039756 | 0.00099638
51 | 0.98737 | -0.24171 | 0.0031407 | 0.00078714
52 | 0.99232 | -0.1464 | 0 | 0
53 | 0.99222 | -0.14833 | 0.0031656 | 0.00079338
54 | 0.99234 | -0.14612 | 0 | 0
55 | 0.98651 | -0.25849 | 0 | 0
56 | 0.97972 | -0.39058 | 0.0031467 | 0.00078864
57 | 0.97971 | -0.39087 | 0.00532 | 0.0013333
58 | 0.97893 | -0.40613 | 0.0044436 | 0.0011137
59 | 0.9881 | -0.22769 | 0.0015778 | 0.00039542
60 | 0.9895 | -0.20076 | 0.0026312 | 0.00065943
61 | 0.99299 | -0.13357 | 0.0064297 | 0.0016114
62 | 0.99327 | -0.12826 | 0.0075998 | 0.0019047
63 | 0.99627 | -0.070948 | 0.0056187 | 0.0014082
64 | 0.99053 | -0.1808 | 0.0031386 | 0.00078661
65 | 0.99765 | -0.04467 | 0 | 0
66 | 0.99038 | -0.18378 | 0.0033844 | 0.0008482
67 | 0.9979 | -0.039963 | 0 | 0
68 | 0.99716 | -0.053988 | 0.0043686 | 0.0010949
69 | 0.99912 | -0.016666 | 0.0031296 | 0.00078435
70 | 0.99222 | -0.14833 | 0.0013469 | 0.00033757
71 | 0.98954 | -0.19987 | 0.0028332 | 0.00071006
72 | 0.99636 | -0.069286 | 0.004121 | 0.0010328
73 | 0.99582 | -0.079573 | 0 | 0
74 | 0.99573 | -0.081351 | 0.00081249 | 0.00020363
75 | 0.99584 | -0.079217 | 0 | 0
76 | 0.99918 | -0.015553 | 0.0018614 | 0.00046652
77 | 0.99563 | -0.08327 | 0.0040393 | 0.0010124
78 | 0.99572 | -0.081449 | 0.0039944 | 0.0010011
79 | 0.98943 | -0.20201 | 0.0010005 | 0.00025076
80 | 1 | 0 | -0.20047 | -0.050753
81 | 0.98909 | -0.20862 | 0.0024976 | 0.00062597
82 | 0.98894 | -0.21141 | 0.0011007 | 0.00027585
83 | 0.98641 | -0.26047 | 0.0024474 | 0.00061336
84 | 0.98635 | -0.26168 | 0.0023041 | 0.00057746
85 | 0.98649 | -0.25889 | 0.0010906 | 0.00027332
86 | 0.97643 | -0.45507 | 0.0018659 | 0.00046765
87 | 0.97638 | -0.456 | 0 | 0
88 | 0.97647 | -0.45424 | 0.0010079 | 0.00025259
89 | 0.97622 | -0.45934 | 0.0016959 | 0.00042503
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.055169 | 0.014006 | -0.055167 | -0.014005 | 2.5421e-06 | 1.5123e-06 | 0.082854 | 0.082854 | 0.082854 | 0.99158 | -0.16077 | 0.99153 | -0.16172 | 7.5874
1 | -0.059836 | -0.015176 | 0.05985 | 0.015184 | 1.4268e-05 | 8.5841e-06 | 0.089857 | 0.089857 | 0.089857 | 0.99158 | -0.16077 | 0.99184 | -0.15581 | 8.2287
2 | 0.054619 | 0.013867 | -0.054574 | -0.013841 | 4.5191e-05 | 2.6846e-05 | 0.082033 | 0.082033 | 0.082033 | 0.99153 | -0.16172 | 0.99063 | -0.17893 | 7.5122
3 | -0.0601 | -0.015247 | 0.060102 | 0.015248 | 2.3645e-06 | 1.4233e-06 | 0.090231 | 0.090231 | 0.090231 | 0.99184 | -0.15581 | 0.99188 | -0.15499 | 8.2629
4 | 0.052992 | 0.013444 | -0.052958 | -0.013424 | 3.4346e-05 | 2.031e-05 | 0.079657 | 0.079658 | 0.079658 | 0.99063 | -0.17893 | 0.98993 | -0.19242 | 7.2947
5 | -0.060979 | -0.015468 | 0.060985 | 0.015472 | 6.565e-06 | 3.9589e-06 | 0.091546 | 0.091546 | 0.091546 | 0.99188 | -0.15499 | 0.992 | -0.15275 | 8.3834
6 | 0.050088 | 0.012704 | -0.050071 | -0.012695 | 1.647e-05 | 9.6461e-06 | 0.075343 | 0.075344 | 0.075344 | 0.98993 | -0.19242 | 0.98958 | -0.19926 | 6.8996
7 | -0.061401 | -0.015576 | 0.061418 | 0.015586 | 1.7124e-05 | 1.0334e-05 | 0.092169 | 0.092169 | 0.092169 | 0.992 | -0.15275 | 0.9923 | -0.14695 | 8.4404
8 | 0.049085 | 0.012448 | -0.049078 | -0.012444 | 6.4792e-06 | 3.7805e-06 | 0.07386 | 0.07386 | 0.07386 | 0.98958 | -0.19926 | 0.98943 | -0.20201 | 6.7638
9 | -0.062024 | -0.015738 | 0.062028 | 0.015741 | 3.8959e-06 | 2.3539e-06 | 0.093078 | 0.093078 | 0.093078 | 0.9923 | -0.14695 | 0.99237 | -0.14565 | 8.5236
10 | -0.063249 | -0.016047 | 0.06325 | 0.016047 | 9.8321e-07 | 5.9541e-07 | 0.094909 | 0.094909 | 0.094909 | 0.99237 | -0.14565 | 0.99238 | -0.14532 | 8.6913
11 | -0.06395 | -0.016223 | 0.063976 | 0.016239 | 2.6473e-05 | 1.6051e-05 | 0.095958 | 0.095957 | 0.095958 | 0.99238 | -0.14532 | 0.99283 | -0.13672 | 8.7873
12 | -0.064442 | -0.016355 | 0.064539 | 0.016414 | 9.6276e-05 | 5.8413e-05 | 0.096657 | 0.096655 | 0.096657 | 0.99283 | -0.13672 | 0.99445 | -0.10571 | 8.8513
13 | 0.00057101 | 0.00014283 | -0.000571 | -0.00014311 | 5.9936e-09 | -2.8025e-07 | 0.00085431 | 0.00085441 | 0.00085441 | 0.99445 | -0.10571 | 0.99444 | -0.10593 | 0.23473
14 | -0.06511 | -0.016557 | 0.065117 | 0.016561 | 6.809e-06 | 4.1348e-06 | 0.09751 | 0.09751 | 0.09751 | 0.99445 | -0.10571 | 0.99456 | -0.10354 | 8.9295
15 | -0.065117 | -0.016561 | 0.06514 | 0.016575 | 2.332e-05 | 1.416e-05 | 0.09751 | 0.097509 | 0.09751 | 0.99456 | -0.10354 | 0.99495 | -0.096108 | 8.9295
16 | 0.005321 | 0.0013304 | -0.0053204 | -0.0013329 | 6.3898e-07 | -2.5039e-06 | 0.0081108 | 0.0081119 | 0.0081119 | 0.97606 | -0.46239 | 0.97593 | -0.46492 | 0.74284
17 | -0.005321 | -0.0013304 | 0.0053211 | 0.00133 | 1.0257e-07 | -4.0208e-07 | 0.0081108 | 0.0081106 | 0.0081108 | 0.97606 | -0.46239 | 0.97608 | -0.46199 | 0.74275
18 | 0.0053204 | 0.0013329 | -0.0053201 | -0.0013333 | 2.8443e-07 | -3.9404e-07 | 0.0081119 | 0.0081121 | 0.0081121 | 0.97593 | -0.46492 | 0.97588 | -0.46604 | 1.1143
19 | -0.008473 | -0.00212 | 0.0084735 | 0.0021194 | 4.9229e-07 | -5.703e-07 | 0.012916 | 0.012915 | 0.012916 | 0.97608 | -0.46199 | 0.97614 | -0.46077 | 1.1827
20 | -0.040481 | -0.01014 | 0.040913 | 0.010382 | 0.00043206 | 0.00024196 | 0.061659 | 0.061647 | 0.061659 | 0.97689 | -0.4461 | 0.98828 | -0.22426 | 5.6464
21 | 0.018123 | 0.0045317 | -0.018119 | -0.0045309 | 3.4754e-06 | 8.5385e-07 | 0.027602 | 0.027602 | 0.027602 | 0.97689 | -0.4461 | 0.97668 | -0.45013 | 2.5277
22 | 0.022358 | 0.0056082 | -0.022343 | -0.0055992 | 1.4636e-05 | 8.9458e-06 | 0.034057 | 0.034058 | 0.034058 | 0.97689 | -0.4461 | 0.97619 | -0.45984 | 9.3565
23 | -0.042268 | -0.010721 | 0.042275 | 0.010725 | 7.1062e-06 | 4.0091e-06 | 0.063687 | 0.063687 | 0.063687 | 0.98828 | -0.22426 | 0.98846 | -0.22076 | 5.8322
24 | 0.0013555 | 0.00033952 | -0.0013554 | -0.00033971 | 2.4758e-08 | -1.8726e-07 | 0.0020408 | 0.0020409 | 0.0020409 | 0.98828 | -0.22426 | 0.98826 | -0.22464 | 0.56068
25 | 0.012109 | 0.0030248 | -0.012108 | -0.0030249 | 7.8641e-07 | -1.9095e-07 | 0.018444 | 0.018445 | 0.018445 | 0.97668 | -0.45013 | 0.97661 | -0.45149 | 1.6891
26 | 0.0060109 | 0.0015061 | -0.0060098 | -0.0015058 | 1.0951e-06 | 2.6519e-07 | 0.0091578 | 0.0091579 | 0.0091579 | 0.97668 | -0.45013 | 0.97649 | -0.45395 | 2.5159
27 | 0.0072712 | 0.0018219 | -0.0072695 | -0.0018212 | 1.6811e-06 | 6.1977e-07 | 0.011083 | 0.011084 | 0.011084 | 0.97619 | -0.45984 | 0.97594 | -0.46469 | 3.0449
28 | -0.043342 | -0.010993 | 0.043348 | 0.010996 | 6.0203e-06 | 3.4185e-06 | 0.065294 | 0.065293 | 0.065294 | 0.98846 | -0.22076 | 0.98861 | -0.21787 | 5.9793
29 | -0.0058885 | -0.0014758 | 0.0058904 | 0.0014762 | 1.9261e-06 | 4.3121e-07 | 0.0089642 | 0.0089639 | 0.0089642 | 0.97746 | -0.43496 | 0.97781 | -0.4281 | 2.4627
30 | 0.0058885 | 0.0014758 | -0.0058882 | -0.0014757 | 3.5322e-07 | 7.9144e-08 | 0.0089642 | 0.0089643 | 0.0089643 | 0.97746 | -0.43496 | 0.9774 | -0.43622 | 2.4627
31 | -0.0058904 | -0.0014762 | 0.005891 | 0.0014764 | 5.8286e-07 | 1.3036e-07 | 0.0089639 | 0.0089638 | 0.0089639 | 0.97781 | -0.4281 | 0.97792 | -0.42602 | 2.4626
32 | -0.0098098 | -0.0024585 | 0.0098102 | 0.0024587 | 3.9435e-07 | 1.9316e-07 | 0.014927 | 0.014927 | 0.014927 | 0.97792 | -0.42602 | 0.97796 | -0.42518 | 4.1007
33 | -0.013744 | -0.0034466 | 0.013745 | 0.003447 | 7.0536e-07 | 3.9734e-07 | 0.020902 | 0.020902 | 0.020902 | 0.97852 | -0.41422 | 0.97857 | -0.41315 | 5.7422
34 | 0.013744 | 0.0034466 | -0.013741 | -0.0034446 | 3.6729e-06 | 2.0691e-06 | 0.020902 | 0.020902 | 0.020902 | 0.97852 | -0.41422 | 0.97823 | -0.41983 | 5.7422
35 | -0.019417 | -0.0048685 | 0.019423 | 0.0048724 | 6.493e-06 | 3.9059e-06 | 0.029526 | 0.029526 | 0.029526 | 0.97857 | -0.41315 | 0.97893 | -0.40613 | 8.1114
36 | 0.01133 | 0.0028404 | -0.011327 | -0.0028389 | 2.8842e-06 | 1.5209e-06 | 0.017235 | 0.017235 | 0.017235 | 0.97823 | -0.41983 | 0.97796 | -0.42518 | 4.7348
37 | -0.0084735 | -0.0021194 | 0.0084738 | 0.0021191 | 2.77e-07 | -3.2096e-07 | 0.012915 | 0.012915 | 0.012915 | 0.97614 | -0.46077 | 0.97618 | -0.46008 | 1.1827
38 | -0.0093994 | -0.0023511 | 0.0093997 | 0.0023508 | 3.3217e-07 | -2.7304e-07 | 0.014326 | 0.014326 | 0.014326 | 0.97618 | -0.46008 | 0.97622 | -0.45934 | 1.3119
39 | 0.0111 | 0.0027741 | -0.011097 | -0.0027751 | 2.3771e-06 | -9.7462e-07 | 0.016909 | 0.01691 | 0.01691 | 0.97661 | -0.45149 | 0.97638 | -0.456 | 1.5486
40 | 0.001008 | 0.00025082 | -0.0010079 | -0.00025259 | 1.3146e-07 | -1.7761e-06 | 0.0015352 | 0.0015358 | 0.0015358 | 0.97661 | -0.45149 | 0.97647 | -0.45424 | 0.42193
41 | 0.001866 | 0.0004673 | -0.0018659 | -0.00046765 | 9.9012e-08 | -3.4512e-07 | 0.0028434 | 0.0028435 | 0.0028435 | 0.97649 | -0.45395 | 0.97643 | -0.45507 | 0.78119
42 | 0.00055689 | 0.0001389 | -0.00055688 | -0.00013957 | 1.4615e-08 | -6.663e-07 | 0.00084885 | 0.00084909 | 0.00084909 | 0.97594 | -0.46469 | 0.97591 | -0.46524 | 0.23327
43 | -0.074937 | -0.01903 | 0.074984 | 0.019059 | 4.6327e-05 | 2.85e-05 | 0.11216 | 0.11216 | 0.11216 | 0.99495 | -0.096108 | 0.99563 | -0.08327 | 10.2713
44 | -0.044444 | -0.011271 | 0.044458 | 0.011279 | 1.3816e-05 | 7.8931e-06 | 0.066943 | 0.066942 | 0.066943 | 0.98861 | -0.21787 | 0.98894 | -0.21141 | 6.1303
45 | -0.0072478 | -0.0018159 | 0.007248 | 0.001816 | 1.614e-07 | 5.727e-08 | 0.01093 | 0.01093 | 0.01093 | 0.98674 | -0.25396 | 0.98676 | -0.2535 | 3.0026
46 | 0.0072478 | 0.0018159 | -0.0072464 | -0.0018154 | 1.4407e-06 | 5.1131e-07 | 0.01093 | 0.01093 | 0.01093 | 0.98674 | -0.25396 | 0.98653 | -0.25814 | 3.0027
47 | -0.059247 | -0.014968 | 0.059281 | 0.01499 | 3.3491e-05 | 2.1292e-05 | 0.089386 | 0.089386 | 0.089386 | 0.98676 | -0.2535 | 0.98737 | -0.24171 | 24.5566
48 | 0.051999 | 0.013152 | -0.051926 | -0.013106 | 7.3151e-05 | 4.6412e-05 | 0.078456 | 0.078456 | 0.078456 | 0.98676 | -0.2535 | 0.98525 | -0.28286 | 21.554
49 | 0.0058427 | 0.0014636 | -0.0058426 | -0.0014636 | 9.9211e-08 | 1.9999e-08 | 0.0088125 | 0.0088126 | 0.0088126 | 0.98653 | -0.25814 | 0.98651 | -0.25849 | 2.421
50 | -0.043709 | -0.01102 | 0.04378 | 0.011064 | 7.04e-05 | 4.451e-05 | 0.066153 | 0.066153 | 0.066153 | 0.98352 | -0.31646 | 0.98525 | -0.28286 | 18.174
51 | 0.043709 | 0.01102 | -0.043662 | -0.01099 | 4.7014e-05 | 2.9726e-05 | 0.066153 | 0.066153 | 0.066153 | 0.98352 | -0.31646 | 0.98236 | -0.33896 | 18.174
52 | 0.043662 | 0.01099 | -0.043615 | -0.01096 | 4.7115e-05 | 2.979e-05 | 0.066153 | 0.066154 | 0.066154 | 0.98236 | -0.33896 | 0.98121 | -0.36157 | 18.1741
53 | 0.040707 | 0.010231 | -0.040689 | -0.01022 | 1.8286e-05 | 1.1542e-05 | 0.061743 | 0.061743 | 0.061743 | 0.98121 | -0.36157 | 0.98073 | -0.37098 | 16.9624
54 | 0.0029084 | 0.00072875 | -0.0029083 | -0.00072888 | 1.2116e-07 | -1.3223e-07 | 0.0044106 | 0.0044106 | 0.0044106 | 0.98121 | -0.36157 | 0.98116 | -0.36244 | 1.2117
55 | 0.036357 | 0.0091345 | -0.036354 | -0.0091326 | 3.0161e-06 | 1.8969e-06 | 0.055172 | 0.055172 | 0.055172 | 0.98073 | -0.37098 | 0.98064 | -0.37272 | 15.1571
56 | 0.032379 | 0.0081362 | -0.032351 | -0.0081189 | 2.7576e-05 | 1.7265e-05 | 0.049139 | 0.049139 | 0.049139 | 0.98064 | -0.37272 | 0.97972 | -0.39058 | 13.4998
57 | -0.062421 | -0.015777 | 0.062463 | 0.015803 | 4.2e-05 | 2.6718e-05 | 0.094119 | 0.094119 | 0.094119 | 0.98737 | -0.24171 | 0.9881 | -0.22769 | 25.8569
58 | 0.004513 | 0.0011309 | -0.0045126 | -0.0011309 | 4.1469e-07 | -4.6511e-08 | 0.0067673 | 0.0067674 | 0.0067674 | 0.99232 | -0.1464 | 0.99222 | -0.14833 | 1.8592
59 | -0.004513 | -0.0011309 | 0.004513 | 0.0011309 | 5.9935e-08 | -6.7282e-09 | 0.0067673 | 0.0067673 | 0.0067673 | 0.99232 | -0.1464 | 0.99234 | -0.14612 | 1.8591
60 | 0.0013469 | 0.00033757 | -0.0013469 | -0.00033757 | 4.3821e-10 | -3.4196e-09 | 0.0020199 | 0.0020199 | 0.0020199 | 0.99222 | -0.14833 | 0.99222 | -0.14833 | 0.55493
61 | 0.076306 | 0.01938 | -0.076178 | -0.019299 | 0.00012713 | 8.103e-05 | 0.11451 | 0.11451 | 0.11451 | 0.99234 | -0.14612 | 0.99053 | -0.1808 | 31.4592
62 | -0.080819 | -0.020511 | 0.080867 | 0.020542 | 4.8805e-05 | 3.1121e-05 | 0.12128 | 0.12128 | 0.12128 | 0.99234 | -0.14612 | 0.99299 | -0.13357 | 33.3183
63 | 0.0010906 | 0.00027308 | -0.0010906 | -0.00027332 | 2.0804e-08 | -2.4844e-07 | 0.0016449 | 0.001645 | 0.001645 | 0.98651 | -0.25849 | 0.98649 | -0.25889 | 0.45193
64 | 0.004752 | 0.0011905 | -0.0047516 | -0.0011905 | 4.4788e-07 | -1.0141e-08 | 0.0071676 | 0.0071677 | 0.0071677 | 0.98651 | -0.25849 | 0.98641 | -0.26047 | 1.9692
65 | 0.029205 | 0.0073303 | -0.029204 | -0.00733 | 4.1609e-07 | 2.592e-07 | 0.04436 | 0.04436 | 0.04436 | 0.97972 | -0.39058 | 0.97971 | -0.39087 | 12.1868
66 | 0.023884 | 0.0059967 | -0.023867 | -0.005986 | 1.7372e-05 | 1.0675e-05 | 0.03628 | 0.03628 | 0.03628 | 0.97971 | -0.39087 | 0.97893 | -0.40613 | 9.967
67 | -0.064041 | -0.016199 | 0.064124 | 0.016252 | 8.2866e-05 | 5.273e-05 | 0.096495 | 0.096495 | 0.096495 | 0.9881 | -0.22769 | 0.9895 | -0.20076 | 26.5096
68 | -0.066755 | -0.016911 | 0.066758 | 0.016913 | 2.8508e-06 | 1.8148e-06 | 0.10045 | 0.10045 | 0.10045 | 0.9895 | -0.20076 | 0.98954 | -0.19987 | 27.5966
69 | -0.087297 | -0.022153 | 0.087319 | 0.022167 | 2.2311e-05 | 1.4234e-05 | 0.13091 | 0.13091 | 0.13091 | 0.99299 | -0.13357 | 0.99327 | -0.12826 | 35.9653
70 | -0.094919 | -0.024072 | 0.095181 | 0.024239 | 0.00026232 | 0.00016744 | 0.1423 | 0.1423 | 0.1423 | 0.99327 | -0.12826 | 0.99627 | -0.070948 | 39.0931
71 | -0.1008 | -0.025648 | 0.10093 | 0.025729 | 0.00012785 | 8.1626e-05 | 0.15069 | 0.15069 | 0.15069 | 0.99627 | -0.070948 | 0.99765 | -0.04467 | 41.3985
72 | 0.07304 | 0.018512 | -0.073029 | -0.018505 | 1.0448e-05 | 6.657e-06 | 0.1098 | 0.1098 | 0.1098 | 0.99053 | -0.1808 | 0.99038 | -0.18378 | 30.1639
73 | -0.19341 | -0.049234 | 0.19345 | 0.049262 | 4.3896e-05 | 2.7929e-05 | 0.28875 | 0.28874 | 0.28875 | 0.99765 | -0.04467 | 0.9979 | -0.039963 | 26.4419
74 | 0.092482 | 0.023504 | -0.09244 | -0.023478 | 4.1479e-05 | 2.5865e-05 | 0.13805 | 0.13805 | 0.13805 | 0.99765 | -0.04467 | 0.99716 | -0.053988 | 12.6424
75 | 0.069645 | 0.017657 | -0.069591 | -0.017623 | 5.3816e-05 | 3.4274e-05 | 0.10471 | 0.10471 | 0.10471 | 0.99038 | -0.18378 | 0.98954 | -0.19987 | 28.767
76 | -0.19345 | -0.049262 | 0.19367 | 0.0494 | 0.00021763 | 0.00013846 | 0.28874 | 0.28874 | 0.28874 | 0.9979 | -0.039963 | 0.99912 | -0.016666 | 26.4418
77 | 0.088072 | 0.022384 | -0.088007 | -0.022343 | 6.4831e-05 | 4.032e-05 | 0.13154 | 0.13154 | 0.13154 | 0.99716 | -0.053988 | 0.99636 | -0.069286 | 12.0454
78 | -0.1968 | -0.050184 | 0.19681 | 0.050191 | 1.0575e-05 | 6.7291e-06 | 0.29341 | 0.29341 | 0.29341 | 0.99912 | -0.016666 | 0.99918 | -0.015553 | 26.8686
79 | 0.083886 | 0.02131 | -0.083846 | -0.021286 | 4.0084e-05 | 2.4857e-05 | 0.12538 | 0.12538 | 0.12538 | 0.99636 | -0.069286 | 0.99584 | -0.079217 | 11.4819
80 | 0.0048073 | 0.0012047 | -0.0048069 | -0.0012047 | 4.0713e-07 | -1.3135e-08 | 0.0071834 | 0.0071835 | 0.0071835 | 0.99582 | -0.079573 | 0.99573 | -0.081351 | 1.9735
81 | -0.0048073 | -0.0012047 | 0.0048074 | 0.0012047 | 8.1406e-08 | -2.6334e-09 | 0.0071834 | 0.0071833 | 0.0071834 | 0.99582 | -0.079573 | 0.99584 | -0.079217 | 1.9734
82 | 0.0039944 | 0.0010011 | -0.0039944 | -0.0010011 | 1.8592e-08 | -6.1995e-09 | 0.0059693 | 0.0059693 | 0.0059693 | 0.99573 | -0.081351 | 0.99572 | -0.081449 | 1.6399
83 | 0.079038 | 0.020081 | -0.079023 | -0.020071 | 1.5419e-05 | 9.5233e-06 | 0.1182 | 0.1182 | 0.1182 | 0.99584 | -0.079217 | 0.99563 | -0.08327 | 10.8241
84 | -0.19867 | -0.050658 | 0.19882 | 0.050753 | 0.0001493 | 9.5016e-05 | 0.29618 | 0.29618 | 0.29618 | 0.99918 | -0.015553 | 1 | 0 | 27.1225
85 | 0.048078 | 0.012193 | -0.048062 | -0.012184 | 1.5276e-05 | 8.8777e-06 | 0.072356 | 0.072356 | 0.072356 | 0.98943 | -0.20201 | 0.98909 | -0.20862 | 6.626
86 | 0.045565 | 0.011558 | -0.045559 | -0.011555 | 6.1093e-06 | 3.5101e-06 | 0.068598 | 0.068599 | 0.068599 | 0.98909 | -0.20862 | 0.98894 | -0.21141 | 6.2819
87 | 0.0023042 | 0.00057717 | -0.0023041 | -0.00057746 | 1.3245e-07 | -2.8838e-07 | 0.0034759 | 0.003476 | 0.003476 | 0.98641 | -0.26047 | 0.98635 | -0.26168 | 0.95494
88 | 0.011097 | 0.0027751 | -0.011096 | -0.0027758 | 1.7608e-06 | -7.2098e-07 | 0.01691 | 0.016911 | 0.016911 | 0.97638 | -0.456 | 0.97622 | -0.45934 | 1.5486

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20253 | 0.051269

## res_load
| p_mw | q_mvar
0 | 0.0046667 | 0.0011696
1 | 0.00054747 | 0.00013721
2 | 0.00024917 | 6.2448e-05
3 | 0.0015819 | 0.00039647
4 | 0.0008768 | 0.00021975
5 | 0.0028704 | 0.00071939
6 | 0.00041545 | 0.00010412
7 | 0.00098645 | 0.00024723
8 | 0.00060597 | 0.00015187
9 | 0.0012212 | 0.00030607
10 | 0.00069948 | 0.00017531
11 | 0.00046645 | 0.0001169
12 | 0.000571 | 0.00014311
13 | 0.0031519 | 0.00078993
14 | 0.015072 | 0.0037774
15 | 0.0010671 | 0.00026743
16 | 0.0013554 | 0.00033971
17 | 0.0053201 | 0.0013333
18 | 0.0058882 | 0.0014757
19 | 0.0039188 | 0.00098213
20 | 0.0056715 | 0.0014214
21 | 0.0024108 | 0.0006042
22 | 0.00092565 | 0.00023199
23 | 0.0041438 | 0.0010385
24 | 0.0067127 | 0.0016824
25 | 0.0097975 | 0.0024555
26 | 0.0010958 | 0.00027464
27 | 0.00055688 | 0.00013957
28 | 0.0014036 | 0.00035178
29 | 0.0081463 | 0.0020417
30 | 0.0015169 | 0.00038017
31 | 0.0043311 | 0.0010855
32 | 0.0029083 | 0.00072888
33 | 0.0039756 | 0.00099638
34 | 0.0031407 | 0.00078714
35 | 0.0031656 | 0.00079338
36 | 0.0031467 | 0.00078864
37 | 0.00532 | 0.0013333
38 | 0.0044436 | 0.0011137
39 | 0.0015778 | 0.00039542
40 | 0.0026312 | 0.00065943
41 | 0.0064297 | 0.0016114
42 | 0.0075998 | 0.0019047
43 | 0.0056187 | 0.0014082
44 | 0.0031386 | 0.00078661
45 | 0.0033844 | 0.0008482
46 | 0.0043686 | 0.0010949
47 | 0.0031296 | 0.00078435
48 | 0.0013469 | 0.00033757
49 | 0.0028332 | 0.00071006
50 | 0.004121 | 0.0010328
51 | 0.00081249 | 0.00020363
52 | 0.0018614 | 0.00046652
53 | 0.0040393 | 0.0010124
54 | 0.0039944 | 0.0010011
55 | 0.0010005 | 0.00025076
56 | 0.0020617 | 0.00051671
57 | 0.0024976 | 0.00062597
58 | 0.0011007 | 0.00027585
59 | 0.0024474 | 0.00061336
60 | 0.0023041 | 0.00057746
61 | 0.0010906 | 0.00027332
62 | 0.0018659 | 0.00046765
63 | 0.0010079 | 0.00025259
64 | 0.0016959 | 0.00042503

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1