## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-19_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_199-19_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_199-19_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_199-19_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_199-19_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_199-19_0_4_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_199-19_0_4_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_199-19_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_199-19_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_199-19_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_199-19_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_199-19_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_199-19_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_199-19_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_199-19_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_199-19_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_199-19_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_199-19_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_199-19_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_199-19_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_199-19_0_4_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_199-19_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_199-19_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_199-19_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_199-19_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_199-19_0_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_199-19_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_199-19_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_199-19_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_199-19_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_199-19_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_199-19_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_199-19_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_199-19_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_199-19_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_199-19_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_199-19_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_199-19_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_199-19_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_199-19_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_199-19_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_199-19_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_199-19_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_199-19_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_199-19_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_199-19_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_199-19_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_199-19_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_199-19_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_199-19_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_199-19_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_199-19_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_199-19_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_199-19_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_199-19_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_199-19_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_199-19_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_199-19_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_199-19_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_MV_502_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-19_0_4_load_0 | 0 | 0.05475 | 0.013722 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-19_0_4_load_67 | 8 | 0.0027315 | 0.00068459 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-19_0_4_load_66 | 9 | 0.007864 | 0.0019709 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-19_0_4_load_30 | 11 | 0.0078505 | 0.0019675 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-19_0_4_load_24 | 12 | 0.0071892 | 0.0018018 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-19_0_4_load_33 | 15 | 0.0036187 | 0.00090694 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-19_0_4_load_42 | 18 | 0.020337 | 0.0050969 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-19_0_4_load_28 | 19 | 0.0016532 | 0.00041433 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-19_0_4_load_26 | 20 | 0.0047752 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-19_0_4_load_21 | 21 | 0.010192 | 0.0025543 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-19_0_4_load_68 | 23 | 0.018926 | 0.0047432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-19_0_4_load_43 | 25 | 0.018538 | 0.0046459 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-19_0_4_load_45 | 27 | 0.0036295 | 0.00090964 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-19_0_4_load_53 | 28 | 0.0036315 | 0.00091015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-19_0_4_load_38 | 29 | 0.029548 | 0.0074053 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-19_0_4_load_19 | 30 | 0.09253 | 0.02319 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-19_0_4_load_36 | 31 | 0.0027432 | 0.00068752 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-19_0_4_load_23 | 32 | 0.0051771 | 0.0012975 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-19_0_4_load_34 | 33 | 0.0026592 | 0.00066646 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-19_0_4_load_32 | 34 | 0.0013397 | 0.00033577 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-19_0_4_load_31 | 37 | 0.003383 | 0.00084785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-19_0_4_load_44 | 38 | 0.0038282 | 0.00095943 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-19_0_4_load_52 | 39 | 0.003826 | 0.00095888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-19_0_4_load_22 | 41 | 0.0068253 | 0.0017106 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-19_0_4_load_35 | 43 | 0.002835 | 0.00071052 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-19_0_4_load_37 | 44 | 0.006482 | 0.0016246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-19_0_4_load_51 | 45 | 0.012305 | 0.0030839 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-19_0_4_load_41 | 47 | 0.02131 | 0.0053408 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-19_0_4_load_57 | 48 | 0.0026806 | 0.00067183 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-19_0_4_load_56 | 49 | 0.0025444 | 0.00063769 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-19_0_4_load_58 | 50 | 0.0025444 | 0.00063769 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-19_0_4_load_47 | 51 | 0.0026822 | 0.00067221 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-19_0_4_load_46 | 52 | 0.0025444 | 0.00063769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-19_0_4_load_59 | 53 | 0.0026806 | 0.00067183 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-19_0_4_load_61 | 54 | 0.0026816 | 0.00067207 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-19_0_4_load_60 | 55 | 0.0025456 | 0.000638 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-19_0_4_load_54 | 56 | 0.0036345 | 0.0009109 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-19_0_4_load_55 | 57 | 0.0038312 | 0.00096018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-19_0_4_load_64 | 58 | 0.0025465 | 0.00063822 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-19_0_4_load_65 | 59 | 0.0026829 | 0.00067239 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-19_0_4_load_62 | 60 | 0.0026831 | 0.00067246 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_199-19_0_4_load_63 | 61 | 0.0025456 | 0.000638 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-19_0_4_line_0 |  | 0 | 1 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_199-19_0_4_line_1 |  | 0 | 2 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_199-19_0_4_line_2 |  | 1 | 3 | 0.074565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-19_0_4_line_3 |  | 1 | 4 | 0.11158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_199-19_0_4_line_4 |  | 2 | 5 | 0.10203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_199-19_0_4_line_5 |  | 3 | 9 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-19_0_4_line_6 |  | 3 | 6 | 0.033616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-19_0_4_line_7 |  | 4 | 21 | 0.068724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-19_0_4_line_8 |  | 5 | 25 | 0.054902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_199-19_0_4_line_9 |  | 5 | 18 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_199-19_0_4_line_10 |  | 6 | 7 | 0.005387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-19_0_4_line_11 |  | 6 | 8 | 0.070743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-19_0_4_line_12 |  | 7 | 10 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-19_0_4_line_13 |  | 7 | 11 | 0.019907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-19_0_4_line_14 |  | 8 | 31 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-19_0_4_line_15 |  | 10 | 12 | 0.042695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_199-19_0_4_line_16 |  | 12 | 32 | 0.016801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-19_0_4_line_17 |  | 13 | 14 | 0.080115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-19_0_4_line_18 |  | 13 | 15 | 0.059947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-19_0_4_line_19 |  | 14 | 19 | 0.035899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-19_0_4_line_20 |  | 14 | 20 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_199-19_0_4_line_21 |  | 15 | 33 | 0.043312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_199-19_0_4_line_22 |  | 16 | 17 | 0.041147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_199-19_0_4_line_23 |  | 16 | 18 | 0.036955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_199-19_0_4_line_24 |  | 17 | 29 | 0.058917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_199-19_0_4_line_25 |  | 19 | 34 | 0.043388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_199-19_0_4_line_26 |  | 21 | 24 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-19_0_4_line_27 |  | 22 | 23 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-19_0_4_line_28 |  | 22 | 24 | 0.007433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_199-19_0_4_line_29 |  | 24 | 30 | 0.030285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-19_0_4_line_30 |  | 26 | 27 | 0.010263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_199-19_0_4_line_31 |  | 26 | 28 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_199-19_0_4_line_32 |  | 27 | 38 | 0.00669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_199-19_0_4_line_33 |  | 28 | 39 | 0.00010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-19_0_4_line_34 |  | 29 | 40 | 0.038338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_199-19_0_4_line_35 |  | 31 | 42 | 0.010913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_199-19_0_4_line_36 |  | 32 | 41 | 0.015667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_199-19_0_4_line_37 |  | 33 | 43 | 0.0083795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_199-19_0_4_line_38 |  | 34 | 42 | 0.01272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_199-19_0_4_line_39 |  | 35 | 36 | 0.052766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_199-19_0_4_line_40 |  | 35 | 37 | 0.0037007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_199-19_0_4_line_41 |  | 36 | 42 | 0.00511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-19_0_4_line_42 |  | 38 | 52 | 0.018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_199-19_0_4_line_43 |  | 39 | 56 | 0.012579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_199-19_0_4_line_44 |  | 40 | 46 | 0.038308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_199-19_0_4_line_45 |  | 40 | 47 | 0.031353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_199-19_0_4_line_46 |  | 43 | 44 | 0.027716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_199-19_0_4_line_47 |  | 44 | 45 | 0.023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_199-19_0_4_line_48 |  | 46 | 48 | 0.004254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_199-19_0_4_line_49 |  | 46 | 49 | 0.0024338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_199-19_0_4_line_50 |  | 48 | 50 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_199-19_0_4_line_51 |  | 49 | 51 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_199-19_0_4_line_52 |  | 50 | 53 | 0.0066901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-19_0_4_line_53 |  | 51 | 52 | 0.0066919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-19_0_4_line_54 |  | 54 | 55 | 0.006691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_199-19_0_4_line_55 |  | 55 | 60 | 0.0052979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_199-19_0_4_line_56 |  | 56 | 57 | 0.0066919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_199-19_0_4_line_57 |  | 57 | 58 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_199-19_0_4_line_58 |  | 58 | 59 | 0.00669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_199-19_0_4_line_59 |  | 59 | 61 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_199-19_0_4_line_60 |  | 60 | 61 | 0.0066928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-19_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 62 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2694230.9579 | 1249571.0733 | 2694237.9398 | 1249554.1713
1 | 2694249.9217 | 1249542.9087 | 2694237.9398 | 1249554.1713
2 | 2694230.9579 | 1249571.0733 | 2694231.6637 | 1249584.6172 | 2694240.7361 | 1249594.8471 | 2694244.1485 | 1249598.6932 | 2694248.039 | 1249603.8145 | 2694246.5285 | 1249606.2034 | 2694245.9686 | 1249609.119 | 2694246.1498 | 1249611.9685 | 2694247.399 | 1249614.6126 | 2694262.3194 | 1249633.6423
3 | 2694179.3353 | 1249539.8512 | 2694178.6226 | 1249543.3537 | 2694179.071 | 1249546.9747 | 2694182.8654 | 1249555.2969 | 2694186.0652 | 1249565.867 | 2694185.0075 | 1249571.599 | 2694184.3814 | 1249574.8805 | 2694183.8989 | 1249576.7298 | 2694184.6194 | 1249578.9096 | 2694186.8359 | 1249580.5572 | 2694190.1798 | 1249583.0122 | 2694192.7464 | 1249583.5423 | 2694201.5483 | 1249578.0224 | 2694208.4253 | 1249582.435 | 2694213.4112 | 1249583.2594 | 2694216.2811 | 1249585.6068 | 2694223.4848 | 1249591.7927 | 2694231.6637 | 1249584.6172 | 2694230.9579 | 1249571.0733
4 | 2694199.5944 | 1249468.2179 | 2694198.5793 | 1249485.037 | 2694197.2474 | 1249496.6136 | 2694211.4763 | 1249497.9074 | 2694224.026 | 1249511.7175 | 2694238.8473 | 1249528.933 | 2694243.0384 | 1249535.0932 | 2694245.0725 | 1249537.2939 | 2694249.9217 | 1249542.9087
5 | 2694262.3194 | 1249633.6423 | 2694274.8404 | 1249623.3736
6 | 2694250.4662 | 1249650.5891 | 2694261.1369 | 1249643.4199 | 2694263.1631 | 1249646.1098 | 2694268.6459 | 1249642.2718 | 2694262.3194 | 1249633.6423
7 | 2694179.3353 | 1249539.8512 | 2694157.9532 | 1249555.3234 | 2694125.6755 | 1249582.7102
8 | 2694199.5944 | 1249468.2179 | 2694144.9365 | 1249463.0455
9 | 2694199.5944 | 1249468.2179 | 2694209.5756 | 1249469.8522
10 | 2694250.4662 | 1249650.5891 | 2694254.3637 | 1249654.3206
11 | 2694250.4662 | 1249650.5891 | 2694240.4444 | 1249657.3239 | 2694197.3323 | 1249697.1154
12 | 2694254.3637 | 1249654.3206 | 2694262.2382 | 1249658.2044 | 2694266.5326 | 1249661.6642 | 2694268.7669 | 1249665.5138 | 2694270.0091 | 1249667.6463
13 | 2694254.3637 | 1249654.3206 | 2694240.9577 | 1249663.9816 | 2694238.4677 | 1249666.2715
14 | 2694197.3323 | 1249697.1154 | 2694189.2698 | 1249704.5568
15 | 2694270.0091 | 1249667.6463 | 2694268.7654 | 1249669.4057 | 2694270.2374 | 1249680.3486 | 2694270.2234 | 1249685.4968 | 2694268.2262 | 1249689.5237 | 2694258.2998 | 1249701.653 | 2694255.8397 | 1249705.0353
16 | 2694255.8397 | 1249705.0353 | 2694247.3142 | 1249716.7566 | 2694245.8245 | 1249718.5185
17 | 2694088.4071 | 1249750.6251 | 2694078.0381 | 1249763.5482 | 2694072.097 | 1249773.9064 | 2694075.0345 | 1249775.7989 | 2694085.5516 | 1249782.5488 | 2694120.9851 | 1249778.964
18 | 2694088.4071 | 1249750.6251 | 2694096.2031 | 1249740.908 | 2694130.9515 | 1249708.5384
19 | 2694120.9851 | 1249778.964 | 2694121.1461 | 1249772.6284 | 2694123.9017 | 1249767.4348 | 2694140.9232 | 1249750.9691
20 | 2694120.9851 | 1249778.964 | 2694125.1769 | 1249777.4739 | 2694126.6324 | 1249772.3597 | 2694132.4535 | 1249765.8484
21 | 2694130.9515 | 1249708.5384 | 2694156.7761 | 1249684.4819 | 2694162.7718 | 1249679.157
22 | 2694245.6032 | 1249477.3562 | 2694247.4201 | 1249436.2535
23 | 2694245.6032 | 1249477.3562 | 2694239.3849 | 1249474.7331 | 2694209.5756 | 1249469.8522
24 | 2694247.4201 | 1249436.2535 | 2694188.6805 | 1249431.6818
25 | 2694140.9232 | 1249750.9691 | 2694172.1077 | 1249720.8027
26 | 2694108.8879 | 1249596.9541 | 2694125.6755 | 1249582.7102
27 | 2694103.6253 | 1249591.6887 | 2694090.5282 | 1249578.5819
28 | 2694108.8879 | 1249596.9541 | 2694103.6253 | 1249591.6887
29 | 2694108.8879 | 1249596.9541 | 2694120.1343 | 1249608.675 | 2694126.5436 | 1249621.1679
30 | 2694218.2071 | 1249396.1472 | 2694207.9828 | 1249395.2588
31 | 2694218.2071 | 1249396.1472 | 2694219.9889 | 1249372.6463
32 | 2694201.3179 | 1249394.6796 | 2694207.9828 | 1249395.2588
33 | 2694219.9889 | 1249372.6463 | 2694219.9972 | 1249372.5376
34 | 2694150.4585 | 1249428.707 | 2694188.6805 | 1249431.6818
35 | 2694181.2504 | 1249711.9585 | 2694189.2698 | 1249704.5568
36 | 2694245.8245 | 1249718.5185 | 2694235.7088 | 1249730.4827 | 2694235.7088 | 1249730.4827
37 | 2694169.0371 | 1249673.5927 | 2694162.7718 | 1249679.157
38 | 2694181.2504 | 1249711.9585 | 2694172.1077 | 1249720.8027
39 | 2694185.8112 | 1249760.4016 | 2694189.2126 | 1249756.3859 | 2694199.0041 | 1249735.6366 | 2694197.8129 | 1249732.671 | 2694184.4414 | 1249715.9567
40 | 2694185.8112 | 1249760.4016 | 2694182.5809 | 1249762.2072
41 | 2694181.2504 | 1249711.9585 | 2694184.4414 | 1249715.9567
42 | 2694201.3179 | 1249394.6796 | 2694182.594 | 1249393.0526
43 | 2694219.9972 | 1249372.5376 | 2694220.1279 | 1249370.8138 | 2694209.3283 | 1249369.7612
44 | 2694150.4585 | 1249428.707 | 2694154.1455 | 1249390.5807
45 | 2694150.4585 | 1249428.707 | 2694149.6802 | 1249439.1916 | 2694128.931 | 1249437.252
46 | 2694189.7603 | 1249655.1883 | 2694169.0371 | 1249673.5927
47 | 2694207.0979 | 1249639.7905 | 2694189.7603 | 1249655.1883
48 | 2694154.1455 | 1249390.5807 | 2694149.9074 | 1249390.2135
49 | 2694154.1455 | 1249390.5807 | 2694156.5702 | 1249390.7914
50 | 2694149.9074 | 1249390.2135 | 2694131.2959 | 1249388.6009
51 | 2694175.9272 | 1249392.4733 | 2694156.5702 | 1249390.7914
52 | 2694131.2959 | 1249388.6009 | 2694124.6308 | 1249388.0234
53 | 2694182.594 | 1249393.0526 | 2694175.9272 | 1249392.4733
54 | 2694148.3332 | 1249363.8161 | 2694141.6738 | 1249363.1671
55 | 2694148.3332 | 1249363.8161 | 2694153.6061 | 1249364.3301
56 | 2694209.3283 | 1249369.7612 | 2694202.668 | 1249369.112
57 | 2694202.668 | 1249369.112 | 2694184.53 | 1249367.3441
58 | 2694184.53 | 1249367.3441 | 2694177.8716 | 1249366.6952
59 | 2694177.8716 | 1249366.6952 | 2694160.2674 | 1249364.9793
60 | 2694160.2674 | 1249364.9793 | 2694153.6061 | 1249364.3301

## bus_geodata
| x | y | coords
0 | 2694237.9398 | 1249554.1713
1 | 2694230.9579 | 1249571.0733
2 | 2694249.9217 | 1249542.9087
3 | 2694262.3194 | 1249633.6423
4 | 2694179.3353 | 1249539.8512
5 | 2694199.5944 | 1249468.2179
6 | 2694250.4662 | 1249650.5891
7 | 2694254.3637 | 1249654.3206
8 | 2694197.3323 | 1249697.1154
9 | 2694274.8404 | 1249623.3736
10 | 2694270.0091 | 1249667.6463
11 | 2694238.4677 | 1249666.2715
12 | 2694255.8397 | 1249705.0353
13 | 2694088.4071 | 1249750.6251
14 | 2694120.9851 | 1249778.964
15 | 2694130.9515 | 1249708.5384
16 | 2694245.6032 | 1249477.3562
17 | 2694247.4201 | 1249436.2535
18 | 2694209.5756 | 1249469.8522
19 | 2694140.9232 | 1249750.9691
20 | 2694132.4535 | 1249765.8484
21 | 2694125.6755 | 1249582.7102
22 | 2694103.6253 | 1249591.6887
23 | 2694090.5282 | 1249578.5819
24 | 2694108.8879 | 1249596.9541
25 | 2694144.9365 | 1249463.0455
26 | 2694218.2071 | 1249396.1472
27 | 2694207.9828 | 1249395.2588
28 | 2694219.9889 | 1249372.6463
29 | 2694188.6805 | 1249431.6818
30 | 2694126.5436 | 1249621.1679
31 | 2694189.2698 | 1249704.5568
32 | 2694245.8245 | 1249718.5185
33 | 2694162.7718 | 1249679.157
34 | 2694172.1077 | 1249720.8027
35 | 2694185.8112 | 1249760.4016
36 | 2694184.4414 | 1249715.9567
37 | 2694182.5809 | 1249762.2072
38 | 2694201.3179 | 1249394.6796
39 | 2694219.9972 | 1249372.5376
40 | 2694150.4585 | 1249428.707
41 | 2694235.7088 | 1249730.4827
42 | 2694181.2504 | 1249711.9585
43 | 2694169.0371 | 1249673.5927
44 | 2694189.7603 | 1249655.1883
45 | 2694207.0979 | 1249639.7905
46 | 2694154.1455 | 1249390.5807
47 | 2694128.931 | 1249437.252
48 | 2694149.9074 | 1249390.2135
49 | 2694156.5702 | 1249390.7914
50 | 2694131.2959 | 1249388.6009
51 | 2694175.9272 | 1249392.4733
52 | 2694182.594 | 1249393.0526
53 | 2694124.6308 | 1249388.0234
54 | 2694141.6738 | 1249363.1671
55 | 2694148.3332 | 1249363.8161
56 | 2694209.3283 | 1249369.7612
57 | 2694202.668 | 1249369.112
58 | 2694184.53 | 1249367.3441
59 | 2694177.8716 | 1249366.6952
60 | 2694153.6061 | 1249364.3301
61 | 2694160.2674 | 1249364.9793
62 | 2694224.026 | 1249511.7175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98932 | -0.20328 | 0.05475 | 0.013722
1 | 0.99044 | -0.18178 | 0 | 0
2 | 0.98859 | -0.2173 | 0 | 0
3 | 0.98494 | -0.28763 | 0 | 0
4 | 1 | 0 | -0.40734 | -0.10413
5 | 0.98407 | -0.30475 | 0 | 0
6 | 0.9827 | -0.33097 | 0 | 0
7 | 0.98257 | -0.3336 | 0 | 0
8 | 0.97977 | -0.38801 | 0.0027315 | 0.00068459
9 | 0.98482 | -0.28992 | 0.007864 | 0.0019709
10 | 0.98219 | -0.34095 | 0 | 0
11 | 0.98242 | -0.33642 | 0.0078505 | 0.0019675
12 | 0.98143 | -0.35577 | 0.0071892 | 0.0018018
13 | 0.97395 | -0.50194 | 0 | 0
14 | 0.97603 | -0.46095 | 0 | 0
15 | 0.97238 | -0.53273 | 0.0036187 | 0.00090694
16 | 0.98248 | -0.33558 | 0 | 0
17 | 0.98115 | -0.36152 | 0 | 0
18 | 0.98368 | -0.31233 | 0.020337 | 0.0050969
19 | 0.97713 | -0.43951 | 0.0016532 | 0.00041433
20 | 0.97595 | -0.46257 | 0.0047752 | 0.0011968
21 | 0.99232 | -0.14684 | 0.010192 | 0.0025543
22 | 0.98994 | -0.19288 | 0 | 0
23 | 0.98962 | -0.19911 | 0.018926 | 0.0047432
24 | 0.99007 | -0.19037 | 0 | 0
25 | 0.98313 | -0.32308 | 0.018538 | 0.0046459
26 | 0.97586 | -0.46508 | 0 | 0
27 | 0.97616 | -0.45933 | 0.0036295 | 0.00090964
28 | 0.97519 | -0.47829 | 0.0036315 | 0.00091015
29 | 0.97924 | -0.39879 | 0.029548 | 0.0074053
30 | 0.9875 | -0.24033 | 0.09253 | 0.02319
31 | 0.97934 | -0.39634 | 0.0027432 | 0.00068752
32 | 0.98125 | -0.35942 | 0.0051771 | 0.0012975
33 | 0.9714 | -0.55214 | 0.0026592 | 0.00066646
34 | 0.97852 | -0.41235 | 0.0013397 | 0.00033577
35 | 0.97876 | -0.40765 | 0 | 0
36 | 0.97893 | -0.40441 | 0 | 0
37 | 0.97875 | -0.40788 | 0.003383 | 0.00084785
38 | 0.97637 | -0.45514 | 0.0038282 | 0.00095943
39 | 0.97519 | -0.47834 | 0.003826 | 0.00095888
40 | 0.97835 | -0.41625 | 0 | 0
41 | 0.98115 | -0.36135 | 0.0068253 | 0.0017106
42 | 0.97894 | -0.40409 | 0 | 0
43 | 0.97123 | -0.55548 | 0.002835 | 0.00071052
44 | 0.97075 | -0.56511 | 0.006482 | 0.0016246
45 | 0.97048 | -0.57039 | 0.012305 | 0.0030839
46 | 0.97771 | -0.42875 | 0 | 0
47 | 0.97773 | -0.42842 | 0.02131 | 0.0053408
48 | 0.97768 | -0.42937 | 0.0026806 | 0.00067183
49 | 0.97768 | -0.42943 | 0.0025444 | 0.00063769
50 | 0.97759 | -0.43115 | 0.0025444 | 0.00063769
51 | 0.97729 | -0.4371 | 0.0026822 | 0.00067221
52 | 0.97703 | -0.44207 | 0.0025444 | 0.00063769
53 | 0.97757 | -0.43147 | 0.0026806 | 0.00067183
54 | 0.97419 | -0.49814 | 0.0026816 | 0.00067207
55 | 0.9742 | -0.49781 | 0.0025456 | 0.000638
56 | 0.97492 | -0.48368 | 0.0036345 | 0.0009109
57 | 0.9748 | -0.48608 | 0.0038312 | 0.00096018
58 | 0.97453 | -0.49132 | 0.0025465 | 0.00063822
59 | 0.97445 | -0.49294 | 0.0026829 | 0.00067239
60 | 0.97423 | -0.4973 | 0.0026831 | 0.00067246
61 | 0.97428 | -0.49633 | 0.0025456 | 0.000638
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.19963 | -0.050565 | 0.19984 | 0.050696 | 0.00020636 | 0.00013136 | 0.30046 | 0.30046 | 0.30046 | 0.98932 | -0.20328 | 0.99044 | -0.18178 | 27.5143
1 | 0.14488 | 0.036843 | -0.14479 | -0.036782 | 9.7784e-05 | 6.1949e-05 | 0.21811 | 0.21811 | 0.21811 | 0.98932 | -0.20328 | 0.98859 | -0.2173 | 19.9733
2 | 0.080401 | 0.020518 | -0.079992 | -0.020257 | 0.00040888 | 0.00026073 | 0.12092 | 0.12092 | 0.12092 | 0.99044 | -0.18178 | 0.98494 | -0.28763 | 33.221
3 | -0.28024 | -0.071215 | 0.28272 | 0.072795 | 0.0024765 | 0.0015806 | 0.42138 | 0.42138 | 0.42138 | 0.99044 | -0.18178 | 1 | 0 | 38.5879
4 | 0.14479 | 0.036782 | -0.14418 | -0.036397 | 0.00060674 | 0.0003844 | 0.21811 | 0.21811 | 0.21811 | 0.98859 | -0.2173 | 0.98407 | -0.30475 | 19.9734
5 | 0.0078648 | 0.0019712 | -0.007864 | -0.0019709 | 8.5733e-07 | 3.4262e-07 | 0.011882 | 0.011882 | 0.011882 | 0.98494 | -0.28763 | 0.98482 | -0.28992 | 3.2643
6 | 0.072127 | 0.018286 | -0.071977 | -0.018191 | 0.00014989 | 9.5501e-05 | 0.10904 | 0.10904 | 0.10904 | 0.98494 | -0.28763 | 0.9827 | -0.33097 | 29.9567
7 | 0.12297 | 0.031334 | -0.12211 | -0.030782 | 0.00086464 | 0.00055248 | 0.18317 | 0.18317 | 0.18317 | 1 | 0 | 0.99232 | -0.14684 | 50.3209
8 | 0.018554 | 0.0046556 | -0.018538 | -0.0046459 | 1.6207e-05 | 9.6759e-06 | 0.028057 | 0.028058 | 0.028058 | 0.98407 | -0.30475 | 0.98313 | -0.32308 | 7.7081
9 | 0.12563 | 0.031741 | -0.12558 | -0.031713 | 4.5665e-05 | 2.884e-05 | 0.19005 | 0.19005 | 0.19005 | 0.98407 | -0.30475 | 0.98368 | -0.31233 | 17.4041
10 | 0.02707 | 0.0067934 | -0.027066 | -0.0067913 | 3.3945e-06 | 2.1043e-06 | 0.040992 | 0.040992 | 0.040992 | 0.9827 | -0.33097 | 0.98257 | -0.3336 | 11.2616
11 | 0.044907 | 0.011397 | -0.044785 | -0.011319 | 0.00012285 | 7.7731e-05 | 0.06805 | 0.068051 | 0.068051 | 0.9827 | -0.33097 | 0.97977 | -0.38801 | 18.6953
12 | 0.019215 | 0.0048234 | -0.019208 | -0.0048193 | 6.7373e-06 | 4.0433e-06 | 0.029102 | 0.029102 | 0.029102 | 0.98257 | -0.3336 | 0.98219 | -0.34095 | 7.995
13 | 0.0078515 | 0.0019679 | -0.0078505 | -0.0019675 | 1.0555e-06 | 4.234e-07 | 0.011891 | 0.011891 | 0.011891 | 0.98257 | -0.3336 | 0.98242 | -0.33642 | 3.2667
14 | 0.042053 | 0.010635 | -0.042036 | -0.010624 | 1.6801e-05 | 1.0615e-05 | 0.063902 | 0.063902 | 0.063902 | 0.97977 | -0.38801 | 0.97934 | -0.39634 | 17.5556
15 | 0.019208 | 0.0048193 | -0.019194 | -0.0048112 | 1.356e-05 | 8.1383e-06 | 0.029102 | 0.029102 | 0.029102 | 0.98219 | -0.34095 | 0.98143 | -0.35577 | 7.995
16 | 0.012005 | 0.0030094 | -0.012003 | -0.0030083 | 2.0874e-06 | 1.1237e-06 | 0.018202 | 0.018202 | 0.018202 | 0.98143 | -0.35577 | 0.98125 | -0.35942 | 5.0006
17 | -0.027979 | -0.0070407 | 0.028033 | 0.0070749 | 5.4922e-05 | 3.4151e-05 | 0.042757 | 0.042756 | 0.042757 | 0.97395 | -0.50194 | 0.97603 | -0.46095 | 11.7463
18 | 0.027979 | 0.0070407 | -0.027937 | -0.0070152 | 4.1097e-05 | 2.5557e-05 | 0.042757 | 0.042757 | 0.042757 | 0.97395 | -0.50194 | 0.97238 | -0.53273 | 11.7464
19 | -0.032809 | -0.0082717 | 0.032843 | 0.0082928 | 3.3705e-05 | 2.1122e-05 | 0.050037 | 0.050037 | 0.050037 | 0.97603 | -0.46095 | 0.97713 | -0.43951 | 13.7464
20 | 0.0047756 | 0.0011968 | -0.0047752 | -0.0011968 | 3.6774e-07 | 4.159e-09 | 0.0072806 | 0.0072806 | 0.0072806 | 0.97603 | -0.46095 | 0.97595 | -0.46257 | 2.0002
21 | 0.024319 | 0.0061082 | -0.024296 | -0.0060944 | 2.25e-05 | 1.3863e-05 | 0.037219 | 0.037219 | 0.037219 | 0.97238 | -0.53273 | 0.9714 | -0.55214 | 10.2251
22 | 0.10513 | 0.026542 | -0.105 | -0.02646 | 0.0001305 | 8.1961e-05 | 0.15929 | 0.15929 | 0.15929 | 0.98248 | -0.33558 | 0.98115 | -0.36152 | 14.587
23 | -0.10513 | -0.026542 | 0.10524 | 0.026616 | 0.00011721 | 7.3607e-05 | 0.15929 | 0.15929 | 0.15929 | 0.98248 | -0.33558 | 0.98368 | -0.31233 | 14.5869
24 | 0.105 | 0.02646 | -0.10481 | -0.026343 | 0.00018687 | 0.00011737 | 0.15929 | 0.15929 | 0.15929 | 0.98115 | -0.36152 | 0.97924 | -0.39879 | 14.5871
25 | -0.034496 | -0.0087071 | 0.034541 | 0.0087353 | 4.4938e-05 | 2.8216e-05 | 0.052554 | 0.052554 | 0.052554 | 0.97713 | -0.43951 | 0.97852 | -0.41235 | 14.438
26 | 0.11192 | 0.028228 | -0.11168 | -0.028079 | 0.0002327 | 0.00014864 | 0.16789 | 0.16789 | 0.16789 | 0.99232 | -0.14684 | 0.99007 | -0.19037 | 46.1223
27 | 0.018931 | 0.0047465 | -0.018926 | -0.0047432 | 5.6185e-06 | 3.3581e-06 | 0.028457 | 0.028457 | 0.028457 | 0.98994 | -0.19288 | 0.98962 | -0.19911 | 7.8178
28 | -0.018931 | -0.0047465 | 0.018933 | 0.0047479 | 2.2572e-06 | 1.349e-06 | 0.028457 | 0.028457 | 0.028457 | 0.98994 | -0.19288 | 0.99007 | -0.19037 | 7.8178
29 | 0.09275 | 0.023331 | -0.09253 | -0.02319 | 0.00022078 | 0.00014091 | 0.13943 | 0.13943 | 0.13943 | 0.99007 | -0.19037 | 0.9875 | -0.24033 | 38.3046
30 | -0.030643 | -0.0076921 | 0.030652 | 0.0076974 | 8.404e-06 | 5.2503e-06 | 0.04673 | 0.04673 | 0.04673 | 0.97586 | -0.46508 | 0.97616 | -0.45933 | 12.8379
31 | 0.030643 | 0.0076921 | -0.030624 | -0.0076801 | 1.93e-05 | 1.2058e-05 | 0.04673 | 0.04673 | 0.04673 | 0.97586 | -0.46508 | 0.97519 | -0.47829 | 12.8379
32 | -0.034281 | -0.008607 | 0.034288 | 0.0086113 | 6.8523e-06 | 4.3018e-06 | 0.052262 | 0.052262 | 0.052262 | 0.97616 | -0.45933 | 0.97637 | -0.45514 | 14.3578
33 | 0.026992 | 0.0067699 | -0.026992 | -0.0067699 | 6.9355e-08 | 4.3027e-08 | 0.041189 | 0.041189 | 0.041189 | 0.97519 | -0.47829 | 0.97519 | -0.47834 | 11.3156
34 | 0.075262 | 0.018938 | -0.075199 | -0.018899 | 6.2708e-05 | 3.8688e-05 | 0.11439 | 0.11439 | 0.11439 | 0.97924 | -0.39879 | 0.97835 | -0.41625 | 10.4754
35 | 0.039293 | 0.0099367 | -0.039278 | -0.0099275 | 1.4602e-05 | 9.2083e-06 | 0.059734 | 0.059734 | 0.059734 | 0.97934 | -0.39634 | 0.97894 | -0.40409 | 16.4105
36 | 0.0068259 | 0.0017108 | -0.0068253 | -0.0017106 | 6.2952e-07 | 2.0501e-07 | 0.010351 | 0.010351 | 0.010351 | 0.98125 | -0.35942 | 0.98115 | -0.36135 | 2.8437
37 | 0.021637 | 0.0054279 | -0.021634 | -0.0054258 | 3.4523e-06 | 2.1058e-06 | 0.033146 | 0.033146 | 0.033146 | 0.9714 | -0.55214 | 0.97123 | -0.55548 | 9.1061
38 | -0.035881 | -0.0090711 | 0.035895 | 0.0090801 | 1.4216e-05 | 8.9384e-06 | 0.054591 | 0.054591 | 0.054591 | 0.97852 | -0.41235 | 0.97894 | -0.40409 | 14.9976
39 | -0.003383 | -0.00084783 | 0.0033835 | 0.0008475 | 5.2339e-07 | -3.283e-07 | 0.0051432 | 0.0051429 | 0.0051432 | 0.97876 | -0.40765 | 0.97893 | -0.40441 | 1.413
40 | 0.003383 | 0.00084783 | -0.003383 | -0.00084785 | 3.6709e-08 | -2.3015e-08 | 0.0051432 | 0.0051432 | 0.0051432 | 0.97876 | -0.40765 | 0.97875 | -0.40788 | 1.413
41 | -0.0033835 | -0.0008475 | 0.0033836 | 0.00084747 | 5.0684e-08 | -3.1807e-08 | 0.0051429 | 0.0051429 | 0.0051429 | 0.97893 | -0.40441 | 0.97894 | -0.40409 | 1.4129
42 | -0.038116 | -0.0095707 | 0.03814 | 0.0095857 | 2.3788e-05 | 1.4989e-05 | 0.058097 | 0.058097 | 0.058097 | 0.97637 | -0.45514 | 0.97703 | -0.44207 | 15.9606
43 | 0.023166 | 0.005811 | -0.02316 | -0.0058074 | 5.8951e-06 | 3.616e-06 | 0.035351 | 0.035351 | 0.035351 | 0.97519 | -0.47834 | 0.97492 | -0.48368 | 9.7117
44 | 0.053877 | 0.013551 | -0.053844 | -0.013531 | 3.2167e-05 | 1.9145e-05 | 0.08196 | 0.081961 | 0.081961 | 0.97835 | -0.41625 | 0.97771 | -0.42875 | 7.5056
45 | 0.021322 | 0.0053483 | -0.02131 | -0.0053408 | 1.2367e-05 | 7.5211e-06 | 0.032432 | 0.032432 | 0.032432 | 0.97835 | -0.41625 | 0.97773 | -0.42842 | 8.9098
46 | 0.018799 | 0.0047153 | -0.01879 | -0.0047101 | 8.6223e-06 | 5.1755e-06 | 0.028803 | 0.028803 | 0.028803 | 0.97123 | -0.55548 | 0.97075 | -0.56511 | 7.9128
47 | 0.012308 | 0.0030856 | -0.012305 | -0.0030839 | 3.0952e-06 | 1.6943e-06 | 0.018867 | 0.018867 | 0.018867 | 0.97075 | -0.56511 | 0.97048 | -0.57039 | 5.1832
48 | 0.0079064 | 0.0019814 | -0.0079062 | -0.0019813 | 2.3098e-07 | 9.4479e-08 | 0.012033 | 0.012033 | 0.012033 | 0.97771 | -0.42875 | 0.97768 | -0.42937 | 3.3058
49 | 0.045938 | 0.01155 | -0.045936 | -0.011549 | 1.4876e-06 | 8.6053e-07 | 0.069928 | 0.069928 | 0.069928 | 0.97771 | -0.42875 | 0.97768 | -0.42943 | 6.4037
50 | 0.0052255 | 0.0013095 | -0.0052251 | -0.0013095 | 4.4312e-07 | 4.9349e-08 | 0.0079531 | 0.0079532 | 0.0079532 | 0.97768 | -0.42937 | 0.97759 | -0.43115 | 2.1849
51 | 0.043392 | 0.010911 | -0.043376 | -0.010902 | 1.5896e-05 | 9.6864e-06 | 0.066055 | 0.066055 | 0.066055 | 0.97768 | -0.42943 | 0.97729 | -0.4371 | 9.0736
52 | 0.0026807 | 0.00067177 | -0.0026806 | -0.00067183 | 4.1769e-08 | -5.7146e-08 | 0.0040803 | 0.0040803 | 0.0040803 | 0.97759 | -0.43115 | 0.97757 | -0.43147 | 1.121
53 | 0.040694 | 0.01023 | -0.040684 | -0.010223 | 9.6375e-06 | 6.0842e-06 | 0.061972 | 0.061972 | 0.061972 | 0.97729 | -0.4371 | 0.97703 | -0.44207 | 17.0252
54 | -0.0026816 | -0.00067207 | 0.0026816 | 0.00067201 | 4.2095e-08 | -5.6368e-08 | 0.004096 | 0.004096 | 0.004096 | 0.97419 | -0.49814 | 0.9742 | -0.49781 | 1.1253
55 | -0.0052273 | -0.00131 | 0.0052274 | 0.00131 | 1.2665e-07 | 1.5088e-08 | 0.0079842 | 0.0079842 | 0.0079842 | 0.9742 | -0.49781 | 0.97423 | -0.4973 | 2.1935
56 | 0.019526 | 0.0048965 | -0.019524 | -0.0048951 | 2.229e-06 | 1.3431e-06 | 0.029803 | 0.029803 | 0.029803 | 0.97492 | -0.48368 | 0.9748 | -0.48608 | 8.1877
57 | 0.015693 | 0.0039349 | -0.015689 | -0.0039327 | 3.9217e-06 | 2.2828e-06 | 0.023955 | 0.023955 | 0.023955 | 0.9748 | -0.48608 | 0.97453 | -0.49132 | 6.5811
58 | 0.013142 | 0.0032944 | -0.013141 | -0.0032939 | 1.0102e-06 | 5.632e-07 | 0.020067 | 0.020067 | 0.020067 | 0.97453 | -0.49132 | 0.97445 | -0.49294 | 5.5129
59 | 0.010458 | 0.0026215 | -0.010457 | -0.0026206 | 1.6917e-06 | 8.6238e-07 | 0.01597 | 0.01597 | 0.01597 | 0.97445 | -0.49294 | 0.97428 | -0.49633 | 4.3874
60 | -0.0079105 | -0.0019825 | 0.0079109 | 0.0019826 | 3.6639e-07 | 1.5115e-07 | 0.012082 | 0.012082 | 0.012082 | 0.97423 | -0.4973 | 0.97428 | -0.49633 | 3.3193

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40734 | 0.10413

## res_load
| p_mw | q_mvar
0 | 0.05475 | 0.013722
1 | 0.0027315 | 0.00068459
2 | 0.007864 | 0.0019709
3 | 0.0078505 | 0.0019675
4 | 0.0071892 | 0.0018018
5 | 0.0036187 | 0.00090694
6 | 0.020337 | 0.0050969
7 | 0.0016532 | 0.00041433
8 | 0.0047752 | 0.0011968
9 | 0.010192 | 0.0025543
10 | 0.018926 | 0.0047432
11 | 0.018538 | 0.0046459
12 | 0.0036295 | 0.00090964
13 | 0.0036315 | 0.00091015
14 | 0.029548 | 0.0074053
15 | 0.09253 | 0.02319
16 | 0.0027432 | 0.00068752
17 | 0.0051771 | 0.0012975
18 | 0.0026592 | 0.00066646
19 | 0.0013397 | 0.00033577
20 | 0.003383 | 0.00084785
21 | 0.0038282 | 0.00095943
22 | 0.003826 | 0.00095888
23 | 0.0068253 | 0.0017106
24 | 0.002835 | 0.00071052
25 | 0.006482 | 0.0016246
26 | 0.012305 | 0.0030839
27 | 0.02131 | 0.0053408
28 | 0.0026806 | 0.00067183
29 | 0.0025444 | 0.00063769
30 | 0.0025444 | 0.00063769
31 | 0.0026822 | 0.00067221
32 | 0.0025444 | 0.00063769
33 | 0.0026806 | 0.00067183
34 | 0.0026816 | 0.00067207
35 | 0.0025456 | 0.000638
36 | 0.0036345 | 0.0009109
37 | 0.0038312 | 0.00096018
38 | 0.0025465 | 0.00063822
39 | 0.0026829 | 0.00067239
40 | 0.0026831 | 0.00067246
41 | 0.0025456 | 0.000638

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1