## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-27_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-27_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_199-27_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_199-27_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_199-27_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_199-27_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_199-27_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_199-27_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_199-27_0_4_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_199-27_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_199-27_0_4_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_199-27_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_199-27_0_4_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_199-27_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_199-27_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_199-27_0_4_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_199-27_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_199-27_0_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_199-27_0_4_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_199-27_0_4_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_199-27_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_199-27_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_199-27_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_199-27_0_4_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_199-27_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_199-27_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_199-27_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_199-27_0_4_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_199-27_0_4_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_199-27_0_4_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_199-27_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_199-27_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_199-27_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_199-27_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_199-27_0_4_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_199-27_0_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_199-27_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_199-27_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_199-27_0_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_199-27_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_199-27_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_199-27_0_4_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_199-27_0_4_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_199-27_0_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_199-27_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_199-27_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_199-27_0_4_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_199-27_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_199-27_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_199-27_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_199-27_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_199-27_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_199-27_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_199-27_0_4_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_199-27_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_199-27_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_199-27_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_199-27_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_199-27_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_199-27_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_199-27_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_199-27_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_199-27_0_4_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_199-27_0_4_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_199-27_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_199-27_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_199-27_0_4_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_199-27_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_199-27_0_4_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_199-27_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_199-27_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_199-27_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_MV_502_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-27_0_4_load_0 | 0 | 0.0026596 | 0.00066655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-27_0_4_load_1 | 1 | 0.000357 | 8.9473e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-27_0_4_load_3 | 3 | 0.00080343 | 0.00020136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-27_0_4_load_62 | 7 | 0.0078579 | 0.0019694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-27_0_4_load_69 | 10 | 0.013293 | 0.0033315 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-27_0_4_load_68 | 12 | 0.0060724 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-27_0_4_load_67 | 14 | 0.021196 | 0.0053123 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-27_0_4_load_51 | 19 | 0.0079055 | 0.0019813 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-27_0_4_load_73 | 20 | 0.026621 | 0.0066717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-27_0_4_load_80 | 21 | 0.033131 | 0.0083035 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-27_0_4_load_78 | 25 | 0.0065258 | 0.0016355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-27_0_4_load_39 | 27 | 0.0068303 | 0.0017118 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-27_0_4_load_77 | 29 | 0.00375 | 0.00093984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-27_0_4_load_66 | 30 | 0.0072218 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-27_0_4_load_74 | 31 | 0.0038169 | 0.00095661 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-27_0_4_load_47 | 33 | 0.0021099 | 0.00052879 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-27_0_4_load_45 | 34 | 0.0026739 | 0.00067013 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-27_0_4_load_83 | 36 | 0.0081688 | 0.0020473 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-27_0_4_load_56 | 37 | 0.0069185 | 0.001734 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-27_0_4_load_38 | 39 | 0.017888 | 0.0044831 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-27_0_4_load_70 | 40 | 0.02305 | 0.005777 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-27_0_4_load_84 | 43 | 0.01636 | 0.0041002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-27_0_4_load_75 | 44 | 0.015579 | 0.0039045 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-27_0_4_load_79 | 45 | 0.018388 | 0.0046084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-27_0_4_load_86 | 48 | 0.0047139 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-27_0_4_load_29 | 52 | 0.0058899 | 0.0014761 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-27_0_4_load_40 | 53 | 0.019822 | 0.0049679 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-27_0_4_load_82 | 55 | 0.0082714 | 0.002073 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-27_0_4_load_50 | 56 | 0.0066973 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-27_0_4_load_64 | 58 | 0.00359 | 0.00089975 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-27_0_4_load_46 | 60 | 0.0041159 | 0.0010315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-27_0_4_load_54 | 61 | 0.011358 | 0.0028466 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-27_0_4_load_36 | 62 | 0.0017948 | 0.00044981 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-27_0_4_load_85 | 65 | 0.015625 | 0.003916 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-27_0_4_load_72 | 67 | 0.026398 | 0.006616 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-27_0_4_load_35 | 68 | 0.015979 | 0.0040047 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-27_0_4_load_49 | 69 | 0.013078 | 0.0032777 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-27_0_4_load_81 | 70 | 0.0089715 | 0.0022485 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-27_0_4_load_53 | 71 | 0.0076191 | 0.0019095 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-27_0_4_load_59 | 72 | 0.0038088 | 0.00095459 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-27_0_4_load_65 | 73 | 0.003375 | 0.00084585 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-27_0_4_line_0 |  | 0 | 1 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-27_0_4_line_1 |  | 1 | 2 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-27_0_4_line_2 |  | 2 | 3 | 0.020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-27_0_4_line_3 |  | 2 | 4 | 0.38571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-27_0_4_line_4 |  | 4 | 44 | 0.039278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_199-27_0_4_line_5 |  | 4 | 26 | 0.079287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-27_0_4_line_6 |  | 5 | 6 | 0.028594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-27_0_4_line_7 |  | 5 | 7 | 0.051883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-27_0_4_line_8 |  | 6 | 31 | 0.004743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_199-27_0_4_line_9 |  | 6 | 23 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_199-27_0_4_line_10 |  | 7 | 46 | 0.050167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-27_0_4_line_11 |  | 8 | 9 | 0.00437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-27_0_4_line_12 |  | 8 | 10 | 0.024903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-27_0_4_line_13 |  | 9 | 44 | 0.037058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-27_0_4_line_14 |  | 10 | 15 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-27_0_4_line_15 |  | 11 | 12 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_199-27_0_4_line_16 |  | 11 | 13 | 0.040542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-27_0_4_line_17 |  | 11 | 14 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-27_0_4_line_18 |  | 13 | 31 | 0.024488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-27_0_4_line_19 |  | 14 | 15 | 0.018139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-27_0_4_line_20 |  | 16 | 17 | 0.004477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_199-27_0_4_line_21 |  | 16 | 18 | 0.042987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_199-27_0_4_line_22 |  | 16 | 19 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-27_0_4_line_23 |  | 17 | 55 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_199-27_0_4_line_24 |  | 17 | 24 | 0.022712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_199-27_0_4_line_25 |  | 18 | 20 | 0.03152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_199-27_0_4_line_26 |  | 18 | 21 | 0.030525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-27_0_4_line_27 |  | 19 | 56 | 0.022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-27_0_4_line_28 |  | 20 | 57 | 0.039059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_199-27_0_4_line_29 |  | 22 | 23 | 0.02986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-27_0_4_line_30 |  | 22 | 24 | 0.015015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_199-27_0_4_line_31 |  | 22 | 25 | 0.023307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_199-27_0_4_line_32 |  | 23 | 29 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_199-27_0_4_line_33 |  | 24 | 36 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-27_0_4_line_34 |  | 26 | 27 | 0.0045088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_199-27_0_4_line_35 |  | 28 | 29 | 0.0033561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_199-27_0_4_line_36 |  | 28 | 30 | 0.024319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_199-27_0_4_line_37 |  | 30 | 58 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_199-27_0_4_line_38 |  | 32 | 33 | 0.043087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_199-27_0_4_line_39 |  | 32 | 34 | 0.027452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_199-27_0_4_line_40 |  | 33 | 59 | 0.035655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_199-27_0_4_line_41 |  | 34 | 60 | 0.0096698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-27_0_4_line_42 |  | 35 | 36 | 0.005958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_199-27_0_4_line_43 |  | 35 | 37 | 0.015216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_199-27_0_4_line_44 |  | 37 | 61 | 0.024188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_199-27_0_4_line_45 |  | 38 | 39 | 0.04411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_199-27_0_4_line_46 |  | 38 | 40 | 0.031844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_199-27_0_4_line_47 |  | 39 | 62 | 0.029515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_199-27_0_4_line_48 |  | 40 | 57 | 0.0081803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_199-27_0_4_line_49 |  | 41 | 42 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_199-27_0_4_line_50 |  | 41 | 43 | 0.0073849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_199-27_0_4_line_51 |  | 42 | 45 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_199-27_0_4_line_52 |  | 45 | 63 | 0.025715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-27_0_4_line_53 |  | 46 | 72 | 0.023588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-27_0_4_line_54 |  | 47 | 48 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_199-27_0_4_line_55 |  | 47 | 49 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_199-27_0_4_line_56 |  | 49 | 52 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_199-27_0_4_line_57 |  | 50 | 51 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_199-27_0_4_line_58 |  | 50 | 52 | 0.0089659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_199-27_0_4_line_59 |  | 51 | 64 | 0.031818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_199-27_0_4_line_60 |  | 51 | 65 | 0.00083625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_199-27_0_4_line_61 |  | 53 | 54 | 0.027578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_199-27_0_4_line_62 |  | 54 | 66 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_199-27_0_4_line_63 |  | 54 | 63 | 0.007906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_199-27_0_4_line_64 |  | 55 | 70 | 0.031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_199-27_0_4_line_65 |  | 57 | 67 | 0.01256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_199-27_0_4_line_66 |  | 58 | 73 | 0.024935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_199-27_0_4_line_67 |  | 59 | 63 | 0.009906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_199-27_0_4_line_68 |  | 61 | 71 | 0.019048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_199-27_0_4_line_69 |  | 62 | 68 | 0.011971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_199-27_0_4_line_70 |  | 64 | 66 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_199-27_0_4_line_71 |  | 64 | 67 | 0.036102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_199-27_0_4_line_72 |  | 66 | 69 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-27_0_4_trafo_70 | 0.63 MVA 20/0.4 kV | 74 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2693462.1785 | 1248991.6924 | 2693473.8944 | 1248990.2756 | 2693476.6724 | 1248997.7893
1 | 2693492.3995 | 1249010.6831 | 2693481.2387 | 1249010.14 | 2693476.6724 | 1248997.7893
2 | 2693492.3995 | 1249010.6831 | 2693490.9519 | 1249016.7538 | 2693487.8631 | 1249021.0639 | 2693479.5493 | 1249022.7106
3 | 2693492.3995 | 1249010.6831 | 2693499.6686 | 1249008.9853 | 2693552.4876 | 1248981.2195 | 2693555.9541 | 1248988.3796 | 2693578.5791 | 1249029.0679 | 2693581.7419 | 1249036.8126 | 2693589.0614 | 1249042.4436 | 2693601.6011 | 1249047.0006 | 2693617.9905 | 1249048.8052 | 2693628.132 | 1249049.8106 | 2693633.302 | 1249052.8724 | 2693663.634 | 1249080.3503 | 2693670.5338 | 1249085.7746 | 2693625.8498 | 1249164.5848 | 2693596.6249 | 1249217.1303
4 | 2693596.6249 | 1249217.1303 | 2693590.369 | 1249227.8397 | 2693582.95 | 1249238.086 | 2693577.0692 | 1249247.0445 | 2693575.3477 | 1249250.1014
5 | 2693645.0755 | 1249203.3515 | 2693628.4995 | 1249195.2279 | 2693608.8046 | 1249184.2307 | 2693607.4644 | 1249183.4979 | 2693600.3889 | 1249196.8519 | 2693594.8066 | 1249213.6767 | 2693596.6249 | 1249217.1303
6 | 2693454.9517 | 1249366.1985 | 2693459.2743 | 1249369.825 | 2693470.2382 | 1249373.2338 | 2693478.9174 | 1249380.7319
7 | 2693454.9517 | 1249366.1985 | 2693443.9067 | 1249356.4391 | 2693440.6384 | 1249353.4742 | 2693432.7258 | 1249346.1995 | 2693418.2623 | 1249329.6445
8 | 2693478.9174 | 1249380.7319 | 2693482.1588 | 1249377.2693
9 | 2693469.8206 | 1249390.6072 | 2693473.49 | 1249386.3396 | 2693478.9174 | 1249380.7319
10 | 2693387.4707 | 1249290.0767 | 2693409.3899 | 1249319.4891 | 2693418.2623 | 1249329.6445
11 | 2693557.1636 | 1249282.3908 | 2693553.5708 | 1249279.8877
12 | 2693553.5708 | 1249279.8877 | 2693540.882 | 1249301.3157
13 | 2693557.1636 | 1249282.3908 | 2693575.3477 | 1249250.1014
14 | 2693533.1193 | 1249314.4249 | 2693540.882 | 1249301.3157
15 | 2693514.4 | 1249343.5408 | 2693506.7933 | 1249356.1854
16 | 2693503.7098 | 1249374.9407 | 2693512.3819 | 1249363.2685 | 2693519.5854 | 1249350.3945 | 2693521.2472 | 1249347.4963 | 2693514.4 | 1249343.5408
17 | 2693514.4 | 1249343.5408 | 2693523.31 | 1249329.6823
18 | 2693503.7098 | 1249374.9407 | 2693499.0278 | 1249378.7698 | 2693493.7656 | 1249381.0886 | 2693488.043 | 1249380.9983 | 2693482.1588 | 1249377.2693
19 | 2693533.1193 | 1249314.4249 | 2693523.31 | 1249329.6823
20 | 2693513.0616 | 1249422.5803 | 2693508.5793 | 1249422.8543
21 | 2693513.0616 | 1249422.5803 | 2693515.8595 | 1249414.6851 | 2693518.0994 | 1249408.6491 | 2693526.2233 | 1249412.091 | 2693537.5857 | 1249407.9449 | 2693544.6425 | 1249409.6242
22 | 2693513.0616 | 1249422.5803 | 2693528.3054 | 1249422.7431 | 2693531.4698 | 1249423.204
23 | 2693508.5793 | 1249422.8543 | 2693510.5091 | 1249437.4819
24 | 2693508.5793 | 1249422.8543 | 2693486.1772 | 1249426.9708
25 | 2693544.6425 | 1249409.6242 | 2693546.8768 | 1249395.8155 | 2693556.4574 | 1249381.1332
26 | 2693544.6425 | 1249409.6242 | 2693574.864 | 1249413.9166
27 | 2693531.4698 | 1249423.204 | 2693553.8497 | 1249426.4636
28 | 2693580.5782 | 1249352.8478 | 2693572.2372 | 1249366.0151 | 2693571.488 | 1249370.8959 | 2693560.9087 | 1249379.9581 | 2693556.4574 | 1249381.1332
29 | 2693469.8206 | 1249390.6072 | 2693474.6949 | 1249396.5998 | 2693476.2734 | 1249400.4165 | 2693475.9018 | 1249406.7377 | 2693472.4392 | 1249412.7321 | 2693475.753 | 1249416.1648
30 | 2693475.753 | 1249416.1648 | 2693480.629 | 1249421.0899 | 2693486.1772 | 1249426.9708
31 | 2693475.753 | 1249416.1648 | 2693464.4428 | 1249424.1815 | 2693456.4402 | 1249429.1961
32 | 2693469.8206 | 1249390.6072 | 2693465.0245 | 1249393.5338 | 2693458.3126 | 1249394.2001
33 | 2693486.1772 | 1249426.9708 | 2693478.0393 | 1249428.7216 | 2693474.8867 | 1249429.7706
34 | 2693645.0755 | 1249203.3515 | 2693640.758 | 1249204.651
35 | 2693454.9729 | 1249394.5317 | 2693458.3126 | 1249394.2001
36 | 2693454.9729 | 1249394.5317 | 2693430.7711 | 1249396.9202
37 | 2693420.2345 | 1249397.96 | 2693430.7711 | 1249396.9202
38 | 2693669.7548 | 1249258.7394 | 2693649.6655 | 1249294.2048 | 2693648.5487 | 1249296.2465
39 | 2693669.7548 | 1249258.7394 | 2693661.7441 | 1249258.1569 | 2693642.532 | 1249255.32
40 | 2693633.5041 | 1249328.1867 | 2693634.1673 | 1249322.5373 | 2693648.5487 | 1249296.2465
41 | 2693633.1925 | 1249252.824 | 2693642.1781 | 1249255.2678 | 2693642.532 | 1249255.32
42 | 2693469.2334 | 1249431.6517 | 2693474.8867 | 1249429.7706
43 | 2693469.2334 | 1249431.6517 | 2693456.6378 | 1249440.1889
44 | 2693456.6378 | 1249440.1889 | 2693452.6239 | 1249442.9095 | 2693435.1256 | 1249451.1444
45 | 2693542.7871 | 1249340.6197 | 2693559.8386 | 1249307.1409 | 2693563.0257 | 1249301.431
46 | 2693542.7871 | 1249340.6197 | 2693570.4603 | 1249351.8206 | 2693572.4397 | 1249352.0215
47 | 2693576.9217 | 1249275.3936 | 2693566.6309 | 1249294.9721 | 2693563.0257 | 1249301.431
48 | 2693580.5782 | 1249352.8478 | 2693572.4397 | 1249352.0215
49 | 2693673.7604 | 1249328.7342 | 2693695.1127 | 1249341.3702
50 | 2693695.1127 | 1249341.3702 | 2693701.5762 | 1249344.9423
51 | 2693673.7604 | 1249328.7342 | 2693658.739 | 1249319.8415
52 | 2693641.1399 | 1249333.845 | 2693647.3206 | 1249332.1858 | 2693656.276 | 1249318.3834 | 2693658.739 | 1249319.8415
53 | 2693387.4707 | 1249290.0767 | 2693368.0791 | 1249303.5069
54 | 2693650.2845 | 1249413.1615 | 2693669.3278 | 1249415.1639 | 2693673.1715 | 1249411.822 | 2693674.0026 | 1249404.9465
55 | 2693639.6016 | 1249412.0474 | 2693650.2845 | 1249413.1615
56 | 2693639.6016 | 1249412.0474 | 2693641.2938 | 1249399.2974
57 | 2693625.8346 | 1249388.6787 | 2693642.4734 | 1249390.4095
58 | 2693642.4734 | 1249390.4095 | 2693641.2938 | 1249399.2974
59 | 2693625.8346 | 1249388.6787 | 2693629.061 | 1249357.0276
60 | 2693625.75 | 1249389.5107 | 2693625.8346 | 1249388.6787
61 | 2693640.8441 | 1249341.5685 | 2693644.2832 | 1249344.236 | 2693663.9448 | 1249356.5995
62 | 2693630.3925 | 1249346.3627 | 2693633.077 | 1249346.6052 | 2693636.2147 | 1249345.8876 | 2693638.9082 | 1249344.1288 | 2693640.8441 | 1249341.5685
63 | 2693641.1399 | 1249333.845 | 2693641.8379 | 1249336.9807 | 2693640.8441 | 1249341.5685
64 | 2693513.4472 | 1249468.7825 | 2693513.5702 | 1249460.6843 | 2693510.5091 | 1249437.4819
65 | 2693580.5782 | 1249352.8478 | 2693593.0922 | 1249353.9266
66 | 2693420.2345 | 1249397.96 | 2693395.4201 | 1249400.409
67 | 2693641.1399 | 1249333.845 | 2693639.2149 | 1249330.9346 | 2693636.6015 | 1249329.0586 | 2693633.5041 | 1249328.1867
68 | 2693417.0947 | 1249457.2687 | 2693434.3801 | 1249451.4952 | 2693435.1256 | 1249451.1444
69 | 2693576.9217 | 1249275.3936 | 2693580.1078 | 1249269.3318 | 2693582.6989 | 1249264.9127
70 | 2693630.3925 | 1249346.3627 | 2693629.061 | 1249357.0276
71 | 2693629.061 | 1249357.0276 | 2693593.0922 | 1249353.9266
72 | 2693630.3925 | 1249346.3627 | 2693627.4452 | 1249345.0707 | 2693625.1166 | 1249342.8544 | 2693623.5966 | 1249339.6391 | 2693623.3604 | 1249336.4329 | 2693623.3817 | 1249336.3585

## bus_geodata
| x | y | coords
0 | 2693462.1785 | 1248991.6924
1 | 2693476.6724 | 1248997.7893
2 | 2693492.3995 | 1249010.6831
3 | 2693479.5493 | 1249022.7106
4 | 2693596.6249 | 1249217.1303
5 | 2693454.9517 | 1249366.1985
6 | 2693478.9174 | 1249380.7319
7 | 2693418.2623 | 1249329.6445
8 | 2693553.5708 | 1249279.8877
9 | 2693557.1636 | 1249282.3908
10 | 2693540.882 | 1249301.3157
11 | 2693514.4 | 1249343.5408
12 | 2693506.7933 | 1249356.1854
13 | 2693503.7098 | 1249374.9407
14 | 2693523.31 | 1249329.6823
15 | 2693533.1193 | 1249314.4249
16 | 2693513.0616 | 1249422.5803
17 | 2693508.5793 | 1249422.8543
18 | 2693544.6425 | 1249409.6242
19 | 2693531.4698 | 1249423.204
20 | 2693556.4574 | 1249381.1332
21 | 2693574.864 | 1249413.9166
22 | 2693475.753 | 1249416.1648
23 | 2693469.8206 | 1249390.6072
24 | 2693486.1772 | 1249426.9708
25 | 2693456.4402 | 1249429.1961
26 | 2693645.0755 | 1249203.3515
27 | 2693640.758 | 1249204.651
28 | 2693454.9729 | 1249394.5317
29 | 2693458.3126 | 1249394.2001
30 | 2693430.7711 | 1249396.9202
31 | 2693482.1588 | 1249377.2693
32 | 2693669.7548 | 1249258.7394
33 | 2693648.5487 | 1249296.2465
34 | 2693642.532 | 1249255.32
35 | 2693469.2334 | 1249431.6517
36 | 2693474.8867 | 1249429.7706
37 | 2693456.6378 | 1249440.1889
38 | 2693542.7871 | 1249340.6197
39 | 2693563.0257 | 1249301.431
40 | 2693572.4397 | 1249352.0216
41 | 2693695.1127 | 1249341.3702
42 | 2693673.7604 | 1249328.7342
43 | 2693701.5762 | 1249344.9423
44 | 2693575.3477 | 1249250.1014
45 | 2693658.739 | 1249319.8415
46 | 2693387.4707 | 1249290.0767
47 | 2693650.2845 | 1249413.1615
48 | 2693674.0026 | 1249404.9465
49 | 2693639.6016 | 1249412.0474
50 | 2693642.4734 | 1249390.4095
51 | 2693625.8346 | 1249388.6787
52 | 2693641.2938 | 1249399.2974
53 | 2693663.9448 | 1249356.5995
54 | 2693640.8441 | 1249341.5685
55 | 2693510.5091 | 1249437.4819
56 | 2693553.8497 | 1249426.4636
57 | 2693580.5782 | 1249352.8478
58 | 2693420.2345 | 1249397.96
59 | 2693633.5041 | 1249328.1867
60 | 2693633.1925 | 1249252.824
61 | 2693435.1256 | 1249451.1444
62 | 2693576.9217 | 1249275.3936
63 | 2693641.1399 | 1249333.845
64 | 2693629.061 | 1249357.0276
65 | 2693625.75 | 1249389.5107
66 | 2693630.3925 | 1249346.3627
67 | 2693593.0922 | 1249353.9266
68 | 2693582.6989 | 1249264.9127
69 | 2693623.3817 | 1249336.3585
70 | 2693513.4472 | 1249468.7825
71 | 2693417.0947 | 1249457.2687
72 | 2693368.0791 | 1249303.5069
73 | 2693395.4201 | 1249400.409
74 | 2693580.5782 | 1249352.8478

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9751 | -0.4817 | 0.0026596 | 0.00066655
1 | 0.97515 | -0.48073 | 0.000357 | 8.9473e-05
2 | 0.97522 | -0.47939 | 0 | 0
3 | 0.9752 | -0.47968 | 0.00080343 | 0.00020136
4 | 0.97658 | -0.45236 | 0 | 0
5 | 0.98477 | -0.29239 | 0 | 0
6 | 0.98508 | -0.2864 | 0 | 0
7 | 0.98421 | -0.30328 | 0.0078579 | 0.0019694
8 | 0.97798 | -0.42487 | 0 | 0
9 | 0.97788 | -0.42696 | 0 | 0
10 | 0.97859 | -0.41297 | 0.013293 | 0.0033315
11 | 0.98074 | -0.37083 | 0 | 0
12 | 0.98066 | -0.37245 | 0.0060724 | 0.0015219
13 | 0.98325 | -0.32187 | 0 | 0
14 | 0.97981 | -0.38898 | 0.021196 | 0.0053123
15 | 0.97915 | -0.40201 | 0 | 0
16 | 0.99204 | -0.15197 | 0 | 0
17 | 0.99183 | -0.15614 | 0 | 0
18 | 0.99432 | -0.10824 | 0 | 0
19 | 0.9918 | -0.15674 | 0.0079055 | 0.0019813
20 | 0.99631 | -0.070195 | 0.026621 | 0.0066717
21 | 0.9934 | -0.12609 | 0.033131 | 0.0083035
22 | 0.98887 | -0.21306 | 0 | 0
23 | 0.9861 | -0.26656 | 0 | 0
24 | 0.99035 | -0.18452 | 0 | 0
25 | 0.98873 | -0.21577 | 0.0065258 | 0.0016355
26 | 0.97608 | -0.46227 | 0 | 0
27 | 0.97605 | -0.46283 | 0.0068303 | 0.0017118
28 | 0.98585 | -0.27139 | 0 | 0
29 | 0.9859 | -0.27054 | 0.00375 | 0.00093984
30 | 0.98553 | -0.27758 | 0.0072218 | 0.00181
31 | 0.98477 | -0.29242 | 0.0038169 | 0.00095661
32 | 0.9918 | -0.15759 | 0 | 0
33 | 0.99207 | -0.15241 | 0.0021099 | 0.00052879
34 | 0.99163 | -0.1609 | 0.0026739 | 0.00067013
35 | 0.98985 | -0.19432 | 0 | 0
36 | 0.98999 | -0.19158 | 0.0081688 | 0.0020473
37 | 0.98948 | -0.20133 | 0.0069185 | 0.001734
38 | 0.99897 | -0.019815 | 0 | 0
39 | 0.99754 | -0.04733 | 0.017888 | 0.0044831
40 | 1 | 0 | -0.40253 | -0.10186
41 | 0.99099 | -0.17331 | 0 | 0
42 | 0.99136 | -0.16612 | 0 | 0
43 | 0.99088 | -0.17545 | 0.01636 | 0.0041002
44 | 0.97697 | -0.44471 | 0.015579 | 0.0039045
45 | 0.99162 | -0.16106 | 0.018388 | 0.0046084
46 | 0.98404 | -0.30672 | 0 | 0
47 | 0.99311 | -0.13229 | 0 | 0
48 | 0.99298 | -0.13488 | 0.0047139 | 0.0011814
49 | 0.99316 | -0.13139 | 0 | 0
50 | 0.9933 | -0.12864 | 0 | 0
51 | 0.99346 | -0.12552 | 0 | 0
52 | 0.99321 | -0.13032 | 0.0058899 | 0.0014761
53 | 0.99226 | -0.1488 | 0.019822 | 0.0049679
54 | 0.99276 | -0.13912 | 0 | 0
55 | 0.99159 | -0.16065 | 0.0082714 | 0.002073
56 | 0.99166 | -0.15942 | 0.0066973 | 0.0016785
57 | 0.9991 | -0.017203 | 0 | 0
58 | 0.98547 | -0.2789 | 0.00359 | 0.00089975
59 | 0.99236 | -0.14679 | 0 | 0
60 | 0.9916 | -0.1616 | 0.0041159 | 0.0010315
61 | 0.98906 | -0.20951 | 0.011358 | 0.0028466
62 | 0.99706 | -0.056523 | 0.0017948 | 0.00044981
63 | 0.99244 | -0.14523 | 0 | 0
64 | 0.99422 | -0.11079 | 0 | 0
65 | 0.99345 | -0.12575 | 0.015625 | 0.003916
66 | 0.99347 | -0.12531 | 0 | 0
67 | 0.99761 | -0.045578 | 0.026398 | 0.006616
68 | 0.99689 | -0.059877 | 0.015979 | 0.0040047
69 | 0.99331 | -0.12838 | 0.013078 | 0.0032777
70 | 0.99134 | -0.16566 | 0.0089715 | 0.0022485
71 | 0.98893 | -0.2121 | 0.0076191 | 0.0019095
72 | 0.98395 | -0.30834 | 0.0038088 | 0.00095459
73 | 0.98539 | -0.28041 | 0.003375 | 0.00084585
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0026596 | -0.00066655 | 0.0026597 | 0.00066639 | 1.2238e-07 | -1.6883e-07 | 0.0040586 | 0.0040585 | 0.0040586 | 0.9751 | -0.4817 | 0.97515 | -0.48073 | 1.115
1 | -0.0030167 | -0.00075586 | 0.0030169 | 0.00075568 | 1.9342e-07 | -1.799e-07 | 0.0046032 | 0.0046031 | 0.0046032 | 0.97515 | -0.48073 | 0.97522 | -0.47939 | 1.2646
2 | 0.00080344 | 0.00020112 | -0.00080343 | -0.00020136 | 1.1281e-08 | -2.4255e-07 | 0.0012258 | 0.0012259 | 0.0012259 | 0.97522 | -0.47939 | 0.9752 | -0.47968 | 0.33679
3 | -0.0038203 | -0.0009568 | 0.0038253 | 0.00095512 | 4.9129e-06 | -1.6749e-06 | 0.005829 | 0.0058272 | 0.005829 | 0.97522 | -0.47939 | 0.97658 | -0.45236 | 1.6014
4 | -0.010659 | -0.0026681 | 0.010663 | 0.0026701 | 3.8845e-06 | 1.9944e-06 | 0.01624 | 0.01624 | 0.01624 | 0.97658 | -0.45236 | 0.97697 | -0.44471 | 4.4615
5 | 0.0068337 | 0.001713 | -0.0068305 | -0.0017119 | 3.2238e-06 | 1.0717e-06 | 0.010413 | 0.010413 | 0.010413 | 0.97658 | -0.45236 | 0.97608 | -0.46227 | 2.8607
6 | -0.011674 | -0.0029268 | 0.011677 | 0.0029286 | 3.3364e-06 | 1.7714e-06 | 0.01764 | 0.01764 | 0.01764 | 0.98477 | -0.29239 | 0.98508 | -0.2864 | 4.8461
7 | 0.011674 | 0.0029268 | -0.011668 | -0.0029236 | 6.0541e-06 | 3.2149e-06 | 0.01764 | 0.01764 | 0.01764 | 0.98477 | -0.29239 | 0.98421 | -0.30328 | 4.8461
8 | 0.071031 | 0.017957 | -0.07101 | -0.017944 | 2.0498e-05 | 1.3058e-05 | 0.10735 | 0.10735 | 0.10735 | 0.98508 | -0.2864 | 0.98477 | -0.29242 | 29.4922
9 | -0.082708 | -0.020886 | 0.082786 | 0.020936 | 7.8693e-05 | 5.0192e-05 | 0.12499 | 0.12499 | 0.12499 | 0.98508 | -0.2864 | 0.9861 | -0.26656 | 34.3382
10 | 0.0038098 | 0.00095424 | -0.0038091 | -0.00095447 | 6.2412e-07 | -2.3798e-07 | 0.0057597 | 0.0057599 | 0.0057599 | 0.98421 | -0.30328 | 0.98404 | -0.30672 | 1.5824
11 | 0.026267 | 0.00659 | -0.026264 | -0.0065883 | 2.6178e-06 | 1.6206e-06 | 0.039968 | 0.039968 | 0.039968 | 0.97798 | -0.42487 | 0.97788 | -0.42696 | 10.9802
12 | -0.026267 | -0.00659 | 0.026282 | 0.0065992 | 1.4918e-05 | 9.2347e-06 | 0.039968 | 0.039968 | 0.039968 | 0.97798 | -0.42487 | 0.97859 | -0.41297 | 10.9802
13 | 0.026264 | 0.0065883 | -0.026242 | -0.0065746 | 2.2199e-05 | 1.3743e-05 | 0.039968 | 0.039968 | 0.039968 | 0.97788 | -0.42696 | 0.97697 | -0.44471 | 10.9802
14 | -0.039575 | -0.0099307 | 0.039595 | 0.0099437 | 2.0691e-05 | 1.3051e-05 | 0.06018 | 0.06018 | 0.06018 | 0.97859 | -0.41297 | 0.97915 | -0.40201 | 16.5331
15 | 0.0060729 | 0.001522 | -0.0060724 | -0.0015219 | 4.698e-07 | 1.1448e-07 | 0.009214 | 0.0092141 | 0.0092141 | 0.98074 | -0.37083 | 0.98066 | -0.37245 | 2.5313
16 | -0.066942 | -0.016827 | 0.067098 | 0.016927 | 0.00015689 | 9.9895e-05 | 0.10158 | 0.10158 | 0.10158 | 0.98074 | -0.37083 | 0.98325 | -0.32187 | 27.9078
17 | 0.060869 | 0.015305 | -0.060816 | -0.015272 | 5.2715e-05 | 3.353e-05 | 0.09237 | 0.09237 | 0.09237 | 0.98074 | -0.37083 | 0.97981 | -0.38898 | 25.3765
18 | -0.067098 | -0.016927 | 0.067193 | 0.016987 | 9.4764e-05 | 6.0338e-05 | 0.10158 | 0.10158 | 0.10158 | 0.98325 | -0.32187 | 0.98477 | -0.29242 | 27.9077
19 | 0.03962 | 0.0099593 | -0.039595 | -0.0099437 | 2.4635e-05 | 1.5538e-05 | 0.06018 | 0.06018 | 0.06018 | 0.97981 | -0.38898 | 0.97915 | -0.40201 | 16.5331
20 | 0.15924 | 0.040356 | -0.1592 | -0.040336 | 3.1968e-05 | 2.0286e-05 | 0.23901 | 0.23901 | 0.23901 | 0.99204 | -0.15197 | 0.99183 | -0.15614 | 21.8869
21 | -0.17384 | -0.044018 | 0.17421 | 0.044251 | 0.0003658 | 0.00023244 | 0.26092 | 0.26091 | 0.26092 | 0.99204 | -0.15197 | 0.99432 | -0.10824 | 23.8933
22 | 0.014607 | 0.003662 | -0.014604 | -0.0036601 | 3.3201e-06 | 1.8868e-06 | 0.02191 | 0.02191 | 0.02191 | 0.99204 | -0.15197 | 0.9918 | -0.15674 | 6.0193
23 | 0.017249 | 0.0043246 | -0.017245 | -0.0043224 | 3.7054e-06 | 2.1811e-06 | 0.025879 | 0.025879 | 0.025879 | 0.99183 | -0.15614 | 0.99159 | -0.16065 | 7.1095
24 | 0.14196 | 0.036011 | -0.14176 | -0.035888 | 0.00019343 | 0.00012321 | 0.21313 | 0.21313 | 0.21313 | 0.99183 | -0.15614 | 0.99035 | -0.18452 | 29.2757
25 | -0.20737 | -0.052572 | 0.20775 | 0.052814 | 0.00037996 | 0.00024194 | 0.31054 | 0.31054 | 0.31054 | 0.99432 | -0.10824 | 0.99631 | -0.070195 | 28.4379
26 | 0.033159 | 0.0083211 | -0.033131 | -0.0083035 | 2.8192e-05 | 1.7647e-05 | 0.049627 | 0.049627 | 0.049627 | 0.99432 | -0.10824 | 0.9934 | -0.12609 | 13.6338
27 | 0.0066982 | 0.0016788 | -0.0066973 | -0.0016785 | 8.5652e-07 | 2.5635e-07 | 0.010049 | 0.01005 | 0.01005 | 0.9918 | -0.15674 | 0.99166 | -0.15942 | 2.7609
28 | -0.23437 | -0.059485 | 0.23497 | 0.059867 | 0.00059911 | 0.0003819 | 0.3503 | 0.3503 | 0.3503 | 0.99631 | -0.070195 | 0.9991 | -0.017203 | 32.0787
29 | 0.10099 | 0.025601 | -0.10073 | -0.025436 | 0.00025895 | 0.00016535 | 0.15207 | 0.15207 | 0.15207 | 0.98887 | -0.21306 | 0.9861 | -0.26656 | 41.7779
30 | -0.10752 | -0.027237 | 0.10767 | 0.027331 | 0.00014758 | 9.4258e-05 | 0.16189 | 0.16189 | 0.16189 | 0.98887 | -0.21306 | 0.99035 | -0.18452 | 44.476
31 | 0.0065266 | 0.0016358 | -0.0065258 | -0.0016355 | 8.4303e-07 | 2.4058e-07 | 0.0098211 | 0.0098212 | 0.0098212 | 0.98887 | -0.21306 | 0.98873 | -0.21577 | 2.6981
32 | 0.017946 | 0.0045001 | -0.017942 | -0.0044981 | 3.4001e-06 | 2.0184e-06 | 0.027081 | 0.027081 | 0.027081 | 0.9861 | -0.26656 | 0.9859 | -0.27054 | 7.4398
33 | 0.034096 | 0.0085568 | -0.034085 | -0.0085496 | 1.1465e-05 | 7.1875e-06 | 0.051234 | 0.051234 | 0.051234 | 0.99035 | -0.18452 | 0.98999 | -0.19158 | 14.0754
34 | 0.0068305 | 0.0017119 | -0.0068303 | -0.0017118 | 1.8333e-07 | 6.0979e-08 | 0.010413 | 0.010413 | 0.010413 | 0.97608 | -0.46227 | 0.97605 | -0.46283 | 2.8607
35 | -0.014192 | -0.0035579 | 0.014192 | 0.0035582 | 5.7749e-07 | 3.268e-07 | 0.021421 | 0.021421 | 0.021421 | 0.98585 | -0.27139 | 0.9859 | -0.27054 | 5.8849
36 | 0.014192 | 0.0035579 | -0.014188 | -0.0035555 | 4.1847e-06 | 2.3682e-06 | 0.021421 | 0.021421 | 0.021421 | 0.98585 | -0.27139 | 0.98553 | -0.27758 | 5.8849
37 | 0.0069657 | 0.0017456 | -0.0069653 | -0.0017454 | 4.3917e-07 | 1.4616e-07 | 0.010517 | 0.010517 | 0.010517 | 0.98553 | -0.27758 | 0.98547 | -0.2789 | 2.8893
38 | -0.0067909 | -0.001702 | 0.0067926 | 0.0017025 | 1.6772e-06 | 5.1723e-07 | 0.010189 | 0.010188 | 0.010189 | 0.9918 | -0.15759 | 0.99207 | -0.15241 | 2.799
39 | 0.0067909 | 0.001702 | -0.0067899 | -0.0017016 | 1.0687e-06 | 3.2972e-07 | 0.010189 | 0.010189 | 0.010189 | 0.9918 | -0.15759 | 0.99163 | -0.1609 | 2.7991
40 | -0.0089025 | -0.0022313 | 0.0089049 | 0.0022323 | 2.384e-06 | 1.0652e-06 | 0.013353 | 0.013353 | 0.013353 | 0.99207 | -0.15241 | 0.99236 | -0.14679 | 3.6684
41 | 0.004116 | 0.0010315 | -0.0041159 | -0.0010315 | 1.3833e-07 | -3.6211e-08 | 0.0061763 | 0.0061764 | 0.0061764 | 0.99163 | -0.1609 | 0.9916 | -0.1616 | 1.6968
42 | -0.025913 | -0.0065002 | 0.025916 | 0.0065023 | 3.3907e-06 | 2.0935e-06 | 0.038956 | 0.038956 | 0.038956 | 0.98985 | -0.19432 | 0.98999 | -0.19158 | 10.7023
43 | 0.025913 | 0.0065002 | -0.025904 | -0.0064949 | 8.6595e-06 | 5.3466e-06 | 0.038956 | 0.038956 | 0.038956 | 0.98985 | -0.19432 | 0.98948 | -0.20133 | 10.7023
44 | 0.018986 | 0.0047609 | -0.018978 | -0.0047565 | 7.3946e-06 | 4.422e-06 | 0.028552 | 0.028552 | 0.028552 | 0.98948 | -0.20133 | 0.98906 | -0.20951 | 7.844
45 | 0.035719 | 0.0089731 | -0.035672 | -0.0089437 | 4.6838e-05 | 2.9399e-05 | 0.053212 | 0.053212 | 0.053212 | 0.99897 | -0.019815 | 0.99754 | -0.04733 | 14.6188
46 | -0.035719 | -0.0089731 | 0.035752 | 0.0089943 | 3.3812e-05 | 2.1223e-05 | 0.053212 | 0.053212 | 0.053212 | 0.99897 | -0.019815 | 1 | 0 | 14.6188
47 | 0.017784 | 0.0044606 | -0.017776 | -0.004456 | 7.79e-06 | 4.6004e-06 | 0.026529 | 0.02653 | 0.02653 | 0.99754 | -0.04733 | 0.99706 | -0.056523 | 7.2883
48 | 0.36513 | 0.092866 | -0.36482 | -0.092672 | 0.00030238 | 0.0001932 | 0.54379 | 0.54379 | 0.54379 | 1 | 0 | 0.9991 | -0.017203 | 49.798
49 | -0.016362 | -0.0041012 | 0.016367 | 0.0041045 | 5.6034e-06 | 3.2671e-06 | 0.024568 | 0.024568 | 0.024568 | 0.99099 | -0.17331 | 0.99136 | -0.16612 | 6.7495
50 | 0.016362 | 0.0041012 | -0.01636 | -0.0041002 | 1.6715e-06 | 9.7465e-07 | 0.024568 | 0.024568 | 0.024568 | 0.99099 | -0.17331 | 0.99088 | -0.17545 | 6.7495
51 | -0.016367 | -0.0041045 | 0.016371 | 0.0041068 | 3.9511e-06 | 2.3036e-06 | 0.024568 | 0.024568 | 0.024568 | 0.99136 | -0.16612 | 0.99162 | -0.16106 | 6.7494
52 | -0.034759 | -0.0087152 | 0.034785 | 0.0087316 | 2.6236e-05 | 1.6459e-05 | 0.05216 | 0.05216 | 0.05216 | 0.99162 | -0.16106 | 0.99244 | -0.14523 | 14.3297
53 | 0.0038091 | 0.00095447 | -0.0038088 | -0.00095459 | 2.9348e-07 | -1.1181e-07 | 0.0057599 | 0.0057601 | 0.0057601 | 0.98404 | -0.30672 | 0.98395 | -0.30834 | 1.5824
54 | 0.0047144 | 0.0011814 | -0.0047139 | -0.0011814 | 5.8319e-07 | -2.9982e-08 | 0.0070638 | 0.0070639 | 0.0070639 | 0.99311 | -0.13229 | 0.99298 | -0.13488 | 1.9406
55 | -0.0047144 | -0.0011814 | 0.0047146 | 0.0011814 | 2.0038e-07 | -1.033e-08 | 0.0070638 | 0.0070637 | 0.0070638 | 0.99311 | -0.13229 | 0.99316 | -0.13139 | 1.9406
56 | -0.0047146 | -0.0011814 | 0.0047149 | 0.0011814 | 2.4065e-07 | -1.2426e-08 | 0.0070637 | 0.0070637 | 0.0070637 | 0.99316 | -0.13139 | 0.99321 | -0.13032 | 1.9406
57 | -0.010606 | -0.0026579 | 0.010607 | 0.0026587 | 1.5788e-06 | 7.9449e-07 | 0.015888 | 0.015888 | 0.015888 | 0.9933 | -0.12864 | 0.99346 | -0.12552 | 4.3648
58 | 0.010606 | 0.0026579 | -0.010605 | -0.0026575 | 8.4869e-07 | 4.2712e-07 | 0.015888 | 0.015888 | 0.015888 | 0.9933 | -0.12864 | 0.99321 | -0.13032 | 4.3648
59 | -0.026232 | -0.0065748 | 0.026251 | 0.0065862 | 1.842e-05 | 1.1377e-05 | 0.039291 | 0.039291 | 0.039291 | 0.99346 | -0.12552 | 0.99422 | -0.11079 | 10.7943
60 | 0.015625 | 0.0039161 | -0.015625 | -0.003916 | 1.7176e-07 | 9.9101e-08 | 0.023404 | 0.023404 | 0.023404 | 0.99346 | -0.12552 | 0.99345 | -0.12575 | 6.4295
61 | -0.019822 | -0.0049679 | 0.019831 | 0.0049734 | 9.1382e-06 | 5.492e-06 | 0.029726 | 0.029726 | 0.029726 | 0.99226 | -0.1488 | 0.99276 | -0.13912 | 8.1664
62 | -0.063535 | -0.015946 | 0.063577 | 0.015972 | 4.1888e-05 | 2.6649e-05 | 0.095238 | 0.095238 | 0.095238 | 0.99276 | -0.13912 | 0.99347 | -0.12531 | 26.1644
63 | 0.043704 | 0.010972 | -0.043691 | -0.010964 | 1.2725e-05 | 8.0415e-06 | 0.065513 | 0.065513 | 0.065513 | 0.99276 | -0.13912 | 0.99244 | -0.14523 | 17.998
64 | 0.0089737 | 0.0022494 | -0.0089715 | -0.0022485 | 2.1423e-06 | 9.648e-07 | 0.013466 | 0.013466 | 0.013466 | 0.99159 | -0.16065 | 0.99134 | -0.16566 | 3.6996
65 | 0.12986 | 0.032805 | -0.12968 | -0.032692 | 0.00017635 | 0.0001127 | 0.1935 | 0.1935 | 0.1935 | 0.9991 | -0.017203 | 0.99761 | -0.045578 | 53.1581
66 | 0.0033752 | 0.00084568 | -0.003375 | -0.00084585 | 2.4287e-07 | -1.6223e-07 | 0.0050964 | 0.0050965 | 0.0050965 | 0.98547 | -0.2789 | 0.98539 | -0.28041 | 1.4001
67 | -0.0089049 | -0.0022323 | 0.0089055 | 0.0022326 | 6.6233e-07 | 2.959e-07 | 0.013353 | 0.013353 | 0.013353 | 0.99236 | -0.14679 | 0.99244 | -0.14523 | 3.6684
68 | 0.00762 | 0.0019099 | -0.0076191 | -0.0019095 | 9.3878e-07 | 3.5639e-07 | 0.011464 | 0.011464 | 0.011464 | 0.98906 | -0.20951 | 0.98893 | -0.2121 | 3.1495
69 | 0.015981 | 0.0040062 | -0.015979 | -0.0040047 | 2.5537e-06 | 1.4783e-06 | 0.023851 | 0.023851 | 0.023851 | 0.99706 | -0.056523 | 0.99689 | -0.059877 | 6.5525
70 | 0.07671 | 0.019285 | -0.076657 | -0.019251 | 5.3151e-05 | 3.3877e-05 | 0.11483 | 0.11483 | 0.11483 | 0.99422 | -0.11079 | 0.99347 | -0.12531 | 31.5467
71 | -0.10296 | -0.025871 | 0.10328 | 0.026076 | 0.00032158 | 0.00020534 | 0.15412 | 0.15412 | 0.15412 | 0.99422 | -0.11079 | 0.99761 | -0.045578 | 42.3409
72 | 0.01308 | 0.0032788 | -0.013078 | -0.0032777 | 1.9117e-06 | 1.0515e-06 | 0.019592 | 0.019592 | 0.019592 | 0.99347 | -0.12531 | 0.99331 | -0.12838 | 5.3823

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42558 | 0.10764

## res_load
| p_mw | q_mvar
0 | 0.0026596 | 0.00066655
1 | 0.000357 | 8.9473e-05
2 | 0.00080343 | 0.00020136
3 | 0.0078579 | 0.0019694
4 | 0.013293 | 0.0033315
5 | 0.0060724 | 0.0015219
6 | 0.021196 | 0.0053123
7 | 0.0079055 | 0.0019813
8 | 0.026621 | 0.0066717
9 | 0.033131 | 0.0083035
10 | 0.0065258 | 0.0016355
11 | 0.0068303 | 0.0017118
12 | 0.00375 | 0.00093984
13 | 0.0072218 | 0.00181
14 | 0.0038169 | 0.00095661
15 | 0.0021099 | 0.00052879
16 | 0.0026739 | 0.00067013
17 | 0.0081688 | 0.0020473
18 | 0.0069185 | 0.001734
19 | 0.017888 | 0.0044831
20 | 0.02305 | 0.005777
21 | 0.01636 | 0.0041002
22 | 0.015579 | 0.0039045
23 | 0.018388 | 0.0046084
24 | 0.0047139 | 0.0011814
25 | 0.0058899 | 0.0014761
26 | 0.019822 | 0.0049679
27 | 0.0082714 | 0.002073
28 | 0.0066973 | 0.0016785
29 | 0.00359 | 0.00089975
30 | 0.0041159 | 0.0010315
31 | 0.011358 | 0.0028466
32 | 0.0017948 | 0.00044981
33 | 0.015625 | 0.003916
34 | 0.026398 | 0.006616
35 | 0.015979 | 0.0040047
36 | 0.013078 | 0.0032777
37 | 0.0089715 | 0.0022485
38 | 0.0076191 | 0.0019095
39 | 0.0038088 | 0.00095459
40 | 0.003375 | 0.00084585

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1