## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-28_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-28_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-28_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-28_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_199-28_0_6_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_199-28_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_199-28_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_199-28_0_6_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_199-28_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_199-28_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_199-28_0_6_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_199-28_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_199-28_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_199-28_0_6_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_199-28_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_199-28_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_199-28_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_199-28_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_199-28_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_199-28_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_199-28_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_199-28_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_199-28_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_199-28_0_6_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_199-28_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_199-28_0_6_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_199-28_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_199-28_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_199-28_0_6_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_199-28_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_199-28_0_6_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_199-28_0_6_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_199-28_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_199-28_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_199-28_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_199-28_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_199-28_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_199-28_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_199-28_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_199-28_0_6_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_199-28_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_199-28_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_199-28_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_199-28_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_199-28_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_199-28_0_6_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_199-28_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_199-28_0_6_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_199-28_0_6_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_199-28_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_199-28_0_6_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_199-28_0_6_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_199-28_0_6_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_199-28_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_199-28_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_199-28_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_199-28_0_6_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_199-28_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_199-28_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_199-28_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_199-28_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_199-28_0_6_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_199-28_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_199-28_0_6_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_199-28_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_199-28_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_199-28_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_199-28_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_199-28_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_199-28_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_199-28_0_6_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_502_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-28_0_6_load_0 | 0 | 0.0027173 | 0.00068102 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-28_0_6_load_1 | 1 | 0.0019241 | 0.00048223 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-28_0_6_load_3 | 3 | 0.0054313 | 0.0013612 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-28_0_6_load_74 | 4 | 0.00049324 | 0.00012362 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-28_0_6_load_6 | 6 | 0.0022344 | 0.00055998 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-28_0_6_load_66 | 7 | 0.0029127 | 0.00072998 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-28_0_6_load_68 | 10 | 0.00034127 | 8.5531e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-28_0_6_load_17 | 11 | 0.0012974 | 0.00032516 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-28_0_6_load_67 | 13 | 0.00030769 | 7.7114e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-28_0_6_load_10 | 15 | 0.003044 | 0.00076289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-28_0_6_load_9 | 16 | 0.0051063 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-28_0_6_load_11 | 17 | 0.0034152 | 0.00085594 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-28_0_6_load_18 | 20 | 0.0025993 | 0.00065145 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-28_0_6_load_19 | 21 | 0.0014491 | 0.00036317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-28_0_6_load_20 | 22 | 0.001368 | 0.00034285 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-28_0_6_load_31 | 23 | 0.0017055 | 0.00042744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-28_0_6_load_27 | 25 | 0.0050709 | 0.0012709 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-28_0_6_load_23 | 26 | 0.005017 | 0.0012574 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-28_0_6_load_38 | 28 | 0.0035035 | 0.00087806 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-28_0_6_load_36 | 31 | 0.0044182 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-28_0_6_load_26 | 32 | 0.002755 | 0.00069047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-28_0_6_load_33 | 35 | 0.0014126 | 0.00035404 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-28_0_6_load_34 | 36 | 0.003601 | 0.00090251 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-28_0_6_load_25 | 37 | 0.0015606 | 0.00039113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-28_0_6_load_72 | 39 | 0.0045985 | 0.0011525 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-28_0_6_load_29 | 40 | 0.0058807 | 0.0014738 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-28_0_6_load_32 | 41 | 0.0091371 | 0.00229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-28_0_6_load_35 | 42 | 0.0019104 | 0.0004788 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-28_0_6_load_39 | 43 | 0.0019058 | 0.00047764 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-28_0_6_load_73 | 45 | 0.016948 | 0.0042476 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-28_0_6_load_41 | 46 | 0.0085765 | 0.0021495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-28_0_6_load_60 | 47 | 0.005573 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-28_0_6_load_57 | 48 | 0.011794 | 0.0029558 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-28_0_6_load_42 | 49 | 0.0092139 | 0.0023092 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-28_0_6_load_61 | 50 | 0.007817 | 0.0019591 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-28_0_6_load_65 | 51 | 0.0050533 | 0.0012665 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-28_0_6_load_58 | 52 | 0.0054745 | 0.0013721 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-28_0_6_load_53 | 56 | 0.028642 | 0.0071785 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-28_0_6_load_50 | 57 | 0.080838 | 0.02026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-28_0_6_load_48 | 59 | 0.080534 | 0.020184 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-28_0_6_load_55 | 60 | 0.037283 | 0.009344 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_199-28_0_6_load_64 | 62 | 0.0048504 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_199-28_0_6_load_47 | 64 | 0.0024812 | 0.00062184 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_199-28_0_6_load_49 | 65 | 0.080505 | 0.020177 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_199-28_0_6_load_51 | 66 | 0.082838 | 0.020761 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_199-28_0_6_load_62 | 67 | 0.010505 | 0.0026329 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_199-28_0_6_load_69 | 68 | 0.0065445 | 0.0016402 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_199-28_0_6_load_70 | 69 | 0.0056372 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_199-28_0_6_load_71 | 70 | 0.0014675 | 0.0003678 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-28_0_6_line_0 |  | 0 | 1 | 0.02543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-28_0_6_line_1 |  | 0 | 2 | 0.07197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-28_0_6_line_2 |  | 1 | 3 | 0.028317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-28_0_6_line_3 |  | 1 | 4 | 0.10619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-28_0_6_line_4 |  | 2 | 5 | 0.046919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_199-28_0_6_line_5 |  | 5 | 6 | 0.0075341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-28_0_6_line_6 |  | 6 | 7 | 0.014008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-28_0_6_line_7 |  | 7 | 13 | 0.02453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-28_0_6_line_8 |  | 8 | 9 | 0.10627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_199-28_0_6_line_9 |  | 8 | 10 | 0.025894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_199-28_0_6_line_10 |  | 9 | 11 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-28_0_6_line_11 |  | 9 | 12 | 0.028258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-28_0_6_line_12 |  | 10 | 13 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-28_0_6_line_13 |  | 12 | 14 | 0.027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-28_0_6_line_14 |  | 12 | 15 | 0.016668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-28_0_6_line_15 |  | 14 | 20 | 0.032417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_199-28_0_6_line_16 |  | 14 | 21 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-28_0_6_line_17 |  | 14 | 22 | 0.0072626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-28_0_6_line_18 |  | 15 | 16 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-28_0_6_line_19 |  | 16 | 17 | 0.016697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-28_0_6_line_20 |  | 17 | 18 | 0.034564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_199-28_0_6_line_21 |  | 18 | 19 | 0.036437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_199-28_0_6_line_22 |  | 19 | 23 | 0.035874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-28_0_6_line_23 |  | 21 | 26 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_199-28_0_6_line_24 |  | 22 | 27 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_199-28_0_6_line_25 |  | 23 | 28 | 0.0069246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_199-28_0_6_line_26 |  | 23 | 24 | 0.006556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-28_0_6_line_27 |  | 24 | 25 | 0.022197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-28_0_6_line_28 |  | 25 | 32 | 0.0016835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_199-28_0_6_line_29 |  | 27 | 33 | 0.032537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-28_0_6_line_30 |  | 29 | 30 | 0.031394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_199-28_0_6_line_31 |  | 29 | 31 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_199-28_0_6_line_32 |  | 30 | 43 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_199-28_0_6_line_33 |  | 30 | 44 | 0.006178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-28_0_6_line_34 |  | 31 | 42 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_199-28_0_6_line_35 |  | 32 | 38 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_199-28_0_6_line_36 |  | 33 | 34 | 0.00621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_199-28_0_6_line_37 |  | 34 | 35 | 0.032703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_199-28_0_6_line_38 |  | 34 | 36 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_199-28_0_6_line_39 |  | 35 | 39 | 0.027215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_199-28_0_6_line_40 |  | 37 | 38 | 0.0054122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_199-28_0_6_line_41 |  | 38 | 40 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-28_0_6_line_42 |  | 39 | 45 | 0.00051174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_199-28_0_6_line_43 |  | 40 | 41 | 0.0064534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_199-28_0_6_line_44 |  | 41 | 42 | 0.00029903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_199-28_0_6_line_45 |  | 43 | 46 | 0.0067571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_199-28_0_6_line_46 |  | 44 | 47 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_199-28_0_6_line_47 |  | 44 | 48 | 0.0090504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_199-28_0_6_line_48 |  | 46 | 49 | 0.018253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_199-28_0_6_line_49 |  | 48 | 52 | 0.019906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_199-28_0_6_line_50 |  | 49 | 53 | 0.041047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_199-28_0_6_line_51 |  | 50 | 51 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_199-28_0_6_line_52 |  | 51 | 55 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-28_0_6_line_53 |  | 52 | 63 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-28_0_6_line_54 |  | 53 | 54 | 0.006489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_199-28_0_6_line_55 |  | 53 | 55 | 0.044004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_199-28_0_6_line_56 |  | 54 | 56 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_199-28_0_6_line_57 |  | 54 | 57 | 0.014853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_199-28_0_6_line_58 |  | 56 | 58 | 0.012567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_199-28_0_6_line_59 |  | 57 | 59 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_199-28_0_6_line_60 |  | 58 | 60 | 0.039512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_199-28_0_6_line_61 |  | 59 | 64 | 0.0053023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_199-28_0_6_line_62 |  | 61 | 62 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_199-28_0_6_line_63 |  | 61 | 63 | 0.028658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_199-28_0_6_line_64 |  | 62 | 68 | 0.012251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_199-28_0_6_line_65 |  | 63 | 67 | 0.039007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_199-28_0_6_line_66 |  | 64 | 65 | 0.0021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_199-28_0_6_line_67 |  | 65 | 66 | 0.041757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_199-28_0_6_line_68 |  | 68 | 69 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_199-28_0_6_line_69 |  | 69 | 70 | 0.14098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-28_0_6_trafo_48 | 0.63 MVA 20/0.4 kV | 71 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2692926.5733 | 1249718.9126 | 2692940.2858 | 1249711.7946 | 2692938.8399 | 1249701.9199
1 | 2692904.3659 | 1249767.1296 | 2692891.6919 | 1249737.019 | 2692926.5733 | 1249718.9126
2 | 2692963.732 | 1249690.5681 | 2692961.1838 | 1249690.8396 | 2692941.7765 | 1249697.6405 | 2692938.8399 | 1249701.9199 | 2692938.8399 | 1249701.9199
3 | 2692938.8399 | 1249701.9199 | 2692880.1304 | 1249613.4372
4 | 2692949.287 | 1249753.1564 | 2692904.3659 | 1249767.1296
5 | 2692949.287 | 1249753.1564 | 2692951.8945 | 1249760.2249
6 | 2692965.2989 | 1249756.1574 | 2692951.8945 | 1249760.2249
7 | 2692965.2989 | 1249756.1574 | 2692980.9532 | 1249751.4072 | 2692981.9257 | 1249754.3914 | 2692983.4803 | 1249759.1769
8 | 2693006.8803 | 1249775.6436 | 2693003.9363 | 1249757.3167 | 2692995.474 | 1249737.9246 | 2693000.7721 | 1249736.1731 | 2693051.1875 | 1249719.5292 | 2693058.621 | 1249716.9217
9 | 2693006.8803 | 1249775.6436 | 2692990.418 | 1249780.5335 | 2692987.7236 | 1249772.2394
10 | 2693058.621 | 1249716.9217 | 2693064.1282 | 1249726.3709
11 | 2693058.621 | 1249716.9217 | 2693084.8843 | 1249706.3037
12 | 2692983.4803 | 1249759.1769 | 2692987.7236 | 1249772.2394
13 | 2693110.2771 | 1249696.3059 | 2693084.8843 | 1249706.3037
14 | 2693084.8843 | 1249706.3037 | 2693079.5485 | 1249694.5887 | 2693077.6169 | 1249691.3216
15 | 2693110.2771 | 1249696.3059 | 2693111.7187 | 1249704.5126 | 2693106.1397 | 1249714.5215 | 2693095.2699 | 1249721.0114
16 | 2693110.2771 | 1249696.3059 | 2693116.8353 | 1249708.6524
17 | 2693110.2771 | 1249696.3059 | 2693117.0003 | 1249693.5592
18 | 2693072.4047 | 1249682.5061 | 2693077.6169 | 1249691.3216
19 | 2693072.4047 | 1249682.5061 | 2693063.9069 | 1249668.1336
20 | 2693046.3918 | 1249638.3361 | 2693052.4797 | 1249648.8064 | 2693063.9069 | 1249668.1336
21 | 2693046.3918 | 1249638.3361 | 2693054.9166 | 1249632.5989 | 2693049.0388 | 1249623.6553 | 2693062.0154 | 1249615.2526
22 | 2693091.6684 | 1249595.1027 | 2693082.8982 | 1249602.5151 | 2693062.0154 | 1249615.2526
23 | 2693124.6085 | 1249723.2864 | 2693116.8353 | 1249708.6524
24 | 2693133.0008 | 1249687.0224 | 2693117.0003 | 1249693.5592
25 | 2693091.6684 | 1249595.1027 | 2693096.958 | 1249590.6339
26 | 2693091.6684 | 1249595.1027 | 2693096.1387 | 1249599.9099
27 | 2693096.1387 | 1249599.9099 | 2693111.36 | 1249616.0657
28 | 2693111.36 | 1249616.0657 | 2693112.5145 | 1249617.2911
29 | 2693163.0425 | 1249674.318 | 2693133.0008 | 1249687.0224
30 | 2693140.3942 | 1249560.6639 | 2693116.9652 | 1249581.6341
31 | 2693116.9652 | 1249581.6341 | 2693126.8839 | 1249593.3356
32 | 2693140.3942 | 1249560.6639 | 2693149.1771 | 1249553.0606
33 | 2693140.3942 | 1249560.6639 | 2693139.6978 | 1249554.526
34 | 2693126.8839 | 1249593.3356 | 2693140.0806 | 1249608.9044
35 | 2693121.0646 | 1249626.3661 | 2693112.5145 | 1249617.2911
36 | 2693163.0425 | 1249674.318 | 2693168.6283 | 1249671.5704
37 | 2693168.6283 | 1249671.5704 | 2693177.9907 | 1249665.3906 | 2693188.487 | 1249656.7378 | 2693194.3058 | 1249651.4215
38 | 2693168.6283 | 1249671.5704 | 2693181.1837 | 1249687.5892
39 | 2693214.3978 | 1249633.0651 | 2693194.3058 | 1249651.4215
40 | 2693121.0646 | 1249626.3661 | 2693124.6461 | 1249630.4238
41 | 2693121.0646 | 1249626.3661 | 2693135.4703 | 1249613.442
42 | 2693214.3978 | 1249633.0651 | 2693214.7756 | 1249632.7199
43 | 2693135.4703 | 1249613.442 | 2693140.2739 | 1249609.1325
44 | 2693140.2739 | 1249609.1325 | 2693140.2739 | 1249609.1325 | 2693140.0806 | 1249608.9044
45 | 2693154.2858 | 1249548.638 | 2693149.1771 | 1249553.0606
46 | 2693139.6978 | 1249554.526 | 2693125.3323 | 1249566.6624
47 | 2693139.6978 | 1249554.526 | 2693138.6536 | 1249545.536 | 2693138.6536 | 1249545.536
48 | 2693154.2858 | 1249548.638 | 2693168.0861 | 1249536.6912
49 | 2693138.6536 | 1249545.536 | 2693148.3895 | 1249528.1733
50 | 2693199.1197 | 1249509.8256 | 2693168.0861 | 1249536.6912
51 | 2693184.3542 | 1249515.72 | 2693196.9575 | 1249504.7099 | 2693205.7448 | 1249497.6708
52 | 2693214.9143 | 1249490.3257 | 2693205.7448 | 1249497.6708
53 | 2693156.9422 | 1249512.9206 | 2693148.3895 | 1249528.1733
54 | 2693199.1197 | 1249509.8256 | 2693203.1016 | 1249514.9588
55 | 2693199.1197 | 1249509.8256 | 2693210.9805 | 1249501.3389 | 2693217.4313 | 1249493.0562 | 2693225.0411 | 1249488.8616 | 2693214.9143 | 1249490.3257
56 | 2693203.1016 | 1249514.9588 | 2693211.7835 | 1249509.368
57 | 2693203.1016 | 1249514.9588 | 2693212.1247 | 1249526.7573
58 | 2693223.2526 | 1249505.5796 | 2693217.5807 | 1249505.6349 | 2693211.7835 | 1249509.368
59 | 2693212.1247 | 1249526.7573 | 2693221.7467 | 1249539.3388
60 | 2693223.2526 | 1249505.5796 | 2693227.2662 | 1249507.7332 | 2693245.6922 | 1249504.3315 | 2693250.5927 | 1249505.3094 | 2693258.9753 | 1249512.7713
61 | 2693224.9678 | 1249543.5506 | 2693221.7467 | 1249539.3388
62 | 2693172.2975 | 1249488.6989 | 2693160.9783 | 1249482.4384 | 2693153.5353 | 1249483.2332 | 2693153.5353 | 1249483.2332
63 | 2693156.9422 | 1249512.9206 | 2693172.2975 | 1249488.6989
64 | 2693153.5353 | 1249483.2332 | 2693142.5868 | 1249477.7364
65 | 2693156.9422 | 1249512.9206 | 2693123.0262 | 1249493.653
66 | 2693224.9678 | 1249543.5506 | 2693226.2558 | 1249545.2349
67 | 2693256.1835 | 1249546.6257 | 2693250.8062 | 1249540.195 | 2693232.8235 | 1249553.8227 | 2693226.2558 | 1249545.2349
68 | 2693117.5197 | 1249472.9928 | 2693130.2918 | 1249473.6496 | 2693137.1648 | 1249475.0141 | 2693142.5868 | 1249477.7364
69 | 2693044.1903 | 1249507.3567 | 2693025.9685 | 1249490.0797 | 2693023.5264 | 1249483.5364 | 2693023.5776 | 1249480.2792 | 2693027.628 | 1249476.7289 | 2693071.3161 | 1249453.9194 | 2693104.7511 | 1249472.3363 | 2693117.5197 | 1249472.9928

## bus_geodata
| x | y | coords
0 | 2692926.5733 | 1249718.9126
1 | 2692938.8399 | 1249701.9199
2 | 2692904.3659 | 1249767.1296
3 | 2692963.732 | 1249690.5681
4 | 2692880.1304 | 1249613.4372
5 | 2692949.287 | 1249753.1564
6 | 2692951.8945 | 1249760.2249
7 | 2692965.2989 | 1249756.1574
8 | 2693006.8803 | 1249775.6436
9 | 2693058.621 | 1249716.9217
10 | 2692987.7236 | 1249772.2394
11 | 2693064.1282 | 1249726.3709
12 | 2693084.8843 | 1249706.3037
13 | 2692983.4803 | 1249759.1769
14 | 2693110.2771 | 1249696.3059
15 | 2693077.6169 | 1249691.3216
16 | 2693072.4047 | 1249682.5061
17 | 2693063.9069 | 1249668.1336
18 | 2693046.3918 | 1249638.3361
19 | 2693062.0154 | 1249615.2526
20 | 2693095.2699 | 1249721.0114
21 | 2693116.8353 | 1249708.6524
22 | 2693117.0003 | 1249693.5592
23 | 2693091.6684 | 1249595.1027
24 | 2693096.1387 | 1249599.9099
25 | 2693111.36 | 1249616.0657
26 | 2693124.6085 | 1249723.2864
27 | 2693133.0008 | 1249687.0224
28 | 2693096.958 | 1249590.6339
29 | 2693116.9652 | 1249581.6341
30 | 2693140.3942 | 1249560.6639
31 | 2693126.8839 | 1249593.3356
32 | 2693112.5145 | 1249617.2911
33 | 2693163.0425 | 1249674.318
34 | 2693168.6283 | 1249671.5704
35 | 2693194.3058 | 1249651.4215
36 | 2693181.1837 | 1249687.5892
37 | 2693124.6461 | 1249630.4238
38 | 2693121.0646 | 1249626.3661
39 | 2693214.3978 | 1249633.0651
40 | 2693135.4703 | 1249613.442
41 | 2693140.2739 | 1249609.1325
42 | 2693140.0806 | 1249608.9044
43 | 2693149.1771 | 1249553.0606
44 | 2693139.6978 | 1249554.526
45 | 2693214.7756 | 1249632.7199
46 | 2693154.2858 | 1249548.638
47 | 2693125.3323 | 1249566.6624
48 | 2693138.6536 | 1249545.536
49 | 2693168.0861 | 1249536.6912
50 | 2693184.3542 | 1249515.72
51 | 2693205.7448 | 1249497.6708
52 | 2693148.3895 | 1249528.1733
53 | 2693199.1197 | 1249509.8256
54 | 2693203.1016 | 1249514.9588
55 | 2693214.9143 | 1249490.3257
56 | 2693211.7835 | 1249509.368
57 | 2693212.1247 | 1249526.7573
58 | 2693223.2526 | 1249505.5796
59 | 2693221.7467 | 1249539.3388
60 | 2693258.9753 | 1249512.7713
61 | 2693172.2975 | 1249488.6989
62 | 2693153.5353 | 1249483.2332
63 | 2693156.9422 | 1249512.9206
64 | 2693224.9678 | 1249543.5506
65 | 2693226.2558 | 1249545.2349
66 | 2693256.1835 | 1249546.6257
67 | 2693123.0262 | 1249493.653
68 | 2693142.5868 | 1249477.7364
69 | 2693117.5197 | 1249472.9928
70 | 2693044.1903 | 1249507.3567
71 | 2693203.1016 | 1249514.9588

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9709 | -0.56241 | 0.0027173 | 0.00068102
1 | 0.97072 | -0.5661 | 0.0019241 | 0.00048223
2 | 0.97161 | -0.54835 | 0 | 0
3 | 0.97057 | -0.56895 | 0.0054313 | 0.0013612
4 | 0.97067 | -0.56708 | 0.00049324 | 0.00012362
5 | 0.97208 | -0.5392 | 0 | 0
6 | 0.97215 | -0.53773 | 0.0022344 | 0.00055998
7 | 0.97232 | -0.53442 | 0.0029127 | 0.00072998
8 | 0.97328 | -0.51545 | 0 | 0
9 | 0.9749 | -0.48349 | 0 | 0
10 | 0.97288 | -0.52326 | 0.00034127 | 8.5531e-05
11 | 0.97489 | -0.48375 | 0.0012974 | 0.00032516
12 | 0.97537 | -0.47433 | 0 | 0
13 | 0.97268 | -0.52731 | 0.00030769 | 7.7114e-05
14 | 0.97443 | -0.4928 | 0 | 0
15 | 0.97622 | -0.45765 | 0.003044 | 0.00076289
16 | 0.97677 | -0.44684 | 0.0051063 | 0.0012798
17 | 0.97775 | -0.4277 | 0.0034152 | 0.00085594
18 | 0.97988 | -0.38604 | 0 | 0
19 | 0.98213 | -0.34233 | 0 | 0
20 | 0.97435 | -0.49435 | 0.0025993 | 0.00065145
21 | 0.97434 | -0.49446 | 0.0014491 | 0.00036317
22 | 0.97424 | -0.49653 | 0.001368 | 0.00034285
23 | 0.98435 | -0.29948 | 0.0017055 | 0.00042744
24 | 0.98478 | -0.29106 | 0 | 0
25 | 0.98626 | -0.2626 | 0.0050709 | 0.0012709
26 | 0.97427 | -0.49599 | 0.005017 | 0.0012574
27 | 0.97381 | -0.50496 | 0 | 0
28 | 0.98432 | -0.29992 | 0.0035035 | 0.00087806
29 | 0.99188 | -0.15481 | 0 | 0
30 | 0.99287 | -0.13588 | 0 | 0
31 | 0.99115 | -0.16871 | 0.0044182 | 0.0011073
32 | 0.98638 | -0.26029 | 0.002755 | 0.00069047
33 | 0.973 | -0.52086 | 0 | 0
34 | 0.97285 | -0.5239 | 0 | 0
35 | 0.97215 | -0.53773 | 0.0014126 | 0.00035404
36 | 0.97278 | -0.52525 | 0.003601 | 0.00090251
37 | 0.98729 | -0.24275 | 0.0015606 | 0.00039113
38 | 0.9873 | -0.24259 | 0 | 0
39 | 0.9716 | -0.54856 | 0.0045985 | 0.0011525
40 | 0.98876 | -0.21466 | 0.0058807 | 0.0014738
41 | 0.98928 | -0.20469 | 0.0091371 | 0.00229
42 | 0.9893 | -0.20418 | 0.0019104 | 0.0004788
43 | 0.99343 | -0.12534 | 0.0019058 | 0.00047764
44 | 0.99258 | -0.14155 | 0 | 0
45 | 0.9716 | -0.54872 | 0.016948 | 0.0042476
46 | 0.99375 | -0.11914 | 0.0085765 | 0.0021495
47 | 0.99249 | -0.1434 | 0.005573 | 0.0013967
48 | 0.9922 | -0.14896 | 0.011794 | 0.0029558
49 | 0.99467 | -0.10149 | 0.0092139 | 0.0023092
50 | 0.99601 | -0.076137 | 0.007817 | 0.0019591
51 | 0.99621 | -0.072293 | 0.0050533 | 0.0012665
52 | 0.99157 | -0.16112 | 0.0054745 | 0.0013721
53 | 0.99687 | -0.059698 | 0 | 0
54 | 0.99724 | -0.05262 | 0 | 0
55 | 0.99635 | -0.069638 | 0 | 0
56 | 0.99662 | -0.064559 | 0.028642 | 0.0071785
57 | 0.99839 | -0.03073 | 0.080838 | 0.02026
58 | 0.99619 | -0.072785 | 0 | 0
59 | 1 | 0 | -0.50416 | -0.12722
60 | 0.99485 | -0.098693 | 0.037283 | 0.009344
61 | 0.99062 | -0.17954 | 0 | 0
62 | 0.99027 | -0.18625 | 0.0048504 | 0.0012156
63 | 0.99111 | -0.17012 | 0 | 0
64 | 0.99973 | -0.0051097 | 0.0024812 | 0.00062184
65 | 0.99958 | -0.0081301 | 0.080505 | 0.020177
66 | 0.99643 | -0.068662 | 0.082838 | 0.020761
67 | 0.99073 | -0.1774 | 0.010505 | 0.0026329
68 | 0.99012 | -0.18923 | 0.0065445 | 0.0016402
69 | 0.98995 | -0.1925 | 0.0056372 | 0.0014128
70 | 0.98976 | -0.19618 | 0.0014675 | 0.0003678
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0078508 | 0.0019665 | -0.0078495 | -0.0019659 | 1.3805e-06 | 5.6911e-07 | 0.012032 | 0.012032 | 0.012032 | 0.9709 | -0.56241 | 0.97072 | -0.5661 | 3.3055
1 | -0.010568 | -0.0026475 | 0.010575 | 0.0026511 | 7.0797e-06 | 3.6403e-06 | 0.016196 | 0.016196 | 0.016196 | 0.9709 | -0.56241 | 0.97161 | -0.54835 | 4.4496
2 | 0.0054321 | 0.0013613 | -0.0054313 | -0.0013612 | 7.3629e-07 | 1.2121e-07 | 0.0083268 | 0.008327 | 0.008327 | 0.97072 | -0.5661 | 0.97057 | -0.56895 | 2.2876
3 | 0.00049326 | 0.00012232 | -0.00049324 | -0.00012362 | 2.2752e-08 | -1.2981e-06 | 0.00075565 | 0.00075613 | 0.00075613 | 0.97072 | -0.5661 | 0.97067 | -0.56708 | 0.20773
4 | -0.010575 | -0.0026511 | 0.01058 | 0.0026535 | 4.6153e-06 | 2.3724e-06 | 0.016196 | 0.016196 | 0.016196 | 0.97161 | -0.54835 | 0.97208 | -0.5392 | 4.4495
5 | -0.01058 | -0.0026535 | 0.010581 | 0.0026539 | 7.4109e-07 | 3.8089e-07 | 0.016196 | 0.016196 | 0.016196 | 0.97208 | -0.5392 | 0.97215 | -0.53773 | 4.4494
6 | -0.012815 | -0.0032139 | 0.012817 | 0.003215 | 2.0213e-06 | 1.1199e-06 | 0.019616 | 0.019616 | 0.019616 | 0.97215 | -0.53773 | 0.97232 | -0.53442 | 5.389
7 | -0.01573 | -0.003945 | 0.015735 | 0.0039481 | 5.3308e-06 | 3.1073e-06 | 0.024073 | 0.024073 | 0.024073 | 0.97232 | -0.53442 | 0.97268 | -0.52731 | 6.6136
8 | -0.016393 | -0.0041161 | 0.016418 | 0.0041308 | 2.5038e-05 | 1.4701e-05 | 0.025066 | 0.025065 | 0.025066 | 0.97328 | -0.51545 | 0.9749 | -0.48349 | 6.8862
9 | 0.016393 | 0.0041161 | -0.016387 | -0.0041125 | 6.1009e-06 | 3.5829e-06 | 0.025066 | 0.025066 | 0.025066 | 0.97328 | -0.51545 | 0.97288 | -0.52326 | 6.8862
10 | 0.0012974 | 0.00032504 | -0.0012974 | -0.00032516 | 1.6072e-08 | -1.2599e-07 | 0.0019803 | 0.0019803 | 0.0019803 | 0.9749 | -0.48349 | 0.97489 | -0.48375 | 0.54404
11 | -0.017716 | -0.0044559 | 0.017723 | 0.0044605 | 7.7511e-06 | 4.6082e-06 | 0.027046 | 0.027045 | 0.027046 | 0.9749 | -0.48349 | 0.97537 | -0.47433 | 7.4301
12 | 0.016046 | 0.004027 | -0.016043 | -0.0040252 | 3.1026e-06 | 1.8152e-06 | 0.024544 | 0.024544 | 0.024544 | 0.97288 | -0.52326 | 0.97268 | -0.52731 | 6.7428
13 | 0.037094 | 0.0093327 | -0.037061 | -0.0093121 | 3.2705e-05 | 2.0592e-05 | 0.056603 | 0.056603 | 0.056603 | 0.97537 | -0.47433 | 0.97443 | -0.4928 | 15.5504
14 | -0.054817 | -0.013793 | 0.054861 | 0.013821 | 4.3736e-05 | 2.7783e-05 | 0.083649 | 0.083648 | 0.083649 | 0.97537 | -0.47433 | 0.97622 | -0.45765 | 22.9804
15 | 0.0025995 | 0.00065117 | -0.0025993 | -0.00065145 | 1.9155e-07 | -2.8119e-07 | 0.0039695 | 0.0039696 | 0.0039696 | 0.97443 | -0.4928 | 0.97435 | -0.49435 | 1.0906
16 | 0.006467 | 0.0016207 | -0.0064665 | -0.0016206 | 5.1129e-07 | 1.5309e-07 | 0.0098755 | 0.0098756 | 0.0098756 | 0.97443 | -0.4928 | 0.97434 | -0.49446 | 2.7131
17 | 0.027995 | 0.0070402 | -0.02799 | -0.0070371 | 4.9793e-06 | 3.0963e-06 | 0.042758 | 0.042758 | 0.042758 | 0.97443 | -0.4928 | 0.97424 | -0.49653 | 11.7468
18 | -0.057905 | -0.014584 | 0.057935 | 0.014603 | 2.9935e-05 | 1.903e-05 | 0.088288 | 0.088288 | 0.088288 | 0.97622 | -0.45765 | 0.97677 | -0.44684 | 24.255
19 | -0.063041 | -0.015883 | 0.063099 | 0.015919 | 5.7785e-05 | 3.6773e-05 | 0.096067 | 0.096067 | 0.096067 | 0.97677 | -0.44684 | 0.97775 | -0.4277 | 26.3921
20 | -0.066514 | -0.016775 | 0.066647 | 0.01686 | 0.00013291 | 8.4631e-05 | 0.10126 | 0.10126 | 0.10126 | 0.97775 | -0.4277 | 0.97988 | -0.38604 | 27.82
21 | -0.066647 | -0.01686 | 0.066787 | 0.016949 | 0.00014012 | 8.9215e-05 | 0.10126 | 0.10126 | 0.10126 | 0.97988 | -0.38604 | 0.98213 | -0.34233 | 27.8199
22 | -0.066787 | -0.016949 | 0.066925 | 0.017037 | 0.00013795 | 8.7834e-05 | 0.10126 | 0.10126 | 0.10126 | 0.98213 | -0.34233 | 0.98435 | -0.29948 | 27.8199
23 | 0.0050174 | 0.0012574 | -0.005017 | -0.0012574 | 3.6485e-07 | 2.7139e-08 | 0.0076625 | 0.0076626 | 0.0076626 | 0.97434 | -0.49446 | 0.97427 | -0.49599 | 2.1051
24 | 0.026622 | 0.0066942 | -0.026611 | -0.0066876 | 1.072e-05 | 6.6459e-06 | 0.040669 | 0.040669 | 0.040669 | 0.97424 | -0.49653 | 0.97381 | -0.50496 | 11.1728
25 | 0.0035036 | 0.00087802 | -0.0035035 | -0.00087806 | 7.2839e-08 | -4.1404e-08 | 0.0052963 | 0.0052963 | 0.0052963 | 0.98435 | -0.29948 | 0.98432 | -0.29992 | 1.455
26 | -0.072134 | -0.018342 | 0.072164 | 0.018361 | 2.9284e-05 | 1.8658e-05 | 0.10914 | 0.10914 | 0.10914 | 0.98435 | -0.29948 | 0.98478 | -0.29106 | 29.9832
27 | -0.072164 | -0.018361 | 0.072263 | 0.018424 | 9.9147e-05 | 6.3171e-05 | 0.10914 | 0.10914 | 0.10914 | 0.98478 | -0.29106 | 0.98626 | -0.2626 | 29.9832
28 | -0.077334 | -0.019695 | 0.077342 | 0.019701 | 8.6111e-06 | 5.4896e-06 | 0.11679 | 0.11679 | 0.11679 | 0.98626 | -0.2626 | 0.98638 | -0.26029 | 32.085
29 | 0.026611 | 0.0066876 | -0.026591 | -0.0066751 | 2.0181e-05 | 1.2511e-05 | 0.040669 | 0.040669 | 0.040669 | 0.97381 | -0.50496 | 0.973 | -0.52086 | 11.1728
30 | -0.10347 | -0.026427 | 0.10356 | 0.026486 | 9.4763e-05 | 5.9432e-05 | 0.1554 | 0.1554 | 0.1554 | 0.99188 | -0.15481 | 0.99287 | -0.13588 | 14.2305
31 | 0.10347 | 0.026427 | -0.1034 | -0.026383 | 6.9455e-05 | 4.4055e-05 | 0.1554 | 0.1554 | 0.1554 | 0.99188 | -0.15481 | 0.99115 | -0.16871 | 21.3458
32 | -0.15549 | -0.03953 | 0.15557 | 0.03958 | 7.8992e-05 | 5.0104e-05 | 0.23324 | 0.23323 | 0.23324 | 0.99287 | -0.13588 | 0.99343 | -0.12534 | 21.3585
33 | 0.051931 | 0.013044 | -0.051917 | -0.013035 | 1.4037e-05 | 8.9038e-06 | 0.077839 | 0.077839 | 0.077839 | 0.99287 | -0.13588 | 0.99258 | -0.14155 | 21.3844
34 | 0.098979 | 0.025275 | -0.09881 | -0.025167 | 0.00016938 | 0.00010814 | 0.14876 | 0.14876 | 0.14876 | 0.99115 | -0.16871 | 0.9893 | -0.20418 | 40.8693
35 | -0.080097 | -0.020391 | 0.080166 | 0.020435 | 6.8394e-05 | 4.3613e-05 | 0.12095 | 0.12095 | 0.12095 | 0.98638 | -0.26029 | 0.9873 | -0.24259 | 33.2267
36 | 0.026591 | 0.0066751 | -0.026587 | -0.0066727 | 3.8517e-06 | 2.388e-06 | 0.040669 | 0.040669 | 0.040669 | 0.973 | -0.52086 | 0.97285 | -0.5239 | 11.1729
37 | 0.022986 | 0.0057703 | -0.02297 | -0.005761 | 1.5161e-05 | 9.2975e-06 | 0.035161 | 0.035161 | 0.035161 | 0.97285 | -0.5239 | 0.97215 | -0.53773 | 9.6596
38 | 0.0036013 | 0.0009024 | -0.003601 | -0.00090251 | 2.3157e-07 | -1.0449e-07 | 0.0055082 | 0.0055083 | 0.0055083 | 0.97285 | -0.5239 | 0.97278 | -0.52525 | 1.5133
39 | 0.021558 | 0.0054069 | -0.021547 | -0.0054002 | 1.1113e-05 | 6.7752e-06 | 0.032999 | 0.032999 | 0.032999 | 0.97215 | -0.53773 | 0.9716 | -0.54856 | 9.0657
40 | -0.0015606 | -0.00039113 | 0.0015607 | 0.00039107 | 1.1229e-08 | -6.2025e-08 | 0.0023522 | 0.0023521 | 0.0023522 | 0.98729 | -0.24275 | 0.9873 | -0.24259 | 0.6462
41 | -0.081726 | -0.020826 | 0.081837 | 0.020896 | 0.00011033 | 7.0364e-05 | 0.1233 | 0.1233 | 0.1233 | 0.9873 | -0.24259 | 0.98876 | -0.21466 | 33.8729
42 | 0.016948 | 0.0042477 | -0.016948 | -0.0042476 | 1.2929e-07 | 7.6408e-08 | 0.025956 | 0.025956 | 0.025956 | 0.9716 | -0.54856 | 0.9716 | -0.54872 | 7.1309
43 | -0.087717 | -0.02237 | 0.08776 | 0.022397 | 4.2261e-05 | 2.6964e-05 | 0.13215 | 0.13215 | 0.13215 | 0.98876 | -0.21466 | 0.98928 | -0.20469 | 36.3042
44 | -0.096897 | -0.024687 | 0.096899 | 0.024689 | 2.3867e-06 | 1.5237e-06 | 0.14589 | 0.14589 | 0.14589 | 0.98928 | -0.20469 | 0.9893 | -0.20418 | 40.0799
45 | -0.15748 | -0.040058 | 0.15752 | 0.040088 | 4.7079e-05 | 2.9868e-05 | 0.23609 | 0.23609 | 0.23609 | 0.99343 | -0.12534 | 0.99375 | -0.11914 | 21.6199
46 | 0.0055735 | 0.0013968 | -0.005573 | -0.0013967 | 4.9234e-07 | 7.2051e-08 | 0.0083554 | 0.0083555 | 0.0083555 | 0.99258 | -0.14155 | 0.99249 | -0.1434 | 2.2955
47 | 0.046344 | 0.011638 | -0.046327 | -0.011628 | 1.6386e-05 | 1.037e-05 | 0.069484 | 0.069484 | 0.069484 | 0.99258 | -0.14155 | 0.9922 | -0.14896 | 19.0889
48 | -0.1661 | -0.042237 | 0.16624 | 0.042327 | 0.00014139 | 8.9777e-05 | 0.24893 | 0.24893 | 0.24893 | 0.99375 | -0.11914 | 0.99467 | -0.10149 | 22.7959
49 | 0.034533 | 0.0086718 | -0.034513 | -0.0086593 | 2.0027e-05 | 1.256e-05 | 0.051796 | 0.051796 | 0.051796 | 0.9922 | -0.14896 | 0.99157 | -0.16112 | 14.2297
50 | -0.17546 | -0.044636 | 0.17581 | 0.044861 | 0.00035413 | 0.00022504 | 0.26272 | 0.26271 | 0.26272 | 0.99467 | -0.10149 | 0.99687 | -0.059698 | 24.0582
51 | -0.007817 | -0.0019591 | 0.0078185 | 0.0019597 | 1.4317e-06 | 5.519e-07 | 0.011678 | 0.011678 | 0.011678 | 0.99601 | -0.076137 | 0.99621 | -0.072293 | 3.2084
52 | -0.012872 | -0.0032262 | 0.012873 | 0.003227 | 1.6286e-06 | 8.893e-07 | 0.019226 | 0.019226 | 0.019226 | 0.99621 | -0.072293 | 0.99635 | -0.069638 | 5.2819
53 | 0.029039 | 0.0072872 | -0.029026 | -0.0072795 | 1.2455e-05 | 7.7456e-06 | 0.043581 | 0.043581 | 0.043581 | 0.99157 | -0.16112 | 0.99111 | -0.17012 | 11.9727
54 | -0.18869 | -0.048091 | 0.18875 | 0.048132 | 6.4477e-05 | 4.1011e-05 | 0.28194 | 0.28194 | 0.28194 | 0.99687 | -0.059698 | 0.99724 | -0.05262 | 25.8187
55 | 0.012879 | 0.0032304 | -0.012873 | -0.003227 | 6.0996e-06 | 3.3304e-06 | 0.019226 | 0.019226 | 0.019226 | 0.99687 | -0.059698 | 0.99635 | -0.069638 | 5.2819
56 | 0.066024 | 0.016585 | -0.065986 | -0.016561 | 3.7593e-05 | 2.3925e-05 | 0.09853 | 0.09853 | 0.09853 | 0.99724 | -0.05262 | 0.99662 | -0.064559 | 27.0686
57 | -0.25478 | -0.064717 | 0.25505 | 0.064888 | 0.00026876 | 0.00017143 | 0.38047 | 0.38047 | 0.38047 | 0.99724 | -0.05262 | 0.99839 | -0.03073 | 34.8415
58 | 0.037344 | 0.0093822 | -0.037329 | -0.009373 | 1.4655e-05 | 9.2157e-06 | 0.055765 | 0.055765 | 0.055765 | 0.99662 | -0.064559 | 0.99619 | -0.072785 | 15.32
59 | -0.33588 | -0.085148 | 0.33638 | 0.085466 | 0.00049686 | 0.00031737 | 0.50095 | 0.50095 | 0.50095 | 0.99839 | -0.03073 | 1 | 0 | 45.8746
60 | 0.037329 | 0.009373 | -0.037283 | -0.009344 | 4.6077e-05 | 2.8975e-05 | 0.055765 | 0.055765 | 0.055765 | 0.99619 | -0.072785 | 0.99485 | -0.098693 | 15.32
61 | 0.16613 | 0.041753 | -0.16609 | -0.041727 | 4.0516e-05 | 2.5722e-05 | 0.24724 | 0.24724 | 0.24724 | 1 | 0 | 0.99973 | -0.0051097 | 22.6413
62 | 0.018509 | 0.0046398 | -0.018503 | -0.0046363 | 5.9193e-06 | 3.5256e-06 | 0.027803 | 0.027803 | 0.027803 | 0.99062 | -0.17954 | 0.99027 | -0.18625 | 7.6381
63 | -0.018509 | -0.0046398 | 0.018517 | 0.0046447 | 8.3071e-06 | 4.9474e-06 | 0.027803 | 0.027803 | 0.027803 | 0.99062 | -0.17954 | 0.99111 | -0.17012 | 7.6381
64 | 0.013653 | 0.0034206 | -0.013651 | -0.0034196 | 1.9334e-06 | 1.0798e-06 | 0.020514 | 0.020514 | 0.020514 | 0.99027 | -0.18625 | 0.99012 | -0.18923 | 5.6358
65 | 0.010509 | 0.0026347 | -0.010505 | -0.0026329 | 3.6416e-06 | 1.8281e-06 | 0.015778 | 0.015778 | 0.015778 | 0.99111 | -0.17012 | 0.99073 | -0.1774 | 4.3347
66 | 0.16361 | 0.041106 | -0.16358 | -0.041091 | 2.3582e-05 | 1.5037e-05 | 0.24355 | 0.24355 | 0.24355 | 0.99973 | -0.0051097 | 0.99958 | -0.0081301 | 33.4547
67 | 0.083078 | 0.020914 | -0.082838 | -0.020761 | 0.00023963 | 0.00015282 | 0.12371 | 0.12371 | 0.12371 | 0.99958 | -0.0081301 | 0.99643 | -0.068662 | 33.9853
68 | 0.0071061 | 0.0017794 | -0.007105 | -0.001779 | 1.1061e-06 | 3.753e-07 | 0.010679 | 0.010679 | 0.010679 | 0.99012 | -0.18923 | 0.98995 | -0.1925 | 2.9338
69 | 0.0014678 | 0.00036615 | -0.0014675 | -0.0003678 | 2.5728e-07 | -1.6476e-06 | 0.0022057 | 0.0022063 | 0.0022063 | 0.98995 | -0.1925 | 0.98976 | -0.19618 | 0.60613

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58469 | 0.1474

## res_load
| p_mw | q_mvar
0 | 0.0027173 | 0.00068102
1 | 0.0019241 | 0.00048223
2 | 0.0054313 | 0.0013612
3 | 0.00049324 | 0.00012362
4 | 0.0022344 | 0.00055998
5 | 0.0029127 | 0.00072998
6 | 0.00034127 | 8.5531e-05
7 | 0.0012974 | 0.00032516
8 | 0.00030769 | 7.7114e-05
9 | 0.003044 | 0.00076289
10 | 0.0051063 | 0.0012798
11 | 0.0034152 | 0.00085594
12 | 0.0025993 | 0.00065145
13 | 0.0014491 | 0.00036317
14 | 0.001368 | 0.00034285
15 | 0.0017055 | 0.00042744
16 | 0.0050709 | 0.0012709
17 | 0.005017 | 0.0012574
18 | 0.0035035 | 0.00087806
19 | 0.0044182 | 0.0011073
20 | 0.002755 | 0.00069047
21 | 0.0014126 | 0.00035404
22 | 0.003601 | 0.00090251
23 | 0.0015606 | 0.00039113
24 | 0.0045985 | 0.0011525
25 | 0.0058807 | 0.0014738
26 | 0.0091371 | 0.00229
27 | 0.0019104 | 0.0004788
28 | 0.0019058 | 0.00047764
29 | 0.016948 | 0.0042476
30 | 0.0085765 | 0.0021495
31 | 0.005573 | 0.0013967
32 | 0.011794 | 0.0029558
33 | 0.0092139 | 0.0023092
34 | 0.007817 | 0.0019591
35 | 0.0050533 | 0.0012665
36 | 0.0054745 | 0.0013721
37 | 0.028642 | 0.0071785
38 | 0.080838 | 0.02026
39 | 0.080534 | 0.020184
40 | 0.037283 | 0.009344
41 | 0.0048504 | 0.0012156
42 | 0.0024812 | 0.00062184
43 | 0.080505 | 0.020177
44 | 0.082838 | 0.020761
45 | 0.010505 | 0.0026329
46 | 0.0065445 | 0.0016402
47 | 0.0056372 | 0.0014128
48 | 0.0014675 | 0.0003678

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1