## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-30_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_199-30_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_199-30_0_4_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_199-30_0_4_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_199-30_0_4_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_199-30_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_199-30_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_199-30_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_199-30_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_199-30_0_4_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_199-30_0_4_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_199-30_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_199-30_0_4_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_199-30_0_4_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_199-30_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_199-30_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_199-30_0_4_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_199-30_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_199-30_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_199-30_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_199-30_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_199-30_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_199-30_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_199-30_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_199-30_0_4_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_199-30_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_199-30_0_4_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_199-30_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_199-30_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_199-30_0_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_199-30_0_4_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_199-30_0_4_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_199-30_0_4_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_199-30_0_4_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_199-30_0_4_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_199-30_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_199-30_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_199-30_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_199-30_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_199-30_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_199-30_0_4_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_199-30_0_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_199-30_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_199-30_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_199-30_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_199-30_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_199-30_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_199-30_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_199-30_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_199-30_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_199-30_0_4_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_199-30_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_199-30_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_199-30_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_199-30_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_199-30_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_199-30_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_199-30_0_4_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_199-30_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_199-30_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_199-30_0_4_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_199-30_0_4_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_199-30_0_4_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_199-30_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_199-30_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_199-30_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_199-30_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_199-30_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_199-30_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_199-30_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_199-30_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_199-30_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_199-30_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_199-30_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_199-30_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_199-30_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_199-30_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_199-30_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_199-30_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_199-30_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_199-30_0_4_node_90 | 0.4 | n |  | TRUE
83 | bus_MV_502_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-30_0_4_load_0 | 0 | 0.005658 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-30_0_4_load_25 | 4 | 0.0075761 | 0.0018988 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-30_0_4_load_78 | 5 | 0.0030804 | 0.00077201 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-30_0_4_load_88 | 6 | 0.0030748 | 0.00077061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-30_0_4_load_26 | 9 | 0.020094 | 0.005036 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-30_0_4_load_80 | 11 | 0.013345 | 0.0033445 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-30_0_4_load_79 | 12 | 0.0025201 | 0.0006316 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-30_0_4_load_75 | 14 | 0.012913 | 0.0032364 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-30_0_4_load_73 | 15 | 0.014095 | 0.0035326 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-30_0_4_load_74 | 18 | 0.011801 | 0.0029575 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-30_0_4_load_29 | 21 | 0.0061846 | 0.00155 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-30_0_4_load_27 | 22 | 0.028075 | 0.0070363 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-30_0_4_load_89 | 26 | 0.0086923 | 0.0021785 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-30_0_4_load_76 | 28 | 0.0024611 | 0.00061681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-30_0_4_load_24 | 29 | 0.0086068 | 0.0021571 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-30_0_4_load_77 | 31 | 0.0067093 | 0.0016815 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-30_0_4_load_71 | 32 | 0.0042455 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-30_0_4_load_84 | 33 | 0.004175 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-30_0_4_load_86 | 36 | 0.010151 | 0.0025442 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-30_0_4_load_21 | 37 | 0.00082218 | 0.00020606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-30_0_4_load_22 | 38 | 0.0006688 | 0.00016762 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-30_0_4_load_69 | 39 | 0.004011 | 0.0010053 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-30_0_4_load_68 | 40 | 0.0019333 | 0.00048452 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-30_0_4_load_82 | 43 | 0.0013979 | 0.00035035 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-30_0_4_load_38 | 44 | 0.0097506 | 0.0024437 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-30_0_4_load_39 | 45 | 0.0025359 | 0.00063557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-30_0_4_load_58 | 47 | 0.0024831 | 0.00062233 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-30_0_4_load_59 | 49 | 0.0019906 | 0.00049889 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-30_0_4_load_57 | 50 | 0.0074295 | 0.001862 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-30_0_4_load_91 | 52 | 0.010165 | 0.0025477 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-30_0_4_load_47 | 54 | 0.0026369 | 0.00066087 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-30_0_4_load_81 | 56 | 0.0008851 | 0.00022183 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-30_0_4_load_45 | 58 | 0.0035343 | 0.00088577 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-30_0_4_load_32 | 59 | 0.0028802 | 0.00072185 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-30_0_4_load_33 | 60 | 0.0011325 | 0.00028382 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-30_0_4_load_34 | 61 | 0.0022959 | 0.00057541 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-30_0_4_load_35 | 62 | 0.0013851 | 0.00034713 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-30_0_4_load_36 | 63 | 0.0035613 | 0.00089256 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-30_0_4_load_37 | 64 | 0.0047719 | 0.0011959 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-30_0_4_load_40 | 65 | 0.0033634 | 0.00084294 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-30_0_4_load_53 | 66 | 0.0079714 | 0.0019978 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_199-30_0_4_load_52 | 67 | 0.0073045 | 0.0018307 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_199-30_0_4_load_48 | 68 | 0.0081302 | 0.0020376 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_199-30_0_4_load_51 | 69 | 0.006272 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_199-30_0_4_load_60 | 70 | 0.0012854 | 0.00032214 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_199-30_0_4_load_55 | 73 | 0.0026417 | 0.00066207 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_199-30_0_4_load_56 | 74 | 0.0084963 | 0.0021294 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_199-30_0_4_load_64 | 75 | 0.0084287 | 0.0021124 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_199-30_0_4_load_63 | 78 | 0.0047997 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_199-30_0_4_load_70 | 79 | 0.018804 | 0.0047128 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_199-30_0_4_load_67 | 80 | 0.0013607 | 0.00034103 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_199-30_0_4_load_66 | 81 | 0.0055116 | 0.0013813 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_199-30_0_4_load_90 | 82 | 0.0079006 | 0.0019801 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-30_0_4_line_0 |  | 0 | 1 | 0.017802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-30_0_4_line_1 |  | 1 | 2 | 0.004905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-30_0_4_line_2 |  | 1 | 3 | 0.008999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-30_0_4_line_3 |  | 2 | 4 | 0.024594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-30_0_4_line_4 |  | 3 | 5 | 0.0041112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_199-30_0_4_line_5 |  | 3 | 6 | 0.0065389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-30_0_4_line_6 |  | 4 | 30 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-30_0_4_line_7 |  | 5 | 31 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-30_0_4_line_8 |  | 7 | 8 | 0.028996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_199-30_0_4_line_9 |  | 7 | 9 | 0.011594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_199-30_0_4_line_10 |  | 8 | 21 | 0.04996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-30_0_4_line_11 |  | 8 | 22 | 0.019486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-30_0_4_line_12 |  | 10 | 11 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-30_0_4_line_13 |  | 10 | 12 | 0.02236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-30_0_4_line_14 |  | 11 | 19 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-30_0_4_line_15 |  | 13 | 14 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_199-30_0_4_line_16 |  | 13 | 15 | 0.0035262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-30_0_4_line_17 |  | 14 | 26 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-30_0_4_line_18 |  | 15 | 18 | 0.029459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-30_0_4_line_19 |  | 16 | 17 | 0.008389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-30_0_4_line_20 |  | 16 | 18 | 0.0067196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_199-30_0_4_line_21 |  | 17 | 32 | 0.023412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_199-30_0_4_line_22 |  | 17 | 27 | 0.005196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-30_0_4_line_23 |  | 19 | 20 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_199-30_0_4_line_24 |  | 20 | 29 | 0.033834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_199-30_0_4_line_25 |  | 22 | 24 | 0.0027535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_199-30_0_4_line_26 |  | 23 | 24 | 0.007077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-30_0_4_line_27 |  | 23 | 25 | 0.037019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-30_0_4_line_28 |  | 23 | 26 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_199-30_0_4_line_29 |  | 25 | 33 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-30_0_4_line_30 |  | 27 | 28 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_199-30_0_4_line_31 |  | 28 | 31 | 0.031421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_199-30_0_4_line_32 |  | 29 | 30 | 0.035247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_199-30_0_4_line_33 |  | 30 | 38 | 0.019344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-30_0_4_line_34 |  | 32 | 79 | 0.016328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_199-30_0_4_line_35 |  | 33 | 54 | 0.0087029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_199-30_0_4_line_36 |  | 34 | 35 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_199-30_0_4_line_37 |  | 34 | 36 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_199-30_0_4_line_38 |  | 35 | 82 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_199-30_0_4_line_39 |  | 35 | 76 | 0.024552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_199-30_0_4_line_40 |  | 36 | 42 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_199-30_0_4_line_41 |  | 37 | 38 | 0.021223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-30_0_4_line_42 |  | 39 | 40 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_199-30_0_4_line_43 |  | 40 | 81 | 0.0037146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_199-30_0_4_line_44 |  | 41 | 42 | 0.014319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_199-30_0_4_line_45 |  | 41 | 43 | 0.0069394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_199-30_0_4_line_46 |  | 43 | 65 | 0.010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_199-30_0_4_line_47 |  | 44 | 45 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_199-30_0_4_line_48 |  | 45 | 65 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_199-30_0_4_line_49 |  | 46 | 47 | 0.027543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_199-30_0_4_line_50 |  | 46 | 48 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_199-30_0_4_line_51 |  | 47 | 50 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_199-30_0_4_line_52 |  | 48 | 69 | 0.012592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-30_0_4_line_53 |  | 48 | 68 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-30_0_4_line_54 |  | 49 | 50 | 0.010381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_199-30_0_4_line_55 |  | 51 | 52 | 0.022051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_199-30_0_4_line_56 |  | 51 | 53 | 0.005991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_199-30_0_4_line_57 |  | 53 | 54 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_199-30_0_4_line_58 |  | 53 | 58 | 0.0084505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_199-30_0_4_line_59 |  | 55 | 56 | 0.0078351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_199-30_0_4_line_60 |  | 55 | 57 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_199-30_0_4_line_61 |  | 57 | 58 | 0.048403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_199-30_0_4_line_62 |  | 57 | 64 | 0.027348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_199-30_0_4_line_63 |  | 59 | 60 | 0.02942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_199-30_0_4_line_64 |  | 60 | 61 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_199-30_0_4_line_65 |  | 61 | 62 | 0.01023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_199-30_0_4_line_66 |  | 62 | 63 | 0.041474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_199-30_0_4_line_67 |  | 63 | 64 | 1.1101e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_199-30_0_4_line_68 |  | 66 | 67 | 0.016162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_199-30_0_4_line_69 |  | 67 | 72 | 0.014141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_199-30_0_4_line_70 |  | 69 | 70 | 0.01049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_199-30_0_4_line_71 |  | 70 | 71 | 0.0094101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_199-30_0_4_line_72 |  | 71 | 77 | 0.041481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_199-30_0_4_line_73 |  | 71 | 78 | 0.010193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_199-30_0_4_line_74 |  | 72 | 73 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_199-30_0_4_line_75 |  | 72 | 74 | 0.02901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_199-30_0_4_line_76 |  | 73 | 75 | 0.011007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_199-30_0_4_line_77 |  | 75 | 76 | 0.029285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_199-30_0_4_line_78 |  | 76 | 77 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_199-30_0_4_line_79 |  | 77 | 79 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_199-30_0_4_line_80 |  | 78 | 80 | 0.0057446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_199-30_0_4_line_81 |  | 80 | 81 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-30_0_4_trafo_65 | 0.63 MVA 20/0.4 kV | 83 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2693373.1746 | 1249464.9968 | 2693390.8527 | 1249462.902
1 | 2693373.1746 | 1249464.9968 | 2693373.7699 | 1249469.8655
2 | 2693372.1072 | 1249456.062 | 2693373.1746 | 1249464.9968
3 | 2693373.7699 | 1249469.8655 | 2693375.7832 | 1249487.2995 | 2693374.7901 | 1249494.2736
4 | 2693372.1072 | 1249456.062 | 2693368.0069 | 1249456.3601
5 | 2693372.1072 | 1249456.062 | 2693378.585 | 1249455.1707
6 | 2693372.998 | 1249506.8595 | 2693374.7901 | 1249494.2736
7 | 2693342.2827 | 1249458.2819 | 2693346.5845 | 1249457.9171 | 2693368.0069 | 1249456.3601
8 | 2693237.1118 | 1249468.9583 | 2693237.3143 | 1249466.1705 | 2693230.9217 | 1249454.9169 | 2693230.3776 | 1249451.5836 | 2693231.069 | 1249441.7202
9 | 2693237.1118 | 1249468.9583 | 2693235.7125 | 1249472.4613 | 2693228.9819 | 1249476.4473
10 | 2693231.069 | 1249441.7202 | 2693196.3351 | 1249464.1135 | 2693189.9826 | 1249469.9598
11 | 2693231.069 | 1249441.7202 | 2693220.3216 | 1249425.4655
12 | 2693309.1094 | 1249479.8106 | 2693308.5108 | 1249481.8583 | 2693300.162 | 1249484.0619 | 2693295.3748 | 1249492.4248
13 | 2693309.1094 | 1249479.8106 | 2693315.0973 | 1249474.5563 | 2693329.4372 | 1249473.3159
14 | 2693291.2647 | 1249511.0315 | 2693292.2702 | 1249508.5565 | 2693290.1064 | 1249501.6282 | 2693295.3748 | 1249492.4248
15 | 2693254.9284 | 1249451.0248 | 2693247.5555 | 1249438.9597
16 | 2693254.9284 | 1249451.0248 | 2693257.6787 | 1249452.8473 | 2693257.815 | 1249453.0287
17 | 2693247.5555 | 1249438.9597 | 2693242.6195 | 1249430.8824 | 2693238.0619 | 1249425.8089
18 | 2693257.815 | 1249453.0287 | 2693261.7615 | 1249458.2823 | 2693264.8909 | 1249459.5214 | 2693284.0871 | 1249455.9664
19 | 2693298.5539 | 1249456.7156 | 2693290.1622 | 1249457.3285
20 | 2693290.1622 | 1249457.3285 | 2693287.2478 | 1249455.3811 | 2693284.0871 | 1249455.9664
21 | 2693298.5539 | 1249456.7156 | 2693298.671 | 1249449.7566 | 2693298.7239 | 1249446.8774 | 2693298.5965 | 1249444.8961 | 2693297.887 | 1249433.3313
22 | 2693299.1749 | 1249461.8738 | 2693298.5539 | 1249456.7156
23 | 2693307.1499 | 1249526.5489 | 2693302.8962 | 1249526.215 | 2693291.2647 | 1249511.0315
24 | 2693307.1499 | 1249526.5489 | 2693339.9991 | 1249518.4445
25 | 2693218.8029 | 1249423.1687 | 2693220.3216 | 1249425.4655
26 | 2693218.8029 | 1249423.1687 | 2693225.8603 | 1249422.4124
27 | 2693200.4876 | 1249395.5262 | 2693205.4049 | 1249399.7623 | 2693222.6232 | 1249418.414 | 2693225.8603 | 1249422.4124
28 | 2693225.8603 | 1249422.4124 | 2693229.1189 | 1249419.2834 | 2693236.4895 | 1249424.0586 | 2693238.0619 | 1249425.8089
29 | 2693200.4876 | 1249395.5262 | 2693188.4017 | 1249385.2427
30 | 2693299.1749 | 1249461.8738 | 2693310.9709 | 1249460.9049
31 | 2693310.9709 | 1249460.9049 | 2693323.0304 | 1249459.9144 | 2693342.2827 | 1249458.2819
32 | 2693372.998 | 1249506.8595 | 2693361.5041 | 1249513.1388 | 2693339.9991 | 1249518.4445
33 | 2693372.998 | 1249506.8595 | 2693380.4534 | 1249508.6338 | 2693384.2341 | 1249514.0642 | 2693386.8745 | 1249518.3849
34 | 2693296.8872 | 1249417.0338 | 2693297.887 | 1249433.3313
35 | 2693188.4017 | 1249385.2427 | 2693181.7735 | 1249379.603
36 | 2693237.7172 | 1249387.7945 | 2693253.5796 | 1249389.4453
37 | 2693237.7172 | 1249387.7945 | 2693235.846 | 1249370.6843
38 | 2693253.5796 | 1249389.4453 | 2693256.6027 | 1249378.7291
39 | 2693253.5796 | 1249389.4453 | 2693276.9266 | 1249397.2519
40 | 2693234.2313 | 1249360.7412 | 2693235.3077 | 1249365.762 | 2693235.846 | 1249370.6843
41 | 2693397.941 | 1249536.494 | 2693386.8745 | 1249518.3849
42 | 2693386.8439 | 1249401.2554 | 2693373.5621 | 1249402.5661
43 | 2693369.8516 | 1249402.7419 | 2693373.5621 | 1249402.5661 | 2693373.5621 | 1249402.5661
44 | 2693229.0345 | 1249347.3937 | 2693234.2313 | 1249360.7412
45 | 2693229.0345 | 1249347.3937 | 2693225.2571 | 1249341.5725
46 | 2693225.2571 | 1249341.5725 | 2693223.1806 | 1249338.3725 | 2693219.6173 | 1249333.0594
47 | 2693197.8579 | 1249296.4576 | 2693202.1372 | 1249306.9954 | 2693209.7195 | 1249318.3011
48 | 2693219.6173 | 1249333.0594 | 2693209.7195 | 1249318.3011
49 | 2693334.9283 | 1249361.3817 | 2693355.1405 | 1249357.2746 | 2693357.6285 | 1249350.82
50 | 2693336.2804 | 1249371.9 | 2693334.9283 | 1249361.3817
51 | 2693357.2123 | 1249339.8284 | 2693357.6285 | 1249350.82
52 | 2693336.2804 | 1249371.9 | 2693337.8534 | 1249384.3933
53 | 2693336.2804 | 1249371.9 | 2693316.9147 | 1249372.128
54 | 2693357.2123 | 1249339.8284 | 2693356.8195 | 1249329.4548
55 | 2693169.2546 | 1249376.8098 | 2693148.7144 | 1249384.9821
56 | 2693173.4452 | 1249372.5168 | 2693169.2546 | 1249376.8098
57 | 2693173.4452 | 1249372.5168 | 2693181.7735 | 1249379.603
58 | 2693173.4452 | 1249372.5168 | 2693167.412 | 1249366.5999
59 | 2693116.8277 | 1249312.2366 | 2693112.0741 | 1249306.0083
60 | 2693133.614 | 1249331.9821 | 2693116.8277 | 1249312.2366
61 | 2693133.614 | 1249331.9821 | 2693144.4416 | 1249344.0726 | 2693167.412 | 1249366.5999
62 | 2693133.614 | 1249331.9821 | 2693148.162 | 1249308.8245
63 | 2693126.3229 | 1249260.5398 | 2693133.481 | 1249256.3887 | 2693149.695 | 1249250.5835 | 2693153.1159 | 1249252.5054 | 2693153.1159 | 1249252.5054
64 | 2693157.0334 | 1249264.5148 | 2693153.1159 | 1249252.5054
65 | 2693157.0334 | 1249264.5148 | 2693160.2059 | 1249274.2403
66 | 2693148.1679 | 1249308.8151 | 2693152.1798 | 1249302.4289 | 2693149.0248 | 1249288.4019 | 2693159.9668 | 1249279.3002 | 2693160.911 | 1249276.4017 | 2693160.2059 | 1249274.2403
67 | 2693148.162 | 1249308.8245 | 2693148.1679 | 1249308.8151
68 | 2693286.444 | 1249332.863 | 2693281.8292 | 1249317.3741
69 | 2693290.4817 | 1249346.4151 | 2693286.444 | 1249332.863
70 | 2693337.8534 | 1249384.3933 | 2693337.9919 | 1249385.4929 | 2693337.7197 | 1249394.8703
71 | 2693337.4467 | 1249404.2765 | 2693337.7197 | 1249394.8703
72 | 2693337.4467 | 1249404.2765 | 2693322.3249 | 1249404.9945 | 2693295.9887 | 1249402.3891
73 | 2693337.4467 | 1249404.2765 | 2693347.6288 | 1249403.7943
74 | 2693290.4817 | 1249346.4151 | 2693297.0811 | 1249370.4263 | 2693290.8123 | 1249370.6545
75 | 2693290.4817 | 1249346.4151 | 2693261.6124 | 1249349.2742
76 | 2693290.8123 | 1249370.6545 | 2693279.8127 | 1249371.0549
77 | 2693276.9266 | 1249397.2519 | 2693276.6124 | 1249371.1714 | 2693279.8127 | 1249371.0549
78 | 2693276.9266 | 1249397.2519 | 2693280.8855 | 1249398.5708 | 2693295.9887 | 1249402.3891
79 | 2693295.9887 | 1249402.3891 | 2693296.8872 | 1249417.0338
80 | 2693347.6288 | 1249403.7943 | 2693353.367 | 1249403.5226
81 | 2693369.8516 | 1249402.7419 | 2693353.367 | 1249403.5226

## bus_geodata
| x | y | coords
0 | 2693390.8527 | 1249462.902
1 | 2693373.1746 | 1249464.9968
2 | 2693373.7699 | 1249469.8655
3 | 2693372.1072 | 1249456.062
4 | 2693374.7901 | 1249494.2736
5 | 2693368.0069 | 1249456.3601
6 | 2693378.585 | 1249455.1707
7 | 2693237.1118 | 1249468.9584
8 | 2693231.069 | 1249441.7202
9 | 2693228.9819 | 1249476.4473
10 | 2693309.1094 | 1249479.8106
11 | 2693295.3748 | 1249492.4248
12 | 2693329.4372 | 1249473.3159
13 | 2693254.9284 | 1249451.0248
14 | 2693247.5555 | 1249438.9597
15 | 2693257.815 | 1249453.0287
16 | 2693290.1622 | 1249457.3285
17 | 2693298.5539 | 1249456.7156
18 | 2693284.0871 | 1249455.9664
19 | 2693291.2647 | 1249511.0315
20 | 2693307.1499 | 1249526.5489
21 | 2693189.9826 | 1249469.9598
22 | 2693220.3216 | 1249425.4655
23 | 2693225.8603 | 1249422.4124
24 | 2693218.8029 | 1249423.1687
25 | 2693200.4876 | 1249395.5262
26 | 2693238.0619 | 1249425.8089
27 | 2693299.1749 | 1249461.8738
28 | 2693310.9709 | 1249460.9049
29 | 2693339.9991 | 1249518.4445
30 | 2693372.998 | 1249506.8595
31 | 2693342.2827 | 1249458.2819
32 | 2693297.887 | 1249433.3313
33 | 2693188.4017 | 1249385.2427
34 | 2693237.7172 | 1249387.7945
35 | 2693253.5796 | 1249389.4453
36 | 2693235.846 | 1249370.6843
37 | 2693397.941 | 1249536.494
38 | 2693386.8745 | 1249518.3849
39 | 2693386.8439 | 1249401.2554
40 | 2693373.5621 | 1249402.5661
41 | 2693229.0345 | 1249347.3937
42 | 2693234.2313 | 1249360.7412
43 | 2693225.2571 | 1249341.5725
44 | 2693197.8579 | 1249296.4576
45 | 2693209.7195 | 1249318.3011
46 | 2693334.9283 | 1249361.3817
47 | 2693357.6285 | 1249350.82
48 | 2693336.2804 | 1249371.9
49 | 2693356.8195 | 1249329.4548
50 | 2693357.2123 | 1249339.8284
51 | 2693169.2546 | 1249376.8098
52 | 2693148.7144 | 1249384.9821
53 | 2693173.4452 | 1249372.5168
54 | 2693181.7735 | 1249379.603
55 | 2693116.8277 | 1249312.2366
56 | 2693112.0741 | 1249306.0083
57 | 2693133.614 | 1249331.9821
58 | 2693167.412 | 1249366.5999
59 | 2693126.3229 | 1249260.5398
60 | 2693153.1159 | 1249252.5054
61 | 2693157.0334 | 1249264.5148
62 | 2693160.2059 | 1249274.2403
63 | 2693148.1679 | 1249308.8151
64 | 2693148.162 | 1249308.8245
65 | 2693219.6173 | 1249333.0594
66 | 2693281.8292 | 1249317.3741
67 | 2693286.444 | 1249332.863
68 | 2693316.9147 | 1249372.128
69 | 2693337.8534 | 1249384.3933
70 | 2693337.7197 | 1249394.8703
71 | 2693337.4467 | 1249404.2765
72 | 2693290.4817 | 1249346.4151
73 | 2693290.8123 | 1249370.6545
74 | 2693261.6124 | 1249349.2742
75 | 2693279.8127 | 1249371.0549
76 | 2693276.9266 | 1249397.2519
77 | 2693295.9887 | 1249402.3891
78 | 2693347.6288 | 1249403.7943
79 | 2693296.8872 | 1249417.0338
80 | 2693353.367 | 1249403.5225
81 | 2693369.8516 | 1249402.7419
82 | 2693256.6027 | 1249378.7291
83 | 2693295.9887 | 1249402.3891

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98857 | -0.21899 | 0.005658 | 0.001418
1 | 0.98866 | -0.2172 | 0 | 0
2 | 0.98851 | -0.22013 | 0 | 0
3 | 0.98899 | -0.21091 | 0 | 0
4 | 0.98775 | -0.23486 | 0.0075761 | 0.0018988
5 | 0.98915 | -0.20781 | 0.0030804 | 0.00077201
6 | 0.98897 | -0.21126 | 0.0030748 | 0.00077061
7 | 0.98097 | -0.36644 | 0 | 0
8 | 0.98151 | -0.35589 | 0 | 0
9 | 0.98075 | -0.37066 | 0.020094 | 0.005036
10 | 0.98548 | -0.27923 | 0 | 0
11 | 0.98552 | -0.27831 | 0.013345 | 0.0033445
12 | 0.98542 | -0.28024 | 0.0025201 | 0.0006316
13 | 0.9868 | -0.2529 | 0 | 0
14 | 0.98531 | -0.28164 | 0.012913 | 0.0032364
15 | 0.98717 | -0.24575 | 0.014095 | 0.0035326
16 | 0.9915 | -0.1622 | 0 | 0
17 | 0.99258 | -0.1415 | 0 | 0
18 | 0.99064 | -0.17881 | 0.011801 | 0.0029575
19 | 0.98582 | -0.27246 | 0 | 0
20 | 0.98616 | -0.26581 | 0 | 0
21 | 0.98122 | -0.36149 | 0.0061846 | 0.00155
22 | 0.98198 | -0.34663 | 0.028075 | 0.0070363
23 | 0.98247 | -0.33698 | 0 | 0
24 | 0.98212 | -0.34393 | 0 | 0
25 | 0.98119 | -0.36203 | 0 | 0
26 | 0.9838 | -0.31107 | 0.0086923 | 0.0021785
27 | 0.99232 | -0.14652 | 0 | 0
28 | 0.99173 | -0.15795 | 0.0024611 | 0.00061681
29 | 0.98666 | -0.25619 | 0.0086068 | 0.0021571
30 | 0.98745 | -0.24076 | 0 | 0
31 | 0.99022 | -0.18699 | 0.0067093 | 0.0016815
32 | 0.99467 | -0.10145 | 0.0042455 | 0.001064
33 | 0.98064 | -0.37279 | 0.004175 | 0.0010464
34 | 0.99882 | -0.022588 | 0 | 0
35 | 0.99922 | -0.015034 | 0 | 0
36 | 0.9984 | -0.030771 | 0.010151 | 0.0025442
37 | 0.98741 | -0.24158 | 0.00082218 | 0.00020606
38 | 0.98742 | -0.24127 | 0.0006688 | 0.00016762
39 | 0.99545 | -0.087103 | 0.004011 | 0.0010053
40 | 0.9955 | -0.086161 | 0.0019333 | 0.00048452
41 | 0.99802 | -0.03805 | 0 | 0
42 | 0.99824 | -0.033779 | 0 | 0
43 | 0.99791 | -0.040121 | 0.0013979 | 0.00035035
44 | 0.99735 | -0.05101 | 0.0097506 | 0.0024437
45 | 0.99757 | -0.046742 | 0.0025359 | 0.00063557
46 | 0.99509 | -0.094076 | 0 | 0
47 | 0.99479 | -0.099849 | 0.0024831 | 0.00062233
48 | 0.9952 | -0.091854 | 0 | 0
49 | 0.99467 | -0.10204 | 0.0019906 | 0.00049889
50 | 0.99469 | -0.10167 | 0.0074295 | 0.001862
51 | 0.98001 | -0.38522 | 0 | 0
52 | 0.9798 | -0.38929 | 0.010165 | 0.0025477
53 | 0.98006 | -0.38411 | 0 | 0
54 | 0.98037 | -0.37804 | 0.0026369 | 0.00066087
55 | 0.97912 | -0.40254 | 0 | 0
56 | 0.97912 | -0.40267 | 0.0008851 | 0.00022183
57 | 0.97914 | -0.40213 | 0 | 0
58 | 0.9799 | -0.38725 | 0.0035343 | 0.00088577
59 | 0.97826 | -0.41955 | 0.0028802 | 0.00072185
60 | 0.97834 | -0.41801 | 0.0011325 | 0.00028382
61 | 0.97838 | -0.41709 | 0.0022959 | 0.00057541
62 | 0.97844 | -0.41591 | 0.0013851 | 0.00034713
63 | 0.97874 | -0.4101 | 0.0035613 | 0.00089256
64 | 0.97874 | -0.4101 | 0.0047719 | 0.0011959
65 | 0.99777 | -0.042919 | 0.0033634 | 0.00084294
66 | 0.99782 | -0.041874 | 0.0079714 | 0.0019978
67 | 0.99794 | -0.039619 | 0.0073045 | 0.0018307
68 | 0.99506 | -0.094625 | 0.0081302 | 0.0020376
69 | 0.99543 | -0.087415 | 0.006272 | 0.0015719
70 | 0.99568 | -0.082562 | 0.0012854 | 0.00032214
71 | 0.99592 | -0.077998 | 0 | 0
72 | 0.99814 | -0.035839 | 0 | 0
73 | 0.99881 | -0.022881 | 0.0026417 | 0.00066207
74 | 0.99791 | -0.040152 | 0.0084963 | 0.0021294
75 | 0.99907 | -0.017803 | 0.0084287 | 0.0021124
76 | 1 | 0 | -0.33691 | -0.085277
77 | 0.99763 | -0.045097 | 0 | 0
78 | 0.99575 | -0.081154 | 0.0047997 | 0.0012029
79 | 0.99616 | -0.073001 | 0.018804 | 0.0047128
80 | 0.99569 | -0.082448 | 0.0013607 | 0.00034103
81 | 0.99552 | -0.085773 | 0.0055116 | 0.0013813
82 | 0.99914 | -0.01657 | 0.0079006 | 0.0019801
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.005658 | -0.001418 | 0.0056585 | 0.0014181 | 4.8418e-07 | 8.1617e-08 | 0.0085165 | 0.0085164 | 0.0085165 | 0.98857 | -0.21899 | 0.98866 | -0.2172 | 2.3397
1 | 0.033609 | 0.0084477 | -0.033605 | -0.0084448 | 4.7082e-06 | 2.9504e-06 | 0.050593 | 0.050593 | 0.050593 | 0.98866 | -0.2172 | 0.98851 | -0.22013 | 13.8992
2 | -0.039268 | -0.0098658 | 0.039279 | 0.0098733 | 1.1791e-05 | 7.4306e-06 | 0.05911 | 0.05911 | 0.05911 | 0.98866 | -0.2172 | 0.98899 | -0.21091 | 16.2389
3 | 0.033605 | 0.0084448 | -0.033581 | -0.00843 | 2.3608e-05 | 1.4794e-05 | 0.050593 | 0.050593 | 0.050593 | 0.98851 | -0.22013 | 0.98775 | -0.23486 | 13.8993
4 | -0.042354 | -0.010644 | 0.042361 | 0.010648 | 6.2627e-06 | 3.9554e-06 | 0.063736 | 0.063736 | 0.063736 | 0.98899 | -0.21091 | 0.98915 | -0.20781 | 17.5099
5 | 0.0030748 | 0.00077056 | -0.0030748 | -0.00077061 | 5.2482e-08 | -5.0316e-08 | 0.0046263 | 0.0046264 | 0.0046264 | 0.98899 | -0.21091 | 0.98897 | -0.21126 | 1.271
6 | 0.026005 | 0.0065313 | -0.025998 | -0.0065267 | 7.3182e-06 | 4.521e-06 | 0.03918 | 0.03918 | 0.03918 | 0.98775 | -0.23486 | 0.98745 | -0.24076 | 10.7638
7 | -0.045441 | -0.01142 | 0.045486 | 0.011448 | 4.5218e-05 | 2.8608e-05 | 0.06837 | 0.06837 | 0.06837 | 0.98915 | -0.20781 | 0.99022 | -0.18699 | 18.7829
8 | -0.020098 | -0.0050384 | 0.020108 | 0.0050445 | 1.0106e-05 | 6.1017e-06 | 0.030487 | 0.030486 | 0.030487 | 0.98097 | -0.36644 | 0.98151 | -0.35589 | 8.3754
9 | 0.020098 | 0.0050384 | -0.020094 | -0.005036 | 4.0411e-06 | 2.44e-06 | 0.030487 | 0.030487 | 0.030487 | 0.98097 | -0.36644 | 0.98075 | -0.37066 | 8.3755
10 | 0.0061862 | 0.0015504 | -0.0061846 | -0.00155 | 1.648e-06 | 4.2345e-07 | 0.0093787 | 0.0093789 | 0.0093789 | 0.98151 | -0.35589 | 0.98122 | -0.36149 | 2.5766
11 | -0.026294 | -0.0065949 | 0.026306 | 0.0066021 | 1.1613e-05 | 7.186e-06 | 0.039865 | 0.039865 | 0.039865 | 0.98151 | -0.35589 | 0.98198 | -0.34663 | 10.952
12 | -0.0025202 | -0.00063139 | 0.0025204 | 0.00063121 | 1.108e-07 | -1.8907e-07 | 0.0038053 | 0.0038053 | 0.0038053 | 0.98548 | -0.27923 | 0.98552 | -0.27831 | 1.0454
13 | 0.0025202 | 0.00063139 | -0.0025201 | -0.0006316 | 1.2142e-07 | -2.0716e-07 | 0.0038053 | 0.0038054 | 0.0038054 | 0.98548 | -0.27923 | 0.98542 | -0.28024 | 1.0455
14 | -0.015865 | -0.0039757 | 0.015869 | 0.0039782 | 4.4184e-06 | 2.566e-06 | 0.023954 | 0.023954 | 0.023954 | 0.98552 | -0.27831 | 0.98582 | -0.27246 | 6.5807
15 | 0.11396 | 0.028777 | -0.1138 | -0.028677 | 0.00015671 | 0.00010011 | 0.17191 | 0.17191 | 0.17191 | 0.9868 | -0.2529 | 0.98531 | -0.28164 | 47.2292
16 | -0.11396 | -0.028777 | 0.11399 | 0.028802 | 3.9081e-05 | 2.4967e-05 | 0.17191 | 0.17191 | 0.17191 | 0.9868 | -0.2529 | 0.98717 | -0.24575 | 47.2292
17 | 0.10089 | 0.02544 | -0.10074 | -0.02535 | 0.00014187 | 9.0589e-05 | 0.15241 | 0.15241 | 0.15241 | 0.98531 | -0.28164 | 0.9838 | -0.31107 | 41.8716
18 | -0.12809 | -0.032334 | 0.1285 | 0.032598 | 0.00041218 | 0.00026342 | 0.19316 | 0.19316 | 0.19316 | 0.98717 | -0.24575 | 0.99064 | -0.17881 | 53.0661
19 | -0.14041 | -0.035627 | 0.14055 | 0.035717 | 0.00013991 | 8.9432e-05 | 0.21089 | 0.21089 | 0.21089 | 0.9915 | -0.1622 | 0.99258 | -0.1415 | 57.9357
20 | 0.14041 | 0.035627 | -0.1403 | -0.035555 | 0.00011206 | 7.1635e-05 | 0.21089 | 0.21089 | 0.21089 | 0.9915 | -0.1622 | 0.99064 | -0.17881 | 57.9357
21 | -0.19533 | -0.049537 | 0.1957 | 0.049777 | 0.00037693 | 0.00024063 | 0.29303 | 0.29303 | 0.29303 | 0.99258 | -0.1415 | 0.99467 | -0.10145 | 40.2514
22 | 0.054772 | 0.01382 | -0.054759 | -0.013812 | 1.3148e-05 | 8.3475e-06 | 0.082144 | 0.082144 | 0.082144 | 0.99258 | -0.1415 | 0.99232 | -0.14652 | 22.5671
23 | -0.015869 | -0.0039782 | 0.015874 | 0.0039812 | 5.0335e-06 | 2.9231e-06 | 0.023954 | 0.023954 | 0.023954 | 0.98582 | -0.27246 | 0.98616 | -0.26581 | 6.5807
24 | -0.015874 | -0.0039812 | 0.015882 | 0.0039854 | 7.28e-06 | 4.2273e-06 | 0.023954 | 0.023954 | 0.023954 | 0.98616 | -0.26581 | 0.98666 | -0.25619 | 6.5807
25 | -0.054381 | -0.013638 | 0.054388 | 0.013643 | 7.0123e-06 | 4.4531e-06 | 0.082408 | 0.082408 | 0.082408 | 0.98198 | -0.34663 | 0.98212 | -0.34393 | 22.6396
26 | 0.054406 | 0.013654 | -0.054388 | -0.013643 | 1.8023e-05 | 1.1445e-05 | 0.082408 | 0.082408 | 0.082408 | 0.98247 | -0.33698 | 0.98212 | -0.34393 | 22.6396
27 | 0.037532 | 0.0094444 | -0.037487 | -0.0094161 | 4.4878e-05 | 2.8254e-05 | 0.056857 | 0.056858 | 0.056858 | 0.98247 | -0.33698 | 0.98119 | -0.36203 | 15.6202
28 | -0.091937 | -0.023099 | 0.092051 | 0.023171 | 0.00011384 | 7.2661e-05 | 0.13927 | 0.13927 | 0.13927 | 0.98247 | -0.33698 | 0.9838 | -0.31107 | 38.2597
29 | 0.037487 | 0.0094161 | -0.037467 | -0.009404 | 1.9238e-05 | 1.2112e-05 | 0.056858 | 0.056858 | 0.056858 | 0.98119 | -0.36203 | 0.98064 | -0.37279 | 15.6202
30 | 0.054759 | 0.013812 | -0.054729 | -0.013793 | 2.9949e-05 | 1.9014e-05 | 0.082144 | 0.082144 | 0.082144 | 0.99232 | -0.14652 | 0.99173 | -0.15795 | 22.5671
31 | 0.052268 | 0.013176 | -0.052195 | -0.01313 | 7.2521e-05 | 4.6008e-05 | 0.078452 | 0.078452 | 0.078452 | 0.99173 | -0.15795 | 0.99022 | -0.18699 | 21.5527
32 | -0.024488 | -0.0061425 | 0.024506 | 0.0061535 | 1.803e-05 | 1.1089e-05 | 0.036934 | 0.036934 | 0.036934 | 0.98666 | -0.25619 | 0.98745 | -0.24076 | 10.1466
33 | 0.001491 | 0.00037319 | -0.001491 | -0.00037341 | 3.6617e-08 | -2.2401e-07 | 0.0022467 | 0.0022468 | 0.0022468 | 0.98745 | -0.24076 | 0.98742 | -0.24127 | 0.61725
34 | -0.19995 | -0.050841 | 0.20022 | 0.051016 | 0.0002744 | 0.00017519 | 0.29938 | 0.29938 | 0.29938 | 0.99467 | -0.10145 | 0.99616 | -0.073001 | 41.1238
35 | 0.033292 | 0.0083576 | -0.033284 | -0.0083524 | 8.3304e-06 | 5.2217e-06 | 0.050523 | 0.050523 | 0.050523 | 0.98064 | -0.37279 | 0.98037 | -0.37804 | 13.8798
36 | -0.027224 | -0.0068312 | 0.027234 | 0.0068372 | 9.8096e-06 | 6.07e-06 | 0.04056 | 0.04056 | 0.04056 | 0.99882 | -0.022588 | 0.99922 | -0.015034 | 11.1429
37 | 0.027224 | 0.0068312 | -0.027213 | -0.0068246 | 1.0619e-05 | 6.5707e-06 | 0.04056 | 0.04056 | 0.04056 | 0.99882 | -0.022588 | 0.9984 | -0.030771 | 11.1429
38 | 0.0079012 | 0.0019803 | -0.0079006 | -0.0019801 | 5.78e-07 | 2.2411e-07 | 0.011766 | 0.011766 | 0.011766 | 0.99922 | -0.015034 | 0.99914 | -0.01657 | 3.2325
39 | -0.035135 | -0.0088175 | 0.03516 | 0.0088334 | 2.5209e-05 | 1.5812e-05 | 0.052326 | 0.052326 | 0.052326 | 0.99922 | -0.015034 | 1 | 0 | 14.3754
40 | 0.017062 | 0.0042804 | -0.017059 | -0.004279 | 2.4461e-06 | 1.4336e-06 | 0.02543 | 0.02543 | 0.02543 | 0.9984 | -0.030771 | 0.99824 | -0.033779 | 6.9864
41 | -0.00082218 | -0.00020606 | 0.0008222 | 0.0002058 | 1.2217e-08 | -2.6365e-07 | 0.001239 | 0.0012389 | 0.001239 | 0.98741 | -0.24158 | 0.98742 | -0.24127 | 0.34039
42 | -0.004011 | -0.0010053 | 0.0040112 | 0.0010052 | 1.7992e-07 | -5.8362e-08 | 0.0059958 | 0.0059957 | 0.0059958 | 0.99545 | -0.087103 | 0.9955 | -0.086161 | 1.6472
43 | -0.0059445 | -0.0014897 | 0.0059446 | 0.0014897 | 1.0998e-07 | 2.209e-08 | 0.0088855 | 0.0088855 | 0.0088855 | 0.9955 | -0.086161 | 0.99552 | -0.085773 | 2.4411
44 | -0.017056 | -0.0042769 | 0.017059 | 0.004279 | 3.4726e-06 | 2.0353e-06 | 0.025431 | 0.02543 | 0.025431 | 0.99802 | -0.03805 | 0.99824 | -0.033779 | 6.9864
45 | 0.017056 | 0.0042769 | -0.017054 | -0.0042759 | 1.6829e-06 | 9.8641e-07 | 0.025431 | 0.025431 | 0.025431 | 0.99802 | -0.03805 | 0.99791 | -0.040121 | 6.9864
46 | 0.015656 | 0.0039256 | -0.015654 | -0.0039244 | 2.0872e-06 | 1.2024e-06 | 0.023346 | 0.023346 | 0.023346 | 0.99791 | -0.040121 | 0.99777 | -0.042919 | 6.4138
47 | -0.0097506 | -0.0024437 | 0.0097526 | 0.0024447 | 1.983e-06 | 9.4297e-07 | 0.014548 | 0.014548 | 0.014548 | 0.99735 | -0.05101 | 0.99757 | -0.046742 | 3.9966
48 | -0.012289 | -0.0030802 | 0.012291 | 0.0030814 | 2.239e-06 | 1.2009e-06 | 0.01833 | 0.01833 | 0.01833 | 0.99757 | -0.046742 | 0.99777 | -0.042919 | 5.0358
49 | 0.011907 | 0.0029852 | -0.011904 | -0.0029835 | 3.2748e-06 | 1.7382e-06 | 0.017806 | 0.017806 | 0.017806 | 0.99509 | -0.094076 | 0.99479 | -0.099849 | 4.8918
50 | -0.011907 | -0.0029852 | 0.011909 | 0.0029859 | 1.2609e-06 | 6.692e-07 | 0.017806 | 0.017806 | 0.017806 | 0.99509 | -0.094076 | 0.9952 | -0.091854 | 4.8918
51 | 0.009421 | 0.0023612 | -0.0094201 | -0.0023608 | 8.1913e-07 | 3.8145e-07 | 0.014092 | 0.014092 | 0.014092 | 0.99479 | -0.099849 | 0.99469 | -0.10167 | 3.8715
52 | -0.02004 | -0.005024 | 0.020044 | 0.0050265 | 4.2396e-06 | 2.5497e-06 | 0.029964 | 0.029964 | 0.029964 | 0.9952 | -0.091854 | 0.99543 | -0.087415 | 8.2319
53 | 0.0081313 | 0.0020381 | -0.0081302 | -0.0020376 | 1.0735e-06 | 4.3545e-07 | 0.012158 | 0.012158 | 0.012158 | 0.9952 | -0.091854 | 0.99506 | -0.094625 | 3.3401
54 | -0.0019906 | -0.00049889 | 0.0019906 | 0.00049878 | 3.4521e-08 | -1.1265e-07 | 0.0029779 | 0.0029779 | 0.0029779 | 0.99467 | -0.10204 | 0.99469 | -0.10167 | 0.81811
55 | 0.010167 | 0.0025487 | -0.010165 | -0.0025477 | 1.9708e-06 | 9.8355e-07 | 0.015438 | 0.015438 | 0.015438 | 0.98001 | -0.38522 | 0.9798 | -0.38929 | 4.2413
56 | -0.010167 | -0.0025487 | 0.010168 | 0.0025489 | 5.3545e-07 | 2.672e-07 | 0.015438 | 0.015438 | 0.015438 | 0.98001 | -0.38522 | 0.98006 | -0.38411 | 4.2412
57 | -0.030638 | -0.007686 | 0.030647 | 0.0076915 | 8.8743e-06 | 5.5417e-06 | 0.04652 | 0.04652 | 0.04652 | 0.98006 | -0.38411 | 0.98037 | -0.37804 | 12.7803
58 | 0.02047 | 0.0051371 | -0.020467 | -0.0051352 | 3.0615e-06 | 1.8529e-06 | 0.031082 | 0.031082 | 0.031082 | 0.98006 | -0.38411 | 0.9799 | -0.38725 | 8.5391
59 | 0.00088511 | 0.00022173 | -0.0008851 | -0.00022183 | 5.3162e-09 | -9.5141e-08 | 0.0013451 | 0.0013451 | 0.0013451 | 0.97912 | -0.40254 | 0.97912 | -0.40267 | 0.36954
60 | -0.00088511 | -0.00022173 | 0.00088512 | 0.00022142 | 1.7561e-08 | -3.1433e-07 | 0.0013451 | 0.001345 | 0.0013451 | 0.97912 | -0.40254 | 0.97914 | -0.40213 | 0.36953
61 | -0.016921 | -0.0042424 | 0.016933 | 0.0042494 | 1.2003e-05 | 7.0727e-06 | 0.025716 | 0.025715 | 0.025716 | 0.97914 | -0.40213 | 0.9799 | -0.38725 | 7.0647
62 | 0.016036 | 0.0040209 | -0.01603 | -0.0040174 | 6.091e-06 | 3.5544e-06 | 0.024371 | 0.024371 | 0.024371 | 0.97914 | -0.40213 | 0.97874 | -0.4101 | 6.6953
63 | -0.0028802 | -0.00072185 | 0.0028804 | 0.00072162 | 2.1175e-07 | -2.3388e-07 | 0.0043811 | 0.004381 | 0.0043811 | 0.97826 | -0.41955 | 0.97834 | -0.41801 | 1.2036
64 | -0.0040129 | -0.0010054 | 0.0040131 | 0.0010054 | 1.7646e-07 | -4.5696e-08 | 0.0061034 | 0.0061033 | 0.0061034 | 0.97834 | -0.41801 | 0.97838 | -0.41709 | 1.6768
65 | -0.006309 | -0.0015808 | 0.0063093 | 0.0015809 | 3.5318e-07 | 9.7562e-08 | 0.0095952 | 0.0095951 | 0.0095952 | 0.97838 | -0.41709 | 0.97844 | -0.41591 | 2.636
66 | -0.0076944 | -0.001928 | 0.0076965 | 0.0019289 | 2.1295e-06 | 8.4184e-07 | 0.011702 | 0.011701 | 0.011702 | 0.97844 | -0.41591 | 0.97874 | -0.4101 | 3.2147
67 | -0.011258 | -0.0028214 | 0.011258 | 0.0028214 | 1.2186e-09 | 6.452e-10 | 0.017116 | 0.017116 | 0.017116 | 0.97874 | -0.4101 | 0.97874 | -0.4101 | 4.7021
68 | -0.0079714 | -0.0019978 | 0.0079723 | 0.0019982 | 8.5644e-07 | 3.3699e-07 | 0.011887 | 0.011887 | 0.011887 | 0.99782 | -0.041874 | 0.99794 | -0.039619 | 3.2658
69 | -0.015277 | -0.0038288 | 0.01528 | 0.0038304 | 2.7515e-06 | 1.5762e-06 | 0.022779 | 0.022779 | 0.022779 | 0.99794 | -0.039619 | 0.99814 | -0.035839 | 6.258
70 | -0.026316 | -0.0065984 | 0.026322 | 0.0066022 | 6.0877e-06 | 3.7598e-06 | 0.03934 | 0.03934 | 0.03934 | 0.99543 | -0.087415 | 0.99568 | -0.082562 | 10.8076
71 | -0.027608 | -0.0069243 | 0.027614 | 0.0069281 | 6.0076e-06 | 3.7224e-06 | 0.041261 | 0.041261 | 0.041261 | 0.99568 | -0.082562 | 0.99592 | -0.077998 | 11.3353
72 | -0.045236 | -0.011346 | 0.045307 | 0.011391 | 7.1064e-05 | 4.494e-05 | 0.06759 | 0.06759 | 0.06759 | 0.99592 | -0.077998 | 0.99763 | -0.045097 | 18.5688
73 | 0.017622 | 0.004418 | -0.017619 | -0.0044164 | 2.65e-06 | 1.5634e-06 | 0.02633 | 0.02633 | 0.02633 | 0.99592 | -0.077998 | 0.99575 | -0.081154 | 7.2334
74 | -0.023778 | -0.0059605 | 0.023792 | 0.0059695 | 1.469e-05 | 8.9937e-06 | 0.035448 | 0.035448 | 0.035448 | 0.99814 | -0.035839 | 0.99881 | -0.022881 | 9.7385
75 | 0.008498 | 0.0021301 | -0.0084963 | -0.0021294 | 1.7461e-06 | 7.3841e-07 | 0.012669 | 0.012669 | 0.012669 | 0.99814 | -0.035839 | 0.99791 | -0.040152 | 3.4805
76 | -0.026434 | -0.0066316 | 0.02644 | 0.0066355 | 6.4021e-06 | 3.9532e-06 | 0.039383 | 0.039383 | 0.039383 | 0.99881 | -0.022881 | 0.99907 | -0.017803 | 10.8196
77 | -0.034869 | -0.008748 | 0.034899 | 0.0087665 | 2.9623e-05 | 1.8575e-05 | 0.051937 | 0.051937 | 0.051937 | 0.99907 | -0.017803 | 1 | 0 | 14.2684
78 | 0.26521 | 0.067677 | -0.26463 | -0.067309 | 0.0005764 | 0.00036838 | 0.39506 | 0.39506 | 0.39506 | 1 | 0 | 0.99763 | -0.045097 | 54.2664
79 | 0.21932 | 0.055918 | -0.21903 | -0.055729 | 0.00029501 | 0.00018842 | 0.32747 | 0.32747 | 0.32747 | 0.99763 | -0.045097 | 0.99616 | -0.073001 | 44.9821
80 | 0.01282 | 0.0032135 | -0.012819 | -0.0032131 | 7.906e-07 | 4.3126e-07 | 0.019157 | 0.019157 | 0.019157 | 0.99575 | -0.081154 | 0.99569 | -0.082448 | 5.263
81 | 0.011458 | 0.002872 | -0.011456 | -0.0028711 | 1.8146e-06 | 9.4676e-07 | 0.017124 | 0.017124 | 0.017124 | 0.99569 | -0.082448 | 0.99552 | -0.085773 | 4.7043

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33691 | 0.085277

## res_load
| p_mw | q_mvar
0 | 0.005658 | 0.001418
1 | 0.0075761 | 0.0018988
2 | 0.0030804 | 0.00077201
3 | 0.0030748 | 0.00077061
4 | 0.020094 | 0.005036
5 | 0.013345 | 0.0033445
6 | 0.0025201 | 0.0006316
7 | 0.012913 | 0.0032364
8 | 0.014095 | 0.0035326
9 | 0.011801 | 0.0029575
10 | 0.0061846 | 0.00155
11 | 0.028075 | 0.0070363
12 | 0.0086923 | 0.0021785
13 | 0.0024611 | 0.00061681
14 | 0.0086068 | 0.0021571
15 | 0.0067093 | 0.0016815
16 | 0.0042455 | 0.001064
17 | 0.004175 | 0.0010464
18 | 0.010151 | 0.0025442
19 | 0.00082218 | 0.00020606
20 | 0.0006688 | 0.00016762
21 | 0.004011 | 0.0010053
22 | 0.0019333 | 0.00048452
23 | 0.0013979 | 0.00035035
24 | 0.0097506 | 0.0024437
25 | 0.0025359 | 0.00063557
26 | 0.0024831 | 0.00062233
27 | 0.0019906 | 0.00049889
28 | 0.0074295 | 0.001862
29 | 0.010165 | 0.0025477
30 | 0.0026369 | 0.00066087
31 | 0.0008851 | 0.00022183
32 | 0.0035343 | 0.00088577
33 | 0.0028802 | 0.00072185
34 | 0.0011325 | 0.00028382
35 | 0.0022959 | 0.00057541
36 | 0.0013851 | 0.00034713
37 | 0.0035613 | 0.00089256
38 | 0.0047719 | 0.0011959
39 | 0.0033634 | 0.00084294
40 | 0.0079714 | 0.0019978
41 | 0.0073045 | 0.0018307
42 | 0.0081302 | 0.0020376
43 | 0.006272 | 0.0015719
44 | 0.0012854 | 0.00032214
45 | 0.0026417 | 0.00066207
46 | 0.0084963 | 0.0021294
47 | 0.0084287 | 0.0021124
48 | 0.0047997 | 0.0012029
49 | 0.018804 | 0.0047128
50 | 0.0013607 | 0.00034103
51 | 0.0055116 | 0.0013813
52 | 0.0079006 | 0.0019801

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1