## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-31_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-31_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-31_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-31_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_199-31_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_199-31_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_199-31_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_199-31_0_6_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_199-31_0_6_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_199-31_0_6_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_199-31_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_199-31_0_6_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_199-31_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_199-31_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_199-31_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_199-31_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_199-31_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_199-31_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_199-31_0_6_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_199-31_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_199-31_0_6_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_199-31_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_199-31_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_199-31_0_6_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_199-31_0_6_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_199-31_0_6_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_199-31_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_199-31_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_199-31_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_199-31_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_199-31_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_199-31_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_199-31_0_6_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_199-31_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_199-31_0_6_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_199-31_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_199-31_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_199-31_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_199-31_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_199-31_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_199-31_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_199-31_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_199-31_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_199-31_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_199-31_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_199-31_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_199-31_0_6_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_199-31_0_6_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_199-31_0_6_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_199-31_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_199-31_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_199-31_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_199-31_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_199-31_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_199-31_0_6_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_199-31_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_199-31_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_199-31_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_199-31_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_199-31_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_199-31_0_6_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_199-31_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_199-31_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_199-31_0_6_node_67 | 0.4 | n |  | TRUE
64 | bus_MV_365_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-31_0_6_load_0 | 0 | 0.0028743 | 0.00072036 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-31_0_6_load_3 | 3 | 0.010128 | 0.0025382 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-31_0_6_load_35 | 7 | 0.013059 | 0.0032729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-31_0_6_load_18 | 9 | 0.011477 | 0.0028764 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-31_0_6_load_27 | 10 | 0.013059 | 0.0032729 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-31_0_6_load_16 | 12 | 0.017817 | 0.0044653 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-31_0_6_load_7 | 13 | 0.032204 | 0.008071 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-31_0_6_load_8 | 14 | 0.0078474 | 0.0019667 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-31_0_6_load_9 | 15 | 0.007158 | 0.001794 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-31_0_6_load_10 | 16 | 0.0064766 | 0.0016232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-31_0_6_load_11 | 17 | 0.0075199 | 0.0018847 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-31_0_6_load_57 | 18 | 0.020334 | 0.0050963 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-31_0_6_load_12 | 19 | 0.019554 | 0.0049008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-31_0_6_load_64 | 20 | 0.006619 | 0.0016589 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-31_0_6_load_13 | 21 | 0.012204 | 0.0030585 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-31_0_6_load_14 | 22 | 0.011514 | 0.0028856 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-31_0_6_load_60 | 24 | 0.013118 | 0.0032878 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-31_0_6_load_59 | 25 | 0.011135 | 0.0027908 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-31_0_6_load_15 | 26 | 0.0027117 | 0.00067962 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-31_0_6_load_17 | 27 | 0.010774 | 0.0027003 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-31_0_6_load_19 | 28 | 0.018654 | 0.0046751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-31_0_6_load_20 | 29 | 0.013834 | 0.0034672 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-31_0_6_load_22 | 31 | 0.07778 | 0.019493 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-31_0_6_load_63 | 34 | 0.0083429 | 0.0020909 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-31_0_6_load_39 | 37 | 0.0058907 | 0.0014764 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-31_0_6_load_37 | 38 | 0.0081369 | 0.0020393 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-31_0_6_load_34 | 40 | 0.011649 | 0.0029196 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-31_0_6_load_40 | 41 | 0.011547 | 0.002894 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-31_0_6_load_26 | 43 | 0.011765 | 0.0029486 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-31_0_6_load_36 | 44 | 0.008137 | 0.0020393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-31_0_6_load_51 | 45 | 0.0010393 | 0.00026048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-31_0_6_load_48 | 46 | 0.0016176 | 0.0004054 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-31_0_6_load_52 | 47 | 0.0058922 | 0.0014767 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-31_0_6_load_53 | 48 | 0.0064173 | 0.0016083 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-31_0_6_load_43 | 51 | 0.0083611 | 0.0020955 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-31_0_6_load_54 | 52 | 0.0030086 | 0.00075404 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-31_0_6_load_56 | 54 | 0.0060587 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-31_0_6_load_45 | 55 | 0.0015358 | 0.0003849 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-31_0_6_load_49 | 58 | 0.0078967 | 0.0019791 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-31_0_6_load_61 | 59 | 0.0065397 | 0.001639 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-31_0_6_load_65 | 61 | 0.0073509 | 0.0018423 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_199-31_0_6_load_66 | 62 | 0.0069565 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_199-31_0_6_load_67 | 63 | 0.015365 | 0.0038508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-31_0_6_line_0 |  | 0 | 1 | 0.026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-31_0_6_line_1 |  | 0 | 2 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-31_0_6_line_2 |  | 1 | 3 | 0.0096776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-31_0_6_line_3 |  | 2 | 4 | 0.12344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-31_0_6_line_4 |  | 4 | 8 | 0.001741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_199-31_0_6_line_5 |  | 4 | 9 | 0.032328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_199-31_0_6_line_6 |  | 5 | 6 | 0.029685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_199-31_0_6_line_7 |  | 5 | 7 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_199-31_0_6_line_8 |  | 6 | 10 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_199-31_0_6_line_9 |  | 7 | 11 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_199-31_0_6_line_10 |  | 8 | 10 | 0.025012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_199-31_0_6_line_11 |  | 9 | 12 | 0.017294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_199-31_0_6_line_12 |  | 11 | 39 | 0.025787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_199-31_0_6_line_13 |  | 11 | 40 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-31_0_6_line_14 |  | 12 | 26 | 0.001286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_199-31_0_6_line_15 |  | 13 | 14 | 0.044421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_199-31_0_6_line_16 |  | 13 | 15 | 0.0083497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_199-31_0_6_line_17 |  | 14 | 16 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_199-31_0_6_line_18 |  | 15 | 17 | 0.0052221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_199-31_0_6_line_19 |  | 16 | 18 | 0.00081147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_199-31_0_6_line_20 |  | 17 | 19 | 0.063377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_199-31_0_6_line_21 |  | 18 | 20 | 0.0037167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_199-31_0_6_line_22 |  | 19 | 21 | 0.021794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_199-31_0_6_line_23 |  | 20 | 34 | 0.0017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_199-31_0_6_line_24 |  | 21 | 22 | 0.0078569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_199-31_0_6_line_25 |  | 22 | 23 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_199-31_0_6_line_26 |  | 23 | 24 | 0.03435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_199-31_0_6_line_27 |  | 23 | 25 | 0.03998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_199-31_0_6_line_28 |  | 24 | 59 | 0.016016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_199-31_0_6_line_29 |  | 25 | 42 | 0.03904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-31_0_6_line_30 |  | 26 | 27 | 0.0021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_199-31_0_6_line_31 |  | 27 | 28 | 0.0082707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_199-31_0_6_line_32 |  | 28 | 29 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_199-31_0_6_line_33 |  | 29 | 30 | 0.062548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-31_0_6_line_34 |  | 30 | 31 | 0.035989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_199-31_0_6_line_35 |  | 32 | 33 | 0.030911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_199-31_0_6_line_36 |  | 32 | 34 | 0.041271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_199-31_0_6_line_37 |  | 33 | 45 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_199-31_0_6_line_38 |  | 33 | 46 | 0.022627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_199-31_0_6_line_39 |  | 35 | 36 | 0.032454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_199-31_0_6_line_40 |  | 35 | 37 | 0.023409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_199-31_0_6_line_41 |  | 35 | 38 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-31_0_6_line_42 |  | 36 | 47 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_199-31_0_6_line_43 |  | 36 | 48 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_199-31_0_6_line_44 |  | 37 | 49 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_199-31_0_6_line_45 |  | 38 | 44 | 0.017084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_199-31_0_6_line_46 |  | 39 | 41 | 0.018653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_199-31_0_6_line_47 |  | 41 | 49 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_199-31_0_6_line_48 |  | 42 | 43 | 0.024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_199-31_0_6_line_49 |  | 45 | 47 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_199-31_0_6_line_50 |  | 46 | 58 | 0.0043096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_199-31_0_6_line_51 |  | 48 | 50 | 0.02952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_199-31_0_6_line_52 |  | 49 | 51 | 0.022965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-31_0_6_line_53 |  | 50 | 52 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-31_0_6_line_54 |  | 52 | 53 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_199-31_0_6_line_55 |  | 53 | 54 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_199-31_0_6_line_56 |  | 55 | 56 | 0.1026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_199-31_0_6_line_57 |  | 56 | 57 | 0.057698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_199-31_0_6_line_58 |  | 57 | 58 | 0.082342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_199-31_0_6_line_59 |  | 59 | 60 | 0.032625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_199-31_0_6_line_60 |  | 60 | 61 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_199-31_0_6_line_61 |  | 61 | 62 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_199-31_0_6_line_62 |  | 62 | 63 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-31_0_6_trafo_20 | 0.63 MVA 20/0.4 kV | 64 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2692520.7214 | 1249446.2505 | 2692494.5356 | 1249448.3605
1 | 2692477.8665 | 1249457.913 | 2692490.3069 | 1249454.7936 | 2692488.701 | 1249448.8306 | 2692494.5356 | 1249448.3605
2 | 2692520.7214 | 1249446.2505 | 2692526.7473 | 1249438.678
3 | 2692441.3528 | 1249340.02 | 2692445.8693 | 1249352.5556 | 2692464.7045 | 1249411.9503 | 2692469.5382 | 1249428.8275 | 2692477.8665 | 1249457.913
4 | 2692441.3528 | 1249340.02 | 2692440.8426 | 1249338.3553
5 | 2692441.3528 | 1249340.02 | 2692410.9964 | 1249351.1358
6 | 2692476.175 | 1249332.6241 | 2692505.9469 | 1249332.8666
7 | 2692505.9469 | 1249332.8666 | 2692506.2182 | 1249314.6457
8 | 2692476.175 | 1249332.6241 | 2692465.5038 | 1249335.8358
9 | 2692506.568 | 1249291.1555 | 2692506.2182 | 1249314.6457
10 | 2692440.8426 | 1249338.3553 | 2692457.5941 | 1249338.2164 | 2692465.5038 | 1249335.8358
11 | 2692394.7569 | 1249357.0823 | 2692410.9964 | 1249351.1358
12 | 2692499.9708 | 1249271.6265 | 2692500.3153 | 1249291.1579 | 2692506.568 | 1249291.1555
13 | 2692506.568 | 1249291.1555 | 2692522.2759 | 1249291.1767
14 | 2692393.5493 | 1249357.5245 | 2692394.7569 | 1249357.0823
15 | 2692317.3443 | 1249301.0037 | 2692358.9343 | 1249285.3998
16 | 2692317.3443 | 1249301.0037 | 2692309.5267 | 1249303.9368
17 | 2692358.9343 | 1249285.3998 | 2692370.7098 | 1249280.9819
18 | 2692309.5267 | 1249303.9368 | 2692304.6374 | 1249305.7712
19 | 2692370.7098 | 1249280.9819 | 2692371.4695 | 1249280.6968
20 | 2692249.715 | 1249334.4459 | 2692252.7645 | 1249330.1304 | 2692260.8625 | 1249322.1948 | 2692304.6374 | 1249305.7712
21 | 2692371.4695 | 1249280.6968 | 2692374.9494 | 1249279.3912
22 | 2692249.715 | 1249334.4459 | 2692243.1896 | 1249343.6806 | 2692232.917 | 1249345.7891 | 2692232.917 | 1249345.7891
23 | 2692376.5647 | 1249278.7852 | 2692374.9494 | 1249279.3912
24 | 2692232.917 | 1249345.7891 | 2692225.085 | 1249345.1641
25 | 2692203.9476 | 1249347.3619 | 2692221.4906 | 1249344.8773 | 2692225.085 | 1249345.1641
26 | 2692203.9476 | 1249347.3619 | 2692202.6195 | 1249313.0376
27 | 2692203.9476 | 1249347.3619 | 2692205.947 | 1249387.292
28 | 2692202.6195 | 1249313.0376 | 2692202.0003 | 1249297.0339
29 | 2692207.8995 | 1249426.2836 | 2692205.947 | 1249387.292
30 | 2692393.5493 | 1249357.5245 | 2692391.5375 | 1249358.2612
31 | 2692391.5375 | 1249358.2612 | 2692383.7712 | 1249361.105
32 | 2692383.7712 | 1249361.105 | 2692371.7266 | 1249365.5154
33 | 2692312.9923 | 1249387.0225 | 2692371.7266 | 1249365.5154
34 | 2692312.9923 | 1249387.0225 | 2692325.7988 | 1249420.6556
35 | 2692415.2053 | 1249264.2878 | 2692405.5215 | 1249234.9256
36 | 2692415.2053 | 1249264.2878 | 2692376.5647 | 1249278.7852
37 | 2692405.5215 | 1249234.9256 | 2692422.6781 | 1249230.1338
38 | 2692405.5215 | 1249234.9256 | 2692398.6511 | 1249213.3674
39 | 2692467.4947 | 1249257.3868 | 2692449.956 | 1249230.0479
40 | 2692467.4947 | 1249257.3868 | 2692487.3687 | 1249245.0167
41 | 2692467.4947 | 1249257.3868 | 2692467.5466 | 1249270.0629
42 | 2692449.956 | 1249230.0479 | 2692432.3873 | 1249234.2826
43 | 2692449.956 | 1249230.0479 | 2692453.223 | 1249229.265 | 2692460.5216 | 1249224.5916
44 | 2692499.3702 | 1249237.5467 | 2692487.3687 | 1249245.0167
45 | 2692467.5466 | 1249270.0629 | 2692467.6165 | 1249287.1468
46 | 2692499.9708 | 1249271.6265 | 2692499.6421 | 1249252.976
47 | 2692499.3702 | 1249237.5467 | 2692499.6421 | 1249252.976
48 | 2692207.8995 | 1249426.2836 | 2692230.5869 | 1249417.808
49 | 2692422.6781 | 1249230.1338 | 2692422.6781 | 1249230.1338 | 2692431.8015 | 1249234.4238 | 2692432.3873 | 1249234.2826
50 | 2692398.6511 | 1249213.3674 | 2692397.3425 | 1249209.2613
51 | 2692485.3822 | 1249208.673 | 2692460.5216 | 1249224.5916
52 | 2692499.3702 | 1249237.5467 | 2692518.8649 | 1249225.4072
53 | 2692485.3822 | 1249208.673 | 2692495.3761 | 1249202.2726
54 | 2692516.6874 | 1249188.6239 | 2692495.3761 | 1249202.2726
55 | 2692516.6874 | 1249188.6239 | 2692529.2736 | 1249180.5698
56 | 2692392.8067 | 1249084.2012 | 2692411.8074 | 1249103.0673 | 2692425.7912 | 1249119.1754 | 2692443.4147 | 1249135.785 | 2692455.931 | 1249145.2652 | 2692467.8152 | 1249153.6978
57 | 2692372.3395 | 1249130.8067 | 2692368.0006 | 1249116.0612 | 2692366.7886 | 1249111.9392 | 2692392.8067 | 1249084.2012
58 | 2692372.3395 | 1249130.8067 | 2692397.3425 | 1249209.2613
59 | 2692200.4882 | 1249264.4448 | 2692201.6212 | 1249287.2353 | 2692202.0003 | 1249297.0339
60 | 2692200.4882 | 1249264.4448 | 2692223.2566 | 1249255.3677
61 | 2692223.2566 | 1249255.3677 | 2692235.0631 | 1249250.6608
62 | 2692250.8601 | 1249250.2064 | 2692240.4046 | 1249248.5313 | 2692235.0631 | 1249250.6608

## bus_geodata
| x | y | coords
0 | 2692494.5356 | 1249448.3605
1 | 2692520.7214 | 1249446.2505
2 | 2692477.8665 | 1249457.913
3 | 2692526.7473 | 1249438.678
4 | 2692441.3528 | 1249340.02
5 | 2692505.9469 | 1249332.8666
6 | 2692476.175 | 1249332.6241
7 | 2692506.2182 | 1249314.6457
8 | 2692440.8426 | 1249338.3553
9 | 2692410.9964 | 1249351.1358
10 | 2692465.5038 | 1249335.8358
11 | 2692506.568 | 1249291.1555
12 | 2692394.7569 | 1249357.0823
13 | 2692317.3443 | 1249301.0037
14 | 2692358.9343 | 1249285.3998
15 | 2692309.5267 | 1249303.9368
16 | 2692370.7098 | 1249280.9819
17 | 2692304.6374 | 1249305.7712
18 | 2692371.4695 | 1249280.6968
19 | 2692249.715 | 1249334.4459
20 | 2692374.9494 | 1249279.3912
21 | 2692232.917 | 1249345.7891
22 | 2692225.085 | 1249345.1641
23 | 2692203.9476 | 1249347.3619
24 | 2692202.6195 | 1249313.0376
25 | 2692205.947 | 1249387.292
26 | 2692393.5493 | 1249357.5245
27 | 2692391.5375 | 1249358.2612
28 | 2692383.7712 | 1249361.105
29 | 2692371.7266 | 1249365.5154
30 | 2692312.9923 | 1249387.0225
31 | 2692325.7988 | 1249420.6556
32 | 2692415.2053 | 1249264.2878
33 | 2692405.5215 | 1249234.9256
34 | 2692376.5647 | 1249278.7852
35 | 2692467.4947 | 1249257.3868
36 | 2692449.956 | 1249230.0479
37 | 2692487.3687 | 1249245.0167
38 | 2692467.5466 | 1249270.0629
39 | 2692499.9708 | 1249271.6265
40 | 2692522.2759 | 1249291.1767
41 | 2692499.6421 | 1249252.976
42 | 2692207.8995 | 1249426.2836
43 | 2692230.5869 | 1249417.808
44 | 2692467.6165 | 1249287.1468
45 | 2692422.6781 | 1249230.1338
46 | 2692398.6511 | 1249213.3674
47 | 2692432.3873 | 1249234.2826
48 | 2692460.5216 | 1249224.5916
49 | 2692499.3702 | 1249237.5467
50 | 2692485.3822 | 1249208.673
51 | 2692518.8649 | 1249225.4072
52 | 2692495.3761 | 1249202.2726
53 | 2692516.6874 | 1249188.6239
54 | 2692529.2736 | 1249180.5698
55 | 2692467.8152 | 1249153.6978
56 | 2692392.8067 | 1249084.2012
57 | 2692372.3395 | 1249130.8067
58 | 2692397.3425 | 1249209.2613
59 | 2692202.0003 | 1249297.0339
60 | 2692200.4882 | 1249264.4448
61 | 2692223.2566 | 1249255.3677
62 | 2692235.0631 | 1249250.6608
63 | 2692250.8601 | 1249250.2064
64 | 2692312.9923 | 1249387.0225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99332 | -0.12699 | 0.0028743 | 0.00072036
1 | 0.99308 | -0.13169 | 0 | 0
2 | 0.99362 | -0.12128 | 0 | 0
3 | 0.99299 | -0.13342 | 0.010128 | 0.0025382
4 | 0.99508 | -0.092978 | 0 | 0
5 | 0.9911 | -0.16883 | 0 | 0
6 | 0.99282 | -0.13598 | 0 | 0
7 | 0.99004 | -0.18905 | 0.013059 | 0.0032729
8 | 0.99498 | -0.094973 | 0 | 0
9 | 0.99711 | -0.054539 | 0.011477 | 0.0028764
10 | 0.99347 | -0.12368 | 0.013059 | 0.0032729
11 | 0.98873 | -0.21409 | 0 | 0
12 | 0.99823 | -0.033345 | 0.017817 | 0.0044653
13 | 0.97546 | -0.47195 | 0.032204 | 0.008071
14 | 0.97681 | -0.44556 | 0.0078474 | 0.0019667
15 | 0.97526 | -0.47594 | 0.007158 | 0.001794
16 | 0.97721 | -0.43774 | 0.0064766 | 0.0016232
17 | 0.97514 | -0.47829 | 0.0075199 | 0.0018847
18 | 0.97723 | -0.43721 | 0.020334 | 0.0050963
19 | 0.97378 | -0.50517 | 0.019554 | 0.0049008
20 | 0.97737 | -0.43454 | 0.006619 | 0.0016589
21 | 0.97339 | -0.51287 | 0.012204 | 0.0030585
22 | 0.97326 | -0.51529 | 0.011514 | 0.0028856
23 | 0.97298 | -0.52096 | 0 | 0
24 | 0.97266 | -0.5272 | 0.013118 | 0.0032878
25 | 0.97255 | -0.52939 | 0.011135 | 0.0027908
26 | 0.99832 | -0.031691 | 0.0027117 | 0.00067962
27 | 0.99847 | -0.028915 | 0.010774 | 0.0027003
28 | 0.99905 | -0.017897 | 0.018654 | 0.0046751
29 | 1 | 0 | -0.48647 | -0.12429
30 | 0.99556 | -0.085175 | 0 | 0
31 | 0.993 | -0.13453 | 0.07778 | 0.019493
32 | 0.97906 | -0.40138 | 0 | 0
33 | 0.98028 | -0.37757 | 0 | 0
34 | 0.97743 | -0.43326 | 0.0083429 | 0.0020909
35 | 0.98372 | -0.31071 | 0 | 0
36 | 0.98224 | -0.33946 | 0 | 0
37 | 0.98486 | -0.28865 | 0.0058907 | 0.0014764
38 | 0.98353 | -0.31442 | 0.0081369 | 0.0020393
39 | 0.98736 | -0.24058 | 0 | 0
40 | 0.98857 | -0.21735 | 0.011649 | 0.0029196
41 | 0.98636 | -0.25978 | 0.011547 | 0.002894
42 | 0.97212 | -0.53786 | 0 | 0
43 | 0.97186 | -0.54312 | 0.011765 | 0.0029486
44 | 0.98341 | -0.31693 | 0.008137 | 0.0020393
45 | 0.98102 | -0.36316 | 0.0010393 | 0.00026048
46 | 0.98005 | -0.38211 | 0.0016176 | 0.0004054
47 | 0.98147 | -0.35449 | 0.0058922 | 0.0014767
48 | 0.98207 | -0.34282 | 0.0064173 | 0.0016083
49 | 0.98557 | -0.27506 | 0 | 0
50 | 0.98182 | -0.34766 | 0 | 0
51 | 0.98539 | -0.27851 | 0.0083611 | 0.0020955
52 | 0.98172 | -0.34961 | 0.0030086 | 0.00075404
53 | 0.98158 | -0.35238 | 0 | 0
54 | 0.9815 | -0.35402 | 0.0060587 | 0.0015184
55 | 0.97967 | -0.38963 | 0.0015358 | 0.0003849
56 | 0.97982 | -0.38676 | 0 | 0
57 | 0.9799 | -0.38515 | 0 | 0
58 | 0.98001 | -0.38285 | 0.0078967 | 0.0019791
59 | 0.97255 | -0.52934 | 0.0065397 | 0.001639
60 | 0.97237 | -0.53291 | 0 | 0
61 | 0.9722 | -0.53626 | 0.0073509 | 0.0018423
62 | 0.97194 | -0.5415 | 0.0069565 | 0.0017435
63 | 0.9717 | -0.54613 | 0.015365 | 0.0038508
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010131 | 0.0025398 | -0.010129 | -0.0025387 | 2.2691e-06 | 1.1122e-06 | 0.015176 | 0.015177 | 0.015177 | 0.99332 | -0.12699 | 0.99308 | -0.13169 | 4.1694
1 | -0.013005 | -0.0032601 | 0.013009 | 0.0032621 | 3.5376e-06 | 1.9422e-06 | 0.019482 | 0.019482 | 0.019482 | 0.99332 | -0.12699 | 0.99362 | -0.12128 | 5.3523
2 | 0.010129 | 0.0025387 | -0.010128 | -0.0025382 | 8.3589e-07 | 4.0977e-07 | 0.015177 | 0.015177 | 0.015177 | 0.99308 | -0.13169 | 0.99299 | -0.13342 | 4.1694
3 | -0.013009 | -0.0032621 | 0.013026 | 0.0032717 | 1.757e-05 | 9.6432e-06 | 0.019482 | 0.019482 | 0.019482 | 0.99362 | -0.12128 | 0.99508 | -0.092978 | 5.3522
4 | 0.33043 | 0.084756 | -0.3304 | -0.084736 | 3.1969e-05 | 2.0347e-05 | 0.4948 | 0.4948 | 0.4948 | 0.99508 | -0.092978 | 0.99498 | -0.094973 | 27.187
5 | -0.34345 | -0.088028 | 0.34409 | 0.088436 | 0.00064127 | 0.00040831 | 0.51429 | 0.51428 | 0.51429 | 0.99508 | -0.092978 | 0.99711 | -0.054539 | 28.2574
6 | -0.31619 | -0.080731 | 0.31669 | 0.081051 | 0.00050285 | 0.00031991 | 0.47525 | 0.47525 | 0.47525 | 0.9911 | -0.16883 | 0.99282 | -0.13598 | 26.1124
7 | 0.31619 | 0.080731 | -0.31588 | -0.080535 | 0.00030869 | 0.00019639 | 0.47525 | 0.47525 | 0.47525 | 0.9911 | -0.16883 | 0.99004 | -0.18905 | 26.1125
8 | -0.31669 | -0.081051 | 0.31688 | 0.081171 | 0.00018877 | 0.00012009 | 0.47525 | 0.47525 | 0.47525 | 0.99282 | -0.13598 | 0.99347 | -0.12368 | 26.1124
9 | 0.30282 | 0.077262 | -0.30245 | -0.077029 | 0.00036576 | 0.00023258 | 0.45562 | 0.45562 | 0.45562 | 0.99004 | -0.18905 | 0.98873 | -0.21409 | 25.0341
10 | 0.3304 | 0.084736 | -0.32994 | -0.084444 | 0.00045928 | 0.00029232 | 0.4948 | 0.4948 | 0.4948 | 0.99498 | -0.094973 | 0.99347 | -0.12368 | 27.1871
11 | -0.35557 | -0.091313 | 0.35594 | 0.091546 | 0.00036629 | 0.00023329 | 0.53141 | 0.53141 | 0.53141 | 0.99711 | -0.054539 | 0.99823 | -0.033345 | 29.1985
12 | 0.2908 | 0.074108 | -0.29043 | -0.073873 | 0.00037118 | 0.0002359 | 0.43809 | 0.43809 | 0.43809 | 0.98873 | -0.21409 | 0.98736 | -0.24058 | 24.0707
13 | 0.011651 | 0.0029206 | -0.011649 | -0.0029196 | 1.8112e-06 | 9.5772e-07 | 0.017535 | 0.017535 | 0.017535 | 0.98873 | -0.21409 | 0.98857 | -0.21735 | 4.8173
14 | -0.37375 | -0.096011 | 0.37378 | 0.096031 | 3.0027e-05 | 1.9133e-05 | 0.55797 | 0.55797 | 0.55797 | 0.99823 | -0.033345 | 0.99832 | -0.031691 | 30.6577
15 | -0.16269 | -0.040876 | 0.1629 | 0.041005 | 0.00020525 | 0.00012859 | 0.24821 | 0.24821 | 0.24821 | 0.97546 | -0.47195 | 0.97681 | -0.44556 | 13.638
16 | 0.13049 | 0.032805 | -0.13046 | -0.03279 | 2.4821e-05 | 1.5364e-05 | 0.19909 | 0.19909 | 0.19909 | 0.97546 | -0.47195 | 0.97526 | -0.47594 | 10.9388
17 | -0.17074 | -0.042972 | 0.17081 | 0.043012 | 6.3846e-05 | 4.0074e-05 | 0.26016 | 0.26016 | 0.26016 | 0.97681 | -0.44556 | 0.97721 | -0.43774 | 14.2948
18 | 0.1233 | 0.030996 | -0.12329 | -0.030988 | 1.3867e-05 | 8.5492e-06 | 0.18817 | 0.18817 | 0.18817 | 0.97526 | -0.47594 | 0.97514 | -0.47829 | 10.3388
19 | -0.17728 | -0.044635 | 0.17729 | 0.044638 | 4.4376e-06 | 2.7892e-06 | 0.27003 | 0.27003 | 0.27003 | 0.97721 | -0.43774 | 0.97723 | -0.43721 | 14.8366
20 | 0.11577 | 0.029103 | -0.11562 | -0.029012 | 0.0001484 | 9.1025e-05 | 0.17669 | 0.17669 | 0.17669 | 0.97514 | -0.47829 | 0.97378 | -0.50517 | 9.7083
21 | -0.19762 | -0.049734 | 0.19765 | 0.04975 | 2.5253e-05 | 1.5929e-05 | 0.30099 | 0.30099 | 0.30099 | 0.97723 | -0.43721 | 0.97737 | -0.43454 | 16.5379
22 | 0.096067 | 0.024111 | -0.096032 | -0.02409 | 3.5231e-05 | 2.1193e-05 | 0.14681 | 0.14681 | 0.14681 | 0.97378 | -0.50517 | 0.97339 | -0.51287 | 8.0666
23 | -0.20427 | -0.051409 | 0.20428 | 0.051417 | 1.2521e-05 | 7.9051e-06 | 0.31107 | 0.31107 | 0.31107 | 0.97737 | -0.43454 | 0.97743 | -0.43326 | 17.0916
24 | 0.083828 | 0.021031 | -0.083818 | -0.021026 | 9.6781e-06 | 5.7057e-06 | 0.12816 | 0.12816 | 0.12816 | 0.97339 | -0.51287 | 0.97326 | -0.51529 | 7.0415
25 | 0.072305 | 0.01814 | -0.072285 | -0.018129 | 1.9547e-05 | 1.1185e-05 | 0.11055 | 0.11055 | 0.11055 | 0.97326 | -0.51529 | 0.97298 | -0.52096 | 6.0744
26 | 0.049368 | 0.01238 | -0.049353 | -0.012373 | 1.4686e-05 | 7.2669e-06 | 0.075503 | 0.075503 | 0.075503 | 0.97298 | -0.52096 | 0.97266 | -0.5272 | 4.1485
27 | 0.022918 | 0.0057485 | -0.022908 | -0.0057436 | 9.2096e-06 | 4.9015e-06 | 0.035051 | 0.035051 | 0.035051 | 0.97298 | -0.52096 | 0.97255 | -0.52939 | 4.8147
28 | 0.036235 | 0.0090854 | -0.036231 | -0.009084 | 3.6912e-06 | 1.3686e-06 | 0.055435 | 0.055435 | 0.055435 | 0.97266 | -0.5272 | 0.97255 | -0.52934 | 3.0459
29 | 0.011773 | 0.0029528 | -0.011768 | -0.0029502 | 4.7506e-06 | 2.5561e-06 | 0.018013 | 0.018014 | 0.018014 | 0.97255 | -0.52939 | 0.97212 | -0.53786 | 4.9488
30 | -0.3765 | -0.09671 | 0.37655 | 0.096743 | 5.0752e-05 | 3.2341e-05 | 0.56201 | 0.56201 | 0.56201 | 0.99832 | -0.031691 | 0.99847 | -0.028915 | 30.8797
31 | -0.38732 | -0.099443 | 0.38753 | 0.099575 | 0.00020728 | 0.00013212 | 0.57807 | 0.57807 | 0.57807 | 0.99847 | -0.028915 | 0.99905 | -0.017897 | 31.762
32 | -0.40618 | -0.10425 | 0.40654 | 0.10448 | 0.00035311 | 0.00022515 | 0.60585 | 0.60585 | 0.60585 | 0.99905 | -0.017897 | 1 | 0 | 33.2885
33 | 0.078282 | 0.019813 | -0.077963 | -0.01961 | 0.00031864 | 0.00020311 | 0.11655 | 0.11655 | 0.11655 | 1 | 0 | 0.99556 | -0.085175 | 32.0202
34 | 0.077963 | 0.01961 | -0.07778 | -0.019493 | 0.00018334 | 0.00011687 | 0.11655 | 0.11655 | 0.11655 | 0.99556 | -0.085175 | 0.993 | -0.13453 | 32.0202
35 | -0.21295 | -0.053713 | 0.21319 | 0.053866 | 0.00024302 | 0.00015358 | 0.32377 | 0.32377 | 0.32377 | 0.97906 | -0.40138 | 0.98028 | -0.37757 | 17.7894
36 | 0.21295 | 0.053713 | -0.21262 | -0.053508 | 0.00032446 | 0.00020507 | 0.32377 | 0.32377 | 0.32377 | 0.97906 | -0.40138 | 0.97743 | -0.43326 | 17.7894
37 | -0.22424 | -0.056634 | 0.2244 | 0.056732 | 0.00015493 | 9.8034e-05 | 0.34054 | 0.34054 | 0.34054 | 0.98028 | -0.37757 | 0.98102 | -0.36316 | 18.7112
38 | 0.011053 | 0.0027681 | -0.011051 | -0.0027668 | 2.3884e-06 | 1.2434e-06 | 0.016777 | 0.016778 | 0.016778 | 0.98028 | -0.37757 | 0.98005 | -0.38211 | 4.6092
39 | 0.24742 | 0.062735 | -0.24708 | -0.062519 | 0.00034141 | 0.00021645 | 0.37452 | 0.37452 | 0.37452 | 0.98372 | -0.31071 | 0.98224 | -0.33946 | 20.578
40 | -0.2637 | -0.066816 | 0.26398 | 0.066993 | 0.00027971 | 0.00017752 | 0.39914 | 0.39914 | 0.39914 | 0.98372 | -0.31071 | 0.98486 | -0.28865 | 21.9309
41 | 0.016278 | 0.0040807 | -0.016275 | -0.004079 | 2.882e-06 | 1.6836e-06 | 0.024623 | 0.024623 | 0.024623 | 0.98372 | -0.31071 | 0.98353 | -0.31442 | 6.7645
42 | 0.23159 | 0.058635 | -0.23142 | -0.058529 | 0.00016703 | 0.00010576 | 0.35105 | 0.35105 | 0.35105 | 0.98224 | -0.33946 | 0.98147 | -0.35449 | 19.2886
43 | 0.015491 | 0.0038839 | -0.015489 | -0.0038825 | 2.4839e-06 | 1.4375e-06 | 0.023468 | 0.023469 | 0.023469 | 0.98224 | -0.33946 | 0.98207 | -0.34282 | 6.4474
44 | -0.26987 | -0.06847 | 0.27005 | 0.068582 | 0.00017653 | 0.00011208 | 0.40804 | 0.40804 | 0.40804 | 0.98486 | -0.28865 | 0.98557 | -0.27506 | 22.4199
45 | 0.008138 | 0.0020397 | -0.008137 | -0.0020393 | 9.7117e-07 | 4.0477e-07 | 0.012312 | 0.012312 | 0.012312 | 0.98353 | -0.31442 | 0.98341 | -0.31693 | 3.3825
46 | 0.29043 | 0.073873 | -0.29016 | -0.073702 | 0.0002685 | 0.00017065 | 0.43809 | 0.43809 | 0.43809 | 0.98736 | -0.24058 | 0.98636 | -0.25978 | 24.0707
47 | 0.27861 | 0.070808 | -0.27841 | -0.070678 | 0.00020481 | 0.00013009 | 0.42067 | 0.42067 | 0.42067 | 0.98636 | -0.25978 | 0.98557 | -0.27506 | 23.1136
48 | 0.011768 | 0.0029502 | -0.011765 | -0.0029486 | 2.9471e-06 | 1.5859e-06 | 0.018014 | 0.018014 | 0.018014 | 0.97212 | -0.53786 | 0.97186 | -0.54312 | 4.9488
49 | -0.22544 | -0.056993 | 0.22553 | 0.057052 | 9.379e-05 | 5.9351e-05 | 0.34212 | 0.34212 | 0.34212 | 0.98102 | -0.36316 | 0.98147 | -0.35449 | 18.7977
50 | 0.0094333 | 0.0023614 | -0.009433 | -0.0023613 | 3.3148e-07 | 1.5784e-07 | 0.014322 | 0.014322 | 0.014322 | 0.98005 | -0.38211 | 0.98001 | -0.38285 | 3.9345
51 | 0.0090715 | 0.0022741 | -0.0090694 | -0.0022732 | 2.0915e-06 | 9.6514e-07 | 0.013745 | 0.013745 | 0.013745 | 0.98207 | -0.34282 | 0.98182 | -0.34766 | 3.7762
52 | 0.0083625 | 0.0020961 | -0.0083611 | -0.0020955 | 1.3729e-06 | 5.8603e-07 | 0.012626 | 0.012626 | 0.012626 | 0.98557 | -0.27506 | 0.98539 | -0.27851 | 3.4687
53 | 0.0090694 | 0.0022732 | -0.0090686 | -0.0022728 | 8.4084e-07 | 3.8806e-07 | 0.013745 | 0.013745 | 0.013745 | 0.98182 | -0.34766 | 0.98172 | -0.34961 | 3.7762
54 | 0.0060599 | 0.0015188 | -0.0060591 | -0.0015186 | 8.0067e-07 | 1.9249e-07 | 0.0091852 | 0.0091853 | 0.0091853 | 0.98172 | -0.34961 | 0.98158 | -0.35238 | 2.5234
55 | 0.0060591 | 0.0015186 | -0.0060587 | -0.0015184 | 4.718e-07 | 1.1347e-07 | 0.0091853 | 0.0091853 | 0.0091853 | 0.98158 | -0.35238 | 0.9815 | -0.35402 | 2.5234
56 | -0.0015358 | -0.0003849 | 0.001536 | 0.00038374 | 2.0931e-07 | -1.1581e-06 | 0.0023327 | 0.0023322 | 0.0023327 | 0.97967 | -0.38963 | 0.97982 | -0.38676 | 0.64084
57 | -0.001536 | -0.00038374 | 0.0015361 | 0.00038309 | 1.1767e-07 | -6.5146e-07 | 0.0023322 | 0.0023319 | 0.0023322 | 0.97982 | -0.38676 | 0.9799 | -0.38515 | 0.64072
58 | -0.0015361 | -0.00038309 | 0.0015363 | 0.00038216 | 1.6789e-07 | -9.2995e-07 | 0.0023319 | 0.0023316 | 0.0023319 | 0.9799 | -0.38515 | 0.98001 | -0.38285 | 0.64065
59 | 0.029691 | 0.007445 | -0.029686 | -0.0074438 | 5.0499e-06 | 1.2081e-06 | 0.045429 | 0.04543 | 0.04543 | 0.97255 | -0.52934 | 0.97237 | -0.53291 | 2.4961
60 | 0.029686 | 0.0074438 | -0.029681 | -0.007442 | 4.7426e-06 | 1.8193e-06 | 0.04543 | 0.04543 | 0.04543 | 0.97237 | -0.53291 | 0.9722 | -0.53626 | 3.1202
61 | 0.02233 | 0.0055997 | -0.022325 | -0.0055963 | 5.5682e-06 | 3.4061e-06 | 0.034179 | 0.034179 | 0.034179 | 0.9722 | -0.53626 | 0.97194 | -0.5415 | 9.3899
62 | 0.015368 | 0.0038528 | -0.015365 | -0.0038508 | 3.3921e-06 | 1.9685e-06 | 0.023529 | 0.023529 | 0.023529 | 0.97194 | -0.5415 | 0.9717 | -0.54613 | 6.464

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5003 | 0.12776

## res_load
| p_mw | q_mvar
0 | 0.0028743 | 0.00072036
1 | 0.010128 | 0.0025382
2 | 0.013059 | 0.0032729
3 | 0.011477 | 0.0028764
4 | 0.013059 | 0.0032729
5 | 0.017817 | 0.0044653
6 | 0.032204 | 0.008071
7 | 0.0078474 | 0.0019667
8 | 0.007158 | 0.001794
9 | 0.0064766 | 0.0016232
10 | 0.0075199 | 0.0018847
11 | 0.020334 | 0.0050963
12 | 0.019554 | 0.0049008
13 | 0.006619 | 0.0016589
14 | 0.012204 | 0.0030585
15 | 0.011514 | 0.0028856
16 | 0.013118 | 0.0032878
17 | 0.011135 | 0.0027908
18 | 0.0027117 | 0.00067962
19 | 0.010774 | 0.0027003
20 | 0.018654 | 0.0046751
21 | 0.013834 | 0.0034672
22 | 0.07778 | 0.019493
23 | 0.0083429 | 0.0020909
24 | 0.0058907 | 0.0014764
25 | 0.0081369 | 0.0020393
26 | 0.011649 | 0.0029196
27 | 0.011547 | 0.002894
28 | 0.011765 | 0.0029486
29 | 0.008137 | 0.0020393
30 | 0.0010393 | 0.00026048
31 | 0.0016176 | 0.0004054
32 | 0.0058922 | 0.0014767
33 | 0.0064173 | 0.0016083
34 | 0.0083611 | 0.0020955
35 | 0.0030086 | 0.00075404
36 | 0.0060587 | 0.0015184
37 | 0.0015358 | 0.0003849
38 | 0.0078967 | 0.0019791
39 | 0.0065397 | 0.001639
40 | 0.0073509 | 0.0018423
41 | 0.0069565 | 0.0017435
42 | 0.015365 | 0.0038508

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1