## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-32_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-32_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_199-32_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_199-32_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_199-32_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_199-32_0_3_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_199-32_0_3_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_199-32_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_199-32_0_3_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_199-32_0_3_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_199-32_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_199-32_0_3_node_102 | 0.4 | n |  | TRUE
14 | bus_LV_199-32_0_3_node_103 | 0.4 | n |  | TRUE
15 | bus_LV_199-32_0_3_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_199-32_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_199-32_0_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_199-32_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_199-32_0_3_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_199-32_0_3_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_199-32_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_199-32_0_3_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_199-32_0_3_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_199-32_0_3_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_199-32_0_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_199-32_0_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_199-32_0_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_199-32_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_199-32_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_199-32_0_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_199-32_0_3_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_199-32_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_199-32_0_3_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_199-32_0_3_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_199-32_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_199-32_0_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_199-32_0_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_199-32_0_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_199-32_0_3_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_199-32_0_3_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_199-32_0_3_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_199-32_0_3_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_199-32_0_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_199-32_0_3_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_199-32_0_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_199-32_0_3_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_199-32_0_3_node_104 | 0.4 | n |  | TRUE
48 | bus_LV_199-32_0_3_node_105 | 0.4 | n |  | TRUE
49 | bus_LV_199-32_0_3_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_199-32_0_3_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_199-32_0_3_node_107 | 0.4 | n |  | TRUE
52 | bus_LV_199-32_0_3_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_199-32_0_3_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_199-32_0_3_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_199-32_0_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_199-32_0_3_node_116 | 0.4 | n |  | TRUE
57 | bus_MV_365_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-32_0_3_load_0 | 0 | 0.0052207 | 0.0013084 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-32_0_3_load_1 | 1 | 0.01035 | 0.0025941 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-32_0_3_load_3 | 3 | 0.005948 | 0.0014907 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-32_0_3_load_7 | 5 | 0.0059339 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-32_0_3_load_83 | 11 | 0.0032806 | 0.0008222 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-32_0_3_load_102 | 13 | 0.0017975 | 0.0004505 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-32_0_3_load_69 | 15 | 0.0031744 | 0.00079559 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-32_0_3_load_34 | 16 | 0.0021591 | 0.00054113 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-32_0_3_load_48 | 17 | 0.011918 | 0.0029869 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-32_0_3_load_49 | 18 | 0.011393 | 0.0028554 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-32_0_3_load_51 | 19 | 0.011593 | 0.0029054 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-32_0_3_load_53 | 20 | 0.011984 | 0.0030034 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-32_0_3_load_68 | 22 | 0.0012859 | 0.00032227 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-32_0_3_load_65 | 23 | 0.0054127 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-32_0_3_load_60 | 24 | 0.010581 | 0.0026518 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-32_0_3_load_54 | 25 | 0.011303 | 0.0028328 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-32_0_3_load_55 | 26 | 0.0083558 | 0.0020942 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-32_0_3_load_57 | 28 | 0.010053 | 0.0025195 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-32_0_3_load_58 | 29 | 0.0073169 | 0.0018338 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-32_0_3_load_59 | 30 | 0.007855 | 0.0019686 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-32_0_3_load_61 | 31 | 0.0042469 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_199-32_0_3_load_62 | 32 | 0.0078331 | 0.0019632 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_199-32_0_3_load_90 | 33 | 0.0027766 | 0.00069589 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_199-32_0_3_load_66 | 35 | 0.0008474 | 0.00021238 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_199-32_0_3_load_67 | 36 | 0.0016943 | 0.00042462 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_199-32_0_3_load_70 | 37 | 0.0030908 | 0.00077462 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_199-32_0_3_load_82 | 38 | 0.0056845 | 0.0014247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_199-32_0_3_load_91 | 39 | 0.003482 | 0.00087268 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_199-32_0_3_load_92 | 41 | 0.016215 | 0.0040638 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_199-32_0_3_load_95 | 42 | 0.0058366 | 0.0014628 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_199-32_0_3_load_96 | 43 | 0.0058377 | 0.0014631 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_199-32_0_3_load_97 | 44 | 0.0093597 | 0.0023458 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_199-32_0_3_load_98 | 45 | 0.015799 | 0.0039595 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_199-32_0_3_load_99 | 46 | 0.013646 | 0.0034199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_199-32_0_3_load_104 | 47 | 0.0039234 | 0.00098329 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_199-32_0_3_load_105 | 48 | 0.0015806 | 0.00039613 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_199-32_0_3_load_106 | 49 | 0.0041206 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_199-32_0_3_load_112 | 50 | 0.0015782 | 0.00039554 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_199-32_0_3_load_107 | 51 | 0.0080165 | 0.0020091 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_199-32_0_3_load_111 | 54 | 0.0090533 | 0.002269 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_199-32_0_3_load_117 | 55 | 0.0023725 | 0.00059461 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_199-32_0_3_load_116 | 56 | 0.0024415 | 0.00061191 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-32_0_3_line_0 |  | 0 | 1 | 0.021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-32_0_3_line_1 |  | 0 | 2 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-32_0_3_line_2 |  | 1 | 3 | 0.041796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-32_0_3_line_3 |  | 2 | 4 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-32_0_3_line_4 |  | 4 | 5 | 0.00441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_199-32_0_3_line_5 |  | 5 | 6 | 0.017201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-32_0_3_line_6 |  | 6 | 7 | 0.064622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-32_0_3_line_7 |  | 6 | 8 | 0.02472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-32_0_3_line_8 |  | 7 | 54 | 0.0066346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_199-32_0_3_line_9 |  | 7 | 34 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_199-32_0_3_line_10 |  | 8 | 41 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-32_0_3_line_11 |  | 9 | 10 | 0.26157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-32_0_3_line_12 |  | 9 | 11 | 0.041078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-32_0_3_line_13 |  | 10 | 17 | 0.035055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-32_0_3_line_14 |  | 11 | 38 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-32_0_3_line_15 |  | 12 | 13 | 0.032436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_199-32_0_3_line_16 |  | 12 | 14 | 0.004987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-32_0_3_line_17 |  | 12 | 15 | 0.018727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-32_0_3_line_18 |  | 13 | 47 | 0.020805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-32_0_3_line_19 |  | 14 | 48 | 0.020866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-32_0_3_line_20 |  | 14 | 16 | 0.0086995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_199-32_0_3_line_21 |  | 15 | 36 | 0.0011176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_199-32_0_3_line_22 |  | 17 | 18 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-32_0_3_line_23 |  | 18 | 19 | 0.019671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_199-32_0_3_line_24 |  | 19 | 20 | 0.0083139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_199-32_0_3_line_25 |  | 20 | 24 | 0.01459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_199-32_0_3_line_26 |  | 21 | 22 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-32_0_3_line_27 |  | 21 | 23 | 0.0024371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-32_0_3_line_28 |  | 22 | 37 | 0.0078035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_199-32_0_3_line_29 |  | 23 | 35 | 0.0070965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-32_0_3_line_30 |  | 24 | 28 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_199-32_0_3_line_31 |  | 25 | 26 | 0.0012093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_199-32_0_3_line_32 |  | 25 | 27 | 0.027294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_199-32_0_3_line_33 |  | 26 | 28 | 0.03601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-32_0_3_line_34 |  | 27 | 29 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_199-32_0_3_line_35 |  | 27 | 30 | 0.014463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_199-32_0_3_line_36 |  | 29 | 31 | 0.03102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_199-32_0_3_line_37 |  | 30 | 32 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_199-32_0_3_line_38 |  | 31 | 33 | 0.0030498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_199-32_0_3_line_39 |  | 32 | 34 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_199-32_0_3_line_40 |  | 33 | 39 | 1.2322e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_199-32_0_3_line_41 |  | 35 | 36 | 0.027997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_199-32_0_3_line_42 |  | 39 | 40 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_199-32_0_3_line_43 |  | 40 | 46 | 0.048474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_199-32_0_3_line_44 |  | 42 | 43 | 0.0084846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_199-32_0_3_line_45 |  | 42 | 44 | 0.0020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_199-32_0_3_line_46 |  | 43 | 45 | 0.013463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_199-32_0_3_line_47 |  | 44 | 46 | 0.032465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_199-32_0_3_line_48 |  | 47 | 49 | 0.021494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_199-32_0_3_line_49 |  | 48 | 50 | 0.02589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_199-32_0_3_line_50 |  | 50 | 56 | 0.037768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_199-32_0_3_line_51 |  | 51 | 52 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_199-32_0_3_line_52 |  | 52 | 53 | 0.008749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_199-32_0_3_line_53 |  | 53 | 54 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_199-32_0_3_line_54 |  | 53 | 55 | 0.014961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_199-32_0_3_line_55 |  | 55 | 56 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-32_0_3_trafo_55 | 0.63 MVA 20/0.4 kV | 57 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2692503.0257 | 1248883.0861 | 2692524.1172 | 1248886.0233
1 | 2692482.3615 | 1248880.2084 | 2692503.0257 | 1248883.0861
2 | 2692524.1172 | 1248886.0233 | 2692539.8288 | 1248888.2112 | 2692553.3834 | 1248902.3225 | 2692559.7067 | 1248903.0578
3 | 2692476.0854 | 1248890.8742 | 2692482.3615 | 1248880.2084
4 | 2692476.0854 | 1248890.8742 | 2692478.0781 | 1248894.8083
5 | 2692464.4177 | 1248903.4352 | 2692475.5486 | 1248899.617 | 2692478.0781 | 1248894.8083
6 | 2692464.4177 | 1248903.4352 | 2692468.6616 | 1248910.718 | 2692475.6529 | 1248917.132 | 2692515.3358 | 1248941.9923
7 | 2692444.1276 | 1248901.8398 | 2692446.4659 | 1248901.0534 | 2692451.2082 | 1248903.4959 | 2692454.4633 | 1248908.3281 | 2692464.4177 | 1248903.4352
8 | 2692515.3358 | 1248941.9923 | 2692520.8694 | 1248945.6526
9 | 2692504.7985 | 1248956.1609 | 2692515.3358 | 1248941.9923
10 | 2692444.1276 | 1248901.8398 | 2692444.2081 | 1248904.4208 | 2692450.0201 | 1248910.4271 | 2692451.505 | 1248912.0626 | 2692449.8033 | 1248914.638
11 | 2692619.4394 | 1249091.7988 | 2692620.9656 | 1249092.7233 | 2692633.3508 | 1249103.8142 | 2692643.9883 | 1249122.3612 | 2692649.8859 | 1249140.2448 | 2692650.9229 | 1249157.4742 | 2692742.8731 | 1249165.6737 | 2692741.0076 | 1249116.4847 | 2692744.1514 | 1249072.4447
12 | 2692744.1514 | 1249072.4447 | 2692733.8888 | 1249065.1786 | 2692722.4825 | 1249039.0562
13 | 2692619.4394 | 1249091.7988 | 2692588.9743 | 1249074.4563
14 | 2692722.4825 | 1249039.0562 | 2692717.9675 | 1249028.7159
15 | 2692644.2359 | 1248999.8048 | 2692624.8994 | 1248996.6447 | 2692612.5116 | 1248993.2555
16 | 2692645.0906 | 1248994.8922 | 2692644.2359 | 1248999.8048
17 | 2692644.2359 | 1248999.8048 | 2692642.9668 | 1249012.3835 | 2692642.5319 | 1249018.4519
18 | 2692612.5116 | 1248993.2555 | 2692596.234 | 1248988.802 | 2692592.5343 | 1248987.4793
19 | 2692645.0906 | 1248994.8922 | 2692627.4755 | 1248991.759 | 2692624.5888 | 1248991.0431
20 | 2692645.0906 | 1248994.8922 | 2692653.7506 | 1248995.7202
21 | 2692642.5319 | 1249018.4519 | 2692642.452 | 1249019.5666
22 | 2692572.694 | 1249065.1886 | 2692588.9743 | 1249074.4563
23 | 2692572.694 | 1249065.1886 | 2692555.5984 | 1249055.4569
24 | 2692555.5984 | 1249055.4569 | 2692548.3732 | 1249051.3439
25 | 2692548.3732 | 1249051.3439 | 2692535.6941 | 1249044.1262
26 | 2692639.7694 | 1249057.0009 | 2692666.5424 | 1249058.979
27 | 2692639.7694 | 1249057.0009 | 2692639.9436 | 1249054.57
28 | 2692674.3246 | 1249059.554 | 2692666.5424 | 1249058.979
29 | 2692640.4509 | 1249047.4917 | 2692639.9436 | 1249054.57
30 | 2692535.6941 | 1249044.1262 | 2692522.5499 | 1249036.6438
31 | 2692491.8132 | 1249015.6547 | 2692492.8118 | 1249016.3366
32 | 2692469.2728 | 1249000.2626 | 2692491.8132 | 1249015.6547
33 | 2692492.8118 | 1249016.3366 | 2692522.5499 | 1249036.6438 | 2692522.5499 | 1249036.6438
34 | 2692469.2728 | 1249000.2626 | 2692463.0802 | 1249006.5486 | 2692458.3509 | 1249011.5517
35 | 2692469.2728 | 1249000.2626 | 2692478.3458 | 1248988.9993
36 | 2692458.3509 | 1249011.5517 | 2692437.0419 | 1249034.094
37 | 2692491.5764 | 1248972.5749 | 2692478.3458 | 1248988.9993
38 | 2692437.0419 | 1249034.094 | 2692434.9469 | 1249036.3104
39 | 2692504.7985 | 1248956.1609 | 2692491.5764 | 1248972.5749
40 | 2692434.9384 | 1249036.3193 | 2692434.9469 | 1249036.3104
41 | 2692640.4509 | 1249047.4917 | 2692642.452 | 1249019.5666
42 | 2692424.9096 | 1249046.9287 | 2692434.9384 | 1249036.3193
43 | 2692424.9096 | 1249046.9287 | 2692402.0886 | 1249023.1548 | 2692391.1751 | 1249012.1201
44 | 2692366.8704 | 1248987.5455 | 2692366.8704 | 1248987.5455 | 2692359.3572 | 1248983.6032
45 | 2692366.8704 | 1248987.5455 | 2692368.346 | 1248989.0375
46 | 2692345.9748 | 1248983.0152 | 2692347.1903 | 1248982.6797 | 2692359.3572 | 1248983.6032 | 2692359.3572 | 1248983.6032
47 | 2692391.1751 | 1249012.1201 | 2692368.346 | 1248989.0375
48 | 2692592.5343 | 1248987.4793 | 2692572.2951 | 1248980.2433
49 | 2692624.5888 | 1248991.0431 | 2692610.2483 | 1248987.4866 | 2692599.61 | 1248984.2662
50 | 2692599.61 | 1248984.2662 | 2692584.9556 | 1248979.8302 | 2692564.1693 | 1248971.3299
51 | 2692526.0879 | 1248959.529 | 2692535.2587 | 1248964.1378
52 | 2692530.0387 | 1248951.718 | 2692526.0879 | 1248959.529
53 | 2692530.0387 | 1248951.718 | 2692520.8694 | 1248945.6526
54 | 2692530.0387 | 1248951.718 | 2692542.6926 | 1248959.7002
55 | 2692542.6926 | 1248959.7002 | 2692555.5248 | 1248967.7948 | 2692564.1693 | 1248971.3299

## bus_geodata
| x | y | coords
0 | 2692503.0257 | 1248883.0861
1 | 2692524.1172 | 1248886.0233
2 | 2692482.3615 | 1248880.2084
3 | 2692559.7066 | 1248903.0578
4 | 2692476.0854 | 1248890.8742
5 | 2692478.0781 | 1248894.8083
6 | 2692464.4177 | 1248903.4352
7 | 2692515.3358 | 1248941.9923
8 | 2692444.1276 | 1248901.8398
9 | 2692744.1514 | 1249072.4447
10 | 2692619.4394 | 1249091.7988
11 | 2692722.4825 | 1249039.0562
12 | 2692644.2359 | 1248999.8048
13 | 2692612.5116 | 1248993.2555
14 | 2692645.0906 | 1248994.8922
15 | 2692642.5319 | 1249018.4519
16 | 2692653.7506 | 1248995.7202
17 | 2692588.9743 | 1249074.4563
18 | 2692572.694 | 1249065.1886
19 | 2692555.5984 | 1249055.4569
20 | 2692548.3732 | 1249051.3439
21 | 2692639.7694 | 1249057.0009
22 | 2692666.5424 | 1249058.979
23 | 2692639.9436 | 1249054.57
24 | 2692535.6941 | 1249044.1262
25 | 2692491.8132 | 1249015.6547
26 | 2692492.8118 | 1249016.3366
27 | 2692469.2728 | 1249000.2626
28 | 2692522.5499 | 1249036.6438
29 | 2692458.3509 | 1249011.5517
30 | 2692478.3458 | 1248988.9993
31 | 2692437.0419 | 1249034.094
32 | 2692491.5764 | 1248972.5749
33 | 2692434.9469 | 1249036.3104
34 | 2692504.7985 | 1248956.1609
35 | 2692640.4509 | 1249047.4917
36 | 2692642.452 | 1249019.5666
37 | 2692674.3246 | 1249059.554
38 | 2692717.9675 | 1249028.7159
39 | 2692434.9384 | 1249036.3193
40 | 2692424.9096 | 1249046.9287
41 | 2692449.8033 | 1248914.638
42 | 2692366.8704 | 1248987.5455
43 | 2692359.3572 | 1248983.6032
44 | 2692368.346 | 1248989.0375
45 | 2692345.9748 | 1248983.0152
46 | 2692391.1751 | 1249012.1201
47 | 2692592.5343 | 1248987.4793
48 | 2692624.5888 | 1248991.0431
49 | 2692572.2951 | 1248980.2433
50 | 2692599.61 | 1248984.2662
51 | 2692535.2587 | 1248964.1378
52 | 2692526.0879 | 1248959.529
53 | 2692530.0387 | 1248951.718
54 | 2692520.8694 | 1248945.6526
55 | 2692542.6926 | 1248959.7002
56 | 2692564.1693 | 1248971.3299
57 | 2692492.8118 | 1249016.3366

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98695 | -0.25112 | 0.0052207 | 0.0013084
1 | 0.98663 | -0.25733 | 0.01035 | 0.0025941
2 | 0.98736 | -0.24309 | 0 | 0
3 | 0.9864 | -0.26179 | 0.005948 | 0.0014907
4 | 0.9876 | -0.23833 | 0 | 0
5 | 0.98769 | -0.23664 | 0.0059339 | 0.0014872
6 | 0.98812 | -0.2282 | 0 | 0
7 | 0.99072 | -0.17795 | 0 | 0
8 | 0.98776 | -0.23536 | 0 | 0
9 | 0.99213 | -0.15156 | 0 | 0
10 | 0.99428 | -0.1101 | 0 | 0
11 | 0.9918 | -0.15809 | 0.0032806 | 0.0008222
12 | 0.98632 | -0.26325 | 0 | 0
13 | 0.98603 | -0.26897 | 0.0017975 | 0.0004505
14 | 0.98644 | -0.26098 | 0 | 0
15 | 0.98605 | -0.26845 | 0.0031744 | 0.00079559
16 | 0.98642 | -0.26132 | 0.0021591 | 0.00054113
17 | 0.99456 | -0.10456 | 0.011918 | 0.0029869
18 | 0.99492 | -0.097662 | 0.011393 | 0.0028554
19 | 0.9955 | -0.086485 | 0.011593 | 0.0029054
20 | 0.99583 | -0.080071 | 0.011984 | 0.0030034
21 | 0.98569 | -0.27548 | 0 | 0
22 | 0.98559 | -0.27758 | 0.0012859 | 0.00032227
23 | 0.9857 | -0.27529 | 0.0054127 | 0.0013565
24 | 0.99657 | -0.065756 | 0.010581 | 0.0026518
25 | 0.99989 | -0.0020187 | 0.011303 | 0.0028328
26 | 1 | 0 | -0.27167 | -0.068444
27 | 0.99764 | -0.044995 | 0 | 0
28 | 0.99749 | -0.048135 | 0.010053 | 0.0025195
29 | 0.99666 | -0.063804 | 0.0073169 | 0.0018338
30 | 0.99615 | -0.073386 | 0.007855 | 0.0019686
31 | 0.99493 | -0.097057 | 0.0042469 | 0.0010644
32 | 0.99414 | -0.11202 | 0.0078331 | 0.0019632
33 | 0.99477 | -0.1001 | 0.0027766 | 0.00069589
34 | 0.99228 | -0.14785 | 0 | 0
35 | 0.98577 | -0.27404 | 0.0008474 | 0.00021238
36 | 0.98604 | -0.2687 | 0.0016943 | 0.00042462
37 | 0.98556 | -0.27802 | 0.0030908 | 0.00077462
38 | 0.99174 | -0.15923 | 0.0056845 | 0.0014247
39 | 0.99477 | -0.10012 | 0.003482 | 0.00087268
40 | 0.99409 | -0.11311 | 0 | 0
41 | 0.98751 | -0.24007 | 0.016215 | 0.0040638
42 | 0.99071 | -0.17859 | 0.0058366 | 0.0014628
43 | 0.99054 | -0.18186 | 0.0058377 | 0.0014631
44 | 0.99076 | -0.17757 | 0.0093597 | 0.0023458
45 | 0.99035 | -0.18563 | 0.015799 | 0.0039595
46 | 0.99186 | -0.15636 | 0.013646 | 0.0034199
47 | 0.98587 | -0.27197 | 0.0039234 | 0.00098329
48 | 0.98696 | -0.2507 | 0.0015806 | 0.00039613
49 | 0.98579 | -0.27356 | 0.0041206 | 0.0010327
50 | 0.98766 | -0.23724 | 0.0015782 | 0.00039554
51 | 0.98982 | -0.19536 | 0.0080165 | 0.0020091
52 | 0.98989 | -0.1939 | 0 | 0
53 | 0.98996 | -0.19265 | 0 | 0
54 | 0.9904 | -0.18415 | 0.0090533 | 0.002269
55 | 0.98947 | -0.2021 | 0.0023725 | 0.00059461
56 | 0.98872 | -0.21656 | 0.0024415 | 0.00061191
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016305 | 0.0040879 | -0.0163 | -0.0040851 | 4.8259e-06 | 2.8165e-06 | 0.024583 | 0.024583 | 0.024583 | 0.98695 | -0.25112 | 0.98663 | -0.25733 | 6.7536
1 | -0.021525 | -0.0053963 | 0.021533 | 0.0054013 | 8.2406e-06 | 5.0073e-06 | 0.032454 | 0.032454 | 0.032454 | 0.98695 | -0.25112 | 0.98736 | -0.24309 | 8.916
2 | 0.0059493 | 0.001491 | -0.005948 | -0.0014907 | 1.2619e-06 | 2.7395e-07 | 0.0089726 | 0.0089728 | 0.0089728 | 0.98663 | -0.25733 | 0.9864 | -0.26179 | 2.4651
3 | -0.021533 | -0.0054013 | 0.021538 | 0.0054043 | 4.8846e-06 | 2.968e-06 | 0.032454 | 0.032454 | 0.032454 | 0.98736 | -0.24309 | 0.9876 | -0.23833 | 8.9159
4 | -0.021538 | -0.0054043 | 0.02154 | 0.0054053 | 1.7418e-06 | 1.0583e-06 | 0.032454 | 0.032454 | 0.032454 | 0.9876 | -0.23833 | 0.98769 | -0.23664 | 8.9159
5 | -0.027474 | -0.0068925 | 0.027485 | 0.0068994 | 1.1052e-05 | 6.8532e-06 | 0.041394 | 0.041394 | 0.041394 | 0.98769 | -0.23664 | 0.98812 | -0.2282 | 11.3719
6 | -0.043709 | -0.010969 | 0.043814 | 0.011035 | 0.00010501 | 6.6373e-05 | 0.065826 | 0.065826 | 0.065826 | 0.98812 | -0.2282 | 0.99072 | -0.17795 | 18.0842
7 | 0.016224 | 0.0040692 | -0.016218 | -0.0040659 | 5.5338e-06 | 3.2251e-06 | 0.024433 | 0.024433 | 0.024433 | 0.98812 | -0.2282 | 0.98776 | -0.23536 | 6.7123
8 | 0.052699 | 0.013262 | -0.052684 | -0.013252 | 1.5595e-05 | 9.8954e-06 | 0.079171 | 0.079172 | 0.079172 | 0.99072 | -0.17795 | 0.9904 | -0.18415 | 21.7504
9 | -0.096513 | -0.024297 | 0.096652 | 0.024386 | 0.00013908 | 8.8786e-05 | 0.145 | 0.145 | 0.145 | 0.99072 | -0.17795 | 0.99228 | -0.14785 | 39.8345
10 | 0.016218 | 0.0040659 | -0.016215 | -0.0040638 | 3.6347e-06 | 2.1184e-06 | 0.024433 | 0.024433 | 0.024433 | 0.98776 | -0.23536 | 0.98751 | -0.24007 | 6.7124
11 | -0.0089682 | -0.0022482 | 0.0089859 | 0.0022561 | 1.7745e-05 | 7.9718e-06 | 0.013451 | 0.01345 | 0.013451 | 0.99213 | -0.15156 | 0.99428 | -0.1101 | 3.6953
12 | 0.0089682 | 0.0022482 | -0.0089654 | -0.0022469 | 2.7871e-06 | 1.2534e-06 | 0.013451 | 0.013451 | 0.013451 | 0.99213 | -0.15156 | 0.9918 | -0.15809 | 3.6953
13 | -0.0089859 | -0.0022561 | 0.0089883 | 0.0022572 | 2.3779e-06 | 1.0671e-06 | 0.01345 | 0.013449 | 0.01345 | 0.99428 | -0.1101 | 0.99456 | -0.10456 | 3.6949
14 | 0.0056848 | 0.0014247 | -0.0056845 | -0.0014247 | 3.0779e-07 | 5.1389e-08 | 0.008529 | 0.0085291 | 0.0085291 | 0.9918 | -0.15809 | 0.99174 | -0.15923 | 2.3431
15 | 0.0098456 | 0.0024682 | -0.0098429 | -0.0024669 | 2.6837e-06 | 1.3037e-06 | 0.014854 | 0.014854 | 0.014854 | 0.98632 | -0.26325 | 0.98603 | -0.26897 | 4.0808
16 | -0.025359 | -0.0063581 | 0.025362 | 0.0063597 | 2.7373e-06 | 1.6882e-06 | 0.038259 | 0.038259 | 0.038259 | 0.98632 | -0.26325 | 0.98644 | -0.26098 | 10.5106
17 | 0.015513 | 0.0038899 | -0.015509 | -0.0038876 | 3.8468e-06 | 2.223e-06 | 0.023405 | 0.023405 | 0.023405 | 0.98632 | -0.26325 | 0.98605 | -0.26845 | 6.4299
18 | 0.0080454 | 0.0020164 | -0.0080442 | -0.0020159 | 1.1501e-06 | 4.7073e-07 | 0.012141 | 0.012141 | 0.012141 | 0.98603 | -0.26897 | 0.98587 | -0.27197 | 3.3356
19 | -0.027521 | -0.0069008 | 0.027534 | 0.0069092 | 1.3486e-05 | 8.3646e-06 | 0.041516 | 0.041516 | 0.041516 | 0.98644 | -0.26098 | 0.98696 | -0.2507 | 11.4054
20 | 0.0021592 | 0.00054104 | -0.0021591 | -0.00054113 | 3.4608e-08 | -8.8906e-08 | 0.003257 | 0.0032571 | 0.0032571 | 0.98644 | -0.26098 | 0.98642 | -0.26132 | 0.8948
21 | 0.012335 | 0.0030921 | -0.012335 | -0.003092 | 1.4522e-07 | 7.8684e-08 | 0.018614 | 0.018614 | 0.018614 | 0.98605 | -0.26845 | 0.98604 | -0.2687 | 5.1139
22 | -0.020906 | -0.0052441 | 0.020913 | 0.0052483 | 6.8737e-06 | 4.156e-06 | 0.03128 | 0.03128 | 0.03128 | 0.99456 | -0.10456 | 0.99492 | -0.097662 | 8.5935
23 | -0.032306 | -0.0081037 | 0.032324 | 0.0081144 | 1.7224e-05 | 1.0768e-05 | 0.04832 | 0.04832 | 0.04832 | 0.99492 | -0.097662 | 0.9955 | -0.086485 | 13.2748
24 | -0.043916 | -0.01102 | 0.043929 | 0.011028 | 1.3436e-05 | 8.491e-06 | 0.065648 | 0.065648 | 0.065648 | 0.9955 | -0.086485 | 0.99583 | -0.080071 | 18.0352
25 | -0.055913 | -0.014032 | 0.055951 | 0.014056 | 3.8196e-05 | 2.4255e-05 | 0.083555 | 0.083555 | 0.083555 | 0.99583 | -0.080071 | 0.99657 | -0.065756 | 22.9546
26 | 0.0043771 | 0.0010968 | -0.0043767 | -0.0010968 | 4.3956e-07 | -6.0837e-08 | 0.0066077 | 0.0066078 | 0.0066078 | 0.98569 | -0.27548 | 0.98559 | -0.27758 | 1.8153
27 | -0.0043771 | -0.0010968 | 0.0043772 | 0.0010968 | 3.9904e-08 | -5.5272e-09 | 0.0066077 | 0.0066077 | 0.0066077 | 0.98569 | -0.27548 | 0.9857 | -0.27529 | 1.8153
28 | 0.0030908 | 0.00077456 | -0.0030908 | -0.00077462 | 6.3723e-08 | -5.8661e-08 | 0.0046664 | 0.0046665 | 0.0046665 | 0.98559 | -0.27758 | 0.98556 | -0.27802 | 1.282
29 | -0.0097899 | -0.0024533 | 0.0097905 | 0.0024536 | 5.8123e-07 | 2.8152e-07 | 0.014779 | 0.014779 | 0.014779 | 0.9857 | -0.27529 | 0.98577 | -0.27404 | 4.0601
30 | -0.066532 | -0.016708 | 0.066588 | 0.016743 | 5.5986e-05 | 3.5634e-05 | 0.099353 | 0.099353 | 0.099353 | 0.99657 | -0.065756 | 0.99749 | -0.048135 | 27.2947
31 | -0.19318 | -0.049057 | 0.1932 | 0.049069 | 1.877e-05 | 1.1981e-05 | 0.28772 | 0.28772 | 0.28772 | 0.99989 | -0.0020187 | 1 | 0 | 39.5213
32 | 0.18188 | 0.046224 | -0.1815 | -0.045984 | 0.00037556 | 0.00023964 | 0.27089 | 0.27089 | 0.27089 | 0.99989 | -0.0020187 | 0.99764 | -0.044995 | 37.2108
33 | 0.076817 | 0.019375 | -0.076641 | -0.019263 | 0.00017657 | 0.00011253 | 0.11435 | 0.11435 | 0.11435 | 1 | 0 | 0.99749 | -0.048135 | 31.4146
34 | 0.068649 | 0.017338 | -0.068587 | -0.017299 | 6.1816e-05 | 3.9358e-05 | 0.10244 | 0.10244 | 0.10244 | 0.99764 | -0.044995 | 0.99666 | -0.063804 | 28.1428
35 | 0.11285 | 0.028646 | -0.1127 | -0.028548 | 0.00015391 | 9.8313e-05 | 0.16846 | 0.16846 | 0.16846 | 0.99764 | -0.044995 | 0.99615 | -0.073386 | 46.2789
36 | 0.06127 | 0.015465 | -0.061173 | -0.015403 | 9.7423e-05 | 6.1947e-05 | 0.091516 | 0.091516 | 0.091516 | 0.99666 | -0.063804 | 0.99493 | -0.097057 | 25.1417
37 | 0.10485 | 0.026579 | -0.10465 | -0.026455 | 0.00019426 | 0.00012405 | 0.15672 | 0.15672 | 0.15672 | 0.99615 | -0.073386 | 0.99414 | -0.11202 | 43.0555
38 | 0.056926 | 0.014339 | -0.056918 | -0.014334 | 8.2951e-06 | 5.2693e-06 | 0.085164 | 0.085164 | 0.085164 | 0.99493 | -0.097057 | 0.99477 | -0.1001 | 23.3967
39 | 0.096819 | 0.024492 | -0.096652 | -0.024386 | 0.00016617 | 0.00010608 | 0.145 | 0.145 | 0.145 | 0.99414 | -0.11202 | 0.99228 | -0.14785 | 39.8345
40 | 0.054141 | 0.013638 | -0.054141 | -0.013638 | 3.0326e-08 | 1.9249e-08 | 0.081011 | 0.081011 | 0.081011 | 0.99477 | -0.1001 | 0.99477 | -0.10012 | 22.2557
41 | -0.010638 | -0.002666 | 0.010641 | 0.0026673 | 2.7071e-06 | 1.3755e-06 | 0.016058 | 0.016058 | 0.016058 | 0.98577 | -0.27404 | 0.98604 | -0.2687 | 4.4115
42 | 0.050659 | 0.012765 | -0.050628 | -0.012745 | 3.1457e-05 | 1.9943e-05 | 0.075802 | 0.075802 | 0.075802 | 0.99477 | -0.10012 | 0.99409 | -0.11311 | 20.8248
43 | 0.050628 | 0.012745 | -0.050523 | -0.012679 | 0.00010445 | 6.6221e-05 | 0.075802 | 0.075802 | 0.075802 | 0.99409 | -0.11311 | 0.99186 | -0.15636 | 20.8248
44 | 0.021643 | 0.0054263 | -0.021639 | -0.0054242 | 3.3622e-06 | 2.0426e-06 | 0.032507 | 0.032507 | 0.032507 | 0.99071 | -0.17859 | 0.99054 | -0.18186 | 8.9306
45 | -0.027479 | -0.0068891 | 0.02748 | 0.0068899 | 1.3405e-06 | 8.3091e-07 | 0.041274 | 0.041274 | 0.041274 | 0.99071 | -0.17859 | 0.99076 | -0.17757 | 11.3389
46 | 0.015801 | 0.0039611 | -0.015799 | -0.0039595 | 2.8448e-06 | 1.6474e-06 | 0.023738 | 0.023738 | 0.023738 | 0.99054 | -0.18186 | 0.99035 | -0.18563 | 6.5214
47 | -0.03684 | -0.0092357 | 0.036877 | 0.0092591 | 3.7272e-05 | 2.3435e-05 | 0.055331 | 0.055331 | 0.055331 | 0.99076 | -0.17757 | 0.99186 | -0.15636 | 15.2008
48 | 0.0041209 | 0.0010326 | -0.0041206 | -0.0010327 | 3.1182e-07 | -7.4489e-08 | 0.0062197 | 0.0062198 | 0.0062198 | 0.98587 | -0.27197 | 0.98579 | -0.27356 | 1.7087
49 | -0.029115 | -0.0073053 | 0.029134 | 0.0073169 | 1.8709e-05 | 1.1643e-05 | 0.043899 | 0.043898 | 0.043899 | 0.98696 | -0.2507 | 0.98766 | -0.23724 | 12.06
50 | -0.030712 | -0.0077125 | 0.030742 | 0.0077314 | 3.033e-05 | 1.8927e-05 | 0.046276 | 0.046276 | 0.046276 | 0.98766 | -0.23724 | 0.98872 | -0.21656 | 12.7132
51 | -0.0080165 | -0.0020091 | 0.008017 | 0.0020093 | 5.59e-07 | 2.2582e-07 | 0.012051 | 0.012051 | 0.012051 | 0.98982 | -0.19536 | 0.98989 | -0.1939 | 3.3108
52 | -0.008017 | -0.0020093 | 0.0080175 | 0.0020095 | 4.7649e-07 | 1.9248e-07 | 0.012051 | 0.012051 | 0.012051 | 0.98989 | -0.1939 | 0.98996 | -0.19265 | 3.3108
53 | -0.043613 | -0.010972 | 0.04363 | 0.010983 | 1.7725e-05 | 1.1203e-05 | 0.065569 | 0.065569 | 0.065569 | 0.98996 | -0.19265 | 0.9904 | -0.18415 | 18.0136
54 | 0.035595 | 0.0089624 | -0.035579 | -0.0089523 | 1.6069e-05 | 1.0092e-05 | 0.053518 | 0.053518 | 0.053518 | 0.98996 | -0.19265 | 0.98947 | -0.2021 | 14.7028
55 | 0.033207 | 0.0083577 | -0.033184 | -0.0083433 | 2.2934e-05 | 1.4363e-05 | 0.04995 | 0.04995 | 0.04995 | 0.98947 | -0.2021 | 0.98872 | -0.21656 | 13.7227

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28002 | 0.070538

## res_load
| p_mw | q_mvar
0 | 0.0052207 | 0.0013084
1 | 0.01035 | 0.0025941
2 | 0.005948 | 0.0014907
3 | 0.0059339 | 0.0014872
4 | 0.0032806 | 0.0008222
5 | 0.0017975 | 0.0004505
6 | 0.0031744 | 0.00079559
7 | 0.0021591 | 0.00054113
8 | 0.011918 | 0.0029869
9 | 0.011393 | 0.0028554
10 | 0.011593 | 0.0029054
11 | 0.011984 | 0.0030034
12 | 0.0012859 | 0.00032227
13 | 0.0054127 | 0.0013565
14 | 0.010581 | 0.0026518
15 | 0.011303 | 0.0028328
16 | 0.0083558 | 0.0020942
17 | 0.010053 | 0.0025195
18 | 0.0073169 | 0.0018338
19 | 0.007855 | 0.0019686
20 | 0.0042469 | 0.0010644
21 | 0.0078331 | 0.0019632
22 | 0.0027766 | 0.00069589
23 | 0.0008474 | 0.00021238
24 | 0.0016943 | 0.00042462
25 | 0.0030908 | 0.00077462
26 | 0.0056845 | 0.0014247
27 | 0.003482 | 0.00087268
28 | 0.016215 | 0.0040638
29 | 0.0058366 | 0.0014628
30 | 0.0058377 | 0.0014631
31 | 0.0093597 | 0.0023458
32 | 0.015799 | 0.0039595
33 | 0.013646 | 0.0034199
34 | 0.0039234 | 0.00098329
35 | 0.0015806 | 0.00039613
36 | 0.0041206 | 0.0010327
37 | 0.0015782 | 0.00039554
38 | 0.0080165 | 0.0020091
39 | 0.0090533 | 0.002269
40 | 0.0023725 | 0.00059461
41 | 0.0024415 | 0.00061191

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1