## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_199-34_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_199-34_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_199-34_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_199-34_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_199-34_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_199-34_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_199-34_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_199-34_0_3_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_199-34_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_199-34_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_199-34_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_199-34_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_199-34_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_199-34_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_199-34_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_199-34_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_199-34_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_199-34_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_199-34_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_199-34_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_199-34_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_199-34_0_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_199-34_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_199-34_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_199-34_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_199-34_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_199-34_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_199-34_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_199-34_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_199-34_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_199-34_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_199-34_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_199-34_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_199-34_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_199-34_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_199-34_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_199-34_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_MV_365_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_199-34_0_3_load_0 | 0 | 0.047168 | 0.011821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_199-34_0_3_load_1 | 1 | 0.006389 | 0.0016012 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_199-34_0_3_load_2 | 2 | 0.0027297 | 0.00068413 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_199-34_0_3_load_3 | 3 | 0.00287 | 0.00071929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_199-34_0_3_load_23 | 6 | 0.041134 | 0.010309 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_199-34_0_3_load_39 | 7 | 0.0029909 | 0.00074958 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_199-34_0_3_load_6 | 9 | 0.01331 | 0.0033359 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_199-34_0_3_load_5 | 11 | 0.0034797 | 0.00087209 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_199-34_0_3_load_8 | 13 | 0.0017114 | 0.00042893 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_199-34_0_3_load_9 | 14 | 0.00094318 | 0.00023638 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_199-34_0_3_load_36 | 19 | 0.024244 | 0.006076 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_199-34_0_3_load_30 | 21 | 0.00077455 | 0.00019412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_199-34_0_3_load_27 | 23 | 0.0017737 | 0.00044454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_199-34_0_3_load_24 | 24 | 0.0037494 | 0.00093968 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_199-34_0_3_load_32 | 25 | 0.0070126 | 0.0017575 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_199-34_0_3_load_33 | 27 | 0.00031269 | 7.8368e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_199-34_0_3_load_16 | 28 | 0.078717 | 0.019728 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_199-34_0_3_load_34 | 32 | 0.041864 | 0.010492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_199-34_0_3_load_35 | 33 | 0.076935 | 0.019282 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_199-34_0_3_load_37 | 35 | 0.00018767 | 4.7034e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_199-34_0_3_load_38 | 36 | 0.00076833 | 0.00019256 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_199-34_0_3_line_0 |  | 0 | 1 | 0.0039566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_199-34_0_3_line_1 |  | 0 | 2 | 0.012183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_199-34_0_3_line_2 |  | 1 | 3 | 0.003245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_199-34_0_3_line_3 |  | 2 | 4 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_199-34_0_3_line_4 |  | 4 | 5 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_199-34_0_3_line_5 |  | 4 | 6 | 0.032121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_199-34_0_3_line_6 |  | 5 | 8 | 0.005758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_199-34_0_3_line_7 |  | 5 | 9 | 0.021655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_199-34_0_3_line_8 |  | 6 | 10 | 0.031143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_199-34_0_3_line_9 |  | 7 | 8 | 0.032255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_199-34_0_3_line_10 |  | 8 | 12 | 0.01645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_199-34_0_3_line_11 |  | 9 | 11 | 0.0044693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_199-34_0_3_line_12 |  | 10 | 30 | 0.032468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_199-34_0_3_line_13 |  | 10 | 29 | 0.006245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_199-34_0_3_line_14 |  | 12 | 25 | 0.051144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_199-34_0_3_line_15 |  | 12 | 18 | 0.058108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_199-34_0_3_line_16 |  | 13 | 14 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_199-34_0_3_line_17 |  | 13 | 15 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_199-34_0_3_line_18 |  | 15 | 16 | 0.10261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_199-34_0_3_line_19 |  | 15 | 17 | 0.18306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_199-34_0_3_line_20 |  | 16 | 18 | 0.11913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_199-34_0_3_line_21 |  | 16 | 19 | 0.069297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_199-34_0_3_line_22 |  | 17 | 20 | 0.044465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_199-34_0_3_line_23 |  | 17 | 21 | 0.013215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_199-34_0_3_line_24 |  | 20 | 22 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_199-34_0_3_line_25 |  | 20 | 23 | 0.024652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_199-34_0_3_line_26 |  | 20 | 24 | 0.036782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_199-34_0_3_line_27 |  | 22 | 26 | 0.036516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_199-34_0_3_line_28 |  | 23 | 27 | 0.017252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_199-34_0_3_line_29 |  | 26 | 34 | 0.039046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_199-34_0_3_line_30 |  | 28 | 29 | 0.030224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_199-34_0_3_line_31 |  | 30 | 31 | 0.039956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_199-34_0_3_line_32 |  | 30 | 32 | 0.031598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_199-34_0_3_line_33 |  | 31 | 33 | 0.063118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_199-34_0_3_line_34 |  | 34 | 35 | 0.019227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_199-34_0_3_line_35 |  | 35 | 36 | 0.0061491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_199-34_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 37 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2692088.1237 | 1249802.409 | 2692086.9172 | 1249798.6408
1 | 2692088.1237 | 1249802.409 | 2692089.7661 | 1249807.5388 | 2692091.8427 | 1249814.0107
2 | 2692085.9278 | 1249795.5504 | 2692086.9172 | 1249798.6408
3 | 2692096.3627 | 1249828.1236 | 2692093.1798 | 1249818.1777 | 2692091.8427 | 1249814.0107
4 | 2692108.0504 | 1249824.3023 | 2692096.3627 | 1249828.1236
5 | 2692096.3627 | 1249828.1236 | 2692065.8726 | 1249838.2299
6 | 2692113.5376 | 1249822.5084 | 2692108.0504 | 1249824.3023
7 | 2692108.0504 | 1249824.3023 | 2692109.9213 | 1249829.7578 | 2692115.0838 | 1249844.7835
8 | 2692036.3109 | 1249848.0284 | 2692065.8726 | 1249838.2299
9 | 2692113.5376 | 1249822.5084 | 2692110.6262 | 1249812.5889 | 2692104.4742 | 1249791.5529
10 | 2692129.2101 | 1249817.3703 | 2692113.5376 | 1249822.5084
11 | 2692116.536 | 1249849.0103 | 2692115.0838 | 1249844.7835
12 | 2692036.3109 | 1249848.0284 | 2692046.5922 | 1249878.8338
13 | 2692036.3109 | 1249848.0284 | 2692034.5692 | 1249842.0301
14 | 2692129.2101 | 1249817.3703 | 2692131.0317 | 1249825.5048 | 2692127.8946 | 1249832.0388 | 2692137.8718 | 1249866.1703
15 | 2692129.2101 | 1249817.3703 | 2692172.8955 | 1249803.0718 | 2692176.3843 | 1249814.7016
16 | 2692217.2496 | 1249840.0622 | 2692227.228 | 1249837.2652 | 2692229.0739 | 1249842.8649
17 | 2692245.4201 | 1249838.1045 | 2692229.0739 | 1249842.8649 | 2692229.0739 | 1249842.8649
18 | 2692221.7911 | 1249739.3168 | 2692232.1212 | 1249778.5742 | 2692230.0885 | 1249784.4916 | 2692245.4201 | 1249838.1045
19 | 2692168.4677 | 1249952.7285 | 2692186.0922 | 1249945.864 | 2692182.4155 | 1249936.6109 | 2692181.5459 | 1249924.0766 | 2692182.9988 | 1249915.6261 | 2692189.6375 | 1249909.7026 | 2692188.3281 | 1249904.5672 | 2692185.5359 | 1249897.674 | 2692240.267 | 1249881.4797 | 2692245.0442 | 1249877.273 | 2692246.1268 | 1249873.6983 | 2692255.7877 | 1249870.5684 | 2692249.5925 | 1249851.8911 | 2692245.4201 | 1249838.1045
20 | 2692176.3843 | 1249814.7016 | 2692172.8955 | 1249803.0718 | 2692191.9379 | 1249796.8298 | 2692210.3503 | 1249790.8004 | 2692230.0885 | 1249784.4916 | 2692232.1212 | 1249778.5742 | 2692221.7911 | 1249739.3168
21 | 2692221.7911 | 1249739.3168 | 2692155.3142 | 1249758.886
22 | 2692168.4677 | 1249952.7285 | 2692186.0922 | 1249945.864 | 2692195.3411 | 1249969.6816
23 | 2692168.4677 | 1249952.7285 | 2692156.1513 | 1249957.5194
24 | 2692195.3411 | 1249969.6816 | 2692204.4532 | 1249992.0961
25 | 2692195.3411 | 1249969.6816 | 2692218.384 | 1249960.9199
26 | 2692195.3411 | 1249969.6816 | 2692186.6302 | 1249974.8501 | 2692184.4273 | 1249980.0643 | 2692191.9246 | 1249999.6729
27 | 2692204.4532 | 1249992.0961 | 2692216.1617 | 1250026.6936
28 | 2692218.384 | 1249960.9199 | 2692219.0243 | 1249960.6765 | 2692224.0333 | 1249960.9769 | 2692228.4214 | 1249971.6596
29 | 2692216.1617 | 1250026.6936 | 2692218.8476 | 1250031.1944 | 2692223.6425 | 1250034.5716 | 2692229.9274 | 1250037.3048 | 2692250.9125 | 1250035.2409
30 | 2692034.5692 | 1249842.0301 | 2692005.7488 | 1249851.1324
31 | 2692046.5922 | 1249878.8338 | 2692053.8506 | 1249900.5632 | 2692061.529 | 1249891.8647 | 2692065.7505 | 1249888.4276
32 | 2692046.5922 | 1249878.8338 | 2692016.6766 | 1249889.0056
33 | 2692065.7505 | 1249888.4276 | 2692070.3193 | 1249894.7033 | 2692078.8246 | 1249917.8198 | 2692085.0572 | 1249918.0946 | 2692108.3826 | 1249910.6486
34 | 2692250.9125 | 1250035.2409 | 2692250.2872 | 1250028.8484 | 2692245.9965 | 1250016.785
35 | 2692243.9358 | 1250010.9915 | 2692245.9965 | 1250016.785

## bus_geodata
| x | y | coords
0 | 2692088.1237 | 1249802.409
1 | 2692086.9172 | 1249798.6408
2 | 2692091.8427 | 1249814.0107
3 | 2692085.9278 | 1249795.5504
4 | 2692096.3627 | 1249828.1236
5 | 2692108.0504 | 1249824.3023
6 | 2692065.8726 | 1249838.2299
7 | 2692104.4742 | 1249791.5529
8 | 2692113.5376 | 1249822.5084
9 | 2692115.0838 | 1249844.7835
10 | 2692036.3109 | 1249848.0284
11 | 2692116.536 | 1249849.0103
12 | 2692129.2101 | 1249817.3703
13 | 2692229.0739 | 1249842.8649
14 | 2692217.2496 | 1249840.0622
15 | 2692245.4201 | 1249838.1045
16 | 2692221.7911 | 1249739.3168
17 | 2692168.4677 | 1249952.7285
18 | 2692176.3843 | 1249814.7016
19 | 2692155.3142 | 1249758.886
20 | 2692195.3411 | 1249969.6816
21 | 2692156.1513 | 1249957.5194
22 | 2692204.4532 | 1249992.0961
23 | 2692218.384 | 1249960.9199
24 | 2692191.9246 | 1249999.6729
25 | 2692137.8718 | 1249866.1703
26 | 2692216.1617 | 1250026.6936
27 | 2692228.4214 | 1249971.6596
28 | 2692005.7488 | 1249851.1324
29 | 2692034.5692 | 1249842.0301
30 | 2692046.5922 | 1249878.8338
31 | 2692065.7505 | 1249888.4276
32 | 2692016.6766 | 1249889.0056
33 | 2692108.3826 | 1249910.6486
34 | 2692250.9125 | 1250035.2409
35 | 2692245.9965 | 1250016.785
36 | 2692243.9358 | 1250010.9915
37 | 2692036.3109 | 1249848.0284

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99504 | -0.095167 | 0.047168 | 0.011821
1 | 0.99501 | -0.095812 | 0.006389 | 0.0016012
2 | 0.99567 | -0.083073 | 0.0027297 | 0.00068413
3 | 0.995 | -0.095976 | 0.00287 | 0.00071929
4 | 0.99647 | -0.067673 | 0 | 0
5 | 0.99578 | -0.080876 | 0 | 0
6 | 1 | 0 | -0.32202 | -0.081228
7 | 0.99546 | -0.087078 | 0.0029909 | 0.00074958
8 | 0.99554 | -0.085381 | 0 | 0
9 | 0.99545 | -0.087269 | 0.01331 | 0.0033359
10 | 0.99718 | -0.05376 | 0 | 0
11 | 0.99543 | -0.087543 | 0.0034797 | 0.00087209
12 | 0.99492 | -0.097395 | 0 | 0
13 | 0.9883 | -0.22517 | 0.0017114 | 0.00042893
14 | 0.98829 | -0.22544 | 0.00094318 | 0.00023638
15 | 0.98835 | -0.22436 | 0 | 0
16 | 0.98931 | -0.20564 | 0 | 0
17 | 0.98707 | -0.24915 | 0 | 0
18 | 0.99308 | -0.13275 | 0 | 0
19 | 0.98777 | -0.2356 | 0.024244 | 0.006076
20 | 0.9868 | -0.25456 | 0 | 0
21 | 0.98706 | -0.24933 | 0.00077455 | 0.00019412
22 | 0.98678 | -0.25497 | 0 | 0
23 | 0.98675 | -0.25548 | 0.0017737 | 0.00044454
24 | 0.98667 | -0.25703 | 0.0037494 | 0.00093968
25 | 0.99459 | -0.10371 | 0.0070126 | 0.0017575
26 | 0.98674 | -0.2556 | 0 | 0
27 | 0.98674 | -0.25557 | 0.00031269 | 7.8368e-05
28 | 0.99457 | -0.10421 | 0.078717 | 0.019728
29 | 0.99674 | -0.062381 | 0 | 0
30 | 0.99364 | -0.12161 | 0 | 0
31 | 0.99082 | -0.17604 | 0 | 0
32 | 0.99244 | -0.14499 | 0.041864 | 0.010492
33 | 0.98635 | -0.26264 | 0.076935 | 0.019282
34 | 0.98671 | -0.25627 | 0 | 0
35 | 0.98669 | -0.2566 | 0.00018767 | 4.7034e-05
36 | 0.98669 | -0.25668 | 0.00076833 | 0.00019256
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0092593 | 0.0023206 | -0.009259 | -0.0023205 | 2.8448e-07 | 1.3067e-07 | 0.013847 | 0.013847 | 0.013847 | 0.99504 | -0.095167 | 0.99501 | -0.095812 | 3.804
1 | -0.056427 | -0.014142 | 0.05646 | 0.014163 | 3.2531e-05 | 2.0662e-05 | 0.084383 | 0.084383 | 0.084383 | 0.99504 | -0.095167 | 0.99567 | -0.083073 | 23.1821
2 | 0.00287 | 0.00071926 | -0.00287 | -0.00071929 | 2.2417e-08 | -2.7801e-08 | 0.004292 | 0.0042921 | 0.0042921 | 0.99501 | -0.095812 | 0.995 | -0.095976 | 1.1791
3 | -0.059189 | -0.014847 | 0.059233 | 0.014874 | 4.3488e-05 | 2.7639e-05 | 0.088462 | 0.088462 | 0.088462 | 0.99567 | -0.083073 | 0.99647 | -0.067673 | 24.3028
4 | 0.061572 | 0.015542 | -0.061534 | -0.015517 | 3.8913e-05 | 2.4745e-05 | 0.091985 | 0.091985 | 0.091985 | 0.99647 | -0.067673 | 0.99578 | -0.080876 | 25.2705
5 | -0.12081 | -0.030416 | 0.1212 | 0.030667 | 0.00039221 | 0.0002506 | 0.18045 | 0.18045 | 0.18045 | 0.99647 | -0.067673 | 1 | 0 | 49.5733
6 | 0.044738 | 0.011306 | -0.044729 | -0.0113 | 9.6601e-06 | 6.1076e-06 | 0.066887 | 0.066887 | 0.066887 | 0.99578 | -0.080876 | 0.99554 | -0.085381 | 18.3755
7 | 0.016795 | 0.0042109 | -0.01679 | -0.0042079 | 5.1153e-06 | 2.9922e-06 | 0.025098 | 0.025098 | 0.025098 | 0.99578 | -0.080876 | 0.99545 | -0.087269 | 6.8951
8 | 0.19918 | 0.050561 | -0.19866 | -0.050233 | 0.00051372 | 0.00032797 | 0.29661 | 0.29661 | 0.29661 | 1 | 0 | 0.99718 | -0.05376 | 40.7426
9 | -0.0029909 | -0.00074958 | 0.0029911 | 0.00074932 | 2.4176e-07 | -2.6464e-07 | 0.0044708 | 0.0044706 | 0.0044708 | 0.99546 | -0.087078 | 0.99554 | -0.085381 | 1.2282
10 | 0.041738 | 0.01055 | -0.041714 | -0.010535 | 2.4032e-05 | 1.5167e-05 | 0.062416 | 0.062416 | 0.062416 | 0.99554 | -0.085381 | 0.99492 | -0.097395 | 17.1473
11 | 0.0034797 | 0.00087207 | -0.0034797 | -0.00087209 | 4.5346e-08 | -2.9079e-08 | 0.0052016 | 0.0052016 | 0.0052016 | 0.99545 | -0.087269 | 0.99543 | -0.087543 | 1.429
12 | 0.11976 | 0.030384 | -0.11937 | -0.030135 | 0.00038939 | 0.00024879 | 0.17883 | 0.17883 | 0.17883 | 0.99718 | -0.05376 | 0.99364 | -0.12161 | 49.1302
13 | 0.078907 | 0.019849 | -0.078875 | -0.019829 | 3.2483e-05 | 2.0707e-05 | 0.11777 | 0.11777 | 0.11777 | 0.99718 | -0.05376 | 0.99674 | -0.062381 | 32.3551
14 | 0.0070147 | 0.0017582 | -0.0070126 | -0.0017575 | 2.1111e-06 | 6.8713e-07 | 0.010491 | 0.010492 | 0.010492 | 0.99492 | -0.097395 | 0.99459 | -0.10371 | 2.8823
15 | 0.034699 | 0.008777 | -0.03464 | -0.0087402 | 5.8751e-05 | 3.6848e-05 | 0.051925 | 0.051925 | 0.051925 | 0.99492 | -0.097395 | 0.99308 | -0.13275 | 14.2651
16 | 0.00094319 | 0.00023618 | -0.00094318 | -0.00023638 | 1.2295e-08 | -2.0048e-07 | 0.00142 | 0.0014201 | 0.0014201 | 0.9883 | -0.22517 | 0.98829 | -0.22544 | 0.39014
17 | -0.0026546 | -0.00066511 | 0.0026547 | 0.00066496 | 1.0199e-07 | -1.529e-07 | 0.0039968 | 0.0039967 | 0.0039968 | 0.9883 | -0.22517 | 0.98835 | -0.22436 | 1.098
18 | -0.010232 | -0.0025628 | 0.010242 | 0.0025674 | 9.1314e-06 | 4.5278e-06 | 0.015405 | 0.015404 | 0.015405 | 0.98835 | -0.22436 | 0.98931 | -0.20564 | 4.2321
19 | 0.0075777 | 0.0018979 | -0.0075687 | -0.0018945 | 8.9348e-06 | 3.3754e-06 | 0.011408 | 0.011409 | 0.011409 | 0.98835 | -0.22436 | 0.98707 | -0.24915 | 3.1343
20 | -0.03452 | -0.0086646 | 0.03464 | 0.0087402 | 0.00012045 | 7.5552e-05 | 0.051926 | 0.051925 | 0.051926 | 0.98931 | -0.20564 | 0.99308 | -0.13275 | 14.2653
21 | 0.024278 | 0.0060973 | -0.024244 | -0.006076 | 3.4661e-05 | 2.1295e-05 | 0.036521 | 0.036521 | 0.036521 | 0.98931 | -0.20564 | 0.98777 | -0.2356 | 10.0334
22 | 0.0067942 | 0.0017005 | -0.0067924 | -0.0017 | 1.7489e-06 | 5.5112e-07 | 0.010241 | 0.010242 | 0.010242 | 0.98707 | -0.24915 | 0.9868 | -0.25456 | 2.8136
23 | 0.00077455 | 0.00019395 | -0.00077455 | -0.00019412 | 6.7562e-09 | -1.646e-07 | 0.0011676 | 0.0011676 | 0.0011676 | 0.98707 | -0.24915 | 0.98706 | -0.24933 | 0.32078
24 | 0.0009561 | 0.00023806 | -0.00095608 | -0.00023836 | 1.884e-08 | -2.9693e-07 | 0.0014412 | 0.0014413 | 0.0014413 | 0.9868 | -0.25456 | 0.98678 | -0.25497 | 0.39596
25 | 0.0020865 | 0.00052243 | -0.0020864 | -0.00052269 | 9.1509e-08 | -2.5636e-07 | 0.0031461 | 0.0031463 | 0.0031463 | 0.9868 | -0.25456 | 0.98675 | -0.25548 | 0.86435
26 | 0.0037498 | 0.00093949 | -0.0037494 | -0.00093968 | 4.4101e-07 | -1.8759e-07 | 0.0056543 | 0.0056545 | 0.0056545 | 0.9868 | -0.25456 | 0.98667 | -0.25703 | 1.5534
27 | 0.00095608 | 0.00023836 | -0.00095605 | -0.0002388 | 2.8449e-08 | -4.4825e-07 | 0.0014413 | 0.0014414 | 0.0014414 | 0.98678 | -0.25497 | 0.98674 | -0.2556 | 0.396
28 | 0.00031269 | 7.8148e-05 | -0.00031269 | -7.8368e-05 | 1.4383e-09 | -2.1945e-07 | 0.00047146 | 0.00047154 | 0.00047154 | 0.98675 | -0.25548 | 0.98674 | -0.25557 | 0.12954
29 | 0.00095605 | 0.0002388 | -0.00095602 | -0.00023928 | 3.0427e-08 | -4.7927e-07 | 0.0014414 | 0.0014416 | 0.0014416 | 0.98674 | -0.2556 | 0.98671 | -0.25627 | 0.39605
30 | -0.078717 | -0.019728 | 0.078875 | 0.019829 | 0.0001572 | 0.00010022 | 0.11777 | 0.11777 | 0.11777 | 0.99457 | -0.10421 | 0.99674 | -0.062381 | 32.3551
31 | 0.077456 | 0.019614 | -0.077254 | -0.019485 | 0.00020184 | 0.00012866 | 0.11606 | 0.11606 | 0.11606 | 0.99364 | -0.12161 | 0.99082 | -0.17604 | 31.8858
32 | 0.041911 | 0.010522 | -0.041864 | -0.010492 | 4.6686e-05 | 2.947e-05 | 0.06277 | 0.06277 | 0.06277 | 0.99364 | -0.12161 | 0.99244 | -0.14499 | 17.2445
33 | 0.077254 | 0.019485 | -0.076935 | -0.019282 | 0.00031885 | 0.00020325 | 0.11606 | 0.11606 | 0.11606 | 0.99082 | -0.17604 | 0.98635 | -0.26264 | 31.8859
34 | 0.00095602 | 0.00023928 | -0.000956 | -0.00023952 | 1.4985e-08 | -2.3599e-07 | 0.0014416 | 0.0014417 | 0.0014417 | 0.98671 | -0.25627 | 0.98669 | -0.2566 | 0.39607
35 | 0.00076834 | 0.00019249 | -0.00076833 | -0.00019256 | 3.0959e-09 | -7.6557e-08 | 0.0011587 | 0.0011587 | 0.0011587 | 0.98669 | -0.2566 | 0.98669 | -0.25668 | 0.31833

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36316 | 0.091537

## res_load
| p_mw | q_mvar
0 | 0.047168 | 0.011821
1 | 0.006389 | 0.0016012
2 | 0.0027297 | 0.00068413
3 | 0.00287 | 0.00071929
4 | 0.041134 | 0.010309
5 | 0.0029909 | 0.00074958
6 | 0.01331 | 0.0033359
7 | 0.0034797 | 0.00087209
8 | 0.0017114 | 0.00042893
9 | 0.00094318 | 0.00023638
10 | 0.024244 | 0.006076
11 | 0.00077455 | 0.00019412
12 | 0.0017737 | 0.00044454
13 | 0.0037494 | 0.00093968
14 | 0.0070126 | 0.0017575
15 | 0.00031269 | 7.8368e-05
16 | 0.078717 | 0.019728
17 | 0.041864 | 0.010492
18 | 0.076935 | 0.019282
19 | 0.00018767 | 4.7034e-05
20 | 0.00076833 | 0.00019256

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1