## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2-11_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2-11_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2-11_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2-11_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2-11_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2-11_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2-11_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2-11_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2-11_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2-11_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_2-11_0_5_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_2-11_0_5_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_2-11_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2-11_0_5_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_2-11_0_5_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2-11_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2-11_0_5_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_2-11_0_5_node_88 | 0.4 | n |  | TRUE
21 | bus_LV_2-11_0_5_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_2-11_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2-11_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2-11_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2-11_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2-11_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2-11_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2-11_0_5_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2-11_0_5_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2-11_0_5_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2-11_0_5_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2-11_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2-11_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2-11_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2-11_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2-11_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2-11_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2-11_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2-11_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_2-11_0_5_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_2-11_0_5_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_2-11_0_5_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_2-11_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2-11_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2-11_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2-11_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2-11_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2-11_0_5_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2-11_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_2-11_0_5_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_2-11_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_2-11_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2-11_0_5_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_2-11_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_2-11_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_2-11_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2-11_0_5_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_2-11_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_2-11_0_5_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_2-11_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2-11_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2-11_0_5_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_2-11_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2-11_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2-11_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2-11_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2-11_0_5_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_2-11_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_2-11_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_2-11_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_2-11_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_2-11_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2-11_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2-11_0_5_node_96 | 0.4 | n |  | TRUE
75 | bus_LV_2-11_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2-11_0_5_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_2-11_0_5_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_2-11_0_5_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2-11_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2-11_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2-11_0_5_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_2-11_0_5_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_2-11_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2-11_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2-11_0_5_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_2-11_0_5_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_2-11_0_5_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2-11_0_5_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_2-11_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_2-11_0_5_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_349_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2-11_0_5_load_0 | 0 | 0.011913 | 0.0029858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2-11_0_5_load_1 | 1 | 0.0045763 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2-11_0_5_load_3 | 3 | 0.0063277 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2-11_0_5_load_5 | 4 | 0.0084781 | 0.0021248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2-11_0_5_load_4 | 6 | 0.013616 | 0.0034124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2-11_0_5_load_7 | 7 | 0.0097454 | 0.0024424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2-11_0_5_load_9 | 9 | 0.008009 | 0.0020072 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2-11_0_5_load_22 | 14 | 0.0054486 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2-11_0_5_load_17 | 15 | 0.039248 | 0.0098364 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2-11_0_5_load_35 | 17 | 0.0008674 | 0.00021739 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2-11_0_5_load_88 | 20 | 0.037283 | 0.0093439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2-11_0_5_load_89 | 21 | 0.0060873 | 0.0015256 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2-11_0_5_load_10 | 23 | 0.0097287 | 0.0024382 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2-11_0_5_load_11 | 24 | 0.0050907 | 0.0012759 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2-11_0_5_load_12 | 25 | 0.010856 | 0.0027207 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2-11_0_5_load_13 | 26 | 0.0051611 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2-11_0_5_load_39 | 28 | 0.0021359 | 0.0005353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2-11_0_5_load_36 | 29 | 0.009165 | 0.002297 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2-11_0_5_load_41 | 30 | 0.008789 | 0.0022027 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2-11_0_5_load_37 | 31 | 0.0042676 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2-11_0_5_load_38 | 32 | 0.0018729 | 0.0004694 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2-11_0_5_load_33 | 33 | 0.00086658 | 0.00021719 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2-11_0_5_load_18 | 34 | 0.018731 | 0.0046944 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2-11_0_5_load_19 | 35 | 0.011816 | 0.0029614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2-11_0_5_load_21 | 36 | 0.01355 | 0.003396 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2-11_0_5_load_23 | 37 | 0.012758 | 0.0031974 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2-11_0_5_load_87 | 42 | 0.0052523 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2-11_0_5_load_42 | 43 | 0.018609 | 0.004664 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2-11_0_5_load_28 | 44 | 0.0051014 | 0.0012785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2-11_0_5_load_29 | 45 | 0.011811 | 0.0029601 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2-11_0_5_load_30 | 46 | 0.0042945 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2-11_0_5_load_31 | 47 | 0.012636 | 0.0031668 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2-11_0_5_load_47 | 48 | 0.0022679 | 0.00056839 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2-11_0_5_load_48 | 52 | 0.0026146 | 0.00065529 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2-11_0_5_load_72 | 53 | 0.014143 | 0.0035445 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2-11_0_5_load_32 | 55 | 0.0022489 | 0.00056362 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2-11_0_5_load_34 | 56 | 0.002829 | 0.00070902 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2-11_0_5_load_68 | 58 | 0.0030625 | 0.00076752 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2-11_0_5_load_85 | 59 | 0.01414 | 0.0035438 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2-11_0_5_load_54 | 60 | 0.0071656 | 0.0017959 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2-11_0_5_load_74 | 62 | 0.006115 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2-11_0_5_load_49 | 63 | 0.0024182 | 0.00060605 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2-11_0_5_load_53 | 64 | 0.0021737 | 0.00054479 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2-11_0_5_load_55 | 65 | 0.0036669 | 0.00091901 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2-11_0_5_load_57 | 66 | 0.0044811 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2-11_0_5_load_90 | 67 | 0.017041 | 0.0042709 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2-11_0_5_load_59 | 68 | 0.002149 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2-11_0_5_load_60 | 69 | 0.0015194 | 0.00038081 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2-11_0_5_load_62 | 70 | 0.0034727 | 0.00087034 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2-11_0_5_load_65 | 71 | 0.0041362 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2-11_0_5_load_69 | 72 | 0.0023193 | 0.00058127 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2-11_0_5_load_66 | 73 | 0.0023731 | 0.00059475 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2-11_0_5_load_96 | 74 | 0.016906 | 0.004237 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2-11_0_5_load_67 | 75 | 0.001767 | 0.00044286 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2-11_0_5_load_92 | 76 | 0.0051229 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2-11_0_5_load_94 | 77 | 0.0015552 | 0.00038978 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2-11_0_5_load_75 | 78 | 0.0074145 | 0.0018582 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2-11_0_5_load_82 | 83 | 0.022016 | 0.0055177 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2-11_0_5_load_83 | 84 | 0.0062976 | 0.0015783 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2-11_0_5_load_95 | 86 | 0.0035208 | 0.00088239 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2-11_0_5_load_84 | 88 | 0.0079887 | 0.0020022 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2-11_0_5_load_86 | 89 | 0.0074501 | 0.0018672 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2-11_0_5_load_91 | 90 | 0.025137 | 0.0062999 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2-11_0_5_line_0 |  | 0 | 1 | 0.03484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2-11_0_5_line_1 |  | 0 | 2 | 0.020491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2-11_0_5_line_2 |  | 1 | 3 | 0.0080648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2-11_0_5_line_3 |  | 2 | 4 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2-11_0_5_line_4 |  | 3 | 5 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2-11_0_5_line_5 |  | 4 | 8 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2-11_0_5_line_6 |  | 4 | 9 | 0.020154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2-11_0_5_line_7 |  | 5 | 10 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2-11_0_5_line_8 |  | 5 | 11 | 0.031767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2-11_0_5_line_9 |  | 6 | 7 | 0.014989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2-11_0_5_line_10 |  | 7 | 12 | 0.018436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2-11_0_5_line_11 |  | 8 | 13 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2-11_0_5_line_12 |  | 9 | 14 | 0.0039939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2-11_0_5_line_13 |  | 10 | 15 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2-11_0_5_line_14 |  | 11 | 16 | 0.043482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2-11_0_5_line_15 |  | 11 | 17 | 0.036199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2-11_0_5_line_16 |  | 12 | 18 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2-11_0_5_line_17 |  | 12 | 19 | 0.005662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2-11_0_5_line_18 |  | 13 | 20 | 0.035336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2-11_0_5_line_19 |  | 13 | 21 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2-11_0_5_line_20 |  | 14 | 22 | 0.0089954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2-11_0_5_line_21 |  | 16 | 32 | 0.056354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2-11_0_5_line_22 |  | 17 | 33 | 0.0061971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2-11_0_5_line_23 |  | 18 | 44 | 0.015798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2-11_0_5_line_24 |  | 18 | 45 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2-11_0_5_line_25 |  | 19 | 46 | 0.0079937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2-11_0_5_line_26 |  | 19 | 47 | 0.016687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2-11_0_5_line_27 |  | 21 | 67 | 0.0024403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2-11_0_5_line_28 |  | 22 | 37 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2-11_0_5_line_29 |  | 22 | 34 | 0.021016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2-11_0_5_line_30 |  | 23 | 24 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2-11_0_5_line_31 |  | 23 | 25 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2-11_0_5_line_32 |  | 24 | 26 | 0.0079008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2-11_0_5_line_33 |  | 26 | 27 | 0.0057109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2-11_0_5_line_34 |  | 27 | 28 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2-11_0_5_line_35 |  | 27 | 29 | 0.020605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2-11_0_5_line_36 |  | 28 | 30 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2-11_0_5_line_37 |  | 29 | 31 | 0.0017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2-11_0_5_line_38 |  | 31 | 32 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2-11_0_5_line_39 |  | 33 | 55 | 0.0060395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2-11_0_5_line_40 |  | 34 | 35 | 0.0082735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2-11_0_5_line_41 |  | 35 | 36 | 0.0084289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2-11_0_5_line_42 |  | 37 | 38 | 0.023682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2-11_0_5_line_43 |  | 38 | 39 | 0.04659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2-11_0_5_line_44 |  | 38 | 40 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2-11_0_5_line_45 |  | 39 | 41 | 0.006968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2-11_0_5_line_46 |  | 39 | 42 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2-11_0_5_line_47 |  | 40 | 43 | 0.014634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2-11_0_5_line_48 |  | 41 | 57 | 0.02632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2-11_0_5_line_49 |  | 41 | 58 | 0.017093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2-11_0_5_line_50 |  | 42 | 59 | 0.0095841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2-11_0_5_line_51 |  | 43 | 45 | 0.040228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2-11_0_5_line_52 |  | 44 | 48 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2-11_0_5_line_53 |  | 46 | 49 | 0.006993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2-11_0_5_line_54 |  | 48 | 50 | 0.030126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2-11_0_5_line_55 |  | 49 | 51 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2-11_0_5_line_56 |  | 49 | 52 | 0.025672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2-11_0_5_line_57 |  | 50 | 62 | 0.029397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2-11_0_5_line_58 |  | 51 | 65 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2-11_0_5_line_59 |  | 51 | 54 | 0.056792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2-11_0_5_line_60 |  | 52 | 63 | 0.0060766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2-11_0_5_line_61 |  | 53 | 54 | 0.046553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2-11_0_5_line_62 |  | 55 | 56 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2-11_0_5_line_63 |  | 57 | 76 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2-11_0_5_line_64 |  | 57 | 73 | 0.02433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2-11_0_5_line_65 |  | 58 | 75 | 0.0086616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2-11_0_5_line_66 |  | 59 | 82 | 0.0067199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2-11_0_5_line_67 |  | 60 | 61 | 0.026128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2-11_0_5_line_68 |  | 61 | 64 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2-11_0_5_line_69 |  | 61 | 63 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2-11_0_5_line_70 |  | 62 | 74 | 0.0043579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2-11_0_5_line_71 |  | 64 | 66 | 0.045972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2-11_0_5_line_72 |  | 67 | 90 | 0.0089382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2-11_0_5_line_73 |  | 68 | 69 | 0.0091335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2-11_0_5_line_74 |  | 69 | 70 | 0.0055583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2-11_0_5_line_75 |  | 70 | 71 | 0.0094009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2-11_0_5_line_76 |  | 71 | 72 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2-11_0_5_line_77 |  | 72 | 75 | 0.0027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2-11_0_5_line_78 |  | 76 | 77 | 0.021709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2-11_0_5_line_79 |  | 77 | 87 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2-11_0_5_line_80 |  | 78 | 79 | 0.05188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2-11_0_5_line_81 |  | 78 | 80 | 0.01387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2-11_0_5_line_82 |  | 79 | 81 | 0.059944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2-11_0_5_line_83 |  | 80 | 82 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2-11_0_5_line_84 |  | 80 | 83 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2-11_0_5_line_85 |  | 81 | 84 | 0.039598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2-11_0_5_line_86 |  | 82 | 88 | 0.003393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2-11_0_5_line_87 |  | 83 | 89 | 0.012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2-11_0_5_line_88 |  | 85 | 86 | 0.0098648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2-11_0_5_line_89 |  | 85 | 87 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2-11_0_5_trafo_18 | 0.63 MVA 20/0.4 kV | 91 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2676815.1895 | 1237085.9122 | 2676815.3435 | 1237066.1044 | 2676813.0685 | 1237051.2455
1 | 2676813.8171 | 1237106.3015 | 2676815.0928 | 1237098.3458 | 2676815.1895 | 1237085.9122
2 | 2676811.7249 | 1237043.2936 | 2676812.8736 | 1237049.9724 | 2676813.0685 | 1237051.2455
3 | 2676813.8171 | 1237106.3015 | 2676819.7271 | 1237113.8609 | 2676824.1185 | 1237119.4883
4 | 2676808.1164 | 1237022.3139 | 2676811.7249 | 1237043.2936
5 | 2676824.1185 | 1237119.4883 | 2676826.4742 | 1237099.4159
6 | 2676824.1185 | 1237119.4883 | 2676822.4737 | 1237139.5748
7 | 2676822.7751 | 1237019.8128 | 2676817.1481 | 1237020.7852 | 2676808.1164 | 1237022.3139
8 | 2676788.718 | 1237003.9838 | 2676796.0193 | 1237005.2012 | 2676806.3873 | 1237009.1602 | 2676808.1164 | 1237022.3139
9 | 2676738.5147 | 1237157.6836 | 2676745.4948 | 1237144.4195
10 | 2676730.4561 | 1237174.2493 | 2676733.3583 | 1237167.4821 | 2676738.5147 | 1237157.6836
11 | 2676853.1071 | 1237096.0136 | 2676843.8226 | 1237097.2054 | 2676826.4742 | 1237099.4159
12 | 2676822.4737 | 1237139.5748 | 2676822.1477 | 1237143.5554
13 | 2676822.7751 | 1237019.8128 | 2676825.7805 | 1237044.8469 | 2676826.1505 | 1237051.9023
14 | 2676747.3291 | 1236992.8079 | 2676763.4962 | 1237001.2226 | 2676788.718 | 1237003.9838
15 | 2676788.718 | 1237003.9838 | 2676780.0244 | 1237039.1238
16 | 2676730.4561 | 1237174.2493 | 2676732.5285 | 1237174.3094 | 2676737.8611 | 1237174.4451
17 | 2676730.4561 | 1237174.2493 | 2676724.8033 | 1237173.7092
18 | 2676853.1071 | 1237096.0136 | 2676861.4776 | 1237130.3457
19 | 2676853.1071 | 1237096.0136 | 2676859.4302 | 1237093.2824 | 2676870.41 | 1237092.0386
20 | 2676821.4136 | 1237152.5207 | 2676822.1477 | 1237143.5554
21 | 2676747.3291 | 1236992.8079 | 2676727.2447 | 1237038.0799 | 2676724.2523 | 1237044.2158
22 | 2676778.5361 | 1237045.1395 | 2676780.0244 | 1237039.1238
23 | 2676737.8611 | 1237174.4451 | 2676736.8329 | 1237186.0843 | 2676737.0813 | 1237190.1901
24 | 2676737.8611 | 1237174.4451 | 2676755.4156 | 1237177.9298 | 2676759.3205 | 1237179.3411
25 | 2676724.8033 | 1237173.7092 | 2676716.8465 | 1237172.9422
26 | 2676724.8033 | 1237173.7092 | 2676726.5007 | 1237190.3098
27 | 2676872.8348 | 1237091.7639 | 2676870.41 | 1237092.0386
28 | 2676821.4136 | 1237152.5207 | 2676821.6856 | 1237166.8582
29 | 2676821.4136 | 1237152.5207 | 2676800.4025 | 1237152.984
30 | 2676736.8929 | 1237097.7546 | 2676715.6963 | 1237092.2083
31 | 2676736.8929 | 1237097.7546 | 2676747.2317 | 1237100.4599
32 | 2676715.6963 | 1237092.2083 | 2676708.0529 | 1237090.2083
33 | 2676702.528 | 1237088.7626 | 2676708.0529 | 1237090.2083
34 | 2676702.528 | 1237088.7626 | 2676690.1857 | 1237083.3006
35 | 2676702.528 | 1237088.7626 | 2676711.5596 | 1237070.2429
36 | 2676672.1004 | 1237075.2972 | 2676690.1857 | 1237083.3006
37 | 2676712.3167 | 1237068.6904 | 2676711.5596 | 1237070.2429
38 | 2676712.3167 | 1237068.6904 | 2676724.2523 | 1237044.2158
39 | 2676778.5361 | 1237045.1395 | 2676777.0857 | 1237051.0023
40 | 2676792.1363 | 1237153.1866 | 2676792.1759 | 1237153.1654 | 2676800.4025 | 1237152.984
41 | 2676792.1363 | 1237153.1866 | 2676784.709 | 1237157.1717 | 2676784.709 | 1237157.1717
42 | 2676820.8846 | 1237190.4736 | 2676821.9624 | 1237181.4479 | 2676821.6856 | 1237166.8582
43 | 2676820.8846 | 1237190.4736 | 2676824.1894 | 1237191.1946 | 2676827.0492 | 1237192.9772 | 2676829.141 | 1237195.6284 | 2676830.2044 | 1237198.8221 | 2676830.1305 | 1237202.1902 | 2676839.5584 | 1237205.103 | 2676842.7553 | 1237206.5565 | 2676854.7788 | 1237217.6308
44 | 2676820.8846 | 1237190.4736 | 2676818.1573 | 1237190.7385 | 2676815.6096 | 1237191.7396 | 2676813.4317 | 1237193.4015 | 2676811.8067 | 1237195.6042 | 2676810.8429 | 1237198.1602
45 | 2676859.8006 | 1237222.4769 | 2676854.7788 | 1237217.6308
46 | 2676854.7788 | 1237217.6308 | 2676868.9442 | 1237204.1047 | 2676869.6716 | 1237202.1152
47 | 2676810.8429 | 1237198.1602 | 2676802.0145 | 1237195.1106 | 2676797.1078 | 1237193.1236
48 | 2676859.8006 | 1237222.4769 | 2676879.7494 | 1237239.7137
49 | 2676859.8006 | 1237222.4769 | 2676858.01 | 1237226.3676 | 2676852.8741 | 1237233.8397 | 2676850.4413 | 1237236.6847
50 | 2676871.7799 | 1237192.8804 | 2676871.6269 | 1237196.7676 | 2676869.6716 | 1237202.1152
51 | 2676759.3205 | 1237179.3411 | 2676772.5492 | 1237184.1221 | 2676777.3618 | 1237185.8522 | 2676790.6412 | 1237190.5048 | 2676797.1078 | 1237193.1236
52 | 2676737.0813 | 1237190.1901 | 2676737.5499 | 1237197.9351 | 2676738.8017 | 1237202.5831
53 | 2676709.8858 | 1237172.2712 | 2676716.8465 | 1237172.9422
54 | 2676746.5185 | 1237231.6966 | 2676746.3653 | 1237230.6717 | 2676744.1489 | 1237222.4374 | 2676738.8017 | 1237202.5831
55 | 2676709.8858 | 1237172.2712 | 2676705.8352 | 1237181.2473 | 2676697.0518 | 1237189.94
56 | 2676709.8858 | 1237172.2712 | 2676686.1778 | 1237162.423
57 | 2676746.5185 | 1237231.6966 | 2676748.6 | 1237245.6888 | 2676748.0541 | 1237260.93
58 | 2676697.0518 | 1237189.94 | 2676686.0183 | 1237185.6189
59 | 2676681.6406 | 1237232.5817 | 2676670.7048 | 1237222.2223 | 2676681.4909 | 1237207.2622 | 2676697.0518 | 1237189.94
60 | 2676686.1778 | 1237162.423 | 2676680.5661 | 1237160.092
61 | 2676681.6406 | 1237232.5817 | 2676687.5322 | 1237242.7426 | 2676691.5684 | 1237245.4077 | 2676696.5065 | 1237246.2053 | 2676715.9162 | 1237241.953 | 2676716.4131 | 1237236.8781
62 | 2676783.3508 | 1237087.8393 | 2676776.2647 | 1237078.7748 | 2676776.5983 | 1237052.9723 | 2676777.0857 | 1237051.0023
63 | 2676879.7494 | 1237239.7137 | 2676889.3155 | 1237229.8799
64 | 2676879.7494 | 1237239.7137 | 2676877.3501 | 1237243.8633 | 2676874.6803 | 1237249.6216 | 2676868.4921 | 1237255.9682 | 2676865.8714 | 1237258.5138 | 2676865.4746 | 1237259.056
65 | 2676844.8122 | 1237243.2678 | 2676850.4413 | 1237236.6847
66 | 2676872.0441 | 1237186.1656 | 2676871.7799 | 1237192.8804
67 | 2676664.2476 | 1237153.3133 | 2676640.1187 | 1237143.2901
68 | 2676664.2476 | 1237153.3133 | 2676669.0052 | 1237142.4043
69 | 2676664.2476 | 1237153.3133 | 2676680.5661 | 1237160.092
70 | 2676748.0541 | 1237260.93 | 2676747.8982 | 1237265.285
71 | 2676669.0052 | 1237142.4043 | 2676674.9378 | 1237128.801 | 2676672.8661 | 1237119.3121 | 2676666.6152 | 1237110.592 | 2676656.8909 | 1237106.1525
72 | 2676881.7162 | 1237090.7579 | 2676872.8348 | 1237091.7639
73 | 2676819.279 | 1237271.3868 | 2676825.4958 | 1237264.6957
74 | 2676829.2792 | 1237260.6237 | 2676825.4958 | 1237264.6957
75 | 2676835.678 | 1237253.7366 | 2676829.2792 | 1237260.6237
76 | 2676835.678 | 1237253.7366 | 2676837.9697 | 1237251.2701 | 2676843.0045 | 1237245.382
77 | 2676844.8122 | 1237243.2678 | 2676843.0045 | 1237245.382
78 | 2676906.1783 | 1237217.0593 | 2676899.6491 | 1237219.257 | 2676889.3155 | 1237229.8799
79 | 2676919.0204 | 1237212.7366 | 2676906.1783 | 1237217.0593
80 | 2676950.9962 | 1237177.693 | 2676944.3625 | 1237189.7932 | 2676938.5907 | 1237191.4418 | 2676906.7653 | 1237187.427
81 | 2676892.8956 | 1237187.4586 | 2676906.7653 | 1237187.427
82 | 2676950.9962 | 1237177.693 | 2676955.8418 | 1237166.3701 | 2676960.486 | 1237153.0654 | 2676965.0252 | 1237136.7796 | 2676968.7764 | 1237120.5725
83 | 2676872.0441 | 1237186.1656 | 2676882.8459 | 1237187.5731 | 2676891.2991 | 1237187.4602 | 2676892.8956 | 1237187.4586
84 | 2676892.8956 | 1237187.4586 | 2676891.4508 | 1237165.8138
85 | 2676968.7764 | 1237120.5725 | 2676929.174 | 1237117.5908
86 | 2676872.1788 | 1237182.7761 | 2676872.0441 | 1237186.1656
87 | 2676896.4747 | 1237158.8184 | 2676896.8194 | 1237165.5052 | 2676891.4508 | 1237165.8138
88 | 2676923.5186 | 1237234.6323 | 2676913.6936 | 1237235.5168
89 | 2676923.5186 | 1237234.6323 | 2676922.0513 | 1237225.8294 | 2676919.4773 | 1237216.6007 | 2676919.3008 | 1237214.4525 | 2676919.0204 | 1237212.7366

## bus_geodata
| x | y | coords
0 | 2676815.1895 | 1237085.9122
1 | 2676813.0685 | 1237051.2455
2 | 2676813.8171 | 1237106.3015
3 | 2676811.7249 | 1237043.2936
4 | 2676824.1185 | 1237119.4883
5 | 2676808.1164 | 1237022.3139
6 | 2676745.4949 | 1237144.4195
7 | 2676738.5147 | 1237157.6836
8 | 2676826.4742 | 1237099.4159
9 | 2676822.4737 | 1237139.5748
10 | 2676822.7751 | 1237019.8128
11 | 2676788.718 | 1237003.9838
12 | 2676730.4561 | 1237174.2493
13 | 2676853.1071 | 1237096.0136
14 | 2676822.1477 | 1237143.5554
15 | 2676826.1505 | 1237051.9023
16 | 2676747.3291 | 1236992.8079
17 | 2676780.0244 | 1237039.1238
18 | 2676737.8611 | 1237174.4451
19 | 2676724.8033 | 1237173.7092
20 | 2676861.4776 | 1237130.3457
21 | 2676870.41 | 1237092.0386
22 | 2676821.4136 | 1237152.5207
23 | 2676736.8929 | 1237097.7546
24 | 2676715.6963 | 1237092.2083
25 | 2676747.2317 | 1237100.4599
26 | 2676708.0529 | 1237090.2083
27 | 2676702.528 | 1237088.7626
28 | 2676690.1857 | 1237083.3006
29 | 2676711.5596 | 1237070.2429
30 | 2676672.1004 | 1237075.2972
31 | 2676712.3167 | 1237068.6904
32 | 2676724.2523 | 1237044.2158
33 | 2676778.5361 | 1237045.1395
34 | 2676800.4025 | 1237152.984
35 | 2676792.1363 | 1237153.1866
36 | 2676784.709 | 1237157.1717
37 | 2676821.6856 | 1237166.8582
38 | 2676820.8846 | 1237190.4736
39 | 2676854.7788 | 1237217.6308
40 | 2676810.8429 | 1237198.1602
41 | 2676859.8006 | 1237222.4769
42 | 2676869.6716 | 1237202.1152
43 | 2676797.1078 | 1237193.1236
44 | 2676737.0813 | 1237190.1901
45 | 2676759.3205 | 1237179.3411
46 | 2676716.8465 | 1237172.9422
47 | 2676726.5007 | 1237190.3098
48 | 2676738.8017 | 1237202.5831
49 | 2676709.8858 | 1237172.2712
50 | 2676746.5185 | 1237231.6966
51 | 2676697.0518 | 1237189.94
52 | 2676686.1778 | 1237162.423
53 | 2676716.4131 | 1237236.8781
54 | 2676681.6406 | 1237232.5817
55 | 2676777.0857 | 1237051.0023
56 | 2676783.3508 | 1237087.8393
57 | 2676879.7494 | 1237239.7137
58 | 2676850.4413 | 1237236.6847
59 | 2676871.7799 | 1237192.8804
60 | 2676640.1187 | 1237143.2901
61 | 2676664.2476 | 1237153.3133
62 | 2676748.0541 | 1237260.93
63 | 2676680.5661 | 1237160.092
64 | 2676669.0052 | 1237142.4043
65 | 2676686.0183 | 1237185.6189
66 | 2676656.8909 | 1237106.1525
67 | 2676872.8348 | 1237091.7639
68 | 2676819.279 | 1237271.3868
69 | 2676825.4958 | 1237264.6957
70 | 2676829.2792 | 1237260.6237
71 | 2676835.678 | 1237253.7366
72 | 2676843.0045 | 1237245.382
73 | 2676865.4746 | 1237259.056
74 | 2676747.8982 | 1237265.285
75 | 2676844.8122 | 1237243.2678
76 | 2676889.3155 | 1237229.8799
77 | 2676906.1783 | 1237217.0593
78 | 2676906.7653 | 1237187.427
79 | 2676950.9962 | 1237177.693
80 | 2676892.8956 | 1237187.4586
81 | 2676968.7764 | 1237120.5725
82 | 2676872.0441 | 1237186.1656
83 | 2676891.4508 | 1237165.8138
84 | 2676929.174 | 1237117.5908
85 | 2676923.5186 | 1237234.6323
86 | 2676913.6936 | 1237235.5168
87 | 2676919.0204 | 1237212.7366
88 | 2676872.1788 | 1237182.7761
89 | 2676896.4747 | 1237158.8184
90 | 2676881.7162 | 1237090.7579
91 | 2676821.4136 | 1237152.5207

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99057 | -0.1796 | 0.011913 | 0.0029858
1 | 0.98689 | -0.25044 | 0.0045763 | 0.0011469
2 | 0.99296 | -0.13386 | 0 | 0
3 | 0.98607 | -0.26625 | 0.0063277 | 0.0015859
4 | 0.99491 | -0.096713 | 0.0084781 | 0.0021248
5 | 0.98403 | -0.30569 | 0 | 0
6 | 0.98289 | -0.32898 | 0.013616 | 0.0034124
7 | 0.98308 | -0.3253 | 0.0097454 | 0.0024424
8 | 0.99333 | -0.12721 | 0 | 0
9 | 0.99696 | -0.05776 | 0.008009 | 0.0020072
10 | 0.98349 | -0.31617 | 0 | 0
11 | 0.98214 | -0.34229 | 0 | 0
12 | 0.98348 | -0.31754 | 0 | 0
13 | 0.99123 | -0.16775 | 0 | 0
14 | 0.99717 | -0.053768 | 0.0054486 | 0.0013655
15 | 0.98233 | -0.33902 | 0.039248 | 0.0098364
16 | 0.97983 | -0.38724 | 0 | 0
17 | 0.98192 | -0.34675 | 0.0008674 | 0.00021739
18 | 0.984 | -0.3073 | 0 | 0
19 | 0.9832 | -0.32301 | 0 | 0
20 | 0.99002 | -0.19115 | 0.037283 | 0.0093439
21 | 0.99044 | -0.18312 | 0.0060873 | 0.0015256
22 | 0.99765 | -0.044571 | 0 | 0
23 | 0.97379 | -0.50593 | 0.0097287 | 0.0024382
24 | 0.97421 | -0.49764 | 0.0050907 | 0.0012759
25 | 0.97368 | -0.50806 | 0.010856 | 0.0027207
26 | 0.97439 | -0.49392 | 0.0051611 | 0.0012935
27 | 0.97456 | -0.49068 | 0 | 0
28 | 0.97442 | -0.49339 | 0.0021359 | 0.0005353
29 | 0.97536 | -0.47491 | 0.009165 | 0.002297
30 | 0.97426 | -0.49658 | 0.008789 | 0.0022027
31 | 0.97544 | -0.47329 | 0.0042676 | 0.0010696
32 | 0.97684 | -0.4458 | 0.0018729 | 0.0004694
33 | 0.98188 | -0.34741 | 0.00086658 | 0.00021719
34 | 1 | 0 | -0.51905 | -0.13219
35 | 0.99981 | -0.0036586 | 0.011816 | 0.0029614
36 | 0.99971 | -0.0056503 | 0.01355 | 0.003396
37 | 0.99682 | -0.060411 | 0.012758 | 0.0031974
38 | 0.99421 | -0.11026 | 0 | 0
39 | 0.98986 | -0.19407 | 0 | 0
40 | 0.99247 | -0.14351 | 0 | 0
41 | 0.98966 | -0.19791 | 0 | 0
42 | 0.98846 | -0.22135 | 0.0052523 | 0.0013163
43 | 0.99061 | -0.17925 | 0.018609 | 0.004664
44 | 0.98356 | -0.31595 | 0.0051014 | 0.0012785
45 | 0.98619 | -0.26478 | 0.011811 | 0.0029601
46 | 0.9829 | -0.32892 | 0.0042945 | 0.0010763
47 | 0.983 | -0.32681 | 0.012636 | 0.0031668
48 | 0.98327 | -0.32168 | 0.0022679 | 0.00056839
49 | 0.98266 | -0.33354 | 0 | 0
50 | 0.98263 | -0.33419 | 0 | 0
51 | 0.98229 | -0.34068 | 0 | 0
52 | 0.98221 | -0.34228 | 0.0026146 | 0.00065529
53 | 0.98094 | -0.36712 | 0.014143 | 0.0035445
54 | 0.98155 | -0.3552 | 0 | 0
55 | 0.98185 | -0.34797 | 0.0022489 | 0.00056362
56 | 0.98175 | -0.34998 | 0.002829 | 0.00070902
57 | 0.98936 | -0.2038 | 0 | 0
58 | 0.98938 | -0.20352 | 0.0030625 | 0.00076752
59 | 0.98788 | -0.23253 | 0.01414 | 0.0035438
60 | 0.98172 | -0.35187 | 0.0071656 | 0.0017959
61 | 0.98189 | -0.34848 | 0 | 0
62 | 0.982 | -0.34641 | 0.006115 | 0.0015326
63 | 0.98212 | -0.34407 | 0.0024182 | 0.00060605
64 | 0.98182 | -0.34992 | 0.0021737 | 0.00054479
65 | 0.98225 | -0.34146 | 0.0036669 | 0.00091901
66 | 0.98163 | -0.35364 | 0.0044811 | 0.0011231
67 | 0.99034 | -0.18495 | 0.017041 | 0.0042709
68 | 0.98901 | -0.21071 | 0.002149 | 0.0005386
69 | 0.98902 | -0.21036 | 0.0015194 | 0.00038081
70 | 0.98904 | -0.20999 | 0.0034727 | 0.00087034
71 | 0.9891 | -0.2088 | 0.0041362 | 0.0010366
72 | 0.98922 | -0.20656 | 0.0023193 | 0.00058127
73 | 0.98931 | -0.20483 | 0.0023731 | 0.00059475
74 | 0.98193 | -0.34774 | 0.016906 | 0.004237
75 | 0.98925 | -0.20589 | 0.001767 | 0.00044286
76 | 0.98923 | -0.2063 | 0.0051229 | 0.0012839
77 | 0.98913 | -0.20826 | 0.0015552 | 0.00038978
78 | 0.98656 | -0.2582 | 0.0074145 | 0.0018582
79 | 0.98626 | -0.26406 | 0 | 0
80 | 0.98673 | -0.2548 | 0 | 0
81 | 0.98591 | -0.27083 | 0 | 0
82 | 0.98756 | -0.23867 | 0 | 0
83 | 0.98615 | -0.26625 | 0.022016 | 0.0055177
84 | 0.98568 | -0.2753 | 0.0062976 | 0.0015783
85 | 0.98902 | -0.21052 | 0 | 0
86 | 0.98898 | -0.21113 | 0.0035208 | 0.00088239
87 | 0.98909 | -0.20911 | 0 | 0
88 | 0.98754 | -0.23915 | 0.0079887 | 0.0020022
89 | 0.98606 | -0.26786 | 0.0074501 | 0.0018672
90 | 0.99014 | -0.18895 | 0.025137 | 0.0062999
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11529 | 0.029382 | -0.1149 | -0.029131 | 0.00039269 | 0.00025087 | 0.17337 | 0.17337 | 0.17337 | 0.99057 | -0.1796 | 0.98689 | -0.25044 | 47.6282
1 | -0.12721 | -0.032368 | 0.12749 | 0.032547 | 0.0002811 | 0.00017964 | 0.19126 | 0.19126 | 0.19126 | 0.99057 | -0.1796 | 0.99296 | -0.13386 | 52.5446
2 | 0.11033 | 0.027984 | -0.11024 | -0.027931 | 8.3806e-05 | 5.3533e-05 | 0.16647 | 0.16647 | 0.16647 | 0.98689 | -0.25044 | 0.98607 | -0.26625 | 45.7326
3 | -0.12749 | -0.032547 | 0.12772 | 0.032694 | 0.0002293 | 0.00014653 | 0.19126 | 0.19126 | 0.19126 | 0.99296 | -0.13386 | 0.99491 | -0.096713 | 52.5446
4 | 0.10391 | 0.026345 | -0.10372 | -0.026219 | 0.00019657 | 0.00012553 | 0.15692 | 0.15692 | 0.15692 | 0.98607 | -0.26625 | 0.98403 | -0.30569 | 43.1094
5 | 0.085925 | 0.02168 | -0.085799 | -0.0216 | 0.00012528 | 7.9915e-05 | 0.12856 | 0.12856 | 0.12856 | 0.99491 | -0.096713 | 0.99333 | -0.12721 | 35.3194
6 | -0.22212 | -0.056499 | 0.22254 | 0.056765 | 0.00041778 | 0.00026686 | 0.3325 | 0.3325 | 0.3325 | 0.99491 | -0.096713 | 0.99696 | -0.05776 | 45.6736
7 | 0.03931 | 0.0098758 | -0.039291 | -0.0098634 | 1.9654e-05 | 1.239e-05 | 0.059452 | 0.059452 | 0.059452 | 0.98403 | -0.30569 | 0.98349 | -0.31617 | 16.333
8 | 0.064407 | 0.016343 | -0.064294 | -0.016271 | 0.00011317 | 7.2024e-05 | 0.097466 | 0.097466 | 0.097466 | 0.98403 | -0.30569 | 0.98214 | -0.34229 | 26.7765
9 | -0.013616 | -0.0034124 | 0.013618 | 0.0034138 | 2.3883e-06 | 1.3385e-06 | 0.020613 | 0.020613 | 0.020613 | 0.98289 | -0.32898 | 0.98308 | -0.3253 | 5.663
10 | -0.023364 | -0.0058562 | 0.023372 | 0.0058615 | 8.6459e-06 | 5.2995e-06 | 0.035364 | 0.035364 | 0.035364 | 0.98308 | -0.3253 | 0.98348 | -0.31754 | 9.7154
11 | 0.085799 | 0.0216 | -0.085633 | -0.021494 | 0.00016594 | 0.00010585 | 0.12856 | 0.12856 | 0.12856 | 0.99333 | -0.12721 | 0.99123 | -0.16775 | 35.3194
12 | -0.23055 | -0.058773 | 0.23059 | 0.058801 | 4.4426e-05 | 2.8225e-05 | 0.34446 | 0.34446 | 0.34446 | 0.99696 | -0.05776 | 0.99717 | -0.053768 | 23.6578
13 | 0.039291 | 0.0098634 | -0.039248 | -0.0098364 | 4.2784e-05 | 2.6973e-05 | 0.059452 | 0.059452 | 0.059452 | 0.98349 | -0.31617 | 0.98233 | -0.33902 | 16.333
14 | 0.05748 | 0.014564 | -0.057356 | -0.014485 | 0.00012382 | 7.8699e-05 | 0.087143 | 0.087143 | 0.087143 | 0.98214 | -0.34229 | 0.97983 | -0.38724 | 23.9404
15 | 0.0068139 | 0.0017074 | -0.0068125 | -0.0017069 | 1.4467e-06 | 4.6792e-07 | 0.010323 | 0.010324 | 0.010324 | 0.98214 | -0.34229 | 0.98192 | -0.34675 | 2.8362
16 | -0.077039 | -0.019337 | 0.077077 | 0.019361 | 3.7638e-05 | 2.3995e-05 | 0.11657 | 0.11657 | 0.11657 | 0.98348 | -0.31754 | 0.984 | -0.3073 | 32.0253
17 | 0.053667 | 0.013475 | -0.053653 | -0.013467 | 1.4002e-05 | 8.8897e-06 | 0.081208 | 0.081208 | 0.081208 | 0.98348 | -0.31754 | 0.9832 | -0.32301 | 22.31
18 | 0.037324 | 0.0093701 | -0.037283 | -0.0093439 | 4.1609e-05 | 2.6175e-05 | 0.056036 | 0.056036 | 0.056036 | 0.99123 | -0.16775 | 0.99002 | -0.19115 | 15.3945
19 | 0.048309 | 0.012124 | -0.048274 | -0.012102 | 3.5383e-05 | 2.2414e-05 | 0.072527 | 0.072527 | 0.072527 | 0.99123 | -0.16775 | 0.99044 | -0.18312 | 19.9249
20 | -0.23604 | -0.060166 | 0.23615 | 0.060233 | 0.00010484 | 6.6628e-05 | 0.35259 | 0.35259 | 0.35259 | 0.99717 | -0.053768 | 0.99765 | -0.044571 | 24.2162
21 | 0.057356 | 0.014485 | -0.057196 | -0.014383 | 0.00016048 | 0.000102 | 0.087143 | 0.087143 | 0.087143 | 0.97983 | -0.38724 | 0.97684 | -0.4458 | 23.9405
22 | 0.0059451 | 0.0014896 | -0.0059449 | -0.0014895 | 1.8862e-07 | 4.2332e-08 | 0.0090091 | 0.0090092 | 0.0090092 | 0.98192 | -0.34675 | 0.98188 | -0.34741 | 2.475
23 | 0.030438 | 0.0076458 | -0.030425 | -0.007638 | 1.2554e-05 | 7.8342e-06 | 0.046034 | 0.046034 | 0.046034 | 0.984 | -0.3073 | 0.98356 | -0.31595 | 12.6468
24 | -0.10751 | -0.027007 | 0.10773 | 0.027146 | 0.00021862 | 0.00013964 | 0.16261 | 0.16261 | 0.16261 | 0.984 | -0.3073 | 0.98619 | -0.26478 | 44.6721
25 | 0.041015 | 0.010299 | -0.041004 | -0.010291 | 1.1553e-05 | 7.2927e-06 | 0.062081 | 0.062081 | 0.062081 | 0.9832 | -0.32301 | 0.9829 | -0.32892 | 17.0554
26 | 0.012638 | 0.003168 | -0.012636 | -0.0031668 | 2.2893e-06 | 1.2536e-06 | 0.019127 | 0.019127 | 0.019127 | 0.9832 | -0.32301 | 0.983 | -0.32681 | 5.2547
27 | 0.042186 | 0.010576 | -0.042183 | -0.010574 | 3.6762e-06 | 2.3214e-06 | 0.063381 | 0.063381 | 0.063381 | 0.99044 | -0.18312 | 0.99034 | -0.18495 | 17.4124
28 | 0.25482 | 0.064919 | -0.25463 | -0.064795 | 0.00019459 | 0.00012379 | 0.38045 | 0.38045 | 0.38045 | 0.99765 | -0.044571 | 0.99682 | -0.060411 | 26.1298
29 | -0.49097 | -0.12515 | 0.49203 | 0.12583 | 0.0010587 | 0.00067647 | 0.73304 | 0.73304 | 0.73304 | 0.99765 | -0.044571 | 1 | 0 | 50.346
30 | -0.020585 | -0.0051595 | 0.020594 | 0.0051644 | 8.1299e-06 | 4.9305e-06 | 0.031456 | 0.031456 | 0.031456 | 0.97379 | -0.50593 | 0.97421 | -0.49764 | 8.6418
31 | 0.010857 | 0.0027213 | -0.010856 | -0.0027207 | 1.103e-06 | 5.7299e-07 | 0.01659 | 0.01659 | 0.01659 | 0.97379 | -0.50593 | 0.97368 | -0.50806 | 4.5577
32 | -0.025684 | -0.0064403 | 0.025689 | 0.0064431 | 4.5601e-06 | 2.8201e-06 | 0.039232 | 0.039232 | 0.039232 | 0.97421 | -0.49764 | 0.97439 | -0.49392 | 10.7779
33 | -0.03085 | -0.0077366 | 0.030855 | 0.0077396 | 4.7536e-06 | 2.9711e-06 | 0.047113 | 0.047113 | 0.047113 | 0.97439 | -0.49392 | 0.97456 | -0.49068 | 12.9432
34 | 0.010928 | 0.0027394 | -0.010926 | -0.0027386 | 1.409e-06 | 7.3364e-07 | 0.016685 | 0.016685 | 0.016685 | 0.97456 | -0.49068 | 0.97442 | -0.49339 | 4.5838
35 | -0.041782 | -0.010479 | 0.041814 | 0.010499 | 3.145e-05 | 1.9871e-05 | 0.063798 | 0.063798 | 0.063798 | 0.97456 | -0.49068 | 0.97536 | -0.47491 | 17.527
36 | 0.0087903 | 0.0022033 | -0.008789 | -0.0022027 | 1.3364e-06 | 6.0897e-07 | 0.013424 | 0.013424 | 0.013424 | 0.97442 | -0.49339 | 0.97426 | -0.49658 | 3.6878
37 | -0.050979 | -0.012796 | 0.050983 | 0.012798 | 3.9186e-06 | 2.4863e-06 | 0.07778 | 0.07778 | 0.07778 | 0.97536 | -0.47491 | 0.97544 | -0.47329 | 21.3683
38 | -0.05525 | -0.013868 | 0.055323 | 0.013914 | 7.2549e-05 | 4.6091e-05 | 0.084291 | 0.08429 | 0.084291 | 0.97544 | -0.47329 | 0.97684 | -0.4458 | 23.1567
39 | 0.0050783 | 0.0012723 | -0.0050782 | -0.0012723 | 1.3414e-07 | 9.4616e-09 | 0.0076959 | 0.0076959 | 0.0076959 | 0.98188 | -0.34741 | 0.98185 | -0.34797 | 2.1143
40 | 0.025372 | 0.0063608 | -0.025368 | -0.0063581 | 4.4224e-06 | 2.7218e-06 | 0.037755 | 0.037755 | 0.037755 | 1 | 0 | 0.99981 | -0.0036586 | 10.3722
41 | 0.013552 | 0.0033967 | -0.01355 | -0.003396 | 1.2858e-06 | 7.1237e-07 | 0.020169 | 0.020169 | 0.020169 | 0.99981 | -0.0036586 | 0.99971 | -0.0056503 | 5.5409
42 | 0.24187 | 0.061598 | -0.24129 | -0.061227 | 0.00057998 | 0.00037057 | 0.36141 | 0.36141 | 0.36141 | 0.99682 | -0.060411 | 0.99421 | -0.11026 | 49.6436
43 | 0.10219 | 0.025849 | -0.10178 | -0.025587 | 0.00040912 | 0.00026123 | 0.15302 | 0.15302 | 0.15302 | 0.99421 | -0.11026 | 0.98986 | -0.19407 | 42.0398
44 | 0.13911 | 0.035379 | -0.13888 | -0.035237 | 0.00022248 | 0.00014221 | 0.20838 | 0.20838 | 0.20838 | 0.99421 | -0.11026 | 0.99247 | -0.14351 | 57.2475
45 | 0.031018 | 0.0077793 | -0.031013 | -0.0077757 | 5.6817e-06 | 3.5468e-06 | 0.046631 | 0.046631 | 0.046631 | 0.98986 | -0.19407 | 0.98966 | -0.19791 | 12.8106
46 | 0.070758 | 0.017808 | -0.070666 | -0.017749 | 9.2133e-05 | 5.8687e-05 | 0.10639 | 0.10639 | 0.10639 | 0.98986 | -0.19407 | 0.98846 | -0.22135 | 29.2293
47 | 0.13888 | 0.035237 | -0.13865 | -0.035084 | 0.00023829 | 0.00015232 | 0.20838 | 0.20838 | 0.20838 | 0.99247 | -0.14351 | 0.99061 | -0.17925 | 57.2475
48 | 0.012578 | 0.0031529 | -0.012574 | -0.0031509 | 3.53e-06 | 1.9211e-06 | 0.018912 | 0.018912 | 0.018912 | 0.98966 | -0.19791 | 0.98936 | -0.2038 | 5.1955
49 | 0.018435 | 0.0046229 | -0.01843 | -0.0046199 | 4.9251e-06 | 2.9325e-06 | 0.027719 | 0.027719 | 0.027719 | 0.98966 | -0.19791 | 0.98938 | -0.20352 | 7.6151
50 | 0.065414 | 0.016433 | -0.065379 | -0.016411 | 3.4862e-05 | 2.2189e-05 | 0.098488 | 0.098488 | 0.098488 | 0.98846 | -0.22135 | 0.98788 | -0.23253 | 27.0571
51 | 0.12004 | 0.03042 | -0.11954 | -0.030106 | 0.00049109 | 0.00031378 | 0.18043 | 0.18043 | 0.18043 | 0.99061 | -0.17925 | 0.98619 | -0.26478 | 49.568
52 | 0.025324 | 0.0063595 | -0.025317 | -0.0063552 | 6.922e-06 | 4.2706e-06 | 0.038317 | 0.038317 | 0.038317 | 0.98356 | -0.31595 | 0.98327 | -0.32168 | 10.5266
53 | 0.036709 | 0.0092149 | -0.036701 | -0.0092098 | 8.1009e-06 | 5.096e-06 | 0.05558 | 0.05558 | 0.05558 | 0.9829 | -0.32892 | 0.98266 | -0.33354 | 15.2692
54 | 0.023049 | 0.0057868 | -0.023035 | -0.0057784 | 1.3748e-05 | 8.4167e-06 | 0.034885 | 0.034885 | 0.034885 | 0.98327 | -0.32168 | 0.98263 | -0.33419 | 9.5837
55 | 0.017834 | 0.0044771 | -0.017827 | -0.0044735 | 6.0683e-06 | 3.6028e-06 | 0.027008 | 0.027008 | 0.027008 | 0.98266 | -0.33354 | 0.98229 | -0.34068 | 7.4197
56 | 0.018868 | 0.0047327 | -0.01886 | -0.004728 | 7.8593e-06 | 4.7049e-06 | 0.028572 | 0.028572 | 0.028572 | 0.98266 | -0.33354 | 0.98221 | -0.34228 | 7.8496
57 | 0.023035 | 0.0057784 | -0.023022 | -0.0057702 | 1.3415e-05 | 8.2138e-06 | 0.034885 | 0.034885 | 0.034885 | 0.98263 | -0.33419 | 0.982 | -0.34641 | 9.5837
58 | 0.003667 | 0.00091895 | -0.0036669 | -0.00091901 | 1.3712e-07 | -6.2239e-08 | 0.0055549 | 0.005555 | 0.005555 | 0.98229 | -0.34068 | 0.98225 | -0.34146 | 1.5261
59 | 0.01416 | 0.0035546 | -0.014151 | -0.003549 | 9.8014e-06 | 5.5545e-06 | 0.021453 | 0.021453 | 0.021453 | 0.98229 | -0.34068 | 0.98155 | -0.3552 | 5.8937
60 | 0.016245 | 0.0040727 | -0.016244 | -0.0040719 | 1.3803e-06 | 8.0647e-07 | 0.024611 | 0.024611 | 0.024611 | 0.98221 | -0.34228 | 0.98212 | -0.34407 | 6.7614
61 | -0.014143 | -0.0035445 | 0.014151 | 0.003549 | 8.0346e-06 | 4.5541e-06 | 0.021453 | 0.021453 | 0.021453 | 0.98094 | -0.36712 | 0.98155 | -0.3552 | 5.8938
62 | 0.0028293 | 0.0007087 | -0.002829 | -0.00070902 | 2.7123e-07 | -3.2391e-07 | 0.0042877 | 0.0042879 | 0.0042879 | 0.98185 | -0.34797 | 0.98175 | -0.34998 | 1.178
63 | 0.010201 | 0.0025564 | -0.0102 | -0.0025558 | 1.211e-06 | 5.989e-07 | 0.015343 | 0.015343 | 0.015343 | 0.98936 | -0.2038 | 0.98923 | -0.2063 | 4.215
64 | 0.0023732 | 0.00059451 | -0.0023731 | -0.00059475 | 1.1623e-07 | -2.3803e-07 | 0.0035692 | 0.0035693 | 0.0035693 | 0.98936 | -0.2038 | 0.98931 | -0.20483 | 0.98058
65 | 0.015368 | 0.0038524 | -0.015366 | -0.0038514 | 1.7352e-06 | 9.9931e-07 | 0.023113 | 0.023113 | 0.023113 | 0.98938 | -0.20352 | 0.98925 | -0.20589 | 6.3498
66 | 0.051239 | 0.012867 | -0.051224 | -0.012858 | 1.5015e-05 | 9.5233e-06 | 0.077189 | 0.077189 | 0.077189 | 0.98788 | -0.23253 | 0.98756 | -0.23867 | 21.2059
67 | -0.0071656 | -0.0017959 | 0.0071667 | 0.0017963 | 1.1558e-06 | 4.0927e-07 | 0.010861 | 0.010861 | 0.010861 | 0.98172 | -0.35187 | 0.98189 | -0.34848 | 2.9838
68 | 0.0066561 | 0.0016679 | -0.0066556 | -0.0016678 | 4.5409e-07 | 1.4009e-07 | 0.010087 | 0.010087 | 0.010087 | 0.98189 | -0.34848 | 0.98182 | -0.34992 | 2.7711
69 | -0.013823 | -0.0034642 | 0.013826 | 0.0034658 | 2.9077e-06 | 1.6374e-06 | 0.020948 | 0.020948 | 0.020948 | 0.98189 | -0.34848 | 0.98212 | -0.34407 | 5.7549
70 | 0.016907 | 0.0042376 | -0.016906 | -0.004237 | 1.0726e-06 | 6.3131e-07 | 0.025619 | 0.025619 | 0.025619 | 0.982 | -0.34641 | 0.98193 | -0.34774 | 7.0381
71 | 0.0044819 | 0.001123 | -0.0044811 | -0.0011231 | 7.9542e-07 | -7.2212e-08 | 0.0067925 | 0.0067927 | 0.0067927 | 0.98182 | -0.34992 | 0.98163 | -0.35364 | 1.8661
72 | 0.025142 | 0.0063029 | -0.025137 | -0.0062999 | 4.7833e-06 | 2.9463e-06 | 0.037777 | 0.037777 | 0.037777 | 0.99034 | -0.18495 | 0.99014 | -0.18895 | 10.3782
73 | -0.002149 | -0.0005386 | 0.0021491 | 0.0005385 | 3.5806e-08 | -9.429e-08 | 0.0032333 | 0.0032333 | 0.0032333 | 0.98901 | -0.21071 | 0.98902 | -0.21036 | 0.88828
74 | -0.0036685 | -0.00091931 | 0.0036686 | 0.00091928 | 6.3496e-08 | -3.0693e-08 | 0.0055193 | 0.0055193 | 0.0055193 | 0.98902 | -0.21036 | 0.98904 | -0.20999 | 1.5163
75 | -0.0071413 | -0.0017896 | 0.0071417 | 0.0017898 | 4.0694e-07 | 1.3979e-07 | 0.010744 | 0.010744 | 0.010744 | 0.98904 | -0.20999 | 0.9891 | -0.2088 | 2.9517
76 | -0.011278 | -0.0028264 | 0.011279 | 0.002827 | 1.1997e-06 | 6.2517e-07 | 0.016966 | 0.016966 | 0.016966 | 0.9891 | -0.2088 | 0.98922 | -0.20656 | 4.6611
77 | -0.013598 | -0.0034083 | 0.013599 | 0.0034085 | 4.3645e-07 | 2.4362e-07 | 0.020455 | 0.020455 | 0.020455 | 0.98922 | -0.20656 | 0.98925 | -0.20589 | 5.6196
78 | 0.005077 | 0.0012719 | -0.0050765 | -0.0012719 | 4.7477e-07 | 2.5174e-08 | 0.0076366 | 0.0076367 | 0.0076367 | 0.98923 | -0.2063 | 0.98913 | -0.20826 | 2.098
79 | 0.0035213 | 0.00088211 | -0.0035211 | -0.00088219 | 1.4258e-07 | -8.2666e-08 | 0.0052971 | 0.0052972 | 0.0052972 | 0.98913 | -0.20826 | 0.98909 | -0.20911 | 1.4553
80 | 0.0063027 | 0.0015797 | -0.006301 | -0.0015792 | 1.7582e-06 | 4.6299e-07 | 0.0095063 | 0.0095066 | 0.0095066 | 0.98656 | -0.2582 | 0.98626 | -0.26406 | 2.6117
81 | -0.013717 | -0.0034379 | 0.013719 | 0.0034392 | 2.2264e-06 | 1.2477e-06 | 0.02069 | 0.020689 | 0.02069 | 0.98656 | -0.2582 | 0.98673 | -0.2548 | 5.6839
82 | 0.006301 | 0.0015792 | -0.0062989 | -0.0015787 | 2.0316e-06 | 5.3553e-07 | 0.0095066 | 0.0095068 | 0.0095068 | 0.98626 | -0.26406 | 0.98591 | -0.27083 | 2.6118
83 | -0.043202 | -0.010834 | 0.043235 | 0.010855 | 3.324e-05 | 2.1007e-05 | 0.065152 | 0.065152 | 0.065152 | 0.98673 | -0.2548 | 0.98756 | -0.23867 | 17.8989
84 | 0.029483 | 0.0073951 | -0.029467 | -0.0073851 | 1.6082e-05 | 1.0016e-05 | 0.044463 | 0.044463 | 0.044463 | 0.98673 | -0.2548 | 0.98615 | -0.26625 | 12.215
85 | 0.0062989 | 0.0015787 | -0.0062976 | -0.0015783 | 1.3421e-06 | 3.541e-07 | 0.0095068 | 0.009507 | 0.009507 | 0.98591 | -0.27083 | 0.98568 | -0.2753 | 2.6118
86 | 0.0079889 | 0.0020022 | -0.0079887 | -0.0020022 | 1.8436e-07 | 7.458e-08 | 0.012037 | 0.012037 | 0.012037 | 0.98756 | -0.23867 | 0.98754 | -0.23915 | 3.307
87 | 0.0074507 | 0.0018674 | -0.0074501 | -0.0018672 | 5.7225e-07 | 2.1222e-07 | 0.011242 | 0.011243 | 0.011243 | 0.98615 | -0.26625 | 0.98606 | -0.26786 | 3.0886
88 | 0.0035209 | 0.00088233 | -0.0035208 | -0.00088239 | 1.0381e-07 | -6.0151e-08 | 0.0052973 | 0.0052973 | 0.0052973 | 0.98902 | -0.21052 | 0.98898 | -0.21113 | 1.4553
89 | -0.0035209 | -0.00088233 | 0.0035211 | 0.00088219 | 2.3571e-07 | -1.3662e-07 | 0.0052973 | 0.0052972 | 0.0052973 | 0.98902 | -0.21052 | 0.98909 | -0.20911 | 1.4553

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53778 | 0.13688

## res_load
| p_mw | q_mvar
0 | 0.011913 | 0.0029858
1 | 0.0045763 | 0.0011469
2 | 0.0063277 | 0.0015859
3 | 0.0084781 | 0.0021248
4 | 0.013616 | 0.0034124
5 | 0.0097454 | 0.0024424
6 | 0.008009 | 0.0020072
7 | 0.0054486 | 0.0013655
8 | 0.039248 | 0.0098364
9 | 0.0008674 | 0.00021739
10 | 0.037283 | 0.0093439
11 | 0.0060873 | 0.0015256
12 | 0.0097287 | 0.0024382
13 | 0.0050907 | 0.0012759
14 | 0.010856 | 0.0027207
15 | 0.0051611 | 0.0012935
16 | 0.0021359 | 0.0005353
17 | 0.009165 | 0.002297
18 | 0.008789 | 0.0022027
19 | 0.0042676 | 0.0010696
20 | 0.0018729 | 0.0004694
21 | 0.00086658 | 0.00021719
22 | 0.018731 | 0.0046944
23 | 0.011816 | 0.0029614
24 | 0.01355 | 0.003396
25 | 0.012758 | 0.0031974
26 | 0.0052523 | 0.0013163
27 | 0.018609 | 0.004664
28 | 0.0051014 | 0.0012785
29 | 0.011811 | 0.0029601
30 | 0.0042945 | 0.0010763
31 | 0.012636 | 0.0031668
32 | 0.0022679 | 0.00056839
33 | 0.0026146 | 0.00065529
34 | 0.014143 | 0.0035445
35 | 0.0022489 | 0.00056362
36 | 0.002829 | 0.00070902
37 | 0.0030625 | 0.00076752
38 | 0.01414 | 0.0035438
39 | 0.0071656 | 0.0017959
40 | 0.006115 | 0.0015326
41 | 0.0024182 | 0.00060605
42 | 0.0021737 | 0.00054479
43 | 0.0036669 | 0.00091901
44 | 0.0044811 | 0.0011231
45 | 0.017041 | 0.0042709
46 | 0.002149 | 0.0005386
47 | 0.0015194 | 0.00038081
48 | 0.0034727 | 0.00087034
49 | 0.0041362 | 0.0010366
50 | 0.0023193 | 0.00058127
51 | 0.0023731 | 0.00059475
52 | 0.016906 | 0.004237
53 | 0.001767 | 0.00044286
54 | 0.0051229 | 0.0012839
55 | 0.0015552 | 0.00038978
56 | 0.0074145 | 0.0018582
57 | 0.022016 | 0.0055177
58 | 0.0062976 | 0.0015783
59 | 0.0035208 | 0.00088239
60 | 0.0079887 | 0.0020022
61 | 0.0074501 | 0.0018672
62 | 0.025137 | 0.0062999

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1