## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2-24_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2-24_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2-24_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2-24_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2-24_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2-24_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2-24_0_5_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_2-24_0_5_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_2-24_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2-24_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2-24_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2-24_0_5_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_2-24_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_2-24_0_5_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_2-24_0_5_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2-24_0_5_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_2-24_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2-24_0_5_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2-24_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_2-24_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2-24_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_2-24_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2-24_0_5_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_2-24_0_5_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2-24_0_5_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2-24_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_2-24_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2-24_0_5_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_2-24_0_5_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_2-24_0_5_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_2-24_0_5_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_2-24_0_5_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2-24_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2-24_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_2-24_0_5_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_2-24_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2-24_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2-24_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2-24_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2-24_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2-24_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2-24_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2-24_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2-24_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2-24_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_MV_503_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2-24_0_5_load_0 | 0 | 0.056608 | 0.014187 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2-24_0_5_load_5 | 4 | 0.026236 | 0.0065754 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2-24_0_5_load_32 | 8 | 0.067592 | 0.01694 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2-24_0_5_load_46 | 10 | 0.00036486 | 9.1442e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2-24_0_5_load_16 | 11 | 0.01259 | 0.0031552 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2-24_0_5_load_10 | 12 | 0.072244 | 0.018106 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2-24_0_5_load_7 | 13 | 0.00021293 | 5.3366e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2-24_0_5_load_50 | 14 | 0.005479 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2-24_0_5_load_47 | 17 | 0.0013305 | 0.00033345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2-24_0_5_load_14 | 19 | 0.0010957 | 0.00027461 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2-24_0_5_load_21 | 22 | 0.051586 | 0.012929 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2-24_0_5_load_37 | 23 | 0.0031915 | 0.00079986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2-24_0_5_load_39 | 25 | 0.0025492 | 0.00063888 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2-24_0_5_load_28 | 26 | 0.0014032 | 0.00035167 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2-24_0_5_load_36 | 27 | 0.003711 | 0.00093005 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2-24_0_5_load_38 | 28 | 0.0015899 | 0.00039846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2-24_0_5_load_26 | 29 | 0.0021235 | 0.0005322 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2-24_0_5_load_35 | 30 | 0.0016457 | 0.00041245 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2-24_0_5_load_12 | 31 | 0.0022098 | 0.00055382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2-24_0_5_load_13 | 32 | 0.0020146 | 0.0005049 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2-24_0_5_load_41 | 35 | 0.0050815 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2-24_0_5_load_17 | 36 | 0.05228 | 0.013103 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2-24_0_5_load_18 | 37 | 0.0020229 | 0.00050699 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2-24_0_5_load_20 | 38 | 0.0020051 | 0.00050253 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2-24_0_5_load_27 | 40 | 0.0021929 | 0.0005496 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2-24_0_5_load_34 | 41 | 0.00092099 | 0.00023082 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2-24_0_5_load_29 | 42 | 0.046033 | 0.011537 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2-24_0_5_load_30 | 43 | 0.043161 | 0.010817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2-24_0_5_load_33 | 44 | 0.044146 | 0.011064 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2-24_0_5_load_31 | 45 | 0.043105 | 0.010803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2-24_0_5_load_43 | 46 | 0.0078286 | 0.001962 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2-24_0_5_load_49 | 47 | 0.021321 | 0.0053436 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2-24_0_5_line_0 |  | 0 | 1 | 0.037105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2-24_0_5_line_1 |  | 0 | 2 | 0.06445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2-24_0_5_line_2 |  | 1 | 3 | 0.15222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2-24_0_5_line_3 |  | 2 | 4 | 0.06782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2-24_0_5_line_4 |  | 2 | 5 | 0.083729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2-24_0_5_line_5 |  | 3 | 9 | 0.046961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2-24_0_5_line_6 |  | 3 | 10 | 0.015489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2-24_0_5_line_7 |  | 3 | 6 | 0.10161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2-24_0_5_line_8 |  | 5 | 11 | 0.055822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2-24_0_5_line_9 |  | 6 | 7 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2-24_0_5_line_10 |  | 6 | 8 | 0.040744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2-24_0_5_line_11 |  | 7 | 12 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2-24_0_5_line_12 |  | 7 | 13 | 0.02882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2-24_0_5_line_13 |  | 9 | 14 | 0.024125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2-24_0_5_line_14 |  | 9 | 15 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2-24_0_5_line_15 |  | 11 | 19 | 0.0027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2-24_0_5_line_16 |  | 12 | 23 | 0.0084163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2-24_0_5_line_17 |  | 15 | 47 | 0.032487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2-24_0_5_line_18 |  | 16 | 17 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2-24_0_5_line_19 |  | 16 | 18 | 0.060406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2-24_0_5_line_20 |  | 18 | 46 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2-24_0_5_line_21 |  | 19 | 31 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2-24_0_5_line_22 |  | 20 | 21 | 0.020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2-24_0_5_line_23 |  | 20 | 22 | 0.0093359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2-24_0_5_line_24 |  | 21 | 42 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2-24_0_5_line_25 |  | 23 | 28 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2-24_0_5_line_26 |  | 24 | 25 | 0.016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2-24_0_5_line_27 |  | 24 | 26 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2-24_0_5_line_28 |  | 24 | 27 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2-24_0_5_line_29 |  | 25 | 28 | 0.0061631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2-24_0_5_line_30 |  | 26 | 29 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2-24_0_5_line_31 |  | 27 | 30 | 0.0023628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2-24_0_5_line_32 |  | 29 | 40 | 0.010874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2-24_0_5_line_33 |  | 31 | 32 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2-24_0_5_line_34 |  | 32 | 33 | 0.10231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2-24_0_5_line_35 |  | 33 | 34 | 0.026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2-24_0_5_line_36 |  | 34 | 35 | 0.041522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2-24_0_5_line_37 |  | 35 | 46 | 0.02845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2-24_0_5_line_38 |  | 36 | 37 | 0.0028847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2-24_0_5_line_39 |  | 37 | 38 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2-24_0_5_line_40 |  | 38 | 39 | 0.0046309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2-24_0_5_line_41 |  | 39 | 40 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2-24_0_5_line_42 |  | 39 | 41 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2-24_0_5_line_43 |  | 41 | 44 | 0.0064306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2-24_0_5_line_44 |  | 42 | 43 | 0.0079615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2-24_0_5_line_45 |  | 43 | 45 | 0.0076945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2-24_0_5_line_46 |  | 44 | 45 | 0.0078121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2-24_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 48 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2677019.261 | 1237640.7441 | 2677005.1009 | 1237639.9155 | 2677000.2099 | 1237655.93 | 2676998.7636 | 1237661.9345
1 | 2676959.0624 | 1237704.1303 | 2676962.9781 | 1237699.1331 | 2676973.9366 | 1237696.5511 | 2676985.9449 | 1237692.9486 | 2676993.6128 | 1237683.3191 | 2676998.7636 | 1237661.9345
2 | 2677015.1938 | 1237537.8531 | 2677026.5269 | 1237537.3219 | 2677046.723 | 1237545.3004 | 2677054.5188 | 1237555.5754 | 2677046.8672 | 1237563.9153 | 2677042.3399 | 1237569.3826 | 2677037.1547 | 1237577.7434 | 2677033.3441 | 1237588.0345 | 2677041.6483 | 1237609.268 | 2677043.4368 | 1237621.8667 | 2677033.5245 | 1237634.1912 | 2677019.261 | 1237640.7441
3 | 2676959.0624 | 1237704.1303 | 2676952.8542 | 1237689.8622 | 2676952.3634 | 1237678.7036 | 2676949.6429 | 1237676.7003 | 2676949.5376 | 1237674.3195 | 2676955.9549 | 1237639.5784
4 | 2676909.5581 | 1237763.2192 | 2676918.2362 | 1237764.955 | 2676928.1257 | 1237759.6127 | 2676950.8002 | 1237715.8314 | 2676955.8389 | 1237708.247 | 2676959.0624 | 1237704.1303
5 | 2676981.6062 | 1237539.7635 | 2677001.9277 | 1237531.0764 | 2677001.5281 | 1237527.4687 | 2677005.151 | 1237526.3927 | 2677006.9223 | 1237528.6617 | 2677010.3153 | 1237527.8162 | 2677015.1938 | 1237537.8531
6 | 2677021.9585 | 1237551.7949 | 2677015.1938 | 1237537.8531
7 | 2677015.1938 | 1237537.8531 | 2677026.5269 | 1237537.3219 | 2677046.723 | 1237545.3004 | 2677054.5188 | 1237555.5754 | 2677067.7022 | 1237546.5623 | 2677076.3668 | 1237545.8631 | 2677072.3589 | 1237576.5881
8 | 2676909.5581 | 1237763.2192 | 2676900.4164 | 1237752.8826 | 2676895.8095 | 1237730.6408 | 2676894.9216 | 1237711.3521
9 | 2677084.2852 | 1237578.7332 | 2677080.787 | 1237578.3653 | 2677072.3589 | 1237576.5881
10 | 2677072.3589 | 1237576.5881 | 2677067.976 | 1237604.1504 | 2677064.8553 | 1237616.6008
11 | 2677084.2852 | 1237578.7332 | 2677086.0349 | 1237582.0805 | 2677101.8121 | 1237591.3131
12 | 2677084.2852 | 1237578.7332 | 2677092.0128 | 1237577.3547 | 2677098.7124 | 1237574.7399 | 2677105.3868 | 1237565.9092 | 2677106.6782 | 1237563.5272
13 | 2676992.0679 | 1237561.5143 | 2676981.6062 | 1237539.7635
14 | 2676969.1265 | 1237556.9471 | 2676981.6062 | 1237539.7635
15 | 2676894.9216 | 1237711.3521 | 2676894.794 | 1237708.579
16 | 2677101.8121 | 1237591.3131 | 2677102.6295 | 1237591.7915 | 2677109.2027 | 1237595.3386
17 | 2676969.1265 | 1237556.9471 | 2676959.9258 | 1237570.9933 | 2676957.2436 | 1237586.4693
18 | 2676832.9493 | 1237685.3515 | 2676856.6444 | 1237691.8625 | 2676857.3352 | 1237689.3475
19 | 2676832.9493 | 1237685.3515 | 2676841.1019 | 1237656.9705 | 2676842.0842 | 1237653.5586 | 2676849.6269 | 1237627.2935
20 | 2676849.6269 | 1237627.2935 | 2676858.676 | 1237630.1903 | 2676856.9835 | 1237637.0287 | 2676863.0402 | 1237638.4748
21 | 2676894.794 | 1237708.579 | 2676894.794 | 1237708.579 | 2676895.2642 | 1237692.2264
22 | 2677057.6041 | 1237681.0138 | 2677060.5415 | 1237691.9485 | 2677063.9771 | 1237700.6324
23 | 2677063.9771 | 1237700.6324 | 2677067.267 | 1237707.1352 | 2677068.5939 | 1237708.6955
24 | 2677057.6041 | 1237681.0138 | 2677072.0109 | 1237680.8291
25 | 2677127.9499 | 1237605.4551 | 2677109.2027 | 1237595.3386
26 | 2677148.2123 | 1237616.3893 | 2677133.3736 | 1237608.3819
27 | 2677148.2123 | 1237616.3893 | 2677140.2247 | 1237631.895
28 | 2677148.2123 | 1237616.3893 | 2677155.2728 | 1237620.3504 | 2677161.9374 | 1237623.76
29 | 2677127.9499 | 1237605.4551 | 2677133.3736 | 1237608.3819
30 | 2677129.5112 | 1237655.5485 | 2677135.9567 | 1237640.18 | 2677140.2247 | 1237631.895
31 | 2677164.0409 | 1237624.8361 | 2677161.9374 | 1237623.76
32 | 2677129.5112 | 1237655.5485 | 2677129.445 | 1237655.7063 | 2677120.5072 | 1237661.5933
33 | 2676895.5904 | 1237680.8806 | 2676895.2642 | 1237692.2264
34 | 2676909.211 | 1237579.7759 | 2676902.7762 | 1237647.2285 | 2676895.7853 | 1237674.1011 | 2676895.5904 | 1237680.8806
35 | 2676909.211 | 1237579.7759 | 2676884.2092 | 1237571.9024
36 | 2676884.2092 | 1237571.9024 | 2676875.6842 | 1237599.2222 | 2676871.0204 | 1237611.2524
37 | 2676863.0402 | 1237638.4748 | 2676866.4244 | 1237623.1079 | 2676871.0204 | 1237611.2524
38 | 2677114.9532 | 1237696.6317 | 2677114.9547 | 1237697.1915 | 2677114.9353 | 1237699.5163
39 | 2677114.9532 | 1237696.6317 | 2677114.9219 | 1237684.91
40 | 2677114.9096 | 1237680.2792 | 2677114.9219 | 1237684.91
41 | 2677114.9096 | 1237680.2792 | 2677114.8772 | 1237665.3016 | 2677120.5072 | 1237661.5933
42 | 2677114.9096 | 1237680.2792 | 2677101.9072 | 1237680.4459
43 | 2677095.4771 | 1237680.5283 | 2677101.9072 | 1237680.4459
44 | 2677072.0109 | 1237680.8291 | 2677079.9718 | 1237680.7271
45 | 2677079.9718 | 1237680.7271 | 2677087.6656 | 1237680.6284
46 | 2677087.6656 | 1237680.6284 | 2677095.4771 | 1237680.5283

## bus_geodata
| x | y | coords
0 | 2676998.7636 | 1237661.9345
1 | 2677019.261 | 1237640.7441
2 | 2676959.0624 | 1237704.1303
3 | 2677015.1938 | 1237537.8531
4 | 2676955.9549 | 1237639.5784
5 | 2676909.5581 | 1237763.2192
6 | 2677072.3589 | 1237576.5881
7 | 2677084.2852 | 1237578.7332
8 | 2677064.8553 | 1237616.6008
9 | 2676981.6062 | 1237539.7635
10 | 2677021.9585 | 1237551.7949
11 | 2676894.9216 | 1237711.3521
12 | 2677101.8121 | 1237591.3131
13 | 2677106.6782 | 1237563.5272
14 | 2676992.0679 | 1237561.5143
15 | 2676969.1265 | 1237556.9471
16 | 2676832.9493 | 1237685.3515
17 | 2676857.3352 | 1237689.3475
18 | 2676849.6269 | 1237627.2935
19 | 2676894.794 | 1237708.579
20 | 2677063.9771 | 1237700.6324
21 | 2677057.6041 | 1237681.0138
22 | 2677068.5939 | 1237708.6955
23 | 2677109.2027 | 1237595.3386
24 | 2677148.2123 | 1237616.3893
25 | 2677133.3736 | 1237608.3819
26 | 2677140.2247 | 1237631.895
27 | 2677161.9374 | 1237623.76
28 | 2677127.9499 | 1237605.4551
29 | 2677129.5112 | 1237655.5485
30 | 2677164.0409 | 1237624.8361
31 | 2676895.2642 | 1237692.2264
32 | 2676895.5904 | 1237680.8806
33 | 2676909.211 | 1237579.7759
34 | 2676884.2092 | 1237571.9024
35 | 2676871.0204 | 1237611.2524
36 | 2677114.9353 | 1237699.5163
37 | 2677114.9532 | 1237696.6317
38 | 2677114.9219 | 1237684.91
39 | 2677114.9096 | 1237680.2792
40 | 2677120.5072 | 1237661.5933
41 | 2677101.9072 | 1237680.4459
42 | 2677072.0109 | 1237680.8291
43 | 2677079.9718 | 1237680.7271
44 | 2677095.4771 | 1237680.5283
45 | 2677087.6656 | 1237680.6284
46 | 2676863.0402 | 1237638.4748
47 | 2676957.2436 | 1237586.4693
48 | 2677063.9771 | 1237700.6324

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97538 | -0.47457 | 0.056608 | 0.014187
1 | 0.97637 | -0.45505 | 0 | 0
2 | 0.9745 | -0.49183 | 0 | 0
3 | 0.98045 | -0.37533 | 0 | 0
4 | 0.97285 | -0.52455 | 0.026236 | 0.0065754
5 | 0.97388 | -0.5042 | 0 | 0
6 | 0.98381 | -0.31005 | 0 | 0
7 | 0.9844 | -0.29863 | 0 | 0
8 | 0.98127 | -0.35977 | 0.067592 | 0.01694
9 | 0.97928 | -0.39818 | 0 | 0
10 | 0.98045 | -0.37543 | 0.00036486 | 9.1442e-05
11 | 0.97332 | -0.51521 | 0.01259 | 0.0031552
12 | 0.98548 | -0.27782 | 0.072244 | 0.018106
13 | 0.9844 | -0.29874 | 0.00021293 | 5.3366e-05
14 | 0.97916 | -0.40058 | 0.005479 | 0.0013732
15 | 0.97886 | -0.40641 | 0 | 0
16 | 0.97021 | -0.57675 | 0 | 0
17 | 0.97017 | -0.57742 | 0.0013305 | 0.00033345
18 | 0.97028 | -0.57526 | 0 | 0
19 | 0.97327 | -0.51621 | 0.0010957 | 0.00027461
20 | 0.99903 | -0.018591 | 0 | 0
21 | 1 | 0 | -0.59415 | -0.15103
22 | 0.9986 | -0.027005 | 0.051586 | 0.012929
23 | 0.98603 | -0.26716 | 0.0031915 | 0.00079986
24 | 0.98898 | -0.21026 | 0 | 0
25 | 0.98784 | -0.23204 | 0.0025492 | 0.00063888
26 | 0.99017 | -0.18737 | 0.0014032 | 0.00035167
27 | 0.9889 | -0.21175 | 0.003711 | 0.00093005
28 | 0.98743 | -0.23995 | 0.0015899 | 0.00039846
29 | 0.99195 | -0.1532 | 0.0021235 | 0.0005322
30 | 0.9889 | -0.21182 | 0.0016457 | 0.00041245
31 | 0.97299 | -0.52177 | 0.0022098 | 0.00055382
32 | 0.97281 | -0.52517 | 0.0020146 | 0.0005049
33 | 0.97145 | -0.55205 | 0 | 0
34 | 0.9711 | -0.55894 | 0 | 0
35 | 0.97055 | -0.56987 | 0.0050815 | 0.0012735
36 | 0.99326 | -0.1285 | 0.05228 | 0.013103
37 | 0.9934 | -0.12584 | 0.0020229 | 0.00050699
38 | 0.99398 | -0.1146 | 0.0020051 | 0.00050253
39 | 0.99422 | -0.11 | 0 | 0
40 | 0.9927 | -0.13884 | 0.0021929 | 0.0005496
41 | 0.99529 | -0.089557 | 0.00092099 | 0.00023082
42 | 0.99823 | -0.033609 | 0.046033 | 0.011537
43 | 0.99733 | -0.050627 | 0.043161 | 0.010817
44 | 0.99582 | -0.079438 | 0.044146 | 0.011064
45 | 0.99655 | -0.065645 | 0.043105 | 0.010803
46 | 0.97031 | -0.5747 | 0.0078286 | 0.001962
47 | 0.97822 | -0.41901 | 0.021321 | 0.0053436
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11516 | -0.028912 | 0.11527 | 0.028979 | 0.00010739 | 6.6876e-05 | 0.1757 | 0.1757 | 0.1757 | 0.97538 | -0.47457 | 0.97637 | -0.45505 | 12.0676
1 | 0.058553 | 0.014725 | -0.058504 | -0.014697 | 4.8232e-05 | 2.7653e-05 | 0.089344 | 0.089345 | 0.089345 | 0.97538 | -0.47457 | 0.9745 | -0.49183 | 6.1364
2 | -0.11527 | -0.028979 | 0.11571 | 0.029253 | 0.00044056 | 0.00027431 | 0.1757 | 0.1757 | 0.1757 | 0.97637 | -0.45505 | 0.98045 | -0.37533 | 12.0675
3 | 0.026277 | 0.0066007 | -0.026236 | -0.0065754 | 4.0955e-05 | 2.5368e-05 | 0.040129 | 0.040129 | 0.040129 | 0.9745 | -0.49183 | 0.97285 | -0.52455 | 11.0245
4 | 0.032227 | 0.0080965 | -0.032208 | -0.0080885 | 1.9014e-05 | 7.9991e-06 | 0.049216 | 0.049218 | 0.049218 | 0.9745 | -0.49183 | 0.97388 | -0.5042 | 3.3803
5 | 0.026851 | 0.0067478 | -0.026822 | -0.0067297 | 2.9255e-05 | 1.8132e-05 | 0.040758 | 0.040758 | 0.040758 | 0.98045 | -0.37533 | 0.97928 | -0.39818 | 11.1973
6 | 0.00036486 | 9.1248e-05 | -0.00036486 | -9.1442e-05 | 1.7808e-09 | -1.942e-07 | 0.00055367 | 0.00055374 | 0.00055374 | 0.98045 | -0.37533 | 0.98045 | -0.37543 | 0.15213
7 | -0.14292 | -0.036092 | 0.14337 | 0.036374 | 0.0004486 | 0.00028196 | 0.21701 | 0.21701 | 0.21701 | 0.98045 | -0.37533 | 0.98381 | -0.31005 | 14.9047
8 | 0.032208 | 0.0080885 | -0.032191 | -0.0080797 | 1.6903e-05 | 8.7355e-06 | 0.049218 | 0.049219 | 0.049219 | 0.97388 | -0.5042 | 0.97332 | -0.51521 | 4.5072
9 | -0.21113 | -0.053417 | 0.21124 | 0.05349 | 0.00011576 | 7.3475e-05 | 0.31951 | 0.31951 | 0.31951 | 0.98381 | -0.31005 | 0.9844 | -0.29863 | 21.9442
10 | 0.067752 | 0.017042 | -0.067592 | -0.01694 | 0.00016052 | 0.00010222 | 0.1025 | 0.1025 | 0.1025 | 0.98381 | -0.31005 | 0.98127 | -0.35977 | 28.1588
11 | -0.21145 | -0.053543 | 0.21167 | 0.053677 | 0.00021152 | 0.00013425 | 0.31983 | 0.31983 | 0.31983 | 0.9844 | -0.29863 | 0.98548 | -0.27782 | 21.9663
12 | 0.00021293 | 5.3e-05 | -0.00021293 | -5.3366e-05 | 1.1192e-09 | -3.6568e-07 | 0.00032174 | 0.00032187 | 0.00032187 | 0.9844 | -0.29863 | 0.9844 | -0.29874 | 0.088425
13 | 0.0054796 | 0.0013733 | -0.005479 | -0.0013732 | 6.2719e-07 | 9.7913e-08 | 0.0083262 | 0.0083263 | 0.0083263 | 0.97928 | -0.39818 | 0.97916 | -0.40058 | 2.2874
14 | 0.021342 | 0.0053564 | -0.021334 | -0.0053514 | 8.3693e-06 | 5.0895e-06 | 0.032432 | 0.032432 | 0.032432 | 0.97928 | -0.39818 | 0.97886 | -0.40641 | 8.91
15 | 0.019602 | 0.0049245 | -0.019601 | -0.0049239 | 9.3516e-07 | 5.64e-07 | 0.029972 | 0.029972 | 0.029972 | 0.97332 | -0.51521 | 0.97327 | -0.51621 | 8.234
16 | -0.28391 | -0.071783 | 0.28405 | 0.071876 | 0.00014515 | 9.247e-05 | 0.42891 | 0.42891 | 0.42891 | 0.98548 | -0.27782 | 0.98603 | -0.26716 | 29.4583
17 | 0.021334 | 0.0053514 | -0.021321 | -0.0053436 | 1.2814e-05 | 7.7931e-06 | 0.032432 | 0.032432 | 0.032432 | 0.97886 | -0.40641 | 0.97822 | -0.41901 | 8.91
18 | 0.0013305 | 0.00033314 | -0.0013305 | -0.00033345 | 4.2337e-08 | -3.0773e-07 | 0.0020405 | 0.0020406 | 0.0020406 | 0.97021 | -0.57675 | 0.97017 | -0.57742 | 0.56061
19 | -0.0013305 | -0.00033314 | 0.0013306 | 0.00033245 | 9.4303e-08 | -6.8567e-07 | 0.0020405 | 0.0020402 | 0.0020405 | 0.97021 | -0.57675 | 0.97028 | -0.57526 | 0.56058
20 | -0.0013306 | -0.00033245 | 0.0013306 | 0.00033219 | 3.5479e-08 | -2.5804e-07 | 0.0020402 | 0.0020401 | 0.0020402 | 0.97028 | -0.57526 | 0.97031 | -0.5747 | 0.5605
21 | 0.018505 | 0.0046493 | -0.0185 | -0.0046464 | 4.912e-06 | 2.9404e-06 | 0.028296 | 0.028296 | 0.028296 | 0.97327 | -0.51621 | 0.97299 | -0.52177 | 7.7737
22 | -0.051606 | -0.012942 | 0.051652 | 0.012971 | 4.5771e-05 | 2.9023e-05 | 0.076868 | 0.076868 | 0.076868 | 0.99903 | -0.018591 | 1 | 0 | 21.1176
23 | 0.051606 | 0.012942 | -0.051586 | -0.012929 | 2.0686e-05 | 1.3117e-05 | 0.076868 | 0.076868 | 0.076868 | 0.99903 | -0.018591 | 0.9986 | -0.027005 | 21.1176
24 | 0.54085 | 0.13806 | -0.53997 | -0.1375 | 0.00087679 | 0.00056039 | 0.80568 | 0.80568 | 0.80568 | 1 | 0 | 0.99823 | -0.033609 | 55.3349
25 | -0.28725 | -0.072676 | 0.28762 | 0.072915 | 0.0003757 | 0.00023936 | 0.43373 | 0.43373 | 0.43373 | 0.98603 | -0.26716 | 0.98743 | -0.23995 | 29.7891
26 | 0.29218 | 0.074217 | -0.29187 | -0.074022 | 0.00030598 | 0.00019497 | 0.43996 | 0.43996 | 0.43996 | 0.98898 | -0.21026 | 0.98784 | -0.23204 | 30.2173
27 | -0.29753 | -0.07556 | 0.29786 | 0.075769 | 0.00032823 | 0.00020917 | 0.44802 | 0.44802 | 0.44802 | 0.98898 | -0.21026 | 0.99017 | -0.18737 | 30.7709
28 | 0.005357 | 0.0013425 | -0.0053567 | -0.0013425 | 3.7962e-07 | 4.303e-08 | 0.0080602 | 0.0080603 | 0.0080603 | 0.98898 | -0.21026 | 0.9889 | -0.21175 | 2.2144
29 | 0.28932 | 0.073384 | -0.28921 | -0.073314 | 0.0001099 | 7.0019e-05 | 0.43612 | 0.43612 | 0.43612 | 0.98784 | -0.23204 | 0.98743 | -0.23995 | 29.9536
30 | -0.29926 | -0.076121 | 0.29976 | 0.076435 | 0.0004936 | 0.00031456 | 0.45013 | 0.45013 | 0.45013 | 0.99017 | -0.18737 | 0.99195 | -0.1532 | 30.9157
31 | 0.0016457 | 0.00041243 | -0.0016457 | -0.00041245 | 5.4336e-09 | -2.6837e-08 | 0.0024763 | 0.0024763 | 0.0024763 | 0.9889 | -0.21175 | 0.9889 | -0.21182 | 0.68031
32 | -0.30188 | -0.076968 | 0.30209 | 0.077101 | 0.00020948 | 0.00013351 | 0.45332 | 0.45332 | 0.45332 | 0.99195 | -0.1532 | 0.9927 | -0.13884 | 31.1344
33 | 0.01629 | 0.0040926 | -0.016288 | -0.004091 | 2.6426e-06 | 1.5503e-06 | 0.024917 | 0.024917 | 0.024917 | 0.97299 | -0.52177 | 0.97281 | -0.52517 | 6.8453
34 | 0.014273 | 0.0035861 | -0.014255 | -0.0035757 | 1.8293e-05 | 1.0439e-05 | 0.021836 | 0.021836 | 0.021836 | 0.97281 | -0.52517 | 0.97145 | -0.55205 | 5.9989
35 | 0.014255 | 0.0035757 | -0.01425 | -0.003573 | 4.6743e-06 | 2.668e-06 | 0.021836 | 0.021836 | 0.021836 | 0.97145 | -0.55205 | 0.9711 | -0.55894 | 5.9989
36 | 0.01425 | 0.003573 | -0.014243 | -0.0035688 | 7.4244e-06 | 4.2382e-06 | 0.021836 | 0.021836 | 0.021836 | 0.9711 | -0.55894 | 0.97055 | -0.56987 | 5.999
37 | 0.0091613 | 0.0022952 | -0.0091592 | -0.0022942 | 2.1047e-06 | 9.9553e-07 | 0.014046 | 0.014046 | 0.014046 | 0.97055 | -0.56987 | 0.97031 | -0.5747 | 3.8587
38 | -0.05228 | -0.013103 | 0.052287 | 0.013107 | 6.6359e-06 | 4.2096e-06 | 0.078322 | 0.078322 | 0.078322 | 0.99326 | -0.1285 | 0.9934 | -0.12584 | 21.517
39 | -0.05431 | -0.013614 | 0.054339 | 0.013632 | 2.9091e-05 | 1.8466e-05 | 0.081352 | 0.081352 | 0.081352 | 0.9934 | -0.12584 | 0.99398 | -0.1146 | 22.3494
40 | -0.056344 | -0.014135 | 0.056356 | 0.014143 | 1.2357e-05 | 7.8482e-06 | 0.084354 | 0.084354 | 0.084354 | 0.99398 | -0.1146 | 0.99422 | -0.11 | 23.1741
41 | 0.30471 | 0.077921 | -0.30428 | -0.077651 | 0.00042451 | 0.00027056 | 0.4566 | 0.4566 | 0.4566 | 0.99422 | -0.11 | 0.9927 | -0.13884 | 31.3602
42 | -0.36107 | -0.092064 | 0.36142 | 0.092292 | 0.00035674 | 0.00022764 | 0.54096 | 0.54096 | 0.54096 | 0.99422 | -0.11 | 0.99529 | -0.089557 | 37.1536
43 | -0.36234 | -0.092522 | 0.36252 | 0.092636 | 0.00017732 | 0.00011315 | 0.54233 | 0.54233 | 0.54233 | 0.99529 | -0.089557 | 0.99582 | -0.079438 | 37.2482
44 | 0.49394 | 0.12596 | -0.49353 | -0.1257 | 0.00040548 | 0.00025909 | 0.73706 | 0.73706 | 0.73706 | 0.99823 | -0.033609 | 0.99733 | -0.050627 | 50.6221
45 | 0.45037 | 0.11488 | -0.45004 | -0.11468 | 0.00032639 | 0.00020849 | 0.67266 | 0.67266 | 0.67266 | 0.99733 | -0.050627 | 0.99655 | -0.065645 | 46.1993
46 | -0.40667 | -0.1037 | 0.40694 | 0.10387 | 0.000271 | 0.00017303 | 0.6083 | 0.6083 | 0.6083 | 0.99582 | -0.079438 | 0.99655 | -0.065645 | 41.7787

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59415 | 0.15103

## res_load
| p_mw | q_mvar
0 | 0.056608 | 0.014187
1 | 0.026236 | 0.0065754
2 | 0.067592 | 0.01694
3 | 0.00036486 | 9.1442e-05
4 | 0.01259 | 0.0031552
5 | 0.072244 | 0.018106
6 | 0.00021293 | 5.3366e-05
7 | 0.005479 | 0.0013732
8 | 0.0013305 | 0.00033345
9 | 0.0010957 | 0.00027461
10 | 0.051586 | 0.012929
11 | 0.0031915 | 0.00079986
12 | 0.0025492 | 0.00063888
13 | 0.0014032 | 0.00035167
14 | 0.003711 | 0.00093005
15 | 0.0015899 | 0.00039846
16 | 0.0021235 | 0.0005322
17 | 0.0016457 | 0.00041245
18 | 0.0022098 | 0.00055382
19 | 0.0020146 | 0.0005049
20 | 0.0050815 | 0.0012735
21 | 0.05228 | 0.013103
22 | 0.0020229 | 0.00050699
23 | 0.0020051 | 0.00050253
24 | 0.0021929 | 0.0005496
25 | 0.00092099 | 0.00023082
26 | 0.046033 | 0.011537
27 | 0.043161 | 0.010817
28 | 0.044146 | 0.011064
29 | 0.043105 | 0.010803
30 | 0.0078286 | 0.001962
31 | 0.021321 | 0.0053436

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1