## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2-6_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2-6_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2-6_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2-6_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2-6_0_4_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_2-6_0_4_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_2-6_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2-6_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2-6_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2-6_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2-6_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2-6_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2-6_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2-6_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2-6_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2-6_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_2-6_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_2-6_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2-6_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2-6_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2-6_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_2-6_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2-6_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2-6_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2-6_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2-6_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2-6_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2-6_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2-6_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2-6_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2-6_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2-6_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2-6_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2-6_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2-6_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2-6_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2-6_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2-6_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2-6_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_2-6_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_2-6_0_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_2-6_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2-6_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2-6_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2-6_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2-6_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2-6_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2-6_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_2-6_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2-6_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_2-6_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2-6_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_2-6_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2-6_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2-6_0_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_2-6_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_2-6_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_2-6_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_2-6_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_2-6_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_MV_349_0_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2-6_0_4_load_0 | 0 | 0.0070626 | 0.00177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2-6_0_4_load_1 | 1 | 0.011563 | 0.002898 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2-6_0_4_load_4 | 3 | 0.0036933 | 0.00092564 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2-6_0_4_load_6 | 5 | 0.0054884 | 0.0013755 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2-6_0_4_load_7 | 6 | 0.0016385 | 0.00041065 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2-6_0_4_load_59 | 7 | 0.0077709 | 0.0019476 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2-6_0_4_load_60 | 8 | 0.00049262 | 0.00012346 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2-6_0_4_load_8 | 9 | 0.0022904 | 0.00057404 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2-6_0_4_load_9 | 10 | 0.0033395 | 0.00083695 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2-6_0_4_load_11 | 12 | 0.0016447 | 0.00041221 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2-6_0_4_load_15 | 16 | 0.0029916 | 0.00074976 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2-6_0_4_load_16 | 17 | 0.0014178 | 0.00035532 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2-6_0_4_load_57 | 18 | 0.0070669 | 0.0017711 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2-6_0_4_load_56 | 19 | 0.0089731 | 0.0022489 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2-6_0_4_load_28 | 21 | 0.007381 | 0.0018499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2-6_0_4_load_23 | 22 | 0.0028651 | 0.00071806 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2-6_0_4_load_58 | 23 | 0.0055257 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2-6_0_4_load_25 | 26 | 0.0021367 | 0.0005355 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2-6_0_4_load_26 | 27 | 0.0031481 | 0.00078898 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2-6_0_4_load_21 | 28 | 0.0010241 | 0.00025667 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2-6_0_4_load_17 | 29 | 0.0077371 | 0.0019391 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2-6_0_4_load_20 | 32 | 0.0048231 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2-6_0_4_load_24 | 33 | 0.0048224 | 0.0012086 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2-6_0_4_load_35 | 34 | 0.0013997 | 0.0003508 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2-6_0_4_load_36 | 35 | 0.0037588 | 0.00094205 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2-6_0_4_load_33 | 36 | 0.0019355 | 0.00048509 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2-6_0_4_load_30 | 38 | 0.0036199 | 0.00090722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2-6_0_4_load_31 | 39 | 0.0017678 | 0.00044305 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2-6_0_4_load_55 | 41 | 0.028217 | 0.0070719 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2-6_0_4_load_54 | 42 | 0.018676 | 0.0046807 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2-6_0_4_load_49 | 43 | 0.0058151 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2-6_0_4_load_38 | 44 | 0.024602 | 0.0061658 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2-6_0_4_load_39 | 45 | 0.026137 | 0.0065505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2-6_0_4_load_42 | 48 | 0.01688 | 0.0042305 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2-6_0_4_load_43 | 49 | 0.0071423 | 0.00179 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2-6_0_4_load_45 | 51 | 0.034042 | 0.0085317 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2-6_0_4_load_46 | 52 | 0.0057597 | 0.0014435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2-6_0_4_load_47 | 53 | 0.0057784 | 0.0014482 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2-6_0_4_load_48 | 54 | 0.011673 | 0.0029256 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2-6_0_4_load_50 | 55 | 0.013743 | 0.0034443 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2-6_0_4_load_53 | 56 | 0.026867 | 0.0067334 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2-6_0_4_load_66 | 57 | 0.017361 | 0.0043511 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2-6_0_4_load_65 | 58 | 0.0063251 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2-6_0_4_load_61 | 59 | 0.0052684 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2-6_0_4_load_62 | 60 | 0.0030771 | 0.0007712 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2-6_0_4_load_63 | 61 | 0.002979 | 0.00074662 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2-6_0_4_load_64 | 62 | 0.0052484 | 0.0013154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2-6_0_4_line_0 |  | 0 | 1 | 0.039558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2-6_0_4_line_1 |  | 0 | 2 | 0.021206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2-6_0_4_line_2 |  | 2 | 3 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2-6_0_4_line_3 |  | 2 | 4 | 0.006998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2-6_0_4_line_4 |  | 3 | 5 | 0.0055518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2-6_0_4_line_5 |  | 4 | 6 | 0.038717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2-6_0_4_line_6 |  | 5 | 7 | 0.0017014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2-6_0_4_line_7 |  | 7 | 8 | 0.029852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2-6_0_4_line_8 |  | 8 | 59 | 0.0022043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2-6_0_4_line_9 |  | 9 | 10 | 0.010649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2-6_0_4_line_10 |  | 9 | 11 | 0.0076621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2-6_0_4_line_11 |  | 10 | 12 | 0.011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2-6_0_4_line_12 |  | 11 | 13 | 0.007381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2-6_0_4_line_13 |  | 11 | 14 | 0.029812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2-6_0_4_line_14 |  | 12 | 15 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2-6_0_4_line_15 |  | 13 | 16 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2-6_0_4_line_16 |  | 13 | 17 | 0.013275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2-6_0_4_line_17 |  | 14 | 18 | 0.043197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2-6_0_4_line_18 |  | 14 | 19 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2-6_0_4_line_19 |  | 15 | 20 | 0.025347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2-6_0_4_line_20 |  | 15 | 21 | 0.011633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2-6_0_4_line_21 |  | 16 | 22 | 0.007095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2-6_0_4_line_22 |  | 18 | 23 | 0.0032209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2-6_0_4_line_23 |  | 19 | 24 | 0.035589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2-6_0_4_line_24 |  | 20 | 25 | 0.027871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2-6_0_4_line_25 |  | 20 | 26 | 0.0096509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2-6_0_4_line_26 |  | 21 | 27 | 0.0014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2-6_0_4_line_27 |  | 22 | 28 | 0.00097209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2-6_0_4_line_28 |  | 23 | 57 | 0.0071991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2-6_0_4_line_29 |  | 24 | 43 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2-6_0_4_line_30 |  | 25 | 34 | 0.015897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2-6_0_4_line_31 |  | 25 | 35 | 0.0014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2-6_0_4_line_32 |  | 27 | 33 | 0.019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2-6_0_4_line_33 |  | 28 | 31 | 0.020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2-6_0_4_line_34 |  | 29 | 30 | 0.018928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2-6_0_4_line_35 |  | 29 | 31 | 0.0032078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2-6_0_4_line_36 |  | 30 | 32 | 0.049439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2-6_0_4_line_37 |  | 34 | 36 | 0.00084103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2-6_0_4_line_38 |  | 35 | 37 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2-6_0_4_line_39 |  | 36 | 39 | 0.0022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2-6_0_4_line_40 |  | 37 | 40 | 0.019151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2-6_0_4_line_41 |  | 38 | 39 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2-6_0_4_line_42 |  | 40 | 41 | 0.013652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2-6_0_4_line_43 |  | 41 | 42 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2-6_0_4_line_44 |  | 42 | 50 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2-6_0_4_line_45 |  | 43 | 53 | 0.011076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2-6_0_4_line_46 |  | 44 | 45 | 0.011047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2-6_0_4_line_47 |  | 44 | 46 | 0.010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2-6_0_4_line_48 |  | 46 | 47 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2-6_0_4_line_49 |  | 46 | 48 | 0.027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2-6_0_4_line_50 |  | 47 | 49 | 0.0086288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2-6_0_4_line_51 |  | 49 | 50 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2-6_0_4_line_52 |  | 51 | 52 | 0.00050335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2-6_0_4_line_53 |  | 51 | 53 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2-6_0_4_line_54 |  | 52 | 54 | 0.040963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2-6_0_4_line_55 |  | 54 | 55 | 0.029022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2-6_0_4_line_56 |  | 55 | 56 | 0.008243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2-6_0_4_line_57 |  | 57 | 58 | 0.0032487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2-6_0_4_line_58 |  | 58 | 62 | 0.0056727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2-6_0_4_line_59 |  | 59 | 60 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2-6_0_4_line_60 |  | 60 | 61 | 0.0020964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2-6_0_4_line_61 |  | 61 | 62 | 0.0081791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2-6_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 63 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2676955.2248 | 1236952.0133 | 2676961.424 | 1236912.9436
1 | 2676953.3236 | 1236973.0254 | 2676952.9237 | 1236966.5157 | 2676955.2248 | 1236952.0133
2 | 2676953.3236 | 1236973.0254 | 2676947.8647 | 1236976.2013 | 2676942.9964 | 1236979.9297 | 2676941.5456 | 1236982.2196
3 | 2676960.2748 | 1236972.0592 | 2676953.3236 | 1236973.0254
4 | 2676938.5743 | 1236986.9093 | 2676941.5456 | 1236982.2196
5 | 2676960.2748 | 1236972.0592 | 2676960.3534 | 1236984.6801 | 2676964.3592 | 1237010.467
6 | 2676938.5743 | 1236986.9093 | 2676937.6638 | 1236988.3465
7 | 2676918.9091 | 1237010.1619 | 2676921.263 | 1237009.858 | 2676925.8708 | 1237006.9601 | 2676937.6638 | 1236988.3465
8 | 2676918.9091 | 1237010.1619 | 2676916.7229 | 1237010.4441 | 2676916.7229 | 1237010.4441
9 | 2676794.6313 | 1236997.6659 | 2676792.7024 | 1236987.1935
10 | 2676796.0193 | 1237005.2012 | 2676794.6313 | 1236997.6659
11 | 2676792.113 | 1236976.1172 | 2676791.7206 | 1236981.8628 | 2676792.7024 | 1236987.1935
12 | 2676788.718 | 1237003.9838 | 2676796.0193 | 1237005.2012
13 | 2676796.0193 | 1237005.2012 | 2676806.3873 | 1237009.1602 | 2676815.9267 | 1237009.3281 | 2676821.1033 | 1237008.0831 | 2676820.3197 | 1237004.3148
14 | 2676793.0461 | 1236962.4553 | 2676792.113 | 1236976.1172
15 | 2676788.718 | 1237003.9838 | 2676773.8215 | 1237002.353
16 | 2676788.718 | 1237003.9838 | 2676785.5301 | 1237016.8698
17 | 2676820.3197 | 1237004.3148 | 2676845.8825 | 1236999.442 | 2676858.7024 | 1236998.7073 | 2676863.0338 | 1236998.8195
18 | 2676820.3197 | 1237004.3148 | 2676817.0446 | 1236986.9766
19 | 2676793.0461 | 1236962.4553 | 2676798.0815 | 1236937.6143
20 | 2676793.0461 | 1236962.4553 | 2676781.718 | 1236959.8083
21 | 2676773.8215 | 1237002.353 | 2676766.7686 | 1237001.5809
22 | 2676863.0338 | 1236998.8195 | 2676866.2536 | 1236998.9029
23 | 2676813.2589 | 1236951.7648 | 2676813.0327 | 1236965.7382 | 2676817.0446 | 1236986.9766
24 | 2676798.0815 | 1236937.6143 | 2676807.2901 | 1236911.304
25 | 2676798.0815 | 1236937.6143 | 2676788.5692 | 1236935.9843
26 | 2676780.2877 | 1236959.4741 | 2676781.718 | 1236959.8083
27 | 2676766.7686 | 1237001.5809 | 2676765.8023 | 1237001.4751
28 | 2676866.2536 | 1236998.9029 | 2676871.569 | 1236999.0406 | 2676873.4394 | 1236999.2482
29 | 2676813.2589 | 1236951.7648 | 2676834.9719 | 1236953.7993
30 | 2676807.2901 | 1236911.304 | 2676792.2649 | 1236906.111
31 | 2676807.2901 | 1236911.304 | 2676807.8969 | 1236910.0361
32 | 2676780.2877 | 1236959.4741 | 2676772.1419 | 1236957.5707 | 2676770.8702 | 1236955.8531 | 2676773.2095 | 1236947.4514
33 | 2676747.3291 | 1236992.8079 | 2676763.4962 | 1237001.2226 | 2676765.8023 | 1237001.4751
34 | 2676727.6971 | 1236982.5806 | 2676744.4841 | 1236991.3258
35 | 2676747.3291 | 1236992.8079 | 2676744.4841 | 1236991.3258
36 | 2676727.6971 | 1236982.5806 | 2676729.6039 | 1236974.9666 | 2676734.1916 | 1236958.9814 | 2676734.4199 | 1236948.9329 | 2676729.7909 | 1236944.6924 | 2676730.5343 | 1236940.4435 | 2676731.7043 | 1236936.2876
37 | 2676791.47 | 1236905.8363 | 2676792.2649 | 1236906.111
38 | 2676813.7372 | 1236897.8335 | 2676807.8969 | 1236910.0361
39 | 2676789.3475 | 1236905.1028 | 2676791.47 | 1236905.8363
40 | 2676813.7372 | 1236897.8335 | 2676821.2073 | 1236900.6321 | 2676827.5378 | 1236903.1935 | 2676831.5649 | 1236904.8244
41 | 2676789.3475 | 1236905.1028 | 2676779.5833 | 1236901.7281
42 | 2676831.5649 | 1236904.8244 | 2676837.1959 | 1236892.3883
43 | 2676837.1959 | 1236892.3883 | 2676844.5034 | 1236876.2493
44 | 2676848.7462 | 1236864.1295 | 2676845.5392 | 1236873.9615 | 2676844.5034 | 1236876.2493
45 | 2676834.9719 | 1236953.7993 | 2676845.9992 | 1236954.8325
46 | 2676895.3484 | 1236854.9372 | 2676892.425 | 1236865.5907
47 | 2676885.6288 | 1236851.7203 | 2676895.3484 | 1236854.9372 | 2676895.3484 | 1236854.9372
48 | 2676885.6288 | 1236851.7203 | 2676875.6301 | 1236870.0592
49 | 2676885.6288 | 1236851.7203 | 2676885.6543 | 1236832.8075 | 2676877.8591 | 1236829.7603
50 | 2676875.6301 | 1236870.0592 | 2676867.2038 | 1236868.2006
51 | 2676848.7462 | 1236864.1295 | 2676867.2038 | 1236868.2006
52 | 2676859.6244 | 1236956.1092 | 2676859.1233 | 1236956.0623
53 | 2676859.1233 | 1236956.0623 | 2676845.9992 | 1236954.8325
54 | 2676896.7911 | 1236946.2748 | 2676896.7911 | 1236946.2748 | 2676889.7387 | 1236952.7214 | 2676885.3419 | 1236955.6776 | 2676881.182 | 1236957.2916 | 2676876.4553 | 1236957.6863 | 2676859.6244 | 1236956.1092
55 | 2676911.7612 | 1236921.6925 | 2676910.2713 | 1236925.5349 | 2676905.0406 | 1236936.208 | 2676896.7911 | 1236946.2748
56 | 2676914.7413 | 1236914.007 | 2676911.7612 | 1236921.6925
57 | 2676876.6682 | 1236999.6066 | 2676873.4394 | 1236999.2482
58 | 2676882.3063 | 1237000.2324 | 2676876.6682 | 1236999.6066
59 | 2676892.4388 | 1237001.8999 | 2676898.8402 | 1237004.2305 | 2676911.5716 | 1237009.1543 | 2676916.7229 | 1237010.4441
60 | 2676892.4388 | 1237001.8999 | 2676892.1901 | 1237001.8094 | 2676890.3838 | 1237001.5054
61 | 2676882.3063 | 1237000.2324 | 2676883.8169 | 1237000.4001 | 2676890.3838 | 1237001.5054

## bus_geodata
| x | y | coords
0 | 2676955.2248 | 1236952.0133
1 | 2676961.424 | 1236912.9436
2 | 2676953.3236 | 1236973.0254
3 | 2676941.5456 | 1236982.2196
4 | 2676960.2748 | 1236972.0592
5 | 2676938.5743 | 1236986.9093
6 | 2676964.3592 | 1237010.467
7 | 2676937.6638 | 1236988.3465
8 | 2676918.9091 | 1237010.1619
9 | 2676794.6313 | 1236997.6659
10 | 2676792.7024 | 1236987.1935
11 | 2676796.0193 | 1237005.2012
12 | 2676792.113 | 1236976.1172
13 | 2676788.718 | 1237003.9838
14 | 2676820.3197 | 1237004.3148
15 | 2676793.0461 | 1236962.4553
16 | 2676773.8215 | 1237002.353
17 | 2676785.5301 | 1237016.8698
18 | 2676863.0338 | 1236998.8195
19 | 2676817.0446 | 1236986.9766
20 | 2676798.0815 | 1236937.6143
21 | 2676781.718 | 1236959.8083
22 | 2676766.7686 | 1237001.5809
23 | 2676866.2536 | 1236998.9029
24 | 2676813.2589 | 1236951.7648
25 | 2676807.2901 | 1236911.304
26 | 2676788.5692 | 1236935.9843
27 | 2676780.2877 | 1236959.4741
28 | 2676765.8023 | 1237001.4751
29 | 2676744.4841 | 1236991.3258
30 | 2676727.6971 | 1236982.5806
31 | 2676747.3291 | 1236992.8079
32 | 2676731.7043 | 1236936.2876
33 | 2676773.2095 | 1236947.4514
34 | 2676792.2649 | 1236906.111
35 | 2676807.8969 | 1236910.0361
36 | 2676791.47 | 1236905.8363
37 | 2676813.7372 | 1236897.8335
38 | 2676779.5833 | 1236901.7281
39 | 2676789.3475 | 1236905.1028
40 | 2676831.5649 | 1236904.8244
41 | 2676837.1959 | 1236892.3883
42 | 2676844.5034 | 1236876.2493
43 | 2676834.9719 | 1236953.7993
44 | 2676895.3484 | 1236854.9372
45 | 2676892.425 | 1236865.5907
46 | 2676885.6288 | 1236851.7203
47 | 2676875.6301 | 1236870.0592
48 | 2676877.8591 | 1236829.7603
49 | 2676867.2038 | 1236868.2006
50 | 2676848.7462 | 1236864.1295
51 | 2676859.1233 | 1236956.0623
52 | 2676859.6244 | 1236956.1092
53 | 2676845.9992 | 1236954.8325
54 | 2676896.7911 | 1236946.2748
55 | 2676911.7612 | 1236921.6925
56 | 2676914.7413 | 1236914.007
57 | 2676873.4394 | 1236999.2482
58 | 2676876.6682 | 1236999.6066
59 | 2676916.7229 | 1237010.4441
60 | 2676892.4388 | 1237001.8999
61 | 2676890.3838 | 1237001.5054
62 | 2676882.3063 | 1237000.2324
63 | 2676813.2589 | 1236951.7648

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98316 | -0.32359 | 0.0070626 | 0.00177
1 | 0.98273 | -0.33184 | 0.011563 | 0.002898
2 | 0.98352 | -0.31647 | 0 | 0
3 | 0.9838 | -0.31093 | 0.0036933 | 0.00092564
4 | 0.98351 | -0.31667 | 0 | 0
5 | 0.98393 | -0.30854 | 0.0054884 | 0.0013755
6 | 0.98345 | -0.31782 | 0.0016385 | 0.00041065
7 | 0.98397 | -0.30763 | 0.0077709 | 0.0019476
8 | 0.985 | -0.28765 | 0.00049262 | 0.00012346
9 | 0.98935 | -0.20281 | 0.0022904 | 0.00057404
10 | 0.98883 | -0.21272 | 0.0033395 | 0.00083695
11 | 0.98973 | -0.19559 | 0 | 0
12 | 0.9883 | -0.2229 | 0.0016447 | 0.00041221
13 | 0.98959 | -0.19833 | 0 | 0
14 | 0.99138 | -0.16385 | 0 | 0
15 | 0.98766 | -0.23526 | 0 | 0
16 | 0.98932 | -0.20352 | 0.0029916 | 0.00074976
17 | 0.98957 | -0.19866 | 0.0014178 | 0.00035532
18 | 0.98778 | -0.23348 | 0.0070669 | 0.0017711
19 | 0.99285 | -0.1357 | 0.0089731 | 0.0022489
20 | 0.98659 | -0.25586 | 0 | 0
21 | 0.9875 | -0.23845 | 0.007381 | 0.0018499
22 | 0.98921 | -0.20559 | 0.0028651 | 0.00071806
23 | 0.98753 | -0.23829 | 0.0055257 | 0.0013849
24 | 0.99592 | -0.077285 | 0 | 0
25 | 0.98485 | -0.28939 | 0 | 0
26 | 0.98657 | -0.25623 | 0.0021367 | 0.0005355
27 | 0.98749 | -0.23866 | 0.0031481 | 0.00078898
28 | 0.9892 | -0.20583 | 0.0010241 | 0.00025667
29 | 0.98893 | -0.21115 | 0.0077371 | 0.0019391
30 | 0.98884 | -0.21277 | 0 | 0
31 | 0.98896 | -0.21043 | 0 | 0
32 | 0.98862 | -0.21703 | 0.0048231 | 0.0012088
33 | 0.9874 | -0.24032 | 0.0048224 | 0.0012086
34 | 0.98473 | -0.29188 | 0.0013997 | 0.0003508
35 | 0.98469 | -0.29256 | 0.0037588 | 0.00094205
36 | 0.98472 | -0.29199 | 0.0019355 | 0.00048509
37 | 0.98316 | -0.32219 | 0 | 0
38 | 0.98468 | -0.29288 | 0.0036199 | 0.00090722
39 | 0.98471 | -0.29221 | 0.0017678 | 0.00044305
40 | 0.98099 | -0.36429 | 0 | 0
41 | 0.97945 | -0.39442 | 0.028217 | 0.0070719
42 | 0.97791 | -0.42455 | 0.018676 | 0.0046807
43 | 0.99779 | -0.04167 | 0.0058151 | 0.0014574
44 | 0.97335 | -0.51406 | 0.024602 | 0.0061658
45 | 0.97308 | -0.51938 | 0.026137 | 0.0065505
46 | 0.97384 | -0.50451 | 0 | 0
47 | 0.97515 | -0.4786 | 0 | 0
48 | 0.97341 | -0.51298 | 0.01688 | 0.0042305
49 | 0.9757 | -0.46791 | 0.0071423 | 0.00179
50 | 0.97701 | -0.44208 | 0 | 0
51 | 0.99995 | -0.00095038 | 0.034042 | 0.0085317
52 | 1 | 0 | -0.38377 | -0.09766
53 | 0.99877 | -0.023259 | 0.0057784 | 0.0014482
54 | 0.99805 | -0.037402 | 0.011673 | 0.0029256
55 | 0.99698 | -0.058047 | 0.013743 | 0.0034443
56 | 0.99678 | -0.061931 | 0.026867 | 0.0067334
57 | 0.98702 | -0.24833 | 0.017361 | 0.0043511
58 | 0.98684 | -0.25185 | 0.0063251 | 0.0015852
59 | 0.98507 | -0.28616 | 0.0052684 | 0.0013204
60 | 0.98609 | -0.26628 | 0.0030771 | 0.0007712
61 | 0.98618 | -0.26455 | 0.002979 | 0.00074662
62 | 0.98655 | -0.25736 | 0.0052484 | 0.0013154
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011568 | 0.0029004 | -0.011563 | -0.002898 | 4.5474e-06 | 2.4089e-06 | 0.017508 | 0.017508 | 0.017508 | 0.98316 | -0.32359 | 0.98273 | -0.33184 | 4.81
1 | -0.01863 | -0.0046704 | 0.018637 | 0.0046742 | 6.3227e-06 | 3.7775e-06 | 0.028198 | 0.028197 | 0.028198 | 0.98316 | -0.32359 | 0.98352 | -0.31647 | 7.7466
2 | -0.020275 | -0.0050844 | 0.020281 | 0.0050876 | 5.3492e-06 | 3.2311e-06 | 0.030676 | 0.030676 | 0.030676 | 0.98352 | -0.31647 | 0.9838 | -0.31093 | 8.4276
3 | 0.0016386 | 0.00041014 | -0.0016386 | -0.00041022 | 1.6127e-08 | -7.8485e-08 | 0.002479 | 0.002479 | 0.002479 | 0.98352 | -0.31647 | 0.98351 | -0.31667 | 0.68105
4 | -0.023974 | -0.0060132 | 0.023977 | 0.0060149 | 2.7377e-06 | 1.6816e-06 | 0.036263 | 0.036263 | 0.036263 | 0.9838 | -0.31093 | 0.98393 | -0.30854 | 9.9622
5 | 0.0016386 | 0.00041022 | -0.0016385 | -0.00041065 | 8.9233e-08 | -4.3419e-07 | 0.002479 | 0.0024792 | 0.0024792 | 0.98351 | -0.31667 | 0.98345 | -0.31782 | 0.68109
6 | -0.029465 | -0.0073904 | 0.029466 | 0.0073912 | 1.267e-06 | 7.8928e-07 | 0.044563 | 0.044563 | 0.044563 | 0.98393 | -0.30854 | 0.98397 | -0.30763 | 12.2425
7 | -0.037237 | -0.0093388 | 0.037273 | 0.0093611 | 3.5501e-05 | 2.2341e-05 | 0.056314 | 0.056314 | 0.056314 | 0.98397 | -0.30763 | 0.985 | -0.28765 | 15.471
8 | -0.037765 | -0.0094846 | 0.037768 | 0.0094863 | 2.6911e-06 | 1.6943e-06 | 0.057058 | 0.057058 | 0.057058 | 0.985 | -0.28765 | 0.98507 | -0.28616 | 15.6754
9 | 0.15827 | 0.040309 | -0.1582 | -0.040261 | 7.5573e-05 | 4.7957e-05 | 0.23828 | 0.23828 | 0.23828 | 0.98935 | -0.20281 | 0.98883 | -0.21272 | 21.8203
10 | -0.16056 | -0.040883 | 0.16062 | 0.040919 | 5.5962e-05 | 3.552e-05 | 0.24172 | 0.24172 | 0.24172 | 0.98935 | -0.20281 | 0.98973 | -0.19559 | 22.1358
11 | 0.15486 | 0.039424 | -0.15478 | -0.039376 | 7.6029e-05 | 4.8229e-05 | 0.23325 | 0.23325 | 0.23325 | 0.98883 | -0.21272 | 0.9883 | -0.2229 | 21.3601
12 | 0.020873 | 0.0052348 | -0.02087 | -0.0052332 | 2.726e-06 | 1.6498e-06 | 0.031383 | 0.031383 | 0.031383 | 0.98973 | -0.19559 | 0.98959 | -0.19833 | 8.6216
13 | -0.18149 | -0.046154 | 0.18177 | 0.04633 | 0.00027795 | 0.00017673 | 0.2731 | 0.2731 | 0.2731 | 0.98973 | -0.19559 | 0.99138 | -0.16385 | 25.0096
14 | 0.15314 | 0.038964 | -0.15305 | -0.038906 | 9.1162e-05 | 5.7817e-05 | 0.23078 | 0.23078 | 0.23078 | 0.9883 | -0.2229 | 0.98766 | -0.23526 | 21.1334
15 | 0.019452 | 0.004878 | -0.019447 | -0.0048751 | 4.8082e-06 | 2.8847e-06 | 0.029251 | 0.029251 | 0.029251 | 0.98959 | -0.19833 | 0.98932 | -0.20352 | 8.0359
16 | 0.0014178 | 0.00035517 | -0.0014178 | -0.00035532 | 2.2624e-08 | -1.5606e-07 | 0.0021318 | 0.0021319 | 0.0021319 | 0.98959 | -0.19833 | 0.98957 | -0.19866 | 0.58568
17 | 0.091066 | 0.023016 | -0.090763 | -0.022823 | 0.00030294 | 0.00019333 | 0.13675 | 0.13675 | 0.13675 | 0.99138 | -0.16385 | 0.98778 | -0.23348 | 37.5697
18 | -0.27284 | -0.069346 | 0.27321 | 0.069583 | 0.0003705 | 0.00023644 | 0.40986 | 0.40986 | 0.40986 | 0.99138 | -0.16385 | 0.99285 | -0.1357 | 37.5327
19 | 0.13769 | 0.035057 | -0.13756 | -0.034971 | 0.00013661 | 8.6457e-05 | 0.20764 | 0.20764 | 0.20764 | 0.98766 | -0.23526 | 0.98659 | -0.25586 | 19.015
20 | 0.015354 | 0.0038488 | -0.015352 | -0.0038475 | 2.3345e-06 | 1.3452e-06 | 0.023133 | 0.023133 | 0.023133 | 0.98766 | -0.23526 | 0.9875 | -0.23845 | 6.3552
21 | 0.016456 | 0.0041254 | -0.016454 | -0.0041244 | 1.63e-06 | 9.5209e-07 | 0.024751 | 0.024751 | 0.024751 | 0.98932 | -0.20352 | 0.98921 | -0.20559 | 6.7998
22 | 0.083696 | 0.021052 | -0.083676 | -0.021039 | 1.9208e-05 | 1.2252e-05 | 0.12611 | 0.12611 | 0.12611 | 0.98778 | -0.23348 | 0.98753 | -0.23829 | 34.645
23 | -0.28218 | -0.071832 | 0.28298 | 0.072341 | 0.00079714 | 0.00050879 | 0.42331 | 0.4233 | 0.42331 | 0.99285 | -0.1357 | 0.99592 | -0.077285 | 38.7642
24 | 0.13542 | 0.034435 | -0.1352 | -0.034296 | 0.00021838 | 0.00013905 | 0.20442 | 0.20442 | 0.20442 | 0.98659 | -0.25586 | 0.98485 | -0.28939 | 28.0799
25 | 0.0021367 | 0.0005354 | -0.0021367 | -0.0005355 | 3.7585e-08 | -9.9184e-08 | 0.0032226 | 0.0032226 | 0.0032226 | 0.98659 | -0.25586 | 0.98657 | -0.25623 | 0.88534
26 | 0.0079709 | 0.0019976 | -0.0079708 | -0.0019976 | 7.9466e-08 | 3.2066e-08 | 0.012011 | 0.012011 | 0.012011 | 0.9875 | -0.23845 | 0.98749 | -0.23866 | 3.2997
27 | 0.013589 | 0.0034064 | -0.013589 | -0.0034063 | 1.5232e-07 | 8.5007e-08 | 0.020441 | 0.020441 | 0.020441 | 0.98921 | -0.20559 | 0.9892 | -0.20583 | 5.6158
28 | 0.078151 | 0.019655 | -0.078113 | -0.019631 | 3.7451e-05 | 2.3877e-05 | 0.11778 | 0.11778 | 0.11778 | 0.98753 | -0.23829 | 0.98702 | -0.24833 | 32.3577
29 | -0.28298 | -0.072341 | 0.28346 | 0.072652 | 0.00048847 | 0.00031177 | 0.4233 | 0.4233 | 0.4233 | 0.99592 | -0.077285 | 0.99779 | -0.04167 | 38.7642
30 | 0.0087241 | 0.0021866 | -0.0087231 | -0.0021861 | 1.0358e-06 | 4.6064e-07 | 0.013181 | 0.013181 | 0.013181 | 0.98485 | -0.28939 | 0.98473 | -0.29188 | 3.6213
31 | 0.12648 | 0.03211 | -0.12646 | -0.032097 | 1.9278e-05 | 1.232e-05 | 0.19124 | 0.19124 | 0.19124 | 0.98485 | -0.28939 | 0.98469 | -0.29256 | 52.5386
32 | 0.0048228 | 0.0012086 | -0.0048224 | -0.0012086 | 3.8073e-07 | -2.2434e-09 | 0.0072672 | 0.0072673 | 0.0072673 | 0.98749 | -0.23866 | 0.9874 | -0.24032 | 1.9965
33 | 0.012565 | 0.0031496 | -0.012562 | -0.0031481 | 2.7525e-06 | 1.4979e-06 | 0.018901 | 0.018901 | 0.018901 | 0.9892 | -0.20583 | 0.98896 | -0.21043 | 5.1926
34 | 0.0048245 | 0.0012088 | -0.0048241 | -0.0012088 | 3.7404e-07 | -3.4504e-09 | 0.0072591 | 0.0072592 | 0.0072592 | 0.98893 | -0.21115 | 0.98884 | -0.21277 | 1.9943
35 | -0.012562 | -0.0031479 | 0.012562 | 0.0031481 | 4.2975e-07 | 2.3388e-07 | 0.018901 | 0.018901 | 0.018901 | 0.98893 | -0.21115 | 0.98896 | -0.21043 | 5.1926
36 | 0.0048241 | 0.0012088 | -0.0048231 | -0.0012088 | 9.7701e-07 | -8.7915e-09 | 0.0072592 | 0.0072594 | 0.0072594 | 0.98884 | -0.21277 | 0.98862 | -0.21703 | 1.9944
37 | 0.0073234 | 0.0018353 | -0.0073233 | -0.0018353 | 3.8623e-08 | 1.4019e-08 | 0.011066 | 0.011066 | 0.011066 | 0.98473 | -0.29188 | 0.98472 | -0.29199 | 3.0402
38 | 0.1227 | 0.031155 | -0.12252 | -0.031044 | 0.00017468 | 0.00011162 | 0.18556 | 0.18556 | 0.18556 | 0.98469 | -0.29256 | 0.98316 | -0.32219 | 50.9781
39 | 0.0053878 | 0.0013502 | -0.0053877 | -0.0013502 | 5.5818e-08 | 7.1563e-09 | 0.0081415 | 0.0081415 | 0.0081415 | 0.98472 | -0.29199 | 0.98471 | -0.29221 | 2.2367
40 | 0.12252 | 0.031044 | -0.12228 | -0.030886 | 0.00024728 | 0.00015802 | 0.18556 | 0.18556 | 0.18556 | 0.98316 | -0.32219 | 0.98099 | -0.36429 | 50.9781
41 | -0.0036199 | -0.00090722 | 0.00362 | 0.00090716 | 1.1593e-07 | -5.7225e-08 | 0.0054702 | 0.0054702 | 0.0054702 | 0.98468 | -0.29288 | 0.98471 | -0.29221 | 1.5028
42 | 0.12228 | 0.030886 | -0.1221 | -0.030773 | 0.00017627 | 0.00011264 | 0.18556 | 0.18556 | 0.18556 | 0.98099 | -0.36429 | 0.97945 | -0.39442 | 50.9782
43 | 0.093882 | 0.023701 | -0.093747 | -0.023615 | 0.00013527 | 8.635e-05 | 0.14269 | 0.14269 | 0.14269 | 0.97945 | -0.39442 | 0.97791 | -0.42455 | 39.201
44 | 0.075071 | 0.018934 | -0.075008 | -0.018894 | 6.2941e-05 | 4.0121e-05 | 0.11427 | 0.11427 | 0.11427 | 0.97791 | -0.42455 | 0.97701 | -0.44208 | 31.3939
45 | -0.28928 | -0.07411 | 0.28954 | 0.074275 | 0.00025834 | 0.00016491 | 0.43198 | 0.43198 | 0.43198 | 0.99779 | -0.04167 | 0.99877 | -0.023259 | 39.5583
46 | 0.026144 | 0.0065546 | -0.026137 | -0.0065505 | 6.6178e-06 | 4.0981e-06 | 0.039968 | 0.039968 | 0.039968 | 0.97335 | -0.51406 | 0.97308 | -0.51938 | 10.9802
47 | -0.050745 | -0.01272 | 0.050769 | 0.012735 | 2.3106e-05 | 1.4661e-05 | 0.077578 | 0.077578 | 0.077578 | 0.97335 | -0.51406 | 0.97384 | -0.50451 | 21.3126
48 | -0.067655 | -0.01697 | 0.067739 | 0.017023 | 8.3669e-05 | 5.3288e-05 | 0.10338 | 0.10338 | 0.10338 | 0.97384 | -0.50451 | 0.97515 | -0.4786 | 28.4015
49 | 0.016887 | 0.0042345 | -0.01688 | -0.0042305 | 6.8119e-06 | 4.0203e-06 | 0.025803 | 0.025804 | 0.025804 | 0.97384 | -0.50451 | 0.97341 | -0.51298 | 7.0889
50 | -0.067739 | -0.017023 | 0.067773 | 0.017045 | 3.4583e-05 | 2.2026e-05 | 0.10338 | 0.10338 | 0.10338 | 0.97515 | -0.4786 | 0.9757 | -0.46791 | 28.4014
51 | -0.074916 | -0.018835 | 0.075008 | 0.018894 | 9.2558e-05 | 5.9001e-05 | 0.11427 | 0.11427 | 0.11427 | 0.9757 | -0.46791 | 0.97701 | -0.44208 | 31.3939
52 | -0.32968 | -0.084459 | 0.32969 | 0.084468 | 1.5183e-05 | 9.6976e-06 | 0.49124 | 0.49124 | 0.49124 | 0.99995 | -0.00095038 | 1 | 0 | 44.9855
53 | 0.29564 | 0.075927 | -0.29532 | -0.075723 | 0.00031984 | 0.00020418 | 0.44059 | 0.44059 | 0.44059 | 0.99995 | -0.00095038 | 0.99877 | -0.023259 | 40.3466
54 | 0.052422 | 0.013191 | -0.052328 | -0.013132 | 9.3512e-05 | 5.9311e-05 | 0.078023 | 0.078023 | 0.078023 | 1 | 0 | 0.99805 | -0.037402 | 21.4349
55 | 0.040655 | 0.010206 | -0.040615 | -0.010181 | 3.9993e-05 | 2.5216e-05 | 0.060619 | 0.060619 | 0.060619 | 0.99805 | -0.037402 | 0.99698 | -0.058047 | 16.6536
56 | 0.026872 | 0.0067365 | -0.026867 | -0.0067334 | 4.9724e-06 | 3.0748e-06 | 0.040107 | 0.040107 | 0.040107 | 0.99698 | -0.058047 | 0.99678 | -0.061931 | 11.0185
57 | 0.060752 | 0.01528 | -0.060742 | -0.015273 | 1.0224e-05 | 6.5017e-06 | 0.091608 | 0.091608 | 0.091608 | 0.98702 | -0.24833 | 0.98684 | -0.25185 | 25.1671
58 | 0.054417 | 0.013688 | -0.054402 | -0.013679 | 1.4329e-05 | 9.0978e-06 | 0.082071 | 0.082071 | 0.082071 | 0.98684 | -0.25185 | 0.98655 | -0.25736 | 22.5469
59 | -0.043036 | -0.010807 | 0.043077 | 0.010832 | 4.0855e-05 | 2.5819e-05 | 0.065017 | 0.065016 | 0.065017 | 0.98507 | -0.28616 | 0.98609 | -0.26628 | 17.8617
60 | -0.046154 | -0.011604 | 0.046158 | 0.011606 | 3.8148e-06 | 2.4147e-06 | 0.06966 | 0.06966 | 0.06966 | 0.98609 | -0.26628 | 0.98618 | -0.26455 | 19.1373
61 | -0.049137 | -0.012353 | 0.049154 | 0.012363 | 1.6866e-05 | 1.069e-05 | 0.074155 | 0.074155 | 0.074155 | 0.98618 | -0.26455 | 0.98655 | -0.25736 | 20.3722

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38953 | 0.099103

## res_load
| p_mw | q_mvar
0 | 0.0070626 | 0.00177
1 | 0.011563 | 0.002898
2 | 0.0036933 | 0.00092564
3 | 0.0054884 | 0.0013755
4 | 0.0016385 | 0.00041065
5 | 0.0077709 | 0.0019476
6 | 0.00049262 | 0.00012346
7 | 0.0022904 | 0.00057404
8 | 0.0033395 | 0.00083695
9 | 0.0016447 | 0.00041221
10 | 0.0029916 | 0.00074976
11 | 0.0014178 | 0.00035532
12 | 0.0070669 | 0.0017711
13 | 0.0089731 | 0.0022489
14 | 0.007381 | 0.0018499
15 | 0.0028651 | 0.00071806
16 | 0.0055257 | 0.0013849
17 | 0.0021367 | 0.0005355
18 | 0.0031481 | 0.00078898
19 | 0.0010241 | 0.00025667
20 | 0.0077371 | 0.0019391
21 | 0.0048231 | 0.0012088
22 | 0.0048224 | 0.0012086
23 | 0.0013997 | 0.0003508
24 | 0.0037588 | 0.00094205
25 | 0.0019355 | 0.00048509
26 | 0.0036199 | 0.00090722
27 | 0.0017678 | 0.00044305
28 | 0.028217 | 0.0070719
29 | 0.018676 | 0.0046807
30 | 0.0058151 | 0.0014574
31 | 0.024602 | 0.0061658
32 | 0.026137 | 0.0065505
33 | 0.01688 | 0.0042305
34 | 0.0071423 | 0.00179
35 | 0.034042 | 0.0085317
36 | 0.0057597 | 0.0014435
37 | 0.0057784 | 0.0014482
38 | 0.011673 | 0.0029256
39 | 0.013743 | 0.0034443
40 | 0.026867 | 0.0067334
41 | 0.017361 | 0.0043511
42 | 0.0063251 | 0.0015852
43 | 0.0052684 | 0.0013204
44 | 0.0030771 | 0.0007712
45 | 0.002979 | 0.00074662
46 | 0.0052484 | 0.0013154

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1