## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2-8_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2-8_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2-8_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2-8_0_6_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2-8_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2-8_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2-8_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2-8_0_6_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2-8_0_6_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2-8_0_6_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_2-8_0_6_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_2-8_0_6_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_2-8_0_6_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_2-8_0_6_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_2-8_0_6_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2-8_0_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_2-8_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2-8_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2-8_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2-8_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2-8_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2-8_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2-8_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2-8_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2-8_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2-8_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2-8_0_6_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_2-8_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2-8_0_6_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_2-8_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2-8_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2-8_0_6_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_2-8_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2-8_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2-8_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2-8_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2-8_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_2-8_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2-8_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2-8_0_6_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_2-8_0_6_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_2-8_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2-8_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2-8_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2-8_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2-8_0_6_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_2-8_0_6_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_2-8_0_6_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_2-8_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2-8_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2-8_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2-8_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2-8_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2-8_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2-8_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2-8_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_2-8_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2-8_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2-8_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_MV_349_0_node_191 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2-8_0_6_load_0 | 0 | 0.0094686 | 0.0023731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2-8_0_6_load_3 | 3 | 0.0062666 | 0.0015706 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2-8_0_6_load_5 | 4 | 0.013359 | 0.003348 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2-8_0_6_load_7 | 5 | 0.010724 | 0.0026876 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2-8_0_6_load_8 | 6 | 0.049302 | 0.012356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2-8_0_6_load_13 | 7 | 0.003491 | 0.00087494 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2-8_0_6_load_9 | 8 | 0.0082008 | 0.0020553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2-8_0_6_load_12 | 11 | 0.0050427 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2-8_0_6_load_14 | 12 | 0.0033256 | 0.00083348 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2-8_0_6_load_45 | 13 | 0.0044861 | 0.0011243 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2-8_0_6_load_46 | 14 | 0.0017685 | 0.00044322 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2-8_0_6_load_38 | 15 | 0.0046433 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2-8_0_6_load_66 | 16 | 0.0016756 | 0.00041994 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2-8_0_6_load_25 | 18 | 0.0030873 | 0.00077374 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2-8_0_6_load_26 | 19 | 0.0028287 | 0.00070894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2-8_0_6_load_15 | 20 | 0.010835 | 0.0027156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2-8_0_6_load_16 | 21 | 0.010762 | 0.0026971 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2-8_0_6_load_18 | 23 | 0.022097 | 0.005538 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2-8_0_6_load_20 | 24 | 0.014374 | 0.0036024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2-8_0_6_load_22 | 27 | 0.035747 | 0.0089591 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2-8_0_6_load_23 | 28 | 0.071862 | 0.01801 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2-8_0_6_load_24 | 29 | 0.050045 | 0.012542 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2-8_0_6_load_57 | 30 | 0.0012101 | 0.00030328 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2-8_0_6_load_56 | 32 | 0.0057183 | 0.0014332 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2-8_0_6_load_58 | 35 | 0.0040006 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2-8_0_6_load_33 | 36 | 0.001169 | 0.00029297 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2-8_0_6_load_31 | 37 | 0.046799 | 0.011729 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2-8_0_6_load_28 | 38 | 0.016961 | 0.0042507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2-8_0_6_load_30 | 39 | 0.036162 | 0.0090632 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2-8_0_6_load_41 | 40 | 0.040218 | 0.01008 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2-8_0_6_load_32 | 41 | 0.0048454 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2-8_0_6_load_34 | 42 | 0.0020128 | 0.00050445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2-8_0_6_load_60 | 43 | 0.0036121 | 0.00090528 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2-8_0_6_load_59 | 44 | 0.0029829 | 0.00074759 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2-8_0_6_load_40 | 45 | 0.010659 | 0.0026715 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2-8_0_6_load_42 | 46 | 0.0049001 | 0.0012281 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2-8_0_6_load_43 | 47 | 0.003162 | 0.00079246 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2-8_0_6_load_44 | 48 | 0.0049791 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2-8_0_6_load_70 | 50 | 0.003169 | 0.00079422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2-8_0_6_load_67 | 51 | 0.0028633 | 0.00071761 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2-8_0_6_load_47 | 52 | 0.011721 | 0.0029375 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2-8_0_6_load_48 | 53 | 0.0090295 | 0.002263 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2-8_0_6_load_50 | 55 | 0.0039219 | 0.00098291 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2-8_0_6_load_51 | 56 | 0.0083067 | 0.0020819 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2-8_0_6_load_53 | 58 | 0.0090296 | 0.002263 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2-8_0_6_load_55 | 59 | 0.0024011 | 0.00060178 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2-8_0_6_load_63 | 60 | 0.0051189 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2-8_0_6_load_61 | 62 | 0.0037816 | 0.00094775 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2-8_0_6_line_0 |  | 0 | 1 | 0.030453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2-8_0_6_line_1 |  | 0 | 2 | 0.039942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2-8_0_6_line_2 |  | 1 | 3 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2-8_0_6_line_3 |  | 2 | 4 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2-8_0_6_line_4 |  | 3 | 5 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2-8_0_6_line_5 |  | 4 | 6 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2-8_0_6_line_6 |  | 5 | 7 | 0.017611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2-8_0_6_line_7 |  | 6 | 8 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2-8_0_6_line_8 |  | 7 | 12 | 0.00054729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2-8_0_6_line_9 |  | 9 | 10 | 0.022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2-8_0_6_line_10 |  | 9 | 11 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2-8_0_6_line_11 |  | 10 | 13 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2-8_0_6_line_12 |  | 10 | 14 | 0.018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2-8_0_6_line_13 |  | 11 | 15 | 0.0070619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2-8_0_6_line_14 |  | 12 | 18 | 0.010874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2-8_0_6_line_15 |  | 13 | 16 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2-8_0_6_line_16 |  | 15 | 17 | 0.012349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2-8_0_6_line_17 |  | 16 | 51 | 0.030725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2-8_0_6_line_18 |  | 17 | 45 | 0.039122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2-8_0_6_line_19 |  | 17 | 40 | 0.011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2-8_0_6_line_20 |  | 18 | 19 | 0.00053096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2-8_0_6_line_21 |  | 19 | 31 | 0.0031967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2-8_0_6_line_22 |  | 20 | 21 | 0.0061035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2-8_0_6_line_23 |  | 20 | 22 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2-8_0_6_line_24 |  | 21 | 23 | 1.5254e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2-8_0_6_line_25 |  | 22 | 24 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2-8_0_6_line_26 |  | 23 | 25 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2-8_0_6_line_27 |  | 24 | 29 | 5.1166e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2-8_0_6_line_28 |  | 25 | 30 | 0.0088956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2-8_0_6_line_29 |  | 25 | 31 | 0.010903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2-8_0_6_line_30 |  | 26 | 27 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2-8_0_6_line_31 |  | 26 | 28 | 0.0090636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2-8_0_6_line_32 |  | 27 | 32 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2-8_0_6_line_33 |  | 28 | 33 | 0.022204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2-8_0_6_line_34 |  | 29 | 34 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2-8_0_6_line_35 |  | 30 | 35 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2-8_0_6_line_36 |  | 31 | 36 | 0.017525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2-8_0_6_line_37 |  | 33 | 37 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2-8_0_6_line_38 |  | 33 | 34 | 0.02854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2-8_0_6_line_39 |  | 34 | 38 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2-8_0_6_line_40 |  | 35 | 61 | 0.039548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2-8_0_6_line_41 |  | 36 | 41 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2-8_0_6_line_42 |  | 38 | 39 | 0.00058695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2-8_0_6_line_43 |  | 39 | 40 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2-8_0_6_line_44 |  | 41 | 42 | 0.031184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2-8_0_6_line_45 |  | 43 | 44 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2-8_0_6_line_46 |  | 44 | 62 | 0.035586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2-8_0_6_line_47 |  | 45 | 46 | 0.036651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2-8_0_6_line_48 |  | 46 | 47 | 0.0027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2-8_0_6_line_49 |  | 47 | 48 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2-8_0_6_line_50 |  | 48 | 49 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2-8_0_6_line_51 |  | 49 | 50 | 0.012821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2-8_0_6_line_52 |  | 52 | 53 | 0.019603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2-8_0_6_line_53 |  | 52 | 54 | 0.040864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2-8_0_6_line_54 |  | 53 | 55 | 0.016697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2-8_0_6_line_55 |  | 54 | 56 | 0.011195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2-8_0_6_line_56 |  | 54 | 57 | 0.067426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2-8_0_6_line_57 |  | 55 | 58 | 0.0036246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2-8_0_6_line_58 |  | 57 | 59 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2-8_0_6_line_59 |  | 59 | 60 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2-8_0_6_line_60 |  | 60 | 61 | 0.00077529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2-8_0_6_line_61 |  | 61 | 62 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2-8_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 63 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2676645.0205 | 1236823.3697 | 2676672.5862 | 1236836.3136
1 | 2676708.7407 | 1236853.2905 | 2676672.5862 | 1236836.3136
2 | 2676645.0205 | 1236823.3697 | 2676637.2122 | 1236836.4627
3 | 2676708.7407 | 1236853.2905 | 2676699.9693 | 1236871.8735
4 | 2676637.2122 | 1236836.4627 | 2676628.0172 | 1236851.8811
5 | 2676699.9693 | 1236871.8735 | 2676694.2547 | 1236883.9804 | 2676700.8296 | 1236887.3579
6 | 2676618.9969 | 1236867.0064 | 2676628.0172 | 1236851.8811
7 | 2676700.8296 | 1236887.3579 | 2676715.4018 | 1236894.8437
8 | 2676618.7166 | 1236867.4764 | 2676618.9969 | 1236867.0064
9 | 2676727.6971 | 1236982.5806 | 2676747.3291 | 1236992.8079
10 | 2676727.6971 | 1236982.5806 | 2676722.229 | 1236980.0304 | 2676716.7743 | 1236977.2859
11 | 2676747.3291 | 1236992.8079 | 2676741.3653 | 1237006.2508
12 | 2676747.3291 | 1236992.8079 | 2676763.4962 | 1237001.2226
13 | 2676710.4659 | 1236974.1118 | 2676716.7743 | 1236977.2859
14 | 2676613.1467 | 1236876.8161 | 2676618.7166 | 1236867.4764
15 | 2676741.3653 | 1237006.2508 | 2676733.4522 | 1237024.0876
16 | 2676699.435 | 1236968.5615 | 2676710.4659 | 1236974.1118
17 | 2676733.4522 | 1237024.0876 | 2676727.2447 | 1237038.0799 | 2676720.4868 | 1237051.9372
18 | 2676699.435 | 1236968.5615 | 2676679.9611 | 1237002.4927
19 | 2676699.435 | 1236968.5615 | 2676689.2962 | 1236963.5522
20 | 2676612.8747 | 1236877.2721 | 2676613.1467 | 1236876.8161
21 | 2676611.2374 | 1236880.0177 | 2676612.8747 | 1236877.2721
22 | 2676623.6634 | 1236906.456 | 2676627.3325 | 1236911.3336
23 | 2676634.6561 | 1236922.2712 | 2676627.6637 | 1236911.7738 | 2676627.3325 | 1236911.3336
24 | 2676623.6634 | 1236906.456 | 2676623.6542 | 1236906.4439
25 | 2676634.6561 | 1236922.2712 | 2676643.6077 | 1236932.9521
26 | 2676605.9236 | 1236889.5447 | 2676619.6145 | 1236901.0737 | 2676623.6542 | 1236906.4439
27 | 2676643.6406 | 1236932.9913 | 2676643.6077 | 1236932.9521
28 | 2676605.9236 | 1236889.5447 | 2676600.3759 | 1236896.4984
29 | 2676611.2374 | 1236880.0177 | 2676605.9236 | 1236889.5447
30 | 2676617.184 | 1236947.519 | 2676609.9289 | 1236957.1155
31 | 2676617.184 | 1236947.519 | 2676623.4493 | 1236954.0684
32 | 2676609.9289 | 1236957.1155 | 2676600.4563 | 1236969.6452
33 | 2676638.798 | 1236970.1134 | 2676623.4493 | 1236954.0684
34 | 2676655.0894 | 1236946.6518 | 2676643.6406 | 1236932.9913
35 | 2676600.3759 | 1236896.4984 | 2676590.1014 | 1236909.3768
36 | 2676611.2374 | 1236880.0177 | 2676596.6147 | 1236870.3575
37 | 2676638.798 | 1236970.1134 | 2676631.1462 | 1236982.581
38 | 2676638.798 | 1236970.1134 | 2676655.0894 | 1236946.6518
39 | 2676655.0894 | 1236946.6518 | 2676666.6838 | 1236952.3802
40 | 2676565.4375 | 1236940.2913 | 2676590.1014 | 1236909.3768
41 | 2676596.6147 | 1236870.3575 | 2676583.9733 | 1236862.0062
42 | 2676667.21 | 1236952.6402 | 2676666.6838 | 1236952.3802
43 | 2676689.2962 | 1236963.5522 | 2676667.21 | 1236952.6402
44 | 2676557.9542 | 1236844.8171 | 2676583.9733 | 1236862.0062
45 | 2676527.894 | 1236908.6629 | 2676507.1816 | 1236886.155
46 | 2676527.894 | 1236908.6629 | 2676536.375 | 1236917.8791 | 2676554.6372 | 1236931.9625
47 | 2676679.9611 | 1237002.4927 | 2676661.7172 | 1237034.2808
48 | 2676660.3656 | 1237036.6359 | 2676661.7172 | 1237034.2808
49 | 2676660.3656 | 1237036.6359 | 2676654.3653 | 1237047.0908
50 | 2676645.0479 | 1237063.3254 | 2676654.3653 | 1237047.0908
51 | 2676645.0479 | 1237063.3254 | 2676638.3319 | 1237074.2469
52 | 2676632.8091 | 1237007.6159 | 2676633.6925 | 1237012.1656 | 2676631.1129 | 1237024.4298 | 2676630.0226 | 1237026.6082
53 | 2676598.8564 | 1236986.2985 | 2676632.3658 | 1237005.3327 | 2676632.8091 | 1237007.6159
54 | 2676622.5496 | 1237041.5398 | 2676630.0226 | 1237026.6082
55 | 2676598.8564 | 1236986.2985 | 2676597.2377 | 1236997.3755
56 | 2676538.8597 | 1236975.1842 | 2676555.5036 | 1236987.7296 | 2676564.4501 | 1236982.241 | 2676576.192 | 1236979.4349 | 2676590.9965 | 1236981.4604 | 2676598.8564 | 1236986.2985
57 | 2676622.5496 | 1237041.5398 | 2676620.9273 | 1237044.7812
58 | 2676538.8597 | 1236975.1842 | 2676556.4251 | 1236952.1234
59 | 2676564.9677 | 1236940.9081 | 2676556.4251 | 1236952.1234
60 | 2676564.9677 | 1236940.9081 | 2676565.4375 | 1236940.2913
61 | 2676565.4375 | 1236940.2913 | 2676554.6372 | 1236931.9625

## bus_geodata
| x | y | coords
0 | 2676672.5862 | 1236836.3136
1 | 2676645.0205 | 1236823.3697
2 | 2676708.7407 | 1236853.2905
3 | 2676637.2122 | 1236836.4627
4 | 2676699.9693 | 1236871.8735
5 | 2676628.0172 | 1236851.8811
6 | 2676700.8296 | 1236887.3579
7 | 2676618.9969 | 1236867.0064
8 | 2676715.4018 | 1236894.8437
9 | 2676727.6971 | 1236982.5806
10 | 2676747.3291 | 1236992.8079
11 | 2676716.7743 | 1236977.2859
12 | 2676618.7166 | 1236867.4764
13 | 2676741.3653 | 1237006.2508
14 | 2676763.4962 | 1237001.2226
15 | 2676710.4659 | 1236974.1118
16 | 2676733.4522 | 1237024.0876
17 | 2676699.435 | 1236968.5615
18 | 2676613.1467 | 1236876.8161
19 | 2676612.8747 | 1236877.2721
20 | 2676627.3325 | 1236911.3336
21 | 2676623.6634 | 1236906.456
22 | 2676634.6561 | 1236922.2712
23 | 2676623.6542 | 1236906.4439
24 | 2676643.6077 | 1236932.9521
25 | 2676605.9236 | 1236889.5447
26 | 2676617.184 | 1236947.519
27 | 2676609.9289 | 1236957.1155
28 | 2676623.4493 | 1236954.0684
29 | 2676643.6406 | 1236932.9913
30 | 2676600.3759 | 1236896.4984
31 | 2676611.2374 | 1236880.0177
32 | 2676600.4563 | 1236969.6452
33 | 2676638.798 | 1236970.1134
34 | 2676655.0894 | 1236946.6518
35 | 2676590.1014 | 1236909.3768
36 | 2676596.6147 | 1236870.3575
37 | 2676631.1462 | 1236982.581
38 | 2676666.6838 | 1236952.3802
39 | 2676667.21 | 1236952.6402
40 | 2676689.2962 | 1236963.5522
41 | 2676583.9733 | 1236862.0062
42 | 2676557.9542 | 1236844.8171
43 | 2676507.1816 | 1236886.155
44 | 2676527.894 | 1236908.6629
45 | 2676679.9611 | 1237002.4927
46 | 2676661.7172 | 1237034.2808
47 | 2676660.3656 | 1237036.6359
48 | 2676654.3653 | 1237047.0908
49 | 2676645.0479 | 1237063.3254
50 | 2676638.3319 | 1237074.2469
51 | 2676720.4868 | 1237051.9372
52 | 2676632.8091 | 1237007.6159
53 | 2676630.0226 | 1237026.6082
54 | 2676598.8565 | 1236986.2985
55 | 2676622.5496 | 1237041.5398
56 | 2676597.2377 | 1236997.3755
57 | 2676538.8597 | 1236975.1842
58 | 2676620.9273 | 1237044.7812
59 | 2676556.4251 | 1236952.1234
60 | 2676564.9677 | 1236940.9081
61 | 2676565.4375 | 1236940.2913
62 | 2676554.6372 | 1236931.9625
63 | 2676638.798 | 1236970.1134

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98496 | -0.28851 | 0.0094686 | 0.0023731
1 | 0.98723 | -0.24466 | 0 | 0
2 | 0.98234 | -0.3395 | 0 | 0
3 | 0.98836 | -0.22278 | 0.0062666 | 0.0015706
4 | 0.981 | -0.36583 | 0.013359 | 0.003348
5 | 0.9898 | -0.19508 | 0.010724 | 0.0026876
6 | 0.97989 | -0.3875 | 0.049302 | 0.012356
7 | 0.99138 | -0.16464 | 0.003491 | 0.00087494
8 | 0.97977 | -0.38994 | 0.0082008 | 0.0020553
9 | 0.99537 | -0.088971 | 0 | 0
10 | 0.99516 | -0.093167 | 0 | 0
11 | 0.99549 | -0.086666 | 0.0050427 | 0.0012638
12 | 0.99143 | -0.16366 | 0.0033256 | 0.00083348
13 | 0.99504 | -0.095503 | 0.0044861 | 0.0011243
14 | 0.99513 | -0.093734 | 0.0017685 | 0.00044322
15 | 0.9956 | -0.084698 | 0.0046433 | 0.0011637
16 | 0.99496 | -0.097063 | 0.0016756 | 0.00041994
17 | 0.99583 | -0.080252 | 0 | 0
18 | 0.99248 | -0.1436 | 0.0030873 | 0.00077374
19 | 0.99253 | -0.14259 | 0.0028287 | 0.00070894
20 | 0.99652 | -0.066197 | 0.010835 | 0.0027156
21 | 0.99612 | -0.073915 | 0.010762 | 0.0026971
22 | 0.99744 | -0.048737 | 0 | 0
23 | 0.99612 | -0.073934 | 0.022097 | 0.005538
24 | 0.99841 | -0.030288 | 0.014374 | 0.0036024
25 | 0.99404 | -0.11363 | 0 | 0
26 | 0.99528 | -0.090664 | 0 | 0
27 | 0.99483 | -0.099446 | 0.035747 | 0.0089591
28 | 0.99563 | -0.084054 | 0.071862 | 0.01801
29 | 0.99841 | -0.030216 | 0.050045 | 0.012542
30 | 0.99351 | -0.12386 | 0.0012101 | 0.00030328
31 | 0.99285 | -0.13637 | 0 | 0
32 | 0.99475 | -0.10103 | 0.0057183 | 0.0014332
33 | 0.99792 | -0.03991 | 0 | 0
34 | 1 | 0 | -0.59763 | -0.15085
35 | 0.99254 | -0.14247 | 0.0040006 | 0.0010026
36 | 0.99273 | -0.13886 | 0.001169 | 0.00029297
37 | 0.9973 | -0.0519 | 0.046799 | 0.011729
38 | 0.99834 | -0.031767 | 0.016961 | 0.0042507
39 | 0.99828 | -0.033037 | 0.036162 | 0.0090632
40 | 0.99631 | -0.070843 | 0.040218 | 0.01008
41 | 0.99263 | -0.1407 | 0.0048454 | 0.0012144
42 | 0.99257 | -0.14181 | 0.0020128 | 0.00050445
43 | 0.98992 | -0.19314 | 0.0036121 | 0.00090528
44 | 0.99002 | -0.19117 | 0.0029829 | 0.00074759
45 | 0.99487 | -0.098747 | 0.010659 | 0.0026715
46 | 0.99433 | -0.10922 | 0.0049001 | 0.0012281
47 | 0.9943 | -0.10976 | 0.003162 | 0.00079246
48 | 0.99421 | -0.11149 | 0.0049791 | 0.0012479
49 | 0.99415 | -0.11254 | 0 | 0
50 | 0.99412 | -0.11325 | 0.003169 | 0.00079422
51 | 0.99487 | -0.098612 | 0.0028633 | 0.00071761
52 | 0.98475 | -0.29336 | 0.011721 | 0.0029375
53 | 0.98435 | -0.30111 | 0.0090295 | 0.002263
54 | 0.98602 | -0.26864 | 0 | 0
55 | 0.98416 | -0.305 | 0.0039219 | 0.00098291
56 | 0.98593 | -0.27031 | 0.0083067 | 0.0020819
57 | 0.98863 | -0.21799 | 0 | 0
58 | 0.98413 | -0.30559 | 0.0090296 | 0.002263
59 | 0.98975 | -0.1963 | 0.0024011 | 0.00060178
60 | 0.99033 | -0.18516 | 0.0051189 | 0.0012829
61 | 0.99036 | -0.18448 | 0 | 0
62 | 0.99023 | -0.187 | 0.0037816 | 0.00094775
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.080653 | -0.020338 | 0.080823 | 0.020446 | 0.00016967 | 0.0001082 | 0.12189 | 0.12189 | 0.12189 | 0.98496 | -0.28851 | 0.98723 | -0.24466 | 33.4864
1 | 0.071185 | 0.017965 | -0.071011 | -0.017855 | 0.00017337 | 0.00011045 | 0.10759 | 0.10759 | 0.10759 | 0.98496 | -0.28851 | 0.98234 | -0.3395 | 29.5566
2 | -0.080823 | -0.020446 | 0.080908 | 0.020501 | 8.4934e-05 | 5.4163e-05 | 0.12189 | 0.12189 | 0.12189 | 0.98723 | -0.24466 | 0.98836 | -0.22278 | 33.4863
3 | 0.071011 | 0.017855 | -0.070922 | -0.017798 | 8.9194e-05 | 5.6824e-05 | 0.10759 | 0.10759 | 0.10759 | 0.98234 | -0.3395 | 0.981 | -0.36583 | 29.5566
4 | -0.087175 | -0.022071 | 0.087291 | 0.022145 | 0.0001161 | 7.4075e-05 | 0.13132 | 0.13132 | 0.13132 | 0.98836 | -0.22278 | 0.9898 | -0.19508 | 36.0782
5 | 0.057563 | 0.01445 | -0.057504 | -0.014412 | 5.9419e-05 | 3.7766e-05 | 0.087323 | 0.087323 | 0.087323 | 0.981 | -0.36583 | 0.97989 | -0.3875 | 23.9898
6 | -0.098015 | -0.024833 | 0.098158 | 0.024924 | 0.00014357 | 9.1661e-05 | 0.14745 | 0.14745 | 0.14745 | 0.9898 | -0.19508 | 0.99138 | -0.16464 | 40.5072
7 | 0.0082017 | 0.0020557 | -0.0082008 | -0.0020553 | 9.5299e-07 | 4.0357e-07 | 0.012455 | 0.012455 | 0.012455 | 0.97989 | -0.3875 | 0.97977 | -0.38994 | 3.4217
8 | -0.10165 | -0.025799 | 0.10165 | 0.025802 | 4.7847e-06 | 3.0551e-06 | 0.15269 | 0.15269 | 0.15269 | 0.99138 | -0.16464 | 0.99143 | -0.16366 | 41.9467
9 | 0.010797 | 0.0027061 | -0.010795 | -0.002705 | 2.1577e-06 | 1.0939e-06 | 0.016141 | 0.016141 | 0.016141 | 0.99537 | -0.088971 | 0.99516 | -0.093167 | 4.4344
10 | -0.010797 | -0.0027061 | 0.010798 | 0.0027067 | 1.186e-06 | 6.0126e-07 | 0.016141 | 0.016141 | 0.016141 | 0.99537 | -0.088971 | 0.99549 | -0.086666 | 4.4344
11 | 0.0090265 | 0.002262 | -0.0090255 | -0.0022616 | 1.0046e-06 | 4.5191e-07 | 0.013497 | 0.013497 | 0.013497 | 0.99516 | -0.093167 | 0.99504 | -0.095503 | 3.7079
12 | 0.0017685 | 0.00044301 | -0.0017685 | -0.00044322 | 4.7792e-08 | -2.0621e-07 | 0.0026443 | 0.0026444 | 0.0026444 | 0.99516 | -0.093167 | 0.99513 | -0.093734 | 0.72648
13 | -0.015841 | -0.0039705 | 0.015843 | 0.0039714 | 1.4848e-06 | 8.5844e-07 | 0.023679 | 0.023679 | 0.023679 | 0.99549 | -0.086666 | 0.9956 | -0.084698 | 6.5051
14 | -0.10498 | -0.026636 | 0.10508 | 0.026701 | 0.00010139 | 6.4747e-05 | 0.15768 | 0.15768 | 0.15768 | 0.99143 | -0.16366 | 0.99248 | -0.1436 | 43.318
15 | 0.0045394 | 0.0011372 | -0.0045391 | -0.0011373 | 3.372e-07 | -3.7636e-08 | 0.0067883 | 0.0067884 | 0.0067884 | 0.99504 | -0.095503 | 0.99496 | -0.097063 | 1.8649
16 | -0.020486 | -0.0051351 | 0.02049 | 0.0051377 | 4.3412e-06 | 2.6178e-06 | 0.030618 | 0.030618 | 0.030618 | 0.9956 | -0.084698 | 0.99583 | -0.080252 | 8.4117
17 | 0.0028635 | 0.00071735 | -0.0028633 | -0.00071761 | 2.1131e-07 | -2.6376e-07 | 0.0042825 | 0.0042826 | 0.0042826 | 0.99496 | -0.097063 | 0.99487 | -0.098612 | 1.1765
18 | 0.026902 | 0.0067536 | -0.026879 | -0.006739 | 2.3712e-05 | 1.4667e-05 | 0.040203 | 0.040203 | 0.040203 | 0.99583 | -0.080252 | 0.99487 | -0.098747 | 11.0448
19 | -0.047393 | -0.011891 | 0.047414 | 0.011905 | 2.127e-05 | 1.3466e-05 | 0.070821 | 0.070821 | 0.070821 | 0.99583 | -0.080252 | 0.99631 | -0.070843 | 19.4564
20 | -0.10817 | -0.027474 | 0.10817 | 0.027478 | 5.2452e-06 | 3.3501e-06 | 0.16231 | 0.16231 | 0.16231 | 0.99248 | -0.1436 | 0.99253 | -0.14259 | 44.5896
21 | -0.111 | -0.028187 | 0.11104 | 0.028208 | 3.3251e-05 | 2.124e-05 | 0.16655 | 0.16655 | 0.16655 | 0.99253 | -0.14259 | 0.99285 | -0.13637 | 45.7546
22 | 0.21804 | 0.05541 | -0.21796 | -0.055358 | 8.1007e-05 | 5.1606e-05 | 0.32585 | 0.32585 | 0.32585 | 0.99652 | -0.066197 | 0.99612 | -0.073915 | 29.8396
23 | -0.22887 | -0.058125 | 0.22907 | 0.058248 | 0.0001925 | 0.00012268 | 0.34203 | 0.34203 | 0.34203 | 0.99652 | -0.066197 | 0.99744 | -0.048737 | 31.3213
24 | 0.2072 | 0.052661 | -0.2072 | -0.052661 | 1.8297e-07 | 1.1649e-07 | 0.30977 | 0.30977 | 0.30977 | 0.99612 | -0.073915 | 0.99612 | -0.073934 | 28.3675
25 | -0.22907 | -0.058248 | 0.22927 | 0.058378 | 0.00020378 | 0.00012988 | 0.34203 | 0.34203 | 0.34203 | 0.99744 | -0.048737 | 0.99841 | -0.030288 | 31.3212
26 | 0.1851 | 0.047123 | -0.18475 | -0.046897 | 0.00035358 | 0.00022565 | 0.27676 | 0.27676 | 0.27676 | 0.99612 | -0.073934 | 0.99404 | -0.11363 | 38.0171
27 | -0.24364 | -0.06198 | 0.24365 | 0.061981 | 8.4486e-07 | 5.3871e-07 | 0.36345 | 0.36345 | 0.36345 | 0.99841 | -0.030288 | 0.99841 | -0.030216 | 33.283
28 | 0.065552 | 0.016594 | -0.065519 | -0.016574 | 3.2159e-05 | 2.0466e-05 | 0.098185 | 0.098185 | 0.098185 | 0.99404 | -0.11363 | 0.99351 | -0.12386 | 26.9739
29 | 0.11919 | 0.030303 | -0.11906 | -0.03022 | 0.00013039 | 8.3308e-05 | 0.17858 | 0.17858 | 0.17858 | 0.99404 | -0.11363 | 0.99285 | -0.13637 | 49.0604
30 | 0.041483 | 0.010403 | -0.041466 | -0.010392 | 1.7354e-05 | 1.0951e-05 | 0.062023 | 0.062023 | 0.062023 | 0.99528 | -0.090664 | 0.99483 | -0.099446 | 17.0392
31 | -0.041483 | -0.010403 | 0.041496 | 0.010412 | 1.3075e-05 | 8.25e-06 | 0.062023 | 0.062023 | 0.062023 | 0.99528 | -0.090664 | 0.99563 | -0.084054 | 17.0392
32 | 0.0057188 | 0.0014332 | -0.0057183 | -0.0014332 | 4.3099e-07 | 7.1902e-08 | 0.0085538 | 0.0085539 | 0.0085539 | 0.99483 | -0.099446 | 0.99475 | -0.10103 | 2.35
33 | -0.11336 | -0.028422 | 0.1136 | 0.028575 | 0.00023901 | 0.00015268 | 0.16942 | 0.16942 | 0.16942 | 0.99563 | -0.084054 | 0.99792 | -0.03991 | 46.5453
34 | -0.29369 | -0.074523 | 0.29412 | 0.074796 | 0.00042749 | 0.00027289 | 0.43804 | 0.43804 | 0.43804 | 0.99841 | -0.030216 | 1 | 0 | 40.1132
35 | 0.064309 | 0.01627 | -0.064252 | -0.016234 | 5.738e-05 | 3.651e-05 | 0.096373 | 0.096373 | 0.096373 | 0.99351 | -0.12386 | 0.99254 | -0.14247 | 26.476
36 | 0.0080288 | 0.002012 | -0.0080279 | -0.0020116 | 9.5158e-07 | 3.8239e-07 | 0.012033 | 0.012033 | 0.012033 | 0.99285 | -0.13637 | 0.99273 | -0.13886 | 3.3058
37 | 0.046825 | 0.011746 | -0.046799 | -0.011729 | 2.6746e-05 | 1.6927e-05 | 0.069826 | 0.069826 | 0.069826 | 0.99792 | -0.03991 | 0.9973 | -0.0519 | 19.183
38 | -0.16042 | -0.04032 | 0.16073 | 0.040516 | 0.00030631 | 0.00019529 | 0.23925 | 0.23925 | 0.23925 | 0.99792 | -0.03991 | 1 | 0 | 32.8641
39 | 0.14113 | 0.035541 | -0.14092 | -0.035404 | 0.00021401 | 0.0001368 | 0.21007 | 0.21007 | 0.21007 | 1 | 0 | 0.99834 | -0.031767 | 57.7115
40 | 0.060251 | 0.015231 | -0.06013 | -0.015154 | 0.00012113 | 7.7013e-05 | 0.090375 | 0.090375 | 0.090375 | 0.99254 | -0.14247 | 0.99036 | -0.18448 | 24.8284
41 | 0.0068589 | 0.0017187 | -0.0068583 | -0.0017185 | 6.0052e-07 | 1.8846e-07 | 0.010281 | 0.010281 | 0.010281 | 0.99273 | -0.13886 | 0.99263 | -0.1407 | 2.8244
42 | 0.12396 | 0.031153 | -0.12395 | -0.031149 | 7.5161e-06 | 4.8026e-06 | 0.18479 | 0.18479 | 0.18479 | 0.99834 | -0.031767 | 0.99828 | -0.033037 | 50.7666
43 | 0.08779 | 0.022085 | -0.087632 | -0.021984 | 0.00015826 | 0.00010097 | 0.13089 | 0.13089 | 0.13089 | 0.99828 | -0.033037 | 0.99631 | -0.070843 | 35.9581
44 | 0.0020129 | 0.00050411 | -0.0020128 | -0.00050445 | 1.0647e-07 | -3.3494e-07 | 0.0030173 | 0.0030174 | 0.0030174 | 0.99263 | -0.1407 | 0.99257 | -0.14181 | 0.82896
45 | -0.0036121 | -0.00090528 | 0.0036124 | 0.0009051 | 3.3815e-07 | -1.7686e-07 | 0.0054296 | 0.0054295 | 0.0054296 | 0.98992 | -0.19314 | 0.99002 | -0.19117 | 1.4917
46 | -0.0065953 | -0.0016527 | 0.0065967 | 0.0016531 | 1.3113e-06 | 3.8154e-07 | 0.0099128 | 0.0099127 | 0.0099128 | 0.99002 | -0.19117 | 0.99023 | -0.187 | 2.7233
47 | 0.016219 | 0.0040675 | -0.016211 | -0.0040628 | 8.0893e-06 | 4.7015e-06 | 0.02426 | 0.02426 | 0.02426 | 0.99487 | -0.098747 | 0.99433 | -0.10922 | 6.6649
48 | 0.011311 | 0.0028347 | -0.011311 | -0.0028346 | 2.9177e-07 | 1.5151e-07 | 0.016927 | 0.016927 | 0.016927 | 0.99433 | -0.10922 | 0.9943 | -0.10976 | 4.6504
49 | 0.008149 | 0.0020421 | -0.0081483 | -0.0020419 | 6.723e-07 | 2.7394e-07 | 0.012195 | 0.012195 | 0.012195 | 0.9943 | -0.10976 | 0.99421 | -0.11149 | 3.3504
50 | 0.0031692 | 0.00079398 | -0.0031691 | -0.00079412 | 1.5793e-07 | -1.4165e-07 | 0.0047432 | 0.0047433 | 0.0047433 | 0.99421 | -0.11149 | 0.99415 | -0.11254 | 1.3031
51 | 0.0031691 | 0.00079412 | -0.003169 | -0.00079422 | 1.0818e-07 | -9.7006e-08 | 0.0047433 | 0.0047434 | 0.0047434 | 0.99415 | -0.11254 | 0.99412 | -0.11325 | 1.3031
52 | 0.021992 | 0.0055153 | -0.021984 | -0.0055104 | 8.1185e-06 | 4.9465e-06 | 0.033232 | 0.033232 | 0.033232 | 0.98475 | -0.29336 | 0.98435 | -0.30111 | 9.1297
53 | -0.033712 | -0.0084528 | 0.033752 | 0.0084778 | 3.9768e-05 | 2.4931e-05 | 0.050943 | 0.050943 | 0.050943 | 0.98475 | -0.29336 | 0.98602 | -0.26864 | 13.9953
54 | 0.012954 | 0.0032474 | -0.012952 | -0.0032461 | 2.4011e-06 | 1.3245e-06 | 0.019583 | 0.019583 | 0.019583 | 0.98435 | -0.30111 | 0.98416 | -0.305 | 5.3798
55 | 0.0083074 | 0.0020821 | -0.0083067 | -0.0020819 | 6.5982e-07 | 2.7951e-07 | 0.012537 | 0.012537 | 0.012537 | 0.98602 | -0.26864 | 0.98593 | -0.27031 | 3.4442
56 | -0.04206 | -0.01056 | 0.042161 | 0.010624 | 0.00010189 | 6.4346e-05 | 0.063479 | 0.063479 | 0.063479 | 0.98602 | -0.26864 | 0.98863 | -0.21799 | 17.4394
57 | 0.0090298 | 0.0022631 | -0.0090296 | -0.002263 | 2.5336e-07 | 1.161e-07 | 0.013653 | 0.013653 | 0.013653 | 0.98416 | -0.305 | 0.98413 | -0.30559 | 3.7508
58 | -0.042161 | -0.010624 | 0.042205 | 0.010652 | 4.3805e-05 | 2.7663e-05 | 0.063479 | 0.063479 | 0.063479 | 0.98863 | -0.21799 | 0.98975 | -0.1963 | 17.4393
59 | -0.044606 | -0.011254 | 0.04463 | 0.011269 | 2.3796e-05 | 1.5048e-05 | 0.067089 | 0.067089 | 0.067089 | 0.98975 | -0.1963 | 0.99033 | -0.18516 | 18.431
60 | -0.049749 | -0.012552 | 0.049751 | 0.012553 | 1.6258e-06 | 1.0305e-06 | 0.07478 | 0.07478 | 0.07478 | 0.99033 | -0.18516 | 0.99036 | -0.18448 | 20.544
61 | 0.010379 | 0.0026014 | -0.010378 | -0.0026008 | 1.2439e-06 | 6.2062e-07 | 0.015595 | 0.015595 | 0.015595 | 0.99036 | -0.18448 | 0.99023 | -0.187 | 4.2844

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59763 | 0.15085

## res_load
| p_mw | q_mvar
0 | 0.0094686 | 0.0023731
1 | 0.0062666 | 0.0015706
2 | 0.013359 | 0.003348
3 | 0.010724 | 0.0026876
4 | 0.049302 | 0.012356
5 | 0.003491 | 0.00087494
6 | 0.0082008 | 0.0020553
7 | 0.0050427 | 0.0012638
8 | 0.0033256 | 0.00083348
9 | 0.0044861 | 0.0011243
10 | 0.0017685 | 0.00044322
11 | 0.0046433 | 0.0011637
12 | 0.0016756 | 0.00041994
13 | 0.0030873 | 0.00077374
14 | 0.0028287 | 0.00070894
15 | 0.010835 | 0.0027156
16 | 0.010762 | 0.0026971
17 | 0.022097 | 0.005538
18 | 0.014374 | 0.0036024
19 | 0.035747 | 0.0089591
20 | 0.071862 | 0.01801
21 | 0.050045 | 0.012542
22 | 0.0012101 | 0.00030328
23 | 0.0057183 | 0.0014332
24 | 0.0040006 | 0.0010026
25 | 0.001169 | 0.00029297
26 | 0.046799 | 0.011729
27 | 0.016961 | 0.0042507
28 | 0.036162 | 0.0090632
29 | 0.040218 | 0.01008
30 | 0.0048454 | 0.0012144
31 | 0.0020128 | 0.00050445
32 | 0.0036121 | 0.00090528
33 | 0.0029829 | 0.00074759
34 | 0.010659 | 0.0026715
35 | 0.0049001 | 0.0012281
36 | 0.003162 | 0.00079246
37 | 0.0049791 | 0.0012479
38 | 0.003169 | 0.00079422
39 | 0.0028633 | 0.00071761
40 | 0.011721 | 0.0029375
41 | 0.0090295 | 0.002263
42 | 0.0039219 | 0.00098291
43 | 0.0083067 | 0.0020819
44 | 0.0090296 | 0.002263
45 | 0.0024011 | 0.00060178
46 | 0.0051189 | 0.0012829
47 | 0.0037816 | 0.00094775

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1