## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2-9_0_4_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_2-9_0_4_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_2-9_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2-9_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2-9_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2-9_0_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_2-9_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2-9_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2-9_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2-9_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2-9_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2-9_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2-9_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2-9_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2-9_0_4_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_2-9_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_2-9_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2-9_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_2-9_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2-9_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2-9_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2-9_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_2-9_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_2-9_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_2-9_0_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2-9_0_4_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_2-9_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2-9_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2-9_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2-9_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2-9_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2-9_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2-9_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2-9_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2-9_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2-9_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2-9_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2-9_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2-9_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2-9_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2-9_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2-9_0_4_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_2-9_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2-9_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2-9_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_2-9_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2-9_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_2-9_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2-9_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2-9_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2-9_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2-9_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2-9_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2-9_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2-9_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2-9_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_MV_349_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2-9_0_4_load_0 | 0 | 0.0038101 | 0.00095489 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2-9_0_4_load_36 | 4 | 0.015621 | 0.003915 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2-9_0_4_load_38 | 5 | 0.011597 | 0.0029064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2-9_0_4_load_33 | 7 | 0.011401 | 0.0028573 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2-9_0_4_load_27 | 8 | 0.015 | 0.0037592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2-9_0_4_load_9 | 10 | 0.0079858 | 0.0020014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2-9_0_4_load_5 | 12 | 0.0082252 | 0.0020614 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2-9_0_4_load_6 | 13 | 0.011514 | 0.0028857 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2-9_0_4_load_8 | 15 | 0.004094 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2-9_0_4_load_63 | 18 | 0.0043565 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2-9_0_4_load_28 | 19 | 0.0093911 | 0.0023536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2-9_0_4_load_13 | 22 | 0.036441 | 0.009133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2-9_0_4_load_46 | 25 | 0.0014015 | 0.00035126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2-9_0_4_load_44 | 27 | 0.0057959 | 0.0014526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2-9_0_4_load_54 | 28 | 0.0092763 | 0.0023249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2-9_0_4_load_50 | 29 | 0.0085756 | 0.0021492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2-9_0_4_load_16 | 30 | 0.010735 | 0.0026906 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2-9_0_4_load_17 | 31 | 0.0050743 | 0.0012717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2-9_0_4_load_20 | 32 | 0.0065364 | 0.0016382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2-9_0_4_load_39 | 34 | 0.0090235 | 0.0022615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2-9_0_4_load_21 | 36 | 0.010466 | 0.002623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2-9_0_4_load_25 | 38 | 0.0183 | 0.0045863 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2-9_0_4_load_26 | 39 | 0.004392 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2-9_0_4_load_34 | 40 | 0.0043093 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2-9_0_4_load_29 | 42 | 0.0095836 | 0.0024019 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2-9_0_4_load_30 | 43 | 0.0023009 | 0.00057667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2-9_0_4_load_61 | 45 | 0.011288 | 0.0028291 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2-9_0_4_load_41 | 46 | 0.018792 | 0.0047096 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2-9_0_4_load_42 | 47 | 0.015964 | 0.0040009 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2-9_0_4_load_57 | 51 | 0.0090084 | 0.0022577 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2-9_0_4_load_43 | 52 | 0.0081868 | 0.0020518 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2-9_0_4_load_47 | 54 | 0.010868 | 0.0027239 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2-9_0_4_load_48 | 55 | 0.010412 | 0.0026095 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2-9_0_4_load_55 | 56 | 0.012743 | 0.0031936 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2-9_0_4_load_59 | 57 | 0.0049964 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2-9_0_4_load_51 | 58 | 0.0086133 | 0.0021587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2-9_0_4_load_53 | 59 | 0.020674 | 0.0051814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2-9_0_4_line_0 |  | 0 | 1 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2-9_0_4_line_1 |  | 1 | 2 | 0.016891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2-9_0_4_line_2 |  | 1 | 3 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2-9_0_4_line_3 |  | 2 | 4 | 0.0033654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2-9_0_4_line_4 |  | 3 | 5 | 0.017577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2-9_0_4_line_5 |  | 4 | 9 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2-9_0_4_line_6 |  | 5 | 10 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2-9_0_4_line_7 |  | 6 | 7 | 0.0055776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2-9_0_4_line_8 |  | 6 | 8 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2-9_0_4_line_9 |  | 7 | 11 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2-9_0_4_line_10 |  | 9 | 40 | 0.025318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2-9_0_4_line_11 |  | 10 | 14 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2-9_0_4_line_12 |  | 11 | 42 | 0.0056928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2-9_0_4_line_13 |  | 11 | 38 | 0.02035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2-9_0_4_line_14 |  | 12 | 13 | 0.026611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2-9_0_4_line_15 |  | 12 | 14 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2-9_0_4_line_16 |  | 13 | 15 | 0.035343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2-9_0_4_line_17 |  | 16 | 17 | 0.005311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2-9_0_4_line_18 |  | 16 | 18 | 0.023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2-9_0_4_line_19 |  | 17 | 19 | 0.017241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2-9_0_4_line_20 |  | 17 | 20 | 0.022585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2-9_0_4_line_21 |  | 18 | 21 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2-9_0_4_line_22 |  | 20 | 30 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2-9_0_4_line_23 |  | 21 | 43 | 0.0032935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2-9_0_4_line_24 |  | 22 | 23 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2-9_0_4_line_25 |  | 23 | 24 | 0.02169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2-9_0_4_line_26 |  | 24 | 25 | 0.027127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2-9_0_4_line_27 |  | 24 | 26 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2-9_0_4_line_28 |  | 25 | 27 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2-9_0_4_line_29 |  | 26 | 28 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2-9_0_4_line_30 |  | 26 | 29 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2-9_0_4_line_31 |  | 27 | 52 | 0.0082058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2-9_0_4_line_32 |  | 29 | 58 | 0.00030359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2-9_0_4_line_33 |  | 30 | 31 | 0.01213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2-9_0_4_line_34 |  | 32 | 33 | 0.0038656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2-9_0_4_line_35 |  | 33 | 34 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2-9_0_4_line_36 |  | 33 | 35 | 0.023761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2-9_0_4_line_37 |  | 34 | 41 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2-9_0_4_line_38 |  | 35 | 38 | 0.019753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2-9_0_4_line_39 |  | 35 | 36 | 0.017395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2-9_0_4_line_40 |  | 36 | 37 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2-9_0_4_line_41 |  | 37 | 39 | 0.002287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2-9_0_4_line_42 |  | 39 | 40 | 0.01073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2-9_0_4_line_43 |  | 41 | 46 | 0.053651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2-9_0_4_line_44 |  | 41 | 47 | 0.018773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2-9_0_4_line_45 |  | 41 | 44 | 0.048468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2-9_0_4_line_46 |  | 42 | 43 | 0.0137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2-9_0_4_line_47 |  | 44 | 45 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2-9_0_4_line_48 |  | 46 | 48 | 0.063024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2-9_0_4_line_49 |  | 46 | 49 | 0.025186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2-9_0_4_line_50 |  | 48 | 50 | 0.026191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2-9_0_4_line_51 |  | 49 | 51 | 0.016281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2-9_0_4_line_52 |  | 50 | 57 | 0.04872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2-9_0_4_line_53 |  | 50 | 53 | 0.021416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2-9_0_4_line_54 |  | 52 | 53 | 0.052313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2-9_0_4_line_55 |  | 53 | 54 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2-9_0_4_line_56 |  | 53 | 55 | 0.024525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2-9_0_4_line_57 |  | 55 | 56 | 0.0026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2-9_0_4_line_58 |  | 58 | 59 | 0.007149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2-9_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 60 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2676672.9164 | 1236769.1253 | 2676682.345 | 1236773.1269
1 | 2676672.9164 | 1236769.1253 | 2676682.1343 | 1236754.9567
2 | 2676672.9164 | 1236769.1253 | 2676667.5558 | 1236782.2653 | 2676666.0007 | 1236786.0812
3 | 2676682.1343 | 1236754.9567 | 2676683.9683 | 1236752.1349
4 | 2676666.0007 | 1236786.0812 | 2676657.3848 | 1236801.4013
5 | 2676693.979 | 1236736.6191 | 2676687.8243 | 1236746.2018 | 2676683.9683 | 1236752.1349
6 | 2676657.3848 | 1236801.4013 | 2676656.5831 | 1236802.8268 | 2676651.1824 | 1236812.4221
7 | 2676640.4408 | 1236759.0216 | 2676634.9612 | 1236757.9806
8 | 2676640.4408 | 1236759.0216 | 2676646.53 | 1236742.7777
9 | 2676610.6658 | 1236748.3857 | 2676630.3938 | 1236757.1129 | 2676634.9612 | 1236757.9806
10 | 2676693.979 | 1236736.6191 | 2676673.1678 | 1236722.2011
11 | 2676645.0205 | 1236823.3697 | 2676651.1824 | 1236812.4221
12 | 2676610.6658 | 1236748.3857 | 2676605.4604 | 1236746.0809
13 | 2676610.6658 | 1236748.3857 | 2676617.16 | 1236731.2465 | 2676618.5336 | 1236729.7632
14 | 2676631.1911 | 1236815.9783 | 2676616.0274 | 1236807.8739 | 2676608.4987 | 1236802.2162
15 | 2676645.0205 | 1236823.3697 | 2676631.1911 | 1236815.9783
16 | 2676608.4987 | 1236802.2162 | 2676597.1943 | 1236793.7213 | 2676580.6844 | 1236780.4189
17 | 2676555.8126 | 1236730.1994 | 2676560.6979 | 1236728.0831
18 | 2676555.8126 | 1236730.1994 | 2676578.7438 | 1236736.2509
19 | 2676560.6979 | 1236728.0831 | 2676550.2774 | 1236714.3474
20 | 2676580.0765 | 1236716.3914 | 2676560.6979 | 1236728.0831
21 | 2676589.9221 | 1236739.2008 | 2676578.7438 | 1236736.2509
22 | 2676580.0765 | 1236716.3914 | 2676570.4284 | 1236702.5915
23 | 2676589.9221 | 1236739.2008 | 2676592.9335 | 1236740.5343
24 | 2676485.0726 | 1236667.0335 | 2676499.5261 | 1236685.1296
25 | 2676502.6045 | 1236654.1948 | 2676485.0726 | 1236667.0335
26 | 2676502.6045 | 1236654.1948 | 2676487.691 | 1236631.5357
27 | 2676522.8516 | 1236639.7121 | 2676518.311 | 1236643.2561 | 2676505.4387 | 1236652.1187 | 2676502.6045 | 1236654.1948
28 | 2676491.715 | 1236617.274 | 2676482.6768 | 1236623.9173 | 2676487.691 | 1236631.5357
29 | 2676522.8516 | 1236639.7121 | 2676522.8549 | 1236635.9318 | 2676527.978 | 1236631.806 | 2676535.4096 | 1236625.8865
30 | 2676522.8516 | 1236639.7121 | 2676537.2641 | 1236657.5942
31 | 2676498.3269 | 1236612.4142 | 2676491.715 | 1236617.274
32 | 2676537.4546 | 1236657.8305 | 2676537.2641 | 1236657.5942
33 | 2676563.4779 | 1236692.65 | 2676570.4284 | 1236702.5915
34 | 2676619.754 | 1236693.8318 | 2676616.6112 | 1236696.0827
35 | 2676619.754 | 1236693.8318 | 2676628.1305 | 1236686.2234 | 2676628.9548 | 1236685.4467
36 | 2676630.6655 | 1236714.9538 | 2676619.754 | 1236693.8318
37 | 2676644.7762 | 1236670.5384 | 2676628.9548 | 1236685.4467
38 | 2676630.6655 | 1236714.9538 | 2676626.4943 | 1236723.884 | 2676618.5336 | 1236729.7632
39 | 2676630.6655 | 1236714.9538 | 2676645.4284 | 1236717.9129 | 2676647.7418 | 1236718.2527
40 | 2676660.3676 | 1236720.1072 | 2676647.7418 | 1236718.2527
41 | 2676660.3676 | 1236720.1072 | 2676662.6302 | 1236720.4403
42 | 2676673.1678 | 1236722.2011 | 2676672.7842 | 1236721.9354 | 2676662.6302 | 1236720.4403
43 | 2676644.7762 | 1236670.5384 | 2676634.1801 | 1236660.7393 | 2676606.6726 | 1236632.6763
44 | 2676644.7762 | 1236670.5384 | 2676655.1014 | 1236654.8594
45 | 2676644.7762 | 1236670.5384 | 2676661.7373 | 1236685.5231 | 2676682.0359 | 1236701.6407
46 | 2676592.9335 | 1236740.5343 | 2676605.4604 | 1236746.0809
47 | 2676682.0359 | 1236701.6407 | 2676688.9677 | 1236691.6566 | 2676692.5995 | 1236686.6112
48 | 2676564.9065 | 1236585.383 | 2676581.9173 | 1236605.3493 | 2676606.6726 | 1236632.6763
49 | 2676606.6726 | 1236632.6763 | 2676624.1302 | 1236614.4777
50 | 2676564.9065 | 1236585.383 | 2676556.7156 | 1236573.8917 | 2676552.2875 | 1236567.5302 | 2676549.8211 | 1236563.9738
51 | 2676624.1302 | 1236614.4777 | 2676635.7385 | 1236625.8941
52 | 2676549.8211 | 1236563.9738 | 2676523.0219 | 1236523.2862
53 | 2676549.8211 | 1236563.9738 | 2676531.4635 | 1236575.0894
54 | 2676531.4635 | 1236575.0894 | 2676527.4145 | 1236582.7648 | 2676525.6415 | 1236592.3375 | 2676498.3269 | 1236612.4142
55 | 2676531.4635 | 1236575.0894 | 2676545.2217 | 1236585.5739 | 2676549.4651 | 1236591.0393
56 | 2676531.4635 | 1236575.0894 | 2676508.5642 | 1236566.3087
57 | 2676508.5642 | 1236566.3087 | 2676506.108 | 1236565.3669
58 | 2676541.9408 | 1236663.3967 | 2676537.4546 | 1236657.8305

## bus_geodata
| x | y | coords
0 | 2676682.345 | 1236773.1269
1 | 2676672.9164 | 1236769.1253
2 | 2676682.1343 | 1236754.9567
3 | 2676666.0007 | 1236786.0812
4 | 2676683.9683 | 1236752.1349
5 | 2676657.3848 | 1236801.4013
6 | 2676640.4408 | 1236759.0216
7 | 2676634.9612 | 1236757.9806
8 | 2676646.53 | 1236742.7777
9 | 2676693.979 | 1236736.6191
10 | 2676651.1824 | 1236812.4221
11 | 2676610.6658 | 1236748.3857
12 | 2676631.1911 | 1236815.9783
13 | 2676608.4987 | 1236802.2162
14 | 2676645.0205 | 1236823.3697
15 | 2676580.6844 | 1236780.4188
16 | 2676555.8126 | 1236730.1994
17 | 2676560.6979 | 1236728.0831
18 | 2676578.7438 | 1236736.2509
19 | 2676550.2774 | 1236714.3474
20 | 2676580.0765 | 1236716.3914
21 | 2676589.9221 | 1236739.2008
22 | 2676499.5261 | 1236685.1296
23 | 2676485.0726 | 1236667.0335
24 | 2676502.6045 | 1236654.1948
25 | 2676487.691 | 1236631.5357
26 | 2676522.8516 | 1236639.7121
27 | 2676491.715 | 1236617.274
28 | 2676535.4096 | 1236625.8865
29 | 2676537.2641 | 1236657.5942
30 | 2676570.4284 | 1236702.5915
31 | 2676563.4779 | 1236692.65
32 | 2676616.6112 | 1236696.0827
33 | 2676619.754 | 1236693.8318
34 | 2676628.9548 | 1236685.4467
35 | 2676630.6655 | 1236714.9538
36 | 2676647.7418 | 1236718.2527
37 | 2676660.3676 | 1236720.1072
38 | 2676618.5336 | 1236729.7632
39 | 2676662.6302 | 1236720.4403
40 | 2676673.1678 | 1236722.2011
41 | 2676644.7762 | 1236670.5384
42 | 2676605.4604 | 1236746.0809
43 | 2676592.9335 | 1236740.5343
44 | 2676682.0359 | 1236701.6407
45 | 2676692.5995 | 1236686.6112
46 | 2676606.6726 | 1236632.6763
47 | 2676655.1014 | 1236654.8594
48 | 2676564.9065 | 1236585.383
49 | 2676624.1302 | 1236614.4777
50 | 2676549.8211 | 1236563.9738
51 | 2676635.7385 | 1236625.8941
52 | 2676498.3269 | 1236612.4142
53 | 2676531.4635 | 1236575.0894
54 | 2676549.4651 | 1236591.0393
55 | 2676508.5642 | 1236566.3087
56 | 2676506.108 | 1236565.3669
57 | 2676523.0219 | 1236523.2862
58 | 2676537.4546 | 1236657.8305
59 | 2676541.9408 | 1236663.3967
60 | 2676563.4779 | 1236692.65

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97859 | -0.4107 | 0.0038101 | 0.00095489
1 | 0.97863 | -0.40999 | 0 | 0
2 | 0.97937 | -0.39548 | 0 | 0
3 | 0.97789 | -0.42446 | 0 | 0
4 | 0.97951 | -0.39259 | 0.015621 | 0.003915
5 | 0.97718 | -0.43838 | 0.011597 | 0.0029064
6 | 0.98807 | -0.22673 | 0 | 0
7 | 0.98815 | -0.22524 | 0.011401 | 0.0028573
8 | 0.98783 | -0.23138 | 0.015 | 0.0037592
9 | 0.98059 | -0.37153 | 0 | 0
10 | 0.97681 | -0.44573 | 0.0079858 | 0.0020014
11 | 0.98879 | -0.21289 | 0 | 0
12 | 0.97618 | -0.45804 | 0.0082252 | 0.0020614
13 | 0.97579 | -0.46564 | 0.011514 | 0.0028857
14 | 0.97653 | -0.4512 | 0 | 0
15 | 0.97566 | -0.46829 | 0.004094 | 0.001026
16 | 0.99502 | -0.094005 | 0 | 0
17 | 0.9956 | -0.083053 | 0 | 0
18 | 0.99244 | -0.14307 | 0.0043565 | 0.0010918
19 | 0.99545 | -0.0859 | 0.0093911 | 0.0023536
20 | 0.99812 | -0.035383 | 0 | 0
21 | 0.99119 | -0.16678 | 0 | 0
22 | 0.97022 | -0.57463 | 0.036441 | 0.009133
23 | 0.97061 | -0.56682 | 0 | 0
24 | 0.97086 | -0.56194 | 0 | 0
25 | 0.97157 | -0.54798 | 0.0014015 | 0.00035126
26 | 0.9705 | -0.56917 | 0 | 0
27 | 0.97211 | -0.53734 | 0.0057959 | 0.0014526
28 | 0.97032 | -0.57258 | 0.0092763 | 0.0023249
29 | 0.97023 | -0.57453 | 0.0085756 | 0.0021492
30 | 1 | 0 | -0.375 | -0.096401
31 | 0.99994 | -0.0010729 | 0.0050743 | 0.0012717
32 | 0.9835 | -0.31482 | 0.0065364 | 0.0016382
33 | 0.98352 | -0.31437 | 0 | 0
34 | 0.98274 | -0.32949 | 0.0090235 | 0.0022615
35 | 0.98506 | -0.28464 | 0 | 0
36 | 0.98373 | -0.3103 | 0.010466 | 0.002623
37 | 0.98289 | -0.32676 | 0 | 0
38 | 0.98684 | -0.25033 | 0.0183 | 0.0045863
39 | 0.98274 | -0.32971 | 0.004392 | 0.0011007
40 | 0.98207 | -0.34273 | 0.0043093 | 0.00108
41 | 0.98143 | -0.35478 | 0 | 0
42 | 0.98938 | -0.20155 | 0.0095836 | 0.0024019
43 | 0.99084 | -0.17354 | 0.0023009 | 0.00057667
44 | 0.98093 | -0.36468 | 0 | 0
45 | 0.98074 | -0.36844 | 0.011288 | 0.0028291
46 | 0.97867 | -0.40859 | 0.018792 | 0.0047096
47 | 0.98116 | -0.3602 | 0.015964 | 0.0040009
48 | 0.97596 | -0.4615 | 0 | 0
49 | 0.97846 | -0.41272 | 0 | 0
50 | 0.97484 | -0.48357 | 0 | 0
51 | 0.97832 | -0.41539 | 0.0090084 | 0.0022577
52 | 0.97234 | -0.53277 | 0.0081868 | 0.0020518
53 | 0.97395 | -0.501 | 0 | 0
54 | 0.97371 | -0.50584 | 0.010868 | 0.0027239
55 | 0.97342 | -0.51144 | 0.010412 | 0.0026095
56 | 0.97339 | -0.51206 | 0.012743 | 0.0031936
57 | 0.97461 | -0.48803 | 0.0049964 | 0.0012522
58 | 0.97022 | -0.5747 | 0.0086133 | 0.0021587
59 | 0.97008 | -0.57744 | 0.020674 | 0.0051814
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038101 | -0.00095489 | 0.0038102 | 0.00095485 | 1.2892e-07 | -4.618e-08 | 0.0057935 | 0.0057934 | 0.0057935 | 0.97859 | -0.4107 | 0.97863 | -0.40999 | 1.5916
1 | -0.047316 | -0.011892 | 0.047349 | 0.011913 | 3.2797e-05 | 2.0777e-05 | 0.071957 | 0.071957 | 0.071957 | 0.97863 | -0.40999 | 0.97937 | -0.39548 | 19.7683
2 | 0.043506 | 0.010937 | -0.043476 | -0.010918 | 3.0054e-05 | 1.9005e-05 | 0.066163 | 0.066163 | 0.066163 | 0.97863 | -0.40999 | 0.97789 | -0.42446 | 18.1768
3 | -0.047349 | -0.011913 | 0.047355 | 0.011917 | 6.5344e-06 | 4.1397e-06 | 0.071957 | 0.071957 | 0.071957 | 0.97937 | -0.39548 | 0.97951 | -0.39259 | 19.7683
4 | 0.043476 | 0.010918 | -0.043447 | -0.0109 | 2.8854e-05 | 1.8246e-05 | 0.066163 | 0.066163 | 0.066163 | 0.97789 | -0.42446 | 0.97718 | -0.43838 | 18.1768
5 | -0.062976 | -0.015832 | 0.06304 | 0.015872 | 6.34e-05 | 4.0343e-05 | 0.095687 | 0.095687 | 0.095687 | 0.97951 | -0.39259 | 0.98059 | -0.37153 | 26.2877
6 | 0.03185 | 0.0079934 | -0.031839 | -0.0079864 | 1.1157e-05 | 6.9824e-06 | 0.048505 | 0.048505 | 0.048505 | 0.97718 | -0.43838 | 0.97681 | -0.44573 | 13.3255
7 | -0.015003 | -0.0037611 | 0.015004 | 0.0037617 | 1.0678e-06 | 6.1192e-07 | 0.022594 | 0.022594 | 0.022594 | 0.98807 | -0.22673 | 0.98815 | -0.22524 | 6.2072
8 | 0.015003 | 0.0037611 | -0.015 | -0.0037592 | 3.321e-06 | 1.9033e-06 | 0.022594 | 0.022594 | 0.022594 | 0.98807 | -0.22673 | 0.98783 | -0.23138 | 6.2072
9 | -0.026405 | -0.0066191 | 0.02642 | 0.0066287 | 1.5546e-05 | 9.6135e-06 | 0.039762 | 0.039762 | 0.039762 | 0.98815 | -0.22524 | 0.98879 | -0.21289 | 10.9237
10 | -0.06304 | -0.015872 | 0.063127 | 0.015927 | 8.6928e-05 | 5.5314e-05 | 0.095687 | 0.095687 | 0.095687 | 0.98059 | -0.37153 | 0.98207 | -0.34273 | 26.2876
11 | 0.023853 | 0.005985 | -0.023847 | -0.0059811 | 6.2211e-06 | 3.8243e-06 | 0.03634 | 0.03634 | 0.03634 | 0.97681 | -0.44573 | 0.97653 | -0.4512 | 9.9834
12 | -0.33895 | -0.08634 | 0.33913 | 0.086459 | 0.00018551 | 0.00011851 | 0.51058 | 0.51058 | 0.51058 | 0.98879 | -0.21289 | 0.98938 | -0.20155 | 46.7561
13 | 0.31253 | 0.079712 | -0.31196 | -0.079352 | 0.00056387 | 0.00036009 | 0.47082 | 0.47082 | 0.47082 | 0.98879 | -0.21289 | 0.98684 | -0.25033 | 43.115
14 | 0.015614 | 0.0039149 | -0.015609 | -0.0039116 | 5.6535e-06 | 3.2857e-06 | 0.023802 | 0.023802 | 0.023802 | 0.97618 | -0.45804 | 0.97579 | -0.46564 | 6.539
15 | -0.023839 | -0.0059764 | 0.023847 | 0.0059811 | 7.7653e-06 | 4.7737e-06 | 0.03634 | 0.03634 | 0.03634 | 0.97618 | -0.45804 | 0.97653 | -0.4512 | 9.9834
16 | 0.0040945 | 0.0010259 | -0.004094 | -0.001026 | 5.1669e-07 | -1.1075e-07 | 0.0062437 | 0.0062439 | 0.0062439 | 0.97579 | -0.46564 | 0.97566 | -0.46829 | 1.7154
17 | -0.35721 | -0.091704 | 0.3574 | 0.091826 | 0.00019 | 0.00012139 | 0.53498 | 0.53498 | 0.53498 | 0.99502 | -0.094005 | 0.9956 | -0.083053 | 48.9906
18 | 0.35721 | 0.091704 | -0.35636 | -0.091162 | 0.00084845 | 0.00054209 | 0.53498 | 0.53498 | 0.53498 | 0.99502 | -0.094005 | 0.99244 | -0.14307 | 48.9906
19 | 0.0093924 | 0.0023542 | -0.0093911 | -0.0023536 | 1.2741e-06 | 5.9126e-07 | 0.014038 | 0.014038 | 0.014038 | 0.9956 | -0.083053 | 0.99545 | -0.0859 | 3.8566
20 | -0.3668 | -0.09418 | 0.36765 | 0.094724 | 0.00085094 | 0.00054372 | 0.54901 | 0.54901 | 0.54901 | 0.9956 | -0.083053 | 0.99812 | -0.035383 | 50.2761
21 | 0.35201 | 0.09007 | -0.3516 | -0.089812 | 0.00040356 | 0.00025783 | 0.52845 | 0.52845 | 0.52845 | 0.99244 | -0.14307 | 0.99119 | -0.16678 | 48.3925
22 | -0.36765 | -0.094724 | 0.36828 | 0.095129 | 0.00063442 | 0.00040536 | 0.54901 | 0.54901 | 0.54901 | 0.99812 | -0.035383 | 1 | 0 | 50.2761
23 | 0.3516 | 0.089812 | -0.35149 | -0.089739 | 0.00011497 | 7.345e-05 | 0.52845 | 0.52845 | 0.52845 | 0.99119 | -0.16678 | 0.99084 | -0.17354 | 48.3925
24 | -0.036441 | -0.009133 | 0.036455 | 0.0091411 | 1.3564e-05 | 8.1088e-06 | 0.055889 | 0.055889 | 0.055889 | 0.97022 | -0.57463 | 0.97061 | -0.56682 | 7.6771
25 | -0.036455 | -0.0091411 | 0.036463 | 0.0091457 | 8.4688e-06 | 4.6156e-06 | 0.055889 | 0.055889 | 0.055889 | 0.97061 | -0.56682 | 0.97086 | -0.56194 | 5.1181
26 | -0.083633 | -0.020977 | 0.083688 | 0.021012 | 5.5718e-05 | 3.4653e-05 | 0.12819 | 0.12819 | 0.12819 | 0.97086 | -0.56194 | 0.97157 | -0.54798 | 11.7388
27 | 0.047169 | 0.011831 | -0.047153 | -0.011822 | 1.624e-05 | 9.472e-06 | 0.072299 | 0.072299 | 0.072299 | 0.97086 | -0.56194 | 0.9705 | -0.56917 | 6.6208
28 | -0.08509 | -0.021363 | 0.085133 | 0.02139 | 4.3184e-05 | 2.6882e-05 | 0.13033 | 0.13033 | 0.13033 | 0.97157 | -0.54798 | 0.97211 | -0.53734 | 11.9354
29 | 0.0092778 | 0.0023256 | -0.0092763 | -0.0023249 | 1.507e-06 | 7.1914e-07 | 0.014225 | 0.014225 | 0.014225 | 0.9705 | -0.56917 | 0.97032 | -0.57258 | 3.9081
30 | 0.037875 | 0.0094964 | -0.037866 | -0.0094911 | 9.6824e-06 | 5.3456e-06 | 0.058074 | 0.058074 | 0.058074 | 0.9705 | -0.56917 | 0.97023 | -0.57453 | 5.3182
31 | -0.090929 | -0.022843 | 0.090949 | 0.022855 | 1.9877e-05 | 1.2416e-05 | 0.13921 | 0.13921 | 0.13921 | 0.97211 | -0.53734 | 0.97234 | -0.53277 | 12.7478
32 | 0.02929 | 0.0073419 | -0.02929 | -0.0073417 | 2.2974e-07 | 1.4328e-07 | 0.044922 | 0.044922 | 0.044922 | 0.97023 | -0.57453 | 0.97022 | -0.5747 | 12.3412
33 | 0.0050746 | 0.0012717 | -0.0050743 | -0.0012717 | 2.5937e-07 | 6.8636e-09 | 0.007551 | 0.0075511 | 0.0075511 | 1 | 0 | 0.99994 | -0.0010729 | 2.0745
34 | -0.0065364 | -0.0016382 | 0.0065366 | 0.0016382 | 1.4178e-07 | 4.1681e-08 | 0.0098895 | 0.0098895 | 0.0098895 | 0.9835 | -0.31482 | 0.98352 | -0.31437 | 2.7169
35 | 0.20384 | 0.05176 | -0.20369 | -0.051666 | 0.00014823 | 9.4392e-05 | 0.30864 | 0.30864 | 0.30864 | 0.98352 | -0.31437 | 0.98274 | -0.32949 | 28.2634
36 | -0.21037 | -0.053398 | 0.21067 | 0.05359 | 0.00030134 | 0.00019195 | 0.31853 | 0.31853 | 0.31853 | 0.98352 | -0.31437 | 0.98506 | -0.28464 | 29.169
37 | 0.19466 | 0.049404 | -0.19443 | -0.049254 | 0.00023644 | 0.00015049 | 0.29497 | 0.29497 | 0.29497 | 0.98274 | -0.32949 | 0.98143 | -0.35478 | 27.0123
38 | -0.29318 | -0.074456 | 0.29366 | 0.074765 | 0.00048504 | 0.00030967 | 0.44322 | 0.44322 | 0.44322 | 0.98506 | -0.28464 | 0.98684 | -0.25033 | 40.5882
39 | 0.082504 | 0.020865 | -0.082403 | -0.020801 | 0.00010143 | 6.4694e-05 | 0.1247 | 0.1247 | 0.1247 | 0.98506 | -0.28464 | 0.98373 | -0.3103 | 34.2575
40 | 0.071937 | 0.018178 | -0.07188 | -0.018141 | 5.6717e-05 | 3.6137e-05 | 0.10887 | 0.10887 | 0.10887 | 0.98373 | -0.3103 | 0.98289 | -0.32676 | 29.9083
41 | 0.07188 | 0.018141 | -0.07187 | -0.018135 | 1.0164e-05 | 6.4762e-06 | 0.10887 | 0.10887 | 0.10887 | 0.98289 | -0.32676 | 0.98274 | -0.32971 | 29.9083
42 | 0.067478 | 0.017034 | -0.067436 | -0.017007 | 4.2041e-05 | 2.677e-05 | 0.10222 | 0.10222 | 0.10222 | 0.98274 | -0.32971 | 0.98207 | -0.34273 | 28.0814
43 | 0.16716 | 0.042418 | -0.16673 | -0.042144 | 0.00043144 | 0.00027409 | 0.25364 | 0.25364 | 0.25364 | 0.98143 | -0.35478 | 0.97867 | -0.40859 | 23.2269
44 | 0.015968 | 0.0040033 | -0.015964 | -0.0040009 | 4.1264e-06 | 2.4037e-06 | 0.02421 | 0.02421 | 0.02421 | 0.98143 | -0.35478 | 0.98116 | -0.3602 | 6.6512
45 | 0.011295 | 0.0028329 | -0.01129 | -0.0028301 | 5.3312e-06 | 2.7998e-06 | 0.017126 | 0.017127 | 0.017127 | 0.98143 | -0.35478 | 0.98093 | -0.36468 | 4.7051
46 | -0.34872 | -0.088861 | 0.34919 | 0.089162 | 0.00047199 | 0.00030154 | 0.52499 | 0.52499 | 0.52499 | 0.98938 | -0.20155 | 0.99084 | -0.17354 | 48.0761
47 | 0.01129 | 0.0028301 | -0.011288 | -0.0028291 | 2.0207e-06 | 1.0614e-06 | 0.017127 | 0.017127 | 0.017127 | 0.98093 | -0.36468 | 0.98074 | -0.36844 | 4.7051
48 | 0.13893 | 0.035175 | -0.13858 | -0.034952 | 0.00035195 | 0.00022288 | 0.21137 | 0.21137 | 0.21137 | 0.97867 | -0.40859 | 0.97596 | -0.4615 | 19.3559
49 | 0.0090113 | 0.0022591 | -0.0090095 | -0.0022582 | 1.7731e-06 | 8.1836e-07 | 0.013701 | 0.013702 | 0.013702 | 0.97867 | -0.40859 | 0.97846 | -0.41272 | 3.7642
50 | 0.13858 | 0.034952 | -0.13843 | -0.034859 | 0.00014626 | 9.2626e-05 | 0.21137 | 0.21137 | 0.21137 | 0.97596 | -0.4615 | 0.97484 | -0.48357 | 19.3559
51 | 0.0090095 | 0.0022582 | -0.0090084 | -0.0022577 | 1.1462e-06 | 5.2911e-07 | 0.013702 | 0.013702 | 0.013702 | 0.97846 | -0.41272 | 0.97832 | -0.41539 | 3.7642
52 | 0.0049975 | 0.0012523 | -0.0049964 | -0.0012522 | 1.0632e-06 | 7.3146e-08 | 0.0076282 | 0.0076284 | 0.0076284 | 0.97484 | -0.48357 | 0.97461 | -0.48803 | 2.0957
53 | 0.13343 | 0.033607 | -0.13332 | -0.033537 | 0.00011112 | 7.0317e-05 | 0.20374 | 0.20374 | 0.20374 | 0.97484 | -0.48357 | 0.97395 | -0.501 | 18.6574
54 | -0.099136 | -0.024907 | 0.099286 | 0.025001 | 0.00015055 | 9.4403e-05 | 0.15173 | 0.15173 | 0.15173 | 0.97234 | -0.53277 | 0.97395 | -0.501 | 13.8951
55 | 0.010871 | 0.0027252 | -0.010868 | -0.0027239 | 2.5052e-06 | 1.302e-06 | 0.016609 | 0.016609 | 0.016609 | 0.97395 | -0.501 | 0.97371 | -0.50584 | 4.5629
56 | 0.023167 | 0.0058104 | -0.023155 | -0.0058033 | 1.1523e-05 | 7.0694e-06 | 0.035396 | 0.035396 | 0.035396 | 0.97395 | -0.501 | 0.97342 | -0.51144 | 9.7242
57 | 0.012743 | 0.0031938 | -0.012743 | -0.0031936 | 3.7433e-07 | 2.0687e-07 | 0.01948 | 0.01948 | 0.01948 | 0.97342 | -0.51144 | 0.97339 | -0.51206 | 5.3516
58 | 0.020677 | 0.005183 | -0.020674 | -0.0051814 | 2.696e-06 | 1.6372e-06 | 0.031712 | 0.031712 | 0.031712 | 0.97022 | -0.5747 | 0.97008 | -0.57744 | 8.7121

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38574 | 0.099091

## res_load
| p_mw | q_mvar
0 | 0.0038101 | 0.00095489
1 | 0.015621 | 0.003915
2 | 0.011597 | 0.0029064
3 | 0.011401 | 0.0028573
4 | 0.015 | 0.0037592
5 | 0.0079858 | 0.0020014
6 | 0.0082252 | 0.0020614
7 | 0.011514 | 0.0028857
8 | 0.004094 | 0.001026
9 | 0.0043565 | 0.0010918
10 | 0.0093911 | 0.0023536
11 | 0.036441 | 0.009133
12 | 0.0014015 | 0.00035126
13 | 0.0057959 | 0.0014526
14 | 0.0092763 | 0.0023249
15 | 0.0085756 | 0.0021492
16 | 0.010735 | 0.0026906
17 | 0.0050743 | 0.0012717
18 | 0.0065364 | 0.0016382
19 | 0.0090235 | 0.0022615
20 | 0.010466 | 0.002623
21 | 0.0183 | 0.0045863
22 | 0.004392 | 0.0011007
23 | 0.0043093 | 0.00108
24 | 0.0095836 | 0.0024019
25 | 0.0023009 | 0.00057667
26 | 0.011288 | 0.0028291
27 | 0.018792 | 0.0047096
28 | 0.015964 | 0.0040009
29 | 0.0090084 | 0.0022577
30 | 0.0081868 | 0.0020518
31 | 0.010868 | 0.0027239
32 | 0.010412 | 0.0026095
33 | 0.012743 | 0.0031936
34 | 0.0049964 | 0.0012522
35 | 0.0086133 | 0.0021587
36 | 0.020674 | 0.0051814

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1