## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_200-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_200-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_200-10_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_200-10_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_200-10_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_200-10_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_200-10_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_200-10_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_200-10_0_3_node_188 | 0.4 | n |  | TRUE
9 | bus_LV_200-10_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_200-10_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_200-10_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_200-10_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_200-10_0_3_node_180 | 0.4 | n |  | TRUE
14 | bus_LV_200-10_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_200-10_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_200-10_0_3_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_200-10_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_200-10_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_200-10_0_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_200-10_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_200-10_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_200-10_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_200-10_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_200-10_0_3_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_200-10_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_200-10_0_3_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_200-10_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_200-10_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_200-10_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_200-10_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_200-10_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_200-10_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_200-10_0_3_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_200-10_0_3_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_200-10_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_200-10_0_3_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_200-10_0_3_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_200-10_0_3_node_118 | 0.4 | n |  | TRUE
39 | bus_LV_200-10_0_3_node_117 | 0.4 | n |  | TRUE
40 | bus_LV_200-10_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_200-10_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_200-10_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_200-10_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_200-10_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_200-10_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_200-10_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_200-10_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_200-10_0_3_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_200-10_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_200-10_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_200-10_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_200-10_0_3_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_200-10_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_200-10_0_3_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_200-10_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_200-10_0_3_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_200-10_0_3_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_200-10_0_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_200-10_0_3_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_200-10_0_3_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_200-10_0_3_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_200-10_0_3_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_200-10_0_3_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_200-10_0_3_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_200-10_0_3_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_200-10_0_3_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_200-10_0_3_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_200-10_0_3_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_200-10_0_3_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_200-10_0_3_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_200-10_0_3_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_200-10_0_3_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_200-10_0_3_node_170 | 0.4 | n |  | TRUE
74 | bus_LV_200-10_0_3_node_169 | 0.4 | n |  | TRUE
75 | bus_LV_200-10_0_3_node_171 | 0.4 | n |  | TRUE
76 | bus_LV_200-10_0_3_node_176 | 0.4 | n |  | TRUE
77 | bus_LV_200-10_0_3_node_174 | 0.4 | n |  | TRUE
78 | bus_LV_200-10_0_3_node_175 | 0.4 | n |  | TRUE
79 | bus_LV_200-10_0_3_node_177 | 0.4 | n |  | TRUE
80 | bus_MV_504_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_200-10_0_3_load_0 | 0 | 0.0040496 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_200-10_0_3_load_4 | 2 | 0.002893 | 0.00072505 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_200-10_0_3_load_3 | 4 | 0.0030897 | 0.00077435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_200-10_0_3_load_6 | 5 | 0.0036461 | 0.0009138 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_200-10_0_3_load_7 | 6 | 0.012981 | 0.0032534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_200-10_0_3_load_44 | 7 | 0.011097 | 0.0027812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_200-10_0_3_load_188 | 8 | 0.022848 | 0.0057263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_200-10_0_3_load_8 | 10 | 0.0042174 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_200-10_0_3_load_27 | 11 | 0.0093104 | 0.0023334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_200-10_0_3_load_28 | 12 | 0.0061172 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_200-10_0_3_load_180 | 13 | 0.0031496 | 0.00078937 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_200-10_0_3_load_34 | 14 | 0.0012919 | 0.00032378 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_200-10_0_3_load_36 | 17 | 0.0011731 | 0.000294 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_200-10_0_3_load_37 | 18 | 0.00068497 | 0.00017167 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_200-10_0_3_load_42 | 22 | 0.00090238 | 0.00022616 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_200-10_0_3_load_43 | 23 | 0.0023079 | 0.0005784 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_200-10_0_3_load_52 | 24 | 0.0020137 | 0.00050469 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_200-10_0_3_load_53 | 25 | 0.0022522 | 0.00056446 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_200-10_0_3_load_45 | 27 | 0.005158 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_200-10_0_3_load_46 | 28 | 0.0047755 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_200-10_0_3_load_47 | 29 | 0.0050425 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_200-10_0_3_load_48 | 30 | 0.0034711 | 0.00086994 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_200-10_0_3_load_49 | 31 | 0.0059405 | 0.0014888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_200-10_0_3_load_51 | 33 | 0.0014908 | 0.00037363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_200-10_0_3_load_70 | 34 | 0.0039598 | 0.00099242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_200-10_0_3_load_81 | 37 | 0.0021304 | 0.00053392 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_200-10_0_3_load_118 | 38 | 0.0014735 | 0.00036929 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_200-10_0_3_load_117 | 39 | 0.002078 | 0.00052079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_200-10_0_3_load_54 | 40 | 0.0022511 | 0.00056418 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_200-10_0_3_load_55 | 41 | 0.0020292 | 0.00050855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_200-10_0_3_load_56 | 42 | 0.0024221 | 0.00060704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_200-10_0_3_load_57 | 43 | 0.0011921 | 0.00029877 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_200-10_0_3_load_58 | 44 | 0.0016159 | 0.00040497 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_200-10_0_3_load_66 | 46 | 0.0014781 | 0.00037045 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_200-10_0_3_load_110 | 48 | 0.0024313 | 0.00060933 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_200-10_0_3_load_63 | 50 | 0.0035725 | 0.00089534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_200-10_0_3_load_64 | 51 | 0.0060386 | 0.0015134 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_200-10_0_3_load_67 | 53 | 0.0025594 | 0.00064144 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_200-10_0_3_load_86 | 54 | 0.00097266 | 0.00024377 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_200-10_0_3_load_68 | 55 | 0.0032309 | 0.00080973 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_200-10_0_3_load_69 | 56 | 0.0011298 | 0.00028315 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_200-10_0_3_load_96 | 57 | 0.00097663 | 0.00024477 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_200-10_0_3_load_79 | 58 | 0.0011414 | 0.00028607 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_200-10_0_3_load_84 | 59 | 0.0021738 | 0.0005448 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_200-10_0_3_load_85 | 60 | 0.0016692 | 0.00041833 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_200-10_0_3_load_95 | 61 | 0.0049036 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_200-10_0_3_load_88 | 62 | 0.0028208 | 0.00070696 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_200-10_0_3_load_100 | 64 | 0.0010835 | 0.00027156 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_200-10_0_3_load_90 | 65 | 0.0037792 | 0.00094717 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_200-10_0_3_load_91 | 66 | 0.0025009 | 0.00062678 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_200-10_0_3_load_108 | 69 | 0.0048487 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_200-10_0_3_load_97 | 70 | 0.0017487 | 0.00043827 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_200-10_0_3_load_98 | 71 | 0.00098748 | 0.00024749 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_200-10_0_3_load_99 | 72 | 0.0016649 | 0.00041726 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_200-10_0_3_load_170 | 73 | 0.0027315 | 0.00068457 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_200-10_0_3_load_169 | 74 | 0.0030732 | 0.00077023 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_200-10_0_3_load_171 | 75 | 0.0023207 | 0.00058163 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_200-10_0_3_load_176 | 76 | 0.0017904 | 0.0004487 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_200-10_0_3_load_174 | 77 | 0.00094104 | 0.00023585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_200-10_0_3_load_175 | 78 | 0.00090285 | 0.00022627 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_200-10_0_3_load_177 | 79 | 0.0017212 | 0.00043138 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_200-10_0_3_line_0 |  | 0 | 1 | 0.026569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_200-10_0_3_line_1 |  | 1 | 2 | 0.041139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_200-10_0_3_line_2 |  | 1 | 3 | 0.052832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_200-10_0_3_line_3 |  | 2 | 6 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_200-10_0_3_line_4 |  | 3 | 7 | 0.024701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_200-10_0_3_line_5 |  | 3 | 8 | 0.048517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_200-10_0_3_line_6 |  | 4 | 5 | 0.030986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_200-10_0_3_line_7 |  | 5 | 9 | 0.024393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_200-10_0_3_line_8 |  | 6 | 10 | 0.0065532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_200-10_0_3_line_9 |  | 9 | 14 | 0.0062951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_200-10_0_3_line_10 |  | 9 | 12 | 0.022337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_200-10_0_3_line_11 |  | 10 | 11 | 0.069619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_200-10_0_3_line_12 |  | 11 | 12 | 0.045457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_200-10_0_3_line_13 |  | 11 | 13 | 0.026261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_200-10_0_3_line_14 |  | 14 | 15 | 0.014322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_200-10_0_3_line_15 |  | 15 | 16 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_200-10_0_3_line_16 |  | 16 | 21 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_200-10_0_3_line_17 |  | 17 | 18 | 0.037155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_200-10_0_3_line_18 |  | 17 | 19 | 0.050552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_200-10_0_3_line_19 |  | 19 | 20 | 0.034886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_200-10_0_3_line_20 |  | 20 | 22 | 0.044119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_200-10_0_3_line_21 |  | 20 | 23 | 0.030763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_200-10_0_3_line_22 |  | 21 | 24 | 0.01741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_200-10_0_3_line_23 |  | 21 | 25 | 0.0052716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_200-10_0_3_line_24 |  | 22 | 26 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_200-10_0_3_line_25 |  | 24 | 38 | 0.025823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_200-10_0_3_line_26 |  | 25 | 39 | 0.022855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_200-10_0_3_line_27 |  | 26 | 62 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_200-10_0_3_line_28 |  | 26 | 54 | 0.030565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_200-10_0_3_line_29 |  | 27 | 28 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_200-10_0_3_line_30 |  | 27 | 29 | 0.0049387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_200-10_0_3_line_31 |  | 28 | 30 | 0.005397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_200-10_0_3_line_32 |  | 29 | 31 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_200-10_0_3_line_33 |  | 30 | 32 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_200-10_0_3_line_34 |  | 31 | 33 | 0.029479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_200-10_0_3_line_35 |  | 31 | 34 | 0.041931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_200-10_0_3_line_36 |  | 32 | 35 | 0.004149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_200-10_0_3_line_37 |  | 32 | 36 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_200-10_0_3_line_38 |  | 33 | 37 | 0.028393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_200-10_0_3_line_39 |  | 34 | 57 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_200-10_0_3_line_40 |  | 35 | 45 | 0.035669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_200-10_0_3_line_41 |  | 35 | 46 | 0.026875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_200-10_0_3_line_42 |  | 36 | 47 | 0.007714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_200-10_0_3_line_43 |  | 37 | 58 | 0.00071101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_200-10_0_3_line_44 |  | 38 | 73 | 0.00077779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_200-10_0_3_line_45 |  | 39 | 48 | 0.0024327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_200-10_0_3_line_46 |  | 40 | 41 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_200-10_0_3_line_47 |  | 40 | 42 | 0.010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_200-10_0_3_line_48 |  | 41 | 43 | 0.02113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_200-10_0_3_line_49 |  | 43 | 44 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_200-10_0_3_line_50 |  | 44 | 45 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_200-10_0_3_line_51 |  | 45 | 52 | 0.042795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_200-10_0_3_line_52 |  | 46 | 54 | 0.05508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_200-10_0_3_line_53 |  | 47 | 48 | 0.033236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_200-10_0_3_line_54 |  | 49 | 50 | 0.042821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_200-10_0_3_line_55 |  | 49 | 51 | 0.031924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_200-10_0_3_line_56 |  | 49 | 52 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_200-10_0_3_line_57 |  | 51 | 53 | 0.0075094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_200-10_0_3_line_58 |  | 52 | 64 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_200-10_0_3_line_59 |  | 53 | 55 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_200-10_0_3_line_60 |  | 55 | 56 | 0.0030128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_200-10_0_3_line_61 |  | 57 | 61 | 0.014401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_200-10_0_3_line_62 |  | 59 | 60 | 0.01243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_200-10_0_3_line_63 |  | 60 | 61 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_200-10_0_3_line_64 |  | 62 | 63 | 0.020791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_200-10_0_3_line_65 |  | 63 | 65 | 0.0063923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_200-10_0_3_line_66 |  | 64 | 71 | 0.0066541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_200-10_0_3_line_67 |  | 65 | 66 | 0.035532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_200-10_0_3_line_68 |  | 66 | 67 | 0.0016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_200-10_0_3_line_69 |  | 67 | 68 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_200-10_0_3_line_70 |  | 68 | 69 | 0.05445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_200-10_0_3_line_71 |  | 70 | 71 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_200-10_0_3_line_72 |  | 70 | 72 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_200-10_0_3_line_73 |  | 73 | 74 | 0.026633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_200-10_0_3_line_74 |  | 74 | 75 | 0.0076311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_200-10_0_3_line_75 |  | 75 | 76 | 0.019698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_200-10_0_3_line_76 |  | 76 | 79 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_200-10_0_3_line_77 |  | 77 | 78 | 0.014575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_200-10_0_3_line_78 |  | 77 | 79 | 0.027604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_200-10_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 80 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690850.3905 | 1251975.2502 | 2690875.0115 | 1251979.2419 | 2690876.6189 | 1251979.4874
1 | 2690850.3905 | 1251975.2502 | 2690845.2092 | 1252016.0614
2 | 2690841.4173 | 1251957.4434 | 2690826.5564 | 1251965.7219 | 2690822.4627 | 1251972.2864 | 2690844.8825 | 1251974.6208 | 2690850.3905 | 1251975.2502
3 | 2690845.2092 | 1252016.0614 | 2690843.9599 | 1252025.9016 | 2690845.3625 | 1252032.213
4 | 2690841.4173 | 1251957.4434 | 2690863.0922 | 1251945.5972
5 | 2690795.3723 | 1251972.7315 | 2690841.4173 | 1251957.4434
6 | 2690968.0676 | 1252052.151 | 2690965.1737 | 1252055.3726 | 2690957.7628 | 1252062.6644 | 2690948.3231 | 1252069.358 | 2690944.2808 | 1252071.7297
7 | 2690923.2417 | 1252084.0733 | 2690944.2808 | 1252071.7297
8 | 2690846.7841 | 1252038.6102 | 2690845.3625 | 1252032.213
9 | 2690923.2417 | 1252084.0733 | 2690919.6298 | 1252089.2291
10 | 2690923.2417 | 1252084.0733 | 2690920.4912 | 1252082.3075 | 2690914.9411 | 1252081.9666 | 2690902.4242 | 1252087.0455
11 | 2690861.4929 | 1252106.6573 | 2690846.7841 | 1252038.6102
12 | 2690902.4242 | 1252087.0455 | 2690883.4132 | 1252094.7594 | 2690861.4929 | 1252106.6573
13 | 2690861.4929 | 1252106.6573 | 2690883.7796 | 1252120.5472
14 | 2690915.2505 | 1252102.6205 | 2690917.3767 | 1252092.4453 | 2690919.6298 | 1252089.2291
15 | 2690915.2505 | 1252102.6205 | 2690918.7461 | 1252110.9138 | 2690928.4098 | 1252122.56
16 | 2690943.5544 | 1252141.0065 | 2690928.4098 | 1252122.56
17 | 2691021.9593 | 1252069.3558 | 2691015.4921 | 1252063.9852 | 2691008.5481 | 1252064.4678 | 2690998.9558 | 1252074.7061 | 2690992.7629 | 1252079.3794
18 | 2691058.7662 | 1252045.2356 | 2691047.2935 | 1252054.5442 | 2691038.5803 | 1252066.9977 | 2691030.8387 | 1252073.7062 | 2691026.7608 | 1252073.3432 | 2691021.9593 | 1252069.3558
19 | 2691058.7662 | 1252045.2356 | 2691045.1387 | 1252077.362
20 | 2691045.1387 | 1252077.362 | 2691052.375 | 1252086.3356 | 2691057.547 | 1252095.5555 | 2691065.8726 | 1252105.3577 | 2691072.2586 | 1252111.9233
21 | 2691045.1387 | 1252077.362 | 2691033.5247 | 1252088.9925 | 2691026.1671 | 1252101.2859
22 | 2690943.5544 | 1252141.0065 | 2690929.8894 | 1252151.7951
23 | 2690943.5544 | 1252141.0065 | 2690947.0405 | 1252144.9609
24 | 2691083.3192 | 1252123.2952 | 2691072.2586 | 1252111.9233
25 | 2690909.6214 | 1252167.7969 | 2690929.8894 | 1252151.7951
26 | 2690962.155 | 1252162.1052 | 2690947.0405 | 1252144.9609
27 | 2691083.3192 | 1252123.2952 | 2691094.2284 | 1252136.8733 | 2691099.7936 | 1252142.2486
28 | 2691083.3192 | 1252123.2952 | 2691060.954 | 1252144.1285
29 | 2690976.5906 | 1252216.3258 | 2690956.6977 | 1252225.6947
30 | 2690952.2297 | 1252227.7989 | 2690956.6977 | 1252225.6947
31 | 2690976.5906 | 1252216.3258 | 2690981.4732 | 1252214.0263
32 | 2690929.0281 | 1252238.7261 | 2690952.2297 | 1252227.7989
33 | 2690999.4314 | 1252204.3575 | 2690992.5245 | 1252208.8215 | 2690981.4732 | 1252214.0263
34 | 2690929.0281 | 1252238.7261 | 2690924.5708 | 1252240.8253 | 2690901.9263 | 1252250.3131
35 | 2690929.0281 | 1252238.7261 | 2690944.4948 | 1252277.7005
36 | 2690999.4314 | 1252204.3575 | 2691002.2781 | 1252201.3322
37 | 2690999.4314 | 1252204.3575 | 2690994.3919 | 1252196.3406 | 2690991.01 | 1252187.5264
38 | 2690901.9263 | 1252250.3131 | 2690875.7395 | 1252261.2852
39 | 2690944.4948 | 1252277.7005 | 2690941.6362 | 1252278.6718 | 2690932.4503 | 1252284.1749
40 | 2691022.774 | 1252230.5584 | 2691013.5629 | 1252217.9739 | 2691002.2781 | 1252201.3322
41 | 2691002.2781 | 1252201.3322 | 2691007.8411 | 1252195.4242 | 2691021.3118 | 1252182.3669
42 | 2690991.01 | 1252187.5264 | 2690983.8331 | 1252190.4073
43 | 2690875.0837 | 1252261.5599 | 2690875.7395 | 1252261.2852
44 | 2690909.0109 | 1252168.2789 | 2690909.6214 | 1252167.7969
45 | 2690962.155 | 1252162.1052 | 2690963.7637 | 1252163.9299
46 | 2691076.1227 | 1252178.9607 | 2691058.8825 | 1252194.518
47 | 2691068.9154 | 1252171.0549 | 2691076.1227 | 1252178.9607 | 2691076.1227 | 1252178.9607
48 | 2691058.8825 | 1252194.518 | 2691046.4021 | 1252205.7801 | 2691046.1156 | 1252208.2109 | 2691044.7638 | 1252209.5052
49 | 2691044.7638 | 1252209.5052 | 2691034.4564 | 1252219.3736
50 | 2691022.774 | 1252230.5584 | 2691034.4564 | 1252219.3736
51 | 2691046.7361 | 1252266.0316 | 2691044.0034 | 1252261.1525 | 2691038.3387 | 1252252.57 | 2691027.4063 | 1252237.0679 | 2691022.774 | 1252230.5584
52 | 2691021.3118 | 1252182.3669 | 2691052.503 | 1252152.1326 | 2691056.2036 | 1252148.5534 | 2691060.954 | 1252144.1285
53 | 2690983.8331 | 1252190.4073 | 2690966.4111 | 1252166.9329 | 2690963.7637 | 1252163.9299
54 | 2691052.3804 | 1252286.245 | 2691073.3678 | 1252316.8466 | 2691076.1107 | 1252321.8592
55 | 2691052.3804 | 1252286.245 | 2691044.2699 | 1252291.9247 | 2691034.6699 | 1252296.7921 | 2691023.4115 | 1252296.8714
56 | 2691046.7361 | 1252266.0316 | 2691052.3804 | 1252286.245
57 | 2691016.2312 | 1252295.1289 | 2691020.7806 | 1252296.8899 | 2691023.4115 | 1252296.8714
58 | 2691046.7361 | 1252266.0316 | 2691052.5854 | 1252258.1932 | 2691055.0971 | 1252255.5305
59 | 2691016.2312 | 1252295.1289 | 2691006.84 | 1252291.4939 | 2690990.6527 | 1252281.538
60 | 2690988.0864 | 1252279.9596 | 2690990.6527 | 1252281.538
61 | 2690920.9936 | 1252292.8327 | 2690928.3888 | 1252286.6079 | 2690932.4503 | 1252284.1749
62 | 2690900.4534 | 1252310.1217 | 2690909.9629 | 1252302.1174
63 | 2690920.9936 | 1252292.8327 | 2690909.9629 | 1252302.1174
64 | 2691114.748 | 1252156.6929 | 2691099.7936 | 1252142.2486
65 | 2691114.748 | 1252156.6929 | 2691119.3191 | 1252161.1613
66 | 2691059.6631 | 1252250.6902 | 2691055.0971 | 1252255.5305
67 | 2691119.3191 | 1252161.1613 | 2691129.0326 | 1252170.6566 | 2691131.9293 | 1252172.725 | 2691146.894 | 1252183.4118
68 | 2691148.2569 | 1252184.3851 | 2691146.894 | 1252183.4118
69 | 2691148.2569 | 1252184.3851 | 2691162.7074 | 1252193.937
70 | 2691162.7074 | 1252193.937 | 2691142.8608 | 1252244.6408
71 | 2691059.6631 | 1252250.6902 | 2691062.2838 | 1252247.9121 | 2691065.0552 | 1252242.4283 | 2691075.719 | 1252230.6637
72 | 2691084.3501 | 1252221.1418 | 2691075.719 | 1252230.6637
73 | 2690888.1077 | 1252184.7822 | 2690909.0109 | 1252168.2789
74 | 2690888.1077 | 1252184.7822 | 2690882.1183 | 1252189.5109
75 | 2690882.1183 | 1252189.5109 | 2690863.5578 | 1252196.1081
76 | 2690863.5578 | 1252196.1081 | 2690856.6959 | 1252198.396 | 2690858.1543 | 1252202.7106 | 2690851.1511 | 1252205.3749
77 | 2690869.1495 | 1252227.6165 | 2690855.4671 | 1252232.6392
78 | 2690855.4671 | 1252232.6392 | 2690851.1511 | 1252205.3749

## bus_geodata
| x | y | coords
0 | 2690876.6189 | 1251979.4874
1 | 2690850.3905 | 1251975.2502
2 | 2690845.2092 | 1252016.0614
3 | 2690841.4173 | 1251957.4434
4 | 2690968.0676 | 1252052.151
5 | 2690944.2808 | 1252071.7297
6 | 2690845.3625 | 1252032.213
7 | 2690863.0922 | 1251945.5972
8 | 2690795.3723 | 1251972.7315
9 | 2690923.2417 | 1252084.0733
10 | 2690846.7841 | 1252038.6102
11 | 2690861.4929 | 1252106.6573
12 | 2690902.4242 | 1252087.0455
13 | 2690883.7796 | 1252120.5472
14 | 2690919.6298 | 1252089.2291
15 | 2690915.2505 | 1252102.6205
16 | 2690928.4098 | 1252122.56
17 | 2691021.9593 | 1252069.3558
18 | 2690992.7629 | 1252079.3794
19 | 2691058.7662 | 1252045.2356
20 | 2691045.1387 | 1252077.362
21 | 2690943.5544 | 1252141.0065
22 | 2691072.2586 | 1252111.9233
23 | 2691026.1671 | 1252101.2859
24 | 2690929.8894 | 1252151.7951
25 | 2690947.0405 | 1252144.9609
26 | 2691083.3192 | 1252123.2952
27 | 2690956.6977 | 1252225.6947
28 | 2690976.5906 | 1252216.3258
29 | 2690952.2297 | 1252227.7989
30 | 2690981.4732 | 1252214.0263
31 | 2690929.0281 | 1252238.7261
32 | 2690999.4314 | 1252204.3575
33 | 2690901.9263 | 1252250.3131
34 | 2690944.4948 | 1252277.7005
35 | 2691002.2781 | 1252201.3322
36 | 2690991.01 | 1252187.5264
37 | 2690875.7395 | 1252261.2852
38 | 2690909.6214 | 1252167.7969
39 | 2690962.155 | 1252162.1052
40 | 2691076.1227 | 1252178.9607
41 | 2691058.8825 | 1252194.518
42 | 2691068.9154 | 1252171.0549
43 | 2691044.7638 | 1252209.5052
44 | 2691034.4564 | 1252219.3736
45 | 2691022.774 | 1252230.5584
46 | 2691021.3118 | 1252182.3669
47 | 2690983.8331 | 1252190.4073
48 | 2690963.7637 | 1252163.9299
49 | 2691052.3804 | 1252286.245
50 | 2691076.1107 | 1252321.8592
51 | 2691023.4116 | 1252296.8714
52 | 2691046.7361 | 1252266.0316
53 | 2691016.2312 | 1252295.1289
54 | 2691060.954 | 1252144.1285
55 | 2690990.6527 | 1252281.538
56 | 2690988.0864 | 1252279.9596
57 | 2690932.4503 | 1252284.1749
58 | 2690875.0837 | 1252261.5599
59 | 2690900.4534 | 1252310.1217
60 | 2690909.9629 | 1252302.1174
61 | 2690920.9936 | 1252292.8327
62 | 2691099.7936 | 1252142.2486
63 | 2691114.748 | 1252156.6929
64 | 2691055.0971 | 1252255.5305
65 | 2691119.3191 | 1252161.1613
66 | 2691146.894 | 1252183.4118
67 | 2691148.2569 | 1252184.3851
68 | 2691162.7074 | 1252193.937
69 | 2691142.8608 | 1252244.6408
70 | 2691075.719 | 1252230.6637
71 | 2691059.6631 | 1252250.6902
72 | 2691084.3501 | 1252221.1418
73 | 2690909.0109 | 1252168.2789
74 | 2690888.1077 | 1252184.7822
75 | 2690882.1183 | 1252189.5109
76 | 2690863.5578 | 1252196.1081
77 | 2690855.467 | 1252232.6392
78 | 2690869.1495 | 1252227.6165
79 | 2690851.1511 | 1252205.3749
80 | 2690928.4098 | 1252122.56

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98391 | -0.30926 | 0.0040496 | 0.0010149
1 | 0.98401 | -0.30733 | 0 | 0
2 | 0.98545 | -0.27923 | 0.002893 | 0.00072505
3 | 0.98235 | -0.33967 | 0 | 0
4 | 0.99442 | -0.10622 | 0.0030897 | 0.00077435
5 | 0.99451 | -0.10453 | 0.0036461 | 0.0009138
6 | 0.98607 | -0.26721 | 0.012981 | 0.0032534
7 | 0.9821 | -0.34462 | 0.011097 | 0.0027812
8 | 0.98133 | -0.35971 | 0.022848 | 0.0057263
9 | 0.99466 | -0.10163 | 0 | 0
10 | 0.9864 | -0.26088 | 0.0042174 | 0.001057
11 | 0.99013 | -0.18871 | 0.0093104 | 0.0023334
12 | 0.99308 | -0.13185 | 0.0061172 | 0.0015331
13 | 0.99005 | -0.19018 | 0.0031496 | 0.00078937
14 | 0.99515 | -0.092386 | 0.0012919 | 0.00032378
15 | 0.99626 | -0.071059 | 0 | 0
16 | 0.99814 | -0.035261 | 0 | 0
17 | 0.98927 | -0.20644 | 0.0011731 | 0.000294
18 | 0.98924 | -0.20689 | 0.00068497 | 0.00017167
19 | 0.98935 | -0.20477 | 0 | 0
20 | 0.98941 | -0.20361 | 0 | 0
21 | 1 | 0 | -0.20795 | -0.052476
22 | 0.98958 | -0.20033 | 0.00090238 | 0.00022616
23 | 0.98935 | -0.20487 | 0.0023079 | 0.0005784
24 | 0.99973 | -0.005152 | 0.0020137 | 0.00050469
25 | 0.9995 | -0.0094342 | 0.0022522 | 0.00056446
26 | 0.98965 | -0.1989 | 0 | 0
27 | 0.99023 | -0.18766 | 0.005158 | 0.0012927
28 | 0.99093 | -0.17415 | 0.0047755 | 0.0011968
29 | 0.9901 | -0.19024 | 0.0050425 | 0.0012638
30 | 0.99112 | -0.17038 | 0.0034711 | 0.00086994
31 | 0.98953 | -0.20137 | 0.0059405 | 0.0014888
32 | 0.99193 | -0.15485 | 0 | 0
33 | 0.9894 | -0.20387 | 0.0014908 | 0.00037363
34 | 0.989 | -0.21159 | 0.0039598 | 0.00099242
35 | 0.99172 | -0.15875 | 0 | 0
36 | 0.99359 | -0.12279 | 0 | 0
37 | 0.98931 | -0.20552 | 0.0021304 | 0.00053392
38 | 0.99938 | -0.011891 | 0.0014735 | 0.00036929
39 | 0.9974 | -0.049544 | 0.002078 | 0.00052079
40 | 0.99022 | -0.18789 | 0.0022511 | 0.00056418
41 | 0.99032 | -0.18596 | 0.0020292 | 0.00050855
42 | 0.9902 | -0.18835 | 0.0024221 | 0.00060704
43 | 0.99045 | -0.18344 | 0.0011921 | 0.00029877
44 | 0.99055 | -0.18144 | 0.0016159 | 0.00040497
45 | 0.99069 | -0.17871 | 0 | 0
46 | 0.9912 | -0.16899 | 0.0014781 | 0.00037045
47 | 0.99426 | -0.10975 | 0 | 0
48 | 0.99718 | -0.053734 | 0.0024313 | 0.00060933
49 | 0.98951 | -0.20163 | 0 | 0
50 | 0.98937 | -0.20436 | 0.0035725 | 0.00089534
51 | 0.98913 | -0.209 | 0.0060386 | 0.0015134
52 | 0.98983 | -0.19546 | 0 | 0
53 | 0.98909 | -0.20993 | 0.0025594 | 0.00064144
54 | 0.99019 | -0.18855 | 0.00097266 | 0.00024377
55 | 0.98897 | -0.21218 | 0.0032309 | 0.00080973
56 | 0.98897 | -0.21225 | 0.0011298 | 0.00028315
57 | 0.98888 | -0.21397 | 0.00097663 | 0.00024477
58 | 0.98931 | -0.20554 | 0.0011414 | 0.00028607
59 | 0.98869 | -0.21768 | 0.0021738 | 0.0005448
60 | 0.98871 | -0.2172 | 0.0016692 | 0.00041833
61 | 0.98876 | -0.21621 | 0.0049036 | 0.001229
62 | 0.98933 | -0.20515 | 0.0028208 | 0.00070696
63 | 0.98912 | -0.20927 | 0 | 0
64 | 0.98976 | -0.19677 | 0.0010835 | 0.00027156
65 | 0.98905 | -0.21054 | 0.0037792 | 0.00094717
66 | 0.98881 | -0.2152 | 0.0025009 | 0.00062678
67 | 0.98881 | -0.21534 | 0 | 0
68 | 0.98873 | -0.21684 | 0 | 0
69 | 0.98849 | -0.22154 | 0.0048487 | 0.0012152
70 | 0.98966 | -0.19886 | 0.0017487 | 0.00043827
71 | 0.98974 | -0.19729 | 0.00098748 | 0.00024749
72 | 0.98964 | -0.19924 | 0.0016649 | 0.00041726
73 | 0.99937 | -0.012074 | 0.0027315 | 0.00068457
74 | 0.99911 | -0.017073 | 0.0030732 | 0.00077023
75 | 0.99906 | -0.018096 | 0.0023207 | 0.00058163
76 | 0.99896 | -0.019939 | 0.0017904 | 0.0004487
77 | 0.99885 | -0.02203 | 0.00094104 | 0.00023585
78 | 0.99884 | -0.02226 | 0.00090285 | 0.00022627
79 | 0.9989 | -0.02114 | 0.0017212 | 0.00043138
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0040496 | -0.0010149 | 0.00405 | 0.0010148 | 3.737e-07 | -9.8304e-08 | 0.0061244 | 0.0061243 | 0.0061244 | 0.98391 | -0.30926 | 0.98401 | -0.30733 | 1.6825
1 | -0.038072 | -0.0095699 | 0.038123 | 0.0096021 | 5.1152e-05 | 3.2214e-05 | 0.057582 | 0.057582 | 0.057582 | 0.98401 | -0.30733 | 0.98545 | -0.27923 | 15.8193
2 | 0.034022 | 0.0085551 | -0.03397 | -0.0085222 | 5.2461e-05 | 3.2905e-05 | 0.051458 | 0.051458 | 0.051458 | 0.98401 | -0.30733 | 0.98235 | -0.33967 | 14.1369
3 | -0.041016 | -0.010327 | 0.04104 | 0.010342 | 2.3581e-05 | 1.4883e-05 | 0.061951 | 0.06195 | 0.061951 | 0.98545 | -0.27923 | 0.98607 | -0.26721 | 17.0194
4 | 0.0111 | 0.0027825 | -0.011097 | -0.0027812 | 2.6185e-06 | 1.3632e-06 | 0.016813 | 0.016814 | 0.016814 | 0.98235 | -0.33967 | 0.9821 | -0.34462 | 4.6191
5 | 0.02287 | 0.0057396 | -0.022848 | -0.0057263 | 2.1838e-05 | 1.3362e-05 | 0.034645 | 0.034645 | 0.034645 | 0.98235 | -0.33967 | 0.98133 | -0.35971 | 9.5179
6 | -0.0030897 | -0.00077435 | 0.0030899 | 0.0007741 | 2.4836e-07 | -2.4308e-07 | 0.0046233 | 0.0046231 | 0.0046233 | 0.99442 | -0.10622 | 0.99451 | -0.10453 | 1.2701
7 | -0.006736 | -0.0016879 | 0.006737 | 0.0016882 | 9.2914e-07 | 2.7809e-07 | 0.010079 | 0.010078 | 0.010079 | 0.99451 | -0.10453 | 0.99466 | -0.10163 | 2.7688
8 | -0.054021 | -0.013595 | 0.054037 | 0.013606 | 1.6339e-05 | 1.0373e-05 | 0.081539 | 0.081539 | 0.081539 | 0.98607 | -0.26721 | 0.9864 | -0.26088 | 22.4009
9 | -0.084077 | -0.02133 | 0.084114 | 0.021354 | 3.7401e-05 | 2.3855e-05 | 0.12587 | 0.12587 | 0.12587 | 0.99466 | -0.10163 | 0.99515 | -0.092386 | 34.5799
10 | 0.07734 | 0.019642 | -0.077228 | -0.01957 | 0.00011231 | 7.1589e-05 | 0.11579 | 0.11579 | 0.11579 | 0.99466 | -0.10163 | 0.99308 | -0.13185 | 31.8111
11 | -0.058255 | -0.014663 | 0.058456 | 0.014791 | 0.00020172 | 0.00012821 | 0.087901 | 0.087901 | 0.087901 | 0.9864 | -0.26088 | 0.99013 | -0.18871 | 24.1487
12 | -0.070917 | -0.017914 | 0.07111 | 0.018037 | 0.00019381 | 0.00012345 | 0.10663 | 0.10663 | 0.10663 | 0.99013 | -0.18871 | 0.99308 | -0.13185 | 29.2931
13 | 0.0031499 | 0.00078918 | -0.0031496 | -0.00078937 | 2.2067e-07 | -1.965e-07 | 0.0047337 | 0.0047338 | 0.0047338 | 0.99013 | -0.18871 | 0.99005 | -0.19018 | 1.3005
14 | -0.085406 | -0.021678 | 0.085494 | 0.021733 | 8.7722e-05 | 5.5956e-05 | 0.1278 | 0.1278 | 0.1278 | 0.99515 | -0.092386 | 0.99626 | -0.071059 | 35.1105
15 | -0.085494 | -0.021733 | 0.085642 | 0.021828 | 0.00014768 | 9.4201e-05 | 0.1278 | 0.1278 | 0.1278 | 0.99626 | -0.071059 | 0.99814 | -0.035261 | 35.1105
16 | -0.085642 | -0.021828 | 0.085788 | 0.021921 | 0.00014601 | 9.3137e-05 | 0.1278 | 0.1278 | 0.1278 | 0.99814 | -0.035261 | 1 | 0 | 35.1105
17 | 0.00068498 | 0.0001712 | -0.00068497 | -0.00017167 | 1.4789e-08 | -4.6757e-07 | 0.0010302 | 0.0010303 | 0.0010303 | 0.98927 | -0.20644 | 0.98924 | -0.20689 | 0.28306
18 | -0.0018581 | -0.0004652 | 0.0018582 | 0.00046465 | 1.4804e-07 | -5.5436e-07 | 0.0027946 | 0.0027944 | 0.0027946 | 0.98927 | -0.20644 | 0.98935 | -0.20477 | 0.76776
19 | -0.0018582 | -0.00046465 | 0.0018583 | 0.00046426 | 1.0215e-07 | -3.8264e-07 | 0.0027944 | 0.0027943 | 0.0027944 | 0.98935 | -0.20477 | 0.98941 | -0.20361 | 0.7677
20 | -0.0041663 | -0.0010424 | 0.004167 | 0.0010422 | 6.4941e-07 | -1.5109e-07 | 0.0062652 | 0.006265 | 0.0062652 | 0.98941 | -0.20361 | 0.98958 | -0.20033 | 1.7212
21 | 0.002308 | 0.0005781 | -0.0023079 | -0.0005784 | 1.3899e-07 | -3.0611e-07 | 0.003471 | 0.0034711 | 0.0034711 | 0.98941 | -0.20361 | 0.98935 | -0.20487 | 0.9536
22 | 0.016981 | 0.0042587 | -0.016977 | -0.0042563 | 4.1688e-06 | 2.4397e-06 | 0.025269 | 0.025269 | 0.025269 | 1 | 0 | 0.99973 | -0.005152 | 6.942
23 | 0.10353 | 0.026296 | -0.10348 | -0.026266 | 4.6989e-05 | 3.0004e-05 | 0.15417 | 0.15417 | 0.15417 | 1 | 0 | 0.9995 | -0.0094342 | 42.3554
24 | -0.0050693 | -0.0012684 | 0.0050697 | 0.0012684 | 3.4559e-07 | 1.7357e-08 | 0.0076219 | 0.0076219 | 0.0076219 | 0.98958 | -0.20033 | 0.98965 | -0.1989 | 2.0939
25 | 0.014963 | 0.0037516 | -0.014958 | -0.0037488 | 4.8035e-06 | 2.7357e-06 | 0.022272 | 0.022272 | 0.022272 | 0.99973 | -0.005152 | 0.99938 | -0.011891 | 6.1186
26 | 0.10123 | 0.025702 | -0.10103 | -0.025577 | 0.00019496 | 0.00012448 | 0.15082 | 0.15082 | 0.15082 | 0.9995 | -0.0094342 | 0.9974 | -0.049544 | 41.4343
27 | 0.01396 | 0.0035005 | -0.013956 | -0.0034982 | 4.1562e-06 | 2.3368e-06 | 0.02099 | 0.02099 | 0.02099 | 0.98965 | -0.1989 | 0.98933 | -0.20515 | 5.7666
28 | -0.019029 | -0.0047689 | 0.019039 | 0.0047745 | 9.3833e-06 | 5.6123e-06 | 0.028612 | 0.028612 | 0.028612 | 0.98965 | -0.1989 | 0.99019 | -0.18855 | 7.8605
29 | -0.034613 | -0.0086827 | 0.034635 | 0.0086967 | 2.231e-05 | 1.3995e-05 | 0.052015 | 0.052015 | 0.052015 | 0.99023 | -0.18766 | 0.99093 | -0.17415 | 14.29
30 | 0.029455 | 0.00739 | -0.029451 | -0.0073877 | 3.6287e-06 | 2.2589e-06 | 0.044264 | 0.044265 | 0.044265 | 0.99023 | -0.18766 | 0.9901 | -0.19024 | 12.1606
31 | -0.039411 | -0.0098935 | 0.039418 | 0.009898 | 7.0897e-06 | 4.4679e-06 | 0.059186 | 0.059186 | 0.059186 | 0.99093 | -0.17415 | 0.99112 | -0.17038 | 16.26
32 | 0.024409 | 0.0061239 | -0.024396 | -0.006116 | 1.2944e-05 | 7.9543e-06 | 0.036686 | 0.036686 | 0.036686 | 0.9901 | -0.19024 | 0.98953 | -0.20137 | 10.0786
33 | -0.042889 | -0.010768 | 0.042921 | 0.010788 | 3.1786e-05 | 2.008e-05 | 0.064398 | 0.064398 | 0.064398 | 0.99112 | -0.17038 | 0.99193 | -0.15485 | 17.6917
34 | 0.0047634 | 0.0011934 | -0.0047628 | -0.0011934 | 5.6718e-07 | -1.5634e-08 | 0.0071629 | 0.007163 | 0.007163 | 0.98953 | -0.20137 | 0.9894 | -0.20387 | 1.9679
35 | 0.013692 | 0.0034338 | -0.013685 | -0.00343 | 6.6665e-06 | 3.7282e-06 | 0.02059 | 0.02059 | 0.02059 | 0.98953 | -0.20137 | 0.989 | -0.21159 | 5.6567
36 | 0.053117 | 0.013349 | -0.053107 | -0.013343 | 9.8819e-06 | 6.2709e-06 | 0.079695 | 0.079695 | 0.079695 | 0.99193 | -0.15485 | 0.99172 | -0.15875 | 21.8944
37 | -0.096038 | -0.024137 | 0.096185 | 0.024231 | 0.00014723 | 9.3985e-05 | 0.14409 | 0.14409 | 0.14409 | 0.99193 | -0.15485 | 0.99359 | -0.12279 | 39.586
38 | 0.003272 | 0.00081978 | -0.0032718 | -0.00081998 | 2.5783e-07 | -1.9959e-07 | 0.0049209 | 0.0049211 | 0.0049211 | 0.9894 | -0.20387 | 0.98931 | -0.20552 | 1.3519
39 | 0.0097255 | 0.0024376 | -0.0097244 | -0.0024371 | 1.1022e-06 | 5.2928e-07 | 0.014633 | 0.014633 | 0.014633 | 0.989 | -0.21159 | 0.98888 | -0.21397 | 4.02
40 | 0.031588 | 0.0079365 | -0.031558 | -0.0079177 | 3.0057e-05 | 1.8776e-05 | 0.047403 | 0.047403 | 0.047403 | 0.99172 | -0.15875 | 0.99069 | -0.17871 | 13.0229
41 | 0.021519 | 0.0054064 | -0.021508 | -0.0054 | 1.051e-05 | 6.3795e-06 | 0.032292 | 0.032292 | 0.032292 | 0.99172 | -0.15875 | 0.9912 | -0.16899 | 8.8715
42 | -0.096185 | -0.024231 | 0.096245 | 0.024269 | 6.0061e-05 | 3.8339e-05 | 0.14409 | 0.14409 | 0.14409 | 0.99359 | -0.12279 | 0.99426 | -0.10975 | 39.586
43 | 0.0011414 | 0.00028606 | -0.0011414 | -0.00028607 | 7.8573e-10 | -8.6268e-09 | 0.0017168 | 0.0017168 | 0.0017168 | 0.98931 | -0.20552 | 0.98931 | -0.20554 | 0.47165
44 | 0.013485 | 0.0033796 | -0.013485 | -0.0033795 | 1.1758e-07 | 6.5059e-08 | 0.020078 | 0.020078 | 0.020078 | 0.99938 | -0.011891 | 0.99937 | -0.012074 | 5.5159
45 | 0.098955 | 0.025057 | -0.098935 | -0.025044 | 1.9907e-05 | 1.2709e-05 | 0.14772 | 0.14772 | 0.14772 | 0.9974 | -0.049544 | 0.99718 | -0.053734 | 40.5826
46 | -0.0046733 | -0.0011711 | 0.0046737 | 0.0011711 | 4.2945e-07 | -2.3907e-08 | 0.0070226 | 0.0070224 | 0.0070226 | 0.99022 | -0.18789 | 0.99032 | -0.18596 | 1.9293
47 | 0.0024222 | 0.00060694 | -0.0024221 | -0.00060704 | 5.3148e-08 | -1.036e-07 | 0.0036398 | 0.0036398 | 0.0036398 | 0.99022 | -0.18789 | 0.9902 | -0.18835 | 0.99995
48 | -0.0067029 | -0.0016796 | 0.0067037 | 0.0016799 | 8.0371e-07 | 2.4247e-07 | 0.010071 | 0.010071 | 0.010071 | 0.99032 | -0.18596 | 0.99045 | -0.18344 | 2.7669
49 | -0.0078958 | -0.0019787 | 0.0078965 | 0.001979 | 7.5298e-07 | 2.9824e-07 | 0.011862 | 0.011862 | 0.011862 | 0.99045 | -0.18344 | 0.99055 | -0.18144 | 3.2589
50 | -0.0095124 | -0.0023839 | 0.0095136 | 0.0023845 | 1.2384e-06 | 5.8437e-07 | 0.01429 | 0.01429 | 0.01429 | 0.99055 | -0.18144 | 0.99069 | -0.17871 | 3.9257
51 | 0.022045 | 0.0055332 | -0.022027 | -0.0055225 | 1.7597e-05 | 1.0712e-05 | 0.033114 | 0.033114 | 0.033114 | 0.99069 | -0.17871 | 0.98983 | -0.19546 | 9.0973
52 | 0.02003 | 0.0050295 | -0.020011 | -0.0050183 | 1.8681e-05 | 1.1246e-05 | 0.030073 | 0.030074 | 0.030074 | 0.9912 | -0.16899 | 0.99019 | -0.18855 | 8.262
53 | -0.096245 | -0.024269 | 0.096504 | 0.024435 | 0.00025878 | 0.00016519 | 0.14409 | 0.14409 | 0.14409 | 0.99426 | -0.10975 | 0.99718 | -0.053734 | 39.586
54 | 0.0035729 | 0.00089509 | -0.0035725 | -0.00089534 | 4.6355e-07 | -2.5331e-07 | 0.0053728 | 0.005373 | 0.005373 | 0.98951 | -0.20163 | 0.98937 | -0.20436 | 1.4761
55 | 0.012964 | 0.0032502 | -0.012959 | -0.0032477 | 4.55e-06 | 2.5021e-06 | 0.019495 | 0.019496 | 0.019496 | 0.98951 | -0.20163 | 0.98913 | -0.209 | 5.3559
56 | -0.016537 | -0.0041453 | 0.016542 | 0.0041482 | 4.867e-06 | 2.8452e-06 | 0.024868 | 0.024868 | 0.024868 | 0.98951 | -0.20163 | 0.98983 | -0.19546 | 6.8319
57 | 0.0069208 | 0.0017343 | -0.0069205 | -0.0017342 | 3.0524e-07 | 9.8974e-08 | 0.010411 | 0.010411 | 0.010411 | 0.98913 | -0.209 | 0.98909 | -0.20993 | 2.8603
58 | 0.0054854 | 0.0013743 | -0.005485 | -0.0013742 | 3.4272e-07 | 4.659e-08 | 0.008246 | 0.0082461 | 0.0082461 | 0.98983 | -0.19546 | 0.98976 | -0.19677 | 2.2654
59 | 0.0043611 | 0.0010928 | -0.0043607 | -0.0010928 | 4.6933e-07 | -7.2735e-08 | 0.0065609 | 0.0065611 | 0.0065611 | 0.98909 | -0.20993 | 0.98897 | -0.21218 | 1.8025
60 | 0.0011298 | 0.00028311 | -0.0011298 | -0.00028315 | 3.2647e-09 | -3.6569e-08 | 0.0016999 | 0.0016999 | 0.0016999 | 0.98897 | -0.21218 | 0.98897 | -0.21225 | 0.467
61 | 0.0087477 | 0.0021923 | -0.0087468 | -0.0021919 | 9.357e-07 | 4.1412e-07 | 0.013163 | 0.013163 | 0.013163 | 0.98888 | -0.21397 | 0.98876 | -0.21621 | 3.6163
62 | -0.0021738 | -0.0005448 | 0.0021738 | 0.00054468 | 4.9891e-08 | -1.2748e-07 | 0.0032716 | 0.0032716 | 0.0032716 | 0.98869 | -0.21768 | 0.98871 | -0.2172 | 0.8988
63 | -0.003843 | -0.00096301 | 0.0038432 | 0.00096294 | 1.8086e-07 | -6.9166e-08 | 0.0057837 | 0.0057836 | 0.0057837 | 0.98871 | -0.2172 | 0.98876 | -0.21621 | 1.5889
64 | 0.011135 | 0.0027912 | -0.011133 | -0.0027901 | 2.1869e-06 | 1.1327e-06 | 0.016748 | 0.016748 | 0.016748 | 0.98933 | -0.20515 | 0.98912 | -0.20927 | 4.601
65 | 0.011133 | 0.0027901 | -0.011132 | -0.0027897 | 6.7236e-07 | 3.4827e-07 | 0.016748 | 0.016748 | 0.016748 | 0.98912 | -0.20927 | 0.98905 | -0.21054 | 4.601
66 | 0.0044015 | 0.0011027 | -0.0044014 | -0.0011027 | 1.0926e-07 | -1.5591e-08 | 0.0066171 | 0.0066171 | 0.0066171 | 0.98976 | -0.19677 | 0.98974 | -0.19729 | 1.8179
67 | 0.0073527 | 0.0018426 | -0.0073511 | -0.001842 | 1.6305e-06 | 5.8762e-07 | 0.011062 | 0.011062 | 0.011062 | 0.98905 | -0.21054 | 0.98881 | -0.2152 | 3.039
68 | 0.0048502 | 0.0012152 | -0.0048502 | -0.0012152 | 3.3457e-08 | -7.097e-11 | 0.0072987 | 0.0072987 | 0.0072987 | 0.98881 | -0.2152 | 0.98881 | -0.21534 | 2.0051
69 | 0.0048502 | 0.0012152 | -0.0048498 | -0.0012152 | 3.4532e-07 | -7.1119e-10 | 0.0072987 | 0.0072988 | 0.0072988 | 0.98881 | -0.21534 | 0.98873 | -0.21684 | 2.0052
70 | 0.0048498 | 0.0012152 | -0.0048487 | -0.0012152 | 1.0878e-06 | -1.9838e-09 | 0.0072988 | 0.007299 | 0.007299 | 0.98873 | -0.21684 | 0.98849 | -0.22154 | 2.0052
71 | -0.0034136 | -0.00085539 | 0.0034139 | 0.00085522 | 2.5528e-07 | -1.687e-07 | 0.0051326 | 0.0051325 | 0.0051326 | 0.98966 | -0.19886 | 0.98974 | -0.19729 | 1.4101
72 | 0.0016649 | 0.00041712 | -0.0016649 | -0.00041726 | 3.0201e-08 | -1.458e-07 | 0.0025033 | 0.0025034 | 0.0025034 | 0.98966 | -0.19886 | 0.98964 | -0.19924 | 0.68773
73 | 0.010753 | 0.0026949 | -0.010751 | -0.0026936 | 2.5602e-06 | 1.2897e-06 | 0.016011 | 0.016011 | 0.016011 | 0.99937 | -0.012074 | 0.99911 | -0.017073 | 4.3986
74 | 0.0076773 | 0.0019234 | -0.007677 | -0.0019233 | 3.7412e-07 | 1.395e-07 | 0.011434 | 0.011434 | 0.011434 | 0.99911 | -0.017073 | 0.99906 | -0.018096 | 3.1412
75 | 0.0053562 | 0.0013416 | -0.0053558 | -0.0013416 | 4.7009e-07 | 4.2946e-08 | 0.0079774 | 0.0079775 | 0.0079775 | 0.99906 | -0.018096 | 0.99896 | -0.019939 | 2.1916
76 | 0.0035654 | 0.00089289 | -0.0035652 | -0.00089301 | 2.0392e-07 | -1.219e-07 | 0.0053107 | 0.0053108 | 0.0053108 | 0.99896 | -0.019939 | 0.9989 | -0.02114 | 1.459
77 | 0.00090286 | 0.00022609 | -0.00090285 | -0.00022627 | 9.8872e-09 | -1.8445e-07 | 0.0013449 | 0.001345 | 0.001345 | 0.99885 | -0.02203 | 0.99884 | -0.02226 | 0.36951
78 | -0.0018439 | -0.00046194 | 0.001844 | 0.00046163 | 7.8099e-08 | -3.1135e-07 | 0.0027468 | 0.0027467 | 0.0027468 | 0.99885 | -0.02203 | 0.9989 | -0.02114 | 0.75462

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20795 | 0.052476

## res_load
| p_mw | q_mvar
0 | 0.0040496 | 0.0010149
1 | 0.002893 | 0.00072505
2 | 0.0030897 | 0.00077435
3 | 0.0036461 | 0.0009138
4 | 0.012981 | 0.0032534
5 | 0.011097 | 0.0027812
6 | 0.022848 | 0.0057263
7 | 0.0042174 | 0.001057
8 | 0.0093104 | 0.0023334
9 | 0.0061172 | 0.0015331
10 | 0.0031496 | 0.00078937
11 | 0.0012919 | 0.00032378
12 | 0.0011731 | 0.000294
13 | 0.00068497 | 0.00017167
14 | 0.00090238 | 0.00022616
15 | 0.0023079 | 0.0005784
16 | 0.0020137 | 0.00050469
17 | 0.0022522 | 0.00056446
18 | 0.005158 | 0.0012927
19 | 0.0047755 | 0.0011968
20 | 0.0050425 | 0.0012638
21 | 0.0034711 | 0.00086994
22 | 0.0059405 | 0.0014888
23 | 0.0014908 | 0.00037363
24 | 0.0039598 | 0.00099242
25 | 0.0021304 | 0.00053392
26 | 0.0014735 | 0.00036929
27 | 0.002078 | 0.00052079
28 | 0.0022511 | 0.00056418
29 | 0.0020292 | 0.00050855
30 | 0.0024221 | 0.00060704
31 | 0.0011921 | 0.00029877
32 | 0.0016159 | 0.00040497
33 | 0.0014781 | 0.00037045
34 | 0.0024313 | 0.00060933
35 | 0.0035725 | 0.00089534
36 | 0.0060386 | 0.0015134
37 | 0.0025594 | 0.00064144
38 | 0.00097266 | 0.00024377
39 | 0.0032309 | 0.00080973
40 | 0.0011298 | 0.00028315
41 | 0.00097663 | 0.00024477
42 | 0.0011414 | 0.00028607
43 | 0.0021738 | 0.0005448
44 | 0.0016692 | 0.00041833
45 | 0.0049036 | 0.001229
46 | 0.0028208 | 0.00070696
47 | 0.0010835 | 0.00027156
48 | 0.0037792 | 0.00094717
49 | 0.0025009 | 0.00062678
50 | 0.0048487 | 0.0012152
51 | 0.0017487 | 0.00043827
52 | 0.00098748 | 0.00024749
53 | 0.0016649 | 0.00041726
54 | 0.0027315 | 0.00068457
55 | 0.0030732 | 0.00077023
56 | 0.0023207 | 0.00058163
57 | 0.0017904 | 0.0004487
58 | 0.00094104 | 0.00023585
59 | 0.00090285 | 0.00022627
60 | 0.0017212 | 0.00043138

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1