## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_200-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_200-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_200-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_200-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_200-12_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_200-12_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_200-12_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_200-12_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_200-12_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_200-12_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_200-12_0_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_200-12_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_200-12_0_4_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_200-12_0_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_200-12_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_200-12_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_200-12_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_200-12_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_200-12_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_200-12_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_200-12_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_200-12_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_200-12_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_200-12_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_200-12_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_200-12_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_200-12_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_200-12_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_200-12_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_200-12_0_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_200-12_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_200-12_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_200-12_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_200-12_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_200-12_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_200-12_0_4_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_200-12_0_4_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_200-12_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_200-12_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_200-12_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_200-12_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_200-12_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_200-12_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_200-12_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_200-12_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_200-12_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_200-12_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_200-12_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_200-12_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_200-12_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_200-12_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_200-12_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_200-12_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_200-12_0_4_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_200-12_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_200-12_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_200-12_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_200-12_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_200-12_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_200-12_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_200-12_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_200-12_0_4_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_200-12_0_4_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_200-12_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_200-12_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_200-12_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_200-12_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_200-12_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_200-12_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_200-12_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_200-12_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_200-12_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_504_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_200-12_0_4_load_0 | 0 | 0.0033501 | 0.00083961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_200-12_0_4_load_27 | 4 | 0.0032643 | 0.0008181 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_200-12_0_4_load_6 | 5 | 0.0056936 | 0.001427 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_200-12_0_4_load_7 | 6 | 0.010437 | 0.0026157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_200-12_0_4_load_33 | 8 | 0.065037 | 0.0163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_200-12_0_4_load_65 | 10 | 0.0099308 | 0.0024889 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_200-12_0_4_load_26 | 11 | 0.0049488 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_200-12_0_4_load_30 | 12 | 0.068419 | 0.017147 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_200-12_0_4_load_14 | 14 | 0.0015126 | 0.00037911 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_200-12_0_4_load_15 | 15 | 0.0056669 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_200-12_0_4_load_8 | 16 | 0.0027441 | 0.00068774 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_200-12_0_4_load_9 | 17 | 0.002302 | 0.00057694 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_200-12_0_4_load_10 | 18 | 0.0031009 | 0.00077717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_200-12_0_4_load_11 | 19 | 0.0033971 | 0.0008514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_200-12_0_4_load_12 | 20 | 0.0023516 | 0.00058936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_200-12_0_4_load_21 | 22 | 0.0012518 | 0.00031373 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_200-12_0_4_load_18 | 23 | 0.0021669 | 0.00054307 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_200-12_0_4_load_16 | 25 | 0.011608 | 0.0029093 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_200-12_0_4_load_22 | 26 | 0.0023251 | 0.00058272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_200-12_0_4_load_24 | 27 | 0.0029873 | 0.00074868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_200-12_0_4_load_64 | 29 | 0.004696 | 0.0011769 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_200-12_0_4_load_32 | 30 | 0.0098499 | 0.0024686 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_200-12_0_4_load_23 | 31 | 0.0026142 | 0.00065517 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_200-12_0_4_load_25 | 32 | 0.0030736 | 0.00077032 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_200-12_0_4_load_58 | 33 | 0.0083894 | 0.0021026 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_200-12_0_4_load_62 | 35 | 0.015809 | 0.0039622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_200-12_0_4_load_35 | 37 | 0.0065588 | 0.0016438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_200-12_0_4_load_44 | 38 | 0.0063516 | 0.0015919 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_200-12_0_4_load_54 | 41 | 0.0099396 | 0.0024911 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_200-12_0_4_load_77 | 43 | 0.011872 | 0.0029754 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_200-12_0_4_load_45 | 47 | 0.0035955 | 0.00090113 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_200-12_0_4_load_68 | 49 | 0.0084469 | 0.002117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_200-12_0_4_load_76 | 52 | 0.013577 | 0.0034027 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_200-12_0_4_load_69 | 54 | 0.011025 | 0.0027631 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_200-12_0_4_load_66 | 56 | 0.0047377 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_200-12_0_4_load_67 | 57 | 0.0047553 | 0.0011918 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_200-12_0_4_load_55 | 58 | 0.007821 | 0.0019601 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_200-12_0_4_load_46 | 59 | 0.0085284 | 0.0021374 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_200-12_0_4_load_72 | 60 | 0.010711 | 0.0026843 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_200-12_0_4_load_75 | 61 | 0.013598 | 0.0034079 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_200-12_0_4_load_71 | 62 | 0.010501 | 0.0026319 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_200-12_0_4_load_49 | 63 | 0.0031291 | 0.00078423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_200-12_0_4_load_50 | 64 | 0.0058679 | 0.0014706 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_200-12_0_4_load_51 | 65 | 0.0024841 | 0.00062257 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_200-12_0_4_load_52 | 66 | 0.0041826 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_200-12_0_4_load_53 | 67 | 0.0091438 | 0.0022917 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_200-12_0_4_load_59 | 69 | 0.0033064 | 0.00082867 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_200-12_0_4_load_60 | 70 | 0.0057167 | 0.0014327 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_200-12_0_4_load_73 | 71 | 0.014201 | 0.0035591 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_200-12_0_4_line_0 |  | 0 | 1 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_200-12_0_4_line_1 |  | 0 | 2 | 0.0014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_200-12_0_4_line_2 |  | 1 | 3 | 0.11855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_200-12_0_4_line_3 |  | 1 | 4 | 0.055097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_200-12_0_4_line_4 |  | 2 | 5 | 0.022455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_200-12_0_4_line_5 |  | 2 | 6 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_200-12_0_4_line_6 |  | 3 | 7 | 0.01862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_200-12_0_4_line_7 |  | 3 | 8 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_200-12_0_4_line_8 |  | 4 | 11 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_200-12_0_4_line_9 |  | 5 | 9 | 0.0047508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_200-12_0_4_line_10 |  | 7 | 12 | 0.054298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_200-12_0_4_line_11 |  | 8 | 13 | 0.0032024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_200-12_0_4_line_12 |  | 9 | 10 | 0.001585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_200-12_0_4_line_13 |  | 12 | 28 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_200-12_0_4_line_14 |  | 13 | 37 | 0.02905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_200-12_0_4_line_15 |  | 14 | 15 | 0.035462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_200-12_0_4_line_16 |  | 15 | 25 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_200-12_0_4_line_17 |  | 16 | 17 | 0.016327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_200-12_0_4_line_18 |  | 16 | 18 | 0.0066467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_200-12_0_4_line_19 |  | 17 | 19 | 0.0071672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_200-12_0_4_line_20 |  | 18 | 20 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_200-12_0_4_line_21 |  | 19 | 21 | 0.019884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_200-12_0_4_line_22 |  | 20 | 22 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_200-12_0_4_line_23 |  | 21 | 23 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_200-12_0_4_line_24 |  | 21 | 24 | 0.082865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_200-12_0_4_line_25 |  | 21 | 25 | 0.045974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_200-12_0_4_line_26 |  | 22 | 26 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_200-12_0_4_line_27 |  | 23 | 27 | 0.022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_200-12_0_4_line_28 |  | 24 | 28 | 0.04084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_200-12_0_4_line_29 |  | 24 | 29 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_200-12_0_4_line_30 |  | 26 | 31 | 0.0031779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_200-12_0_4_line_31 |  | 27 | 32 | 0.00038538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_200-12_0_4_line_32 |  | 28 | 30 | 0.020629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_200-12_0_4_line_33 |  | 29 | 33 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_200-12_0_4_line_34 |  | 30 | 34 | 0.00069666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_200-12_0_4_line_35 |  | 33 | 66 | 0.0024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_200-12_0_4_line_36 |  | 34 | 35 | 0.008958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_200-12_0_4_line_37 |  | 34 | 36 | 0.03963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_200-12_0_4_line_38 |  | 36 | 71 | 0.005331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_200-12_0_4_line_39 |  | 36 | 53 | 0.039703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_200-12_0_4_line_40 |  | 37 | 38 | 0.017936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_200-12_0_4_line_41 |  | 38 | 47 | 0.026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_200-12_0_4_line_42 |  | 39 | 40 | 0.054935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_200-12_0_4_line_43 |  | 39 | 41 | 0.033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_200-12_0_4_line_44 |  | 40 | 56 | 0.027681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_200-12_0_4_line_45 |  | 40 | 57 | 0.004513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_200-12_0_4_line_46 |  | 41 | 58 | 0.036379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_200-12_0_4_line_47 |  | 42 | 43 | 0.009989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_200-12_0_4_line_48 |  | 42 | 44 | 0.045084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_200-12_0_4_line_49 |  | 44 | 52 | 0.005624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_200-12_0_4_line_50 |  | 44 | 53 | 0.03935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_200-12_0_4_line_51 |  | 45 | 46 | 0.046836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_200-12_0_4_line_52 |  | 45 | 47 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_200-12_0_4_line_53 |  | 46 | 60 | 0.020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_200-12_0_4_line_54 |  | 46 | 55 | 0.015727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_200-12_0_4_line_55 |  | 48 | 49 | 0.000633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_200-12_0_4_line_56 |  | 48 | 50 | 0.046922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_200-12_0_4_line_57 |  | 48 | 51 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_200-12_0_4_line_58 |  | 50 | 54 | 0.000929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_200-12_0_4_line_59 |  | 50 | 55 | 0.034485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_200-12_0_4_line_60 |  | 51 | 59 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_200-12_0_4_line_61 |  | 53 | 61 | 0.009467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_200-12_0_4_line_62 |  | 55 | 62 | 0.004458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_200-12_0_4_line_63 |  | 58 | 68 | 0.021362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_200-12_0_4_line_64 |  | 63 | 64 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_200-12_0_4_line_65 |  | 63 | 65 | 0.013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_200-12_0_4_line_66 |  | 64 | 66 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_200-12_0_4_line_67 |  | 65 | 67 | 0.018541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_200-12_0_4_line_68 |  | 67 | 68 | 0.022449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_200-12_0_4_line_69 |  | 68 | 69 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_200-12_0_4_line_70 |  | 69 | 70 | 0.0258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_200-12_0_4_trafo_62 | 0.63 MVA 20/0.4 kV | 72 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2690040.7194 | 1252652.0444 | 2690043.6567 | 1252656.4147 | 2690057.3 | 1252664.8424
1 | 2690058.5134 | 1252665.5919 | 2690057.3 | 1252664.8424
2 | 2689970.9363 | 1252739.5738 | 2689980.6251 | 1252728.7571 | 2689988.9541 | 1252717.5305 | 2690001.613 | 1252698.5082 | 2690006.9117 | 1252690.527 | 2690032.1989 | 1252652.5265 | 2690035.1247 | 1252648.2232 | 2690038.8295 | 1252650.7592 | 2690040.7194 | 1252652.0444
3 | 2690040.7194 | 1252652.0444 | 2690008.3764 | 1252607.4399
4 | 2690058.5134 | 1252665.5919 | 2690063.8678 | 1252657.923 | 2690071.0906 | 1252646.9916
5 | 2690072.1738 | 1252674.0283 | 2690058.5134 | 1252665.5919
6 | 2689970.9363 | 1252739.5738 | 2689985.1756 | 1252751.6215
7 | 2689970.9363 | 1252739.5738 | 2689960.566 | 1252748.8139
8 | 2690000.9602 | 1252613.8117 | 2690005.0169 | 1252612.1158 | 2690008.3764 | 1252607.4399
9 | 2690073.7095 | 1252643.0278 | 2690071.0906 | 1252646.9916
10 | 2689985.1756 | 1252751.6215 | 2690023.6909 | 1252784.2094 | 2690026.7506 | 1252786.5396
11 | 2689958.175 | 1252750.9443 | 2689960.566 | 1252748.8139
12 | 2690073.7095 | 1252643.0278 | 2690072.3562 | 1252642.1955
13 | 2690038.0675 | 1252795.1585 | 2690026.7506 | 1252786.5396
14 | 2689958.175 | 1252750.9443 | 2689961.7991 | 1252755.8142 | 2689962.2502 | 1252756.4215 | 2689964.3522 | 1252760.1341 | 2689965.7036 | 1252763.5795 | 2689966.3855 | 1252768.3713 | 2689966.4031 | 1252773.1752 | 2689965.0626 | 1252777.5877
15 | 2690127.3499 | 1252673.8685 | 2690107.0067 | 1252702.9147
16 | 2690092.0353 | 1252724.2911 | 2690092.0353 | 1252724.2911 | 2690107.0067 | 1252702.9147
17 | 2690139.4735 | 1252719.3472 | 2690130.9029 | 1252733.2441
18 | 2690139.4735 | 1252719.3472 | 2690142.9625 | 1252713.6899
19 | 2690130.9029 | 1252733.2441 | 2690127.1406 | 1252739.3445
20 | 2690153.3355 | 1252696.8705 | 2690142.9625 | 1252713.6899
21 | 2690116.7031 | 1252756.2685 | 2690127.1406 | 1252739.3445
22 | 2690153.3355 | 1252696.8705 | 2690158.8262 | 1252687.9676
23 | 2690116.7031 | 1252756.2685 | 2690125.358 | 1252760.3366 | 2690128.7102 | 1252762.4936
24 | 2690064.5787 | 1252820.0583 | 2690066.8229 | 1252814.4214 | 2690070.0035 | 1252808.7432 | 2690074.8554 | 1252802.8458 | 2690113.4491 | 1252760.8114 | 2690116.7031 | 1252756.2685
25 | 2690116.7031 | 1252756.2685 | 2690093.7215 | 1252741.441 | 2690090.0103 | 1252735.858 | 2690089.9688 | 1252730.153 | 2690092.0353 | 1252724.2911
26 | 2690158.8262 | 1252687.9676 | 2690168.5801 | 1252672.1519
27 | 2690147.1096 | 1252775.8705 | 2690142.4717 | 1252771.9392 | 2690133.6241 | 1252765.6553 | 2690128.7102 | 1252762.4936
28 | 2690038.0675 | 1252795.1585 | 2690056.2716 | 1252809.0013 | 2690057.9801 | 1252810.3061 | 2690066.8229 | 1252814.4214 | 2690064.5787 | 1252820.0583
29 | 2690064.5787 | 1252820.0583 | 2690058.5748 | 1252832.4336
30 | 2690170.2483 | 1252669.447 | 2690168.5801 | 1252672.1519
31 | 2690147.4036 | 1252776.1196 | 2690147.1096 | 1252775.8705
32 | 2690038.0675 | 1252795.1585 | 2690029.1264 | 1252813.7494
33 | 2690058.5748 | 1252832.4336 | 2690050.2812 | 1252849.5285
34 | 2690029.1264 | 1252813.7494 | 2690028.8245 | 1252814.3772
35 | 2690050.2812 | 1252849.5285 | 2690049.1997 | 1252851.7577
36 | 2690028.8245 | 1252814.3772 | 2690020.7485 | 1252810.4515
37 | 2690028.8245 | 1252814.3772 | 2690011.6477 | 1252850.1104
38 | 2690011.6477 | 1252850.1104 | 2690006.8769 | 1252847.7027
39 | 2690011.6477 | 1252850.1104 | 2689994.4399 | 1252885.9098
40 | 2689965.0626 | 1252777.5877 | 2689965.0446 | 1252777.6469 | 2689957.2438 | 1252793.7285
41 | 2689957.2438 | 1252793.7285 | 2689955.4226 | 1252797.4827 | 2689945.8661 | 1252817.1834
42 | 2689973.3444 | 1253009.6845 | 2689980.9008 | 1253012.5237 | 2690009.538 | 1253019.1527 | 2690016.4003 | 1253005.1017 | 2690015.893 | 1253003.2259
43 | 2689973.3444 | 1253009.6845 | 2689986.0237 | 1252982.8231 | 2689987.5001 | 1252979.7594
44 | 2690015.893 | 1253003.2259 | 2690025.8467 | 1252981.9163 | 2690022.1405 | 1252979.9807
45 | 2690015.893 | 1253003.2259 | 2690011.4291 | 1253002.4797
46 | 2689987.5001 | 1252979.7594 | 2689996.7696 | 1252960.5248 | 2690003.2896 | 1252946.9857
47 | 2689957.8507 | 1252962.0238 | 2689948.9316 | 1252957.4737
48 | 2689957.8507 | 1252962.0238 | 2689968.7923 | 1252939.2613 | 2689977.3805 | 1252921.3891
49 | 2689977.3805 | 1252921.3891 | 2689972.402 | 1252918.7448
50 | 2689994.4399 | 1252885.9098 | 2689977.3805 | 1252921.3891
51 | 2689940.7834 | 1252827.6614 | 2689945.4251 | 1252829.6223 | 2689949.4184 | 1252822.1105 | 2689955.1942 | 1252824.9337 | 2689953.7273 | 1252828.1027 | 2689975.034 | 1252837.9227
52 | 2689940.7834 | 1252827.6614 | 2689945.8661 | 1252817.1834
53 | 2689975.034 | 1252837.9227 | 2689982.0769 | 1252823.4185 | 2689978.3912 | 1252821.6167
54 | 2689975.034 | 1252837.9227 | 2689968.155 | 1252852.0735
55 | 2689930.6812 | 1252920.8575 | 2689931.2582 | 1252921.122
56 | 2689931.2582 | 1252921.122 | 2689941.2294 | 1252899.6457 | 2689951.5529 | 1252878.8198
57 | 2689927.1517 | 1252937.0941 | 2689933.7389 | 1252923.2613 | 2689930.9461 | 1252921.7955 | 2689931.2582 | 1252921.122
58 | 2689950.6982 | 1252878.451 | 2689951.5529 | 1252878.8198
59 | 2689951.5529 | 1252878.8198 | 2689954.5663 | 1252880.1666 | 2689961.3414 | 1252866.3922 | 2689968.155 | 1252852.0735
60 | 2689927.1517 | 1252937.0941 | 2689920.4844 | 1252951.0916
61 | 2689994.4399 | 1252885.9098 | 2689986.0082 | 1252881.5562
62 | 2689968.155 | 1252852.0735 | 2689964.1786 | 1252850.0338
63 | 2690012.5579 | 1252927.7394 | 2690003.2896 | 1252946.9857
64 | 2690036.3569 | 1252878.3409 | 2690042.7533 | 1252865.0648
65 | 2690036.3569 | 1252878.3409 | 2690030.3486 | 1252890.8115
66 | 2690042.7533 | 1252865.0648 | 2690044.4463 | 1252861.5509 | 2690048.0847 | 1252854.056 | 2690049.1997 | 1252851.7577
67 | 2690022.3011 | 1252907.5146 | 2690030.3486 | 1252890.8115
68 | 2690012.5579 | 1252927.7394 | 2690014.397 | 1252923.92 | 2690022.3011 | 1252907.5146
69 | 2690012.5579 | 1252927.7394 | 2690035.4609 | 1252938.8957
70 | 2690035.6931 | 1252954.2669 | 2690038.0229 | 1252955.4031 | 2690043.9916 | 1252943.051 | 2690035.4609 | 1252938.8957

## bus_geodata
| x | y | coords
0 | 2690057.3 | 1252664.8424
1 | 2690040.7194 | 1252652.0444
2 | 2690058.5134 | 1252665.5919
3 | 2689970.9363 | 1252739.5738
4 | 2690008.3764 | 1252607.4399
5 | 2690071.0906 | 1252646.9916
6 | 2690072.1738 | 1252674.0283
7 | 2689985.1756 | 1252751.6215
8 | 2689960.566 | 1252748.8139
9 | 2690073.7095 | 1252643.0278
10 | 2690072.3562 | 1252642.1955
11 | 2690000.9602 | 1252613.8117
12 | 2690026.7506 | 1252786.5396
13 | 2689958.175 | 1252750.9443
14 | 2690127.3499 | 1252673.8685
15 | 2690107.0067 | 1252702.9147
16 | 2690139.4735 | 1252719.3472
17 | 2690130.9029 | 1252733.2441
18 | 2690142.9625 | 1252713.6899
19 | 2690127.1406 | 1252739.3445
20 | 2690153.3355 | 1252696.8705
21 | 2690116.7031 | 1252756.2685
22 | 2690158.8262 | 1252687.9676
23 | 2690128.7102 | 1252762.4936
24 | 2690064.5787 | 1252820.0583
25 | 2690092.0353 | 1252724.2911
26 | 2690168.5801 | 1252672.1519
27 | 2690147.1096 | 1252775.8705
28 | 2690038.0675 | 1252795.1585
29 | 2690058.5748 | 1252832.4336
30 | 2690029.1264 | 1252813.7494
31 | 2690170.2483 | 1252669.447
32 | 2690147.4036 | 1252776.1196
33 | 2690050.2812 | 1252849.5285
34 | 2690028.8245 | 1252814.3772
35 | 2690020.7485 | 1252810.4515
36 | 2690011.6477 | 1252850.1104
37 | 2689965.0626 | 1252777.5877
38 | 2689957.2438 | 1252793.7285
39 | 2689973.3444 | 1253009.6845
40 | 2690015.893 | 1253003.2259
41 | 2689987.5001 | 1252979.7594
42 | 2689957.8507 | 1252962.0238
43 | 2689948.9316 | 1252957.4737
44 | 2689977.3805 | 1252921.3891
45 | 2689940.7834 | 1252827.6614
46 | 2689975.034 | 1252837.9227
47 | 2689945.8661 | 1252817.1834
48 | 2689931.2582 | 1252921.122
49 | 2689930.6812 | 1252920.8575
50 | 2689951.5529 | 1252878.8198
51 | 2689927.1517 | 1252937.0941
52 | 2689972.402 | 1252918.7448
53 | 2689994.4399 | 1252885.9098
54 | 2689950.6982 | 1252878.451
55 | 2689968.155 | 1252852.0735
56 | 2690022.1405 | 1252979.9807
57 | 2690011.4291 | 1253002.4797
58 | 2690003.2896 | 1252946.9857
59 | 2689920.4844 | 1252951.0916
60 | 2689978.3912 | 1252821.6167
61 | 2689986.0082 | 1252881.5562
62 | 2689964.1786 | 1252850.0338
63 | 2690036.3569 | 1252878.3409
64 | 2690042.7533 | 1252865.0648
65 | 2690030.3486 | 1252890.8115
66 | 2690049.1997 | 1252851.7577
67 | 2690022.3011 | 1252907.5146
68 | 2690012.5579 | 1252927.7394
69 | 2690035.4609 | 1252938.8957
70 | 2690035.6931 | 1252954.2669
71 | 2690006.8769 | 1252847.7027
72 | 2690028.8245 | 1252814.3772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98841 | -0.22286 | 0.0033501 | 0.00083961
1 | 0.98898 | -0.21169 | 0 | 0
2 | 0.98837 | -0.22352 | 0 | 0
3 | 0.99307 | -0.13252 | 0 | 0
4 | 0.98857 | -0.21976 | 0.0032643 | 0.0008181
5 | 0.98805 | -0.22978 | 0.0056936 | 0.001427
6 | 0.98822 | -0.22651 | 0.010437 | 0.0026157
7 | 0.99451 | -0.10485 | 0 | 0
8 | 0.99141 | -0.16467 | 0.065037 | 0.0163
9 | 0.98801 | -0.23063 | 0 | 0
10 | 0.98799 | -0.23091 | 0.0099308 | 0.0024889
11 | 0.98852 | -0.22065 | 0.0049488 | 0.0012403
12 | 0.99661 | -0.064649 | 0.068419 | 0.017147
13 | 0.99121 | -0.1684 | 0 | 0
14 | 0.98824 | -0.22605 | 0.0015126 | 0.00037911
15 | 0.98829 | -0.22509 | 0.0056669 | 0.0014203
16 | 0.98857 | -0.21979 | 0.0027441 | 0.00068774
17 | 0.98878 | -0.2156 | 0.002302 | 0.00057694
18 | 0.98849 | -0.22117 | 0.0031009 | 0.00077717
19 | 0.98889 | -0.21347 | 0.0033971 | 0.0008514
20 | 0.98834 | -0.22418 | 0.0023516 | 0.00058936
21 | 0.98926 | -0.20635 | 0 | 0
22 | 0.98828 | -0.22534 | 0.0012518 | 0.00031373
23 | 0.98915 | -0.20834 | 0.0021669 | 0.00054307
24 | 0.99284 | -0.13707 | 0 | 0
25 | 0.98846 | -0.22175 | 0.011608 | 0.0029093
26 | 0.9882 | -0.22697 | 0.0023251 | 0.00058272
27 | 0.98903 | -0.21079 | 0.0029873 | 0.00074868
28 | 0.99738 | -0.049881 | 0 | 0
29 | 0.9919 | -0.15513 | 0.004696 | 0.0011769
30 | 0.99908 | -0.017575 | 0.0098499 | 0.0024686
31 | 0.98819 | -0.22712 | 0.0026142 | 0.00065517
32 | 0.98903 | -0.21082 | 0.0030736 | 0.00077032
33 | 0.99069 | -0.17855 | 0.0083894 | 0.0021026
34 | 0.99914 | -0.016456 | 0 | 0
35 | 1 | 0 | -0.42646 | -0.10786
36 | 0.99721 | -0.053374 | 0 | 0
37 | 0.98945 | -0.20233 | 0.0065588 | 0.0016438
38 | 0.98848 | -0.22125 | 0.0063516 | 0.0015919
39 | 0.98548 | -0.27975 | 0 | 0
40 | 0.985 | -0.28912 | 0 | 0
41 | 0.98577 | -0.27411 | 0.0099396 | 0.0024911
42 | 0.9944 | -0.10764 | 0 | 0
43 | 0.99429 | -0.10973 | 0.011872 | 0.0029754
44 | 0.99489 | -0.098207 | 0 | 0
45 | 0.98668 | -0.25609 | 0 | 0
46 | 0.98455 | -0.29745 | 0 | 0
47 | 0.98721 | -0.24584 | 0.0035955 | 0.00090113
48 | 0.98237 | -0.34012 | 0 | 0
49 | 0.98236 | -0.34022 | 0.0084469 | 0.002117
50 | 0.9831 | -0.32575 | 0 | 0
51 | 0.98222 | -0.34308 | 0 | 0
52 | 0.99482 | -0.099551 | 0.013577 | 0.0034027
53 | 0.9958 | -0.080587 | 0 | 0
54 | 0.98309 | -0.32593 | 0.011025 | 0.0027631
55 | 0.98399 | -0.30835 | 0 | 0
56 | 0.98488 | -0.29147 | 0.0047377 | 0.0011874
57 | 0.98498 | -0.2895 | 0.0047553 | 0.0011918
58 | 0.98642 | -0.26144 | 0.007821 | 0.0019601
59 | 0.98209 | -0.34547 | 0.0085284 | 0.0021374
60 | 0.98435 | -0.30135 | 0.010711 | 0.0026843
61 | 0.99568 | -0.08285 | 0.013598 | 0.0034079
62 | 0.98395 | -0.30919 | 0.010501 | 0.0026319
63 | 0.98908 | -0.20959 | 0.0031291 | 0.00078423
64 | 0.98978 | -0.1962 | 0.0058679 | 0.0014706
65 | 0.98847 | -0.22141 | 0.0024841 | 0.00062257
66 | 0.99055 | -0.18124 | 0.0041826 | 0.0010483
67 | 0.9877 | -0.23645 | 0.0091438 | 0.0022917
68 | 0.98695 | -0.25101 | 0 | 0
69 | 0.98674 | -0.25513 | 0.0033064 | 0.00082867
70 | 0.9866 | -0.25777 | 0.0057167 | 0.0014327
71 | 0.99715 | -0.054701 | 0.014201 | 0.0035591
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029419 | -0.0073753 | 0.029434 | 0.0073851 | 1.567e-05 | 9.7553e-06 | 0.04429 | 0.04429 | 0.04429 | 0.98841 | -0.22286 | 0.98898 | -0.21169 | 12.1675
1 | 0.026069 | 0.0065357 | -0.026068 | -0.0065352 | 8.2377e-07 | 5.0894e-07 | 0.039246 | 0.039246 | 0.039246 | 0.98841 | -0.22286 | 0.98837 | -0.22352 | 10.7819
2 | -0.037651 | -0.0094448 | 0.037793 | 0.0095346 | 0.00014268 | 8.979e-05 | 0.056652 | 0.056652 | 0.056652 | 0.98898 | -0.21169 | 0.99307 | -0.13252 | 15.5638
3 | 0.0082164 | 0.0020597 | -0.0082132 | -0.0020584 | 3.1578e-06 | 1.3143e-06 | 0.012363 | 0.012363 | 0.012363 | 0.98898 | -0.21169 | 0.98857 | -0.21976 | 3.3964
4 | 0.01563 | 0.0039188 | -0.015625 | -0.0039161 | 4.6628e-06 | 2.6965e-06 | 0.023531 | 0.023531 | 0.023531 | 0.98837 | -0.22352 | 0.98805 | -0.22978 | 6.4647
5 | 0.010438 | 0.0026164 | -0.010437 | -0.0026157 | 1.4837e-06 | 7.4427e-07 | 0.015715 | 0.015715 | 0.015715 | 0.98837 | -0.22352 | 0.98822 | -0.22651 | 4.3173
6 | -0.16917 | -0.042697 | 0.16939 | 0.04284 | 0.00022451 | 0.0001432 | 0.25358 | 0.25358 | 0.25358 | 0.99307 | -0.13252 | 0.99451 | -0.10485 | 34.8331
7 | 0.13137 | 0.033162 | -0.13117 | -0.033033 | 0.000202 | 0.0001291 | 0.19693 | 0.19693 | 0.19693 | 0.99307 | -0.13252 | 0.99141 | -0.16467 | 54.1026
8 | 0.004949 | 0.0012403 | -0.0049488 | -0.0012403 | 2.1131e-07 | 5.0549e-09 | 0.0074493 | 0.0074494 | 0.0074494 | 0.98857 | -0.21976 | 0.98852 | -0.22065 | 2.0465
9 | 0.0099313 | 0.0024892 | -0.0099309 | -0.002489 | 3.9854e-07 | 1.9422e-07 | 0.014957 | 0.014957 | 0.014957 | 0.98805 | -0.22978 | 0.98801 | -0.23063 | 4.109
10 | -0.16939 | -0.04284 | 0.16972 | 0.043047 | 0.00032734 | 0.00020667 | 0.25358 | 0.25358 | 0.25358 | 0.99451 | -0.10485 | 0.99661 | -0.064649 | 17.4165
11 | 0.066135 | 0.016733 | -0.066123 | -0.016726 | 1.1846e-05 | 7.5402e-06 | 0.099319 | 0.099319 | 0.099319 | 0.99141 | -0.16467 | 0.99121 | -0.1684 | 27.2854
12 | 0.0099309 | 0.002489 | -0.0099308 | -0.0024889 | 1.3296e-07 | 6.48e-08 | 0.014957 | 0.014957 | 0.014957 | 0.98801 | -0.23063 | 0.98799 | -0.23091 | 4.109
13 | -0.23814 | -0.060194 | 0.23831 | 0.060301 | 0.00016877 | 0.00010727 | 0.35574 | 0.35574 | 0.35574 | 0.99661 | -0.064649 | 0.99738 | -0.049881 | 24.4326
14 | 0.066123 | 0.016726 | -0.066015 | -0.016658 | 0.00010746 | 6.84e-05 | 0.099319 | 0.099319 | 0.099319 | 0.99121 | -0.1684 | 0.98945 | -0.20233 | 27.2854
15 | -0.0015126 | -0.00037911 | 0.0015127 | 0.0003787 | 6.898e-08 | -4.1023e-07 | 0.0022776 | 0.0022775 | 0.0022776 | 0.98824 | -0.22605 | 0.98829 | -0.22509 | 0.62572
16 | -0.0071797 | -0.001799 | 0.0071808 | 0.0017994 | 1.1436e-06 | 3.9742e-07 | 0.01081 | 0.01081 | 0.01081 | 0.98829 | -0.22509 | 0.98846 | -0.22175 | 2.9697
17 | -0.01439 | -0.0036069 | 0.014393 | 0.0036085 | 2.8727e-06 | 1.6292e-06 | 0.021661 | 0.021661 | 0.021661 | 0.98857 | -0.21979 | 0.98878 | -0.2156 | 5.9508
18 | 0.011646 | 0.0029191 | -0.011645 | -0.0029187 | 7.6599e-07 | 4.0502e-07 | 0.01753 | 0.01753 | 0.01753 | 0.98857 | -0.21979 | 0.98849 | -0.22117 | 4.8161
19 | -0.016695 | -0.0041854 | 0.016697 | 0.0041864 | 1.6967e-06 | 9.9393e-07 | 0.025125 | 0.025125 | 0.025125 | 0.98878 | -0.2156 | 0.98889 | -0.21347 | 6.9025
20 | 0.0085446 | 0.0021416 | -0.0085433 | -0.002141 | 1.226e-06 | 5.3136e-07 | 0.012862 | 0.012863 | 0.012863 | 0.98849 | -0.22117 | 0.98834 | -0.22418 | 3.5337
21 | -0.020094 | -0.0050378 | 0.020101 | 0.005042 | 6.8172e-06 | 4.1078e-06 | 0.030237 | 0.030237 | 0.030237 | 0.98889 | -0.21347 | 0.98926 | -0.20635 | 8.3068
22 | 0.0061918 | 0.0015517 | -0.0061914 | -0.0015516 | 3.4087e-07 | 8.4121e-08 | 0.0093221 | 0.0093222 | 0.0093222 | 0.98834 | -0.22418 | 0.98828 | -0.22534 | 2.561
23 | 0.0082293 | 0.0020626 | -0.0082285 | -0.0020622 | 7.7854e-07 | 3.2432e-07 | 0.012378 | 0.012378 | 0.012378 | 0.98926 | -0.20635 | 0.98915 | -0.20834 | 3.4007
24 | -0.047133 | -0.011821 | 0.047289 | 0.01192 | 0.0001562 | 9.89e-05 | 0.070899 | 0.070899 | 0.070899 | 0.98926 | -0.20635 | 0.99284 | -0.13707 | 19.4778
25 | 0.018803 | 0.0047169 | -0.018789 | -0.0047086 | 1.3792e-05 | 8.2372e-06 | 0.028284 | 0.028284 | 0.028284 | 0.98926 | -0.20635 | 0.98846 | -0.22175 | 7.7704
26 | 0.0049396 | 0.0012379 | -0.0049392 | -0.0012379 | 3.8544e-07 | 8.6058e-09 | 0.0074374 | 0.0074375 | 0.0074375 | 0.98828 | -0.22534 | 0.9882 | -0.22697 | 2.0433
27 | 0.0060616 | 0.0015192 | -0.0060609 | -0.001519 | 7.1016e-07 | 1.6219e-07 | 0.0091187 | 0.0091188 | 0.0091188 | 0.98915 | -0.20834 | 0.98903 | -0.21079 | 2.5052
28 | -0.1218 | -0.030725 | 0.12231 | 0.031051 | 0.00051077 | 0.00032636 | 0.18262 | 0.18262 | 0.18262 | 0.99284 | -0.13707 | 0.99738 | -0.049881 | 50.171
29 | 0.074514 | 0.018804 | -0.074449 | -0.018763 | 6.4384e-05 | 4.1028e-05 | 0.11172 | 0.11172 | 0.11172 | 0.99284 | -0.13707 | 0.9919 | -0.15513 | 30.6933
30 | 0.0026142 | 0.00065514 | -0.0026142 | -0.00065517 | 1.8466e-08 | -2.8895e-08 | 0.0039364 | 0.0039364 | 0.0039364 | 0.9882 | -0.22697 | 0.98819 | -0.22712 | 1.0814
31 | 0.0030736 | 0.00077032 | -0.0030736 | -0.00077032 | 3.0902e-09 | -2.9677e-09 | 0.0046243 | 0.0046243 | 0.0046243 | 0.98903 | -0.21079 | 0.98903 | -0.21082 | 1.2704
32 | -0.36062 | -0.091353 | 0.36118 | 0.09171 | 0.00056053 | 0.00035766 | 0.53836 | 0.53836 | 0.53836 | 0.99738 | -0.049881 | 0.99908 | -0.017575 | 36.9753
33 | 0.069753 | 0.017586 | -0.069675 | -0.017537 | 7.8076e-05 | 4.9723e-05 | 0.10468 | 0.10468 | 0.10468 | 0.9919 | -0.15513 | 0.99069 | -0.17855 | 28.758
34 | -0.37103 | -0.094179 | 0.37105 | 0.094192 | 1.9975e-05 | 1.2748e-05 | 0.55303 | 0.55303 | 0.55303 | 0.99908 | -0.017575 | 0.99914 | -0.016456 | 37.9828
35 | 0.061286 | 0.015434 | -0.061278 | -0.015429 | 7.8775e-06 | 5.0097e-06 | 0.092078 | 0.092078 | 0.092078 | 0.99069 | -0.17855 | 0.99055 | -0.18124 | 25.2962
36 | -0.42447 | -0.10765 | 0.42481 | 0.10786 | 0.0003361 | 0.00021463 | 0.63262 | 0.63262 | 0.63262 | 0.99914 | -0.016456 | 1 | 0 | 43.449
37 | 0.053424 | 0.013455 | -0.053329 | -0.013396 | 9.4133e-05 | 5.9727e-05 | 0.079587 | 0.079587 | 0.079587 | 0.99914 | -0.016456 | 0.99721 | -0.053374 | 21.8647
38 | 0.014202 | 0.0035596 | -0.014201 | -0.0035591 | 8.978e-07 | 5.0505e-07 | 0.021192 | 0.021192 | 0.021192 | 0.99721 | -0.053374 | 0.99715 | -0.054701 | 5.8219
39 | 0.039128 | 0.0098359 | -0.039077 | -0.0098039 | 5.0771e-05 | 3.1976e-05 | 0.058396 | 0.058396 | 0.058396 | 0.99721 | -0.053374 | 0.9958 | -0.080587 | 16.0428
40 | 0.059457 | 0.015014 | -0.059403 | -0.01498 | 5.3822e-05 | 3.4216e-05 | 0.089455 | 0.089455 | 0.089455 | 0.98945 | -0.20233 | 0.98848 | -0.22125 | 24.5757
41 | 0.053051 | 0.013388 | -0.052989 | -0.013348 | 6.24e-05 | 3.9602e-05 | 0.079894 | 0.079894 | 0.079894 | 0.98848 | -0.22125 | 0.98721 | -0.24584 | 21.9489
42 | 0.0094979 | 0.0023812 | -0.0094936 | -0.0023792 | 4.2372e-06 | 2.0122e-06 | 0.014342 | 0.014342 | 0.014342 | 0.98548 | -0.27975 | 0.985 | -0.28912 | 3.9401
43 | -0.0094979 | -0.0023812 | 0.0095004 | 0.0023824 | 2.5533e-06 | 1.2122e-06 | 0.014342 | 0.014341 | 0.014342 | 0.98548 | -0.27975 | 0.98577 | -0.27411 | 3.94
44 | 0.0047382 | 0.0011874 | -0.0047377 | -0.0011874 | 5.3186e-07 | -1.1909e-08 | 0.0071579 | 0.007158 | 0.007158 | 0.985 | -0.28912 | 0.98488 | -0.29147 | 1.9665
45 | 0.0047554 | 0.0011918 | -0.0047553 | -0.0011918 | 8.7341e-08 | -1.5449e-09 | 0.0071839 | 0.0071839 | 0.0071839 | 0.985 | -0.28912 | 0.98498 | -0.2895 | 1.9736
46 | -0.01944 | -0.0048735 | 0.019452 | 0.0048805 | 1.1748e-05 | 7.0545e-06 | 0.029345 | 0.029345 | 0.029345 | 0.98577 | -0.27411 | 0.98642 | -0.26144 | 8.0619
47 | 0.011873 | 0.002976 | -0.011872 | -0.0029754 | 1.1824e-06 | 6.2719e-07 | 0.017767 | 0.017767 | 0.017767 | 0.9944 | -0.10764 | 0.99429 | -0.10973 | 4.881
48 | -0.011873 | -0.002976 | 0.011878 | 0.0029788 | 5.3367e-06 | 2.8304e-06 | 0.017767 | 0.017767 | 0.017767 | 0.9944 | -0.10764 | 0.99489 | -0.098207 | 4.881
49 | 0.013578 | 0.0034032 | -0.013577 | -0.0034027 | 8.6976e-07 | 4.8362e-07 | 0.020308 | 0.020308 | 0.020308 | 0.99489 | -0.098207 | 0.99482 | -0.099551 | 5.5791
50 | -0.025456 | -0.006382 | 0.025477 | 0.0063952 | 2.1392e-05 | 1.3179e-05 | 0.038074 | 0.038074 | 0.038074 | 0.99489 | -0.098207 | 0.9958 | -0.080587 | 10.46
51 | 0.049369 | 0.012432 | -0.049272 | -0.01237 | 9.7416e-05 | 6.1749e-05 | 0.074475 | 0.074475 | 0.074475 | 0.98668 | -0.25609 | 0.98455 | -0.29745 | 20.4601
52 | -0.049369 | -0.012432 | 0.049393 | 0.012447 | 2.4222e-05 | 1.5353e-05 | 0.074475 | 0.074475 | 0.074475 | 0.98668 | -0.25609 | 0.98721 | -0.24584 | 20.4601
53 | 0.010713 | 0.0026853 | -0.010711 | -0.0026843 | 1.9866e-06 | 1.0145e-06 | 0.016191 | 0.016191 | 0.016191 | 0.98455 | -0.29745 | 0.98435 | -0.30135 | 4.448
54 | 0.038559 | 0.0096845 | -0.038539 | -0.0096719 | 2.0034e-05 | 1.2622e-05 | 0.058284 | 0.058284 | 0.058284 | 0.98455 | -0.29745 | 0.98399 | -0.30835 | 16.0121
55 | 0.008447 | 0.002117 | -0.0084469 | -0.002117 | 3.886e-08 | 1.6856e-08 | 0.012795 | 0.012795 | 0.012795 | 0.98237 | -0.34012 | 0.98236 | -0.34022 | 3.5151
56 | -0.016978 | -0.0042554 | 0.016989 | 0.0042622 | 1.1637e-05 | 6.8529e-06 | 0.025716 | 0.025716 | 0.025716 | 0.98237 | -0.34012 | 0.9831 | -0.32575 | 7.0649
57 | 0.0085306 | 0.0021384 | -0.0085294 | -0.0021378 | 1.2024e-06 | 5.2645e-07 | 0.012922 | 0.012922 | 0.012922 | 0.98237 | -0.34012 | 0.98222 | -0.34308 | 3.5499
58 | 0.011025 | 0.0027631 | -0.011025 | -0.0027631 | 9.701e-08 | 5.0307e-08 | 0.016687 | 0.016687 | 0.016687 | 0.9831 | -0.32575 | 0.98309 | -0.32593 | 4.5844
59 | -0.028014 | -0.0070254 | 0.028037 | 0.0070398 | 2.3252e-05 | 1.4444e-05 | 0.042403 | 0.042403 | 0.042403 | 0.9831 | -0.32575 | 0.98399 | -0.30835 | 11.6493
60 | 0.0085294 | 0.0021378 | -0.0085284 | -0.0021374 | 9.7079e-07 | 4.2509e-07 | 0.012922 | 0.012922 | 0.012922 | 0.98222 | -0.34308 | 0.98209 | -0.34547 | 3.5499
61 | 0.013599 | 0.0034087 | -0.013598 | -0.0034079 | 1.4661e-06 | 8.1514e-07 | 0.020321 | 0.020321 | 0.020321 | 0.9958 | -0.080587 | 0.99568 | -0.08285 | 5.5828
62 | 0.010502 | 0.0026321 | -0.010501 | -0.0026319 | 4.2162e-07 | 2.1321e-07 | 0.015881 | 0.015881 | 0.015881 | 0.98399 | -0.30835 | 0.98395 | -0.30919 | 4.3629
63 | -0.027273 | -0.0068407 | 0.027286 | 0.0068491 | 1.356e-05 | 8.4056e-06 | 0.041143 | 0.041143 | 0.041143 | 0.98642 | -0.26144 | 0.98695 | -0.25101 | 11.3031
64 | -0.051154 | -0.012864 | 0.051187 | 0.012884 | 3.2742e-05 | 2.0766e-05 | 0.076973 | 0.076973 | 0.076973 | 0.98908 | -0.20959 | 0.98978 | -0.1962 | 21.1465
65 | 0.048025 | 0.012079 | -0.047998 | -0.012062 | 2.7109e-05 | 1.7172e-05 | 0.072266 | 0.072266 | 0.072266 | 0.98908 | -0.20959 | 0.98847 | -0.22141 | 19.8533
66 | -0.057055 | -0.014355 | 0.057095 | 0.014381 | 4.0815e-05 | 2.5931e-05 | 0.085795 | 0.085795 | 0.085795 | 0.98978 | -0.1962 | 0.99055 | -0.18124 | 23.5701
67 | 0.045514 | 0.01144 | -0.045481 | -0.011419 | 3.2649e-05 | 2.0658e-05 | 0.068526 | 0.068527 | 0.068527 | 0.98847 | -0.22141 | 0.9877 | -0.23645 | 18.826
68 | 0.036337 | 0.0091273 | -0.036312 | -0.0091114 | 2.5236e-05 | 1.5864e-05 | 0.054751 | 0.054751 | 0.054751 | 0.9877 | -0.23645 | 0.98695 | -0.25101 | 15.0415
69 | 0.0090256 | 0.0022623 | -0.0090238 | -0.0022615 | 1.7691e-06 | 8.0671e-07 | 0.013608 | 0.013608 | 0.013608 | 0.98695 | -0.25101 | 0.98674 | -0.25513 | 3.7385
70 | 0.0057174 | 0.0014329 | -0.0057167 | -0.0014327 | 7.1921e-07 | 1.3078e-07 | 0.0086219 | 0.008622 | 0.008622 | 0.98674 | -0.25513 | 0.9866 | -0.25777 | 2.3687

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44227 | 0.11182

## res_load
| p_mw | q_mvar
0 | 0.0033501 | 0.00083961
1 | 0.0032643 | 0.0008181
2 | 0.0056936 | 0.001427
3 | 0.010437 | 0.0026157
4 | 0.065037 | 0.0163
5 | 0.0099308 | 0.0024889
6 | 0.0049488 | 0.0012403
7 | 0.068419 | 0.017147
8 | 0.0015126 | 0.00037911
9 | 0.0056669 | 0.0014203
10 | 0.0027441 | 0.00068774
11 | 0.002302 | 0.00057694
12 | 0.0031009 | 0.00077717
13 | 0.0033971 | 0.0008514
14 | 0.0023516 | 0.00058936
15 | 0.0012518 | 0.00031373
16 | 0.0021669 | 0.00054307
17 | 0.011608 | 0.0029093
18 | 0.0023251 | 0.00058272
19 | 0.0029873 | 0.00074868
20 | 0.004696 | 0.0011769
21 | 0.0098499 | 0.0024686
22 | 0.0026142 | 0.00065517
23 | 0.0030736 | 0.00077032
24 | 0.0083894 | 0.0021026
25 | 0.015809 | 0.0039622
26 | 0.0065588 | 0.0016438
27 | 0.0063516 | 0.0015919
28 | 0.0099396 | 0.0024911
29 | 0.011872 | 0.0029754
30 | 0.0035955 | 0.00090113
31 | 0.0084469 | 0.002117
32 | 0.013577 | 0.0034027
33 | 0.011025 | 0.0027631
34 | 0.0047377 | 0.0011874
35 | 0.0047553 | 0.0011918
36 | 0.007821 | 0.0019601
37 | 0.0085284 | 0.0021374
38 | 0.010711 | 0.0026843
39 | 0.013598 | 0.0034079
40 | 0.010501 | 0.0026319
41 | 0.0031291 | 0.00078423
42 | 0.0058679 | 0.0014706
43 | 0.0024841 | 0.00062257
44 | 0.0041826 | 0.0010483
45 | 0.0091438 | 0.0022917
46 | 0.0033064 | 0.00082867
47 | 0.0057167 | 0.0014327
48 | 0.014201 | 0.0035591

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1