## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_200-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_200-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_200-13_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_200-13_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_200-13_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_200-13_0_2_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_200-13_0_2_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_200-13_0_2_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_200-13_0_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_200-13_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_200-13_0_2_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_200-13_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_200-13_0_2_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_200-13_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_200-13_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_200-13_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_200-13_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_200-13_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_200-13_0_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_200-13_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_200-13_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_200-13_0_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_200-13_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_200-13_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_200-13_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_200-13_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_200-13_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_200-13_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_200-13_0_2_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_200-13_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_200-13_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_200-13_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_200-13_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_200-13_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_MV_504_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_200-13_0_2_load_0 | 0 | 0.011819 | 0.0029622 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_200-13_0_2_load_25 | 5 | 0.020991 | 0.0052609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_200-13_0_2_load_31 | 6 | 0.015708 | 0.0039369 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_200-13_0_2_load_34 | 7 | 0.013052 | 0.0032711 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_200-13_0_2_load_32 | 10 | 0.030839 | 0.0077289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_200-13_0_2_load_6 | 13 | 0.0043305 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_200-13_0_2_load_12 | 15 | 0.0014369 | 0.00036012 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_200-13_0_2_load_9 | 17 | 0.0030614 | 0.00076726 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_200-13_0_2_load_15 | 19 | 0.0020576 | 0.00051568 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_200-13_0_2_load_24 | 20 | 0.0014503 | 0.00036349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_200-13_0_2_load_30 | 21 | 0.0091258 | 0.0022871 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_200-13_0_2_load_14 | 22 | 0.0017179 | 0.00043055 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_200-13_0_2_load_17 | 24 | 0.0090073 | 0.0022574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_200-13_0_2_load_21 | 26 | 0.005998 | 0.0015032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_200-13_0_2_load_33 | 28 | 0.0064027 | 0.0016047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_200-13_0_2_load_26 | 29 | 0.0068859 | 0.0017258 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_200-13_0_2_load_35 | 30 | 0.007037 | 0.0017636 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_200-13_0_2_load_22 | 31 | 0.0065915 | 0.001652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_200-13_0_2_load_27 | 32 | 0.033198 | 0.0083203 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_200-13_0_2_load_28 | 33 | 0.01938 | 0.0048571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_200-13_0_2_line_0 |  | 0 | 1 | 0.025998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_200-13_0_2_line_1 |  | 1 | 2 | 0.038599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_200-13_0_2_line_2 |  | 1 | 3 | 0.022569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_200-13_0_2_line_3 |  | 2 | 4 | 0.023458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_200-13_0_2_line_4 |  | 2 | 5 | 0.0084766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_200-13_0_2_line_5 |  | 3 | 6 | 0.0074892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_200-13_0_2_line_6 |  | 4 | 7 | 0.005834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_200-13_0_2_line_7 |  | 5 | 8 | 0.026339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_200-13_0_2_line_8 |  | 6 | 12 | 0.018918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_200-13_0_2_line_9 |  | 8 | 29 | 0.027372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_200-13_0_2_line_10 |  | 8 | 25 | 0.044332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_200-13_0_2_line_11 |  | 9 | 10 | 0.032712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_200-13_0_2_line_12 |  | 9 | 11 | 0.12853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_200-13_0_2_line_13 |  | 11 | 18 | 0.003174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_200-13_0_2_line_14 |  | 11 | 17 | 0.015649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_200-13_0_2_line_15 |  | 12 | 32 | 0.01023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_200-13_0_2_line_16 |  | 13 | 14 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_200-13_0_2_line_17 |  | 14 | 15 | 0.042178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_200-13_0_2_line_18 |  | 14 | 16 | 0.035772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_200-13_0_2_line_19 |  | 15 | 19 | 0.0038304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_200-13_0_2_line_20 |  | 16 | 20 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_200-13_0_2_line_21 |  | 18 | 21 | 0.019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_200-13_0_2_line_22 |  | 19 | 22 | 2.737e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_200-13_0_2_line_23 |  | 21 | 33 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_200-13_0_2_line_24 |  | 22 | 23 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_200-13_0_2_line_25 |  | 23 | 24 | 0.005031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_200-13_0_2_line_26 |  | 23 | 25 | 0.052506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_200-13_0_2_line_27 |  | 24 | 26 | 0.045285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_200-13_0_2_line_28 |  | 25 | 27 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_200-13_0_2_line_29 |  | 25 | 28 | 0.003946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_200-13_0_2_line_30 |  | 26 | 31 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_200-13_0_2_line_31 |  | 27 | 30 | 0.00248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_200-13_0_2_line_32 |  | 32 | 33 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_200-13_0_2_trafo_27 | 0.63 MVA 20/0.4 kV | 34 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689895.4558 | 1253003.642 | 2689906.6345 | 1252980.1701
1 | 2689930.6451 | 1253018.6209 | 2689904.3517 | 1253004.7445 | 2689895.4558 | 1253003.642
2 | 2689872.8872 | 1253005.3899 | 2689895.4558 | 1253003.642
3 | 2689930.6451 | 1253018.6209 | 2689940.8149 | 1252997.4701
4 | 2689930.6451 | 1253018.6209 | 2689938.1952 | 1253022.4744
5 | 2689872.8872 | 1253005.3899 | 2689873.0854 | 1253012.8765
6 | 2689940.8149 | 1252997.4701 | 2689935.5092 | 1252995.0099
7 | 2689961.6556 | 1253034.4483 | 2689938.1952 | 1253022.4744
8 | 2689875.8026 | 1253031.5765 | 2689874.0332 | 1253021.8644 | 2689873.1414 | 1253014.99 | 2689873.0854 | 1253012.8765
9 | 2689961.6556 | 1253034.4483 | 2689973.3444 | 1253009.6845
10 | 2689961.6556 | 1253034.4483 | 2689958.3258 | 1253041.5143 | 2689982.5259 | 1253053.5688 | 2689978.4563 | 1253062.1358
11 | 2689826.2187 | 1253042.6552 | 2689799.096 | 1253061.0582
12 | 2689799.096 | 1253061.0582 | 2689847.0232 | 1253126.3128 | 2689847.7558 | 1253127.2691 | 2689858.8213 | 1253119.164 | 2689861.2137 | 1253115.6754 | 2689869.9063 | 1253110.2808 | 2689887.8238 | 1253107.1725
13 | 2689887.3129 | 1253104.0401 | 2689887.8238 | 1253107.1725
14 | 2689887.8238 | 1253107.1725 | 2689890.3439 | 1253122.6171
15 | 2689875.8026 | 1253031.5765 | 2689877.23 | 1253041.7068
16 | 2689965.1066 | 1253162.4324 | 2689949.3777 | 1253162.5573
17 | 2689965.1066 | 1253162.4324 | 2689973.1588 | 1253121.0298
18 | 2689965.1066 | 1253162.4324 | 2689967.8632 | 1253162.7857 | 2690000.5892 | 1253166.9748
19 | 2689973.89 | 1253117.2698 | 2689973.1588 | 1253121.0298
20 | 2690000.5892 | 1253166.9748 | 2690017.7694 | 1253169.4067
21 | 2689887.3129 | 1253104.0401 | 2689886.0842 | 1253096.4934 | 2689884.1678 | 1253085.2443
22 | 2689973.89 | 1253117.2698 | 2689973.8953 | 1253117.2429
23 | 2689881.8249 | 1253071.491 | 2689884.1678 | 1253085.2443
24 | 2689976.9357 | 1253101.6097 | 2689973.8953 | 1253117.2429
25 | 2689976.9357 | 1253101.6097 | 2689978.7462 | 1253096.9158
26 | 2689976.9357 | 1253101.6097 | 2689965.4501 | 1253087.6802 | 2689968.4197 | 1253085.4458 | 2689974.7495 | 1253083.0845 | 2689976.3905 | 1253081.3748 | 2689982.0605 | 1253066.316 | 2689978.4563 | 1253062.1358
27 | 2689978.7462 | 1253096.9158 | 2689987.4552 | 1253074.3374 | 2689991.4371 | 1253069.5498 | 2689999.2855 | 1253068.5682 | 2690006.2341 | 1253068.527
28 | 2689978.4563 | 1253062.1358 | 2689982.5259 | 1253053.5688 | 2689986.6143 | 1253044.7575
29 | 2689974.5001 | 1253062.2536 | 2689978.4563 | 1253062.1358
30 | 2690006.2341 | 1253068.527 | 2690018.7554 | 1253068.4528
31 | 2689986.6143 | 1253044.7575 | 2689985.44 | 1253042.5713
32 | 2689877.23 | 1253041.7068 | 2689879.5223 | 1253057.9754 | 2689881.8249 | 1253071.491

## bus_geodata
| x | y | coords
0 | 2689906.6345 | 1252980.1701
1 | 2689895.4558 | 1253003.642
2 | 2689930.6451 | 1253018.6209
3 | 2689872.8872 | 1253005.3899
4 | 2689940.8149 | 1252997.4701
5 | 2689938.1952 | 1253022.4744
6 | 2689873.0854 | 1253012.8765
7 | 2689935.5092 | 1252995.0099
8 | 2689961.6556 | 1253034.4483
9 | 2689799.096 | 1253061.0582
10 | 2689826.2187 | 1253042.6552
11 | 2689887.8238 | 1253107.1725
12 | 2689875.8026 | 1253031.5765
13 | 2689949.3777 | 1253162.5573
14 | 2689965.1066 | 1253162.4324
15 | 2689973.1588 | 1253121.0298
16 | 2690000.5892 | 1253166.9748
17 | 2689890.3439 | 1253122.6171
18 | 2689887.3129 | 1253104.0401
19 | 2689973.89 | 1253117.2698
20 | 2690017.7694 | 1253169.4067
21 | 2689884.1678 | 1253085.2443
22 | 2689973.8953 | 1253117.2429
23 | 2689976.9357 | 1253101.6097
24 | 2689978.7462 | 1253096.9158
25 | 2689978.4563 | 1253062.1358
26 | 2690006.2341 | 1253068.527
27 | 2689986.6143 | 1253044.7575
28 | 2689974.5001 | 1253062.2536
29 | 2689973.3444 | 1253009.6845
30 | 2689985.4401 | 1253042.5713
31 | 2690018.7554 | 1253068.4528
32 | 2689877.23 | 1253041.7068
33 | 2689881.8249 | 1253071.491
34 | 2689875.8026 | 1253031.5765

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99394 | -0.11599 | 0.011819 | 0.0029622
1 | 0.99422 | -0.11057 | 0 | 0
2 | 0.99114 | -0.16995 | 0 | 0
3 | 0.99626 | -0.071335 | 0 | 0
4 | 0.99086 | -0.17538 | 0 | 0
5 | 0.99056 | -0.18107 | 0.020991 | 0.0052609
6 | 0.99694 | -0.058351 | 0.015708 | 0.0039369
7 | 0.99079 | -0.17673 | 0.013052 | 0.0032711
8 | 0.98928 | -0.20587 | 0 | 0
9 | 0.99343 | -0.12631 | 0 | 0
10 | 0.99251 | -0.14414 | 0.030839 | 0.0077289
11 | 0.99705 | -0.056555 | 0 | 0
12 | 0.99893 | -0.020439 | 0 | 0
13 | 0.98535 | -0.28217 | 0.0043305 | 0.0010853
14 | 0.98542 | -0.28095 | 0 | 0
15 | 0.98564 | -0.27657 | 0.0014369 | 0.00036012
16 | 0.98537 | -0.28188 | 0 | 0
17 | 0.99701 | -0.057395 | 0.0030614 | 0.00076726
18 | 0.99715 | -0.054669 | 0 | 0
19 | 0.98567 | -0.27608 | 0.0020576 | 0.00051568
20 | 0.98535 | -0.28233 | 0.0014503 | 0.00036349
21 | 0.99774 | -0.043349 | 0.0091258 | 0.0022871
22 | 0.98567 | -0.27607 | 0.0017179 | 0.00043055
23 | 0.98583 | -0.27293 | 0 | 0
24 | 0.98573 | -0.27488 | 0.0090073 | 0.0022574
25 | 0.9874 | -0.24228 | 0 | 0
26 | 0.9852 | -0.28511 | 0.005998 | 0.0015032
27 | 0.98728 | -0.2447 | 0 | 0
28 | 0.98738 | -0.24274 | 0.0064027 | 0.0016047
29 | 0.98911 | -0.20922 | 0.0068859 | 0.0017258
30 | 0.98726 | -0.24501 | 0.007037 | 0.0017636
31 | 0.98513 | -0.2866 | 0.0065915 | 0.001652
32 | 1 | 0 | -0.17989 | -0.045183
33 | 0.99829 | -0.032843 | 0.01938 | 0.0048571
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011819 | -0.0029622 | 0.011822 | 0.0029638 | 3.0525e-06 | 1.6166e-06 | 0.017695 | 0.017695 | 0.017695 | 0.99394 | -0.11599 | 0.99422 | -0.11057 | 4.8612
1 | 0.087455 | 0.022106 | -0.087207 | -0.021948 | 0.00024824 | 0.00015838 | 0.13096 | 0.13096 | 0.13096 | 0.99422 | -0.11057 | 0.99114 | -0.16995 | 35.9776
2 | -0.099278 | -0.02507 | 0.099465 | 0.025189 | 0.00018702 | 0.0001194 | 0.14865 | 0.14865 | 0.14865 | 0.99422 | -0.11057 | 0.99626 | -0.071335 | 40.8387
3 | 0.013056 | 0.0032734 | -0.013053 | -0.0032715 | 3.3799e-06 | 1.8609e-06 | 0.019602 | 0.019602 | 0.019602 | 0.99114 | -0.16995 | 0.99086 | -0.17538 | 5.3851
4 | 0.074151 | 0.018674 | -0.074112 | -0.018649 | 3.9417e-05 | 2.5118e-05 | 0.11136 | 0.11136 | 0.11136 | 0.99114 | -0.16995 | 0.99056 | -0.18107 | 30.5926
5 | -0.099465 | -0.025189 | 0.099527 | 0.025229 | 6.206e-05 | 3.9621e-05 | 0.14865 | 0.14865 | 0.14865 | 0.99626 | -0.071335 | 0.99694 | -0.058351 | 40.8387
6 | 0.013053 | 0.0032715 | -0.013052 | -0.0032711 | 8.4059e-07 | 4.6284e-07 | 0.019602 | 0.019602 | 0.019602 | 0.99086 | -0.17538 | 0.99079 | -0.17673 | 5.3851
7 | 0.053121 | 0.013388 | -0.053058 | -0.013348 | 6.2937e-05 | 3.9941e-05 | 0.079824 | 0.079824 | 0.079824 | 0.99056 | -0.18107 | 0.98928 | -0.20587 | 21.9298
8 | -0.11524 | -0.029166 | 0.11545 | 0.0293 | 0.00021012 | 0.00013423 | 0.1721 | 0.1721 | 0.1721 | 0.99694 | -0.058351 | 0.99893 | -0.020439 | 47.2799
9 | 0.006887 | 0.0017261 | -0.0068859 | -0.0017258 | 1.1015e-06 | 3.5358e-07 | 0.010359 | 0.010359 | 0.010359 | 0.98928 | -0.20587 | 0.98911 | -0.20922 | 2.8459
10 | 0.046171 | 0.011622 | -0.04609 | -0.011572 | 8.0221e-05 | 5.0773e-05 | 0.069465 | 0.069466 | 0.069466 | 0.98928 | -0.20587 | 0.9874 | -0.24228 | 19.0839
11 | 0.030865 | 0.0077452 | -0.030839 | -0.0077289 | 2.6222e-05 | 1.6359e-05 | 0.046234 | 0.046235 | 0.046235 | 0.99343 | -0.12631 | 0.99251 | -0.14414 | 12.7018
12 | -0.030865 | -0.0077452 | 0.030968 | 0.0078095 | 0.00010303 | 6.4269e-05 | 0.046234 | 0.046234 | 0.046234 | 0.99343 | -0.12631 | 0.99705 | -0.056555 | 12.7018
13 | -0.034029 | -0.0085766 | 0.034032 | 0.0085785 | 3.072e-06 | 1.9247e-06 | 0.050803 | 0.050803 | 0.050803 | 0.99705 | -0.056555 | 0.99715 | -0.054669 | 13.9568
14 | 0.0030615 | 0.00076714 | -0.0030614 | -0.00076726 | 1.2251e-07 | -1.2568e-07 | 0.004569 | 0.0045691 | 0.0045691 | 0.99705 | -0.056555 | 0.99701 | -0.057395 | 1.2552
15 | -0.11545 | -0.0293 | 0.11556 | 0.029373 | 0.00011363 | 7.2587e-05 | 0.1721 | 0.1721 | 0.1721 | 0.99893 | -0.020439 | 1 | 0 | 47.2799
16 | -0.0043305 | -0.0010853 | 0.0043308 | 0.0010853 | 2.5226e-07 | -3.8925e-08 | 0.0065396 | 0.0065396 | 0.0065396 | 0.98535 | -0.28217 | 0.98542 | -0.28095 | 1.7966
17 | -0.0057812 | -0.0014482 | 0.0057824 | 0.0014484 | 1.2053e-06 | 2.3394e-07 | 0.0087295 | 0.0087293 | 0.0087295 | 0.98542 | -0.28095 | 0.98564 | -0.27657 | 2.3982
18 | 0.0014504 | 0.00036287 | -0.0014504 | -0.00036328 | 6.434e-08 | -4.1452e-07 | 0.00219 | 0.0021901 | 0.0021901 | 0.98542 | -0.28095 | 0.98537 | -0.28188 | 0.60168
19 | -0.0072193 | -0.0018085 | 0.0072195 | 0.0018086 | 1.7062e-07 | 6.0374e-08 | 0.010899 | 0.010899 | 0.010899 | 0.98564 | -0.27657 | 0.98567 | -0.27608 | 2.9941
20 | 0.0014504 | 0.00036328 | -0.0014503 | -0.00036349 | 3.1212e-08 | -2.0105e-07 | 0.0021901 | 0.0021902 | 0.0021902 | 0.98537 | -0.28188 | 0.98535 | -0.28233 | 0.6017
21 | -0.034032 | -0.0085785 | 0.034051 | 0.0085901 | 1.8445e-05 | 1.1556e-05 | 0.050803 | 0.050803 | 0.050803 | 0.99715 | -0.054669 | 0.99774 | -0.043349 | 13.9568
22 | -0.0092771 | -0.0023243 | 0.0092771 | 0.0023243 | 2.015e-09 | 9.3696e-10 | 0.014005 | 0.014005 | 0.014005 | 0.98567 | -0.27608 | 0.98567 | -0.27607 | 3.8475
23 | -0.043177 | -0.010877 | 0.043198 | 0.010891 | 2.1707e-05 | 1.371e-05 | 0.064413 | 0.064413 | 0.064413 | 0.99774 | -0.043349 | 0.99829 | -0.032843 | 17.6958
24 | -0.010995 | -0.0027548 | 0.010997 | 0.0027557 | 1.6454e-06 | 8.5002e-07 | 0.016598 | 0.016598 | 0.016598 | 0.98567 | -0.27607 | 0.98583 | -0.27293 | 4.56
25 | 0.021605 | 0.0054174 | -0.021603 | -0.0054161 | 2.0065e-06 | 1.22e-06 | 0.032612 | 0.032612 | 0.032612 | 0.98583 | -0.27293 | 0.98573 | -0.27488 | 8.9594
26 | -0.032602 | -0.008173 | 0.03265 | 0.0082029 | 4.7682e-05 | 2.9846e-05 | 0.04921 | 0.04921 | 0.04921 | 0.98583 | -0.27293 | 0.9874 | -0.24228 | 13.5193
27 | 0.012596 | 0.0031587 | -0.01259 | -0.0031554 | 6.1404e-06 | 3.3529e-06 | 0.019015 | 0.019015 | 0.019015 | 0.98573 | -0.27488 | 0.9852 | -0.28511 | 5.224
28 | 0.0070379 | 0.001764 | -0.0070371 | -0.0017637 | 8.0987e-07 | 2.7279e-07 | 0.010606 | 0.010606 | 0.010606 | 0.9874 | -0.24228 | 0.98728 | -0.2447 | 2.9138
29 | 0.0064029 | 0.0016047 | -0.0064027 | -0.0016047 | 1.3777e-07 | 3.7703e-08 | 0.0096491 | 0.0096491 | 0.0096491 | 0.9874 | -0.24228 | 0.98738 | -0.24274 | 2.6509
30 | 0.0065919 | 0.0016521 | -0.0065915 | -0.001652 | 4.6546e-07 | 1.3846e-07 | 0.0099562 | 0.0099563 | 0.0099563 | 0.9852 | -0.28511 | 0.98513 | -0.2866 | 2.7352
31 | 0.0070371 | 0.0017637 | -0.007037 | -0.0017636 | 1.0462e-07 | 3.5244e-08 | 0.010606 | 0.010606 | 0.010606 | 0.98728 | -0.2447 | 0.98726 | -0.24501 | 2.9138
32 | 0.062677 | 0.015811 | -0.062578 | -0.015748 | 9.8386e-05 | 6.2572e-05 | 0.0933 | 0.0933 | 0.0933 | 1 | 0 | 0.99829 | -0.032843 | 25.6319

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21308 | 0.053504

## res_load
| p_mw | q_mvar
0 | 0.011819 | 0.0029622
1 | 0.020991 | 0.0052609
2 | 0.015708 | 0.0039369
3 | 0.013052 | 0.0032711
4 | 0.030839 | 0.0077289
5 | 0.0043305 | 0.0010853
6 | 0.0014369 | 0.00036012
7 | 0.0030614 | 0.00076726
8 | 0.0020576 | 0.00051568
9 | 0.0014503 | 0.00036349
10 | 0.0091258 | 0.0022871
11 | 0.0017179 | 0.00043055
12 | 0.0090073 | 0.0022574
13 | 0.005998 | 0.0015032
14 | 0.0064027 | 0.0016047
15 | 0.0068859 | 0.0017258
16 | 0.007037 | 0.0017636
17 | 0.0065915 | 0.001652
18 | 0.033198 | 0.0083203
19 | 0.01938 | 0.0048571

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1