## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_200-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_200-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_200-2_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_200-2_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_200-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_200-2_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_200-2_0_6_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_200-2_0_6_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_200-2_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_200-2_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_200-2_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_200-2_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_200-2_0_6_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_200-2_0_6_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_200-2_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_200-2_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_200-2_0_6_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_200-2_0_6_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_200-2_0_6_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_200-2_0_6_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_200-2_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_200-2_0_6_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_200-2_0_6_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_200-2_0_6_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_200-2_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_200-2_0_6_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_200-2_0_6_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_200-2_0_6_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_200-2_0_6_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_200-2_0_6_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_200-2_0_6_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_200-2_0_6_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_200-2_0_6_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_200-2_0_6_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_200-2_0_6_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_200-2_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_200-2_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_200-2_0_6_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_200-2_0_6_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_200-2_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_200-2_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_200-2_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_200-2_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_200-2_0_6_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_200-2_0_6_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_200-2_0_6_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_200-2_0_6_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_200-2_0_6_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_200-2_0_6_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_200-2_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_200-2_0_6_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_200-2_0_6_node_14 | 0.4 | n |  | TRUE
52 | bus_LV_200-2_0_6_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_200-2_0_6_node_16 | 0.4 | n |  | TRUE
54 | bus_LV_200-2_0_6_node_17 | 0.4 | n |  | TRUE
55 | bus_LV_200-2_0_6_node_18 | 0.4 | n |  | TRUE
56 | bus_LV_200-2_0_6_node_20 | 0.4 | n |  | TRUE
57 | bus_LV_200-2_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_200-2_0_6_node_22 | 0.4 | n |  | TRUE
59 | bus_LV_200-2_0_6_node_24 | 0.4 | n |  | TRUE
60 | bus_LV_200-2_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_200-2_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_200-2_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_200-2_0_6_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_200-2_0_6_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_200-2_0_6_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_200-2_0_6_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_200-2_0_6_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_200-2_0_6_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_200-2_0_6_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_200-2_0_6_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_200-2_0_6_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_200-2_0_6_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_200-2_0_6_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_200-2_0_6_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_200-2_0_6_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_200-2_0_6_node_97 | 0.4 | n |  | TRUE
77 | bus_LV_200-2_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_200-2_0_6_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_200-2_0_6_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_200-2_0_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_200-2_0_6_node_52 | 0.4 | n |  | TRUE
82 | bus_LV_200-2_0_6_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_200-2_0_6_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_200-2_0_6_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_200-2_0_6_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_200-2_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_200-2_0_6_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_200-2_0_6_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_200-2_0_6_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_200-2_0_6_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_200-2_0_6_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_200-2_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_MV_504_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_200-2_0_6_load_0 | 0 | 0.023423 | 0.0058705 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_200-2_0_6_load_1 | 1 | 0.0056521 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_200-2_0_6_load_3 | 2 | 0.0096882 | 0.0024281 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_200-2_0_6_load_64 | 7 | 0.0028367 | 0.00071095 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_200-2_0_6_load_13 | 10 | 0.0015634 | 0.00039183 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_200-2_0_6_load_75 | 16 | 0.0091348 | 0.0022894 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_200-2_0_6_load_93 | 18 | 0.00074736 | 0.00018731 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_200-2_0_6_load_36 | 19 | 0.017878 | 0.0044807 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_200-2_0_6_load_96 | 21 | 0.010145 | 0.0025425 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_200-2_0_6_load_63 | 22 | 0.0044676 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_200-2_0_6_load_85 | 26 | 0.012865 | 0.0032242 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_200-2_0_6_load_68 | 27 | 0.014693 | 0.0036825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_200-2_0_6_load_78 | 30 | 0.024959 | 0.0062553 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_200-2_0_6_load_92 | 32 | 0.00093447 | 0.0002342 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_200-2_0_6_load_12 | 33 | 0.0016741 | 0.00041958 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_200-2_0_6_load_38 | 34 | 0.0049105 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_200-2_0_6_load_94 | 38 | 0.0040678 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_200-2_0_6_load_25 | 39 | 0.0050694 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_200-2_0_6_load_21 | 40 | 0.0062453 | 0.0015652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_200-2_0_6_load_32 | 41 | 0.0046408 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_200-2_0_6_load_29 | 42 | 0.016468 | 0.0041273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_200-2_0_6_load_80 | 44 | 0.0012513 | 0.0003136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_200-2_0_6_load_57 | 45 | 0.0012841 | 0.00032184 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_200-2_0_6_load_91 | 46 | 0.00066135 | 0.00016575 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_200-2_0_6_load_87 | 47 | 0.013078 | 0.0032776 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_200-2_0_6_load_62 | 50 | 0.0030423 | 0.00076247 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_200-2_0_6_load_14 | 51 | 0.0083661 | 0.0020967 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_200-2_0_6_load_90 | 52 | 0.00074926 | 0.00018778 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_200-2_0_6_load_16 | 53 | 0.028408 | 0.0071197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_200-2_0_6_load_17 | 54 | 0.018406 | 0.0046131 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_200-2_0_6_load_18 | 55 | 0.013914 | 0.0034873 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_200-2_0_6_load_20 | 56 | 0.01777 | 0.0044535 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_200-2_0_6_load_55 | 57 | 0.0045283 | 0.0011349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_200-2_0_6_load_22 | 58 | 0.0035809 | 0.00089746 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_200-2_0_6_load_24 | 59 | 0.0081923 | 0.0020532 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_200-2_0_6_load_40 | 61 | 0.0067329 | 0.0016874 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_200-2_0_6_load_74 | 62 | 0.0030958 | 0.00077588 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_200-2_0_6_load_95 | 63 | 0.0108 | 0.0027066 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_200-2_0_6_load_30 | 64 | 0.0013133 | 0.00032915 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_200-2_0_6_load_84 | 66 | 0.0048883 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_200-2_0_6_load_41 | 67 | 0.017556 | 0.0043999 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_200-2_0_6_load_43 | 68 | 0.0089205 | 0.0022357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_200-2_0_6_load_86 | 69 | 0.0080186 | 0.0020097 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_200-2_0_6_load_44 | 70 | 0.0055029 | 0.0013792 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_200-2_0_6_load_45 | 71 | 0.0041275 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_200-2_0_6_load_51 | 74 | 0.0084639 | 0.0021213 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_200-2_0_6_load_97 | 76 | 0.0092457 | 0.0023172 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_200-2_0_6_load_50 | 78 | 0.0041392 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_200-2_0_6_load_88 | 79 | 0.0021156 | 0.00053022 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_200-2_0_6_load_60 | 80 | 0.0026107 | 0.00065429 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_200-2_0_6_load_53 | 82 | 0.0083314 | 0.002088 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_200-2_0_6_load_54 | 83 | 0.0084734 | 0.0021236 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_200-2_0_6_load_59 | 84 | 0.0041931 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_200-2_0_6_load_82 | 86 | 0.0015553 | 0.00038979 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_200-2_0_6_load_56 | 87 | 0.0011403 | 0.00028579 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_200-2_0_6_load_70 | 88 | 0.0036622 | 0.00091785 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_200-2_0_6_load_71 | 89 | 0.0032846 | 0.0008232 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_200-2_0_6_load_83 | 91 | 0.0057216 | 0.001434 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_200-2_0_6_load_89 | 92 | 0.00093363 | 0.00023399 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_200-2_0_6_line_0 |  | 0 | 1 | 0.024869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_200-2_0_6_line_1 |  | 1 | 2 | 0.0093105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_200-2_0_6_line_2 |  | 2 | 6 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_200-2_0_6_line_3 |  | 3 | 4 | 0.003329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_200-2_0_6_line_4 |  | 3 | 5 | 0.033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_200-2_0_6_line_5 |  | 4 | 7 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_200-2_0_6_line_6 |  | 5 | 17 | 0.011204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_200-2_0_6_line_7 |  | 5 | 18 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_200-2_0_6_line_8 |  | 6 | 23 | 0.03472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_200-2_0_6_line_9 |  | 6 | 24 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_200-2_0_6_line_10 |  | 7 | 31 | 0.046877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_200-2_0_6_line_11 |  | 8 | 9 | 0.038375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_200-2_0_6_line_12 |  | 8 | 10 | 0.063969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_200-2_0_6_line_13 |  | 9 | 32 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_200-2_0_6_line_14 |  | 10 | 33 | 0.03384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_200-2_0_6_line_15 |  | 11 | 12 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_200-2_0_6_line_16 |  | 11 | 13 | 0.04397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_200-2_0_6_line_17 |  | 11 | 14 | 0.032801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_200-2_0_6_line_18 |  | 11 | 15 | 0.026583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_200-2_0_6_line_19 |  | 11 | 16 | 0.02649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_200-2_0_6_line_20 |  | 12 | 34 | 0.031453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_200-2_0_6_line_21 |  | 13 | 37 | 0.029566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_200-2_0_6_line_22 |  | 13 | 38 | 0.026184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_200-2_0_6_line_23 |  | 14 | 22 | 0.034683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_200-2_0_6_line_24 |  | 14 | 20 | 0.021443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_200-2_0_6_line_25 |  | 15 | 19 | 0.024415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_200-2_0_6_line_26 |  | 17 | 41 | 0.058733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_200-2_0_6_line_27 |  | 17 | 42 | 0.037283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_200-2_0_6_line_28 |  | 18 | 46 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_200-2_0_6_line_29 |  | 19 | 49 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_200-2_0_6_line_30 |  | 20 | 21 | 0.03145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_200-2_0_6_line_31 |  | 21 | 35 | 0.043437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_200-2_0_6_line_32 |  | 22 | 50 | 0.028983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_200-2_0_6_line_33 |  | 23 | 30 | 0.026815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_200-2_0_6_line_34 |  | 23 | 60 | 0.051427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_200-2_0_6_line_35 |  | 24 | 57 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_200-2_0_6_line_36 |  | 25 | 26 | 0.020419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_200-2_0_6_line_37 |  | 25 | 27 | 0.021423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_200-2_0_6_line_38 |  | 26 | 29 | 0.0034451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_200-2_0_6_line_39 |  | 27 | 31 | 0.0025614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_200-2_0_6_line_40 |  | 28 | 29 | 0.041612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_200-2_0_6_line_41 |  | 28 | 30 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_200-2_0_6_line_42 |  | 32 | 52 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_200-2_0_6_line_43 |  | 33 | 51 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_200-2_0_6_line_44 |  | 35 | 36 | 0.055835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_200-2_0_6_line_45 |  | 36 | 39 | 0.042027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_200-2_0_6_line_46 |  | 36 | 40 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_200-2_0_6_line_47 |  | 37 | 62 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_200-2_0_6_line_48 |  | 38 | 63 | 0.0067763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_200-2_0_6_line_49 |  | 40 | 58 | 0.0016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_200-2_0_6_line_50 |  | 41 | 50 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_200-2_0_6_line_51 |  | 42 | 64 | 0.062301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_200-2_0_6_line_52 |  | 43 | 44 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_200-2_0_6_line_53 |  | 43 | 45 | 0.039107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_200-2_0_6_line_54 |  | 44 | 85 | 0.0351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_200-2_0_6_line_55 |  | 45 | 87 | 0.0024182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_200-2_0_6_line_56 |  | 46 | 92 | 0.023073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_200-2_0_6_line_57 |  | 47 | 48 | 0.020688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_200-2_0_6_line_58 |  | 48 | 69 | 0.011571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_200-2_0_6_line_59 |  | 49 | 65 | 0.062308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_200-2_0_6_line_60 |  | 52 | 92 | 0.020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_200-2_0_6_line_61 |  | 53 | 54 | 0.0030156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_200-2_0_6_line_62 |  | 53 | 55 | 0.031099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_200-2_0_6_line_63 |  | 55 | 56 | 0.016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_200-2_0_6_line_64 |  | 56 | 57 | 0.0011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_200-2_0_6_line_65 |  | 58 | 59 | 0.036371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_200-2_0_6_line_66 |  | 60 | 61 | 0.028746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_200-2_0_6_line_67 |  | 61 | 67 | 0.0047872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_200-2_0_6_line_68 |  | 62 | 79 | 0.015554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_200-2_0_6_line_69 |  | 65 | 66 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_200-2_0_6_line_70 |  | 67 | 68 | 0.032556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_200-2_0_6_line_71 |  | 68 | 69 | 0.045315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_200-2_0_6_line_72 |  | 70 | 71 | 0.00095571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_200-2_0_6_line_73 |  | 70 | 72 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_200-2_0_6_line_74 |  | 72 | 73 | 0.030176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_200-2_0_6_line_75 |  | 73 | 74 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_200-2_0_6_line_76 |  | 74 | 78 | 0.027233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_200-2_0_6_line_77 |  | 75 | 76 | 0.007033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_200-2_0_6_line_78 |  | 75 | 77 | 0.038891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_200-2_0_6_line_79 |  | 77 | 79 | 0.021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_200-2_0_6_line_80 |  | 77 | 80 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_200-2_0_6_line_81 |  | 78 | 81 | 0.019972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_200-2_0_6_line_82 |  | 80 | 84 | 0.03995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_200-2_0_6_line_83 |  | 81 | 82 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_200-2_0_6_line_84 |  | 81 | 83 | 0.007307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_200-2_0_6_line_85 |  | 82 | 84 | 0.0012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_200-2_0_6_line_86 |  | 83 | 85 | 0.028129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_200-2_0_6_line_87 |  | 85 | 86 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_200-2_0_6_line_88 |  | 86 | 90 | 0.0012937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_200-2_0_6_line_89 |  | 88 | 89 | 0.003364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_200-2_0_6_line_90 |  | 89 | 90 | 0.02071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_200-2_0_6_line_91 |  | 90 | 91 | 0.028268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_200-2_0_6_trafo_68 | 0.63 MVA 20/0.4 kV | 93 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2690671.3567 | 1251735.0379 | 2690655.9332 | 1251754.5465
1 | 2690655.9332 | 1251754.5465 | 2690651.0771 | 1251760.6888 | 2690650.3911 | 1251762.0007
2 | 2690645.2451 | 1251771.8415 | 2690650.3911 | 1251762.0007
3 | 2690751.5257 | 1251638.855 | 2690748.482 | 1251637.4851
4 | 2690748.482 | 1251637.4851 | 2690762.0677 | 1251616.9108 | 2690766.4829 | 1251618.9244 | 2690768.5531 | 1251615.3533
5 | 2690751.5257 | 1251638.855 | 2690767.3723 | 1251645.9965
6 | 2690768.5531 | 1251615.3533 | 2690778.8171 | 1251619.914
7 | 2690768.5531 | 1251615.3533 | 2690757.3846 | 1251610.5438
8 | 2690645.2451 | 1251771.8415 | 2690652.9621 | 1251774.6283 | 2690675.9069 | 1251788.0786
9 | 2690645.2451 | 1251771.8415 | 2690638.6843 | 1251773.8982 | 2690636.5236 | 1251776.4894 | 2690633.7171 | 1251781.8172 | 2690632.6915 | 1251784.2145
10 | 2690763.8703 | 1251683.4894 | 2690765.6614 | 1251680.8926 | 2690776.3098 | 1251659.3837 | 2690777.1195 | 1251650.3892 | 2690767.3723 | 1251645.9965
11 | 2690703.7028 | 1251592.2427 | 2690668.5936 | 1251576.5156
12 | 2690703.7028 | 1251592.2427 | 2690700.0864 | 1251600.1712 | 2690666.4188 | 1251643.9846
13 | 2690668.5936 | 1251576.5156 | 2690672.0485 | 1251573.2215 | 2690678.2132 | 1251575.932
14 | 2690645.7998 | 1251670.8171 | 2690666.4188 | 1251643.9846
15 | 2690937.0249 | 1251680.9976 | 2690947.4715 | 1251689.3866
16 | 2690937.0249 | 1251680.9976 | 2690933.7625 | 1251685.0284 | 2690929.4891 | 1251690.5004 | 2690926.0406 | 1251688.457 | 2690943.4637 | 1251666.7521
17 | 2690911.1753 | 1251687.139 | 2690914.9802 | 1251689.0767 | 2690916.7883 | 1251689.3046 | 2690920.3928 | 1251688.07 | 2690922.5922 | 1251686.4136 | 2690926.0406 | 1251688.457 | 2690929.4891 | 1251690.5004 | 2690933.7625 | 1251685.0284 | 2690937.0249 | 1251680.9976
18 | 2690931.2671 | 1251702.0254 | 2690928.5871 | 1251700.0828 | 2690927.2777 | 1251698.8395 | 2690926.5558 | 1251697.1827 | 2690926.5793 | 1251695.1593 | 2690927.4752 | 1251693.3494 | 2690929.4891 | 1251690.5004 | 2690933.7625 | 1251685.0284 | 2690937.0249 | 1251680.9976
19 | 2690937.0249 | 1251680.9976 | 2690953.2598 | 1251660.0652
20 | 2690947.4715 | 1251689.3866 | 2690948.4557 | 1251690.1801 | 2690958.9785 | 1251687.7063 | 2690974.5079 | 1251699.2997
21 | 2690962.4124 | 1251644.0144 | 2690943.4637 | 1251666.7521
22 | 2690943.4637 | 1251666.7521 | 2690921.4613 | 1251653.8713 | 2690920.9433 | 1251653.4183
23 | 2690911.1753 | 1251687.139 | 2690902.2309 | 1251681.6976 | 2690888.459 | 1251673.0687 | 2690881.6641 | 1251668.9201
24 | 2690903.206 | 1251705.2084 | 2690905.7991 | 1251701.512 | 2690906.0317 | 1251699.6364 | 2690905.63 | 1251697.7732 | 2690904.5538 | 1251696.0888 | 2690907.9918 | 1251691.4379 | 2690911.1753 | 1251687.139
25 | 2690931.2671 | 1251702.0254 | 2690937.4313 | 1251706.1453 | 2690950.9606 | 1251716.4397
26 | 2690778.8171 | 1251619.914 | 2690785.9311 | 1251623.1477 | 2690822.8844 | 1251639.1818 | 2690832.5405 | 1251643.642
27 | 2690778.8171 | 1251619.914 | 2690778.4461 | 1251619.4969 | 2690777.6448 | 1251616.6158 | 2690777.0542 | 1251613.7823 | 2690777.6153 | 1251609.1874 | 2690786.3414 | 1251595.3994 | 2690792.3487 | 1251587.5384
28 | 2690757.3846 | 1251610.5438 | 2690737.9178 | 1251602.1608
29 | 2690966.9083 | 1251729.2154 | 2690952.3016 | 1251717.46 | 2690950.9606 | 1251716.4397
30 | 2690903.206 | 1251705.2084 | 2690900.2219 | 1251708.3206 | 2690883.9239 | 1251730.0206
31 | 2690859.566 | 1251765.8857 | 2690874.2332 | 1251746.6514 | 2690883.9239 | 1251730.0206
32 | 2690856.3487 | 1251654.8724 | 2690868.0206 | 1251660.5901 | 2690881.6641 | 1251668.9201
33 | 2690675.9069 | 1251788.0786 | 2690682.4614 | 1251783.4753 | 2690695.2076 | 1251769.6479
34 | 2690719.0069 | 1251813.7579 | 2690687.4077 | 1251797.6285 | 2690676.8711 | 1251792.152 | 2690675.9069 | 1251788.0786
35 | 2690632.6915 | 1251784.2145 | 2690607.2483 | 1251771.1928
36 | 2690750.2149 | 1251703.2065 | 2690740.898 | 1251716.6519 | 2690738.2253 | 1251719.7091
37 | 2690750.2149 | 1251703.2065 | 2690762.412 | 1251685.5951
38 | 2690735.9577 | 1251722.3028 | 2690738.2253 | 1251719.7091
39 | 2690763.8703 | 1251683.4894 | 2690762.412 | 1251685.5951
40 | 2690735.9577 | 1251722.3028 | 2690728.4745 | 1251730.8615 | 2690709.327 | 1251754.3308
41 | 2690709.327 | 1251754.3308 | 2690695.2076 | 1251769.6479
42 | 2690678.2132 | 1251575.932 | 2690698.3436 | 1251584.783
43 | 2690628.9088 | 1251688.1052 | 2690638.5707 | 1251680.2247 | 2690645.7998 | 1251670.8171
44 | 2690859.566 | 1251765.8857 | 2690849.4346 | 1251778.7736 | 2690824.9629 | 1251809.7778
45 | 2690824.9629 | 1251809.7778 | 2690801.7826 | 1251839.7678 | 2690799.2374 | 1251843.0108
46 | 2690824.9629 | 1251809.7778 | 2690812.6141 | 1251800.4147 | 2690821.2052 | 1251789.2849
47 | 2690962.4124 | 1251644.0144 | 2690974.3216 | 1251628.4504
48 | 2690917.885 | 1251647.8674 | 2690918.3032 | 1251651.1096 | 2690920.9433 | 1251653.4183
49 | 2690821.2052 | 1251789.2849 | 2690822.2057 | 1251787.9888
50 | 2690832.5405 | 1251643.642 | 2690848.0089 | 1251650.7869 | 2690856.3487 | 1251654.8724
51 | 2690831.5148 | 1251539.1252 | 2690830.6107 | 1251539.9908 | 2690819.1992 | 1251553.1483 | 2690804.0047 | 1251572.2856 | 2690792.3487 | 1251587.5384
52 | 2690864.2463 | 1251541.0517 | 2690879.0601 | 1251550.3331
53 | 2690864.2463 | 1251541.0517 | 2690843.7458 | 1251574.3549
54 | 2690909.1561 | 1251568.3948 | 2690881.1661 | 1251551.6526 | 2690879.0601 | 1251550.3331
55 | 2690842.4782 | 1251576.4143 | 2690843.7458 | 1251574.3549
56 | 2690716.7885 | 1251592.8929 | 2690735.4597 | 1251601.1023 | 2690737.9178 | 1251602.1608
57 | 2690792.7032 | 1251722.0384 | 2690807.6881 | 1251707.7745
58 | 2690792.7032 | 1251722.0384 | 2690788.9497 | 1251725.6059 | 2690785.1496 | 1251730.747
59 | 2690966.9083 | 1251729.2154 | 2690971.7866 | 1251733.0155 | 2690977.1676 | 1251737.5015 | 2690978.3441 | 1251736.0963 | 2690997.9843 | 1251712.5687 | 2690999.576 | 1251710.6694 | 2690988.633 | 1251701.6834
60 | 2690716.7885 | 1251592.8929 | 2690698.3436 | 1251584.783
61 | 2690560.9896 | 1251747.5178 | 2690563.6741 | 1251748.8917
62 | 2690591.3578 | 1251763.0601 | 2690563.6741 | 1251748.8917
63 | 2690606.1922 | 1251770.6523 | 2690591.3578 | 1251763.0601
64 | 2690607.2483 | 1251771.1928 | 2690606.1922 | 1251770.6523
65 | 2690844.4296 | 1251759.1977 | 2690822.2057 | 1251787.9888
66 | 2690719.0069 | 1251813.7579 | 2690726.557 | 1251815.119 | 2690736.1889 | 1251796.3751
67 | 2690736.1889 | 1251796.3751 | 2690738.3769 | 1251792.1172
68 | 2690974.3216 | 1251628.4504 | 2690983.7736 | 1251616.0977
69 | 2690988.633 | 1251701.6834 | 2691000.5625 | 1251687.4447
70 | 2690738.3769 | 1251792.1172 | 2690746.5757 | 1251776.1623 | 2690757.7992 | 1251766.7971
71 | 2690785.1496 | 1251730.747 | 2690759.6353 | 1251765.265 | 2690757.7992 | 1251766.7971
72 | 2690992.134 | 1251527.6312 | 2690991.6957 | 1251528.4805
73 | 2691000.9277 | 1251510.7146 | 2690993.0248 | 1251525.9049 | 2690992.134 | 1251527.6312
74 | 2690973.6748 | 1251497.5861 | 2690978.6129 | 1251499.9637 | 2691000.9277 | 1251510.7146
75 | 2690973.6748 | 1251497.5861 | 2690962.6778 | 1251514.4032
76 | 2690944.7259 | 1251534.1988 | 2690946.5147 | 1251531.4952 | 2690955.4469 | 1251525.461 | 2690962.6778 | 1251514.4032
77 | 2691007.1192 | 1251566.1188 | 2691000.8038 | 1251562.9861
78 | 2690997.0769 | 1251598.7118 | 2691008.64 | 1251588.9708 | 2691006.63 | 1251582.724 | 2691005.3548 | 1251578.757 | 2691005.1701 | 1251570.6368 | 2691007.1192 | 1251566.1188
79 | 2690997.0769 | 1251598.7118 | 2690983.7736 | 1251616.0977
80 | 2690997.0769 | 1251598.7118 | 2690987.2147 | 1251591.5883 | 2690983.7436 | 1251590.5231 | 2690980.8934 | 1251588.4781
81 | 2690935.9301 | 1251551.2479 | 2690943.5543 | 1251541.9022 | 2690944.1113 | 1251535.1278 | 2690944.7259 | 1251534.1988
82 | 2690951.0674 | 1251562.3065 | 2690961.9196 | 1251574.8649 | 2690980.8934 | 1251588.4781
83 | 2690935.9301 | 1251551.2479 | 2690948.0428 | 1251558.8063 | 2690950.2301 | 1251561.3375
84 | 2690935.9301 | 1251551.2479 | 2690930.0732 | 1251555.617
85 | 2690951.0674 | 1251562.3065 | 2690950.2301 | 1251561.3375
86 | 2690909.1561 | 1251568.3948 | 2690920.116 | 1251568.4407 | 2690925.2867 | 1251565.4956 | 2690928.0915 | 1251562.2695 | 2690929.3614 | 1251557.7299 | 2690930.0732 | 1251555.617
87 | 2690909.1561 | 1251568.3948 | 2690906.1098 | 1251578.011 | 2690900.8465 | 1251586.9249
88 | 2690900.1887 | 1251588.0389 | 2690900.8465 | 1251586.9249
89 | 2690920.5365 | 1251600.904 | 2690917.6932 | 1251599.1063
90 | 2690900.1887 | 1251588.0389 | 2690917.6932 | 1251599.1063
91 | 2690885.4756 | 1251612.1985 | 2690900.1887 | 1251588.0389

## bus_geodata
| x | y | coords
0 | 2690671.3567 | 1251735.0379
1 | 2690655.9332 | 1251754.5465
2 | 2690650.3911 | 1251762.0007
3 | 2690748.482 | 1251637.4851
4 | 2690751.5257 | 1251638.855
5 | 2690768.5531 | 1251615.3533
6 | 2690645.2451 | 1251771.8415
7 | 2690767.3723 | 1251645.9965
8 | 2690703.7028 | 1251592.2427
9 | 2690668.5936 | 1251576.5156
10 | 2690666.4188 | 1251643.9846
11 | 2690937.0249 | 1251680.9976
12 | 2690947.4715 | 1251689.3866
13 | 2690943.4637 | 1251666.7521
14 | 2690911.1753 | 1251687.139
15 | 2690931.2671 | 1251702.0254
16 | 2690953.2598 | 1251660.0652
17 | 2690778.8171 | 1251619.914
18 | 2690757.3846 | 1251610.5438
19 | 2690950.9606 | 1251716.4397
20 | 2690903.206 | 1251705.2084
21 | 2690883.9239 | 1251730.0206
22 | 2690881.6641 | 1251668.9201
23 | 2690675.9069 | 1251788.0786
24 | 2690632.6915 | 1251784.2145
25 | 2690750.2149 | 1251703.2065
26 | 2690738.2253 | 1251719.7091
27 | 2690762.412 | 1251685.5951
28 | 2690709.327 | 1251754.3308
29 | 2690735.9577 | 1251722.3028
30 | 2690695.2076 | 1251769.6479
31 | 2690763.8703 | 1251683.4894
32 | 2690678.2132 | 1251575.932
33 | 2690645.7998 | 1251670.8171
34 | 2690974.5079 | 1251699.2997
35 | 2690859.566 | 1251765.8857
36 | 2690824.9629 | 1251809.7778
37 | 2690962.4124 | 1251644.0144
38 | 2690920.9433 | 1251653.4183
39 | 2690799.2374 | 1251843.0108
40 | 2690821.2052 | 1251789.2849
41 | 2690832.5405 | 1251643.642
42 | 2690792.3487 | 1251587.5384
43 | 2690864.2463 | 1251541.0517
44 | 2690879.0601 | 1251550.3331
45 | 2690843.7458 | 1251574.3549
46 | 2690737.9178 | 1251602.1608
47 | 2690807.6881 | 1251707.7745
48 | 2690792.7032 | 1251722.0384
49 | 2690966.9083 | 1251729.2154
50 | 2690856.3487 | 1251654.8724
51 | 2690628.9088 | 1251688.1052
52 | 2690698.3436 | 1251584.783
53 | 2690563.6741 | 1251748.8917
54 | 2690560.9896 | 1251747.5178
55 | 2690591.3578 | 1251763.0601
56 | 2690606.1922 | 1251770.6523
57 | 2690607.2483 | 1251771.1928
58 | 2690822.2057 | 1251787.9888
59 | 2690844.4296 | 1251759.1977
60 | 2690719.0069 | 1251813.7579
61 | 2690736.1889 | 1251796.3751
62 | 2690974.3216 | 1251628.4504
63 | 2690917.885 | 1251647.8674
64 | 2690831.5148 | 1251539.1252
65 | 2690988.633 | 1251701.6834
66 | 2691000.5625 | 1251687.4447
67 | 2690738.3769 | 1251792.1172
68 | 2690757.7992 | 1251766.7971
69 | 2690785.1496 | 1251730.747
70 | 2690992.134 | 1251527.6312
71 | 2690991.6957 | 1251528.4805
72 | 2691000.9277 | 1251510.7146
73 | 2690973.6748 | 1251497.5861
74 | 2690962.6778 | 1251514.4032
75 | 2691007.1192 | 1251566.1188
76 | 2691000.8038 | 1251562.9861
77 | 2690997.0769 | 1251598.7118
78 | 2690944.7259 | 1251534.1988
79 | 2690983.7736 | 1251616.0977
80 | 2690980.8934 | 1251588.4781
81 | 2690935.9301 | 1251551.2479
82 | 2690950.2301 | 1251561.3375
83 | 2690930.0732 | 1251555.617
84 | 2690951.0674 | 1251562.3065
85 | 2690909.1561 | 1251568.3948
86 | 2690900.8465 | 1251586.9249
87 | 2690842.4782 | 1251576.4143
88 | 2690920.5365 | 1251600.904
89 | 2690917.6932 | 1251599.1063
90 | 2690900.1887 | 1251588.0389
91 | 2690885.4756 | 1251612.1985
92 | 2690716.7885 | 1251592.8929
93 | 2690763.8703 | 1251683.4894

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98593 | -0.27001 | 0.023423 | 0.0058705
1 | 0.98646 | -0.25957 | 0.0056521 | 0.0014165
2 | 0.98671 | -0.25472 | 0.0096882 | 0.0024281
3 | 0.99544 | -0.086285 | 0 | 0
4 | 0.99565 | -0.082211 | 0 | 0
5 | 0.99327 | -0.12754 | 0 | 0
6 | 0.98711 | -0.24702 | 0 | 0
7 | 0.99677 | -0.060971 | 0.0028367 | 0.00071095
8 | 0.99148 | -0.16217 | 0 | 0
9 | 0.99189 | -0.15428 | 0 | 0
10 | 0.9908 | -0.17535 | 0.0015634 | 0.00039183
11 | 0.98346 | -0.31626 | 0 | 0
12 | 0.9834 | -0.31745 | 0 | 0
13 | 0.98219 | -0.34088 | 0 | 0
14 | 0.98478 | -0.2907 | 0 | 0
15 | 0.9829 | -0.32718 | 0 | 0
16 | 0.98324 | -0.32062 | 0.0091348 | 0.0022894
17 | 0.9926 | -0.14029 | 0 | 0
18 | 0.9931 | -0.1309 | 0.00074736 | 0.00018731
19 | 0.98239 | -0.33721 | 0.017878 | 0.0044807
20 | 0.98412 | -0.30352 | 0 | 0
21 | 0.98316 | -0.32235 | 0.010145 | 0.0025425
22 | 0.98653 | -0.25686 | 0.0044676 | 0.0011197
23 | 0.99101 | -0.17168 | 0 | 0
24 | 0.98566 | -0.27506 | 0 | 0
25 | 0.99859 | -0.026665 | 0 | 0
26 | 0.99725 | -0.052151 | 0.012865 | 0.0032242
27 | 1 | 0 | -0.43366 | -0.11079
28 | 0.99447 | -0.10522 | 0 | 0
29 | 0.99704 | -0.056198 | 0 | 0
30 | 0.99318 | -0.12986 | 0.024959 | 0.0062553
31 | 0.99983 | -0.0031492 | 0 | 0
32 | 0.99201 | -0.15191 | 0.00093447 | 0.0002342
33 | 0.99049 | -0.18138 | 0.0016741 | 0.00041958
34 | 0.98326 | -0.32023 | 0.0049105 | 0.0012307
35 | 0.98223 | -0.34046 | 0 | 0
36 | 0.98104 | -0.36378 | 0 | 0
37 | 0.98111 | -0.36179 | 0 | 0
38 | 0.98183 | -0.34792 | 0.0040678 | 0.0010195
39 | 0.98084 | -0.36764 | 0.0050694 | 0.0012705
40 | 0.98054 | -0.37343 | 0.0062453 | 0.0015652
41 | 0.98942 | -0.2012 | 0.0046408 | 0.0011631
42 | 0.992 | -0.15203 | 0.016468 | 0.0041273
43 | 0.97201 | -0.54036 | 0 | 0
44 | 0.97204 | -0.53958 | 0.0012513 | 0.0003136
45 | 0.97192 | -0.54211 | 0.0012841 | 0.00032184
46 | 0.99281 | -0.13648 | 0.00066135 | 0.00016575
47 | 0.98463 | -0.29559 | 0.013078 | 0.0032776
48 | 0.98487 | -0.29073 | 0 | 0
49 | 0.9823 | -0.33902 | 0 | 0
50 | 0.98803 | -0.2279 | 0.0030423 | 0.00076247
51 | 0.99031 | -0.185 | 0.0083661 | 0.0020967
52 | 0.99226 | -0.14703 | 0.00074926 | 0.00018778
53 | 0.9811 | -0.36399 | 0.028408 | 0.0071197
54 | 0.98105 | -0.365 | 0.018406 | 0.0046131
55 | 0.98245 | -0.33767 | 0.013914 | 0.0034873
56 | 0.98338 | -0.31941 | 0.01777 | 0.0044535
57 | 0.98347 | -0.31773 | 0.0045283 | 0.0011349
58 | 0.98053 | -0.37378 | 0.0035809 | 0.00089746
59 | 0.98025 | -0.37918 | 0.0081923 | 0.0020532
60 | 0.98844 | -0.22137 | 0 | 0
61 | 0.987 | -0.24926 | 0.0067329 | 0.0016874
62 | 0.97969 | -0.38959 | 0.0030958 | 0.00077588
63 | 0.98176 | -0.34924 | 0.0108 | 0.0027066
64 | 0.99192 | -0.15348 | 0.0013133 | 0.00032915
65 | 0.98202 | -0.34452 | 0 | 0
66 | 0.98193 | -0.34616 | 0.0048883 | 0.0012251
67 | 0.98679 | -0.25334 | 0.017556 | 0.0043999
68 | 0.98589 | -0.27085 | 0.0089205 | 0.0022357
69 | 0.98501 | -0.28801 | 0.0080186 | 0.0020097
70 | 0.97132 | -0.55397 | 0.0055029 | 0.0013792
71 | 0.97131 | -0.55404 | 0.0041275 | 0.0010345
72 | 0.97149 | -0.55057 | 0 | 0
73 | 0.97176 | -0.54521 | 0 | 0
74 | 0.97194 | -0.54164 | 0.0084639 | 0.0021213
75 | 0.97677 | -0.44653 | 0 | 0
76 | 0.97671 | -0.44772 | 0.0092457 | 0.0023172
77 | 0.97711 | -0.43996 | 0 | 0
78 | 0.9724 | -0.53255 | 0.0041392 | 0.0010374
79 | 0.9786 | -0.41083 | 0.0021156 | 0.00053022
80 | 0.97596 | -0.46246 | 0.0026107 | 0.00065429
81 | 0.97281 | -0.52436 | 0 | 0
82 | 0.97361 | -0.5086 | 0.0083314 | 0.002088
83 | 0.97263 | -0.52791 | 0.0084734 | 0.0021236
84 | 0.97368 | -0.50726 | 0.0041931 | 0.0010509
85 | 0.97217 | -0.5372 | 0 | 0
86 | 0.97189 | -0.54256 | 0.0015553 | 0.00038979
87 | 0.97191 | -0.54216 | 0.0011403 | 0.00028579
88 | 0.97173 | -0.54575 | 0.0036622 | 0.00091785
89 | 0.97174 | -0.54552 | 0.0032846 | 0.0008232
90 | 0.97188 | -0.54286 | 0 | 0
91 | 0.97173 | -0.54585 | 0.0057216 | 0.001434
92 | 0.99251 | -0.14229 | 0.00093363 | 0.00023399
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023423 | -0.0058705 | 0.023435 | 0.0058776 | 1.1655e-05 | 7.1419e-06 | 0.035352 | 0.035352 | 0.035352 | 0.98593 | -0.27001 | 0.98646 | -0.25957 | 9.7121
1 | -0.029087 | -0.0072941 | 0.029094 | 0.0072983 | 6.7219e-06 | 4.1831e-06 | 0.043878 | 0.043878 | 0.043878 | 0.98646 | -0.25957 | 0.98671 | -0.25472 | 12.0543
2 | -0.038782 | -0.0097264 | 0.038796 | 0.0097354 | 1.4246e-05 | 8.9753e-06 | 0.058488 | 0.058488 | 0.058488 | 0.98671 | -0.25472 | 0.98711 | -0.24702 | 16.0681
3 | -0.21156 | -0.05412 | 0.21161 | 0.054147 | 4.1722e-05 | 2.6572e-05 | 0.31664 | 0.31664 | 0.31664 | 0.99544 | -0.086285 | 0.99565 | -0.082211 | 28.9967
4 | 0.21156 | 0.05412 | -0.21114 | -0.053852 | 0.00042155 | 0.00026848 | 0.31664 | 0.31664 | 0.31664 | 0.99544 | -0.086285 | 0.99327 | -0.12754 | 28.9967
5 | -0.21161 | -0.054147 | 0.21182 | 0.054285 | 0.00021784 | 0.00013874 | 0.31664 | 0.31664 | 0.31664 | 0.99565 | -0.082211 | 0.99677 | -0.060971 | 28.9967
6 | 0.19548 | 0.049916 | -0.19536 | -0.04984 | 0.00012038 | 7.6606e-05 | 0.29318 | 0.29318 | 0.29318 | 0.99327 | -0.12754 | 0.9926 | -0.14029 | 26.8476
7 | 0.015663 | 0.0039352 | -0.015661 | -0.0039338 | 2.5116e-06 | 1.45e-06 | 0.023469 | 0.023469 | 0.023469 | 0.99327 | -0.12754 | 0.9931 | -0.1309 | 6.4475
8 | -0.12222 | -0.030799 | 0.12267 | 0.031082 | 0.00044227 | 0.00028261 | 0.18431 | 0.18431 | 0.18431 | 0.98711 | -0.24702 | 0.99101 | -0.17168 | 50.6333
9 | 0.083427 | 0.021063 | -0.083315 | -0.020992 | 0.00011192 | 7.1386e-05 | 0.12582 | 0.12582 | 0.12582 | 0.98711 | -0.24702 | 0.98566 | -0.27506 | 34.5653
10 | -0.21466 | -0.054996 | 0.21526 | 0.055381 | 0.00060332 | 0.00038429 | 0.32088 | 0.32088 | 0.32088 | 0.99677 | -0.060971 | 0.99983 | -0.0031492 | 29.3844
11 | -0.011615 | -0.002914 | 0.01162 | 0.0029163 | 4.3735e-06 | 2.304e-06 | 0.017433 | 0.017433 | 0.017433 | 0.99148 | -0.16217 | 0.99189 | -0.15428 | 4.7894
12 | 0.011615 | 0.002914 | -0.011608 | -0.0029102 | 7.2907e-06 | 3.8416e-06 | 0.017433 | 0.017434 | 0.017434 | 0.99148 | -0.16217 | 0.9908 | -0.17535 | 4.7894
13 | -0.01162 | -0.0029163 | 0.011621 | 0.002917 | 1.3115e-06 | 6.9081e-07 | 0.017433 | 0.017433 | 0.017433 | 0.99189 | -0.15428 | 0.99201 | -0.15191 | 4.7893
14 | 0.010045 | 0.0025184 | -0.010042 | -0.0025169 | 2.8879e-06 | 1.4126e-06 | 0.015086 | 0.015086 | 0.015086 | 0.9908 | -0.17535 | 0.99049 | -0.18138 | 4.1444
15 | 0.0049114 | 0.0012307 | -0.0049111 | -0.0012307 | 2.7695e-07 | 7.5573e-09 | 0.0074311 | 0.0074312 | 0.0074312 | 0.98346 | -0.31626 | 0.9834 | -0.31745 | 2.0415
16 | 0.093831 | 0.023805 | -0.09372 | -0.023735 | 0.00011094 | 6.933e-05 | 0.14207 | 0.14207 | 0.14207 | 0.98346 | -0.31626 | 0.98219 | -0.34088 | 13.0104
17 | -0.13067 | -0.033046 | 0.13083 | 0.033147 | 0.00016044 | 0.00010143 | 0.19782 | 0.19781 | 0.19782 | 0.98346 | -0.31626 | 0.98478 | -0.2907 | 18.115
18 | 0.022791 | 0.0057198 | -0.02278 | -0.0057126 | 1.1857e-05 | 7.2511e-06 | 0.034487 | 0.034487 | 0.034487 | 0.98346 | -0.31626 | 0.9829 | -0.32718 | 9.4745
19 | 0.0091367 | 0.0022903 | -0.0091348 | -0.0022894 | 1.8985e-06 | 8.7898e-07 | 0.013824 | 0.013824 | 0.013824 | 0.98346 | -0.31626 | 0.98324 | -0.32062 | 3.7979
20 | 0.0049111 | 0.0012307 | -0.0049105 | -0.0012307 | 6.5136e-07 | 1.7867e-08 | 0.0074312 | 0.0074313 | 0.0074313 | 0.9834 | -0.31745 | 0.98326 | -0.32023 | 2.0416
21 | 0.078847 | 0.020006 | -0.078767 | -0.019956 | 7.9218e-05 | 4.9952e-05 | 0.11954 | 0.11954 | 0.11954 | 0.98219 | -0.34088 | 0.98111 | -0.36179 | 16.4204
22 | 0.014873 | 0.0037293 | -0.014868 | -0.0037265 | 4.9855e-06 | 2.8595e-06 | 0.022533 | 0.022533 | 0.022533 | 0.98219 | -0.34088 | 0.98183 | -0.34792 | 6.1905
23 | -0.16417 | -0.041541 | 0.16444 | 0.041711 | 0.00026708 | 0.00016961 | 0.24821 | 0.24821 | 0.24821 | 0.98478 | -0.2907 | 0.98653 | -0.25686 | 22.7295
24 | 0.03334 | 0.0083944 | -0.03332 | -0.0083816 | 2.0418e-05 | 1.2795e-05 | 0.050391 | 0.050391 | 0.050391 | 0.98478 | -0.2907 | 0.98412 | -0.30352 | 13.8437
25 | 0.02278 | 0.0057126 | -0.022769 | -0.0057059 | 1.0889e-05 | 6.6599e-06 | 0.034487 | 0.034487 | 0.034487 | 0.9829 | -0.32718 | 0.98239 | -0.33721 | 9.4745
26 | 0.17757 | 0.045378 | -0.17705 | -0.045047 | 0.00052143 | 0.00033145 | 0.2665 | 0.2665 | 0.2665 | 0.9926 | -0.14029 | 0.98942 | -0.2012 | 24.4052
27 | 0.017792 | 0.0044616 | -0.017782 | -0.0044557 | 9.9464e-06 | 5.8841e-06 | 0.026672 | 0.026672 | 0.026672 | 0.9926 | -0.14029 | 0.992 | -0.15203 | 7.3276
28 | 0.014914 | 0.0037465 | -0.01491 | -0.0037442 | 3.9699e-06 | 2.2666e-06 | 0.022349 | 0.022349 | 0.022349 | 0.9931 | -0.1309 | 0.99281 | -0.13648 | 6.1398
29 | 0.0048904 | 0.0012252 | -0.00489 | -0.0012252 | 4.2045e-07 | 1.0384e-08 | 0.0074072 | 0.0074073 | 0.0074073 | 0.98239 | -0.33721 | 0.9823 | -0.33902 | 2.035
30 | 0.03332 | 0.0083816 | -0.03329 | -0.0083628 | 2.9948e-05 | 1.8767e-05 | 0.050391 | 0.050391 | 0.050391 | 0.98412 | -0.30352 | 0.98316 | -0.32235 | 13.8437
31 | 0.023145 | 0.0058204 | -0.023125 | -0.0058081 | 1.9997e-05 | 1.2247e-05 | 0.035037 | 0.035038 | 0.035038 | 0.98316 | -0.32235 | 0.98223 | -0.34046 | 9.6257
32 | -0.16891 | -0.042831 | 0.16914 | 0.04298 | 0.00023547 | 0.00014959 | 0.25494 | 0.25494 | 0.25494 | 0.98653 | -0.25686 | 0.98803 | -0.2279 | 23.3465
33 | -0.17723 | -0.044855 | 0.17759 | 0.045082 | 0.00035647 | 0.00022745 | 0.26627 | 0.26627 | 0.26627 | 0.99101 | -0.17168 | 0.99318 | -0.12986 | 36.5754
34 | 0.054564 | 0.013773 | -0.054434 | -0.013691 | 0.00012956 | 8.2257e-05 | 0.081964 | 0.081964 | 0.081964 | 0.99101 | -0.17168 | 0.98844 | -0.22137 | 22.5176
35 | 0.083315 | 0.020992 | -0.083145 | -0.020884 | 0.00016967 | 0.00010823 | 0.12582 | 0.12582 | 0.12582 | 0.98566 | -0.27506 | 0.98347 | -0.31773 | 34.5653
36 | 0.21644 | 0.055215 | -0.21617 | -0.055045 | 0.00026605 | 0.00016947 | 0.32286 | 0.32286 | 0.32286 | 0.99859 | -0.026665 | 0.99725 | -0.052151 | 29.5657
37 | -0.21644 | -0.055215 | 0.21671 | 0.055392 | 0.00027913 | 0.0001778 | 0.32286 | 0.32286 | 0.32286 | 0.99859 | -0.026665 | 1 | 0 | 29.5657
38 | 0.2033 | 0.051821 | -0.20326 | -0.051796 | 3.971e-05 | 2.5279e-05 | 0.30366 | 0.30366 | 0.30366 | 0.99725 | -0.052151 | 0.99704 | -0.056198 | 27.8079
39 | 0.2153 | 0.055402 | -0.21526 | -0.055381 | 3.2966e-05 | 2.0997e-05 | 0.32088 | 0.32088 | 0.32088 | 1 | 0 | 0.99983 | -0.0031492 | 29.3844
40 | -0.20279 | -0.05149 | 0.20326 | 0.051796 | 0.00047963 | 0.00030534 | 0.30366 | 0.30366 | 0.30366 | 0.99447 | -0.10522 | 0.99704 | -0.056198 | 27.8079
41 | 0.20279 | 0.05149 | -0.20255 | -0.051337 | 0.00024012 | 0.00015287 | 0.30366 | 0.30366 | 0.30366 | 0.99447 | -0.10522 | 0.99318 | -0.12986 | 27.8079
42 | -0.012555 | -0.0031512 | 0.012558 | 0.0031528 | 2.9254e-06 | 1.5882e-06 | 0.018835 | 0.018835 | 0.018835 | 0.99201 | -0.15191 | 0.99226 | -0.14703 | 5.1744
43 | 0.0083676 | 0.0020974 | -0.0083661 | -0.0020967 | 1.4419e-06 | 6.097e-07 | 0.012571 | 0.012571 | 0.012571 | 0.99049 | -0.18138 | 0.99031 | -0.185 | 3.4535
44 | 0.023125 | 0.0058081 | -0.023099 | -0.0057924 | 2.5705e-05 | 1.5745e-05 | 0.035038 | 0.035038 | 0.035038 | 0.98223 | -0.34046 | 0.98104 | -0.36378 | 9.6258
45 | 0.0050703 | 0.0012706 | -0.0050694 | -0.0012705 | 9.3213e-07 | 6.6022e-08 | 0.0076905 | 0.0076907 | 0.0076907 | 0.98104 | -0.36378 | 0.98084 | -0.36764 | 2.1128
46 | 0.018029 | 0.0045218 | -0.018021 | -0.0045169 | 8.2894e-06 | 4.9322e-06 | 0.027347 | 0.027347 | 0.027347 | 0.98104 | -0.36378 | 0.98054 | -0.37343 | 7.513
47 | 0.078767 | 0.019956 | -0.078662 | -0.019889 | 0.00010502 | 6.6965e-05 | 0.11954 | 0.11954 | 0.11954 | 0.98111 | -0.36179 | 0.97969 | -0.38959 | 32.8409
48 | 0.0108 | 0.002707 | -0.0108 | -0.0027066 | 6.8082e-07 | 3.5003e-07 | 0.016368 | 0.016368 | 0.016368 | 0.98183 | -0.34792 | 0.98176 | -0.34924 | 4.4968
49 | 0.011776 | 0.0029516 | -0.011775 | -0.0029515 | 1.9608e-07 | 1.0484e-07 | 0.01787 | 0.01787 | 0.01787 | 0.98054 | -0.37343 | 0.98053 | -0.37378 | 4.9094
50 | 0.1724 | 0.043884 | -0.17218 | -0.043743 | 0.00022164 | 0.00014084 | 0.25953 | 0.25953 | 0.25953 | 0.98942 | -0.2012 | 0.98803 | -0.2279 | 23.7661
51 | 0.0013134 | 0.00032841 | -0.0013133 | -0.00032915 | 9.0672e-08 | -7.4622e-07 | 0.0019699 | 0.0019702 | 0.0019702 | 0.992 | -0.15203 | 0.99192 | -0.15348 | 0.54126
52 | -0.0024247 | -0.00060724 | 0.0024247 | 0.00060708 | 9.031e-08 | -1.5889e-07 | 0.0037117 | 0.0037116 | 0.0037117 | 0.97201 | -0.54036 | 0.97204 | -0.53958 | 1.0197
53 | 0.0024247 | 0.00060724 | -0.0024244 | -0.0006076 | 2.0205e-07 | -3.5538e-07 | 0.0037117 | 0.0037119 | 0.0037119 | 0.97201 | -0.54036 | 0.97192 | -0.54211 | 1.0197
54 | -0.003676 | -0.00092068 | 0.0036764 | 0.00092051 | 4.1677e-07 | -1.6843e-07 | 0.0056271 | 0.0056269 | 0.0056271 | 0.97204 | -0.53958 | 0.97217 | -0.5372 | 1.5459
55 | 0.0011403 | 0.00028576 | -0.0011403 | -0.00028579 | 2.7639e-09 | -2.8199e-08 | 0.0017458 | 0.0017458 | 0.0017458 | 0.97192 | -0.54211 | 0.97191 | -0.54216 | 0.47962
56 | 0.014248 | 0.0035785 | -0.014244 | -0.0035762 | 3.9468e-06 | 2.2277e-06 | 0.021358 | 0.021358 | 0.021358 | 0.99281 | -0.13648 | 0.99251 | -0.14229 | 5.8676
57 | -0.013078 | -0.0032776 | 0.013081 | 0.0032793 | 3.0303e-06 | 1.6762e-06 | 0.019764 | 0.019764 | 0.019764 | 0.98463 | -0.29559 | 0.98487 | -0.29073 | 5.4296
58 | -0.013081 | -0.0032793 | 0.013082 | 0.0032802 | 1.6949e-06 | 9.3748e-07 | 0.019764 | 0.019764 | 0.019764 | 0.98487 | -0.29073 | 0.98501 | -0.28801 | 5.4295
59 | 0.00489 | 0.0012252 | -0.0048887 | -0.0012251 | 1.2821e-06 | 3.2003e-08 | 0.0074073 | 0.0074076 | 0.0074076 | 0.9823 | -0.33902 | 0.98202 | -0.34452 | 2.0351
60 | -0.013308 | -0.0033406 | 0.013311 | 0.0033422 | 3.0098e-06 | 1.6659e-06 | 0.019958 | 0.019958 | 0.019958 | 0.99226 | -0.14703 | 0.99251 | -0.14229 | 5.483
61 | 0.018407 | 0.0046136 | -0.018406 | -0.0046131 | 8.8141e-07 | 5.2602e-07 | 0.027918 | 0.027918 | 0.027918 | 0.9811 | -0.36399 | 0.98105 | -0.365 | 7.6698
62 | -0.046815 | -0.011733 | 0.046874 | 0.011771 | 5.8794e-05 | 3.7235e-05 | 0.071004 | 0.071003 | 0.071004 | 0.9811 | -0.36399 | 0.98245 | -0.33767 | 19.5065
63 | -0.060788 | -0.015258 | 0.060841 | 0.015291 | 5.2983e-05 | 3.3698e-05 | 0.092078 | 0.092078 | 0.092078 | 0.98245 | -0.33767 | 0.98338 | -0.31941 | 25.2962
64 | -0.078611 | -0.019745 | 0.078617 | 0.019749 | 6.2963e-06 | 4.0146e-06 | 0.11897 | 0.11897 | 0.11897 | 0.98338 | -0.31941 | 0.98347 | -0.31773 | 32.683
65 | 0.0081944 | 0.0020541 | -0.0081923 | -0.0020532 | 2.1093e-06 | 8.9131e-07 | 0.012436 | 0.012436 | 0.012436 | 0.98053 | -0.37378 | 0.98025 | -0.37918 | 3.4165
66 | 0.054434 | 0.013691 | -0.054362 | -0.013645 | 7.2418e-05 | 4.598e-05 | 0.081964 | 0.081964 | 0.081964 | 0.98844 | -0.22137 | 0.987 | -0.24926 | 22.5176
67 | 0.047629 | 0.011957 | -0.04762 | -0.011952 | 9.2581e-06 | 5.864e-06 | 0.071813 | 0.071813 | 0.071813 | 0.987 | -0.24926 | 0.98679 | -0.25334 | 19.729
68 | 0.075567 | 0.019113 | -0.07549 | -0.019064 | 7.6923e-05 | 4.9035e-05 | 0.11484 | 0.11484 | 0.11484 | 0.97969 | -0.38959 | 0.9786 | -0.41083 | 31.5491
69 | 0.0048887 | 0.0012251 | -0.0048883 | -0.0012251 | 3.8224e-07 | 9.6405e-09 | 0.0074076 | 0.0074077 | 0.0074077 | 0.98202 | -0.34452 | 0.98193 | -0.34616 | 2.0351
70 | 0.030064 | 0.0075517 | -0.030039 | -0.007536 | 2.5098e-05 | 1.5647e-05 | 0.04534 | 0.04534 | 0.04534 | 0.98679 | -0.25334 | 0.98589 | -0.27085 | 12.4562
71 | 0.021118 | 0.0053003 | -0.021101 | -0.0052899 | 1.7267e-05 | 1.0474e-05 | 0.031877 | 0.031877 | 0.031877 | 0.98589 | -0.27085 | 0.98501 | -0.28801 | 8.7574
72 | 0.0041276 | 0.0010345 | -0.0041275 | -0.0010345 | 1.433e-08 | -2.6582e-09 | 0.0063232 | 0.0063232 | 0.0063232 | 0.97132 | -0.55397 | 0.97131 | -0.55404 | 1.7372
73 | -0.0096304 | -0.0024136 | 0.009632 | 0.0024144 | 1.5562e-06 | 7.5995e-07 | 0.014753 | 0.014753 | 0.014753 | 0.97132 | -0.55397 | 0.97149 | -0.55057 | 4.0531
74 | -0.009632 | -0.0024144 | 0.0096345 | 0.0024156 | 2.463e-06 | 1.2026e-06 | 0.014753 | 0.014753 | 0.014753 | 0.97149 | -0.55057 | 0.97176 | -0.54521 | 4.0531
75 | -0.0096345 | -0.0024156 | 0.0096361 | 0.0024164 | 1.64e-06 | 8.0065e-07 | 0.014753 | 0.014753 | 0.014753 | 0.97176 | -0.54521 | 0.97194 | -0.54164 | 4.0531
76 | -0.0181 | -0.0045376 | 0.018108 | 0.0045423 | 7.8422e-06 | 4.6814e-06 | 0.027711 | 0.027711 | 0.027711 | 0.97194 | -0.54164 | 0.9724 | -0.53255 | 7.613
77 | 0.0092462 | 0.0023174 | -0.0092457 | -0.0023172 | 5.2328e-07 | 2.4687e-07 | 0.014086 | 0.014086 | 0.014086 | 0.97677 | -0.44653 | 0.97671 | -0.44772 | 3.8697
78 | -0.0092462 | -0.0023174 | 0.0092491 | 0.0023188 | 2.8936e-06 | 1.3649e-06 | 0.014086 | 0.014086 | 0.014086 | 0.97677 | -0.44653 | 0.97711 | -0.43996 | 3.8697
79 | -0.073272 | -0.018469 | 0.073374 | 0.018534 | 0.00010228 | 6.5187e-05 | 0.11162 | 0.11162 | 0.11162 | 0.97711 | -0.43996 | 0.9786 | -0.41083 | 30.6654
80 | 0.064023 | 0.01615 | -0.063954 | -0.016106 | 6.8869e-05 | 4.3835e-05 | 0.097536 | 0.097537 | 0.097537 | 0.97711 | -0.43996 | 0.97596 | -0.46246 | 26.7957
81 | -0.022247 | -0.0055797 | 0.022256 | 0.005585 | 8.681e-06 | 5.308e-06 | 0.034045 | 0.034045 | 0.034045 | 0.9724 | -0.53255 | 0.97281 | -0.52436 | 9.353
82 | 0.061343 | 0.015452 | -0.061212 | -0.015369 | 0.00013113 | 8.3423e-05 | 0.093556 | 0.093556 | 0.093556 | 0.97596 | -0.46246 | 0.97368 | -0.50726 | 25.7023
83 | -0.048647 | -0.012204 | 0.048684 | 0.012227 | 3.6596e-05 | 2.3202e-05 | 0.074415 | 0.074415 | 0.074415 | 0.97281 | -0.52436 | 0.97361 | -0.5086 | 20.4437
84 | 0.026391 | 0.0066191 | -0.026387 | -0.0066163 | 4.4657e-06 | 2.7673e-06 | 0.04037 | 0.04037 | 0.04037 | 0.97281 | -0.52436 | 0.97263 | -0.52791 | 11.0907
85 | -0.057015 | -0.014315 | 0.057019 | 0.014318 | 3.6473e-06 | 2.3183e-06 | 0.087148 | 0.087148 | 0.087148 | 0.97361 | -0.5086 | 0.97368 | -0.50726 | 23.9418
86 | 0.017914 | 0.0044927 | -0.017906 | -0.0044879 | 7.9233e-06 | 4.7219e-06 | 0.027407 | 0.027407 | 0.027407 | 0.97263 | -0.52791 | 0.97217 | -0.5372 | 7.5294
87 | 0.014229 | 0.0035674 | -0.014226 | -0.0035654 | 3.6359e-06 | 2.0736e-06 | 0.02178 | 0.02178 | 0.02178 | 0.97217 | -0.5372 | 0.97189 | -0.54256 | 5.9836
88 | 0.01267 | 0.0031756 | -0.01267 | -0.0031755 | 1.8257e-07 | 1.0081e-07 | 0.019399 | 0.019399 | 0.019399 | 0.97189 | -0.54256 | 0.97188 | -0.54286 | 5.3294
89 | -0.0036622 | -0.00091785 | 0.0036623 | 0.00091783 | 3.9674e-08 | -1.6283e-08 | 0.005608 | 0.005608 | 0.005608 | 0.97173 | -0.54575 | 0.97174 | -0.54552 | 1.5407
90 | -0.0069469 | -0.001741 | 0.0069478 | 0.0017413 | 8.7881e-07 | 3.0584e-07 | 0.010638 | 0.010638 | 0.010638 | 0.97174 | -0.54552 | 0.97188 | -0.54286 | 2.9224
91 | 0.0057224 | 0.0014341 | -0.0057216 | -0.001434 | 8.1372e-07 | 1.7054e-07 | 0.0087614 | 0.0087615 | 0.0087615 | 0.97188 | -0.54286 | 0.97173 | -0.54585 | 2.407

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44835 | 0.11448

## res_load
| p_mw | q_mvar
0 | 0.023423 | 0.0058705
1 | 0.0056521 | 0.0014165
2 | 0.0096882 | 0.0024281
3 | 0.0028367 | 0.00071095
4 | 0.0015634 | 0.00039183
5 | 0.0091348 | 0.0022894
6 | 0.00074736 | 0.00018731
7 | 0.017878 | 0.0044807
8 | 0.010145 | 0.0025425
9 | 0.0044676 | 0.0011197
10 | 0.012865 | 0.0032242
11 | 0.014693 | 0.0036825
12 | 0.024959 | 0.0062553
13 | 0.00093447 | 0.0002342
14 | 0.0016741 | 0.00041958
15 | 0.0049105 | 0.0012307
16 | 0.0040678 | 0.0010195
17 | 0.0050694 | 0.0012705
18 | 0.0062453 | 0.0015652
19 | 0.0046408 | 0.0011631
20 | 0.016468 | 0.0041273
21 | 0.0012513 | 0.0003136
22 | 0.0012841 | 0.00032184
23 | 0.00066135 | 0.00016575
24 | 0.013078 | 0.0032776
25 | 0.0030423 | 0.00076247
26 | 0.0083661 | 0.0020967
27 | 0.00074926 | 0.00018778
28 | 0.028408 | 0.0071197
29 | 0.018406 | 0.0046131
30 | 0.013914 | 0.0034873
31 | 0.01777 | 0.0044535
32 | 0.0045283 | 0.0011349
33 | 0.0035809 | 0.00089746
34 | 0.0081923 | 0.0020532
35 | 0.0067329 | 0.0016874
36 | 0.0030958 | 0.00077588
37 | 0.0108 | 0.0027066
38 | 0.0013133 | 0.00032915
39 | 0.0048883 | 0.0012251
40 | 0.017556 | 0.0043999
41 | 0.0089205 | 0.0022357
42 | 0.0080186 | 0.0020097
43 | 0.0055029 | 0.0013792
44 | 0.0041275 | 0.0010345
45 | 0.0084639 | 0.0021213
46 | 0.0092457 | 0.0023172
47 | 0.0041392 | 0.0010374
48 | 0.0021156 | 0.00053022
49 | 0.0026107 | 0.00065429
50 | 0.0083314 | 0.002088
51 | 0.0084734 | 0.0021236
52 | 0.0041931 | 0.0010509
53 | 0.0015553 | 0.00038979
54 | 0.0011403 | 0.00028579
55 | 0.0036622 | 0.00091785
56 | 0.0032846 | 0.0008232
57 | 0.0057216 | 0.001434
58 | 0.00093363 | 0.00023399

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1