## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_200-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_200-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_200-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_200-7_0_4_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_200-7_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_200-7_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_200-7_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_200-7_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_200-7_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_200-7_0_4_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_200-7_0_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_200-7_0_4_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_200-7_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_200-7_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_200-7_0_4_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_200-7_0_4_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_200-7_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_200-7_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_200-7_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_200-7_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_200-7_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_200-7_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_200-7_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_200-7_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_200-7_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_200-7_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_200-7_0_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_200-7_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_200-7_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_200-7_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_200-7_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_200-7_0_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_200-7_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_200-7_0_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_200-7_0_4_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_200-7_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_200-7_0_4_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_200-7_0_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_200-7_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_200-7_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_200-7_0_4_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_200-7_0_4_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_200-7_0_4_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_200-7_0_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_200-7_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_MV_504_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_200-7_0_4_load_0 | 0 | 0.0054011 | 0.0013536 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_200-7_0_4_load_54 | 3 | 0.0068937 | 0.0017277 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_200-7_0_4_load_14 | 6 | 0.030055 | 0.0075325 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_200-7_0_4_load_55 | 9 | 0.0059857 | 0.0015002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_200-7_0_4_load_58 | 12 | 0.0077382 | 0.0019394 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_200-7_0_4_load_72 | 14 | 0.037908 | 0.0095005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_200-7_0_4_load_70 | 15 | 0.016568 | 0.0041523 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_200-7_0_4_load_38 | 16 | 0.014132 | 0.0035417 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_200-7_0_4_load_53 | 17 | 0.0075753 | 0.0018986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_200-7_0_4_load_32 | 19 | 0.0049008 | 0.0012283 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_200-7_0_4_load_30 | 20 | 0.0082541 | 0.0020687 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_200-7_0_4_load_56 | 21 | 0.0045112 | 0.0011306 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_200-7_0_4_load_28 | 23 | 0.0096348 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_200-7_0_4_load_29 | 24 | 0.0094343 | 0.0023645 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_200-7_0_4_load_31 | 25 | 0.0046039 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_200-7_0_4_load_50 | 26 | 0.011451 | 0.0028698 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_200-7_0_4_load_33 | 27 | 0.0029794 | 0.00074672 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_200-7_0_4_load_34 | 28 | 0.002401 | 0.00060176 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_200-7_0_4_load_35 | 29 | 0.015519 | 0.0038894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_200-7_0_4_load_69 | 31 | 0.061095 | 0.015312 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_200-7_0_4_load_73 | 34 | 0.013021 | 0.0032633 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_200-7_0_4_load_71 | 37 | 0.0096889 | 0.0024283 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_200-7_0_4_load_62 | 41 | 0.0091222 | 0.0022862 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_200-7_0_4_load_61 | 42 | 0.0038615 | 0.00096778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_200-7_0_4_load_68 | 43 | 0.029579 | 0.0074131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_200-7_0_4_load_63 | 44 | 0.010655 | 0.0026704 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_200-7_0_4_line_0 |  | 0 | 1 | 0.029331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_200-7_0_4_line_1 |  | 1 | 2 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_200-7_0_4_line_2 |  | 2 | 3 | 0.014902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_200-7_0_4_line_3 |  | 3 | 9 | 0.023136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_200-7_0_4_line_4 |  | 4 | 5 | 0.009765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_200-7_0_4_line_5 |  | 4 | 6 | 0.037822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_200-7_0_4_line_6 |  | 5 | 8 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_200-7_0_4_line_7 |  | 5 | 16 | 0.025791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_200-7_0_4_line_8 |  | 7 | 8 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_200-7_0_4_line_9 |  | 7 | 9 | 0.0029762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_200-7_0_4_line_10 |  | 8 | 17 | 0.047055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_200-7_0_4_line_11 |  | 10 | 11 | 0.045055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_200-7_0_4_line_12 |  | 10 | 12 | 0.024891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_200-7_0_4_line_13 |  | 11 | 15 | 0.05368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_200-7_0_4_line_14 |  | 11 | 13 | 0.026255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_200-7_0_4_line_15 |  | 12 | 39 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_200-7_0_4_line_16 |  | 13 | 14 | 0.032982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_200-7_0_4_line_17 |  | 15 | 37 | 0.03092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_200-7_0_4_line_18 |  | 16 | 18 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_200-7_0_4_line_19 |  | 17 | 26 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_200-7_0_4_line_20 |  | 18 | 28 | 0.036475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_200-7_0_4_line_21 |  | 19 | 20 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_200-7_0_4_line_22 |  | 20 | 23 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_200-7_0_4_line_23 |  | 21 | 22 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_200-7_0_4_line_24 |  | 22 | 30 | 0.090592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_200-7_0_4_line_25 |  | 22 | 29 | 0.058113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_200-7_0_4_line_26 |  | 23 | 24 | 0.032552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_200-7_0_4_line_27 |  | 24 | 25 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_200-7_0_4_line_28 |  | 25 | 26 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_200-7_0_4_line_29 |  | 27 | 28 | 0.031558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_200-7_0_4_line_30 |  | 27 | 29 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_200-7_0_4_line_31 |  | 30 | 31 | 0.054915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_200-7_0_4_line_32 |  | 31 | 33 | 0.055108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_200-7_0_4_line_33 |  | 32 | 33 | 0.015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_200-7_0_4_line_34 |  | 32 | 34 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_200-7_0_4_line_35 |  | 34 | 38 | 0.019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_200-7_0_4_line_36 |  | 35 | 36 | 0.031429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_200-7_0_4_line_37 |  | 35 | 37 | 0.052578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_200-7_0_4_line_38 |  | 36 | 43 | 0.013291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_200-7_0_4_line_39 |  | 36 | 44 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_200-7_0_4_line_40 |  | 36 | 38 | 0.024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_200-7_0_4_line_41 |  | 39 | 40 | 0.009772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_200-7_0_4_line_42 |  | 39 | 42 | 0.033341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_200-7_0_4_line_43 |  | 40 | 41 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_200-7_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 45 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2689595.1087 | 1252650.2104 | 2689597.8735 | 1252647.0498 | 2689601.7633 | 1252622.2204
1 | 2689595.1087 | 1252650.2104 | 2689608.2924 | 1252663.2531
2 | 2689608.2924 | 1252663.2531 | 2689600.912 | 1252676.1993
3 | 2689600.912 | 1252676.1993 | 2689589.4537 | 1252696.2988
4 | 2689567.1583 | 1252734.23 | 2689575.2485 | 1252739.7343
5 | 2689575.2485 | 1252739.7343 | 2689580.2011 | 1252743.1118 | 2689588.3513 | 1252743.1573 | 2689608.3302 | 1252730.4507
6 | 2689567.1583 | 1252734.23 | 2689578.3892 | 1252715.7189
7 | 2689567.1583 | 1252734.23 | 2689564.9291 | 1252737.9103 | 2689547.4892 | 1252725.3563
8 | 2689587.9797 | 1252698.8844 | 2689578.3892 | 1252715.7189
9 | 2689587.9797 | 1252698.8844 | 2689589.4537 | 1252696.2988
10 | 2689578.3892 | 1252715.7189 | 2689548.5978 | 1252679.2961
11 | 2689616.8144 | 1252843.1644 | 2689623.6384 | 1252844.0572 | 2689630.083 | 1252852.5612 | 2689638.0301 | 1252847.0661 | 2689641.874 | 1252844.4111 | 2689634.3701 | 1252833.5893
12 | 2689634.3701 | 1252833.5893 | 2689640.7428 | 1252828.4039 | 2689645.0333 | 1252827.1568 | 2689653.6991 | 1252818.5591
13 | 2689616.8144 | 1252843.1644 | 2689615.1286 | 1252840.359 | 2689582.8905 | 1252801.6093
14 | 2689612.0926 | 1252862.9415 | 2689617.3377 | 1252859.4515 | 2689620.6828 | 1252854.843 | 2689620.9303 | 1252853.946 | 2689617.4487 | 1252852.6146 | 2689617.8507 | 1252846.9941 | 2689616.8144 | 1252843.1644
15 | 2689668.2514 | 1252819.9359 | 2689662.0081 | 1252817.573 | 2689653.6991 | 1252818.5591
16 | 2689612.0926 | 1252862.9415 | 2689579.1457 | 1252864.4675
17 | 2689582.8905 | 1252801.6093 | 2689563.1155 | 1252777.8401
18 | 2689534.7598 | 1252716.1932 | 2689547.4892 | 1252725.3563
19 | 2689538.9403 | 1252667.4888 | 2689548.5978 | 1252679.2961
20 | 2689534.7598 | 1252716.1932 | 2689511.5971 | 1252688.0172
21 | 2689478.5908 | 1252593.7058 | 2689485.4202 | 1252602.0554
22 | 2689485.4202 | 1252602.0554 | 2689498.4317 | 1252617.9632
23 | 2689442.1753 | 1252600.5841 | 2689449.7363 | 1252592.6269
24 | 2689437.0822 | 1252651.9577 | 2689435.8218 | 1252626.9751 | 2689437.9762 | 1252624.2499 | 2689420.1968 | 1252603.1432 | 2689424.4277 | 1252599.849 | 2689431.5682 | 1252594.2969 | 2689437.9452 | 1252589.3338 | 2689442.1753 | 1252600.5841
25 | 2689442.1753 | 1252600.5841 | 2689456.1378 | 1252620.5546 | 2689477.5674 | 1252646.6223
26 | 2689519.0413 | 1252643.1604 | 2689498.4317 | 1252617.9632
27 | 2689519.0413 | 1252643.1604 | 2689527.7231 | 1252653.7748
28 | 2689538.9403 | 1252667.4888 | 2689527.7231 | 1252653.7748
29 | 2689491.5568 | 1252663.6396 | 2689511.5971 | 1252688.0172
30 | 2689491.5568 | 1252663.6396 | 2689477.5674 | 1252646.6223
31 | 2689437.0822 | 1252651.9577 | 2689441.4319 | 1252645.296 | 2689445.0913 | 1252644.3616 | 2689449.0969 | 1252645.4896 | 2689458.8335 | 1252660.4259 | 2689472.2745 | 1252676.8095
32 | 2689473.0885 | 1252710.4683 | 2689487.6217 | 1252706.6404 | 2689491.0596 | 1252704.8799 | 2689492.6208 | 1252701.9568 | 2689492.3625 | 1252699.0729 | 2689479.5981 | 1252685.7366 | 2689472.2745 | 1252676.8095
33 | 2689473.0885 | 1252710.4683 | 2689488.2764 | 1252713.7558
34 | 2689488.2764 | 1252713.7558 | 2689487.4352 | 1252718.9804 | 2689487.7124 | 1252729.6038
35 | 2689506.8345 | 1252729.248 | 2689487.7124 | 1252729.6038
36 | 2689508.3635 | 1252753.9122 | 2689507.8292 | 1252745.3198 | 2689511.9539 | 1252742.5577 | 2689525.6243 | 1252741.3856 | 2689528.5143 | 1252738.427
37 | 2689528.5143 | 1252738.427 | 2689531.4024 | 1252740.5834 | 2689534.4923 | 1252743.3655 | 2689538.4923 | 1252747.8517 | 2689543.69 | 1252754.4908 | 2689563.1155 | 1252777.8401
38 | 2689508.3635 | 1252753.9122 | 2689509.2045 | 1252767.1765
39 | 2689508.3635 | 1252753.9122 | 2689491.5406 | 1252754.6181
40 | 2689506.8345 | 1252729.248 | 2689507.8292 | 1252745.3198 | 2689508.3635 | 1252753.9122
41 | 2689662.4642 | 1252827.821 | 2689668.2514 | 1252819.9359
42 | 2689668.2514 | 1252819.9359 | 2689691.6789 | 1252796.213
43 | 2689662.4642 | 1252827.821 | 2689662.8718 | 1252837.83

## bus_geodata
| x | y | coords
0 | 2689601.7633 | 1252622.2204
1 | 2689595.1087 | 1252650.2104
2 | 2689608.2924 | 1252663.2531
3 | 2689600.912 | 1252676.1993
4 | 2689575.2485 | 1252739.7343
5 | 2689567.1583 | 1252734.23
6 | 2689608.3302 | 1252730.4507
7 | 2689587.9797 | 1252698.8844
8 | 2689578.3892 | 1252715.7189
9 | 2689589.4537 | 1252696.2988
10 | 2689634.3701 | 1252833.5893
11 | 2689616.8144 | 1252843.1644
12 | 2689653.6991 | 1252818.5591
13 | 2689612.0926 | 1252862.9415
14 | 2689579.1457 | 1252864.4675
15 | 2689582.8905 | 1252801.6093
16 | 2689547.4892 | 1252725.3563
17 | 2689548.5978 | 1252679.2961
18 | 2689534.7598 | 1252716.1932
19 | 2689478.5908 | 1252593.7058
20 | 2689485.4202 | 1252602.0554
21 | 2689449.7363 | 1252592.6269
22 | 2689442.1753 | 1252600.5841
23 | 2689498.4317 | 1252617.9632
24 | 2689519.0413 | 1252643.1604
25 | 2689527.7231 | 1252653.7748
26 | 2689538.9403 | 1252667.4888
27 | 2689491.5568 | 1252663.6396
28 | 2689511.5971 | 1252688.0172
29 | 2689477.5674 | 1252646.6223
30 | 2689437.0822 | 1252651.9577
31 | 2689472.2745 | 1252676.8095
32 | 2689488.2764 | 1252713.7558
33 | 2689473.0885 | 1252710.4683
34 | 2689487.7124 | 1252729.6038
35 | 2689528.5143 | 1252738.427
36 | 2689508.3635 | 1252753.9122
37 | 2689563.1155 | 1252777.8401
38 | 2689506.8345 | 1252729.248
39 | 2689668.2514 | 1252819.9359
40 | 2689662.4642 | 1252827.821
41 | 2689662.8718 | 1252837.83
42 | 2689691.6789 | 1252796.213
43 | 2689509.2045 | 1252767.1765
44 | 2689491.5406 | 1252754.6181
45 | 2689567.1583 | 1252734.23

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99344 | -0.12596 | 0.0054011 | 0.0013536
1 | 0.99358 | -0.12317 | 0 | 0
2 | 0.99367 | -0.1214 | 0 | 0
3 | 0.99375 | -0.11998 | 0.0068937 | 0.0017277
4 | 0.99558 | -0.084679 | 0 | 0
5 | 0.99585 | -0.07952 | 0 | 0
6 | 0.99454 | -0.10469 | 0.030055 | 0.0075325
7 | 0.99406 | -0.114 | 0 | 0
8 | 0.99438 | -0.10776 | 0 | 0
9 | 0.99401 | -0.11496 | 0.0059857 | 0.0015002
10 | 0.97091 | -0.56086 | 0 | 0
11 | 0.97178 | -0.54361 | 0 | 0
12 | 0.97043 | -0.57041 | 0.0077382 | 0.0019394
13 | 0.97132 | -0.5528 | 0 | 0
14 | 0.97015 | -0.57593 | 0.037908 | 0.0095005
15 | 0.97276 | -0.52427 | 0.016568 | 0.0041523
16 | 0.9983 | -0.032404 | 0.014132 | 0.0035417
17 | 0.99197 | -0.1542 | 0.0075753 | 0.0018986
18 | 1 | 0 | -0.35013 | -0.089454
19 | 0.98932 | -0.20563 | 0.0049008 | 0.0012283
20 | 0.98937 | -0.20469 | 0.0082541 | 0.0020687
21 | 0.99007 | -0.18798 | 0.0045112 | 0.0011306
22 | 0.99012 | -0.1871 | 0 | 0
23 | 0.98962 | -0.19988 | 0.0096348 | 0.0024147
24 | 0.9903 | -0.18668 | 0.0094343 | 0.0023645
25 | 0.9907 | -0.17883 | 0.0046039 | 0.0011538
26 | 0.9913 | -0.16725 | 0.011451 | 0.0028698
27 | 0.99529 | -0.088795 | 0.0029794 | 0.00074672
28 | 0.99746 | -0.04774 | 0.002401 | 0.00060176
29 | 0.99379 | -0.11717 | 0.015519 | 0.0038894
30 | 0.98452 | -0.2947 | 0 | 0
31 | 0.98113 | -0.36052 | 0.061095 | 0.015312
32 | 0.97809 | -0.41958 | 0 | 0
33 | 0.97876 | -0.40659 | 0 | 0
34 | 0.97741 | -0.43295 | 0.013021 | 0.0032633
35 | 0.97488 | -0.48267 | 0 | 0
36 | 0.97571 | -0.46637 | 0 | 0
37 | 0.97349 | -0.51 | 0.0096889 | 0.0024283
38 | 0.97667 | -0.44752 | 0 | 0
39 | 0.97024 | -0.57402 | 0 | 0
40 | 0.97016 | -0.57567 | 0 | 0
41 | 0.97008 | -0.57736 | 0.0091222 | 0.0022862
42 | 0.97012 | -0.57641 | 0.0038615 | 0.00096778
43 | 0.97534 | -0.47357 | 0.029579 | 0.0074131
44 | 0.97554 | -0.46966 | 0.010655 | 0.0026704
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054011 | -0.0013536 | 0.0054018 | 0.0013537 | 7.1988e-07 | 8.0891e-08 | 0.00809 | 0.0080899 | 0.00809 | 0.99344 | -0.12596 | 0.99358 | -0.12317 | 2.2225
1 | -0.0054018 | -0.0013537 | 0.0054023 | 0.0013538 | 4.5445e-07 | 5.1002e-08 | 0.0080899 | 0.0080898 | 0.0080899 | 0.99358 | -0.12317 | 0.99367 | -0.1214 | 2.2225
2 | -0.0054023 | -0.0013538 | 0.0054027 | 0.0013538 | 3.6572e-07 | 4.1009e-08 | 0.0080898 | 0.0080897 | 0.0080898 | 0.99367 | -0.1214 | 0.99375 | -0.11998 | 2.2225
3 | -0.012296 | -0.0030816 | 0.012299 | 0.0030831 | 2.9413e-06 | 1.5826e-06 | 0.018412 | 0.018412 | 0.018412 | 0.99375 | -0.11998 | 0.99401 | -0.11496 | 5.0583
4 | -0.030084 | -0.0075504 | 0.030091 | 0.007555 | 7.4046e-06 | 4.6119e-06 | 0.044968 | 0.044968 | 0.044968 | 0.99558 | -0.084679 | 0.99585 | -0.07952 | 12.3537
5 | 0.030084 | 0.0075504 | -0.030055 | -0.0075325 | 2.868e-05 | 1.7864e-05 | 0.044968 | 0.044968 | 0.044968 | 0.99558 | -0.084679 | 0.99454 | -0.10469 | 12.3538
6 | 0.07445 | 0.018778 | -0.074349 | -0.018714 | 0.00010049 | 6.4031e-05 | 0.11129 | 0.11129 | 0.11129 | 0.99585 | -0.07952 | 0.99438 | -0.10776 | 30.5733
7 | -0.10454 | -0.026333 | 0.10478 | 0.026484 | 0.00023614 | 0.00015079 | 0.15625 | 0.15625 | 0.15625 | 0.99585 | -0.07952 | 0.9983 | -0.032404 | 42.927
8 | -0.018286 | -0.0045838 | 0.018291 | 0.004587 | 5.4405e-06 | 3.2308e-06 | 0.027373 | 0.027373 | 0.027373 | 0.99406 | -0.114 | 0.99438 | -0.10776 | 7.52
9 | 0.018286 | 0.0045838 | -0.018285 | -0.0045833 | 8.3625e-07 | 4.9662e-07 | 0.027373 | 0.027373 | 0.027373 | 0.99406 | -0.114 | 0.99401 | -0.11496 | 7.52
10 | 0.056058 | 0.014127 | -0.055934 | -0.014048 | 0.00012425 | 7.8913e-05 | 0.083914 | 0.083914 | 0.083914 | 0.99438 | -0.10776 | 0.99197 | -0.1542 | 23.0534
11 | -0.020735 | -0.0052009 | 0.020752 | 0.0052113 | 1.7064e-05 | 1.0364e-05 | 0.031781 | 0.03178 | 0.031781 | 0.97091 | -0.56086 | 0.97178 | -0.54361 | 8.7309
12 | 0.020735 | 0.0052009 | -0.020726 | -0.0051952 | 9.4276e-06 | 5.726e-06 | 0.031781 | 0.031781 | 0.031781 | 0.97091 | -0.56086 | 0.97043 | -0.57041 | 8.731
13 | -0.058719 | -0.014748 | 0.058773 | 0.014781 | 5.4257e-05 | 3.2727e-05 | 0.089923 | 0.089922 | 0.089923 | 0.97178 | -0.54361 | 0.97276 | -0.52427 | 8.2347
14 | 0.037966 | 0.0095369 | -0.037949 | -0.0095269 | 1.6642e-05 | 1e-05 | 0.058142 | 0.058143 | 0.058143 | 0.97178 | -0.54361 | 0.97132 | -0.5528 | 7.9866
15 | 0.012988 | 0.0032558 | -0.012986 | -0.0032546 | 2.2374e-06 | 1.2461e-06 | 0.019915 | 0.019915 | 0.019915 | 0.97043 | -0.57041 | 0.97024 | -0.57402 | 5.4713
16 | 0.037949 | 0.0095269 | -0.037908 | -0.0095005 | 4.1812e-05 | 2.6352e-05 | 0.058143 | 0.058143 | 0.058143 | 0.97132 | -0.5528 | 0.97015 | -0.57593 | 15.9733
17 | -0.075341 | -0.018933 | 0.075392 | 0.018965 | 5.135e-05 | 3.1712e-05 | 0.11527 | 0.11527 | 0.11527 | 0.97276 | -0.52427 | 0.97349 | -0.51 | 10.5555
18 | -0.11891 | -0.030026 | 0.11909 | 0.030144 | 0.00018493 | 0.00011815 | 0.17732 | 0.17732 | 0.17732 | 0.9983 | -0.032404 | 1 | 0 | 48.7137
19 | 0.048359 | 0.01215 | -0.048328 | -0.01213 | 3.0109e-05 | 1.9073e-05 | 0.072551 | 0.072551 | 0.072551 | 0.99197 | -0.1542 | 0.9913 | -0.16725 | 19.9316
20 | 0.22939 | 0.05931 | -0.22885 | -0.05897 | 0.00053322 | 0.00033983 | 0.34198 | 0.34198 | 0.34198 | 1 | 0 | 0.99746 | -0.04774 | 31.3169
21 | -0.0049008 | -0.0012283 | 0.004901 | 0.0012283 | 2.1979e-07 | 2.1466e-09 | 0.0073712 | 0.0073712 | 0.0073712 | 0.98932 | -0.20563 | 0.98937 | -0.20469 | 2.0251
22 | -0.013155 | -0.0032969 | 0.013158 | 0.0032986 | 3.0168e-06 | 1.6668e-06 | 0.019785 | 0.019785 | 0.019785 | 0.98937 | -0.20469 | 0.98962 | -0.19988 | 5.4355
23 | -0.0045112 | -0.0011306 | 0.0045114 | 0.0011306 | 1.8922e-07 | -2.0069e-08 | 0.00678 | 0.00678 | 0.00678 | 0.99007 | -0.18798 | 0.99012 | -0.1871 | 1.8626
24 | 0.20198 | 0.051672 | -0.20094 | -0.051006 | 0.001046 | 0.00066599 | 0.30393 | 0.30393 | 0.30393 | 0.99012 | -0.1871 | 0.98452 | -0.2947 | 27.8325
25 | -0.20649 | -0.052802 | 0.2072 | 0.053249 | 0.00070128 | 0.00044657 | 0.31071 | 0.31071 | 0.31071 | 0.99012 | -0.1871 | 0.99379 | -0.11717 | 28.4532
26 | -0.022793 | -0.0057133 | 0.022807 | 0.0057221 | 1.4338e-05 | 8.758e-06 | 0.034272 | 0.034272 | 0.034272 | 0.98962 | -0.19988 | 0.9903 | -0.18668 | 9.4155
27 | -0.032242 | -0.0080865 | 0.032254 | 0.0080941 | 1.207e-05 | 7.5483e-06 | 0.048448 | 0.048448 | 0.048448 | 0.9903 | -0.18668 | 0.9907 | -0.17883 | 13.3099
28 | -0.036858 | -0.0092479 | 0.036878 | 0.0092607 | 2.0364e-05 | 1.2805e-05 | 0.055363 | 0.055363 | 0.055363 | 0.9907 | -0.17883 | 0.9913 | -0.16725 | 15.2096
29 | -0.226 | -0.058081 | 0.22645 | 0.058369 | 0.00045172 | 0.00028787 | 0.3384 | 0.3384 | 0.3384 | 0.99529 | -0.088795 | 0.99746 | -0.04774 | 30.9889
30 | 0.22302 | 0.057334 | -0.22271 | -0.057138 | 0.00030709 | 0.00019568 | 0.33394 | 0.33395 | 0.33395 | 0.99529 | -0.088795 | 0.99379 | -0.11717 | 30.5811
31 | 0.20094 | 0.051006 | -0.2003 | -0.050602 | 0.00063409 | 0.00040373 | 0.30393 | 0.30393 | 0.30393 | 0.98452 | -0.2947 | 0.98113 | -0.36052 | 27.8326
32 | 0.13921 | 0.03529 | -0.1389 | -0.035096 | 0.00030748 | 0.0001947 | 0.21127 | 0.21127 | 0.21127 | 0.98113 | -0.36052 | 0.97876 | -0.40659 | 19.3474
33 | -0.13881 | -0.035041 | 0.1389 | 0.035096 | 8.6456e-05 | 5.4748e-05 | 0.21127 | 0.21127 | 0.21127 | 0.97809 | -0.41958 | 0.97876 | -0.40659 | 19.3474
34 | 0.13881 | 0.035041 | -0.13873 | -0.034985 | 8.8822e-05 | 5.6247e-05 | 0.21127 | 0.21127 | 0.21127 | 0.97809 | -0.41958 | 0.97741 | -0.43295 | 19.3475
35 | 0.1257 | 0.031721 | -0.12562 | -0.031666 | 8.7627e-05 | 5.5363e-05 | 0.19145 | 0.19145 | 0.19145 | 0.97741 | -0.43295 | 0.97667 | -0.44752 | 17.5322
36 | -0.085192 | -0.021462 | 0.085258 | 0.021504 | 6.647e-05 | 4.1364e-05 | 0.13007 | 0.13007 | 0.13007 | 0.97488 | -0.48267 | 0.97571 | -0.46637 | 11.9116
37 | 0.085192 | 0.021462 | -0.085081 | -0.021393 | 0.0001112 | 6.9203e-05 | 0.13007 | 0.13007 | 0.13007 | 0.97488 | -0.48267 | 0.97349 | -0.51 | 11.9116
38 | 0.029589 | 0.0074194 | -0.029579 | -0.0074131 | 1.0149e-05 | 6.3297e-06 | 0.045126 | 0.045126 | 0.045126 | 0.97571 | -0.46637 | 0.97534 | -0.47357 | 12.3973
39 | 0.010657 | 0.0026713 | -0.010655 | -0.0026704 | 1.6678e-06 | 8.5716e-07 | 0.016252 | 0.016253 | 0.016253 | 0.97571 | -0.46637 | 0.97554 | -0.46966 | 4.465
40 | -0.1255 | -0.031594 | 0.12562 | 0.031666 | 0.00011322 | 7.1535e-05 | 0.19145 | 0.19145 | 0.19145 | 0.97571 | -0.46637 | 0.97667 | -0.44752 | 17.5323
41 | 0.0091236 | 0.0022869 | -0.0091229 | -0.0022866 | 7.1748e-07 | 3.3851e-07 | 0.013993 | 0.013993 | 0.013993 | 0.97024 | -0.57402 | 0.97016 | -0.57567 | 3.8441
42 | 0.0038619 | 0.00096765 | -0.0038615 | -0.00096778 | 4.386e-07 | -1.3101e-07 | 0.0059228 | 0.0059229 | 0.0059229 | 0.97024 | -0.57402 | 0.97012 | -0.57641 | 1.6272
43 | 0.0091229 | 0.0022866 | -0.0091222 | -0.0022862 | 7.3549e-07 | 3.4703e-07 | 0.013993 | 0.013993 | 0.013993 | 0.97016 | -0.57567 | 0.97008 | -0.57736 | 3.8441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35013 | 0.089454

## res_load
| p_mw | q_mvar
0 | 0.0054011 | 0.0013536
1 | 0.0068937 | 0.0017277
2 | 0.030055 | 0.0075325
3 | 0.0059857 | 0.0015002
4 | 0.0077382 | 0.0019394
5 | 0.037908 | 0.0095005
6 | 0.016568 | 0.0041523
7 | 0.014132 | 0.0035417
8 | 0.0075753 | 0.0018986
9 | 0.0049008 | 0.0012283
10 | 0.0082541 | 0.0020687
11 | 0.0045112 | 0.0011306
12 | 0.0096348 | 0.0024147
13 | 0.0094343 | 0.0023645
14 | 0.0046039 | 0.0011538
15 | 0.011451 | 0.0028698
16 | 0.0029794 | 0.00074672
17 | 0.002401 | 0.00060176
18 | 0.015519 | 0.0038894
19 | 0.061095 | 0.015312
20 | 0.013021 | 0.0032633
21 | 0.0096889 | 0.0024283
22 | 0.0091222 | 0.0022862
23 | 0.0038615 | 0.00096778
24 | 0.029579 | 0.0074131
25 | 0.010655 | 0.0026704

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1