## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2175-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2175-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2175-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2175-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2175-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2175-3_0_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2175-3_0_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2175-3_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2175-3_0_2_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_2175-3_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2175-3_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2175-3_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2175-3_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2175-3_0_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_2175-3_0_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2175-3_0_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_2175-3_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2175-3_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2175-3_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2175-3_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2175-3_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2175-3_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2175-3_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2175-3_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2175-3_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2175-3_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2175-3_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2175-3_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_2175-3_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2175-3_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2175-3_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2175-3_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2175-3_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2175-3_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2175-3_0_2_load_0 | 0 | 0.0013862 | 0.00034742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2175-3_0_2_load_1 | 1 | 0.00047572 | 0.00011923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2175-3_0_2_load_3 | 3 | 0.0014751 | 0.00036968 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2175-3_0_2_load_4 | 4 | 0.0046829 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2175-3_0_2_load_18 | 5 | 0.0032364 | 0.00081111 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2175-3_0_2_load_32 | 6 | 0.0016624 | 0.00041664 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2175-3_0_2_load_19 | 7 | 0.0041191 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2175-3_0_2_load_5 | 9 | 0.0026602 | 0.00066671 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2175-3_0_2_load_6 | 10 | 0.0015319 | 0.00038392 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2175-3_0_2_load_7 | 11 | 0.0016477 | 0.00041295 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2175-3_0_2_load_8 | 12 | 0.0015879 | 0.00039796 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2175-3_0_2_load_35 | 15 | 0.0014723 | 0.000369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2175-3_0_2_load_12 | 16 | 0.00095587 | 0.00023956 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2175-3_0_2_load_9 | 17 | 0.0033079 | 0.00082904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2175-3_0_2_load_10 | 18 | 0.0014035 | 0.00035175 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2175-3_0_2_load_11 | 19 | 0.00057653 | 0.00014449 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2175-3_0_2_load_13 | 20 | 0.0031867 | 0.00079866 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2175-3_0_2_load_14 | 21 | 0.00076879 | 0.00019268 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2175-3_0_2_load_15 | 22 | 0.0016801 | 0.00042106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2175-3_0_2_load_21 | 25 | 0.00043255 | 0.00010841 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2175-3_0_2_load_26 | 26 | 0.0039597 | 0.00099239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2175-3_0_2_load_34 | 27 | 0.0012487 | 0.00031295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2175-3_0_2_load_20 | 28 | 0.00034871 | 8.7395e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2175-3_0_2_load_24 | 29 | 0.001706 | 0.00042757 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2175-3_0_2_load_25 | 30 | 0.0035498 | 0.00088966 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2175-3_0_2_load_29 | 32 | 0.0039147 | 0.00098112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2175-3_0_2_load_28 | 33 | 0.0014185 | 0.00035551 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2175-3_0_2_line_0 |  | 0 | 1 | 0.036082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2175-3_0_2_line_1 |  | 0 | 2 | 0.039311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2175-3_0_2_line_2 |  | 1 | 3 | 0.22607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2175-3_0_2_line_3 |  | 2 | 4 | 0.45742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2175-3_0_2_line_4 |  | 3 | 5 | 0.0094762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2175-3_0_2_line_5 |  | 4 | 6 | 0.0061115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2175-3_0_2_line_6 |  | 5 | 7 | 0.0095973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2175-3_0_2_line_7 |  | 6 | 8 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2175-3_0_2_line_8 |  | 7 | 28 | 0.009889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2175-3_0_2_line_9 |  | 8 | 14 | 0.007988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2175-3_0_2_line_10 |  | 8 | 33 | 0.034525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2175-3_0_2_line_11 |  | 9 | 10 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2175-3_0_2_line_12 |  | 9 | 11 | 0.02562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2175-3_0_2_line_13 |  | 10 | 12 | 0.018883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2175-3_0_2_line_14 |  | 11 | 13 | 0.90295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2175-3_0_2_line_15 |  | 12 | 14 | 0.022915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2175-3_0_2_line_16 |  | 13 | 15 | 0.018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2175-3_0_2_line_17 |  | 14 | 16 | 0.12546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2175-3_0_2_line_18 |  | 16 | 19 | 0.018845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2175-3_0_2_line_19 |  | 17 | 18 | 0.022283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2175-3_0_2_line_20 |  | 17 | 19 | 0.17631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2175-3_0_2_line_21 |  | 20 | 21 | 0.0057363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2175-3_0_2_line_22 |  | 20 | 22 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2175-3_0_2_line_23 |  | 21 | 23 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2175-3_0_2_line_24 |  | 23 | 24 | 0.026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2175-3_0_2_line_25 |  | 23 | 25 | 0.092796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2175-3_0_2_line_26 |  | 24 | 26 | 0.028438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2175-3_0_2_line_27 |  | 24 | 27 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2175-3_0_2_line_28 |  | 26 | 29 | 0.071134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2175-3_0_2_line_29 |  | 29 | 30 | 0.19941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2175-3_0_2_line_30 |  | 30 | 31 | 0.012953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2175-3_0_2_line_31 |  | 31 | 32 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2175-3_0_2_line_32 |  | 32 | 33 | 0.0062332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2175-3_0_2_trafo_25 | 0.63 MVA 20/0.4 kV | 34 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2572574.2089 | 1187484.834 | 2572548.0039 | 1187509.6371
1 | 2572602.7526 | 1187457.8049 | 2572590.8806 | 1187469.0543 | 2572574.2089 | 1187484.834
2 | 2572548.0039 | 1187509.6371 | 2572534.4753 | 1187522.4418 | 2572446.2765 | 1187635.5972 | 2572407.2046 | 1187686.2571
3 | 2572602.7526 | 1187457.8049 | 2572706.2517 | 1187522.7651 | 2572812.7835 | 1187580.7874 | 2572907.1652 | 1187624.6147 | 2573006.3974 | 1187671.7406
4 | 2572407.2046 | 1187686.2571 | 2572401.4172 | 1187693.7608
5 | 2573011.918 | 1187674.3623 | 2573006.3974 | 1187671.7406
6 | 2572395.556 | 1187701.3604 | 2572401.4172 | 1187693.7608
7 | 2573023.6132 | 1187679.9165 | 2573011.918 | 1187674.3623
8 | 2572395.556 | 1187701.3604 | 2572389.5166 | 1187709.191
9 | 2573023.6132 | 1187679.9165 | 2573030.8453 | 1187683.3523
10 | 2573023.6132 | 1187679.9165 | 2573010.3146 | 1187711.7776
11 | 2573019.3092 | 1187630.1971 | 2573019.2164 | 1187630.3768 | 2573018.347 | 1187637.1954 | 2573020.6579 | 1187642.1209 | 2573026.5792 | 1187648.4042
12 | 2573019.3092 | 1187630.1971 | 2573031.0658 | 1187607.4342
13 | 2573026.5792 | 1187648.4042 | 2573039.5298 | 1187662.1462
14 | 2573031.0658 | 1187607.4342 | 2573506.8385 | 1186839.9969
15 | 2573030.8453 | 1187683.3523 | 2573039.5298 | 1187662.1462
16 | 2573506.8385 | 1186839.9969 | 2573524.7745 | 1186834.5041
17 | 2573030.8453 | 1187683.3523 | 2573052.0526 | 1187693.5285 | 2573086.2542 | 1187699.3106 | 2573123.9745 | 1187703.8763 | 2573148.363 | 1187707.3462 | 2573152.6351 | 1187709.1034
18 | 2573152.6351 | 1187709.1034 | 2573169.4565 | 1187716.0225 | 2573170.0669 | 1187716.2648
19 | 2573354.7612 | 1187789.2014 | 2573334.1545 | 1187780.722
20 | 2573170.0669 | 1187716.2648 | 2573270.6825 | 1187756.1896 | 2573303.0106 | 1187767.9066 | 2573334.1545 | 1187780.722
21 | 2573014.0433 | 1188052.8518 | 2573019.2124 | 1188055.339
22 | 2573028.9396 | 1188061.5611 | 2573027.0695 | 1188059.5907 | 2573020.8982 | 1188056.1501 | 2573019.2124 | 1188055.339
23 | 2572997.6661 | 1188044.9715 | 2573014.0433 | 1188052.8518
24 | 2573007.2354 | 1188020.5153 | 2572997.6661 | 1188044.9715
25 | 2572997.6661 | 1188044.9715 | 2572990.163 | 1188064.1378 | 2572988.6205 | 1188067.1464 | 2572985.8731 | 1188070.216 | 2572982.2084 | 1188072.8673 | 2572978.0273 | 1188074.3315 | 2572973.4294 | 1188074.7192 | 2572922.3767 | 1188071.6379
26 | 2573007.2354 | 1188020.5153 | 2573018.8868 | 1187995.9718 | 2573019.4714 | 1187994.8456
27 | 2573007.2354 | 1188020.5153 | 2572999.7715 | 1188016.3357 | 2572997.039 | 1188014.5353
28 | 2573019.4714 | 1187994.8456 | 2573032.1509 | 1187970.4205 | 2573034.5695 | 1187963.7839 | 2573035.2754 | 1187957.9442 | 2573035.1063 | 1187952.6089 | 2573034.441 | 1187948.8766 | 2573033.2435 | 1187945.5135 | 2573031.0309 | 1187942.055 | 2573027.8409 | 1187938.3564 | 2573021.0387 | 1187932.4949
29 | 2573007.88 | 1187741.3915 | 2572997.0029 | 1187885.0009 | 2572997.2918 | 1187893.2039 | 2572998.3809 | 1187899.569 | 2573000.5492 | 1187906.7297 | 2573004.3737 | 1187914.0941 | 2573009.1334 | 1187920.7761 | 2573015.3278 | 1187927.5739 | 2573021.0387 | 1187932.4949
30 | 2573008.8583 | 1187728.4755 | 2573007.88 | 1187741.3915
31 | 2573008.8583 | 1187728.4755 | 2573009.7219 | 1187717.9699
32 | 2573009.7219 | 1187717.9699 | 2573010.2104 | 1187712.0274 | 2573010.3146 | 1187711.7776

## bus_geodata
| x | y | coords
0 | 2572574.2089 | 1187484.834
1 | 2572548.0039 | 1187509.6371
2 | 2572602.7526 | 1187457.8049
3 | 2572407.2046 | 1187686.2571
4 | 2573006.3974 | 1187671.7406
5 | 2572401.4172 | 1187693.7608
6 | 2573011.918 | 1187674.3623
7 | 2572395.556 | 1187701.3604
8 | 2573023.6132 | 1187679.9165
9 | 2573019.3092 | 1187630.1971
10 | 2573026.5792 | 1187648.4042
11 | 2573031.0658 | 1187607.4343
12 | 2573039.5298 | 1187662.1462
13 | 2573506.8385 | 1186839.9969
14 | 2573030.8453 | 1187683.3523
15 | 2573524.7745 | 1186834.5041
16 | 2573152.6351 | 1187709.1034
17 | 2573334.1545 | 1187780.722
18 | 2573354.7612 | 1187789.2014
19 | 2573170.0669 | 1187716.2648
20 | 2573019.2124 | 1188055.339
21 | 2573014.0433 | 1188052.8518
22 | 2573028.9396 | 1188061.5611
23 | 2572997.6661 | 1188044.9715
24 | 2573007.2354 | 1188020.5153
25 | 2572922.3767 | 1188071.6379
26 | 2573019.4714 | 1187994.8456
27 | 2572997.039 | 1188014.5353
28 | 2572389.5166 | 1187709.191
29 | 2573021.0387 | 1187932.4949
30 | 2573007.88 | 1187741.3915
31 | 2573008.8583 | 1187728.4755
32 | 2573009.7219 | 1187717.9699
33 | 2573010.3146 | 1187711.7776
34 | 2573007.88 | 1187741.3915

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99266 | -0.14124 | 0.0013862 | 0.00034742
1 | 0.99234 | -0.14741 | 0.00047572 | 0.00011923
2 | 0.99306 | -0.13356 | 0 | 0
3 | 0.99044 | -0.18423 | 0.0014751 | 0.00036968
4 | 0.99768 | -0.044561 | 0.0046829 | 0.0011736
5 | 0.99038 | -0.18553 | 0.0032364 | 0.00081111
6 | 0.99777 | -0.042875 | 0.0016624 | 0.00041664
7 | 0.99034 | -0.18629 | 0.0041191 | 0.0010323
8 | 0.99797 | -0.038929 | 0 | 0
9 | 0.99744 | -0.049219 | 0.0026602 | 0.00066671
10 | 0.99755 | -0.047065 | 0.0015319 | 0.00038392
11 | 0.99737 | -0.050633 | 0.0016477 | 0.00041295
12 | 0.99768 | -0.044637 | 0.0015879 | 0.00039796
13 | 0.99616 | -0.074204 | 0 | 0
14 | 0.99786 | -0.041053 | 0 | 0
15 | 0.99614 | -0.07469 | 0.0014723 | 0.000369
16 | 0.99715 | -0.054795 | 0.00095587 | 0.00023956
17 | 0.99631 | -0.07113 | 0.0033079 | 0.00082904
18 | 0.99628 | -0.071679 | 0.0014035 | 0.00035175
19 | 0.99706 | -0.056544 | 0.00057653 | 0.00014449
20 | 0.99646 | -0.068075 | 0.0031867 | 0.00079866
21 | 0.99649 | -0.067585 | 0.00076879 | 0.00019268
22 | 0.99645 | -0.068419 | 0.0016801 | 0.00042106
23 | 0.99658 | -0.065787 | 0 | 0
24 | 0.99673 | -0.06299 | 0 | 0
25 | 0.99655 | -0.066494 | 0.00043255 | 0.00010841
26 | 0.99692 | -0.059337 | 0.0039597 | 0.00099239
27 | 0.99671 | -0.063249 | 0.0012487 | 0.00031295
28 | 0.99033 | -0.18635 | 0.00034871 | 8.7395e-05
29 | 0.99765 | -0.04527 | 0.001706 | 0.00042757
30 | 1 | 0 | -0.052689 | -0.012832
31 | 0.99955 | -0.0085687 | 0 | 0
32 | 0.99919 | -0.015548 | 0.0039147 | 0.00098112
33 | 0.999 | -0.01925 | 0.0014185 | 0.00035551
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0096746 | 0.0024286 | -0.0096717 | -0.0024272 | 2.8463e-06 | 1.3554e-06 | 0.014504 | 0.014504 | 0.014504 | 0.99266 | -0.14124 | 0.99234 | -0.14741 | 3.9846
1 | -0.011061 | -0.002776 | 0.011065 | 0.0027781 | 4.0532e-06 | 2.0856e-06 | 0.016582 | 0.016582 | 0.016582 | 0.99266 | -0.14124 | 0.99306 | -0.13356 | 4.5554
2 | 0.009196 | 0.002308 | -0.0091799 | -0.0023006 | 1.6124e-05 | 7.4044e-06 | 0.013791 | 0.013792 | 0.013792 | 0.99234 | -0.14741 | 0.99044 | -0.18423 | 3.7889
3 | -0.011065 | -0.0027781 | 0.011112 | 0.0028023 | 4.7156e-05 | 2.4234e-05 | 0.016582 | 0.016579 | 0.016582 | 0.99306 | -0.13356 | 0.99768 | -0.044561 | 4.5554
4 | 0.0077048 | 0.0019309 | -0.0077044 | -0.0019307 | 4.7616e-07 | 1.8279e-07 | 0.011576 | 0.011576 | 0.011576 | 0.99044 | -0.18423 | 0.99038 | -0.18553 | 3.1801
5 | -0.015795 | -0.0039759 | 0.015796 | 0.0039767 | 1.2725e-06 | 7.346e-07 | 0.023564 | 0.023564 | 0.023564 | 0.99768 | -0.044561 | 0.99777 | -0.042875 | 6.4736
6 | 0.004468 | 0.0011196 | -0.0044678 | -0.0011196 | 1.6219e-07 | -1.9694e-08 | 0.006713 | 0.006713 | 0.006713 | 0.99038 | -0.18553 | 0.99034 | -0.18629 | 1.8442
7 | -0.017459 | -0.0043933 | 0.017462 | 0.0043952 | 3.2929e-06 | 1.9383e-06 | 0.026043 | 0.026043 | 0.026043 | 0.99777 | -0.042875 | 0.99797 | -0.038929 | 7.1547
8 | 0.00034871 | 8.7268e-05 | -0.00034871 | -8.7394e-05 | 1.0179e-09 | -1.2659e-07 | 0.0005239 | 0.00052395 | 0.00052395 | 0.99034 | -0.18629 | 0.99033 | -0.18635 | 0.14394
9 | 0.015158 | 0.0037867 | -0.015156 | -0.0037858 | 1.5295e-06 | 8.7455e-07 | 0.022597 | 0.022597 | 0.022597 | 0.99797 | -0.038929 | 0.99786 | -0.041053 | 6.2079
10 | -0.03262 | -0.008182 | 0.03265 | 0.0082011 | 3.063e-05 | 1.9152e-05 | 0.04864 | 0.048639 | 0.04864 | 0.99797 | -0.038929 | 0.999 | -0.01925 | 13.3625
11 | -0.0057821 | -0.0014375 | 0.0057827 | 0.0014376 | 5.8958e-07 | 1.0124e-07 | 0.0086218 | 0.0086217 | 0.0086218 | 0.99744 | -0.049219 | 0.99755 | -0.047065 | 2.3686
12 | 0.0031219 | 0.0007708 | -0.0031217 | -0.000771 | 2.0803e-07 | -2.0123e-07 | 0.0046533 | 0.0046534 | 0.0046534 | 0.99744 | -0.049219 | 0.99737 | -0.050633 | 1.2784
13 | -0.0073145 | -0.0018215 | 0.0073154 | 0.0018218 | 8.4234e-07 | 2.9254e-07 | 0.010907 | 0.010907 | 0.010907 | 0.99755 | -0.047065 | 0.99768 | -0.044637 | 2.9964
14 | 0.001474 | 0.00035806 | -0.0014724 | -0.00036878 | 1.6347e-06 | -1.0723e-05 | 0.0021952 | 0.0021993 | 0.0021993 | 0.99737 | -0.050633 | 0.99616 | -0.074204 | 0.60419
15 | -0.0089032 | -0.0022198 | 0.0089048 | 0.0022204 | 1.5143e-06 | 6.6987e-07 | 0.013275 | 0.013275 | 0.013275 | 0.99768 | -0.044637 | 0.99786 | -0.041053 | 3.647
16 | 0.0014724 | 0.00036878 | -0.0014723 | -0.000369 | 3.4025e-08 | -2.2243e-07 | 0.0021993 | 0.0021994 | 0.0021994 | 0.99616 | -0.074204 | 0.99614 | -0.07469 | 0.60422
17 | 0.0062516 | 0.0015654 | -0.0062476 | -0.0015644 | 4.0886e-06 | 9.7896e-07 | 0.009322 | 0.0093225 | 0.0093225 | 0.99786 | -0.041053 | 0.99715 | -0.054795 | 2.5611
18 | 0.0052917 | 0.0013248 | -0.0052912 | -0.0013248 | 4.4063e-07 | 3.6191e-08 | 0.0078961 | 0.0078962 | 0.0078962 | 0.99715 | -0.054795 | 0.99706 | -0.056544 | 2.1693
19 | 0.0014035 | 0.00035148 | -0.0014035 | -0.00035175 | 3.6716e-08 | -2.6668e-07 | 0.0020961 | 0.0020962 | 0.0020962 | 0.99631 | -0.07113 | 0.99628 | -0.071679 | 0.57588
20 | -0.0047114 | -0.0011805 | 0.0047147 | 0.0011803 | 3.2733e-06 | -2.0284e-07 | 0.0070366 | 0.0070358 | 0.0070366 | 0.99631 | -0.07113 | 0.99706 | -0.056544 | 1.9331
21 | -0.0048668 | -0.0012196 | 0.0048669 | 0.0012196 | 1.1361e-07 | -2.0143e-09 | 0.0072675 | 0.0072674 | 0.0072675 | 0.99646 | -0.068075 | 0.99649 | -0.067585 | 1.9966
22 | 0.0016801 | 0.00042093 | -0.0016801 | -0.00042106 | 2.7505e-08 | -1.3419e-07 | 0.0025088 | 0.0025089 | 0.0025089 | 0.99646 | -0.068075 | 0.99645 | -0.068419 | 0.68925
23 | -0.0056357 | -0.0014123 | 0.0056361 | 0.0014123 | 4.8266e-07 | 7.2117e-08 | 0.0084154 | 0.0084154 | 0.0084154 | 0.99649 | -0.067585 | 0.99658 | -0.065787 | 2.3119
24 | -0.0060687 | -0.0015195 | 0.0060695 | 0.0015197 | 8.0836e-07 | 1.7518e-07 | 0.0090608 | 0.0090607 | 0.0090608 | 0.99658 | -0.065787 | 0.99673 | -0.06299 | 2.4892
25 | 0.00043256 | 0.00010721 | -0.00043255 | -0.00010841 | 1.4506e-08 | -1.1998e-06 | 0.00064544 | 0.00064587 | 0.00064587 | 0.99658 | -0.065787 | 0.99655 | -0.066494 | 0.17744
26 | -0.0073182 | -0.0018325 | 0.0073195 | 0.001833 | 1.2728e-06 | 4.4386e-07 | 0.010925 | 0.010925 | 0.010925 | 0.99673 | -0.06299 | 0.99692 | -0.059337 | 3.0013
27 | 0.0012487 | 0.00031281 | -0.0012487 | -0.00031295 | 1.5413e-08 | -1.4428e-07 | 0.0018642 | 0.0018642 | 0.0018642 | 0.99673 | -0.06299 | 0.99671 | -0.063249 | 0.51215
28 | -0.011279 | -0.0028254 | 0.011287 | 0.0028293 | 7.5601e-06 | 3.9103e-06 | 0.016835 | 0.016835 | 0.016835 | 0.99692 | -0.059337 | 0.99765 | -0.04527 | 4.625
29 | -0.012993 | -0.0032568 | 0.013021 | 0.0032722 | 2.8082e-05 | 1.5362e-05 | 0.019379 | 0.019378 | 0.019379 | 0.99765 | -0.04527 | 1 | 0 | 5.324
30 | 0.038018 | 0.0095593 | -0.038002 | -0.0095495 | 1.5551e-05 | 9.7828e-06 | 0.056582 | 0.056582 | 0.056582 | 1 | 0 | 0.99955 | -0.0085687 | 15.5445
31 | 0.038002 | 0.0095495 | -0.03799 | -0.0095415 | 1.2655e-05 | 7.9613e-06 | 0.056582 | 0.056582 | 0.056582 | 0.99955 | -0.0085687 | 0.99919 | -0.015548 | 15.5446
32 | 0.034075 | 0.0085604 | -0.034069 | -0.0085566 | 6.0208e-06 | 3.7717e-06 | 0.050752 | 0.050752 | 0.050752 | 0.99919 | -0.015548 | 0.999 | -0.01925 | 13.943

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.056238 | 0.013721

## res_load
| p_mw | q_mvar
0 | 0.0013862 | 0.00034742
1 | 0.00047572 | 0.00011923
2 | 0.0014751 | 0.00036968
3 | 0.0046829 | 0.0011736
4 | 0.0032364 | 0.00081111
5 | 0.0016624 | 0.00041664
6 | 0.0041191 | 0.0010323
7 | 0.0026602 | 0.00066671
8 | 0.0015319 | 0.00038392
9 | 0.0016477 | 0.00041295
10 | 0.0015879 | 0.00039796
11 | 0.0014723 | 0.000369
12 | 0.00095587 | 0.00023956
13 | 0.0033079 | 0.00082904
14 | 0.0014035 | 0.00035175
15 | 0.00057653 | 0.00014449
16 | 0.0031867 | 0.00079866
17 | 0.00076879 | 0.00019268
18 | 0.0016801 | 0.00042106
19 | 0.00043255 | 0.00010841
20 | 0.0039597 | 0.00099239
21 | 0.0012487 | 0.00031295
22 | 0.00034871 | 8.7395e-05
23 | 0.001706 | 0.00042757
24 | 0.0035498 | 0.00088966
25 | 0.0039147 | 0.00098112
26 | 0.0014185 | 0.00035551

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1