## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2175-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2175-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2175-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2175-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2175-6_0_4_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_2175-6_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2175-6_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2175-6_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2175-6_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2175-6_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2175-6_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2175-6_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2175-6_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2175-6_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2175-6_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_2175-6_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2175-6_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2175-6_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2175-6_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2175-6_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2175-6_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_2175-6_0_4_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2175-6_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_2175-6_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2175-6_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2175-6_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2175-6_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2175-6_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2175-6_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2175-6_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2175-6_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2175-6_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2175-6_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2175-6_0_4_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_2175-6_0_4_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_2175-6_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2175-6_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2175-6_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2175-6_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2175-6_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2175-6_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2175-6_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2175-6_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2175-6_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2175-6_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2175-6_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_2175-6_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2175-6_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_2175-6_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2175-6_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2175-6_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2175-6_0_4_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_2175-6_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2175-6_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_2175-6_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_2175-6_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_2175-6_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_2175-6_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_2175-6_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_2175-6_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_2175-6_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2175-6_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_2175-6_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_2175-6_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_2175-6_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_2175-6_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_2175-6_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_2175-6_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_2175-6_0_4_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_2175-6_0_4_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_2175-6_0_4_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_2175-6_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_2175-6_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_2175-6_0_4_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_2175-6_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_2175-6_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_2175-6_0_4_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_2175-6_0_4_node_48 | 0.4 | n |  | TRUE
78 | bus_MV_375_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2175-6_0_4_load_0 | 0 | 0.0062301 | 0.0015614 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2175-6_0_4_load_1 | 1 | 0.0050125 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2175-6_0_4_load_2 | 2 | 0.0071711 | 0.0017972 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2175-6_0_4_load_3 | 3 | 0.006132 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2175-6_0_4_load_45 | 4 | 0.0015478 | 0.00038792 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2175-6_0_4_load_4 | 6 | 0.0042861 | 0.0010742 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2175-6_0_4_load_6 | 7 | 0.0071151 | 0.0017832 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2175-6_0_4_load_5 | 10 | 0.0051196 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2175-6_0_4_load_17 | 13 | 0.0012061 | 0.00030228 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2175-6_0_4_load_18 | 14 | 0.0021456 | 0.00053773 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2175-6_0_4_load_13 | 16 | 0.0035425 | 0.00088782 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2175-6_0_4_load_22 | 18 | 0.0047182 | 0.0011825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2175-6_0_4_load_44 | 19 | 0.0035136 | 0.0008806 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2175-6_0_4_load_47 | 20 | 0.0031345 | 0.00078558 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2175-6_0_4_load_42 | 21 | 0.0031795 | 0.00079685 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2175-6_0_4_load_46 | 22 | 0.0036048 | 0.00090345 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2175-6_0_4_load_14 | 23 | 0.0038277 | 0.00095931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2175-6_0_4_load_15 | 24 | 0.0035425 | 0.00088783 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2175-6_0_4_load_20 | 25 | 0.0022961 | 0.00057546 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2175-6_0_4_load_16 | 26 | 0.0035401 | 0.00088722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2175-6_0_4_load_25 | 27 | 0.0041242 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2175-6_0_4_load_26 | 28 | 0.0031936 | 0.0008004 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2175-6_0_4_load_21 | 29 | 0.001894 | 0.00047468 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2175-6_0_4_load_23 | 30 | 0.0018573 | 0.00046547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2175-6_0_4_load_24 | 31 | 0.0020109 | 0.00050397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2175-6_0_4_load_27 | 32 | 0.0034156 | 0.00085602 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2175-6_0_4_load_77 | 33 | 0.0032072 | 0.0008038 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2175-6_0_4_load_78 | 34 | 0.0059817 | 0.0014991 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2175-6_0_4_load_28 | 35 | 0.0022381 | 0.00056092 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2175-6_0_4_load_29 | 36 | 0.00081847 | 0.00020513 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2175-6_0_4_load_30 | 37 | 0.0033789 | 0.00084682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2175-6_0_4_load_31 | 38 | 0.00081342 | 0.00020386 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2175-6_0_4_load_32 | 39 | 0.0020802 | 0.00052134 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2175-6_0_4_load_33 | 40 | 0.0061615 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2175-6_0_4_load_34 | 41 | 0.0040965 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2175-6_0_4_load_35 | 42 | 0.004983 | 0.0012489 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2175-6_0_4_load_37 | 44 | 0.0035527 | 0.0008904 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2175-6_0_4_load_41 | 46 | 0.002817 | 0.00070601 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2175-6_0_4_load_51 | 47 | 0.0034854 | 0.00087353 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2175-6_0_4_load_52 | 48 | 0.002941 | 0.00073708 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2175-6_0_4_load_53 | 49 | 0.004386 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2175-6_0_4_load_54 | 50 | 0.0033186 | 0.00083171 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2175-6_0_4_load_61 | 51 | 0.003589 | 0.00089948 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2175-6_0_4_load_55 | 52 | 0.010067 | 0.0025231 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2175-6_0_4_load_66 | 53 | 0.0035127 | 0.00088036 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2175-6_0_4_load_62 | 54 | 0.0083274 | 0.002087 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2175-6_0_4_load_64 | 55 | 0.026009 | 0.0065185 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2175-6_0_4_load_75 | 56 | 0.0065861 | 0.0016506 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2175-6_0_4_load_65 | 57 | 0.0033059 | 0.00082853 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2175-6_0_4_load_67 | 58 | 0.0053349 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2175-6_0_4_load_71 | 59 | 0.011302 | 0.0028325 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2175-6_0_4_load_58 | 60 | 0.0034723 | 0.00087024 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2175-6_0_4_load_72 | 61 | 0.0033482 | 0.00083915 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2175-6_0_4_load_73 | 62 | 0.007452 | 0.0018677 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2175-6_0_4_load_74 | 63 | 0.0028704 | 0.00071939 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2175-6_0_4_load_70 | 64 | 0.0069859 | 0.0017508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2175-6_0_4_load_39 | 65 | 0.00465 | 0.0011654 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2175-6_0_4_load_68 | 67 | 0.0048847 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2175-6_0_4_load_38 | 68 | 0.0033944 | 0.00085071 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2175-6_0_4_load_59 | 71 | 0.013977 | 0.0035029 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2175-6_0_4_load_76 | 72 | 0.012044 | 0.0030186 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2175-6_0_4_load_60 | 74 | 0.013978 | 0.0035031 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2175-6_0_4_load_49 | 76 | 0.0022457 | 0.00056284 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2175-6_0_4_load_48 | 77 | 0.0029989 | 0.0007516 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2175-6_0_4_line_0 |  | 0 | 1 | 0.031258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2175-6_0_4_line_1 |  | 0 | 2 | 0.00050309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2175-6_0_4_line_2 |  | 1 | 3 | 0.0060517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2175-6_0_4_line_3 |  | 3 | 6 | 0.025389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2175-6_0_4_line_4 |  | 4 | 5 | 0.0073086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2175-6_0_4_line_5 |  | 5 | 9 | 0.004111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2175-6_0_4_line_6 |  | 6 | 10 | 0.0074561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2175-6_0_4_line_7 |  | 7 | 8 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2175-6_0_4_line_8 |  | 7 | 9 | 0.029573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2175-6_0_4_line_9 |  | 8 | 11 | 0.008715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2175-6_0_4_line_10 |  | 9 | 17 | 0.051904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2175-6_0_4_line_11 |  | 10 | 12 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2175-6_0_4_line_12 |  | 11 | 18 | 0.0035979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2175-6_0_4_line_13 |  | 12 | 16 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2175-6_0_4_line_14 |  | 13 | 14 | 0.024058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2175-6_0_4_line_15 |  | 13 | 15 | 0.012586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2175-6_0_4_line_16 |  | 14 | 25 | 0.024082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2175-6_0_4_line_17 |  | 15 | 29 | 0.0095426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2175-6_0_4_line_18 |  | 15 | 18 | 0.019106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2175-6_0_4_line_19 |  | 16 | 23 | 0.0018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2175-6_0_4_line_20 |  | 17 | 19 | 0.020763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2175-6_0_4_line_21 |  | 17 | 20 | 0.027259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2175-6_0_4_line_22 |  | 19 | 21 | 0.03497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2175-6_0_4_line_23 |  | 20 | 22 | 0.0073169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2175-6_0_4_line_24 |  | 21 | 69 | 0.021632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2175-6_0_4_line_25 |  | 22 | 77 | 0.0080123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2175-6_0_4_line_26 |  | 23 | 24 | 0.022724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2175-6_0_4_line_27 |  | 24 | 26 | 0.025983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2175-6_0_4_line_28 |  | 25 | 27 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2175-6_0_4_line_29 |  | 26 | 27 | 0.035342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2175-6_0_4_line_30 |  | 27 | 28 | 0.026118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2175-6_0_4_line_31 |  | 28 | 32 | 0.0034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2175-6_0_4_line_32 |  | 29 | 30 | 0.040348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2175-6_0_4_line_33 |  | 30 | 31 | 0.01011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2175-6_0_4_line_34 |  | 32 | 33 | 0.33825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2175-6_0_4_line_35 |  | 33 | 34 | 0.0022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2175-6_0_4_line_36 |  | 35 | 36 | 0.0027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2175-6_0_4_line_37 |  | 35 | 37 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2175-6_0_4_line_38 |  | 36 | 38 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2175-6_0_4_line_39 |  | 38 | 39 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2175-6_0_4_line_40 |  | 39 | 40 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2175-6_0_4_line_41 |  | 40 | 41 | 0.027592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2175-6_0_4_line_42 |  | 41 | 42 | 0.0060631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2175-6_0_4_line_43 |  | 42 | 43 | 0.017804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2175-6_0_4_line_44 |  | 43 | 44 | 0.0034907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2175-6_0_4_line_45 |  | 43 | 45 | 0.053228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2175-6_0_4_line_46 |  | 44 | 46 | 0.039604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2175-6_0_4_line_47 |  | 45 | 51 | 0.018233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2175-6_0_4_line_48 |  | 45 | 52 | 0.030493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2175-6_0_4_line_49 |  | 45 | 50 | 0.016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2175-6_0_4_line_50 |  | 46 | 65 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2175-6_0_4_line_51 |  | 47 | 48 | 0.0034337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2175-6_0_4_line_52 |  | 47 | 49 | 0.0033145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2175-6_0_4_line_53 |  | 48 | 50 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2175-6_0_4_line_54 |  | 51 | 53 | 0.0319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2175-6_0_4_line_55 |  | 52 | 66 | 0.030979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2175-6_0_4_line_56 |  | 53 | 57 | 0.039318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2175-6_0_4_line_57 |  | 54 | 55 | 0.028066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2175-6_0_4_line_58 |  | 55 | 56 | 0.038275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2175-6_0_4_line_59 |  | 56 | 64 | 0.048487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2175-6_0_4_line_60 |  | 56 | 63 | 0.030198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2175-6_0_4_line_61 |  | 57 | 58 | 0.0080602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2175-6_0_4_line_62 |  | 59 | 60 | 0.0099924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2175-6_0_4_line_63 |  | 60 | 66 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2175-6_0_4_line_64 |  | 61 | 62 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2175-6_0_4_line_65 |  | 62 | 63 | 0.0065613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2175-6_0_4_line_66 |  | 64 | 67 | 0.0099153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2175-6_0_4_line_67 |  | 65 | 68 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2175-6_0_4_line_68 |  | 66 | 74 | 0.053183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2175-6_0_4_line_69 |  | 66 | 71 | 0.035573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2175-6_0_4_line_70 |  | 67 | 75 | 0.031918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2175-6_0_4_line_71 |  | 68 | 69 | 0.042018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_2175-6_0_4_line_72 |  | 69 | 70 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2175-6_0_4_line_73 |  | 70 | 73 | 0.048228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2175-6_0_4_line_74 |  | 71 | 72 | 0.00068555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2175-6_0_4_line_75 |  | 73 | 76 | 0.0016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2175-6_0_4_line_76 |  | 74 | 75 | 0.0064477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2175-6_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 78 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2574559.6476 | 1184954.767 | 2574528.9881 | 1184948.6777
1 | 2574560.141 | 1184954.865 | 2574559.6476 | 1184954.767
2 | 2574523.0523 | 1184947.4988 | 2574528.9881 | 1184948.6777
3 | 2574523.0523 | 1184947.4988 | 2574498.1498 | 1184942.5529
4 | 2574511.7993 | 1185025.2773 | 2574518.0905 | 1185028.997
5 | 2574509.6927 | 1185028.8104 | 2574511.7993 | 1185025.2773
6 | 2574498.1498 | 1184942.5529 | 2574490.8366 | 1184941.1004
7 | 2574476.0677 | 1185005.8086 | 2574484.9177 | 1185012.7695
8 | 2574509.6927 | 1185028.8104 | 2574492.3324 | 1185018.6014 | 2574484.9177 | 1185012.7695
9 | 2574468.0076 | 1185009.1782 | 2574476.0677 | 1185005.8086
10 | 2574553.246 | 1185057.0727 | 2574540.9101 | 1185047.4425 | 2574525.5378 | 1185038.0809 | 2574509.6927 | 1185028.8104
11 | 2574472.3713 | 1184937.433 | 2574490.8366 | 1184941.1004
12 | 2574468.0076 | 1185009.1782 | 2574464.4489 | 1185008.6487
13 | 2574472.3713 | 1184937.433 | 2574454.0867 | 1184931.8121
14 | 2574427.8712 | 1184967.7237 | 2574443.6244 | 1184979.0334 | 2574445.9265 | 1184983.091
15 | 2574452.1372 | 1184994.0381 | 2574445.9265 | 1184983.091
16 | 2574408.3089 | 1184953.6794 | 2574427.8712 | 1184967.7237
17 | 2574452.1372 | 1184994.0381 | 2574445.5293 | 1184999.7027 | 2574445.1867 | 1185000.4687
18 | 2574452.1372 | 1184994.0381 | 2574464.4489 | 1185008.6487
19 | 2574454.0867 | 1184931.8121 | 2574452.3142 | 1184931.2673
20 | 2574553.246 | 1185057.0727 | 2574560.4099 | 1185063.6679 | 2574565.7265 | 1185073.3265
21 | 2574553.246 | 1185057.0727 | 2574541.7264 | 1185065.2595 | 2574529.3843 | 1185066.7017 | 2574528.6842 | 1185066.679
22 | 2574572.4014 | 1185106.739 | 2574571.7469 | 1185084.2637 | 2574565.7265 | 1185073.3265
23 | 2574521.3711 | 1185066.4413 | 2574528.6842 | 1185066.679
24 | 2574573.3543 | 1185128.3467 | 2574572.7571 | 1185118.9554 | 2574572.4014 | 1185106.739
25 | 2574513.363 | 1185066.181 | 2574521.3711 | 1185066.4413
26 | 2574431.1478 | 1184923.0259 | 2574449.4377 | 1184930.383 | 2574452.3142 | 1184931.2673
27 | 2574408.2027 | 1184910.9055 | 2574426.4946 | 1184921.1541 | 2574431.1478 | 1184923.0259
28 | 2574408.3089 | 1184953.6794 | 2574393.4858 | 1184943.0375
29 | 2574393.4858 | 1184943.0375 | 2574408.2027 | 1184910.9055
30 | 2574372.2697 | 1184927.8058 | 2574393.4858 | 1184943.0375
31 | 2574372.2697 | 1184927.8058 | 2574369.4992 | 1184925.8168
32 | 2574445.1867 | 1185000.4687 | 2574428.7104 | 1185037.2998
33 | 2574424.5821 | 1185046.5281 | 2574428.7104 | 1185037.2998
34 | 2574369.4992 | 1184925.8168 | 2574051.9542 | 1185042.3499
35 | 2574051.1075 | 1185040.281 | 2574051.9542 | 1185042.3499
36 | 2574465.2378 | 1185062.8071 | 2574463.7213 | 1185065.0726
37 | 2574476.1994 | 1185063.3605 | 2574465.2378 | 1185062.8071
38 | 2574463.7213 | 1185065.0726 | 2574455.8739 | 1185076.7963
39 | 2574448.9123 | 1185089.8431 | 2574452.5737 | 1185081.7267 | 2574455.8739 | 1185076.7963
40 | 2574448.9123 | 1185089.8431 | 2574442.5532 | 1185103.9401
41 | 2574440.9106 | 1185130.52 | 2574438.5651 | 1185112.7808 | 2574442.5532 | 1185103.9401
42 | 2574442.0814 | 1185136.4603 | 2574441.2388 | 1185133.0022 | 2574440.9106 | 1185130.52
43 | 2574446.296 | 1185153.7581 | 2574442.0814 | 1185136.4603
44 | 2574446.296 | 1185153.7581 | 2574449.5982 | 1185152.6263
45 | 2574446.296 | 1185153.7581 | 2574447.6305 | 1185206.9692
46 | 2574487.0628 | 1185139.7857 | 2574449.5982 | 1185152.6263
47 | 2574447.6305 | 1185206.9692 | 2574429.5464 | 1185204.6448
48 | 2574447.6305 | 1185206.9692 | 2574456.1832 | 1185208.211 | 2574467.1748 | 1185210.4985 | 2574476.9685 | 1185214.6144
49 | 2574447.6305 | 1185206.9692 | 2574437.4445 | 1185219.9651
50 | 2574487.0628 | 1185139.7857 | 2574497.3382 | 1185136.264 | 2574511.157 | 1185134.4104
51 | 2574420.664 | 1185232.5074 | 2574424.0967 | 1185232.5944
52 | 2574417.3505 | 1185232.4234 | 2574420.664 | 1185232.5074
53 | 2574424.0967 | 1185232.5944 | 2574427.4787 | 1185232.6801 | 2574437.4445 | 1185219.9651
54 | 2574429.5464 | 1185204.6448 | 2574423.6082 | 1185203.8816 | 2574398.4722 | 1185197.5825
55 | 2574500.7875 | 1185234.423 | 2574476.9685 | 1185214.6144
56 | 2574360.9275 | 1185203.9839 | 2574376.119 | 1185197.304 | 2574390.1992 | 1185195.5093 | 2574398.4722 | 1185197.5825
57 | 2574458.2982 | 1185354.6455 | 2574484.0495 | 1185365.8076
58 | 2574470.114 | 1185318.2403 | 2574458.2982 | 1185354.6455
59 | 2574509.6723 | 1185290.2032 | 2574470.114 | 1185318.2403
60 | 2574441.902 | 1185307.4706 | 2574470.114 | 1185318.2403
61 | 2574353.5491 | 1185207.2283 | 2574360.9275 | 1185203.9839
62 | 2574476.0888 | 1185249.8033 | 2574486.0605 | 1185249.1603
63 | 2574500.7875 | 1185234.423 | 2574486.0605 | 1185249.1603
64 | 2574418.1249 | 1185302.6792 | 2574426.4614 | 1185301.5762 | 2574435.7722 | 1185305.1305
65 | 2574441.902 | 1185307.4706 | 2574435.7722 | 1185305.1305
66 | 2574509.6723 | 1185290.2032 | 2574519.5861 | 1185290.3759
67 | 2574531.479 | 1185131.6845 | 2574511.157 | 1185134.4104
68 | 2574500.7875 | 1185234.423 | 2574539.7654 | 1185270.6045
69 | 2574500.7875 | 1185234.423 | 2574526.2852 | 1185222.0632 | 2574530.4027 | 1185216.1106
70 | 2574544.491 | 1185274.9911 | 2574530.691 | 1185290.5692 | 2574519.5861 | 1185290.3759
71 | 2574573.3543 | 1185128.3467 | 2574537.5723 | 1185130.8672 | 2574531.479 | 1185131.6845
72 | 2574572.9462 | 1185140.0434 | 2574573.2611 | 1185135.1395 | 2574573.3543 | 1185128.3467
73 | 2574572.9462 | 1185140.0434 | 2574573.1636 | 1185148.0689 | 2574573.5966 | 1185161.9299 | 2574589.6832 | 1185154.5464 | 2574597.9763 | 1185152.1543
74 | 2574530.4027 | 1185216.1106 | 2574530.7927 | 1185215.5468
75 | 2574597.9763 | 1185152.1543 | 2574599.5899 | 1185151.9003
76 | 2574544.491 | 1185274.9911 | 2574539.7654 | 1185270.6045

## bus_geodata
| x | y | coords
0 | 2574559.6476 | 1184954.767
1 | 2574528.9881 | 1184948.6777
2 | 2574560.141 | 1184954.865
3 | 2574523.0523 | 1184947.4988
4 | 2574518.0905 | 1185028.997
5 | 2574511.7993 | 1185025.2773
6 | 2574498.1498 | 1184942.5529
7 | 2574484.9177 | 1185012.7695
8 | 2574476.0677 | 1185005.8086
9 | 2574509.6927 | 1185028.8104
10 | 2574490.8366 | 1184941.1004
11 | 2574468.0076 | 1185009.1782
12 | 2574472.3713 | 1184937.433
13 | 2574445.9265 | 1184983.091
14 | 2574427.8712 | 1184967.7237
15 | 2574452.1372 | 1184994.0381
16 | 2574454.0867 | 1184931.8121
17 | 2574553.246 | 1185057.0727
18 | 2574464.4489 | 1185008.6487
19 | 2574565.7265 | 1185073.3265
20 | 2574528.6842 | 1185066.679
21 | 2574572.4014 | 1185106.739
22 | 2574521.3711 | 1185066.4413
23 | 2574452.3142 | 1184931.2673
24 | 2574431.1478 | 1184923.0259
25 | 2574408.3089 | 1184953.6794
26 | 2574408.2027 | 1184910.9055
27 | 2574393.4858 | 1184943.0375
28 | 2574372.2697 | 1184927.8058
29 | 2574445.1867 | 1185000.4687
30 | 2574428.7104 | 1185037.2998
31 | 2574424.5821 | 1185046.5281
32 | 2574369.4992 | 1184925.8168
33 | 2574051.9542 | 1185042.3499
34 | 2574051.1075 | 1185040.281
35 | 2574465.2378 | 1185062.8071
36 | 2574463.7213 | 1185065.0726
37 | 2574476.1994 | 1185063.3605
38 | 2574455.8739 | 1185076.7963
39 | 2574448.9123 | 1185089.8431
40 | 2574442.5532 | 1185103.9401
41 | 2574440.9106 | 1185130.52
42 | 2574442.0814 | 1185136.4603
43 | 2574446.296 | 1185153.7581
44 | 2574449.5982 | 1185152.6263
45 | 2574447.6305 | 1185206.9692
46 | 2574487.0628 | 1185139.7857
47 | 2574420.664 | 1185232.5074
48 | 2574424.0967 | 1185232.5944
49 | 2574417.3505 | 1185232.4234
50 | 2574437.4445 | 1185219.9651
51 | 2574429.5464 | 1185204.6448
52 | 2574476.9685 | 1185214.6144
53 | 2574398.4722 | 1185197.5825
54 | 2574484.0495 | 1185365.8076
55 | 2574458.2982 | 1185354.6455
56 | 2574470.114 | 1185318.2403
57 | 2574360.9275 | 1185203.9839
58 | 2574353.5491 | 1185207.2283
59 | 2574476.0888 | 1185249.8033
60 | 2574486.0605 | 1185249.1603
61 | 2574418.1249 | 1185302.6792
62 | 2574435.7722 | 1185305.1305
63 | 2574441.902 | 1185307.4706
64 | 2574509.6723 | 1185290.2032
65 | 2574511.157 | 1185134.4104
66 | 2574500.7875 | 1185234.423
67 | 2574519.5861 | 1185290.3759
68 | 2574531.479 | 1185131.6845
69 | 2574573.3543 | 1185128.3467
70 | 2574572.9462 | 1185140.0434
71 | 2574530.4027 | 1185216.1106
72 | 2574530.7927 | 1185215.5468
73 | 2574597.9763 | 1185152.1543
74 | 2574539.7654 | 1185270.6045
75 | 2574544.491 | 1185274.9911
76 | 2574599.5899 | 1185151.9003
77 | 2574513.363 | 1185066.181
78 | 2574446.296 | 1185153.7581

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97115 | -0.55673 | 0.0062301 | 0.0015614
1 | 0.97154 | -0.54899 | 0.0050125 | 0.0012563
2 | 0.97114 | -0.55679 | 0.0071711 | 0.0017972
3 | 0.97164 | -0.54693 | 0.006132 | 0.0015368
4 | 0.98701 | -0.24715 | 0.0015478 | 0.00038792
5 | 0.98702 | -0.24695 | 0 | 0
6 | 0.97222 | -0.53543 | 0.0042861 | 0.0010742
7 | 0.98577 | -0.2711 | 0.0071151 | 0.0017832
8 | 0.98488 | -0.28817 | 0 | 0
9 | 0.98703 | -0.24684 | 0 | 0
10 | 0.97243 | -0.53147 | 0.0051196 | 0.0012831
11 | 0.9842 | -0.30141 | 0 | 0
12 | 0.97302 | -0.51969 | 0 | 0
13 | 0.98163 | -0.35119 | 0.0012061 | 0.00030228
14 | 0.98 | -0.38292 | 0.0021456 | 0.00053773
15 | 0.9825 | -0.33436 | 0 | 0
16 | 0.97363 | -0.50774 | 0.0035425 | 0.00088782
17 | 0.98928 | -0.20369 | 0 | 0
18 | 0.98392 | -0.30688 | 0.0047182 | 0.0011825
19 | 0.99027 | -0.18469 | 0.0035136 | 0.0008806
20 | 0.98903 | -0.20842 | 0.0031345 | 0.00078558
21 | 0.99199 | -0.15168 | 0.0031795 | 0.00079685
22 | 0.98899 | -0.20928 | 0.0036048 | 0.00090345
23 | 0.97369 | -0.50647 | 0.0038277 | 0.00095931
24 | 0.97457 | -0.48922 | 0.0035425 | 0.00088783
25 | 0.97841 | -0.41384 | 0.0022961 | 0.00057546
26 | 0.97566 | -0.46785 | 0.0035401 | 0.00088722
27 | 0.97725 | -0.43657 | 0.0041242 | 0.0010336
28 | 0.97687 | -0.44411 | 0.0031936 | 0.0008004
29 | 0.98245 | -0.33535 | 0.001894 | 0.00047468
30 | 0.9823 | -0.33817 | 0.0018573 | 0.00046547
31 | 0.98228 | -0.33854 | 0.0020109 | 0.00050397
32 | 0.97683 | -0.4449 | 0.0034156 | 0.00085602
33 | 0.97393 | -0.50187 | 0.0032072 | 0.0008038
34 | 0.97392 | -0.50212 | 0.0059817 | 0.0014991
35 | 0.99848 | -0.029081 | 0.0022381 | 0.00056092
36 | 0.9985 | -0.028814 | 0.00081847 | 0.00020513
37 | 0.99845 | -0.02973 | 0.0033789 | 0.00084682
38 | 0.99858 | -0.027226 | 0.00081342 | 0.00020386
39 | 0.99868 | -0.025346 | 0.0020802 | 0.00052134
40 | 0.99881 | -0.022825 | 0.0061615 | 0.0015442
41 | 0.9992 | -0.015359 | 0.0040965 | 0.0010267
42 | 0.9993 | -0.013286 | 0.004983 | 0.0012489
43 | 0.9997 | -0.005653 | 0 | 0
44 | 1 | 0 | -0.31455 | -0.080142
45 | 0.99575 | -0.080768 | 0 | 0
46 | 0.99775 | -0.042444 | 0.002817 | 0.00070601
47 | 0.99532 | -0.089063 | 0.0034854 | 0.00087353
48 | 0.99535 | -0.088587 | 0.002941 | 0.00073708
49 | 0.99531 | -0.089318 | 0.004386 | 0.0010992
50 | 0.99554 | -0.084871 | 0.0033186 | 0.00083171
51 | 0.99549 | -0.085816 | 0.003589 | 0.00089948
52 | 0.99206 | -0.15142 | 0.010067 | 0.0025231
53 | 0.99514 | -0.092638 | 0.0035127 | 0.00088036
54 | 0.97781 | -0.42795 | 0.0083274 | 0.002087
55 | 0.97803 | -0.42369 | 0.026009 | 0.0065185
56 | 0.97924 | -0.39978 | 0.0065861 | 0.0016506
57 | 0.99483 | -0.09862 | 0.0033059 | 0.00082853
58 | 0.99479 | -0.099378 | 0.0053349 | 0.001337
59 | 0.9882 | -0.22568 | 0.011302 | 0.0028325
60 | 0.9883 | -0.22366 | 0.0034723 | 0.00087024
61 | 0.97874 | -0.40969 | 0.0033482 | 0.00083915
62 | 0.9788 | -0.40857 | 0.007452 | 0.0018677
63 | 0.97886 | -0.40728 | 0.0028704 | 0.00071939
64 | 0.9817 | -0.35178 | 0.0069859 | 0.0017508
65 | 0.99637 | -0.068512 | 0.00465 | 0.0011654
66 | 0.98859 | -0.21817 | 0 | 0
67 | 0.98226 | -0.34074 | 0.0048847 | 0.0012242
68 | 0.99527 | -0.089275 | 0.0033944 | 0.00085071
69 | 0.99309 | -0.13071 | 0 | 0
70 | 0.99307 | -0.13117 | 0 | 0
71 | 0.98774 | -0.2347 | 0.013977 | 0.0035029
72 | 0.98773 | -0.23484 | 0.012044 | 0.0030186
73 | 0.99297 | -0.13309 | 0 | 0
74 | 0.98463 | -0.29478 | 0.013978 | 0.0035031
75 | 0.98423 | -0.30249 | 0 | 0
76 | 0.99297 | -0.13315 | 0.0022457 | 0.00056284
77 | 0.98897 | -0.20971 | 0.0029989 | 0.0007516
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013401 | -0.0033587 | 0.013406 | 0.0033614 | 4.9423e-06 | 2.7761e-06 | 0.020534 | 0.020533 | 0.020534 | 0.97115 | -0.55673 | 0.97154 | -0.54899 | 5.6411
1 | 0.0071711 | 0.0017972 | -0.0071711 | -0.0017972 | 2.2777e-08 | 8.3526e-09 | 0.010988 | 0.010988 | 0.010988 | 0.97115 | -0.55673 | 0.97114 | -0.55679 | 3.0186
2 | -0.018419 | -0.0046177 | 0.01842 | 0.0046188 | 1.8061e-06 | 1.0809e-06 | 0.028211 | 0.028211 | 0.028211 | 0.97154 | -0.54899 | 0.97164 | -0.54693 | 7.7502
3 | -0.024552 | -0.0061556 | 0.024566 | 0.0061639 | 1.3461e-05 | 8.3005e-06 | 0.037601 | 0.037601 | 0.037601 | 0.97164 | -0.54693 | 0.97222 | -0.53543 | 10.3301
4 | -0.0015478 | -0.00038792 | 0.0015478 | 0.00038784 | 1.4924e-08 | -8.3859e-08 | 0.0023335 | 0.0023335 | 0.0023335 | 0.98701 | -0.24715 | 0.98702 | -0.24695 | 0.64107
5 | -0.0015478 | -0.00038784 | 0.0015479 | 0.00038779 | 8.3942e-09 | -4.7171e-08 | 0.0023335 | 0.0023335 | 0.0023335 | 0.98702 | -0.24695 | 0.98703 | -0.24684 | 0.64107
6 | -0.028852 | -0.0072381 | 0.028857 | 0.0072415 | 5.4528e-06 | 3.3973e-06 | 0.044161 | 0.044161 | 0.044161 | 0.97222 | -0.53543 | 0.97243 | -0.53147 | 12.1322
7 | 0.08531 | 0.021705 | -0.08524 | -0.02166 | 7.0146e-05 | 4.475e-05 | 0.12889 | 0.12889 | 0.12889 | 0.98577 | -0.2711 | 0.98488 | -0.28817 | 35.4099
8 | -0.092426 | -0.023488 | 0.092534 | 0.023556 | 0.00010811 | 6.8436e-05 | 0.13963 | 0.13963 | 0.13963 | 0.98577 | -0.2711 | 0.98703 | -0.24684 | 19.1803
9 | 0.08524 | 0.02166 | -0.085186 | -0.021625 | 5.4294e-05 | 3.4637e-05 | 0.12889 | 0.12889 | 0.12889 | 0.98488 | -0.28817 | 0.9842 | -0.30141 | 35.4099
10 | -0.094081 | -0.023944 | 0.094278 | 0.024068 | 0.00019614 | 0.0001242 | 0.14197 | 0.14197 | 0.14197 | 0.98703 | -0.24684 | 0.98928 | -0.20369 | 19.5008
11 | -0.033977 | -0.0085246 | 0.033996 | 0.0085365 | 1.9086e-05 | 1.1981e-05 | 0.051995 | 0.051995 | 0.051995 | 0.97243 | -0.53147 | 0.97302 | -0.51969 | 14.2844
12 | 0.085186 | 0.021625 | -0.085164 | -0.021611 | 2.2415e-05 | 1.43e-05 | 0.12889 | 0.12889 | 0.12889 | 0.9842 | -0.30141 | 0.98392 | -0.30688 | 35.4099
13 | -0.033996 | -0.0085365 | 0.034015 | 0.0085487 | 1.9393e-05 | 1.2174e-05 | 0.051995 | 0.051995 | 0.051995 | 0.97302 | -0.51969 | 0.97363 | -0.50774 | 14.2844
14 | 0.07331 | 0.018576 | -0.073198 | -0.018505 | 0.00011156 | 7.1094e-05 | 0.1112 | 0.1112 | 0.1112 | 0.98163 | -0.35119 | 0.98 | -0.38292 | 30.5497
15 | -0.074516 | -0.018879 | 0.074576 | 0.018917 | 6.0298e-05 | 3.8432e-05 | 0.11303 | 0.11303 | 0.11303 | 0.98163 | -0.35119 | 0.9825 | -0.33436 | 31.0519
16 | 0.071053 | 0.017967 | -0.070947 | -0.0179 | 0.00010522 | 6.7039e-05 | 0.10794 | 0.10794 | 0.10794 | 0.98 | -0.38292 | 0.97841 | -0.41384 | 29.6547
17 | 0.0057629 | 0.0014439 | -0.0057627 | -0.0014438 | 2.726e-07 | 5.3622e-08 | 0.008728 | 0.008728 | 0.008728 | 0.9825 | -0.33436 | 0.98245 | -0.33535 | 2.3978
18 | -0.080339 | -0.020361 | 0.080445 | 0.020429 | 0.00010622 | 6.7736e-05 | 0.12176 | 0.12176 | 0.12176 | 0.9825 | -0.33436 | 0.98392 | -0.30688 | 33.4497
19 | -0.037558 | -0.0094365 | 0.03756 | 0.009438 | 2.2918e-06 | 1.4437e-06 | 0.057409 | 0.057409 | 0.057409 | 0.97363 | -0.50774 | 0.97369 | -0.50647 | 15.7717
20 | -0.10402 | -0.02651 | 0.10411 | 0.026571 | 9.549e-05 | 6.058e-05 | 0.15662 | 0.15662 | 0.15662 | 0.98928 | -0.20369 | 0.99027 | -0.18469 | 21.5133
21 | 0.0097408 | 0.0024417 | -0.0097386 | -0.0024407 | 2.1944e-06 | 1.0545e-06 | 0.014652 | 0.014652 | 0.014652 | 0.98928 | -0.20369 | 0.98903 | -0.20842 | 4.0252
22 | -0.10763 | -0.027451 | 0.1078 | 0.02756 | 0.00017186 | 0.00010909 | 0.1619 | 0.1619 | 0.1619 | 0.99027 | -0.18469 | 0.99199 | -0.15168 | 22.2385
23 | 0.0066041 | 0.0016551 | -0.0066038 | -0.001655 | 2.7088e-07 | 7.947e-08 | 0.0099359 | 0.009936 | 0.009936 | 0.98903 | -0.20842 | 0.98899 | -0.20928 | 2.7297
24 | -0.11098 | -0.028357 | 0.11109 | 0.028429 | 0.00011266 | 7.1545e-05 | 0.16667 | 0.16666 | 0.16667 | 0.99199 | -0.15168 | 0.99309 | -0.13071 | 22.8935
25 | 0.002999 | 0.00075154 | -0.0029989 | -0.0007516 | 6.1175e-08 | -6.366e-08 | 0.0045122 | 0.0045122 | 0.0045122 | 0.98899 | -0.20928 | 0.98897 | -0.20971 | 1.2396
26 | -0.041388 | -0.010397 | 0.041422 | 0.010419 | 3.4099e-05 | 2.1541e-05 | 0.063259 | 0.063259 | 0.063259 | 0.97369 | -0.50647 | 0.97457 | -0.48922 | 17.3787
27 | -0.044964 | -0.011307 | 0.04501 | 0.011336 | 4.5943e-05 | 2.9079e-05 | 0.068667 | 0.068667 | 0.068667 | 0.97457 | -0.48922 | 0.97566 | -0.46785 | 18.8647
28 | 0.068651 | 0.017325 | -0.068577 | -0.017277 | 7.4656e-05 | 4.7551e-05 | 0.10445 | 0.10445 | 0.10445 | 0.97841 | -0.41384 | 0.97725 | -0.43657 | 28.6954
29 | -0.04855 | -0.012223 | 0.048623 | 0.012269 | 7.2705e-05 | 4.6089e-05 | 0.074066 | 0.074066 | 0.074066 | 0.97566 | -0.46785 | 0.97725 | -0.43657 | 20.3479
30 | 0.015829 | 0.0039747 | -0.015824 | -0.0039714 | 5.691e-06 | 3.3152e-06 | 0.024105 | 0.024105 | 0.024105 | 0.97725 | -0.43657 | 0.97687 | -0.44411 | 6.6224
31 | 0.01263 | 0.003171 | -0.01263 | -0.0031708 | 4.7348e-07 | 2.6033e-07 | 0.019241 | 0.019241 | 0.019241 | 0.97687 | -0.44411 | 0.97683 | -0.4449 | 5.2859
32 | 0.0038687 | 0.00096916 | -0.0038682 | -0.00096934 | 5.1949e-07 | -1.7838e-07 | 0.0058594 | 0.0058596 | 0.0058596 | 0.98245 | -0.33535 | 0.9823 | -0.33817 | 1.6098
33 | 0.0020109 | 0.00050387 | -0.0020109 | -0.00050397 | 3.5178e-08 | -1.0546e-07 | 0.0030461 | 0.0030462 | 0.0030462 | 0.9823 | -0.33817 | 0.98228 | -0.33854 | 0.83687
34 | 0.0092139 | 0.0023147 | -0.0091889 | -0.002303 | 2.4998e-05 | 1.1777e-05 | 0.014038 | 0.014039 | 0.014039 | 0.97683 | -0.4449 | 0.97393 | -0.50187 | 3.8569
35 | 0.0059817 | 0.0014992 | -0.0059817 | -0.0014991 | 7.0018e-08 | 1.6993e-08 | 0.0091391 | 0.0091391 | 0.0091391 | 0.97393 | -0.50187 | 0.97392 | -0.50212 | 2.5108
36 | -0.0056171 | -0.0014077 | 0.0056171 | 0.0014077 | 7.1636e-08 | 1.019e-08 | 0.0083709 | 0.0083709 | 0.0083709 | 0.99848 | -0.029081 | 0.9985 | -0.028814 | 2.2997
37 | 0.003379 | 0.00084675 | -0.0033789 | -0.00084682 | 1.0437e-07 | -7.6757e-08 | 0.0050356 | 0.0050356 | 0.0050356 | 0.99848 | -0.029081 | 0.99845 | -0.02973 | 1.3834
38 | -0.0064356 | -0.0016128 | 0.0064361 | 0.0016129 | 4.8661e-07 | 1.2689e-07 | 0.0095907 | 0.0095906 | 0.0095907 | 0.9985 | -0.028814 | 0.99858 | -0.027226 | 2.6348
39 | -0.0072495 | -0.0018168 | 0.0072502 | 0.001817 | 6.4929e-07 | 2.2143e-07 | 0.010803 | 0.010803 | 0.010803 | 0.99858 | -0.027226 | 0.99868 | -0.025346 | 2.9678
40 | -0.0093304 | -0.0023384 | 0.0093315 | 0.0023389 | 1.1208e-06 | 5.1495e-07 | 0.013902 | 0.013902 | 0.013902 | 0.99868 | -0.025346 | 0.99881 | -0.022825 | 3.8193
41 | -0.015493 | -0.0038831 | 0.015498 | 0.0038863 | 5.5124e-06 | 3.1666e-06 | 0.023081 | 0.023081 | 0.023081 | 0.99881 | -0.022825 | 0.9992 | -0.015359 | 6.341
42 | -0.019595 | -0.0049129 | 0.019597 | 0.0049141 | 1.9362e-06 | 1.1597e-06 | 0.029182 | 0.029182 | 0.029182 | 0.9992 | -0.015359 | 0.9993 | -0.013286 | 8.017
43 | -0.02458 | -0.006163 | 0.024589 | 0.0061685 | 8.9443e-06 | 5.491e-06 | 0.036602 | 0.036602 | 0.036602 | 0.9993 | -0.013286 | 0.9997 | -0.005653 | 10.0554
44 | -0.18789 | -0.047914 | 0.18794 | 0.047947 | 5.1299e-05 | 3.274e-05 | 0.27996 | 0.27996 | 0.27996 | 0.9997 | -0.005653 | 1 | 0 | 38.4559
45 | 0.1633 | 0.041746 | -0.16271 | -0.041369 | 0.00059106 | 0.00037689 | 0.24336 | 0.24336 | 0.24336 | 0.9997 | -0.005653 | 0.99575 | -0.080768 | 33.4283
46 | 0.12496 | 0.032195 | -0.1247 | -0.032031 | 0.00025759 | 0.00016382 | 0.18625 | 0.18625 | 0.18625 | 1 | 0 | 0.99775 | -0.042444 | 25.5837
47 | 0.015753 | 0.0039508 | -0.015749 | -0.0039486 | 3.7893e-06 | 2.188e-06 | 0.023541 | 0.023542 | 0.023542 | 0.99575 | -0.080768 | 0.99549 | -0.085816 | 6.4674
48 | 0.13282 | 0.033874 | -0.13237 | -0.033586 | 0.00045143 | 0.00028852 | 0.19869 | 0.19869 | 0.19869 | 0.99575 | -0.080768 | 0.99206 | -0.15142 | 54.5859
49 | 0.014136 | 0.0035441 | -0.014133 | -0.0035426 | 2.7632e-06 | 1.5537e-06 | 0.021125 | 0.021125 | 0.021125 | 0.99575 | -0.080768 | 0.99554 | -0.084871 | 5.8035
50 | 0.12188 | 0.031325 | -0.12173 | -0.031227 | 0.00015414 | 9.8001e-05 | 0.18205 | 0.18205 | 0.18205 | 0.99775 | -0.042444 | 0.99637 | -0.068512 | 25.0066
51 | -0.0078715 | -0.0019728 | 0.0078717 | 0.0019728 | 1.7832e-07 | 6.9496e-08 | 0.011768 | 0.011768 | 0.011768 | 0.99532 | -0.089063 | 0.99535 | -0.088587 | 3.233
52 | 0.0043861 | 0.0010992 | -0.004386 | -0.0010992 | 5.3444e-08 | -8.874e-09 | 0.0065572 | 0.0065572 | 0.0065572 | 0.99532 | -0.089063 | 0.99531 | -0.089318 | 1.8014
53 | -0.010813 | -0.0027099 | 0.010815 | 0.0027109 | 1.9145e-06 | 9.7126e-07 | 0.016165 | 0.016165 | 0.016165 | 0.99535 | -0.088587 | 0.99554 | -0.084871 | 4.4408
54 | 0.01216 | 0.0030491 | -0.012156 | -0.003047 | 3.9525e-06 | 2.115e-06 | 0.018177 | 0.018177 | 0.018177 | 0.99549 | -0.085816 | 0.99514 | -0.092638 | 4.9937
55 | 0.1223 | 0.031062 | -0.12191 | -0.030812 | 0.00039157 | 0.00025021 | 0.18359 | 0.18359 | 0.18359 | 0.99206 | -0.15142 | 0.98859 | -0.21817 | 50.4375
56 | 0.0086434 | 0.0021667 | -0.0086409 | -0.0021656 | 2.463e-06 | 1.0656e-06 | 0.012925 | 0.012925 | 0.012925 | 0.99514 | -0.092638 | 0.99483 | -0.09862 | 3.5507
57 | -0.0083274 | -0.002087 | 0.0083291 | 0.0020878 | 1.6902e-06 | 7.2959e-07 | 0.012672 | 0.012672 | 0.012672 | 0.97781 | -0.42795 | 0.97803 | -0.42369 | 3.4814
58 | -0.034338 | -0.0086063 | 0.034378 | 0.0086309 | 3.9176e-05 | 2.4591e-05 | 0.052244 | 0.052244 | 0.052244 | 0.97803 | -0.42369 | 0.97924 | -0.39978 | 14.3528
59 | -0.05464 | -0.013711 | 0.054765 | 0.01379 | 0.00012536 | 7.9621e-05 | 0.083034 | 0.083034 | 0.083034 | 0.97924 | -0.39978 | 0.9817 | -0.35178 | 22.8117
60 | 0.013676 | 0.0034292 | -0.013671 | -0.0034264 | 4.8911e-06 | 2.7506e-06 | 0.020783 | 0.020783 | 0.020783 | 0.97924 | -0.39978 | 0.97886 | -0.40728 | 5.7095
61 | 0.0053351 | 0.0013371 | -0.0053349 | -0.001337 | 1.9248e-07 | 1.8537e-08 | 0.0079799 | 0.00798 | 0.00798 | 0.99483 | -0.09862 | 0.99479 | -0.099378 | 2.1923
62 | -0.011302 | -0.0028325 | 0.011303 | 0.0028331 | 1.0852e-06 | 5.6652e-07 | 0.017018 | 0.017018 | 0.017018 | 0.9882 | -0.22568 | 0.9883 | -0.22366 | 4.6753
63 | -0.014775 | -0.0037033 | 0.014779 | 0.0037055 | 3.8665e-06 | 2.2075e-06 | 0.022246 | 0.022246 | 0.022246 | 0.9883 | -0.22366 | 0.98859 | -0.21817 | 6.1116
64 | -0.0033482 | -0.00083915 | 0.0033484 | 0.00083903 | 1.7855e-07 | -1.1667e-07 | 0.0050905 | 0.0050904 | 0.0050905 | 0.97874 | -0.40969 | 0.9788 | -0.40857 | 1.3985
65 | -0.0108 | -0.0027067 | 0.010801 | 0.002707 | 6.6333e-07 | 3.4206e-07 | 0.016419 | 0.016419 | 0.016419 | 0.9788 | -0.40857 | 0.97886 | -0.40728 | 4.5108
66 | -0.061751 | -0.015541 | 0.061784 | 0.015562 | 3.2591e-05 | 2.0733e-05 | 0.093623 | 0.093623 | 0.093623 | 0.9817 | -0.35178 | 0.98226 | -0.34074 | 25.7207
67 | 0.11708 | 0.030061 | -0.11696 | -0.029986 | 0.00011788 | 7.4909e-05 | 0.1751 | 0.1751 | 0.1751 | 0.99637 | -0.068512 | 0.99527 | -0.089275 | 24.0528
68 | 0.081091 | 0.020572 | -0.080793 | -0.020383 | 0.00029755 | 0.00018975 | 0.12215 | 0.12215 | 0.12215 | 0.98859 | -0.21817 | 0.98463 | -0.29478 | 33.5567
69 | 0.026042 | 0.0065342 | -0.026021 | -0.0065215 | 2.0499e-05 | 1.2664e-05 | 0.0392 | 0.0392 | 0.0392 | 0.98859 | -0.21817 | 0.98774 | -0.2347 | 10.7693
70 | -0.066669 | -0.016786 | 0.066791 | 0.016864 | 0.00012215 | 7.7774e-05 | 0.10102 | 0.10102 | 0.10102 | 0.98226 | -0.34074 | 0.98423 | -0.30249 | 27.7536
71 | 0.11357 | 0.029136 | -0.11334 | -0.028991 | 0.00022777 | 0.00014468 | 0.17003 | 0.17003 | 0.17003 | 0.99527 | -0.089275 | 0.99309 | -0.13071 | 23.3558
72 | 0.002246 | 0.00056221 | -0.002246 | -0.00056233 | 4.9726e-08 | -1.1968e-07 | 0.0033651 | 0.0033651 | 0.0033651 | 0.99309 | -0.13071 | 0.99307 | -0.13117 | 0.92449
73 | 0.002246 | 0.00056233 | -0.0022457 | -0.00056282 | 2.0481e-07 | -4.9283e-07 | 0.0033651 | 0.0033654 | 0.0033654 | 0.99307 | -0.13117 | 0.99297 | -0.13309 | 0.92455
74 | 0.012044 | 0.0030186 | -0.012044 | -0.0030186 | 8.464e-08 | 4.5395e-08 | 0.018145 | 0.018145 | 0.018145 | 0.98774 | -0.2347 | 0.98773 | -0.23484 | 4.9848
75 | 0.0022457 | 0.00056282 | -0.0022457 | -0.00056284 | 6.9377e-09 | -1.669e-08 | 0.0033654 | 0.0033654 | 0.0033654 | 0.99297 | -0.13309 | 0.99297 | -0.13315 | 0.92455
76 | 0.066815 | 0.01688 | -0.066791 | -0.016864 | 2.4676e-05 | 1.5711e-05 | 0.10102 | 0.10102 | 0.10102 | 0.98463 | -0.29478 | 0.98423 | -0.30249 | 27.7535

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3181 | 0.081032

## res_load
| p_mw | q_mvar
0 | 0.0062301 | 0.0015614
1 | 0.0050125 | 0.0012563
2 | 0.0071711 | 0.0017972
3 | 0.006132 | 0.0015368
4 | 0.0015478 | 0.00038792
5 | 0.0042861 | 0.0010742
6 | 0.0071151 | 0.0017832
7 | 0.0051196 | 0.0012831
8 | 0.0012061 | 0.00030228
9 | 0.0021456 | 0.00053773
10 | 0.0035425 | 0.00088782
11 | 0.0047182 | 0.0011825
12 | 0.0035136 | 0.0008806
13 | 0.0031345 | 0.00078558
14 | 0.0031795 | 0.00079685
15 | 0.0036048 | 0.00090345
16 | 0.0038277 | 0.00095931
17 | 0.0035425 | 0.00088783
18 | 0.0022961 | 0.00057546
19 | 0.0035401 | 0.00088722
20 | 0.0041242 | 0.0010336
21 | 0.0031936 | 0.0008004
22 | 0.001894 | 0.00047468
23 | 0.0018573 | 0.00046547
24 | 0.0020109 | 0.00050397
25 | 0.0034156 | 0.00085602
26 | 0.0032072 | 0.0008038
27 | 0.0059817 | 0.0014991
28 | 0.0022381 | 0.00056092
29 | 0.00081847 | 0.00020513
30 | 0.0033789 | 0.00084682
31 | 0.00081342 | 0.00020386
32 | 0.0020802 | 0.00052134
33 | 0.0061615 | 0.0015442
34 | 0.0040965 | 0.0010267
35 | 0.004983 | 0.0012489
36 | 0.0035527 | 0.0008904
37 | 0.002817 | 0.00070601
38 | 0.0034854 | 0.00087353
39 | 0.002941 | 0.00073708
40 | 0.004386 | 0.0010992
41 | 0.0033186 | 0.00083171
42 | 0.003589 | 0.00089948
43 | 0.010067 | 0.0025231
44 | 0.0035127 | 0.00088036
45 | 0.0083274 | 0.002087
46 | 0.026009 | 0.0065185
47 | 0.0065861 | 0.0016506
48 | 0.0033059 | 0.00082853
49 | 0.0053349 | 0.001337
50 | 0.011302 | 0.0028325
51 | 0.0034723 | 0.00087024
52 | 0.0033482 | 0.00083915
53 | 0.007452 | 0.0018677
54 | 0.0028704 | 0.00071939
55 | 0.0069859 | 0.0017508
56 | 0.00465 | 0.0011654
57 | 0.0048847 | 0.0012242
58 | 0.0033944 | 0.00085071
59 | 0.013977 | 0.0035029
60 | 0.012044 | 0.0030186
61 | 0.013978 | 0.0035031
62 | 0.0022457 | 0.00056284
63 | 0.0029989 | 0.0007516

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1