## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2175-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2175-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2175-8_0_4_node_61 | 0.4 | n |  | TRUE
3 | bus_LV_2175-8_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2175-8_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2175-8_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2175-8_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2175-8_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2175-8_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2175-8_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2175-8_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2175-8_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2175-8_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_2175-8_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2175-8_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2175-8_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2175-8_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2175-8_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2175-8_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2175-8_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_2175-8_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_2175-8_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_2175-8_0_4_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_2175-8_0_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_2175-8_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_2175-8_0_4_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2175-8_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2175-8_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_2175-8_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2175-8_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_2175-8_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2175-8_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_2175-8_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2175-8_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2175-8_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2175-8_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2175-8_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2175-8_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2175-8_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_2175-8_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2175-8_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2175-8_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2175-8_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2175-8_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2175-8_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2175-8_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2175-8_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2175-8_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2175-8_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2175-8_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_2175-8_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2175-8_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2175-8_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_2175-8_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_2175-8_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_2175-8_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_2175-8_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2175-8_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2175-8_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_2175-8_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_MV_375_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2175-8_0_4_load_0 | 0 | 0.005664 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2175-8_0_4_load_1 | 1 | 0.0031525 | 0.0007901 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2175-8_0_4_load_61 | 2 | 0.024922 | 0.006246 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2175-8_0_4_load_2 | 3 | 0.0031539 | 0.00079045 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2175-8_0_4_load_11 | 5 | 0.0011293 | 0.00028302 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2175-8_0_4_load_12 | 6 | 0.0026368 | 0.00066083 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2175-8_0_4_load_5 | 7 | 0.0054568 | 0.0013676 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2175-8_0_4_load_6 | 8 | 0.0020765 | 0.00052043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2175-8_0_4_load_7 | 9 | 0.0070064 | 0.001756 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2175-8_0_4_load_8 | 10 | 0.0094327 | 0.002364 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2175-8_0_4_load_9 | 11 | 0.010589 | 0.0026539 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2175-8_0_4_load_13 | 14 | 0.010255 | 0.00257 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2175-8_0_4_load_14 | 15 | 0.01177 | 0.0029499 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2175-8_0_4_load_15 | 16 | 0.0059187 | 0.0014834 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2175-8_0_4_load_40 | 21 | 0.02443 | 0.0061226 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2175-8_0_4_load_52 | 22 | 0.011203 | 0.0028078 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2175-8_0_4_load_50 | 23 | 0.011506 | 0.0028837 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2175-8_0_4_load_48 | 25 | 0.0088942 | 0.0022291 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2175-8_0_4_load_42 | 27 | 0.0031757 | 0.00079591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2175-8_0_4_load_41 | 29 | 0.014272 | 0.0035769 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2175-8_0_4_load_31 | 30 | 0.010455 | 0.0026202 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2175-8_0_4_load_47 | 31 | 0.014998 | 0.0037588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2175-8_0_4_load_29 | 32 | 0.013365 | 0.0033495 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2175-8_0_4_load_22 | 33 | 0.00813 | 0.0020376 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2175-8_0_4_load_23 | 34 | 0.0058305 | 0.0014613 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2175-8_0_4_load_43 | 38 | 0.0069137 | 0.0017327 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2175-8_0_4_load_33 | 41 | 0.017816 | 0.0044651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2175-8_0_4_load_26 | 43 | 0.011799 | 0.0029571 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2175-8_0_4_load_45 | 44 | 0.0017295 | 0.00043344 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2175-8_0_4_load_56 | 45 | 0.00010226 | 2.5629e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2175-8_0_4_load_32 | 46 | 0.013937 | 0.0034929 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2175-8_0_4_load_44 | 47 | 0.0076604 | 0.0019199 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2175-8_0_4_load_53 | 48 | 0.0011295 | 0.00028308 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2175-8_0_4_load_54 | 49 | 0.00011261 | 2.8223e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2175-8_0_4_load_55 | 50 | 0.0007451 | 0.00018674 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2175-8_0_4_load_57 | 51 | 0.0011473 | 0.00028753 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2175-8_0_4_load_60 | 52 | 0.0014268 | 0.00035758 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2175-8_0_4_load_58 | 53 | 0.00068912 | 0.00017271 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2175-8_0_4_load_59 | 54 | 0.00088298 | 0.0002213 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2175-8_0_4_load_37 | 55 | 0.025617 | 0.0064201 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2175-8_0_4_load_34 | 56 | 0.017809 | 0.0044634 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2175-8_0_4_load_38 | 57 | 0.015701 | 0.0039351 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2175-8_0_4_load_30 | 58 | 0.0078254 | 0.0019612 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2175-8_0_4_load_49 | 59 | 0.025619 | 0.0064208 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2175-8_0_4_line_0 |  | 0 | 1 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2175-8_0_4_line_1 |  | 0 | 2 | 0.091243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2175-8_0_4_line_2 |  | 1 | 3 | 0.029094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2175-8_0_4_line_3 |  | 3 | 4 | 0.050152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2175-8_0_4_line_4 |  | 4 | 5 | 0.089257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2175-8_0_4_line_5 |  | 4 | 6 | 0.026565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2175-8_0_4_line_6 |  | 5 | 11 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2175-8_0_4_line_7 |  | 6 | 12 | 0.10998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2175-8_0_4_line_8 |  | 7 | 8 | 0.033208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2175-8_0_4_line_9 |  | 7 | 9 | 0.043771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2175-8_0_4_line_10 |  | 8 | 10 | 0.0011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2175-8_0_4_line_11 |  | 9 | 11 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2175-8_0_4_line_12 |  | 12 | 13 | 0.007609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2175-8_0_4_line_13 |  | 13 | 24 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2175-8_0_4_line_14 |  | 13 | 25 | 0.012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2175-8_0_4_line_15 |  | 14 | 15 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2175-8_0_4_line_16 |  | 14 | 16 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2175-8_0_4_line_17 |  | 15 | 17 | 0.058283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2175-8_0_4_line_18 |  | 16 | 18 | 0.0072762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2175-8_0_4_line_19 |  | 17 | 19 | 0.045463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2175-8_0_4_line_20 |  | 18 | 20 | 0.028356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2175-8_0_4_line_21 |  | 19 | 21 | 0.026838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2175-8_0_4_line_22 |  | 20 | 22 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2175-8_0_4_line_23 |  | 20 | 23 | 0.046693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2175-8_0_4_line_24 |  | 21 | 59 | 0.064465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2175-8_0_4_line_25 |  | 22 | 28 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2175-8_0_4_line_26 |  | 24 | 31 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2175-8_0_4_line_27 |  | 24 | 27 | 0.0084203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2175-8_0_4_line_28 |  | 26 | 27 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2175-8_0_4_line_29 |  | 26 | 28 | 0.04445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2175-8_0_4_line_30 |  | 26 | 29 | 0.0096192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2175-8_0_4_line_31 |  | 28 | 30 | 0.06127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2175-8_0_4_line_32 |  | 30 | 32 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2175-8_0_4_line_33 |  | 32 | 58 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2175-8_0_4_line_34 |  | 33 | 34 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2175-8_0_4_line_35 |  | 34 | 35 | 0.028365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2175-8_0_4_line_36 |  | 35 | 36 | 0.037225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2175-8_0_4_line_37 |  | 36 | 37 | 0.027068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2175-8_0_4_line_38 |  | 36 | 38 | 0.042551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2175-8_0_4_line_39 |  | 37 | 55 | 0.035708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2175-8_0_4_line_40 |  | 37 | 56 | 0.020449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2175-8_0_4_line_41 |  | 38 | 47 | 0.0066822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2175-8_0_4_line_42 |  | 39 | 40 | 0.025069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2175-8_0_4_line_43 |  | 39 | 41 | 0.044322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2175-8_0_4_line_44 |  | 40 | 57 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2175-8_0_4_line_45 |  | 41 | 56 | 0.044128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2175-8_0_4_line_46 |  | 42 | 43 | 0.022334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2175-8_0_4_line_47 |  | 42 | 44 | 0.16499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2175-8_0_4_line_48 |  | 42 | 45 | 0.45419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2175-8_0_4_line_49 |  | 44 | 46 | 0.021491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2175-8_0_4_line_50 |  | 44 | 47 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2175-8_0_4_line_51 |  | 45 | 49 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2175-8_0_4_line_52 |  | 46 | 58 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2175-8_0_4_line_53 |  | 48 | 49 | 0.0042006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2175-8_0_4_line_54 |  | 48 | 50 | 0.06338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2175-8_0_4_line_55 |  | 50 | 51 | 0.064782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2175-8_0_4_line_56 |  | 51 | 52 | 0.021251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2175-8_0_4_line_57 |  | 52 | 54 | 0.00066385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2175-8_0_4_line_58 |  | 53 | 54 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2175-8_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 60 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2575179.0874 | 1186178.9365 | 2575169.3818 | 1186152.3282
1 | 2575179.0874 | 1186178.9365 | 2575241.0961 | 1186245.8709
2 | 2575169.3818 | 1186152.3282 | 2575159.412 | 1186124.9952
3 | 2575146.5023 | 1186077.0754 | 2575146.7944 | 1186090.4034 | 2575159.412 | 1186124.9952
4 | 2575146.5023 | 1186077.0754 | 2575187.0965 | 1186095.405 | 2575191.0871 | 1186097.2004 | 2575195.3451 | 1186099.106 | 2575227.9027 | 1186113.6921
5 | 2575146.5023 | 1186077.0754 | 2575122.4269 | 1186065.8461
6 | 2575247.2933 | 1186122.3794 | 2575227.9027 | 1186113.6921
7 | 2575026.2607 | 1186013.1882 | 2575043.1241 | 1186025.9132 | 2575073.4354 | 1186043.0177 | 2575103.413 | 1186056.9777 | 2575122.4269 | 1186065.8461
8 | 2575308.4019 | 1186151.0124 | 2575325.16 | 1186159.4551 | 2575337.4867 | 1186166.9831
9 | 2575308.4019 | 1186151.0124 | 2575285.896 | 1186139.6738 | 2575268.9485 | 1186132.0812
10 | 2575338.4966 | 1186167.5998 | 2575337.4867 | 1186166.9831
11 | 2575247.2933 | 1186122.3794 | 2575268.9485 | 1186132.0812
12 | 2575026.2607 | 1186013.1882 | 2575021.1719 | 1186018.8569
13 | 2575003.3951 | 1186008.5036 | 2575021.1719 | 1186018.8569
14 | 2575021.1719 | 1186018.8569 | 2575013.94 | 1186028.7028
15 | 2574898.003 | 1185884.9803 | 2574911.6787 | 1185898.6647
16 | 2574921.9459 | 1185908.9385 | 2574911.6787 | 1185898.6647
17 | 2574856.8041 | 1185843.755 | 2574898.003 | 1185884.9803
18 | 2574927.0893 | 1185914.0852 | 2574921.9459 | 1185908.9385
19 | 2574825.3064 | 1185831.6258 | 2574835.2669 | 1185821.3006 | 2574846.0048 | 1185832.4946 | 2574854.6434 | 1185841.663 | 2574856.8041 | 1185843.755
20 | 2574947.5916 | 1185933.7316 | 2574936.1299 | 1185922.7518 | 2574927.0893 | 1185914.0852
21 | 2574825.3064 | 1185831.6258 | 2574844.1617 | 1185850.7251
22 | 2574947.5916 | 1185933.7316 | 2574960.6789 | 1185947.3192
23 | 2574947.5916 | 1185933.7316 | 2574916.0942 | 1185968.2016
24 | 2574847.4379 | 1185897.2893 | 2574868.0841 | 1185874.9572 | 2574844.1617 | 1185850.7251
25 | 2574973.7026 | 1185960.7363 | 2574970.9363 | 1185957.9687 | 2574960.6789 | 1185947.3192
26 | 2575003.3951 | 1186008.5036 | 2574993.4791 | 1186022.1412
27 | 2575003.3951 | 1186008.5036 | 2574996.6434 | 1186003.4722
28 | 2574986.6471 | 1185996.0228 | 2574996.6434 | 1186003.4722
29 | 2574973.7026 | 1185960.7363 | 2574992.6017 | 1185978.4775 | 2574986.6471 | 1185996.0228
30 | 2574986.6471 | 1185996.0228 | 2574981.7536 | 1186004.3043
31 | 2574973.7026 | 1185960.7363 | 2574935.2759 | 1186008.4588
32 | 2574927.6197 | 1186017.9672 | 2574935.2759 | 1186008.4588
33 | 2574927.6197 | 1186017.9672 | 2574911.0541 | 1186038.5402 | 2574908.2891 | 1186040.6215
34 | 2574784.6459 | 1186030.0725 | 2574785.1167 | 1186010.2818
35 | 2574785.3077 | 1185981.9292 | 2574785.6204 | 1185989.1095 | 2574785.1167 | 1186010.2818
36 | 2574815.9656 | 1186003.1665 | 2574785.3077 | 1185981.9292
37 | 2574822.6494 | 1185984.9399 | 2574829.313 | 1185990.8704 | 2574815.9656 | 1186003.1665
38 | 2574815.9656 | 1186003.1665 | 2574850.9437 | 1186027.3972
39 | 2574848.2593 | 1185959.9854 | 2574822.6494 | 1185984.9399
40 | 2574822.6494 | 1185984.9399 | 2574813.9627 | 1185991.4466 | 2574810.6357 | 1185991.4384 | 2574805.1245 | 1185988.4505
41 | 2574850.9437 | 1186027.3972 | 2574856.4367 | 1186031.2024
42 | 2574776.9646 | 1185912.6837 | 2574771.9879 | 1185897.8969 | 2574771.2231 | 1185888.4619
43 | 2574776.9646 | 1185912.6837 | 2574788.9341 | 1185920.9708 | 2574790.3509 | 1185929.4248 | 2574788.4029 | 1185936.1254 | 2574789.6249 | 1185943.602 | 2574793.6347 | 1185948.8914
44 | 2574771.2231 | 1185888.4619 | 2574779.3992 | 1185878.9371
45 | 2574793.6347 | 1185948.8914 | 2574793.7916 | 1185949.0984 | 2574795.46 | 1185970.1468 | 2574795.3016 | 1185979.5969 | 2574803.087 | 1185987.3459 | 2574805.1245 | 1185988.4505
46 | 2574815.8976 | 1186198.5251 | 2574822.9405 | 1186214.8151 | 2574827.0541 | 1186216.8432
47 | 2574876.3773 | 1186045.016 | 2574815.8976 | 1186198.5251
48 | 2574815.8976 | 1186198.5251 | 2574367.1849 | 1186268.8723
49 | 2574876.3773 | 1186045.016 | 2574876.9134 | 1186045.3874 | 2574887.1465 | 1186047.3232 | 2574896.513 | 1186046.4388 | 2574897.4864 | 1186046.1479
50 | 2574876.3773 | 1186045.016 | 2574856.4367 | 1186031.2024
51 | 2574356.7052 | 1186278.9541 | 2574367.1849 | 1186268.8723
52 | 2574908.2891 | 1186040.6215 | 2574903.2271 | 1186044.4318 | 2574897.4864 | 1186046.1479
53 | 2574353.678 | 1186281.8664 | 2574356.7052 | 1186278.9541
54 | 2574353.678 | 1186281.8664 | 2574351.3869 | 1186284.0704 | 2574343.023 | 1186289.109 | 2574340.82 | 1186293.154 | 2574339.7855 | 1186299.2172 | 2574349.143 | 1186321.1885 | 2574353.5592 | 1186336.357
55 | 2574353.5592 | 1186336.357 | 2574355.0134 | 1186341.3517 | 2574357.597 | 1186360.1727 | 2574353.5857 | 1186378.4329 | 2574346.597 | 1186390.9584 | 2574342.0449 | 1186396.9738
56 | 2574330.4765 | 1186414.678 | 2574333.464 | 1186408.3129 | 2574342.0449 | 1186396.9738
57 | 2574330.4765 | 1186414.678 | 2574330.1945 | 1186415.2789
58 | 2574329.7699 | 1186430.6216 | 2574329.566 | 1186426.2613 | 2574329.9558 | 1186415.7875 | 2574330.1945 | 1186415.2789

## bus_geodata
| x | y | coords
0 | 2575179.0874 | 1186178.9365
1 | 2575169.3818 | 1186152.3282
2 | 2575241.0961 | 1186245.8709
3 | 2575159.412 | 1186124.9952
4 | 2575146.5023 | 1186077.0754
5 | 2575227.9027 | 1186113.6921
6 | 2575122.4269 | 1186065.8461
7 | 2575308.4019 | 1186151.0124
8 | 2575337.4867 | 1186166.9831
9 | 2575268.9485 | 1186132.0812
10 | 2575338.4966 | 1186167.5998
11 | 2575247.2933 | 1186122.3794
12 | 2575026.2607 | 1186013.1882
13 | 2575021.1719 | 1186018.8569
14 | 2574911.6787 | 1185898.6647
15 | 2574898.003 | 1185884.9803
16 | 2574921.9459 | 1185908.9385
17 | 2574856.8041 | 1185843.755
18 | 2574927.0893 | 1185914.0852
19 | 2574825.3064 | 1185831.6258
20 | 2574947.5916 | 1185933.7316
21 | 2574844.1617 | 1185850.7251
22 | 2574960.6789 | 1185947.3192
23 | 2574916.0942 | 1185968.2016
24 | 2575003.3951 | 1186008.5036
25 | 2575013.94 | 1186028.7028
26 | 2574986.6471 | 1185996.0228
27 | 2574996.6434 | 1186003.4722
28 | 2574973.7026 | 1185960.7363
29 | 2574981.7536 | 1186004.3043
30 | 2574935.2759 | 1186008.4588
31 | 2574993.4791 | 1186022.1412
32 | 2574927.6197 | 1186017.9672
33 | 2574784.6459 | 1186030.0725
34 | 2574785.1167 | 1186010.2818
35 | 2574785.3077 | 1185981.9292
36 | 2574815.9656 | 1186003.1665
37 | 2574822.6494 | 1185984.9399
38 | 2574850.9437 | 1186027.3972
39 | 2574776.9646 | 1185912.6837
40 | 2574771.2231 | 1185888.4619
41 | 2574793.6347 | 1185948.8914
42 | 2574815.8976 | 1186198.5251
43 | 2574827.0541 | 1186216.8432
44 | 2574876.3773 | 1186045.016
45 | 2574367.1849 | 1186268.8723
46 | 2574897.4864 | 1186046.1479
47 | 2574856.4367 | 1186031.2024
48 | 2574353.678 | 1186281.8664
49 | 2574356.7052 | 1186278.9541
50 | 2574353.5592 | 1186336.357
51 | 2574342.0449 | 1186396.9738
52 | 2574330.4765 | 1186414.678
53 | 2574329.7699 | 1186430.6216
54 | 2574330.1945 | 1186415.2789
55 | 2574848.2593 | 1185959.9854
56 | 2574805.1245 | 1185988.4505
57 | 2574779.3992 | 1185878.9371
58 | 2574908.2891 | 1186040.6215
59 | 2574847.4379 | 1185897.2893
60 | 2574973.7026 | 1185960.7363

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97438 | -0.49295 | 0.005664 | 0.0014195
1 | 0.97519 | -0.47706 | 0.0031525 | 0.0007901
2 | 0.97226 | -0.53479 | 0.024922 | 0.006246
3 | 0.9761 | -0.45908 | 0.0031539 | 0.00079045
4 | 0.97783 | -0.42529 | 0 | 0
5 | 0.97486 | -0.48355 | 0.0011293 | 0.00028302
6 | 0.97963 | -0.3902 | 0.0026368 | 0.00066083
7 | 0.97295 | -0.52115 | 0.0054568 | 0.0013676
8 | 0.9726 | -0.52819 | 0.0020765 | 0.00052043
9 | 0.97365 | -0.50748 | 0.0070064 | 0.001756
10 | 0.97259 | -0.52839 | 0.0094327 | 0.002364
11 | 0.97418 | -0.49703 | 0.010589 | 0.0026539
12 | 0.98734 | -0.2411 | 0 | 0
13 | 0.98787 | -0.23087 | 0 | 0
14 | 0.98701 | -0.2482 | 0.010255 | 0.00257
15 | 0.9859 | -0.26962 | 0.01177 | 0.0029499
16 | 0.98798 | -0.22948 | 0.0059187 | 0.0014834
17 | 0.9832 | -0.32208 | 0 | 0
18 | 0.9885 | -0.21936 | 0 | 0
19 | 0.98109 | -0.36319 | 0 | 0
20 | 0.99055 | -0.17998 | 0 | 0
21 | 0.97985 | -0.38755 | 0.02443 | 0.0061226
22 | 0.9921 | -0.15004 | 0.011203 | 0.0028078
23 | 0.99005 | -0.18953 | 0.011506 | 0.0028837
24 | 0.98948 | -0.20007 | 0 | 0
25 | 0.98777 | -0.23281 | 0.0088942 | 0.0022291
26 | 0.99144 | -0.16258 | 0 | 0
27 | 0.99025 | -0.18522 | 0.0031757 | 0.00079591
28 | 0.99384 | -0.11675 | 0 | 0
29 | 0.99131 | -0.16501 | 0.014272 | 0.0035769
30 | 1 | 0 | -0.38489 | -0.0982
31 | 0.98925 | -0.20457 | 0.014998 | 0.0037588
32 | 0.9991 | -0.017081 | 0.013365 | 0.0033495
33 | 0.9855 | -0.27841 | 0.00813 | 0.0020376
34 | 0.98565 | -0.27552 | 0.0058305 | 0.0014613
35 | 0.98601 | -0.26842 | 0 | 0
36 | 0.98649 | -0.25911 | 0 | 0
37 | 0.98457 | -0.29648 | 0 | 0
38 | 0.99006 | -0.19007 | 0.0069137 | 0.0017327
39 | 0.98159 | -0.35464 | 0 | 0
40 | 0.98123 | -0.36177 | 0 | 0
41 | 0.98224 | -0.34206 | 0.017816 | 0.0044651
42 | 0.99029 | -0.18593 | 0 | 0
43 | 0.99005 | -0.19061 | 0.011799 | 0.0029571
44 | 0.99302 | -0.13312 | 0.0017295 | 0.00043344
45 | 0.98769 | -0.2365 | 0.00010226 | 2.5629e-05
46 | 0.9955 | -0.085646 | 0.013937 | 0.0034929
47 | 0.99066 | -0.17845 | 0.0076604 | 0.0019199
48 | 0.98759 | -0.23855 | 0.0011295 | 0.00028308
49 | 0.98761 | -0.2381 | 0.00011261 | 2.8223e-05
50 | 0.9873 | -0.2441 | 0.0007451 | 0.00018674
51 | 0.98706 | -0.2489 | 0.0011473 | 0.00028753
52 | 0.987 | -0.25005 | 0.0014268 | 0.00035758
53 | 0.98699 | -0.25025 | 0.00068912 | 0.00017271
54 | 0.987 | -0.25006 | 0.00088298 | 0.0002213
55 | 0.98373 | -0.31294 | 0.025617 | 0.0064201
56 | 0.9836 | -0.31538 | 0.017809 | 0.0044634
57 | 0.98105 | -0.36533 | 0.015701 | 0.0039351
58 | 0.99708 | -0.05551 | 0.0078254 | 0.0019612
59 | 0.97832 | -0.41758 | 0.025619 | 0.0064208
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.030636 | -0.0076963 | 0.030659 | 0.0077108 | 2.3254e-05 | 1.453e-05 | 0.046791 | 0.046791 | 0.046791 | 0.97438 | -0.49295 | 0.97519 | -0.47706 | 12.8548
1 | 0.024972 | 0.0062767 | -0.024922 | -0.006246 | 4.9778e-05 | 3.0724e-05 | 0.038142 | 0.038142 | 0.038142 | 0.97438 | -0.49295 | 0.97226 | -0.53479 | 10.4786
2 | -0.033811 | -0.0085009 | 0.03384 | 0.0085191 | 2.9051e-05 | 1.823e-05 | 0.051602 | 0.051601 | 0.051602 | 0.97519 | -0.47706 | 0.9761 | -0.45908 | 14.1763
3 | -0.036994 | -0.0093096 | 0.037054 | 0.0093472 | 5.9845e-05 | 3.7673e-05 | 0.056409 | 0.056409 | 0.056409 | 0.9761 | -0.45908 | 0.97783 | -0.42529 | 15.4971
4 | 0.03584 | 0.0090376 | -0.03574 | -0.008975 | 9.9636e-05 | 6.2651e-05 | 0.054559 | 0.05456 | 0.05456 | 0.97783 | -0.42529 | 0.97486 | -0.48355 | 14.9889
5 | -0.072894 | -0.018385 | 0.073017 | 0.018463 | 0.00012267 | 7.8177e-05 | 0.11097 | 0.11097 | 0.11097 | 0.97783 | -0.42529 | 0.97963 | -0.3902 | 30.4859
6 | 0.034611 | 0.0086919 | -0.034589 | -0.008678 | 2.2244e-05 | 1.3971e-05 | 0.052836 | 0.052836 | 0.052836 | 0.97486 | -0.48355 | 0.97418 | -0.49703 | 14.5154
7 | -0.075653 | -0.019124 | 0.076199 | 0.019471 | 0.00054518 | 0.00034752 | 0.11497 | 0.11497 | 0.11497 | 0.97963 | -0.3902 | 0.98734 | -0.2411 | 31.5862
8 | 0.011513 | 0.0028866 | -0.011509 | -0.0028845 | 3.8612e-06 | 2.0589e-06 | 0.017608 | 0.017609 | 0.017609 | 0.97295 | -0.52115 | 0.9726 | -0.52819 | 4.8375
9 | -0.01697 | -0.0042542 | 0.016981 | 0.0042607 | 1.1057e-05 | 6.5322e-06 | 0.025954 | 0.025954 | 0.025954 | 0.97295 | -0.52115 | 0.97365 | -0.50748 | 7.1302
10 | 0.0094328 | 0.0023641 | -0.0094327 | -0.002364 | 9.2415e-08 | 4.4461e-08 | 0.014432 | 0.014432 | 0.014432 | 0.9726 | -0.52819 | 0.97259 | -0.52839 | 3.9647
11 | -0.023987 | -0.0060167 | 0.023999 | 0.006024 | 1.196e-05 | 7.3591e-06 | 0.036661 | 0.036661 | 0.036661 | 0.97365 | -0.50748 | 0.97418 | -0.49703 | 10.0718
12 | -0.076199 | -0.019471 | 0.076236 | 0.019495 | 3.7718e-05 | 2.4042e-05 | 0.11497 | 0.11497 | 0.11497 | 0.98734 | -0.2411 | 0.98787 | -0.23087 | 31.586
13 | -0.085131 | -0.021725 | 0.085258 | 0.021806 | 0.00012686 | 8.0929e-05 | 0.12837 | 0.12837 | 0.12837 | 0.98787 | -0.23087 | 0.98948 | -0.20007 | 35.2669
14 | 0.008895 | 0.0022295 | -0.0088942 | -0.0022291 | 8.2242e-07 | 3.6996e-07 | 0.013399 | 0.013399 | 0.013399 | 0.98787 | -0.23087 | 0.98777 | -0.23281 | 3.6809
15 | 0.062203 | 0.015736 | -0.062139 | -0.015696 | 6.3873e-05 | 4.0632e-05 | 0.09383 | 0.09383 | 0.09383 | 0.98701 | -0.2482 | 0.9859 | -0.26962 | 25.7774
16 | -0.072458 | -0.018306 | 0.072523 | 0.018348 | 6.5057e-05 | 4.1451e-05 | 0.10929 | 0.10929 | 0.10929 | 0.98701 | -0.2482 | 0.98798 | -0.22948 | 30.0246
17 | 0.050369 | 0.012746 | -0.050243 | -0.012666 | 0.00012646 | 8.0192e-05 | 0.076065 | 0.076065 | 0.076065 | 0.9859 | -0.26962 | 0.9832 | -0.32208 | 20.8971
18 | -0.078441 | -0.019831 | 0.07848 | 0.019855 | 3.8124e-05 | 2.4306e-05 | 0.1182 | 0.1182 | 0.1182 | 0.98798 | -0.22948 | 0.9885 | -0.21936 | 32.4736
19 | 0.050243 | 0.012666 | -0.050144 | -0.012603 | 9.8642e-05 | 6.2555e-05 | 0.076065 | 0.076066 | 0.076066 | 0.9832 | -0.32208 | 0.98109 | -0.36319 | 20.8972
20 | -0.07848 | -0.019855 | 0.078628 | 0.01995 | 0.00014857 | 9.4722e-05 | 0.1182 | 0.1182 | 0.1182 | 0.9885 | -0.21936 | 0.99055 | -0.17998 | 32.4736
21 | 0.050144 | 0.012603 | -0.050086 | -0.012566 | 5.8233e-05 | 3.693e-05 | 0.076066 | 0.076066 | 0.076066 | 0.98109 | -0.36319 | 0.97985 | -0.38755 | 20.8972
22 | -0.090139 | -0.022837 | 0.090269 | 0.02292 | 0.00012988 | 8.2882e-05 | 0.1355 | 0.1355 | 0.1355 | 0.99055 | -0.17998 | 0.9921 | -0.15004 | 37.2244
23 | 0.011511 | 0.0028865 | -0.011506 | -0.0028837 | 5.2365e-06 | 2.7506e-06 | 0.017293 | 0.017293 | 0.017293 | 0.99055 | -0.17998 | 0.99005 | -0.18953 | 4.7509
24 | 0.025656 | 0.0064435 | -0.025619 | -0.0064208 | 3.6707e-05 | 2.2681e-05 | 0.038967 | 0.038967 | 0.038967 | 0.97985 | -0.38755 | 0.97832 | -0.41758 | 10.7052
25 | -0.10147 | -0.025727 | 0.10164 | 0.025831 | 0.00016265 | 0.00010385 | 0.1523 | 0.1523 | 0.1523 | 0.9921 | -0.15004 | 0.99384 | -0.11675 | 41.8406
26 | 0.015001 | 0.0037606 | -0.014998 | -0.0037588 | 3.2152e-06 | 1.8414e-06 | 0.022559 | 0.022559 | 0.022559 | 0.98948 | -0.20007 | 0.98925 | -0.20457 | 6.1976
27 | -0.10026 | -0.025566 | 0.10033 | 0.025612 | 7.193e-05 | 4.5927e-05 | 0.15093 | 0.15093 | 0.15093 | 0.98948 | -0.20007 | 0.99025 | -0.18522 | 41.4644
28 | 0.10362 | 0.026481 | -0.10351 | -0.026408 | 0.00011334 | 7.2376e-05 | 0.1557 | 0.1557 | 0.1557 | 0.99144 | -0.16258 | 0.99025 | -0.18522 | 42.7754
29 | -0.11789 | -0.030058 | 0.11816 | 0.030225 | 0.00026147 | 0.00016619 | 0.17712 | 0.17712 | 0.17712 | 0.99144 | -0.16258 | 0.99384 | -0.11675 | 24.3304
30 | 0.014274 | 0.0035778 | -0.014272 | -0.0035769 | 1.6555e-06 | 9.3549e-07 | 0.021423 | 0.021423 | 0.021423 | 0.99144 | -0.16258 | 0.99131 | -0.16501 | 5.8854
31 | -0.21979 | -0.056056 | 0.22104 | 0.056852 | 0.0012467 | 0.00079629 | 0.32942 | 0.32942 | 0.32942 | 0.99384 | -0.11675 | 1 | 0 | 45.2506
32 | 0.1622 | 0.041348 | -0.16207 | -0.041263 | 0.00013361 | 8.5191e-05 | 0.2416 | 0.2416 | 0.2416 | 1 | 0 | 0.9991 | -0.017081 | 33.1874
33 | 0.1487 | 0.037913 | -0.14843 | -0.037738 | 0.00027531 | 0.00017542 | 0.2217 | 0.2217 | 0.2217 | 0.9991 | -0.017081 | 0.99708 | -0.05551 | 30.4533
34 | -0.00813 | -0.0020376 | 0.0081311 | 0.002038 | 1.1186e-06 | 4.6366e-07 | 0.012276 | 0.012275 | 0.012276 | 0.9855 | -0.27841 | 0.98565 | -0.27552 | 3.3724
35 | -0.013962 | -0.0034993 | 0.013966 | 0.003502 | 4.7257e-06 | 2.6628e-06 | 0.021078 | 0.021078 | 0.021078 | 0.98565 | -0.27552 | 0.98601 | -0.26842 | 5.7906
36 | -0.013966 | -0.003502 | 0.013973 | 0.0035055 | 6.2016e-06 | 3.494e-06 | 0.021078 | 0.021077 | 0.021078 | 0.98601 | -0.26842 | 0.98649 | -0.25911 | 5.7905
37 | 0.077208 | 0.01945 | -0.07707 | -0.019363 | 0.00013776 | 8.7819e-05 | 0.1165 | 0.1165 | 0.1165 | 0.98649 | -0.25911 | 0.98457 | -0.29648 | 32.0042
38 | -0.09118 | -0.022956 | 0.091482 | 0.023149 | 0.000302 | 0.00019273 | 0.13757 | 0.13757 | 0.13757 | 0.98649 | -0.25911 | 0.99006 | -0.19007 | 37.7947
39 | 0.025637 | 0.0064326 | -0.025617 | -0.0064201 | 2.0105e-05 | 1.2414e-05 | 0.038748 | 0.038749 | 0.038749 | 0.98457 | -0.29648 | 0.98373 | -0.31294 | 10.6452
40 | 0.051433 | 0.01293 | -0.051387 | -0.012901 | 4.6353e-05 | 2.9406e-05 | 0.077747 | 0.077747 | 0.077747 | 0.98457 | -0.29648 | 0.9836 | -0.31538 | 21.3591
41 | -0.098396 | -0.024881 | 0.098451 | 0.024916 | 5.4861e-05 | 3.5025e-05 | 0.14796 | 0.14796 | 0.14796 | 0.99006 | -0.19007 | 0.99066 | -0.17845 | 40.6493
42 | 0.015709 | 0.0039398 | -0.015704 | -0.0039367 | 5.3318e-06 | 3.0956e-06 | 0.023815 | 0.023815 | 0.023815 | 0.98159 | -0.35464 | 0.98123 | -0.36177 | 6.5426
43 | -0.015709 | -0.0039398 | 0.015719 | 0.0039452 | 9.4264e-06 | 5.4723e-06 | 0.023815 | 0.023815 | 0.023815 | 0.98159 | -0.35464 | 0.98224 | -0.34206 | 6.5426
44 | 0.015704 | 0.0039367 | -0.015701 | -0.0039351 | 2.6698e-06 | 1.5501e-06 | 0.023815 | 0.023815 | 0.023815 | 0.98123 | -0.36177 | 0.98105 | -0.36533 | 6.5426
45 | -0.033535 | -0.0084104 | 0.033578 | 0.0084372 | 4.2712e-05 | 2.6777e-05 | 0.050805 | 0.050805 | 0.050805 | 0.98224 | -0.34206 | 0.9836 | -0.31538 | 13.9574
46 | 0.011802 | 0.0029585 | -0.011799 | -0.0029571 | 2.6337e-06 | 1.3983e-06 | 0.017733 | 0.017733 | 0.017733 | 0.99029 | -0.18593 | 0.99005 | -0.19061 | 4.8718
47 | -0.018055 | -0.0045246 | 0.018101 | 0.0045517 | 4.5538e-05 | 2.7016e-05 | 0.02713 | 0.027129 | 0.02713 | 0.99029 | -0.18593 | 0.99302 | -0.13312 | 7.4532
48 | 0.0062537 | 0.0015662 | -0.0062386 | -0.0015624 | 1.5041e-05 | 3.7982e-06 | 0.0093964 | 0.0093984 | 0.0093984 | 0.99029 | -0.18593 | 0.98769 | -0.2365 | 2.582
49 | -0.12617 | -0.031969 | 0.12646 | 0.032153 | 0.00028846 | 0.00018433 | 0.18919 | 0.18919 | 0.18919 | 0.99302 | -0.13312 | 0.9955 | -0.085646 | 51.9753
50 | 0.10634 | 0.026984 | -0.10611 | -0.026836 | 0.00023133 | 0.00014774 | 0.15947 | 0.15947 | 0.15947 | 0.99302 | -0.13312 | 0.99066 | -0.17845 | 43.8104
51 | 0.0061364 | 0.0015367 | -0.0061359 | -0.0015366 | 4.6602e-07 | 1.1216e-07 | 0.0092444 | 0.0092444 | 0.0092444 | 0.98769 | -0.2365 | 0.98761 | -0.2381 | 2.5397
52 | -0.1404 | -0.035646 | 0.1406 | 0.035777 | 0.00020391 | 0.00013034 | 0.21002 | 0.21002 | 0.21002 | 0.9955 | -0.085646 | 0.99708 | -0.05551 | 57.6982
53 | -0.0060232 | -0.0015084 | 0.0060233 | 0.0015084 | 1.2972e-07 | 2.9271e-08 | 0.0090748 | 0.0090748 | 0.0090748 | 0.98759 | -0.23855 | 0.98761 | -0.2381 | 2.4931
54 | 0.0048937 | 0.0012253 | -0.0048924 | -0.0012253 | 1.292e-06 | 1.616e-08 | 0.0073729 | 0.0073732 | 0.0073732 | 0.98759 | -0.23855 | 0.9873 | -0.2441 | 2.0256
55 | 0.0041473 | 0.0010385 | -0.0041463 | -0.0010388 | 9.4907e-07 | -2.2084e-07 | 0.0062502 | 0.0062505 | 0.0062505 | 0.9873 | -0.2441 | 0.98706 | -0.2489 | 1.7172
56 | 0.002999 | 0.00075122 | -0.0029989 | -0.00075139 | 1.6289e-07 | -1.6737e-07 | 0.004521 | 0.0045211 | 0.0045211 | 0.98706 | -0.2489 | 0.987 | -0.25005 | 1.2421
57 | 0.0015721 | 0.00039381 | -0.0015721 | -0.00039381 | 1.3981e-09 | -7.5894e-09 | 0.0023701 | 0.0023701 | 0.0023701 | 0.987 | -0.25005 | 0.987 | -0.25006 | 0.65112
58 | -0.00068912 | -0.00017271 | 0.00068913 | 0.00017252 | 6.2363e-09 | -1.9293e-07 | 0.0010389 | 0.0010389 | 0.0010389 | 0.98699 | -0.25025 | 0.987 | -0.25006 | 0.28542

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39534 | 0.10082

## res_load
| p_mw | q_mvar
0 | 0.005664 | 0.0014195
1 | 0.0031525 | 0.0007901
2 | 0.024922 | 0.006246
3 | 0.0031539 | 0.00079045
4 | 0.0011293 | 0.00028302
5 | 0.0026368 | 0.00066083
6 | 0.0054568 | 0.0013676
7 | 0.0020765 | 0.00052043
8 | 0.0070064 | 0.001756
9 | 0.0094327 | 0.002364
10 | 0.010589 | 0.0026539
11 | 0.010255 | 0.00257
12 | 0.01177 | 0.0029499
13 | 0.0059187 | 0.0014834
14 | 0.02443 | 0.0061226
15 | 0.011203 | 0.0028078
16 | 0.011506 | 0.0028837
17 | 0.0088942 | 0.0022291
18 | 0.0031757 | 0.00079591
19 | 0.014272 | 0.0035769
20 | 0.010455 | 0.0026202
21 | 0.014998 | 0.0037588
22 | 0.013365 | 0.0033495
23 | 0.00813 | 0.0020376
24 | 0.0058305 | 0.0014613
25 | 0.0069137 | 0.0017327
26 | 0.017816 | 0.0044651
27 | 0.011799 | 0.0029571
28 | 0.0017295 | 0.00043344
29 | 0.00010226 | 2.5629e-05
30 | 0.013937 | 0.0034929
31 | 0.0076604 | 0.0019199
32 | 0.0011295 | 0.00028308
33 | 0.00011261 | 2.8223e-05
34 | 0.0007451 | 0.00018674
35 | 0.0011473 | 0.00028753
36 | 0.0014268 | 0.00035758
37 | 0.00068912 | 0.00017271
38 | 0.00088298 | 0.0002213
39 | 0.025617 | 0.0064201
40 | 0.017809 | 0.0044634
41 | 0.015701 | 0.0039351
42 | 0.0078254 | 0.0019612
43 | 0.025619 | 0.0064208

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1