## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2183-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2183-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2183-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2183-6_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2183-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2183-6_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_2183-6_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2183-6_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2183-6_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2183-6_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2183-6_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2183-6_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2183-6_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2183-6_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2183-6_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2183-6_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2183-6_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2183-6_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_2183-6_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2183-6_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2183-6_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2183-6_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2183-6_0_4_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_2183-6_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2183-6_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2183-6_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2183-6_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2183-6_0_4_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_2183-6_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_2183-6_0_4_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_2183-6_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_2183-6_0_4_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_2183-6_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_2183-6_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2183-6_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2183-6_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2183-6_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_2183-6_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2183-6_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2183-6_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2183-6_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2183-6_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2183-6_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2183-6_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2183-6_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2183-6_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2183-6_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2183-6_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2183-6_0_4_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_2183-6_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_2183-6_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2183-6_0_4_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_2183-6_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2183-6_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2183-6_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2183-6_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2183-6_0_4_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_2183-6_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2183-6_0_4_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_2183-6_0_4_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_2183-6_0_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_2183-6_0_4_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_2183-6_0_4_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_2183-6_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2183-6_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2183-6_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2183-6_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_2183-6_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_2183-6_0_4_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_2183-6_0_4_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_2183-6_0_4_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_2183-6_0_4_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_2183-6_0_4_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_2183-6_0_4_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_2183-6_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2183-6_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2183-6_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_2183-6_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_2183-6_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_2183-6_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_2183-6_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_2183-6_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_2183-6_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_2183-6_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_2183-6_0_4_node_122 | 0.4 | n |  | TRUE
85 | bus_LV_2183-6_0_4_node_121 | 0.4 | n |  | TRUE
86 | bus_LV_2183-6_0_4_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_2183-6_0_4_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_2183-6_0_4_node_120 | 0.4 | n |  | TRUE
89 | bus_LV_2183-6_0_4_node_101 | 0.4 | n |  | TRUE
90 | bus_MV_506_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2183-6_0_4_load_0 | 0 | 0.0050382 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2183-6_0_4_load_4 | 4 | 0.010686 | 0.0026781 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2183-6_0_4_load_22 | 5 | 0.0018581 | 0.00046569 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2183-6_0_4_load_11 | 6 | 0.0041662 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2183-6_0_4_load_5 | 7 | 0.017178 | 0.0043053 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2183-6_0_4_load_17 | 10 | 0.0028992 | 0.00072661 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2183-6_0_4_load_14 | 11 | 0.0010085 | 0.00025276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2183-6_0_4_load_9 | 12 | 0.0031453 | 0.00078829 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2183-6_0_4_load_10 | 14 | 0.0013498 | 0.0003383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2183-6_0_4_load_12 | 15 | 0.002946 | 0.00073834 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2183-6_0_4_load_13 | 16 | 0.0028312 | 0.00070957 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2183-6_0_4_load_25 | 17 | 0.0048625 | 0.0012187 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2183-6_0_4_load_26 | 18 | 0.0039932 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2183-6_0_4_load_18 | 21 | 0.0022457 | 0.00056281 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2183-6_0_4_load_82 | 22 | 0.0026156 | 0.00065552 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2183-6_0_4_load_19 | 23 | 0.0018325 | 0.00045927 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2183-6_0_4_load_20 | 24 | 0.0050634 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2183-6_0_4_load_23 | 25 | 0.003582 | 0.00089773 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2183-6_0_4_load_79 | 27 | 0.0027517 | 0.00068965 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2183-6_0_4_load_66 | 28 | 0.0035802 | 0.00089728 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2183-6_0_4_load_81 | 29 | 0.0029831 | 0.00074763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2183-6_0_4_load_80 | 31 | 0.0031044 | 0.00077802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2183-6_0_4_load_46 | 32 | 0.0025996 | 0.00065152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2183-6_0_4_load_43 | 33 | 0.0038601 | 0.00096743 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2183-6_0_4_load_27 | 34 | 0.014951 | 0.003747 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2183-6_0_4_load_28 | 35 | 0.0042238 | 0.0010586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2183-6_0_4_load_41 | 36 | 0.0038865 | 0.00097404 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2183-6_0_4_load_29 | 37 | 0.0057834 | 0.0014494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2183-6_0_4_load_40 | 38 | 0.007112 | 0.0017824 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2183-6_0_4_load_36 | 39 | 0.0065222 | 0.0016346 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2183-6_0_4_load_37 | 40 | 0.0022759 | 0.0005704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2183-6_0_4_load_38 | 41 | 0.0025469 | 0.00063832 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2183-6_0_4_load_30 | 42 | 0.00282 | 0.00070676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2183-6_0_4_load_31 | 43 | 0.0045706 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2183-6_0_4_load_33 | 45 | 0.0017311 | 0.00043385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2183-6_0_4_load_35 | 47 | 0.013493 | 0.0033815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2183-6_0_4_load_104 | 48 | 0.017237 | 0.0043199 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2183-6_0_4_load_59 | 49 | 0.0097045 | 0.0024322 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2183-6_0_4_load_44 | 50 | 0.0045341 | 0.0011364 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2183-6_0_4_load_102 | 51 | 0.0032033 | 0.00080283 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2183-6_0_4_load_63 | 52 | 0.0030023 | 0.00075245 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2183-6_0_4_load_39 | 54 | 0.0045492 | 0.0011401 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2183-6_0_4_load_47 | 55 | 0.0059072 | 0.0014805 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2183-6_0_4_load_85 | 56 | 0.0019237 | 0.00048212 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2183-6_0_4_load_45 | 57 | 0.0040498 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2183-6_0_4_load_83 | 58 | 0.0016543 | 0.00041462 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2183-6_0_4_load_88 | 61 | 0.0024945 | 0.00062518 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2183-6_0_4_load_87 | 62 | 0.0025342 | 0.00063514 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2183-6_0_4_load_49 | 63 | 0.003836 | 0.0009614 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2183-6_0_4_load_50 | 64 | 0.0041866 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2183-6_0_4_load_51 | 65 | 0.0035563 | 0.00089129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2183-6_0_4_load_52 | 66 | 0.0058511 | 0.0014664 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2183-6_0_4_load_53 | 67 | 0.0036628 | 0.000918 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2183-6_0_4_load_94 | 68 | 0.005828 | 0.0014606 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2183-6_0_4_load_89 | 69 | 0.0038728 | 0.00097061 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2183-6_0_4_load_95 | 70 | 0.0032947 | 0.00082572 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2183-6_0_4_load_90 | 71 | 0.0036127 | 0.00090543 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2183-6_0_4_load_78 | 72 | 0.0032957 | 0.00082598 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2183-6_0_4_load_77 | 73 | 0.0068292 | 0.0017116 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2183-6_0_4_load_64 | 74 | 0.0033183 | 0.00083164 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2183-6_0_4_load_65 | 75 | 0.0040689 | 0.0010198 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2183-6_0_4_load_69 | 76 | 0.0035311 | 0.00088498 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2183-6_0_4_load_70 | 77 | 0.0030204 | 0.00075699 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2183-6_0_4_load_71 | 78 | 0.0029863 | 0.00074844 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2183-6_0_4_load_72 | 79 | 0.0034109 | 0.00085484 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2183-6_0_4_load_74 | 81 | 0.002742 | 0.00068721 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2183-6_0_4_load_75 | 82 | 0.0023915 | 0.00059937 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2183-6_0_4_load_76 | 83 | 0.0026521 | 0.00066469 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2183-6_0_4_load_122 | 84 | 0.0051132 | 0.0012815 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2183-6_0_4_load_121 | 85 | 0.0028965 | 0.00072593 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2183-6_0_4_load_91 | 86 | 0.0034393 | 0.00086196 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2183-6_0_4_load_96 | 87 | 0.0039192 | 0.00098225 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2183-6_0_4_load_120 | 88 | 0.0047109 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2183-6_0_4_load_101 | 89 | 0.0038317 | 0.00096031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2183-6_0_4_line_0 |  | 0 | 1 | 0.025554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2183-6_0_4_line_1 |  | 1 | 2 | 0.004389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2183-6_0_4_line_2 |  | 2 | 3 | 0.009048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2183-6_0_4_line_3 |  | 2 | 4 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2183-6_0_4_line_4 |  | 3 | 5 | 0.024665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2183-6_0_4_line_5 |  | 3 | 6 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2183-6_0_4_line_6 |  | 4 | 7 | 0.025652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2183-6_0_4_line_7 |  | 6 | 12 | 0.026514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2183-6_0_4_line_8 |  | 7 | 8 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2183-6_0_4_line_9 |  | 8 | 9 | 0.018892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2183-6_0_4_line_10 |  | 9 | 10 | 0.0076769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2183-6_0_4_line_11 |  | 9 | 11 | 0.0085892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2183-6_0_4_line_12 |  | 11 | 13 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2183-6_0_4_line_13 |  | 12 | 14 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2183-6_0_4_line_14 |  | 13 | 19 | 0.027948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2183-6_0_4_line_15 |  | 14 | 15 | 0.0012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2183-6_0_4_line_16 |  | 15 | 16 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2183-6_0_4_line_17 |  | 16 | 17 | 0.057764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2183-6_0_4_line_18 |  | 17 | 18 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2183-6_0_4_line_19 |  | 19 | 20 | 0.026525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2183-6_0_4_line_20 |  | 19 | 21 | 0.0080099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2183-6_0_4_line_21 |  | 20 | 22 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2183-6_0_4_line_22 |  | 22 | 27 | 0.01506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2183-6_0_4_line_23 |  | 23 | 24 | 0.025545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2183-6_0_4_line_24 |  | 24 | 25 | 0.0048381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2183-6_0_4_line_25 |  | 25 | 26 | 0.02098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2183-6_0_4_line_26 |  | 26 | 28 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2183-6_0_4_line_27 |  | 26 | 29 | 0.025526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2183-6_0_4_line_28 |  | 27 | 83 | 0.015525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2183-6_0_4_line_29 |  | 28 | 30 | 0.0057288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2183-6_0_4_line_30 |  | 29 | 31 | 0.0077468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2183-6_0_4_line_31 |  | 30 | 52 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2183-6_0_4_line_32 |  | 30 | 46 | 0.030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2183-6_0_4_line_33 |  | 31 | 79 | 0.0080614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2183-6_0_4_line_34 |  | 32 | 33 | 0.0096182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2183-6_0_4_line_35 |  | 33 | 36 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2183-6_0_4_line_36 |  | 34 | 35 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2183-6_0_4_line_37 |  | 34 | 36 | 0.033878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2183-6_0_4_line_38 |  | 35 | 37 | 0.0036616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2183-6_0_4_line_39 |  | 36 | 38 | 0.037144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2183-6_0_4_line_40 |  | 37 | 39 | 0.008229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2183-6_0_4_line_41 |  | 38 | 53 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2183-6_0_4_line_42 |  | 39 | 40 | 0.039764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2183-6_0_4_line_43 |  | 40 | 41 | 0.021535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2183-6_0_4_line_44 |  | 41 | 54 | 0.0019951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2183-6_0_4_line_45 |  | 42 | 43 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2183-6_0_4_line_46 |  | 42 | 44 | 0.030198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2183-6_0_4_line_47 |  | 43 | 45 | 0.0016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2183-6_0_4_line_48 |  | 44 | 46 | 0.008964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2183-6_0_4_line_49 |  | 44 | 47 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2183-6_0_4_line_50 |  | 45 | 48 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2183-6_0_4_line_51 |  | 46 | 49 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2183-6_0_4_line_52 |  | 47 | 50 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2183-6_0_4_line_53 |  | 48 | 51 | 0.0030241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2183-6_0_4_line_54 |  | 50 | 53 | 0.0068332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2183-6_0_4_line_55 |  | 51 | 89 | 0.023291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2183-6_0_4_line_56 |  | 52 | 74 | 0.0031009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2183-6_0_4_line_57 |  | 53 | 57 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2183-6_0_4_line_58 |  | 54 | 55 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2183-6_0_4_line_59 |  | 55 | 56 | 0.040109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2183-6_0_4_line_60 |  | 56 | 58 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2183-6_0_4_line_61 |  | 58 | 59 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2183-6_0_4_line_62 |  | 59 | 60 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2183-6_0_4_line_63 |  | 60 | 61 | 0.0074454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2183-6_0_4_line_64 |  | 61 | 62 | 0.039462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2183-6_0_4_line_65 |  | 62 | 84 | 0.061614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2183-6_0_4_line_66 |  | 63 | 64 | 0.00078574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2183-6_0_4_line_67 |  | 63 | 65 | 0.0081113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2183-6_0_4_line_68 |  | 64 | 66 | 0.013008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2183-6_0_4_line_69 |  | 65 | 67 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2183-6_0_4_line_70 |  | 66 | 68 | 0.009147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2183-6_0_4_line_71 |  | 67 | 69 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2183-6_0_4_line_72 |  | 68 | 70 | 0.023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2183-6_0_4_line_73 |  | 69 | 71 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2183-6_0_4_line_74 |  | 70 | 87 | 0.022411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2183-6_0_4_line_75 |  | 71 | 86 | 0.008645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2183-6_0_4_line_76 |  | 72 | 73 | 0.01239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2183-6_0_4_line_77 |  | 73 | 80 | 0.0018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2183-6_0_4_line_78 |  | 74 | 75 | 0.007622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2183-6_0_4_line_79 |  | 76 | 77 | 0.0083398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2183-6_0_4_line_80 |  | 76 | 78 | 0.0082958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2183-6_0_4_line_81 |  | 77 | 79 | 0.0081859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2183-6_0_4_line_82 |  | 78 | 80 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2183-6_0_4_line_83 |  | 80 | 81 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2183-6_0_4_line_84 |  | 81 | 82 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2183-6_0_4_line_85 |  | 82 | 83 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2183-6_0_4_line_86 |  | 84 | 85 | 0.007108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2183-6_0_4_line_87 |  | 85 | 88 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2183-6_0_4_line_88 |  | 87 | 88 | 0.010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2183-6_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 90 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2574762.6534 | 1184580.3893 | 2574741.1377 | 1184566.6016
1 | 2574761.7022 | 1184584.6734 | 2574762.6534 | 1184580.3893
2 | 2574759.7552 | 1184593.5085 | 2574761.7022 | 1184584.6734
3 | 2574761.7022 | 1184584.6734 | 2574780.0826 | 1184592.8063
4 | 2574759.7552 | 1184593.5085 | 2574780.3635 | 1184607.0599
5 | 2574759.7552 | 1184593.5085 | 2574748.5578 | 1184612.3886
6 | 2574780.0826 | 1184592.8063 | 2574803.5411 | 1184603.1862
7 | 2574735.0327 | 1184635.1934 | 2574748.5578 | 1184612.3886
8 | 2574818.9911 | 1184610.0225 | 2574803.5411 | 1184603.1862
9 | 2574810.6365 | 1184626.9667 | 2574812.7176 | 1184622.7446 | 2574818.9911 | 1184610.0225
10 | 2574810.6365 | 1184626.9667 | 2574804.2222 | 1184622.7488
11 | 2574810.6365 | 1184626.9667 | 2574817.8118 | 1184631.6878
12 | 2574833.171 | 1184635.1092 | 2574829.6918 | 1184635.3685 | 2574824.6885 | 1184634.4002 | 2574818.359 | 1184632.0479 | 2574817.8118 | 1184631.6878
13 | 2574735.0327 | 1184635.1934 | 2574732.5492 | 1184639.3809 | 2574727.388 | 1184646.5415
14 | 2574829.6469 | 1184662.7274 | 2574832.751 | 1184647.7176 | 2574832.9201 | 1184642.5697 | 2574833.171 | 1184635.1092
15 | 2574726.6577 | 1184647.5546 | 2574727.388 | 1184646.5415
16 | 2574719.6796 | 1184657.2358 | 2574726.6577 | 1184647.5546
17 | 2574719.6796 | 1184657.2358 | 2574685.9036 | 1184704.096
18 | 2574685.9036 | 1184704.096 | 2574664.3592 | 1184733.9862 | 2574662.0501 | 1184739.9122
19 | 2574829.6469 | 1184662.7274 | 2574832.7265 | 1184663.6149 | 2574848.8122 | 1184668.294 | 2574855.1166 | 1184670.1351
20 | 2574829.6469 | 1184662.7274 | 2574827.2735 | 1184670.3777
21 | 2574855.1166 | 1184670.1351 | 2574858.2643 | 1184687.7577
22 | 2574861.7806 | 1184702.4004 | 2574858.3448 | 1184688.2088 | 2574858.2643 | 1184687.7577
23 | 2574811.0812 | 1184722.5699 | 2574818.6503 | 1184698.1725
24 | 2574811.0812 | 1184722.5699 | 2574809.6476 | 1184727.1907
25 | 2574803.6803 | 1184747.3035 | 2574807.1026 | 1184735.394 | 2574809.6476 | 1184727.1907
26 | 2574803.6803 | 1184747.3035 | 2574798.6047 | 1184765.1773
27 | 2574803.6803 | 1184747.3035 | 2574807.4697 | 1184748.2102 | 2574828.1627 | 1184754.5069
28 | 2574861.7806 | 1184702.4004 | 2574865.4336 | 1184717.4891
29 | 2574797.0398 | 1184770.6883 | 2574798.6047 | 1184765.1773
30 | 2574835.574 | 1184756.7621 | 2574828.1627 | 1184754.5069
31 | 2574797.0398 | 1184770.6883 | 2574777.3595 | 1184763.7588
32 | 2574789.1652 | 1184800.0036 | 2574797.0398 | 1184770.6883
33 | 2574843.3094 | 1184759.0308 | 2574837.09 | 1184757.2234 | 2574835.574 | 1184756.7621
34 | 2574694.0717 | 1184802.4627 | 2574703.4392 | 1184804.6446
35 | 2574703.4392 | 1184804.6446 | 2574721.7947 | 1184808.9198
36 | 2574740.8921 | 1184836.9026 | 2574736.656 | 1184852.7569
37 | 2574721.7947 | 1184808.9198 | 2574740.8921 | 1184836.9026
38 | 2574735.7108 | 1184856.2944 | 2574736.656 | 1184852.7569
39 | 2574750.2709 | 1184803.8203 | 2574746.8082 | 1184814.7459 | 2574721.7947 | 1184808.9198
40 | 2574735.7108 | 1184856.2944 | 2574733.5866 | 1184864.2445
41 | 2574754.9122 | 1184789.176 | 2574750.2709 | 1184803.8203
42 | 2574693.9189 | 1184867.0099 | 2574733.5866 | 1184864.2445
43 | 2574693.9189 | 1184867.0099 | 2574672.6929 | 1184863.3734
44 | 2574670.7265 | 1184863.0365 | 2574672.6929 | 1184863.3734
45 | 2574800.8401 | 1184836.2668 | 2574812.3823 | 1184845.2404 | 2574820.0299 | 1184848.832
46 | 2574789.0504 | 1184808.9643 | 2574792.4687 | 1184823.2018 | 2574800.3222 | 1184835.8641 | 2574800.8401 | 1184836.2668
47 | 2574821.5273 | 1184849.5353 | 2574820.0299 | 1184848.832
48 | 2574789.1652 | 1184800.0036 | 2574789.0504 | 1184808.9643
49 | 2574789.0504 | 1184808.9643 | 2574775.5882 | 1184801.1609
50 | 2574821.5273 | 1184849.5353 | 2574824.8396 | 1184851.0909 | 2574835.0184 | 1184854.5619
51 | 2574789.1652 | 1184800.0036 | 2574811.2535 | 1184802.6195
52 | 2574775.5882 | 1184801.1609 | 2574760.824 | 1184792.6028
53 | 2574837.8806 | 1184855.5379 | 2574835.0184 | 1184854.5619
54 | 2574754.9122 | 1184789.176 | 2574760.824 | 1184792.6028
55 | 2574859.9247 | 1184863.0551 | 2574837.8806 | 1184855.5379
56 | 2574777.3595 | 1184763.7588 | 2574774.4346 | 1184762.7289
57 | 2574732.0001 | 1184780.057 | 2574754.9122 | 1184789.176
58 | 2574670.7265 | 1184863.0365 | 2574653.6938 | 1184860.1184
59 | 2574653.6938 | 1184860.1184 | 2574641.9785 | 1184898.4786
60 | 2574641.9785 | 1184898.4786 | 2574632.9322 | 1184897.9279 | 2574622.9393 | 1184896.0643
61 | 2574607.6961 | 1184893.2216 | 2574622.9393 | 1184896.0643
62 | 2574607.6961 | 1184893.2216 | 2574604.2195 | 1184908.411
63 | 2574604.2195 | 1184908.411 | 2574602.5595 | 1184915.6689
64 | 2574602.5595 | 1184915.6689 | 2574634.7135 | 1184938.5454
65 | 2574682.6168 | 1184899.7957 | 2574634.7135 | 1184938.5454
66 | 2574779.1186 | 1184913.8709 | 2574778.3412 | 1184913.7566
67 | 2574779.1186 | 1184913.8709 | 2574787.1436 | 1184915.0511
68 | 2574778.3412 | 1184913.7566 | 2574765.4719 | 1184911.864
69 | 2574809.0022 | 1184918.2656 | 2574787.1436 | 1184915.0511
70 | 2574756.4209 | 1184910.5424 | 2574762.9625 | 1184911.495 | 2574765.4719 | 1184911.864
71 | 2574820.9483 | 1184920.0224 | 2574809.0022 | 1184918.2656
72 | 2574756.4209 | 1184910.5424 | 2574733.4717 | 1184907.2008
73 | 2574820.9483 | 1184920.0224 | 2574835.1517 | 1184922.1112
74 | 2574733.4717 | 1184907.2008 | 2574711.2947 | 1184903.9715
75 | 2574835.1517 | 1184922.1112 | 2574843.7047 | 1184923.3691
76 | 2574879.6497 | 1184769.647 | 2574891.4413 | 1184773.4516
77 | 2574877.9263 | 1184769.0909 | 2574879.6497 | 1184769.647
78 | 2574767.2453 | 1184760.1975 | 2574774.4346 | 1184762.7289
79 | 2574859.1786 | 1184763.6426 | 2574851.1701 | 1184761.3152
80 | 2574859.1786 | 1184763.6426 | 2574867.1448 | 1184765.9577
81 | 2574843.3094 | 1184759.0308 | 2574851.1701 | 1184761.3152
82 | 2574877.9263 | 1184769.0909 | 2574867.1448 | 1184765.9577
83 | 2574877.9263 | 1184769.0909 | 2574872.6034 | 1184747.1043
84 | 2574872.6034 | 1184747.1043 | 2574869.013 | 1184732.2742
85 | 2574869.013 | 1184732.2742 | 2574865.4336 | 1184717.4891
86 | 2574682.6168 | 1184899.7957 | 2574689.6506 | 1184900.8199
87 | 2574689.6506 | 1184900.8199 | 2574701.1126 | 1184902.4889
88 | 2574701.1126 | 1184902.4889 | 2574711.2947 | 1184903.9715

## bus_geodata
| x | y | coords
0 | 2574741.1377 | 1184566.6016
1 | 2574762.6534 | 1184580.3893
2 | 2574761.7022 | 1184584.6734
3 | 2574759.7552 | 1184593.5085
4 | 2574780.0826 | 1184592.8063
5 | 2574780.3635 | 1184607.0599
6 | 2574748.5578 | 1184612.3886
7 | 2574803.5411 | 1184603.1862
8 | 2574818.9911 | 1184610.0225
9 | 2574810.6365 | 1184626.9667
10 | 2574804.2222 | 1184622.7488
11 | 2574817.8118 | 1184631.6878
12 | 2574735.0327 | 1184635.1934
13 | 2574833.171 | 1184635.1092
14 | 2574727.388 | 1184646.5415
15 | 2574726.6577 | 1184647.5546
16 | 2574719.6796 | 1184657.2358
17 | 2574685.9036 | 1184704.096
18 | 2574662.0501 | 1184739.9122
19 | 2574829.6469 | 1184662.7274
20 | 2574855.1166 | 1184670.1351
21 | 2574827.2735 | 1184670.3777
22 | 2574858.2643 | 1184687.7577
23 | 2574818.6503 | 1184698.1725
24 | 2574811.0812 | 1184722.5699
25 | 2574809.6476 | 1184727.1907
26 | 2574803.6803 | 1184747.3035
27 | 2574861.7806 | 1184702.4004
28 | 2574798.6047 | 1184765.1773
29 | 2574828.1627 | 1184754.5069
30 | 2574797.0398 | 1184770.6883
31 | 2574835.574 | 1184756.7621
32 | 2574694.0717 | 1184802.4627
33 | 2574703.4392 | 1184804.6446
34 | 2574740.8921 | 1184836.9026
35 | 2574736.656 | 1184852.7569
36 | 2574721.7947 | 1184808.9198
37 | 2574735.7108 | 1184856.2944
38 | 2574750.2709 | 1184803.8203
39 | 2574733.5866 | 1184864.2445
40 | 2574693.9189 | 1184867.0099
41 | 2574672.6929 | 1184863.3734
42 | 2574800.8401 | 1184836.2668
43 | 2574820.0299 | 1184848.832
44 | 2574789.0504 | 1184808.9643
45 | 2574821.5273 | 1184849.5353
46 | 2574789.1652 | 1184800.0036
47 | 2574775.5882 | 1184801.1609
48 | 2574835.0184 | 1184854.5619
49 | 2574811.2535 | 1184802.6195
50 | 2574760.824 | 1184792.6028
51 | 2574837.8806 | 1184855.5379
52 | 2574777.3595 | 1184763.7588
53 | 2574754.9122 | 1184789.176
54 | 2574670.7265 | 1184863.0365
55 | 2574653.6938 | 1184860.1184
56 | 2574641.9785 | 1184898.4786
57 | 2574732.0001 | 1184780.057
58 | 2574622.9393 | 1184896.0643
59 | 2574607.6961 | 1184893.2216
60 | 2574604.2195 | 1184908.411
61 | 2574602.5595 | 1184915.6689
62 | 2574634.7135 | 1184938.5454
63 | 2574779.1186 | 1184913.8709
64 | 2574778.3412 | 1184913.7566
65 | 2574787.1436 | 1184915.0511
66 | 2574765.4719 | 1184911.864
67 | 2574809.0022 | 1184918.2656
68 | 2574756.4209 | 1184910.5424
69 | 2574820.9483 | 1184920.0224
70 | 2574733.4717 | 1184907.2008
71 | 2574835.1517 | 1184922.1112
72 | 2574891.4413 | 1184773.4516
73 | 2574879.6497 | 1184769.647
74 | 2574774.4346 | 1184762.7289
75 | 2574767.2453 | 1184760.1975
76 | 2574859.1786 | 1184763.6426
77 | 2574851.1701 | 1184761.3152
78 | 2574867.1448 | 1184765.9577
79 | 2574843.3094 | 1184759.0308
80 | 2574877.9263 | 1184769.0909
81 | 2574872.6034 | 1184747.1043
82 | 2574869.013 | 1184732.2742
83 | 2574865.4336 | 1184717.4891
84 | 2574682.6168 | 1184899.7957
85 | 2574689.6506 | 1184900.8199
86 | 2574843.7047 | 1184923.369
87 | 2574711.2947 | 1184903.9715
88 | 2574701.1126 | 1184902.4889
89 | 2574859.9247 | 1184863.0551
90 | 2574789.0504 | 1184808.9643

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97295 | -0.52142 | 0.0050382 | 0.0012627
1 | 0.97307 | -0.51905 | 0 | 0
2 | 0.97309 | -0.51865 | 0 | 0
3 | 0.97288 | -0.52284 | 0 | 0
4 | 0.97366 | -0.50748 | 0.010686 | 0.0026781
5 | 0.97284 | -0.52368 | 0.0018581 | 0.00046569
6 | 0.97241 | -0.53226 | 0.0041662 | 0.0010441
7 | 0.97464 | -0.48822 | 0.017178 | 0.0043053
8 | 0.97555 | -0.47024 | 0 | 0
9 | 0.97657 | -0.45017 | 0 | 0
10 | 0.97655 | -0.45057 | 0.0028992 | 0.00072661
11 | 0.97706 | -0.4406 | 0.0010085 | 0.00025276
12 | 0.97193 | -0.54162 | 0.0031453 | 0.00078829
13 | 0.97799 | -0.42252 | 0 | 0
14 | 0.97173 | -0.54566 | 0.0013498 | 0.0003383
15 | 0.97171 | -0.54599 | 0.002946 | 0.00073834
16 | 0.97158 | -0.54857 | 0.0028312 | 0.00070957
17 | 0.9711 | -0.55802 | 0.0048625 | 0.0012187
18 | 0.97094 | -0.56121 | 0.0039932 | 0.0010008
19 | 0.9796 | -0.39101 | 0 | 0
20 | 0.98119 | -0.36012 | 0 | 0
21 | 0.97958 | -0.39134 | 0.0022457 | 0.00056281
22 | 0.98226 | -0.33933 | 0.0026156 | 0.00065552
23 | 0.99473 | -0.099978 | 0.0018325 | 0.00045927
24 | 0.99478 | -0.099153 | 0.0050634 | 0.001269
25 | 0.99481 | -0.098566 | 0.003582 | 0.00089773
26 | 0.99501 | -0.094694 | 0 | 0
27 | 0.9832 | -0.32117 | 0.0027517 | 0.00068965
28 | 0.99601 | -0.075574 | 0.0035802 | 0.00089728
29 | 0.99249 | -0.14269 | 0.0029831 | 0.00074763
30 | 0.99633 | -0.069507 | 0 | 0
31 | 0.99174 | -0.1569 | 0.0031044 | 0.00077802
32 | 0.9953 | -0.08917 | 0.0025996 | 0.00065152
33 | 0.99532 | -0.08873 | 0.0038601 | 0.00096743
34 | 0.99365 | -0.12037 | 0.014951 | 0.003747
35 | 0.99291 | -0.1346 | 0.0042238 | 0.0010586
36 | 0.99543 | -0.086588 | 0.0038865 | 0.00097404
37 | 0.99259 | -0.14069 | 0.0057834 | 0.0014494
38 | 0.99755 | -0.046325 | 0.007112 | 0.0017824
39 | 0.99191 | -0.15354 | 0.0065222 | 0.0016346
40 | 0.98889 | -0.21125 | 0.0022759 | 0.0005704
41 | 0.9873 | -0.24177 | 0.0025469 | 0.00063832
42 | 0.99784 | -0.041276 | 0.00282 | 0.00070676
43 | 0.99719 | -0.053631 | 0.0045706 | 0.0011455
44 | 0.99875 | -0.023638 | 0 | 0
45 | 0.99716 | -0.054385 | 0.0017311 | 0.00043385
46 | 0.99817 | -0.034663 | 0 | 0
47 | 1 | 0 | -0.31933 | -0.081322
48 | 0.99684 | -0.060519 | 0.017237 | 0.0043199
49 | 0.99797 | -0.03844 | 0.0097045 | 0.0024322
50 | 0.9989 | -0.020726 | 0.0045341 | 0.0011364
51 | 0.99682 | -0.060893 | 0.0032033 | 0.00080283
52 | 0.99614 | -0.073314 | 0.0030023 | 0.00075245
53 | 0.99848 | -0.028767 | 0 | 0
54 | 0.98715 | -0.24452 | 0.0045492 | 0.0011401
55 | 0.98599 | -0.26689 | 0.0059072 | 0.0014805
56 | 0.98351 | -0.31476 | 0.0019237 | 0.00048212
57 | 0.99839 | -0.030509 | 0.0040498 | 0.001015
58 | 0.98235 | -0.33712 | 0.0016543 | 0.00041462
59 | 0.98144 | -0.35473 | 0 | 0
60 | 0.98053 | -0.37246 | 0 | 0
61 | 0.98009 | -0.38094 | 0.0024945 | 0.00062518
62 | 0.97787 | -0.42423 | 0.0025342 | 0.00063514
63 | 0.97094 | -0.56054 | 0.003836 | 0.0009614
64 | 0.97095 | -0.56023 | 0.0041866 | 0.0010493
65 | 0.9708 | -0.56327 | 0.0035563 | 0.00089129
66 | 0.97127 | -0.55393 | 0.0058511 | 0.0014664
67 | 0.9705 | -0.56923 | 0.0036628 | 0.000918
68 | 0.97155 | -0.54852 | 0.005828 | 0.0014606
69 | 0.97038 | -0.57167 | 0.0038728 | 0.00097061
70 | 0.97237 | -0.53233 | 0.0032947 | 0.00082572
71 | 0.97028 | -0.57354 | 0.0036127 | 0.00090543
72 | 0.98786 | -0.23127 | 0.0032957 | 0.00082598
73 | 0.9879 | -0.23054 | 0.0068292 | 0.0017116
74 | 0.99611 | -0.073716 | 0.0033183 | 0.00083164
75 | 0.99609 | -0.074261 | 0.0040689 | 0.0010198
76 | 0.98952 | -0.19932 | 0.0035311 | 0.00088498
77 | 0.99025 | -0.18537 | 0.0030204 | 0.00075699
78 | 0.98883 | -0.21269 | 0.0029863 | 0.00074844
79 | 0.99099 | -0.17126 | 0.0034109 | 0.00085484
80 | 0.98791 | -0.23022 | 0 | 0
81 | 0.98629 | -0.26153 | 0.002742 | 0.00068721
82 | 0.98523 | -0.28195 | 0.0023915 | 0.00059937
83 | 0.9842 | -0.30171 | 0.0026521 | 0.00066469
84 | 0.97455 | -0.48935 | 0.0051132 | 0.0012815
85 | 0.9742 | -0.49622 | 0.0028965 | 0.00072593
86 | 0.97025 | -0.5741 | 0.0034393 | 0.00086196
87 | 0.97323 | -0.51535 | 0.0039192 | 0.00098225
88 | 0.97366 | -0.50682 | 0.0047109 | 0.0011807
89 | 0.99674 | -0.062458 | 0.0038317 | 0.00096031
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0050382 | -0.0012627 | 0.0050387 | 0.0012627 | 5.6894e-07 | 4.6718e-08 | 0.0077053 | 0.0077052 | 0.0077053 | 0.97295 | -0.52142 | 0.97307 | -0.51905 | 2.1168
1 | -0.0050387 | -0.0012627 | 0.0050388 | 0.0012627 | 9.7715e-08 | 8.0149e-09 | 0.0077052 | 0.0077052 | 0.0077052 | 0.97307 | -0.51905 | 0.97309 | -0.51865 | 2.1168
2 | 0.025186 | 0.0063226 | -0.025181 | -0.0063195 | 5.0337e-06 | 3.1092e-06 | 0.038517 | 0.038517 | 0.038517 | 0.97309 | -0.51865 | 0.97288 | -0.52284 | 10.5816
3 | -0.030225 | -0.0075853 | 0.030241 | 0.0075954 | 1.6103e-05 | 1.0056e-05 | 0.046222 | 0.046222 | 0.046222 | 0.97309 | -0.51865 | 0.97366 | -0.50748 | 12.6984
4 | 0.0018582 | 0.00046544 | -0.0018581 | -0.00046569 | 7.471e-08 | -2.5844e-07 | 0.002842 | 0.0028421 | 0.0028421 | 0.97288 | -0.52284 | 0.97284 | -0.52368 | 0.78081
5 | 0.023323 | 0.0058541 | -0.023312 | -0.0058476 | 1.0476e-05 | 6.4325e-06 | 0.035675 | 0.035675 | 0.035675 | 0.97288 | -0.52284 | 0.97241 | -0.53226 | 9.8008
6 | -0.040926 | -0.010273 | 0.040964 | 0.010297 | 3.764e-05 | 2.377e-05 | 0.062552 | 0.062552 | 0.062552 | 0.97366 | -0.50748 | 0.97464 | -0.48822 | 17.1847
7 | 0.019146 | 0.0048035 | -0.019137 | -0.0047983 | 8.5356e-06 | 5.134e-06 | 0.0293 | 0.0293 | 0.0293 | 0.97241 | -0.53226 | 0.97193 | -0.54162 | 8.0494
8 | -0.058142 | -0.014602 | 0.058192 | 0.014634 | 4.9935e-05 | 3.1748e-05 | 0.088779 | 0.088779 | 0.088779 | 0.97464 | -0.48822 | 0.97555 | -0.47024 | 24.3898
9 | -0.058192 | -0.014634 | 0.058248 | 0.01467 | 5.5837e-05 | 3.55e-05 | 0.088779 | 0.088779 | 0.088779 | 0.97555 | -0.47024 | 0.97657 | -0.45017 | 24.3898
10 | 0.0028993 | 0.00072655 | -0.0028992 | -0.00072661 | 5.6182e-08 | -6.0094e-08 | 0.0044176 | 0.0044176 | 0.0044176 | 0.97657 | -0.45017 | 0.97655 | -0.45057 | 1.2136
11 | -0.061147 | -0.015396 | 0.061175 | 0.015414 | 2.7976e-05 | 1.7797e-05 | 0.093196 | 0.093196 | 0.093196 | 0.97657 | -0.45017 | 0.97706 | -0.4406 | 25.6034
12 | -0.062184 | -0.015667 | 0.062238 | 0.015701 | 5.382e-05 | 3.4244e-05 | 0.094732 | 0.094732 | 0.094732 | 0.97706 | -0.4406 | 0.97799 | -0.42252 | 26.0254
13 | 0.015992 | 0.0040101 | -0.015989 | -0.0040083 | 3.0789e-06 | 1.8008e-06 | 0.024484 | 0.024485 | 0.024485 | 0.97193 | -0.54162 | 0.97173 | -0.54566 | 6.7265
14 | -0.062238 | -0.015701 | 0.062332 | 0.015761 | 9.4054e-05 | 5.9843e-05 | 0.094732 | 0.094732 | 0.094732 | 0.97799 | -0.42252 | 0.9796 | -0.39101 | 26.0253
15 | 0.014639 | 0.00367 | -0.014639 | -0.0036698 | 2.3536e-07 | 1.3516e-07 | 0.022418 | 0.022418 | 0.022418 | 0.97173 | -0.54566 | 0.97171 | -0.54599 | 6.1587
16 | 0.011693 | 0.0029315 | -0.011692 | -0.0029307 | 1.4349e-06 | 7.7053e-07 | 0.017906 | 0.017906 | 0.017906 | 0.97171 | -0.54599 | 0.97158 | -0.54857 | 4.9193
17 | 0.0088603 | 0.0022211 | -0.0088563 | -0.0022193 | 3.989e-06 | 1.838e-06 | 0.01357 | 0.01357 | 0.01357 | 0.97158 | -0.54857 | 0.9711 | -0.55802 | 3.7281
18 | 0.0039938 | 0.0010007 | -0.0039932 | -0.0010008 | 6.0679e-07 | -1.4611e-07 | 0.0061196 | 0.0061198 | 0.0061198 | 0.9711 | -0.55802 | 0.97094 | -0.56121 | 1.6813
19 | -0.064577 | -0.016324 | 0.064673 | 0.016385 | 9.5809e-05 | 6.0983e-05 | 0.098143 | 0.098143 | 0.098143 | 0.9796 | -0.39101 | 0.98119 | -0.36012 | 26.9624
20 | 0.0022457 | 0.00056274 | -0.0022457 | -0.00056281 | 3.4952e-08 | -7.847e-08 | 0.0034112 | 0.0034112 | 0.0034112 | 0.9796 | -0.39101 | 0.97958 | -0.39134 | 0.93715
21 | -0.064673 | -0.016385 | 0.064738 | 0.016426 | 6.4661e-05 | 4.1157e-05 | 0.098143 | 0.098143 | 0.098143 | 0.98119 | -0.36012 | 0.98226 | -0.33933 | 26.9624
22 | -0.067353 | -0.017081 | 0.067412 | 0.017119 | 5.8877e-05 | 3.7491e-05 | 0.10211 | 0.10211 | 0.10211 | 0.98226 | -0.33933 | 0.9832 | -0.32117 | 28.0509
23 | -0.0018325 | -0.00045927 | 0.0018326 | 0.00045898 | 7.1979e-08 | -2.8555e-07 | 0.0027412 | 0.0027411 | 0.0027412 | 0.99473 | -0.099978 | 0.99478 | -0.099153 | 0.75309
24 | -0.006896 | -0.001728 | 0.0068962 | 0.0017281 | 1.9304e-07 | 6.0734e-08 | 0.010315 | 0.010315 | 0.010315 | 0.99478 | -0.099153 | 0.99481 | -0.098566 | 2.8338
25 | -0.010478 | -0.0026258 | 0.01048 | 0.0026267 | 1.9326e-06 | 9.6443e-07 | 0.015673 | 0.015673 | 0.015673 | 0.99481 | -0.098566 | 0.99501 | -0.094694 | 4.3058
26 | -0.11858 | -0.030324 | 0.11869 | 0.030394 | 0.00010982 | 6.9801e-05 | 0.17755 | 0.17754 | 0.17755 | 0.99501 | -0.094694 | 0.99601 | -0.075574 | 24.3881
27 | 0.1081 | 0.027697 | -0.10785 | -0.027537 | 0.00025082 | 0.00016019 | 0.16187 | 0.16187 | 0.16187 | 0.99501 | -0.094694 | 0.99249 | -0.14269 | 44.4705
28 | -0.070164 | -0.017808 | 0.07023 | 0.01785 | 6.5746e-05 | 4.188e-05 | 0.10627 | 0.10627 | 0.10627 | 0.9832 | -0.32117 | 0.9842 | -0.30171 | 29.195
29 | -0.12227 | -0.031291 | 0.1223 | 0.031314 | 3.5931e-05 | 2.2846e-05 | 0.18289 | 0.18289 | 0.18289 | 0.99601 | -0.075574 | 0.99633 | -0.069507 | 25.1228
30 | 0.10486 | 0.026789 | -0.10479 | -0.026743 | 7.1972e-05 | 4.5962e-05 | 0.1574 | 0.1574 | 0.1574 | 0.99249 | -0.14269 | 0.99174 | -0.1569 | 43.2418
31 | 0.010392 | 0.0026048 | -0.01039 | -0.0026039 | 1.8846e-06 | 9.3448e-07 | 0.01552 | 0.01552 | 0.01552 | 0.99633 | -0.069507 | 0.99614 | -0.073314 | 4.2637
32 | -0.13269 | -0.033919 | 0.13292 | 0.034061 | 0.00022406 | 0.00014261 | 0.19841 | 0.19841 | 0.19841 | 0.99633 | -0.069507 | 0.99817 | -0.034663 | 27.2546
33 | 0.10169 | 0.025965 | -0.10162 | -0.02592 | 7.0528e-05 | 4.5034e-05 | 0.15274 | 0.15274 | 0.15274 | 0.99174 | -0.1569 | 0.99099 | -0.17126 | 41.9622
34 | -0.0025996 | -0.00065152 | 0.0025996 | 0.00065143 | 5.4481e-08 | -9.0135e-08 | 0.0038865 | 0.0038865 | 0.0038865 | 0.9953 | -0.08917 | 0.99532 | -0.08873 | 1.0677
35 | -0.0064597 | -0.0016189 | 0.0064604 | 0.001619 | 6.5915e-07 | 1.7688e-07 | 0.0096574 | 0.0096573 | 0.0096574 | 0.99532 | -0.08873 | 0.99543 | -0.086588 | 2.6531
36 | 0.099601 | 0.025504 | -0.099533 | -0.02546 | 6.8631e-05 | 4.3499e-05 | 0.14935 | 0.14935 | 0.14935 | 0.99365 | -0.12037 | 0.99291 | -0.1346 | 20.5148
37 | -0.11455 | -0.029251 | 0.11474 | 0.02937 | 0.00018735 | 0.00011902 | 0.17174 | 0.17174 | 0.17174 | 0.99365 | -0.12037 | 0.99543 | -0.086588 | 23.5902
38 | 0.095309 | 0.024402 | -0.095281 | -0.024384 | 2.8086e-05 | 1.7928e-05 | 0.14302 | 0.14302 | 0.14302 | 0.99291 | -0.1346 | 0.99259 | -0.14069 | 39.2907
39 | -0.12509 | -0.031963 | 0.12533 | 0.032118 | 0.00024407 | 0.00015524 | 0.1872 | 0.1872 | 0.1872 | 0.99543 | -0.086588 | 0.99755 | -0.046325 | 25.7147
40 | 0.089497 | 0.022934 | -0.089442 | -0.022899 | 5.5698e-05 | 3.5541e-05 | 0.13435 | 0.13435 | 0.13435 | 0.99259 | -0.14069 | 0.99191 | -0.15354 | 36.9088
41 | -0.13244 | -0.0339 | 0.13255 | 0.033972 | 0.00011271 | 7.1732e-05 | 0.19781 | 0.19781 | 0.19781 | 0.99755 | -0.046325 | 0.99848 | -0.028767 | 27.1719
42 | 0.082919 | 0.021264 | -0.082688 | -0.021117 | 0.00023137 | 0.00014757 | 0.12456 | 0.12456 | 0.12456 | 0.99191 | -0.15354 | 0.98889 | -0.21125 | 34.221
43 | 0.080412 | 0.020546 | -0.080294 | -0.020471 | 0.00011851 | 7.5571e-05 | 0.12114 | 0.12114 | 0.12114 | 0.98889 | -0.21125 | 0.9873 | -0.24177 | 33.2802
44 | 0.077747 | 0.019832 | -0.077736 | -0.019826 | 1.0294e-05 | 6.5628e-06 | 0.1173 | 0.1173 | 0.1173 | 0.9873 | -0.24177 | 0.98715 | -0.24452 | 32.2256
45 | 0.0306 | 0.0076785 | -0.030582 | -0.0076673 | 1.8016e-05 | 1.1229e-05 | 0.045635 | 0.045635 | 0.045635 | 0.99784 | -0.041276 | 0.99719 | -0.053631 | 12.5371
46 | -0.03342 | -0.0083852 | 0.033448 | 0.0084029 | 2.813e-05 | 1.7609e-05 | 0.04984 | 0.04984 | 0.04984 | 0.99784 | -0.041276 | 0.99875 | -0.023638 | 13.6924
47 | 0.026011 | 0.0065217 | -0.02601 | -0.0065212 | 9.3466e-07 | 5.766e-07 | 0.038815 | 0.038815 | 0.038815 | 0.99719 | -0.053631 | 0.99716 | -0.054385 | 10.6634
48 | 0.1427 | 0.036543 | -0.14262 | -0.036494 | 7.617e-05 | 4.8514e-05 | 0.21288 | 0.21288 | 0.21288 | 0.99875 | -0.023638 | 0.99817 | -0.034663 | 29.2421
49 | -0.17615 | -0.044946 | 0.17635 | 0.045074 | 0.00020138 | 0.00012847 | 0.26272 | 0.26272 | 0.26272 | 0.99875 | -0.023638 | 1 | 0 | 36.0882
50 | 0.024279 | 0.0060873 | -0.024272 | -0.006083 | 7.0955e-06 | 4.3532e-06 | 0.036232 | 0.036232 | 0.036232 | 0.99716 | -0.054385 | 0.99684 | -0.060519 | 9.9538
51 | 0.0097063 | 0.002433 | -0.0097045 | -0.0024322 | 1.7464e-06 | 8.2701e-07 | 0.01447 | 0.01447 | 0.01447 | 0.99817 | -0.034663 | 0.99797 | -0.03844 | 3.9752
52 | 0.14133 | 0.036248 | -0.14119 | -0.036157 | 0.00014192 | 9.038e-05 | 0.2106 | 0.2106 | 0.2106 | 1 | 0 | 0.9989 | -0.020726 | 28.9287
53 | 0.0070354 | 0.0017631 | -0.0070353 | -0.001763 | 1.2507e-07 | 4.0624e-08 | 0.010502 | 0.010502 | 0.010502 | 0.99684 | -0.060519 | 0.99682 | -0.060893 | 2.8852
54 | 0.13666 | 0.035021 | -0.13661 | -0.034987 | 5.3239e-05 | 3.3894e-05 | 0.20385 | 0.20385 | 0.20385 | 0.9989 | -0.020726 | 0.99848 | -0.028767 | 28.0009
55 | 0.003832 | 0.00096019 | -0.0038317 | -0.00096031 | 2.8578e-07 | -1.2069e-07 | 0.0057202 | 0.0057203 | 0.0057203 | 0.99682 | -0.060893 | 0.99674 | -0.062458 | 1.5715
56 | 0.0073874 | 0.0018514 | -0.0073872 | -0.0018514 | 1.416e-07 | 5.026e-08 | 0.011035 | 0.011035 | 0.011035 | 0.99614 | -0.073314 | 0.99611 | -0.073716 | 3.0316
57 | 0.0040502 | 0.0010149 | -0.0040498 | -0.001015 | 3.3607e-07 | -1.0663e-07 | 0.0060358 | 0.0060359 | 0.0060359 | 0.99848 | -0.028767 | 0.99839 | -0.030509 | 1.6582
58 | 0.073187 | 0.018686 | -0.073108 | -0.018635 | 7.9046e-05 | 5.0369e-05 | 0.11044 | 0.11044 | 0.11044 | 0.98715 | -0.24452 | 0.98599 | -0.26689 | 30.3418
59 | 0.067201 | 0.017155 | -0.067046 | -0.017056 | 0.00015505 | 9.8719e-05 | 0.10153 | 0.10153 | 0.10153 | 0.98599 | -0.26689 | 0.98351 | -0.31476 | 27.8927
60 | 0.065122 | 0.016574 | -0.065052 | -0.016529 | 7.0128e-05 | 4.4638e-05 | 0.098619 | 0.098619 | 0.098619 | 0.98351 | -0.31476 | 0.98235 | -0.33712 | 27.0931
61 | 0.063398 | 0.016115 | -0.063344 | -0.01608 | 5.3715e-05 | 3.4182e-05 | 0.096113 | 0.096113 | 0.096113 | 0.98235 | -0.33712 | 0.98144 | -0.35473 | 26.4047
62 | 0.063344 | 0.01608 | -0.06329 | -0.016046 | 5.3982e-05 | 3.4352e-05 | 0.096113 | 0.096113 | 0.096113 | 0.98144 | -0.35473 | 0.98053 | -0.37246 | 26.4047
63 | 0.06329 | 0.016046 | -0.063264 | -0.01603 | 2.5792e-05 | 1.6413e-05 | 0.096113 | 0.096113 | 0.096113 | 0.98053 | -0.37246 | 0.98009 | -0.38094 | 26.4047
64 | 0.06077 | 0.015404 | -0.060644 | -0.015324 | 0.00012614 | 8.0234e-05 | 0.092326 | 0.092326 | 0.092326 | 0.98009 | -0.38094 | 0.97787 | -0.42423 | 25.3643
65 | 0.058109 | 0.014689 | -0.057929 | -0.014574 | 0.00018084 | 0.00011497 | 0.08847 | 0.08847 | 0.08847 | 0.97787 | -0.42423 | 0.97455 | -0.48935 | 24.305
66 | -0.021988 | -0.0055133 | 0.021989 | 0.0055135 | 3.3462e-07 | 2.0444e-07 | 0.033699 | 0.033699 | 0.033699 | 0.97094 | -0.56054 | 0.97095 | -0.56023 | 9.2581
67 | 0.018152 | 0.0045519 | -0.01815 | -0.0045505 | 2.3542e-06 | 1.4064e-06 | 0.02782 | 0.02782 | 0.02782 | 0.97094 | -0.56054 | 0.9708 | -0.56327 | 7.643
68 | -0.026175 | -0.0065628 | 0.026183 | 0.0065676 | 7.8497e-06 | 4.8629e-06 | 0.040115 | 0.040115 | 0.040115 | 0.97095 | -0.56023 | 0.97127 | -0.55393 | 11.0207
69 | 0.014594 | 0.0036592 | -0.01459 | -0.0036568 | 4.1458e-06 | 2.3803e-06 | 0.022369 | 0.02237 | 0.02237 | 0.9708 | -0.56327 | 0.9705 | -0.56923 | 6.1455
70 | -0.032034 | -0.0080341 | 0.032043 | 0.0080392 | 8.2624e-06 | 5.1747e-06 | 0.049079 | 0.049079 | 0.049079 | 0.97127 | -0.55393 | 0.97155 | -0.54852 | 13.4833
71 | 0.010927 | 0.0027388 | -0.010925 | -0.0027382 | 1.2709e-06 | 6.642e-07 | 0.016754 | 0.016754 | 0.016754 | 0.9705 | -0.56923 | 0.97038 | -0.57167 | 4.6026
72 | -0.03787 | -0.0094999 | 0.0379 | 0.0095183 | 2.9261e-05 | 1.844e-05 | 0.058005 | 0.058005 | 0.058005 | 0.97155 | -0.54852 | 0.97237 | -0.53233 | 15.9355
73 | 0.0070527 | 0.0017676 | -0.0070521 | -0.0017673 | 6.2968e-07 | 2.2566e-07 | 0.010815 | 0.010815 | 0.010815 | 0.97038 | -0.57167 | 0.97028 | -0.57354 | 2.9711
74 | -0.041194 | -0.010344 | 0.041228 | 0.010365 | 3.3406e-05 | 2.1101e-05 | 0.063047 | 0.063047 | 0.063047 | 0.97237 | -0.53233 | 0.97323 | -0.51535 | 17.3206
75 | 0.0034394 | 0.00086191 | -0.0034393 | -0.00086196 | 9.0192e-08 | -4.9049e-08 | 0.0052745 | 0.0052746 | 0.0052746 | 0.97028 | -0.57354 | 0.97025 | -0.5741 | 1.4491
76 | -0.0032957 | -0.00082598 | 0.0032958 | 0.0008259 | 1.1451e-07 | -8.5351e-08 | 0.0049643 | 0.0049643 | 0.0049643 | 0.98786 | -0.23127 | 0.9879 | -0.23054 | 1.3638
77 | -0.010125 | -0.0025375 | 0.010125 | 0.0025375 | 1.5794e-07 | 7.7894e-08 | 0.015251 | 0.015251 | 0.015251 | 0.9879 | -0.23054 | 0.98791 | -0.23022 | 4.1898
78 | 0.004069 | 0.0010197 | -0.0040689 | -0.0010198 | 1.056e-07 | -3.1633e-08 | 0.0060783 | 0.0060783 | 0.0060783 | 0.99611 | -0.073716 | 0.99609 | -0.074261 | 1.6699
79 | -0.095054 | -0.024225 | 0.095118 | 0.024266 | 6.4026e-05 | 4.087e-05 | 0.14308 | 0.14308 | 0.14308 | 0.98952 | -0.19932 | 0.99025 | -0.18537 | 39.3084
80 | 0.091523 | 0.02334 | -0.091463 | -0.023302 | 5.9049e-05 | 3.7685e-05 | 0.13777 | 0.13777 | 0.13777 | 0.98952 | -0.19932 | 0.98883 | -0.21269 | 37.8496
81 | -0.098138 | -0.025023 | 0.098205 | 0.025065 | 6.6895e-05 | 4.2707e-05 | 0.14762 | 0.14762 | 0.14762 | 0.99025 | -0.18537 | 0.99099 | -0.17126 | 40.5552
82 | 0.088477 | 0.022554 | -0.088402 | -0.022506 | 7.4789e-05 | 4.7721e-05 | 0.13328 | 0.13328 | 0.13328 | 0.98883 | -0.21269 | 0.98791 | -0.23022 | 36.615
83 | 0.078277 | 0.019968 | -0.078159 | -0.019893 | 0.00011818 | 7.5344e-05 | 0.11803 | 0.11803 | 0.11803 | 0.98791 | -0.23022 | 0.98629 | -0.26153 | 32.4253
84 | 0.075417 | 0.019206 | -0.075343 | -0.019159 | 7.4221e-05 | 4.7307e-05 | 0.11389 | 0.11389 | 0.11389 | 0.98629 | -0.26153 | 0.98523 | -0.28195 | 31.2888
85 | 0.072951 | 0.018559 | -0.072882 | -0.018515 | 6.9376e-05 | 4.4207e-05 | 0.11028 | 0.11028 | 0.11028 | 0.98523 | -0.28195 | 0.9842 | -0.30171 | 30.2966
86 | 0.052815 | 0.013293 | -0.052798 | -0.013282 | 1.7343e-05 | 1.1011e-05 | 0.080663 | 0.080663 | 0.080663 | 0.97455 | -0.48935 | 0.9742 | -0.49622 | 22.1602
87 | 0.049902 | 0.012556 | -0.049876 | -0.01254 | 2.5246e-05 | 1.6014e-05 | 0.076239 | 0.076239 | 0.076239 | 0.9742 | -0.49622 | 0.97366 | -0.50682 | 20.9447
88 | -0.045147 | -0.011347 | 0.045165 | 0.011359 | 1.8392e-05 | 1.1643e-05 | 0.069039 | 0.069039 | 0.069039 | 0.97323 | -0.51535 | 0.97366 | -0.50682 | 18.9669

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33283 | 0.084703

## res_load
| p_mw | q_mvar
0 | 0.0050382 | 0.0012627
1 | 0.010686 | 0.0026781
2 | 0.0018581 | 0.00046569
3 | 0.0041662 | 0.0010441
4 | 0.017178 | 0.0043053
5 | 0.0028992 | 0.00072661
6 | 0.0010085 | 0.00025276
7 | 0.0031453 | 0.00078829
8 | 0.0013498 | 0.0003383
9 | 0.002946 | 0.00073834
10 | 0.0028312 | 0.00070957
11 | 0.0048625 | 0.0012187
12 | 0.0039932 | 0.0010008
13 | 0.0022457 | 0.00056281
14 | 0.0026156 | 0.00065552
15 | 0.0018325 | 0.00045927
16 | 0.0050634 | 0.001269
17 | 0.003582 | 0.00089773
18 | 0.0027517 | 0.00068965
19 | 0.0035802 | 0.00089728
20 | 0.0029831 | 0.00074763
21 | 0.0031044 | 0.00077802
22 | 0.0025996 | 0.00065152
23 | 0.0038601 | 0.00096743
24 | 0.014951 | 0.003747
25 | 0.0042238 | 0.0010586
26 | 0.0038865 | 0.00097404
27 | 0.0057834 | 0.0014494
28 | 0.007112 | 0.0017824
29 | 0.0065222 | 0.0016346
30 | 0.0022759 | 0.0005704
31 | 0.0025469 | 0.00063832
32 | 0.00282 | 0.00070676
33 | 0.0045706 | 0.0011455
34 | 0.0017311 | 0.00043385
35 | 0.013493 | 0.0033815
36 | 0.017237 | 0.0043199
37 | 0.0097045 | 0.0024322
38 | 0.0045341 | 0.0011364
39 | 0.0032033 | 0.00080283
40 | 0.0030023 | 0.00075245
41 | 0.0045492 | 0.0011401
42 | 0.0059072 | 0.0014805
43 | 0.0019237 | 0.00048212
44 | 0.0040498 | 0.001015
45 | 0.0016543 | 0.00041462
46 | 0.0024945 | 0.00062518
47 | 0.0025342 | 0.00063514
48 | 0.003836 | 0.0009614
49 | 0.0041866 | 0.0010493
50 | 0.0035563 | 0.00089129
51 | 0.0058511 | 0.0014664
52 | 0.0036628 | 0.000918
53 | 0.005828 | 0.0014606
54 | 0.0038728 | 0.00097061
55 | 0.0032947 | 0.00082572
56 | 0.0036127 | 0.00090543
57 | 0.0032957 | 0.00082598
58 | 0.0068292 | 0.0017116
59 | 0.0033183 | 0.00083164
60 | 0.0040689 | 0.0010198
61 | 0.0035311 | 0.00088498
62 | 0.0030204 | 0.00075699
63 | 0.0029863 | 0.00074844
64 | 0.0034109 | 0.00085484
65 | 0.002742 | 0.00068721
66 | 0.0023915 | 0.00059937
67 | 0.0026521 | 0.00066469
68 | 0.0051132 | 0.0012815
69 | 0.0028965 | 0.00072593
70 | 0.0034393 | 0.00086196
71 | 0.0039192 | 0.00098225
72 | 0.0047109 | 0.0011807
73 | 0.0038317 | 0.00096031

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1