## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_219-5_2_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_219-5_2_2_node_38 | 0.4 | n |  | TRUE
2 | bus_LV_219-5_2_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_219-5_2_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_219-5_2_2_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_219-5_2_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_219-5_2_2_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_219-5_2_2_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_219-5_2_2_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_219-5_2_2_node_126 | 0.4 | n |  | TRUE
10 | bus_LV_219-5_2_2_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_219-5_2_2_node_135 | 0.4 | n |  | TRUE
12 | bus_LV_219-5_2_2_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_219-5_2_2_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_219-5_2_2_node_125 | 0.4 | n |  | TRUE
15 | bus_LV_219-5_2_2_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_219-5_2_2_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_219-5_2_2_node_110 | 0.4 | n |  | TRUE
18 | bus_LV_219-5_2_2_node_142 | 0.4 | n |  | TRUE
19 | bus_LV_219-5_2_2_node_97 | 0.4 | n |  | TRUE
20 | bus_LV_219-5_2_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_219-5_2_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_219-5_2_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_219-5_2_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_219-5_2_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_219-5_2_2_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_219-5_2_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_219-5_2_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_219-5_2_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_219-5_2_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_219-5_2_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_219-5_2_2_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_219-5_2_2_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_219-5_2_2_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_219-5_2_2_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_219-5_2_2_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_219-5_2_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_219-5_2_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_219-5_2_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_219-5_2_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_219-5_2_2_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_219-5_2_2_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_219-5_2_2_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_219-5_2_2_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_219-5_2_2_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_219-5_2_2_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_219-5_2_2_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_219-5_2_2_node_123 | 0.4 | n |  | TRUE
48 | bus_LV_219-5_2_2_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_219-5_2_2_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_219-5_2_2_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_219-5_2_2_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_219-5_2_2_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_219-5_2_2_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_219-5_2_2_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_219-5_2_2_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_219-5_2_2_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_219-5_2_2_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_219-5_2_2_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_219-5_2_2_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_219-5_2_2_node_121 | 0.4 | n |  | TRUE
61 | bus_LV_219-5_2_2_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_219-5_2_2_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_219-5_2_2_node_114 | 0.4 | n |  | TRUE
64 | bus_LV_219-5_2_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_219-5_2_2_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_219-5_2_2_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_219-5_2_2_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_219-5_2_2_node_124 | 0.4 | n |  | TRUE
69 | bus_MV_34_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_219-5_2_2_load_128 | 0 | 0.0014772 | 0.00037021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_219-5_2_2_load_38 | 1 | 0.0012331 | 0.00030905 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_219-5_2_2_load_127 | 2 | 0.001132 | 0.0002837 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_219-5_2_2_load_129 | 3 | 0.0010484 | 0.00026274 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_219-5_2_2_load_130 | 4 | 0.00071442 | 0.00017905 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_219-5_2_2_load_132 | 6 | 0.0011043 | 0.00027676 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_219-5_2_2_load_133 | 7 | 0.0006008 | 0.00015058 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_219-5_2_2_load_134 | 8 | 0.0012872 | 0.00032261 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_219-5_2_2_load_126 | 9 | 0.00094962 | 0.000238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_219-5_2_2_load_135 | 11 | 0.00078213 | 0.00019602 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_219-5_2_2_load_136 | 12 | 0.0018099 | 0.0004536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_219-5_2_2_load_137 | 13 | 0.0049128 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_219-5_2_2_load_125 | 14 | 0.0009332 | 0.00023388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_219-5_2_2_load_140 | 15 | 0.0010816 | 0.00027108 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_219-5_2_2_load_141 | 16 | 0.0011295 | 0.00028307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_219-5_2_2_load_110 | 17 | 0.0014741 | 0.00036945 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_219-5_2_2_load_142 | 18 | 0.001122 | 0.0002812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_219-5_2_2_load_97 | 19 | 0.0011159 | 0.00027966 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_219-5_2_2_load_27 | 20 | 0.00091513 | 0.00022935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_219-5_2_2_load_28 | 21 | 0.00071058 | 0.00017809 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_219-5_2_2_load_30 | 23 | 0.0016983 | 0.00042565 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_219-5_2_2_load_32 | 25 | 0.0012293 | 0.0003081 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_219-5_2_2_load_33 | 26 | 0.0022612 | 0.00056671 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_219-5_2_2_load_34 | 27 | 0.0020114 | 0.00050409 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_219-5_2_2_load_36 | 29 | 0.00117 | 0.00029322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_219-5_2_2_load_37 | 30 | 0.00064127 | 0.00016072 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_219-5_2_2_load_55 | 31 | 0.002298 | 0.00057594 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_219-5_2_2_load_111 | 32 | 0.0021071 | 0.00052808 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_219-5_2_2_load_43 | 33 | 0.0010414 | 0.00026101 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_219-5_2_2_load_100 | 34 | 0.0016882 | 0.00042309 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_219-5_2_2_load_39 | 35 | 0.0012407 | 0.00031094 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_219-5_2_2_load_40 | 36 | 0.00093768 | 0.00023501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_219-5_2_2_load_41 | 37 | 0.0010397 | 0.00026057 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_219-5_2_2_load_42 | 38 | 0.00094566 | 0.000237 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_219-5_2_2_load_44 | 39 | 0.00092641 | 0.00023218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_219-5_2_2_load_56 | 40 | 0.0051422 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_219-5_2_2_load_91 | 41 | 0.0017527 | 0.00043927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_219-5_2_2_load_92 | 42 | 0.00094154 | 0.00023597 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_219-5_2_2_load_93 | 43 | 0.0022317 | 0.00055931 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_219-5_2_2_load_94 | 44 | 0.0020113 | 0.00050409 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_219-5_2_2_load_123 | 47 | 0.0014837 | 0.00037186 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_219-5_2_2_load_106 | 49 | 0.0011354 | 0.00028456 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_219-5_2_2_load_101 | 50 | 0.0018617 | 0.00046659 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_219-5_2_2_load_102 | 51 | 0.0018224 | 0.00045674 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_219-5_2_2_load_112 | 53 | 0.001364 | 0.00034184 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_219-5_2_2_load_113 | 54 | 0.0023916 | 0.00059938 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_219-5_2_2_load_104 | 55 | 0.0011309 | 0.00028344 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_219-5_2_2_load_105 | 56 | 0.0012114 | 0.0003036 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_219-5_2_2_load_108 | 58 | 0.0012931 | 0.00032409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_219-5_2_2_load_109 | 59 | 0.001378 | 0.00034535 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_219-5_2_2_load_121 | 60 | 0.00147 | 0.00036841 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_219-5_2_2_load_119 | 62 | 0.0023333 | 0.00058477 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_219-5_2_2_load_114 | 63 | 0.0016709 | 0.00041876 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_219-5_2_2_load_117 | 65 | 0.0012163 | 0.00030482 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_219-5_2_2_load_118 | 66 | 0.0028508 | 0.00071447 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_219-5_2_2_load_124 | 68 | 0.0016003 | 0.00040108 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_219-5_2_2_line_0 |  | 0 | 1 | 0.026363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_219-5_2_2_line_1 |  | 0 | 2 | 0.033252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_219-5_2_2_line_2 |  | 1 | 26 | 0.026403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_219-5_2_2_line_3 |  | 2 | 46 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_219-5_2_2_line_4 |  | 3 | 4 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_219-5_2_2_line_5 |  | 3 | 5 | 0.020719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_219-5_2_2_line_6 |  | 4 | 6 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_219-5_2_2_line_7 |  | 5 | 7 | 0.025136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_219-5_2_2_line_8 |  | 5 | 8 | 0.020303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_219-5_2_2_line_9 |  | 6 | 9 | 0.0247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_219-5_2_2_line_10 |  | 8 | 10 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_219-5_2_2_line_11 |  | 9 | 68 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_219-5_2_2_line_12 |  | 10 | 15 | 0.0019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_219-5_2_2_line_13 |  | 11 | 12 | 0.018974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_219-5_2_2_line_14 |  | 11 | 13 | 0.046782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_219-5_2_2_line_15 |  | 12 | 14 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_219-5_2_2_line_16 |  | 14 | 58 | 0.016007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_219-5_2_2_line_17 |  | 16 | 17 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_219-5_2_2_line_18 |  | 16 | 18 | 0.0093628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_219-5_2_2_line_19 |  | 17 | 48 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_219-5_2_2_line_20 |  | 18 | 19 | 0.0074528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_219-5_2_2_line_21 |  | 19 | 45 | 0.024823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_219-5_2_2_line_22 |  | 20 | 21 | 0.0072704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_219-5_2_2_line_23 |  | 20 | 22 | 0.045351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_219-5_2_2_line_24 |  | 21 | 23 | 0.019249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_219-5_2_2_line_25 |  | 22 | 24 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_219-5_2_2_line_26 |  | 22 | 25 | 0.020706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_219-5_2_2_line_27 |  | 22 | 26 | 0.019092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_219-5_2_2_line_28 |  | 23 | 27 | 0.008807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_219-5_2_2_line_29 |  | 24 | 28 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_219-5_2_2_line_30 |  | 24 | 29 | 0.026844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_219-5_2_2_line_31 |  | 25 | 30 | 0.0073991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_219-5_2_2_line_32 |  | 27 | 31 | 0.020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_219-5_2_2_line_33 |  | 28 | 32 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_219-5_2_2_line_34 |  | 28 | 33 | 0.01444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_219-5_2_2_line_35 |  | 29 | 34 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_219-5_2_2_line_36 |  | 31 | 40 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_219-5_2_2_line_37 |  | 32 | 61 | 0.014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_219-5_2_2_line_38 |  | 33 | 37 | 0.0094725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_219-5_2_2_line_39 |  | 34 | 50 | 0.027984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_219-5_2_2_line_40 |  | 35 | 36 | 0.01038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_219-5_2_2_line_41 |  | 35 | 37 | 0.020379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_219-5_2_2_line_42 |  | 36 | 38 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_219-5_2_2_line_43 |  | 38 | 39 | 0.0073346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_219-5_2_2_line_44 |  | 41 | 42 | 0.0053444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_219-5_2_2_line_45 |  | 41 | 43 | 0.020027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_219-5_2_2_line_46 |  | 42 | 44 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_219-5_2_2_line_47 |  | 43 | 45 | 0.033503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_219-5_2_2_line_48 |  | 44 | 46 | 0.010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_219-5_2_2_line_49 |  | 46 | 47 | 0.013281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_219-5_2_2_line_50 |  | 47 | 67 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_219-5_2_2_line_51 |  | 48 | 49 | 0.024393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_219-5_2_2_line_52 |  | 49 | 55 | 0.029128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_219-5_2_2_line_53 |  | 50 | 51 | 0.01513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_219-5_2_2_line_54 |  | 51 | 52 | 0.0045403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_219-5_2_2_line_55 |  | 52 | 53 | 0.026296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_219-5_2_2_line_56 |  | 52 | 54 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_219-5_2_2_line_57 |  | 53 | 62 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_219-5_2_2_line_58 |  | 55 | 56 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_219-5_2_2_line_59 |  | 57 | 58 | 0.042026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_219-5_2_2_line_60 |  | 57 | 59 | 0.02503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_219-5_2_2_line_61 |  | 59 | 60 | 0.01445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_219-5_2_2_line_62 |  | 60 | 67 | 0.040032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_219-5_2_2_line_63 |  | 61 | 64 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_219-5_2_2_line_64 |  | 61 | 63 | 0.018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_219-5_2_2_line_65 |  | 64 | 65 | 0.10396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_219-5_2_2_line_66 |  | 64 | 66 | 0.11522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_219-5_2_2_line_67 |  | 67 | 68 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_219-5_2_2_trafo_38 | 0.63 MVA 20/0.4 kV | 69 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2702608.163 | 1261967.3471 | 2702606.2204 | 1261966.4212 | 2702585.4741 | 1261953.9401
1 | 2702638.1791 | 1261981.6549 | 2702608.163 | 1261967.3471
2 | 2702562.8497 | 1261940.3292 | 2702585.4741 | 1261953.9401
3 | 2702656.475 | 1261982.1505 | 2702638.1791 | 1261981.6549 | 2702638.1791 | 1261981.6549
4 | 2702571.5782 | 1261892.4428 | 2702577.2705 | 1261898.5183 | 2702584.0016 | 1261905.5573
5 | 2702557.4118 | 1261877.3231 | 2702571.5782 | 1261892.4428
6 | 2702597.6941 | 1261919.8762 | 2702584.0016 | 1261905.5573
7 | 2702557.4118 | 1261877.3231 | 2702567.4205 | 1261854.2552
8 | 2702557.4118 | 1261877.3231 | 2702543.5273 | 1261862.51
9 | 2702597.6941 | 1261919.8762 | 2702614.7648 | 1261937.7278
10 | 2702528.8886 | 1261846.8923 | 2702543.5273 | 1261862.51
11 | 2702628.2859 | 1261951.8674 | 2702614.7648 | 1261937.7278
12 | 2702528.8886 | 1261846.8923 | 2702527.5202 | 1261845.4619
13 | 2702594.015 | 1261844.2431 | 2702599.6086 | 1261846.3291 | 2702611.3794 | 1261851.8574
14 | 2702550.0723 | 1261828.2099 | 2702557.3863 | 1261830.5839 | 2702594.015 | 1261844.2431
15 | 2702627.775 | 1261859.5578 | 2702611.3794 | 1261851.8574
16 | 2702627.775 | 1261859.5578 | 2702630.9065 | 1261861.0286 | 2702641.3103 | 1261868.0422
17 | 2702743.0234 | 1262025.5443 | 2702744.9533 | 1262030.2599 | 2702744.0881 | 1262032.3466 | 2702741.6897 | 1262035.9301 | 2702739.5494 | 1262036.8048 | 2702735.739 | 1262037.0833 | 2702732.5356 | 1262039.2962 | 2702728.8182 | 1262039.8658
18 | 2702720.4946 | 1262043.1347 | 2702723.9634 | 1262042.9948 | 2702726.1076 | 1262041.8978 | 2702728.1683 | 1262039.9653 | 2702728.8182 | 1262039.8658
19 | 2702745.43 | 1262014.544 | 2702742.2558 | 1262017.6693 | 2702742.0412 | 1262021.3464 | 2702742.9365 | 1262025.3319 | 2702743.0234 | 1262025.5443
20 | 2702720.4946 | 1262043.1347 | 2702720.4946 | 1262043.1347 | 2702717.9851 | 1262045.3041 | 2702714.7509 | 1262046.6824 | 2702714.1592 | 1262046.8676
21 | 2702693.8929 | 1262051.8356 | 2702700.9019 | 1262055.2602 | 2702704.3128 | 1262055.4195 | 2702706.4578 | 1262054.278 | 2702707.6714 | 1262052.5199 | 2702709.3576 | 1262049.5911 | 2702711.3186 | 1262047.757 | 2702714.1592 | 1262046.8676
22 | 2702503.3383 | 1261903.6336 | 2702510.5054 | 1261904.8551 | 2702510.5054 | 1261904.8551
23 | 2702548.9086 | 1261927.4283 | 2702541.0939 | 1261919.1749 | 2702528.6085 | 1261911.2631 | 2702510.5054 | 1261904.8551
24 | 2702484.3627 | 1261900.3993 | 2702503.3383 | 1261903.6336
25 | 2702548.9086 | 1261927.4283 | 2702550.1768 | 1261943.3747
26 | 2702548.9086 | 1261927.4283 | 2702548.0543 | 1261922.376 | 2702549.3171 | 1261906.8454
27 | 2702548.9086 | 1261927.4283 | 2702559.6453 | 1261938.4014 | 2702562.8497 | 1261940.3292
28 | 2702484.3627 | 1261900.3993 | 2702475.6809 | 1261898.9196
29 | 2702550.1768 | 1261943.3747 | 2702543.351 | 1261957.1789
30 | 2702550.1768 | 1261943.3747 | 2702560.4483 | 1261963.3471 | 2702562.811 | 1261967.0414
31 | 2702549.9168 | 1261899.4706 | 2702549.3171 | 1261906.8454
32 | 2702455.3772 | 1261895.459 | 2702475.6809 | 1261898.9196
33 | 2702543.351 | 1261957.1789 | 2702532.4726 | 1261979.1751
34 | 2702543.351 | 1261957.1789 | 2702531.4992 | 1261948.9294
35 | 2702576.3855 | 1261987.5495 | 2702571.0206 | 1261979.8775 | 2702562.811 | 1261967.0414
36 | 2702455.3772 | 1261895.459 | 2702452.2044 | 1261899.8187 | 2702441.0636 | 1261897.9544
37 | 2702525.9508 | 1261992.3621 | 2702532.4726 | 1261979.1751
38 | 2702523.7246 | 1261943.5179 | 2702531.4992 | 1261948.9294
39 | 2702576.3855 | 1261987.5495 | 2702587.4332 | 1262003.3482 | 2702592.6379 | 1262010.3271
40 | 2702496.0282 | 1261930.7206 | 2702505.8125 | 1261934.1867
41 | 2702523.7246 | 1261943.5179 | 2702514.9893 | 1261937.4376 | 2702505.8125 | 1261934.1867
42 | 2702496.0282 | 1261930.7206 | 2702490.8944 | 1261928.902 | 2702475.7907 | 1261928.7524
43 | 2702468.4564 | 1261928.6797 | 2702475.7907 | 1261928.7524
44 | 2702676.2986 | 1262004.0455 | 2702672.7116 | 1262000.0837
45 | 2702689.7404 | 1262018.8917 | 2702689.7404 | 1262018.8917 | 2702676.2986 | 1262004.0455
46 | 2702663.782 | 1261990.221 | 2702672.7116 | 1262000.0837
47 | 2702693.8929 | 1262051.8356 | 2702694.3915 | 1262040.4904 | 2702692.8461 | 1262029.6768 | 2702689.7404 | 1262018.8917
48 | 2702656.475 | 1261982.1505 | 2702663.782 | 1261990.221
49 | 2702656.475 | 1261982.1505 | 2702647.4989 | 1261972.3622
50 | 2702638.4959 | 1261962.5445 | 2702647.4989 | 1261972.3622
51 | 2702745.43 | 1262014.544 | 2702731.398 | 1261998.954 | 2702729.5784 | 1261996.0609
52 | 2702729.5784 | 1261996.0609 | 2702716.343 | 1261975.0172 | 2702714.3005 | 1261971.2698
53 | 2702592.6379 | 1262010.3271 | 2702601.6833 | 1262022.4556 | 2702601.6833 | 1262022.4556
54 | 2702600.0348 | 1262026.6861 | 2702601.6833 | 1262022.4556
55 | 2702600.0348 | 1262026.6861 | 2702618.8346 | 1262045.0719
56 | 2702600.0348 | 1262026.6861 | 2702583.1546 | 1262048.8204
57 | 2702618.8346 | 1262045.0719 | 2702632.4428 | 1262058.3805
58 | 2702714.3005 | 1261971.2698 | 2702703.9308 | 1261952.2448
59 | 2702672.3413 | 1261896.0544 | 2702667.0708 | 1261889.7132 | 2702651.9866 | 1261875.2395 | 2702641.3103 | 1261868.0422
60 | 2702672.3413 | 1261896.0544 | 2702669.5862 | 1261899.7875 | 2702671.4584 | 1261909.5725 | 2702665.5272 | 1261918.1494
61 | 2702665.5272 | 1261918.1494 | 2702662.0587 | 1261923.1651 | 2702664.3005 | 1261927.2964 | 2702662.1432 | 1261930.2431
62 | 2702638.4959 | 1261962.5445 | 2702662.1432 | 1261930.2431
63 | 2702501.9182 | 1261984.5947 | 2702525.9508 | 1261992.3621
64 | 2702525.9508 | 1261992.3621 | 2702538.8625 | 1261996.5449 | 2702543.4249 | 1261998.3747
65 | 2702501.9182 | 1261984.5947 | 2702499.0031 | 1261983.6545 | 2702464.227 | 1261972.6874 | 2702459.4233 | 1261972.4485 | 2702454.4018 | 1261973.4735 | 2702449.6774 | 1261976.9167 | 2702420.5376 | 1262015.8708
66 | 2702501.9182 | 1261984.5947 | 2702502.6267 | 1261981.9826 | 2702493.5034 | 1261967.4903 | 2702487.3488 | 1261960.4111 | 2702474.9484 | 1261951.0774 | 2702460.4715 | 1261941.9747 | 2702453.4036 | 1261939.7615 | 2702445.1784 | 1261939.0963 | 2702437.8162 | 1261940.381 | 2702431.6724 | 1261943.1102 | 2702424.2947 | 1261950.5108 | 2702416.8836 | 1261958.9673 | 2702415.7519 | 1261960.4208
67 | 2702638.4959 | 1261962.5445 | 2702628.2859 | 1261951.8674

## bus_geodata
| x | y | coords
0 | 2702608.163 | 1261967.3471
1 | 2702585.4741 | 1261953.9401
2 | 2702638.1791 | 1261981.6549
3 | 2702571.5782 | 1261892.4428
4 | 2702584.0016 | 1261905.5573
5 | 2702557.4118 | 1261877.3231
6 | 2702597.6941 | 1261919.8762
7 | 2702567.4205 | 1261854.2552
8 | 2702543.5273 | 1261862.51
9 | 2702614.7648 | 1261937.7278
10 | 2702528.8886 | 1261846.8923
11 | 2702594.015 | 1261844.2431
12 | 2702611.3794 | 1261851.8574
13 | 2702550.0723 | 1261828.2099
14 | 2702627.775 | 1261859.5578
15 | 2702527.5202 | 1261845.4619
16 | 2702728.8182 | 1262039.8658
17 | 2702743.0234 | 1262025.5443
18 | 2702720.4946 | 1262043.1347
19 | 2702714.1592 | 1262046.8676
20 | 2702510.5054 | 1261904.8551
21 | 2702503.3383 | 1261903.6336
22 | 2702548.9086 | 1261927.4283
23 | 2702484.3627 | 1261900.3993
24 | 2702550.1768 | 1261943.3747
25 | 2702549.3171 | 1261906.8454
26 | 2702562.8497 | 1261940.3292
27 | 2702475.6809 | 1261898.9196
28 | 2702543.351 | 1261957.1789
29 | 2702562.811 | 1261967.0414
30 | 2702549.9168 | 1261899.4706
31 | 2702455.3773 | 1261895.459
32 | 2702532.4726 | 1261979.1751
33 | 2702531.4992 | 1261948.9294
34 | 2702576.3855 | 1261987.5495
35 | 2702505.8125 | 1261934.1867
36 | 2702496.0282 | 1261930.7206
37 | 2702523.7246 | 1261943.5179
38 | 2702475.7907 | 1261928.7524
39 | 2702468.4564 | 1261928.6797
40 | 2702441.0636 | 1261897.9544
41 | 2702676.2986 | 1262004.0455
42 | 2702672.7116 | 1262000.0837
43 | 2702689.7404 | 1262018.8917
44 | 2702663.782 | 1261990.221
45 | 2702693.8929 | 1262051.8356
46 | 2702656.475 | 1261982.1505
47 | 2702647.4989 | 1261972.3622
48 | 2702745.43 | 1262014.544
49 | 2702729.5784 | 1261996.0609
50 | 2702592.6379 | 1262010.3271
51 | 2702601.6833 | 1262022.4556
52 | 2702600.0348 | 1262026.6861
53 | 2702618.8346 | 1262045.0719
54 | 2702583.1546 | 1262048.8204
55 | 2702714.3005 | 1261971.2698
56 | 2702703.9308 | 1261952.2448
57 | 2702672.3413 | 1261896.0544
58 | 2702641.3103 | 1261868.0422
59 | 2702665.5272 | 1261918.1494
60 | 2702662.1432 | 1261930.2431
61 | 2702525.9508 | 1261992.3621
62 | 2702632.4428 | 1262058.3805
63 | 2702543.4249 | 1261998.3747
64 | 2702501.9182 | 1261984.5947
65 | 2702420.5376 | 1262015.8708
66 | 2702415.7519 | 1261960.4208
67 | 2702638.4959 | 1261962.5445
68 | 2702628.2859 | 1261951.8674
69 | 2702548.9086 | 1261927.4283

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99903 | -0.018554 | 0.0014772 | 0.00037021
1 | 1 | 0 | -0.085726 | -0.021148
2 | 0.99786 | -0.041147 | 0.001132 | 0.0002837
3 | 0.99619 | -0.073338 | 0.0010484 | 0.00026274
4 | 0.99625 | -0.072062 | 0.00071442 | 0.00017905
5 | 0.99613 | -0.07442 | 0 | 0
6 | 0.99634 | -0.070414 | 0.0011043 | 0.00027676
7 | 0.99612 | -0.074685 | 0.0006008 | 0.00015058
8 | 0.99609 | -0.075265 | 0.0012872 | 0.00032261
9 | 0.99647 | -0.067881 | 0.00094962 | 0.000238
10 | 0.99607 | -0.075672 | 0 | 0
11 | 0.99516 | -0.093185 | 0.00078213 | 0.00019602
12 | 0.99526 | -0.091283 | 0.0018099 | 0.0004536
13 | 0.99495 | -0.097231 | 0.0049128 | 0.0012313
14 | 0.99538 | -0.08889 | 0.0009332 | 0.00023388
15 | 0.99606 | -0.075709 | 0.0010816 | 0.00027108
16 | 0.99612 | -0.074577 | 0.0011295 | 0.00028307
17 | 0.99601 | -0.076792 | 0.0014741 | 0.00036945
18 | 0.99617 | -0.073576 | 0.001122 | 0.0002812
19 | 0.99622 | -0.072633 | 0.0011159 | 0.00027966
20 | 0.99771 | -0.043974 | 0.00091513 | 0.00022935
21 | 0.99763 | -0.045484 | 0.00071058 | 0.00017809
22 | 0.99824 | -0.033832 | 0 | 0
23 | 0.99744 | -0.049244 | 0.0016983 | 0.00042565
24 | 0.99785 | -0.041285 | 0 | 0
25 | 0.9982 | -0.03451 | 0.0012293 | 0.0003081
26 | 0.99896 | -0.020058 | 0.0022612 | 0.00056671
27 | 0.99736 | -0.050703 | 0.0020114 | 0.00050409
28 | 0.99766 | -0.045055 | 0 | 0
29 | 0.99754 | -0.047225 | 0.00117 | 0.00029322
30 | 0.9982 | -0.034593 | 0.00064127 | 0.00016072
31 | 0.99722 | -0.053389 | 0.002298 | 0.00057594
32 | 0.99748 | -0.048431 | 0.0021071 | 0.00052808
33 | 0.99758 | -0.046606 | 0.0010414 | 0.00026101
34 | 0.99729 | -0.052166 | 0.0016882 | 0.00042309
35 | 0.99746 | -0.048898 | 0.0012407 | 0.00031094
36 | 0.99743 | -0.049409 | 0.00093768 | 0.00023501
37 | 0.99753 | -0.047451 | 0.0010397 | 0.00026057
38 | 0.9974 | -0.050083 | 0.00094566 | 0.000237
39 | 0.99739 | -0.050202 | 0.00092641 | 0.00023218
40 | 0.99715 | -0.054893 | 0.0051422 | 0.0012888
41 | 0.99686 | -0.0604 | 0.0017527 | 0.00043927
42 | 0.99692 | -0.059246 | 0.00094154 | 0.00023597
43 | 0.99667 | -0.064109 | 0.0022317 | 0.00055931
44 | 0.99708 | -0.056155 | 0.0020113 | 0.00050409
45 | 0.99641 | -0.069005 | 0 | 0
46 | 0.99723 | -0.053242 | 0 | 0
47 | 0.99696 | -0.058472 | 0.0014837 | 0.00037186
48 | 0.99597 | -0.077554 | 0 | 0
49 | 0.99589 | -0.079045 | 0.0011354 | 0.00028456
50 | 0.99704 | -0.056962 | 0.0018617 | 0.00046659
51 | 0.99693 | -0.059061 | 0.0018224 | 0.00045674
52 | 0.99691 | -0.059546 | 0 | 0
53 | 0.99682 | -0.061252 | 0.001364 | 0.00034184
54 | 0.99684 | -0.060714 | 0.0023916 | 0.00059938
55 | 0.99583 | -0.080245 | 0.0011309 | 0.00028344
56 | 0.99581 | -0.080707 | 0.0012114 | 0.0003036
57 | 0.99588 | -0.079321 | 0 | 0
58 | 0.9955 | -0.086513 | 0.0012931 | 0.00032409
59 | 0.9961 | -0.075039 | 0.001378 | 0.00034535
60 | 0.99624 | -0.072218 | 0.00147 | 0.00036841
61 | 0.99741 | -0.049912 | 0 | 0
62 | 0.99678 | -0.062031 | 0.0023333 | 0.00058477
63 | 0.99738 | -0.050454 | 0.0016709 | 0.00041876
64 | 0.99731 | -0.051711 | 0 | 0
65 | 0.9972 | -0.05393 | 0.0012163 | 0.00030482
66 | 0.99701 | -0.057472 | 0.0028508 | 0.00071447
67 | 0.9967 | -0.063374 | 0 | 0
68 | 0.99659 | -0.065549 | 0.0016003 | 0.00040108
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.04042 | -0.010161 | 0.040456 | 0.010184 | 3.5845e-05 | 2.2595e-05 | 0.060214 | 0.060214 | 0.060214 | 0.99903 | -0.018554 | 1 | 0 | 16.5424
1 | 0.038942 | 0.0097912 | -0.038901 | -0.0097648 | 4.1968e-05 | 2.6424e-05 | 0.058014 | 0.058014 | 0.058014 | 0.99903 | -0.018554 | 0.99786 | -0.041147 | 15.938
2 | 0.043621 | 0.010963 | -0.043579 | -0.010937 | 4.1729e-05 | 2.636e-05 | 0.064919 | 0.064919 | 0.064919 | 1 | 0 | 0.99896 | -0.020058 | 17.835
3 | 0.037769 | 0.0094811 | -0.037747 | -0.0094674 | 2.1776e-05 | 1.3697e-05 | 0.056326 | 0.056326 | 0.056326 | 0.99786 | -0.041147 | 0.99723 | -0.053242 | 15.4743
4 | -0.0040183 | -0.001006 | 0.0040186 | 0.0010059 | 2.4402e-07 | -7.9037e-08 | 0.0060018 | 0.0060017 | 0.0060018 | 0.99619 | -0.073338 | 0.99625 | -0.072062 | 1.6489
5 | 0.00297 | 0.00074328 | -0.0029698 | -0.00074346 | 1.5289e-07 | -1.7189e-07 | 0.0044359 | 0.004436 | 0.004436 | 0.99619 | -0.073338 | 0.99613 | -0.07442 | 1.2187
6 | -0.004733 | -0.001185 | 0.0047333 | 0.001185 | 3.7123e-07 | -2.0408e-08 | 0.0070688 | 0.0070687 | 0.0070688 | 0.99625 | -0.072062 | 0.99634 | -0.070414 | 1.942
7 | 0.00060081 | 0.00015025 | -0.0006008 | -0.00015058 | 7.5915e-09 | -3.2236e-07 | 0.00089737 | 0.00089749 | 0.00089749 | 0.99613 | -0.07442 | 0.99612 | -0.074685 | 0.24656
8 | 0.002369 | 0.0005932 | -0.0023689 | -0.00059341 | 9.5338e-08 | -2.0328e-07 | 0.0035386 | 0.0035387 | 0.0035387 | 0.99613 | -0.07442 | 0.99609 | -0.075265 | 0.97217
9 | -0.0058376 | -0.0014617 | 0.0058383 | 0.0014619 | 7.0396e-07 | 1.2882e-07 | 0.0087179 | 0.0087178 | 0.0087179 | 0.99634 | -0.070414 | 0.99647 | -0.067881 | 2.395
10 | 0.0010817 | 0.00027079 | -0.0010816 | -0.00027106 | 2.0957e-08 | -2.6522e-07 | 0.0016157 | 0.0016158 | 0.0016158 | 0.99609 | -0.075265 | 0.99607 | -0.075672 | 0.44391
11 | -0.0067879 | -0.0016999 | 0.0067887 | 0.0017001 | 7.5371e-07 | 2.2749e-07 | 0.010136 | 0.010136 | 0.010136 | 0.99647 | -0.067881 | 0.99659 | -0.065549 | 2.7846
12 | 0.0010816 | 0.00027106 | -0.0010816 | -0.00027108 | 1.9382e-09 | -2.4525e-08 | 0.0016158 | 0.0016158 | 0.0016158 | 0.99607 | -0.075672 | 0.99606 | -0.075709 | 0.44391
13 | -0.0056959 | -0.0014273 | 0.0056964 | 0.0014274 | 5.1611e-07 | 8.3759e-08 | 0.0085167 | 0.0085167 | 0.0085167 | 0.99516 | -0.093185 | 0.99526 | -0.091283 | 2.3398
14 | 0.0049138 | 0.0012313 | -0.0049128 | -0.0012313 | 9.4706e-07 | -1.5783e-09 | 0.0073473 | 0.0073475 | 0.0073475 | 0.99516 | -0.093185 | 0.99495 | -0.097231 | 2.0185
15 | -0.0075063 | -0.001881 | 0.0075072 | 0.0018813 | 8.5552e-07 | 3.1211e-07 | 0.011223 | 0.011223 | 0.011223 | 0.99526 | -0.091283 | 0.99538 | -0.08889 | 3.0831
16 | -0.0084404 | -0.0021152 | 0.0084413 | 0.0021156 | 9.5563e-07 | 4.0351e-07 | 0.012618 | 0.012618 | 0.012618 | 0.99538 | -0.08889 | 0.9955 | -0.086513 | 3.4664
17 | 0.0049529 | 0.0012403 | -0.0049524 | -0.0012403 | 5.2245e-07 | 3.0639e-09 | 0.0073983 | 0.0073984 | 0.0073984 | 0.99612 | -0.074577 | 0.99601 | -0.076792 | 2.0325
18 | -0.0060824 | -0.0015233 | 0.0060827 | 0.0015234 | 2.8982e-07 | 6.3599e-08 | 0.0090855 | 0.0090855 | 0.0090855 | 0.99612 | -0.074577 | 0.99617 | -0.073576 | 2.496
19 | 0.0034783 | 0.0008708 | -0.0034781 | -0.00087088 | 1.2608e-07 | -8.1366e-08 | 0.0051961 | 0.0051962 | 0.0051962 | 0.99601 | -0.076792 | 0.99597 | -0.077554 | 1.4275
20 | -0.0072047 | -0.0018046 | 0.007205 | 0.0018047 | 3.2366e-07 | 1.1011e-07 | 0.010761 | 0.010761 | 0.010761 | 0.99617 | -0.073576 | 0.99622 | -0.072633 | 2.9565
21 | -0.0083209 | -0.0020844 | 0.0083223 | 0.002085 | 1.4378e-06 | 5.9692e-07 | 0.012428 | 0.012428 | 0.012428 | 0.99622 | -0.072633 | 0.99641 | -0.069005 | 3.4143
22 | 0.011865 | 0.0029747 | -0.011864 | -0.0029742 | 8.5383e-07 | 4.5151e-07 | 0.017697 | 0.017697 | 0.017697 | 0.99771 | -0.043974 | 0.99763 | -0.045484 | 4.8617
23 | -0.01278 | -0.003204 | 0.012787 | 0.0032074 | 6.1791e-06 | 3.3621e-06 | 0.019061 | 0.019061 | 0.019061 | 0.99771 | -0.043974 | 0.99824 | -0.033832 | 5.2367
24 | 0.011154 | 0.0027961 | -0.011152 | -0.0027951 | 1.998e-06 | 1.0274e-06 | 0.016637 | 0.016637 | 0.016637 | 0.99763 | -0.045484 | 0.99744 | -0.049244 | 4.5706
25 | 0.026633 | 0.0066774 | -0.026624 | -0.0066716 | 9.4556e-06 | 5.8426e-06 | 0.039702 | 0.039702 | 0.039702 | 0.99824 | -0.033832 | 0.99785 | -0.041285 | 10.9071
26 | 0.0018707 | 0.00046849 | -0.0018706 | -0.00046872 | 6.0372e-08 | -2.3204e-07 | 0.0027883 | 0.0027884 | 0.0027884 | 0.99824 | -0.033832 | 0.9982 | -0.03451 | 0.76606
27 | -0.041291 | -0.010353 | 0.041318 | 0.01037 | 2.7124e-05 | 1.7109e-05 | 0.061551 | 0.061551 | 0.061551 | 0.99824 | -0.033832 | 0.99896 | -0.020058 | 16.9097
28 | 0.0094535 | 0.0023694 | -0.0094529 | -0.0023691 | 6.569e-07 | 3.0547e-07 | 0.014103 | 0.014103 | 0.014103 | 0.99744 | -0.049244 | 0.99736 | -0.050703 | 3.8745
29 | 0.013983 | 0.0035018 | -0.01398 | -0.0035004 | 2.5094e-06 | 1.405e-06 | 0.020851 | 0.020851 | 0.020851 | 0.99785 | -0.041285 | 0.99766 | -0.045055 | 5.7283
30 | 0.012641 | 0.0031698 | -0.012637 | -0.0031678 | 3.5773e-06 | 1.9389e-06 | 0.018851 | 0.018851 | 0.018851 | 0.99785 | -0.041285 | 0.99754 | -0.047225 | 5.1789
31 | 0.00064127 | 0.00016062 | -0.00064127 | -0.00016072 | 2.5354e-09 | -9.5099e-08 | 0.0009559 | 0.00095594 | 0.00095594 | 0.9982 | -0.03451 | 0.9982 | -0.034593 | 0.26262
32 | 0.0074415 | 0.0018651 | -0.0074406 | -0.0018647 | 9.5205e-07 | 3.4056e-07 | 0.011102 | 0.011102 | 0.011102 | 0.99736 | -0.050703 | 0.99722 | -0.053389 | 3.0501
33 | 0.0078479 | 0.0019641 | -0.0078466 | -0.0019636 | 1.2606e-06 | 4.8642e-07 | 0.011704 | 0.011704 | 0.011704 | 0.99766 | -0.045055 | 0.99748 | -0.048431 | 3.2155
34 | 0.0061326 | 0.0015363 | -0.0061321 | -0.0015362 | 4.5303e-07 | 1.014e-07 | 0.0091466 | 0.0091466 | 0.0091466 | 0.99766 | -0.045055 | 0.99758 | -0.046606 | 2.5128
35 | 0.011467 | 0.0028746 | -0.011465 | -0.0028732 | 2.6992e-06 | 1.4065e-06 | 0.017106 | 0.017106 | 0.017106 | 0.99754 | -0.047225 | 0.99729 | -0.052166 | 4.6995
36 | 0.0051425 | 0.0012888 | -0.0051422 | -0.0012888 | 3.6848e-07 | 1.8128e-08 | 0.0076735 | 0.0076735 | 0.0076735 | 0.99722 | -0.053389 | 0.99715 | -0.054893 | 2.1081
37 | 0.0057396 | 0.0014355 | -0.0057392 | -0.0014355 | 4.0435e-07 | 6.6763e-08 | 0.0085611 | 0.0085612 | 0.0085612 | 0.99748 | -0.048431 | 0.99741 | -0.049912 | 2.352
38 | 0.0050907 | 0.0012752 | -0.0050905 | -0.0012752 | 2.0481e-07 | 7.413e-09 | 0.0075932 | 0.0075933 | 0.0075933 | 0.99758 | -0.046606 | 0.99753 | -0.047451 | 2.0861
39 | 0.0097766 | 0.0024501 | -0.0097744 | -0.002449 | 2.233e-06 | 1.0641e-06 | 0.014587 | 0.014587 | 0.014587 | 0.99729 | -0.052166 | 0.99704 | -0.056962 | 4.0075
40 | 0.0028099 | 0.00070378 | -0.0028098 | -0.00070387 | 6.8393e-08 | -9.1714e-08 | 0.0041917 | 0.0041917 | 0.0041917 | 0.99746 | -0.048898 | 0.99743 | -0.049409 | 1.1516
41 | -0.0040506 | -0.0010147 | 0.0040508 | 0.0010146 | 2.7902e-07 | -8.7444e-08 | 0.0060425 | 0.0060424 | 0.0060425 | 0.99746 | -0.048898 | 0.99753 | -0.047451 | 1.66
42 | 0.0018721 | 0.00046886 | -0.0018721 | -0.00046909 | 6.0112e-08 | -2.2975e-07 | 0.0027928 | 0.0027929 | 0.0027929 | 0.99743 | -0.049409 | 0.9974 | -0.050083 | 0.76728
43 | 0.00092642 | 0.00023209 | -0.00092641 | -0.00023218 | 5.254e-09 | -9.2361e-08 | 0.0013821 | 0.0013821 | 0.0013821 | 0.9974 | -0.050083 | 0.99739 | -0.050202 | 0.3797
44 | -0.012311 | -0.0030853 | 0.012311 | 0.0030857 | 6.7675e-07 | 3.6344e-07 | 0.018376 | 0.018376 | 0.018376 | 0.99686 | -0.0604 | 0.99692 | -0.059246 | 5.0483
45 | 0.010558 | 0.002646 | -0.010556 | -0.0026451 | 1.8653e-06 | 9.3276e-07 | 0.01576 | 0.01576 | 0.01576 | 0.99686 | -0.0604 | 0.99667 | -0.064109 | 4.3296
46 | -0.013253 | -0.0033216 | 0.013255 | 0.0033227 | 1.9523e-06 | 1.076e-06 | 0.019781 | 0.019781 | 0.019781 | 0.99692 | -0.059246 | 0.99708 | -0.056155 | 5.4344
47 | 0.0083243 | 0.0020858 | -0.0083223 | -0.002085 | 1.9405e-06 | 8.0543e-07 | 0.012428 | 0.012428 | 0.012428 | 0.99667 | -0.064109 | 0.99641 | -0.069005 | 3.4143
48 | -0.015266 | -0.0038268 | 0.015268 | 0.003828 | 2.1191e-06 | 1.2142e-06 | 0.022783 | 0.022783 | 0.022783 | 0.99708 | -0.056155 | 0.99723 | -0.053242 | 6.259
49 | 0.022479 | 0.0056394 | -0.022473 | -0.005636 | 5.6037e-06 | 3.4132e-06 | 0.033544 | 0.033544 | 0.033544 | 0.99723 | -0.053242 | 0.99696 | -0.058472 | 9.2153
50 | 0.020989 | 0.0052641 | -0.020984 | -0.0052611 | 4.9029e-06 | 2.9642e-06 | 0.031329 | 0.031329 | 0.031329 | 0.99696 | -0.058472 | 0.9967 | -0.063374 | 8.6069
51 | 0.0034781 | 0.00087088 | -0.0034779 | -0.00087104 | 2.4698e-07 | -1.5935e-07 | 0.0051962 | 0.0051963 | 0.0051963 | 0.99597 | -0.077554 | 0.99589 | -0.079045 | 1.4276
52 | 0.0023425 | 0.00058648 | -0.0023423 | -0.00058677 | 1.338e-07 | -2.9335e-07 | 0.0034998 | 0.0034999 | 0.0034999 | 0.99589 | -0.079045 | 0.99583 | -0.080245 | 0.96152
53 | 0.0079127 | 0.0019825 | -0.0079119 | -0.0019821 | 7.9122e-07 | 3.0908e-07 | 0.011809 | 0.011809 | 0.011809 | 0.99704 | -0.056962 | 0.99693 | -0.059061 | 3.2442
54 | 0.0060895 | 0.0015254 | -0.0060893 | -0.0015254 | 1.4065e-07 | 3.0816e-08 | 0.0090889 | 0.0090889 | 0.0090889 | 0.99693 | -0.059061 | 0.99691 | -0.059546 | 2.4969
55 | 0.0036976 | 0.00092627 | -0.0036973 | -0.00092642 | 3.0037e-07 | -1.5058e-07 | 0.0055191 | 0.0055192 | 0.0055192 | 0.99691 | -0.059546 | 0.99682 | -0.061252 | 1.5163
56 | 0.0023917 | 0.0005991 | -0.0023916 | -0.00059938 | 1.3303e-07 | -2.7777e-07 | 0.0035698 | 0.00357 | 0.00357 | 0.99691 | -0.059546 | 0.99684 | -0.060714 | 0.98076
57 | 0.0023334 | 0.00058458 | -0.0023333 | -0.00058477 | 8.6598e-08 | -1.927e-07 | 0.0034831 | 0.0034832 | 0.0034832 | 0.99682 | -0.061252 | 0.99678 | -0.062031 | 0.95692
58 | 0.0012114 | 0.00030333 | -0.0012114 | -0.0003036 | 2.6622e-08 | -2.6485e-07 | 0.00181 | 0.0018101 | 0.0018101 | 0.99583 | -0.080245 | 0.99581 | -0.080707 | 0.49729
59 | 0.0097378 | 0.0024413 | -0.0097345 | -0.0024397 | 3.3366e-06 | 1.5888e-06 | 0.01455 | 0.01455 | 0.01455 | 0.99588 | -0.079321 | 0.9955 | -0.086513 | 3.9974
60 | -0.0097378 | -0.0024413 | 0.0097398 | 0.0024422 | 1.9872e-06 | 9.4604e-07 | 0.01455 | 0.01455 | 0.01455 | 0.99588 | -0.079321 | 0.9961 | -0.075039 | 3.9973
61 | -0.011118 | -0.0027876 | 0.011119 | 0.0027883 | 1.4948e-06 | 7.6853e-07 | 0.016609 | 0.016609 | 0.016609 | 0.9961 | -0.075039 | 0.99624 | -0.072218 | 4.5628
62 | -0.012589 | -0.0031567 | 0.012595 | 0.0031596 | 5.3081e-06 | 2.8757e-06 | 0.018804 | 0.018804 | 0.018804 | 0.99624 | -0.072218 | 0.9967 | -0.063374 | 5.166
63 | 0.0040683 | 0.0010169 | -0.0040679 | -0.001017 | 3.4785e-07 | -1.0608e-07 | 0.0060685 | 0.0060686 | 0.0060686 | 0.99741 | -0.049912 | 0.99731 | -0.051711 | 1.6672
64 | 0.0016709 | 0.00041854 | -0.0016709 | -0.00041876 | 4.308e-08 | -2.1371e-07 | 0.0024927 | 0.0024928 | 0.0024928 | 0.99741 | -0.049912 | 0.99738 | -0.050454 | 0.68483
65 | 0.0012164 | 0.00030355 | -0.0012163 | -0.00030482 | 1.2837e-07 | -1.2742e-06 | 0.0018144 | 0.0018149 | 0.0018149 | 0.99731 | -0.051711 | 0.9972 | -0.05393 | 0.4986
66 | 0.0028516 | 0.00071347 | -0.0028508 | -0.00071447 | 7.821e-07 | -1.0026e-06 | 0.0042542 | 0.0042547 | 0.0042547 | 0.99731 | -0.051711 | 0.99701 | -0.057472 | 1.1689
67 | 0.0083899 | 0.0021015 | -0.008389 | -0.0021012 | 8.6911e-07 | 3.6371e-07 | 0.012525 | 0.012525 | 0.012525 | 0.9967 | -0.063374 | 0.99659 | -0.065549 | 3.441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.086959 | 0.021457

## res_load
| p_mw | q_mvar
0 | 0.0014772 | 0.00037021
1 | 0.0012331 | 0.00030905
2 | 0.001132 | 0.0002837
3 | 0.0010484 | 0.00026274
4 | 0.00071442 | 0.00017905
5 | 0.0011043 | 0.00027676
6 | 0.0006008 | 0.00015058
7 | 0.0012872 | 0.00032261
8 | 0.00094962 | 0.000238
9 | 0.00078213 | 0.00019602
10 | 0.0018099 | 0.0004536
11 | 0.0049128 | 0.0012313
12 | 0.0009332 | 0.00023388
13 | 0.0010816 | 0.00027108
14 | 0.0011295 | 0.00028307
15 | 0.0014741 | 0.00036945
16 | 0.001122 | 0.0002812
17 | 0.0011159 | 0.00027966
18 | 0.00091513 | 0.00022935
19 | 0.00071058 | 0.00017809
20 | 0.0016983 | 0.00042565
21 | 0.0012293 | 0.0003081
22 | 0.0022612 | 0.00056671
23 | 0.0020114 | 0.00050409
24 | 0.00117 | 0.00029322
25 | 0.00064127 | 0.00016072
26 | 0.002298 | 0.00057594
27 | 0.0021071 | 0.00052808
28 | 0.0010414 | 0.00026101
29 | 0.0016882 | 0.00042309
30 | 0.0012407 | 0.00031094
31 | 0.00093768 | 0.00023501
32 | 0.0010397 | 0.00026057
33 | 0.00094566 | 0.000237
34 | 0.00092641 | 0.00023218
35 | 0.0051422 | 0.0012888
36 | 0.0017527 | 0.00043927
37 | 0.00094154 | 0.00023597
38 | 0.0022317 | 0.00055931
39 | 0.0020113 | 0.00050409
40 | 0.0014837 | 0.00037186
41 | 0.0011354 | 0.00028456
42 | 0.0018617 | 0.00046659
43 | 0.0018224 | 0.00045674
44 | 0.001364 | 0.00034184
45 | 0.0023916 | 0.00059938
46 | 0.0011309 | 0.00028344
47 | 0.0012114 | 0.0003036
48 | 0.0012931 | 0.00032409
49 | 0.001378 | 0.00034535
50 | 0.00147 | 0.00036841
51 | 0.0023333 | 0.00058477
52 | 0.0016709 | 0.00041876
53 | 0.0012163 | 0.00030482
54 | 0.0028508 | 0.00071447
55 | 0.0016003 | 0.00040108

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1