## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-20_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-20_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-20_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2196-20_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2196-20_0_5_node_85 | 0.4 | n |  | TRUE
5 | bus_LV_2196-20_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2196-20_0_5_node_99 | 0.4 | n |  | TRUE
7 | bus_LV_2196-20_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2196-20_0_5_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_2196-20_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2196-20_0_5_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_2196-20_0_5_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_2196-20_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2196-20_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2196-20_0_5_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_2196-20_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2196-20_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2196-20_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2196-20_0_5_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_2196-20_0_5_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_2196-20_0_5_node_97 | 0.4 | n |  | TRUE
21 | bus_LV_2196-20_0_5_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_2196-20_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_2196-20_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2196-20_0_5_node_101 | 0.4 | n |  | TRUE
25 | bus_LV_2196-20_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2196-20_0_5_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2196-20_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2196-20_0_5_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2196-20_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2196-20_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2196-20_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2196-20_0_5_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_2196-20_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2196-20_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2196-20_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2196-20_0_5_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_2196-20_0_5_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_2196-20_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_2196-20_0_5_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_2196-20_0_5_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_2196-20_0_5_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_2196-20_0_5_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_2196-20_0_5_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_2196-20_0_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_2196-20_0_5_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_2196-20_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2196-20_0_5_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_2196-20_0_5_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_2196-20_0_5_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2196-20_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_2196-20_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_2196-20_0_5_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_2196-20_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_2196-20_0_5_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_2196-20_0_5_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_2196-20_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2196-20_0_5_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_2196-20_0_5_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_2196-20_0_5_node_27 | 0.4 | n |  | TRUE
60 | bus_LV_2196-20_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2196-20_0_5_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_2196-20_0_5_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_2196-20_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_2196-20_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2196-20_0_5_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_2196-20_0_5_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_2196-20_0_5_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_2196-20_0_5_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_2196-20_0_5_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_2196-20_0_5_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_2196-20_0_5_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_2196-20_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_2196-20_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2196-20_0_5_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_2196-20_0_5_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_2196-20_0_5_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_2196-20_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_2196-20_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2196-20_0_5_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_2196-20_0_5_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_2196-20_0_5_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_2196-20_0_5_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_2196-20_0_5_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_2196-20_0_5_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_2196-20_0_5_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_2196-20_0_5_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_2196-20_0_5_node_52 | 0.4 | n |  | TRUE
88 | bus_LV_2196-20_0_5_node_49 | 0.4 | n |  | TRUE
89 | bus_LV_2196-20_0_5_node_50 | 0.4 | n |  | TRUE
90 | bus_LV_2196-20_0_5_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_2196-20_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_2196-20_0_5_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_2196-20_0_5_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_2196-20_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_2196-20_0_5_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_2196-20_0_5_node_91 | 0.4 | n |  | TRUE
97 | bus_MV_508_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-20_0_5_load_0 | 0 | 0.0057538 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-20_0_5_load_85 | 4 | 0.0088313 | 0.0022133 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-20_0_5_load_99 | 6 | 0.012579 | 0.0031526 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-20_0_5_load_98 | 8 | 0.03464 | 0.0086815 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-20_0_5_load_94 | 11 | 0.011998 | 0.0030069 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-20_0_5_load_96 | 14 | 0.012697 | 0.0031822 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-20_0_5_load_74 | 19 | 0.005208 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-20_0_5_load_97 | 20 | 0.0024097 | 0.00060393 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-20_0_5_load_64 | 21 | 0.0066885 | 0.0016763 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-20_0_5_load_61 | 22 | 0.011666 | 0.0029237 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-20_0_5_load_101 | 24 | 0.0075643 | 0.0018958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-20_0_5_load_33 | 26 | 0.0079242 | 0.001986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-20_0_5_load_22 | 31 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-20_0_5_load_83 | 32 | 0.0034661 | 0.00086868 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-20_0_5_load_30 | 34 | 0.0056411 | 0.0014138 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-20_0_5_load_26 | 35 | 0.0062933 | 0.0015772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-20_0_5_load_87 | 37 | 0.012846 | 0.0032195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-20_0_5_load_84 | 38 | 0.0087142 | 0.002184 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-20_0_5_load_69 | 39 | 0.0070729 | 0.0017726 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2196-20_0_5_load_70 | 40 | 0.0078409 | 0.0019651 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2196-20_0_5_load_90 | 41 | 0.012322 | 0.0030882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2196-20_0_5_load_95 | 42 | 0.012221 | 0.0030628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2196-20_0_5_load_58 | 43 | 0.006989 | 0.0017516 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2196-20_0_5_load_71 | 44 | 0.00504 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2196-20_0_5_load_62 | 45 | 0.0083332 | 0.0020885 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2196-20_0_5_load_34 | 46 | 0.0044585 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2196-20_0_5_load_57 | 47 | 0.0024391 | 0.0006113 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2196-20_0_5_load_75 | 48 | 0.0028561 | 0.0007158 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2196-20_0_5_load_23 | 50 | 0.0062116 | 0.0015568 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2196-20_0_5_load_29 | 51 | 0.0064013 | 0.0016043 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2196-20_0_5_load_28 | 52 | 0.005102 | 0.0012787 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2196-20_0_5_load_55 | 53 | 0.0049751 | 0.0012469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2196-20_0_5_load_25 | 54 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2196-20_0_5_load_72 | 55 | 0.0039616 | 0.00099288 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2196-20_0_5_load_82 | 57 | 0.008793 | 0.0022037 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2196-20_0_5_load_78 | 58 | 0.0056535 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2196-20_0_5_load_27 | 59 | 0.0052832 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2196-20_0_5_load_56 | 60 | 0.0030976 | 0.00077634 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2196-20_0_5_load_76 | 62 | 0.0058587 | 0.0014683 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2196-20_0_5_load_35 | 63 | 0.0057538 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2196-20_0_5_load_53 | 64 | 0.0042147 | 0.0010563 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2196-20_0_5_load_36 | 65 | 0.0035742 | 0.00089577 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2196-20_0_5_load_41 | 70 | 0.0060764 | 0.0015229 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2196-20_0_5_load_42 | 71 | 0.0032194 | 0.00080685 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2196-20_0_5_load_67 | 72 | 0.0028512 | 0.00071458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2196-20_0_5_load_65 | 73 | 0.0035799 | 0.0008972 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2196-20_0_5_load_100 | 74 | 0.0032815 | 0.00082241 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2196-20_0_5_load_47 | 75 | 0.005139 | 0.001288 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2196-20_0_5_load_77 | 76 | 0.0022998 | 0.0005764 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2196-20_0_5_load_68 | 78 | 0.0094639 | 0.0023719 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2196-20_0_5_load_48 | 79 | 0.0026581 | 0.00066618 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2196-20_0_5_load_51 | 80 | 0.0040663 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2196-20_0_5_load_44 | 81 | 0.0067464 | 0.0016908 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2196-20_0_5_load_73 | 84 | 0.0042238 | 0.0010586 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2196-20_0_5_load_59 | 85 | 0.0065597 | 0.001644 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2196-20_0_5_load_54 | 86 | 0.0030824 | 0.00077253 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2196-20_0_5_load_52 | 87 | 0.0050967 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2196-20_0_5_load_49 | 88 | 0.004607 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2196-20_0_5_load_50 | 89 | 0.0039414 | 0.00098781 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2196-20_0_5_load_63 | 90 | 0.0070901 | 0.0017769 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2196-20_0_5_load_81 | 91 | 0.00612 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2196-20_0_5_load_92 | 93 | 0.012114 | 0.0030361 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2196-20_0_5_load_88 | 94 | 0.012939 | 0.0032428 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2196-20_0_5_load_93 | 95 | 0.01286 | 0.0032231 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2196-20_0_5_load_91 | 96 | 0.012159 | 0.0030473 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-20_0_5_line_0 |  | 0 | 1 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-20_0_5_line_1 |  | 1 | 2 | 0.009749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-20_0_5_line_2 |  | 1 | 3 | 0.077947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-20_0_5_line_3 |  | 2 | 4 | 0.023036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-20_0_5_line_4 |  | 3 | 8 | 0.077071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-20_0_5_line_5 |  | 4 | 38 | 0.028891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-20_0_5_line_6 |  | 5 | 6 | 0.039482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-20_0_5_line_7 |  | 5 | 7 | 0.11745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-20_0_5_line_8 |  | 7 | 30 | 0.15346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2196-20_0_5_line_9 |  | 7 | 31 | 0.049732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-20_0_5_line_10 |  | 9 | 10 | 0.030136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-20_0_5_line_11 |  | 9 | 11 | 0.023007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2196-20_0_5_line_12 |  | 10 | 41 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_2196-20_0_5_line_13 |  | 10 | 36 | 0.029248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2196-20_0_5_line_14 |  | 11 | 42 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2196-20_0_5_line_15 |  | 12 | 13 | 0.058965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_2196-20_0_5_line_16 |  | 12 | 14 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_2196-20_0_5_line_17 |  | 13 | 21 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-20_0_5_line_18 |  | 13 | 22 | 0.0089319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2196-20_0_5_line_19 |  | 14 | 15 | 0.043491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_2196-20_0_5_line_20 |  | 15 | 16 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_2196-20_0_5_line_21 |  | 16 | 20 | 0.041393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2196-20_0_5_line_22 |  | 16 | 17 | 0.006643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_2196-20_0_5_line_23 |  | 17 | 18 | 0.0099073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2196-20_0_5_line_24 |  | 17 | 19 | 0.067608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2196-20_0_5_line_25 |  | 18 | 43 | 0.023055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2196-20_0_5_line_26 |  | 19 | 44 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2196-20_0_5_line_27 |  | 22 | 45 | 0.024072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_2196-20_0_5_line_28 |  | 23 | 24 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2196-20_0_5_line_29 |  | 23 | 25 | 0.003839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2196-20_0_5_line_30 |  | 25 | 26 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2196-20_0_5_line_31 |  | 26 | 46 | 0.029277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2196-20_0_5_line_32 |  | 27 | 28 | 0.027488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_2196-20_0_5_line_33 |  | 27 | 29 | 0.032949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2196-20_0_5_line_34 |  | 28 | 47 | 0.041391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2196-20_0_5_line_35 |  | 28 | 48 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_2196-20_0_5_line_36 |  | 29 | 49 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_2196-20_0_5_line_37 |  | 29 | 50 | 0.039598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2196-20_0_5_line_38 |  | 30 | 32 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2196-20_0_5_line_39 |  | 31 | 50 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2196-20_0_5_line_40 |  | 33 | 34 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2196-20_0_5_line_41 |  | 33 | 35 | 0.01764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2196-20_0_5_line_42 |  | 34 | 53 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2196-20_0_5_line_43 |  | 35 | 54 | 0.021575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2196-20_0_5_line_44 |  | 36 | 37 | 0.03174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_2196-20_0_5_line_45 |  | 37 | 94 | 0.028753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2196-20_0_5_line_46 |  | 38 | 57 | 0.028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2196-20_0_5_line_47 |  | 39 | 40 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2196-20_0_5_line_48 |  | 40 | 44 | 0.028754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2196-20_0_5_line_49 |  | 41 | 96 | 0.028776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_2196-20_0_5_line_50 |  | 42 | 95 | 0.028908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2196-20_0_5_line_51 |  | 43 | 85 | 0.0004455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_2196-20_0_5_line_52 |  | 45 | 90 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2196-20_0_5_line_53 |  | 46 | 63 | 0.004958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2196-20_0_5_line_54 |  | 47 | 60 | 0.030799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2196-20_0_5_line_55 |  | 48 | 62 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2196-20_0_5_line_56 |  | 49 | 57 | 0.032104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2196-20_0_5_line_57 |  | 49 | 58 | 0.025068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2196-20_0_5_line_58 |  | 51 | 52 | 0.026872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2196-20_0_5_line_59 |  | 52 | 59 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2196-20_0_5_line_60 |  | 53 | 60 | 0.043332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2196-20_0_5_line_61 |  | 54 | 59 | 0.019292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2196-20_0_5_line_62 |  | 55 | 56 | 0.026603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2196-20_0_5_line_63 |  | 56 | 64 | 0.0050607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2196-20_0_5_line_64 |  | 56 | 63 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2196-20_0_5_line_65 |  | 58 | 61 | 0.0041659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_2196-20_0_5_line_66 |  | 61 | 91 | 0.016157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_2196-20_0_5_line_67 |  | 62 | 76 | 0.013559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_2196-20_0_5_line_68 |  | 64 | 80 | 0.00045642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_2196-20_0_5_line_69 |  | 65 | 66 | 0.0078809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_2196-20_0_5_line_70 |  | 65 | 67 | 0.018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_2196-20_0_5_line_71 |  | 66 | 68 | 0.013414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_2196-20_0_5_line_72 |  | 66 | 69 | 0.001534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2196-20_0_5_line_73 |  | 67 | 70 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2196-20_0_5_line_74 |  | 67 | 71 | 0.0072258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_2196-20_0_5_line_75 |  | 68 | 72 | 0.028262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_2196-20_0_5_line_76 |  | 68 | 73 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_2196-20_0_5_line_77 |  | 69 | 74 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2196-20_0_5_line_78 |  | 71 | 75 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_2196-20_0_5_line_79 |  | 72 | 76 | 0.0022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_2196-20_0_5_line_80 |  | 73 | 77 | 0.019552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_2196-20_0_5_line_81 |  | 75 | 79 | 0.0027815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_2196-20_0_5_line_82 |  | 77 | 78 | 0.0091873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_2196-20_0_5_line_83 |  | 78 | 83 | 0.0094131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_2196-20_0_5_line_84 |  | 79 | 86 | 0.0013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_2196-20_0_5_line_85 |  | 80 | 88 | 0.029371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_2196-20_0_5_line_86 |  | 81 | 82 | 0.024181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2196-20_0_5_line_87 |  | 82 | 83 | 0.005288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2196-20_0_5_line_88 |  | 83 | 84 | 0.042343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2196-20_0_5_line_89 |  | 83 | 85 | 0.032336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_2196-20_0_5_line_90 |  | 86 | 87 | 0.023074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_2196-20_0_5_line_91 |  | 87 | 89 | 0.0036547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_2196-20_0_5_line_92 |  | 88 | 89 | 0.00051354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_2196-20_0_5_line_93 |  | 91 | 94 | 0.028935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_2196-20_0_5_line_94 |  | 92 | 93 | 0.026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_2196-20_0_5_line_95 |  | 93 | 96 | 0.028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-20_0_5_trafo_80 | 0.63 MVA 20/0.4 kV | 97 | 92 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2577792.286 | 1184087.0688 | 2577786.6915 | 1184083.0987 | 2577779.5158 | 1184080.8576 | 2577776.4172 | 1184080.9274
1 | 2577792.286 | 1184087.0688 | 2577786.7362 | 1184095.0937
2 | 2577792.286 | 1184087.0688 | 2577798.6119 | 1184082.4651 | 2577803.8621 | 1184080.0666 | 2577810.4231 | 1184079.1528 | 2577817.2822 | 1184080.4057 | 2577822.6645 | 1184082.7314 | 2577830.5639 | 1184086.6374 | 2577837.0212 | 1184088.6478 | 2577843.044 | 1184088.7366 | 2577846.3669 | 1184087.368 | 2577847.0026 | 1184089.9892 | 2577846.5531 | 1184092.281 | 2577839.2574 | 1184105.0036
3 | 2577786.7362 | 1184095.0937 | 2577763.7758 | 1184096.9608
4 | 2577839.2574 | 1184105.0036 | 2577836.9241 | 1184103.5893 | 2577832.2048 | 1184100.961 | 2577829.3301 | 1184099.6932 | 2577825.8014 | 1184099.0949 | 2577821.6049 | 1184099.5219 | 2577813.4235 | 1184101.898 | 2577811.1226 | 1184103.0293 | 2577809.4419 | 1184104.7142 | 2577808.887 | 1184107.3732 | 2577808.602 | 1184112.8327 | 2577809.2272 | 1184116.7546 | 2577810.6751 | 1184120.2177 | 2577814.169 | 1184123.7844 | 2577820.6548 | 1184133.4542 | 2577826.0343 | 1184144.1741
5 | 2577763.7758 | 1184096.9608 | 2577734.9796 | 1184099.3026
6 | 2577774.2576 | 1184007.3833 | 2577766.0586 | 1184046.0006
7 | 2577700.4598 | 1183984.6578 | 2577694.5112 | 1183961.568 | 2577699.5322 | 1183961.1268 | 2577710.1238 | 1183964.3556 | 2577726.3806 | 1183972.0433 | 2577774.2576 | 1184007.3833
8 | 2577570.4503 | 1183943.5235 | 2577571.5729 | 1183939.5951 | 2577572.8369 | 1183936.7555 | 2577586.452 | 1183938.0939 | 2577655.4402 | 1183948.1294 | 2577664.6932 | 1183950.6072 | 2577678.8706 | 1183961.482 | 2577688.0221 | 1183973.5541 | 2577693.3949 | 1183985.5625 | 2577697.6979 | 1183985.0128 | 2577700.4598 | 1183984.6578
9 | 2577700.4598 | 1183984.6578 | 2577701.9351 | 1184003.5844 | 2577701.2335 | 1184026.2211 | 2577699.2464 | 1184034.074
10 | 2577800.9596 | 1184186.1883 | 2577791.7063 | 1184167.135 | 2577788.0121 | 1184158.9667
11 | 2577800.9596 | 1184186.1883 | 2577792.3855 | 1184191.7119 | 2577779.5848 | 1184192.1327
12 | 2577788.0121 | 1184158.9667 | 2577765.0409 | 1184160.8461
13 | 2577781.4716 | 1184130.5318 | 2577783.8163 | 1184145.2529 | 2577788.0121 | 1184158.9667
14 | 2577779.5848 | 1184192.1327 | 2577750.9199 | 1184193.0749
15 | 2577624.6973 | 1184292.9689 | 2577623.5511 | 1184296.6973 | 2577622.3294 | 1184300.6595 | 2577620.9914 | 1184304.1219 | 2577622.7703 | 1184306.283 | 2577623.4124 | 1184308.5707 | 2577622.5892 | 1184310.8972 | 2577617.4858 | 1184313.7067 | 2577619.3452 | 1184319.0025 | 2577620.9738 | 1184323.8323 | 2577622.6568 | 1184328.9286 | 2577623.4726 | 1184328.6921 | 2577630.1821 | 1184326.7437 | 2577639.874 | 1184328.3527
16 | 2577639.874 | 1184328.3527 | 2577657.4958 | 1184324.3762
17 | 2577624.6973 | 1184292.9689 | 2577637.2429 | 1184294.3114 | 2577645.6296 | 1184294.8245
18 | 2577624.6973 | 1184292.9689 | 2577615.9037 | 1184291.4029
19 | 2577700.3133 | 1184317.0762 | 2577677.6469 | 1184319.829 | 2577657.4958 | 1184324.3762
20 | 2577698.4729 | 1184300.4855 | 2577699.1677 | 1184306.6862 | 2577700.3133 | 1184317.0762
21 | 2577698.4729 | 1184300.4855 | 2577704.1236 | 1184301.1537 | 2577739.6319 | 1184297.4353
22 | 2577696.1293 | 1184294.2688 | 2577698.4729 | 1184300.4855
23 | 2577696.1293 | 1184294.2688 | 2577694.2474 | 1184289.0509 | 2577698.3637 | 1184287.6126
24 | 2577696.1293 | 1184294.2688 | 2577715.5074 | 1184287.7708 | 2577722.627 | 1184285.254 | 2577743.841 | 1184277.7599 | 2577760.0066 | 1184272.1263
25 | 2577698.3637 | 1184287.6126 | 2577697.8606 | 1184285.7579 | 2577692.2221 | 1184265.3902
26 | 2577785.8015 | 1184263.137 | 2577760.0066 | 1184272.1263
27 | 2577615.9037 | 1184291.4029 | 2577592.2048 | 1184287.1824
28 | 2577513.6392 | 1184280.3686 | 2577517.1175 | 1184261.5568 | 2577526.6413 | 1184263.0661
29 | 2577509.8358 | 1184279.7715 | 2577513.6392 | 1184280.3686
30 | 2577509.8358 | 1184279.7715 | 2577510.6705 | 1184274.41 | 2577511.475 | 1184273.2063 | 2577513.5743 | 1184262.3058
31 | 2577519.111 | 1184233.5569 | 2577513.5743 | 1184262.3058
32 | 2577643.0848 | 1184107.7144 | 2577643.371 | 1184135.1944
33 | 2577643.0848 | 1184107.7144 | 2577659.9082 | 1184097.6128 | 2577669.3529 | 1184088.1281
34 | 2577643.371 | 1184135.1944 | 2577602.3109 | 1184140.4194
35 | 2577643.371 | 1184135.1944 | 2577645.1053 | 1184149.8071
36 | 2577669.3529 | 1184088.1281 | 2577672.7974 | 1184092.7509 | 2577673.9578 | 1184098.9276 | 2577674.2601 | 1184104.2404
37 | 2577669.3529 | 1184088.1281 | 2577678.5009 | 1184078.9335 | 2577692.0419 | 1184056.0053
38 | 2577570.4503 | 1183943.5235 | 2577567.6731 | 1183955.2303
39 | 2577699.2464 | 1184034.074 | 2577694.9376 | 1184051.102 | 2577692.0419 | 1184056.0053
40 | 2577494.4686 | 1184133.442 | 2577505.8483 | 1184139.2577
41 | 2577494.4686 | 1184133.442 | 2577511.993 | 1184131.4236
42 | 2577528.2752 | 1184140.6627 | 2577505.8483 | 1184139.2577 | 2577505.8483 | 1184139.2577
43 | 2577533.4267 | 1184128.9549 | 2577511.993 | 1184131.4236
44 | 2577781.4716 | 1184130.5318 | 2577749.7432 | 1184131.4021
45 | 2577749.7432 | 1184131.4021 | 2577721.0011 | 1184132.1906
46 | 2577706.2584 | 1184101.6382 | 2577734.9796 | 1184099.3026
47 | 2577839.6124 | 1184240.4876 | 2577821.6477 | 1184250.645 | 2577812.9538 | 1184253.6747
48 | 2577785.8015 | 1184263.137 | 2577812.9538 | 1184253.6747
49 | 2577765.0409 | 1184160.8461 | 2577736.3608 | 1184163.1926
50 | 2577750.9199 | 1184193.0749 | 2577722.0271 | 1184194.0247
51 | 2577692.2221 | 1184265.3902 | 2577692.1033 | 1184264.9609
52 | 2577581.3525 | 1184285.2497 | 2577592.2048 | 1184287.1824
53 | 2577519.111 | 1184233.5569 | 2577519.111 | 1184233.5569 | 2577516.9113 | 1184233.1761 | 2577517.4324 | 1184230.5007
54 | 2577602.3109 | 1184140.4194 | 2577595.5734 | 1184141.2768 | 2577571.5676 | 1184141.5663
55 | 2577645.1053 | 1184149.8071 | 2577646.7526 | 1184163.6857
56 | 2577674.2601 | 1184104.2404 | 2577706.2584 | 1184101.6382
57 | 2577674.2601 | 1184104.2404 | 2577675.689 | 1184129.268
58 | 2577573.9966 | 1184124.2822 | 2577600.6925 | 1184121.2074
59 | 2577573.9966 | 1184124.2822 | 2577552.5923 | 1184126.7475
60 | 2577528.2752 | 1184140.6627 | 2577547.3584 | 1184141.8583 | 2577571.5676 | 1184141.5663
61 | 2577533.4267 | 1184128.9549 | 2577552.5923 | 1184126.7475
62 | 2577495.931 | 1184201.4052 | 2577512.1114 | 1184205.1351 | 2577522.0031 | 1184207.0321
63 | 2577522.0031 | 1184207.0321 | 2577527.0162 | 1184207.7252
64 | 2577522.0031 | 1184207.0321 | 2577517.4324 | 1184230.5007
65 | 2577675.9265 | 1184133.4271 | 2577675.689 | 1184129.268
66 | 2577675.9265 | 1184133.4271 | 2577692.0771 | 1184132.9841
67 | 2577648.3506 | 1184177.1498 | 2577646.7526 | 1184163.6857
68 | 2577527.4683 | 1184207.7877 | 2577527.0162 | 1184207.7252
69 | 2577644.0794 | 1184218.324 | 2577636.2193 | 1184218.8965
70 | 2577618.0499 | 1184219.9335 | 2577619.4626 | 1184220.1172 | 2577636.2193 | 1184218.8965
71 | 2577644.0794 | 1184218.324 | 2577651.9463 | 1184207.4444
72 | 2577645.5693 | 1184218.7075 | 2577644.0794 | 1184218.324
73 | 2577618.0499 | 1184219.9335 | 2577618.3499 | 1184232.7724 | 2577617.0857 | 1184241.6528
74 | 2577618.0499 | 1184219.9335 | 2577610.8848 | 1184218.9988
75 | 2577651.9463 | 1184207.4444 | 2577648.6153 | 1184179.3795
76 | 2577651.9463 | 1184207.4444 | 2577655.5769 | 1184206.7415 | 2577664.9558 | 1184206.1504
77 | 2577645.5693 | 1184218.7075 | 2577643.8581 | 1184224.4502 | 2577643.1287 | 1184243.6518 | 2577641.4405 | 1184245.3479
78 | 2577610.8848 | 1184218.9988 | 2577587.6897 | 1184215.9731
79 | 2577648.3506 | 1184177.1498 | 2577648.6153 | 1184179.3795
80 | 2577673.8887 | 1184221.1694 | 2577672.7362 | 1184211.0017 | 2577665.7033 | 1184206.1033 | 2577664.9558 | 1184206.1504
81 | 2577584.9316 | 1184215.6133 | 2577587.6897 | 1184215.9731
82 | 2577673.8887 | 1184221.1694 | 2577677.8444 | 1184221.6882 | 2577682.1146 | 1184224.6516
83 | 2577684.0115 | 1184233.8715 | 2577682.1146 | 1184224.6516
84 | 2577583.5624 | 1184215.4347 | 2577584.9316 | 1184215.6133
85 | 2577556.5629 | 1184211.8098 | 2577527.4683 | 1184207.7877
86 | 2577679.9177 | 1184237.233 | 2577679.1099 | 1184239.6151 | 2577675.3145 | 1184243.2089 | 2577667.6473 | 1184248.2958 | 2577660.4099 | 1184248.2129
87 | 2577684.0115 | 1184233.8715 | 2577679.9177 | 1184237.233
88 | 2577684.0115 | 1184233.8715 | 2577688.7241 | 1184236.7554 | 2577701.8534 | 1184234.9276 | 2577704.8115 | 1184238.096 | 2577705.4756 | 1184242.2067 | 2577710.4797 | 1184241.3876 | 2577713.8447 | 1184243.1538 | 2577716.3494 | 1184243.4668 | 2577719.9249 | 1184242.2973
89 | 2577684.0115 | 1184233.8715 | 2577683.7576 | 1184237.3965 | 2577690.4483 | 1184258.9828 | 2577692.1033 | 1184264.9609
90 | 2577583.5624 | 1184215.4347 | 2577569.7562 | 1184213.6337 | 2577560.6919 | 1184212.3806
91 | 2577557.0716 | 1184211.8801 | 2577560.6919 | 1184212.3806
92 | 2577557.0716 | 1184211.8801 | 2577556.5629 | 1184211.8098
93 | 2577692.0771 | 1184132.9841 | 2577721.0011 | 1184132.1906
94 | 2577680.9475 | 1184167.7262 | 2577707.6064 | 1184165.5451
95 | 2577736.3608 | 1184163.1926 | 2577707.6064 | 1184165.5451

## bus_geodata
| x | y | coords
0 | 2577776.4172 | 1184080.9274
1 | 2577792.286 | 1184087.0688
2 | 2577786.7362 | 1184095.0937
3 | 2577839.2574 | 1184105.0036
4 | 2577763.7758 | 1184096.9608
5 | 2577774.2576 | 1184007.3833
6 | 2577766.0586 | 1184046.0006
7 | 2577700.4598 | 1183984.6578
8 | 2577826.0343 | 1184144.1741
9 | 2577800.9596 | 1184186.1883
10 | 2577788.0121 | 1184158.9667
11 | 2577779.5848 | 1184192.1327
12 | 2577639.874 | 1184328.3527
13 | 2577624.6973 | 1184292.9689
14 | 2577657.4958 | 1184324.3762
15 | 2577700.3133 | 1184317.0762
16 | 2577698.4729 | 1184300.4855
17 | 2577696.1293 | 1184294.2688
18 | 2577698.3637 | 1184287.6126
19 | 2577760.0066 | 1184272.1263
20 | 2577739.6319 | 1184297.4353
21 | 2577645.6296 | 1184294.8245
22 | 2577615.9037 | 1184291.4029
23 | 2577513.6392 | 1184280.3686
24 | 2577526.6413 | 1184263.0661
25 | 2577509.8358 | 1184279.7715
26 | 2577513.5743 | 1184262.3058
27 | 2577643.0848 | 1184107.7144
28 | 2577643.371 | 1184135.1944
29 | 2577669.3529 | 1184088.1281
30 | 2577570.4503 | 1183943.5235
31 | 2577699.2464 | 1184034.074
32 | 2577567.6731 | 1183955.2303
33 | 2577494.4686 | 1184133.442
34 | 2577505.8483 | 1184139.2577
35 | 2577511.993 | 1184131.4236
36 | 2577781.4716 | 1184130.5318
37 | 2577749.7432 | 1184131.4021
38 | 2577734.9796 | 1184099.3026
39 | 2577839.6124 | 1184240.4876
40 | 2577812.9538 | 1184253.6747
41 | 2577765.0409 | 1184160.8461
42 | 2577750.9199 | 1184193.0749
43 | 2577692.2221 | 1184265.3902
44 | 2577785.8015 | 1184263.137
45 | 2577592.2048 | 1184287.1824
46 | 2577519.111 | 1184233.5569
47 | 2577602.3109 | 1184140.4194
48 | 2577645.1053 | 1184149.8071
49 | 2577674.2601 | 1184104.2404
50 | 2577692.0419 | 1184056.0053
51 | 2577600.6925 | 1184121.2074
52 | 2577573.9966 | 1184124.2822
53 | 2577528.2752 | 1184140.6627
54 | 2577533.4267 | 1184128.9549
55 | 2577495.931 | 1184201.4052
56 | 2577522.0031 | 1184207.0321
57 | 2577706.2584 | 1184101.6382
58 | 2577675.689 | 1184129.268
59 | 2577552.5923 | 1184126.7475
60 | 2577571.5676 | 1184141.5663
61 | 2577675.9265 | 1184133.4271
62 | 2577646.7526 | 1184163.6857
63 | 2577517.4324 | 1184230.5007
64 | 2577527.0162 | 1184207.7252
65 | 2577636.2193 | 1184218.8965
66 | 2577644.0794 | 1184218.324
67 | 2577618.0499 | 1184219.9335
68 | 2577651.9463 | 1184207.4444
69 | 2577645.5693 | 1184218.7075
70 | 2577617.0857 | 1184241.6528
71 | 2577610.8848 | 1184218.9988
72 | 2577648.6153 | 1184179.3795
73 | 2577664.9558 | 1184206.1504
74 | 2577641.4405 | 1184245.3479
75 | 2577587.6897 | 1184215.9731
76 | 2577648.3506 | 1184177.1498
77 | 2577673.8887 | 1184221.1694
78 | 2577682.1146 | 1184224.6516
79 | 2577584.9316 | 1184215.6133
80 | 2577527.4683 | 1184207.7877
81 | 2577660.4099 | 1184248.2129
82 | 2577679.9177 | 1184237.233
83 | 2577684.0115 | 1184233.8715
84 | 2577719.9249 | 1184242.2973
85 | 2577692.1033 | 1184264.9609
86 | 2577583.5624 | 1184215.4347
87 | 2577560.6919 | 1184212.3806
88 | 2577556.5629 | 1184211.8098
89 | 2577557.0716 | 1184211.8801
90 | 2577581.3525 | 1184285.2497
91 | 2577692.0771 | 1184132.9841
92 | 2577680.9475 | 1184167.7262
93 | 2577707.6064 | 1184165.5451
94 | 2577721.0011 | 1184132.1906
95 | 2577722.0271 | 1184194.0247
96 | 2577736.3608 | 1184163.1926
97 | 2577675.9265 | 1184133.4271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97538 | -0.47214 | 0.0057538 | 0.001442
1 | 0.97548 | -0.47029 | 0 | 0
2 | 0.97585 | -0.46308 | 0 | 0
3 | 0.97296 | -0.51988 | 0 | 0
4 | 0.97672 | -0.44607 | 0.0088313 | 0.0022133
5 | 0.97555 | -0.46909 | 0 | 0
6 | 0.97509 | -0.47819 | 0.012579 | 0.0031526
7 | 0.97693 | -0.44207 | 0 | 0
8 | 0.97046 | -0.56917 | 0.03464 | 0.0086815
9 | 0.99023 | -0.18508 | 0 | 0
10 | 0.99126 | -0.16524 | 0 | 0
11 | 0.98945 | -0.20026 | 0.011998 | 0.0030069
12 | 0.97102 | -0.55822 | 0 | 0
13 | 0.97065 | -0.56559 | 0 | 0
14 | 0.97113 | -0.55597 | 0.012697 | 0.0031822
15 | 0.97151 | -0.5485 | 0 | 0
16 | 0.97166 | -0.54563 | 0 | 0
17 | 0.97172 | -0.54443 | 0 | 0
18 | 0.97185 | -0.54172 | 0 | 0
19 | 0.9714 | -0.55071 | 0.005208 | 0.0013053
20 | 0.97156 | -0.54747 | 0.0024097 | 0.00060393
21 | 0.97052 | -0.56819 | 0.0066885 | 0.0016763
22 | 0.9706 | -0.56649 | 0.011666 | 0.0029237
23 | 0.971 | -0.55871 | 0 | 0
24 | 0.97079 | -0.56274 | 0.0075643 | 0.0018958
25 | 0.97102 | -0.55818 | 0 | 0
26 | 0.97115 | -0.55566 | 0.0079242 | 0.001986
27 | 0.97767 | -0.4273 | 0 | 0
28 | 0.9764 | -0.45224 | 0 | 0
29 | 0.9792 | -0.39749 | 0 | 0
30 | 0.97643 | -0.4518 | 0 | 0
31 | 0.97767 | -0.4275 | 0.0062512 | 0.0015667
32 | 0.9764 | -0.45256 | 0.0034661 | 0.00086868
33 | 0.97202 | -0.53847 | 0 | 0
34 | 0.97235 | -0.53184 | 0.0056411 | 0.0014138
35 | 0.97155 | -0.54762 | 0.0062933 | 0.0015772
36 | 0.98918 | -0.20489 | 0 | 0
37 | 0.98692 | -0.24811 | 0.012846 | 0.0032195
38 | 0.97804 | -0.42011 | 0.0087142 | 0.002184
39 | 0.97055 | -0.56758 | 0.0070729 | 0.0017726
40 | 0.97075 | -0.56368 | 0.0078409 | 0.0019651
41 | 0.99305 | -0.13109 | 0.012322 | 0.0030882
42 | 0.98879 | -0.21308 | 0.012221 | 0.0030628
43 | 0.97217 | -0.53542 | 0.006989 | 0.0017516
44 | 0.97115 | -0.55575 | 0.00504 | 0.0012631
45 | 0.97053 | -0.56786 | 0.0083332 | 0.0020885
46 | 0.97157 | -0.54729 | 0.0044585 | 0.0011174
47 | 0.97583 | -0.46341 | 0.0024391 | 0.0006113
48 | 0.97584 | -0.46323 | 0.0028561 | 0.0007158
49 | 0.9801 | -0.38001 | 0 | 0
50 | 0.97815 | -0.41804 | 0.0062116 | 0.0015568
51 | 0.97042 | -0.57008 | 0.0064013 | 0.0016043
52 | 0.97058 | -0.56689 | 0.005102 | 0.0012787
53 | 0.97306 | -0.51787 | 0.0049751 | 0.0012469
54 | 0.97111 | -0.55632 | 0.0050318 | 0.0012611
55 | 0.97214 | -0.53607 | 0.0039616 | 0.00099288
56 | 0.97224 | -0.53412 | 0 | 0
57 | 0.9796 | -0.38974 | 0.008793 | 0.0022037
58 | 0.9817 | -0.34879 | 0.0056535 | 0.0014169
59 | 0.97081 | -0.56231 | 0.0052832 | 0.0013241
60 | 0.97463 | -0.48703 | 0.0030976 | 0.00077634
61 | 0.98198 | -0.34353 | 0 | 0
62 | 0.97531 | -0.47354 | 0.0058587 | 0.0014683
63 | 0.97167 | -0.54546 | 0.0057538 | 0.001442
64 | 0.97231 | -0.53274 | 0.0042147 | 0.0010563
65 | 0.97343 | -0.51067 | 0.0035742 | 0.00089577
66 | 0.97354 | -0.50848 | 0 | 0
67 | 0.97318 | -0.51548 | 0 | 0
68 | 0.97373 | -0.5046 | 0 | 0
69 | 0.97353 | -0.50858 | 0 | 0
70 | 0.97306 | -0.51792 | 0.0060764 | 0.0015229
71 | 0.97309 | -0.51723 | 0.0032194 | 0.00080685
72 | 0.97474 | -0.48485 | 0.0028512 | 0.00071458
73 | 0.97346 | -0.50998 | 0.0035799 | 0.0008972
74 | 0.97345 | -0.51024 | 0.0032815 | 0.00082241
75 | 0.97282 | -0.52261 | 0.005139 | 0.001288
76 | 0.97482 | -0.48326 | 0.0022998 | 0.0005764
77 | 0.97307 | -0.51776 | 0 | 0
78 | 0.97288 | -0.52142 | 0.0094639 | 0.0023719
79 | 0.97279 | -0.5232 | 0.0026581 | 0.00066618
80 | 0.97231 | -0.53268 | 0.0040663 | 0.0010191
81 | 0.97252 | -0.5285 | 0.0067464 | 0.0016908
82 | 0.97268 | -0.52549 | 0 | 0
83 | 0.97271 | -0.52484 | 0 | 0
84 | 0.97254 | -0.52813 | 0.0042238 | 0.0010586
85 | 0.97218 | -0.53528 | 0.0065597 | 0.001644
86 | 0.97278 | -0.52348 | 0.0030824 | 0.00077253
87 | 0.97256 | -0.52786 | 0.0050967 | 0.0012773
88 | 0.97252 | -0.52857 | 0.004607 | 0.0011546
89 | 0.97252 | -0.52849 | 0.0039414 | 0.00098781
90 | 0.97051 | -0.56834 | 0.0070901 | 0.0017769
91 | 0.98303 | -0.32314 | 0.00612 | 0.0015338
92 | 1 | 0 | -0.46636 | -0.12024
93 | 0.99774 | -0.042524 | 0.012114 | 0.0030361
94 | 0.98495 | -0.2861 | 0.012939 | 0.0032428
95 | 0.98845 | -0.21971 | 0.01286 | 0.0032231
96 | 0.99536 | -0.087376 | 0.012159 | 0.0030473
97 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0057538 | -0.001442 | 0.0057543 | 0.0014421 | 5.0497e-07 | 1.0502e-07 | 0.0087778 | 0.0087777 | 0.0087778 | 0.97538 | -0.47214 | 0.97548 | -0.47029 | 2.4115
1 | -0.040558 | -0.010227 | 0.040572 | 0.010236 | 1.4004e-05 | 8.8405e-06 | 0.06189 | 0.06189 | 0.06189 | 0.97548 | -0.47029 | 0.97585 | -0.46308 | 17.0029
2 | 0.034804 | 0.0087846 | -0.034721 | -0.0087328 | 8.2458e-05 | 5.1802e-05 | 0.053113 | 0.053113 | 0.053113 | 0.97548 | -0.47029 | 0.97296 | -0.51988 | 14.5915
3 | -0.040572 | -0.010236 | 0.040605 | 0.010256 | 3.3089e-05 | 2.0889e-05 | 0.06189 | 0.06189 | 0.06189 | 0.97585 | -0.46308 | 0.97672 | -0.44607 | 17.0028
4 | 0.034721 | 0.0087328 | -0.03464 | -0.0086815 | 8.1532e-05 | 5.1226e-05 | 0.053113 | 0.053113 | 0.053113 | 0.97296 | -0.51988 | 0.97046 | -0.56917 | 14.5916
5 | -0.049436 | -0.01247 | 0.049498 | 0.012509 | 6.1504e-05 | 3.9e-05 | 0.075345 | 0.075344 | 0.075345 | 0.97672 | -0.44607 | 0.97804 | -0.42011 | 20.6991
6 | 0.012585 | 0.0031556 | -0.012579 | -0.0031526 | 5.4557e-06 | 2.9989e-06 | 0.019196 | 0.019196 | 0.019196 | 0.97555 | -0.46909 | 0.97509 | -0.47819 | 5.2736
7 | -0.012585 | -0.0031556 | 0.012601 | 0.0031645 | 1.6228e-05 | 8.9177e-06 | 0.019196 | 0.019195 | 0.019196 | 0.97555 | -0.46909 | 0.97693 | -0.44207 | 5.2736
8 | 0.0034678 | 0.00086772 | -0.0034662 | -0.00086861 | 1.6055e-06 | -8.93e-07 | 0.0052815 | 0.0052822 | 0.0052822 | 0.97693 | -0.44207 | 0.97643 | -0.4518 | 1.4512
9 | -0.016069 | -0.0040323 | 0.01608 | 0.0040388 | 1.1173e-05 | 6.5276e-06 | 0.024477 | 0.024477 | 0.024477 | 0.97693 | -0.44207 | 0.97767 | -0.4275 | 6.7244
10 | -0.037125 | -0.0093214 | 0.03716 | 0.0093435 | 3.5179e-05 | 2.2127e-05 | 0.055794 | 0.055793 | 0.055794 | 0.99023 | -0.18508 | 0.99126 | -0.16524 | 15.3279
11 | 0.037125 | 0.0093214 | -0.037098 | -0.0093045 | 2.6857e-05 | 1.6893e-05 | 0.055794 | 0.055794 | 0.055794 | 0.99023 | -0.18508 | 0.98945 | -0.20026 | 15.3279
12 | -0.42454 | -0.10878 | 0.42524 | 0.10923 | 0.00070392 | 0.00044902 | 0.63814 | 0.63814 | 0.63814 | 0.99126 | -0.16524 | 0.99305 | -0.13109 | 35.0627
13 | 0.38738 | 0.099436 | -0.38663 | -0.098962 | 0.00074391 | 0.00047422 | 0.58235 | 0.58235 | 0.58235 | 0.99126 | -0.16524 | 0.98918 | -0.20489 | 31.9972
14 | 0.025101 | 0.0062976 | -0.025085 | -0.0062882 | 1.5327e-05 | 9.4414e-06 | 0.037751 | 0.037751 | 0.037751 | 0.98945 | -0.20026 | 0.98879 | -0.21308 | 10.3711
15 | 0.033793 | 0.0084687 | -0.033781 | -0.0084648 | 1.1859e-05 | 3.9445e-06 | 0.051784 | 0.051786 | 0.051786 | 0.97102 | -0.55822 | 0.97065 | -0.56559 | 2.8454
16 | -0.033793 | -0.0084687 | 0.033796 | 0.0084699 | 3.6332e-06 | 1.2078e-06 | 0.051784 | 0.051784 | 0.051784 | 0.97102 | -0.55822 | 0.97113 | -0.55597 | 2.8453
17 | 0.0066894 | 0.0016766 | -0.0066885 | -0.0016763 | 8.2894e-07 | 2.7075e-07 | 0.010255 | 0.010255 | 0.010255 | 0.97065 | -0.56559 | 0.97052 | -0.56819 | 2.8173
18 | 0.027091 | 0.0067882 | -0.02709 | -0.006788 | 1.1554e-06 | 1.875e-07 | 0.041531 | 0.041531 | 0.041531 | 0.97065 | -0.56559 | 0.9706 | -0.56649 | 2.2819
19 | -0.046493 | -0.011652 | 0.04651 | 0.01166 | 1.6553e-05 | 7.9026e-06 | 0.071239 | 0.071238 | 0.071239 | 0.97113 | -0.55597 | 0.97151 | -0.5485 | 3.9142
20 | -0.04651 | -0.01166 | 0.046516 | 0.011663 | 6.3533e-06 | 3.0325e-06 | 0.071238 | 0.071238 | 0.071238 | 0.97151 | -0.5485 | 0.97166 | -0.54563 | 3.9142
21 | 0.0024099 | 0.00060355 | -0.0024097 | -0.00060393 | 2.1141e-07 | -3.7734e-07 | 0.0036904 | 0.0036906 | 0.0036906 | 0.97166 | -0.54563 | 0.97156 | -0.54747 | 1.0139
22 | -0.048926 | -0.012267 | 0.048929 | 0.012268 | 2.7971e-06 | 1.3787e-06 | 0.074928 | 0.074928 | 0.074928 | 0.97166 | -0.54563 | 0.97172 | -0.54443 | 4.1169
23 | -0.07411 | -0.018581 | 0.07412 | 0.018586 | 9.5702e-06 | 5.5112e-06 | 0.11349 | 0.11349 | 0.11349 | 0.97172 | -0.54443 | 0.97185 | -0.54172 | 6.2357
24 | 0.025181 | 0.0063129 | -0.025174 | -0.0063123 | 7.5401e-06 | 6.3949e-07 | 0.038561 | 0.038563 | 0.038563 | 0.97172 | -0.54443 | 0.9714 | -0.55071 | 2.1188
25 | -0.07412 | -0.018586 | 0.074142 | 0.018599 | 2.2271e-05 | 1.2825e-05 | 0.11349 | 0.11349 | 0.11349 | 0.97185 | -0.54172 | 0.97217 | -0.53542 | 6.2357
26 | 0.019966 | 0.005007 | -0.019961 | -0.0050046 | 4.7912e-06 | 2.3902e-06 | 0.030585 | 0.030585 | 0.030585 | 0.9714 | -0.55071 | 0.97115 | -0.55575 | 4.2013
27 | 0.015424 | 0.0038643 | -0.015423 | -0.0038651 | 1.0095e-06 | -8.4136e-07 | 0.023646 | 0.023647 | 0.023647 | 0.9706 | -0.56649 | 0.97053 | -0.56786 | 1.2993
28 | 0.0075657 | 0.0018964 | -0.0075643 | -0.0018958 | 1.4492e-06 | 5.7197e-07 | 0.011594 | 0.011594 | 0.011594 | 0.971 | -0.55871 | 0.97079 | -0.56274 | 3.1853
29 | -0.0075657 | -0.0018964 | 0.0075659 | 0.0018964 | 1.9352e-07 | 7.6368e-08 | 0.011594 | 0.011594 | 0.011594 | 0.971 | -0.55871 | 0.97102 | -0.55818 | 3.1852
30 | -0.0075659 | -0.0018964 | 0.0075668 | 0.0018968 | 9.0609e-07 | 3.5752e-07 | 0.011594 | 0.011594 | 0.011594 | 0.97102 | -0.55818 | 0.97115 | -0.55566 | 3.1852
31 | -0.015491 | -0.0038828 | 0.015497 | 0.0038864 | 6.1853e-06 | 3.5962e-06 | 0.023736 | 0.023736 | 0.023736 | 0.97115 | -0.55566 | 0.97157 | -0.54729 | 6.5208
32 | 0.24969 | 0.063053 | -0.2494 | -0.062864 | 0.00029802 | 0.00018901 | 0.38021 | 0.38021 | 0.38021 | 0.97767 | -0.4273 | 0.9764 | -0.45224 | 20.8904
33 | -0.24969 | -0.063053 | 0.25005 | 0.063279 | 0.00035722 | 0.00022655 | 0.38021 | 0.3802 | 0.38021 | 0.97767 | -0.4273 | 0.9792 | -0.39749 | 20.8904
34 | 0.044454 | 0.011211 | -0.04443 | -0.011197 | 2.3764e-05 | 1.3657e-05 | 0.067772 | 0.067773 | 0.067773 | 0.9764 | -0.45224 | 0.97583 | -0.46341 | 6.2063
35 | 0.20494 | 0.051653 | -0.20484 | -0.051585 | 0.00010773 | 6.8029e-05 | 0.31243 | 0.31243 | 0.31243 | 0.9764 | -0.45224 | 0.97584 | -0.46323 | 17.1667
36 | -0.27863 | -0.070465 | 0.27887 | 0.070614 | 0.0002338 | 0.00014854 | 0.42364 | 0.42364 | 0.42364 | 0.9792 | -0.39749 | 0.9801 | -0.38001 | 23.2772
37 | 0.028581 | 0.0071858 | -0.028553 | -0.0071684 | 2.8022e-05 | 1.7436e-05 | 0.04344 | 0.04344 | 0.04344 | 0.9792 | -0.39749 | 0.97815 | -0.41804 | 11.9341
38 | 0.0034662 | 0.00086861 | -0.0034661 | -0.00086868 | 1.2589e-07 | -6.9919e-08 | 0.0052822 | 0.0052823 | 0.0052823 | 0.97643 | -0.4518 | 0.9764 | -0.45256 | 1.4512
39 | -0.022331 | -0.0056055 | 0.022341 | 0.0056116 | 1.0077e-05 | 6.1578e-06 | 0.033991 | 0.033991 | 0.033991 | 0.97767 | -0.4275 | 0.97815 | -0.41804 | 9.3382
40 | -0.028141 | -0.007063 | 0.02815 | 0.0070686 | 8.8957e-06 | 5.5348e-06 | 0.043084 | 0.043084 | 0.043084 | 0.97202 | -0.53847 | 0.97235 | -0.53184 | 11.8362
41 | 0.028141 | 0.007063 | -0.028129 | -0.0070554 | 1.2279e-05 | 7.64e-06 | 0.043084 | 0.043084 | 0.043084 | 0.97202 | -0.53847 | 0.97155 | -0.54762 | 11.8362
42 | -0.033791 | -0.0084824 | 0.033814 | 0.0084965 | 2.2537e-05 | 1.4145e-05 | 0.051716 | 0.051716 | 0.051716 | 0.97235 | -0.53184 | 0.97306 | -0.51787 | 14.2078
43 | 0.021836 | 0.0054782 | -0.021827 | -0.0054726 | 9.0502e-06 | 5.525e-06 | 0.033445 | 0.033445 | 0.033445 | 0.97155 | -0.54762 | 0.97111 | -0.55632 | 9.1882
44 | 0.38663 | 0.098962 | -0.38582 | -0.098447 | 0.00080731 | 0.00051465 | 0.58235 | 0.58235 | 0.58235 | 0.98918 | -0.20489 | 0.98692 | -0.24811 | 31.9972
45 | 0.37298 | 0.095228 | -0.3723 | -0.094792 | 0.00068349 | 0.0004356 | 0.56298 | 0.56298 | 0.56298 | 0.98692 | -0.24811 | 0.98495 | -0.2861 | 30.9331
46 | -0.058212 | -0.014693 | 0.058297 | 0.014747 | 8.4831e-05 | 5.393e-05 | 0.088602 | 0.088602 | 0.088602 | 0.97804 | -0.42011 | 0.9796 | -0.38974 | 24.3413
47 | -0.0070729 | -0.0017726 | 0.0070742 | 0.0017731 | 1.316e-06 | 4.7337e-07 | 0.010844 | 0.010844 | 0.010844 | 0.97055 | -0.56758 | 0.97075 | -0.56368 | 2.9791
48 | -0.014915 | -0.0037382 | 0.014921 | 0.0037415 | 5.6362e-06 | 3.2516e-06 | 0.022863 | 0.022863 | 0.022863 | 0.97075 | -0.56368 | 0.97115 | -0.55575 | 6.281
49 | -0.43756 | -0.11232 | 0.43849 | 0.11291 | 0.00093046 | 0.00059363 | 0.6566 | 0.6566 | 0.6566 | 0.99305 | -0.13109 | 0.99536 | -0.087376 | 36.0771
50 | 0.012865 | 0.0032254 | -0.01286 | -0.0032231 | 4.0632e-06 | 2.2298e-06 | 0.01936 | 0.01936 | 0.01936 | 0.98879 | -0.21308 | 0.98845 | -0.21971 | 5.3187
51 | -0.081131 | -0.020351 | 0.081131 | 0.020351 | 5.1529e-07 | 3.0216e-07 | 0.12419 | 0.12419 | 0.12419 | 0.97217 | -0.53542 | 0.97218 | -0.53528 | 6.8234
52 | 0.0070902 | 0.0017766 | -0.0070901 | -0.0017769 | 1.6283e-07 | -3.0444e-07 | 0.010871 | 0.010871 | 0.010871 | 0.97053 | -0.56786 | 0.97051 | -0.56834 | 0.99549
53 | -0.019956 | -0.0050038 | 0.019957 | 0.0050048 | 1.7369e-06 | 1.0502e-06 | 0.030564 | 0.030564 | 0.030564 | 0.97157 | -0.54729 | 0.97167 | -0.54546 | 8.3967
54 | 0.041991 | 0.010586 | -0.041944 | -0.010556 | 4.7387e-05 | 2.9943e-05 | 0.064053 | 0.064053 | 0.064053 | 0.97583 | -0.46341 | 0.97463 | -0.48703 | 17.5971
55 | 0.20198 | 0.050869 | -0.20188 | -0.050806 | 9.9488e-05 | 6.28e-05 | 0.30808 | 0.30808 | 0.30808 | 0.97584 | -0.46323 | 0.97531 | -0.47354 | 16.9274
56 | 0.067121 | 0.016969 | -0.06709 | -0.01695 | 3.1288e-05 | 1.8407e-05 | 0.10196 | 0.10196 | 0.10196 | 0.9801 | -0.38001 | 0.9796 | -0.38974 | 7.0027
57 | -0.34599 | -0.087582 | 0.34651 | 0.087913 | 0.0005194 | 0.00033083 | 0.5256 | 0.5256 | 0.5256 | 0.9801 | -0.38001 | 0.9817 | -0.34879 | 28.8793
58 | -0.0064013 | -0.0016043 | 0.0064022 | 0.0016046 | 9.7088e-07 | 2.8931e-07 | 0.0098156 | 0.0098154 | 0.0098156 | 0.97042 | -0.57008 | 0.97058 | -0.56689 | 2.6966
59 | -0.011504 | -0.0028833 | 0.011507 | 0.0028846 | 2.5134e-06 | 1.3422e-06 | 0.017637 | 0.017637 | 0.017637 | 0.97058 | -0.56689 | 0.97081 | -0.56231 | 4.8454
60 | -0.038789 | -0.0097434 | 0.038846 | 0.0097794 | 5.7187e-05 | 3.6061e-05 | 0.059324 | 0.059324 | 0.059324 | 0.97306 | -0.51787 | 0.97463 | -0.48703 | 16.2979
61 | 0.016795 | 0.0042116 | -0.01679 | -0.0042087 | 4.7915e-06 | 2.8279e-06 | 0.025735 | 0.025735 | 0.025735 | 0.97111 | -0.55632 | 0.97081 | -0.56231 | 7.0701
62 | -0.0039616 | -0.00099288 | 0.003962 | 0.00099278 | 3.6683e-07 | -9.5103e-08 | 0.0060639 | 0.0060638 | 0.0060639 | 0.97214 | -0.53607 | 0.97224 | -0.53412 | 1.6659
63 | -0.029687 | -0.0074483 | 0.029689 | 0.0074494 | 1.9592e-06 | 1.1284e-06 | 0.045439 | 0.045439 | 0.045439 | 0.97224 | -0.53412 | 0.97231 | -0.53274 | 6.2416
64 | 0.025725 | 0.0064555 | -0.025711 | -0.0064469 | 1.3901e-05 | 8.6005e-06 | 0.039375 | 0.039376 | 0.039376 | 0.97224 | -0.53412 | 0.97167 | -0.54546 | 10.8174
65 | -0.35216 | -0.08933 | 0.35225 | 0.089387 | 8.9152e-05 | 5.6794e-05 | 0.53417 | 0.53417 | 0.53417 | 0.9817 | -0.34879 | 0.98198 | -0.34353 | 29.3501
66 | -0.35225 | -0.089387 | 0.3526 | 0.089607 | 0.00034576 | 0.00022026 | 0.53417 | 0.53417 | 0.53417 | 0.98198 | -0.34353 | 0.98303 | -0.32314 | 29.3501
67 | 0.19602 | 0.049338 | -0.19593 | -0.049281 | 9.0997e-05 | 5.7393e-05 | 0.29914 | 0.29914 | 0.29914 | 0.97531 | -0.47354 | 0.97482 | -0.48326 | 16.4363
68 | -0.033904 | -0.0085057 | 0.033904 | 0.0085057 | 9.2166e-08 | 3.0683e-08 | 0.051889 | 0.051889 | 0.051889 | 0.97231 | -0.53274 | 0.97231 | -0.53268 | 2.8511
69 | -0.075426 | -0.018929 | 0.075434 | 0.018933 | 7.8588e-06 | 4.5397e-06 | 0.11531 | 0.11531 | 0.11531 | 0.97343 | -0.51067 | 0.97354 | -0.50848 | 6.3356
70 | 0.071851 | 0.018033 | -0.071835 | -0.018023 | 1.6493e-05 | 9.4229e-06 | 0.10984 | 0.10984 | 0.10984 | 0.97343 | -0.51067 | 0.97318 | -0.51548 | 6.0354
71 | -0.078715 | -0.019755 | 0.07873 | 0.019764 | 1.4565e-05 | 8.4876e-06 | 0.12032 | 0.12032 | 0.12032 | 0.97354 | -0.50848 | 0.97373 | -0.5046 | 6.6112
72 | 0.0032817 | 0.00082223 | -0.0032817 | -0.00082224 | 1.4473e-08 | -9.8111e-09 | 0.0050159 | 0.0050159 | 0.0050159 | 0.97354 | -0.50848 | 0.97353 | -0.50858 | 1.378
73 | 0.0060771 | 0.0015231 | -0.0060764 | -0.0015229 | 7.0625e-07 | 1.8101e-07 | 0.009292 | 0.0092921 | 0.0092921 | 0.97318 | -0.51548 | 0.97306 | -0.51792 | 2.5528
74 | 0.065758 | 0.0165 | -0.065752 | -0.016497 | 5.4794e-06 | 3.0579e-06 | 0.10055 | 0.10055 | 0.10055 | 0.97318 | -0.51548 | 0.97309 | -0.51723 | 5.5249
75 | -0.19058 | -0.047867 | 0.19076 | 0.04798 | 0.00017984 | 0.00011334 | 0.29128 | 0.29128 | 0.29128 | 0.97373 | -0.5046 | 0.97474 | -0.48485 | 16.0043
76 | 0.11185 | 0.028103 | -0.11183 | -0.028086 | 2.8705e-05 | 1.7557e-05 | 0.17096 | 0.17096 | 0.17096 | 0.97373 | -0.5046 | 0.97346 | -0.50998 | 9.3932
77 | 0.0032817 | 0.00082224 | -0.0032815 | -0.00082241 | 2.6043e-07 | -1.765e-07 | 0.0050159 | 0.0050161 | 0.0050161 | 0.97353 | -0.50858 | 0.97345 | -0.51024 | 1.378
78 | 0.062533 | 0.01569 | -0.062517 | -0.015682 | 1.6044e-05 | 8.8155e-06 | 0.095629 | 0.09563 | 0.09563 | 0.97309 | -0.51723 | 0.97282 | -0.52261 | 5.2544
79 | -0.19362 | -0.048695 | 0.19363 | 0.048704 | 1.4718e-05 | 9.2793e-06 | 0.29563 | 0.29563 | 0.29563 | 0.97474 | -0.48485 | 0.97482 | -0.48326 | 16.2434
80 | 0.10825 | 0.027188 | -0.10821 | -0.027164 | 4.0158e-05 | 2.4486e-05 | 0.16548 | 0.16548 | 0.16548 | 0.97346 | -0.50998 | 0.97307 | -0.51776 | 9.0926
81 | 0.057378 | 0.014394 | -0.057376 | -0.014393 | 1.607e-06 | 8.5583e-07 | 0.087769 | 0.087769 | 0.087769 | 0.97282 | -0.52261 | 0.97279 | -0.5232 | 4.8225
82 | 0.10821 | 0.027164 | -0.10819 | -0.027152 | 1.887e-05 | 1.1506e-05 | 0.16548 | 0.16548 | 0.16548 | 0.97307 | -0.51776 | 0.97288 | -0.52142 | 9.0926
83 | 0.098723 | 0.02478 | -0.098707 | -0.024771 | 1.6099e-05 | 9.7191e-06 | 0.15101 | 0.15101 | 0.15101 | 0.97288 | -0.52142 | 0.97271 | -0.52484 | 8.2972
84 | 0.054718 | 0.013727 | -0.054718 | -0.013726 | 7.2559e-07 | 3.7866e-07 | 0.083704 | 0.083704 | 0.083704 | 0.97279 | -0.5232 | 0.97278 | -0.52348 | 4.5991
85 | -0.03797 | -0.0095248 | 0.037978 | 0.0095278 | 7.439e-06 | 2.9391e-06 | 0.058112 | 0.058112 | 0.058112 | 0.97231 | -0.53268 | 0.97252 | -0.52857 | 3.193
86 | -0.0067464 | -0.0016908 | 0.0067474 | 0.0016911 | 9.662e-07 | 3.1827e-07 | 0.010322 | 0.010322 | 0.010322 | 0.97252 | -0.5285 | 0.97268 | -0.52549 | 2.8358
87 | -0.0067474 | -0.0016911 | 0.0067476 | 0.0016912 | 2.1129e-07 | 6.9586e-08 | 0.010322 | 0.010322 | 0.010322 | 0.97268 | -0.52549 | 0.97271 | -0.52484 | 2.8358
88 | 0.0042245 | 0.0010585 | -0.0042238 | -0.0010586 | 6.6314e-07 | -1.011e-07 | 0.0064623 | 0.0064625 | 0.0064625 | 0.97271 | -0.52484 | 0.97254 | -0.52813 | 1.7754
89 | 0.087735 | 0.022021 | -0.087691 | -0.021995 | 4.3694e-05 | 2.5959e-05 | 0.13423 | 0.13423 | 0.13423 | 0.97271 | -0.52484 | 0.97218 | -0.53528 | 7.3751
90 | 0.051635 | 0.012954 | -0.051624 | -0.012948 | 1.0797e-05 | 5.4782e-06 | 0.078989 | 0.078989 | 0.078989 | 0.97278 | -0.52348 | 0.97256 | -0.52786 | 4.3401
91 | 0.046528 | 0.011671 | -0.046526 | -0.01167 | 1.3892e-06 | 6.6234e-07 | 0.071191 | 0.071191 | 0.071191 | 0.97256 | -0.52786 | 0.97252 | -0.52849 | 3.9116
92 | -0.042585 | -0.010682 | 0.042585 | 0.010682 | 1.6353e-07 | 7.2801e-08 | 0.065161 | 0.065161 | 0.065161 | 0.97252 | -0.52857 | 0.97252 | -0.52849 | 3.5803
93 | -0.35872 | -0.091141 | 0.35936 | 0.091549 | 0.00064088 | 0.00040833 | 0.54343 | 0.54343 | 0.54343 | 0.98303 | -0.32314 | 0.98495 | -0.2861 | 29.859
94 | 0.46471 | 0.12024 | -0.46375 | -0.11962 | 0.00096299 | 0.00061457 | 0.69284 | 0.69285 | 0.69285 | 1 | 0 | 0.99774 | -0.042524 | 38.0684
95 | 0.45164 | 0.11659 | -0.45065 | -0.11596 | 0.00098523 | 0.00062867 | 0.67478 | 0.67478 | 0.67478 | 0.99774 | -0.042524 | 0.99536 | -0.087376 | 37.0758

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46636 | 0.12024

## res_load
| p_mw | q_mvar
0 | 0.0057538 | 0.001442
1 | 0.0088313 | 0.0022133
2 | 0.012579 | 0.0031526
3 | 0.03464 | 0.0086815
4 | 0.011998 | 0.0030069
5 | 0.012697 | 0.0031822
6 | 0.005208 | 0.0013053
7 | 0.0024097 | 0.00060393
8 | 0.0066885 | 0.0016763
9 | 0.011666 | 0.0029237
10 | 0.0075643 | 0.0018958
11 | 0.0079242 | 0.001986
12 | 0.0062512 | 0.0015667
13 | 0.0034661 | 0.00086868
14 | 0.0056411 | 0.0014138
15 | 0.0062933 | 0.0015772
16 | 0.012846 | 0.0032195
17 | 0.0087142 | 0.002184
18 | 0.0070729 | 0.0017726
19 | 0.0078409 | 0.0019651
20 | 0.012322 | 0.0030882
21 | 0.012221 | 0.0030628
22 | 0.006989 | 0.0017516
23 | 0.00504 | 0.0012631
24 | 0.0083332 | 0.0020885
25 | 0.0044585 | 0.0011174
26 | 0.0024391 | 0.0006113
27 | 0.0028561 | 0.0007158
28 | 0.0062116 | 0.0015568
29 | 0.0064013 | 0.0016043
30 | 0.005102 | 0.0012787
31 | 0.0049751 | 0.0012469
32 | 0.0050318 | 0.0012611
33 | 0.0039616 | 0.00099288
34 | 0.008793 | 0.0022037
35 | 0.0056535 | 0.0014169
36 | 0.0052832 | 0.0013241
37 | 0.0030976 | 0.00077634
38 | 0.0058587 | 0.0014683
39 | 0.0057538 | 0.001442
40 | 0.0042147 | 0.0010563
41 | 0.0035742 | 0.00089577
42 | 0.0060764 | 0.0015229
43 | 0.0032194 | 0.00080685
44 | 0.0028512 | 0.00071458
45 | 0.0035799 | 0.0008972
46 | 0.0032815 | 0.00082241
47 | 0.005139 | 0.001288
48 | 0.0022998 | 0.0005764
49 | 0.0094639 | 0.0023719
50 | 0.0026581 | 0.00066618
51 | 0.0040663 | 0.0010191
52 | 0.0067464 | 0.0016908
53 | 0.0042238 | 0.0010586
54 | 0.0065597 | 0.001644
55 | 0.0030824 | 0.00077253
56 | 0.0050967 | 0.0012773
57 | 0.004607 | 0.0011546
58 | 0.0039414 | 0.00098781
59 | 0.0070901 | 0.0017769
60 | 0.00612 | 0.0015338
61 | 0.012114 | 0.0030361
62 | 0.012939 | 0.0032428
63 | 0.01286 | 0.0032231
64 | 0.012159 | 0.0030473

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1