## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2196-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2196-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2196-24_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2196-24_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_2196-24_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_2196-24_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_2196-24_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2196-24_0_5_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2196-24_0_5_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_2196-24_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2196-24_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2196-24_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2196-24_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2196-24_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2196-24_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2196-24_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2196-24_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2196-24_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2196-24_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2196-24_0_5_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2196-24_0_5_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_2196-24_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2196-24_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2196-24_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2196-24_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_2196-24_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2196-24_0_5_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_2196-24_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2196-24_0_5_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2196-24_0_5_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2196-24_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2196-24_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2196-24_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2196-24_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2196-24_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_MV_507_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-24_0_5_load_0 | 0 | 0.05274 | 0.013218 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-24_0_5_load_1 | 1 | 0.01575 | 0.0039474 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-24_0_5_load_3 | 3 | 0.045027 | 0.011285 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-24_0_5_load_22 | 6 | 0.016852 | 0.0042234 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-24_0_5_load_24 | 8 | 0.040324 | 0.010106 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-24_0_5_load_15 | 9 | 0.031382 | 0.007865 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-24_0_5_load_23 | 10 | 0.007094 | 0.0017779 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-24_0_5_load_6 | 12 | 0.025226 | 0.0063223 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-24_0_5_load_7 | 13 | 0.090356 | 0.022645 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-24_0_5_load_9 | 15 | 0.031395 | 0.0078684 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-24_0_5_load_18 | 20 | 0.012656 | 0.0031718 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-24_0_5_load_14 | 21 | 0.04392 | 0.011007 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-24_0_5_load_40 | 22 | 0.0098706 | 0.0024738 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-24_0_5_load_35 | 23 | 0.03438 | 0.0086166 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-24_0_5_load_17 | 24 | 0.028202 | 0.0070682 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-24_0_5_load_21 | 26 | 0.005494 | 0.0013769 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-24_0_5_load_33 | 27 | 0.01053 | 0.0026391 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-24_0_5_load_34 | 28 | 0.010892 | 0.0027298 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-24_0_5_load_32 | 29 | 0.0073226 | 0.0018352 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2196-24_0_5_load_36 | 30 | 0.011771 | 0.00295 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2196-24_0_5_load_31 | 31 | 0.01575 | 0.0039474 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2196-24_0_5_load_42 | 32 | 0.0066678 | 0.0016711 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2196-24_0_5_load_26 | 33 | 0.0021871 | 0.00054813 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2196-24_0_5_load_27 | 34 | 0.01053 | 0.0026391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2196-24_0_5_load_28 | 35 | 0.0072449 | 0.0018158 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2196-24_0_5_load_29 | 36 | 0.012656 | 0.0031718 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2196-24_0_5_load_30 | 37 | 0.0021871 | 0.00054813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-24_0_5_line_0 |  | 0 | 1 | 0.02835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_2196-24_0_5_line_1 |  | 0 | 2 | 0.02692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2196-24_0_5_line_2 |  | 1 | 3 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_2196-24_0_5_line_3 |  | 2 | 4 | 0.059496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-24_0_5_line_4 |  | 2 | 5 | 0.004569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-24_0_5_line_5 |  | 3 | 6 | 0.0074872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2196-24_0_5_line_6 |  | 4 | 7 | 0.026593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-24_0_5_line_7 |  | 4 | 8 | 0.048402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-24_0_5_line_8 |  | 5 | 9 | 0.018831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2196-24_0_5_line_9 |  | 6 | 10 | 0.04561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2196-24_0_5_line_10 |  | 7 | 11 | 0.000887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-24_0_5_line_11 |  | 10 | 29 | 0.028088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2196-24_0_5_line_12 |  | 10 | 30 | 0.12003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2196-24_0_5_line_13 |  | 11 | 32 | 0.062625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2196-24_0_5_line_14 |  | 12 | 13 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2196-24_0_5_line_15 |  | 12 | 14 | 0.028166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_2196-24_0_5_line_16 |  | 13 | 15 | 0.036704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_2196-24_0_5_line_17 |  | 14 | 16 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_2196-24_0_5_line_18 |  | 14 | 17 | 0.073273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-24_0_5_line_19 |  | 14 | 18 | 0.16249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2196-24_0_5_line_20 |  | 16 | 19 | 0.0067312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2196-24_0_5_line_21 |  | 16 | 20 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_2196-24_0_5_line_22 |  | 17 | 22 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-24_0_5_line_23 |  | 18 | 23 | 0.037554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2196-24_0_5_line_24 |  | 19 | 21 | 0.055407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2196-24_0_5_line_25 |  | 20 | 24 | 0.020076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2196-24_0_5_line_26 |  | 24 | 25 | 0.025125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2196-24_0_5_line_27 |  | 25 | 26 | 0.025226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_2196-24_0_5_line_28 |  | 26 | 27 | 0.002205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_2196-24_0_5_line_29 |  | 27 | 28 | 0.031253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_2196-24_0_5_line_30 |  | 28 | 36 | 0.0082829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_2196-24_0_5_line_31 |  | 29 | 31 | 0.0027298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2196-24_0_5_line_32 |  | 31 | 37 | 0.0086233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_2196-24_0_5_line_33 |  | 33 | 34 | 0.031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2196-24_0_5_line_34 |  | 33 | 35 | 0.00062088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_2196-24_0_5_line_35 |  | 34 | 36 | 0.0027297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_2196-24_0_5_line_36 |  | 35 | 37 | 0.00061759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-24_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 38 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2578183.1924 | 1184552.5511 | 2578183.0727 | 1184527.3682 | 2578183.326 | 1184524.2111
1 | 2578183.7593 | 1184579.4595 | 2578183.2709 | 1184569.0559 | 2578183.1924 | 1184552.5511
2 | 2578183.326 | 1184524.2111 | 2578184.246 | 1184512.7491
3 | 2578243.363 | 1184582.2433 | 2578183.7593 | 1184579.4595
4 | 2578179.1937 | 1184579.0649 | 2578183.7593 | 1184579.4595
5 | 2578184.845 | 1184505.2859 | 2578184.246 | 1184512.7491
6 | 2578243.363 | 1184582.2433 | 2578269.954 | 1184584.292
7 | 2578243.363 | 1184582.2433 | 2578230.2619 | 1184602.0792 | 2578230.5351 | 1184626.7081
8 | 2578179.1937 | 1184579.0649 | 2578166.7763 | 1184577.1093 | 2578160.5912 | 1184576.1383
9 | 2578184.845 | 1184505.2859 | 2578186.416 | 1184485.712 | 2578181.6585 | 1184478.7924 | 2578165.3188 | 1184475.028 | 2578164.517 | 1184474.9289
10 | 2578269.954 | 1184584.292 | 2578270.8396 | 1184584.3777
11 | 2578136.6415 | 1184471.4832 | 2578164.517 | 1184474.9289
12 | 2578164.517 | 1184474.9289 | 2578249.5697 | 1184390.2332
13 | 2578306.8609 | 1184556.143 | 2578280.7252 | 1184553.3811 | 2578274.9005 | 1184555.1699 | 2578271.7948 | 1184559.539 | 2578270.2189 | 1184569.0275 | 2578270.8396 | 1184584.3777
14 | 2578051.641 | 1184553.1563 | 2578072.0193 | 1184559.1707
15 | 2578025.0129 | 1184544.0457 | 2578039.0535 | 1184549.4413 | 2578051.641 | 1184553.1563
16 | 2578107.6138 | 1184567.8214 | 2578094.1888 | 1184565.7138 | 2578072.0193 | 1184559.1707
17 | 2578025.0129 | 1184544.0457 | 2578025.1825 | 1184542.422 | 2578024.6999 | 1184539.878 | 2578022.9805 | 1184537.2274 | 2578020.6392 | 1184535.6574 | 2578017.8436 | 1184535.0786 | 2578018.844 | 1184524.8695 | 2578019.4562 | 1184517.0187
18 | 2577975.0081 | 1184557.1814 | 2577982.2684 | 1184559.7782 | 2577989.269 | 1184562.287 | 2577993.2555 | 1184562.9393 | 2578000.6252 | 1184564.1461 | 2578001.7555 | 1184564.3309 | 2578004.6804 | 1184564.8092 | 2578006.7541 | 1184568.3257 | 2578015.6701 | 1184568.6819 | 2578017.1043 | 1184549.8668 | 2578017.8142 | 1184549.8975 | 2578020.5827 | 1184549.3315 | 2578023.0571 | 1184547.6659 | 2578025.0129 | 1184544.0457
19 | 2578025.0129 | 1184544.0457 | 2578023.0571 | 1184547.6659 | 2578020.5827 | 1184549.3315 | 2578017.8142 | 1184549.8975 | 2578017.1043 | 1184549.8668 | 2578015.6701 | 1184568.6819 | 2578014.0225 | 1184581.3723 | 2578012.5135 | 1184600.6102 | 2578011.6465 | 1184607.6726 | 2578007.1992 | 1184629.0001 | 2578017.4898 | 1184631.6858 | 2578033.7343 | 1184636.6175 | 2578051.3254 | 1184642.478 | 2578075.099 | 1184652.5848
20 | 2578012.7822 | 1184516.1429 | 2578015.2486 | 1184516.4673 | 2578019.4562 | 1184517.0187
21 | 2578019.4562 | 1184517.0187 | 2578020.5776 | 1184502.6355
22 | 2577975.0081 | 1184557.1814 | 2577962.0802 | 1184552.2822
23 | 2578075.099 | 1184652.5848 | 2578086.0791 | 1184631.0888 | 2578094.2292 | 1184624.511 | 2578095.092 | 1184621.698
24 | 2578012.7822 | 1184516.1429 | 2577986.1692 | 1184510.3157 | 2577984.7791 | 1184516.2462 | 2577980.0297 | 1184519.8322 | 2577964.3588 | 1184516.0466
25 | 2578020.5776 | 1184502.6355 | 2578022.1382 | 1184482.62
26 | 2578024.0914 | 1184457.5707 | 2578022.1382 | 1184482.62
27 | 2578024.0914 | 1184457.5707 | 2578049.1268 | 1184460.6653
28 | 2578051.3152 | 1184460.9358 | 2578049.1268 | 1184460.6653
29 | 2578051.3152 | 1184460.9358 | 2578082.3324 | 1184464.7699
30 | 2578082.3324 | 1184464.7699 | 2578090.5527 | 1184465.7861
31 | 2578136.6415 | 1184471.4832 | 2578133.9324 | 1184471.1483
32 | 2578125.3742 | 1184470.0904 | 2578133.9324 | 1184471.1483
33 | 2578093.2618 | 1184466.1209 | 2578124.1451 | 1184469.9385
34 | 2578124.7613 | 1184470.0146 | 2578124.1451 | 1184469.9385
35 | 2578093.2618 | 1184466.1209 | 2578090.5527 | 1184465.7861
36 | 2578125.3742 | 1184470.0904 | 2578124.7613 | 1184470.0146

## bus_geodata
| x | y | coords
0 | 2578183.1924 | 1184552.5511
1 | 2578183.326 | 1184524.2111
2 | 2578183.7593 | 1184579.4595
3 | 2578184.246 | 1184512.7491
4 | 2578243.363 | 1184582.2433
5 | 2578179.1937 | 1184579.0649
6 | 2578184.845 | 1184505.2859
7 | 2578269.954 | 1184584.292
8 | 2578230.5351 | 1184626.7081
9 | 2578160.5912 | 1184576.1383
10 | 2578164.517 | 1184474.9289
11 | 2578270.8396 | 1184584.3777
12 | 2578051.641 | 1184553.1563
13 | 2578072.0193 | 1184559.1707
14 | 2578025.0129 | 1184544.0457
15 | 2578107.6138 | 1184567.8214
16 | 2578019.4562 | 1184517.0187
17 | 2577975.0081 | 1184557.1814
18 | 2578075.099 | 1184652.5848
19 | 2578012.7822 | 1184516.1429
20 | 2578020.5776 | 1184502.6355
21 | 2577964.3588 | 1184516.0466
22 | 2577962.0802 | 1184552.2822
23 | 2578095.092 | 1184621.698
24 | 2578022.1382 | 1184482.62
25 | 2578024.0914 | 1184457.5707
26 | 2578049.1268 | 1184460.6653
27 | 2578051.3152 | 1184460.9358
28 | 2578082.3324 | 1184464.7699
29 | 2578136.6415 | 1184471.4832
30 | 2578249.5697 | 1184390.2332
31 | 2578133.9324 | 1184471.1483
32 | 2578306.8609 | 1184556.143
33 | 2578124.1451 | 1184469.9385
34 | 2578093.2618 | 1184466.1209
35 | 2578124.7613 | 1184470.0146
36 | 2578090.5527 | 1184465.7861
37 | 2578125.3742 | 1184470.0904
38 | 2578179.1937 | 1184579.0649

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97589 | -0.46417 | 0.05274 | 0.013218
1 | 0.97659 | -0.45058 | 0.01575 | 0.0039474
2 | 0.97491 | -0.4835 | 0 | 0
3 | 0.9769 | -0.4444 | 0.045027 | 0.011285
4 | 0.9723 | -0.53491 | 0 | 0
5 | 0.97478 | -0.48613 | 0 | 0
6 | 0.97717 | -0.43916 | 0.016852 | 0.0042234
7 | 0.97213 | -0.53818 | 0 | 0
8 | 0.97047 | -0.57097 | 0.040324 | 0.010106
9 | 0.97423 | -0.49698 | 0.031382 | 0.007865
10 | 0.97894 | -0.40446 | 0.007094 | 0.0017779
11 | 0.97213 | -0.53829 | 0 | 0
12 | 0.99439 | -0.10645 | 0.025226 | 0.0063223
13 | 0.99622 | -0.07155 | 0.090356 | 0.022645
14 | 0.99208 | -0.15039 | 0 | 0
15 | 1 | 0 | -0.56735 | -0.14513
16 | 0.98979 | -0.19437 | 0 | 0
17 | 0.99142 | -0.16321 | 0 | 0
18 | 0.98694 | -0.24984 | 0 | 0
19 | 0.98952 | -0.19963 | 0 | 0
20 | 0.98884 | -0.21252 | 0.012656 | 0.0031718
21 | 0.98728 | -0.24305 | 0.04392 | 0.011007
22 | 0.9913 | -0.16563 | 0.0098706 | 0.0024738
23 | 0.98576 | -0.27297 | 0.03438 | 0.0086166
24 | 0.98757 | -0.23693 | 0.028202 | 0.0070682
25 | 0.98611 | -0.26504 | 0 | 0
26 | 0.98465 | -0.29333 | 0.005494 | 0.0013769
27 | 0.98452 | -0.29577 | 0.01053 | 0.0026391
28 | 0.9828 | -0.32914 | 0.010892 | 0.0027298
29 | 0.98013 | -0.38123 | 0.0073226 | 0.0018352
30 | 0.97763 | -0.43019 | 0.011771 | 0.00295
31 | 0.98025 | -0.3789 | 0.01575 | 0.0039474
32 | 0.97174 | -0.546 | 0.0066678 | 0.0016711
33 | 0.98071 | -0.36991 | 0.0021871 | 0.00054813
34 | 0.98223 | -0.34037 | 0.01053 | 0.0026391
35 | 0.98068 | -0.3705 | 0.0072449 | 0.0018158
36 | 0.98236 | -0.33768 | 0.012656 | 0.0031718
37 | 0.98065 | -0.37106 | 0.0021871 | 0.00054813
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13139 | -0.033037 | 0.13148 | 0.03309 | 8.5379e-05 | 5.287e-05 | 0.20039 | 0.20038 | 0.20039 | 0.97589 | -0.46417 | 0.97659 | -0.45058 | 11.0102
1 | 0.078655 | 0.019819 | -0.078582 | -0.019773 | 7.2647e-05 | 4.5822e-05 | 0.11997 | 0.11997 | 0.11997 | 0.97589 | -0.46417 | 0.97491 | -0.4835 | 16.4793
2 | -0.14723 | -0.037037 | 0.14727 | 0.037064 | 4.342e-05 | 2.7069e-05 | 0.22438 | 0.22438 | 0.22438 | 0.97659 | -0.45058 | 0.9769 | -0.4444 | 12.3287
3 | 0.04718 | 0.011896 | -0.047065 | -0.011822 | 0.00011578 | 7.336e-05 | 0.072038 | 0.072038 | 0.072038 | 0.97491 | -0.4835 | 0.9723 | -0.53491 | 19.7906
4 | 0.031402 | 0.0078776 | -0.031398 | -0.0078751 | 3.9364e-06 | 2.4623e-06 | 0.047932 | 0.047932 | 0.047932 | 0.97491 | -0.4835 | 0.97478 | -0.48613 | 13.1681
5 | -0.1923 | -0.048349 | 0.19235 | 0.048379 | 4.8198e-05 | 3.0378e-05 | 0.29297 | 0.29297 | 0.29297 | 0.9769 | -0.4444 | 0.97717 | -0.43916 | 16.0972
6 | 0.0066713 | 0.0016722 | -0.0066703 | -0.0016719 | 1.0396e-06 | 3.3556e-07 | 0.01021 | 0.01021 | 0.01021 | 0.9723 | -0.53491 | 0.97213 | -0.53818 | 2.805
7 | 0.040393 | 0.01015 | -0.040324 | -0.010106 | 6.9385e-05 | 4.3807e-05 | 0.061828 | 0.061828 | 0.061828 | 0.9723 | -0.53491 | 0.97047 | -0.57097 | 16.9857
8 | 0.031398 | 0.0078751 | -0.031382 | -0.007865 | 1.6224e-05 | 1.0149e-05 | 0.047932 | 0.047932 | 0.047932 | 0.97478 | -0.48613 | 0.97423 | -0.49698 | 13.1681
9 | -0.2092 | -0.052603 | 0.20955 | 0.052822 | 0.00034729 | 0.0002194 | 0.31863 | 0.31863 | 0.31863 | 0.97717 | -0.43916 | 0.97894 | -0.40446 | 17.5071
10 | 0.0066703 | 0.0016719 | -0.0066702 | -0.0016719 | 3.4675e-08 | 1.1195e-08 | 0.01021 | 0.01021 | 0.01021 | 0.97213 | -0.53818 | 0.97213 | -0.53829 | 2.805
11 | -0.22843 | -0.057558 | 0.22868 | 0.057719 | 0.00025413 | 0.00016087 | 0.34733 | 0.34733 | 0.34733 | 0.97894 | -0.40446 | 0.98013 | -0.38123 | 19.0839
12 | 0.011785 | 0.0029577 | -0.011771 | -0.00295 | 1.4447e-05 | 7.7388e-06 | 0.017915 | 0.017916 | 0.017916 | 0.97894 | -0.40446 | 0.97763 | -0.43019 | 4.9218
13 | 0.0066702 | 0.0016719 | -0.0066678 | -0.0016711 | 2.4482e-06 | 7.9074e-07 | 0.01021 | 0.01021 | 0.01021 | 0.97213 | -0.53829 | 0.97174 | -0.546 | 2.805
14 | -0.47259 | -0.12072 | 0.47339 | 0.12123 | 0.00079879 | 0.00050985 | 0.708 | 0.708 | 0.708 | 0.99439 | -0.10645 | 0.99622 | -0.07155 | 38.9012
15 | 0.44736 | 0.1144 | -0.44641 | -0.11379 | 0.00094899 | 0.00060553 | 0.67025 | 0.67025 | 0.67025 | 0.99439 | -0.10645 | 0.99208 | -0.15039 | 36.8271
16 | -0.56375 | -0.14388 | 0.5657 | 0.14513 | 0.0019561 | 0.0012495 | 0.84296 | 0.84296 | 0.84296 | 0.99622 | -0.07155 | 1 | 0 | 46.3166
17 | 0.40195 | 0.10257 | -0.4011 | -0.10203 | 0.00085204 | 0.0005433 | 0.60354 | 0.60354 | 0.60354 | 0.99208 | -0.15039 | 0.98979 | -0.19437 | 33.1616
18 | 0.0098778 | 0.0024773 | -0.0098718 | -0.0024744 | 6.0319e-06 | 2.9149e-06 | 0.014816 | 0.014817 | 0.014817 | 0.99208 | -0.15039 | 0.99142 | -0.16321 | 4.0705
19 | 0.034583 | 0.0087433 | -0.034418 | -0.0086404 | 0.00016411 | 0.00010294 | 0.051897 | 0.051898 | 0.051898 | 0.99208 | -0.15039 | 0.98694 | -0.24984 | 14.2576
20 | 0.044022 | 0.011072 | -0.044011 | -0.011065 | 1.106e-05 | 6.9922e-06 | 0.066195 | 0.066195 | 0.066195 | 0.98979 | -0.19437 | 0.98952 | -0.19963 | 18.1854
21 | 0.35708 | 0.090957 | -0.35677 | -0.090758 | 0.00031242 | 0.00019902 | 0.53735 | 0.53735 | 0.53735 | 0.98979 | -0.19437 | 0.98884 | -0.21252 | 29.5246
22 | 0.0098718 | 0.0024744 | -0.0098706 | -0.0024738 | 1.1381e-06 | 5.5015e-07 | 0.014817 | 0.014817 | 0.014817 | 0.99142 | -0.16321 | 0.9913 | -0.16563 | 4.0705
23 | 0.034418 | 0.0086404 | -0.03438 | -0.0086166 | 3.793e-05 | 2.3796e-05 | 0.051898 | 0.051898 | 0.051898 | 0.98694 | -0.24984 | 0.98576 | -0.27297 | 14.2577
24 | 0.044011 | 0.011065 | -0.04392 | -0.011007 | 9.1043e-05 | 5.7558e-05 | 0.066195 | 0.066195 | 0.066195 | 0.98952 | -0.19963 | 0.98728 | -0.24305 | 18.1854
25 | 0.34411 | 0.087587 | -0.34371 | -0.087329 | 0.0004045 | 0.00025759 | 0.5183 | 0.5183 | 0.5183 | 0.98884 | -0.21252 | 0.98757 | -0.23693 | 28.4782
26 | 0.31551 | 0.080261 | -0.31508 | -0.079989 | 0.00042662 | 0.00027143 | 0.47581 | 0.47581 | 0.47581 | 0.98757 | -0.23693 | 0.98611 | -0.26504 | 26.1435
27 | 0.31508 | 0.079989 | -0.31465 | -0.079717 | 0.00042833 | 0.00027252 | 0.47581 | 0.47581 | 0.47581 | 0.98611 | -0.26504 | 0.98465 | -0.29333 | 26.1435
28 | 0.30916 | 0.07834 | -0.30912 | -0.078317 | 3.6146e-05 | 2.2993e-05 | 0.46751 | 0.46751 | 0.46751 | 0.98465 | -0.29333 | 0.98452 | -0.29577 | 25.6873
29 | 0.29859 | 0.075678 | -0.29811 | -0.075374 | 0.00047803 | 0.00030395 | 0.45159 | 0.45159 | 0.45159 | 0.98452 | -0.29577 | 0.9828 | -0.32914 | 24.8129
30 | 0.28722 | 0.072644 | -0.2871 | -0.072569 | 0.00011761 | 7.4744e-05 | 0.4351 | 0.4351 | 0.4351 | 0.9828 | -0.32914 | 0.98236 | -0.33768 | 23.9068
31 | -0.236 | -0.059554 | 0.23603 | 0.059571 | 2.6305e-05 | 1.6663e-05 | 0.35844 | 0.35844 | 0.35844 | 0.98013 | -0.38123 | 0.98025 | -0.3789 | 19.6947
32 | -0.25178 | -0.063518 | 0.25187 | 0.063578 | 9.455e-05 | 5.9968e-05 | 0.38235 | 0.38235 | 0.38235 | 0.98025 | -0.3789 | 0.98065 | -0.37106 | 21.0084
33 | -0.26351 | -0.066499 | 0.26388 | 0.066736 | 0.00037339 | 0.000237 | 0.39998 | 0.39998 | 0.39998 | 0.98071 | -0.36991 | 0.98223 | -0.34037 | 21.977
34 | 0.26132 | 0.065951 | -0.26131 | -0.065946 | 7.3268e-06 | 4.65e-06 | 0.39666 | 0.39666 | 0.39666 | 0.98071 | -0.36991 | 0.98068 | -0.3705 | 21.7947
35 | -0.27441 | -0.069375 | 0.27445 | 0.069398 | 3.5417e-05 | 2.2494e-05 | 0.41593 | 0.41593 | 0.41593 | 0.98223 | -0.34037 | 0.98236 | -0.33768 | 22.8535
36 | 0.25407 | 0.06413 | -0.25406 | -0.064126 | 6.8896e-06 | 4.3704e-06 | 0.38567 | 0.38567 | 0.38567 | 0.98068 | -0.3705 | 0.98065 | -0.37106 | 21.1907

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59875 | 0.15299

## res_load
| p_mw | q_mvar
0 | 0.05274 | 0.013218
1 | 0.01575 | 0.0039474
2 | 0.045027 | 0.011285
3 | 0.016852 | 0.0042234
4 | 0.040324 | 0.010106
5 | 0.031382 | 0.007865
6 | 0.007094 | 0.0017779
7 | 0.025226 | 0.0063223
8 | 0.090356 | 0.022645
9 | 0.031395 | 0.0078684
10 | 0.012656 | 0.0031718
11 | 0.04392 | 0.011007
12 | 0.0098706 | 0.0024738
13 | 0.03438 | 0.0086166
14 | 0.028202 | 0.0070682
15 | 0.005494 | 0.0013769
16 | 0.01053 | 0.0026391
17 | 0.010892 | 0.0027298
18 | 0.0073226 | 0.0018352
19 | 0.011771 | 0.00295
20 | 0.01575 | 0.0039474
21 | 0.0066678 | 0.0016711
22 | 0.0021871 | 0.00054813
23 | 0.01053 | 0.0026391
24 | 0.0072449 | 0.0018158
25 | 0.012656 | 0.0031718
26 | 0.0021871 | 0.00054813

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1