## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2196-2_0_3_node_66 | 0.4 | n |  | TRUE
4 | bus_LV_2196-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2196-2_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2196-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2196-2_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2196-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2196-2_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2196-2_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2196-2_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2196-2_0_3_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_2196-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2196-2_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2196-2_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2196-2_0_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_2196-2_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2196-2_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2196-2_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2196-2_0_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_2196-2_0_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_2196-2_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2196-2_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2196-2_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2196-2_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2196-2_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_2196-2_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2196-2_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2196-2_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2196-2_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_2196-2_0_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_2196-2_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2196-2_0_3_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_2196-2_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_2196-2_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2196-2_0_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2196-2_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2196-2_0_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_2196-2_0_3_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2196-2_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2196-2_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2196-2_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2196-2_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2196-2_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2196-2_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2196-2_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2196-2_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2196-2_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2196-2_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2196-2_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2196-2_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2196-2_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2196-2_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2196-2_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2196-2_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2196-2_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2196-2_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2196-2_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2196-2_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2196-2_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2196-2_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2196-2_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_2196-2_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2196-2_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_2196-2_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_2196-2_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_2196-2_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2196-2_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_MV_382_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-2_0_3_load_0 | 0 | 0.025408 | 0.0063678 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-2_0_3_load_66 | 3 | 0.0012401 | 0.0003108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-2_0_3_load_4 | 5 | 0.099358 | 0.024901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-2_0_3_load_7 | 7 | 0.0094914 | 0.0023788 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-2_0_3_load_5 | 8 | 0.0093655 | 0.0023472 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-2_0_3_load_8 | 10 | 0.0023719 | 0.00059446 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-2_0_3_load_62 | 12 | 0.0046662 | 0.0011695 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-2_0_3_load_9 | 13 | 0.0023727 | 0.00059466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-2_0_3_load_15 | 15 | 0.0060753 | 0.0015226 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-2_0_3_load_61 | 16 | 0.00082704 | 0.00020728 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-2_0_3_load_11 | 17 | 0.0098127 | 0.0024593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-2_0_3_load_56 | 20 | 0.0021943 | 0.00054994 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-2_0_3_load_57 | 21 | 0.0023217 | 0.00058186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-2_0_3_load_18 | 22 | 0.00041632 | 0.00010434 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-2_0_3_load_19 | 23 | 0.00042371 | 0.00010619 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-2_0_3_load_29 | 25 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-2_0_3_load_30 | 26 | 0.0003443 | 8.629e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-2_0_3_load_21 | 27 | 0.00046866 | 0.00011746 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-2_0_3_load_22 | 28 | 0.00088379 | 0.0002215 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2196-2_0_3_load_31 | 29 | 0.0013301 | 0.00033335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2196-2_0_3_load_35 | 30 | 0.00046005 | 0.0001153 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2196-2_0_3_load_60 | 33 | 0.0041152 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2196-2_0_3_load_65 | 34 | 0.0032516 | 0.00081494 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2196-2_0_3_load_28 | 35 | 0.00096021 | 0.00024065 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2196-2_0_3_load_54 | 36 | 0.00088946 | 0.00022292 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2196-2_0_3_load_32 | 37 | 0.016874 | 0.0042291 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2196-2_0_3_load_59 | 38 | 0.0079694 | 0.0019973 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2196-2_0_3_load_58 | 39 | 0.0039415 | 0.00098783 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2196-2_0_3_load_24 | 40 | 0.00044189 | 0.00011075 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2196-2_0_3_load_25 | 41 | 0.00044255 | 0.00011091 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2196-2_0_3_load_26 | 42 | 0.00044725 | 0.00011209 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2196-2_0_3_load_27 | 43 | 0.00044433 | 0.00011136 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2196-2_0_3_load_33 | 44 | 0.0012333 | 0.0003091 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2196-2_0_3_load_34 | 45 | 0.0016496 | 0.00041342 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2196-2_0_3_load_38 | 46 | 0.00032708 | 8.1975e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2196-2_0_3_load_37 | 47 | 0.00053185 | 0.00013329 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2196-2_0_3_load_39 | 48 | 0.0022463 | 0.00056297 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2196-2_0_3_load_40 | 49 | 0.0014848 | 0.00037213 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2196-2_0_3_load_36 | 50 | 0.0013455 | 0.00033721 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2196-2_0_3_load_47 | 52 | 0.0016105 | 0.00040363 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2196-2_0_3_load_48 | 53 | 0.0016682 | 0.0004181 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2196-2_0_3_load_49 | 54 | 0.0030468 | 0.0007636 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2196-2_0_3_load_42 | 55 | 0.0052868 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2196-2_0_3_load_43 | 56 | 0.00089864 | 0.00022522 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2196-2_0_3_load_44 | 57 | 0.0015209 | 0.00038118 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2196-2_0_3_load_45 | 58 | 0.0012035 | 0.00030163 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2196-2_0_3_load_46 | 59 | 0.0010832 | 0.00027146 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2196-2_0_3_load_51 | 61 | 0.0019487 | 0.00048838 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2196-2_0_3_load_52 | 63 | 0.0010364 | 0.00025976 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2196-2_0_3_load_63 | 64 | 0.0018803 | 0.00047124 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2196-2_0_3_load_69 | 65 | 0.00075168 | 0.00018839 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2196-2_0_3_load_68 | 66 | 0.0037455 | 0.00093871 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2196-2_0_3_load_64 | 67 | 0.0027827 | 0.0006974 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2196-2_0_3_load_67 | 68 | 0.0023335 | 0.00058482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-2_0_3_line_0 |  | 0 | 1 | 0.059763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-2_0_3_line_1 |  | 0 | 2 | 0.10793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-2_0_3_line_2 |  | 1 | 3 | 0.0035114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-2_0_3_line_3 |  | 2 | 4 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-2_0_3_line_4 |  | 2 | 5 | 0.042407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-2_0_3_line_5 |  | 4 | 6 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2196-2_0_3_line_6 |  | 4 | 7 | 0.044454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-2_0_3_line_7 |  | 5 | 8 | 0.0083106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-2_0_3_line_8 |  | 6 | 9 | 0.11238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2196-2_0_3_line_9 |  | 6 | 10 | 0.046657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-2_0_3_line_10 |  | 9 | 11 | 0.064079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2196-2_0_3_line_11 |  | 9 | 12 | 0.098128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2196-2_0_3_line_12 |  | 10 | 13 | 0.012772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2196-2_0_3_line_13 |  | 11 | 14 | 0.041346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2196-2_0_3_line_14 |  | 11 | 15 | 0.0049942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2196-2_0_3_line_15 |  | 12 | 16 | 0.089875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-2_0_3_line_16 |  | 14 | 20 | 0.071701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2196-2_0_3_line_17 |  | 15 | 19 | 0.002685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-2_0_3_line_18 |  | 17 | 18 | 0.0025524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-2_0_3_line_19 |  | 18 | 19 | 0.09877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2196-2_0_3_line_20 |  | 20 | 21 | 0.046065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2196-2_0_3_line_21 |  | 21 | 39 | 0.0048647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2196-2_0_3_line_22 |  | 22 | 23 | 0.0070394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2196-2_0_3_line_23 |  | 22 | 24 | 0.044176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2196-2_0_3_line_24 |  | 22 | 25 | 0.022505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2196-2_0_3_line_25 |  | 22 | 26 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2196-2_0_3_line_26 |  | 23 | 27 | 0.007436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2196-2_0_3_line_27 |  | 24 | 28 | 0.045411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2196-2_0_3_line_28 |  | 25 | 29 | 0.060063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2196-2_0_3_line_29 |  | 27 | 30 | 0.008024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2196-2_0_3_line_30 |  | 28 | 31 | 0.032013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2196-2_0_3_line_31 |  | 29 | 37 | 0.045728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2196-2_0_3_line_32 |  | 30 | 35 | 0.008262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2196-2_0_3_line_33 |  | 31 | 36 | 0.0029004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2196-2_0_3_line_34 |  | 32 | 33 | 0.02951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2196-2_0_3_line_35 |  | 32 | 34 | 0.001552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2196-2_0_3_line_36 |  | 33 | 38 | 0.050193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2196-2_0_3_line_37 |  | 34 | 39 | 0.02671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2196-2_0_3_line_38 |  | 35 | 42 | 0.0076945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2196-2_0_3_line_39 |  | 36 | 46 | 0.023646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2196-2_0_3_line_40 |  | 38 | 53 | 0.028817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2196-2_0_3_line_41 |  | 40 | 41 | 0.0072051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2196-2_0_3_line_42 |  | 40 | 42 | 0.0072287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2196-2_0_3_line_43 |  | 41 | 43 | 0.007369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2196-2_0_3_line_44 |  | 43 | 44 | 0.020287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2196-2_0_3_line_45 |  | 44 | 45 | 0.0060643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2196-2_0_3_line_46 |  | 45 | 48 | 0.0031563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2196-2_0_3_line_47 |  | 46 | 47 | 0.0061155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2196-2_0_3_line_48 |  | 47 | 50 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2196-2_0_3_line_49 |  | 48 | 49 | 0.025896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2196-2_0_3_line_50 |  | 49 | 51 | 0.0089047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2196-2_0_3_line_51 |  | 51 | 52 | 0.010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2196-2_0_3_line_52 |  | 51 | 53 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2196-2_0_3_line_53 |  | 52 | 54 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2196-2_0_3_line_54 |  | 54 | 60 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2196-2_0_3_line_55 |  | 55 | 56 | 0.00020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2196-2_0_3_line_56 |  | 55 | 57 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2196-2_0_3_line_57 |  | 56 | 58 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2196-2_0_3_line_58 |  | 57 | 59 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2196-2_0_3_line_59 |  | 58 | 60 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2196-2_0_3_line_60 |  | 59 | 61 | 0.010912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2196-2_0_3_line_61 |  | 60 | 62 | 0.006781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2196-2_0_3_line_62 |  | 61 | 63 | 0.028064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2196-2_0_3_line_63 |  | 62 | 64 | 0.011175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2196-2_0_3_line_64 |  | 63 | 65 | 0.0022589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2196-2_0_3_line_65 |  | 64 | 67 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2196-2_0_3_line_66 |  | 65 | 66 | 0.022826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2196-2_0_3_line_67 |  | 66 | 68 | 0.036409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-2_0_3_trafo_62 | 0.63 MVA 20/0.4 kV | 69 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2578324.8992 | 1185199.5133 | 2578338.2689 | 1185203.4891 | 2578352.8685 | 1185207.805 | 2578368.9363 | 1185212.9383 | 2578381.9995 | 1185217.1397
1 | 2578484.7422 | 1185250.1835 | 2578381.9995 | 1185217.1397
2 | 2578324.8992 | 1185199.5133 | 2578323.6739 | 1185202.804
3 | 2578484.7422 | 1185250.1835 | 2578495.8991 | 1185254.301 | 2578500.7361 | 1185256.0622
4 | 2578484.7422 | 1185250.1835 | 2578485.923 | 1185247.4778 | 2578495.4331 | 1185209.1859
5 | 2578500.7361 | 1185256.0622 | 2578516.0716 | 1185261.332
6 | 2578487.007 | 1185298.3449 | 2578499.384 | 1185259.9024 | 2578500.7361 | 1185256.0622
7 | 2578497.4363 | 1185201.1203 | 2578495.4331 | 1185209.1859
8 | 2578542.6946 | 1185152.2681 | 2578541.7203 | 1185159.3419 | 2578540.9759 | 1185162.424 | 2578539.532 | 1185168.3545 | 2578534.0296 | 1185191.6976 | 2578520.7929 | 1185247.8968 | 2578516.0716 | 1185261.332
9 | 2578516.0716 | 1185261.332 | 2578511.5367 | 1185277.7902 | 2578506.3316 | 1185296.7189 | 2578504.1477 | 1185306.4303
10 | 2578542.6946 | 1185152.2681 | 2578542.64 | 1185143.4637 | 2578541.0275 | 1185136.4658 | 2578539.3654 | 1185128.4343 | 2578536.1943 | 1185120.9751 | 2578518.9573 | 1185094.2454
11 | 2578542.6946 | 1185152.2681 | 2578546.9522 | 1185149.896 | 2578550.7254 | 1185148.6595 | 2578555.443 | 1185148.9983 | 2578561.3422 | 1185153.2349 | 2578564.3721 | 1185157.5373 | 2578566.4353 | 1185160.3981 | 2578570.1618 | 1185165.265 | 2578573.7808 | 1185169.9656 | 2578603.2427 | 1185213.5938 | 2578605.4767 | 1185216.662
12 | 2578504.1477 | 1185306.4303 | 2578502.6662 | 1185313.0184 | 2578501.7137 | 1185318.9617
13 | 2578518.9573 | 1185094.2454 | 2578527.1877 | 1185088.8352 | 2578544.0448 | 1185077.8688 | 2578547.5473 | 1185075.5995 | 2578553.6689 | 1185071.6309
14 | 2578518.9573 | 1185094.2454 | 2578516.2075 | 1185090.0764
15 | 2578656.5302 | 1185290.5329 | 2578644.7872 | 1185270.6525 | 2578605.4767 | 1185216.662
16 | 2578553.6689 | 1185071.6309 | 2578574.423 | 1185102.328 | 2578581.2632 | 1185109.2959 | 2578586.4642 | 1185114.6023 | 2578601.3979 | 1185123.6331
17 | 2578514.7291 | 1185087.8351 | 2578516.2075 | 1185090.0764
18 | 2578434.2387 | 1185041.7569 | 2578431.9088 | 1185040.7147
19 | 2578514.7291 | 1185087.8351 | 2578509.1345 | 1185079.1951 | 2578505.1246 | 1185076.1858 | 2578499.7317 | 1185074.8379 | 2578484.3392 | 1185075.0157 | 2578479.4772 | 1185074.8664 | 2578474.9962 | 1185072.4258 | 2578470.8432 | 1185067.8273 | 2578466.339 | 1185063.2078 | 2578459.8548 | 1185053.4038 | 2578454.9237 | 1185051.0093 | 2578434.2387 | 1185041.7569
20 | 2578601.3979 | 1185123.6331 | 2578626.2122 | 1185138.639 | 2578640.9065 | 1185147.3177
21 | 2578645.0952 | 1185149.7917 | 2578640.9065 | 1185147.3177
22 | 2578721.8871 | 1185133.2273 | 2578720.5514 | 1185126.3158
23 | 2578705.6606 | 1185086.0496 | 2578712.325 | 1185092.9739 | 2578715.0983 | 1185098.1 | 2578720.5514 | 1185126.3158
24 | 2578720.5514 | 1185126.3158 | 2578725.3156 | 1185104.3206
25 | 2578720.5514 | 1185126.3158 | 2578703.917 | 1185111.8874
26 | 2578721.8871 | 1185133.2273 | 2578723.2981 | 1185140.5282
27 | 2578705.6606 | 1185086.0496 | 2578722.2834 | 1185043.7903
28 | 2578725.3156 | 1185104.3206 | 2578744.4609 | 1185096.9169 | 2578766.3158 | 1185083.4321 | 2578777.2294 | 1185074.8951
29 | 2578723.2981 | 1185140.5282 | 2578724.0943 | 1185144.6478 | 2578724.7273 | 1185148.4232
30 | 2578738.6801 | 1185016.729 | 2578728.9749 | 1185028.0918 | 2578724.9239 | 1185037.0776 | 2578722.2834 | 1185043.7903
31 | 2578811.2649 | 1185044.4549 | 2578791.6285 | 1185063.6317 | 2578777.2294 | 1185074.8951
32 | 2578726.0937 | 1185156.5714 | 2578724.7273 | 1185148.4232
33 | 2578738.6801 | 1185016.729 | 2578740.6107 | 1185014.5644
34 | 2578669.4299 | 1185164.1643 | 2578678.6438 | 1185171.2795 | 2578690.1493 | 1185181.1213 | 2578691.8888 | 1185183.2223
35 | 2578669.4299 | 1185164.1643 | 2578668.0936 | 1185163.375
36 | 2578716.0444 | 1185226.9265 | 2578702.7566 | 1185198.1741 | 2578697.6377 | 1185190.166 | 2578691.8888 | 1185183.2223
37 | 2578645.0952 | 1185149.7917 | 2578668.0936 | 1185163.375
38 | 2578726.0937 | 1185156.5714 | 2578727.3662 | 1185164.16
39 | 2578756.2436 | 1184996.8248 | 2578750.7056 | 1185003.2458 | 2578740.6107 | 1185014.5644
40 | 2578727.5728 | 1185253.3366 | 2578716.9079 | 1185228.7951 | 2578716.0444 | 1185226.9265
41 | 2578729.7532 | 1185178.3951 | 2578728.5616 | 1185171.2892
42 | 2578727.3662 | 1185164.16 | 2578728.5616 | 1185171.2892
43 | 2578729.7532 | 1185178.3951 | 2578730.9718 | 1185185.6626
44 | 2578730.9718 | 1185185.6626 | 2578731.034 | 1185186.0336 | 2578735.0218 | 1185205.5413
45 | 2578736.2363 | 1185211.4827 | 2578735.0218 | 1185205.5413
46 | 2578736.8685 | 1185214.5751 | 2578736.2363 | 1185211.4827
47 | 2578760.2377 | 1184992.1937 | 2578756.2436 | 1184996.8248
48 | 2578772.5355 | 1184977.9349 | 2578760.2377 | 1184992.1937
49 | 2578736.8685 | 1185214.5751 | 2578742.0548 | 1185239.9466
50 | 2578743.8113 | 1185248.6763 | 2578742.3428 | 1185241.3555 | 2578742.0548 | 1185239.9466
51 | 2578743.8113 | 1185248.6763 | 2578745.7827 | 1185258.5189
52 | 2578727.5728 | 1185253.3366 | 2578743.8113 | 1185248.6763
53 | 2578745.7827 | 1185258.5189 | 2578750.0193 | 1185279.6704 | 2578750.0195 | 1185279.8133
54 | 2578746.3183 | 1185292.5792 | 2578748.6344 | 1185289.3692 | 2578750.0253 | 1185285.629 | 2578750.0195 | 1185279.8133
55 | 2578761.7476 | 1185328.1668 | 2578761.6694 | 1185327.9806
56 | 2578761.7476 | 1185328.1668 | 2578769.8279 | 1185347.4024
57 | 2578753.6357 | 1185307.5909 | 2578758.9445 | 1185321.4938 | 2578761.6694 | 1185327.9806
58 | 2578775.0211 | 1185359.7652 | 2578769.8279 | 1185347.4024
59 | 2578746.3183 | 1185292.5792 | 2578750.856 | 1185300.3115 | 2578753.6357 | 1185307.5909
60 | 2578775.0211 | 1185359.7652 | 2578779.247 | 1185369.8252
61 | 2578746.3183 | 1185292.5792 | 2578741.5695 | 1185287.7269
62 | 2578779.247 | 1185369.8252 | 2578781.6341 | 1185375.5079 | 2578790.4816 | 1185395.5412
63 | 2578741.5695 | 1185287.7269 | 2578732.1606 | 1185293.7562
64 | 2578790.4816 | 1185395.5412 | 2578791.3942 | 1185397.6076
65 | 2578732.1606 | 1185293.7562 | 2578727.9099 | 1185296.4801 | 2578718.5372 | 1185304.5683
66 | 2578791.3942 | 1185397.6076 | 2578800.6156 | 1185418.4876
67 | 2578815.3024 | 1185451.803 | 2578814.492 | 1185449.9078 | 2578800.6156 | 1185418.4876

## bus_geodata
| x | y | coords
0 | 2578381.9995 | 1185217.1397
1 | 2578324.8992 | 1185199.5133
2 | 2578484.7422 | 1185250.1835
3 | 2578323.6739 | 1185202.804
4 | 2578500.7362 | 1185256.0622
5 | 2578495.4331 | 1185209.1859
6 | 2578516.0716 | 1185261.332
7 | 2578487.007 | 1185298.3449
8 | 2578497.4363 | 1185201.1203
9 | 2578542.6946 | 1185152.2681
10 | 2578504.1477 | 1185306.4303
11 | 2578518.9573 | 1185094.2454
12 | 2578605.4767 | 1185216.662
13 | 2578501.7137 | 1185318.9617
14 | 2578553.6689 | 1185071.6309
15 | 2578516.2075 | 1185090.0764
16 | 2578656.5302 | 1185290.5328
17 | 2578431.9088 | 1185040.7147
18 | 2578434.2387 | 1185041.7569
19 | 2578514.7291 | 1185087.8351
20 | 2578601.3979 | 1185123.6331
21 | 2578640.9065 | 1185147.3177
22 | 2578720.5514 | 1185126.3158
23 | 2578721.8871 | 1185133.2273
24 | 2578705.6606 | 1185086.0496
25 | 2578725.3156 | 1185104.3206
26 | 2578703.917 | 1185111.8874
27 | 2578723.2981 | 1185140.5282
28 | 2578722.2834 | 1185043.7903
29 | 2578777.2294 | 1185074.8951
30 | 2578724.7273 | 1185148.4232
31 | 2578738.6801 | 1185016.729
32 | 2578669.4299 | 1185164.1643
33 | 2578691.8888 | 1185183.2223
34 | 2578668.0936 | 1185163.375
35 | 2578726.0937 | 1185156.5714
36 | 2578740.6107 | 1185014.5644
37 | 2578811.2649 | 1185044.4549
38 | 2578716.0444 | 1185226.9265
39 | 2578645.0952 | 1185149.7917
40 | 2578728.5616 | 1185171.2892
41 | 2578729.7532 | 1185178.3951
42 | 2578727.3662 | 1185164.16
43 | 2578730.9718 | 1185185.6626
44 | 2578735.0218 | 1185205.5413
45 | 2578736.2363 | 1185211.4827
46 | 2578756.2436 | 1184996.8248
47 | 2578760.2377 | 1184992.1937
48 | 2578736.8685 | 1185214.5751
49 | 2578742.0548 | 1185239.9466
50 | 2578772.5355 | 1184977.9349
51 | 2578743.8113 | 1185248.6763
52 | 2578745.7827 | 1185258.5189
53 | 2578727.5728 | 1185253.3366
54 | 2578750.0195 | 1185279.8133
55 | 2578761.7476 | 1185328.1668
56 | 2578761.6694 | 1185327.9806
57 | 2578769.8279 | 1185347.4024
58 | 2578753.6357 | 1185307.5909
59 | 2578775.0211 | 1185359.7652
60 | 2578746.3183 | 1185292.5792
61 | 2578779.247 | 1185369.8252
62 | 2578741.5695 | 1185287.7269
63 | 2578790.4816 | 1185395.5412
64 | 2578732.1606 | 1185293.7562
65 | 2578791.3942 | 1185397.6076
66 | 2578800.6156 | 1185418.4876
67 | 2578718.5372 | 1185304.5683
68 | 2578815.3024 | 1185451.803
69 | 2578542.6946 | 1185152.2681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97459 | -0.48762 | 0.025408 | 0.0063678
1 | 0.97452 | -0.48898 | 0 | 0
2 | 0.97727 | -0.43498 | 0 | 0
3 | 0.97452 | -0.48906 | 0.0012401 | 0.0003108
4 | 0.97941 | -0.39308 | 0 | 0
5 | 0.97297 | -0.5195 | 0.099358 | 0.024901
6 | 0.9805 | -0.37182 | 0 | 0
7 | 0.97902 | -0.40075 | 0.0094914 | 0.0023788
8 | 0.9729 | -0.52093 | 0.0093655 | 0.0023472
9 | 0.98834 | -0.22061 | 0 | 0
10 | 0.9803 | -0.37583 | 0.0023719 | 0.00059446
11 | 0.98519 | -0.28101 | 0 | 0
12 | 1 | 0 | -0.26355 | -0.068018
13 | 0.98027 | -0.37638 | 0.0023727 | 0.00059466
14 | 0.98347 | -0.31427 | 0 | 0
15 | 0.98512 | -0.28244 | 0.0060753 | 0.0015226
16 | 0.99993 | -0.001298 | 0.00082704 | 0.00020728
17 | 0.98418 | -0.30079 | 0.0098127 | 0.0024593
18 | 0.9842 | -0.30034 | 0 | 0
19 | 0.9851 | -0.28291 | 0 | 0
20 | 0.98048 | -0.37222 | 0.0021943 | 0.00054994
21 | 0.97861 | -0.40872 | 0.0023217 | 0.00058186
22 | 0.9715 | -0.54838 | 0.00041632 | 0.00010434
23 | 0.97158 | -0.54682 | 0.00042371 | 0.00010619
24 | 0.97134 | -0.55163 | 0 | 0
25 | 0.9713 | -0.55241 | 0.0011507 | 0.0002884
26 | 0.97149 | -0.54852 | 0.0003443 | 8.629e-05
27 | 0.97166 | -0.54513 | 0.00046866 | 0.00011746
28 | 0.97117 | -0.55497 | 0.00088379 | 0.0002215
29 | 0.97078 | -0.56251 | 0.0013301 | 0.00033335
30 | 0.97176 | -0.54328 | 0.00046005 | 0.0001153
31 | 0.97107 | -0.5568 | 0 | 0
32 | 0.97735 | -0.43329 | 0 | 0
33 | 0.97628 | -0.45423 | 0.0041152 | 0.0010314
34 | 0.97741 | -0.43219 | 0.0032516 | 0.00081494
35 | 0.97186 | -0.54134 | 0.00096021 | 0.00024065
36 | 0.97107 | -0.55697 | 0.00088946 | 0.00022292
37 | 0.97006 | -0.5768 | 0.016874 | 0.0042291
38 | 0.97456 | -0.48807 | 0.0079694 | 0.0019973
39 | 0.97841 | -0.41248 | 0.0039415 | 0.00098783
40 | 0.97204 | -0.53767 | 0.00044189 | 0.00011075
41 | 0.97213 | -0.53586 | 0.00044255 | 0.00011091
42 | 0.97195 | -0.53946 | 0.00044725 | 0.00011209
43 | 0.97223 | -0.53397 | 0.00044433 | 0.00011136
44 | 0.9725 | -0.5287 | 0.0012333 | 0.0003091
45 | 0.97258 | -0.52705 | 0.0016496 | 0.00041342
46 | 0.97102 | -0.55793 | 0.00032708 | 8.1975e-05
47 | 0.97101 | -0.55815 | 0.00053185 | 0.00013329
48 | 0.97262 | -0.52615 | 0.0022463 | 0.00056297
49 | 0.97303 | -0.5182 | 0.0014848 | 0.00037213
50 | 0.97098 | -0.55861 | 0.0013455 | 0.00033721
51 | 0.97317 | -0.51535 | 0 | 0
52 | 0.9729 | -0.52073 | 0.0016105 | 0.00040363
53 | 0.97367 | -0.50544 | 0.0016682 | 0.0004181
54 | 0.97234 | -0.53175 | 0.0030468 | 0.0007636
55 | 0.97133 | -0.55168 | 0.0052868 | 0.001325
56 | 0.97134 | -0.55162 | 0.00089864 | 0.00022522
57 | 0.97109 | -0.55647 | 0.0015209 | 0.00038118
58 | 0.97172 | -0.54409 | 0.0012035 | 0.00030163
59 | 0.97095 | -0.55918 | 0.0010832 | 0.00027146
60 | 0.97203 | -0.53796 | 0 | 0
61 | 0.97085 | -0.56116 | 0.0019487 | 0.00048838
62 | 0.972 | -0.53854 | 0 | 0
63 | 0.97065 | -0.56524 | 0.0010364 | 0.00025976
64 | 0.97195 | -0.5395 | 0.0018803 | 0.00047124
65 | 0.97063 | -0.56553 | 0.00075168 | 0.00018839
66 | 0.9705 | -0.56809 | 0.0037455 | 0.00093871
67 | 0.9719 | -0.5404 | 0.0027827 | 0.0006974
68 | 0.97042 | -0.56967 | 0.0023335 | 0.00058482
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0012402 | 0.00031007 | -0.0012401 | -0.00031076 | 8.0343e-08 | -6.9323e-07 | 0.0018933 | 0.0018935 | 0.0018935 | 0.97459 | -0.48762 | 0.97452 | -0.48898 | 0.5202
1 | -0.026648 | -0.0066779 | 0.026715 | 0.0067194 | 6.6995e-05 | 4.1529e-05 | 0.040686 | 0.040686 | 0.040686 | 0.97459 | -0.48762 | 0.97727 | -0.43498 | 11.1775
2 | 0.0012401 | 0.00031076 | -0.0012401 | -0.0003108 | 4.7213e-09 | -4.0727e-08 | 0.0018935 | 0.0018936 | 0.0018936 | 0.97452 | -0.48898 | 0.97452 | -0.48906 | 0.52021
3 | -0.13588 | -0.034249 | 0.13615 | 0.034424 | 0.00027302 | 0.00017452 | 0.20696 | 0.20696 | 0.20696 | 0.97727 | -0.43498 | 0.97941 | -0.39308 | 56.858
4 | 0.10916 | 0.02753 | -0.10872 | -0.027249 | 0.00043968 | 0.00028087 | 0.16628 | 0.16628 | 0.16628 | 0.97727 | -0.43498 | 0.97297 | -0.5195 | 45.6807
5 | -0.14565 | -0.036804 | 0.1458 | 0.036899 | 0.00014864 | 9.4721e-05 | 0.22139 | 0.22139 | 0.22139 | 0.97941 | -0.39308 | 0.9805 | -0.37182 | 30.4106
6 | 0.0094949 | 0.0023804 | -0.0094914 | -0.0023788 | 3.4692e-06 | 1.6611e-06 | 0.014426 | 0.014426 | 0.014426 | 0.97941 | -0.39308 | 0.97902 | -0.40075 | 3.9632
7 | 0.0093662 | 0.0023475 | -0.0093655 | -0.0023472 | 6.3946e-07 | 3.0605e-07 | 0.014324 | 0.014324 | 0.014324 | 0.97297 | -0.5195 | 0.9729 | -0.52093 | 3.9353
8 | -0.15054 | -0.038088 | 0.15164 | 0.03879 | 0.0011011 | 0.00070182 | 0.22859 | 0.22859 | 0.22859 | 0.9805 | -0.37182 | 0.98834 | -0.22061 | 31.3998
9 | 0.0047456 | 0.001189 | -0.0047447 | -0.001189 | 9.075e-07 | -7.543e-09 | 0.0072019 | 0.0072021 | 0.0072021 | 0.9805 | -0.37182 | 0.9803 | -0.37583 | 1.9786
10 | 0.10665 | 0.027239 | -0.10634 | -0.027042 | 0.00031046 | 0.00019705 | 0.16075 | 0.16075 | 0.16075 | 0.98834 | -0.22061 | 0.98519 | -0.28101 | 22.0806
11 | -0.25829 | -0.066029 | 0.26108 | 0.067811 | 0.002789 | 0.0017824 | 0.38934 | 0.38933 | 0.38934 | 0.98834 | -0.22061 | 1 | 0 | 53.4802
12 | 0.0023728 | 0.00059454 | -0.0023727 | -0.00059466 | 6.2129e-08 | -1.2125e-07 | 0.0036017 | 0.0036017 | 0.0036017 | 0.9803 | -0.37583 | 0.98027 | -0.37638 | 0.98948
13 | 0.090437 | 0.023056 | -0.090292 | -0.022964 | 0.00014494 | 9.1711e-05 | 0.13673 | 0.13673 | 0.13673 | 0.98519 | -0.28101 | 0.98347 | -0.31427 | 18.7823
14 | 0.015898 | 0.0039867 | -0.015897 | -0.0039861 | 1.0799e-06 | 6.2752e-07 | 0.024012 | 0.024012 | 0.024012 | 0.98519 | -0.28101 | 0.98512 | -0.28244 | 6.5968
15 | 0.00082709 | 0.00020613 | -0.00082704 | -0.00020728 | 5.1033e-08 | -1.1464e-06 | 0.0012303 | 0.0012307 | 0.0012307 | 1 | 0 | 0.99993 | -0.001298 | 0.33811
16 | 0.090292 | 0.022964 | -0.090041 | -0.022805 | 0.00025136 | 0.00015905 | 0.13673 | 0.13674 | 0.13674 | 0.98347 | -0.31427 | 0.98048 | -0.37222 | 18.7824
17 | 0.0098213 | 0.0024635 | -0.0098211 | -0.0024634 | 2.2161e-07 | 1.0765e-07 | 0.014836 | 0.014836 | 0.014836 | 0.98512 | -0.28244 | 0.9851 | -0.28291 | 4.0757
18 | -0.0098127 | -0.0024593 | 0.0098129 | 0.0024594 | 2.1068e-07 | 1.024e-07 | 0.014836 | 0.014836 | 0.014836 | 0.98418 | -0.30079 | 0.9842 | -0.30034 | 4.0759
19 | -0.0098129 | -0.0024594 | 0.0098211 | 0.0024634 | 8.1524e-06 | 3.9612e-06 | 0.014836 | 0.014836 | 0.014836 | 0.9842 | -0.30034 | 0.9851 | -0.28291 | 4.0759
20 | 0.087847 | 0.022255 | -0.087693 | -0.022158 | 0.00015372 | 9.7218e-05 | 0.13341 | 0.13341 | 0.13341 | 0.98048 | -0.37222 | 0.97861 | -0.40872 | 18.325
21 | 0.085371 | 0.021576 | -0.085356 | -0.021566 | 1.5386e-05 | 9.7246e-06 | 0.12988 | 0.12988 | 0.12988 | 0.97861 | -0.40872 | 0.97841 | -0.41248 | 17.8401
22 | -0.024119 | -0.0060498 | 0.024121 | 0.0060507 | 1.8015e-06 | 9.786e-07 | 0.036944 | 0.036944 | 0.036944 | 0.9715 | -0.54838 | 0.97158 | -0.54682 | 5.0747
23 | 0.0039794 | 0.00099584 | -0.0039788 | -0.00099599 | 6.1535e-07 | -1.5309e-07 | 0.0060945 | 0.0060947 | 0.0060947 | 0.9715 | -0.54838 | 0.97134 | -0.55163 | 1.6744
24 | 0.019379 | 0.0048636 | -0.019375 | -0.0048617 | 3.7184e-06 | 1.8225e-06 | 0.029685 | 0.029685 | 0.029685 | 0.9715 | -0.54838 | 0.9713 | -0.55241 | 4.0776
25 | 0.00034431 | 8.6019e-05 | -0.0003443 | -8.629e-05 | 2.2961e-09 | -2.7118e-07 | 0.00052726 | 0.00052736 | 0.00052736 | 0.9715 | -0.54838 | 0.97149 | -0.54852 | 0.14488
26 | -0.024544 | -0.0061569 | 0.024546 | 0.006158 | 1.9704e-06 | 1.0769e-06 | 0.037593 | 0.037593 | 0.037593 | 0.97158 | -0.54682 | 0.97166 | -0.54513 | 5.1639
27 | 0.0039788 | 0.00099599 | -0.0039781 | -0.00099615 | 6.3258e-07 | -1.5714e-07 | 0.0060947 | 0.0060949 | 0.0060949 | 0.97134 | -0.55163 | 0.97117 | -0.55497 | 1.6744
28 | 0.018225 | 0.0045733 | -0.018216 | -0.0045692 | 8.7803e-06 | 4.1334e-06 | 0.027922 | 0.027922 | 0.027922 | 0.9713 | -0.55241 | 0.97078 | -0.56251 | 3.8355
29 | -0.025015 | -0.0062755 | 0.025017 | 0.0062767 | 2.2082e-06 | 1.2144e-06 | 0.038311 | 0.038311 | 0.038311 | 0.97166 | -0.54513 | 0.97176 | -0.54328 | 5.2624
30 | 0.0030943 | 0.00077465 | -0.0030941 | -0.00077488 | 2.6982e-07 | -2.234e-07 | 0.0047408 | 0.0047409 | 0.0047409 | 0.97117 | -0.55497 | 0.97107 | -0.5568 | 1.3025
31 | 0.016886 | 0.0042359 | -0.016874 | -0.0042291 | 1.1489e-05 | 6.7878e-06 | 0.025884 | 0.025884 | 0.025884 | 0.97078 | -0.56251 | 0.97006 | -0.5768 | 7.111
32 | -0.025477 | -0.006392 | 0.02548 | 0.0063933 | 2.358e-06 | 1.3044e-06 | 0.039015 | 0.039015 | 0.039015 | 0.97176 | -0.54328 | 0.97186 | -0.54134 | 5.3592
33 | 0.0030941 | 0.00077488 | -0.003094 | -0.0007749 | 2.4447e-08 | -2.0236e-08 | 0.0047409 | 0.004741 | 0.004741 | 0.97107 | -0.5568 | 0.97107 | -0.55697 | 1.3025
34 | 0.078082 | 0.019712 | -0.078004 | -0.019663 | 7.8264e-05 | 4.935e-05 | 0.11893 | 0.11893 | 0.11893 | 0.97735 | -0.43329 | 0.97628 | -0.45423 | 16.3368
35 | -0.078082 | -0.019712 | 0.078086 | 0.019715 | 4.1162e-06 | 2.5955e-06 | 0.11893 | 0.11893 | 0.11893 | 0.97735 | -0.43329 | 0.97741 | -0.43219 | 16.3367
36 | 0.073888 | 0.018631 | -0.073769 | -0.018556 | 0.00011945 | 7.5195e-05 | 0.11266 | 0.11266 | 0.11266 | 0.97628 | -0.45423 | 0.97456 | -0.48807 | 15.4753
37 | -0.081338 | -0.02053 | 0.081415 | 0.020578 | 7.6858e-05 | 4.8519e-05 | 0.12388 | 0.12388 | 0.12388 | 0.97741 | -0.43219 | 0.97841 | -0.41248 | 17.0167
38 | -0.02644 | -0.0066339 | 0.026442 | 0.0066353 | 2.3647e-06 | 1.3227e-06 | 0.040485 | 0.040485 | 0.040485 | 0.97186 | -0.54134 | 0.97195 | -0.53946 | 5.5611
39 | 0.0022046 | 0.00055198 | -0.0022045 | -0.0005522 | 1.0118e-07 | -2.2775e-07 | 0.003378 | 0.0033781 | 0.0033781 | 0.97107 | -0.55697 | 0.97102 | -0.55793 | 0.92805
40 | 0.0658 | 0.016559 | -0.065745 | -0.016525 | 5.4565e-05 | 3.4204e-05 | 0.10049 | 0.10049 | 0.10049 | 0.97456 | -0.48807 | 0.97367 | -0.50544 | 13.8038
41 | -0.027334 | -0.0068594 | 0.027336 | 0.0068607 | 2.3657e-06 | 1.3354e-06 | 0.041846 | 0.041846 | 0.041846 | 0.97204 | -0.53767 | 0.97213 | -0.53586 | 5.7481
42 | 0.026892 | 0.0067486 | -0.02689 | -0.0067473 | 2.2973e-06 | 1.2911e-06 | 0.04117 | 0.04117 | 0.04117 | 0.97204 | -0.53767 | 0.97195 | -0.53946 | 5.6552
43 | -0.027779 | -0.0069716 | 0.027781 | 0.0069731 | 2.4984e-06 | 1.4162e-06 | 0.042523 | 0.042523 | 0.042523 | 0.97213 | -0.53586 | 0.97223 | -0.53397 | 5.8411
44 | -0.028225 | -0.0070844 | 0.028233 | 0.0070884 | 7.1001e-06 | 4.0407e-06 | 0.043203 | 0.043203 | 0.043203 | 0.97223 | -0.53397 | 0.9725 | -0.5287 | 5.9345
45 | -0.029466 | -0.0073976 | 0.029468 | 0.0073989 | 2.3118e-06 | 1.329e-06 | 0.04509 | 0.04509 | 0.04509 | 0.9725 | -0.5287 | 0.97258 | -0.52705 | 6.1937
46 | -0.031118 | -0.0078123 | 0.031119 | 0.0078131 | 1.3417e-06 | 7.8035e-07 | 0.047614 | 0.047614 | 0.047614 | 0.97258 | -0.52705 | 0.97262 | -0.52615 | 6.5404
47 | 0.0018774 | 0.00047023 | -0.0018774 | -0.00047029 | 1.898e-08 | -6.3499e-08 | 0.0028769 | 0.0028769 | 0.0028769 | 0.97102 | -0.55793 | 0.97101 | -0.55815 | 0.79035
48 | 0.0013455 | 0.000337 | -0.0013455 | -0.00033721 | 3.002e-08 | -2.137e-07 | 0.0020619 | 0.0020619 | 0.0020619 | 0.97101 | -0.55815 | 0.97098 | -0.55861 | 0.56647
49 | -0.033365 | -0.0083761 | 0.033378 | 0.0083835 | 1.2654e-05 | 7.4557e-06 | 0.051051 | 0.05105 | 0.051051 | 0.97262 | -0.52615 | 0.97303 | -0.5182 | 7.0125
50 | -0.034863 | -0.0087556 | 0.034868 | 0.0087585 | 4.747e-06 | 2.8168e-06 | 0.053321 | 0.053321 | 0.053321 | 0.97303 | -0.5182 | 0.97317 | -0.51535 | 7.3243
51 | 0.029179 | 0.0073292 | -0.029171 | -0.0073245 | 7.495e-06 | 4.6721e-06 | 0.044622 | 0.044622 | 0.044622 | 0.97317 | -0.51535 | 0.9729 | -0.52073 | 12.2587
52 | -0.064047 | -0.016088 | 0.064077 | 0.016107 | 3.0305e-05 | 1.8976e-05 | 0.097943 | 0.097942 | 0.097943 | 0.97317 | -0.51535 | 0.97367 | -0.50544 | 13.4536
53 | 0.027561 | 0.0069209 | -0.027546 | -0.0069119 | 1.4473e-05 | 8.9931e-06 | 0.042158 | 0.042158 | 0.042158 | 0.9729 | -0.52073 | 0.97234 | -0.53175 | 11.582
54 | 0.0245 | 0.0061483 | -0.024492 | -0.0061438 | 7.257e-06 | 4.4738e-06 | 0.037496 | 0.037496 | 0.037496 | 0.97234 | -0.53175 | 0.97203 | -0.53796 | 10.3011
55 | -0.017714 | -0.004441 | 0.017714 | 0.004441 | 5.5774e-08 | 3.3195e-08 | 0.027138 | 0.027138 | 0.027138 | 0.97133 | -0.55168 | 0.97134 | -0.55162 | 7.4554
56 | 0.012428 | 0.003116 | -0.012425 | -0.0031144 | 2.836e-06 | 1.5568e-06 | 0.019039 | 0.019039 | 0.019039 | 0.97133 | -0.55168 | 0.97109 | -0.55647 | 5.2304
57 | -0.018613 | -0.0046662 | 0.01862 | 0.0046702 | 6.6827e-06 | 4.0055e-06 | 0.028514 | 0.028514 | 0.028514 | 0.97134 | -0.55162 | 0.97172 | -0.54409 | 7.8336
58 | 0.010904 | 0.0027332 | -0.010902 | -0.0027325 | 1.4038e-06 | 7.3254e-07 | 0.016708 | 0.016708 | 0.016708 | 0.97109 | -0.55647 | 0.97095 | -0.55918 | 4.5902
59 | -0.019823 | -0.0049719 | 0.019829 | 0.0049754 | 5.7911e-06 | 3.4987e-06 | 0.030357 | 0.030357 | 0.030357 | 0.97172 | -0.54409 | 0.97203 | -0.53796 | 8.3399
60 | 0.0098192 | 0.002461 | -0.0098183 | -0.0024606 | 9.266e-07 | 4.5808e-07 | 0.015048 | 0.015048 | 0.015048 | 0.97095 | -0.55918 | 0.97085 | -0.56116 | 4.1342
61 | 0.0046634 | 0.0011685 | -0.0046633 | -0.0011685 | 1.2959e-07 | -1.1132e-09 | 0.0071388 | 0.0071388 | 0.0071388 | 0.97203 | -0.53796 | 0.972 | -0.53854 | 1.9612
62 | 0.0078696 | 0.0019722 | -0.0078681 | -0.0019716 | 1.5311e-06 | 6.3293e-07 | 0.012062 | 0.012062 | 0.012062 | 0.97085 | -0.56116 | 0.97065 | -0.56524 | 3.3137
63 | 0.0046633 | 0.0011685 | -0.004663 | -0.0011685 | 2.1357e-07 | -1.8218e-09 | 0.0071388 | 0.0071389 | 0.0071389 | 0.972 | -0.53854 | 0.97195 | -0.5395 | 1.9612
64 | 0.0068316 | 0.0017118 | -0.0068315 | -0.0017118 | 9.291e-08 | 3.1542e-08 | 0.010473 | 0.010473 | 0.010473 | 0.97065 | -0.56524 | 0.97063 | -0.56553 | 2.8772
65 | 0.0027828 | 0.00069726 | -0.0027827 | -0.0006974 | 1.1863e-07 | -1.4007e-07 | 0.0042603 | 0.0042604 | 0.0042604 | 0.97195 | -0.5395 | 0.9719 | -0.5404 | 1.1704
66 | 0.0060799 | 0.0015234 | -0.0060791 | -0.0015232 | 7.436e-07 | 1.9381e-07 | 0.0093205 | 0.0093206 | 0.0093206 | 0.97063 | -0.56553 | 0.9705 | -0.56809 | 2.5606
67 | 0.0023336 | 0.00058448 | -0.0023335 | -0.00058482 | 1.7479e-07 | -3.38e-07 | 0.0035779 | 0.003578 | 0.003578 | 0.9705 | -0.56809 | 0.97042 | -0.56967 | 0.98298

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26822 | 0.069187

## res_load
| p_mw | q_mvar
0 | 0.025408 | 0.0063678
1 | 0.0012401 | 0.0003108
2 | 0.099358 | 0.024901
3 | 0.0094914 | 0.0023788
4 | 0.0093655 | 0.0023472
5 | 0.0023719 | 0.00059446
6 | 0.0046662 | 0.0011695
7 | 0.0023727 | 0.00059466
8 | 0.0060753 | 0.0015226
9 | 0.00082704 | 0.00020728
10 | 0.0098127 | 0.0024593
11 | 0.0021943 | 0.00054994
12 | 0.0023217 | 0.00058186
13 | 0.00041632 | 0.00010434
14 | 0.00042371 | 0.00010619
15 | 0.0011507 | 0.0002884
16 | 0.0003443 | 8.629e-05
17 | 0.00046866 | 0.00011746
18 | 0.00088379 | 0.0002215
19 | 0.0013301 | 0.00033335
20 | 0.00046005 | 0.0001153
21 | 0.0041152 | 0.0010314
22 | 0.0032516 | 0.00081494
23 | 0.00096021 | 0.00024065
24 | 0.00088946 | 0.00022292
25 | 0.016874 | 0.0042291
26 | 0.0079694 | 0.0019973
27 | 0.0039415 | 0.00098783
28 | 0.00044189 | 0.00011075
29 | 0.00044255 | 0.00011091
30 | 0.00044725 | 0.00011209
31 | 0.00044433 | 0.00011136
32 | 0.0012333 | 0.0003091
33 | 0.0016496 | 0.00041342
34 | 0.00032708 | 8.1975e-05
35 | 0.00053185 | 0.00013329
36 | 0.0022463 | 0.00056297
37 | 0.0014848 | 0.00037213
38 | 0.0013455 | 0.00033721
39 | 0.0016105 | 0.00040363
40 | 0.0016682 | 0.0004181
41 | 0.0030468 | 0.0007636
42 | 0.0052868 | 0.001325
43 | 0.00089864 | 0.00022522
44 | 0.0015209 | 0.00038118
45 | 0.0012035 | 0.00030163
46 | 0.0010832 | 0.00027146
47 | 0.0019487 | 0.00048838
48 | 0.0010364 | 0.00025976
49 | 0.0018803 | 0.00047124
50 | 0.00075168 | 0.00018839
51 | 0.0037455 | 0.00093871
52 | 0.0027827 | 0.0006974
53 | 0.0023335 | 0.00058482

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1