## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2196-3_0_3_node_91 | 0.4 | n |  | TRUE
4 | bus_LV_2196-3_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_2196-3_0_3_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_2196-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2196-3_0_3_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_2196-3_0_3_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_2196-3_0_3_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_2196-3_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2196-3_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2196-3_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2196-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2196-3_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2196-3_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2196-3_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_2196-3_0_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_2196-3_0_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_2196-3_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2196-3_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2196-3_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_2196-3_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2196-3_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2196-3_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2196-3_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2196-3_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2196-3_0_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_2196-3_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_2196-3_0_3_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_2196-3_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2196-3_0_3_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_2196-3_0_3_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_2196-3_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_2196-3_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_2196-3_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_2196-3_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_2196-3_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2196-3_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2196-3_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2196-3_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2196-3_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2196-3_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_2196-3_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2196-3_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2196-3_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_2196-3_0_3_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_2196-3_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_2196-3_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_2196-3_0_3_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_2196-3_0_3_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_2196-3_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2196-3_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_2196-3_0_3_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_2196-3_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2196-3_0_3_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_2196-3_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_2196-3_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_2196-3_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_2196-3_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2196-3_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2196-3_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2196-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2196-3_0_3_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_2196-3_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2196-3_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2196-3_0_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_2196-3_0_3_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_2196-3_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_2196-3_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_2196-3_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_2196-3_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_2196-3_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_2196-3_0_3_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_2196-3_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_2196-3_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_2196-3_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2196-3_0_3_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_2196-3_0_3_node_90 | 0.4 | n |  | TRUE
79 | bus_MV_382_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-3_0_3_load_0 | 0 | 0.007096 | 0.0017784 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-3_0_3_load_91 | 3 | 0.02933 | 0.0073509 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-3_0_3_load_77 | 7 | 0.01277 | 0.0032005 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-3_0_3_load_68 | 8 | 0.017203 | 0.0043115 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-3_0_3_load_76 | 9 | 0.0028149 | 0.00070548 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-3_0_3_load_5 | 10 | 0.0099953 | 0.0025051 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-3_0_3_load_8 | 13 | 0.014124 | 0.0035397 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-3_0_3_load_10 | 15 | 0.01164 | 0.0029172 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-3_0_3_load_29 | 16 | 0.011389 | 0.0028544 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-3_0_3_load_61 | 17 | 0.002752 | 0.00068972 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-3_0_3_load_60 | 18 | 0.0060873 | 0.0015256 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-3_0_3_load_31 | 22 | 0.0025003 | 0.00062662 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-3_0_3_load_26 | 24 | 0.0028224 | 0.00070736 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-3_0_3_load_21 | 25 | 0.021137 | 0.0052974 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-3_0_3_load_28 | 26 | 0.013114 | 0.0032868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-3_0_3_load_45 | 28 | 0.0011416 | 0.0002861 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-3_0_3_load_86 | 29 | 0.0032967 | 0.00082624 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-3_0_3_load_41 | 30 | 0.0084714 | 0.0021231 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-3_0_3_load_83 | 31 | 0.0018805 | 0.00047129 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2196-3_0_3_load_82 | 32 | 0.0024541 | 0.00061505 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2196-3_0_3_load_14 | 33 | 0.0037137 | 0.00093074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2196-3_0_3_load_20 | 37 | 0.053859 | 0.013498 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2196-3_0_3_load_39 | 38 | 0.0057498 | 0.001441 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2196-3_0_3_load_30 | 39 | 0.014061 | 0.0035241 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2196-3_0_3_load_38 | 40 | 0.013574 | 0.003402 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2196-3_0_3_load_80 | 45 | 0.0052618 | 0.0013187 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2196-3_0_3_load_79 | 46 | 0.0031285 | 0.00078409 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2196-3_0_3_load_27 | 47 | 0.015704 | 0.0039358 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2196-3_0_3_load_48 | 48 | 0.0028397 | 0.00071171 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2196-3_0_3_load_81 | 49 | 0.0021599 | 0.00054133 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2196-3_0_3_load_84 | 50 | 0.0029572 | 0.00074115 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2196-3_0_3_load_63 | 53 | 0.0068474 | 0.0017161 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2196-3_0_3_load_43 | 54 | 0.002579 | 0.00064635 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2196-3_0_3_load_85 | 55 | 0.0023792 | 0.00059627 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2196-3_0_3_load_67 | 56 | 0.0014089 | 0.00035311 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2196-3_0_3_load_47 | 57 | 0.0032409 | 0.00081224 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2196-3_0_3_load_42 | 58 | 0.016416 | 0.0041141 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2196-3_0_3_load_44 | 59 | 0.00091968 | 0.00023049 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2196-3_0_3_load_49 | 60 | 0.0026056 | 0.00065303 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2196-3_0_3_load_50 | 61 | 0.0013945 | 0.00034948 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2196-3_0_3_load_87 | 63 | 0.0009621 | 0.00024113 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2196-3_0_3_load_52 | 64 | 0.0020339 | 0.00050974 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2196-3_0_3_load_53 | 65 | 0.0013849 | 0.00034708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2196-3_0_3_load_74 | 66 | 0.00079111 | 0.00019827 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2196-3_0_3_load_59 | 69 | 0.001504 | 0.00037694 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2196-3_0_3_load_54 | 70 | 0.0022761 | 0.00057045 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2196-3_0_3_load_72 | 71 | 0.011046 | 0.0027683 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2196-3_0_3_load_78 | 73 | 0.0027604 | 0.00069183 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2196-3_0_3_load_65 | 74 | 0.0086675 | 0.0021723 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2196-3_0_3_load_66 | 75 | 0.0015451 | 0.00038724 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2196-3_0_3_load_71 | 76 | 0.0013431 | 0.00033662 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2196-3_0_3_load_90 | 78 | 0.0017711 | 0.00044388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-3_0_3_line_0 |  | 0 | 1 | 0.013161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-3_0_3_line_1 |  | 1 | 2 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-3_0_3_line_2 |  | 2 | 6 | 0.019131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-3_0_3_line_3 |  | 2 | 7 | 0.015589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-3_0_3_line_4 |  | 3 | 4 | 0.021265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-3_0_3_line_5 |  | 3 | 5 | 0.10698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-3_0_3_line_6 |  | 4 | 34 | 0.0312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-3_0_3_line_7 |  | 5 | 73 | 0.018537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-3_0_3_line_8 |  | 5 | 9 | 0.009436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2196-3_0_3_line_9 |  | 5 | 68 | 0.047402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-3_0_3_line_10 |  | 6 | 8 | 0.057715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-3_0_3_line_11 |  | 7 | 9 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2196-3_0_3_line_12 |  | 10 | 11 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2196-3_0_3_line_13 |  | 10 | 12 | 0.029457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2196-3_0_3_line_14 |  | 11 | 13 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2196-3_0_3_line_15 |  | 11 | 14 | 0.02714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-3_0_3_line_16 |  | 12 | 15 | 0.011195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2196-3_0_3_line_17 |  | 13 | 16 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-3_0_3_line_18 |  | 14 | 17 | 0.019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-3_0_3_line_19 |  | 14 | 18 | 0.0056805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2196-3_0_3_line_20 |  | 16 | 26 | 0.0049687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2196-3_0_3_line_21 |  | 17 | 27 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2196-3_0_3_line_22 |  | 19 | 20 | 0.028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-3_0_3_line_23 |  | 19 | 21 | 0.046693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2196-3_0_3_line_24 |  | 19 | 22 | 0.049156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2196-3_0_3_line_25 |  | 20 | 28 | 0.0081636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2196-3_0_3_line_26 |  | 20 | 29 | 0.015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2196-3_0_3_line_27 |  | 21 | 30 | 0.0395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2196-3_0_3_line_28 |  | 23 | 24 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2196-3_0_3_line_29 |  | 23 | 25 | 0.0069997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2196-3_0_3_line_30 |  | 24 | 31 | 0.0085323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2196-3_0_3_line_31 |  | 24 | 32 | 0.006775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2196-3_0_3_line_32 |  | 26 | 47 | 0.0096578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2196-3_0_3_line_33 |  | 27 | 74 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2196-3_0_3_line_34 |  | 27 | 75 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2196-3_0_3_line_35 |  | 27 | 53 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2196-3_0_3_line_36 |  | 28 | 54 | 0.0028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2196-3_0_3_line_37 |  | 29 | 55 | 0.009795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2196-3_0_3_line_38 |  | 31 | 50 | 0.0082832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2196-3_0_3_line_39 |  | 32 | 49 | 0.006354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2196-3_0_3_line_40 |  | 33 | 34 | 0.023204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2196-3_0_3_line_41 |  | 33 | 35 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2196-3_0_3_line_42 |  | 34 | 36 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2196-3_0_3_line_43 |  | 35 | 37 | 0.033858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2196-3_0_3_line_44 |  | 36 | 38 | 0.00067833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2196-3_0_3_line_45 |  | 37 | 39 | 0.033509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2196-3_0_3_line_46 |  | 38 | 40 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2196-3_0_3_line_47 |  | 39 | 41 | 0.0073508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2196-3_0_3_line_48 |  | 40 | 42 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2196-3_0_3_line_49 |  | 41 | 47 | 0.0010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2196-3_0_3_line_50 |  | 42 | 43 | 0.006407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2196-3_0_3_line_51 |  | 43 | 46 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2196-3_0_3_line_52 |  | 43 | 48 | 0.0091478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2196-3_0_3_line_53 |  | 44 | 45 | 0.0022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2196-3_0_3_line_54 |  | 44 | 46 | 0.0095264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2196-3_0_3_line_55 |  | 45 | 49 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2196-3_0_3_line_56 |  | 48 | 57 | 0.0055979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2196-3_0_3_line_57 |  | 50 | 55 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2196-3_0_3_line_58 |  | 51 | 52 | 0.007206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2196-3_0_3_line_59 |  | 51 | 53 | 0.053138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2196-3_0_3_line_60 |  | 52 | 56 | 0.06369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2196-3_0_3_line_61 |  | 54 | 58 | 0.0054162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2196-3_0_3_line_62 |  | 57 | 60 | 0.0048016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2196-3_0_3_line_63 |  | 58 | 59 | 0.0077758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2196-3_0_3_line_64 |  | 61 | 62 | 0.013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2196-3_0_3_line_65 |  | 61 | 63 | 0.1309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2196-3_0_3_line_66 |  | 62 | 64 | 0.008377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2196-3_0_3_line_67 |  | 62 | 65 | 0.0075609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2196-3_0_3_line_68 |  | 63 | 66 | 0.034304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2196-3_0_3_line_69 |  | 64 | 68 | 0.064421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2196-3_0_3_line_70 |  | 65 | 69 | 0.0040546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2196-3_0_3_line_71 |  | 66 | 67 | 0.079048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2196-3_0_3_line_72 |  | 67 | 72 | 0.026203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2196-3_0_3_line_73 |  | 67 | 71 | 0.030983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2196-3_0_3_line_74 |  | 68 | 70 | 0.025358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2196-3_0_3_line_75 |  | 72 | 77 | 0.10675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2196-3_0_3_line_76 |  | 75 | 76 | 0.016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2196-3_0_3_line_77 |  | 77 | 78 | 0.012022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-3_0_3_trafo_30 | 0.63 MVA 20/0.4 kV | 79 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2579209.9201 | 1183356.8261 | 2579210.1844 | 1183362.5615 | 2579202.7788 | 1183363.0204
1 | 2579209.9201 | 1183356.8261 | 2579212.9197 | 1183356.6712 | 2579214.9091 | 1183347.0259
2 | 2579196.0191 | 1183343.79 | 2579206.1034 | 1183345.956 | 2579214.9091 | 1183347.0259
3 | 2579214.9091 | 1183347.0259 | 2579223.5307 | 1183345.6841 | 2579230.1733 | 1183343.7933
4 | 2579265.7504 | 1183458.8405 | 2579271.1507 | 1183448.7832 | 2579278.6017 | 1183442.3095
5 | 2579278.6017 | 1183442.3095 | 2579252.4844 | 1183338.5685
6 | 2579259.3743 | 1183489.0117 | 2579260.6722 | 1183471.5092 | 2579265.7504 | 1183458.8405
7 | 2579252.4844 | 1183338.5685 | 2579252.0665 | 1183334.7458 | 2579251.9749 | 1183332.5672 | 2579251.6251 | 1183324.1751 | 2579251.5286 | 1183322.7636 | 2579248.8342 | 1183322.8731
8 | 2579252.4844 | 1183338.5685 | 2579251.0962 | 1183338.8957 | 2579245.3742 | 1183339.905 | 2579243.2261 | 1183340.3774
9 | 2579297.9347 | 1183324.7479 | 2579293.4585 | 1183326.1642 | 2579279.1851 | 1183331.1719 | 2579252.4844 | 1183338.5685
10 | 2579196.0191 | 1183343.79 | 2579191.7229 | 1183342.093 | 2579161.473 | 1183327.7689 | 2579142.6865 | 1183322.0924
11 | 2579230.1733 | 1183343.7933 | 2579237.1362 | 1183341.8125 | 2579239.5692 | 1183341.1815 | 2579243.2261 | 1183340.3774
12 | 2579113.5167 | 1183489.1649 | 2579116.2266 | 1183500.0389 | 2579116.5298 | 1183501.2367
13 | 2579116.0342 | 1183530.1107 | 2579119.0538 | 1183516.0817 | 2579118.3941 | 1183508.6024 | 2579116.5298 | 1183501.2367
14 | 2579113.5167 | 1183489.1649 | 2579124.2585 | 1183488.1074
15 | 2579086.6609 | 1183493.439 | 2579104.7333 | 1183490.0294 | 2579113.5167 | 1183489.1649
16 | 2579116.0342 | 1183530.1107 | 2579110.8112 | 1183540.0123
17 | 2579124.2585 | 1183488.1074 | 2579137.9445 | 1183486.76
18 | 2579086.6609 | 1183493.439 | 2579083.9393 | 1183490.1134 | 2579077.3638 | 1183489.3139 | 2579075.0773 | 1183488.1657 | 2579073.2852 | 1183486.5045 | 2579071.8052 | 1183482.9275
19 | 2579086.6609 | 1183493.439 | 2579081.1866 | 1183494.9553
20 | 2579142.8893 | 1183486.2731 | 2579137.9445 | 1183486.76
21 | 2579067.1401 | 1183471.307 | 2579067.9343 | 1183473.5721 | 2579071.8052 | 1183482.9275
22 | 2579106.0161 | 1183577.2925 | 2579125.4168 | 1183597.9354
23 | 2579106.0161 | 1183577.2925 | 2579107.2018 | 1183586.7155 | 2579108.3622 | 1183599.8072 | 2579104.2258 | 1183606.6363 | 2579106.0146 | 1183622.605
24 | 2579106.0161 | 1183577.2925 | 2579080.8355 | 1183586.7635 | 2579059.8833 | 1183594.2614
25 | 2579125.4168 | 1183597.9354 | 2579130.965 | 1183603.9238
26 | 2579125.4168 | 1183597.9354 | 2579136.3739 | 1183586.4721
27 | 2579106.0146 | 1183622.605 | 2579106.228 | 1183624.7054 | 2579106.5855 | 1183633.0418 | 2579107.8585 | 1183641.2527 | 2579108.0731 | 1183648.0333 | 2579102.9172 | 1183649.2853 | 2579096.3776 | 1183649.9641 | 2579094.3301 | 1183650.2805
28 | 2579151.1202 | 1183545.8407 | 2579153.5883 | 1183548.7113 | 2579155.9337 | 1183551.4268 | 2579161.3834 | 1183557.7555 | 2579162.5407 | 1183559.0966
29 | 2579151.1202 | 1183545.8407 | 2579156.9767 | 1183542.0069
30 | 2579162.5407 | 1183559.0966 | 2579156.6452 | 1183565.2644
31 | 2579162.5407 | 1183559.0966 | 2579167.3349 | 1183554.3094
32 | 2579142.8893 | 1183486.2731 | 2579152.5006 | 1183485.3269
33 | 2579067.1401 | 1183471.307 | 2579069.7847 | 1183467.896 | 2579072.9956 | 1183464.8831 | 2579080.8473 | 1183461.7429
34 | 2579067.1401 | 1183471.307 | 2579065.5355 | 1183466.5324 | 2579060.8747 | 1183452.2969 | 2579058.8758 | 1183448.6538
35 | 2579067.1401 | 1183471.307 | 2579056.0963 | 1183479.8723
36 | 2579132.888 | 1183605.9992 | 2579130.965 | 1183603.9238
37 | 2579143.1419 | 1183579.3914 | 2579136.3739 | 1183586.4721
38 | 2579156.6452 | 1183565.2644 | 2579150.9217 | 1183571.2523
39 | 2579171.8312 | 1183549.8197 | 2579167.3349 | 1183554.3094
40 | 2579259.3743 | 1183489.0117 | 2579251.0904 | 1183484.2713 | 2579237.7669 | 1183481.2615
41 | 2579227.9125 | 1183479.3605 | 2579232.3348 | 1183480.0344 | 2579237.7669 | 1183481.2615
42 | 2579259.3743 | 1183489.0117 | 2579242.3207 | 1183493.4622 | 2579233.5726 | 1183497.8949
43 | 2579227.9125 | 1183479.3605 | 2579222.9179 | 1183478.7554 | 2579202.2112 | 1183479.8169 | 2579194.1674 | 1183480.7107
44 | 2579233.5726 | 1183497.8949 | 2579232.9622 | 1183498.1909
45 | 2579160.8631 | 1183484.4111 | 2579194.1674 | 1183480.7107
46 | 2579232.9622 | 1183498.1909 | 2579221.8159 | 1183503.5959
47 | 2579153.5573 | 1183485.2229 | 2579160.8631 | 1183484.4111
48 | 2579199.4713 | 1183515.0115 | 2579205.1011 | 1183511.7012 | 2579221.8159 | 1183503.5959
49 | 2579153.5573 | 1183485.2229 | 2579152.5006 | 1183485.3269
50 | 2579199.4713 | 1183515.0115 | 2579202.1405 | 1183520.8385
51 | 2579202.1405 | 1183520.8385 | 2579187.4835 | 1183534.603
52 | 2579202.1405 | 1183520.8385 | 2579203.6881 | 1183520.2328 | 2579207.275 | 1183526.8035
53 | 2579180.5392 | 1183541.1244 | 2579178.9799 | 1183542.6814
54 | 2579180.5392 | 1183541.1244 | 2579187.4835 | 1183534.603
55 | 2579178.9799 | 1183542.6814 | 2579171.8312 | 1183549.8197
56 | 2579209.9572 | 1183531.7169 | 2579207.275 | 1183526.8035
57 | 2579150.9217 | 1183571.2523 | 2579143.1419 | 1183579.3914
58 | 2579015.2817 | 1183511.9214 | 2579016.4442 | 1183519.0321
59 | 2579015.2817 | 1183511.9214 | 2579019.3681 | 1183503.8917 | 2579034.1377 | 1183496.9028 | 2579056.0963 | 1183479.8723
60 | 2579016.4442 | 1183519.0321 | 2579045.7916 | 1183513.4928 | 2579050.65 | 1183514.454 | 2579054.3816 | 1183518.4318 | 2579055.896 | 1183525.7748 | 2579054.7776 | 1183533.3604 | 2579050.1144 | 1183540.1692
61 | 2579136.569 | 1183609.9723 | 2579132.888 | 1183605.9992
62 | 2579206.6257 | 1183535.1748 | 2579209.9572 | 1183531.7169
63 | 2579136.569 | 1183609.9723 | 2579141.8538 | 1183615.6762
64 | 2579303.3963 | 1183257.5163 | 2579310.4163 | 1183249.9436 | 2579312.7214 | 1183248.5449
65 | 2579312.7214 | 1183248.5449 | 2579268.8865 | 1183125.1979
66 | 2579303.3963 | 1183257.5163 | 2579296.0511 | 1183261.5438
67 | 2579303.3963 | 1183257.5163 | 2579310.2097 | 1183260.7944 | 2579310.2097 | 1183260.7944
68 | 2579234.649 | 1183127.3319 | 2579268.8865 | 1183125.1979
69 | 2579297.9347 | 1183324.7479 | 2579294.215 | 1183308.797 | 2579291.593 | 1183290.1631 | 2579291.8412 | 1183275.9215 | 2579296.0511 | 1183261.5438
70 | 2579314.2632 | 1183260.7009 | 2579310.2097 | 1183260.7944
71 | 2579170.6522 | 1183164.741 | 2579189.3011 | 1183157.7724 | 2579198.9559 | 1183159.2728 | 2579209.0471 | 1183154.5574 | 2579215.354 | 1183148.2877 | 2579216.4957 | 1183142.9365 | 2579219.3465 | 1183139.4693 | 2579234.649 | 1183127.3319
72 | 2579145.3849 | 1183171.7996 | 2579155.7654 | 1183169.0397 | 2579163.7522 | 1183167.2887 | 2579170.6522 | 1183164.741
73 | 2579170.6522 | 1183164.741 | 2579179.5303 | 1183155.8721 | 2579180.7705 | 1183152.4883 | 2579182.6719 | 1183143.866 | 2579184.1539 | 1183138.0515
74 | 2579297.9347 | 1183324.7479 | 2579322.2555 | 1183317.57
75 | 2579110.9982 | 1183177.634 | 2579080.1633 | 1183194.8843 | 2579083.7295 | 1183197.3731 | 2579087.0652 | 1183197.2503 | 2579132.5279 | 1183175.8578 | 2579145.3849 | 1183171.7996
76 | 2579058.8758 | 1183448.6538 | 2579050.933 | 1183434.1779
77 | 2579110.9982 | 1183177.634 | 2579111.1546 | 1183165.6161

## bus_geodata
| x | y | coords
0 | 2579202.7788 | 1183363.0204
1 | 2579209.9201 | 1183356.8261
2 | 2579214.9091 | 1183347.0259
3 | 2579278.6017 | 1183442.3095
4 | 2579265.7504 | 1183458.8405
5 | 2579252.4844 | 1183338.5685
6 | 2579196.0191 | 1183343.79
7 | 2579230.1733 | 1183343.7933
8 | 2579142.6865 | 1183322.0924
9 | 2579243.2261 | 1183340.3774
10 | 2579116.5298 | 1183501.2367
11 | 2579113.5167 | 1183489.1649
12 | 2579116.0342 | 1183530.1107
13 | 2579124.2585 | 1183488.1074
14 | 2579086.6609 | 1183493.439
15 | 2579110.8112 | 1183540.0123
16 | 2579137.9445 | 1183486.76
17 | 2579071.8052 | 1183482.9275
18 | 2579081.1866 | 1183494.9553
19 | 2579106.0161 | 1183577.2925
20 | 2579125.4168 | 1183597.9354
21 | 2579106.0146 | 1183622.605
22 | 2579059.8833 | 1183594.2614
23 | 2579151.1202 | 1183545.8407
24 | 2579162.5407 | 1183559.0966
25 | 2579156.9767 | 1183542.0069
26 | 2579142.8893 | 1183486.2731
27 | 2579067.1401 | 1183471.307
28 | 2579130.965 | 1183603.9238
29 | 2579136.3739 | 1183586.4721
30 | 2579094.3301 | 1183650.2805
31 | 2579156.6452 | 1183565.2644
32 | 2579167.3349 | 1183554.3094
33 | 2579237.7669 | 1183481.2615
34 | 2579259.3743 | 1183489.0117
35 | 2579227.9125 | 1183479.3605
36 | 2579233.5726 | 1183497.8949
37 | 2579194.1674 | 1183480.7107
38 | 2579232.9622 | 1183498.1909
39 | 2579160.8631 | 1183484.4111
40 | 2579221.8159 | 1183503.5959
41 | 2579153.5572 | 1183485.2228
42 | 2579199.4713 | 1183515.0115
43 | 2579202.1405 | 1183520.8385
44 | 2579180.5392 | 1183541.1244
45 | 2579178.9799 | 1183542.6814
46 | 2579187.4835 | 1183534.603
47 | 2579152.5006 | 1183485.3269
48 | 2579207.275 | 1183526.8035
49 | 2579171.8312 | 1183549.8197
50 | 2579150.9217 | 1183571.2523
51 | 2579015.2817 | 1183511.9214
52 | 2579016.4442 | 1183519.0321
53 | 2579056.0963 | 1183479.8723
54 | 2579132.888 | 1183605.9992
55 | 2579143.1419 | 1183579.3914
56 | 2579050.1144 | 1183540.1692
57 | 2579209.9572 | 1183531.7169
58 | 2579136.569 | 1183609.9723
59 | 2579141.8538 | 1183615.6762
60 | 2579206.6257 | 1183535.1748
61 | 2579312.7214 | 1183248.5449
62 | 2579303.3963 | 1183257.5163
63 | 2579268.8865 | 1183125.1979
64 | 2579296.0511 | 1183261.5438
65 | 2579310.2097 | 1183260.7944
66 | 2579234.649 | 1183127.3319
67 | 2579170.6522 | 1183164.741
68 | 2579297.9347 | 1183324.7479
69 | 2579314.2631 | 1183260.7009
70 | 2579322.2555 | 1183317.57
71 | 2579184.1539 | 1183138.0515
72 | 2579145.3849 | 1183171.7996
73 | 2579248.8342 | 1183322.8731
74 | 2579080.8473 | 1183461.7429
75 | 2579058.8758 | 1183448.6538
76 | 2579050.933 | 1183434.1779
77 | 2579110.9982 | 1183177.634
78 | 2579111.1546 | 1183165.6161
79 | 2579160.8631 | 1183484.4111

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97709 | -0.44093 | 0.007096 | 0.0017784
1 | 0.97717 | -0.43923 | 0 | 0
2 | 0.97726 | -0.43756 | 0 | 0
3 | 0.98497 | -0.2873 | 0.02933 | 0.0073509
4 | 0.98684 | -0.25101 | 0 | 0
5 | 0.97842 | -0.41468 | 0 | 0
6 | 0.97695 | -0.44357 | 0 | 0
7 | 0.97761 | -0.43065 | 0.01277 | 0.0032005
8 | 0.97603 | -0.46172 | 0.017203 | 0.0043115
9 | 0.97807 | -0.42153 | 0.0028149 | 0.00070548
10 | 0.99653 | -0.066703 | 0.0099953 | 0.0025051
11 | 0.99678 | -0.061979 | 0 | 0
12 | 0.99622 | -0.072723 | 0 | 0
13 | 0.99727 | -0.05246 | 0.014124 | 0.0035397
14 | 0.99607 | -0.075634 | 0 | 0
15 | 0.9961 | -0.075011 | 0.01164 | 0.0029172
16 | 0.99808 | -0.036947 | 0.011389 | 0.0028544
17 | 0.99566 | -0.083486 | 0.002752 | 0.00068972
18 | 0.99604 | -0.076241 | 0.0060873 | 0.0015256
19 | 0.97713 | -0.4404 | 0 | 0
20 | 0.97742 | -0.43473 | 0 | 0
21 | 0.97677 | -0.44762 | 0 | 0
22 | 0.97702 | -0.44264 | 0.0025003 | 0.00062662
23 | 0.97892 | -0.40542 | 0 | 0
24 | 0.97926 | -0.3987 | 0.0028224 | 0.00070736
25 | 0.97878 | -0.40811 | 0.021137 | 0.0052974
26 | 0.99842 | -0.030358 | 0.013114 | 0.0032868
27 | 0.99543 | -0.087851 | 0 | 0
28 | 0.97726 | -0.43786 | 0.0011416 | 0.0002861
29 | 0.97789 | -0.42546 | 0.0032967 | 0.00082624
30 | 0.97646 | -0.45374 | 0.0084714 | 0.0021231
31 | 0.97892 | -0.4053 | 0.0018805 | 0.00047129
32 | 0.97968 | -0.39051 | 0.0024541 | 0.00061505
33 | 0.99177 | -0.15626 | 0.0037137 | 0.00093074
34 | 0.98959 | -0.19802 | 0 | 0
35 | 0.99273 | -0.13791 | 0 | 0
36 | 0.98687 | -0.25053 | 0 | 0
37 | 0.99597 | -0.076313 | 0.053859 | 0.013498
38 | 0.9868 | -0.25184 | 0.0057498 | 0.001441
39 | 1 | 0 | -0.3709 | -0.094234
40 | 0.98564 | -0.27443 | 0.013574 | 0.003402
41 | 0.9993 | -0.013415 | 0 | 0
42 | 0.98358 | -0.31424 | 0 | 0
43 | 0.98306 | -0.32443 | 0 | 0
44 | 0.9809 | -0.36648 | 0 | 0
45 | 0.98075 | -0.36953 | 0.0052618 | 0.0013187
46 | 0.98158 | -0.35331 | 0.0031285 | 0.00078409
47 | 0.9992 | -0.015354 | 0.015704 | 0.0039358
48 | 0.98299 | -0.32586 | 0.0028397 | 0.00071171
49 | 0.98008 | -0.38256 | 0.0021599 | 0.00054133
50 | 0.97861 | -0.41143 | 0.0029572 | 0.00074115
51 | 0.99526 | -0.091202 | 0 | 0
52 | 0.99525 | -0.091381 | 0 | 0
53 | 0.99533 | -0.089882 | 0.0068474 | 0.0017161
54 | 0.97721 | -0.43889 | 0.002579 | 0.00064635
55 | 0.97821 | -0.41916 | 0.0023792 | 0.00059627
56 | 0.99517 | -0.092961 | 0.0014089 | 0.00035311
57 | 0.98296 | -0.32645 | 0.0032409 | 0.00081224
58 | 0.97712 | -0.44061 | 0.016416 | 0.0041141
59 | 0.97712 | -0.44074 | 0.00091968 | 0.00023049
60 | 0.98295 | -0.32668 | 0.0026056 | 0.00065303
61 | 0.97581 | -0.466 | 0.0013945 | 0.00034948
62 | 0.976 | -0.46219 | 0 | 0
63 | 0.97403 | -0.501 | 0.0009621 | 0.00024113
64 | 0.97615 | -0.4593 | 0.0020339 | 0.00050974
65 | 0.97598 | -0.46259 | 0.0013849 | 0.00034708
66 | 0.97359 | -0.50959 | 0.00079111 | 0.00019827
67 | 0.97265 | -0.52825 | 0 | 0
68 | 0.9774 | -0.4347 | 0 | 0
69 | 0.97597 | -0.46271 | 0.001504 | 0.00037694
70 | 0.97735 | -0.43576 | 0.0022761 | 0.00057045
71 | 0.97233 | -0.53455 | 0.011046 | 0.0027683
72 | 0.97261 | -0.5291 | 0 | 0
73 | 0.97838 | -0.41561 | 0.0027604 | 0.00069183
74 | 0.9953 | -0.090465 | 0.0086675 | 0.0021723
75 | 0.99537 | -0.089079 | 0.0015451 | 0.00038724
76 | 0.99535 | -0.08947 | 0.0013431 | 0.00033662
77 | 0.97243 | -0.53259 | 0 | 0
78 | 0.97241 | -0.53298 | 0.0017711 | 0.00044388
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007096 | -0.0017784 | 0.0070966 | 0.0017786 | 5.7637e-07 | 2.0402e-07 | 0.010807 | 0.010807 | 0.010807 | 0.97709 | -0.44093 | 0.97717 | -0.43923 | 2.9688
1 | -0.0070966 | -0.0017786 | 0.0070972 | 0.0017788 | 5.6247e-07 | 1.9907e-07 | 0.010807 | 0.010806 | 0.010807 | 0.97717 | -0.43923 | 0.97726 | -0.43756 | 2.9688
2 | 0.017223 | 0.0043232 | -0.017218 | -0.0043203 | 4.9347e-06 | 2.9186e-06 | 0.026227 | 0.026227 | 0.026227 | 0.97726 | -0.43756 | 0.97695 | -0.44357 | 7.2052
3 | -0.02432 | -0.0061021 | 0.024328 | 0.006107 | 8.0174e-06 | 4.9358e-06 | 0.037033 | 0.037033 | 0.037033 | 0.97726 | -0.43756 | 0.97761 | -0.43065 | 10.174
4 | -0.095698 | -0.024192 | 0.095865 | 0.024298 | 0.00016685 | 0.00010651 | 0.14465 | 0.14465 | 0.14465 | 0.98497 | -0.2873 | 0.98684 | -0.25101 | 39.7384
5 | 0.066368 | 0.016841 | -0.065964 | -0.016583 | 0.00040389 | 0.00025713 | 0.10034 | 0.10034 | 0.10034 | 0.98497 | -0.2873 | 0.97842 | -0.41468 | 27.5655
6 | -0.095865 | -0.024298 | 0.09611 | 0.024454 | 0.0002448 | 0.00015627 | 0.14465 | 0.14465 | 0.14465 | 0.98684 | -0.25101 | 0.98959 | -0.19802 | 39.7384
7 | 0.0027606 | 0.00069168 | -0.0027604 | -0.00069183 | 1.2252e-07 | -1.5438e-07 | 0.0041983 | 0.0041984 | 0.0041984 | 0.97842 | -0.41468 | 0.97838 | -0.41561 | 1.1534
8 | 0.039942 | 0.010031 | -0.039929 | -0.010023 | 1.306e-05 | 8.2401e-06 | 0.060753 | 0.060753 | 0.060753 | 0.97842 | -0.41468 | 0.97807 | -0.42153 | 16.6904
9 | 0.023261 | 0.0058605 | -0.023239 | -0.0058468 | 2.226e-05 | 1.3652e-05 | 0.035387 | 0.035387 | 0.035387 | 0.97842 | -0.41468 | 0.9774 | -0.4347 | 9.7218
10 | 0.017218 | 0.0043203 | -0.017203 | -0.0043115 | 1.4887e-05 | 8.8059e-06 | 0.026227 | 0.026227 | 0.026227 | 0.97695 | -0.44357 | 0.97603 | -0.46172 | 7.2053
11 | -0.037098 | -0.0093075 | 0.037114 | 0.0093176 | 1.614e-05 | 1.016e-05 | 0.056471 | 0.05647 | 0.056471 | 0.97761 | -0.43065 | 0.97807 | -0.42153 | 15.5139
12 | -0.02164 | -0.0054247 | 0.021645 | 0.0054277 | 4.8716e-06 | 2.9557e-06 | 0.032313 | 0.032313 | 0.032313 | 0.99653 | -0.066703 | 0.99678 | -0.061979 | 8.8772
13 | 0.011644 | 0.0029196 | -0.011641 | -0.0029179 | 3.3398e-06 | 1.7538e-06 | 0.017388 | 0.017388 | 0.017388 | 0.99653 | -0.066703 | 0.99622 | -0.072723 | 4.7769
14 | -0.05033 | -0.012627 | 0.050353 | 0.012641 | 2.2852e-05 | 1.4484e-05 | 0.075138 | 0.075138 | 0.075138 | 0.99678 | -0.061979 | 0.99727 | -0.05246 | 20.6424
15 | 0.028685 | 0.0071989 | -0.028666 | -0.0071873 | 1.8666e-05 | 1.1593e-05 | 0.042825 | 0.042826 | 0.042826 | 0.99678 | -0.061979 | 0.99607 | -0.075634 | 11.7653
16 | 0.011641 | 0.0029179 | -0.01164 | -0.0029172 | 1.2693e-06 | 6.6658e-07 | 0.017388 | 0.017388 | 0.017388 | 0.99622 | -0.072723 | 0.9961 | -0.075011 | 4.777
17 | -0.064476 | -0.016181 | 0.064524 | 0.016211 | 4.7738e-05 | 3.0372e-05 | 0.096212 | 0.096212 | 0.096212 | 0.99727 | -0.05246 | 0.99808 | -0.036947 | 26.4318
18 | 0.022579 | 0.0056616 | -0.02257 | -0.0056565 | 8.4459e-06 | 5.1479e-06 | 0.033731 | 0.033732 | 0.033732 | 0.99607 | -0.075634 | 0.99566 | -0.083486 | 9.2669
19 | 0.0060875 | 0.0015257 | -0.0060873 | -0.0015256 | 1.7617e-07 | 3.8813e-08 | 0.0090941 | 0.0090941 | 0.0090941 | 0.99607 | -0.075634 | 0.99604 | -0.076241 | 2.4984
20 | -0.075913 | -0.019066 | 0.075937 | 0.019081 | 2.3873e-05 | 1.5214e-05 | 0.11319 | 0.11319 | 0.11319 | 0.99808 | -0.036947 | 0.99842 | -0.030358 | 31.0967
21 | 0.019818 | 0.0049668 | -0.019814 | -0.0049643 | 4.1204e-06 | 2.4742e-06 | 0.029619 | 0.029619 | 0.029619 | 0.99566 | -0.083486 | 0.99543 | -0.087851 | 8.137
22 | -0.010977 | -0.0027517 | 0.01098 | 0.0027532 | 2.965e-06 | 1.5431e-06 | 0.016717 | 0.016717 | 0.016717 | 0.97713 | -0.4404 | 0.97742 | -0.43473 | 4.5925
23 | 0.0084767 | 0.0021255 | -0.0084738 | -0.0021242 | 2.918e-06 | 1.2828e-06 | 0.012909 | 0.012909 | 0.012909 | 0.97713 | -0.4404 | 0.97677 | -0.44762 | 3.5465
24 | 0.0025005 | 0.00062618 | -0.0025003 | -0.00062662 | 2.6728e-07 | -4.4461e-07 | 0.0038077 | 0.0038079 | 0.0038079 | 0.97713 | -0.4404 | 0.97702 | -0.44264 | 1.0461
25 | 0.021061 | 0.0052803 | -0.021058 | -0.0052784 | 3.1474e-06 | 1.912e-06 | 0.032064 | 0.032064 | 0.032064 | 0.97742 | -0.43473 | 0.97726 | -0.43786 | 8.8089
26 | -0.032042 | -0.0080335 | 0.032056 | 0.0080424 | 1.415e-05 | 8.8574e-06 | 0.048781 | 0.048781 | 0.048781 | 0.97742 | -0.43473 | 0.97789 | -0.42546 | 13.4013
27 | 0.0084738 | 0.0021242 | -0.0084714 | -0.0021231 | 2.4686e-06 | 1.0856e-06 | 0.012909 | 0.012909 | 0.012909 | 0.97677 | -0.44762 | 0.97646 | -0.45374 | 3.5466
28 | -0.02114 | -0.005299 | 0.021146 | 0.0053031 | 6.7682e-06 | 4.1118e-06 | 0.032134 | 0.032134 | 0.032134 | 0.97892 | -0.40542 | 0.97926 | -0.3987 | 8.828
29 | 0.02114 | 0.005299 | -0.021137 | -0.0052974 | 2.7104e-06 | 1.6467e-06 | 0.032134 | 0.032134 | 0.032134 | 0.97892 | -0.40542 | 0.97878 | -0.40811 | 8.828
30 | 0.042619 | 0.010709 | -0.042606 | -0.0107 | 1.3423e-05 | 8.4837e-06 | 0.064771 | 0.064771 | 0.064771 | 0.97926 | -0.3987 | 0.97892 | -0.4053 | 17.7943
31 | -0.066588 | -0.016719 | 0.066614 | 0.016736 | 2.6016e-05 | 1.6565e-05 | 0.10119 | 0.10119 | 0.10119 | 0.97926 | -0.3987 | 0.97968 | -0.39051 | 27.8005
32 | -0.089051 | -0.022368 | 0.089115 | 0.022408 | 6.3811e-05 | 4.0712e-05 | 0.13274 | 0.13274 | 0.13274 | 0.99842 | -0.030358 | 0.9992 | -0.015354 | 36.4663
33 | 0.0086686 | 0.0021728 | -0.0086675 | -0.0021723 | 1.0795e-06 | 4.6807e-07 | 0.012958 | 0.012958 | 0.012958 | 0.99543 | -0.087851 | 0.9953 | -0.090465 | 3.56
34 | 0.0028884 | 0.00072346 | -0.0028883 | -0.00072367 | 1.6898e-07 | -2.0606e-07 | 0.0043176 | 0.0043177 | 0.0043177 | 0.99543 | -0.087851 | 0.99537 | -0.089079 | 1.1862
35 | 0.0082573 | 0.0020681 | -0.0082565 | -0.0020677 | 7.9846e-07 | 3.2935e-07 | 0.012343 | 0.012343 | 0.012343 | 0.99543 | -0.087851 | 0.99533 | -0.089882 | 3.3909
36 | 0.019917 | 0.0049923 | -0.019916 | -0.0049917 | 9.7579e-07 | 5.8905e-07 | 0.030326 | 0.030326 | 0.030326 | 0.97726 | -0.43786 | 0.97721 | -0.43889 | 8.3313
37 | -0.035352 | -0.0088686 | 0.035363 | 0.0088753 | 1.0631e-05 | 6.6806e-06 | 0.053797 | 0.053797 | 0.053797 | 0.97789 | -0.42546 | 0.97821 | -0.41916 | 14.7795
38 | 0.040725 | 0.010229 | -0.040713 | -0.010222 | 1.1907e-05 | 7.5162e-06 | 0.061913 | 0.061913 | 0.061913 | 0.97892 | -0.4053 | 0.97861 | -0.41143 | 17.009
39 | -0.069068 | -0.017351 | 0.069094 | 0.017368 | 2.6231e-05 | 1.6707e-05 | 0.10492 | 0.10492 | 0.10492 | 0.97968 | -0.39051 | 0.98008 | -0.38256 | 28.8245
40 | 0.205 | 0.052272 | -0.20458 | -0.052008 | 0.00041242 | 0.00026335 | 0.30789 | 0.30789 | 0.30789 | 0.99177 | -0.15626 | 0.98959 | -0.19802 | 42.292
41 | -0.20871 | -0.053202 | 0.20889 | 0.05332 | 0.00018501 | 0.00011815 | 0.31346 | 0.31346 | 0.31346 | 0.99177 | -0.15626 | 0.99273 | -0.13791 | 43.0573
42 | 0.10847 | 0.027554 | -0.1082 | -0.027379 | 0.00027342 | 0.00017464 | 0.16324 | 0.16324 | 0.16324 | 0.98959 | -0.19802 | 0.98687 | -0.25053 | 44.8457
43 | -0.20889 | -0.05332 | 0.20952 | 0.053719 | 0.00062377 | 0.00039833 | 0.31346 | 0.31346 | 0.31346 | 0.99273 | -0.13791 | 0.99597 | -0.076313 | 43.0573
44 | 0.1082 | 0.027379 | -0.10819 | -0.027375 | 6.7782e-06 | 4.3294e-06 | 0.16324 | 0.16324 | 0.16324 | 0.98687 | -0.25053 | 0.9868 | -0.25184 | 44.8457
45 | -0.26338 | -0.067217 | 0.26435 | 0.06784 | 0.00097497 | 0.0006231 | 0.39392 | 0.39392 | 0.39392 | 0.99597 | -0.076313 | 1 | 0 | 54.1104
46 | 0.10244 | 0.025934 | -0.10233 | -0.025863 | 0.00011098 | 7.0872e-05 | 0.15457 | 0.15457 | 0.15457 | 0.9868 | -0.25184 | 0.98564 | -0.27443 | 42.4638
47 | 0.1049 | 0.026393 | -0.10483 | -0.02635 | 6.719e-05 | 4.2905e-05 | 0.15612 | 0.15612 | 0.15612 | 1 | 0 | 0.9993 | -0.013415 | 42.8911
48 | 0.088758 | 0.022461 | -0.088589 | -0.022353 | 0.00016925 | 0.000108 | 0.13408 | 0.13408 | 0.13408 | 0.98564 | -0.27443 | 0.98358 | -0.31424 | 36.8339
49 | 0.10483 | 0.02635 | -0.10482 | -0.026344 | 9.705e-06 | 6.1973e-06 | 0.15612 | 0.15612 | 0.15612 | 0.9993 | -0.013415 | 0.9992 | -0.015354 | 42.8911
50 | 0.088589 | 0.022353 | -0.088546 | -0.022325 | 4.319e-05 | 2.756e-05 | 0.13408 | 0.13408 | 0.13408 | 0.98358 | -0.31424 | 0.98306 | -0.32443 | 36.8339
51 | 0.079859 | 0.020148 | -0.079748 | -0.020078 | 0.00011026 | 7.0312e-05 | 0.12093 | 0.12093 | 0.12093 | 0.98306 | -0.32443 | 0.98158 | -0.35331 | 33.2215
52 | 0.008687 | 0.0021772 | -0.0086864 | -0.002177 | 5.9313e-07 | 2.6363e-07 | 0.013149 | 0.013149 | 0.013149 | 0.98306 | -0.32443 | 0.98299 | -0.32586 | 3.6124
53 | 0.076571 | 0.019263 | -0.07656 | -0.019256 | 1.1154e-05 | 7.111e-06 | 0.11618 | 0.11618 | 0.11618 | 0.9809 | -0.36648 | 0.98075 | -0.36953 | 31.9186
54 | -0.076571 | -0.019263 | 0.07662 | 0.019294 | 4.8222e-05 | 3.0742e-05 | 0.11618 | 0.11618 | 0.11618 | 0.9809 | -0.36648 | 0.98158 | -0.35331 | 31.9186
55 | 0.071299 | 0.017937 | -0.071254 | -0.017909 | 4.4353e-05 | 2.8258e-05 | 0.1082 | 0.1082 | 0.1082 | 0.98075 | -0.36953 | 0.98008 | -0.38256 | 29.7254
56 | 0.0058467 | 0.0014653 | -0.0058465 | -0.0014652 | 1.6443e-07 | 3.4277e-08 | 0.0088505 | 0.0088505 | 0.0088505 | 0.98299 | -0.32586 | 0.98296 | -0.32645 | 2.4315
57 | 0.037756 | 0.0094804 | -0.037742 | -0.0094716 | 1.3919e-05 | 8.7668e-06 | 0.057416 | 0.057416 | 0.057416 | 0.97861 | -0.41143 | 0.97821 | -0.41916 | 15.7737
58 | 0.001409 | 0.00035226 | -0.001409 | -0.00035235 | 1.1989e-08 | -8.597e-08 | 0.0021063 | 0.0021064 | 0.0021064 | 0.99526 | -0.091202 | 0.99525 | -0.091381 | 0.57867
59 | -0.001409 | -0.00035226 | 0.0014091 | 0.00035163 | 8.8397e-08 | -6.3402e-07 | 0.0021063 | 0.0021061 | 0.0021063 | 0.99526 | -0.091202 | 0.99533 | -0.089882 | 0.57866
60 | 0.001409 | 0.00035235 | -0.0014089 | -0.00035311 | 1.0598e-07 | -7.5976e-07 | 0.0021064 | 0.0021067 | 0.0021067 | 0.99525 | -0.091381 | 0.99517 | -0.092961 | 0.57875
61 | 0.017337 | 0.0043454 | -0.017335 | -0.0043445 | 1.4155e-06 | 8.3806e-07 | 0.026399 | 0.026399 | 0.026399 | 0.97721 | -0.43889 | 0.97712 | -0.44061 | 7.2525
62 | 0.0026056 | 0.00065298 | -0.0026056 | -0.00065303 | 2.8015e-08 | -4.2935e-08 | 0.0039444 | 0.0039444 | 0.0039444 | 0.98296 | -0.32645 | 0.98295 | -0.32668 | 1.0836
63 | 0.00091969 | 0.0002304 | -0.00091968 | -0.00023049 | 5.7196e-09 | -9.3738e-08 | 0.0014005 | 0.0014006 | 0.0014006 | 0.97712 | -0.44061 | 0.97712 | -0.44074 | 0.38477
64 | -0.01601 | -0.0040247 | 0.016013 | 0.0040264 | 2.9115e-06 | 1.7007e-06 | 0.024418 | 0.024418 | 0.024418 | 0.97581 | -0.466 | 0.976 | -0.46219 | 6.7081
65 | 0.014615 | 0.0036752 | -0.014591 | -0.0036613 | 2.4393e-05 | 1.3979e-05 | 0.022291 | 0.022292 | 0.022292 | 0.97581 | -0.466 | 0.97403 | -0.501 | 6.1241
66 | -0.018901 | -0.0047503 | 0.018904 | 0.0047519 | 2.6096e-06 | 1.5654e-06 | 0.028822 | 0.028822 | 0.028822 | 0.976 | -0.46219 | 0.97615 | -0.4593 | 7.9181
67 | 0.0028889 | 0.00072392 | -0.0028889 | -0.00072398 | 5.5004e-08 | -5.9285e-08 | 0.0044045 | 0.0044045 | 0.0044045 | 0.976 | -0.46219 | 0.97598 | -0.46259 | 1.21
68 | 0.013629 | 0.0034201 | -0.013623 | -0.003417 | 5.5773e-06 | 3.1427e-06 | 0.020822 | 0.020822 | 0.020822 | 0.97403 | -0.501 | 0.97359 | -0.50959 | 5.7204
69 | -0.020938 | -0.0052616 | 0.020963 | 0.0052766 | 2.4618e-05 | 1.4949e-05 | 0.031922 | 0.031922 | 0.031922 | 0.97615 | -0.4593 | 0.9774 | -0.4347 | 8.7699
70 | 0.001504 | 0.00037689 | -0.001504 | -0.00037694 | 7.9948e-09 | -4.5552e-08 | 0.002293 | 0.0022931 | 0.0022931 | 0.97598 | -0.46259 | 0.97597 | -0.46271 | 0.62996
71 | 0.012832 | 0.0032187 | -0.012821 | -0.0032124 | 1.1403e-05 | 6.3159e-06 | 0.019613 | 0.019613 | 0.019613 | 0.97359 | -0.50959 | 0.97265 | -0.52825 | 5.3883
72 | 0.0017715 | 0.00044233 | -0.0017714 | -0.00044261 | 7.2143e-08 | -2.7903e-07 | 0.0027095 | 0.0027097 | 0.0027097 | 0.97265 | -0.52825 | 0.97261 | -0.5291 | 0.74441
73 | 0.011049 | 0.0027701 | -0.011046 | -0.0027683 | 3.3199e-06 | 1.7403e-06 | 0.016904 | 0.016904 | 0.016904 | 0.97265 | -0.52825 | 0.97233 | -0.53455 | 4.644
74 | 0.0022763 | 0.00057021 | -0.0022761 | -0.00057045 | 1.1419e-07 | -2.4471e-07 | 0.0034653 | 0.0034654 | 0.0034654 | 0.9774 | -0.4347 | 0.97735 | -0.43576 | 0.95204
75 | 0.0017714 | 0.00044261 | -0.0017711 | -0.00044375 | 2.9396e-07 | -1.1364e-06 | 0.0027097 | 0.0027101 | 0.0027101 | 0.97261 | -0.5291 | 0.97243 | -0.53259 | 0.74454
76 | 0.0013432 | 0.00033643 | -0.0013431 | -0.00033662 | 2.4964e-08 | -1.9864e-07 | 0.0020079 | 0.002008 | 0.002008 | 0.99537 | -0.089079 | 0.99535 | -0.08947 | 0.55164
77 | 0.0017711 | 0.00044375 | -0.0017711 | -0.00044388 | 3.3113e-08 | -1.2795e-07 | 0.0027101 | 0.0027102 | 0.0027102 | 0.97243 | -0.53259 | 0.97241 | -0.53298 | 0.74456

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38496 | 0.097758

## res_load
| p_mw | q_mvar
0 | 0.007096 | 0.0017784
1 | 0.02933 | 0.0073509
2 | 0.01277 | 0.0032005
3 | 0.017203 | 0.0043115
4 | 0.0028149 | 0.00070548
5 | 0.0099953 | 0.0025051
6 | 0.014124 | 0.0035397
7 | 0.01164 | 0.0029172
8 | 0.011389 | 0.0028544
9 | 0.002752 | 0.00068972
10 | 0.0060873 | 0.0015256
11 | 0.0025003 | 0.00062662
12 | 0.0028224 | 0.00070736
13 | 0.021137 | 0.0052974
14 | 0.013114 | 0.0032868
15 | 0.0011416 | 0.0002861
16 | 0.0032967 | 0.00082624
17 | 0.0084714 | 0.0021231
18 | 0.0018805 | 0.00047129
19 | 0.0024541 | 0.00061505
20 | 0.0037137 | 0.00093074
21 | 0.053859 | 0.013498
22 | 0.0057498 | 0.001441
23 | 0.014061 | 0.0035241
24 | 0.013574 | 0.003402
25 | 0.0052618 | 0.0013187
26 | 0.0031285 | 0.00078409
27 | 0.015704 | 0.0039358
28 | 0.0028397 | 0.00071171
29 | 0.0021599 | 0.00054133
30 | 0.0029572 | 0.00074115
31 | 0.0068474 | 0.0017161
32 | 0.002579 | 0.00064635
33 | 0.0023792 | 0.00059627
34 | 0.0014089 | 0.00035311
35 | 0.0032409 | 0.00081224
36 | 0.016416 | 0.0041141
37 | 0.00091968 | 0.00023049
38 | 0.0026056 | 0.00065303
39 | 0.0013945 | 0.00034948
40 | 0.0009621 | 0.00024113
41 | 0.0020339 | 0.00050974
42 | 0.0013849 | 0.00034708
43 | 0.00079111 | 0.00019827
44 | 0.001504 | 0.00037694
45 | 0.0022761 | 0.00057045
46 | 0.011046 | 0.0027683
47 | 0.0027604 | 0.00069183
48 | 0.0086675 | 0.0021723
49 | 0.0015451 | 0.00038724
50 | 0.0013431 | 0.00033662
51 | 0.0017711 | 0.00044388

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1