## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-52_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-52_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-52_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2196-52_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2196-52_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2196-52_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_2196-52_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2196-52_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2196-52_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_2196-52_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_2196-52_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2196-52_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2196-52_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2196-52_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2196-52_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2196-52_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2196-52_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_2196-52_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2196-52_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2196-52_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_2196-52_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_2196-52_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_2196-52_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2196-52_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2196-52_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2196-52_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_2196-52_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2196-52_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2196-52_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2196-52_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2196-52_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2196-52_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2196-52_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2196-52_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2196-52_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2196-52_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2196-52_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_MV_382_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-52_0_4_load_0 | 0 | 0.031975 | 0.0080136 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-52_0_4_load_16 | 5 | 0.016675 | 0.0041793 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-52_0_4_load_17 | 6 | 0.01891 | 0.0047394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-52_0_4_load_33 | 8 | 0.012354 | 0.0030962 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-52_0_4_load_30 | 9 | 0.031772 | 0.0079627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-52_0_4_load_26 | 13 | 0.031696 | 0.0079439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-52_0_4_load_31 | 16 | 0.0045887 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-52_0_4_load_35 | 19 | 0.017434 | 0.0043695 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-52_0_4_load_36 | 20 | 0.042935 | 0.01076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-52_0_4_load_37 | 21 | 0.054735 | 0.013718 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-52_0_4_load_29 | 23 | 0.005944 | 0.0014897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-52_0_4_load_32 | 25 | 0.008164 | 0.0020461 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-52_0_4_load_22 | 28 | 0.013325 | 0.0033396 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-52_0_4_load_18 | 30 | 0.096859 | 0.024275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-52_0_4_load_25 | 31 | 0.043948 | 0.011014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-52_0_4_load_27 | 32 | 0.047617 | 0.011934 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-52_0_4_load_21 | 33 | 0.028561 | 0.0071581 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-52_0_4_load_24 | 35 | 0.013323 | 0.003339 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-52_0_4_load_28 | 36 | 0.0038375 | 0.00096178 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-52_0_4_line_0 |  | 0 | 1 | 0.042877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-52_0_4_line_1 |  | 0 | 2 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2196-52_0_4_line_2 |  | 1 | 3 | 0.036118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-52_0_4_line_3 |  | 1 | 4 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-52_0_4_line_4 |  | 2 | 5 | 0.01277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2196-52_0_4_line_5 |  | 3 | 6 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-52_0_4_line_6 |  | 4 | 7 | 0.0184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-52_0_4_line_7 |  | 4 | 8 | 0.033436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-52_0_4_line_8 |  | 5 | 12 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2196-52_0_4_line_9 |  | 7 | 9 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-52_0_4_line_10 |  | 8 | 29 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-52_0_4_line_11 |  | 10 | 11 | 0.041504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2196-52_0_4_line_12 |  | 10 | 12 | 0.016245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2196-52_0_4_line_13 |  | 10 | 13 | 0.0071977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2196-52_0_4_line_14 |  | 11 | 21 | 0.021522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2196-52_0_4_line_15 |  | 11 | 22 | 0.060865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-52_0_4_line_16 |  | 13 | 17 | 0.032609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2196-52_0_4_line_17 |  | 14 | 15 | 0.07918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-52_0_4_line_18 |  | 14 | 16 | 0.054714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-52_0_4_line_19 |  | 15 | 23 | 0.058414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2196-52_0_4_line_20 |  | 15 | 17 | 0.049351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2196-52_0_4_line_21 |  | 16 | 24 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2196-52_0_4_line_22 |  | 18 | 19 | 0.022739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-52_0_4_line_23 |  | 18 | 20 | 0.032042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2196-52_0_4_line_24 |  | 19 | 29 | 0.033572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2196-52_0_4_line_25 |  | 22 | 31 | 0.032453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2196-52_0_4_line_26 |  | 23 | 32 | 0.008202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2196-52_0_4_line_27 |  | 24 | 25 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2196-52_0_4_line_28 |  | 26 | 27 | 0.044266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2196-52_0_4_line_29 |  | 26 | 28 | 0.04495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2196-52_0_4_line_30 |  | 27 | 30 | 0.057133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2196-52_0_4_line_31 |  | 28 | 33 | 0.0070538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2196-52_0_4_line_32 |  | 32 | 36 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2196-52_0_4_line_33 |  | 33 | 34 | 0.025652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2196-52_0_4_line_34 |  | 34 | 35 | 0.0028773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2196-52_0_4_line_35 |  | 35 | 36 | 0.027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-52_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 37 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2579550.9729 | 1184242.7973 | 2579537.0127 | 1184238.4207 | 2579536.0553 | 1184237.4457 | 2579536.0783 | 1184235.2556 | 2579536.4774 | 1184233.6756 | 2579543.1175 | 1184211.5919
1 | 2579545.2519 | 1184194.9142 | 2579546.9372 | 1184198.8883 | 2579543.1175 | 1184211.5919
2 | 2579532.8294 | 1184260.491 | 2579532.6908 | 1184253.4544 | 2579533.568 | 1184251.0835 | 2579535.1827 | 1184250.0664 | 2579536.5954 | 1184250.2505 | 2579536.8953 | 1184246.4475 | 2579548.8283 | 1184249.5415 | 2579549.9911 | 1184245.869 | 2579550.9729 | 1184242.7973
3 | 2579550.9729 | 1184242.7973 | 2579549.9911 | 1184245.869 | 2579571.9879 | 1184252.2858 | 2579570.9678 | 1184255.2909
4 | 2579545.2519 | 1184194.9142 | 2579548.6183 | 1184182.596
5 | 2579532.8294 | 1184260.491 | 2579533.0441 | 1184263.0027 | 2579534.3364 | 1184272.1574
6 | 2579570.9678 | 1184255.2909 | 2579571.9879 | 1184252.2858 | 2579574.4066 | 1184245.3517 | 2579574.9974 | 1184244.0268 | 2579578.0158 | 1184238.3468
7 | 2579570.9678 | 1184255.2909 | 2579594.258 | 1184267.2063 | 2579599.029 | 1184272.6977
8 | 2579552.5867 | 1184168.0751 | 2579548.6183 | 1184182.596
9 | 2579578.0158 | 1184238.3468 | 2579584.1635 | 1184226.7745
10 | 2579615.2251 | 1184291.7474 | 2579612.1892 | 1184287.8446 | 2579599.029 | 1184272.6977
11 | 2579557.5102 | 1184152.5946 | 2579579.3142 | 1184162.7808 | 2579583.3051 | 1184164.7015 | 2579583.7373 | 1184163.8663 | 2579585.0264 | 1184161.3828 | 2579586.1032 | 1184159.3113 | 2579587.7696 | 1184160.0171 | 2579592.8848 | 1184160.3554
12 | 2579552.5867 | 1184168.0751 | 2579553.9308 | 1184163.8461 | 2579557.5102 | 1184152.5946
13 | 2579557.5102 | 1184152.5946 | 2579550.916 | 1184149.7096
14 | 2579592.8848 | 1184160.3554 | 2579593.9342 | 1184156.9945 | 2579594.6063 | 1184150.411 | 2579605.9456 | 1184151.7173
15 | 2579592.8848 | 1184160.3554 | 2579592.1194 | 1184170.8857 | 2579616.8237 | 1184181.0843 | 2579636.027 | 1184167.4005
16 | 2579520.3392 | 1184139.6042 | 2579529.5663 | 1184141.5069 | 2579531.29 | 1184141.123 | 2579550.916 | 1184149.7096
17 | 2579522.437 | 1184090.3269 | 2579523.7945 | 1184074.4362 | 2579527.944 | 1184062.4936 | 2579536.082 | 1184045.0455 | 2579539.6055 | 1184037.5072 | 2579542.47 | 1184033.6732 | 2579546.8122 | 1184028.9114 | 2579556.1226 | 1184021.6868
18 | 2579556.1226 | 1184021.6868 | 2579565.0519 | 1184016.8092 | 2579590.2134 | 1184006.5067 | 2579606.4626 | 1184000.4247
19 | 2579522.437 | 1184090.3269 | 2579568.3952 | 1184088.1016 | 2579580.6689 | 1184086.3222
20 | 2579522.437 | 1184090.3269 | 2579520.1727 | 1184137.7816 | 2579520.3392 | 1184139.6042
21 | 2579624.1448 | 1183993.8063 | 2579606.4626 | 1184000.4247
22 | 2579651.9988 | 1184249.0329 | 2579636.7758 | 1184265.9604
23 | 2579627.0242 | 1184228.8743 | 2579651.9988 | 1184249.0329
24 | 2579636.7758 | 1184265.9604 | 2579636.0382 | 1184266.7744 | 2579615.2251 | 1184291.7474
25 | 2579636.027 | 1184167.4005 | 2579635.3797 | 1184134.9539
26 | 2579580.6689 | 1184086.3222 | 2579588.7861 | 1184085.1455
27 | 2579624.1448 | 1183993.8063 | 2579631.6748 | 1184003.8302
28 | 2579702.154 | 1184036.0846 | 2579707.4559 | 1184080.0228
29 | 2579702.154 | 1184036.0846 | 2579663.7428 | 1184059.4308
30 | 2579707.4559 | 1184080.0228 | 2579699.514 | 1184085.7083 | 2579679.0561 | 1184107.656 | 2579669.8713 | 1184122.3898
31 | 2579663.7428 | 1184059.4308 | 2579657.715 | 1184063.0945 | 2579657.715 | 1184063.0945
32 | 2579604.8419 | 1184081.7876 | 2579596.1197 | 1184084.0824 | 2579588.7861 | 1184085.1455
33 | 2579634.1483 | 1184073.2246 | 2579657.715 | 1184063.0945
34 | 2579634.1483 | 1184073.2246 | 2579631.4288 | 1184074.1645
35 | 2579631.4288 | 1184074.1645 | 2579623.8178 | 1184076.795 | 2579604.8419 | 1184081.7876

## bus_geodata
| x | y | coords
0 | 2579543.1175 | 1184211.5919
1 | 2579550.9729 | 1184242.7973
2 | 2579545.2519 | 1184194.9142
3 | 2579532.8294 | 1184260.491
4 | 2579570.9678 | 1184255.2909
5 | 2579548.6183 | 1184182.596
6 | 2579534.3364 | 1184272.1574
7 | 2579578.0158 | 1184238.3468
8 | 2579599.029 | 1184272.6977
9 | 2579584.1635 | 1184226.7745
10 | 2579557.5103 | 1184152.5946
11 | 2579592.8848 | 1184160.3554
12 | 2579552.5867 | 1184168.0751
13 | 2579550.916 | 1184149.7096
14 | 2579556.1226 | 1184021.6868
15 | 2579522.437 | 1184090.3269
16 | 2579606.4626 | 1184000.4247
17 | 2579520.3392 | 1184139.6042
18 | 2579651.9988 | 1184249.0329
19 | 2579636.7758 | 1184265.9604
20 | 2579627.0242 | 1184228.8743
21 | 2579605.9456 | 1184151.7173
22 | 2579636.027 | 1184167.4005
23 | 2579580.6689 | 1184086.3222
24 | 2579624.1448 | 1183993.8063
25 | 2579631.6748 | 1184003.8302
26 | 2579702.154 | 1184036.0846
27 | 2579707.4559 | 1184080.0228
28 | 2579663.7428 | 1184059.4308
29 | 2579615.2251 | 1184291.7474
30 | 2579669.8713 | 1184122.3898
31 | 2579635.3797 | 1184134.9539
32 | 2579588.7861 | 1184085.1455
33 | 2579657.715 | 1184063.0945
34 | 2579634.1483 | 1184073.2246
35 | 2579631.4288 | 1184074.1645
36 | 2579604.8419 | 1184081.7876
37 | 2579592.8848 | 1184160.3554

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99061 | -0.17872 | 0.031975 | 0.0080136
1 | 0.98571 | -0.27318 | 0 | 0
2 | 0.99187 | -0.15449 | 0 | 0
3 | 0.98508 | -0.28544 | 0 | 0
4 | 0.98287 | -0.32828 | 0 | 0
5 | 0.99233 | -0.14571 | 0.016675 | 0.0041793
6 | 0.98487 | -0.28943 | 0.01891 | 0.0047394
7 | 0.98233 | -0.33884 | 0 | 0
8 | 0.98061 | -0.37226 | 0.012354 | 0.0030962
9 | 0.98194 | -0.34636 | 0.031772 | 0.0079627
10 | 0.99358 | -0.12191 | 0 | 0
11 | 0.99766 | -0.044178 | 0 | 0
12 | 0.99293 | -0.13425 | 0 | 0
13 | 0.99315 | -0.12998 | 0.031696 | 0.0079439
14 | 0.98801 | -0.22881 | 0 | 0
15 | 0.98893 | -0.21079 | 0 | 0
16 | 0.98737 | -0.24128 | 0.0045887 | 0.00115
17 | 0.99147 | -0.16205 | 0 | 0
18 | 0.97641 | -0.45441 | 0 | 0
19 | 0.97732 | -0.43658 | 0.017434 | 0.0043695
20 | 0.97514 | -0.47959 | 0.042935 | 0.01076
21 | 1 | 0 | -0.47904 | -0.12253
22 | 0.99522 | -0.091135 | 0 | 0
23 | 0.9861 | -0.26547 | 0.005944 | 0.0014897
24 | 0.98723 | -0.24404 | 0 | 0
25 | 0.98713 | -0.24587 | 0.008164 | 0.0020461
26 | 0.98202 | -0.34435 | 0 | 0
27 | 0.97803 | -0.42216 | 0 | 0
28 | 0.98304 | -0.3247 | 0.013325 | 0.0033396
29 | 0.97921 | -0.39966 | 0 | 0
30 | 0.97287 | -0.52353 | 0.096859 | 0.024275
31 | 0.99392 | -0.11627 | 0.043948 | 0.011014
32 | 0.98571 | -0.27296 | 0.047617 | 0.011934
33 | 0.98322 | -0.32119 | 0.028561 | 0.0071581
34 | 0.98405 | -0.30517 | 0 | 0
35 | 0.98414 | -0.30337 | 0.013323 | 0.003339
36 | 0.98512 | -0.28445 | 0.0038375 | 0.00096178
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.12472 | 0.031765 | -0.12415 | -0.031404 | 0.00056541 | 0.00036131 | 0.18752 | 0.18752 | 0.18752 | 0.99061 | -0.17872 | 0.98571 | -0.27318 | 51.5174
1 | -0.15669 | -0.039779 | 0.15688 | 0.039895 | 0.00018291 | 0.00011661 | 0.23555 | 0.23555 | 0.23555 | 0.99061 | -0.17872 | 0.99187 | -0.15449 | 32.3562
2 | 0.018925 | 0.0047481 | -0.018914 | -0.0047415 | 1.1056e-05 | 6.6158e-06 | 0.028571 | 0.028571 | 0.028571 | 0.98571 | -0.27318 | 0.98508 | -0.28544 | 7.8491
3 | 0.10523 | 0.026656 | -0.10495 | -0.026478 | 0.00027772 | 0.00017737 | 0.15895 | 0.15895 | 0.15895 | 0.98571 | -0.27318 | 0.98287 | -0.32828 | 43.6684
4 | -0.15688 | -0.039895 | 0.15694 | 0.039937 | 6.6426e-05 | 4.1853e-05 | 0.23555 | 0.23555 | 0.23555 | 0.99187 | -0.15449 | 0.99233 | -0.14571 | 16.1781
5 | 0.018914 | 0.0047415 | -0.01891 | -0.0047394 | 3.6018e-06 | 2.1554e-06 | 0.028571 | 0.028571 | 0.028571 | 0.98508 | -0.28544 | 0.98487 | -0.28943 | 7.8492
6 | 0.031799 | 0.0079799 | -0.031783 | -0.0079699 | 1.5995e-05 | 1.0004e-05 | 0.048146 | 0.048146 | 0.048146 | 0.98287 | -0.32828 | 0.98233 | -0.33884 | 13.227
7 | 0.073151 | 0.018498 | -0.072997 | -0.0184 | 0.00015395 | 9.8105e-05 | 0.11081 | 0.11081 | 0.11081 | 0.98287 | -0.32828 | 0.98061 | -0.37226 | 30.4415
8 | -0.17362 | -0.044116 | 0.17371 | 0.044177 | 9.581e-05 | 6.054e-05 | 0.26056 | 0.26056 | 0.26056 | 0.99233 | -0.14571 | 0.99293 | -0.13425 | 17.8954
9 | 0.031783 | 0.0079699 | -0.031772 | -0.0079627 | 1.1391e-05 | 7.1243e-06 | 0.048146 | 0.048146 | 0.048146 | 0.98233 | -0.33884 | 0.98194 | -0.34636 | 13.227
10 | 0.060643 | 0.015304 | -0.060564 | -0.015254 | 7.9486e-05 | 5.0556e-05 | 0.092061 | 0.092061 | 0.092061 | 0.98061 | -0.37226 | 0.97921 | -0.39966 | 25.2914
11 | -0.43065 | -0.10973 | 0.43227 | 0.11076 | 0.0016218 | 0.0010358 | 0.6456 | 0.64559 | 0.6456 | 0.99358 | -0.12191 | 0.99766 | -0.044178 | 44.3404
12 | 0.17382 | 0.044242 | -0.17371 | -0.044177 | 0.00010339 | 6.533e-05 | 0.26056 | 0.26056 | 0.26056 | 0.99358 | -0.12191 | 0.99293 | -0.13425 | 17.8954
13 | 0.25683 | 0.065486 | -0.25673 | -0.065422 | 0.00010004 | 6.3653e-05 | 0.38504 | 0.38504 | 0.38504 | 0.99358 | -0.12191 | 0.99315 | -0.12998 | 26.445
14 | -0.47637 | -0.12187 | 0.47739 | 0.12253 | 0.0010211 | 0.00065238 | 0.71139 | 0.71139 | 0.71139 | 0.99766 | -0.044178 | 1 | 0 | 48.8591
15 | 0.044099 | 0.01111 | -0.044 | -0.011048 | 9.8804e-05 | 6.2442e-05 | 0.065794 | 0.065795 | 0.065795 | 0.99766 | -0.044178 | 0.99522 | -0.091135 | 18.0754
16 | 0.22504 | 0.057478 | -0.22469 | -0.057257 | 0.00034833 | 0.00022125 | 0.33755 | 0.33755 | 0.33755 | 0.99315 | -0.12998 | 0.99147 | -0.16205 | 23.1834
17 | -0.012762 | -0.003201 | 0.012773 | 0.003207 | 1.097e-05 | 6.0059e-06 | 0.019221 | 0.019221 | 0.019221 | 0.98801 | -0.22881 | 0.98893 | -0.21079 | 5.2806
18 | 0.012762 | 0.003201 | -0.012754 | -0.0031969 | 7.5807e-06 | 4.1514e-06 | 0.019221 | 0.019222 | 0.019222 | 0.98801 | -0.22881 | 0.98737 | -0.24128 | 5.2807
19 | 0.21139 | 0.053715 | -0.21083 | -0.053363 | 0.00055494 | 0.00035217 | 0.31833 | 0.31833 | 0.31833 | 0.98893 | -0.21079 | 0.9861 | -0.26547 | 21.8634
20 | -0.22416 | -0.056922 | 0.22469 | 0.057257 | 0.00052716 | 0.00033485 | 0.33755 | 0.33755 | 0.33755 | 0.98893 | -0.21079 | 0.99147 | -0.16205 | 23.1835
21 | 0.0081657 | 0.0020468 | -0.0081647 | -0.0020464 | 1.0723e-06 | 4.448e-07 | 0.012306 | 0.012306 | 0.012306 | 0.98737 | -0.24128 | 0.98723 | -0.24404 | 3.3809
22 | -0.042986 | -0.010793 | 0.043023 | 0.010816 | 3.6602e-05 | 2.314e-05 | 0.065516 | 0.065516 | 0.065516 | 0.97641 | -0.45441 | 0.97732 | -0.43658 | 17.999
23 | 0.042986 | 0.010793 | -0.042935 | -0.01076 | 5.1576e-05 | 3.2609e-05 | 0.065516 | 0.065516 | 0.065516 | 0.97641 | -0.45441 | 0.97514 | -0.47959 | 17.999
24 | -0.060457 | -0.015186 | 0.060564 | 0.015254 | 0.0001067 | 6.7865e-05 | 0.092061 | 0.092061 | 0.092061 | 0.97732 | -0.43658 | 0.97921 | -0.39966 | 25.2914
25 | 0.044 | 0.011048 | -0.043948 | -0.011014 | 5.2683e-05 | 3.3296e-05 | 0.065795 | 0.065795 | 0.065795 | 0.99522 | -0.091135 | 0.99392 | -0.11627 | 18.0755
26 | 0.20489 | 0.051873 | -0.20481 | -0.051827 | 7.3591e-05 | 4.668e-05 | 0.30936 | 0.30936 | 0.30936 | 0.9861 | -0.26547 | 0.98571 | -0.27296 | 21.2474
27 | 0.0081647 | 0.0020464 | -0.008164 | -0.0020461 | 7.1139e-07 | 2.9515e-07 | 0.012306 | 0.012306 | 0.012306 | 0.98723 | -0.24404 | 0.98713 | -0.24587 | 3.3809
28 | 0.097694 | 0.024808 | -0.09733 | -0.024575 | 0.00036433 | 0.00023261 | 0.14815 | 0.14815 | 0.14815 | 0.98202 | -0.34435 | 0.97803 | -0.42216 | 40.6999
29 | -0.097694 | -0.024808 | 0.097786 | 0.024865 | 9.2488e-05 | 5.6915e-05 | 0.14815 | 0.14815 | 0.14815 | 0.98202 | -0.34435 | 0.98304 | -0.3247 | 10.175
30 | 0.09733 | 0.024575 | -0.096859 | -0.024275 | 0.00047023 | 0.00030023 | 0.14815 | 0.14815 | 0.14815 | 0.97803 | -0.42216 | 0.97287 | -0.52353 | 40.7
31 | -0.11111 | -0.028205 | 0.11113 | 0.028216 | 1.8735e-05 | 1.1633e-05 | 0.16832 | 0.16832 | 0.16832 | 0.98304 | -0.3247 | 0.98322 | -0.32119 | 11.5602
32 | 0.1572 | 0.039893 | -0.15711 | -0.039838 | 8.6865e-05 | 5.4757e-05 | 0.23748 | 0.23748 | 0.23748 | 0.98571 | -0.27296 | 0.98512 | -0.28445 | 16.3105
33 | -0.13969 | -0.035374 | 0.1398 | 0.035442 | 0.00010762 | 6.7572e-05 | 0.21154 | 0.21154 | 0.21154 | 0.98322 | -0.32119 | 0.98405 | -0.30517 | 14.5289
34 | -0.1398 | -0.035442 | 0.13981 | 0.03545 | 1.2071e-05 | 7.5793e-06 | 0.21154 | 0.21154 | 0.21154 | 0.98405 | -0.30517 | 0.98414 | -0.30337 | 14.5289
35 | -0.15313 | -0.038789 | 0.15327 | 0.038876 | 0.00013927 | 8.7722e-05 | 0.23168 | 0.23168 | 0.23168 | 0.98414 | -0.30337 | 0.98512 | -0.28445 | 15.9124

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53378 | 0.13624

## res_load
| p_mw | q_mvar
0 | 0.031975 | 0.0080136
1 | 0.016675 | 0.0041793
2 | 0.01891 | 0.0047394
3 | 0.012354 | 0.0030962
4 | 0.031772 | 0.0079627
5 | 0.031696 | 0.0079439
6 | 0.0045887 | 0.00115
7 | 0.017434 | 0.0043695
8 | 0.042935 | 0.01076
9 | 0.054735 | 0.013718
10 | 0.005944 | 0.0014897
11 | 0.008164 | 0.0020461
12 | 0.013325 | 0.0033396
13 | 0.096859 | 0.024275
14 | 0.043948 | 0.011014
15 | 0.047617 | 0.011934
16 | 0.028561 | 0.0071581
17 | 0.013323 | 0.003339
18 | 0.0038375 | 0.00096178

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1