## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-5_0_3_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_2196-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2196-5_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_2196-5_0_3_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_2196-5_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2196-5_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2196-5_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2196-5_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_2196-5_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2196-5_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2196-5_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_2196-5_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2196-5_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2196-5_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2196-5_0_3_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_2196-5_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2196-5_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2196-5_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2196-5_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2196-5_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2196-5_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2196-5_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2196-5_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2196-5_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2196-5_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2196-5_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2196-5_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2196-5_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2196-5_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2196-5_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_MV_376_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-5_0_3_load_0 | 0 | 0.028125 | 0.0070487 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-5_0_3_load_1 | 1 | 0.0075011 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-5_0_3_load_2 | 5 | 0.0067818 | 0.0016997 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-5_0_3_load_27 | 7 | 0.0061917 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-5_0_3_load_21 | 10 | 0.0012255 | 0.00030714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-5_0_3_load_34 | 12 | 0.0045074 | 0.0011297 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-5_0_3_load_31 | 14 | 0.002026 | 0.00050777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-5_0_3_load_8 | 15 | 0.00068795 | 0.00017242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-5_0_3_load_5 | 16 | 0.030438 | 0.0076286 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-5_0_3_load_10 | 18 | 0.044537 | 0.011162 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-5_0_3_load_11 | 20 | 0.0062549 | 0.0015676 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-5_0_3_load_13 | 21 | 0.0083091 | 0.0020825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-5_0_3_load_32 | 22 | 0.014949 | 0.0037466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-5_0_3_load_26 | 24 | 0.014122 | 0.0035393 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-5_0_3_load_14 | 26 | 0.01461 | 0.0036615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-5_0_3_load_15 | 27 | 0.00381 | 0.00095488 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-5_0_3_load_17 | 29 | 0.026767 | 0.0067084 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-5_0_3_load_18 | 30 | 0.0018746 | 0.00046982 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-5_0_3_load_35 | 31 | 0.0054281 | 0.0013604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-5_0_3_line_0 |  | 0 | 1 | 0.083816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-5_0_3_line_1 |  | 0 | 2 | 0.077447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-5_0_3_line_2 |  | 1 | 3 | 0.11508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-5_0_3_line_3 |  | 1 | 4 | 0.18914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-5_0_3_line_4 |  | 2 | 7 | 0.058271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-5_0_3_line_5 |  | 3 | 6 | 0.045433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-5_0_3_line_6 |  | 3 | 8 | 0.017428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-5_0_3_line_7 |  | 4 | 9 | 0.054093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-5_0_3_line_8 |  | 4 | 10 | 0.15865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2196-5_0_3_line_9 |  | 5 | 6 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-5_0_3_line_10 |  | 6 | 13 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-5_0_3_line_11 |  | 8 | 15 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2196-5_0_3_line_12 |  | 8 | 16 | 0.015462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2196-5_0_3_line_13 |  | 9 | 22 | 0.022757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2196-5_0_3_line_14 |  | 9 | 11 | 0.084926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2196-5_0_3_line_15 |  | 11 | 12 | 0.09662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-5_0_3_line_16 |  | 13 | 14 | 0.060097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2196-5_0_3_line_17 |  | 15 | 19 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-5_0_3_line_18 |  | 16 | 17 | 0.0071894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2196-5_0_3_line_19 |  | 17 | 18 | 0.04331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2196-5_0_3_line_20 |  | 18 | 20 | 0.0243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2196-5_0_3_line_21 |  | 19 | 21 | 0.0065397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2196-5_0_3_line_22 |  | 21 | 23 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-5_0_3_line_23 |  | 23 | 24 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2196-5_0_3_line_24 |  | 23 | 25 | 0.026793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2196-5_0_3_line_25 |  | 25 | 31 | 0.010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2196-5_0_3_line_26 |  | 25 | 28 | 0.037426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2196-5_0_3_line_27 |  | 26 | 27 | 0.0021019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2196-5_0_3_line_28 |  | 26 | 28 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2196-5_0_3_line_29 |  | 27 | 29 | 0.0016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2196-5_0_3_line_30 |  | 28 | 30 | 0.004207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-5_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 32 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2578690.1561 | 1182935.585 | 2578675.6593 | 1182935.8814 | 2578676.0135 | 1182945.2627 | 2578676.3051 | 1182956.3675 | 2578673.0776 | 1182959.0248 | 2578669.4125 | 1182960.9945 | 2578662.4263 | 1182962.9316 | 2578656.239 | 1182964.1099 | 2578648.7584 | 1182964.4368 | 2578629.5637 | 1182961.3432
1 | 2578690.1561 | 1182935.585 | 2578733.7191 | 1182871.5519
2 | 2578540.4445 | 1182914.4326 | 2578542.9351 | 1182914.9239 | 2578588.9953 | 1182921.6731 | 2578595.7726 | 1182946.6173 | 2578598.762 | 1182954.1883 | 2578603.8883 | 1182957.3271 | 2578623.2523 | 1182960.326 | 2578629.5637 | 1182961.3432
3 | 2578629.5637 | 1182961.3432 | 2578661.4232 | 1183147.7757
4 | 2578733.7191 | 1182871.5519 | 2578758.9438 | 1182878.0432 | 2578771.0526 | 1182884.6035 | 2578784.0177 | 1182897.7335
5 | 2578547.5207 | 1182869.5616 | 2578540.4445 | 1182914.4326
6 | 2578524.4176 | 1182915.9577 | 2578527.0392 | 1182914.6587 | 2578528.62 | 1182912.6631 | 2578540.4445 | 1182914.4326
7 | 2578661.4232 | 1183147.7757 | 2578664.9377 | 1183195.5213 | 2578667.1342 | 1183201.3276
8 | 2578661.4232 | 1183147.7757 | 2578622.4983 | 1183152.5397 | 2578593.0374 | 1183158.7596 | 2578573.6327 | 1183165.5217 | 2578556.2621 | 1183173.2214 | 2578543.6079 | 1183182.6051 | 2578532.4746 | 1183194.5958 | 2578522.9448 | 1183209.4671
9 | 2578547.5207 | 1182869.5616 | 2578576.2325 | 1182874.1106
10 | 2578536.8829 | 1182864.5306 | 2578535.4945 | 1182869.0824 | 2578547.5207 | 1182869.5616
11 | 2578524.4176 | 1182915.9577 | 2578509.8606 | 1182913.958
12 | 2578524.4176 | 1182915.9577 | 2578527.4139 | 1182919.0819 | 2578538.2504 | 1182921.6368
13 | 2578667.1342 | 1183201.3276 | 2578659.1013 | 1183200.8116 | 2578646.2272 | 1183193.5872
14 | 2578667.1342 | 1183201.3276 | 2578670.8152 | 1183203.8268 | 2578695.616 | 1183215.9779 | 2578716.2714 | 1183228.1105 | 2578731.8936 | 1183239.6274 | 2578733.8383 | 1183243.3447 | 2578733.9225 | 1183245.5455 | 2578732.9793 | 1183248.6616
15 | 2578659.0813 | 1183242.1776 | 2578671.3022 | 1183218.3326 | 2578679.5354 | 1183219.3593 | 2578698.5883 | 1183225.2721 | 2578714.1844 | 1183233.732 | 2578732.9793 | 1183248.6616
16 | 2578542.5619 | 1182830.2702 | 2578533.9612 | 1182829.1005 | 2578527.6722 | 1182831.7578 | 2578522.6333 | 1182861.4136 | 2578536.8829 | 1182864.5306
17 | 2578492.7952 | 1182911.6138 | 2578509.8606 | 1182913.958
18 | 2578545.2479 | 1182923.2866 | 2578538.2504 | 1182921.6368
19 | 2578545.2479 | 1182923.2866 | 2578547.1386 | 1182926.7816 | 2578554.8487 | 1182930.8449 | 2578554.4689 | 1182935.6266 | 2578553.8737 | 1182942.0654 | 2578551.9427 | 1182946.4635 | 2578552.8911 | 1182953.297 | 2578555.5036 | 1182960.4935
20 | 2578563.2905 | 1182983.4197 | 2578562.7124 | 1182979.7421 | 2578560.5416 | 1182972.6573 | 2578555.9985 | 1182961.8569 | 2578555.5036 | 1182960.4935
21 | 2578492.7952 | 1182911.6138 | 2578486.3374 | 1182910.5822
22 | 2578468.7708 | 1182907.7762 | 2578486.3374 | 1182910.5822
23 | 2578467.1015 | 1182929.6602 | 2578468.0327 | 1182914.7825 | 2578468.7708 | 1182907.7762
24 | 2578446.0589 | 1182907.9694 | 2578445.8626 | 1182904.346 | 2578462.8434 | 1182906.9416 | 2578468.7708 | 1182907.7762
25 | 2578448.137 | 1182916.8331 | 2578446.9611 | 1182916.7929 | 2578446.0589 | 1182907.9694
26 | 2578440.3791 | 1182937.6164 | 2578441.2427 | 1182933.6445 | 2578439.6647 | 1182906.8252 | 2578446.0589 | 1182907.9694
27 | 2578450.1694 | 1182939.8713 | 2578452.2495 | 1182940.1741
28 | 2578440.3791 | 1182937.6164 | 2578444.652 | 1182939.0684 | 2578450.1694 | 1182939.8713
29 | 2578453.8946 | 1182940.4135 | 2578452.2495 | 1182940.1741
30 | 2578440.3791 | 1182937.6164 | 2578436.6222 | 1182939.531

## bus_geodata
| x | y | coords
0 | 2578690.1561 | 1182935.585
1 | 2578629.5637 | 1182961.3432
2 | 2578733.7191 | 1182871.5519
3 | 2578540.4445 | 1182914.4326
4 | 2578661.4232 | 1183147.7757
5 | 2578576.2325 | 1182874.1106
6 | 2578547.5207 | 1182869.5616
7 | 2578784.0177 | 1182897.7335
8 | 2578524.4176 | 1182915.9577
9 | 2578667.1342 | 1183201.3276
10 | 2578522.9448 | 1183209.4671
11 | 2578732.9793 | 1183248.6616
12 | 2578659.0813 | 1183242.1776
13 | 2578536.8829 | 1182864.5306
14 | 2578542.5619 | 1182830.2702
15 | 2578509.8606 | 1182913.958
16 | 2578538.2504 | 1182921.6368
17 | 2578545.2479 | 1182923.2866
18 | 2578555.5036 | 1182960.4935
19 | 2578492.7952 | 1182911.6138
20 | 2578563.2905 | 1182983.4197
21 | 2578486.3374 | 1182910.5822
22 | 2578646.2272 | 1183193.5872
23 | 2578468.7708 | 1182907.7762
24 | 2578467.1015 | 1182929.6602
25 | 2578446.0589 | 1182907.9694
26 | 2578450.1694 | 1182939.8713
27 | 2578452.2495 | 1182940.1741
28 | 2578440.3791 | 1182937.6164
29 | 2578453.8946 | 1182940.4135
30 | 2578436.6222 | 1182939.531
31 | 2578448.137 | 1182916.8331
32 | 2578545.2479 | 1182923.2866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98442 | -0.29977 | 0.028125 | 0.0070487
1 | 0.98707 | -0.24817 | 0.0075011 | 0.00188
2 | 0.98398 | -0.3084 | 0 | 0
3 | 0.9937 | -0.1203 | 0 | 0
4 | 0.98346 | -0.31846 | 0 | 0
5 | 0.99316 | -0.13085 | 0.0067818 | 0.0016997
6 | 0.99334 | -0.12737 | 0 | 0
7 | 0.98365 | -0.3149 | 0.0061917 | 0.0015518
8 | 0.99485 | -0.098381 | 0 | 0
9 | 0.98249 | -0.33745 | 0 | 0
10 | 0.98328 | -0.32197 | 0.0012255 | 0.00030714
11 | 0.98213 | -0.34437 | 0 | 0
12 | 0.98173 | -0.35224 | 0.0045074 | 0.0011297
13 | 0.9933 | -0.12797 | 0 | 0
14 | 0.99319 | -0.13013 | 0.002026 | 0.00050777
15 | 0.99383 | -0.11797 | 0.00068795 | 0.00017242
16 | 0.99589 | -0.078394 | 0.030438 | 0.0076286
17 | 0.99647 | -0.067194 | 0 | 0
18 | 1 | 0 | -0.18714 | -0.0472
19 | 0.99264 | -0.14077 | 0 | 0
20 | 0.99986 | -0.0026497 | 0.0062549 | 0.0015676
21 | 0.99219 | -0.14944 | 0.0083091 | 0.0020825
22 | 0.98217 | -0.34359 | 0.014949 | 0.0037466
23 | 0.99111 | -0.17044 | 0 | 0
24 | 0.99082 | -0.17595 | 0.014122 | 0.0035393
25 | 0.98982 | -0.19543 | 0 | 0
26 | 0.98778 | -0.23496 | 0.01461 | 0.0036615
27 | 0.98772 | -0.23611 | 0.00381 | 0.00095488
28 | 0.9882 | -0.22682 | 0 | 0
29 | 0.98768 | -0.2369 | 0.026767 | 0.0067084
30 | 0.98819 | -0.22696 | 0.0018746 | 0.00046982
31 | 0.98977 | -0.1964 | 0.0054281 | 0.0013604
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.034321 | -0.0086016 | 0.034405 | 0.0086547 | 8.4591e-05 | 5.307e-05 | 0.051878 | 0.051878 | 0.051878 | 0.98442 | -0.29977 | 0.98707 | -0.24817 | 14.2522
1 | 0.0061962 | 0.0015529 | -0.0061936 | -0.0015523 | 2.5477e-06 | 6.4634e-07 | 0.0093659 | 0.0093663 | 0.0093663 | 0.98442 | -0.29977 | 0.98398 | -0.3084 | 2.5731
2 | -0.062683 | -0.015771 | 0.063069 | 0.016016 | 0.00038552 | 0.00024525 | 0.094518 | 0.094517 | 0.094518 | 0.98707 | -0.24817 | 0.9937 | -0.1203 | 25.9664
3 | 0.020777 | 0.0052365 | -0.020707 | -0.0051943 | 6.9629e-05 | 4.2154e-05 | 0.031332 | 0.031333 | 0.031333 | 0.98707 | -0.24817 | 0.98346 | -0.31846 | 8.6079
4 | 0.0061936 | 0.0015523 | -0.0061917 | -0.0015518 | 1.917e-06 | 4.8697e-07 | 0.0093663 | 0.0093665 | 0.0093665 | 0.98398 | -0.3084 | 0.98365 | -0.3149 | 2.5732
5 | 0.0088121 | 0.0022083 | -0.0088092 | -0.002207 | 2.9667e-06 | 1.3103e-06 | 0.013196 | 0.013196 | 0.013196 | 0.9937 | -0.1203 | 0.99334 | -0.12737 | 3.6252
6 | -0.071881 | -0.018225 | 0.071957 | 0.018273 | 7.5824e-05 | 4.8302e-05 | 0.10771 | 0.10771 | 0.10771 | 0.9937 | -0.1203 | 0.99485 | -0.098381 | 29.5914
7 | 0.019482 | 0.0048891 | -0.019464 | -0.0048785 | 1.7628e-05 | 1.0596e-05 | 0.029479 | 0.029479 | 0.029479 | 0.98346 | -0.31846 | 0.98249 | -0.33745 | 8.0986
8 | 0.0012257 | 0.00030526 | -0.0012255 | -0.00030714 | 2.0456e-07 | -1.8819e-06 | 0.0018539 | 0.0018546 | 0.0018546 | 0.98346 | -0.31846 | 0.98328 | -0.32197 | 0.50951
9 | -0.0067818 | -0.0016997 | 0.0067829 | 0.0017 | 1.1255e-06 | 3.4406e-07 | 0.010161 | 0.010161 | 0.010161 | 0.99316 | -0.13085 | 0.99334 | -0.12737 | 2.7915
10 | 0.0020263 | 0.00050695 | -0.0020262 | -0.00050713 | 5.8016e-08 | -1.8027e-07 | 0.0030351 | 0.0030351 | 0.0030351 | 0.99334 | -0.12737 | 0.9933 | -0.12797 | 0.83383
11 | 0.076017 | 0.019209 | -0.075946 | -0.019163 | 7.1305e-05 | 4.5445e-05 | 0.11376 | 0.11376 | 0.11376 | 0.99485 | -0.098381 | 0.99383 | -0.11797 | 31.2519
12 | -0.14797 | -0.037482 | 0.14812 | 0.037572 | 0.0001422 | 9.0607e-05 | 0.22147 | 0.22147 | 0.22147 | 0.99485 | -0.098381 | 0.99589 | -0.078394 | 30.4216
13 | 0.014953 | 0.0037491 | -0.014949 | -0.0037466 | 4.3773e-06 | 2.5134e-06 | 0.022648 | 0.022648 | 0.022648 | 0.98249 | -0.33745 | 0.98217 | -0.34359 | 6.222
14 | 0.0045106 | 0.0011294 | -0.0045091 | -0.0011295 | 1.4862e-06 | -1.2392e-07 | 0.0068311 | 0.0068315 | 0.0068315 | 0.98249 | -0.33745 | 0.98213 | -0.34437 | 1.8768
15 | 0.0045091 | 0.0011295 | -0.0045074 | -0.0011297 | 1.6911e-06 | -1.3991e-07 | 0.0068315 | 0.006832 | 0.006832 | 0.98213 | -0.34437 | 0.98173 | -0.35224 | 1.8769
16 | 0.0020262 | 0.00050713 | -0.002026 | -0.00050777 | 2.0763e-07 | -6.4494e-07 | 0.0030351 | 0.0030354 | 0.0030354 | 0.9933 | -0.12797 | 0.99319 | -0.13013 | 0.83391
17 | 0.075258 | 0.018991 | -0.075176 | -0.018939 | 8.2085e-05 | 5.2311e-05 | 0.11273 | 0.11273 | 0.11273 | 0.99383 | -0.11797 | 0.99264 | -0.14077 | 30.969
18 | -0.17856 | -0.045201 | 0.17865 | 0.045262 | 9.6062e-05 | 6.1292e-05 | 0.26695 | 0.26695 | 0.26695 | 0.99589 | -0.078394 | 0.99647 | -0.067194 | 36.6688
19 | -0.17865 | -0.045262 | 0.17923 | 0.045632 | 0.00057869 | 0.00036923 | 0.26695 | 0.26695 | 0.26695 | 0.99647 | -0.067194 | 1 | 0 | 36.6688
20 | 0.0062557 | 0.0015678 | -0.0062549 | -0.0015676 | 7.896e-07 | 1.8659e-07 | 0.0093085 | 0.0093087 | 0.0093087 | 1 | 0 | 0.99986 | -0.0026497 | 2.5573
21 | 0.075176 | 0.018939 | -0.075145 | -0.018919 | 3.1163e-05 | 1.986e-05 | 0.11273 | 0.11273 | 0.11273 | 0.99264 | -0.14077 | 0.99219 | -0.14944 | 30.969
22 | 0.066836 | 0.016836 | -0.066769 | -0.016794 | 6.7065e-05 | 4.2692e-05 | 0.10027 | 0.10027 | 0.10027 | 0.99219 | -0.14944 | 0.99111 | -0.17044 | 27.5456
23 | 0.014126 | 0.0035414 | -0.014122 | -0.0035393 | 3.7036e-06 | 2.0874e-06 | 0.021208 | 0.021209 | 0.021209 | 0.99111 | -0.17044 | 0.99082 | -0.17595 | 5.8265
24 | 0.052643 | 0.013252 | -0.05258 | -0.013212 | 6.2796e-05 | 3.9845e-05 | 0.079057 | 0.079058 | 0.079058 | 0.99111 | -0.17044 | 0.98982 | -0.19543 | 21.7191
25 | 0.0054283 | 0.0013604 | -0.0054281 | -0.0013604 | 2.5083e-07 | 3.1438e-08 | 0.0081606 | 0.0081606 | 0.0081606 | 0.98982 | -0.19543 | 0.98977 | -0.1964 | 2.2419
26 | 0.047152 | 0.011852 | -0.047081 | -0.011807 | 7.0544e-05 | 4.4668e-05 | 0.070897 | 0.070897 | 0.070897 | 0.98982 | -0.19543 | 0.9882 | -0.22682 | 19.4772
27 | 0.03058 | 0.007665 | -0.030578 | -0.0076639 | 1.6727e-06 | 1.0436e-06 | 0.046066 | 0.046066 | 0.046066 | 0.98778 | -0.23496 | 0.98772 | -0.23611 | 12.6555
28 | -0.045189 | -0.011326 | 0.045207 | 0.011338 | 1.7532e-05 | 1.1091e-05 | 0.068074 | 0.068074 | 0.068074 | 0.98778 | -0.23496 | 0.9882 | -0.22682 | 18.7018
29 | 0.026768 | 0.006709 | -0.026767 | -0.0067084 | 1.0138e-06 | 6.2754e-07 | 0.040326 | 0.040326 | 0.040326 | 0.98772 | -0.23611 | 0.98768 | -0.2369 | 11.0786
30 | 0.0018746 | 0.00046977 | -0.0018746 | -0.00046982 | 1.257e-08 | -4.5852e-08 | 0.0028227 | 0.0028228 | 0.0028228 | 0.9882 | -0.22682 | 0.98819 | -0.22696 | 0.77548

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23167 | 0.058361

## res_load
| p_mw | q_mvar
0 | 0.028125 | 0.0070487
1 | 0.0075011 | 0.00188
2 | 0.0067818 | 0.0016997
3 | 0.0061917 | 0.0015518
4 | 0.0012255 | 0.00030714
5 | 0.0045074 | 0.0011297
6 | 0.002026 | 0.00050777
7 | 0.00068795 | 0.00017242
8 | 0.030438 | 0.0076286
9 | 0.044537 | 0.011162
10 | 0.0062549 | 0.0015676
11 | 0.0083091 | 0.0020825
12 | 0.014949 | 0.0037466
13 | 0.014122 | 0.0035393
14 | 0.01461 | 0.0036615
15 | 0.00381 | 0.00095488
16 | 0.026767 | 0.0067084
17 | 0.0018746 | 0.00046982
18 | 0.0054281 | 0.0013604

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1