## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-69_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-69_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2196-69_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2196-69_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2196-69_0_6_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_2196-69_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2196-69_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2196-69_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2196-69_0_6_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_2196-69_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2196-69_0_6_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_2196-69_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2196-69_0_6_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_2196-69_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2196-69_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2196-69_0_6_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2196-69_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2196-69_0_6_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2196-69_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2196-69_0_6_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_2196-69_0_6_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_2196-69_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_2196-69_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2196-69_0_6_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2196-69_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2196-69_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2196-69_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2196-69_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2196-69_0_6_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_2196-69_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2196-69_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2196-69_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_2196-69_0_6_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_2196-69_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2196-69_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_2196-69_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2196-69_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2196-69_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2196-69_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2196-69_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2196-69_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2196-69_0_6_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_2196-69_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2196-69_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2196-69_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2196-69_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2196-69_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2196-69_0_6_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_2196-69_0_6_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_2196-69_0_6_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_2196-69_0_6_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_2196-69_0_6_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2196-69_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2196-69_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2196-69_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2196-69_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2196-69_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_2196-69_0_6_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_2196-69_0_6_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_2196-69_0_6_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_2196-69_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2196-69_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2196-69_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_2196-69_0_6_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_2196-69_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2196-69_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2196-69_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2196-69_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2196-69_0_6_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_2196-69_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_2196-69_0_6_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_2196-69_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_2196-69_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2196-69_0_6_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_2196-69_0_6_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_2196-69_0_6_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_2196-69_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_2196-69_0_6_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2196-69_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_2196-69_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_MV_382_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-69_0_6_load_0 | 0 | 0.0082899 | 0.0020776 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-69_0_6_load_13 | 6 | 0.0068315 | 0.0017121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-69_0_6_load_83 | 8 | 0.0037122 | 0.00093036 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-69_0_6_load_14 | 11 | 0.022111 | 0.0055417 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-69_0_6_load_87 | 12 | 0.0089609 | 0.0022458 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-69_0_6_load_22 | 15 | 0.0044945 | 0.0011264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-69_0_6_load_34 | 17 | 0.0059484 | 0.0014908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-69_0_6_load_84 | 19 | 0.0054133 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-69_0_6_load_85 | 20 | 0.0087799 | 0.0022005 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-69_0_6_load_23 | 23 | 0.0425 | 0.010651 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-69_0_6_load_19 | 24 | 0.061209 | 0.01534 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-69_0_6_load_17 | 25 | 0.0032466 | 0.00081368 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-69_0_6_load_43 | 28 | 0.0042762 | 0.0010717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-69_0_6_load_21 | 30 | 0.0043593 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-69_0_6_load_42 | 31 | 0.0037851 | 0.00094863 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-69_0_6_load_41 | 32 | 0.0029092 | 0.00072911 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-69_0_6_load_27 | 33 | 0.0050292 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-69_0_6_load_28 | 34 | 0.0053051 | 0.0013296 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-69_0_6_load_29 | 35 | 0.010707 | 0.0026835 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2196-69_0_6_load_30 | 36 | 0.0021132 | 0.00052962 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2196-69_0_6_load_31 | 37 | 0.0049243 | 0.0012341 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2196-69_0_6_load_32 | 38 | 0.015335 | 0.0038432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2196-69_0_6_load_35 | 39 | 0.0070704 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2196-69_0_6_load_54 | 40 | 0.0032326 | 0.00081018 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2196-69_0_6_load_36 | 42 | 0.0075238 | 0.0018856 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2196-69_0_6_load_37 | 43 | 0.0064737 | 0.0016225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2196-69_0_6_load_38 | 44 | 0.0035411 | 0.00088748 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2196-69_0_6_load_39 | 45 | 0.0061333 | 0.0015372 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2196-69_0_6_load_80 | 48 | 0.0075238 | 0.0018856 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2196-69_0_6_load_81 | 49 | 0.0054401 | 0.0013634 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2196-69_0_6_load_44 | 51 | 0.0060713 | 0.0015216 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2196-69_0_6_load_45 | 52 | 0.0038643 | 0.00096849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2196-69_0_6_load_47 | 54 | 0.073482 | 0.018416 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2196-69_0_6_load_82 | 57 | 0.031461 | 0.0078848 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2196-69_0_6_load_49 | 60 | 0.003921 | 0.0009827 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2196-69_0_6_load_50 | 61 | 0.0036139 | 0.00090572 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2196-69_0_6_load_52 | 62 | 0.004021 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2196-69_0_6_load_70 | 63 | 0.0035401 | 0.00088724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2196-69_0_6_load_55 | 64 | 0.009085 | 0.0022769 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2196-69_0_6_load_86 | 68 | 0.0042105 | 0.0010553 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2196-69_0_6_load_62 | 69 | 0.0042491 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2196-69_0_6_load_76 | 70 | 0.024621 | 0.0061706 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2196-69_0_6_load_63 | 71 | 0.0068335 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2196-69_0_6_load_79 | 73 | 0.0038426 | 0.00096305 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2196-69_0_6_load_68 | 74 | 0.016643 | 0.004171 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2196-69_0_6_load_74 | 75 | 0.0051028 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2196-69_0_6_load_67 | 76 | 0.0064613 | 0.0016194 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2196-69_0_6_load_69 | 77 | 0.004516 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2196-69_0_6_load_71 | 78 | 0.0019932 | 0.00049955 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2196-69_0_6_load_72 | 79 | 0.0046367 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-69_0_6_line_0 |  | 0 | 1 | 0.0078639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-69_0_6_line_1 |  | 1 | 2 | 0.063289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-69_0_6_line_2 |  | 2 | 7 | 0.005928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-69_0_6_line_3 |  | 2 | 8 | 0.010917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-69_0_6_line_4 |  | 3 | 4 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2196-69_0_6_line_5 |  | 3 | 5 | 0.05504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-69_0_6_line_6 |  | 3 | 6 | 0.052207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2196-69_0_6_line_7 |  | 4 | 21 | 0.040057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2196-69_0_6_line_8 |  | 4 | 22 | 0.079906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2196-69_0_6_line_9 |  | 4 | 23 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-69_0_6_line_10 |  | 5 | 8 | 0.0078444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-69_0_6_line_11 |  | 6 | 11 | 0.029891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2196-69_0_6_line_12 |  | 7 | 12 | 0.002809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2196-69_0_6_line_13 |  | 9 | 10 | 0.040941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2196-69_0_6_line_14 |  | 9 | 11 | 0.085479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2196-69_0_6_line_15 |  | 10 | 24 | 0.082967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-69_0_6_line_16 |  | 10 | 25 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2196-69_0_6_line_17 |  | 13 | 14 | 0.13316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-69_0_6_line_18 |  | 13 | 15 | 0.026107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-69_0_6_line_19 |  | 14 | 16 | 0.122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2196-69_0_6_line_20 |  | 14 | 17 | 0.070318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2196-69_0_6_line_21 |  | 16 | 18 | 0.066008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2196-69_0_6_line_22 |  | 16 | 19 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-69_0_6_line_23 |  | 17 | 26 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2196-69_0_6_line_24 |  | 18 | 20 | 0.016788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2196-69_0_6_line_25 |  | 20 | 21 | 0.0067279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2196-69_0_6_line_26 |  | 22 | 27 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2196-69_0_6_line_27 |  | 25 | 29 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2196-69_0_6_line_28 |  | 26 | 39 | 0.056315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2196-69_0_6_line_29 |  | 26 | 38 | 0.011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2196-69_0_6_line_30 |  | 27 | 28 | 0.071994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2196-69_0_6_line_31 |  | 28 | 31 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2196-69_0_6_line_32 |  | 29 | 30 | 0.032399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2196-69_0_6_line_33 |  | 31 | 32 | 0.0088617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2196-69_0_6_line_34 |  | 33 | 34 | 0.022157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2196-69_0_6_line_35 |  | 33 | 35 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2196-69_0_6_line_36 |  | 34 | 36 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2196-69_0_6_line_37 |  | 35 | 37 | 0.008331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2196-69_0_6_line_38 |  | 37 | 38 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2196-69_0_6_line_39 |  | 39 | 40 | 0.035206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2196-69_0_6_line_40 |  | 40 | 41 | 0.0066468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2196-69_0_6_line_41 |  | 41 | 46 | 0.020732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2196-69_0_6_line_42 |  | 42 | 43 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2196-69_0_6_line_43 |  | 42 | 44 | 0.00091283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2196-69_0_6_line_44 |  | 43 | 45 | 0.051666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2196-69_0_6_line_45 |  | 44 | 46 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2196-69_0_6_line_46 |  | 45 | 47 | 0.032722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2196-69_0_6_line_47 |  | 46 | 48 | 0.023952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2196-69_0_6_line_48 |  | 47 | 49 | 0.031847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2196-69_0_6_line_49 |  | 47 | 50 | 0.007889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2196-69_0_6_line_50 |  | 49 | 63 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2196-69_0_6_line_51 |  | 50 | 68 | 0.0040638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2196-69_0_6_line_52 |  | 50 | 65 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2196-69_0_6_line_53 |  | 51 | 52 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2196-69_0_6_line_54 |  | 51 | 53 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2196-69_0_6_line_55 |  | 52 | 54 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2196-69_0_6_line_56 |  | 53 | 55 | 0.052456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2196-69_0_6_line_57 |  | 54 | 56 | 0.056815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2196-69_0_6_line_58 |  | 55 | 57 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2196-69_0_6_line_59 |  | 56 | 58 | 0.025673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2196-69_0_6_line_60 |  | 56 | 59 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2196-69_0_6_line_61 |  | 58 | 70 | 0.0041128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2196-69_0_6_line_62 |  | 59 | 74 | 0.0029134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2196-69_0_6_line_63 |  | 59 | 67 | 0.020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2196-69_0_6_line_64 |  | 60 | 61 | 0.0077272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2196-69_0_6_line_65 |  | 61 | 62 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2196-69_0_6_line_66 |  | 62 | 63 | 0.0089943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2196-69_0_6_line_67 |  | 64 | 65 | 0.0098927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2196-69_0_6_line_68 |  | 66 | 67 | 0.027007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2196-69_0_6_line_69 |  | 66 | 68 | 0.002047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2196-69_0_6_line_70 |  | 67 | 69 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2196-69_0_6_line_71 |  | 69 | 71 | 0.076499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2196-69_0_6_line_72 |  | 71 | 72 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2196-69_0_6_line_73 |  | 72 | 73 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2196-69_0_6_line_74 |  | 73 | 75 | 0.026004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2196-69_0_6_line_75 |  | 74 | 76 | 0.044256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2196-69_0_6_line_76 |  | 75 | 79 | 0.0047069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2196-69_0_6_line_77 |  | 76 | 77 | 0.01803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2196-69_0_6_line_78 |  | 78 | 79 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-69_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 80 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2580060.8253 | 1184351.706 | 2580068.6892 | 1184351.7017
1 | 2580060.8253 | 1184351.706 | 2580060.9169 | 1184358.5426 | 2580061.1438 | 1184364.7673 | 2580062.764 | 1184367.6856 | 2580061.4941 | 1184371.3696 | 2580059.3724 | 1184373.7223 | 2580060.9039 | 1184375.1957 | 2580066.8707 | 1184386.0592 | 2580075.2775 | 1184396.1809 | 2580080.5962 | 1184398.0974 | 2580087.0833 | 1184397.909
2 | 2580093.029 | 1184397.8892 | 2580087.0833 | 1184397.909
3 | 2580087.0833 | 1184397.909 | 2580087.4262 | 1184408.8208
4 | 2580152.1703 | 1184433.5106 | 2580134.3774 | 1184433.0585
5 | 2580087.6726 | 1184416.6612 | 2580093.5422 | 1184416.7083 | 2580104.1121 | 1184432.3701 | 2580109.2799 | 1184432.553 | 2580114.6532 | 1184432.5573 | 2580134.3774 | 1184433.0585
6 | 2580134.3774 | 1184433.0585 | 2580133.9473 | 1184439.1187 | 2580130.1149 | 1184450.315 | 2580115.5938 | 1184469.7179 | 2580109.443 | 1184477.6818
7 | 2580140.3775 | 1184405.8355 | 2580152.658 | 1184405.739 | 2580152.433 | 1184418.4019 | 2580152.441 | 1184420.8253 | 2580152.3095 | 1184427.1624 | 2580152.1703 | 1184433.5106
8 | 2580152.1703 | 1184433.5106 | 2580152.3095 | 1184427.1624 | 2580152.441 | 1184420.8253 | 2580152.433 | 1184418.4019 | 2580192.2309 | 1184418.9366 | 2580205.071 | 1184419.5832 | 2580207.7926 | 1184420.9193 | 2580210.8087 | 1184421.2984 | 2580213.7757 | 1184420.6771 | 2580216.3809 | 1184419.1232
9 | 2580152.1703 | 1184433.5106 | 2580170.8664 | 1184434.3261
10 | 2580087.6726 | 1184416.6612 | 2580087.4262 | 1184408.8208
11 | 2580109.443 | 1184477.6818 | 2580095.2268 | 1184496.0885 | 2580091.8836 | 1184501.8178
12 | 2580093.029 | 1184397.8892 | 2580095.8455 | 1184397.9242
13 | 2580049.1883 | 1184473.4194 | 2580046.4541 | 1184486.5798 | 2580036.9007 | 1184512.3696
14 | 2580049.1883 | 1184473.4194 | 2580056.3844 | 1184482.1554 | 2580063.4156 | 1184487.2123 | 2580057.8088 | 1184504.1176 | 2580078.0695 | 1184519.0688 | 2580082.8297 | 1184516.0514 | 2580089.7931 | 1184505.4004 | 2580091.8836 | 1184501.8178
15 | 2580111.0251 | 1184541.5706 | 2580102.2825 | 1184535.9524 | 2580092.8456 | 1184537.2734 | 2580078.4762 | 1184537.9996 | 2580063.2119 | 1184529.0125 | 2580036.9007 | 1184512.3696
16 | 2580036.9007 | 1184512.3696 | 2580016.9052 | 1184501.9552
17 | 2579984.6436 | 1184356.1523 | 2579991.2725 | 1184348.1704 | 2579993.9211 | 1184345.9159 | 2579996.6772 | 1184343.8722 | 2580007.5075 | 1184336.899 | 2580015.779 | 1184331.6574 | 2580017.0024 | 1184330.0302 | 2580018.6365 | 1184327.9793 | 2580020.3528 | 1184323.1043 | 2580032.9076 | 1184322.8066 | 2580043.188 | 1184322.572 | 2580081.6119 | 1184320.5648 | 2580103.6438 | 1184319.4796
18 | 2579984.6436 | 1184356.1523 | 2579984.7599 | 1184361.2546 | 2579983.0365 | 1184366.263 | 2579978.9818 | 1184377.0933 | 2579977.7343 | 1184381.043
19 | 2580103.6438 | 1184319.4796 | 2580081.6119 | 1184320.5648 | 2580083.8679 | 1184324.1703 | 2580089.6479 | 1184327.0858 | 2580105.7391 | 1184329.8113 | 2580113.598 | 1184331.2859 | 2580117.0502 | 1184331.9414 | 2580117.12 | 1184366.6036 | 2580122.3714 | 1184366.6751 | 2580132.0216 | 1184365.1421 | 2580134.5734 | 1184363.5884 | 2580134.716 | 1184358.2851 | 2580135.169 | 1184356.8162 | 2580136.9378 | 1184356.2211
20 | 2580103.6438 | 1184319.4796 | 2580151.7909 | 1184319.5192 | 2580173.9012 | 1184317.8849
21 | 2580116.8617 | 1184405.8916 | 2580116.8648 | 1184402.2453 | 2580117.12 | 1184366.6036 | 2580122.3714 | 1184366.6751 | 2580132.0216 | 1184365.1421 | 2580134.5734 | 1184363.5884 | 2580134.716 | 1184358.2851 | 2580135.169 | 1184356.8162 | 2580136.9378 | 1184356.2211
22 | 2580136.9378 | 1184356.2211 | 2580155.6823 | 1184356.4983
23 | 2580188.0634 | 1184315.5188 | 2580176.9878 | 1184317.6567 | 2580173.9012 | 1184317.8849
24 | 2580116.8617 | 1184405.8916 | 2580133.6496 | 1184405.8515
25 | 2580140.3775 | 1184405.8355 | 2580133.6496 | 1184405.8515
26 | 2580218.8338 | 1184408.4762 | 2580219.5683 | 1184411.2974 | 2580219.3794 | 1184414.1996 | 2580218.2741 | 1184416.9046 | 2580216.3809 | 1184419.1232
27 | 2580000.5296 | 1184493.426 | 2580016.9052 | 1184501.9552
28 | 2580188.0634 | 1184315.5188 | 2580208.8763 | 1184305.9114 | 2580239.2919 | 1184292.1302
29 | 2580188.0634 | 1184315.5188 | 2580194.9786 | 1184325.2171
30 | 2580218.8338 | 1184408.4762 | 2580237.5004 | 1184416.8853 | 2580246.2084 | 1184416.6564 | 2580247.2401 | 1184412.4397 | 2580247.646 | 1184403.6337 | 2580238.6775 | 1184403.5745 | 2580229.098 | 1184396.4803 | 2580229.6237 | 1184393.8995 | 2580233.0629 | 1184392.9654 | 2580235.6294 | 1184392.971
31 | 2580253.1955 | 1184393.0097 | 2580235.6294 | 1184392.971
32 | 2580005.4377 | 1184461.6931 | 2580006.0967 | 1184469.2837 | 2580000.5296 | 1184493.426
33 | 2580262.0571 | 1184393.0291 | 2580253.1955 | 1184393.0097
34 | 2580219.1909 | 1184354.4133 | 2580227.6243 | 1184359.4771 | 2580236.6343 | 1184360.5144 | 2580239.8845 | 1184360.4858
35 | 2580219.1909 | 1184354.4133 | 2580218.3628 | 1184353.916 | 2580209.3201 | 1184345.3304 | 2580208.0126 | 1184343.4967
36 | 2580254.4703 | 1184360.3575 | 2580239.8845 | 1184360.4858
37 | 2580208.0126 | 1184343.4967 | 2580203.176 | 1184336.7136
38 | 2580194.9786 | 1184325.2171 | 2580203.176 | 1184336.7136
39 | 2580239.2919 | 1184292.1302 | 2580271.3602 | 1184277.6003
40 | 2580277.4145 | 1184274.8571 | 2580271.3602 | 1184277.6003
41 | 2580275.6212 | 1184254.2079 | 2580277.4145 | 1184274.8571
42 | 2580255.6668 | 1184250.6024 | 2580239.6111 | 1184247.7014 | 2580239.6111 | 1184247.7014
43 | 2580256.5651 | 1184250.7648 | 2580255.6668 | 1184250.6024
44 | 2580239.6111 | 1184247.7014 | 2580230.797 | 1184196.7924
45 | 2580275.6212 | 1184254.2079 | 2580256.5651 | 1184250.7648
46 | 2580225.2147 | 1184164.5503 | 2580230.797 | 1184196.7924
47 | 2580298.75 | 1184247.7392 | 2580275.6212 | 1184254.2079
48 | 2580225.2147 | 1184164.5503 | 2580256.1087 | 1184172.2823
49 | 2580224.4025 | 1184156.7045 | 2580225.2147 | 1184164.5503
50 | 2580256.1087 | 1184172.2823 | 2580273.9432 | 1184176.7459
51 | 2580224.4025 | 1184156.7045 | 2580223.9881 | 1184152.6619
52 | 2580210.4566 | 1184154.2272 | 2580224.4025 | 1184156.7045
53 | 2580100.8286 | 1184095.7703 | 2580120.5921 | 1184101.9619
54 | 2580087.8104 | 1184094.5376 | 2580094.5861 | 1184093.8146 | 2580100.8286 | 1184095.7703
55 | 2580131.2973 | 1184105.3156 | 2580120.5921 | 1184101.9619
56 | 2580087.8104 | 1184094.5376 | 2580067.8227 | 1184074.883 | 2580063.7394 | 1184065.8698 | 2580062.668 | 1184051.3436
57 | 2580186.3944 | 1184118.7776 | 2580155.9963 | 1184113.0534 | 2580131.2973 | 1184105.3156
58 | 2580062.668 | 1184051.3436 | 2580074.6027 | 1184052.6155 | 2580080.2992 | 1184051.7908
59 | 2580182.0125 | 1184134.6559 | 2580190.3051 | 1184135.6511 | 2580186.3944 | 1184118.7776
60 | 2580186.3944 | 1184118.7776 | 2580200.8571 | 1184120.5527
61 | 2580182.0125 | 1184134.6559 | 2580181.2629 | 1184138.6998
62 | 2580200.8571 | 1184120.5527 | 2580198.2349 | 1184119.283
63 | 2580221.0264 | 1184123.7652 | 2580200.8571 | 1184120.5527
64 | 2580307.461 | 1184185.1346 | 2580299.9649 | 1184183.2585
65 | 2580299.9649 | 1184183.2585 | 2580282.6684 | 1184178.9296
66 | 2580273.9432 | 1184176.7459 | 2580282.6684 | 1184178.9296
67 | 2580210.4566 | 1184154.2272 | 2580212.1825 | 1184144.4862
68 | 2580221.0264 | 1184123.7652 | 2580223.7793 | 1184150.6256
69 | 2580223.7793 | 1184150.6256 | 2580223.9881 | 1184152.6619
70 | 2580221.0264 | 1184123.7652 | 2580223.5466 | 1184119.5658 | 2580227.0834 | 1184110.979
71 | 2580227.0834 | 1184110.979 | 2580228.8242 | 1184106.7528 | 2580232.6948 | 1184093.1217 | 2580230.8284 | 1184085.0348 | 2580223.0301 | 1184078.913 | 2580209.3119 | 1184073.8003 | 2580185.8345 | 1184065.4915
72 | 2580171.3771 | 1184060.3749 | 2580185.8345 | 1184065.4915
73 | 2580171.3771 | 1184060.3749 | 2580155.2734 | 1184056.6914
74 | 2580155.2734 | 1184056.6914 | 2580129.924 | 1184050.893
75 | 2580171.9977 | 1184089.9088 | 2580169.6036 | 1184096.3217 | 2580183.7547 | 1184112.2718 | 2580198.2349 | 1184119.283
76 | 2580125.3356 | 1184049.8435 | 2580129.924 | 1184050.893
77 | 2580186.6338 | 1184085.1593 | 2580179.9857 | 1184082.9135 | 2580172.8947 | 1184087.5061 | 2580171.9977 | 1184089.9088
78 | 2580113.8831 | 1184046.0032 | 2580119.7843 | 1184048.5738 | 2580125.3356 | 1184049.8435

## bus_geodata
| x | y | coords
0 | 2580068.6892 | 1184351.7017
1 | 2580060.8253 | 1184351.706
2 | 2580087.0833 | 1184397.909
3 | 2580134.3774 | 1184433.0585
4 | 2580152.1703 | 1184433.5106
5 | 2580087.6726 | 1184416.6612
6 | 2580109.443 | 1184477.6818
7 | 2580093.029 | 1184397.8892
8 | 2580087.4262 | 1184408.8208
9 | 2580049.1883 | 1184473.4194
10 | 2580036.9007 | 1184512.3696
11 | 2580091.8836 | 1184501.8178
12 | 2580095.8455 | 1184397.9242
13 | 2579984.6436 | 1184356.1523
14 | 2580103.6438 | 1184319.4796
15 | 2579977.7343 | 1184381.043
16 | 2580136.9378 | 1184356.2211
17 | 2580173.9012 | 1184317.8849
18 | 2580116.8617 | 1184405.8916
19 | 2580155.6823 | 1184356.4983
20 | 2580133.6496 | 1184405.8515
21 | 2580140.3775 | 1184405.8355
22 | 2580216.3809 | 1184419.1232
23 | 2580170.8664 | 1184434.3261
24 | 2580111.0251 | 1184541.5706
25 | 2580016.9052 | 1184501.9552
26 | 2580188.0634 | 1184315.5188
27 | 2580218.8338 | 1184408.4762
28 | 2580235.6294 | 1184392.971
29 | 2580000.5296 | 1184493.426
30 | 2580005.4377 | 1184461.6931
31 | 2580253.1955 | 1184393.0097
32 | 2580262.0571 | 1184393.0291
33 | 2580219.1909 | 1184354.4133
34 | 2580239.8845 | 1184360.4858
35 | 2580208.0126 | 1184343.4967
36 | 2580254.4703 | 1184360.3575
37 | 2580203.176 | 1184336.7136
38 | 2580194.9786 | 1184325.2171
39 | 2580239.2919 | 1184292.1302
40 | 2580271.3602 | 1184277.6003
41 | 2580277.4145 | 1184274.8571
42 | 2580255.6668 | 1184250.6024
43 | 2580239.6111 | 1184247.7014
44 | 2580256.5651 | 1184250.7648
45 | 2580230.797 | 1184196.7924
46 | 2580275.6212 | 1184254.2079
47 | 2580225.2147 | 1184164.5503
48 | 2580298.75 | 1184247.7392
49 | 2580256.1087 | 1184172.2823
50 | 2580224.4025 | 1184156.7045
51 | 2580100.8286 | 1184095.7703
52 | 2580120.5921 | 1184101.9619
53 | 2580087.8104 | 1184094.5376
54 | 2580131.2973 | 1184105.3156
55 | 2580062.668 | 1184051.3436
56 | 2580186.3944 | 1184118.7776
57 | 2580080.2992 | 1184051.7908
58 | 2580182.0125 | 1184134.6559
59 | 2580200.8571 | 1184120.5527
60 | 2580307.461 | 1184185.1346
61 | 2580299.9649 | 1184183.2585
62 | 2580282.6684 | 1184178.9296
63 | 2580273.9432 | 1184176.7459
64 | 2580212.1825 | 1184144.4862
65 | 2580210.4566 | 1184154.2272
66 | 2580223.7793 | 1184150.6256
67 | 2580221.0264 | 1184123.7652
68 | 2580223.9881 | 1184152.6619
69 | 2580227.0834 | 1184110.979
70 | 2580181.2629 | 1184138.6998
71 | 2580185.8345 | 1184065.4915
72 | 2580171.3771 | 1184060.3749
73 | 2580155.2734 | 1184056.6914
74 | 2580198.2349 | 1184119.283
75 | 2580129.924 | 1184050.893
76 | 2580171.9977 | 1184089.9088
77 | 2580186.6338 | 1184085.1593
78 | 2580113.8831 | 1184046.0032
79 | 2580125.3356 | 1184049.8435
80 | 2580188.0634 | 1184315.5188

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97907 | -0.40124 | 0.0082899 | 0.0020776
1 | 0.97913 | -0.40005 | 0 | 0
2 | 0.97962 | -0.39051 | 0 | 0
3 | 0.98101 | -0.36319 | 0 | 0
4 | 0.98167 | -0.35047 | 0 | 0
5 | 0.97994 | -0.38411 | 0 | 0
6 | 0.97943 | -0.39405 | 0.0068315 | 0.0017121
7 | 0.97957 | -0.39148 | 0 | 0
8 | 0.97979 | -0.38709 | 0.0037122 | 0.00093036
9 | 0.97675 | -0.44629 | 0 | 0
10 | 0.97588 | -0.46347 | 0 | 0
11 | 0.97858 | -0.41053 | 0.022111 | 0.0055417
12 | 0.97955 | -0.39194 | 0.0089609 | 0.0022458
13 | 0.9953 | -0.088867 | 0 | 0
14 | 0.99584 | -0.078335 | 0 | 0
15 | 0.99519 | -0.090932 | 0.0044945 | 0.0011264
16 | 0.9888 | -0.21254 | 0 | 0
17 | 1 | 0 | -0.51492 | -0.13242
18 | 0.9851 | -0.2838 | 0 | 0
19 | 0.98871 | -0.21435 | 0.0054133 | 0.0013567
20 | 0.98416 | -0.30202 | 0.0087799 | 0.0022005
21 | 0.9838 | -0.30897 | 0 | 0
22 | 0.98086 | -0.36635 | 0 | 0
23 | 0.98093 | -0.36487 | 0.0425 | 0.010651
24 | 0.97113 | -0.55686 | 0.061209 | 0.01534
25 | 0.97572 | -0.4666 | 0.0032466 | 0.00081368
26 | 0.99861 | -0.026142 | 0 | 0
27 | 0.98074 | -0.36866 | 0 | 0
28 | 0.98001 | -0.38299 | 0.0042762 | 0.0010717
29 | 0.97564 | -0.46808 | 0 | 0
30 | 0.97551 | -0.47067 | 0.0043593 | 0.0010925
31 | 0.9799 | -0.38512 | 0.0037851 | 0.00094863
32 | 0.97987 | -0.38559 | 0.0029092 | 0.00072911
33 | 0.99743 | -0.048923 | 0.0050292 | 0.0012604
34 | 0.99728 | -0.051803 | 0.0053051 | 0.0013296
35 | 0.99761 | -0.045502 | 0.010707 | 0.0026835
36 | 0.99725 | -0.052343 | 0.0021132 | 0.00052962
37 | 0.99778 | -0.042124 | 0.0049243 | 0.0012341
38 | 0.99814 | -0.035185 | 0.015335 | 0.0038432
39 | 0.99391 | -0.11487 | 0.0070704 | 0.001772
40 | 0.99105 | -0.16929 | 0.0032326 | 0.00081018
41 | 0.99052 | -0.17948 | 0 | 0
42 | 0.98728 | -0.24162 | 0.0075238 | 0.0018856
43 | 0.98606 | -0.26501 | 0.0064737 | 0.0016225
44 | 0.98735 | -0.24027 | 0.0035411 | 0.00088748
45 | 0.98232 | -0.33746 | 0.0061333 | 0.0015372
46 | 0.98886 | -0.21131 | 0 | 0
47 | 0.98001 | -0.38241 | 0 | 0
48 | 0.98869 | -0.21452 | 0.0075238 | 0.0018856
49 | 0.9794 | -0.39429 | 0.0054401 | 0.0013634
50 | 0.9795 | -0.3923 | 0 | 0
51 | 0.97341 | -0.51195 | 0.0060713 | 0.0015216
52 | 0.97365 | -0.50719 | 0.0038643 | 0.00096849
53 | 0.97328 | -0.51453 | 0 | 0
54 | 0.97379 | -0.50434 | 0.073482 | 0.018416
55 | 0.97276 | -0.52466 | 0 | 0
56 | 0.97582 | -0.46443 | 0 | 0
57 | 0.9725 | -0.52981 | 0.031461 | 0.0078848
58 | 0.97523 | -0.47601 | 0 | 0
59 | 0.97645 | -0.45207 | 0 | 0
60 | 0.9789 | -0.40422 | 0.003921 | 0.0009827
61 | 0.97893 | -0.40367 | 0.0036139 | 0.00090572
62 | 0.97905 | -0.40122 | 0.004021 | 0.0010078
63 | 0.97915 | -0.39934 | 0.0035401 | 0.00088724
64 | 0.9793 | -0.39627 | 0.009085 | 0.0022769
65 | 0.97938 | -0.39463 | 0 | 0
66 | 0.97913 | -0.39958 | 0 | 0
67 | 0.9775 | -0.43135 | 0 | 0
68 | 0.97925 | -0.39718 | 0.0042105 | 0.0010553
69 | 0.97715 | -0.43825 | 0.0042491 | 0.0010649
70 | 0.97514 | -0.47786 | 0.024621 | 0.0061706
71 | 0.97556 | -0.4696 | 0.0068335 | 0.0017126
72 | 0.97534 | -0.47398 | 0 | 0
73 | 0.9751 | -0.47869 | 0.0038426 | 0.00096305
74 | 0.97637 | -0.45354 | 0.016643 | 0.004171
75 | 0.97481 | -0.48429 | 0.0051028 | 0.0012789
76 | 0.97592 | -0.46243 | 0.0064613 | 0.0016194
77 | 0.97585 | -0.46392 | 0.004516 | 0.0011318
78 | 0.97476 | -0.4853 | 0.0019932 | 0.00049955
79 | 0.97479 | -0.48486 | 0.0046367 | 0.0011621
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0082899 | -0.0020776 | 0.0082903 | 0.0020778 | 4.6811e-07 | 2.0069e-07 | 0.012599 | 0.012599 | 0.012599 | 0.97907 | -0.40124 | 0.97913 | -0.40005 | 3.4613
1 | -0.0082903 | -0.0020778 | 0.0082941 | 0.0020795 | 3.7673e-06 | 1.6147e-06 | 0.012599 | 0.012599 | 0.012599 | 0.97913 | -0.40005 | 0.97962 | -0.39051 | 3.4613
2 | 0.0089615 | 0.0022461 | -0.0089611 | -0.0022459 | 4.1192e-07 | 1.89e-07 | 0.013612 | 0.013612 | 0.013612 | 0.97962 | -0.39051 | 0.97957 | -0.39148 | 3.7397
3 | -0.017256 | -0.0043255 | 0.017258 | 0.0043272 | 2.8126e-06 | 1.6626e-06 | 0.026211 | 0.026211 | 0.026211 | 0.97962 | -0.39051 | 0.97979 | -0.38709 | 7.2009
4 | -0.11942 | -0.030191 | 0.11949 | 0.030237 | 7.2864e-05 | 4.596e-05 | 0.18123 | 0.18123 | 0.18123 | 0.98101 | -0.36319 | 0.98167 | -0.35047 | 16.5965
5 | 0.020995 | 0.0052721 | -0.020974 | -0.0052594 | 2.0936e-05 | 1.2705e-05 | 0.031849 | 0.031849 | 0.031849 | 0.98101 | -0.36319 | 0.97994 | -0.38411 | 8.7497
6 | 0.098427 | 0.024919 | -0.098281 | -0.024827 | 0.00014563 | 9.123e-05 | 0.14939 | 0.14939 | 0.14939 | 0.98101 | -0.36319 | 0.97943 | -0.39405 | 13.68
7 | -0.17301 | -0.043665 | 0.17336 | 0.043884 | 0.00034466 | 0.00021906 | 0.26236 | 0.26236 | 0.26236 | 0.98167 | -0.35047 | 0.9838 | -0.30897 | 24.0257
8 | 0.010988 | 0.0027584 | -0.01098 | -0.0027541 | 8.3147e-06 | 4.3121e-06 | 0.016658 | 0.016658 | 0.016658 | 0.98167 | -0.35047 | 0.98086 | -0.36635 | 4.5764
9 | 0.042529 | 0.01067 | -0.0425 | -0.010651 | 2.9168e-05 | 1.8431e-05 | 0.06447 | 0.06447 | 0.06447 | 0.98167 | -0.35047 | 0.98093 | -0.36487 | 17.7114
10 | 0.020974 | 0.0052594 | -0.020971 | -0.0052576 | 2.9838e-06 | 1.8108e-06 | 0.031849 | 0.031849 | 0.031849 | 0.97994 | -0.38411 | 0.97979 | -0.38709 | 8.7497
11 | 0.09145 | 0.023115 | -0.091377 | -0.02307 | 7.2198e-05 | 4.5079e-05 | 0.13901 | 0.13901 | 0.13901 | 0.97943 | -0.39405 | 0.97858 | -0.41053 | 12.7296
12 | 0.0089611 | 0.0022459 | -0.0089609 | -0.0022458 | 1.9519e-07 | 8.956e-08 | 0.013612 | 0.013612 | 0.013612 | 0.97957 | -0.39148 | 0.97955 | -0.39194 | 3.7397
13 | 0.069147 | 0.017456 | -0.06909 | -0.017421 | 5.6838e-05 | 3.484e-05 | 0.10539 | 0.10539 | 0.10539 | 0.97675 | -0.44629 | 0.97588 | -0.46347 | 9.6508
14 | -0.069147 | -0.017456 | 0.069266 | 0.017529 | 0.00011867 | 7.2732e-05 | 0.10539 | 0.10539 | 0.10539 | 0.97675 | -0.44629 | 0.97858 | -0.41053 | 9.6508
15 | 0.061482 | 0.015514 | -0.061209 | -0.01534 | 0.00027367 | 0.00017411 | 0.093787 | 0.093787 | 0.093787 | 0.97588 | -0.46347 | 0.97113 | -0.55686 | 25.7656
16 | 0.0076079 | 0.0019066 | -0.0076067 | -0.0019061 | 1.1377e-06 | 4.4651e-07 | 0.0116 | 0.011601 | 0.011601 | 0.97588 | -0.46347 | 0.97572 | -0.4666 | 3.187
17 | -0.0044949 | -0.0011264 | 0.0044972 | 0.0011261 | 2.2549e-06 | -2.8843e-07 | 0.0067201 | 0.0067195 | 0.0067201 | 0.9953 | -0.088867 | 0.99584 | -0.078335 | 1.8462
18 | 0.0044949 | 0.0011264 | -0.0044945 | -0.0011264 | 4.4212e-07 | -5.6294e-08 | 0.0067201 | 0.0067202 | 0.0067202 | 0.9953 | -0.088867 | 0.99519 | -0.090932 | 1.8462
19 | 0.18962 | 0.048759 | -0.18839 | -0.047978 | 0.0012281 | 0.00078124 | 0.28378 | 0.28378 | 0.28378 | 0.99584 | -0.078335 | 0.9888 | -0.21254 | 25.9872
20 | -0.19412 | -0.049886 | 0.19486 | 0.050357 | 0.00074176 | 0.00047197 | 0.2905 | 0.2905 | 0.2905 | 0.99584 | -0.078335 | 1 | 0 | 26.6024
21 | 0.18298 | 0.046621 | -0.18235 | -0.046223 | 0.00062686 | 0.00039866 | 0.27563 | 0.27563 | 0.27563 | 0.9888 | -0.21254 | 0.9851 | -0.2838 | 25.2413
22 | 0.0054138 | 0.0013568 | -0.0054133 | -0.0013567 | 4.6661e-07 | 5.8191e-08 | 0.008147 | 0.0081471 | 0.0081471 | 0.9888 | -0.21254 | 0.98871 | -0.21435 | 2.2382
23 | 0.3184 | 0.082065 | -0.318 | -0.081807 | 0.00040473 | 0.00025846 | 0.4746 | 0.4746 | 0.4746 | 1 | 0 | 0.99861 | -0.026142 | 43.4613
24 | 0.18235 | 0.046223 | -0.18219 | -0.046121 | 0.00015943 | 0.0001014 | 0.27563 | 0.27563 | 0.27563 | 0.9851 | -0.2838 | 0.98416 | -0.30202 | 25.2413
25 | 0.17341 | 0.043921 | -0.17336 | -0.043884 | 5.7887e-05 | 3.6792e-05 | 0.26236 | 0.26236 | 0.26236 | 0.98416 | -0.30202 | 0.9838 | -0.30897 | 24.0257
26 | 0.01098 | 0.0027541 | -0.010979 | -0.0027535 | 1.2132e-06 | 6.2933e-07 | 0.016658 | 0.016658 | 0.016658 | 0.98086 | -0.36635 | 0.98074 | -0.36866 | 4.5764
27 | 0.0043601 | 0.0010924 | -0.0043598 | -0.0010925 | 3.0613e-07 | -3.467e-08 | 0.0066493 | 0.0066493 | 0.0066493 | 0.97572 | -0.4666 | 0.97564 | -0.46808 | 1.8267
28 | 0.27455 | 0.070905 | -0.27337 | -0.070151 | 0.0011825 | 0.00075458 | 0.40985 | 0.40985 | 0.40985 | 0.99861 | -0.026142 | 0.99391 | -0.11487 | 37.5323
29 | 0.043449 | 0.010902 | -0.04343 | -0.01089 | 1.8725e-05 | 1.1828e-05 | 0.064746 | 0.064746 | 0.064746 | 0.99861 | -0.026142 | 0.99814 | -0.035185 | 17.7875
30 | 0.010979 | 0.0027535 | -0.010971 | -0.0027496 | 7.4918e-06 | 3.887e-06 | 0.016658 | 0.016658 | 0.016658 | 0.98074 | -0.36866 | 0.98001 | -0.38299 | 4.5765
31 | 0.006695 | 0.0016779 | -0.0066943 | -0.0016777 | 6.8072e-07 | 2.1435e-07 | 0.010166 | 0.010166 | 0.010166 | 0.98001 | -0.38299 | 0.9799 | -0.38512 | 2.7927
32 | 0.0043598 | 0.0010925 | -0.0043593 | -0.0010925 | 5.3719e-07 | -6.074e-08 | 0.0066493 | 0.0066495 | 0.0066495 | 0.97564 | -0.46808 | 0.97551 | -0.47067 | 1.8268
33 | 0.0029093 | 0.00072904 | -0.0029092 | -0.00072911 | 6.4858e-08 | -7.012e-08 | 0.0044178 | 0.0044178 | 0.0044178 | 0.9799 | -0.38512 | 0.97987 | -0.38559 | 1.2137
34 | 0.0074193 | 0.0018594 | -0.0074183 | -0.001859 | 1.0179e-06 | 3.6234e-07 | 0.011069 | 0.011069 | 0.011069 | 0.99743 | -0.048923 | 0.99728 | -0.051803 | 3.0408
35 | -0.012449 | -0.0031198 | 0.012451 | 0.0031209 | 2.0289e-06 | 1.0937e-06 | 0.018571 | 0.018571 | 0.018571 | 0.99743 | -0.048923 | 0.99761 | -0.045502 | 5.102
36 | 0.0021132 | 0.00052946 | -0.0021132 | -0.00052962 | 5.4382e-08 | -1.5551e-07 | 0.0031531 | 0.0031531 | 0.0031531 | 0.99728 | -0.051803 | 0.99725 | -0.052343 | 0.86624
37 | -0.023158 | -0.0058044 | 0.023162 | 0.0058067 | 3.7276e-06 | 2.2769e-06 | 0.034542 | 0.034542 | 0.034542 | 0.99761 | -0.045502 | 0.99778 | -0.042124 | 9.4896
38 | -0.028086 | -0.0070409 | 0.028095 | 0.0070466 | 9.2895e-06 | 5.7608e-06 | 0.041886 | 0.041886 | 0.041886 | 0.99778 | -0.042124 | 0.99814 | -0.035185 | 11.5071
39 | 0.2663 | 0.068379 | -0.2656 | -0.067931 | 0.00070155 | 0.00044763 | 0.39927 | 0.39927 | 0.39927 | 0.99391 | -0.11487 | 0.99105 | -0.16929 | 36.563
40 | 0.26236 | 0.067121 | -0.26223 | -0.067039 | 0.00012925 | 8.2463e-05 | 0.39441 | 0.39441 | 0.39441 | 0.99105 | -0.16929 | 0.99052 | -0.17948 | 36.1185
41 | 0.26223 | 0.067039 | -0.26183 | -0.066781 | 0.00040314 | 0.00025721 | 0.39441 | 0.39441 | 0.39441 | 0.99052 | -0.17948 | 0.98886 | -0.21131 | 36.1186
42 | 0.24287 | 0.061885 | -0.2426 | -0.06171 | 0.00027382 | 0.00017462 | 0.36642 | 0.36642 | 0.36642 | 0.98728 | -0.24162 | 0.98606 | -0.26501 | 33.5545
43 | -0.25039 | -0.063771 | 0.25041 | 0.063781 | 1.6282e-05 | 1.0386e-05 | 0.37776 | 0.37776 | 0.37776 | 0.98728 | -0.24162 | 0.98735 | -0.24027 | 34.593
44 | 0.23612 | 0.060088 | -0.2353 | -0.059564 | 0.00082148 | 0.00052378 | 0.35665 | 0.35665 | 0.35665 | 0.98606 | -0.26501 | 0.98232 | -0.33746 | 32.66
45 | -0.25395 | -0.064669 | 0.25431 | 0.064895 | 0.00035524 | 0.00022661 | 0.38309 | 0.38309 | 0.38309 | 0.98735 | -0.24027 | 0.98886 | -0.21131 | 35.0817
46 | 0.22917 | 0.058027 | -0.22867 | -0.057712 | 0.00049351 | 0.00031461 | 0.34736 | 0.34736 | 0.34736 | 0.98232 | -0.33746 | 0.98001 | -0.38241 | 31.8092
47 | 0.007525 | 0.0018861 | -0.0075238 | -0.0018856 | 1.1517e-06 | 4.2987e-07 | 0.011323 | 0.011324 | 0.011324 | 0.98886 | -0.21131 | 0.98869 | -0.21452 | 3.1109
48 | 0.020553 | 0.0051568 | -0.020542 | -0.0051498 | 1.1633e-05 | 7.0439e-06 | 0.03121 | 0.03121 | 0.03121 | 0.98001 | -0.38241 | 0.9794 | -0.39429 | 8.5741
49 | 0.20812 | 0.052556 | -0.20802 | -0.052493 | 9.8562e-05 | 6.2782e-05 | 0.31615 | 0.31615 | 0.31615 | 0.98001 | -0.38241 | 0.9795 | -0.3923 | 28.9512
50 | 0.015102 | 0.0037864 | -0.015098 | -0.0037843 | 3.6296e-06 | 2.0916e-06 | 0.022945 | 0.022945 | 0.022945 | 0.9794 | -0.39429 | 0.97915 | -0.39934 | 6.3035
51 | 0.19894 | 0.050215 | -0.19889 | -0.050186 | 4.6434e-05 | 2.9565e-05 | 0.30234 | 0.30234 | 0.30234 | 0.9795 | -0.3923 | 0.97925 | -0.39718 | 27.6871
52 | 0.0090868 | 0.0022777 | -0.0090857 | -0.0022773 | 1.0093e-06 | 4.682e-07 | 0.013804 | 0.013804 | 0.013804 | 0.9795 | -0.3923 | 0.97938 | -0.39463 | 3.7924
53 | -0.037559 | -0.0094207 | 0.037567 | 0.0094254 | 8.5348e-06 | 4.6897e-06 | 0.057418 | 0.057417 | 0.057418 | 0.97341 | -0.51195 | 0.97365 | -0.50719 | 5.258
54 | 0.031488 | 0.0078991 | -0.031484 | -0.0078971 | 3.8684e-06 | 1.9778e-06 | 0.048137 | 0.048137 | 0.048137 | 0.97341 | -0.51195 | 0.97328 | -0.51453 | 4.4081
55 | -0.041432 | -0.010394 | 0.041437 | 0.010397 | 5.6229e-06 | 3.18e-06 | 0.063323 | 0.063323 | 0.063323 | 0.97365 | -0.50719 | 0.97379 | -0.50434 | 5.7988
56 | 0.031484 | 0.0078971 | -0.031469 | -0.0078893 | 1.5194e-05 | 7.7694e-06 | 0.048137 | 0.048138 | 0.048138 | 0.97328 | -0.51453 | 0.97276 | -0.52466 | 4.4082
57 | -0.11492 | -0.028813 | 0.11514 | 0.028951 | 0.00021901 | 0.00013804 | 0.17561 | 0.17561 | 0.17561 | 0.97379 | -0.50434 | 0.97582 | -0.46443 | 16.0813
58 | 0.031469 | 0.0078893 | -0.031461 | -0.0078848 | 7.7156e-06 | 4.4972e-06 | 0.048138 | 0.048138 | 0.048138 | 0.97276 | -0.52466 | 0.9725 | -0.52981 | 6.6123
59 | 0.024637 | 0.0061803 | -0.024623 | -0.0061719 | 1.3589e-05 | 8.3767e-06 | 0.03757 | 0.037571 | 0.037571 | 0.97582 | -0.46443 | 0.97523 | -0.47601 | 10.3216
60 | -0.13978 | -0.035132 | 0.13986 | 0.035184 | 8.2539e-05 | 5.228e-05 | 0.21318 | 0.21318 | 0.21318 | 0.97582 | -0.46443 | 0.97645 | -0.45207 | 19.5218
61 | 0.024623 | 0.0061719 | -0.024621 | -0.0061706 | 2.177e-06 | 1.342e-06 | 0.037571 | 0.037571 | 0.037571 | 0.97523 | -0.47601 | 0.97514 | -0.47786 | 10.3216
62 | 0.027627 | 0.0069258 | -0.027625 | -0.0069246 | 1.9365e-06 | 1.2029e-06 | 0.042101 | 0.042101 | 0.042101 | 0.97645 | -0.45207 | 0.97637 | -0.45354 | 11.5663
63 | -0.16748 | -0.04211 | 0.16765 | 0.042215 | 0.0001659 | 0.00010541 | 0.25528 | 0.25528 | 0.25528 | 0.97645 | -0.45207 | 0.9775 | -0.43135 | 23.3772
64 | -0.003921 | -0.0009827 | 0.0039211 | 0.00098267 | 1.0294e-07 | -3.1262e-08 | 0.0059603 | 0.0059603 | 0.0059603 | 0.9789 | -0.40422 | 0.97893 | -0.40367 | 1.6375
65 | -0.007535 | -0.0018884 | 0.0075359 | 0.0018887 | 8.7713e-07 | 3.3717e-07 | 0.011454 | 0.011454 | 0.011454 | 0.97893 | -0.40367 | 0.97905 | -0.40122 | 3.1466
66 | -0.011557 | -0.0028965 | 0.011558 | 0.002897 | 1.0406e-06 | 5.5287e-07 | 0.017565 | 0.017565 | 0.017565 | 0.97905 | -0.40122 | 0.97915 | -0.39934 | 4.8255
67 | -0.009085 | -0.0022769 | 0.0090857 | 0.0022773 | 7.0694e-07 | 3.2796e-07 | 0.013804 | 0.013804 | 0.013804 | 0.9793 | -0.39627 | 0.97938 | -0.39463 | 3.7924
68 | 0.19466 | 0.049116 | -0.19436 | -0.048928 | 0.00029567 | 0.00018821 | 0.29595 | 0.29595 | 0.29595 | 0.97913 | -0.39958 | 0.9775 | -0.43135 | 27.1012
69 | -0.19466 | -0.049116 | 0.19468 | 0.04913 | 2.241e-05 | 1.4265e-05 | 0.29595 | 0.29594 | 0.29595 | 0.97913 | -0.39958 | 0.97925 | -0.39718 | 27.1012
70 | 0.02671 | 0.0067126 | -0.026702 | -0.0067071 | 8.7966e-06 | 5.4521e-06 | 0.040667 | 0.040667 | 0.040667 | 0.9775 | -0.43135 | 0.97715 | -0.43825 | 11.1722
71 | 0.022452 | 0.0056422 | -0.022419 | -0.0056217 | 3.3546e-05 | 2.0513e-05 | 0.034196 | 0.034197 | 0.034197 | 0.97715 | -0.43825 | 0.97556 | -0.4696 | 9.3947
72 | 0.015585 | 0.0039091 | -0.015582 | -0.0039072 | 3.2504e-06 | 1.8888e-06 | 0.023773 | 0.023774 | 0.023774 | 0.97556 | -0.4696 | 0.97534 | -0.47398 | 6.5312
73 | 0.015582 | 0.0039072 | -0.015579 | -0.0039052 | 3.5012e-06 | 2.0347e-06 | 0.023774 | 0.023774 | 0.023774 | 0.97534 | -0.47398 | 0.9751 | -0.47869 | 6.5312
74 | 0.011736 | 0.0029421 | -0.011733 | -0.0029404 | 3.1279e-06 | 1.6776e-06 | 0.01791 | 0.01791 | 0.01791 | 0.9751 | -0.47869 | 0.97481 | -0.48429 | 4.9203
75 | 0.010982 | 0.0027536 | -0.010978 | -0.0027512 | 4.6495e-06 | 2.4224e-06 | 0.016738 | 0.016738 | 0.016738 | 0.97637 | -0.45354 | 0.97592 | -0.46243 | 4.5983
76 | 0.0066302 | 0.0016615 | -0.00663 | -0.0016615 | 1.8079e-07 | 5.703e-08 | 0.010121 | 0.010121 | 0.010121 | 0.97481 | -0.48429 | 0.97479 | -0.48486 | 2.7804
77 | 0.0045163 | 0.0011318 | -0.004516 | -0.0011318 | 3.2062e-07 | -2.0076e-08 | 0.0068862 | 0.0068862 | 0.0068862 | 0.97592 | -0.46243 | 0.97585 | -0.46392 | 1.8918
78 | -0.0019932 | -0.00049955 | 0.0019933 | 0.00049942 | 4.2118e-08 | -1.2427e-07 | 0.0030427 | 0.0030427 | 0.0030427 | 0.97476 | -0.4853 | 0.97479 | -0.48486 | 0.83592

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52086 | 0.13391

## res_load
| p_mw | q_mvar
0 | 0.0082899 | 0.0020776
1 | 0.0068315 | 0.0017121
2 | 0.0037122 | 0.00093036
3 | 0.022111 | 0.0055417
4 | 0.0089609 | 0.0022458
5 | 0.0044945 | 0.0011264
6 | 0.0059484 | 0.0014908
7 | 0.0054133 | 0.0013567
8 | 0.0087799 | 0.0022005
9 | 0.0425 | 0.010651
10 | 0.061209 | 0.01534
11 | 0.0032466 | 0.00081368
12 | 0.0042762 | 0.0010717
13 | 0.0043593 | 0.0010925
14 | 0.0037851 | 0.00094863
15 | 0.0029092 | 0.00072911
16 | 0.0050292 | 0.0012604
17 | 0.0053051 | 0.0013296
18 | 0.010707 | 0.0026835
19 | 0.0021132 | 0.00052962
20 | 0.0049243 | 0.0012341
21 | 0.015335 | 0.0038432
22 | 0.0070704 | 0.001772
23 | 0.0032326 | 0.00081018
24 | 0.0075238 | 0.0018856
25 | 0.0064737 | 0.0016225
26 | 0.0035411 | 0.00088748
27 | 0.0061333 | 0.0015372
28 | 0.0075238 | 0.0018856
29 | 0.0054401 | 0.0013634
30 | 0.0060713 | 0.0015216
31 | 0.0038643 | 0.00096849
32 | 0.073482 | 0.018416
33 | 0.031461 | 0.0078848
34 | 0.003921 | 0.0009827
35 | 0.0036139 | 0.00090572
36 | 0.004021 | 0.0010078
37 | 0.0035401 | 0.00088724
38 | 0.009085 | 0.0022769
39 | 0.0042105 | 0.0010553
40 | 0.0042491 | 0.0010649
41 | 0.024621 | 0.0061706
42 | 0.0068335 | 0.0017126
43 | 0.0038426 | 0.00096305
44 | 0.016643 | 0.004171
45 | 0.0051028 | 0.0012789
46 | 0.0064613 | 0.0016194
47 | 0.004516 | 0.0011318
48 | 0.0019932 | 0.00049955
49 | 0.0046367 | 0.0011621

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1