## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-87_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-87_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-87_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2196-87_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2196-87_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2196-87_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2196-87_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_2196-87_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2196-87_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2196-87_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2196-87_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_2196-87_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2196-87_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_2196-87_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_2196-87_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2196-87_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2196-87_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2196-87_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_2196-87_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2196-87_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2196-87_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2196-87_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2196-87_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2196-87_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2196-87_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2196-87_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2196-87_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2196-87_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2196-87_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_MV_382_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-87_0_3_load_0 | 0 | 0.054625 | 0.01369 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-87_0_3_load_10 | 4 | 0.068131 | 0.017075 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-87_0_3_load_29 | 6 | 0.035639 | 0.008932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-87_0_3_load_28 | 7 | 0.062925 | 0.01577 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-87_0_3_load_27 | 9 | 0.024127 | 0.0060469 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-87_0_3_load_30 | 10 | 0.0087691 | 0.0021977 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-87_0_3_load_24 | 13 | 0.010146 | 0.0025429 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-87_0_3_load_20 | 16 | 0.0059727 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-87_0_3_load_25 | 17 | 0.0044109 | 0.0011055 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-87_0_3_load_12 | 18 | 0.018585 | 0.0046578 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-87_0_3_load_19 | 21 | 0.010756 | 0.0026958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-87_0_3_load_21 | 22 | 0.01732 | 0.0043409 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-87_0_3_load_14 | 23 | 0.06473 | 0.016223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-87_0_3_load_22 | 25 | 0.0024969 | 0.00062578 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-87_0_3_load_16 | 26 | 0.0046844 | 0.001174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-87_0_3_load_17 | 27 | 0.0041394 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-87_0_3_load_23 | 28 | 0.010569 | 0.0026489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-87_0_3_line_0 |  | 0 | 1 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-87_0_3_line_1 |  | 1 | 2 | 0.022886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-87_0_3_line_2 |  | 2 | 3 | 0.056332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-87_0_3_line_3 |  | 2 | 4 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-87_0_3_line_4 |  | 3 | 10 | 0.02718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-87_0_3_line_5 |  | 4 | 14 | 0.038202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-87_0_3_line_6 |  | 5 | 6 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2196-87_0_3_line_7 |  | 5 | 7 | 0.042792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2196-87_0_3_line_8 |  | 6 | 8 | 0.013776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2196-87_0_3_line_9 |  | 7 | 15 | 0.030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2196-87_0_3_line_10 |  | 8 | 9 | 0.046786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2196-87_0_3_line_11 |  | 9 | 12 | 0.048777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2196-87_0_3_line_12 |  | 11 | 12 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2196-87_0_3_line_13 |  | 11 | 13 | 0.03525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2196-87_0_3_line_14 |  | 12 | 16 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2196-87_0_3_line_15 |  | 13 | 17 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-87_0_3_line_16 |  | 14 | 15 | 0.091517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2196-87_0_3_line_17 |  | 16 | 24 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2196-87_0_3_line_18 |  | 18 | 19 | 0.0077243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-87_0_3_line_19 |  | 19 | 23 | 0.0347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2196-87_0_3_line_20 |  | 19 | 20 | 0.076772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2196-87_0_3_line_21 |  | 20 | 21 | 0.011791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2196-87_0_3_line_22 |  | 20 | 22 | 0.022649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-87_0_3_line_23 |  | 21 | 24 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2196-87_0_3_line_24 |  | 22 | 25 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2196-87_0_3_line_25 |  | 24 | 26 | 0.068788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2196-87_0_3_line_26 |  | 25 | 28 | 0.005977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2196-87_0_3_line_27 |  | 26 | 27 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-87_0_3_trafo_11 | 0.63 MVA 20/0.4 kV | 29 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2580087.3657 | 1183970.5191 | 2580086.5486 | 1183988.6868 | 2580084.2394 | 1183989.784 | 2580084.4817 | 1183996.7044
1 | 2580101.2653 | 1183954.3865 | 2580088.8889 | 1183962.6099 | 2580087.3657 | 1183970.5191
2 | 2580101.2653 | 1183954.3865 | 2580101.0507 | 1183970.1621 | 2580114.0261 | 1183974.4433 | 2580125.7414 | 1183980.8631 | 2580129.1092 | 1183985.9212 | 2580129.5796 | 1183989.6438 | 2580133.2078 | 1183990.3877
3 | 2580101.2653 | 1183954.3865 | 2580102.228 | 1183921.8038
4 | 2580133.2078 | 1183990.3877 | 2580131.4827 | 1183994.9625 | 2580129.5163 | 1183998.1484 | 2580127.3808 | 1184003.2582 | 2580124.5664 | 1184015.9588
5 | 2580109.5969 | 1183884.6002 | 2580102.6164 | 1183908.6582 | 2580102.228 | 1183921.8038
6 | 2580019.4999 | 1183920.4866 | 2580018.8878 | 1183929.171 | 2580014.7652 | 1183934.0299
7 | 2580019.4999 | 1183920.4866 | 2580019.4467 | 1183877.695
8 | 2580003.7723 | 1183940.005 | 2580009.6652 | 1183940.0408 | 2580014.7652 | 1183934.0299
9 | 2580034.2454 | 1183860.6728 | 2580019.4279 | 1183862.5567 | 2580019.4467 | 1183877.695
10 | 2580003.7723 | 1183940.005 | 2579992.3221 | 1183930.7719 | 2579989.5052 | 1183928.4468 | 2579989.14 | 1183900.0248
11 | 2579981.0733 | 1183858.7611 | 2579991.8041 | 1183869.6641 | 2579992.3558 | 1183895.32 | 2579989.0817 | 1183895.4867 | 2579989.14 | 1183900.0248
12 | 2579968.9983 | 1183868.1176 | 2579981.0733 | 1183858.7611
13 | 2579968.9983 | 1183868.1176 | 2579960.8641 | 1183857.6061 | 2579956.016 | 1183845.9719 | 2579957.7909 | 1183836.7866
14 | 2579981.0733 | 1183858.7611 | 2579994.897 | 1183846.1964
15 | 2579958.2641 | 1183812.0361 | 2579960.1854 | 1183816.9206 | 2579959.1672 | 1183829.664 | 2579957.7909 | 1183836.7866
16 | 2580034.2454 | 1183860.6728 | 2580047.9169 | 1183860.7716 | 2580054.3582 | 1183853.5685 | 2580067.4506 | 1183853.9694 | 2580085.019 | 1183878.0899 | 2580109.5969 | 1183884.6002
17 | 2580011.1496 | 1183827.2439 | 2579996.75 | 1183844.5122 | 2579994.897 | 1183846.1964
18 | 2580089.1914 | 1183756.0459 | 2580096.7615 | 1183754.51
19 | 2580089.1914 | 1183756.0459 | 2580089.4174 | 1183771.1308 | 2580075.0503 | 1183784.519
20 | 2580089.1914 | 1183756.0459 | 2580064.0056 | 1183768.77 | 2580048.5706 | 1183782.3842 | 2580030.3527 | 1183803.7785
21 | 2580030.3527 | 1183803.7785 | 2580022.8852 | 1183812.9035
22 | 2580030.3527 | 1183803.7785 | 2580016.558 | 1183785.8153
23 | 2580011.1496 | 1183827.2439 | 2580022.8852 | 1183812.9035
24 | 2580002.4441 | 1183767.4366 | 2580016.558 | 1183785.8153
25 | 2580011.1496 | 1183827.2439 | 2579969.5212 | 1183772.4825
26 | 2579998.8037 | 1183762.6961 | 2580002.4441 | 1183767.4366
27 | 2579973.8535 | 1183763.6804 | 2579969.0874 | 1183771.9117 | 2579969.5212 | 1183772.4825

## bus_geodata
| x | y | coords
0 | 2580084.4817 | 1183996.7044
1 | 2580087.3657 | 1183970.5191
2 | 2580101.2653 | 1183954.3865
3 | 2580133.2078 | 1183990.3877
4 | 2580102.228 | 1183921.8038
5 | 2580019.4999 | 1183920.4866
6 | 2580014.7652 | 1183934.0299
7 | 2580019.4467 | 1183877.695
8 | 2580003.7723 | 1183940.005
9 | 2579989.14 | 1183900.0248
10 | 2580124.5664 | 1184015.9588
11 | 2579968.9983 | 1183868.1176
12 | 2579981.0733 | 1183858.7611
13 | 2579957.7909 | 1183836.7866
14 | 2580109.5969 | 1183884.6002
15 | 2580034.2454 | 1183860.6728
16 | 2579994.897 | 1183846.1964
17 | 2579958.2641 | 1183812.0361
18 | 2580096.7615 | 1183754.51
19 | 2580089.1914 | 1183756.0459
20 | 2580030.3527 | 1183803.7785
21 | 2580022.8852 | 1183812.9035
22 | 2580016.558 | 1183785.8153
23 | 2580075.0503 | 1183784.519
24 | 2580011.1496 | 1183827.2439
25 | 2580002.4441 | 1183767.4366
26 | 2579969.5212 | 1183772.4825
27 | 2579973.8535 | 1183763.6804
28 | 2579998.8037 | 1183762.6961
29 | 2580030.3527 | 1183803.7785

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97977 | -0.38941 | 0.054625 | 0.01369
1 | 0.98117 | -0.36201 | 0 | 0
2 | 0.98232 | -0.3394 | 0 | 0
3 | 0.98187 | -0.34833 | 0 | 0
4 | 0.98424 | -0.30215 | 0.068131 | 0.017075
5 | 0.99192 | -0.15337 | 0 | 0
6 | 0.99043 | -0.18194 | 0.035639 | 0.008932
7 | 0.99616 | -0.072757 | 0.062925 | 0.01577
8 | 0.98929 | -0.20375 | 0 | 0
9 | 0.98542 | -0.27818 | 0.024127 | 0.0060469
10 | 0.98165 | -0.35264 | 0.0087691 | 0.0021977
11 | 0.98172 | -0.34977 | 0 | 0
12 | 0.98193 | -0.34576 | 0 | 0
13 | 0.98125 | -0.35905 | 0.010146 | 0.0025429
14 | 0.98888 | -0.21217 | 0 | 0
15 | 1 | 0 | -0.41627 | -0.10647
16 | 0.98072 | -0.3693 | 0.0059727 | 0.0014969
17 | 0.98115 | -0.36107 | 0.0044109 | 0.0011055
18 | 0.97436 | -0.49389 | 0.018585 | 0.0046578
19 | 0.97449 | -0.49126 | 0 | 0
20 | 0.97747 | -0.43273 | 0 | 0
21 | 0.9781 | -0.42051 | 0.010756 | 0.0026958
22 | 0.97683 | -0.4453 | 0.01732 | 0.0043409
23 | 0.9724 | -0.53257 | 0.06473 | 0.016223
24 | 0.97917 | -0.39953 | 0 | 0
25 | 0.97655 | -0.45083 | 0.0024969 | 0.00062578
26 | 0.97861 | -0.41057 | 0.0046844 | 0.001174
27 | 0.97857 | -0.41134 | 0.0041394 | 0.0010374
28 | 0.97649 | -0.45198 | 0.010569 | 0.0026489
29 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.054625 | -0.01369 | 0.054697 | 0.013736 | 7.1409e-05 | 4.5353e-05 | 0.082962 | 0.082962 | 0.082962 | 0.97977 | -0.38941 | 0.98117 | -0.36201 | 22.7917
1 | -0.054697 | -0.013736 | 0.054756 | 0.013773 | 5.9068e-05 | 3.7514e-05 | 0.082962 | 0.082962 | 0.082962 | 0.98117 | -0.36201 | 0.98232 | -0.3394 | 22.7917
2 | 0.0087746 | 0.0022002 | -0.0087709 | -0.0021985 | 3.7324e-06 | 1.6759e-06 | 0.013292 | 0.013292 | 0.013292 | 0.98232 | -0.3394 | 0.98187 | -0.34833 | 3.6517
3 | -0.06353 | -0.015973 | 0.063644 | 0.016046 | 0.00011325 | 7.2067e-05 | 0.096254 | 0.096254 | 0.096254 | 0.98232 | -0.3394 | 0.98424 | -0.30215 | 26.4433
4 | 0.0087709 | 0.0021985 | -0.0087691 | -0.0021977 | 1.8009e-06 | 8.0888e-07 | 0.013292 | 0.013292 | 0.013292 | 0.98187 | -0.34833 | 0.98165 | -0.35264 | 3.6518
5 | -0.13177 | -0.033121 | 0.13234 | 0.033484 | 0.00056877 | 0.00036353 | 0.19926 | 0.19926 | 0.19926 | 0.98424 | -0.30215 | 0.98888 | -0.21217 | 54.7409
6 | 0.21616 | 0.055169 | -0.21586 | -0.054979 | 0.00029792 | 0.00019028 | 0.32462 | 0.32462 | 0.32462 | 0.99192 | -0.15337 | 0.99043 | -0.18194 | 44.591
7 | -0.21616 | -0.055169 | 0.217 | 0.055709 | 0.0008455 | 0.00054001 | 0.32462 | 0.32462 | 0.32462 | 0.99192 | -0.15337 | 0.99616 | -0.072757 | 44.5909
8 | 0.18022 | 0.046047 | -0.18003 | -0.045926 | 0.00018981 | 0.00012112 | 0.27108 | 0.27108 | 0.27108 | 0.99043 | -0.18194 | 0.98929 | -0.20375 | 37.2361
9 | -0.27993 | -0.07148 | 0.28092 | 0.072111 | 0.00098818 | 0.00063165 | 0.41861 | 0.41861 | 0.41861 | 0.99616 | -0.072757 | 1 | 0 | 57.502
10 | 0.18003 | 0.045926 | -0.17939 | -0.045514 | 0.00064463 | 0.00041136 | 0.27108 | 0.27108 | 0.27108 | 0.98929 | -0.20375 | 0.98542 | -0.27818 | 37.2362
11 | 0.15526 | 0.039468 | -0.15476 | -0.039147 | 0.00050355 | 0.00032103 | 0.23465 | 0.23465 | 0.23465 | 0.98542 | -0.27818 | 0.98193 | -0.34576 | 32.2317
12 | -0.014564 | -0.003652 | 0.014567 | 0.0036536 | 2.7867e-06 | 1.5907e-06 | 0.022076 | 0.022076 | 0.022076 | 0.98172 | -0.34977 | 0.98193 | -0.34576 | 6.0647
13 | 0.014564 | 0.003652 | -0.014558 | -0.0036483 | 6.442e-06 | 3.6774e-06 | 0.022076 | 0.022076 | 0.022076 | 0.98172 | -0.34977 | 0.98125 | -0.35905 | 6.0648
14 | 0.14019 | 0.035493 | -0.14003 | -0.035392 | 0.00015827 | 0.00010082 | 0.21257 | 0.21257 | 0.21257 | 0.98193 | -0.34576 | 0.98072 | -0.3693 | 29.1993
15 | 0.0044113 | 0.0011054 | -0.0044109 | -0.0011055 | 4.2435e-07 | -4.7808e-08 | 0.0066895 | 0.0066896 | 0.0066896 | 0.98125 | -0.35905 | 0.98115 | -0.36107 | 1.8378
16 | -0.13234 | -0.033484 | 0.13371 | 0.034355 | 0.0013626 | 0.00087086 | 0.19926 | 0.19926 | 0.19926 | 0.98888 | -0.21217 | 1 | 0 | 54.7409
17 | 0.13406 | 0.033895 | -0.13386 | -0.033772 | 0.00019405 | 0.00012356 | 0.20351 | 0.20351 | 0.20351 | 0.98072 | -0.3693 | 0.97917 | -0.39953 | 27.9546
18 | -0.018585 | -0.0046578 | 0.018587 | 0.0046591 | 2.3333e-06 | 1.3971e-06 | 0.028382 | 0.028382 | 0.028382 | 0.97436 | -0.49389 | 0.97449 | -0.49126 | 7.7973
19 | 0.064857 | 0.016304 | -0.06473 | -0.016223 | 0.00012767 | 8.1279e-05 | 0.099053 | 0.099053 | 0.099053 | 0.97449 | -0.49126 | 0.9724 | -0.53257 | 27.2124
20 | -0.083444 | -0.020963 | 0.083678 | 0.021111 | 0.00023376 | 0.00014769 | 0.12744 | 0.12743 | 0.12744 | 0.97449 | -0.49126 | 0.97747 | -0.43273 | 17.5048
21 | -0.11409 | -0.02874 | 0.11415 | 0.028782 | 6.6726e-05 | 4.2409e-05 | 0.17373 | 0.17373 | 0.17373 | 0.97747 | -0.43273 | 0.9781 | -0.42051 | 23.8638
22 | 0.030409 | 0.0076291 | -0.03039 | -0.0076177 | 1.8203e-05 | 1.1366e-05 | 0.046294 | 0.046294 | 0.046294 | 0.97747 | -0.43273 | 0.97683 | -0.4453 | 12.7182
23 | -0.12491 | -0.031478 | 0.12504 | 0.031558 | 0.00012555 | 7.9886e-05 | 0.19009 | 0.19009 | 0.19009 | 0.9781 | -0.42051 | 0.97917 | -0.39953 | 26.1116
24 | 0.01307 | 0.0032769 | -0.013067 | -0.003275 | 3.4448e-06 | 1.9147e-06 | 0.01991 | 0.01991 | 0.01991 | 0.97683 | -0.4453 | 0.97655 | -0.45083 | 5.4699
25 | 0.0088286 | 0.0022135 | -0.0088239 | -0.0022114 | 4.6436e-06 | 2.1072e-06 | 0.013417 | 0.013417 | 0.013417 | 0.97917 | -0.39953 | 0.97861 | -0.41057 | 3.686
26 | 0.01057 | 0.0026492 | -0.010569 | -0.0026489 | 5.814e-07 | 2.9732e-07 | 0.016106 | 0.016106 | 0.016106 | 0.97655 | -0.45083 | 0.97649 | -0.45198 | 4.4247
27 | 0.0041395 | 0.0010374 | -0.0041394 | -0.0010374 | 1.5197e-07 | -3.1248e-08 | 0.0062943 | 0.0062944 | 0.0062944 | 0.97861 | -0.41057 | 0.97857 | -0.41134 | 1.7292

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41627 | 0.10647

## res_load
| p_mw | q_mvar
0 | 0.054625 | 0.01369
1 | 0.068131 | 0.017075
2 | 0.035639 | 0.008932
3 | 0.062925 | 0.01577
4 | 0.024127 | 0.0060469
5 | 0.0087691 | 0.0021977
6 | 0.010146 | 0.0025429
7 | 0.0059727 | 0.0014969
8 | 0.0044109 | 0.0011055
9 | 0.018585 | 0.0046578
10 | 0.010756 | 0.0026958
11 | 0.01732 | 0.0043409
12 | 0.06473 | 0.016223
13 | 0.0024969 | 0.00062578
14 | 0.0046844 | 0.001174
15 | 0.0041394 | 0.0010374
16 | 0.010569 | 0.0026489

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1