## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2196-90_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2196-90_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2196-90_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2196-90_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2196-90_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2196-90_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2196-90_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2196-90_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2196-90_0_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_2196-90_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_2196-90_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2196-90_0_3_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_2196-90_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2196-90_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2196-90_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2196-90_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2196-90_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2196-90_0_3_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_2196-90_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2196-90_0_3_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_2196-90_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_2196-90_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2196-90_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2196-90_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2196-90_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2196-90_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2196-90_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_2196-90_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2196-90_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2196-90_0_3_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_2196-90_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2196-90_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2196-90_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2196-90_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2196-90_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2196-90_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2196-90_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2196-90_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_2196-90_0_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_2196-90_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2196-90_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2196-90_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2196-90_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2196-90_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_2196-90_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2196-90_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2196-90_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2196-90_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2196-90_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2196-90_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_2196-90_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2196-90_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_2196-90_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2196-90_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2196-90_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2196-90_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2196-90_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2196-90_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_2196-90_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_MV_382_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2196-90_0_3_load_0 | 0 | 0.0037622 | 0.00094289 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2196-90_0_3_load_1 | 1 | 0.0095193 | 0.0023858 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2196-90_0_3_load_2 | 2 | 0.0021818 | 0.0005468 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2196-90_0_3_load_3 | 3 | 0.0013356 | 0.00033472 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2196-90_0_3_load_4 | 4 | 0.0011018 | 0.00027614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2196-90_0_3_load_5 | 5 | 0.0077334 | 0.0019382 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2196-90_0_3_load_22 | 7 | 0.001044 | 0.00026165 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2196-90_0_3_load_42 | 8 | 0.0030969 | 0.00077616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2196-90_0_3_load_21 | 10 | 0.0018631 | 0.00046693 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2196-90_0_3_load_43 | 11 | 0.014593 | 0.0036573 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2196-90_0_3_load_6 | 12 | 0.0015121 | 0.00037897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2196-90_0_3_load_7 | 13 | 0.0061963 | 0.0015529 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2196-90_0_3_load_8 | 14 | 0.013933 | 0.0034919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2196-90_0_3_load_9 | 15 | 0.0031814 | 0.00079734 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2196-90_0_3_load_10 | 16 | 0.0015045 | 0.00037706 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2196-90_0_3_load_50 | 19 | 0.0032378 | 0.00081146 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2196-90_0_3_load_48 | 20 | 0.0038407 | 0.00096256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2196-90_0_3_load_15 | 21 | 0.00088095 | 0.00022079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2196-90_0_3_load_11 | 22 | 0.0016466 | 0.00041266 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2196-90_0_3_load_12 | 23 | 0.0016311 | 0.00040878 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2196-90_0_3_load_14 | 24 | 0.0011299 | 0.00028319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2196-90_0_3_load_18 | 25 | 0.015811 | 0.0039625 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2196-90_0_3_load_29 | 26 | 0.015708 | 0.0039368 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2196-90_0_3_load_17 | 27 | 0.0014407 | 0.00036108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2196-90_0_3_load_59 | 29 | 0.0047516 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2196-90_0_3_load_19 | 33 | 0.010602 | 0.0026571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2196-90_0_3_load_23 | 34 | 0.018284 | 0.0045824 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2196-90_0_3_load_31 | 35 | 0.0078417 | 0.0019653 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2196-90_0_3_load_30 | 36 | 0.0039244 | 0.00098354 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2196-90_0_3_load_57 | 37 | 0.0073698 | 0.001847 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2196-90_0_3_load_58 | 38 | 0.011182 | 0.0028024 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2196-90_0_3_load_32 | 39 | 0.0047806 | 0.0011981 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2196-90_0_3_load_34 | 40 | 0.0087621 | 0.002196 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2196-90_0_3_load_41 | 43 | 0.0054107 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2196-90_0_3_load_40 | 44 | 0.0047842 | 0.001199 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2196-90_0_3_load_36 | 45 | 0.007042 | 0.0017649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2196-90_0_3_load_35 | 46 | 0.01028 | 0.0025765 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2196-90_0_3_load_37 | 47 | 0.0032597 | 0.00081695 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2196-90_0_3_load_39 | 48 | 0.0034467 | 0.00086382 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2196-90_0_3_load_56 | 49 | 0.0098826 | 0.0024768 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2196-90_0_3_load_55 | 50 | 0.0055259 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2196-90_0_3_load_47 | 51 | 0.0033507 | 0.00083976 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2196-90_0_3_load_45 | 52 | 0.0056706 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2196-90_0_3_load_44 | 53 | 0.0051022 | 0.0012787 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2196-90_0_3_load_46 | 54 | 0.0043408 | 0.0010879 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2196-90_0_3_load_51 | 55 | 0.013656 | 0.0034224 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2196-90_0_3_load_52 | 56 | 0.0044176 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2196-90_0_3_load_53 | 57 | 0.011143 | 0.0027926 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2196-90_0_3_load_54 | 58 | 0.0057506 | 0.0014412 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2196-90_0_3_line_0 |  | 0 | 1 | 0.0061146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2196-90_0_3_line_1 |  | 0 | 2 | 0.011983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2196-90_0_3_line_2 |  | 1 | 3 | 0.0069166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2196-90_0_3_line_3 |  | 2 | 4 | 0.0050114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2196-90_0_3_line_4 |  | 2 | 5 | 0.010755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2196-90_0_3_line_5 |  | 3 | 6 | 0.022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2196-90_0_3_line_6 |  | 4 | 7 | 0.0048451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2196-90_0_3_line_7 |  | 5 | 8 | 0.011048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2196-90_0_3_line_8 |  | 6 | 9 | 0.011763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2196-90_0_3_line_9 |  | 7 | 10 | 0.0055399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2196-90_0_3_line_10 |  | 8 | 11 | 0.0023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2196-90_0_3_line_11 |  | 9 | 36 | 0.0016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2196-90_0_3_line_12 |  | 11 | 51 | 0.0060506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2196-90_0_3_line_13 |  | 12 | 13 | 0.00019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2196-90_0_3_line_14 |  | 12 | 14 | 0.0043078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2196-90_0_3_line_15 |  | 13 | 15 | 0.0018679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2196-90_0_3_line_16 |  | 14 | 16 | 0.014032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2196-90_0_3_line_17 |  | 15 | 17 | 0.011173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2196-90_0_3_line_18 |  | 16 | 18 | 0.008029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2196-90_0_3_line_19 |  | 17 | 19 | 0.0066976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2196-90_0_3_line_20 |  | 17 | 20 | 0.0067606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2196-90_0_3_line_21 |  | 18 | 21 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2196-90_0_3_line_22 |  | 18 | 22 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2196-90_0_3_line_23 |  | 19 | 55 | 0.0052142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2196-90_0_3_line_24 |  | 20 | 54 | 0.0036092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2196-90_0_3_line_25 |  | 21 | 26 | 0.0047832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2196-90_0_3_line_26 |  | 22 | 23 | 0.0023642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2196-90_0_3_line_27 |  | 23 | 24 | 0.012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2196-90_0_3_line_28 |  | 24 | 25 | 0.0076521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2196-90_0_3_line_29 |  | 25 | 27 | 0.0072814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2196-90_0_3_line_30 |  | 27 | 33 | 0.009834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2196-90_0_3_line_31 |  | 28 | 29 | 0.018366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2196-90_0_3_line_32 |  | 28 | 30 | 0.062683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2196-90_0_3_line_33 |  | 30 | 35 | 0.0089213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2196-90_0_3_line_34 |  | 31 | 32 | 0.17418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2196-90_0_3_line_35 |  | 31 | 33 | 0.025454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2196-90_0_3_line_36 |  | 32 | 34 | 0.07669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2196-90_0_3_line_37 |  | 35 | 39 | 0.0016274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2196-90_0_3_line_38 |  | 37 | 38 | 1.3553e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2196-90_0_3_line_39 |  | 38 | 41 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2196-90_0_3_line_40 |  | 39 | 40 | 0.0064352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2196-90_0_3_line_41 |  | 40 | 43 | 0.0040828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2196-90_0_3_line_42 |  | 41 | 42 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2196-90_0_3_line_43 |  | 42 | 44 | 0.0033545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2196-90_0_3_line_44 |  | 42 | 45 | 0.0048656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2196-90_0_3_line_45 |  | 43 | 44 | 0.003805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2196-90_0_3_line_46 |  | 45 | 46 | 0.0061834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2196-90_0_3_line_47 |  | 46 | 47 | 0.0038487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2196-90_0_3_line_48 |  | 47 | 48 | 0.0029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2196-90_0_3_line_49 |  | 48 | 49 | 0.0013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2196-90_0_3_line_50 |  | 49 | 50 | 0.0024443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2196-90_0_3_line_51 |  | 50 | 58 | 0.0031115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2196-90_0_3_line_52 |  | 51 | 52 | 0.0011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2196-90_0_3_line_53 |  | 52 | 53 | 0.0049551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2196-90_0_3_line_54 |  | 53 | 54 | 0.001497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2196-90_0_3_line_55 |  | 55 | 56 | 0.0066152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2196-90_0_3_line_56 |  | 56 | 57 | 0.003612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2196-90_0_3_line_57 |  | 57 | 58 | 0.0054293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2196-90_0_3_trafo_51 | 0.63 MVA 20/0.4 kV | 59 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2579194.6624 | 1183712.864 | 2579196.1151 | 1183718.8036
1 | 2579191.8155 | 1183701.2239 | 2579194.6624 | 1183712.864
2 | 2579196.1151 | 1183718.8036 | 2579197.7584 | 1183725.5222
3 | 2579191.8155 | 1183701.2239 | 2579187.7136 | 1183704.103
4 | 2579191.8155 | 1183701.2239 | 2579198.6652 | 1183697.5536 | 2579201.5712 | 1183696.8765 | 2579201.5712 | 1183696.8765
5 | 2579203.0054 | 1183746.9753 | 2579197.7584 | 1183725.5222
6 | 2579187.7136 | 1183704.103 | 2579184.4139 | 1183706.4191 | 2579183.7422 | 1183706.8782
7 | 2579201.5712 | 1183696.8765 | 2579208.0727 | 1183696.2313 | 2579212.5848 | 1183696.08
8 | 2579203.0054 | 1183746.9753 | 2579206.1081 | 1183745.7861 | 2579213.9905 | 1183742.7682
9 | 2579183.7422 | 1183706.8782 | 2579179.1686 | 1183710.0043
10 | 2579214.9231 | 1183696.0016 | 2579212.5848 | 1183696.08
11 | 2579213.9905 | 1183742.7682 | 2579215.5245 | 1183742.1809
12 | 2579214.9231 | 1183696.0016 | 2579220.9704 | 1183695.7989
13 | 2579245.6655 | 1183705.1573 | 2579245.7925 | 1183705.3118
14 | 2579245.7925 | 1183705.3118 | 2579248.5285 | 1183708.6391
15 | 2579244.479 | 1183703.7145 | 2579245.6655 | 1183705.1573
16 | 2579257.4412 | 1183719.4777 | 2579248.5285 | 1183708.6391
17 | 2579238.7981 | 1183694.2344 | 2579239.5624 | 1183696.6885 | 2579241.6665 | 1183700.2942 | 2579244.479 | 1183703.7145
18 | 2579262.5407 | 1183725.6793 | 2579257.4412 | 1183719.4777
19 | 2579238.7981 | 1183694.2344 | 2579241.54 | 1183692.4461 | 2579243.7971 | 1183689.8712
20 | 2579238.7981 | 1183694.2344 | 2579234.7181 | 1183695.338 | 2579232.1856 | 1183695.4229
21 | 2579262.5407 | 1183725.6793 | 2579259.2042 | 1183725.4574 | 2579248.2784 | 1183729.6405
22 | 2579262.5407 | 1183725.6793 | 2579268.9746 | 1183723.1667 | 2579271.8154 | 1183719.9886
23 | 2579243.7971 | 1183689.8712 | 2579247.2341 | 1183685.9502
24 | 2579232.1856 | 1183695.4229 | 2579228.5784 | 1183695.5438
25 | 2579248.2784 | 1183729.6405 | 2579243.8114 | 1183731.3508
26 | 2579271.8154 | 1183719.9886 | 2579273.391 | 1183718.2259
27 | 2579273.391 | 1183718.2259 | 2579279.7798 | 1183711.0785 | 2579281.9378 | 1183708.5619
28 | 2579281.9378 | 1183708.5619 | 2579286.919 | 1183702.7531
29 | 2579292.2392 | 1183697.7995 | 2579287.907 | 1183701.6009 | 2579286.919 | 1183702.7531
30 | 2579292.2392 | 1183697.7995 | 2579295.1444 | 1183695.2502 | 2579299.0307 | 1183690.7198
31 | 2579258.1174 | 1183592.959 | 2579244.7798 | 1183605.623
32 | 2579258.1174 | 1183592.959 | 2579274.4331 | 1183606.8984 | 2579277.1261 | 1183608.6122 | 2579293.4011 | 1183619.6725 | 2579297.4018 | 1183624.2721 | 2579292.2495 | 1183626.5579 | 2579287.0576 | 1183630.6669
33 | 2579287.0576 | 1183630.6669 | 2579282.9404 | 1183634.272 | 2579280.5894 | 1183636.7953
34 | 2579315.6034 | 1183671.4002 | 2579325.1924 | 1183678.3706 | 2579343.3051 | 1183688.9356 | 2579375.0783 | 1183689.6705 | 2579388.6056 | 1183689.8905 | 2579396.2181 | 1183690.4645 | 2579389.6501 | 1183702.7714 | 2579377.8489 | 1183716.0747 | 2579372.4537 | 1183720.9736 | 2579347.4835 | 1183742.6713 | 2579332.6755 | 1183749.515
35 | 2579315.6034 | 1183671.4002 | 2579299.0307 | 1183690.7198
36 | 2579332.6755 | 1183749.515 | 2579318.4092 | 1183747.4634 | 2579310.2656 | 1183747.8251 | 2579302.9538 | 1183750.3296 | 2579295.9965 | 1183755.99 | 2579268.8193 | 1183781.7233
37 | 2579279.48 | 1183637.9859 | 2579280.5894 | 1183636.7953
38 | 2579292.9449 | 1183659.3138 | 2579292.9581 | 1183659.3172
39 | 2579282.7741 | 1183656.7064 | 2579292.9449 | 1183659.3138
40 | 2579279.48 | 1183637.9859 | 2579276.4518 | 1183643.6641
41 | 2579274.6446 | 1183647.322 | 2579275.3163 | 1183645.7933 | 2579276.4518 | 1183643.6641
42 | 2579271.7643 | 1183653.8765 | 2579282.7741 | 1183656.7064
43 | 2579271.7643 | 1183653.8765 | 2579273.1138 | 1183650.8055
44 | 2579271.7643 | 1183653.8765 | 2579268.8505 | 1183657.7732
45 | 2579273.1138 | 1183650.8055 | 2579274.6446 | 1183647.322
46 | 2579265.1475 | 1183662.7252 | 2579268.8505 | 1183657.7732
47 | 2579265.1475 | 1183662.7252 | 2579262.8427 | 1183665.8075
48 | 2579261.1007 | 1183668.137 | 2579262.8427 | 1183665.8075
49 | 2579260.2775 | 1183669.2379 | 2579261.1007 | 1183668.137
50 | 2579260.2775 | 1183669.2379 | 2579258.8138 | 1183671.1954
51 | 2579256.9504 | 1183673.6873 | 2579258.8138 | 1183671.1954
52 | 2579222.13 | 1183695.76 | 2579220.9704 | 1183695.7989
53 | 2579227.0823 | 1183695.594 | 2579222.13 | 1183695.76
54 | 2579227.0823 | 1183695.594 | 2579228.5784 | 1183695.5438
55 | 2579247.2341 | 1183685.9502 | 2579250.9529 | 1183681.7078 | 2579251.536 | 1183680.928
56 | 2579253.699 | 1183678.0353 | 2579251.536 | 1183680.928
57 | 2579253.699 | 1183678.0353 | 2579256.9504 | 1183673.6873

## bus_geodata
| x | y | coords
0 | 2579194.6624 | 1183712.864
1 | 2579196.1151 | 1183718.8036
2 | 2579191.8155 | 1183701.2239
3 | 2579197.7584 | 1183725.5222
4 | 2579187.7136 | 1183704.103
5 | 2579201.5712 | 1183696.8765
6 | 2579203.0054 | 1183746.9753
7 | 2579183.7422 | 1183706.8782
8 | 2579212.5848 | 1183696.08
9 | 2579213.9905 | 1183742.7682
10 | 2579179.1686 | 1183710.0043
11 | 2579214.9231 | 1183696.0016
12 | 2579245.7925 | 1183705.3118
13 | 2579245.6655 | 1183705.1573
14 | 2579248.5285 | 1183708.6391
15 | 2579244.479 | 1183703.7145
16 | 2579257.4412 | 1183719.4777
17 | 2579238.7981 | 1183694.2344
18 | 2579262.5407 | 1183725.6793
19 | 2579243.7971 | 1183689.8712
20 | 2579232.1856 | 1183695.4229
21 | 2579248.2784 | 1183729.6405
22 | 2579271.8154 | 1183719.9886
23 | 2579273.391 | 1183718.2259
24 | 2579281.9378 | 1183708.5619
25 | 2579286.919 | 1183702.7531
26 | 2579243.8114 | 1183731.3508
27 | 2579292.2392 | 1183697.7995
28 | 2579258.1174 | 1183592.959
29 | 2579244.7798 | 1183605.623
30 | 2579287.0576 | 1183630.6669
31 | 2579315.6034 | 1183671.4002
32 | 2579332.6755 | 1183749.515
33 | 2579299.0307 | 1183690.7198
34 | 2579268.8193 | 1183781.7233
35 | 2579280.5894 | 1183636.7953
36 | 2579215.5245 | 1183742.1809
37 | 2579292.9581 | 1183659.3172
38 | 2579292.9449 | 1183659.3138
39 | 2579279.48 | 1183637.9859
40 | 2579276.4518 | 1183643.6641
41 | 2579282.7741 | 1183656.7065
42 | 2579271.7643 | 1183653.8765
43 | 2579274.6446 | 1183647.322
44 | 2579273.1138 | 1183650.8055
45 | 2579268.8505 | 1183657.7732
46 | 2579265.1475 | 1183662.7252
47 | 2579262.8427 | 1183665.8075
48 | 2579261.1007 | 1183668.137
49 | 2579260.2775 | 1183669.2379
50 | 2579258.8138 | 1183671.1954
51 | 2579220.9704 | 1183695.7989
52 | 2579222.13 | 1183695.76
53 | 2579227.0823 | 1183695.594
54 | 2579228.5784 | 1183695.5438
55 | 2579247.2341 | 1183685.9502
56 | 2579251.536 | 1183680.928
57 | 2579253.699 | 1183678.0353
58 | 2579256.9504 | 1183673.6873
59 | 2579247.2341 | 1183685.9502

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99689 | -0.059786 | 0.0037622 | 0.00094289
1 | 0.99681 | -0.061372 | 0.0095193 | 0.0023858
2 | 0.99709 | -0.05589 | 0.0021818 | 0.0005468
3 | 0.99677 | -0.06201 | 0.0013356 | 0.00033472
4 | 0.99707 | -0.056242 | 0.0011018 | 0.00027614
5 | 0.99733 | -0.051228 | 0.0077334 | 0.0019382
6 | 0.9967 | -0.063531 | 0 | 0
7 | 0.99706 | -0.056489 | 0.001044 | 0.00026165
8 | 0.99766 | -0.044944 | 0.0030969 | 0.00077616
9 | 0.99665 | -0.064341 | 0 | 0
10 | 0.99705 | -0.05667 | 0.0018631 | 0.00046693
11 | 0.99774 | -0.043487 | 0.014593 | 0.0036573
12 | 0.99797 | -0.038888 | 0.0015121 | 0.00037897
13 | 0.99799 | -0.038594 | 0.0061963 | 0.0015529
14 | 0.99765 | -0.045116 | 0.013933 | 0.0034919
15 | 0.99814 | -0.035642 | 0.0031814 | 0.00079734
16 | 0.99677 | -0.062 | 0.0015045 | 0.00037706
17 | 0.99909 | -0.017389 | 0 | 0
18 | 0.99628 | -0.071462 | 0 | 0
19 | 0.9996 | -0.0076905 | 0.0032378 | 0.00081146
20 | 0.99865 | -0.025947 | 0.0038407 | 0.00096256
21 | 0.99605 | -0.075845 | 0.00088095 | 0.00022079
22 | 0.99576 | -0.081383 | 0.0016466 | 0.00041266
23 | 0.99565 | -0.083416 | 0.0016311 | 0.00040878
24 | 0.9951 | -0.094146 | 0.0011299 | 0.00028319
25 | 0.99478 | -0.10036 | 0.015811 | 0.0039625
26 | 0.99598 | -0.077166 | 0.015708 | 0.0039368
27 | 0.99457 | -0.10426 | 0.0014407 | 0.00036108
28 | 0.99609 | -0.075202 | 0 | 0
29 | 0.99601 | -0.076735 | 0.0047516 | 0.0011909
30 | 0.99636 | -0.069969 | 0 | 0
31 | 0.99389 | -0.11748 | 0 | 0
32 | 0.99097 | -0.17385 | 0 | 0
33 | 0.99431 | -0.10926 | 0.010602 | 0.0026571
34 | 0.98968 | -0.19877 | 0.018284 | 0.0045824
35 | 0.9964 | -0.069225 | 0.0078417 | 0.0019653
36 | 0.99665 | -0.064454 | 0.0039244 | 0.00098354
37 | 0.99647 | -0.067895 | 0.0073698 | 0.001847
38 | 0.99647 | -0.067893 | 0.011182 | 0.0028024
39 | 0.99642 | -0.068865 | 0.0047806 | 0.0011981
40 | 0.99652 | -0.066902 | 0.0087621 | 0.002196
41 | 0.99665 | -0.064474 | 0 | 0
42 | 0.99684 | -0.060785 | 0 | 0
43 | 0.99662 | -0.065029 | 0.0054107 | 0.001356
44 | 0.99673 | -0.062923 | 0.0047842 | 0.001199
45 | 0.99708 | -0.056102 | 0.007042 | 0.0017649
46 | 0.99743 | -0.049391 | 0.01028 | 0.0025765
47 | 0.99768 | -0.044523 | 0.0032597 | 0.00081695
48 | 0.99788 | -0.04068 | 0.0034467 | 0.00086382
49 | 0.99798 | -0.038781 | 0.0098826 | 0.0024768
50 | 0.99818 | -0.034984 | 0.0055259 | 0.0013849
51 | 0.99801 | -0.038175 | 0.0033507 | 0.00083976
52 | 0.99807 | -0.037088 | 0.0056706 | 0.0014212
53 | 0.99833 | -0.031959 | 0.0051022 | 0.0012787
54 | 0.99842 | -0.030276 | 0.0043408 | 0.0010879
55 | 1 | 0 | -0.28733 | -0.071938
56 | 0.9993 | -0.013342 | 0.0044176 | 0.0011072
57 | 0.99894 | -0.020356 | 0.011143 | 0.0027926
58 | 0.99845 | -0.029851 | 0.0057506 | 0.0014412
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014781 | 0.0037045 | -0.01478 | -0.0037039 | 1.1162e-06 | 6.3463e-07 | 0.022063 | 0.022063 | 0.022063 | 0.99689 | -0.059786 | 0.99681 | -0.061372 | 6.0613
1 | -0.018543 | -0.0046474 | 0.018547 | 0.0046494 | 3.4426e-06 | 2.047e-06 | 0.027679 | 0.027679 | 0.027679 | 0.99689 | -0.059786 | 0.99709 | -0.05589 | 7.604
2 | 0.0052606 | 0.0013181 | -0.0052604 | -0.0013181 | 1.5995e-07 | 1.2205e-08 | 0.0078527 | 0.0078528 | 0.0078528 | 0.99681 | -0.061372 | 0.99677 | -0.06201 | 2.1574
3 | 0.004009 | 0.0010046 | -0.0040089 | -0.0010046 | 6.7267e-08 | -2.2313e-08 | 0.0059828 | 0.0059828 | 0.0059828 | 0.99709 | -0.05589 | 0.99707 | -0.056242 | 1.6436
4 | -0.024737 | -0.0062008 | 0.024743 | 0.0062042 | 5.4966e-06 | 3.3775e-06 | 0.036917 | 0.036917 | 0.036917 | 0.99709 | -0.05589 | 0.99733 | -0.051228 | 10.1421
5 | 0.0039248 | 0.00098337 | -0.0039246 | -0.00098348 | 2.8431e-07 | -1.059e-07 | 0.005859 | 0.0058591 | 0.0058591 | 0.99677 | -0.06201 | 0.9967 | -0.063531 | 1.6096
6 | 0.0029071 | 0.00072847 | -0.0029071 | -0.00072852 | 3.4199e-08 | -4.1305e-08 | 0.0043385 | 0.0043385 | 0.0043385 | 0.99707 | -0.056242 | 0.99706 | -0.056489 | 1.1919
7 | -0.032476 | -0.0081424 | 0.032486 | 0.0081485 | 9.7275e-06 | 6.0814e-06 | 0.048455 | 0.048455 | 0.048455 | 0.99733 | -0.051228 | 0.99766 | -0.044944 | 13.3119
8 | 0.0039246 | 0.00098348 | -0.0039244 | -0.00098354 | 1.5143e-07 | -5.6382e-08 | 0.0058591 | 0.0058592 | 0.0058592 | 0.9967 | -0.063531 | 0.99665 | -0.064341 | 1.6097
9 | 0.0018631 | 0.00046686 | -0.0018631 | -0.00046693 | 1.6061e-08 | -6.1974e-08 | 0.0027804 | 0.0027805 | 0.0027805 | 0.99706 | -0.056489 | 0.99705 | -0.05667 | 0.76386
10 | -0.035583 | -0.0089246 | 0.035585 | 0.0089262 | 2.4714e-06 | 1.5511e-06 | 0.053074 | 0.053074 | 0.053074 | 0.99766 | -0.044944 | 0.99774 | -0.043487 | 14.5809
11 | 0.0039244 | 0.00098354 | -0.0039244 | -0.00098354 | 2.1146e-08 | -7.8718e-09 | 0.0058592 | 0.0058592 | 0.0058592 | 0.99665 | -0.064341 | 0.99665 | -0.064454 | 1.6097
12 | -0.050178 | -0.012584 | 0.050191 | 0.012592 | 1.2708e-05 | 8.0541e-06 | 0.074838 | 0.074838 | 0.074838 | 0.99774 | -0.043487 | 0.99801 | -0.038175 | 20.56
13 | -0.084356 | -0.021243 | 0.084357 | 0.021244 | 1.187e-06 | 7.5708e-07 | 0.12581 | 0.12581 | 0.12581 | 0.99797 | -0.038888 | 0.99799 | -0.038594 | 34.5643
14 | 0.082844 | 0.020864 | -0.082819 | -0.020848 | 2.4662e-05 | 1.5728e-05 | 0.12356 | 0.12356 | 0.12356 | 0.99797 | -0.038888 | 0.99765 | -0.045116 | 33.9449
15 | -0.090553 | -0.022797 | 0.090566 | 0.022805 | 1.2776e-05 | 8.1524e-06 | 0.13505 | 0.13505 | 0.13505 | 0.99799 | -0.038594 | 0.99814 | -0.035642 | 37.1024
16 | 0.068887 | 0.017356 | -0.068831 | -0.017321 | 5.5587e-05 | 3.5392e-05 | 0.10278 | 0.10278 | 0.10278 | 0.99765 | -0.045116 | 0.99677 | -0.062 | 28.2358
17 | -0.093748 | -0.023602 | 0.09383 | 0.023654 | 8.1884e-05 | 5.226e-05 | 0.1398 | 0.1398 | 0.1398 | 0.99814 | -0.035642 | 0.99909 | -0.017389 | 38.4054
18 | 0.067326 | 0.016944 | -0.067296 | -0.016925 | 3.043e-05 | 1.9371e-05 | 0.10053 | 0.10053 | 0.10053 | 0.99677 | -0.062 | 0.99628 | -0.071462 | 27.6188
19 | -0.16639 | -0.041878 | 0.16647 | 0.041928 | 7.7162e-05 | 4.9208e-05 | 0.24788 | 0.24788 | 0.24788 | 0.99909 | -0.017389 | 0.9996 | -0.0076905 | 34.0495
20 | 0.072562 | 0.018224 | -0.072533 | -0.018205 | 2.9618e-05 | 1.8867e-05 | 0.10809 | 0.10809 | 0.10809 | 0.99909 | -0.017389 | 0.99865 | -0.025947 | 29.6937
21 | 0.016594 | 0.0041602 | -0.01659 | -0.0041582 | 3.4652e-06 | 2.0219e-06 | 0.024784 | 0.024784 | 0.024784 | 0.99628 | -0.071462 | 0.99605 | -0.075845 | 6.8089
22 | 0.050702 | 0.012764 | -0.050678 | -0.012749 | 2.4034e-05 | 1.5236e-05 | 0.075748 | 0.075748 | 0.075748 | 0.99628 | -0.071462 | 0.99576 | -0.081383 | 20.81
23 | -0.16971 | -0.042739 | 0.16977 | 0.042779 | 6.2431e-05 | 3.9819e-05 | 0.2527 | 0.2527 | 0.2527 | 0.9996 | -0.0076905 | 1 | 0 | 34.7116
24 | 0.068692 | 0.017242 | -0.068678 | -0.017233 | 1.4181e-05 | 9.0289e-06 | 0.10236 | 0.10236 | 0.10236 | 0.99865 | -0.025947 | 0.99842 | -0.030276 | 28.1216
25 | 0.015709 | 0.0039374 | -0.015708 | -0.0039368 | 9.879e-07 | 5.7001e-07 | 0.023468 | 0.023468 | 0.023468 | 0.99605 | -0.075845 | 0.99598 | -0.077166 | 6.4473
26 | 0.049032 | 0.012337 | -0.049027 | -0.012333 | 4.7619e-06 | 3.0169e-06 | 0.073288 | 0.073288 | 0.073288 | 0.99576 | -0.081383 | 0.99565 | -0.083416 | 20.134
27 | 0.047396 | 0.011925 | -0.047372 | -0.011909 | 2.4286e-05 | 1.5376e-05 | 0.07085 | 0.07085 | 0.07085 | 0.99565 | -0.083416 | 0.9951 | -0.094146 | 19.4644
28 | 0.046242 | 0.011626 | -0.046228 | -0.011617 | 1.3725e-05 | 8.6849e-06 | 0.069161 | 0.069161 | 0.069161 | 0.9951 | -0.094146 | 0.99478 | -0.10036 | 19.0002
29 | 0.030417 | 0.0076549 | -0.030412 | -0.0076514 | 5.6555e-06 | 3.525e-06 | 0.045511 | 0.045511 | 0.045511 | 0.99478 | -0.10036 | 0.99457 | -0.10426 | 12.5029
30 | 0.028971 | 0.0072903 | -0.028964 | -0.007286 | 6.9318e-06 | 4.3087e-06 | 0.043355 | 0.043355 | 0.043355 | 0.99457 | -0.10426 | 0.99431 | -0.10926 | 11.9107
31 | 0.0047519 | 0.0011908 | -0.0047516 | -0.0011909 | 3.4706e-07 | -1.6931e-08 | 0.0070987 | 0.0070988 | 0.0070988 | 0.99609 | -0.075202 | 0.99601 | -0.076735 | 1.9502
32 | -0.0047519 | -0.0011908 | 0.0047531 | 0.0011908 | 1.1845e-06 | -5.8113e-08 | 0.0070987 | 0.0070984 | 0.0070987 | 0.99609 | -0.075202 | 0.99636 | -0.069969 | 1.9502
33 | -0.0047531 | -0.0011908 | 0.0047533 | 0.0011908 | 1.6857e-07 | -8.3119e-09 | 0.0070984 | 0.0070983 | 0.0070984 | 0.99636 | -0.069969 | 0.9964 | -0.069225 | 1.9501
34 | 0.018355 | 0.0046247 | -0.018306 | -0.0045953 | 4.936e-05 | 2.934e-05 | 0.027489 | 0.02749 | 0.02749 | 0.99389 | -0.11748 | 0.99097 | -0.17385 | 7.5522
35 | -0.018355 | -0.0046247 | 0.018362 | 0.0046289 | 7.2129e-06 | 4.2863e-06 | 0.027489 | 0.027489 | 0.027489 | 0.99389 | -0.11748 | 0.99431 | -0.10926 | 7.552
36 | 0.018306 | 0.0045953 | -0.018284 | -0.0045824 | 2.1733e-05 | 1.2923e-05 | 0.02749 | 0.02749 | 0.02749 | 0.99097 | -0.17385 | 0.98968 | -0.19877 | 7.5523
37 | -0.012595 | -0.0031561 | 0.012595 | 0.0031562 | 2.159e-07 | 1.1698e-07 | 0.018809 | 0.018809 | 0.018809 | 0.9964 | -0.069225 | 0.99642 | -0.068865 | 5.1673
38 | -0.0073698 | -0.001847 | 0.0073698 | 0.001847 | 6.1536e-10 | 2.1995e-10 | 0.011005 | 0.011005 | 0.011005 | 0.99647 | -0.067895 | 0.99647 | -0.067893 | 3.0234
39 | -0.018551 | -0.0046494 | 0.018554 | 0.0046512 | 3.0217e-06 | 1.7971e-06 | 0.027702 | 0.027702 | 0.027702 | 0.99647 | -0.067893 | 0.99665 | -0.064474 | 7.6106
40 | -0.017376 | -0.0043543 | 0.017377 | 0.0043553 | 1.6248e-06 | 9.5606e-07 | 0.025948 | 0.025948 | 0.025948 | 0.99642 | -0.068865 | 0.99652 | -0.066902 | 7.1286
41 | -0.026139 | -0.0065513 | 0.026142 | 0.0065527 | 2.3325e-06 | 1.4396e-06 | 0.039032 | 0.039032 | 0.039032 | 0.99652 | -0.066902 | 0.99662 | -0.065029 | 10.723
42 | -0.018554 | -0.0046512 | 0.018558 | 0.0046531 | 3.2626e-06 | 1.9403e-06 | 0.027702 | 0.027702 | 0.027702 | 0.99665 | -0.064474 | 0.99684 | -0.060785 | 7.6105
43 | 0.036344 | 0.0091121 | -0.03634 | -0.0091098 | 3.7025e-06 | 2.3259e-06 | 0.054252 | 0.054253 | 0.054253 | 0.99684 | -0.060785 | 0.99673 | -0.062923 | 14.9045
44 | -0.054901 | -0.013765 | 0.054913 | 0.013773 | 1.2255e-05 | 7.7799e-06 | 0.081955 | 0.081955 | 0.081955 | 0.99684 | -0.060785 | 0.99708 | -0.056102 | 22.5151
45 | -0.031552 | -0.0079087 | 0.031556 | 0.0079107 | 3.1668e-06 | 1.9772e-06 | 0.04711 | 0.04711 | 0.04711 | 0.99662 | -0.065029 | 0.99673 | -0.062923 | 12.9424
46 | -0.061955 | -0.015538 | 0.061975 | 0.015551 | 1.9825e-05 | 1.2607e-05 | 0.092464 | 0.092464 | 0.092464 | 0.99708 | -0.056102 | 0.99743 | -0.049391 | 25.4022
47 | -0.072256 | -0.018127 | 0.072272 | 0.018138 | 1.6772e-05 | 1.0684e-05 | 0.1078 | 0.1078 | 0.1078 | 0.99743 | -0.049391 | 0.99768 | -0.044523 | 29.6156
48 | -0.075532 | -0.018955 | 0.075546 | 0.018963 | 1.3845e-05 | 8.8231e-06 | 0.11266 | 0.11266 | 0.11266 | 0.99768 | -0.044523 | 0.99788 | -0.04068 | 30.9512
49 | -0.078993 | -0.019827 | 0.079 | 0.019832 | 7.1533e-06 | 4.5602e-06 | 0.1178 | 0.1178 | 0.1178 | 0.99788 | -0.04068 | 0.99798 | -0.038781 | 32.3632
50 | -0.088882 | -0.022309 | 0.088898 | 0.022319 | 1.6101e-05 | 1.0273e-05 | 0.13254 | 0.13254 | 0.13254 | 0.99798 | -0.038781 | 0.99818 | -0.034984 | 36.4113
51 | -0.094424 | -0.023704 | 0.094447 | 0.023719 | 2.3124e-05 | 1.4758e-05 | 0.14077 | 0.14077 | 0.14077 | 0.99818 | -0.034984 | 0.99845 | -0.029851 | 38.6744
52 | -0.053542 | -0.013431 | 0.053544 | 0.013433 | 2.7731e-06 | 1.7596e-06 | 0.079834 | 0.079834 | 0.079834 | 0.99801 | -0.038175 | 0.99807 | -0.037088 | 21.9324
53 | -0.059215 | -0.014854 | 0.05923 | 0.014863 | 1.4484e-05 | 9.205e-06 | 0.088288 | 0.088288 | 0.088288 | 0.99807 | -0.037088 | 0.99833 | -0.031959 | 24.255
54 | -0.064332 | -0.016142 | 0.064337 | 0.016145 | 5.1621e-06 | 3.2841e-06 | 0.095893 | 0.095893 | 0.095893 | 0.99833 | -0.031959 | 0.99842 | -0.030276 | 26.3442
55 | 0.11591 | 0.02916 | -0.11584 | -0.029112 | 7.3835e-05 | 4.7168e-05 | 0.17252 | 0.17252 | 0.17252 | 1 | 0 | 0.9993 | -0.013342 | 47.3959
56 | 0.11142 | 0.028005 | -0.11139 | -0.027981 | 3.7299e-05 | 2.3824e-05 | 0.16594 | 0.16594 | 0.16594 | 0.9993 | -0.013342 | 0.99894 | -0.020356 | 45.5888
57 | 0.10024 | 0.025189 | -0.1002 | -0.02516 | 4.541e-05 | 2.8992e-05 | 0.14935 | 0.14935 | 0.14935 | 0.99894 | -0.020356 | 0.99845 | -0.029851 | 41.0289

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30099 | 0.075361

## res_load
| p_mw | q_mvar
0 | 0.0037622 | 0.00094289
1 | 0.0095193 | 0.0023858
2 | 0.0021818 | 0.0005468
3 | 0.0013356 | 0.00033472
4 | 0.0011018 | 0.00027614
5 | 0.0077334 | 0.0019382
6 | 0.001044 | 0.00026165
7 | 0.0030969 | 0.00077616
8 | 0.0018631 | 0.00046693
9 | 0.014593 | 0.0036573
10 | 0.0015121 | 0.00037897
11 | 0.0061963 | 0.0015529
12 | 0.013933 | 0.0034919
13 | 0.0031814 | 0.00079734
14 | 0.0015045 | 0.00037706
15 | 0.0032378 | 0.00081146
16 | 0.0038407 | 0.00096256
17 | 0.00088095 | 0.00022079
18 | 0.0016466 | 0.00041266
19 | 0.0016311 | 0.00040878
20 | 0.0011299 | 0.00028319
21 | 0.015811 | 0.0039625
22 | 0.015708 | 0.0039368
23 | 0.0014407 | 0.00036108
24 | 0.0047516 | 0.0011909
25 | 0.010602 | 0.0026571
26 | 0.018284 | 0.0045824
27 | 0.0078417 | 0.0019653
28 | 0.0039244 | 0.00098354
29 | 0.0073698 | 0.001847
30 | 0.011182 | 0.0028024
31 | 0.0047806 | 0.0011981
32 | 0.0087621 | 0.002196
33 | 0.0054107 | 0.001356
34 | 0.0047842 | 0.001199
35 | 0.007042 | 0.0017649
36 | 0.01028 | 0.0025765
37 | 0.0032597 | 0.00081695
38 | 0.0034467 | 0.00086382
39 | 0.0098826 | 0.0024768
40 | 0.0055259 | 0.0013849
41 | 0.0033507 | 0.00083976
42 | 0.0056706 | 0.0014212
43 | 0.0051022 | 0.0012787
44 | 0.0043408 | 0.0010879
45 | 0.013656 | 0.0034224
46 | 0.0044176 | 0.0011072
47 | 0.011143 | 0.0027926
48 | 0.0057506 | 0.0014412

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1