## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2197-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2197-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2197-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2197-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2197-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2197-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2197-10_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_2197-10_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_2197-10_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2197-10_0_4_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_2197-10_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2197-10_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2197-10_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2197-10_0_4_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_2197-10_0_4_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_2197-10_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2197-10_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2197-10_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_2197-10_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2197-10_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2197-10_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2197-10_0_4_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_2197-10_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2197-10_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2197-10_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2197-10_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2197-10_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2197-10_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_2197-10_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_2197-10_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2197-10_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2197-10_0_4_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_2197-10_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2197-10_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_2197-10_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_2197-10_0_4_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_2197-10_0_4_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_2197-10_0_4_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_2197-10_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2197-10_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2197-10_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2197-10_0_4_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_2197-10_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_2197-10_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_2197-10_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2197-10_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_2197-10_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2197-10_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2197-10_0_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_2197-10_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2197-10_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2197-10_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_2197-10_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2197-10_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2197-10_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2197-10_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2197-10_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2197-10_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2197-10_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2197-10_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_2197-10_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_2197-10_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2197-10_0_4_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_2197-10_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2197-10_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2197-10_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2197-10_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2197-10_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2197-10_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2197-10_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_2197-10_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2197-10_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2197-10_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_2197-10_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2197-10_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2197-10_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_2197-10_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_2197-10_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_MV_506_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2197-10_0_4_load_0 | 0 | 0.006627 | 0.0016609 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2197-10_0_4_load_5 | 5 | 0.005554 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2197-10_0_4_load_77 | 7 | 0.0033983 | 0.00085169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2197-10_0_4_load_80 | 9 | 0.0052055 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2197-10_0_4_load_63 | 13 | 0.003937 | 0.00098671 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2197-10_0_4_load_53 | 14 | 0.011762 | 0.0029478 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2197-10_0_4_load_50 | 17 | 0.0050874 | 0.001275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2197-10_0_4_load_23 | 20 | 0.015934 | 0.0039933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2197-10_0_4_load_73 | 21 | 0.0039803 | 0.00099756 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2197-10_0_4_load_21 | 24 | 0.017557 | 0.0044002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2197-10_0_4_load_29 | 27 | 0.02483 | 0.006223 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2197-10_0_4_load_51 | 28 | 0.004528 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2197-10_0_4_load_22 | 30 | 0.056083 | 0.014056 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2197-10_0_4_load_82 | 31 | 0.017929 | 0.0044934 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2197-10_0_4_load_32 | 32 | 0.0064471 | 0.0016158 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2197-10_0_4_load_78 | 33 | 0.0044342 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2197-10_0_4_load_81 | 35 | 0.0037363 | 0.00093639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2197-10_0_4_load_52 | 37 | 0.0050181 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2197-10_0_4_load_24 | 38 | 0.0026728 | 0.00066986 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2197-10_0_4_load_26 | 39 | 0.0038664 | 0.00096902 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2197-10_0_4_load_27 | 40 | 0.0042603 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2197-10_0_4_load_74 | 41 | 0.0027573 | 0.00069104 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2197-10_0_4_load_43 | 42 | 0.025128 | 0.0062977 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2197-10_0_4_load_44 | 43 | 0.010537 | 0.0026409 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2197-10_0_4_load_28 | 44 | 0.0073802 | 0.0018497 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2197-10_0_4_load_30 | 46 | 0.003841 | 0.00096266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2197-10_0_4_load_79 | 48 | 0.0046054 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2197-10_0_4_load_34 | 50 | 0.0054508 | 0.0013661 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2197-10_0_4_load_35 | 51 | 0.0053273 | 0.0013351 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2197-10_0_4_load_36 | 52 | 0.0057131 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2197-10_0_4_load_37 | 53 | 0.0063198 | 0.0015839 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2197-10_0_4_load_40 | 54 | 0.0035512 | 0.00089 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2197-10_0_4_load_47 | 55 | 0.0090092 | 0.0022579 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2197-10_0_4_load_41 | 56 | 0.0040405 | 0.0010127 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2197-10_0_4_load_48 | 57 | 0.0082356 | 0.002064 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2197-10_0_4_load_56 | 59 | 0.007493 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2197-10_0_4_load_70 | 60 | 0.0057587 | 0.0014433 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2197-10_0_4_load_71 | 62 | 0.0038598 | 0.00096735 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2197-10_0_4_load_60 | 63 | 0.020341 | 0.0050979 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2197-10_0_4_load_58 | 64 | 0.013796 | 0.0034577 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2197-10_0_4_load_55 | 65 | 0.012459 | 0.0031226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2197-10_0_4_load_62 | 66 | 0.0099994 | 0.0025061 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2197-10_0_4_load_57 | 68 | 0.013791 | 0.0034562 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2197-10_0_4_load_61 | 69 | 0.01505 | 0.0037719 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2197-10_0_4_load_68 | 70 | 0.0046612 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2197-10_0_4_load_69 | 71 | 0.0064282 | 0.0016111 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2197-10_0_4_load_66 | 72 | 0.0026494 | 0.000664 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2197-10_0_4_load_67 | 74 | 0.0029887 | 0.00074904 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2197-10_0_4_load_72 | 75 | 0.0044892 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2197-10_0_4_load_76 | 76 | 0.0037264 | 0.00093392 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2197-10_0_4_load_75 | 77 | 0.0026093 | 0.00065395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2197-10_0_4_line_0 |  | 0 | 1 | 0.18201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2197-10_0_4_line_1 |  | 0 | 2 | 0.035342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2197-10_0_4_line_2 |  | 1 | 3 | 0.043438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2197-10_0_4_line_3 |  | 1 | 4 | 0.037885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2197-10_0_4_line_4 |  | 2 | 5 | 0.017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2197-10_0_4_line_5 |  | 3 | 6 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2197-10_0_4_line_6 |  | 3 | 7 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2197-10_0_4_line_7 |  | 4 | 8 | 0.02663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2197-10_0_4_line_8 |  | 4 | 9 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2197-10_0_4_line_9 |  | 5 | 10 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2197-10_0_4_line_10 |  | 6 | 32 | 0.0071439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2197-10_0_4_line_11 |  | 8 | 33 | 0.023422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2197-10_0_4_line_12 |  | 8 | 34 | 0.007166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2197-10_0_4_line_13 |  | 9 | 35 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2197-10_0_4_line_14 |  | 10 | 12 | 0.054229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2197-10_0_4_line_15 |  | 11 | 12 | 0.00525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2197-10_0_4_line_16 |  | 11 | 13 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2197-10_0_4_line_17 |  | 12 | 14 | 0.024557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2197-10_0_4_line_18 |  | 13 | 36 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2197-10_0_4_line_19 |  | 14 | 37 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2197-10_0_4_line_20 |  | 15 | 16 | 0.021725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2197-10_0_4_line_21 |  | 15 | 17 | 0.036199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2197-10_0_4_line_22 |  | 16 | 21 | 0.0074764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2197-10_0_4_line_23 |  | 17 | 23 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2197-10_0_4_line_24 |  | 18 | 19 | 0.032048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2197-10_0_4_line_25 |  | 18 | 20 | 0.011752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2197-10_0_4_line_26 |  | 19 | 27 | 0.022741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2197-10_0_4_line_27 |  | 19 | 29 | 0.033251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2197-10_0_4_line_28 |  | 20 | 38 | 0.027688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2197-10_0_4_line_29 |  | 21 | 41 | 0.0062691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2197-10_0_4_line_30 |  | 22 | 23 | 0.13938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2197-10_0_4_line_31 |  | 22 | 24 | 0.0023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2197-10_0_4_line_32 |  | 23 | 28 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2197-10_0_4_line_33 |  | 24 | 30 | 0.043117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2197-10_0_4_line_34 |  | 25 | 26 | 0.10106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2197-10_0_4_line_35 |  | 25 | 27 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2197-10_0_4_line_36 |  | 26 | 31 | 0.004875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2197-10_0_4_line_37 |  | 29 | 30 | 0.020245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2197-10_0_4_line_38 |  | 32 | 47 | 0.025466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2197-10_0_4_line_39 |  | 34 | 55 | 0.011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2197-10_0_4_line_40 |  | 34 | 52 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2197-10_0_4_line_41 |  | 36 | 72 | 0.0029296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2197-10_0_4_line_42 |  | 37 | 61 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2197-10_0_4_line_43 |  | 38 | 45 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2197-10_0_4_line_44 |  | 39 | 40 | 0.025566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2197-10_0_4_line_45 |  | 40 | 45 | 0.026029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2197-10_0_4_line_46 |  | 41 | 73 | 0.002857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2197-10_0_4_line_47 |  | 42 | 43 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2197-10_0_4_line_48 |  | 43 | 58 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2197-10_0_4_line_49 |  | 44 | 45 | 0.02057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2197-10_0_4_line_50 |  | 46 | 47 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2197-10_0_4_line_51 |  | 48 | 49 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2197-10_0_4_line_52 |  | 49 | 56 | 0.038672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2197-10_0_4_line_53 |  | 50 | 51 | 0.013791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2197-10_0_4_line_54 |  | 50 | 52 | 0.019326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2197-10_0_4_line_55 |  | 51 | 53 | 0.023231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2197-10_0_4_line_56 |  | 53 | 54 | 0.01102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2197-10_0_4_line_57 |  | 54 | 56 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2197-10_0_4_line_58 |  | 55 | 57 | 0.03732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2197-10_0_4_line_59 |  | 58 | 59 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2197-10_0_4_line_60 |  | 58 | 60 | 0.019503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2197-10_0_4_line_61 |  | 59 | 61 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2197-10_0_4_line_62 |  | 60 | 62 | 0.029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2197-10_0_4_line_63 |  | 61 | 65 | 0.055237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2197-10_0_4_line_64 |  | 62 | 75 | 0.0008792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2197-10_0_4_line_65 |  | 63 | 64 | 0.037526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2197-10_0_4_line_66 |  | 64 | 68 | 0.037679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2197-10_0_4_line_67 |  | 65 | 66 | 0.00082489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2197-10_0_4_line_68 |  | 66 | 67 | 0.031814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2197-10_0_4_line_69 |  | 67 | 69 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2197-10_0_4_line_70 |  | 67 | 68 | 0.032192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2197-10_0_4_line_71 |  | 69 | 70 | 0.0035302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2197-10_0_4_line_72 |  | 70 | 71 | 0.025218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2197-10_0_4_line_73 |  | 72 | 74 | 0.0014797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2197-10_0_4_line_74 |  | 73 | 74 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2197-10_0_4_line_75 |  | 75 | 76 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2197-10_0_4_line_76 |  | 76 | 77 | 0.00031328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2197-10_0_4_trafo_44 | 0.63 MVA 20/0.4 kV | 78 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2576694.0687 | 1184312.8518 | 2576746.1467 | 1184387.232 | 2576782.9335 | 1184441.5171 | 2576785.1559 | 1184447.7562 | 2576786.4077 | 1184459.5352 | 2576786.3492 | 1184466.6975
1 | 2576784.0463 | 1184501.911 | 2576786.2113 | 1184483.5819 | 2576786.3492 | 1184466.6975
2 | 2576651.9015 | 1184311.8049 | 2576675.1387 | 1184312.6367 | 2576682.1565 | 1184315.4441 | 2576684.715 | 1184313.8889 | 2576691.7224 | 1184314.0282 | 2576694.0687 | 1184312.8518
3 | 2576687.3629 | 1184339.1028 | 2576687.5384 | 1184327.3738 | 2576686.1593 | 1184320.1754 | 2576682.1565 | 1184315.4441 | 2576684.715 | 1184313.8889 | 2576691.7224 | 1184314.0282 | 2576694.0687 | 1184312.8518
4 | 2576784.0463 | 1184501.911 | 2576782.7533 | 1184512.8885 | 2576783.1881 | 1184519.2591
5 | 2576651.9015 | 1184311.8049 | 2576638.0098 | 1184311.7926
6 | 2576651.9015 | 1184311.8049 | 2576652.322 | 1184296.8992
7 | 2576687.3629 | 1184339.1028 | 2576686.4311 | 1184354.5701 | 2576685.729 | 1184360.4537 | 2576683.511 | 1184365.1648
8 | 2576687.3629 | 1184339.1028 | 2576666.8193 | 1184338.6198
9 | 2576787.728 | 1184532.0791 | 2576787.529 | 1184529.9788 | 2576783.2713 | 1184520.4793 | 2576783.1881 | 1184519.2591
10 | 2576638.0098 | 1184311.7926 | 2576630.8997 | 1184311.0987
11 | 2576683.511 | 1184365.1648 | 2576706.922 | 1184365.8898
12 | 2576677.6194 | 1184369.2677 | 2576683.511 | 1184365.1648
13 | 2576655.3332 | 1184338.3498 | 2576666.8193 | 1184338.6198
14 | 2576741.9471 | 1184535.5925 | 2576751.5526 | 1184536.6001 | 2576788.4442 | 1184539.6025 | 2576788.0861 | 1184535.8464 | 2576787.728 | 1184532.0791
15 | 2576741.9471 | 1184535.5925 | 2576741.6011 | 1184540.8299
16 | 2576741.6011 | 1184540.8299 | 2576740.5328 | 1184555.3871
17 | 2576741.9471 | 1184535.5925 | 2576720.3492 | 1184534.1204 | 2576717.4404 | 1184534.0819
18 | 2576738.9848 | 1184576.481 | 2576740.5328 | 1184555.3871
19 | 2576703.1675 | 1184533.893 | 2576717.4404 | 1184534.0819
20 | 2576742.9751 | 1184634.8404 | 2576736.224 | 1184614.1892
21 | 2576742.9751 | 1184634.8404 | 2576708.6595 | 1184646.3642
22 | 2576736.224 | 1184614.1892 | 2576736.7723 | 1184606.733
23 | 2576697.4242 | 1184650.1372 | 2576708.6595 | 1184646.3642
24 | 2576563.1666 | 1184765.2897 | 2576571.6836 | 1184755.4512 | 2576584.1439 | 1184741.0614
25 | 2576584.1439 | 1184741.0614 | 2576593.8511 | 1184747.6861
26 | 2576563.1666 | 1184765.2897 | 2576548.4714 | 1184782.6445
27 | 2576547.0039 | 1184740.607 | 2576546.4274 | 1184745.3784 | 2576547.3569 | 1184748.8655 | 2576550.1335 | 1184752.3453 | 2576549.1227 | 1184755.3731 | 2576563.1666 | 1184765.2897
28 | 2576593.8511 | 1184747.6861 | 2576613.0709 | 1184760.8028 | 2576613.7486 | 1184765.1692
29 | 2576736.7723 | 1184606.733 | 2576737.2321 | 1184600.4807
30 | 2576581.1075 | 1184688.8794 | 2576582.0183 | 1184685.6408 | 2576583.6667 | 1184679.7646 | 2576584.4796 | 1184676.871 | 2576585.3152 | 1184673.9106 | 2576586.9937 | 1184667.9453 | 2576605.4101 | 1184671.764 | 2576621.3162 | 1184673.825 | 2576636.4214 | 1184674.0548 | 2576650.8952 | 1184672.8865 | 2576661.1513 | 1184670.5229 | 2576696.1256 | 1184653.7664 | 2576697.4242 | 1184650.1372
31 | 2576581.1075 | 1184688.8794 | 2576578.8137 | 1184689.3989
32 | 2576697.4242 | 1184650.1372 | 2576673.4143 | 1184659.4874
33 | 2576578.8137 | 1184689.3989 | 2576576.6618 | 1184689.8862 | 2576572.5852 | 1184691.5698 | 2576568.7707 | 1184693.9304 | 2576564.7177 | 1184697.7372 | 2576561.665 | 1184701.6624 | 2576556.1835 | 1184712.9342 | 2576552.8687 | 1184721.2446
34 | 2576474.139 | 1184794.6776 | 2576482.9454 | 1184807.9387 | 2576490.1655 | 1184817.6709 | 2576493.624 | 1184821.8373 | 2576497.3653 | 1184826.1248 | 2576498.7406 | 1184824.5741 | 2576500.5377 | 1184823.522 | 2576502.5661 | 1184823.0916 | 2576504.6276 | 1184823.3058 | 2576513.4158 | 1184820.3697 | 2576519.8589 | 1184811.0728 | 2576524.5654 | 1184814.3338 | 2576540.452 | 1184792.1152
35 | 2576540.452 | 1184792.1152 | 2576548.4714 | 1184782.6445
36 | 2576478.227 | 1184792.0045 | 2576474.139 | 1184794.6776
37 | 2576547.0039 | 1184740.607 | 2576548.4997 | 1184734.7425 | 2576552.1553 | 1184723.0331 | 2576552.8687 | 1184721.2446
38 | 2576605.7819 | 1184307.2387 | 2576616.2177 | 1184309.6657 | 2576630.8997 | 1184311.0987
39 | 2576677.6194 | 1184369.2677 | 2576685.3073 | 1184377.9722
40 | 2576677.6194 | 1184369.2677 | 2576670.0993 | 1184370.7201 | 2576663.1985 | 1184370.459
41 | 2576738.9848 | 1184576.481 | 2576738.7717 | 1184579.4029
42 | 2576688.5737 | 1184533.6998 | 2576703.1675 | 1184533.893
43 | 2576615.7331 | 1184777.9569 | 2576613.7486 | 1184765.1692
44 | 2576663.132 | 1184798.3264 | 2576639.5514 | 1184788.4481
45 | 2576615.7331 | 1184777.9569 | 2576631.3455 | 1184785.0105 | 2576639.5514 | 1184788.4481
46 | 2576737.4416 | 1184597.6314 | 2576737.2321 | 1184600.4807
47 | 2576618.3589 | 1184537.1321 | 2576629.5632 | 1184536.5542 | 2576632.3086 | 1184536.452
48 | 2576656.5857 | 1184535.548 | 2576632.3086 | 1184536.452
49 | 2576615.7331 | 1184777.9569 | 2576602.2867 | 1184780.2663 | 2576597.0435 | 1184784.7932
50 | 2576605.7819 | 1184307.2387 | 2576598.6958 | 1184323.2451
51 | 2576543.1316 | 1184351.6744 | 2576549.8783 | 1184334.6458
52 | 2576543.1316 | 1184351.6744 | 2576579.9959 | 1184363.3594
53 | 2576643.886 | 1184369.7281 | 2576630.1052 | 1184369.2066
54 | 2576643.886 | 1184369.7281 | 2576663.1985 | 1184370.459
55 | 2576606.8907 | 1184368.3281 | 2576630.1052 | 1184369.2066
56 | 2576606.8907 | 1184368.3281 | 2576601.151 | 1184368.1109 | 2576595.9515 | 1184367.2114
57 | 2576595.9515 | 1184367.2114 | 2576587.5785 | 1184365.7628 | 2576579.9959 | 1184363.3594
58 | 2576685.3073 | 1184377.9722 | 2576701.7 | 1184396.5324 | 2576714.2542 | 1184396.8002
59 | 2576656.5857 | 1184535.548 | 2576669.3774 | 1184534.8089
60 | 2576656.5857 | 1184535.548 | 2576657.711 | 1184555.0181
61 | 2576688.5737 | 1184533.6998 | 2576669.3774 | 1184534.8089
62 | 2576657.711 | 1184555.0181 | 2576659.4038 | 1184584.3052
63 | 2576688.5737 | 1184533.6998 | 2576688.6818 | 1184530.1197 | 2576690.2901 | 1184478.4889
64 | 2576659.4545 | 1184585.1829 | 2576659.4038 | 1184584.3052
65 | 2576583.9449 | 1184443.0946 | 2576621.458 | 1184444.0627
66 | 2576659.1246 | 1184445.0348 | 2576621.458 | 1184444.0627
67 | 2576690.3158 | 1184477.6644 | 2576690.2901 | 1184478.4889
68 | 2576691.3064 | 1184445.8654 | 2576690.3158 | 1184477.6644
69 | 2576691.3064 | 1184445.8654 | 2576715.6053 | 1184445.9386
70 | 2576691.3064 | 1184445.8654 | 2576659.1246 | 1184445.0348
71 | 2576715.6053 | 1184445.9386 | 2576719.1355 | 1184445.9493
72 | 2576744.3532 | 1184446.0252 | 2576719.1355 | 1184445.9493
73 | 2576738.7717 | 1184579.4029 | 2576738.664 | 1184580.8787
74 | 2576737.4416 | 1184597.6314 | 2576738.664 | 1184580.8787
75 | 2576660.7395 | 1184607.4145 | 2576659.4545 | 1184585.1829
76 | 2576660.7575 | 1184607.7272 | 2576660.7395 | 1184607.4145

## bus_geodata
| x | y | coords
0 | 2576786.3492 | 1184466.6975
1 | 2576694.0687 | 1184312.8518
2 | 2576784.0463 | 1184501.911
3 | 2576651.9015 | 1184311.8049
4 | 2576687.3629 | 1184339.1028
5 | 2576783.1881 | 1184519.2591
6 | 2576638.0098 | 1184311.7926
7 | 2576652.322 | 1184296.8992
8 | 2576683.511 | 1184365.1648
9 | 2576666.8193 | 1184338.6198
10 | 2576787.728 | 1184532.0791
11 | 2576741.6011 | 1184540.8299
12 | 2576741.9471 | 1184535.5925
13 | 2576740.5328 | 1184555.3871
14 | 2576717.4404 | 1184534.0819
15 | 2576742.9751 | 1184634.8404
16 | 2576736.224 | 1184614.1892
17 | 2576708.6595 | 1184646.3642
18 | 2576584.1439 | 1184741.0614
19 | 2576563.1666 | 1184765.2897
20 | 2576593.8511 | 1184747.6861
21 | 2576736.7723 | 1184606.733
22 | 2576581.1075 | 1184688.8794
23 | 2576697.4242 | 1184650.1372
24 | 2576578.8137 | 1184689.3989
25 | 2576540.452 | 1184792.1152
26 | 2576474.139 | 1184794.6776
27 | 2576548.4714 | 1184782.6445
28 | 2576673.4143 | 1184659.4874
29 | 2576547.0039 | 1184740.607
30 | 2576552.8687 | 1184721.2446
31 | 2576478.227 | 1184792.0045
32 | 2576630.8997 | 1184311.0987
33 | 2576706.922 | 1184365.8898
34 | 2576677.6194 | 1184369.2677
35 | 2576655.3332 | 1184338.3498
36 | 2576738.9848 | 1184576.481
37 | 2576703.1675 | 1184533.8929
38 | 2576613.7486 | 1184765.1692
39 | 2576663.132 | 1184798.3264
40 | 2576639.5514 | 1184788.4481
41 | 2576737.2321 | 1184600.4807
42 | 2576618.3589 | 1184537.1321
43 | 2576632.3086 | 1184536.452
44 | 2576597.0435 | 1184784.7932
45 | 2576615.7331 | 1184777.9569
46 | 2576598.6958 | 1184323.2451
47 | 2576605.7819 | 1184307.2387
48 | 2576549.8783 | 1184334.6458
49 | 2576543.1316 | 1184351.6744
50 | 2576643.886 | 1184369.7281
51 | 2576630.1052 | 1184369.2066
52 | 2576663.1985 | 1184370.459
53 | 2576606.8907 | 1184368.3281
54 | 2576595.9515 | 1184367.2114
55 | 2576685.3074 | 1184377.9722
56 | 2576579.9959 | 1184363.3594
57 | 2576714.2542 | 1184396.8002
58 | 2576656.5857 | 1184535.548
59 | 2576669.3774 | 1184534.8089
60 | 2576657.711 | 1184555.0181
61 | 2576688.5737 | 1184533.6998
62 | 2576659.4038 | 1184584.3052
63 | 2576583.9449 | 1184443.0946
64 | 2576621.458 | 1184444.0627
65 | 2576690.2901 | 1184478.4889
66 | 2576690.3158 | 1184477.6644
67 | 2576691.3064 | 1184445.8654
68 | 2576659.1246 | 1184445.0348
69 | 2576715.6053 | 1184445.9386
70 | 2576719.1355 | 1184445.9493
71 | 2576744.3532 | 1184446.0252
72 | 2576738.7717 | 1184579.4029
73 | 2576737.4416 | 1184597.6314
74 | 2576738.664 | 1184580.8787
75 | 2576659.4545 | 1184585.1829
76 | 2576660.7395 | 1184607.4145
77 | 2576660.7575 | 1184607.7272
78 | 2576656.5857 | 1184535.548

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98521 | -0.28159 | 0.006627 | 0.0016609
1 | 0.97848 | -0.41212 | 0 | 0
2 | 0.98615 | -0.26342 | 0 | 0
3 | 0.97793 | -0.42295 | 0 | 0
4 | 0.97617 | -0.4575 | 0 | 0
5 | 0.98661 | -0.25446 | 0.005554 | 0.001392
6 | 0.9778 | -0.42555 | 0 | 0
7 | 0.97789 | -0.42387 | 0.0033983 | 0.00085169
8 | 0.97476 | -0.48515 | 0 | 0
9 | 0.976 | -0.46086 | 0.0052055 | 0.0013046
10 | 0.987 | -0.24696 | 0 | 0
11 | 0.98825 | -0.22291 | 0 | 0
12 | 0.98854 | -0.2174 | 0 | 0
13 | 0.98745 | -0.23825 | 0.003937 | 0.00098671
14 | 0.99058 | -0.17835 | 0.011762 | 0.0029478
15 | 0.98329 | -0.3184 | 0 | 0
16 | 0.98437 | -0.29751 | 0 | 0
17 | 0.98148 | -0.3533 | 0.0050874 | 0.001275
18 | 0.97087 | -0.56131 | 0 | 0
19 | 0.97121 | -0.55458 | 0 | 0
20 | 0.97074 | -0.56378 | 0.015934 | 0.0039933
21 | 0.98474 | -0.29033 | 0.0039803 | 0.00099756
22 | 0.97438 | -0.49195 | 0 | 0
23 | 0.98091 | -0.36439 | 0 | 0
24 | 0.97427 | -0.49411 | 0.017557 | 0.0044002
25 | 0.97084 | -0.56194 | 0 | 0
26 | 0.97027 | -0.57312 | 0 | 0
27 | 0.97091 | -0.56057 | 0.02483 | 0.006223
28 | 0.9808 | -0.36651 | 0.004528 | 0.0011348
29 | 0.972 | -0.53884 | 0 | 0
30 | 0.97249 | -0.52927 | 0.056083 | 0.014056
31 | 0.97019 | -0.57474 | 0.017929 | 0.0044934
32 | 0.97773 | -0.42689 | 0.0064471 | 0.0016158
33 | 0.97467 | -0.48706 | 0.0044342 | 0.0011113
34 | 0.97441 | -0.49202 | 0 | 0
35 | 0.97596 | -0.46164 | 0.0037363 | 0.00093639
36 | 0.98632 | -0.26002 | 0 | 0
37 | 0.99182 | -0.15473 | 0.0050181 | 0.0012576
38 | 0.97051 | -0.56844 | 0.0026728 | 0.00066986
39 | 0.97003 | -0.5779 | 0.0038664 | 0.00096902
40 | 0.97012 | -0.57607 | 0.0042603 | 0.0010677
41 | 0.98506 | -0.28417 | 0.0027573 | 0.00069104
42 | 0.99968 | -0.0061189 | 0.025128 | 0.0062977
43 | 1 | 0 | -0.444 | -0.11395
44 | 0.97018 | -0.57497 | 0.0073802 | 0.0018497
45 | 0.97032 | -0.57216 | 0 | 0
46 | 0.97758 | -0.4299 | 0.003841 | 0.00096266
47 | 0.97764 | -0.42867 | 0 | 0
48 | 0.9722 | -0.53571 | 0.0046054 | 0.0011542
49 | 0.97228 | -0.53415 | 0 | 0
50 | 0.97341 | -0.5118 | 0.0054508 | 0.0013661
51 | 0.97311 | -0.51785 | 0.0053273 | 0.0013351
52 | 0.97394 | -0.50139 | 0.0057131 | 0.0014318
53 | 0.9727 | -0.52577 | 0.0063198 | 0.0015839
54 | 0.97258 | -0.52825 | 0.0035512 | 0.00089
55 | 0.97423 | -0.4957 | 0.0090092 | 0.0022579
56 | 0.97245 | -0.53087 | 0.0040405 | 0.0010127
57 | 0.97394 | -0.50135 | 0.0082356 | 0.002064
58 | 0.99693 | -0.057947 | 0 | 0
59 | 0.99538 | -0.087118 | 0.007493 | 0.0018779
60 | 0.99656 | -0.064943 | 0.0057587 | 0.0014433
61 | 0.99311 | -0.13021 | 0 | 0
62 | 0.99617 | -0.072507 | 0.0038598 | 0.00096735
63 | 0.98265 | -0.33294 | 0.020341 | 0.0050979
64 | 0.98336 | -0.31917 | 0.013796 | 0.0034577
65 | 0.9882 | -0.22491 | 0.012459 | 0.0031226
66 | 0.98814 | -0.22615 | 0.0099994 | 0.0025061
67 | 0.98597 | -0.26831 | 0 | 0
68 | 0.98455 | -0.29602 | 0.013791 | 0.0034562
69 | 0.98538 | -0.27971 | 0.01505 | 0.0037719
70 | 0.98535 | -0.28041 | 0.0046612 | 0.0011682
71 | 0.9852 | -0.28332 | 0.0064282 | 0.0016111
72 | 0.98616 | -0.26304 | 0.0026494 | 0.000664
73 | 0.98521 | -0.28131 | 0 | 0
74 | 0.98608 | -0.26454 | 0.0029887 | 0.00074904
75 | 0.99616 | -0.072674 | 0.0044892 | 0.0011251
76 | 0.99603 | -0.075152 | 0.0037264 | 0.00093392
77 | 0.99603 | -0.075167 | 0.0026093 | 0.00065395
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.080115 | 0.02038 | -0.079615 | -0.020064 | 0.00050056 | 0.00031576 | 0.12111 | 0.12111 | 0.12111 | 0.98521 | -0.28159 | 0.97848 | -0.41212 | 16.6364
1 | -0.086742 | -0.022041 | 0.086818 | 0.022088 | 7.5951e-05 | 4.7257e-05 | 0.13112 | 0.13112 | 0.13112 | 0.98521 | -0.28159 | 0.98615 | -0.26342 | 12.0073
2 | 0.013696 | 0.0034348 | -0.013689 | -0.0034308 | 7.0671e-06 | 3.9776e-06 | 0.020829 | 0.020829 | 0.020829 | 0.97848 | -0.41212 | 0.97793 | -0.42295 | 5.7223
3 | 0.065919 | 0.016629 | -0.065776 | -0.016539 | 0.00014288 | 9.0965e-05 | 0.10028 | 0.10028 | 0.10028 | 0.97848 | -0.41212 | 0.97617 | -0.4575 | 27.5505
4 | -0.086818 | -0.022088 | 0.086856 | 0.022112 | 3.7477e-05 | 2.3317e-05 | 0.13112 | 0.13112 | 0.13112 | 0.98615 | -0.26342 | 0.98661 | -0.25446 | 12.0073
5 | 0.010291 | 0.0025792 | -0.010289 | -0.0025786 | 1.2735e-06 | 6.4127e-07 | 0.015658 | 0.015658 | 0.015658 | 0.97793 | -0.42295 | 0.9778 | -0.42555 | 4.3017
6 | 0.0033984 | 0.0008516 | -0.0033983 | -0.00085169 | 1.4952e-07 | -9.1388e-08 | 0.005171 | 0.005171 | 0.005171 | 0.97793 | -0.42295 | 0.97789 | -0.42387 | 1.4206
7 | 0.056832 | 0.014297 | -0.056757 | -0.014249 | 7.4981e-05 | 4.7656e-05 | 0.086651 | 0.086651 | 0.086651 | 0.97617 | -0.4575 | 0.97476 | -0.48515 | 23.8053
8 | 0.0089433 | 0.0022416 | -0.0089419 | -0.002241 | 1.4322e-06 | 6.5974e-07 | 0.013633 | 0.013633 | 0.013633 | 0.97617 | -0.4575 | 0.976 | -0.46086 | 3.7453
9 | -0.09241 | -0.023503 | 0.092443 | 0.023524 | 3.3428e-05 | 2.0867e-05 | 0.1395 | 0.1395 | 0.1395 | 0.98661 | -0.25446 | 0.987 | -0.24696 | 12.7744
10 | 0.010289 | 0.0025786 | -0.010289 | -0.0025783 | 6.5683e-07 | 3.3077e-07 | 0.015658 | 0.015658 | 0.015658 | 0.9778 | -0.42555 | 0.97773 | -0.42689 | 4.3017
11 | 0.0044346 | 0.0011113 | -0.0044342 | -0.0011113 | 4.0251e-07 | -3.433e-08 | 0.0067695 | 0.0067696 | 0.0067696 | 0.97476 | -0.48515 | 0.97467 | -0.48706 | 1.8598
12 | 0.052323 | 0.013138 | -0.052306 | -0.013127 | 1.7148e-05 | 1.0885e-05 | 0.079882 | 0.079882 | 0.079882 | 0.97476 | -0.48515 | 0.97441 | -0.49202 | 21.9456
13 | 0.0037364 | 0.00093634 | -0.0037363 | -0.00093639 | 1.3981e-07 | -5.4097e-08 | 0.0056965 | 0.0056966 | 0.0056966 | 0.976 | -0.46086 | 0.97596 | -0.46164 | 1.565
14 | -0.092443 | -0.023524 | 0.092575 | 0.023607 | 0.00013191 | 8.2337e-05 | 0.1395 | 0.1395 | 0.1395 | 0.987 | -0.24696 | 0.98854 | -0.2174 | 12.7743
15 | -0.17889 | -0.045762 | 0.17893 | 0.045792 | 4.7728e-05 | 3.0344e-05 | 0.26968 | 0.26968 | 0.26968 | 0.98825 | -0.22291 | 0.98854 | -0.2174 | 24.6961
16 | 0.17889 | 0.045762 | -0.17875 | -0.045678 | 0.0001327 | 8.4364e-05 | 0.26968 | 0.26968 | 0.26968 | 0.98825 | -0.22291 | 0.98745 | -0.23825 | 24.6961
17 | -0.27151 | -0.069399 | 0.27202 | 0.069727 | 0.00051393 | 0.00032797 | 0.40918 | 0.40918 | 0.40918 | 0.98854 | -0.2174 | 0.99058 | -0.17835 | 37.4704
18 | 0.17482 | 0.044691 | -0.17463 | -0.044574 | 0.00018391 | 0.00011689 | 0.26375 | 0.26375 | 0.26375 | 0.98745 | -0.23825 | 0.98632 | -0.26002 | 24.1529
19 | -0.28378 | -0.072675 | 0.28411 | 0.072882 | 0.00032509 | 0.0002075 | 0.42684 | 0.42684 | 0.42684 | 0.99058 | -0.17835 | 0.99182 | -0.15473 | 39.0883
20 | -0.16179 | -0.041176 | 0.16195 | 0.041279 | 0.00016309 | 0.00010355 | 0.24506 | 0.24506 | 0.24506 | 0.98329 | -0.3184 | 0.98437 | -0.29751 | 22.4417
21 | 0.16179 | 0.041176 | -0.16152 | -0.041003 | 0.00027175 | 0.00017254 | 0.24506 | 0.24506 | 0.24506 | 0.98329 | -0.3184 | 0.98148 | -0.3533 | 22.4417
22 | -0.16195 | -0.041279 | 0.16201 | 0.041315 | 5.6125e-05 | 3.5635e-05 | 0.24506 | 0.24506 | 0.24506 | 0.98437 | -0.29751 | 0.98474 | -0.29033 | 22.4417
23 | 0.15643 | 0.039728 | -0.15635 | -0.039675 | 8.3461e-05 | 5.2966e-05 | 0.23735 | 0.23735 | 0.23735 | 0.98148 | -0.3533 | 0.98091 | -0.36439 | 21.7354
24 | -0.034127 | -0.0085561 | 0.034138 | 0.008562 | 1.096e-05 | 5.8251e-06 | 0.052306 | 0.052306 | 0.052306 | 0.97087 | -0.56131 | 0.97121 | -0.55458 | 4.79
25 | 0.034127 | 0.0085561 | -0.034123 | -0.008554 | 4.0192e-06 | 2.1364e-06 | 0.052306 | 0.052306 | 0.052306 | 0.97087 | -0.56131 | 0.97074 | -0.56378 | 4.79
26 | 0.042783 | 0.010727 | -0.042771 | -0.01072 | 1.2214e-05 | 6.9732e-06 | 0.065551 | 0.065551 | 0.065551 | 0.97121 | -0.55458 | 0.97091 | -0.56057 | 6.0029
27 | -0.076921 | -0.019289 | 0.076979 | 0.019325 | 5.7733e-05 | 3.5714e-05 | 0.11786 | 0.11786 | 0.11786 | 0.97121 | -0.55458 | 0.972 | -0.53884 | 10.7927
28 | 0.018189 | 0.0045607 | -0.018185 | -0.0045588 | 4.0361e-06 | 1.8986e-06 | 0.027883 | 0.027883 | 0.027883 | 0.97074 | -0.56378 | 0.97051 | -0.56844 | 3.8301
29 | -0.16599 | -0.042313 | 0.16604 | 0.042344 | 4.9401e-05 | 3.1377e-05 | 0.25108 | 0.25108 | 0.25108 | 0.98474 | -0.29033 | 0.98506 | -0.28417 | 22.9924
30 | -0.15089 | -0.037954 | 0.15182 | 0.038541 | 0.00092553 | 0.0005871 | 0.23048 | 0.23048 | 0.23048 | 0.97438 | -0.49195 | 0.98091 | -0.36439 | 21.1065
31 | 0.15089 | 0.037954 | -0.15088 | -0.037944 | 1.5618e-05 | 9.9074e-06 | 0.23048 | 0.23048 | 0.23048 | 0.97438 | -0.49195 | 0.97427 | -0.49411 | 21.1065
32 | 0.0045285 | 0.0011348 | -0.004528 | -0.0011348 | 4.5598e-07 | -3.3392e-08 | 0.0068695 | 0.0068696 | 0.0068696 | 0.98091 | -0.36439 | 0.9808 | -0.36651 | 1.8873
33 | 0.13332 | 0.033543 | -0.1331 | -0.033402 | 0.00022357 | 0.00014147 | 0.20367 | 0.20367 | 0.20367 | 0.97427 | -0.49411 | 0.97249 | -0.52927 | 18.651
34 | 0.01794 | 0.0044966 | -0.01793 | -0.0044942 | 9.5516e-06 | 2.3663e-06 | 0.027497 | 0.027498 | 0.027498 | 0.97084 | -0.56194 | 0.97027 | -0.57312 | 2.5181
35 | -0.01794 | -0.0044966 | 0.017941 | 0.0044969 | 1.1729e-06 | 2.9024e-07 | 0.027497 | 0.027497 | 0.027497 | 0.97084 | -0.56194 | 0.97091 | -0.56057 | 2.518
36 | 0.01793 | 0.0044942 | -0.017929 | -0.0044934 | 1.3823e-06 | 8.2449e-07 | 0.027498 | 0.027498 | 0.027498 | 0.97027 | -0.57312 | 0.97019 | -0.57474 | 7.5545
37 | -0.076979 | -0.019325 | 0.077014 | 0.019346 | 3.515e-05 | 2.1743e-05 | 0.11786 | 0.11786 | 0.11786 | 0.972 | -0.53884 | 0.97249 | -0.52927 | 10.7927
38 | 0.0038416 | 0.00096247 | -0.0038413 | -0.00096258 | 3.2642e-07 | -1.1044e-07 | 0.0058464 | 0.0058465 | 0.0058465 | 0.97773 | -0.42689 | 0.97764 | -0.42867 | 1.6062
39 | 0.01725 | 0.0043247 | -0.017247 | -0.0043229 | 3.0222e-06 | 1.7895e-06 | 0.026343 | 0.026343 | 0.026343 | 0.97441 | -0.49202 | 0.97423 | -0.4957 | 7.237
40 | 0.035056 | 0.0088024 | -0.03504 | -0.0087926 | 1.5656e-05 | 9.8384e-06 | 0.053539 | 0.053539 | 0.053539 | 0.97441 | -0.49202 | 0.97394 | -0.50139 | 14.7086
41 | 0.17463 | 0.044574 | -0.17461 | -0.044558 | 2.5475e-05 | 1.6192e-05 | 0.26375 | 0.26375 | 0.26375 | 0.98632 | -0.26002 | 0.98616 | -0.26304 | 24.1529
42 | -0.28913 | -0.07414 | 0.28947 | 0.07436 | 0.00034422 | 0.00021974 | 0.43437 | 0.43437 | 0.43437 | 0.99182 | -0.15473 | 0.99311 | -0.13021 | 39.7777
43 | 0.015513 | 0.0038889 | -0.01551 | -0.0038873 | 2.7453e-06 | 1.5971e-06 | 0.023785 | 0.023785 | 0.023785 | 0.97051 | -0.56844 | 0.97032 | -0.57216 | 6.5343
44 | -0.0038664 | -0.00096902 | 0.0038668 | 0.00096892 | 3.3725e-07 | -9.9797e-08 | 0.0059311 | 0.0059309 | 0.0059311 | 0.97003 | -0.5779 | 0.97012 | -0.57607 | 1.6294
45 | -0.0081271 | -0.0020367 | 0.0081286 | 0.0020373 | 1.5167e-06 | 6.4926e-07 | 0.012466 | 0.012465 | 0.012466 | 0.97012 | -0.57607 | 0.97032 | -0.57216 | 3.4246
46 | -0.1688 | -0.043035 | 0.16882 | 0.04305 | 2.3266e-05 | 1.4781e-05 | 0.25524 | 0.25524 | 0.25524 | 0.98506 | -0.28417 | 0.98521 | -0.28131 | 23.3738
47 | -0.025128 | -0.0062977 | 0.025136 | 0.0063022 | 7.3272e-06 | 4.5062e-06 | 0.037403 | 0.037403 | 0.037403 | 0.99968 | -0.0061189 | 1 | 0 | 10.2756
48 | 0.41722 | 0.10765 | -0.41604 | -0.1069 | 0.0011746 | 0.00075077 | 0.62192 | 0.62192 | 0.62192 | 1 | 0 | 0.99693 | -0.057947 | 56.9524
49 | -0.0073802 | -0.0018497 | 0.0073812 | 0.00185 | 9.8837e-07 | 3.7851e-07 | 0.011319 | 0.011319 | 0.011319 | 0.97018 | -0.57497 | 0.97032 | -0.57216 | 3.1097
50 | -0.003841 | -0.00096266 | 0.0038413 | 0.00096258 | 2.2438e-07 | -7.5877e-08 | 0.0058466 | 0.0058465 | 0.0058466 | 0.97758 | -0.4299 | 0.97764 | -0.42867 | 1.6062
51 | -0.0046054 | -0.0011542 | 0.0046057 | 0.0011542 | 3.4127e-07 | -8.7283e-09 | 0.0070488 | 0.0070488 | 0.0070488 | 0.9722 | -0.53571 | 0.97228 | -0.53415 | 1.9365
52 | -0.0046057 | -0.0011542 | 0.0046064 | 0.0011542 | 7.2051e-07 | -1.8566e-08 | 0.0070488 | 0.0070486 | 0.0070488 | 0.97228 | -0.53415 | 0.97245 | -0.53087 | 1.9365
53 | 0.023862 | 0.0059856 | -0.023855 | -0.0059813 | 6.8815e-06 | 4.2328e-06 | 0.036478 | 0.036478 | 0.036478 | 0.97341 | -0.5118 | 0.97311 | -0.51785 | 10.0215
54 | -0.029312 | -0.0073517 | 0.029327 | 0.0073607 | 1.4553e-05 | 9.0733e-06 | 0.044811 | 0.044811 | 0.044811 | 0.97341 | -0.5118 | 0.97394 | -0.50139 | 12.3106
55 | 0.018527 | 0.0046462 | -0.01852 | -0.004642 | 6.993e-06 | 4.187e-06 | 0.028332 | 0.028332 | 0.028332 | 0.97311 | -0.51785 | 0.9727 | -0.52577 | 7.7836
56 | 0.012201 | 0.0030581 | -0.012199 | -0.0030573 | 1.4397e-06 | 7.846e-07 | 0.018664 | 0.018664 | 0.018664 | 0.9727 | -0.52577 | 0.97258 | -0.52825 | 5.1276
57 | 0.0086481 | 0.0021673 | -0.008647 | -0.0021668 | 1.0801e-06 | 4.8711e-07 | 0.013231 | 0.013231 | 0.013231 | 0.97258 | -0.52825 | 0.97245 | -0.53087 | 3.635
58 | 0.0082378 | 0.002065 | -0.0082356 | -0.002064 | 2.2157e-06 | 9.5346e-07 | 0.012582 | 0.012583 | 0.012583 | 0.97423 | -0.4957 | 0.97394 | -0.50135 | 3.4567
59 | 0.39558 | 0.10177 | -0.39502 | -0.10141 | 0.00056015 | 0.000358 | 0.59139 | 0.59139 | 0.59139 | 0.99693 | -0.057947 | 0.99538 | -0.087118 | 54.1563
60 | 0.020456 | 0.0051309 | -0.02045 | -0.0051268 | 6.8189e-06 | 4.1099e-06 | 0.030535 | 0.030535 | 0.030535 | 0.99693 | -0.057947 | 0.99656 | -0.064943 | 8.3887
61 | 0.38753 | 0.099529 | -0.38672 | -0.099012 | 0.00080907 | 0.00051705 | 0.58019 | 0.58019 | 0.58019 | 0.99538 | -0.087118 | 0.99311 | -0.13021 | 53.1305
62 | 0.014691 | 0.0036836 | -0.014686 | -0.0036806 | 5.2937e-06 | 3.0059e-06 | 0.021936 | 0.021936 | 0.021936 | 0.99656 | -0.064943 | 0.99617 | -0.072507 | 6.0265
63 | 0.097251 | 0.024653 | -0.096811 | -0.024371 | 0.00044042 | 0.00028116 | 0.14581 | 0.14581 | 0.14581 | 0.99311 | -0.13021 | 0.9882 | -0.22491 | 40.0589
64 | 0.010826 | 0.0027132 | -0.010826 | -0.0027132 | 8.6215e-08 | 4.3731e-08 | 0.016171 | 0.016171 | 0.016171 | 0.99617 | -0.072507 | 0.99616 | -0.072674 | 4.4425
65 | -0.020341 | -0.0050979 | 0.020354 | 0.005106 | 1.3351e-05 | 8.0689e-06 | 0.030802 | 0.030802 | 0.030802 | 0.98265 | -0.33294 | 0.98336 | -0.31917 | 8.4621
66 | -0.034151 | -0.0085637 | 0.034189 | 0.0085874 | 3.7736e-05 | 2.3672e-05 | 0.051679 | 0.051678 | 0.051679 | 0.98336 | -0.31917 | 0.98455 | -0.29602 | 14.1974
67 | 0.084352 | 0.021249 | -0.084347 | -0.021246 | 4.9934e-06 | 3.1852e-06 | 0.12705 | 0.12705 | 0.12705 | 0.9882 | -0.22491 | 0.98814 | -0.22615 | 34.9048
68 | 0.074347 | 0.01874 | -0.074198 | -0.018644 | 0.00014964 | 9.5365e-05 | 0.112 | 0.112 | 0.112 | 0.98814 | -0.22615 | 0.98597 | -0.26831 | 30.768
69 | 0.026155 | 0.0065604 | -0.026141 | -0.0065516 | 1.4199e-05 | 8.7777e-06 | 0.039475 | 0.039475 | 0.039475 | 0.98597 | -0.26831 | 0.98538 | -0.27971 | 10.8447
70 | 0.048043 | 0.012084 | -0.047979 | -0.012044 | 6.3491e-05 | 4.0224e-05 | 0.072521 | 0.072521 | 0.072521 | 0.98597 | -0.26831 | 0.98455 | -0.29602 | 19.9234
71 | 0.011091 | 0.0027797 | -0.01109 | -0.0027795 | 3.7133e-07 | 1.9268e-07 | 0.016748 | 0.016748 | 0.016748 | 0.98538 | -0.27971 | 0.98535 | -0.28041 | 4.6011
72 | 0.0064291 | 0.0016113 | -0.0064282 | -0.0016111 | 8.9141e-07 | 2.4934e-07 | 0.0097089 | 0.009709 | 0.009709 | 0.98535 | -0.28041 | 0.9852 | -0.28332 | 2.6673
73 | 0.17196 | 0.043894 | -0.17194 | -0.043886 | 1.248e-05 | 7.9305e-06 | 0.25975 | 0.25975 | 0.25975 | 0.98616 | -0.26304 | 0.98608 | -0.26454 | 23.7868
74 | -0.16882 | -0.04305 | 0.16896 | 0.043137 | 0.00013679 | 8.6903e-05 | 0.25524 | 0.25524 | 0.25524 | 0.98521 | -0.28131 | 0.98608 | -0.26454 | 23.3738
75 | 0.0063364 | 0.0015881 | -0.0063357 | -0.0015879 | 7.4813e-07 | 1.8893e-07 | 0.009465 | 0.0094651 | 0.0094651 | 0.99616 | -0.072674 | 0.99603 | -0.075152 | 2.6003
76 | 0.0026093 | 0.00065395 | -0.0026093 | -0.00065395 | 1.7853e-09 | -2.9349e-09 | 0.0038982 | 0.0038982 | 0.0038982 | 0.99603 | -0.075152 | 0.99603 | -0.075167 | 1.0709

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45454 | 0.11659

## res_load
| p_mw | q_mvar
0 | 0.006627 | 0.0016609
1 | 0.005554 | 0.001392
2 | 0.0033983 | 0.00085169
3 | 0.0052055 | 0.0013046
4 | 0.003937 | 0.00098671
5 | 0.011762 | 0.0029478
6 | 0.0050874 | 0.001275
7 | 0.015934 | 0.0039933
8 | 0.0039803 | 0.00099756
9 | 0.017557 | 0.0044002
10 | 0.02483 | 0.006223
11 | 0.004528 | 0.0011348
12 | 0.056083 | 0.014056
13 | 0.017929 | 0.0044934
14 | 0.0064471 | 0.0016158
15 | 0.0044342 | 0.0011113
16 | 0.0037363 | 0.00093639
17 | 0.0050181 | 0.0012576
18 | 0.0026728 | 0.00066986
19 | 0.0038664 | 0.00096902
20 | 0.0042603 | 0.0010677
21 | 0.0027573 | 0.00069104
22 | 0.025128 | 0.0062977
23 | 0.010537 | 0.0026409
24 | 0.0073802 | 0.0018497
25 | 0.003841 | 0.00096266
26 | 0.0046054 | 0.0011542
27 | 0.0054508 | 0.0013661
28 | 0.0053273 | 0.0013351
29 | 0.0057131 | 0.0014318
30 | 0.0063198 | 0.0015839
31 | 0.0035512 | 0.00089
32 | 0.0090092 | 0.0022579
33 | 0.0040405 | 0.0010127
34 | 0.0082356 | 0.002064
35 | 0.007493 | 0.0018779
36 | 0.0057587 | 0.0014433
37 | 0.0038598 | 0.00096735
38 | 0.020341 | 0.0050979
39 | 0.013796 | 0.0034577
40 | 0.012459 | 0.0031226
41 | 0.0099994 | 0.0025061
42 | 0.013791 | 0.0034562
43 | 0.01505 | 0.0037719
44 | 0.0046612 | 0.0011682
45 | 0.0064282 | 0.0016111
46 | 0.0026494 | 0.000664
47 | 0.0029887 | 0.00074904
48 | 0.0044892 | 0.0011251
49 | 0.0037264 | 0.00093392
50 | 0.0026093 | 0.00065395

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1