## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2197-2_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2197-2_1_2_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_2197-2_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2197-2_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2197-2_1_2_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_2197-2_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2197-2_1_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2197-2_1_2_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_2197-2_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2197-2_1_2_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_2197-2_1_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2197-2_1_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2197-2_1_2_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_2197-2_1_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_2197-2_1_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_2197-2_1_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_2197-2_1_2_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_2197-2_1_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2197-2_1_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2197-2_1_2_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_2197-2_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2197-2_1_2_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2197-2_1_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_2197-2_1_2_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_2197-2_1_2_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_2197-2_1_2_node_39 | 0.4 | n |  | TRUE
26 | bus_MV_506_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2197-2_1_2_load_8 | 3 | 0.040697 | 0.0102 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2197-2_1_2_load_42 | 4 | 0.00060318 | 0.00015117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2197-2_1_2_load_29 | 7 | 0.022632 | 0.0056722 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2197-2_1_2_load_40 | 9 | 0.0088798 | 0.0022255 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2197-2_1_2_load_41 | 12 | 0.0066611 | 0.0016694 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2197-2_1_2_load_27 | 13 | 0.0098545 | 0.0024698 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2197-2_1_2_load_30 | 14 | 0.0067981 | 0.0017038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2197-2_1_2_load_28 | 16 | 0.015735 | 0.0039435 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2197-2_1_2_load_18 | 17 | 0.0014306 | 0.00035854 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2197-2_1_2_load_17 | 18 | 0.026473 | 0.0066349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2197-2_1_2_load_32 | 20 | 0.0086886 | 0.0021776 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2197-2_1_2_load_33 | 21 | 0.0076139 | 0.0019082 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2197-2_1_2_load_35 | 22 | 0.012738 | 0.0031923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2197-2_1_2_load_38 | 24 | 0.011779 | 0.0029522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2197-2_1_2_load_39 | 25 | 0.0087756 | 0.0021994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2197-2_1_2_line_0 |  | 0 | 1 | 0.026144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2197-2_1_2_line_1 |  | 0 | 2 | 0.0045281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2197-2_1_2_line_2 |  | 1 | 3 | 0.14517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2197-2_1_2_line_3 |  | 2 | 4 | 0.06414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2197-2_1_2_line_4 |  | 3 | 5 | 0.078522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2197-2_1_2_line_5 |  | 5 | 6 | 0.051359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2197-2_1_2_line_6 |  | 6 | 7 | 0.07027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2197-2_1_2_line_7 |  | 7 | 16 | 0.050271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2197-2_1_2_line_8 |  | 8 | 9 | 0.02893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2197-2_1_2_line_9 |  | 8 | 10 | 0.090797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2197-2_1_2_line_10 |  | 8 | 11 | 0.1379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2197-2_1_2_line_11 |  | 8 | 12 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2197-2_1_2_line_12 |  | 9 | 19 | 0.0042714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2197-2_1_2_line_13 |  | 10 | 13 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2197-2_1_2_line_14 |  | 11 | 14 | 0.042573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2197-2_1_2_line_15 |  | 11 | 15 | 0.107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2197-2_1_2_line_16 |  | 11 | 16 | 0.03811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2197-2_1_2_line_17 |  | 14 | 20 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2197-2_1_2_line_18 |  | 15 | 17 | 0.054168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2197-2_1_2_line_19 |  | 15 | 18 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2197-2_1_2_line_20 |  | 19 | 25 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2197-2_1_2_line_21 |  | 19 | 23 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2197-2_1_2_line_22 |  | 20 | 21 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2197-2_1_2_line_23 |  | 22 | 23 | 0.01202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2197-2_1_2_line_24 |  | 23 | 24 | 0.023662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2197-2_1_2_trafo_28 | 0.63 MVA 20/0.4 kV | 26 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48
0 | 2576491.6768 | 1185115.9322 | 2576492.6533 | 1185113.9162 | 2576494.5156 | 1185113.9422 | 2576501.7124 | 1185113.9694 | 2576506.3212 | 1185111.8613 | 2576516.0976 | 1185111.9006
1 | 2576491.5769 | 1185111.8971 | 2576492.6533 | 1185113.9162 | 2576491.6768 | 1185115.9322
2 | 2576516.0976 | 1185111.9006 | 2576515.6755 | 1185107.4221 | 2576514.4879 | 1185102.3575 | 2576513.1836 | 1185098.6718 | 2576511.3429 | 1185094.4213 | 2576509.0538 | 1185090.6394 | 2576507.1201 | 1185087.9901 | 2576503.9324 | 1185084.712 | 2576501.369 | 1185082.999 | 2576499.0215 | 1185081.841 | 2576496.8889 | 1185080.9933 | 2576494.4135 | 1185080.3027 | 2576492.1536 | 1185080.0782 | 2576489.7265 | 1185080.0099 | 2576487.1026 | 1185080.376 | 2576484.4496 | 1185081.1091 | 2576481.8752 | 1185082.3866 | 2576479.496 | 1185084.8194 | 2576478.2328 | 1185087.6815 | 2576477.9539 | 1185090.5063 | 2576477.9134 | 1185091.8293 | 2576478.0785 | 1185093.0738 | 2576478.6959 | 1185094.8056 | 2576479.6869 | 1185096.4581 | 2576481.1971 | 1185098.1753 | 2576483.1787 | 1185099.4348 | 2576485.2806 | 1185100.2492 | 2576487.7175 | 1185100.851 | 2576490.3133 | 1185101.1076 | 2576493.8468 | 1185101.0936 | 2576496.4407 | 1185100.8833 | 2576499.2609 | 1185099.9828 | 2576501.195 | 1185098.8635 | 2576503.0356 | 1185097.2888 | 2576504.2591 | 1185095.9499 | 2576505.4106 | 1185093.7887 | 2576506.0365 | 1185091.8741 | 2576506.5014 | 1185089.7823 | 2576506.4705 | 1185087.7481 | 2576506.0254 | 1185085.1929 | 2576505.476 | 1185083.283 | 2576504.3995 | 1185081.2195 | 2576502.9662 | 1185079.6576 | 2576500.6542 | 1185077.8435 | 2576497.6415 | 1185076.3657 | 2576494.5864 | 1185075.7552 | 2576490.5633 | 1185075.4709 | 2576479.9011 | 1185075.2906 | 2576473.8929 | 1185074.6036
3 | 2576491.5769 | 1185111.8971 | 2576427.4633 | 1185110.059
4 | 2576432.8472 | 1185033.6878 | 2576431.9704 | 1185066.7308 | 2576432.1078 | 1185068.6757 | 2576433.0838 | 1185070.395 | 2576434.9053 | 1185071.6885 | 2576437.1607 | 1185072.7023 | 2576438.8485 | 1185073.018 | 2576463.1724 | 1185073.3778 | 2576473.8929 | 1185074.6036
5 | 2576405.7115 | 1185007.4257 | 2576405.8368 | 1185008.2367 | 2576407.1957 | 1185018.0032 | 2576424.172 | 1185018.7698 | 2576433.3701 | 1185019.2226 | 2576433.1915 | 1185024.2482 | 2576432.8472 | 1185033.6878
6 | 2576405.7115 | 1185007.4257 | 2576414.4192 | 1185007.3579 | 2576415.9833 | 1185005.3285 | 2576474.9834 | 1185005.3711
7 | 2576525.2544 | 1185005.4075 | 2576474.9834 | 1185005.3711
8 | 2576641.5621 | 1184955.7932 | 2576612.6335 | 1184955.5578
9 | 2576628.5378 | 1185032.6177 | 2576631.0862 | 1185030.5177 | 2576635.7902 | 1185013.7016 | 2576630.7655 | 1185007.1067 | 2576630.6767 | 1184984.4397 | 2576641.1095 | 1184984.4322 | 2576641.5621 | 1184955.7932
10 | 2576558.2443 | 1184992.6169 | 2576560.3823 | 1184996.7885 | 2576562.3771 | 1185001.3942 | 2576564.1886 | 1185007.9349 | 2576564.7306 | 1185011.8571 | 2576567.5153 | 1185011.6015 | 2576570.2646 | 1185012.091 | 2576572.7954 | 1185013.2706 | 2576577.3805 | 1185005.0705 | 2576581.219 | 1184999.1746 | 2576588.5895 | 1184992.8535 | 2576597.9097 | 1184987.4474 | 2576605.8385 | 1184985.3263 | 2576617.3668 | 1184984.4585 | 2576630.6767 | 1184984.4397 | 2576641.1095 | 1184984.4322 | 2576641.5621 | 1184955.7932
11 | 2576641.5621 | 1184955.7932 | 2576641.8283 | 1184938.7435
12 | 2576608.3622 | 1184955.5231 | 2576612.6335 | 1184955.5578
13 | 2576628.5378 | 1185032.6177 | 2576624.4692 | 1185032.4002 | 2576606.1167 | 1185025.9945
14 | 2576558.2443 | 1184992.6169 | 2576553.1065 | 1184982.5096 | 2576549.2765 | 1184975.0652 | 2576544.7303 | 1184960.1308 | 2576542.6562 | 1184953.182
15 | 2576558.2443 | 1184992.6169 | 2576560.3823 | 1184996.7885 | 2576562.3771 | 1185001.3942 | 2576564.1886 | 1185007.9349 | 2576564.7306 | 1185011.8571 | 2576567.5153 | 1185011.6015 | 2576570.2646 | 1185012.091 | 2576572.7954 | 1185013.2706 | 2576575.2077 | 1185015.3733 | 2576576.8821 | 1185018.1015 | 2576577.6652 | 1185021.2112 | 2576577.4869 | 1185024.4024 | 2576599.7784 | 1185037.7553 | 2576594.709 | 1185045.0568 | 2576609.0879 | 1185058.8298 | 2576599.6124 | 1185063.525
16 | 2576558.2443 | 1184992.6169 | 2576553.8935 | 1184998.2925 | 2576548.5017 | 1185003.1607 | 2576545.0587 | 1185004.8418 | 2576542.2448 | 1185005.4198 | 2576525.2544 | 1185005.4075
17 | 2576536.5785 | 1184932.8198 | 2576542.6562 | 1184953.182
18 | 2576599.6124 | 1185063.525 | 2576581.4537 | 1185047.2877 | 2576551.5475 | 1185046.0489
19 | 2576599.6124 | 1185063.525 | 2576580.6429 | 1185062.9556
20 | 2576608.3622 | 1184955.5231 | 2576608.3602 | 1184936.1117
21 | 2576587.3204 | 1184955.3499 | 2576608.3622 | 1184955.5231
22 | 2576536.5785 | 1184932.8198 | 2576533.6951 | 1184923.1593
23 | 2576587.3204 | 1184955.3499 | 2576590.0299 | 1184967.0602
24 | 2576587.3204 | 1184955.3499 | 2576582.3796 | 1184932.2093

## bus_geodata
| x | y | coords
0 | 2576491.6768 | 1185115.9322
1 | 2576516.0976 | 1185111.9006
2 | 2576491.5769 | 1185111.8971
3 | 2576473.8929 | 1185074.6036
4 | 2576427.4633 | 1185110.059
5 | 2576432.8472 | 1185033.6878
6 | 2576405.7115 | 1185007.4257
7 | 2576474.9834 | 1185005.3711
8 | 2576641.5621 | 1184955.7932
9 | 2576612.6335 | 1184955.5578
10 | 2576628.5378 | 1185032.6177
11 | 2576558.2443 | 1184992.6169
12 | 2576641.8283 | 1184938.7435
13 | 2576606.1167 | 1185025.9945
14 | 2576542.6562 | 1184953.182
15 | 2576599.6124 | 1185063.525
16 | 2576525.2544 | 1185005.4075
17 | 2576551.5475 | 1185046.0489
18 | 2576580.6429 | 1185062.9557
19 | 2576608.3622 | 1184955.5231
20 | 2576536.5785 | 1184932.8198
21 | 2576533.6951 | 1184923.1593
22 | 2576590.0299 | 1184967.0602
23 | 2576587.3204 | 1184955.3499
24 | 2576582.3796 | 1184932.2093
25 | 2576608.3602 | 1184936.1117
26 | 2576558.2443 | 1184992.6169

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98939 | -0.20413 | 0 | 0
1 | 0.9894 | -0.20385 | 0 | 0
2 | 0.98939 | -0.20418 | 0 | 0
3 | 0.98948 | -0.20227 | 0.040697 | 0.0102
4 | 0.98935 | -0.20487 | 0.00060318 | 0.00015117
5 | 0.99246 | -0.1447 | 0 | 0
6 | 0.9944 | -0.10723 | 0 | 0
7 | 0.99706 | -0.056196 | 0.022632 | 0.0056722
8 | 0.98874 | -0.2164 | 0 | 0
9 | 0.98761 | -0.23817 | 0.0088798 | 0.0022255
10 | 0.98791 | -0.23237 | 0 | 0
11 | 0.99617 | -0.073157 | 0 | 0
12 | 0.98863 | -0.21842 | 0.0066611 | 0.0016694
13 | 0.9877 | -0.23651 | 0.0098545 | 0.0024698
14 | 0.99527 | -0.090447 | 0.0067981 | 0.0017038
15 | 0.99344 | -0.12575 | 0 | 0
16 | 1 | 0 | -0.17671 | -0.044419
17 | 0.99337 | -0.12712 | 0.0014306 | 0.00035854
18 | 0.99299 | -0.13462 | 0.026473 | 0.0066349
19 | 0.98748 | -0.24072 | 0 | 0
20 | 0.99496 | -0.096544 | 0.0086886 | 0.0021776
21 | 0.99489 | -0.097896 | 0.0076139 | 0.0019082
22 | 0.98687 | -0.25266 | 0.012738 | 0.0031923
23 | 0.98701 | -0.24992 | 0 | 0
24 | 0.98676 | -0.2549 | 0.011779 | 0.0029522
25 | 0.98733 | -0.24376 | 0.0087756 | 0.0021994
26 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0006032 | -0.0001503 | 0.00060321 | 0.00014997 | 8.0622e-09 | -3.306e-07 | 0.00090689 | 0.00090677 | 0.00090689 | 0.98939 | -0.20413 | 0.9894 | -0.20385 | 0.24915
1 | 0.0006032 | 0.0001503 | -0.0006032 | -0.00015036 | 1.3966e-09 | -5.7258e-08 | 0.00090689 | 0.00090691 | 0.00090691 | 0.98939 | -0.20413 | 0.98939 | -0.20418 | 0.24915
2 | -0.00060321 | -0.00014997 | 0.00060326 | 0.00014814 | 4.4728e-08 | -1.8359e-06 | 0.00090677 | 0.00090612 | 0.00090677 | 0.9894 | -0.20385 | 0.98948 | -0.20227 | 0.24911
3 | 0.0006032 | 0.00015036 | -0.00060318 | -0.00015117 | 1.9789e-08 | -8.1101e-07 | 0.00090691 | 0.0009072 | 0.0009072 | 0.98939 | -0.20418 | 0.98935 | -0.20487 | 0.24923
4 | -0.0413 | -0.010348 | 0.041414 | 0.010419 | 0.00011358 | 7.1681e-05 | 0.062108 | 0.062107 | 0.062108 | 0.98948 | -0.20227 | 0.99246 | -0.1447 | 17.0625
5 | -0.041414 | -0.010419 | 0.041488 | 0.010466 | 7.4289e-05 | 4.688e-05 | 0.062107 | 0.062107 | 0.062107 | 0.99246 | -0.1447 | 0.9944 | -0.10723 | 17.0624
6 | -0.041488 | -0.010466 | 0.04159 | 0.01053 | 0.00010164 | 6.4138e-05 | 0.062107 | 0.062107 | 0.062107 | 0.9944 | -0.10723 | 0.99706 | -0.056196 | 17.0624
7 | -0.064222 | -0.016203 | 0.064396 | 0.016313 | 0.00017331 | 0.00011026 | 0.095883 | 0.095883 | 0.095883 | 0.99706 | -0.056196 | 1 | 0 | 26.3415
8 | 0.042237 | 0.010609 | -0.042193 | -0.010581 | 4.3845e-05 | 2.769e-05 | 0.063573 | 0.063573 | 0.063573 | 0.98874 | -0.2164 | 0.98761 | -0.23817 | 17.4652
9 | 0.009864 | 0.0024744 | -0.0098565 | -0.0024707 | 7.5045e-06 | 3.6393e-06 | 0.014846 | 0.014846 | 0.014846 | 0.98874 | -0.2164 | 0.98791 | -0.23237 | 4.0786
10 | -0.058762 | -0.014753 | 0.059167 | 0.01501 | 0.00040452 | 0.00025711 | 0.088445 | 0.088444 | 0.088445 | 0.98874 | -0.2164 | 0.99617 | -0.073157 | 24.298
11 | 0.0066618 | 0.0016696 | -0.0066611 | -0.0016694 | 6.4274e-07 | 1.9268e-07 | 0.010026 | 0.010026 | 0.010026 | 0.98874 | -0.2164 | 0.98863 | -0.21842 | 2.7543
12 | 0.033313 | 0.008356 | -0.033309 | -0.0083535 | 4.0356e-06 | 2.5281e-06 | 0.050194 | 0.050194 | 0.050194 | 0.98761 | -0.23817 | 0.98748 | -0.24072 | 13.7897
13 | 0.0098565 | 0.0024707 | -0.0098545 | -0.0024698 | 1.9434e-06 | 9.428e-07 | 0.014846 | 0.014846 | 0.014846 | 0.98791 | -0.23237 | 0.9877 | -0.23651 | 4.0787
14 | 0.023125 | 0.0058042 | -0.023106 | -0.0057925 | 1.9053e-05 | 1.164e-05 | 0.034546 | 0.034546 | 0.034546 | 0.99617 | -0.073157 | 0.99527 | -0.090447 | 9.4906
15 | 0.027986 | 0.0070432 | -0.027915 | -0.0069997 | 7.0152e-05 | 4.3508e-05 | 0.041813 | 0.041814 | 0.041814 | 0.99617 | -0.073157 | 0.99344 | -0.12575 | 11.4873
16 | -0.11028 | -0.027858 | 0.11067 | 0.028106 | 0.00038815 | 0.00024792 | 0.1648 | 0.1648 | 0.1648 | 0.99617 | -0.073157 | 1 | 0 | 45.2756
17 | 0.016308 | 0.0040888 | -0.016303 | -0.004086 | 4.7373e-06 | 2.7558e-06 | 0.024382 | 0.024382 | 0.024382 | 0.99527 | -0.090447 | 0.99496 | -0.096544 | 6.6984
18 | 0.0014307 | 0.0003579 | -0.0014306 | -0.00035854 | 9.3271e-08 | -6.4162e-07 | 0.0021427 | 0.0021429 | 0.0021429 | 0.99344 | -0.12575 | 0.99337 | -0.12712 | 0.58872
19 | 0.026485 | 0.0066418 | -0.026473 | -0.0066349 | 1.12e-05 | 6.9226e-06 | 0.039671 | 0.039671 | 0.039671 | 0.99344 | -0.12575 | 0.99299 | -0.13462 | 10.8987
20 | 0.0087769 | 0.0021999 | -0.0087756 | -0.0021994 | 1.2733e-06 | 5.6663e-07 | 0.013226 | 0.013226 | 0.013226 | 0.98748 | -0.24072 | 0.98733 | -0.24376 | 3.6335
21 | 0.024532 | 0.0061535 | -0.024521 | -0.0061469 | 1.0753e-05 | 6.6136e-06 | 0.036969 | 0.036969 | 0.036969 | 0.98748 | -0.24072 | 0.98701 | -0.24992 | 10.1562
22 | 0.0076144 | 0.0019084 | -0.0076139 | -0.0019082 | 4.9028e-07 | 1.8286e-07 | 0.011388 | 0.011388 | 0.011388 | 0.99496 | -0.096544 | 0.99489 | -0.097896 | 3.1285
23 | -0.012738 | -0.0031923 | 0.012739 | 0.0031933 | 1.6626e-06 | 9.1047e-07 | 0.019206 | 0.019206 | 0.019206 | 0.98687 | -0.25266 | 0.98701 | -0.24992 | 5.2764
24 | 0.011782 | 0.0029537 | -0.011779 | -0.0029522 | 2.7997e-06 | 1.4895e-06 | 0.017763 | 0.017763 | 0.017763 | 0.98701 | -0.24992 | 0.98676 | -0.2549 | 4.8799

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19245 | 0.048362

## res_load
| p_mw | q_mvar
0 | 0.040697 | 0.0102
1 | 0.00060318 | 0.00015117
2 | 0.022632 | 0.0056722
3 | 0.0088798 | 0.0022255
4 | 0.0066611 | 0.0016694
5 | 0.0098545 | 0.0024698
6 | 0.0067981 | 0.0017038
7 | 0.015735 | 0.0039435
8 | 0.0014306 | 0.00035854
9 | 0.026473 | 0.0066349
10 | 0.0086886 | 0.0021776
11 | 0.0076139 | 0.0019082
12 | 0.012738 | 0.0031923
13 | 0.011779 | 0.0029522
14 | 0.0087756 | 0.0021994

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1