## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2198-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2198-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2198-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2198-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2198-1_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2198-1_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2198-1_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2198-1_0_5_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_2198-1_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2198-1_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2198-1_0_5_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_2198-1_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2198-1_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2198-1_0_5_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_2198-1_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2198-1_0_5_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_2198-1_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_2198-1_0_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_2198-1_0_5_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2198-1_0_5_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_2198-1_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2198-1_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2198-1_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2198-1_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2198-1_0_5_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_2198-1_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2198-1_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2198-1_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2198-1_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2198-1_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2198-1_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_2198-1_0_5_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2198-1_0_5_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_2198-1_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2198-1_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2198-1_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2198-1_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2198-1_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_2198-1_0_5_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2198-1_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_2198-1_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2198-1_0_5_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_2198-1_0_5_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_2198-1_0_5_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_2198-1_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2198-1_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2198-1_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2198-1_0_5_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_2198-1_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_2198-1_0_5_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_2198-1_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_2198-1_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2198-1_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2198-1_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2198-1_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_2198-1_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2198-1_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2198-1_0_5_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2198-1_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_2198-1_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2198-1_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2198-1_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2198-1_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_2198-1_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2198-1_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2198-1_0_5_node_60 | 0.4 | n |  | TRUE
66 | bus_MV_506_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2198-1_0_5_load_0 | 0 | 0.036444 | 0.0091338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2198-1_0_5_load_1 | 1 | 0.0024116 | 0.00060441 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2198-1_0_5_load_3 | 3 | 0.0092233 | 0.0023116 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2198-1_0_5_load_64 | 7 | 0.0063129 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2198-1_0_5_load_63 | 13 | 0.0050565 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2198-1_0_5_load_54 | 15 | 0.047397 | 0.011879 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2198-1_0_5_load_37 | 16 | 0.028795 | 0.0072168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2198-1_0_5_load_41 | 17 | 0.0019989 | 0.00050096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2198-1_0_5_load_46 | 18 | 0.0023523 | 0.00058955 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2198-1_0_5_load_52 | 19 | 0.0088845 | 0.0022267 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2198-1_0_5_load_50 | 20 | 0.011177 | 0.0028012 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2198-1_0_5_load_35 | 24 | 0.0050095 | 0.0012555 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2198-1_0_5_load_23 | 27 | 0.042078 | 0.010546 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2198-1_0_5_load_38 | 31 | 0.047151 | 0.011817 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2198-1_0_5_load_28 | 33 | 0.0040171 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2198-1_0_5_load_34 | 36 | 0.010754 | 0.0026953 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2198-1_0_5_load_61 | 37 | 0.0050558 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2198-1_0_5_load_40 | 38 | 0.0015295 | 0.00038332 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2198-1_0_5_load_44 | 39 | 0.0014323 | 0.00035897 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2198-1_0_5_load_48 | 40 | 0.02358 | 0.0059096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2198-1_0_5_load_68 | 41 | 0.00069858 | 0.00017508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2198-1_0_5_load_66 | 42 | 0.0017156 | 0.00042997 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2198-1_0_5_load_67 | 43 | 0.00088658 | 0.0002222 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2198-1_0_5_load_33 | 45 | 0.0084094 | 0.0021076 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2198-1_0_5_load_56 | 47 | 0.0036932 | 0.0009256 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2198-1_0_5_load_55 | 48 | 0.0026485 | 0.00066378 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2198-1_0_5_load_24 | 49 | 0.018241 | 0.0045717 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2198-1_0_5_load_30 | 51 | 0.024345 | 0.0061013 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2198-1_0_5_load_32 | 53 | 0.012862 | 0.0032236 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2198-1_0_5_load_36 | 54 | 0.01274 | 0.003193 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2198-1_0_5_load_42 | 55 | 0.0021542 | 0.00053989 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2198-1_0_5_load_43 | 56 | 0.0019624 | 0.00049182 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2198-1_0_5_load_45 | 57 | 0.0016735 | 0.00041941 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2198-1_0_5_load_47 | 58 | 0.0017916 | 0.00044901 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2198-1_0_5_load_53 | 59 | 0.0020861 | 0.00052284 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2198-1_0_5_load_49 | 60 | 0.074932 | 0.01878 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2198-1_0_5_load_51 | 61 | 0.015832 | 0.0039678 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2198-1_0_5_load_57 | 62 | 0.0036878 | 0.00092424 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2198-1_0_5_load_58 | 63 | 0.0026478 | 0.0006636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2198-1_0_5_load_59 | 64 | 0.0026808 | 0.00067188 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2198-1_0_5_load_60 | 65 | 0.0015454 | 0.00038732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2198-1_0_5_line_0 |  | 0 | 1 | 0.053927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2198-1_0_5_line_1 |  | 0 | 2 | 0.19968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2198-1_0_5_line_2 |  | 1 | 3 | 0.013156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2198-1_0_5_line_3 |  | 2 | 4 | 0.2419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2198-1_0_5_line_4 |  | 3 | 5 | 0.10856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2198-1_0_5_line_5 |  | 4 | 18 | 0.12266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2198-1_0_5_line_6 |  | 5 | 34 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2198-1_0_5_line_7 |  | 5 | 14 | 0.17457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2198-1_0_5_line_8 |  | 6 | 7 | 0.023491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2198-1_0_5_line_9 |  | 6 | 8 | 0.071201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2198-1_0_5_line_10 |  | 6 | 9 | 0.065714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2198-1_0_5_line_11 |  | 6 | 10 | 0.030844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2198-1_0_5_line_12 |  | 8 | 16 | 0.040521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2198-1_0_5_line_13 |  | 8 | 14 | 0.057562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2198-1_0_5_line_14 |  | 9 | 19 | 0.043524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2198-1_0_5_line_15 |  | 9 | 20 | 0.042531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2198-1_0_5_line_16 |  | 10 | 13 | 0.0048922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2198-1_0_5_line_17 |  | 10 | 37 | 0.040121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2198-1_0_5_line_18 |  | 11 | 12 | 0.081877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2198-1_0_5_line_19 |  | 11 | 13 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2198-1_0_5_line_20 |  | 12 | 17 | 0.070352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2198-1_0_5_line_21 |  | 14 | 15 | 0.061211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2198-1_0_5_line_22 |  | 15 | 26 | 0.0036626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2198-1_0_5_line_23 |  | 17 | 38 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2198-1_0_5_line_24 |  | 18 | 39 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2198-1_0_5_line_25 |  | 20 | 40 | 0.03019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2198-1_0_5_line_26 |  | 21 | 22 | 0.002804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2198-1_0_5_line_27 |  | 21 | 23 | 0.053469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2198-1_0_5_line_28 |  | 22 | 24 | 0.04003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2198-1_0_5_line_29 |  | 23 | 27 | 0.049585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2198-1_0_5_line_30 |  | 24 | 35 | 0.0060147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2198-1_0_5_line_31 |  | 25 | 26 | 0.026502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2198-1_0_5_line_32 |  | 25 | 27 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2198-1_0_5_line_33 |  | 28 | 29 | 0.026801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2198-1_0_5_line_34 |  | 28 | 30 | 0.085791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2198-1_0_5_line_35 |  | 28 | 31 | 0.041775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2198-1_0_5_line_36 |  | 29 | 32 | 0.030253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2198-1_0_5_line_37 |  | 29 | 33 | 0.018689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2198-1_0_5_line_38 |  | 30 | 41 | 0.038357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2198-1_0_5_line_39 |  | 32 | 42 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2198-1_0_5_line_40 |  | 32 | 43 | 0.014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2198-1_0_5_line_41 |  | 33 | 44 | 0.0052792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2198-1_0_5_line_42 |  | 34 | 45 | 0.056414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2198-1_0_5_line_43 |  | 34 | 46 | 0.022952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2198-1_0_5_line_44 |  | 35 | 36 | 0.065009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2198-1_0_5_line_45 |  | 37 | 65 | 0.026968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2198-1_0_5_line_46 |  | 39 | 55 | 0.0087831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2198-1_0_5_line_47 |  | 40 | 60 | 0.0014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2198-1_0_5_line_48 |  | 44 | 50 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2198-1_0_5_line_49 |  | 44 | 49 | 0.03946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2198-1_0_5_line_50 |  | 46 | 49 | 0.026984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2198-1_0_5_line_51 |  | 47 | 48 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2198-1_0_5_line_52 |  | 48 | 62 | 0.043082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2198-1_0_5_line_53 |  | 50 | 51 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2198-1_0_5_line_54 |  | 50 | 52 | 0.031245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2198-1_0_5_line_55 |  | 50 | 53 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2198-1_0_5_line_56 |  | 52 | 54 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2198-1_0_5_line_57 |  | 55 | 56 | 0.029302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2198-1_0_5_line_58 |  | 56 | 57 | 0.023768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2198-1_0_5_line_59 |  | 57 | 58 | 0.025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2198-1_0_5_line_60 |  | 58 | 59 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2198-1_0_5_line_61 |  | 60 | 61 | 0.0029953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2198-1_0_5_line_62 |  | 62 | 63 | 0.0053842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2198-1_0_5_line_63 |  | 63 | 64 | 0.037006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2198-1_0_5_line_64 |  | 64 | 65 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2198-1_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 66 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2578178.2814 | 1185310.7202 | 2578173.7788 | 1185320.4719 | 2578138.3692 | 1185345.1934
1 | 2578295.9371 | 1185228.7895 | 2578295.1218 | 1185222.8671 | 2578291.4315 | 1185219.5899 | 2578277.2628 | 1185214.1498 | 2578243.2608 | 1185198.5655 | 2578238.1131 | 1185197.4726 | 2578233.3012 | 1185198.4573 | 2578229.1799 | 1185200.4845 | 2578178.2814 | 1185310.7202
2 | 2578127.582 | 1185352.7246 | 2578127.582 | 1185352.7246 | 2578138.3692 | 1185345.1934
3 | 2578324.8992 | 1185199.5133 | 2578314.7701 | 1185211.5564 | 2578310.3629 | 1185216.7974 | 2578278.7886 | 1185310.3945 | 2578274.6313 | 1185327.6409 | 2578271.6719 | 1185313.422 | 2578274.963 | 1185301.3926 | 2578280.2875 | 1185286.1208 | 2578284.8554 | 1185270.5183 | 2578286.5364 | 1185264.798 | 2578293.0481 | 1185242.2959 | 2578296.2663 | 1185231.1673 | 2578295.9371 | 1185228.7895
4 | 2578156.6136 | 1185430.3032 | 2578156.1635 | 1185426.1916 | 2578153.0223 | 1185422.8013 | 2578118.1269 | 1185406.8431 | 2578112.539 | 1185402.2167 | 2578109.4727 | 1185396.3916 | 2578109.7141 | 1185391.4548 | 2578127.582 | 1185352.7246
5 | 2578324.8992 | 1185199.5133 | 2578310.7692 | 1185194.2286 | 2578305.0421 | 1185193.3045 | 2578300.9144 | 1185193.5752 | 2578278.6277 | 1185194.9792 | 2578266.2521 | 1185195.758 | 2578262.6091 | 1185195.0042 | 2578239.3235 | 1185184.0945 | 2578227.138 | 1185178.4249 | 2578218.5694 | 1185196.533
6 | 2578156.6136 | 1185430.3032 | 2578147.5238 | 1185430.0697 | 2578140.578 | 1185431.7849 | 2578139.6949 | 1185432.344
7 | 2578156.6136 | 1185430.3032 | 2578159.7389 | 1185431.4257 | 2578187.9784 | 1185444.985 | 2578197.529 | 1185450.2307 | 2578207.3744 | 1185456.7759 | 2578209.2976 | 1185454.7122 | 2578211.6192 | 1185453.114 | 2578214.2329 | 1185452.0484 | 2578217.0165 | 1185451.5713 | 2578220.2224 | 1185451.7597 | 2578223.2861 | 1185452.7379 | 2578226.0166 | 1185454.4288 | 2578228.2534 | 1185456.7441 | 2578229.8124 | 1185459.4398 | 2578230.678 | 1185462.4382 | 2578230.8038 | 1185465.5505 | 2578230.1892 | 1185468.5988 | 2578241.8162 | 1185471.947 | 2578240.9444 | 1185477.731 | 2578249.9843 | 1185478.9653 | 2578264.6082 | 1185483.8368 | 2578272.5289 | 1185487.899 | 2578275.8633 | 1185491.9667 | 2578276.8636 | 1185496.3209 | 2578276.2495 | 1185501.6037 | 2578282.2885 | 1185504.4499 | 2578288.9099 | 1185507.9609
8 | 2578345.9564 | 1185523.6174 | 2578352.475 | 1185511.4429 | 2578354.6232 | 1185501.9968
9 | 2578306.0642 | 1185465.8543 | 2578313.5188 | 1185473.9314 | 2578313.9213 | 1185475.4975 | 2578323.099 | 1185476.8759 | 2578335.0354 | 1185479.2894 | 2578345.2123 | 1185482.632 | 2578350.0427 | 1185484.6711 | 2578348.7908 | 1185488.7889 | 2578347.1909 | 1185495.8206 | 2578354.6232 | 1185501.9968
10 | 2578367.6306 | 1185444.1639 | 2578367.5871 | 1185446.8766 | 2578366.1441 | 1185453.0183 | 2578350.0427 | 1185484.6711 | 2578348.7908 | 1185488.7889 | 2578347.1909 | 1185495.8206 | 2578354.6232 | 1185501.9968
11 | 2578354.6232 | 1185501.9968 | 2578375.4096 | 1185514.3501 | 2578371.7212 | 1185519.9664
12 | 2578306.0642 | 1185465.8543 | 2578297.5317 | 1185450.9553 | 2578282.3495 | 1185433.2124
13 | 2578288.9099 | 1185507.9609 | 2578282.2885 | 1185504.4499 | 2578288.4351 | 1185492.8437 | 2578291.4118 | 1185492.9773 | 2578294.3092 | 1185492.2998 | 2578296.9061 | 1185490.8562 | 2578299.0123 | 1185488.7586 | 2578300.4605 | 1185486.1631 | 2578301.3893 | 1185483.4694 | 2578301.3379 | 1185479.8232 | 2578300.2685 | 1185477.4481 | 2578306.0642 | 1185465.8543
14 | 2578411.2805 | 1185443.9056 | 2578367.6306 | 1185444.1639
15 | 2578367.6306 | 1185444.1639 | 2578368.3616 | 1185401.639 | 2578368.3616 | 1185401.639
16 | 2578371.7212 | 1185519.9664 | 2578376.613 | 1185520.0265
17 | 2578371.7212 | 1185519.9664 | 2578349.7201 | 1185553.5175
18 | 2578383.5611 | 1185504.2042 | 2578391.623 | 1185505.131 | 2578399.7357 | 1185505.3573 | 2578406.8009 | 1185504.9871 | 2578413.8183 | 1185504.0946 | 2578420.75 | 1185502.6799 | 2578426.5672 | 1185501.2136 | 2578432.2069 | 1185499.1699 | 2578437.6157 | 1185496.5824 | 2578443.9735 | 1185492.624 | 2578450.6409 | 1185487.7752 | 2578454.3849 | 1185484.849 | 2578458.582 | 1185489.0583
19 | 2578383.5611 | 1185504.2042 | 2578382.0692 | 1185511.5801 | 2578376.613 | 1185520.0265
20 | 2578458.582 | 1185489.0583 | 2578463.6703 | 1185494.9318 | 2578469.1663 | 1185499.5922 | 2578457.1423 | 1185517.2337 | 2578443.3958 | 1185548.3589
21 | 2578288.9099 | 1185507.9609 | 2578285.2523 | 1185511.5539 | 2578283.7471 | 1185525.7112 | 2578261.1896 | 1185560.958
22 | 2578259.2154 | 1185564.0428 | 2578261.1896 | 1185560.958
23 | 2578436.7661 | 1185563.37 | 2578443.3958 | 1185548.3589
24 | 2578218.5694 | 1185196.533 | 2578210.9882 | 1185212.5545
25 | 2578398.5492 | 1185401.985 | 2578368.3616 | 1185401.639
26 | 2578204.3745 | 1185663.2393 | 2578204.2702 | 1185666.0411
27 | 2578204.3745 | 1185663.2393 | 2578205.0109 | 1185653.6319 | 2578207.7448 | 1185637.469 | 2578210.7579 | 1185624.6291 | 2578214.8247 | 1185616.1431 | 2578211.4924 | 1185612.6201
28 | 2578204.2702 | 1185666.0411 | 2578201.6933 | 1185681.303 | 2578196.4914 | 1185705.2974
29 | 2578211.4924 | 1185612.6201 | 2578207.2484 | 1185608.1333 | 2578231.2498 | 1185571.9627
30 | 2578195.2171 | 1185711.1756 | 2578196.4914 | 1185705.2974
31 | 2578238.0989 | 1185561.6408 | 2578241.8886 | 1185562.9054 | 2578245.8463 | 1185564.225 | 2578249.9144 | 1185558.1403 | 2578253.4328 | 1185560.3731 | 2578259.2154 | 1185564.0428
32 | 2578238.0989 | 1185561.6408 | 2578231.2498 | 1185571.9627
33 | 2578063.5303 | 1185549.4181 | 2578069.5914 | 1185539.5796 | 2578077.5869 | 1185526.599
34 | 2577988.4523 | 1185552.7519 | 2578032.9239 | 1185566.5286 | 2578042.7487 | 1185569.5718 | 2578063.5303 | 1185549.4181
35 | 2578063.5303 | 1185549.4181 | 2578073.5056 | 1185558.086 | 2578097.7817 | 1185573.1309
36 | 2578077.5869 | 1185526.599 | 2578071.4679 | 1185522.7528 | 2578051.925 | 1185510.4627
37 | 2578077.5869 | 1185526.599 | 2578087.3822 | 1185510.6826
38 | 2577999.7027 | 1185516.0802 | 2577988.4523 | 1185552.7519
39 | 2578051.925 | 1185510.4627 | 2578060.4199 | 1185496.324
40 | 2578039.6714 | 1185502.7482 | 2578051.925 | 1185510.4627
41 | 2578090.1492 | 1185506.1866 | 2578087.3822 | 1185510.6826
42 | 2578139.6949 | 1185432.344 | 2578136.0282 | 1185425.1092 | 2578128.204 | 1185420.3799 | 2578094.5824 | 1185400.1037
43 | 2578139.6949 | 1185432.344 | 2578134.8383 | 1185435.6747 | 2578128.4888 | 1185443.9134 | 2578124.984 | 1185449.607
44 | 2578195.2171 | 1185711.1756 | 2578140.8816 | 1185675.4843
45 | 2578334.9316 | 1185576.0696 | 2578349.7201 | 1185553.5175
46 | 2578207.2314 | 1185220.4936 | 2578210.9882 | 1185212.5545
47 | 2578398.5492 | 1185401.985 | 2578399.9988 | 1185402.0016
48 | 2578090.1492 | 1185506.1866 | 2578101.9415 | 1185513.0024
49 | 2578090.1492 | 1185506.1866 | 2578110.837 | 1185472.5849
50 | 2578124.984 | 1185449.607 | 2578110.837 | 1185472.5849
51 | 2578281.936 | 1185656.8864 | 2578274.0659 | 1185668.888 | 2578286.4243 | 1185676.2135 | 2578286.4243 | 1185676.2135
52 | 2578281.936 | 1185656.8864 | 2578305.5607 | 1185620.8594
53 | 2578101.9415 | 1185513.0024 | 2578107.8737 | 1185503.3645 | 2578113.1137 | 1185494.862
54 | 2578124.1357 | 1185532.4645 | 2578121.9165 | 1185524.5463 | 2578101.9415 | 1185513.0024
55 | 2578101.9415 | 1185513.0024 | 2578094.4103 | 1185525.8499
56 | 2578124.1357 | 1185532.4645 | 2578138.508 | 1185541.8239
57 | 2578207.2314 | 1185220.4936 | 2578194.6982 | 1185246.9801
58 | 2578194.6982 | 1185246.9801 | 2578184.5323 | 1185268.4638
59 | 2578184.5323 | 1185268.4638 | 2578173.4861 | 1185291.8076
60 | 2578165.7739 | 1185308.1058 | 2578173.4861 | 1185291.8076
61 | 2578402.994 | 1185402.036 | 2578399.9988 | 1185402.0016
62 | 2578308.5132 | 1185616.3569 | 2578305.5607 | 1185620.8594
63 | 2578308.5132 | 1185616.3569 | 2578328.8057 | 1185585.4114
64 | 2578334.9316 | 1185576.0696 | 2578328.8057 | 1185585.4114

## bus_geodata
| x | y | coords
0 | 2578178.2814 | 1185310.7202
1 | 2578138.3692 | 1185345.1934
2 | 2578295.9371 | 1185228.7895
3 | 2578127.582 | 1185352.7246
4 | 2578324.8992 | 1185199.5133
5 | 2578156.6136 | 1185430.3032
6 | 2578354.6232 | 1185501.9968
7 | 2578345.9564 | 1185523.6174
8 | 2578306.0642 | 1185465.8543
9 | 2578367.6306 | 1185444.1639
10 | 2578371.7212 | 1185519.9664
11 | 2578383.5611 | 1185504.2042
12 | 2578458.582 | 1185489.0583
13 | 2578376.613 | 1185520.0265
14 | 2578288.9099 | 1185507.9609
15 | 2578261.1896 | 1185560.958
16 | 2578282.3495 | 1185433.2124
17 | 2578443.3958 | 1185548.3589
18 | 2578218.5694 | 1185196.533
19 | 2578411.2805 | 1185443.9056
20 | 2578368.3616 | 1185401.639
21 | 2578204.3745 | 1185663.2393
22 | 2578204.2702 | 1185666.0411
23 | 2578211.4924 | 1185612.6201
24 | 2578196.4914 | 1185705.2974
25 | 2578238.0989 | 1185561.6408
26 | 2578259.2154 | 1185564.0428
27 | 2578231.2498 | 1185571.9627
28 | 2578063.5303 | 1185549.4181
29 | 2578077.5869 | 1185526.599
30 | 2577988.4523 | 1185552.7519
31 | 2578097.7817 | 1185573.1309
32 | 2578051.925 | 1185510.4627
33 | 2578087.3822 | 1185510.6826
34 | 2578139.6949 | 1185432.344
35 | 2578195.2171 | 1185711.1756
36 | 2578140.8817 | 1185675.4843
37 | 2578349.7201 | 1185553.5175
38 | 2578436.7661 | 1185563.37
39 | 2578210.9882 | 1185212.5545
40 | 2578398.5492 | 1185401.985
41 | 2577999.7027 | 1185516.0802
42 | 2578060.4199 | 1185496.324
43 | 2578039.6714 | 1185502.7482
44 | 2578090.1492 | 1185506.1866
45 | 2578094.5824 | 1185400.1037
46 | 2578124.984 | 1185449.607
47 | 2578286.4243 | 1185676.2135
48 | 2578281.936 | 1185656.8864
49 | 2578110.837 | 1185472.5849
50 | 2578101.9415 | 1185513.0024
51 | 2578113.1137 | 1185494.862
52 | 2578124.1357 | 1185532.4645
53 | 2578094.4103 | 1185525.8499
54 | 2578138.508 | 1185541.8239
55 | 2578207.2314 | 1185220.4936
56 | 2578194.6982 | 1185246.9801
57 | 2578184.5323 | 1185268.4638
58 | 2578173.4861 | 1185291.8076
59 | 2578165.7739 | 1185308.1058
60 | 2578399.9988 | 1185402.0016
61 | 2578402.994 | 1185402.036
62 | 2578305.5607 | 1185620.8594
63 | 2578308.5132 | 1185616.3569
64 | 2578328.8057 | 1185585.4114
65 | 2578334.9316 | 1185576.0696
66 | 2578282.2885 | 1185504.4499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9781 | -0.41945 | 0.036444 | 0.0091338
1 | 0.9806 | -0.37053 | 0.0024116 | 0.00060441
2 | 0.97559 | -0.46858 | 0 | 0
3 | 0.98124 | -0.35806 | 0.0092233 | 0.0023116
4 | 0.97255 | -0.52841 | 0 | 0
5 | 0.98434 | -0.29776 | 0 | 0
6 | 0.98898 | -0.20895 | 0 | 0
7 | 0.98885 | -0.21159 | 0.0063129 | 0.0015822
8 | 0.99466 | -0.10091 | 0 | 0
9 | 0.98075 | -0.36767 | 0 | 0
10 | 0.98812 | -0.22576 | 0 | 0
11 | 0.98802 | -0.22762 | 0 | 0
12 | 0.98776 | -0.23279 | 0 | 0
13 | 0.98808 | -0.22651 | 0.0050565 | 0.0012673
14 | 1 | 0 | -0.50877 | -0.13065
15 | 0.99411 | -0.11295 | 0.047397 | 0.011879
16 | 0.99359 | -0.12149 | 0.028795 | 0.0072168
17 | 0.98753 | -0.23722 | 0.0019989 | 0.00050096
18 | 0.97101 | -0.55888 | 0.0023523 | 0.00058955
19 | 0.98039 | -0.37468 | 0.0088845 | 0.0022267
20 | 0.97577 | -0.4649 | 0.011177 | 0.0028012
21 | 0.99037 | -0.1853 | 0 | 0
22 | 0.99033 | -0.18609 | 0 | 0
23 | 0.99114 | -0.17033 | 0 | 0
24 | 0.98975 | -0.19731 | 0.0050095 | 0.0012555
25 | 0.99252 | -0.14378 | 0 | 0
26 | 0.99392 | -0.11669 | 0 | 0
27 | 0.99186 | -0.15647 | 0.042078 | 0.010546
28 | 0.9727 | -0.52498 | 0 | 0
29 | 0.9739 | -0.50138 | 0 | 0
30 | 0.97265 | -0.52609 | 0 | 0
31 | 0.97086 | -0.56133 | 0.047151 | 0.011817
32 | 0.97383 | -0.50283 | 0 | 0
33 | 0.97478 | -0.48407 | 0.0040171 | 0.0010068
34 | 0.98329 | -0.31811 | 0 | 0
35 | 0.98969 | -0.19846 | 0 | 0
36 | 0.98905 | -0.21091 | 0.010754 | 0.0026953
37 | 0.98731 | -0.24151 | 0.0050558 | 0.0012671
38 | 0.98751 | -0.23767 | 0.0015295 | 0.00038332
39 | 0.97083 | -0.56252 | 0.0014323 | 0.00035897
40 | 0.97255 | -0.5283 | 0.02358 | 0.0059096
41 | 0.97262 | -0.52658 | 0.00069858 | 0.00017508
42 | 0.9738 | -0.50335 | 0.0017156 | 0.00042997
43 | 0.97381 | -0.50306 | 0.00088658 | 0.0002222
44 | 0.97505 | -0.47879 | 0 | 0
45 | 0.98285 | -0.32667 | 0.0084094 | 0.0021076
46 | 0.98198 | -0.34353 | 0 | 0
47 | 0.9859 | -0.26891 | 0.0036932 | 0.0009256
48 | 0.986 | -0.267 | 0.0026485 | 0.00066378
49 | 0.97889 | -0.40354 | 0.018241 | 0.0045717
50 | 0.97442 | -0.49125 | 0 | 0
51 | 0.97393 | -0.50077 | 0.024345 | 0.0061013
52 | 0.97405 | -0.49856 | 0 | 0
53 | 0.97424 | -0.49476 | 0.012862 | 0.0032236
54 | 0.97384 | -0.50257 | 0.01274 | 0.003193
55 | 0.97075 | -0.56409 | 0.0021542 | 0.00053989
56 | 0.97054 | -0.56816 | 0.0019624 | 0.00049182
57 | 0.97042 | -0.57061 | 0.0016735 | 0.00041941
58 | 0.97032 | -0.57246 | 0.0017916 | 0.00044901
59 | 0.97029 | -0.57316 | 0.0020861 | 0.00052284
60 | 0.97243 | -0.53073 | 0.074932 | 0.01878
61 | 0.97238 | -0.5316 | 0.015832 | 0.0039678
62 | 0.98625 | -0.26211 | 0.0036878 | 0.00092424
63 | 0.9863 | -0.26114 | 0.0026478 | 0.0006636
64 | 0.98673 | -0.25273 | 0.0026808 | 0.00067188
65 | 0.98689 | -0.24966 | 0.0015454 | 0.00038732
66 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.049992 | -0.012558 | 0.050109 | 0.012632 | 0.000117 | 7.4203e-05 | 0.076064 | 0.076064 | 0.076064 | 0.9781 | -0.41945 | 0.9806 | -0.37053 | 20.8968
1 | 0.013548 | 0.0034238 | -0.013516 | -0.0034059 | 3.1841e-05 | 1.7878e-05 | 0.020621 | 0.020621 | 0.020621 | 0.9781 | -0.41945 | 0.97559 | -0.46858 | 5.6652
2 | -0.05252 | -0.013236 | 0.052552 | 0.013256 | 3.1357e-05 | 1.9902e-05 | 0.079724 | 0.079724 | 0.079724 | 0.9806 | -0.37053 | 0.98124 | -0.35806 | 21.9021
3 | 0.013516 | 0.0034059 | -0.013477 | -0.0033843 | 3.8577e-05 | 2.1678e-05 | 0.020621 | 0.020623 | 0.020623 | 0.97559 | -0.46858 | 0.97255 | -0.52841 | 5.6655
4 | -0.061775 | -0.015568 | 0.061954 | 0.015679 | 0.00017875 | 0.00011165 | 0.093711 | 0.09371 | 0.093711 | 0.98124 | -0.35806 | 0.98434 | -0.29776 | 12.8723
5 | 0.013477 | 0.0033843 | -0.013458 | -0.0033733 | 1.9563e-05 | 1.1001e-05 | 0.020623 | 0.020623 | 0.020623 | 0.97255 | -0.52841 | 0.97101 | -0.55888 | 5.6657
6 | 0.13233 | 0.033647 | -0.1322 | -0.033565 | 0.0001296 | 8.2506e-05 | 0.20021 | 0.20021 | 0.20021 | 0.98434 | -0.29776 | 0.98329 | -0.31811 | 27.5013
7 | -0.19428 | -0.049326 | 0.19711 | 0.051132 | 0.0028277 | 0.0018052 | 0.29392 | 0.29392 | 0.29392 | 0.98434 | -0.29776 | 1 | 0 | 40.3734
8 | 0.0063137 | 0.0015824 | -0.0063129 | -0.0015822 | 7.9494e-07 | 2.0737e-07 | 0.0094995 | 0.0094996 | 0.0094996 | 0.98898 | -0.20895 | 0.98885 | -0.21159 | 2.6098
9 | -0.17331 | -0.044226 | 0.17422 | 0.044806 | 0.00090974 | 0.0005804 | 0.26105 | 0.26105 | 0.26105 | 0.98898 | -0.20895 | 0.99466 | -0.10091 | 35.8579
10 | 0.13639 | 0.034956 | -0.13535 | -0.034291 | 0.0010406 | 0.00066516 | 0.20549 | 0.2055 | 0.2055 | 0.98898 | -0.20895 | 0.98075 | -0.36767 | 56.4547
11 | 0.030603 | 0.0076878 | -0.030579 | -0.0076725 | 2.453e-05 | 1.5304e-05 | 0.046052 | 0.046052 | 0.046052 | 0.98898 | -0.20895 | 0.98812 | -0.22576 | 12.6517
12 | 0.028824 | 0.0072344 | -0.028795 | -0.0072168 | 2.8259e-05 | 1.756e-05 | 0.043124 | 0.043124 | 0.043124 | 0.99466 | -0.10091 | 0.99359 | -0.12149 | 11.8473
13 | -0.20304 | -0.052041 | 0.20404 | 0.052678 | 0.00099853 | 0.00063756 | 0.30417 | 0.30417 | 0.30417 | 0.99466 | -0.10091 | 1 | 0 | 41.7814
14 | 0.0088874 | 0.002228 | -0.0088845 | -0.0022267 | 2.9678e-06 | 1.3504e-06 | 0.013484 | 0.013485 | 0.013485 | 0.98075 | -0.36767 | 0.98039 | -0.37468 | 3.7046
15 | 0.12647 | 0.032063 | -0.12588 | -0.031687 | 0.00058802 | 0.0003758 | 0.19201 | 0.19201 | 0.19201 | 0.98075 | -0.36767 | 0.97577 | -0.4649 | 52.7502
16 | 0.008587 | 0.0021505 | -0.0085867 | -0.0021504 | 3.0674e-07 | 1.3365e-07 | 0.012931 | 0.012931 | 0.012931 | 0.98812 | -0.22576 | 0.98808 | -0.22651 | 3.5524
17 | 0.021992 | 0.005522 | -0.021975 | -0.0055119 | 1.6506e-05 | 1.005e-05 | 0.033122 | 0.033122 | 0.033122 | 0.98812 | -0.22576 | 0.98731 | -0.24151 | 9.0994
18 | 0.00353 | 0.00088318 | -0.0035291 | -0.00088367 | 8.6768e-07 | -4.93e-07 | 0.0053158 | 0.0053162 | 0.0053162 | 0.98802 | -0.22762 | 0.98776 | -0.23279 | 1.4605
19 | -0.00353 | -0.00088318 | 0.0035302 | 0.00088307 | 1.8629e-07 | -1.0594e-07 | 0.0053158 | 0.0053157 | 0.0053158 | 0.98802 | -0.22762 | 0.98808 | -0.22651 | 1.4604
20 | 0.0035291 | 0.00088367 | -0.0035284 | -0.00088409 | 7.4564e-07 | -4.2309e-07 | 0.0053162 | 0.0053165 | 0.0053165 | 0.98776 | -0.23279 | 0.98753 | -0.23722 | 1.4606
21 | 0.10597 | 0.026838 | -0.1054 | -0.026473 | 0.00057145 | 0.00036493 | 0.15778 | 0.15778 | 0.15778 | 1 | 0 | 0.99411 | -0.11295 | 43.3468
22 | 0.058 | 0.014594 | -0.05799 | -0.014588 | 1.0357e-05 | 6.5809e-06 | 0.086837 | 0.086837 | 0.086837 | 0.99411 | -0.11295 | 0.99392 | -0.11669 | 23.8564
23 | 0.0015295 | 0.00038313 | -0.0015295 | -0.00038332 | 3.2684e-08 | -1.8903e-07 | 0.0023046 | 0.0023047 | 0.0023047 | 0.98753 | -0.23722 | 0.98751 | -0.23767 | 0.63315
24 | 0.011105 | 0.0027837 | -0.011103 | -0.0027827 | 1.9251e-06 | 1.0128e-06 | 0.017018 | 0.017018 | 0.017018 | 0.97101 | -0.55888 | 0.97083 | -0.56252 | 4.6754
25 | 0.1147 | 0.028886 | -0.11435 | -0.028664 | 0.00034657 | 0.00022143 | 0.17497 | 0.17497 | 0.17497 | 0.97577 | -0.4649 | 0.97255 | -0.5283 | 48.0677
26 | 0.01578 | 0.0039596 | -0.015779 | -0.0039593 | 5.9115e-07 | 3.4226e-07 | 0.023711 | 0.023711 | 0.023711 | 0.99037 | -0.1853 | 0.99033 | -0.18609 | 6.5139
27 | -0.01578 | -0.0039596 | 0.015791 | 0.0039661 | 1.1273e-05 | 6.5258e-06 | 0.023711 | 0.023711 | 0.023711 | 0.99037 | -0.1853 | 0.99114 | -0.17033 | 6.5139
28 | 0.015779 | 0.0039593 | -0.015771 | -0.0039544 | 8.4393e-06 | 4.8864e-06 | 0.023711 | 0.023711 | 0.023711 | 0.99033 | -0.18609 | 0.98975 | -0.19731 | 6.514
29 | -0.015791 | -0.0039661 | 0.015802 | 0.0039722 | 1.0454e-05 | 6.0508e-06 | 0.023711 | 0.02371 | 0.023711 | 0.99114 | -0.17033 | 0.99186 | -0.15647 | 6.5139
30 | 0.010761 | 0.0026989 | -0.010761 | -0.0026986 | 5.9045e-07 | 3.0059e-07 | 0.01618 | 0.01618 | 0.01618 | 0.98975 | -0.19731 | 0.98969 | -0.19846 | 4.445
31 | -0.057915 | -0.01454 | 0.05799 | 0.014588 | 7.4942e-05 | 4.762e-05 | 0.086837 | 0.086837 | 0.086837 | 0.99252 | -0.14378 | 0.99392 | -0.11669 | 23.8564
32 | 0.057915 | 0.01454 | -0.05788 | -0.014518 | 3.5029e-05 | 2.2259e-05 | 0.086837 | 0.086837 | 0.086837 | 0.99252 | -0.14378 | 0.99186 | -0.15647 | 23.8565
33 | -0.047932 | -0.012043 | 0.047986 | 0.012077 | 5.4052e-05 | 3.426e-05 | 0.073336 | 0.073335 | 0.073336 | 0.9727 | -0.52498 | 0.9739 | -0.50138 | 20.1471
34 | 0.00069863 | 0.00017357 | -0.0006986 | -0.00017462 | 3.6723e-08 | -1.0413e-06 | 0.0010682 | 0.0010686 | 0.0010686 | 0.9727 | -0.52498 | 0.97265 | -0.52609 | 0.29357
35 | 0.047233 | 0.011869 | -0.047151 | -0.011817 | 8.1815e-05 | 5.1844e-05 | 0.072267 | 0.072268 | 0.072268 | 0.9727 | -0.52498 | 0.97086 | -0.56133 | 19.8537
36 | 0.0026024 | 0.00065155 | -0.0026022 | -0.00065181 | 1.7935e-07 | -2.6164e-07 | 0.0039759 | 0.0039761 | 0.0039761 | 0.9739 | -0.50138 | 0.97383 | -0.50283 | 1.0923
37 | -0.050588 | -0.012728 | 0.05063 | 0.012755 | 4.1889e-05 | 2.6576e-05 | 0.077311 | 0.077311 | 0.077311 | 0.9739 | -0.50138 | 0.97478 | -0.48407 | 21.2394
38 | 0.0006986 | 0.00017462 | -0.00069858 | -0.00017508 | 1.6427e-08 | -4.6554e-07 | 0.0010686 | 0.0010688 | 0.0010688 | 0.97265 | -0.52609 | 0.97262 | -0.52658 | 0.29362
39 | 0.0017156 | 0.00042979 | -0.0017156 | -0.00042997 | 4.248e-08 | -1.7789e-07 | 0.0026214 | 0.0026215 | 0.0026215 | 0.97383 | -0.50283 | 0.9738 | -0.50335 | 0.72019
40 | 0.00088659 | 0.00022202 | -0.00088658 | -0.0002222 | 9.9451e-09 | -1.7343e-07 | 0.0013547 | 0.0013547 | 0.0013547 | 0.97383 | -0.50283 | 0.97381 | -0.50306 | 0.37218
41 | -0.054647 | -0.013762 | 0.054661 | 0.013771 | 1.3784e-05 | 8.7561e-06 | 0.083443 | 0.083443 | 0.083443 | 0.97478 | -0.48407 | 0.97505 | -0.47879 | 22.924
42 | 0.0084128 | 0.0021091 | -0.0084094 | -0.0021076 | 3.4291e-06 | 1.4794e-06 | 0.012731 | 0.012732 | 0.012732 | 0.98329 | -0.31811 | 0.98285 | -0.32667 | 3.4977
43 | 0.12378 | 0.031455 | -0.12363 | -0.031359 | 0.00015126 | 9.6224e-05 | 0.18748 | 0.18748 | 0.18748 | 0.98329 | -0.31811 | 0.98198 | -0.34353 | 25.7525
44 | 0.010761 | 0.0026986 | -0.010754 | -0.0026953 | 6.3819e-06 | 3.2496e-06 | 0.01618 | 0.01618 | 0.01618 | 0.98969 | -0.19846 | 0.98905 | -0.21091 | 4.445
45 | 0.01692 | 0.0042448 | -0.016913 | -0.004241 | 6.5771e-06 | 3.8646e-06 | 0.025502 | 0.025502 | 0.025502 | 0.98731 | -0.24151 | 0.98689 | -0.24966 | 7.0061
46 | 0.009671 | 0.0024237 | -0.0096703 | -0.0024234 | 7.237e-07 | 3.5457e-07 | 0.014823 | 0.014823 | 0.014823 | 0.97083 | -0.56252 | 0.97075 | -0.56409 | 4.0723
47 | 0.090775 | 0.022755 | -0.090765 | -0.022748 | 1.0487e-05 | 6.6935e-06 | 0.13889 | 0.13889 | 0.13889 | 0.97255 | -0.5283 | 0.97243 | -0.53073 | 38.1564
48 | 0.049997 | 0.012549 | -0.049967 | -0.01253 | 2.9678e-05 | 1.8825e-05 | 0.076306 | 0.076306 | 0.076306 | 0.97505 | -0.47879 | 0.97442 | -0.49125 | 20.9633
49 | -0.10466 | -0.026319 | 0.10504 | 0.02656 | 0.00037763 | 0.00024119 | 0.15975 | 0.15975 | 0.15975 | 0.97505 | -0.47879 | 0.97889 | -0.40354 | 43.8873
50 | 0.12363 | 0.031359 | -0.12328 | -0.031132 | 0.00035566 | 0.00022728 | 0.18748 | 0.18748 | 0.18748 | 0.98198 | -0.34353 | 0.97889 | -0.40354 | 51.505
51 | -0.0036932 | -0.0009256 | 0.0036935 | 0.00092545 | 3.346e-07 | -1.521e-07 | 0.0055741 | 0.005574 | 0.0055741 | 0.9859 | -0.26891 | 0.986 | -0.267 | 1.5314
52 | -0.006342 | -0.0015892 | 0.0063435 | 0.0015896 | 1.4799e-06 | 3.975e-07 | 0.009571 | 0.0095708 | 0.009571 | 0.986 | -0.267 | 0.98625 | -0.26211 | 2.6294
53 | 0.024356 | 0.0061082 | -0.024345 | -0.0061013 | 1.1053e-05 | 6.8085e-06 | 0.037195 | 0.037195 | 0.037195 | 0.97442 | -0.49125 | 0.97393 | -0.50077 | 10.2183
54 | 0.012747 | 0.0031968 | -0.012743 | -0.0031943 | 4.4401e-06 | 2.4526e-06 | 0.019467 | 0.019467 | 0.019467 | 0.97442 | -0.49125 | 0.97405 | -0.49856 | 5.348
55 | 0.012864 | 0.0032248 | -0.012862 | -0.0032236 | 2.1553e-06 | 1.1939e-06 | 0.019645 | 0.019645 | 0.019645 | 0.97442 | -0.49125 | 0.97424 | -0.49476 | 5.3971
56 | 0.012743 | 0.0031943 | -0.01274 | -0.003193 | 2.4373e-06 | 1.3464e-06 | 0.019467 | 0.019467 | 0.019467 | 0.97405 | -0.49856 | 0.97384 | -0.50257 | 5.348
57 | 0.0075161 | 0.0018835 | -0.0075146 | -0.0018829 | 1.4585e-06 | 5.7127e-07 | 0.011521 | 0.011521 | 0.011521 | 0.97075 | -0.56409 | 0.97054 | -0.56816 | 3.1651
58 | 0.0055522 | 0.0013911 | -0.0055516 | -0.001391 | 6.4585e-07 | 1.1967e-07 | 0.0085124 | 0.0085125 | 0.0085125 | 0.97054 | -0.56816 | 0.97042 | -0.57061 | 2.3386
59 | 0.0038781 | 0.00097156 | -0.0038778 | -0.00097166 | 3.4246e-07 | -9.9858e-08 | 0.0059465 | 0.0059466 | 0.0059466 | 0.97042 | -0.57061 | 0.97032 | -0.57246 | 1.6337
60 | 0.0020862 | 0.00052266 | -0.0020861 | -0.00052284 | 6.9205e-08 | -1.7842e-07 | 0.0031992 | 0.0031993 | 0.0031993 | 0.97032 | -0.57246 | 0.97029 | -0.57316 | 0.87892
61 | 0.015832 | 0.0039682 | -0.015832 | -0.0039678 | 6.5928e-07 | 3.8478e-07 | 0.024227 | 0.024227 | 0.024227 | 0.97243 | -0.53073 | 0.97238 | -0.5316 | 6.6557
62 | -0.010031 | -0.0025139 | 0.010032 | 0.0025141 | 4.6249e-07 | 2.2728e-07 | 0.015135 | 0.015135 | 0.015135 | 0.98625 | -0.26211 | 0.9863 | -0.26114 | 4.1579
63 | -0.01268 | -0.0031777 | 0.012685 | 0.0031805 | 5.078e-06 | 2.7775e-06 | 0.019129 | 0.019129 | 0.019129 | 0.9863 | -0.26114 | 0.98673 | -0.25273 | 5.2553
64 | -0.015365 | -0.0038523 | 0.015368 | 0.0038536 | 2.2493e-06 | 1.2969e-06 | 0.023172 | 0.023172 | 0.023172 | 0.98673 | -0.25273 | 0.98689 | -0.24966 | 6.3659

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50877 | 0.13065

## res_load
| p_mw | q_mvar
0 | 0.036444 | 0.0091338
1 | 0.0024116 | 0.00060441
2 | 0.0092233 | 0.0023116
3 | 0.0063129 | 0.0015822
4 | 0.0050565 | 0.0012673
5 | 0.047397 | 0.011879
6 | 0.028795 | 0.0072168
7 | 0.0019989 | 0.00050096
8 | 0.0023523 | 0.00058955
9 | 0.0088845 | 0.0022267
10 | 0.011177 | 0.0028012
11 | 0.0050095 | 0.0012555
12 | 0.042078 | 0.010546
13 | 0.047151 | 0.011817
14 | 0.0040171 | 0.0010068
15 | 0.010754 | 0.0026953
16 | 0.0050558 | 0.0012671
17 | 0.0015295 | 0.00038332
18 | 0.0014323 | 0.00035897
19 | 0.02358 | 0.0059096
20 | 0.00069858 | 0.00017508
21 | 0.0017156 | 0.00042997
22 | 0.00088658 | 0.0002222
23 | 0.0084094 | 0.0021076
24 | 0.0036932 | 0.0009256
25 | 0.0026485 | 0.00066378
26 | 0.018241 | 0.0045717
27 | 0.024345 | 0.0061013
28 | 0.012862 | 0.0032236
29 | 0.01274 | 0.003193
30 | 0.0021542 | 0.00053989
31 | 0.0019624 | 0.00049182
32 | 0.0016735 | 0.00041941
33 | 0.0017916 | 0.00044901
34 | 0.0020861 | 0.00052284
35 | 0.074932 | 0.01878
36 | 0.015832 | 0.0039678
37 | 0.0036878 | 0.00092424
38 | 0.0026478 | 0.0006636
39 | 0.0026808 | 0.00067188
40 | 0.0015454 | 0.00038732

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1