## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2198-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2198-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2198-2_0_6_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2198-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2198-2_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2198-2_0_6_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_2198-2_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2198-2_0_6_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_2198-2_0_6_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_2198-2_0_6_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_2198-2_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2198-2_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2198-2_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2198-2_0_6_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_2198-2_0_6_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_2198-2_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2198-2_0_6_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_2198-2_0_6_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_2198-2_0_6_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_2198-2_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2198-2_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2198-2_0_6_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_2198-2_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2198-2_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2198-2_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2198-2_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2198-2_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2198-2_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2198-2_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2198-2_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2198-2_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2198-2_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2198-2_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2198-2_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2198-2_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2198-2_0_6_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_2198-2_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_2198-2_0_6_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_2198-2_0_6_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_2198-2_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2198-2_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2198-2_0_6_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2198-2_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2198-2_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2198-2_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2198-2_0_6_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_2198-2_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_2198-2_0_6_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2198-2_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2198-2_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_2198-2_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_2198-2_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2198-2_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2198-2_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2198-2_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2198-2_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2198-2_0_6_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_2198-2_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2198-2_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_2198-2_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_2198-2_0_6_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_2198-2_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2198-2_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2198-2_0_6_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_2198-2_0_6_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_2198-2_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2198-2_0_6_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_2198-2_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_2198-2_0_6_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_2198-2_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_2198-2_0_6_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_2198-2_0_6_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_2198-2_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_2198-2_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_MV_506_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2198-2_0_6_load_0 | 0 | 0.038783 | 0.0097199 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2198-2_0_6_load_73 | 5 | 0.0040439 | 0.0010135 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2198-2_0_6_load_64 | 7 | 0.0046839 | 0.0011739 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2198-2_0_6_load_74 | 8 | 0.0021944 | 0.00054996 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2198-2_0_6_load_72 | 9 | 0.01881 | 0.0047143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2198-2_0_6_load_66 | 13 | 0.0011491 | 0.00028799 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2198-2_0_6_load_36 | 15 | 0.003257 | 0.00081628 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2198-2_0_6_load_70 | 16 | 0.014525 | 0.0036403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2198-2_0_6_load_12 | 19 | 0.010592 | 0.0026545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2198-2_0_6_load_9 | 20 | 0.010393 | 0.0026047 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2198-2_0_6_load_65 | 21 | 0.0007774 | 0.00019483 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2198-2_0_6_load_13 | 23 | 0.010972 | 0.0027498 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2198-2_0_6_load_15 | 25 | 0.011019 | 0.0027616 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2198-2_0_6_load_16 | 27 | 0.015563 | 0.0039004 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2198-2_0_6_load_19 | 29 | 0.0080697 | 0.0020225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2198-2_0_6_load_20 | 30 | 0.0051198 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2198-2_0_6_load_21 | 31 | 0.0090899 | 0.0022781 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2198-2_0_6_load_22 | 32 | 0.0044998 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2198-2_0_6_load_23 | 33 | 0.0052559 | 0.0013172 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2198-2_0_6_load_24 | 34 | 0.0090899 | 0.0022782 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2198-2_0_6_load_52 | 35 | 0.0090899 | 0.0022781 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2198-2_0_6_load_59 | 36 | 0.0042596 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2198-2_0_6_load_53 | 37 | 0.0036385 | 0.00091188 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2198-2_0_6_load_58 | 38 | 0.0027046 | 0.00067784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2198-2_0_6_load_25 | 39 | 0.0018566 | 0.00046531 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2198-2_0_6_load_26 | 40 | 0.0027042 | 0.00067774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2198-2_0_6_load_29 | 43 | 0.0015781 | 0.00039552 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2198-2_0_6_load_30 | 44 | 0.016329 | 0.0040925 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2198-2_0_6_load_60 | 46 | 0.0016354 | 0.00040988 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2198-2_0_6_load_49 | 47 | 0.0010328 | 0.00025885 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2198-2_0_6_load_33 | 48 | 0.0027044 | 0.00067777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2198-2_0_6_load_48 | 49 | 0.0012425 | 0.0003114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2198-2_0_6_load_45 | 50 | 0.0013561 | 0.00033988 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2198-2_0_6_load_50 | 51 | 0.0011661 | 0.00029224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2198-2_0_6_load_31 | 52 | 0.0087636 | 0.0021964 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2198-2_0_6_load_32 | 53 | 0.0027046 | 0.00067783 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2198-2_0_6_load_34 | 54 | 0.0079996 | 0.0020049 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2198-2_0_6_load_35 | 55 | 0.0050823 | 0.0012737 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2198-2_0_6_load_37 | 56 | 0.0023876 | 0.00059838 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2198-2_0_6_load_38 | 57 | 0.0029894 | 0.00074922 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2198-2_0_6_load_40 | 59 | 0.0034178 | 0.00085659 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2198-2_0_6_load_41 | 60 | 0.0032553 | 0.00081586 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2198-2_0_6_load_42 | 61 | 0.0035208 | 0.00088241 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2198-2_0_6_load_56 | 62 | 0.003983 | 0.00099823 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2198-2_0_6_load_75 | 63 | 0.051661 | 0.012947 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2198-2_0_6_load_43 | 64 | 0.0034073 | 0.00085396 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2198-2_0_6_load_55 | 65 | 0.0071531 | 0.0017927 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2198-2_0_6_load_44 | 66 | 0.0057824 | 0.0014492 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2198-2_0_6_load_57 | 67 | 0.0030777 | 0.00077134 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2198-2_0_6_load_46 | 68 | 0.001855 | 0.00046491 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2198-2_0_6_load_51 | 70 | 0.0021586 | 0.00054099 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2198-2_0_6_load_54 | 71 | 0.0028126 | 0.00070491 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2198-2_0_6_load_61 | 72 | 0.0057401 | 0.0014386 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2198-2_0_6_load_68 | 73 | 0.0026146 | 0.00065527 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2198-2_0_6_line_0 |  | 0 | 1 | 0.016919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2198-2_0_6_line_1 |  | 1 | 2 | 0.14383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2198-2_0_6_line_2 |  | 2 | 8 | 0.029449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2198-2_0_6_line_3 |  | 2 | 6 | 0.042072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2198-2_0_6_line_4 |  | 3 | 4 | 0.047026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_2198-2_0_6_line_5 |  | 3 | 5 | 0.028651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2198-2_0_6_line_6 |  | 4 | 9 | 0.027992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2198-2_0_6_line_7 |  | 5 | 17 | 0.038163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_2198-2_0_6_line_8 |  | 6 | 7 | 0.029607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2198-2_0_6_line_9 |  | 7 | 18 | 0.03998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2198-2_0_6_line_10 |  | 9 | 11 | 0.035973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_2198-2_0_6_line_11 |  | 10 | 11 | 0.059962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2198-2_0_6_line_12 |  | 10 | 12 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2198-2_0_6_line_13 |  | 10 | 13 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2198-2_0_6_line_14 |  | 12 | 19 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2198-2_0_6_line_15 |  | 12 | 20 | 0.0096776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2198-2_0_6_line_16 |  | 13 | 21 | 0.0021601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_2198-2_0_6_line_17 |  | 14 | 15 | 0.031003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2198-2_0_6_line_18 |  | 14 | 16 | 0.051734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2198-2_0_6_line_19 |  | 15 | 55 | 0.030034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2198-2_0_6_line_20 |  | 16 | 73 | 0.063108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2198-2_0_6_line_21 |  | 17 | 18 | 0.031512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_2198-2_0_6_line_22 |  | 18 | 72 | 0.040015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2198-2_0_6_line_23 |  | 19 | 22 | 0.018438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2198-2_0_6_line_24 |  | 21 | 69 | 0.037642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2198-2_0_6_line_25 |  | 22 | 23 | 0.0091213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2198-2_0_6_line_26 |  | 23 | 24 | 0.0079914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2198-2_0_6_line_27 |  | 24 | 25 | 0.019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2198-2_0_6_line_28 |  | 25 | 26 | 0.0019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2198-2_0_6_line_29 |  | 26 | 28 | 0.007534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2198-2_0_6_line_30 |  | 26 | 29 | 0.02115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2198-2_0_6_line_31 |  | 27 | 28 | 0.0066167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2198-2_0_6_line_32 |  | 30 | 31 | 0.0069393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_2198-2_0_6_line_33 |  | 30 | 32 | 0.022692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2198-2_0_6_line_34 |  | 31 | 33 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_2198-2_0_6_line_35 |  | 32 | 34 | 0.005083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_2198-2_0_6_line_36 |  | 33 | 35 | 0.019385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_2198-2_0_6_line_37 |  | 34 | 36 | 0.015597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_2198-2_0_6_line_38 |  | 35 | 37 | 0.00090602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_2198-2_0_6_line_39 |  | 36 | 38 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_2198-2_0_6_line_40 |  | 37 | 71 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2198-2_0_6_line_41 |  | 38 | 46 | 0.0042949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_2198-2_0_6_line_42 |  | 39 | 40 | 0.0022131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2198-2_0_6_line_43 |  | 39 | 41 | 0.011618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2198-2_0_6_line_44 |  | 40 | 42 | 0.011968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2198-2_0_6_line_45 |  | 41 | 43 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2198-2_0_6_line_46 |  | 41 | 44 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2198-2_0_6_line_47 |  | 42 | 45 | 0.029002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2198-2_0_6_line_48 |  | 42 | 46 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2198-2_0_6_line_49 |  | 43 | 47 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2198-2_0_6_line_50 |  | 44 | 48 | 0.00069966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2198-2_0_6_line_51 |  | 45 | 49 | 0.018411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_2198-2_0_6_line_52 |  | 45 | 50 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2198-2_0_6_line_53 |  | 47 | 51 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2198-2_0_6_line_54 |  | 48 | 52 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2198-2_0_6_line_55 |  | 49 | 69 | 0.0169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2198-2_0_6_line_56 |  | 50 | 68 | 0.020533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2198-2_0_6_line_57 |  | 51 | 70 | 0.0094245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2198-2_0_6_line_58 |  | 52 | 53 | 0.020396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2198-2_0_6_line_59 |  | 53 | 54 | 0.034499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2198-2_0_6_line_60 |  | 54 | 55 | 0.030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2198-2_0_6_line_61 |  | 56 | 57 | 0.020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2198-2_0_6_line_62 |  | 56 | 58 | 0.040975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2198-2_0_6_line_63 |  | 58 | 59 | 0.017493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_2198-2_0_6_line_64 |  | 58 | 60 | 0.031685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_2198-2_0_6_line_65 |  | 59 | 61 | 0.024648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_2198-2_0_6_line_66 |  | 60 | 62 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_2198-2_0_6_line_67 |  | 60 | 63 | 0.12061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2198-2_0_6_line_68 |  | 61 | 64 | 0.020129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_2198-2_0_6_line_69 |  | 62 | 65 | 0.0059025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_2198-2_0_6_line_70 |  | 64 | 66 | 0.025639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_2198-2_0_6_line_71 |  | 65 | 71 | 0.008936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_2198-2_0_6_line_72 |  | 66 | 67 | 0.018986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2198-2_0_6_trafo_44 | 0.63 MVA 20/0.4 kV | 74 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2578165.048 | 1185935.1476 | 2578172.1822 | 1185924.6048 | 2578173.709 | 1185920.7042
1 | 2578165.048 | 1185935.1476 | 2578148.5506 | 1185924.7359 | 2578152.0426 | 1185915.6294 | 2578154.8273 | 1185907.1592 | 2578157.4476 | 1185897.5557 | 2578159.3367 | 1185888.3217 | 2578160.7048 | 1185880.6127 | 2578161.2764 | 1185876.2417 | 2578165.5016 | 1185844.3873 | 2578167.0751 | 1185834.3874 | 2578186.1957 | 1185840.076 | 2578198.0176 | 1185840.5664
2 | 2578198.0176 | 1185840.5664 | 2578204.6152 | 1185841.8318 | 2578210.6074 | 1185842.4102 | 2578217.9149 | 1185843.7287 | 2578226.9774 | 1185845.0519 | 2578227.101 | 1185845.0803
3 | 2578198.0176 | 1185840.5664 | 2578195.0665 | 1185834.8631 | 2578196.1618 | 1185829.7342 | 2578201.6765 | 1185820.7204 | 2578203.0303 | 1185811.166 | 2578202.5353 | 1185800.9847
4 | 2578212.0218 | 1185753.3474 | 2578214.8752 | 1185749.0125 | 2578216.0702 | 1185739.8255 | 2578219.5178 | 1185731.0417 | 2578225.6165 | 1185721.0253 | 2578228.0401 | 1185711.8338 | 2578228.117 | 1185709.9214
5 | 2578212.0218 | 1185753.3474 | 2578219.3953 | 1185753.9096 | 2578227.4118 | 1185755.0365 | 2578230.7962 | 1185756.0914 | 2578235.0823 | 1185759.622 | 2578238.7571 | 1185761.3536
6 | 2578228.117 | 1185709.9214 | 2578234.1427 | 1185713.3457 | 2578237.9329 | 1185714.7771 | 2578242.5029 | 1185714.538 | 2578246.632 | 1185714.7453 | 2578250.3189 | 1185717.1665 | 2578254.107 | 1185718.042
7 | 2578275.3491 | 1185769.7361 | 2578271.068 | 1185769.6961 | 2578266.08 | 1185768.2913 | 2578260.0213 | 1185766.2679 | 2578255.5732 | 1185766.462 | 2578250.4981 | 1185766.3026 | 2578245.8652 | 1185763.9294 | 2578241.0523 | 1185762.4351 | 2578238.7571 | 1185761.3536
8 | 2578202.5353 | 1185800.9847 | 2578206.0451 | 1185800.883 | 2578211.6489 | 1185801.6629 | 2578220.097 | 1185799.7755 | 2578227.758 | 1185801.7819 | 2578230.9632 | 1185801.8592 | 2578231.5723 | 1185802.1034
9 | 2578265.7733 | 1185799.3087 | 2578261.5247 | 1185806.061 | 2578258.7467 | 1185808.0611 | 2578255.1931 | 1185808.6966 | 2578248.5039 | 1185805.3414 | 2578238.6282 | 1185804.9328 | 2578231.5723 | 1185802.1034
10 | 2578286.01 | 1185723.8177 | 2578283.4582 | 1185727.1621 | 2578280.0043 | 1185727.9529 | 2578276.321 | 1185726.5211 | 2578272.8562 | 1185724.3103 | 2578268.9515 | 1185722.8793 | 2578264.2735 | 1185722.7852 | 2578260.8135 | 1185721.9085 | 2578257.2337 | 1185719.587 | 2578254.107 | 1185718.042
11 | 2578324.7788 | 1185697.5519 | 2578302.3727 | 1185692.9087 | 2578300.4253 | 1185692.5044 | 2578299.2536 | 1185701.8358 | 2578289.5942 | 1185716.8899 | 2578286.01 | 1185723.8177
12 | 2578324.7788 | 1185697.5519 | 2578323.1616 | 1185708.2189 | 2578329.8411 | 1185710.985
13 | 2578324.7788 | 1185697.5519 | 2578328.1771 | 1185698.251 | 2578335.4668 | 1185699.7626
14 | 2578329.8411 | 1185710.985 | 2578324.9397 | 1185724.1588
15 | 2578329.8411 | 1185710.985 | 2578332.7376 | 1185712.1751 | 2578331.3467 | 1185718.5718
16 | 2578337.5819 | 1185700.2011 | 2578335.4668 | 1185699.7626
17 | 2578458.582 | 1185489.0583 | 2578463.6703 | 1185494.9318 | 2578469.1663 | 1185499.5922 | 2578460.1403 | 1185512.8351
18 | 2578506.3245 | 1185493.7663 | 2578500.086 | 1185494.8338 | 2578478.3149 | 1185484.4513 | 2578472.1747 | 1185483.1394 | 2578463.4791 | 1185488.4736 | 2578458.582 | 1185489.0583
19 | 2578447.1592 | 1185539.8378 | 2578457.1423 | 1185517.2337 | 2578460.1403 | 1185512.8351
20 | 2578506.3245 | 1185493.7663 | 2578501.3349 | 1185479.2767 | 2578504.4448 | 1185454.9973 | 2578510.8354 | 1185432.5847
21 | 2578275.3491 | 1185769.7361 | 2578274.1962 | 1185773.7424 | 2578273.0962 | 1185779.7273 | 2578271.3494 | 1185784.0804 | 2578266.1583 | 1185793.9712 | 2578265.5888 | 1185796.8303 | 2578265.7733 | 1185799.3087
22 | 2578265.7733 | 1185799.3087 | 2578268.7647 | 1185803.5111 | 2578278.0668 | 1185809.8361 | 2578289.9482 | 1185816.1962 | 2578299.3327 | 1185820.0148
23 | 2578327.2436 | 1185737.4416 | 2578320.8784 | 1185735.0746 | 2578324.9397 | 1185724.1588
24 | 2578374.4401 | 1185707.8437 | 2578337.5819 | 1185700.2011
25 | 2578327.2436 | 1185737.4416 | 2578325.2996 | 1185746.3533
26 | 2578323.2444 | 1185754.0759 | 2578325.2996 | 1185746.3533
27 | 2578323.2444 | 1185754.0759 | 2578318.2352 | 1185773.0542
28 | 2578317.7345 | 1185774.9513 | 2578318.2352 | 1185773.0542
29 | 2578317.7345 | 1185774.9513 | 2578310.4399 | 1185772.9879
30 | 2578317.7345 | 1185774.9513 | 2578311.5798 | 1185794.7729 | 2578311.4179 | 1185795.1333
31 | 2578310.4399 | 1185772.9879 | 2578311.6576 | 1185766.4842
32 | 2578403.4307 | 1185764.8049 | 2578402.627 | 1185757.9123
33 | 2578401.9461 | 1185735.2305 | 2578402.627 | 1185757.9123 | 2578402.627 | 1185757.9123
34 | 2578403.4307 | 1185764.8049 | 2578405.2028 | 1185780.0023
35 | 2578401.7936 | 1185730.1497 | 2578401.9461 | 1185735.2305
36 | 2578407.6618 | 1185799.2163 | 2578407.2735 | 1185797.7607 | 2578405.2028 | 1185780.0023
37 | 2578401.7936 | 1185730.1497 | 2578401.3256 | 1185714.5601
38 | 2578407.8953 | 1185800.0917 | 2578407.6618 | 1185799.2163
39 | 2578403.1291 | 1185695.7139 | 2578401.2645 | 1185712.5268 | 2578401.3256 | 1185714.5601
40 | 2578414.5596 | 1185825.0746 | 2578407.8953 | 1185800.0917
41 | 2578403.1291 | 1185695.7139 | 2578403.6025 | 1185691.4451
42 | 2578408.2647 | 1185661.6768 | 2578408.7557 | 1185659.5188
43 | 2578411.3333 | 1185648.19 | 2578408.7557 | 1185659.5188
44 | 2578405.6096 | 1185673.3461 | 2578408.2647 | 1185661.6768
45 | 2578411.3333 | 1185648.19 | 2578407.7407 | 1185638.0977 | 2578407.7148 | 1185635.9282
46 | 2578411.3333 | 1185648.19 | 2578415.1354 | 1185631.4774
47 | 2578405.6096 | 1185673.3461 | 2578376.5329 | 1185672.5955
48 | 2578405.6096 | 1185673.3461 | 2578403.6025 | 1185691.4451
49 | 2578408.2703 | 1185615.2067 | 2578407.5328 | 1185620.7005 | 2578407.7148 | 1185635.9282
50 | 2578415.2906 | 1185630.7952 | 2578415.1354 | 1185631.4774
51 | 2578376.5329 | 1185672.5955 | 2578375.4417 | 1185690.9737
52 | 2578376.5329 | 1185672.5955 | 2578375.896 | 1185657.7249
53 | 2578408.2703 | 1185615.2067 | 2578410.6331 | 1185597.6085
54 | 2578415.2906 | 1185630.7952 | 2578417.8988 | 1185619.3302
55 | 2578374.4401 | 1185707.8437 | 2578375.4417 | 1185690.9737
56 | 2578375.896 | 1185657.7249 | 2578375.0175 | 1185637.2108
57 | 2578411.8871 | 1185588.2678 | 2578410.6331 | 1185597.6085
58 | 2578422.4232 | 1185599.4424 | 2578417.8988 | 1185619.3302
59 | 2578434.9752 | 1185567.4252 | 2578424.1104 | 1185592.0255 | 2578422.4232 | 1185599.4424
60 | 2578434.9752 | 1185567.4252 | 2578447.1592 | 1185539.8378
61 | 2578365.4484 | 1185848.9982 | 2578359.3868 | 1185829.6673
62 | 2578396.1329 | 1185861.0564 | 2578369.8136 | 1185862.9194 | 2578365.4484 | 1185848.9982
63 | 2578396.1329 | 1185861.0564 | 2578391.6401 | 1185844.1506
64 | 2578396.1329 | 1185861.0564 | 2578427.5298 | 1185857.9745 | 2578427.4775 | 1185857.8482
65 | 2578385.3096 | 1185820.3297 | 2578391.6401 | 1185844.1506
66 | 2578419.6555 | 1185838.9808 | 2578427.4775 | 1185857.8482
67 | 2578427.4775 | 1185857.8482 | 2578513.0861 | 1185942.8101
68 | 2578385.3096 | 1185820.3297 | 2578383.0045 | 1185811.6559 | 2578381.1218 | 1185800.6622
69 | 2578419.6555 | 1185838.9808 | 2578417.395 | 1185833.5283
70 | 2578381.1218 | 1185800.6622 | 2578376.7943 | 1185775.3913
71 | 2578414.5596 | 1185825.0746 | 2578415.7674 | 1185829.6022 | 2578417.395 | 1185833.5283
72 | 2578375.4377 | 1185756.4548 | 2578376.7755 | 1185775.2816 | 2578376.7943 | 1185775.3913

## bus_geodata
| x | y | coords
0 | 2578173.709 | 1185920.7042
1 | 2578165.048 | 1185935.1476
2 | 2578198.0176 | 1185840.5664
3 | 2578212.0218 | 1185753.3474
4 | 2578228.117 | 1185709.9214
5 | 2578238.7571 | 1185761.3536
6 | 2578202.5353 | 1185800.9847
7 | 2578231.5723 | 1185802.1034
8 | 2578227.101 | 1185845.0803
9 | 2578254.107 | 1185718.042
10 | 2578324.7788 | 1185697.5519
11 | 2578286.01 | 1185723.8177
12 | 2578329.8411 | 1185710.985
13 | 2578335.4668 | 1185699.7626
14 | 2578458.582 | 1185489.0583
15 | 2578460.1403 | 1185512.8351
16 | 2578506.3245 | 1185493.7663
17 | 2578275.3491 | 1185769.7361
18 | 2578265.7733 | 1185799.3087
19 | 2578324.9397 | 1185724.1588
20 | 2578331.3467 | 1185718.5718
21 | 2578337.5819 | 1185700.2011
22 | 2578327.2436 | 1185737.4416
23 | 2578325.2996 | 1185746.3533
24 | 2578323.2444 | 1185754.0759
25 | 2578318.2352 | 1185773.0542
26 | 2578317.7345 | 1185774.9513
27 | 2578311.6576 | 1185766.4842
28 | 2578310.4399 | 1185772.9879
29 | 2578311.4179 | 1185795.1333
30 | 2578402.627 | 1185757.9123
31 | 2578403.4307 | 1185764.8049
32 | 2578401.9461 | 1185735.2305
33 | 2578405.2028 | 1185780.0023
34 | 2578401.7936 | 1185730.1497
35 | 2578407.6618 | 1185799.2163
36 | 2578401.3256 | 1185714.5601
37 | 2578407.8953 | 1185800.0917
38 | 2578403.1291 | 1185695.7139
39 | 2578408.7557 | 1185659.5188
40 | 2578408.2647 | 1185661.6768
41 | 2578411.3333 | 1185648.19
42 | 2578405.6096 | 1185673.3461
43 | 2578407.7148 | 1185635.9282
44 | 2578415.1354 | 1185631.4774
45 | 2578376.5329 | 1185672.5955
46 | 2578403.6025 | 1185691.4451
47 | 2578408.2703 | 1185615.2067
48 | 2578415.2906 | 1185630.7952
49 | 2578375.4417 | 1185690.9737
50 | 2578375.896 | 1185657.7249
51 | 2578410.6331 | 1185597.6085
52 | 2578417.8988 | 1185619.3302
53 | 2578422.4232 | 1185599.4424
54 | 2578434.9752 | 1185567.4252
55 | 2578447.1592 | 1185539.8378
56 | 2578365.4484 | 1185848.9982
57 | 2578359.3868 | 1185829.6673
58 | 2578396.1329 | 1185861.0564
59 | 2578391.6401 | 1185844.1506
60 | 2578427.4775 | 1185857.8482
61 | 2578385.3096 | 1185820.3297
62 | 2578419.6555 | 1185838.9808
63 | 2578513.0861 | 1185942.8101
64 | 2578381.1218 | 1185800.6622
65 | 2578417.395 | 1185833.5283
66 | 2578376.7943 | 1185775.3913
67 | 2578375.4377 | 1185756.4548
68 | 2578375.0175 | 1185637.2108
69 | 2578374.4401 | 1185707.8437
70 | 2578411.8871 | 1185588.2678
71 | 2578414.5596 | 1185825.0746
72 | 2578299.3327 | 1185820.0148
73 | 2578510.8354 | 1185432.5847
74 | 2578374.4401 | 1185707.8437

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97022 | -0.5758 | 0.038783 | 0.0097199
1 | 0.97083 | -0.56366 | 0 | 0
2 | 0.97604 | -0.46105 | 0 | 0
3 | 0.97811 | -0.42057 | 0 | 0
4 | 0.9786 | -0.41107 | 0 | 0
5 | 0.97782 | -0.42636 | 0.0040439 | 0.0010135
6 | 0.97658 | -0.45054 | 0 | 0
7 | 0.97681 | -0.44611 | 0.0046839 | 0.0011739
8 | 0.97598 | -0.46223 | 0.0021944 | 0.00054996
9 | 0.97889 | -0.40541 | 0.01881 | 0.0047143
10 | 0.98022 | -0.37951 | 0 | 0
11 | 0.97939 | -0.39569 | 0 | 0
12 | 0.9791 | -0.40129 | 0 | 0
13 | 0.9805 | -0.37393 | 0.0011491 | 0.00028799
14 | 0.9765 | -0.45262 | 0 | 0
15 | 0.97699 | -0.44291 | 0.003257 | 0.00081628
16 | 0.97567 | -0.46884 | 0.014525 | 0.0036403
17 | 0.97745 | -0.43352 | 0 | 0
18 | 0.97715 | -0.43944 | 0 | 0
19 | 0.97837 | -0.41567 | 0.010592 | 0.0026545
20 | 0.97901 | -0.40312 | 0.010393 | 0.0026047
21 | 0.98056 | -0.37282 | 0.0007774 | 0.00019483
22 | 0.97759 | -0.431 | 0 | 0
23 | 0.9772 | -0.43859 | 0.010972 | 0.0027498
24 | 0.97694 | -0.44365 | 0 | 0
25 | 0.97631 | -0.45608 | 0.011019 | 0.0027616
26 | 0.97627 | -0.45693 | 0 | 0
27 | 0.97607 | -0.46095 | 0.015563 | 0.0039004
28 | 0.97616 | -0.45907 | 0 | 0
29 | 0.97611 | -0.46005 | 0.0080697 | 0.0020225
30 | 0.98694 | -0.24908 | 0.0051198 | 0.0012831
31 | 0.98726 | -0.2429 | 0.0090899 | 0.0022781
32 | 0.98591 | -0.26892 | 0.0044998 | 0.0011277
33 | 0.98799 | -0.22878 | 0.0052559 | 0.0013172
34 | 0.98569 | -0.27329 | 0.0090899 | 0.0022782
35 | 0.98894 | -0.21055 | 0.0090899 | 0.0022781
36 | 0.98502 | -0.28619 | 0.0042596 | 0.0010676
37 | 0.98899 | -0.20967 | 0.0036385 | 0.00091188
38 | 0.98422 | -0.3016 | 0.0027046 | 0.00067784
39 | 0.98232 | -0.33856 | 0.0018566 | 0.00046531
40 | 0.98247 | -0.33569 | 0.0027042 | 0.00067774
41 | 0.98157 | -0.35325 | 0 | 0
42 | 0.98329 | -0.31961 | 0 | 0
43 | 0.9815 | -0.35463 | 0.0015781 | 0.00039552
44 | 0.98055 | -0.37311 | 0.016329 | 0.0040925
45 | 0.9825 | -0.33503 | 0 | 0
46 | 0.98404 | -0.30506 | 0.0016354 | 0.00040988
47 | 0.98141 | -0.35627 | 0.0010328 | 0.00025885
48 | 0.98052 | -0.37371 | 0.0027044 | 0.00067777
49 | 0.98201 | -0.34461 | 0.0012425 | 0.0003114
50 | 0.98246 | -0.33589 | 0.0013561 | 0.00033988
51 | 0.98136 | -0.35734 | 0.0011661 | 0.00029224
52 | 0.98003 | -0.3833 | 0.0087636 | 0.0021964
53 | 0.97935 | -0.3967 | 0.0027046 | 0.00067783
54 | 0.97827 | -0.41772 | 0.0079996 | 0.0020049
55 | 0.97756 | -0.43173 | 0.0050823 | 0.0012737
56 | 0.99401 | -0.11363 | 0.0023876 | 0.00059838
57 | 0.99395 | -0.1147 | 0.0029894 | 0.00074922
58 | 0.99421 | -0.10975 | 0 | 0
59 | 0.99534 | -0.088149 | 0.0034178 | 0.00085659
60 | 0.99218 | -0.14839 | 0.0032553 | 0.00081586
61 | 0.99696 | -0.057505 | 0.0035208 | 0.00088241
62 | 0.99109 | -0.1694 | 0.003983 | 0.00099823
63 | 0.98646 | -0.25935 | 0.051661 | 0.012947
64 | 0.99829 | -0.032306 | 0.0034073 | 0.00085396
65 | 0.99077 | -0.17539 | 0.0071531 | 0.0017927
66 | 1 | 0 | -0.37175 | -0.095161
67 | 0.99995 | -0.0010186 | 0.0030777 | 0.00077134
68 | 0.98242 | -0.33658 | 0.001855 | 0.00046491
69 | 0.98156 | -0.35334 | 0 | 0
70 | 0.98134 | -0.35771 | 0.0021586 | 0.00054099
71 | 0.99031 | -0.18425 | 0.0028126 | 0.00070491
72 | 0.97694 | -0.44363 | 0.0057401 | 0.0014386
73 | 0.97552 | -0.47187 | 0.0026146 | 0.00065527
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.038783 | -0.0097199 | 0.038805 | 0.0097341 | 2.2447e-05 | 1.4157e-05 | 0.059481 | 0.059481 | 0.059481 | 0.97022 | -0.5758 | 0.97083 | -0.56366 | 16.341
1 | -0.038805 | -0.0097341 | 0.038996 | 0.0098544 | 0.00019083 | 0.00012034 | 0.059481 | 0.059481 | 0.059481 | 0.97083 | -0.56366 | 0.97604 | -0.46105 | 16.341
2 | 0.0021945 | 0.00054967 | -0.0021944 | -0.00054996 | 1.236e-07 | -2.8893e-07 | 0.0033455 | 0.0033456 | 0.0033456 | 0.97604 | -0.46105 | 0.97598 | -0.46223 | 0.91913
3 | -0.041191 | -0.010404 | 0.041212 | 0.010416 | 2.0758e-05 | 1.1707e-05 | 0.062826 | 0.062826 | 0.062826 | 0.97604 | -0.46105 | 0.97658 | -0.45054 | 5.7533
4 | -0.055752 | -0.014077 | 0.055777 | 0.01409 | 2.5394e-05 | 1.33e-05 | 0.084854 | 0.084853 | 0.084854 | 0.97811 | -0.42057 | 0.9786 | -0.41107 | 4.6623
5 | 0.055752 | 0.014077 | -0.055736 | -0.014069 | 1.5472e-05 | 8.1044e-06 | 0.084854 | 0.084854 | 0.084854 | 0.97811 | -0.42057 | 0.97782 | -0.42636 | 4.6623
6 | -0.055777 | -0.01409 | 0.055792 | 0.014098 | 1.5115e-05 | 7.9148e-06 | 0.084853 | 0.084852 | 0.084853 | 0.9786 | -0.41107 | 0.97889 | -0.40541 | 4.6622
7 | 0.051693 | 0.013056 | -0.051675 | -0.013047 | 1.7728e-05 | 8.9534e-06 | 0.0787 | 0.078701 | 0.078701 | 0.97782 | -0.42636 | 0.97745 | -0.43352 | 4.3242
8 | -0.041212 | -0.010416 | 0.04122 | 0.01042 | 8.7645e-06 | 3.7566e-06 | 0.062826 | 0.062825 | 0.062826 | 0.97658 | -0.45054 | 0.97681 | -0.44611 | 3.452
9 | -0.045904 | -0.011593 | 0.045919 | 0.0116 | 1.4676e-05 | 6.8893e-06 | 0.06996 | 0.069959 | 0.06996 | 0.97681 | -0.44611 | 0.97715 | -0.43944 | 3.844
10 | -0.074603 | -0.018813 | 0.074637 | 0.018833 | 3.4722e-05 | 1.996e-05 | 0.11345 | 0.11344 | 0.11345 | 0.97889 | -0.40541 | 0.97939 | -0.39569 | 6.2333
11 | 0.074695 | 0.018866 | -0.074637 | -0.018833 | 5.7877e-05 | 3.3265e-05 | 0.11344 | 0.11344 | 0.11344 | 0.98022 | -0.37951 | 0.97939 | -0.39569 | 6.2332
12 | 0.066801 | 0.016815 | -0.066731 | -0.016771 | 6.946e-05 | 4.4228e-05 | 0.10143 | 0.10143 | 0.10143 | 0.98022 | -0.37951 | 0.9791 | -0.40129 | 27.8663
13 | -0.1415 | -0.035681 | 0.14153 | 0.035705 | 3.7795e-05 | 2.3501e-05 | 0.21488 | 0.21488 | 0.21488 | 0.98022 | -0.37951 | 0.9805 | -0.37393 | 11.8064
14 | 0.056337 | 0.014166 | -0.056299 | -0.014141 | 3.8656e-05 | 2.4563e-05 | 0.085637 | 0.085637 | 0.085637 | 0.9791 | -0.40129 | 0.97837 | -0.41567 | 23.5266
15 | 0.010394 | 0.0026052 | -0.010393 | -0.0026047 | 9.0555e-07 | 4.5785e-07 | 0.015796 | 0.015796 | 0.015796 | 0.9791 | -0.40129 | 0.97901 | -0.40312 | 4.3397
16 | -0.14268 | -0.035993 | 0.14269 | 0.035997 | 7.602e-06 | 4.7291e-06 | 0.21662 | 0.21662 | 0.21662 | 0.9805 | -0.37393 | 0.98056 | -0.37282 | 11.9022
17 | -0.017153 | -0.0043028 | 0.017161 | 0.0043075 | 7.944e-06 | 4.6961e-06 | 0.02614 | 0.02614 | 0.02614 | 0.9765 | -0.45262 | 0.97699 | -0.44291 | 7.1812
18 | 0.017153 | 0.0043028 | -0.01714 | -0.004295 | 1.3256e-05 | 7.8372e-06 | 0.02614 | 0.02614 | 0.02614 | 0.9765 | -0.45262 | 0.97567 | -0.46884 | 7.1813
19 | -0.020418 | -0.0051238 | 0.020429 | 0.0051304 | 1.0893e-05 | 6.5954e-06 | 0.0311 | 0.0311 | 0.0311 | 0.97699 | -0.44291 | 0.97756 | -0.43173 | 8.544
20 | 0.002615 | 0.00065473 | -0.0026146 | -0.00065527 | 3.7639e-07 | -5.4713e-07 | 0.0039879 | 0.0039882 | 0.0039882 | 0.97567 | -0.46884 | 0.97552 | -0.47187 | 1.0956
21 | 0.051675 | 0.013047 | -0.05166 | -0.013039 | 1.4639e-05 | 7.3945e-06 | 0.078701 | 0.078702 | 0.078702 | 0.97745 | -0.43352 | 0.97715 | -0.43944 | 4.3243
22 | 0.0057413 | 0.0014388 | -0.0057401 | -0.0014386 | 1.147e-06 | 2.3296e-07 | 0.0087429 | 0.0087431 | 0.0087431 | 0.97715 | -0.43944 | 0.97694 | -0.44363 | 2.4019
23 | 0.045707 | 0.011487 | -0.045674 | -0.011466 | 3.3424e-05 | 2.116e-05 | 0.069528 | 0.069528 | 0.069528 | 0.97837 | -0.41567 | 0.97759 | -0.431 | 19.1011
24 | -0.14347 | -0.036192 | 0.1436 | 0.036276 | 0.00013392 | 8.3333e-05 | 0.2178 | 0.2178 | 0.2178 | 0.98056 | -0.37282 | 0.98156 | -0.35334 | 11.967
25 | 0.045674 | 0.011466 | -0.045657 | -0.011455 | 1.6535e-05 | 1.0468e-05 | 0.069528 | 0.069528 | 0.069528 | 0.97759 | -0.431 | 0.9772 | -0.43859 | 19.1011
26 | 0.034685 | 0.0087054 | -0.034677 | -0.0087002 | 8.3612e-06 | 5.2511e-06 | 0.052821 | 0.052821 | 0.052821 | 0.9772 | -0.43859 | 0.97694 | -0.44365 | 14.5113
27 | 0.034677 | 0.0087002 | -0.034656 | -0.0086873 | 2.0536e-05 | 1.2898e-05 | 0.052821 | 0.052821 | 0.052821 | 0.97694 | -0.44365 | 0.97631 | -0.45608 | 14.5113
28 | 0.023638 | 0.0059257 | -0.023637 | -0.0059251 | 9.5499e-07 | 5.8666e-07 | 0.036027 | 0.036027 | 0.036027 | 0.97631 | -0.45608 | 0.97627 | -0.45693 | 9.8975
29 | 0.015566 | 0.0039021 | -0.015564 | -0.0039012 | 1.5903e-06 | 9.236e-07 | 0.023725 | 0.023725 | 0.023725 | 0.97627 | -0.45693 | 0.97616 | -0.45907 | 6.5179
30 | 0.0080709 | 0.002023 | -0.0080697 | -0.0020225 | 1.2003e-06 | 5.0375e-07 | 0.012302 | 0.012302 | 0.012302 | 0.97627 | -0.45693 | 0.97611 | -0.46005 | 3.3796
31 | -0.015563 | -0.0039004 | 0.015564 | 0.0039012 | 1.3967e-06 | 8.1117e-07 | 0.023725 | 0.023725 | 0.023725 | 0.97607 | -0.46095 | 0.97616 | -0.45907 | 6.518
32 | -0.25118 | -0.063741 | 0.25125 | 0.063788 | 7.4751e-05 | 4.7397e-05 | 0.37898 | 0.37898 | 0.37898 | 0.98694 | -0.24908 | 0.98726 | -0.2429 | 20.8232
33 | 0.24606 | 0.062458 | -0.24582 | -0.062309 | 0.00023458 | 0.00014869 | 0.37126 | 0.37126 | 0.37126 | 0.98694 | -0.24908 | 0.98591 | -0.26892 | 20.3991
34 | -0.26034 | -0.066067 | 0.26052 | 0.066179 | 0.00017695 | 0.00011227 | 0.39268 | 0.39268 | 0.39268 | 0.98726 | -0.2429 | 0.98799 | -0.22878 | 21.576
35 | 0.24132 | 0.061181 | -0.24127 | -0.061149 | 5.0642e-05 | 3.2087e-05 | 0.36447 | 0.36447 | 0.36447 | 0.98591 | -0.26892 | 0.98569 | -0.27329 | 20.026
36 | -0.26577 | -0.067496 | 0.26601 | 0.067644 | 0.00023332 | 0.00014808 | 0.4006 | 0.4006 | 0.4006 | 0.98799 | -0.22878 | 0.98894 | -0.21055 | 22.0109
37 | 0.23218 | 0.058871 | -0.23204 | -0.05878 | 0.00014391 | 9.1109e-05 | 0.35075 | 0.35075 | 0.35075 | 0.98569 | -0.27329 | 0.98502 | -0.28619 | 19.272
38 | -0.2751 | -0.069922 | 0.27511 | 0.06993 | 1.1662e-05 | 7.4056e-06 | 0.41427 | 0.41427 | 0.41427 | 0.98894 | -0.21055 | 0.98899 | -0.20967 | 22.7623
39 | 0.22778 | 0.057712 | -0.22761 | -0.057606 | 0.0001685 | 0.00010663 | 0.34432 | 0.34432 | 0.34432 | 0.98502 | -0.28619 | 0.98422 | -0.3016 | 18.9185
40 | -0.27875 | -0.070842 | 0.27909 | 0.071059 | 0.00034167 | 0.00021701 | 0.41975 | 0.41975 | 0.41975 | 0.98899 | -0.20967 | 0.99031 | -0.18425 | 23.0631
41 | 0.2249 | 0.056928 | -0.22487 | -0.056904 | 3.7287e-05 | 2.3591e-05 | 0.34023 | 0.34023 | 0.34023 | 0.98422 | -0.3016 | 0.98404 | -0.30506 | 18.6938
42 | -0.072012 | -0.018137 | 0.072022 | 0.018143 | 9.8812e-06 | 6.296e-06 | 0.10912 | 0.10912 | 0.10912 | 0.98232 | -0.33856 | 0.98247 | -0.33569 | 29.9767
43 | 0.070155 | 0.017671 | -0.070106 | -0.01764 | 4.9234e-05 | 3.1363e-05 | 0.1063 | 0.1063 | 0.1063 | 0.98232 | -0.33856 | 0.98157 | -0.35325 | 29.2041
44 | -0.074726 | -0.018821 | 0.074784 | 0.018857 | 5.7519e-05 | 3.6661e-05 | 0.11321 | 0.11321 | 0.11321 | 0.98247 | -0.33569 | 0.98329 | -0.31961 | 31.1019
45 | 0.0059366 | 0.0014874 | -0.0059362 | -0.0014873 | 3.9125e-07 | 8.7579e-08 | 0.0089994 | 0.0089995 | 0.0089995 | 0.98157 | -0.35325 | 0.9815 | -0.35463 | 2.4724
46 | 0.06417 | 0.016152 | -0.064109 | -0.016114 | 6.0854e-05 | 3.873e-05 | 0.097303 | 0.097303 | 0.097303 | 0.98157 | -0.35325 | 0.98055 | -0.37311 | 26.7317
47 | 0.14829 | 0.037539 | -0.14818 | -0.03747 | 0.00010967 | 6.8352e-05 | 0.22454 | 0.22454 | 0.22454 | 0.98329 | -0.31961 | 0.9825 | -0.33503 | 12.3376
48 | -0.22308 | -0.056396 | 0.22323 | 0.056495 | 0.0001558 | 9.8557e-05 | 0.33775 | 0.33775 | 0.33775 | 0.98329 | -0.31961 | 0.98404 | -0.30506 | 18.5579
49 | 0.004358 | 0.0010918 | -0.0043577 | -0.0010919 | 3.4002e-07 | -4.4884e-08 | 0.0066069 | 0.006607 | 0.006607 | 0.9815 | -0.35463 | 0.98141 | -0.35627 | 1.8151
50 | 0.047779 | 0.012021 | -0.047778 | -0.01202 | 1.38e-06 | 8.7436e-07 | 0.072523 | 0.072523 | 0.072523 | 0.98055 | -0.37311 | 0.98052 | -0.37371 | 19.9239
51 | 0.14497 | 0.036666 | -0.1449 | -0.036624 | 6.6637e-05 | 4.1482e-05 | 0.21968 | 0.21968 | 0.21968 | 0.9825 | -0.33503 | 0.98201 | -0.34461 | 12.0704
52 | 0.0032114 | 0.00080447 | -0.0032112 | -0.00080457 | 1.3203e-07 | -1.0399e-07 | 0.0048635 | 0.0048636 | 0.0048636 | 0.9825 | -0.33503 | 0.98246 | -0.33589 | 1.3362
53 | 0.0033249 | 0.00083302 | -0.0033247 | -0.00083314 | 1.6921e-07 | -1.1606e-07 | 0.005041 | 0.0050411 | 0.0050411 | 0.98141 | -0.35627 | 0.98136 | -0.35734 | 1.3849
54 | 0.045074 | 0.011343 | -0.045053 | -0.011329 | 2.064e-05 | 1.3062e-05 | 0.068419 | 0.068419 | 0.068419 | 0.98052 | -0.37371 | 0.98003 | -0.3833 | 18.7965
55 | 0.14366 | 0.036313 | -0.1436 | -0.036276 | 6.0124e-05 | 3.7411e-05 | 0.2178 | 0.2178 | 0.2178 | 0.98201 | -0.34461 | 0.98156 | -0.35334 | 11.967
56 | 0.0018551 | 0.00046469 | -0.001855 | -0.00046491 | 6.0784e-08 | -2.211e-07 | 0.0028096 | 0.0028097 | 0.0028097 | 0.98246 | -0.33589 | 0.98242 | -0.33658 | 0.7719
57 | 0.0021586 | 0.0005409 | -0.0021586 | -0.00054099 | 3.7862e-08 | -9.4843e-08 | 0.003273 | 0.0032731 | 0.0032731 | 0.98136 | -0.35734 | 0.98134 | -0.35771 | 0.8992
58 | 0.036289 | 0.0091331 | -0.036266 | -0.0091185 | 2.3232e-05 | 1.4612e-05 | 0.055113 | 0.055113 | 0.055113 | 0.98003 | -0.3833 | 0.97935 | -0.3967 | 15.1409
59 | 0.033561 | 0.0084407 | -0.033528 | -0.0084196 | 3.3655e-05 | 2.1105e-05 | 0.051004 | 0.051004 | 0.051004 | 0.97935 | -0.3967 | 0.97827 | -0.41772 | 14.0121
60 | 0.025528 | 0.0064147 | -0.025511 | -0.0064041 | 1.7057e-05 | 1.0538e-05 | 0.038836 | 0.038836 | 0.038836 | 0.97827 | -0.41772 | 0.97756 | -0.43173 | 10.6693
61 | 0.0029896 | 0.00074906 | -0.0029894 | -0.00074922 | 1.5216e-07 | -1.6521e-07 | 0.0044753 | 0.0044754 | 0.0044754 | 0.99401 | -0.11363 | 0.99395 | -0.1147 | 1.2295
62 | -0.0053771 | -0.0013474 | 0.0053781 | 0.0013475 | 9.9557e-07 | 1.0592e-07 | 0.0080495 | 0.0080493 | 0.0080495 | 0.99401 | -0.11363 | 0.99421 | -0.10975 | 2.2114
63 | -0.35476 | -0.090573 | 0.35513 | 0.090809 | 0.00037069 | 0.00023611 | 0.53155 | 0.53155 | 0.53155 | 0.99421 | -0.10975 | 0.99534 | -0.088149 | 29.2062
64 | 0.34938 | 0.089225 | -0.34873 | -0.088811 | 0.00065125 | 0.00041475 | 0.5235 | 0.52351 | 0.52351 | 0.99421 | -0.10975 | 0.99218 | -0.14839 | 28.764
65 | -0.35855 | -0.091666 | 0.35908 | 0.092005 | 0.0005324 | 0.00033913 | 0.53666 | 0.53666 | 0.53666 | 0.99534 | -0.088149 | 0.99696 | -0.057505 | 29.487
66 | 0.29354 | 0.074873 | -0.29324 | -0.074684 | 0.0002975 | 0.00018908 | 0.4407 | 0.4407 | 0.4407 | 0.99218 | -0.14839 | 0.99109 | -0.1694 | 24.2141
67 | 0.051935 | 0.013122 | -0.051661 | -0.012947 | 0.00027466 | 0.00017424 | 0.077927 | 0.077927 | 0.077927 | 0.99218 | -0.14839 | 0.98646 | -0.25935 | 21.4086
68 | -0.3626 | -0.092887 | 0.36304 | 0.09317 | 0.00044334 | 0.00028243 | 0.54192 | 0.54192 | 0.54192 | 0.99696 | -0.057505 | 0.99829 | -0.032306 | 29.7757
69 | 0.28926 | 0.073686 | -0.28917 | -0.073633 | 8.3659e-05 | 5.3161e-05 | 0.43472 | 0.43472 | 0.43472 | 0.99109 | -0.1694 | 0.99077 | -0.17539 | 23.8856
70 | -0.36645 | -0.094024 | 0.36703 | 0.09439 | 0.00057534 | 0.00036654 | 0.547 | 0.54699 | 0.547 | 0.99829 | -0.032306 | 1 | 0 | 30.0547
71 | 0.28202 | 0.07184 | -0.2819 | -0.071763 | 0.00012047 | 7.6526e-05 | 0.42397 | 0.42397 | 0.42397 | 0.99077 | -0.17539 | 0.99031 | -0.18425 | 23.2953
72 | 0.0030778 | 0.00077118 | -0.0030777 | -0.00077134 | 1.4933e-07 | -1.5349e-07 | 0.0045798 | 0.0045799 | 0.0045799 | 1 | 0 | 0.99995 | -0.0010186 | 1.2582

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37754 | 0.096611

## res_load
| p_mw | q_mvar
0 | 0.038783 | 0.0097199
1 | 0.0040439 | 0.0010135
2 | 0.0046839 | 0.0011739
3 | 0.0021944 | 0.00054996
4 | 0.01881 | 0.0047143
5 | 0.0011491 | 0.00028799
6 | 0.003257 | 0.00081628
7 | 0.014525 | 0.0036403
8 | 0.010592 | 0.0026545
9 | 0.010393 | 0.0026047
10 | 0.0007774 | 0.00019483
11 | 0.010972 | 0.0027498
12 | 0.011019 | 0.0027616
13 | 0.015563 | 0.0039004
14 | 0.0080697 | 0.0020225
15 | 0.0051198 | 0.0012831
16 | 0.0090899 | 0.0022781
17 | 0.0044998 | 0.0011277
18 | 0.0052559 | 0.0013172
19 | 0.0090899 | 0.0022782
20 | 0.0090899 | 0.0022781
21 | 0.0042596 | 0.0010676
22 | 0.0036385 | 0.00091188
23 | 0.0027046 | 0.00067784
24 | 0.0018566 | 0.00046531
25 | 0.0027042 | 0.00067774
26 | 0.0015781 | 0.00039552
27 | 0.016329 | 0.0040925
28 | 0.0016354 | 0.00040988
29 | 0.0010328 | 0.00025885
30 | 0.0027044 | 0.00067777
31 | 0.0012425 | 0.0003114
32 | 0.0013561 | 0.00033988
33 | 0.0011661 | 0.00029224
34 | 0.0087636 | 0.0021964
35 | 0.0027046 | 0.00067783
36 | 0.0079996 | 0.0020049
37 | 0.0050823 | 0.0012737
38 | 0.0023876 | 0.00059838
39 | 0.0029894 | 0.00074922
40 | 0.0034178 | 0.00085659
41 | 0.0032553 | 0.00081586
42 | 0.0035208 | 0.00088241
43 | 0.003983 | 0.00099823
44 | 0.051661 | 0.012947
45 | 0.0034073 | 0.00085396
46 | 0.0071531 | 0.0017927
47 | 0.0057824 | 0.0014492
48 | 0.0030777 | 0.00077134
49 | 0.001855 | 0.00046491
50 | 0.0021586 | 0.00054099
51 | 0.0028126 | 0.00070491
52 | 0.0057401 | 0.0014386
53 | 0.0026146 | 0.00065527

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1