## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-12_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2228-12_0_3_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2228-12_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2228-12_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2228-12_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_2228-12_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2228-12_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2228-12_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2228-12_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_2228-12_0_3_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_2228-12_0_3_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_2228-12_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2228-12_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_2228-12_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2228-12_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2228-12_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2228-12_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2228-12_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2228-12_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2228-12_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2228-12_0_3_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2228-12_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2228-12_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2228-12_0_3_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_2228-12_0_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_2228-12_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_2228-12_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2228-12_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2228-12_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_2228-12_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_2228-12_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2228-12_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2228-12_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2228-12_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_2228-12_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2228-12_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_2228-12_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_2228-12_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2228-12_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2228-12_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2228-12_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2228-12_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_2228-12_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_2228-12_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2228-12_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2228-12_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2228-12_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_2228-12_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2228-12_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_MV_505_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-12_0_3_load_0 | 0 | 0.01056 | 0.0026467 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-12_0_3_load_21 | 5 | 0.032088 | 0.0080421 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-12_0_3_load_15 | 7 | 0.032234 | 0.0080787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-12_0_3_load_17 | 8 | 0.023926 | 0.0059965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-12_0_3_load_16 | 9 | 0.0301 | 0.0075439 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-12_0_3_load_51 | 11 | 0.0032341 | 0.00081055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-12_0_3_load_22 | 13 | 0.0026814 | 0.00067203 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-12_0_3_load_36 | 15 | 0.0039905 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-12_0_3_load_9 | 19 | 0.02679 | 0.0067143 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-12_0_3_load_42 | 21 | 0.015938 | 0.0039943 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-12_0_3_load_14 | 22 | 0.033372 | 0.0083637 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-12_0_3_load_52 | 24 | 0.0041828 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-12_0_3_load_50 | 25 | 0.0042563 | 0.0010667 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-12_0_3_load_23 | 27 | 0.0026814 | 0.00067203 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-12_0_3_load_41 | 29 | 0.0021932 | 0.00054967 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-12_0_3_load_39 | 30 | 0.0044272 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-12_0_3_load_53 | 32 | 0.0093505 | 0.0023435 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-12_0_3_load_25 | 35 | 0.0029025 | 0.00072744 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-12_0_3_load_37 | 36 | 0.0017803 | 0.00044618 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-12_0_3_load_20 | 38 | 0.019643 | 0.004923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-12_0_3_load_31 | 41 | 0.0083798 | 0.0021002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-12_0_3_load_48 | 42 | 0.0086405 | 0.0021655 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-12_0_3_load_49 | 43 | 0.0044426 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-12_0_3_load_43 | 44 | 0.0033267 | 0.00083375 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-12_0_3_load_46 | 45 | 0.0054949 | 0.0013772 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2228-12_0_3_load_40 | 46 | 0.003747 | 0.00093907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2228-12_0_3_load_32 | 47 | 0.0046943 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2228-12_0_3_load_33 | 48 | 0.011214 | 0.0028104 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2228-12_0_3_load_35 | 49 | 0.014335 | 0.0035926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-12_0_3_line_0 |  | 0 | 1 | 0.02621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2228-12_0_3_line_1 |  | 1 | 2 | 0.04621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2228-12_0_3_line_2 |  | 1 | 3 | 0.032232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2228-12_0_3_line_3 |  | 2 | 10 | 0.025874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2228-12_0_3_line_4 |  | 2 | 11 | 0.009026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-12_0_3_line_5 |  | 3 | 12 | 0.009533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-12_0_3_line_6 |  | 3 | 13 | 0.052025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2228-12_0_3_line_7 |  | 4 | 5 | 0.024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-12_0_3_line_8 |  | 4 | 6 | 0.07168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2228-12_0_3_line_9 |  | 4 | 7 | 0.041179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2228-12_0_3_line_10 |  | 6 | 8 | 0.016047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2228-12_0_3_line_11 |  | 6 | 9 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-12_0_3_line_12 |  | 7 | 16 | 0.0081453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2228-12_0_3_line_13 |  | 8 | 23 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2228-12_0_3_line_14 |  | 10 | 24 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2228-12_0_3_line_15 |  | 10 | 14 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2228-12_0_3_line_16 |  | 12 | 25 | 0.010403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-12_0_3_line_17 |  | 12 | 26 | 0.032045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2228-12_0_3_line_18 |  | 13 | 27 | 0.010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2228-12_0_3_line_19 |  | 14 | 15 | 0.024269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-12_0_3_line_20 |  | 15 | 36 | 0.0091267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2228-12_0_3_line_21 |  | 16 | 22 | 0.080789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-12_0_3_line_22 |  | 16 | 20 | 0.11319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-12_0_3_line_23 |  | 17 | 18 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-12_0_3_line_24 |  | 17 | 19 | 0.011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-12_0_3_line_25 |  | 18 | 21 | 0.032898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2228-12_0_3_line_26 |  | 19 | 20 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2228-12_0_3_line_27 |  | 23 | 37 | 0.044336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2228-12_0_3_line_28 |  | 23 | 38 | 0.025497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2228-12_0_3_line_29 |  | 26 | 43 | 0.008142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-12_0_3_line_30 |  | 26 | 40 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-12_0_3_line_31 |  | 28 | 29 | 0.010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2228-12_0_3_line_32 |  | 28 | 30 | 0.013079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2228-12_0_3_line_33 |  | 28 | 31 | 0.042125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2228-12_0_3_line_34 |  | 29 | 45 | 0.0051085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2228-12_0_3_line_35 |  | 30 | 46 | 0.034252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2228-12_0_3_line_36 |  | 31 | 32 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2228-12_0_3_line_37 |  | 31 | 33 | 0.02267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2228-12_0_3_line_38 |  | 33 | 34 | 0.18693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2228-12_0_3_line_39 |  | 33 | 35 | 0.011577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2228-12_0_3_line_40 |  | 34 | 44 | 0.018384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2228-12_0_3_line_41 |  | 35 | 37 | 0.069368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2228-12_0_3_line_42 |  | 37 | 39 | 0.009584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2228-12_0_3_line_43 |  | 37 | 40 | 0.034579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2228-12_0_3_line_44 |  | 39 | 41 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2228-12_0_3_line_45 |  | 40 | 42 | 0.023288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2228-12_0_3_line_46 |  | 41 | 47 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2228-12_0_3_line_47 |  | 47 | 48 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2228-12_0_3_line_48 |  | 48 | 49 | 0.057039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-12_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 50 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2575477.6852 | 1182783.7262 | 2575477.5284 | 1182779.0021 | 2575475.4559 | 1182757.6185
1 | 2575477.6852 | 1182783.7262 | 2575477.8313 | 1182787.6832 | 2575478.86 | 1182796.4947 | 2575479.3977 | 1182817.7369 | 2575477.7841 | 1182826.3702 | 2575476.5601 | 1182829.4769
2 | 2575445.3853 | 1182782.4471 | 2575477.6852 | 1182783.7262
3 | 2575476.5601 | 1182829.4769 | 2575476.5599 | 1182836.8585 | 2575476.7439 | 1182853.7666 | 2575476.4296 | 1182855.3131
4 | 2575467.9218 | 1182826.7776 | 2575476.5601 | 1182829.4769
5 | 2575435.8259 | 1182782.2752 | 2575445.3853 | 1182782.4471
6 | 2575445.3853 | 1182782.4471 | 2575444.3225 | 1182817.3252 | 2575427.1957 | 1182816.9441
7 | 2575347.1062 | 1182679.4984 | 2575359.236 | 1182701.2152
8 | 2575359.236 | 1182701.2152 | 2575369.0783 | 1182703.3201 | 2575361.8075 | 1182711.9769 | 2575328.4669 | 1182723.1759 | 2575314.211 | 1182728.2708
9 | 2575359.236 | 1182701.2152 | 2575348.3774 | 1182698.9144 | 2575319.1261 | 1182691.9057
10 | 2575314.211 | 1182728.2708 | 2575329.6409 | 1182732.6784
11 | 2575314.211 | 1182728.2708 | 2575291.7434 | 1182735.0104
12 | 2575311.205 | 1182690.0077 | 2575319.1261 | 1182691.9057
13 | 2575351.8586 | 1182733.9516 | 2575350.3531 | 1182733.6132 | 2575342.7147 | 1182736.4129 | 2575329.6409 | 1182732.6784
14 | 2575451.6323 | 1182844.1425 | 2575458.6496 | 1182844.4138 | 2575466.0292 | 1182847.385 | 2575472.0645 | 1182852.0627 | 2575476.4296 | 1182855.3131
15 | 2575476.4296 | 1182855.3131 | 2575472.4191 | 1182875.1955
16 | 2575435.8259 | 1182782.2752 | 2575435.5022 | 1182792.6709
17 | 2575403.7235 | 1182780.7622 | 2575435.8259 | 1182782.2752
18 | 2575416.6201 | 1182816.7087 | 2575427.1957 | 1182816.9441
19 | 2575472.4191 | 1182875.1955 | 2575485.6661 | 1182877.2977 | 2575496.4228 | 1182878.7635
20 | 2575505.466 | 1182879.9957 | 2575496.4228 | 1182878.7635
21 | 2575311.205 | 1182690.0077 | 2575306.065 | 1182696.966 | 2575261.7767 | 1182711.9793 | 2575254.6482 | 1182718.0898 | 2575239.3682 | 1182722.7849
22 | 2575291.4138 | 1182643.4764 | 2575289.7977 | 1182644.0946 | 2575279.3516 | 1182647.3951 | 2575269.0466 | 1182649.7279 | 2575264.3678 | 1182651.8928 | 2575261.6693 | 1182654.7722 | 2575259.5053 | 1182657.6493 | 2575256.0891 | 1182662.3325 | 2575256.5346 | 1182677.7276 | 2575272.4139 | 1182681.1192 | 2575296.0818 | 1182686.6463 | 2575311.205 | 1182690.0077
23 | 2575326.4986 | 1182623.7989 | 2575338.0556 | 1182615.8692
24 | 2575326.4986 | 1182623.7989 | 2575323.7197 | 1182625.7003 | 2575316.8032 | 1182630.1902
25 | 2575338.0556 | 1182615.8692 | 2575345.9672 | 1182621.8508 | 2575368.5085 | 1182626.3157
26 | 2575291.4138 | 1182643.4764 | 2575303.5034 | 1182638.824 | 2575316.8032 | 1182630.1902
27 | 2575348.4059 | 1182777.8888 | 2575347.3184 | 1182773.3798 | 2575351.8586 | 1182733.9516
28 | 2575375.0404 | 1182742.0157 | 2575373.0112 | 1182738.7113 | 2575351.8586 | 1182733.9516
29 | 2575403.7235 | 1182780.7622 | 2575403.2836 | 1182788.8904
30 | 2575383.0297 | 1182779.8469 | 2575403.7235 | 1182780.7622
31 | 2575404.3837 | 1182868.7164 | 2575394.8335 | 1182865.6246
32 | 2575404.3837 | 1182868.7164 | 2575404.9053 | 1182855.6474
33 | 2575368.4206 | 1182863.9955 | 2575404.1831 | 1182873.7643 | 2575404.3837 | 1182868.7164
34 | 2575389.9733 | 1182864.0511 | 2575394.8335 | 1182865.6246
35 | 2575404.9053 | 1182855.6474 | 2575405.9891 | 1182828.4888 | 2575398.9186 | 1182828.6115
36 | 2575370.352 | 1182843.6103 | 2575368.4206 | 1182863.9955
37 | 2575346.2969 | 1182858.773 | 2575368.4206 | 1182863.9955
38 | 2575346.2969 | 1182858.773 | 2575279.8285 | 1183033.4834
39 | 2575346.2969 | 1182858.773 | 2575346.6147 | 1182847.2
40 | 2575279.8285 | 1183033.4834 | 2575275.7441 | 1183035.3124 | 2575273.7436 | 1183035.2317 | 2575271.3687 | 1183033.2405 | 2575269.0835 | 1183030.8043 | 2575265.9879 | 1183029.9055 | 2575263.747 | 1183030.0255
41 | 2575348.4059 | 1182777.8888 | 2575347.4673 | 1182787.242 | 2575347.0152 | 1182807.1876 | 2575346.9473 | 1182835.0913 | 2575346.6147 | 1182847.2
42 | 2575338.807 | 1182777.3948 | 2575348.4059 | 1182777.8888
43 | 2575383.0297 | 1182779.8469 | 2575348.4059 | 1182777.8888
44 | 2575338.807 | 1182777.3948 | 2575336.9854 | 1182781.8269 | 2575334.1952 | 1182786.5075 | 2575331.4063 | 1182789.6651 | 2575325.6525 | 1182792.1791 | 2575325.6525 | 1182792.1791
45 | 2575383.0297 | 1182779.8469 | 2575382.0464 | 1182800.5952 | 2575379.527 | 1182800.5944
46 | 2575325.6525 | 1182792.1791 | 2575313.8588 | 1182792.6281 | 2575308.0971 | 1182795.0643 | 2575302.7899 | 1182796.7219
47 | 2575302.7899 | 1182796.7219 | 2575302.0734 | 1182796.9457 | 2575292.532 | 1182797.3965 | 2575285.1727 | 1182797.1307
48 | 2575285.1727 | 1182797.1307 | 2575280.1085 | 1182796.9477 | 2575273.6356 | 1182795.4182 | 2575257.702 | 1182795.4175 | 2575242.3122 | 1182793.9805 | 2575236.373 | 1182792.2709 | 2575231.2453 | 1182791.1027 | 2575228.8242 | 1182790.5192

## bus_geodata
| x | y | coords
0 | 2575475.4559 | 1182757.6185
1 | 2575477.6852 | 1182783.7262
2 | 2575476.5601 | 1182829.4769
3 | 2575445.3853 | 1182782.4471
4 | 2575359.236 | 1182701.2152
5 | 2575347.1062 | 1182679.4984
6 | 2575314.211 | 1182728.2708
7 | 2575319.1261 | 1182691.9057
8 | 2575329.6409 | 1182732.6784
9 | 2575291.7434 | 1182735.0104
10 | 2575476.4296 | 1182855.3131
11 | 2575467.9218 | 1182826.7776
12 | 2575435.8259 | 1182782.2752
13 | 2575427.1957 | 1182816.9441
14 | 2575472.4191 | 1182875.1955
15 | 2575496.4228 | 1182878.7635
16 | 2575311.205 | 1182690.0077
17 | 2575326.4986 | 1182623.7989
18 | 2575338.0556 | 1182615.8692
19 | 2575316.8032 | 1182630.1902
20 | 2575291.4138 | 1182643.4764
21 | 2575368.5085 | 1182626.3157
22 | 2575239.3682 | 1182722.7849
23 | 2575351.8586 | 1182733.9516
24 | 2575451.6323 | 1182844.1425
25 | 2575435.5022 | 1182792.6709
26 | 2575403.7235 | 1182780.7622
27 | 2575416.6201 | 1182816.7087
28 | 2575404.3837 | 1182868.7164
29 | 2575394.8335 | 1182865.6246
30 | 2575404.9053 | 1182855.6474
31 | 2575368.4206 | 1182863.9955
32 | 2575370.352 | 1182843.6103
33 | 2575346.2969 | 1182858.773
34 | 2575279.8285 | 1183033.4834
35 | 2575346.6147 | 1182847.2
36 | 2575505.466 | 1182879.9957
37 | 2575348.4059 | 1182777.8888
38 | 2575375.0404 | 1182742.0157
39 | 2575338.807 | 1182777.3948
40 | 2575383.0297 | 1182779.8469
41 | 2575325.6525 | 1182792.1791
42 | 2575379.527 | 1182800.5944
43 | 2575403.2836 | 1182788.8904
44 | 2575263.747 | 1183030.0255
45 | 2575389.9733 | 1182864.0511
46 | 2575398.9186 | 1182828.6115
47 | 2575302.7899 | 1182796.7219
48 | 2575285.1727 | 1182797.1307
49 | 2575228.8242 | 1182790.5192
50 | 2575314.211 | 1182728.2708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98798 | -0.23136 | 0.01056 | 0.0026467
1 | 0.98823 | -0.22642 | 0 | 0
2 | 0.98767 | -0.23731 | 0 | 0
3 | 0.98893 | -0.21277 | 0 | 0
4 | 0.99412 | -0.11224 | 0 | 0
5 | 0.9934 | -0.12632 | 0.032088 | 0.0080421
6 | 0.99875 | -0.023879 | 0 | 0
7 | 0.99002 | -0.19124 | 0.032234 | 0.0080787
8 | 1 | 0 | -0.31114 | -0.078641
9 | 0.9981 | -0.036224 | 0.0301 | 0.0075439
10 | 0.98744 | -0.24191 | 0 | 0
11 | 0.98765 | -0.23783 | 0.0032341 | 0.00081055
12 | 0.98919 | -0.20782 | 0 | 0
13 | 0.98868 | -0.21774 | 0.0026814 | 0.00067203
14 | 0.98733 | -0.244 | 0 | 0
15 | 0.9872 | -0.24651 | 0.0039905 | 0.0010001
16 | 0.98945 | -0.20227 | 0 | 0
17 | 0.98369 | -0.31425 | 0 | 0
18 | 0.98348 | -0.31826 | 0 | 0
19 | 0.98386 | -0.31091 | 0.02679 | 0.0067143
20 | 0.98499 | -0.28877 | 0 | 0
21 | 0.983 | -0.32772 | 0.015938 | 0.0039943
22 | 0.98697 | -0.25039 | 0.033372 | 0.0083637
23 | 0.9971 | -0.05541 | 0 | 0
24 | 0.98733 | -0.244 | 0.0041828 | 0.0010483
25 | 0.98915 | -0.20861 | 0.0042563 | 0.0010667
26 | 0.99017 | -0.18879 | 0 | 0
27 | 0.98865 | -0.21825 | 0.0026814 | 0.00067203
28 | 0.98892 | -0.21308 | 0 | 0
29 | 0.98885 | -0.21445 | 0.0021932 | 0.00054967
30 | 0.98882 | -0.21498 | 0.0044272 | 0.0011096
31 | 0.98953 | -0.20117 | 0 | 0
32 | 0.98936 | -0.20458 | 0.0093505 | 0.0023435
33 | 0.99006 | -0.191 | 0 | 0
34 | 0.98949 | -0.20208 | 0 | 0
35 | 0.99036 | -0.18513 | 0.0029025 | 0.00072744
36 | 0.98719 | -0.2468 | 0.0017803 | 0.00044618
37 | 0.99236 | -0.14643 | 0 | 0
38 | 0.99664 | -0.064195 | 0.019643 | 0.004923
39 | 0.99202 | -0.15299 | 0 | 0
40 | 0.99089 | -0.17491 | 0 | 0
41 | 0.99129 | -0.16718 | 0.0083798 | 0.0021002
42 | 0.9907 | -0.17848 | 0.0086405 | 0.0021655
43 | 0.99014 | -0.18943 | 0.0044426 | 0.0011134
44 | 0.98943 | -0.20317 | 0.0033267 | 0.00083375
45 | 0.98883 | -0.21495 | 0.0054949 | 0.0013772
46 | 0.98871 | -0.21727 | 0.003747 | 0.00093907
47 | 0.99063 | -0.17986 | 0.0046943 | 0.0011765
48 | 0.99022 | -0.18788 | 0.011214 | 0.0028104
49 | 0.98947 | -0.20242 | 0.014335 | 0.0035926
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01056 | -0.0026467 | 0.010563 | 0.0026479 | 2.4865e-06 | 1.2556e-06 | 0.015905 | 0.015905 | 0.015905 | 0.98798 | -0.23136 | 0.98823 | -0.22642 | 4.3696
1 | 0.013199 | 0.00331 | -0.013192 | -0.0033062 | 6.8447e-06 | 3.7889e-06 | 0.019874 | 0.019875 | 0.019875 | 0.98823 | -0.22642 | 0.98767 | -0.23731 | 5.46
2 | -0.023761 | -0.0059579 | 0.023777 | 0.0059674 | 1.5473e-05 | 9.4897e-06 | 0.035779 | 0.035779 | 0.035779 | 0.98823 | -0.22642 | 0.98893 | -0.21277 | 9.8295
3 | 0.0099575 | 0.0024957 | -0.0099553 | -0.0024947 | 2.1837e-06 | 1.0665e-06 | 0.015002 | 0.015002 | 0.015002 | 0.98767 | -0.23731 | 0.98744 | -0.24191 | 4.1214
4 | 0.0032342 | 0.00081048 | -0.0032341 | -0.00081055 | 8.0361e-08 | -6.4079e-08 | 0.0048726 | 0.0048726 | 0.0048726 | 0.98767 | -0.23731 | 0.98765 | -0.23783 | 1.3386
5 | -0.029141 | -0.0073115 | 0.029148 | 0.0073158 | 6.874e-06 | 4.277e-06 | 0.04385 | 0.04385 | 0.04385 | 0.98893 | -0.21277 | 0.98919 | -0.20782 | 12.0468
6 | 0.0053642 | 0.0013441 | -0.0053629 | -0.001344 | 1.271e-06 | 1.4608e-07 | 0.0080712 | 0.0080714 | 0.0080714 | 0.98893 | -0.21277 | 0.98868 | -0.21774 | 2.2174
7 | 0.03211 | 0.0080556 | -0.032088 | -0.0080421 | 2.1539e-05 | 1.3463e-05 | 0.048065 | 0.048065 | 0.048065 | 0.99412 | -0.11224 | 0.9934 | -0.12632 | 13.2048
8 | -0.14121 | -0.035692 | 0.14181 | 0.036075 | 0.00060103 | 0.00038279 | 0.21147 | 0.21147 | 0.21147 | 0.99412 | -0.11224 | 0.99875 | -0.023879 | 29.048
9 | 0.1091 | 0.027636 | -0.10869 | -0.027373 | 0.00041232 | 0.00026335 | 0.1634 | 0.1634 | 0.1634 | 0.99412 | -0.11224 | 0.99002 | -0.19124 | 44.8913
10 | -0.17193 | -0.043629 | 0.17213 | 0.043756 | 0.00019772 | 0.00012612 | 0.25634 | 0.25634 | 0.25634 | 0.99875 | -0.023879 | 1 | 0 | 35.212
11 | 0.030118 | 0.0075549 | -0.0301 | -0.0075439 | 1.7713e-05 | 1.103e-05 | 0.044875 | 0.044875 | 0.044875 | 0.99875 | -0.023879 | 0.9981 | -0.036224 | 12.3283
12 | 0.076452 | 0.019294 | -0.076411 | -0.019268 | 4.0364e-05 | 2.5729e-05 | 0.11496 | 0.11496 | 0.11496 | 0.99002 | -0.19124 | 0.98945 | -0.20227 | 31.5812
13 | 0.13737 | 0.034885 | -0.137 | -0.034652 | 0.00036526 | 0.00023346 | 0.20457 | 0.20457 | 0.20457 | 1 | 0 | 0.9971 | -0.05541 | 56.2001
14 | 0.0041832 | 0.0010482 | -0.0041828 | -0.0010483 | 4.1717e-07 | -9.1061e-08 | 0.0063039 | 0.006304 | 0.006304 | 0.98744 | -0.24191 | 0.98733 | -0.244 | 1.7319
15 | 0.0057721 | 0.0014464 | -0.0057715 | -0.0014463 | 5.7553e-07 | 1.0889e-07 | 0.0086982 | 0.0086983 | 0.0086983 | 0.98744 | -0.24191 | 0.98733 | -0.244 | 2.3896
16 | 0.0042565 | 0.0010667 | -0.0042563 | -0.0010667 | 1.5994e-07 | -3.1179e-08 | 0.0064029 | 0.006403 | 0.006403 | 0.98919 | -0.20782 | 0.98915 | -0.20861 | 1.7591
17 | -0.033404 | -0.0083825 | 0.033435 | 0.0084015 | 3.0347e-05 | 1.9011e-05 | 0.050253 | 0.050253 | 0.050253 | 0.98919 | -0.20782 | 0.99017 | -0.18879 | 13.8059
18 | 0.0026815 | 0.00067193 | -0.0026814 | -0.00067203 | 6.4609e-08 | -9.43e-08 | 0.0040358 | 0.0040358 | 0.0040358 | 0.98868 | -0.21774 | 0.98865 | -0.21825 | 1.1087
19 | 0.0057715 | 0.0014463 | -0.0057709 | -0.0014462 | 6.8858e-07 | 1.3036e-07 | 0.0086983 | 0.0086984 | 0.0086984 | 0.98733 | -0.244 | 0.9872 | -0.24651 | 2.3897
20 | 0.0017803 | 0.00044608 | -0.0017803 | -0.00044618 | 2.4645e-08 | -1.0092e-07 | 0.0026834 | 0.0026835 | 0.0026835 | 0.9872 | -0.24651 | 0.98719 | -0.2468 | 0.73722
21 | 0.033448 | 0.0084117 | -0.033372 | -0.0083637 | 7.6689e-05 | 4.8046e-05 | 0.050312 | 0.050313 | 0.050313 | 0.98945 | -0.20227 | 0.98697 | -0.25039 | 13.8222
22 | 0.042963 | 0.010857 | -0.042786 | -0.010745 | 0.00017737 | 0.00011207 | 0.064643 | 0.064644 | 0.064644 | 0.98945 | -0.20227 | 0.98499 | -0.28877 | 17.7593
23 | 0.015948 | 0.0040003 | -0.015945 | -0.0039985 | 3.0533e-06 | 1.7766e-06 | 0.024125 | 0.024126 | 0.024126 | 0.98369 | -0.31425 | 0.98348 | -0.31826 | 6.6279
24 | -0.015948 | -0.0040003 | 0.01595 | 0.0040018 | 2.5347e-06 | 1.4748e-06 | 0.024125 | 0.024125 | 0.024125 | 0.98369 | -0.31425 | 0.98386 | -0.31091 | 6.6279
25 | 0.015945 | 0.0039985 | -0.015938 | -0.0039943 | 7.1804e-06 | 4.1782e-06 | 0.024126 | 0.024126 | 0.024126 | 0.98348 | -0.31826 | 0.983 | -0.32772 | 6.6279
26 | -0.042741 | -0.010716 | 0.042786 | 0.010745 | 4.5148e-05 | 2.8528e-05 | 0.064644 | 0.064644 | 0.064644 | 0.98386 | -0.31091 | 0.98499 | -0.28877 | 17.7593
27 | 0.11735 | 0.029724 | -0.11684 | -0.029398 | 0.00051058 | 0.00032619 | 0.17524 | 0.17524 | 0.17524 | 0.9971 | -0.05541 | 0.99236 | -0.14643 | 48.1432
28 | 0.019651 | 0.0049279 | -0.019643 | -0.004923 | 8.2237e-06 | 4.9307e-06 | 0.029327 | 0.029327 | 0.029327 | 0.9971 | -0.05541 | 0.99664 | -0.064195 | 8.057
29 | 0.0044427 | 0.0011134 | -0.0044426 | -0.0011134 | 1.361e-07 | -1.7621e-08 | 0.0066764 | 0.0066765 | 0.0066765 | 0.99017 | -0.18879 | 0.99014 | -0.18943 | 1.8342
30 | -0.037878 | -0.0095149 | 0.037903 | 0.0095307 | 2.5102e-05 | 1.58e-05 | 0.05693 | 0.05693 | 0.05693 | 0.99017 | -0.18879 | 0.99089 | -0.17491 | 15.64
31 | 0.0076888 | 0.001927 | -0.0076883 | -0.0019269 | 5.0385e-07 | 1.9368e-07 | 0.011569 | 0.011569 | 0.011569 | 0.98892 | -0.21308 | 0.98885 | -0.21445 | 3.1784
32 | 0.0081753 | 0.0020488 | -0.0081745 | -0.0020485 | 7.4219e-07 | 3.0721e-07 | 0.012301 | 0.012301 | 0.012301 | 0.98892 | -0.21308 | 0.98882 | -0.21498 | 3.3795
33 | -0.015864 | -0.0039758 | 0.015873 | 0.003981 | 9.0008e-06 | 5.2197e-06 | 0.02387 | 0.02387 | 0.02387 | 0.98892 | -0.21308 | 0.98953 | -0.20117 | 6.5578
34 | 0.0054951 | 0.0013772 | -0.0054949 | -0.0013772 | 1.3099e-07 | 1.8299e-08 | 0.0082689 | 0.0082689 | 0.0082689 | 0.98885 | -0.21445 | 0.98883 | -0.21495 | 2.2717
35 | 0.0037474 | 0.0009389 | -0.003747 | -0.00093907 | 4.0845e-07 | -1.7791e-07 | 0.0056391 | 0.0056392 | 0.0056392 | 0.98882 | -0.21498 | 0.98871 | -0.21727 | 1.5492
36 | 0.009352 | 0.0023442 | -0.0093505 | -0.0023435 | 1.519e-06 | 7.091e-07 | 0.014063 | 0.014063 | 0.014063 | 0.98953 | -0.20117 | 0.98936 | -0.20458 | 3.8635
37 | -0.025225 | -0.0063252 | 0.025237 | 0.0063327 | 1.2233e-05 | 7.5376e-06 | 0.037933 | 0.037933 | 0.037933 | 0.98953 | -0.20117 | 0.99006 | -0.191 | 10.4213
38 | 0.0033286 | 0.00083235 | -0.0033269 | -0.00083363 | 1.7542e-06 | -1.2797e-06 | 0.0050022 | 0.005003 | 0.005003 | 0.99006 | -0.191 | 0.98949 | -0.20208 | 1.3745
39 | -0.028566 | -0.0071651 | 0.028574 | 0.00717 | 8.0034e-06 | 4.9732e-06 | 0.042935 | 0.042935 | 0.042935 | 0.99006 | -0.191 | 0.99036 | -0.18513 | 11.7955
40 | 0.0033269 | 0.00083363 | -0.0033267 | -0.00083375 | 1.7256e-07 | -1.2569e-07 | 0.005003 | 0.0050031 | 0.0050031 | 0.98949 | -0.20208 | 0.98943 | -0.20317 | 1.3745
41 | -0.031476 | -0.0078975 | 0.031535 | 0.0079338 | 5.819e-05 | 3.6347e-05 | 0.047296 | 0.047296 | 0.047296 | 0.99036 | -0.18513 | 0.99236 | -0.14643 | 12.9935
42 | 0.038699 | 0.0097269 | -0.038687 | -0.0097193 | 1.2106e-05 | 7.6241e-06 | 0.058038 | 0.058038 | 0.058038 | 0.99236 | -0.14643 | 0.99202 | -0.15299 | 15.9445
43 | 0.046608 | 0.011737 | -0.046545 | -0.011697 | 6.3371e-05 | 4.0111e-05 | 0.069907 | 0.069907 | 0.069907 | 0.99236 | -0.14643 | 0.99089 | -0.17491 | 19.2053
44 | 0.038687 | 0.0097193 | -0.038661 | -0.0097028 | 2.6189e-05 | 1.6493e-05 | 0.058038 | 0.058038 | 0.058038 | 0.99202 | -0.15299 | 0.99129 | -0.16718 | 15.9445
45 | 0.008642 | 0.0021662 | -0.0086405 | -0.0021655 | 1.4708e-06 | 6.4142e-07 | 0.012978 | 0.012978 | 0.012978 | 0.99089 | -0.17491 | 0.9907 | -0.17848 | 3.5654
46 | 0.030281 | 0.0076026 | -0.030263 | -0.0075912 | 1.8303e-05 | 1.141e-05 | 0.045459 | 0.045459 | 0.045459 | 0.99129 | -0.16718 | 0.99063 | -0.17986 | 12.4888
47 | 0.025568 | 0.0064147 | -0.025559 | -0.0064087 | 9.7732e-06 | 6.0275e-06 | 0.038408 | 0.038408 | 0.038408 | 0.99063 | -0.17986 | 0.99022 | -0.18788 | 10.5517
48 | 0.014345 | 0.0035983 | -0.014335 | -0.0035926 | 9.9401e-06 | 5.6285e-06 | 0.021557 | 0.021557 | 0.021557 | 0.99022 | -0.18788 | 0.98947 | -0.20242 | 5.9224

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33507 | 0.084638

## res_load
| p_mw | q_mvar
0 | 0.01056 | 0.0026467
1 | 0.032088 | 0.0080421
2 | 0.032234 | 0.0080787
3 | 0.023926 | 0.0059965
4 | 0.0301 | 0.0075439
5 | 0.0032341 | 0.00081055
6 | 0.0026814 | 0.00067203
7 | 0.0039905 | 0.0010001
8 | 0.02679 | 0.0067143
9 | 0.015938 | 0.0039943
10 | 0.033372 | 0.0083637
11 | 0.0041828 | 0.0010483
12 | 0.0042563 | 0.0010667
13 | 0.0026814 | 0.00067203
14 | 0.0021932 | 0.00054967
15 | 0.0044272 | 0.0011096
16 | 0.0093505 | 0.0023435
17 | 0.0029025 | 0.00072744
18 | 0.0017803 | 0.00044618
19 | 0.019643 | 0.004923
20 | 0.0083798 | 0.0021002
21 | 0.0086405 | 0.0021655
22 | 0.0044426 | 0.0011134
23 | 0.0033267 | 0.00083375
24 | 0.0054949 | 0.0013772
25 | 0.003747 | 0.00093907
26 | 0.0046943 | 0.0011765
27 | 0.011214 | 0.0028104
28 | 0.014335 | 0.0035926

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1